## Enero
Data Log
Unit Serial Number: | 04/07/33103
Meter/Site ID: | DART 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 07/06/2011 | 3:40:28 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
2 | 12/04/2011 | 7:41:31 a.m. | 16 (High Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
21 | 29/01/2015 | 7:00:00 a.m. | 574409 | 7008552 | 6.7192 | 0 | 85.57 | 18.4 | 873.1 | 1478.6
20 | 28/01/2015 | 7:00:00 a.m. | 553486 | 7005456 | 6.6587 | 0 | 83.957 | 18.3 | 1078.5 | 1305.3
19 | 27/01/2015 | 7:00:00 a.m. | 527601 | 7001601 | 6.7068 | 0 | 84.623 | 18 | 1024 | 1197.9
18 | 26/01/2015 | 7:00:00 a.m. | 503026 | 6997970 | 6.7826 | 0 | 86.924 | 19 | 806.4 | 1149.6
17 | 25/01/2015 | 7:00:00 a.m. | 483671 | 6995160 | 7.0086 | 0 | 86.584 | 19 | 858.3 | 1260
16 | 24/01/2015 | 7:00:00 a.m. | 463071 | 6992165 | 6.9211 | 0 | 85.42 | 18.1 | 999.5 | 1226.6
15 | 23/01/2015 | 7:00:00 a.m. | 439086 | 6988639 | 6.7054 | 0 | 84.516 | 18.2 | 1078.5 | 1245.1
14 | 22/01/2015 | 7:00:00 a.m. | 413209 | 6984808 | 6.8051 | 0 | 84.312 | 18 | 1049.2 | 1216.4
13 | 21/01/2015 | 7:00:00 a.m. | 388026 | 6981075 | 6.8013 | 0 | 85.13 | 18 | 1012.5 | 1242.1
12 | 20/01/2015 | 7:00:00 a.m. | 363729 | 6977503 | 6.8616 | 0 | 84.934 | 18.1 | 1022.7 | 1289
11 | 19/01/2015 | 7:00:00 a.m. | 339178 | 6973885 | 6.9151 | 0 | 87.201 | 18.3 | 807.7 | 1425.2
10 | 18/01/2015 | 7:00:00 a.m. | 319799 | 6971090 | 7.2043 | 0 | 86.965 | 18.3 | 791.4 | 1034.4
9 | 17/01/2015 | 7:00:00 a.m. | 300813 | 6968340 | 6.9254 | 0 | 78.507 | 18.9 | 923.6 | 1239.9
8 | 16/01/2015 | 7:00:00 a.m. | 276245 | 6965107 | 6.6284 | 0 | 83.56 | 18.3 | 1126.4 | 1258.4
7 | 15/01/2015 | 7:00:00 a.m. | 249213 | 6961064 | 6.839 | 0 | 83.921 | 18.1 | 1131.5 | 1312.1
6 | 14/01/2015 | 7:00:00 a.m. | 222055 | 6957021 | 6.6407 | 0 | 82.951 | 18 | 1202.7 | 1340
5 | 13/01/2015 | 7:00:00 a.m. | 193192 | 6952682 | 6.6374 | 0 | 82.38 | 17.9 | 1217.7 | 1421.3
4 | 12/01/2015 | 7:00:00 a.m. | 163966 | 6948263 | 6.7584 | 0 | 86.651 | 17.6 | 856.1 | 1493.1
3 | 11/01/2015 | 7:00:00 a.m. | 143419 | 6945279 | 7.0799 | 0 | 87.92 | 18.3 | 732.9 | 1040.1
2 | 10/01/2015 | 7:00:00 a.m. | 125830 | 6942762 | 7.1258 | 0 | 85.942 | 17.8 | 1017.6 | 1281.7
1 | 09/01/2015 | 7:00:00 a.m. | 101409 | 6939184 | 6.7036 | 0 | 84.495 | 18.2 | 1118.4 | 1243.7
38 | 08/01/2015 | 7:00:00 a.m. | 74528 | 6935205 | 6.7748 | 0 | 84.463 | 18.2 | 1090.5 | 1259
37 | 07/01/2015 | 7:00:00 a.m. | 48356 | 6931329 | 6.8901 | 0 | 83.618 | 18.6 | 1136.2 | 1330.7
36 | 06/01/2015 | 7:00:00 a.m. | 21090 | 6927249 | 6.6699 | 0 | 83.782 | 18.8 | 1065.3 | 1437.1
35 | 05/01/2015 | 7:00:00 a.m. | 995522 | 6923427 | 6.8319 | 0 | 87.59 | 18.3 | 701.9 | 1417.4
34 | 04/01/2015 | 7:00:00 a.m. | 978679 | 6921003 | 7.1455 | 0 | 88.803 | 17.9 | 643.9 | 780.4
33 | 03/01/2015 | 7:00:00 a.m. | 963232 | 6918814 | 7.0415 | 0 | 87.799 | 17.9 | 747.5 | 1512.2
32 | 02/01/2015 | 7:00:00 a.m. | 945297 | 6916245 | 7.0364 | 0 | 91.069 | 13.8 | 228.9 | 1147.9
31 | 01/01/2015 | 7:00:00 a.m. | 939904 | 6915492 | 8.0232 | 0 | 93.506 | 3.8 | 7.6 | 975.7
30 | 31/12/2014 | 7:00:00 a.m. | 939744 | 6915470 | 7.9393 | 0 | 88.426 | 13.4 | 619.7 | 1225.5

## Febrero
Data Log
Unit Serial Number: | 04/07/33103
Meter/Site ID: | DART 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 26
Fault/Alarms Recorded | Date | Time | Condition
| 07/06/2011 | 3:40:28 p.m. | 18 (Low Pressure Alarm Occurred)
| 12/04/2011 | 7:41:31 a.m. | 16 (High Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
20 | 01/03/2015 | 7:00:00 a.m. | 180594 | 7098397 | 6.8761 | 0 | 86.026 | 18.4 | 694.9 | 796.2
19 | 28/02/2015 | 7:00:00 a.m. | 163919 | 7095965 | 6.9747 | 0 | 83.196 | 18.8 | 935.8 | 1192.7
18 | 27/02/2015 | 7:00:00 a.m. | 141463 | 7092569 | 6.507 | 0 | 82.85 | 19.1 | 1044 | 1466.8
17 | 26/02/2015 | 7:00:00 a.m. | 116409 | 7088783 | 6.719 | 0 | 82.502 | 19.2 | 1046 | 1185
16 | 25/02/2015 | 7:00:00 a.m. | 91303 | 7084976 | 6.5871 | 0 | 82.98 | 19 | 1018.8 | 1242.6
15 | 24/02/2015 | 7:00:00 a.m. | 66854 | 7081290 | 6.5612 | 0 | 82.592 | 18.8 | 998.2 | 1128.3
14 | 23/02/2015 | 7:00:00 a.m. | 42903 | 7077667 | 6.5513 | 0 | 86.275 | 18.3 | 706 | 1481.6
13 | 22/02/2015 | 7:00:00 a.m. | 25954 | 7075189 | 7.0502 | 0 | 86.04 | 19.2 | 656.2 | 751.7
12 | 21/02/2015 | 7:00:00 a.m. | 10207 | 7072886 | 6.9452 | 0 | 84.116 | 19.2 | 918.1 | 1126.1
11 | 20/02/2015 | 7:00:00 a.m. | 988171 | 7069586 | 6.6874 | 0 | 83.361 | 19.4 | 990.4 | 1111.4
10 | 19/02/2015 | 7:00:00 a.m. | 964402 | 7066011 | 6.6983 | 0 | 84.676 | 19.2 | 880 | 1004.9
9 | 18/02/2015 | 7:00:00 a.m. | 943282 | 7062879 | 6.7568 | 0 | 84.533 | 19 | 903 | 1022.2
8 | 17/02/2015 | 7:00:00 a.m. | 921611 | 7059662 | 6.7179 | 0 | 84.715 | 19.2 | 913.2 | 1072.7
7 | 16/02/2015 | 7:00:00 a.m. | 899697 | 7056413 | 6.8674 | 0 | 87.879 | 19.5 | 603.8 | 943
6 | 15/02/2015 | 7:00:00 a.m. | 885205 | 7054327 | 7.1815 | 0 | 88.205 | 19.6 | 499.3 | 599.4
5 | 14/02/2015 | 7:00:00 a.m. | 873233 | 7052611 | 7.0687 | 0 | 86.288 | 19.5 | 741.4 | 989.3
4 | 13/02/2015 | 7:00:00 a.m. | 855451 | 7049998 | 6.8113 | 0 | 84.999 | 19.5 | 888.2 | 1001.9
3 | 12/02/2015 | 7:00:00 a.m. | 834140 | 7046845 | 6.7288 | 0 | 84.93 | 19.8 | 884 | 1027.7
2 | 11/02/2015 | 7:00:00 a.m. | 812920 | 7043698 | 6.7916 | 0 | 85.469 | 19 | 912.7 | 1054.6
1 | 10/02/2015 | 7:00:00 a.m. | 791020 | 7040477 | 6.931 | 0 | 85.597 | 18.6 | 895.7 | 1155.6
32 | 09/02/2015 | 7:00:00 a.m. | 769416 | 7037310 | 6.9371 | 0 | 87.806 | 19.1 | 614.8 | 1089.7
31 | 08/02/2015 | 7:00:00 a.m. | 754659 | 7035186 | 7.1878 | 0 | 89.081 | 18.9 | 489.9 | 595.3
30 | 07/02/2015 | 7:00:00 a.m. | 742905 | 7033519 | 7.2801 | 0 | 86.091 | 18.4 | 875 | 1248.2
29 | 06/02/2015 | 7:00:00 a.m. | 721918 | 7030422 | 6.7707 | 0 | 84.032 | 18.7 | 1086.6 | 1333
28 | 05/02/2015 | 7:00:00 a.m. | 695838 | 7026535 | 6.7661 | 0 | 83.463 | 18.5 | 1120.4 | 1262.8
27 | 04/02/2015 | 7:00:00 a.m. | 668950 | 7022507 | 6.6295 | 0 | 83.614 | 18.5 | 1070.4 | 1204.4
26 | 03/02/2015 | 7:00:00 a.m. | 643263 | 7018666 | 6.6752 | 0 | 84.833 | 18.5 | 962.7 | 1169.8
25 | 02/02/2015 | 7:00:00 a.m. | 620155 | 7015254 | 6.8418 | 0 | 88.291 | 19.5 | 323.3 | 1397.1
24 | 01/02/2015 | 7:00:00 a.m. | 612460 | 7014135 | 7.5917 | 0 | 91.32 | 14 | 0.6 | 19.7
23 | 31/01/2015 | 7:00:00 a.m. | 612453 | 7014134 | 7.5033 | 0 | 88.075 | 15.5 | 596.2 | 1139

## Marzo
Data Log
Unit Serial Number: | 04/07/33103
Meter/Site ID: | DART 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 23
Fault/Alarms Recorded: | None
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 30/03/2015 | 7:00:00 a.m. | 824526 | 7197843 | 6.6123 | 0 | 87.161 | 24.3 | 311.2 | 1498.3
22 | 29/03/2015 | 7:00:00 a.m. | 817085 | 7196732 | 7.3922 | 0 | 89.029 | 23.8 | 0 | 0
21 | 28/03/2015 | 7:00:00 a.m. | 817078 | 7196731 | 7.1691 | 0 | 84.589 | 19.7 | 638.3 | 1287
20 | 27/03/2015 | 7:00:00 a.m. | 801798 | 7194333 | 6.4656 | 0 | 79.985 | 21.7 | 1126 | 1309.6
19 | 26/03/2015 | 7:00:00 a.m. | 774775 | 7190081 | 6.3631 | 0 | 80.164 | 21.2 | 1165.4 | 1526
18 | 25/03/2015 | 7:00:00 a.m. | 746813 | 7185695 | 6.5228 | 0 | 80.875 | 20.8 | 1167 | 1318.8
17 | 24/03/2015 | 7:00:00 a.m. | 718804 | 7181343 | 6.4572 | 0 | 80.271 | 20.5 | 1199 | 1342.1
16 | 23/03/2015 | 7:00:00 a.m. | 690033 | 7176849 | 6.3801 | 0 | 80.534 | 20.5 | 1218.8 | 1496.6
15 | 22/03/2015 | 7:00:00 a.m. | 660781 | 7172292 | 6.4973 | 0 | 80.329 | 20.6 | 1193.5 | 1340
14 | 21/03/2015 | 7:00:00 a.m. | 632140 | 7167818 | 6.4164 | 0 | 80.268 | 20.6 | 1154.5 | 1345.9
13 | 20/03/2015 | 7:00:00 a.m. | 604431 | 7163487 | 6.281 | 0 | 80.564 | 20.3 | 1151.1 | 1338.8
12 | 19/03/2015 | 7:00:00 a.m. | 576804 | 7159182 | 6.4353 | 0 | 79.735 | 20.2 | 1239.6 | 1520.7
11 | 18/03/2015 | 7:00:00 a.m. | 547047 | 7154511 | 6.4826 | 0 | 79.895 | 20.3 | 1251.3 | 1394
10 | 17/03/2015 | 7:00:00 a.m. | 517018 | 7149805 | 6.3321 | 0 | 80.19 | 20.4 | 1207.2 | 1387.5
9 | 16/03/2015 | 7:00:00 a.m. | 488041 | 7145277 | 6.538 | 0 | 86.029 | 24.8 | 376.8 | 1506.9
8 | 15/03/2015 | 7:00:00 a.m. | 479040 | 7143914 | 7.1959 | 0 | 88.633 | 25.4 | 0 | 0
7 | 14/03/2015 | 7:00:00 a.m. | 479040 | 7143914 | 7.3555 | 0 | 84.384 | 18.4 | 636.8 | 1328.2
6 | 13/03/2015 | 7:00:00 a.m. | 463785 | 7141521 | 6.4145 | 0 | 80.441 | 19.7 | 1186.9 | 1314.4
5 | 12/03/2015 | 7:00:00 a.m. | 435297 | 7137091 | 6.4334 | 0 | 80.51 | 19.4 | 1208.1 | 1349.2
4 | 11/03/2015 | 7:00:00 a.m. | 406303 | 7132591 | 6.5377 | 0 | 81.202 | 19.5 | 1132 | 1482
3 | 10/03/2015 | 7:00:00 a.m. | 379147 | 7128399 | 6.4254 | 0 | 82.453 | 19.1 | 1059.8 | 1403
2 | 09/03/2015 | 7:00:00 a.m. | 353719 | 7124536 | 6.5759 | 0 | 85.204 | 19.5 | 742.8 | 1288.9
1 | 08/03/2015 | 7:00:00 a.m. | 335893 | 7121892 | 7.0608 | 0 | 86.605 | 19.7 | 590.5 | 890.5
26 | 07/03/2015 | 7:00:00 a.m. | 322282 | 7119908 | 7.0179 | 0 | 84.491 | 19.2 | 857.4 | 1220.1
25 | 06/03/2015 | 7:00:00 a.m. | 301716 | 7116826 | 6.7169 | 0 | 82.893 | 19.1 | 1026 | 1196.2
24 | 05/03/2015 | 7:00:00 a.m. | 277098 | 7113107 | 6.4507 | 0 | 82.233 | 19 | 1035.8 | 1213.8
23 | 04/03/2015 | 7:00:00 a.m. | 252239 | 7109329 | 6.5565 | 0 | 80.368 | 18.8 | 1126.5 | 1502
22 | 03/03/2015 | 7:00:00 a.m. | 225204 | 7105141 | 6.4582 | 0 | 80.995 | 18.3 | 1073.4 | 1212.9
21 | 02/03/2015 | 7:00:00 a.m. | 199447 | 7101184 | 6.5382 | 0 | 85.219 | 17.9 | 785.8 | 1457.6
20 | 01/03/2015 | 7:00:00 a.m. | 180594 | 7098397 | 6.8761 | 0 | 86.026 | 18.4 | 694.9 | 796.2
19 | 28/02/2015 | 7:00:00 a.m. | 163919 | 7095965 | 6.9747 | 0 | 83.196 | 18.8 | 935.8 | 1192.7

## Abril
Data Log
Unit Serial Number: | 04/07/33103
Meter/Site ID: | DART 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 30
Fault/Alarms Recorded: | None
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 01/05/2015 | 7:00:00 a.m. | 596350 | 7315677 | 7.4489 | 0 | 88.986 | 21.8 | 779.2 | 1323.7
22 | 30/04/2015 | 7:00:00 a.m. | 577696 | 7312915 | 6.7727 | 0 | 86.397 | 23.2 | 1189.2 | 1387.6
21 | 29/04/2015 | 7:00:00 a.m. | 549159 | 7308693 | 6.7437 | 0 | 86.693 | 23 | 1159.6 | 1388.3
20 | 28/04/2015 | 7:00:00 a.m. | 521333 | 7304590 | 6.749 | 0 | 86.901 | 22.8 | 1139.1 | 1308.7
19 | 27/04/2015 | 7:00:00 a.m. | 493993 | 7300571 | 6.8796 | 0 | 90.447 | 22.3 | 784.2 | 1538.2
18 | 26/04/2015 | 7:00:00 a.m. | 475175 | 7297899 | 7.2114 | 0 | 90.934 | 21.3 | 710.9 | 830.5
17 | 25/04/2015 | 7:00:00 a.m. | 458109 | 7295500 | 7.0981 | 0 | 88.718 | 21.6 | 954.9 | 1485.3
16 | 24/04/2015 | 7:00:00 a.m. | 435181 | 7292186 | 7.5374 | 0 | 87.591 | 21 | 1063.7 | 1354.1
15 | 23/04/2015 | 7:00:00 a.m. | 409693 | 7288446 | 6.8905 | 0 | 86.479 | 22 | 1210 | 1362.4
14 | 22/04/2015 | 7:00:00 a.m. | 380652 | 7284170 | 6.7671 | 0 | 86.501 | 22.1 | 1197.1 | 1327.9
13 | 21/04/2015 | 7:00:00 a.m. | 351919 | 7279940 | 6.7917 | 0 | 87.01 | 22.2 | 1138.3 | 1278.6
12 | 20/04/2015 | 7:00:00 a.m. | 324600 | 7275937 | 6.8372 | 0 | 89.896 | 22.6 | 827.5 | 1381.1
11 | 19/04/2015 | 7:00:00 a.m. | 304743 | 7273101 | 6.901 | 0 | 90.404 | 22.6 | 777.7 | 1352
10 | 18/04/2015 | 7:00:00 a.m. | 286079 | 7270452 | 7.1472 | 0 | 87.243 | 22.4 | 1028.3 | 1273.9
9 | 17/04/2015 | 7:00:00 a.m. | 261400 | 7266816 | 6.4476 | 0 | 78.8 | 22.2 | 1100.6 | 1489.5
8 | 16/04/2015 | 7:00:00 a.m. | 235018 | 7262597 | 6.2799 | 0 | 77.738 | 22.3 | 1158.2 | 1373.5
7 | 15/04/2015 | 7:00:00 a.m. | 207220 | 7258106 | 6.2565 | 0 | 78.086 | 21.9 | 1173.8 | 1369.8
6 | 14/04/2015 | 7:00:00 a.m. | 179050 | 7253575 | 6.1165 | 0 | 78.087 | 22.1 | 1176 | 1364.2
5 | 13/04/2015 | 7:00:00 a.m. | 150837 | 7249036 | 6.414 | 0 | 81.403 | 22.1 | 928 | 1373.6
4 | 12/04/2015 | 7:00:00 a.m. | 128565 | 7245573 | 6.6954 | 0 | 83.145 | 21.7 | 828.4 | 1504.5
3 | 11/04/2015 | 7:00:00 a.m. | 108682 | 7242547 | 6.7985 | 0 | 80.212 | 21.4 | 1091.2 | 1343
2 | 10/04/2015 | 7:00:00 a.m. | 82496 | 7238406 | 6.219 | 0 | 77.626 | 21.6 | 1299.9 | 1424.5
1 | 09/04/2015 | 7:00:00 a.m. | 51300 | 7233372 | 6.1617 | 0 | 77.892 | 21.3 | 1306.5 | 1538.1
32 | 08/04/2015 | 7:00:00 a.m. | 19868 | 7228318 | 6.0579 | 0 | 77.879 | 21.3 | 1255.4 | 1380.7
31 | 07/04/2015 | 7:00:00 a.m. | 989735 | 7223474 | 6.4407 | 0 | 79.166 | 21.3 | 1218.5 | 1356.1
30 | 06/04/2015 | 7:00:00 a.m. | 960497 | 7218839 | 6.2436 | 0 | 83.918 | 21.8 | 768.1 | 1347.5
29 | 05/04/2015 | 7:00:00 a.m. | 942055 | 7216027 | 6.8388 | 0 | 86.559 | 22 | 566.5 | 712.9
28 | 04/04/2015 | 7:00:00 a.m. | 928465 | 7214027 | 6.8112 | 0 | 87.377 | 25.5 | 188.2 | 780
27 | 03/04/2015 | 7:00:00 a.m. | 924074 | 7213391 | 7.339 | 0 | 83.231 | 18.6 | 796.4 | 1354.7
26 | 02/04/2015 | 7:00:00 a.m. | 904994 | 7210365 | 6.5317 | 0 | 80.842 | 21.4 | 1203.1 | 1387
25 | 01/04/2015 | 7:00:00 a.m. | 876121 | 7205864 | 6.345 | 0 | 81.132 | 21.6 | 1059.7 | 1220.1
24 | 31/03/2015 | 7:00:00 a.m. | 850684 | 7201912 | 6.5522 | 0 | 81.109 | 21.7 | 1090.1 | 1247.4

## Mayo
Data Log
Unit Serial Number: | 04/07/33103
Meter/Site ID: | DART 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | None
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 31/05/2015 | 7:00:00 a.m. | 319635 | 7421702 | 7.1248 | 0 | 89.869 | 23.3 | 667.1 | 843.2
22 | 30/05/2015 | 7:00:00 a.m. | 303638 | 7419412 | 7.0341 | 0 | 87.131 | 23 | 1009.5 | 1611.7
21 | 29/05/2015 | 7:00:00 a.m. | 279421 | 7415842 | 6.6793 | 0 | 85.843 | 22.8 | 1173.9 | 1994.4
20 | 28/05/2015 | 7:00:00 a.m. | 251244 | 7411655 | 6.7128 | 0 | 86.061 | 22.5 | 1114.8 | 1365.9
19 | 27/05/2015 | 7:00:00 a.m. | 224523 | 7407686 | 6.7547 | 0 | 85.532 | 22.5 | 1176.3 | 1379
18 | 26/05/2015 | 7:00:00 a.m. | 196285 | 7403482 | 6.6112 | 0 | 85.458 | 22.5 | 1215.7 | 1394.9
17 | 25/05/2015 | 7:00:00 a.m. | 167105 | 7399135 | 6.7228 | 0 | 89.528 | 22.6 | 814.6 | 1296.7
16 | 24/05/2015 | 7:00:00 a.m. | 147577 | 7396327 | 7.1412 | 0 | 90.315 | 22.1 | 737.4 | 861.1
15 | 23/05/2015 | 7:00:00 a.m. | 129897 | 7393819 | 7.0642 | 0 | 87.463 | 22.2 | 1080.7 | 1367.3
14 | 22/05/2015 | 7:00:00 a.m. | 103963 | 7390021 | 6.7815 | 0 | 85.911 | 21.9 | 1225.9 | 1537.1
13 | 21/05/2015 | 7:00:00 a.m. | 74561 | 7385666 | 6.7745 | 0 | 85.295 | 22.5 | 1237.1 | 1381.8
12 | 20/05/2015 | 7:00:00 a.m. | 44865 | 7381235 | 6.6438 | 0 | 85.635 | 22.5 | 1196.5 | 1564
11 | 19/05/2015 | 7:00:00 a.m. | 16148 | 7376964 | 6.7561 | 0 | 85.861 | 22.5 | 1205.5 | 1883.7
10 | 18/05/2015 | 7:00:00 a.m. | 987219 | 7372671 | 6.7853 | 0 | 89.063 | 22.6 | 853.6 | 1273.2
9 | 17/05/2015 | 7:00:00 a.m. | 966724 | 7369717 | 7.1225 | 0 | 90.514 | 22.4 | 712.6 | 859.4
8 | 16/05/2015 | 7:00:00 a.m. | 949629 | 7367295 | 7.1548 | 0 | 87.895 | 21.8 | 1051.5 | 1383.1
7 | 15/05/2015 | 7:00:00 a.m. | 924400 | 7363617 | 6.7095 | 0 | 85.349 | 22.2 | 1274.1 | 1403.3
6 | 14/05/2015 | 7:00:00 a.m. | 893825 | 7359062 | 6.759 | 0 | 86.094 | 22.5 | 1204.7 | 1362.9
5 | 13/05/2015 | 7:00:00 a.m. | 864913 | 7354780 | 6.7242 | 0 | 86.25 | 22.7 | 1177.9 | 1333.8
4 | 12/05/2015 | 7:00:00 a.m. | 836645 | 7350597 | 6.8311 | 0 | 85.97 | 23 | 1179.1 | 1376
3 | 11/05/2015 | 7:00:00 a.m. | 808342 | 7346393 | 6.7866 | 0 | 89.446 | 23.1 | 787.6 | 1518.9
2 | 10/05/2015 | 7:00:00 a.m. | 789443 | 7343674 | 7.1239 | 0 | 91.114 | 22.2 | 696.4 | 1178.1
1 | 09/05/2015 | 7:00:00 a.m. | 772725 | 7341320 | 7.1477 | 0 | 88.913 | 22 | 987.8 | 1326.3
30 | 08/05/2015 | 7:00:00 a.m. | 748942 | 7337888 | 6.7133 | 0 | 86.788 | 22.3 | 1222.4 | 1448.4
29 | 07/05/2015 | 7:00:00 a.m. | 719603 | 7333577 | 6.7645 | 0 | 86.975 | 22.5 | 1202.2 | 1351.2
28 | 06/05/2015 | 7:00:00 a.m. | 690751 | 7329342 | 6.7645 | 0 | 86.83 | 22.7 | 1197.5 | 1396.7
27 | 05/05/2015 | 7:00:00 a.m. | 662010 | 7325115 | 6.857 | 0 | 87.231 | 22.5 | 1162.5 | 1432.3
26 | 04/05/2015 | 7:00:00 a.m. | 634115 | 7321031 | 6.8054 | 0 | 89.988 | 22.8 | 774.8 | 1495.5
25 | 03/05/2015 | 7:00:00 a.m. | 615511 | 7318371 | 7.1407 | 0 | 91.232 | 23.1 | 578.6 | 894.6
24 | 02/05/2015 | 7:00:00 a.m. | 601640 | 7316415 | 7.1044 | 0 | 92.214 | 29.2 | 226.6 | 836.4
23 | 01/05/2015 | 7:00:00 a.m. | 596350 | 7315677 | 7.4489 | 0 | 88.986 | 21.8 | 779.2 | 1323.7
22 | 30/04/2015 | 7:00:00 a.m. | 577696 | 7312915 | 6.7727 | 0 | 86.397 | 23.2 | 1189.2 | 1387.6

## Junio
Data Log
Unit Serial Number: | 04/07/33103
Meter/Site ID: | DART 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 30
Fault/Alarms Recorded: | None
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 01/07/2015 | 7:00:00 a.m. | 63458 | 7532488 | 6.6424 | 0 | 85.574 | 26.7 | 1160.8 | 1335.7
22 | 30/06/2015 | 7:00:00 a.m. | 35605 | 7528277 | 6.7538 | 0 | 85.762 | 26.5 | 1138.1 | 1336.6
21 | 29/06/2015 | 7:00:00 a.m. | 8292 | 7524160 | 6.5926 | 0 | 90.633 | 28.9 | 332.7 | 1472
20 | 28/06/2015 | 7:00:00 a.m. | 402 | 7523001 | 7.2777 | 0 | 92.845 | 24.4 | 0 | 0
19 | 27/06/2015 | 7:00:00 a.m. | 402 | 7523001 | 7.3621 | 0 | 88.579 | 24 | 747.3 | 1300.3
18 | 26/06/2015 | 7:00:00 a.m. | 982516 | 7520314 | 6.7698 | 0 | 85.68 | 26.3 | 1151.2 | 1296.9
17 | 25/06/2015 | 7:00:00 a.m. | 954892 | 7516150 | 6.6492 | 0 | 85.633 | 26.4 | 1183.6 | 1431.1
16 | 24/06/2015 | 7:00:00 a.m. | 926489 | 7511869 | 6.6794 | 0 | 85.428 | 26.2 | 1222.6 | 1405.8
15 | 23/06/2015 | 7:00:00 a.m. | 897145 | 7507437 | 6.689 | 0 | 85.971 | 26.2 | 1166.2 | 1345.3
14 | 22/06/2015 | 7:00:00 a.m. | 869165 | 7503237 | 6.7764 | 0 | 86.951 | 25.8 | 1161 | 1307.9
13 | 21/06/2015 | 7:00:00 a.m. | 841304 | 7499100 | 6.778 | 0 | 86.776 | 25.8 | 1149.5 | 1312
12 | 20/06/2015 | 7:00:00 a.m. | 813716 | 7494997 | 6.797 | 0 | 87.622 | 26.1 | 1015.7 | 1299.4
11 | 19/06/2015 | 7:00:00 a.m. | 789340 | 7491395 | 6.7932 | 0 | 85.572 | 25.6 | 1176.8 | 1364.9
10 | 18/06/2015 | 7:00:00 a.m. | 761097 | 7487144 | 6.7575 | 0 | 86.562 | 25.4 | 1169.9 | 1511.3
9 | 17/06/2015 | 7:00:00 a.m. | 733016 | 7482962 | 6.5376 | 0 | 85.482 | 25.2 | 1119.2 | 1306.9
8 | 16/06/2015 | 7:00:00 a.m. | 706162 | 7478922 | 6.7629 | 0 | 85.909 | 25.2 | 1115.9 | 1344.7
7 | 15/06/2015 | 7:00:00 a.m. | 679378 | 7474911 | 6.7775 | 0 | 89.21 | 25.1 | 715.9 | 1463
6 | 14/06/2015 | 7:00:00 a.m. | 662187 | 7472416 | 6.9884 | 0 | 89.636 | 24.6 | 625.4 | 943
5 | 13/06/2015 | 7:00:00 a.m. | 647203 | 7470258 | 6.9857 | 0 | 86.889 | 24.3 | 1025.8 | 1807.9
4 | 12/06/2015 | 7:00:00 a.m. | 622595 | 7466598 | 6.6919 | 0 | 85.64 | 24.4 | 1174 | 1318.5
3 | 11/06/2015 | 7:00:00 a.m. | 594423 | 7462381 | 6.7114 | 0 | 86.825 | 24.5 | 1057.6 | 1377.7
2 | 10/06/2015 | 7:00:00 a.m. | 569037 | 7458623 | 6.7294 | 0 | 85.765 | 24.3 | 1185.6 | 1371.7
1 | 09/06/2015 | 7:00:00 a.m. | 540590 | 7454370 | 6.5481 | 0 | 85.325 | 25 | 1205.5 | 1384.2
31 | 08/06/2015 | 7:00:00 a.m. | 511561 | 7450001 | 6.6633 | 0 | 88.378 | 24.5 | 866.2 | 1392.2
30 | 07/06/2015 | 7:00:00 a.m. | 490775 | 7446965 | 6.9967 | 0 | 89.504 | 23.9 | 726.6 | 1043.5
29 | 06/06/2015 | 7:00:00 a.m. | 473342 | 7444456 | 6.9029 | 0 | 87.12 | 23.5 | 1076.9 | 1552.5
28 | 05/06/2015 | 7:00:00 a.m. | 447502 | 7440636 | 6.7193 | 0 | 87.547 | 23.6 | 977.5 | 1491.6
27 | 04/06/2015 | 7:00:00 a.m. | 424058 | 7437171 | 6.6507 | 0 | 86.015 | 23.5 | 1194.3 | 1674.3
26 | 03/06/2015 | 7:00:00 a.m. | 395410 | 7432910 | 6.7796 | 0 | 85.792 | 23.5 | 1202.3 | 1626.1
25 | 02/06/2015 | 7:00:00 a.m. | 366587 | 7428609 | 6.7536 | 0 | 85.877 | 23.4 | 1177.5 | 1424.5
24 | 01/06/2015 | 7:00:00 a.m. | 338329 | 7424404 | 6.8331 | 0 | 89.173 | 23.5 | 778.7 | 1612.4
23 | 31/05/2015 | 7:00:00 a.m. | 319635 | 7421702 | 7.1248 | 0 | 89.869 | 23.3 | 667.1 | 843.2

## Julio
Data Log
Unit Serial Number: | 04/07/33103
Meter/Site ID: | DART 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 33
Fault/Alarms Recorded: | None
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
23 | 31/07/2015 | 7:00:00 a.m. | 817771 | 7645549 | 6.5628 | 0 | 84.867 | 27.8 | 1211 | 1332.4
22 | 30/07/2015 | 7:00:00 a.m. | 788704 | 7641113 | 6.6817 | 0 | 85.28 | 27.7 | 1179.5 | 1296.8
21 | 29/07/2015 | 7:00:00 a.m. | 760395 | 7636812 | 6.6471 | 0 | 85.838 | 27.4 | 1176 | 1283.6
20 | 28/07/2015 | 7:00:00 a.m. | 732172 | 7632553 | 6.6021 | 0 | 85.904 | 27.3 | 1149.4 | 1268.5
19 | 27/07/2015 | 7:00:00 a.m. | 704591 | 7628395 | 6.6907 | 0 | 88.55 | 27.7 | 821.8 | 1609.7
18 | 26/07/2015 | 7:00:00 a.m. | 684869 | 7625485 | 6.9327 | 0 | 89.681 | 28.1 | 660.9 | 745.7
17 | 25/07/2015 | 7:00:00 a.m. | 669021 | 7623178 | 6.8913 | 0 | 86.891 | 27.4 | 1015.4 | 1316.3
16 | 24/07/2015 | 7:00:00 a.m. | 644655 | 7619517 | 6.6499 | 0 | 85.709 | 27.3 | 1178.1 | 1315.2
15 | 23/07/2015 | 7:00:00 a.m. | 616382 | 7615247 | 6.7803 | 0 | 85.933 | 27.2 | 1158 | 1516.9
14 | 22/07/2015 | 7:00:00 a.m. | 588593 | 7611059 | 6.7573 | 0 | 85.424 | 26.9 | 1191.1 | 1332.2
13 | 21/07/2015 | 7:00:00 a.m. | 560005 | 7606733 | 6.5855 | 0 | 85.792 | 27 | 1139 | 1330.6
12 | 20/07/2015 | 7:00:00 a.m. | 532674 | 7602610 | 6.6029 | 0 | 88.797 | 27.1 | 767.4 | 1246.8
11 | 19/07/2015 | 7:00:00 a.m. | 514258 | 7599908 | 6.894 | 0 | 89.574 | 27.8 | 666 | 772.9
10 | 18/07/2015 | 7:00:00 a.m. | 498281 | 7597581 | 6.9119 | 0 | 86.873 | 27.4 | 1015.5 | 1316.7
9 | 17/07/2015 | 7:00:00 a.m. | 473915 | 7593924 | 6.6366 | 0 | 85.344 | 26.8 | 1202.9 | 1608.1
8 | 16/07/2015 | 7:00:00 a.m. | 445038 | 7589551 | 6.5722 | 0 | 85.961 | 26.7 | 1202.8 | 1383.1
7 | 15/07/2015 | 7:00:00 a.m. | 416175 | 7585211 | 6.6534 | 0 | 85.579 | 26.7 | 1211.2 | 1351.7
6 | 14/07/2015 | 7:00:00 a.m. | 387102 | 7580822 | 6.717 | 0 | 85.886 | 26.9 | 1158.5 | 1349.9
5 | 13/07/2015 | 7:00:00 a.m. | 359305 | 7576635 | 6.6409 | 0 | 88.358 | 26.9 | 880 | 1304.5
4 | 12/07/2015 | 7:00:00 a.m. | 338192 | 7573527 | 7.0321 | 0 | 89.96 | 26.4 | 717.4 | 810.8
3 | 11/07/2015 | 7:00:00 a.m. | 320972 | 7571040 | 6.979 | 0 | 87.502 | 26.2 | 1043.3 | 1617
2 | 10/07/2015 | 7:00:00 a.m. | 295936 | 7567316 | 6.6395 | 0 | 86.181 | 26.2 | 1196.6 | 1340.2
1 | 09/07/2015 | 7:00:00 a.m. | 267221 | 7563014 | 6.6161 | 0 | 85.536 | 26.4 | 1212.5 | 1813.4
30 | 08/07/2015 | 7:00:00 a.m. | 238040 | 7558611 | 6.7161 | 0 | 85.811 | 26.4 | 1159.5 | 1316.7
29 | 07/07/2015 | 7:00:00 a.m. | 210213 | 7554424 | 6.66 | 0 | 85.991 | 26.3 | 1158.1 | 1359.2
28 | 06/07/2015 | 7:00:00 a.m. | 182417 | 7550251 | 6.5601 | 0 | 88.586 | 26.3 | 844.1 | 1379.1
27 | 05/07/2015 | 7:00:00 a.m. | 162152 | 7547271 | 7.0255 | 0 | 89.883 | 26.5 | 655.7 | 744.7
26 | 04/07/2015 | 7:00:00 a.m. | 146419 | 7544996 | 6.9133 | 0 | 86.713 | 26.4 | 1055.4 | 1398.3
25 | 03/07/2015 | 7:00:00 a.m. | 121098 | 7541195 | 6.6973 | 0 | 85.509 | 26.4 | 1207 | 1430
24 | 02/07/2015 | 7:00:00 a.m. | 92133 | 7536820 | 6.6124 | 0 | 85.404 | 26.4 | 1194.4 | 1374.5
23 | 01/07/2015 | 7:00:00 a.m. | 63458 | 7532488 | 6.6424 | 0 | 85.574 | 26.7 | 1160.8 | 1335.7

## Agosto
Data Log
Unit Serial Number: | 04/07/33103
Meter/Site ID: | DART 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | None
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
21 | 31/08/2015 | 7:00:00 a.m. | 581859 | 7759860 | 6.6955 | 0 | 90.243 | 29 | 875.9 | 1501
20 | 30/08/2015 | 7:00:00 a.m. | 560841 | 7756800 | 6.983 | 0 | 90.998 | 29.4 | 792.5 | 1043.4
19 | 29/08/2015 | 7:00:00 a.m. | 541820 | 7754051 | 7.0419 | 0 | 88.953 | 29.3 | 1076.1 | 1337.8
18 | 28/08/2015 | 7:00:00 a.m. | 515997 | 7750232 | 6.7089 | 0 | 88.089 | 29.2 | 1213.8 | 1375.5
17 | 27/08/2015 | 7:00:00 a.m. | 486870 | 7745907 | 6.7984 | 0 | 88.001 | 29 | 1200.3 | 1376.2
16 | 26/08/2015 | 7:00:00 a.m. | 458060 | 7741628 | 6.8089 | 0 | 86.876 | 28.3 | 1213.8 | 1395.3
15 | 25/08/2015 | 7:00:00 a.m. | 428929 | 7737248 | 6.713 | 0 | 87.142 | 28.9 | 1150 | 1309.7
14 | 24/08/2015 | 7:00:00 a.m. | 401335 | 7733116 | 6.722 | 0 | 89.754 | 28.7 | 861.5 | 1431.3
13 | 23/08/2015 | 7:00:00 a.m. | 380650 | 7730094 | 7.0114 | 0 | 90.475 | 28.4 | 794.1 | 1348.1
12 | 22/08/2015 | 7:00:00 a.m. | 361593 | 7727336 | 7.0271 | 0 | 88.314 | 28.3 | 1038.9 | 1315.6
11 | 21/08/2015 | 7:00:00 a.m. | 336665 | 7723638 | 6.6605 | 0 | 87.301 | 28.4 | 1175.7 | 1350.4
10 | 20/08/2015 | 7:00:00 a.m. | 308445 | 7719425 | 6.8765 | 0 | 88.2 | 28.4 | 1100.7 | 1310
9 | 19/08/2015 | 7:00:00 a.m. | 282035 | 7715517 | 6.8212 | 0 | 88.158 | 28.6 | 1070.7 | 1205.9
8 | 18/08/2015 | 7:00:00 a.m. | 256333 | 7711711 | 6.7964 | 0 | 87.709 | 28.7 | 1073.4 | 1271.5
7 | 17/08/2015 | 7:00:00 a.m. | 230577 | 7707878 | 6.7194 | 0 | 90.42 | 29.9 | 718.4 | 1227.3
6 | 16/08/2015 | 7:00:00 a.m. | 213329 | 7705365 | 7.0049 | 0 | 90.155 | 29.6 | 715.7 | 942.1
5 | 15/08/2015 | 7:00:00 a.m. | 196159 | 7702862 | 6.9294 | 0 | 86.942 | 29.1 | 991.4 | 1389.2
4 | 14/08/2015 | 7:00:00 a.m. | 172374 | 7699277 | 6.5848 | 0 | 85.633 | 28.9 | 1140.8 | 1323.7
3 | 13/08/2015 | 7:00:00 a.m. | 144994 | 7695115 | 6.7083 | 0 | 84.928 | 28.4 | 1207.2 | 1399.1
2 | 12/08/2015 | 7:00:00 a.m. | 116029 | 7690686 | 6.5773 | 0 | 85.138 | 27.9 | 1229.3 | 1875.7
1 | 11/08/2015 | 7:00:00 a.m. | 86524 | 7686194 | 6.6291 | 0 | 85.88 | 27.8 | 1170.4 | 1581.3
33 | 10/08/2015 | 7:00:00 a.m. | 58387 | 7681943 | 6.6948 | 0 | 88.086 | 27.8 | 941.6 | 1441.9
32 | 09/08/2015 | 7:00:00 a.m. | 35790 | 7678599 | 6.9054 | 0 | 88.696 | 27.9 | 859.9 | 1012.4
31 | 08/08/2015 | 7:00:00 a.m. | 15153 | 7675567 | 6.8609 | 0 | 86.614 | 27.9 | 1076.5 | 1389.5
30 | 07/08/2015 | 7:00:00 a.m. | 989320 | 7671676 | 6.5975 | 0 | 85.132 | 28.1 | 1217.8 | 1410.1
29 | 06/08/2015 | 7:00:00 a.m. | 960095 | 7667223 | 6.5284 | 0 | 84.861 | 28.4 | 1230.8 | 1594.4
28 | 05/08/2015 | 7:00:00 a.m. | 930559 | 7662704 | 6.5988 | 0 | 84.933 | 28.3 | 1220 | 1403.9
27 | 04/08/2015 | 7:00:00 a.m. | 901280 | 7658231 | 6.6148 | 0 | 85.51 | 28 | 1137.6 | 1584.1
26 | 03/08/2015 | 7:00:00 a.m. | 873982 | 7654087 | 6.6978 | 0 | 90.518 | 29.6 | 334.2 | 1596.4
25 | 02/08/2015 | 7:00:00 a.m. | 865991 | 7652918 | 7.3637 | 0 | 88.078 | 25 | 768.4 | 1370.2
24 | 01/08/2015 | 7:00:00 a.m. | 847597 | 7650112 | 6.5689 | 0 | 84.637 | 27.8 | 1242.8 | 1461.4

## Septiembre
Data Log
Unit Serial Number: | 04/07/33103
Meter/Site ID: | DART 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | None
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H
21 | 29/09/2015 | 7:00:00 a.m. | 260868 | 7861425 | 6.786 | 0 | 87.316 | 28.6 | 1044.4 | 1244.1
20 | 28/09/2015 | 7:00:00 a.m. | 235811 | 7857684 | 6.6643 | 0 | 88.746 | 29 | 769.5 | 1423.7
19 | 27/09/2015 | 7:00:00 a.m. | 217341 | 7854961 | 6.8612 | 0 | 89.113 | 29.1 | 724.2 | 900.2
18 | 26/09/2015 | 7:00:00 a.m. | 199958 | 7852408 | 6.8579 | 0 | 87.687 | 28.9 | 957.2 | 1314.2
17 | 25/09/2015 | 7:00:00 a.m. | 176992 | 7848973 | 6.6571 | 0 | 86.41 | 28.8 | 1089.9 | 1270
16 | 24/09/2015 | 7:00:00 a.m. | 150828 | 7845028 | 6.6971 | 0 | 86.62 | 28.6 | 1048.1 | 1246.9
15 | 23/09/2015 | 7:00:00 a.m. | 125679 | 7841247 | 6.7313 | 0 | 87.505 | 28.5 | 933 | 1236.8
14 | 22/09/2015 | 7:00:00 a.m. | 103293 | 7837913 | 6.6929 | 0 | 86.386 | 28.1 | 1053.8 | 1342.5
13 | 21/09/2015 | 7:00:00 a.m. | 78009 | 7834107 | 6.5243 | 0 | 87.614 | 29.8 | 755.8 | 1354.8
12 | 20/09/2015 | 7:00:00 a.m. | 59867 | 7831394 | 6.8555 | 0 | 87.008 | 29 | 778.2 | 1019
11 | 19/09/2015 | 7:00:00 a.m. | 41196 | 7828593 | 6.6587 | 0 | 85.766 | 28.5 | 990.2 | 1414
10 | 18/09/2015 | 7:00:00 a.m. | 17433 | 7824973 | 6.6852 | 0 | 85.344 | 28.4 | 1002 | 1253
9 | 17/09/2015 | 7:00:00 a.m. | 993380 | 7821313 | 6.5573 | 0 | 88.54 | 28.2 | 324.9 | 1553
8 | 16/09/2015 | 7:00:00 a.m. | 985604 | 7820154 | 7.0249 | 0 | 88.448 | 25.7 | 649.9 | 1530.1
7 | 15/09/2015 | 7:00:00 a.m. | 970060 | 7817809 | 6.7068 | 0 | 85.822 | 28.7 | 1158.3 | 1265.2
6 | 14/09/2015 | 7:00:00 a.m. | 942263 | 7813595 | 6.589 | 0 | 87.589 | 29.1 | 895.7 | 1259.2
5 | 13/09/2015 | 7:00:00 a.m. | 920762 | 7810385 | 6.9047 | 0 | 88.457 | 29.2 | 840.2 | 1038.7
4 | 12/09/2015 | 7:00:00 a.m. | 900596 | 7807401 | 6.8076 | 0 | 86.85 | 29 | 1079.6 | 1578
3 | 11/09/2015 | 7:00:00 a.m. | 874691 | 7803498 | 6.5912 | 0 | 86.503 | 28.9 | 1172.3 | 1893.9
2 | 10/09/2015 | 7:00:00 a.m. | 846556 | 7799258 | 6.6557 | 0 | 86.703 | 29.4 | 1213.2 | 1412.3
1 | 09/09/2015 | 7:00:00 a.m. | 817440 | 7794872 | 6.6236 | 0 | 86.887 | 29.5 | 1210.4 | 1397.8
29 | 08/09/2015 | 7:00:00 a.m. | 788358 | 7790497 | 6.6561 | 0 | 86.857 | 29.2 | 1189.7 | 1331.7
28 | 07/09/2015 | 7:00:00 a.m. | 759810 | 7786205 | 6.6439 | 0 | 89.14 | 29.3 | 859.7 | 1436.6
27 | 06/09/2015 | 7:00:00 a.m. | 739181 | 7783167 | 7.04 | 0 | 89.797 | 28.5 | 830.1 | 1310.9
26 | 05/09/2015 | 7:00:00 a.m. | 719263 | 7780265 | 6.9744 | 0 | 88.488 | 28.3 | 1048.8 | 1366.1
25 | 04/09/2015 | 7:00:00 a.m. | 694092 | 7776547 | 6.7299 | 0 | 87.379 | 28.4 | 1157.3 | 1336.1
24 | 03/09/2015 | 7:00:00 a.m. | 666318 | 7772405 | 6.7327 | 0 | 88.222 | 28.3 | 1127.6 | 1513.3
23 | 02/09/2015 | 7:00:00 a.m. | 639269 | 7768405 | 6.8432 | 0 | 87.927 | 28.3 | 1169.3 | 1546
22 | 01/09/2015 | 7:00:00 a.m. | 611212 | 7764245 | 6.6706 | 0 | 87.286 | 28.5 | 1223 | 1398.4

## Octubre
Data Log
Unit Serial Number: | 04/07/33103
Meter/Site ID: | DART 11M175
Drive Rate | 1 m³/rev
Number of Logs Stored: | 17
Fault/Alarms Recorded: | Date | Time | Condition
1 | 24/10/2015 | 10:38:05 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp | Min Press | Max Press | Ending Press | Min Temp | Max Temp | Ending Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv² | PSI | PSI | PSI | °C | °C | °C | V
17 | 01/11/2015 | 7:00:00 a.m. | 30745 | 7973485 | 7.4605 | 0 | 96.27 | 26.5 | 683.9 | 775.1 | 1.0133 | 94.703 | 98.705 | 97.205 | 24.3 | 30.2 | 24.7 | 4.65
16 | 31/10/2015 | 7:00:00 a.m. | 14331 | 7971252 | 7.5307 | 0 | 95.021 | 26.1 | 983.3 | 1273.2 | 1.0134 | 90.788 | 100.012 | 98.137 | 23.8 | 28.8 | 24.4 | 4.65
15 | 30/10/2015 | 7:00:00 a.m. | 990761 | 7967995 | 7.1836 | 0 | 93.848 | 26.1 | 1142 | 1309.3 | 1.0126 | 90.829 | 96.267 | 93.213 | 24.7 | 28.7 | 25 | 4.65
14 | 29/10/2015 | 7:00:00 a.m. | 963347 | 7964185 | 7.2339 | 0 | 89.504 | 26.4 | 1149.6 | 1326.6 | 1.0127 | 0.291 | 96.11 | 94.245 | 25.5 | 28.9 | 25.7 | 4.66
13 | 28/10/2015 | 7:00:00 a.m. | 935175 | 7960246 | 6.989 | 0 | 89.544 | 26.7 | 1161.7 | 1381.1 | 1.0122 | 85.98 | 92.623 | 90.594 | 25.4 | 29.5 | 25.7 | 4.66
12 | 27/10/2015 | 7:00:00 a.m. | 907301 | 7956200 | 6.8937 | 0 | 89.757 | 26.9 | 1142 | 1570.8 | 1.012 | 88.009 | 92.413 | 89.138 | 25.3 | 29.8 | 25.6 | 4.66
11 | 26/10/2015 | 7:00:00 a.m. | 879900 | 7952230 | 6.9175 | 0 | 93.161 | 26.7 | 762.1 | 1243.6 | 1.012 | 89.534 | 96.148 | 89.548 | 25.4 | 29.1 | 25.7 | 4.66
10 | 25/10/2015 | 7:00:00 a.m. | 861620 | 7949661 | 7.3096 | 0 | 69.142 | 30.4 | 394.3 | 815.1 | 1.0128 | 0.246 | 98.563 | 95.352 | 25.3 | 45.8 | 25.7 | 4.67
9 | 24/10/2015 | 7:00:00 a.m. | 852186 | 7948358 | 7.1882 | 0 | 91.285 | 26.8 | 946.5 | 1285.1 | 1.0126 | 88.36 | 94.433 | 93.434 | 25.3 | 29.5 | 25.4 | 4.67
8 | 23/10/2015 | 7:00:00 a.m. | 829482 | 7945104 | 7.0433 | 0 | 90.203 | 26.8 | 1084.2 | 1301.1 | 1.0123 | 88.319 | 92.292 | 91.383 | 25.4 | 29.4 | 25.6 | 4.66
7 | 22/10/2015 | 7:00:00 a.m. | 803460 | 7941351 | 6.8726 | 0 | 89.54 | 27 | 1105.6 | 1304.5 | 1.0119 | 87.798 | 92.162 | 88.992 | 25.7 | 29.1 | 26 | 4.66
6 | 21/10/2015 | 7:00:00 a.m. | 776928 | 7937497 | 6.9369 | 0 | 89.404 | 26.9 | 1126.9 | 1288.7 | 1.012 | 86.85 | 91.498 | 89.957 | 25.8 | 28.9 | 26 | 4.67
5 | 20/10/2015 | 7:00:00 a.m. | 749885 | 7933565 | 6.8164 | 0 | 89.12 | 26.8 | 1128.9 | 1397.8 | 1.0117 | 87.617 | 91.848 | 88.204 | 26 | 28.5 | 26.2 | 4.66
4 | 19/10/2015 | 7:00:00 a.m. | 722787 | 7929616 | 6.8144 | 0 | 90.286 | 26.7 | 808.7 | 1200.7 | 1.0117 | 87.679 | 92.151 | 88.278 | 26 | 28 | 26.4 | 4.67
3 | 18/10/2015 | 7:00:00 a.m. | 703384 | 7926816 | 6.9855 | 0 | 91.185 | 27.2 | 736.7 | 827.6 | 1.012 | 89.797 | 92.484 | 90.9 | 25.8 | 29.4 | 26.6 | 4.68
2 | 17/10/2015 | 7:00:00 a.m. | 685705 | 7924287 | 7.012 | 0 | 89.821 | 26.8 | 1029.5 | 1298.8 | 1.0121 | 87.261 | 93.01 | 91.279 | 26.3 | 28.1 | 26.6 | 4.68
1 | 16/10/2015 | 7:00:00 a.m. | 660994 | 7920700 | 6.8771 | 0 | 89.209 | 27.6 | 1123.8 | 1268.1 | 1.0118 | 86.506 | 90.878 | 89.292 | 26.6 | 30 | 26.7 | 4.68
7 | 15/10/2015 | 7:00:00 a.m. | 634000 | 7916759 | 6.8355 | 0 | 89.111 | 27.8 | 1152 | 1305.7
6 | 14/10/2015 | 7:00:00 a.m. | 606351 | 7912714 | 6.8688 | 0 | 89.375 | 27.9 | 1083 | 1375.9
5 | 13/10/2015 | 7:00:00 a.m. | 580356 | 7908920 | 6.9054 | 0 | 90.013 | 27.8 | 1037.3 | 1633.6
4 | 12/10/2015 | 7:00:00 a.m. | 555471 | 7905310 | 6.8663 | 0 | 91.893 | 29 | 663.5 | 1475.6
3 | 11/10/2015 | 7:00:00 a.m. | 539544 | 7903022 | 7.3848 | 0 | 93.573 | 27.6 | 383 | 1281.6
2 | 10/10/2015 | 7:00:00 a.m. | 530399 | 7901696 | 6.9232 | 0 | 90.385 | 28.4 | 1168.1 | 1304.4
1 | 09/10/2015 | 7:00:00 a.m. | 502363 | 7897638 | 6.8696 | 0 | 90.36 | 27.9 | 1186.2 | 1876.1
30 | 08/10/2015 | 7:00:00 a.m. | 473800 | 7893509 | 6.8582 | 0 | 85.04 | 27.6 | 1102.8 | 1299.4
29 | 07/10/2015 | 7:00:00 a.m. | 447335 | 7889455 | 6.1264 | 0 | 76.004 | 27.4 | 1004.7 | 1200.2
28 | 06/10/2015 | 7:00:00 a.m. | 423222 | 7885413 | 6.0329 | 0 | 82.395 | 26.7 | 1018.8 | 1219.9
27 | 05/10/2015 | 7:00:00 a.m. | 398771 | 7881585 | 7.2361 | 0 | 95.627 | 27 | 761.6 | 1324.5
26 | 04/10/2015 | 7:00:00 a.m. | 380493 | 7879080 | 6.9948 | 0 | 90.658 | 27.9 | 739.7 | 1057.9
25 | 03/10/2015 | 7:00:00 a.m. | 362741 | 7876521 | 6.9585 | 0 | 89.15 | 27.8 | 944.4 | 1194.9
24 | 02/10/2015 | 7:00:00 a.m. | 340080 | 7873196 | 6.8886 | 0 | 87.874 | 28.3 | 1124.8 | 1331.5
23 | 01/10/2015 | 7:00:00 a.m. | 313080 | 7869191 | 6.7504 | 0 | 87.493 | 28.5 | 1126.4 | 1257.5