## Enero
Data Log
Unit Serial Number: | 10/09/43395
Meter/Site ID: | G100 Inmermek
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 02/12/2014 | 11:58:01 a.m. | 35 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 22/11/2013 | 11:51:08 p.m. | 33 (High Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
6 | 11/11/2013 | 12:55:38 p.m. | 196 (Temperature Fault Occurred Internal Operations Fault Occurred Low Battery Occurred)
8 | 11/11/2013 | 12:53:08 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
20 | 06/12/2010 | 2:16:03 p.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
21 | 29/01/2015 | 7:00:00 a.m. | 251923 | 269685 | 6.7373 | 0 | 100.03 | 17.9 | 204.5 | 315.4 | 1.0127
20 | 28/01/2015 | 7:00:00 a.m. | 247066 | 268971 | 6.7229 | 0 | 98.665 | 16.6 | 217.7 | 324.3 | 1.013
19 | 27/01/2015 | 7:00:00 a.m. | 241958 | 268214 | 6.7434 | 0 | 99.188 | 16.8 | 222.9 | 323.5 | 1.013
18 | 26/01/2015 | 7:00:00 a.m. | 236727 | 267442 | 6.7724 | 0 | 101.24 | 18.2 | 141.7 | 314.8 | 1.0127
17 | 25/01/2015 | 7:00:00 a.m. | 233395 | 266956 | 7.0248 | 0 | 100.916 | 18.4 | 182.5 | 314.6 | 1.0134
16 | 24/01/2015 | 7:00:00 a.m. | 229204 | 266344 | 6.9607 | 0 | 100.013 | 16.2 | 205.4 | 325.3 | 1.0134
15 | 23/01/2015 | 7:00:00 a.m. | 224414 | 265645 | 6.7778 | 0 | 99.269 | 16.8 | 198.2 | 269.4 | 1.0131
14 | 22/01/2015 | 7:00:00 a.m. | 219731 | 264955 | 6.8647 | 0 | 98.955 | 15.6 | 202.9 | 272.3 | 1.0133
13 | 21/01/2015 | 7:00:00 a.m. | 214937 | 264250 | 6.8892 | 0 | 99.668 | 15.6 | 201.9 | 327.5 | 1.0136
12 | 20/01/2015 | 7:00:00 a.m. | 210194 | 263557 | 6.9333 | 0 | 99.533 | 15.6 | 198.8 | 327.1 | 1.0137
11 | 19/01/2015 | 7:00:00 a.m. | 205592 | 262883 | 6.9989 | 0 | 101.591 | 15.6 | 175.4 | 323.5 | 1.0139
10 | 18/01/2015 | 7:00:00 a.m. | 201634 | 262316 | 7.2544 | 0 | 101.314 | 15.9 | 190.6 | 321.6 | 1.0145
9 | 17/01/2015 | 7:00:00 a.m. | 197262 | 261685 | 6.9907 | 0 | 93.056 | 16.4 | 199.6 | 323.4 | 1.0137
8 | 16/01/2015 | 7:00:00 a.m. | 192320 | 260969 | 6.6943 | 0 | 98.354 | 16.5 | 208.6 | 318.5 | 1.0129
7 | 15/01/2015 | 7:00:00 a.m. | 187466 | 260247 | 6.9444 | 0 | 98.731 | 15.8 | 208.6 | 324.7 | 1.0136
6 | 14/01/2015 | 7:00:00 a.m. | 182623 | 259532 | 6.7415 | 0 | 97.848 | 15.8 | 202.8 | 324.3 | 1.0132
5 | 13/01/2015 | 7:00:00 a.m. | 177917 | 258831 | 6.7097 | 0 | 97.287 | 16.3 | 214.7 | 326.7 | 1.013
4 | 12/01/2015 | 7:00:00 a.m. | 172897 | 258076 | 6.8342 | 0 | 101.041 | 15.9 | 182.5 | 313.3 | 1.0133
3 | 11/01/2015 | 7:00:00 a.m. | 168781 | 257483 | 7.0901 | 0 | 102.095 | 16.4 | 182.5 | 313 | 1.0138
2 | 10/01/2015 | 7:00:00 a.m. | 164634 | 256890 | 7.1849 | 0 | 100.529 | 15.8 | 191.6 | 311.7 | 1.0143
1 | 09/01/2015 | 7:00:00 a.m. | 160230 | 256251 | 6.7691 | 0 | 99.212 | 16.5 | 197.6 | 311.1 | 1.0131
38 | 08/01/2015 | 7:00:00 a.m. | 155640 | 255575 | 6.8061 | 0 | 99.16 | 16.5 | 199.9 | 311 | 1.0131
37 | 07/01/2015 | 7:00:00 a.m. | 151027 | 254895 | 6.9446 | 0 | 98.433 | 17.6 | 192.3 | 311.1 | 1.0136
36 | 06/01/2015 | 7:00:00 a.m. | 146591 | 254233 | 6.6674 | 0 | 98.485 | 17.5 | 197.9 | 311.7 | 1.0125
35 | 05/01/2015 | 7:00:00 a.m. | 142022 | 253552 | 6.8507 | 0 | 101.879 | 15.2 | 188.2 | 305.2 | 1.0131
34 | 04/01/2015 | 7:00:00 a.m. | 137683 | 252933 | 7.2587 | 0 | 103.03 | 13.5 | 191.5 | 327.8 | 1.0146
33 | 03/01/2015 | 7:00:00 a.m. | 133305 | 252319 | 7.1605 | 0 | 102.07 | 13.2 | 207.1 | 327.6 | 1.0143
32 | 02/01/2015 | 7:00:00 a.m. | 128517 | 251641 | 7.2234 | 0 | 105.05 | 12.2 | 161.4 | 284.9 | 1.0147
31 | 01/01/2015 | 7:00:00 a.m. | 125013 | 251162 | 7.5628 | 0 | 107.343 | 12.2 | 180.8 | 322.3 | 1.0155
30 | 31/12/2014 | 7:00:00 a.m. | 120961 | 250619 | 7.5973 | 0 | 102.698 | 14.4 | 199.4 | 323.9 | 1.0153

## Febrero
Data Log
Unit Serial Number: | 10/09/43395
Meter/Site ID: | G100 Inmermek
Drive Rate | 1 m³/rev
Number of Logs Stored: | 26
Fault/Alarms Recorded: | Date | Time | Condition
1 | 02/12/2014 | 11:58:01 a.m. | 35 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 22/11/2013 | 11:51:08 p.m. | 33 (High Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
6 | 11/11/2013 | 12:55:38 p.m. | 196 (Temperature Fault Occurred Internal Operations Fault Occurred Low Battery Occurred)
8 | 11/11/2013 | 12:53:08 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
20 | 06/12/2010 | 2:16:03 p.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
20 | 01/03/2015 | 7:00:00 a.m. | 394445 | 290645 | 6.9154 | 0 | 100.121 | 16.2 | 199 | 328.3 | 1.0136
19 | 28/02/2015 | 7:00:00 a.m. | 389816 | 289970 | 7.0128 | 0 | 97.569 | 16.8 | 215.9 | 328 | 1.0138
18 | 27/02/2015 | 7:00:00 a.m. | 384778 | 289213 | 6.5904 | 0 | 97.378 | 16.6 | 208.7 | 324.3 | 1.0127
17 | 26/02/2015 | 7:00:00 a.m. | 379942 | 288487 | 6.7866 | 0 | 97.128 | 16.7 | 208.2 | 322.3 | 1.0135
16 | 25/02/2015 | 7:00:00 a.m. | 375095 | 287756 | 6.7171 | 0 | 97.646 | 16 | 204.5 | 323.6 | 1.0133
15 | 24/02/2015 | 7:00:00 a.m. | 370341 | 287045 | 6.667 | 0 | 97.175 | 16.1 | 207.2 | 323.5 | 1.0132
14 | 23/02/2015 | 7:00:00 a.m. | 365528 | 286322 | 6.5861 | 0 | 100.434 | 16.3 | 175.7 | 314 | 1.0128
13 | 22/02/2015 | 7:00:00 a.m. | 361550 | 285744 | 7.0369 | 0 | 100.121 | 17.3 | 183 | 310.6 | 1.0137
12 | 21/02/2015 | 7:00:00 a.m. | 357310 | 285123 | 6.9765 | 0 | 98.541 | 17.4 | 193.5 | 319.1 | 1.0135
11 | 20/02/2015 | 7:00:00 a.m. | 352851 | 284459 | 6.7341 | 0 | 97.886 | 17.8 | 210.9 | 319.1 | 1.0131
10 | 19/02/2015 | 7:00:00 a.m. | 347948 | 283723 | 6.7817 | 0 | 99.079 | 17.5 | 205.1 | 319 | 1.0133
9 | 18/02/2015 | 7:00:00 a.m. | 343187 | 283018 | 6.8143 | 0 | 98.968 | 17 | 203.2 | 320 | 1.0133
8 | 17/02/2015 | 7:00:00 a.m. | 338423 | 282313 | 6.7709 | 0 | 99.117 | 17.5 | 205.4 | 315.1 | 1.0133
7 | 16/02/2015 | 7:00:00 a.m. | 333573 | 281594 | 6.9328 | 0 | 101.955 | 17.7 | 170.4 | 308.6 | 1.0138
6 | 15/02/2015 | 7:00:00 a.m. | 329677 | 281033 | 7.2055 | 0 | 102.191 | 18.4 | 180.2 | 305.3 | 1.0144
5 | 14/02/2015 | 7:00:00 a.m. | 325526 | 280434 | 7.0938 | 0 | 100.509 | 19.3 | 202.7 | 311.7 | 1.0139
4 | 13/02/2015 | 7:00:00 a.m. | 320817 | 279742 | 6.8268 | 0 | 99.379 | 19.1 | 201.1 | 308.9 | 1.0131
3 | 12/02/2015 | 7:00:00 a.m. | 316137 | 279047 | 6.7367 | 0 | 99.272 | 20.2 | 213.9 | 308.3 | 1.0128
2 | 11/02/2015 | 7:00:00 a.m. | 311135 | 278300 | 6.7591 | 0 | 99.808 | 18 | 207.7 | 318.8 | 1.0127
1 | 10/02/2015 | 7:00:00 a.m. | 306301 | 277587 | 7.0213 | 0 | 99.967 | 16.8 | 224.8 | 326.6 | 1.0141
32 | 09/02/2015 | 7:00:00 a.m. | 300996 | 276811 | 7.0385 | 0 | 101.951 | 17.3 | 178.3 | 320.2 | 1.0137
31 | 08/02/2015 | 7:00:00 a.m. | 296964 | 276232 | 7.2358 | 0 | 103.102 | 17.1 | 189.4 | 318.9 | 1.0142
30 | 07/02/2015 | 7:00:00 a.m. | 292600 | 275612 | 7.3506 | 0 | 100.559 | 16.8 | 206.8 | 328.9 | 1.0146
29 | 06/02/2015 | 7:00:00 a.m. | 287791 | 274912 | 6.9077 | 0 | 98.683 | 17.2 | 217.5 | 326.3 | 1.0136
28 | 05/02/2015 | 7:00:00 a.m. | 282703 | 274157 | 6.8921 | 0 | 98.228 | 16.6 | 206.6 | 325.8 | 1.0135
27 | 04/02/2015 | 7:00:00 a.m. | 277905 | 273443 | 6.706 | 0 | 98.283 | 16.6 | 211 | 324.7 | 1.0131
26 | 03/02/2015 | 7:00:00 a.m. | 272974 | 272709 | 6.7898 | 0 | 99.404 | 16.1 | 136.3 | 325.9 | 1.0133
25 | 02/02/2015 | 7:00:00 a.m. | 269827 | 272246 | 6.9677 | 0 | 102.349 | 15.9 | 136.5 | 279.8 | 1.0139
24 | 01/02/2015 | 7:00:00 a.m. | 266634 | 271791 | 7.3477 | 0 | 105.08 | 15.8 | 190.7 | 322.5 | 1.0146
23 | 31/01/2015 | 7:00:00 a.m. | 262240 | 271181 | 7.3171 | 0 | 102.215 | 16.4 | 217.6 | 322.8 | 1.0144

## Marzo
Data Log
Unit Serial Number: | 10/09/43395
Meter/Site ID: | G100 Inmermek
Drive Rate | 1 m³/rev
Number of Logs Stored: | 23
Fault/Alarms Recorded: | Date | Time | Condition
1 | 02/12/2014 | 11:58:01 a.m. | 35 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 22/11/2013 | 11:51:08 p.m. | 33 (High Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
6 | 11/11/2013 | 12:55:38 p.m. | 196 (Temperature Fault Occurred Internal Operations Fault Occurred Low Battery Occurred)
8 | 11/11/2013 | 12:53:08 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
20 | 06/12/2010 | 2:16:03 p.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
23 | 30/03/2015 | 7:00:00 a.m. | 522746 | 310129 | 6.6666 | 0 | 101.15 | 20.4 | 162.4 | 292.2 | 1.0124
22 | 29/03/2015 | 7:00:00 a.m. | 518932 | 309569 | 7.2031 | 0 | 102.84 | 21.1 | 174.2 | 290 | 1.0134
21 | 28/03/2015 | 7:00:00 a.m. | 514935 | 308991 | 6.9738 | 0 | 98.929 | 21.4 | 189.4 | 322.9 | 1.0129
20 | 27/03/2015 | 7:00:00 a.m. | 510520 | 308327 | 6.5455 | 0 | 94.77 | 21.4 | 202.2 | 331.1 | 1.012
19 | 26/03/2015 | 7:00:00 a.m. | 505754 | 307579 | 6.4811 | 0 | 95.013 | 19.8 | 197 | 331.3 | 1.0119
18 | 25/03/2015 | 7:00:00 a.m. | 501160 | 306863 | 6.6075 | 0 | 95.727 | 18.7 | 195.5 | 297.8 | 1.0123
17 | 24/03/2015 | 7:00:00 a.m. | 496610 | 306162 | 6.5598 | 0 | 95.221 | 18.3 | 199.9 | 334 | 1.0122
16 | 23/03/2015 | 7:00:00 a.m. | 491938 | 305439 | 6.5228 | 0 | 95.567 | 18.4 | 171.5 | 297.2 | 1.0121
15 | 22/03/2015 | 7:00:00 a.m. | 488042 | 304838 | 6.6086 | 0 | 95.285 | 18.8 | 184 | 334.3 | 1.0124
14 | 21/03/2015 | 7:00:00 a.m. | 483784 | 304177 | 6.5343 | 0 | 95.109 | 19.4 | 197.9 | 333.8 | 1.0121
13 | 20/03/2015 | 7:00:00 a.m. | 479159 | 303458 | 6.3642 | 0 | 95.351 | 18.9 | 203.2 | 333.1 | 1.0117
12 | 19/03/2015 | 7:00:00 a.m. | 474396 | 302721 | 6.4834 | 0 | 94.704 | 18.6 | 189.5 | 330.1 | 1.0118
11 | 18/03/2015 | 7:00:00 a.m. | 469968 | 302032 | 6.5846 | 0 | 94.87 | 19.3 | 189.1 | 324.6 | 1.0121
10 | 17/03/2015 | 7:00:00 a.m. | 465550 | 301343 | 6.427 | 0 | 95.086 | 20.2 | 171.7 | 305.4 | 1.0118
9 | 16/03/2015 | 7:00:00 a.m. | 461531 | 300716 | 6.6209 | 0 | 100.064 | 20.3 | 180.3 | 317.9 | 1.0122
8 | 15/03/2015 | 7:00:00 a.m. | 457350 | 300095 | 7.0289 | 0 | 102.424 | 20.6 | 184.1 | 312.3 | 1.0131
7 | 14/03/2015 | 7:00:00 a.m. | 453064 | 299473 | 7.2444 | 0 | 98.744 | 19.5 | 186.7 | 322.8 | 1.0137
6 | 13/03/2015 | 7:00:00 a.m. | 448741 | 298823 | 6.5056 | 0 | 95.304 | 18.5 | 199.4 | 321.9 | 1.0121
5 | 12/03/2015 | 7:00:00 a.m. | 444102 | 298105 | 6.5315 | 0 | 95.438 | 18.4 | 196.7 | 321.8 | 1.0122
4 | 11/03/2015 | 7:00:00 a.m. | 439516 | 297397 | 6.6163 | 0 | 95.963 | 18.2 | 194.8 | 323.9 | 1.0123
3 | 10/03/2015 | 7:00:00 a.m. | 434972 | 296701 | 6.5295 | 0 | 97.062 | 16.6 | 199.1 | 314.4 | 1.0123
2 | 09/03/2015 | 7:00:00 a.m. | 430282 | 295994 | 6.6938 | 0 | 99.448 | 17.1 | 186.8 | 309 | 1.0128
1 | 08/03/2015 | 7:00:00 a.m. | 425909 | 295349 | 7.1336 | 0 | 100.666 | 17.5 | 182.2 | 327.3 | 1.0138
26 | 07/03/2015 | 7:00:00 a.m. | 421825 | 294753 | 7.0601 | 0 | 98.889 | 17 | 198 | 330.1 | 1.0141
25 | 06/03/2015 | 7:00:00 a.m. | 417230 | 294073 | 6.8299 | 0 | 97.56 | 16.3 | 199.8 | 335.1 | 1.0137
24 | 05/03/2015 | 7:00:00 a.m. | 412608 | 293381 | 6.5751 | 0 | 96.9 | 15.5 | 195.7 | 335.6 | 1.0129
23 | 04/03/2015 | 7:00:00 a.m. | 408063 | 292698 | 6.6996 | 0 | 95.099 | 15.2 | 203.9 | 330 | 1.0134
22 | 03/03/2015 | 7:00:00 a.m. | 403317 | 291972 | 6.5633 | 0 | 95.63 | 15.2 | 209.6 | 334.8 | 1.0129
21 | 02/03/2015 | 7:00:00 a.m. | 398422 | 291227 | 6.6508 | 0 | 99.483 | 15 | 177.2 | 307.5 | 1.0131
20 | 01/03/2015 | 7:00:00 a.m. | 394445 | 290645 | 6.9154 | 0 | 100.121 | 16.2 | 199 | 328.3 | 1.0136
19 | 28/02/2015 | 7:00:00 a.m. | 389816 | 289970 | 7.0128 | 0 | 97.569 | 16.8 | 215.9 | 328 | 1.0138

## Abril
Data Log
Unit Serial Number: | 10/09/43395
Meter/Site ID: | G100 Inmermek
Drive Rate | 1 m³/rev
Number of Logs Stored: | 30
Fault/Alarms Recorded: | Date | Time | Condition
1 | 02/12/2014 | 11:58:01 a.m. | 35 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 22/11/2013 | 11:51:08 p.m. | 33 (High Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
6 | 11/11/2013 | 12:55:38 p.m. | 196 (Temperature Fault Occurred Internal Operations Fault Occurred Low Battery Occurred)
7 | 11/11/2013 | 12:53:08 p.m. | 128 (Low Battery Occurred)
8 | 11/11/2013 | 12:53:08 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
20 | 06/12/2010 | 2:16:03 p.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
23 | 01/05/2015 | 7:00:00 a.m. | 667109 | 331930 | 7.2591 | 0 | 103.35 | 24.1 | 201.1 | 299.5 | 1.0131
22 | 30/04/2015 | 7:00:00 a.m. | 662369 | 331241 | 6.8642 | 0 | 101.133 | 23.9 | 203.4 | 297.8 | 1.0123
21 | 29/04/2015 | 7:00:00 a.m. | 657596 | 330533 | 6.8208 | 0 | 101.421 | 23 | 197.4 | 303.7 | 1.0123
20 | 28/04/2015 | 7:00:00 a.m. | 652944 | 329847 | 6.8708 | 0 | 101.564 | 22 | 215.6 | 331.2 | 1.0125
19 | 27/04/2015 | 7:00:00 a.m. | 647874 | 329103 | 6.9852 | 0 | 104.737 | 19.4 | 101.6 | 332.8 | 1.0129
18 | 26/04/2015 | 7:00:00 a.m. | 645533 | 328772 | 7.3017 | 0 | 105.107 | 18 | 164.3 | 304.4 | 1.0137
17 | 25/04/2015 | 7:00:00 a.m. | 641705 | 328236 | 7.1226 | 0 | 103.2 | 18.9 | 214.3 | 304.1 | 1.013
16 | 24/04/2015 | 7:00:00 a.m. | 636646 | 327513 | 7.3341 | 0 | 102.27 | 19.1 | 209.8 | 303.2 | 1.0135
15 | 23/04/2015 | 7:00:00 a.m. | 631701 | 326800 | 6.9618 | 0 | 101.283 | 19.6 | 202.4 | 301.9 | 1.0127
14 | 22/04/2015 | 7:00:00 a.m. | 626938 | 326104 | 6.8392 | 0 | 101.284 | 19.7 | 207.1 | 302 | 1.0124
13 | 21/04/2015 | 7:00:00 a.m. | 622048 | 325390 | 6.8698 | 0 | 101.674 | 20.4 | 211.2 | 299.6 | 1.0125
12 | 20/04/2015 | 7:00:00 a.m. | 617059 | 324663 | 6.9043 | 0 | 104.176 | 21.3 | 165.1 | 291.5 | 1.0125
11 | 19/04/2015 | 7:00:00 a.m. | 613183 | 324109 | 7.0028 | 0 | 104.626 | 21.3 | 185.9 | 291.6 | 1.013
10 | 18/04/2015 | 7:00:00 a.m. | 608839 | 323491 | 7.2238 | 0 | 101.837 | 21.4 | 204.5 | 305.6 | 1.0135
9 | 17/04/2015 | 7:00:00 a.m. | 604032 | 322790 | 6.5465 | 0 | 93.544 | 21 | 216.2 | 306.5 | 1.0121
8 | 16/04/2015 | 7:00:00 a.m. | 598930 | 321980 | 6.3471 | 0 | 92.534 | 21.4 | 221.4 | 305.4 | 1.0113
7 | 15/04/2015 | 7:00:00 a.m. | 593684 | 321136 | 6.3793 | 0 | 92.958 | 20.3 | 211.2 | 303.3 | 1.0118
6 | 14/04/2015 | 7:00:00 a.m. | 588710 | 320342 | 6.1922 | 0 | 92.983 | 20.7 | 211.4 | 301.4 | 1.011
5 | 13/04/2015 | 7:00:00 a.m. | 583728 | 319546 | 6.5379 | 0 | 95.886 | 20.3 | 174.1 | 293.9 | 1.0121
4 | 12/04/2015 | 7:00:00 a.m. | 579754 | 318931 | 6.7758 | 0 | 97.433 | 19.3 | 189 | 326.9 | 1.0126
3 | 11/04/2015 | 7:00:00 a.m. | 575414 | 318272 | 6.8613 | 0 | 94.956 | 19 | 201.4 | 334.9 | 1.0128
2 | 10/04/2015 | 7:00:00 a.m. | 570690 | 317538 | 6.3387 | 0 | 92.724 | 19.1 | 201 | 336.3 | 1.0116
1 | 09/04/2015 | 7:00:00 a.m. | 566010 | 316792 | 6.316 | 0 | 93.005 | 18.4 | 203 | 335.6 | 1.0117
32 | 08/04/2015 | 7:00:00 a.m. | 561270 | 316041 | 6.1449 | 0 | 92.884 | 18.5 | 204.7 | 337.7 | 1.0111
31 | 07/04/2015 | 7:00:00 a.m. | 556488 | 315281 | 6.5571 | 0 | 94.111 | 18.2 | 189 | 337.2 | 1.0121
30 | 06/04/2015 | 7:00:00 a.m. | 552086 | 314592 | 6.3914 | 0 | 98.159 | 19.2 | 183 | 295 | 1.0117
29 | 05/04/2015 | 7:00:00 a.m. | 547817 | 313948 | 6.8694 | 0 | 100.557 | 20.4 | 180.1 | 295.1 | 1.0128
28 | 04/04/2015 | 7:00:00 a.m. | 543662 | 313336 | 6.8256 | 0 | 101.193 | 21.1 | 201.6 | 338.7 | 1.0125
27 | 03/04/2015 | 7:00:00 a.m. | 538942 | 312640 | 7.0429 | 0 | 97.738 | 18.6 | 194.6 | 338.2 | 1.0132
26 | 02/04/2015 | 7:00:00 a.m. | 534326 | 311934 | 6.776 | 0 | 95.771 | 18 | 103.7 | 320.9 | 1.0132
25 | 01/04/2015 | 7:00:00 a.m. | 531920 | 311550 | 6.4476 | 0 | 95.764 | 20 | 204.3 | 331.2 | 1.0116
24 | 31/03/2015 | 7:00:00 a.m. | 527152 | 310812 | 6.602 | 0 | 95.807 | 20.5 | 190.2 | 323.2 | 1.0121

## Mayo
Data Log
Unit Serial Number: | 10/09/43395
Meter/Site ID: | G100 Inmermek
Drive Rate | 1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded | Date | Time | Condition
| 02/12/2014 | 11:58:01 a.m. | 35 (Low Pressure Alarm Occurred)
| 22/11/2013 | 11:51:08 p.m. | 33 (High Pressure Alarm Occurred)
| 06/12/2010 | 2:16:03 p.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
23 | 31/05/2015 | 7:00:00 a.m. | 808656 | 352465 | 7.1603 | 0 | 103.962 | 22.3 | 187.1 | 296.9 | 1.013
22 | 30/05/2015 | 7:00:00 a.m. | 804238 | 351831 | 7.0714 | 0 | 101.638 | 21.9 | 220.4 | 303.2 | 1.0129
21 | 29/05/2015 | 7:00:00 a.m. | 799027 | 351067 | 6.7646 | 0 | 100.624 | 21.3 | 201.3 | 303.5 | 1.0122
20 | 28/05/2015 | 7:00:00 a.m. | 794293 | 350367 | 6.7884 | 0 | 100.759 | 20.8 | 213.1 | 305 | 1.0122
19 | 27/05/2015 | 7:00:00 a.m. | 789264 | 349626 | 6.8248 | 0 | 100.305 | 20.5 | 210.5 | 302 | 1.0124
18 | 26/05/2015 | 7:00:00 a.m. | 784307 | 348893 | 6.7123 | 0 | 100.291 | 20.1 | 219.4 | 304.7 | 1.0121
17 | 25/05/2015 | 7:00:00 a.m. | 779125 | 348128 | 6.8094 | 0 | 103.856 | 19.8 | 160.7 | 291.5 | 1.0123
16 | 24/05/2015 | 7:00:00 a.m. | 775398 | 347596 | 7.2341 | 0 | 104.534 | 19.2 | 189.6 | 302.1 | 1.0134
15 | 23/05/2015 | 7:00:00 a.m. | 770976 | 346971 | 7.1498 | 0 | 102.161 | 19.2 | 208.5 | 304.6 | 1.0131
14 | 22/05/2015 | 7:00:00 a.m. | 766064 | 346261 | 6.9177 | 0 | 100.782 | 18.8 | 221.5 | 305.9 | 1.0127
13 | 21/05/2015 | 7:00:00 a.m. | 760818 | 345494 | 6.8947 | 0 | 100.169 | 20.2 | 221.2 | 303.9 | 1.0126
12 | 20/05/2015 | 7:00:00 a.m. | 755602 | 344723 | 6.7182 | 0 | 100.458 | 20.3 | 218.4 | 303 | 1.0121
11 | 19/05/2015 | 7:00:00 a.m. | 750449 | 343963 | 6.8841 | 0 | 100.722 | 19.7 | 211.2 | 302.2 | 1.0126
10 | 18/05/2015 | 7:00:00 a.m. | 745498 | 343236 | 6.899 | 0 | 103.421 | 19.7 | 175 | 329.6 | 1.0126
9 | 17/05/2015 | 7:00:00 a.m. | 741425 | 342651 | 7.2021 | 0 | 104.688 | 19.3 | 192 | 301.8 | 1.0134
8 | 16/05/2015 | 7:00:00 a.m. | 736951 | 342020 | 7.2289 | 0 | 102.459 | 18.5 | 222.6 | 313.3 | 1.0134
7 | 15/05/2015 | 7:00:00 a.m. | 731701 | 341266 | 6.8341 | 0 | 100.272 | 19.2 | 218.4 | 303.7 | 1.0125
6 | 14/05/2015 | 7:00:00 a.m. | 726557 | 340509 | 6.8839 | 0 | 100.909 | 20.1 | 209.8 | 303.4 | 1.0127
5 | 13/05/2015 | 7:00:00 a.m. | 721610 | 339783 | 6.8217 | 0 | 101.012 | 20.5 | 209.6 | 301.9 | 1.0124
4 | 12/05/2015 | 7:00:00 a.m. | 716657 | 339056 | 6.9456 | 0 | 100.709 | 21.5 | 206.2 | 300.6 | 1.0127
3 | 11/05/2015 | 7:00:00 a.m. | 711814 | 338340 | 6.9154 | 0 | 103.707 | 20.8 | 175.7 | 303.7 | 1.0127
2 | 10/05/2015 | 7:00:00 a.m. | 707746 | 337756 | 7.1998 | 0 | 105.289 | 19 | 183.8 | 286 | 1.0134
1 | 09/05/2015 | 7:00:00 a.m. | 703459 | 337155 | 7.2312 | 0 | 103.464 | 18.3 | 202.5 | 335 | 1.0134
30 | 08/05/2015 | 7:00:00 a.m. | 698697 | 336478 | 6.8688 | 0 | 101.624 | 18.6 | 207.2 | 304.6 | 1.0126
29 | 07/05/2015 | 7:00:00 a.m. | 693828 | 335772 | 6.8716 | 0 | 101.757 | 19.5 | 204.4 | 301 | 1.0125
28 | 06/05/2015 | 7:00:00 a.m. | 689036 | 335076 | 6.8476 | 0 | 101.617 | 20.4 | 220.3 | 301 | 1.0124
27 | 05/05/2015 | 7:00:00 a.m. | 683843 | 334318 | 6.9244 | 0 | 102.006 | 20.1 | 181.7 | 298.5 | 1.0126
26 | 04/05/2015 | 7:00:00 a.m. | 679609 | 333703 | 6.8747 | 0 | 104.215 | 20.9 | 152.2 | 286.9 | 1.0125
25 | 03/05/2015 | 7:00:00 a.m. | 676023 | 333192 | 7.1866 | 0 | 105.204 | 21.7 | 187.5 | 297.6 | 1.013
24 | 02/05/2015 | 7:00:00 a.m. | 671643 | 332571 | 7.1224 | 0 | 106.01 | 23.8 | 193.4 | 297.8 | 1.0129
23 | 01/05/2015 | 7:00:00 a.m. | 667109 | 331930 | 7.2591 | 0 | 103.35 | 24.1 | 201.1 | 299.5 | 1.0131
22 | 30/04/2015 | 7:00:00 a.m. | 662369 | 331241 | 6.8642 | 0 | 101.133 | 23.9 | 203.4 | 297.8 | 1.0123

## Junio
Data Log
Unit Serial Number: | 10/09/43395
Meter/Site ID: | G100 Inmermek
Drive Rate | 1 m³/rev
Number of Logs Stored: | 30
Fault/Alarms Recorded: | Date | Time | Condition
1 | 02/12/2014 | 11:58:01 a.m. | 35 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 22/11/2013 | 11:51:08 p.m. | 33 (High Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
6 | 11/11/2013 | 12:55:38 p.m. | 196 (Temperature Fault Occurred Internal Operations Fault Occurred Low Battery Occurred)
7 | 11/11/2013 | 12:53:08 p.m. | 128 (Low Battery Occurred)
8 | 11/11/2013 | 12:53:08 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
20 | 06/12/2010 | 2:16:03 p.m. | 32 (Low Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
22 | 30/06/2015 | 7:00:00 a.m. | 947191 | 372931 | 6.8086 | 0 | 100.51 | 25.1 | 199.4 | 261.2 | 1.0116
21 | 29/06/2015 | 7:00:00 a.m. | 942454 | 372221 | 6.6557 | 0 | 104.617 | 25.6 | 171.9 | 267.5 | 1.0113
20 | 28/06/2015 | 7:00:00 a.m. | 938377 | 371633 | 7.1603 | 0 | 106.605 | 24.4 | 194.4 | 270.5 | 1.0122
19 | 27/06/2015 | 7:00:00 a.m. | 933785 | 370986 | 7.1343 | 0 | 102.97 | 25.2 | 210.8 | 271.1 | 1.0124
18 | 26/06/2015 | 7:00:00 a.m. | 928764 | 370251 | 6.8402 | 0 | 100.46 | 25.6 | 208.5 | 270.4 | 1.0119
17 | 25/06/2015 | 7:00:00 a.m. | 923801 | 369506 | 6.7235 | 0 | 100.44 | 25.8 | 210.2 | 271.6 | 1.0116
16 | 24/06/2015 | 7:00:00 a.m. | 918797 | 368754 | 6.7526 | 0 | 100.294 | 26 | 211.3 | 269 | 1.0117
15 | 23/06/2015 | 7:00:00 a.m. | 913749 | 367994 | 6.757 | 0 | 100.766 | 26 | 202.3 | 271 | 1.0116
14 | 22/06/2015 | 7:00:00 a.m. | 908916 | 367270 | 6.8343 | 0 | 101.752 | 25 | 156.5 | 264.6 | 1.0118
13 | 21/06/2015 | 7:00:00 a.m. | 905290 | 366732 | 6.8853 | 0 | 101.515 | 25.3 | 175.7 | 260.3 | 1.0121
12 | 20/06/2015 | 7:00:00 a.m. | 901173 | 366119 | 6.8682 | 0 | 102.145 | 26.8 | 185.5 | 271.3 | 1.012
11 | 19/06/2015 | 7:00:00 a.m. | 896744 | 365463 | 6.8444 | 0 | 100.385 | 25.5 | 199.5 | 264.1 | 1.0117
10 | 18/06/2015 | 7:00:00 a.m. | 891961 | 364744 | 6.8172 | 0 | 101.319 | 24.9 | 202.3 | 273.7 | 1.0118
9 | 17/06/2015 | 7:00:00 a.m. | 887126 | 364027 | 6.6064 | 0 | 100.203 | 24.3 | 208.5 | 276.1 | 1.0114
8 | 16/06/2015 | 7:00:00 a.m. | 882161 | 363283 | 6.8542 | 0 | 100.57 | 24.4 | 215.5 | 276.2 | 1.012
7 | 15/06/2015 | 7:00:00 a.m. | 877012 | 362514 | 6.8148 | 0 | 103.347 | 23.7 | 178.5 | 274.1 | 1.0118
6 | 14/06/2015 | 7:00:00 a.m. | 872821 | 361906 | 6.9889 | 0 | 103.655 | 22.9 | 181.4 | 269.1 | 1.0122
5 | 13/06/2015 | 7:00:00 a.m. | 868559 | 361291 | 7.0143 | 0 | 101.44 | 22.9 | 192.5 | 285.6 | 1.0124
4 | 12/06/2015 | 7:00:00 a.m. | 864023 | 360623 | 6.7615 | 0 | 100.399 | 23.2 | 187.3 | 270.4 | 1.0118
3 | 11/06/2015 | 7:00:00 a.m. | 859593 | 359963 | 6.7908 | 0 | 101.408 | 23.6 | 190.6 | 262.9 | 1.0118
2 | 10/06/2015 | 7:00:00 a.m. | 855105 | 359300 | 6.7789 | 0 | 100.531 | 23.8 | 194.5 | 270.6 | 1.0118
1 | 09/06/2015 | 7:00:00 a.m. | 850503 | 358614 | 6.5694 | 0 | 100.122 | 26.6 | 186.2 | 278.2 | 1.0111
31 | 08/06/2015 | 7:00:00 a.m. | 846029 | 357937 | 6.7242 | 0 | 102.705 | 23.5 | 162.9 | 305.7 | 1.0118
30 | 07/06/2015 | 7:00:00 a.m. | 842180 | 357375 | 7.0141 | 0 | 103.629 | 22.6 | 203 | 272 | 1.0126
29 | 06/06/2015 | 7:00:00 a.m. | 837350 | 356679 | 6.9389 | 0 | 101.745 | 21.7 | 203.4 | 282.4 | 1.0124
28 | 05/06/2015 | 7:00:00 a.m. | 832536 | 355975 | 6.8126 | 0 | 102.096 | 21.7 | 207.3 | 291.1 | 1.0123
27 | 04/06/2015 | 7:00:00 a.m. | 827611 | 355257 | 6.735 | 0 | 100.801 | 22.2 | 203.3 | 287 | 1.012
26 | 03/06/2015 | 7:00:00 a.m. | 822740 | 354537 | 6.8745 | 0 | 100.634 | 22.6 | 207.6 | 269.7 | 1.0124
25 | 02/06/2015 | 7:00:00 a.m. | 817793 | 353803 | 6.8759 | 0 | 100.669 | 22.4 | 218.2 | 283 | 1.0124
24 | 01/06/2015 | 7:00:00 a.m. | 812569 | 353029 | 6.9332 | 0 | 103.45 | 22.4 | 163.8 | 237.1 | 1.0126
23 | 31/05/2015 | 7:00:00 a.m. | 808656 | 352465 | 7.1603 | 0 | 103.962 | 22.3 | 187.1 | 296.9 | 1.013

## Julio
Data Log
Unit Serial Number: | 10/09/43395
Meter/Site ID: | G100 Inmermek
Drive Rate | 1 m³/rev
Number of Logs Stored: | 33
Fault/Alarms Recorded: | Date | Time | Condition
1 | 22/07/2015 | 2:53:01 p.m. | 32 (Low Flow Rate Alarm Occurred)
2 | 22/07/2015 | 11:30:44 a.m. | 0 (Alarm Register Cleared )
3 | 15/07/2015 | 9:30:24 a.m. | 32 (Low Flow Rate Alarm Occurred)
4 | 15/07/2015 | 9:07:54 a.m. | 0 (Alarm Register Cleared )
10 | 11/11/2013 | 12:55:38 p.m. | 196 (Temperature Fault Occurred Internal Operations Fault Occurred Low Battery Occurred)
11 | 11/11/2013 | 12:53:08 p.m. | 128 (Low Battery Occurred)
12 | 11/11/2013 | 12:53:08 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
23 | 31/07/2015 | 7:00:00 a.m. | 92018 | 394503 | 6.6571 | 0 | 99.787 | 26.7 | 207 | 268.6 | 1.0115
22 | 30/07/2015 | 7:00:00 a.m. | 87081 | 393754 | 6.7629 | 0 | 100.109 | 26.2 | 208.6 | 268.2 | 1.0117
21 | 29/07/2015 | 7:00:00 a.m. | 82101 | 393002 | 6.7337 | 0 | 100.641 | 25.6 | 192.2 | 270.7 | 1.0117
20 | 28/07/2015 | 7:00:00 a.m. | 77538 | 392318 | 6.7011 | 0 | 100.672 | 25.4 | 195 | 271.6 | 1.0117
19 | 27/07/2015 | 7:00:00 a.m. | 72907 | 391624 | 6.7714 | 0 | 102.909 | 26.2 | 151.9 | 228.8 | 1.0118
18 | 26/07/2015 | 7:00:00 a.m. | 69348 | 391100 | 6.9816 | 0 | 103.808 | 27.1 | 174.1 | 268.3 | 1.0123
17 | 25/07/2015 | 7:00:00 a.m. | 65272 | 390503 | 6.9221 | 0 | 101.536 | 26.5 | 197.5 | 251.5 | 1.0121
16 | 24/07/2015 | 7:00:00 a.m. | 60586 | 389804 | 6.7419 | 0 | 100.559 | 26.1 | 199.3 | 261 | 1.0118
15 | 23/07/2015 | 7:00:00 a.m. | 55851 | 389092 | 6.8587 | 0 | 100.72 | 25.9 | 192 | 245.5 | 1.0119
14 | 22/07/2015 | 7:00:00 a.m. | 51267 | 388403 | 6.8429 | 0 | 100.26 | 25.7 | 199.5 | 267.3 | 1.0119
13 | 21/07/2015 | 7:00:00 a.m. | 46530 | 387689 | 6.6695 | 0 | 100.563 | 26.1 | 206.1 | 265.8 | 1.0115
12 | 20/07/2015 | 7:00:00 a.m. | 41619 | 386951 | 6.6556 | 0 | 103.101 | 25.9 | 169.3 | 266.4 | 1.0115
11 | 19/07/2015 | 7:00:00 a.m. | 37634 | 386367 | 6.8886 | 0 | 103.682 | 27.1 | 195.5 | 245.1 | 1.0117
10 | 18/07/2015 | 7:00:00 a.m. | 32988 | 385687 | 6.9279 | 0 | 101.419 | 26.7 | 199.1 | 263.4 | 1.012
9 | 17/07/2015 | 7:00:00 a.m. | 28245 | 384979 | 6.7263 | 0 | 100.178 | 25.1 | 220.9 | 259.3 | 1.0118
8 | 16/07/2015 | 7:00:00 a.m. | 22954 | 384184 | 6.672 | 0 | 100.807 | 24.8 | 205.5 | 262.9 | 1.0117
7 | 15/07/2015 | 7:00:00 a.m. | 18060 | 383453 | 6.7422 | 0 | 100.424 | 24.8 | 205.9 | 274.7 | 1.0119
6 | 14/07/2015 | 7:00:00 a.m. | 13159 | 382718 | 6.7874 | 0 | 100.652 | 25.5 | 202.4 | 263.6 | 1.0119
5 | 13/07/2015 | 7:00:00 a.m. | 8340 | 381995 | 6.7567 | 0 | 102.779 | 25.1 | 173.1 | 238.7 | 1.0119
4 | 12/07/2015 | 7:00:00 a.m. | 4250 | 381395 | 7.0982 | 0 | 104.149 | 24.2 | 190.1 | 270.1 | 1.0127
3 | 11/07/2015 | 7:00:00 a.m. | 999764 | 380748 | 7.028 | 0 | 102.129 | 23.8 | 204.2 | 271.7 | 1.0125
2 | 10/07/2015 | 7:00:00 a.m. | 994889 | 380030 | 6.7466 | 0 | 101.022 | 23.8 | 203.4 | 272.8 | 1.0119
1 | 09/07/2015 | 7:00:00 a.m. | 990043 | 379311 | 6.7171 | 0 | 100.392 | 24.4 | 209.8 | 270 | 1.0118
30 | 08/07/2015 | 7:00:00 a.m. | 985008 | 378557 | 6.8016 | 0 | 100.608 | 24.5 | 205.9 | 268.8 | 1.0117
29 | 07/07/2015 | 7:00:00 a.m. | 980093 | 377823 | 6.7418 | 0 | 100.815 | 24.2 | 198.5 | 268.1 | 1.0116
28 | 06/07/2015 | 7:00:00 a.m. | 975386 | 377121 | 6.6528 | 0 | 102.979 | 24.3 | 166.7 | 272.3 | 1.0114
27 | 05/07/2015 | 7:00:00 a.m. | 971430 | 376543 | 7.0505 | 0 | 103.97 | 24.9 | 187.3 | 269.8 | 1.0122
26 | 04/07/2015 | 7:00:00 a.m. | 967000 | 375901 | 6.9407 | 0 | 101.35 | 25.2 | 205.4 | 269.5 | 1.012
25 | 03/07/2015 | 7:00:00 a.m. | 962101 | 375172 | 6.7916 | 0 | 100.385 | 25.2 | 218.3 | 268.6 | 1.0117
24 | 02/07/2015 | 7:00:00 a.m. | 956896 | 374391 | 6.6855 | 0 | 100.269 | 25 | 198.1 | 266.4 | 1.0114
23 | 01/07/2015 | 7:00:00 a.m. | 952196 | 373685 | 6.6927 | 0 | 100.338 | 25.9 | 209.7 | 265.3 | 1.0114

## Agosto
Data Log
Unit Serial Number: | 10/09/43395
Meter/Site ID: | G100 Inmermek
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 22/07/2015 | 2:53:01 p.m. | 32 (Low Flow Rate Alarm Occurred)
10 | 11/11/2013 | 12:55:38 p.m. | 196 (Temperature Fault Occurred Internal Operations Fault Occurred Low Battery Occurred)
11 | 11/11/2013 | 12:53:08 p.m. | 128 (Low Battery Occurred)
12 | 11/11/2013 | 12:53:08 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
21 | 31/08/2015 | 7:00:00 a.m. | 225653 | 414357 | 6.7993 | 0 | 104.626 | 26.8 | 147.1 | 240.7 | 1.0118
20 | 30/08/2015 | 7:00:00 a.m. | 222275 | 413867 | 7.0363 | 0 | 105.247 | 28.2 | 160.5 | 239.2 | 1.0123
19 | 29/08/2015 | 7:00:00 a.m. | 218552 | 413327 | 7.1077 | 0 | 103.61 | 28.9 | 187.2 | 313.3 | 1.0123
18 | 28/08/2015 | 7:00:00 a.m. | 214209 | 412687 | 6.7879 | 0 | 102.972 | 28.4 | 182.3 | 278.8 | 1.0117
17 | 27/08/2015 | 7:00:00 a.m. | 209984 | 412061 | 6.8608 | 0 | 102.869 | 27.9 | 189.2 | 283.9 | 1.0118
16 | 26/08/2015 | 7:00:00 a.m. | 205597 | 411412 | 6.8932 | 0 | 101.75 | 26.1 | 197.7 | 325.6 | 1.0119
15 | 25/08/2015 | 7:00:00 a.m. | 201007 | 410727 | 6.7932 | 0 | 101.902 | 26.9 | 188 | 315.6 | 1.0118
14 | 24/08/2015 | 7:00:00 a.m. | 196642 | 410077 | 6.8337 | 0 | 104.133 | 26 | 159.9 | 285.4 | 1.0119
13 | 23/08/2015 | 7:00:00 a.m. | 193015 | 409550 | 7.0926 | 0 | 104.737 | 25.9 | 158.4 | 329.3 | 1.0125
12 | 22/08/2015 | 7:00:00 a.m. | 189454 | 409037 | 7.0991 | 0 | 102.91 | 25.6 | 181.9 | 315.9 | 1.0126
11 | 21/08/2015 | 7:00:00 a.m. | 185268 | 408421 | 6.7515 | 0 | 102.078 | 25.9 | 195.7 | 324.2 | 1.0117
10 | 20/08/2015 | 7:00:00 a.m. | 180743 | 407751 | 6.9535 | 0 | 102.877 | 26 | 184.5 | 281 | 1.0122
9 | 19/08/2015 | 7:00:00 a.m. | 176466 | 407122 | 6.8949 | 0 | 102.785 | 26.7 | 193.8 | 279.9 | 1.012
8 | 18/08/2015 | 7:00:00 a.m. | 171954 | 406457 | 6.8509 | 0 | 102.342 | 26.9 | 191.4 | 318.6 | 1.0119
7 | 17/08/2015 | 7:00:00 a.m. | 167504 | 405797 | 6.7831 | 0 | 104.604 | 29.4 | 153.4 | 302.7 | 1.0117
6 | 16/08/2015 | 7:00:00 a.m. | 164027 | 405289 | 7.0466 | 0 | 104.304 | 29 | 171.7 | 318.2 | 1.0122
5 | 15/08/2015 | 7:00:00 a.m. | 160091 | 404712 | 6.9549 | 0 | 101.479 | 28.5 | 190.9 | 308.6 | 1.012
4 | 14/08/2015 | 7:00:00 a.m. | 155612 | 404038 | 6.6615 | 0 | 100.383 | 27.8 | 199.5 | 323.3 | 1.0115
3 | 13/08/2015 | 7:00:00 a.m. | 150965 | 403333 | 6.8161 | 0 | 99.816 | 26.6 | 204.6 | 327.3 | 1.0119
2 | 12/08/2015 | 7:00:00 a.m. | 146205 | 402610 | 6.6942 | 0 | 100.042 | 25.4 | 206.6 | 323.3 | 1.0117
1 | 11/08/2015 | 7:00:00 a.m. | 141377 | 401882 | 6.7594 | 0 | 100.719 | 25 | 184.2 | 242.2 | 1.0119
33 | 10/08/2015 | 7:00:00 a.m. | 136950 | 401220 | 6.8219 | 0 | 102.589 | 24.8 | 171.6 | 242 | 1.012
32 | 09/08/2015 | 7:00:00 a.m. | 132860 | 400619 | 7.0063 | 0 | 103.052 | 25.3 | 184 | 255.7 | 1.0125
31 | 08/08/2015 | 7:00:00 a.m. | 128488 | 399979 | 6.9237 | 0 | 101.296 | 25.6 | 203.1 | 258.8 | 1.0121
30 | 07/08/2015 | 7:00:00 a.m. | 123646 | 399257 | 6.7057 | 0 | 100.017 | 26.5 | 200.7 | 258.6 | 1.0116
29 | 06/08/2015 | 7:00:00 a.m. | 118853 | 398532 | 6.6275 | 0 | 99.776 | 27.4 | 198.9 | 261.4 | 1.0114
28 | 05/08/2015 | 7:00:00 a.m. | 114118 | 397811 | 6.6955 | 0 | 99.836 | 27.1 | 193.7 | 260.6 | 1.0117
27 | 04/08/2015 | 7:00:00 a.m. | 109502 | 397110 | 6.7118 | 0 | 100.25 | 26.2 | 205.8 | 264.2 | 1.0117
26 | 03/08/2015 | 7:00:00 a.m. | 104590 | 396369 | 6.8124 | 0 | 104.489 | 25.9 | 156.3 | 225.4 | 1.0119
25 | 02/08/2015 | 7:00:00 a.m. | 100856 | 395829 | 7.1787 | 0 | 102.581 | 25.8 | 174 | 262.8 | 1.0127
24 | 01/08/2015 | 7:00:00 a.m. | 96706 | 395215 | 6.6762 | 0 | 99.62 | 26.4 | 197 | 268.7 | 1.0116

## Septiembre
Data Log
Unit Serial Number: | 10/09/43395
Meter/Site ID: | G100 Inmermek
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 15/09/2015 | 4:10:03 p.m. | 33 (High Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 22/07/2015 | 2:53:01 p.m. | 32 (Low Flow Rate Alarm Occurred)
11 | 11/11/2013 | 12:55:38 p.m. | 196 (Temperature Fault Occurred Internal Operations Fault Occurred Low Battery Occurred)
12 | 11/11/2013 | 12:53:08 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
13 | 11/11/2013 | 12:53:08 p.m. | 128 (Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
21 | 29/09/2015 | 7:00:00 a.m. | 344768 | 432034 | 6.9251 | 0 | 101.907 | 25.6 | 185 | 302.4 | 1.0124
20 | 28/09/2015 | 7:00:00 a.m. | 340353 | 431380 | 6.7848 | 0 | 102.971 | 26.1 | 147.2 | 314.5 | 1.012
19 | 27/09/2015 | 7:00:00 a.m. | 336836 | 430864 | 6.9592 | 0 | 103.256 | 26.2 | 165.9 | 260.9 | 1.0124
18 | 26/09/2015 | 7:00:00 a.m. | 332882 | 430283 | 6.9149 | 0 | 102.162 | 26.8 | 179.9 | 268.6 | 1.0122
17 | 25/09/2015 | 7:00:00 a.m. | 328621 | 429651 | 6.767 | 0 | 101.074 | 26.3 | 183.5 | 251.5 | 1.0119
16 | 24/09/2015 | 7:00:00 a.m. | 324252 | 428997 | 6.802 | 0 | 101.232 | 25.6 | 175.7 | 319.3 | 1.0121
15 | 23/09/2015 | 7:00:00 a.m. | 320044 | 428369 | 6.8625 | 0 | 101.952 | 25.3 | 182.5 | 316.8 | 1.0123
14 | 22/09/2015 | 7:00:00 a.m. | 315738 | 427732 | 6.7779 | 0 | 100.98 | 25.2 | 185.5 | 316.9 | 1.0119
13 | 21/09/2015 | 7:00:00 a.m. | 311381 | 427081 | 6.5863 | 0 | 101.807 | 28.1 | 152.2 | 291.1 | 1.0114
12 | 20/09/2015 | 7:00:00 a.m. | 307826 | 426549 | 6.92 | 0 | 101.221 | 26.5 | 161.2 | 313.6 | 1.0122
11 | 19/09/2015 | 7:00:00 a.m. | 304055 | 425984 | 6.726 | 0 | 100.294 | 25.4 | 172.3 | 258.4 | 1.0119
10 | 18/09/2015 | 7:00:00 a.m. | 299966 | 425369 | 6.8094 | 0 | 99.896 | 24.6 | 187.7 | 322.5 | 1.0121
9 | 17/09/2015 | 7:00:00 a.m. | 295528 | 424700 | 6.6299 | 0 | 102.51 | 24.3 | 178.6 | 323.2 | 1.0117
8 | 16/09/2015 | 7:00:00 a.m. | 291314 | 424082 | 6.9377 | 0 | 102.747 | 25.1 | 182.4 | 317.7 | 1.0122
7 | 15/09/2015 | 7:00:00 a.m. | 287127 | 423467 | 6.8021 | 0 | 100.619 | 26 | 161.7 | 294.3 | 1.0118
6 | 14/09/2015 | 7:00:00 a.m. | 283345 | 422898 | 6.6886 | 0 | 101.974 | 26.7 | 168.4 | 222.9 | 1.0117
5 | 13/09/2015 | 7:00:00 a.m. | 279356 | 422305 | 6.9703 | 0 | 102.783 | 27.6 | 160.7 | 273.2 | 1.0122
4 | 12/09/2015 | 7:00:00 a.m. | 275570 | 421746 | 6.8557 | 0 | 101.555 | 27.4 | 173.9 | 243 | 1.0119
3 | 11/09/2015 | 7:00:00 a.m. | 271467 | 421132 | 6.666 | 0 | 101.32 | 27.7 | 179.6 | 271.7 | 1.0114
2 | 10/09/2015 | 7:00:00 a.m. | 267233 | 420497 | 6.7216 | 0 | 101.576 | 28.9 | 172 | 306 | 1.0115
1 | 09/09/2015 | 7:00:00 a.m. | 263159 | 419885 | 6.6932 | 0 | 101.734 | 29 | 173.1 | 276.7 | 1.0114
29 | 08/09/2015 | 7:00:00 a.m. | 259088 | 419274 | 6.7792 | 0 | 101.673 | 28.1 | 181.2 | 281.6 | 1.0116
28 | 07/09/2015 | 7:00:00 a.m. | 254878 | 418643 | 6.7167 | 0 | 103.515 | 27.5 | 135.1 | 281.2 | 1.0115
27 | 06/09/2015 | 7:00:00 a.m. | 251637 | 418167 | 7.1073 | 0 | 104.096 | 25.5 | 179.7 | 245.5 | 1.0126
26 | 05/09/2015 | 7:00:00 a.m. | 247345 | 417545 | 7.0268 | 0 | 103.078 | 25 | 183.4 | 292.9 | 1.0124
25 | 04/09/2015 | 7:00:00 a.m. | 243002 | 416910 | 6.8179 | 0 | 102.148 | 25.2 | 186.7 | 293.1 | 1.0119
24 | 03/09/2015 | 7:00:00 a.m. | 238612 | 416262 | 6.8472 | 0 | 102.971 | 24.8 | 180.5 | 289.1 | 1.012
23 | 02/09/2015 | 7:00:00 a.m. | 234328 | 415636 | 6.9733 | 0 | 102.748 | 25.1 | 176.7 | 285.6 | 1.0123
22 | 01/09/2015 | 7:00:00 a.m. | 230195 | 415030 | 6.8062 | 0 | 102.167 | 25.9 | 193.1 | 281.9 | 1.0118

## Octubre
Data Log
Unit Serial Number: | 10/09/43395
Meter/Site ID: | G100 Inmermek
Drive Rate | 1 m³/rev
Number of Logs Stored: | 7
Fault/Alarms Recorded: | Date | Time | Condition
1 | 15/09/2015 | 4:10:03 p.m. | 33 (High Pressure Alarm Occurred Low Flow Rate Alarm Occurred)
2 | 22/07/2015 | 2:53:01 p.m. | 32 (Low Flow Rate Alarm Occurred)
11 | 11/11/2013 | 12:55:38 p.m. | 196 (Temperature Fault Occurred Internal Operations Fault Occurred Low Battery Occurred)
12 | 11/11/2013 | 12:53:08 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
13 | 11/11/2013 | 12:53:08 p.m. | 128 (Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv²
17 | 01/11/2015 | 7:00:00 a.m. | 478140 | 451199 | 7.5949 | 0 | 110.388 | 22.5 | 177.9 | 267.4 | 1.0144 | 108.801 | 112.83 | 111.563 | 18.7 | 29 | 18.8 | 5.1
16 | 31/10/2015 | 7:00:00 a.m. | 473935 | 450631 | 7.607 | 0 | 109.381 | 21.8 | 192.1 | 288.8 | 1.0143 | 105.297 | 113.819 | 112.016 | 18.7 | 27.4 | 19.5 | 5.1
15 | 30/10/2015 | 7:00:00 a.m. | 469428 | 450018 | 7.3202 | 0 | 108.298 | 21.9 | 191.1 | 287.6 | 1.0137 | 105.332 | 110.671 | 107.657 | 18.2 | 25.5 | 19 | 5.1
14 | 29/10/2015 | 7:00:00 a.m. | 464998 | 449409 | 7.3284 | 0 | 103.58 | 23 | 187.1 | 319.2 | 1.0133 | 14.157 | 110.498 | 108.886 | 20.6 | 26.7 | 21.9 | 5.1
13 | 28/10/2015 | 7:00:00 a.m. | 460391 | 448779 | 7.1184 | 0 | 104.34 | 23.2 | 180.8 | 312.3 | 1.0131 | 100.758 | 106.946 | 105.344 | 20.3 | 28.4 | 20.6 | 5.1
12 | 27/10/2015 | 7:00:00 a.m. | 456085 | 448162 | 7.0309 | 0 | 104.493 | 23.2 | 201.2 | 275 | 1.0129 | 102.777 | 106.718 | 103.956 | 19.7 | 30.2 | 20.3 | 5.1
11 | 26/10/2015 | 7:00:00 a.m. | 451275 | 447474 | 7.0385 | 0 | 107.481 | 22.2 | 73.4 | 260.9 | 1.0129 | 104.148 | 110.094 | 104.148 | 18.2 | 27.2 | 20.5 | 5.1
10 | 25/10/2015 | 7:00:00 a.m. | 449510 | 447229 | 7.425 | 0 | 82.891 | 24.4 | 97.3 | 266 | 1.0139 | 14.11 | 112.339 | 109.446 | 19.6 | 32.8 | 19.7 | 5.11
9 | 24/10/2015 | 7:00:00 a.m. | 447207 | 446907 | 7.2845 | 0 | 105.778 | 22.8 | 173.2 | 275.4 | 1.0135 | 103.172 | 108.502 | 107.631 | 19.1 | 28.4 | 20.3 | 5.1
8 | 23/10/2015 | 7:00:00 a.m. | 443080 | 446324 | 7.1966 | 0 | 104.878 | 22.6 | 184.9 | 272.5 | 1.0134 | 102.997 | 106.926 | 105.976 | 19.3 | 26.9 | 19.3 | 5.1
7 | 22/10/2015 | 7:00:00 a.m. | 438720 | 445704 | 7.0091 | 0 | 104.24 | 22.8 | 182.2 | 262.4 | 1.0128 | 102.707 | 106.71 | 103.735 | 19.9 | 27.4 | 20.6 | 5.1
6 | 21/10/2015 | 7:00:00 a.m. | 434378 | 445082 | 7.0725 | 0 | 104.119 | 22.4 | 178.2 | 285.1 | 1.013 | 101.662 | 106.046 | 104.594 | 19.4 | 24.5 | 20.4 | 5.1
5 | 20/10/2015 | 7:00:00 a.m. | 430170 | 444479 | 6.9438 | 0 | 103.867 | 22.3 | 182.5 | 285.4 | 1.0126 | 102.285 | 106.007 | 103.011 | 19.7 | 24.8 | 21.2 | 5.11
4 | 19/10/2015 | 7:00:00 a.m. | 425823 | 443855 | 6.9385 | 0 | 104.634 | 23.1 | 142.5 | 223.6 | 1.0126 | 102.563 | 106.246 | 102.902 | 20.9 | 26.7 | 21.1 | 5.12
3 | 18/10/2015 | 7:00:00 a.m. | 422433 | 443371 | 7.0475 | 0 | 105.379 | 24.1 | 161.5 | 266.7 | 1.0126 | 104.021 | 106.636 | 105.175 | 22.4 | 27.2 | 23 | 5.12
2 | 17/10/2015 | 7:00:00 a.m. | 418584 | 442823 | 7.0557 | 0 | 104.414 | 23.5 | 187.2 | 266.3 | 1.0126 | 102.173 | 107.088 | 105.399 | 22.6 | 24.9 | 23.3 | 5.12
1 | 16/10/2015 | 7:00:00 a.m. | 414113 | 442182 | 6.9719 | 0 | 103.936 | 24.8 | 172.4 | 253.9 | 1.0125 | 101.384 | 105.514 | 104.032 | 22.7 | 29.1 | 22.9 | 5.13
7 | 15/10/2015 | 7:00:00 a.m. | 409902 | 441573 | 6.9315 | 0 | 103.904 | 25.3 | 172.6 | 266.9 | 1.0123
6 | 14/10/2015 | 7:00:00 a.m. | 405808 | 440979 | 6.9515 | 0 | 104.089 | 25.2 | 177.5 | 321.4 | 1.0124
5 | 13/10/2015 | 7:00:00 a.m. | 401622 | 440373 | 7.0042 | 0 | 104.634 | 25.6 | 166.3 | 264.7 | 1.0125
4 | 12/10/2015 | 7:00:00 a.m. | 397650 | 439801 | 6.9368 | 0 | 106.158 | 25.8 | 145.5 | 264.6 | 1.0123
3 | 11/10/2015 | 7:00:00 a.m. | 394227 | 439314 | 7.2926 | 0 | 107.675 | 26.2 | 171.4 | 258.1 | 1.0131
2 | 10/10/2015 | 7:00:00 a.m. | 390180 | 438746 | 7.0348 | 0 | 105.182 | 26.6 | 174.5 | 301.7 | 1.0126
1 | 09/10/2015 | 7:00:00 a.m. | 386060 | 438153 | 6.9824 | 0 | 105.177 | 24.7 | 188.6 | 283.7 | 1.0125
30 | 08/10/2015 | 7:00:00 a.m. | 381589 | 437514 | 6.9987 | 0 | 99.857 | 23.5 | 172.9 | 264.5 | 1.0126
29 | 07/10/2015 | 7:00:00 a.m. | 377516 | 436901 | 6.2462 | 0 | 90.713 | 22.8 | 189.6 | 271.2 | 1.0111
28 | 06/10/2015 | 7:00:00 a.m. | 373017 | 436158 | 6.1439 | 0 | 96.996 | 21.9 | 196.2 | 326.3 | 1.0109
27 | 05/10/2015 | 7:00:00 a.m. | 368360 | 435439 | 7.3621 | 0 | 109.776 | 22.3 | 146.8 | 299.7 | 1.0134
26 | 04/10/2015 | 7:00:00 a.m. | 364885 | 434972 | 7.092 | 0 | 104.762 | 23.6 | 119.5 | 313.2 | 1.0128
25 | 03/10/2015 | 7:00:00 a.m. | 362052 | 434565 | 7.0889 | 0 | 103.577 | 23.9 | 183.3 | 291.2 | 1.0128
24 | 02/10/2015 | 7:00:00 a.m. | 357735 | 433940 | 7.0283 | 0 | 102.619 | 24.8 | 182.5 | 289.3 | 1.0127
23 | 01/10/2015 | 7:00:00 a.m. | 353431 | 433309 | 6.8705 | 0 | 102.205 | 25.4 | 182.1 | 265.8 | 1.0123