## Enero
Data Log
Unit Serial Number: | 1/43/3346982
Meter/Site ID: | California
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 15/09/2015 | 4:22:35 p.m. | 1 (High Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp | Min Press | Max Press | Ending Press | Min Temp | Max Temp | Ending Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv² | PSI | PSI | PSI | °C | °C | °C | V
24 | 01/02/2016 | 7:00:00 a.m. | 495651 | 1070984 | 7.1489 | 0 | 92.028 | 14.1 | 84.3 | 222.3 | 1.0142 | 87.04 | 96.045 | 88.447 | 11.3 | 16 | 13.6 | 5.6
23 | 31/01/2016 | 7:00:00 a.m. | 493667 | 1070714 | 7.4117 | 0 | 93.356 | 16.2 | 90.9 | 111.3 | 1.0145 | 91.363 | 95.574 | 92.831 | 13.3 | 17.7 | 15.3 | 5.61
22 | 30/01/2016 | 7:00:00 a.m. | 491505 | 1070423 | 7.5831 | 0 | 90.276 | 15.9 | 82.1 | 113.8 | 1.0152 | 85.736 | 96.619 | 94.501 | 11.1 | 19.7 | 13.3 | 5.59
21 | 29/01/2016 | 7:00:00 a.m. | 489572 | 1070155 | 7.2127 | 0 | 88.185 | 15.5 | 94.7 | 185.8 | 1.0146 | 85.529 | 91.48 | 88.495 | 11.3 | 18.2 | 11.3 | 5.61
20 | 28/01/2016 | 7:00:00 a.m. | 487319 | 1069836 | 7.1342 | 0 | 88.046 | 16.2 | 96.4 | 210.3 | 1.0141 | 85.779 | 90.841 | 88.318 | 13.1 | 19.7 | 13.8 | 5.61
19 | 27/01/2016 | 7:00:00 a.m. | 485031 | 1069512 | 7.1554 | 0 | 88.927 | 15.6 | 89.6 | 189.8 | 1.0142 | 84.545 | 95.696 | 88.612 | 12.3 | 18.3 | 13.8 | 5.6
18 | 26/01/2016 | 7:00:00 a.m. | 482909 | 1069213 | 7.1972 | 0 | 88.33 | 15.5 | 83.9 | 180.9 | 1.0144 | 85.479 | 91.256 | 88.782 | 11.6 | 18.3 | 12.7 | 5.6
17 | 25/01/2016 | 7:00:00 a.m. | 480927 | 1068933 | 7.1936 | 0 | 90.907 | 14.7 | 66 | 112.2 | 1.0144 | 86.883 | 94.245 | 88.787 | 11.9 | 17.2 | 12.8 | 5.61
16 | 24/01/2016 | 7:00:00 a.m. | 479406 | 1068724 | 7.4866 | 0 | 91.943 | 15.6 | 88.3 | 187.5 | 1.015 | 89.298 | 94.767 | 93.212 | 13.3 | 17.3 | 13.5 | 5.61
15 | 23/01/2016 | 7:00:00 a.m. | 477313 | 1068439 | 7.3134 | 0 | 89.435 | 15.9 | 84.2 | 178.1 | 1.0144 | 86.303 | 94.618 | 91.22 | 13.6 | 19.5 | 14.7 | 5.6
14 | 22/01/2016 | 7:00:00 a.m. | 475321 | 1068161 | 7.0965 | 0 | 88.591 | 16.6 | 84.6 | 197.1 | 1.0141 | 85.599 | 91.957 | 87.694 | 12.5 | 19.8 | 13.6 | 5.61
13 | 21/01/2016 | 7:00:00 a.m. | 473338 | 1067880 | 7.0853 | 0 | 88.463 | 16.3 | 84.3 | 212 | 1.0135 | 85.155 | 91.057 | 88.847 | 14.3 | 18.5 | 17.1 | 5.62
12 | 20/01/2016 | 7:00:00 a.m. | 471355 | 1067599 | 7.0937 | 0 | 88.838 | 16 | 90 | 178.1 | 1.0139 | 86.002 | 91.967 | 88.121 | 13.1 | 17.9 | 14.8 | 5.61
11 | 19/01/2016 | 7:00:00 a.m. | 469230 | 1067300 | 7.2071 | 0 | 89.466 | 15.3 | 85.8 | 168 | 1.0144 | 86.935 | 92.247 | 89.125 | 12.5 | 17.5 | 13.2 | 5.62
10 | 18/01/2016 | 7:00:00 a.m. | 467212 | 1067019 | 7.2043 | 0 | 91.429 | 15.4 | 70.2 | 125.6 | 1.0143 | 88.343 | 94.195 | 89.347 | 13.2 | 18 | 13.9 | 5.62
9 | 17/01/2016 | 7:00:00 a.m. | 465586 | 1066796 | 7.4485 | 0 | 91.992 | 15 | 88.5 | 142.4 | 1.0149 | 90.36 | 95.299 | 92.646 | 12 | 16.6 | 13.5 | 5.6
8 | 16/01/2016 | 7:00:00 a.m. | 463493 | 1066511 | 7.5773 | 0 | 91.069 | 14.8 | 86.9 | 130.1 | 1.0153 | 88.705 | 98.247 | 94.109 | 12.5 | 16.4 | 12.6 | 5.6
7 | 15/01/2016 | 7:00:00 a.m. | 461447 | 1066231 | 7.2305 | 0 | 89.742 | 14.5 | 90 | 135.5 | 1.0143 | 82.542 | 92.498 | 89.712 | 12 | 16 | 13.9 | 5.61
6 | 14/01/2016 | 7:00:00 a.m. | 459320 | 1065936 | 7.1884 | 0 | 88.832 | 14.2 | 83.1 | 118.3 | 1.0145 | 85.05 | 109.986 | 88.388 | 10.9 | 16.6 | 11.9 | 5.61
5 | 13/01/2016 | 7:00:00 a.m. | 457370 | 1065662 | 7.643 | 0 | 92.828 | 14.5 | 95.2 | 184.3 | 1.0156 | 89.158 | 95.815 | 94.715 | 11.4 | 17.6 | 11.8 | 5.6
4 | 12/01/2016 | 7:00:00 a.m. | 455108 | 1065358 | 7.5852 | 0 | 92.455 | 14.9 | 94.4 | 217.2 | 1.0153 | 89.959 | 95.426 | 94.297 | 12 | 16.7 | 12.7 | 5.59
3 | 11/01/2016 | 7:00:00 a.m. | 452898 | 1065059 | 7.5114 | 0 | 94.03 | 14.8 | 74 | 116.2 | 1.0151 | 90.346 | 95.869 | 93.443 | 12.5 | 16.3 | 13.2 | 5.61
2 | 10/01/2016 | 7:00:00 a.m. | 451183 | 1064830 | 7.6261 | 0 | 94.624 | 14.6 | 79.2 | 118.4 | 1.0152 | 92.09 | 96.429 | 95.49 | 11.5 | 15.9 | 14.3 | 5.62
1 | 09/01/2016 | 7:00:00 a.m. | 449340 | 1064586 | 7.7228 | 0 | 93.24 | 14.2 | 86.5 | 147.1 | 1.0157 | 89.406 | 97.238 | 96.047 | 11.5 | 16.2 | 12.3 | 5.6
32 | 08/01/2016 | 7:00:00 a.m. | 447308 | 1064314 | 7.4585 | 0 | 92.397 | 14.1 | 85.4 | 116.4 | 1.0146 | 90.83 | 94.048 | 92.851 | 12.7 | 15.6 | 13.6 | 5.61
31 | 07/01/2016 | 7:00:00 a.m. | 445303 | 1064043 | 7.3449 | 0 | 91.767 | 14.9 | 84.1 | 116.4 | 1.0143 | 89.085 | 93.871 | 91.498 | 13.6 | 16.5 | 14.2 | 5.63
30 | 06/01/2016 | 7:00:00 a.m. | 443330 | 1063774 | 7.3556 | 0 | 91.989 | 14.8 | 80.4 | 115 | 1.0143 | 89.814 | 93.913 | 91.716 | 13.6 | 15.9 | 14.4 | 5.62
29 | 05/01/2016 | 7:00:00 a.m. | 441447 | 1063518 | 7.325 | 0 | 92.178 | 15.4 | 82.7 | 212.9 | 1.0141 | 90.516 | 94.205 | 91.521 | 13.9 | 16.6 | 15 | 5.62
28 | 04/01/2016 | 7:00:00 a.m. | 439501 | 1063253 | 7.3609 | 0 | 93.879 | 15 | 64 | 190.5 | 1.0144 | 91.405 | 96.138 | 91.567 | 11.4 | 16.7 | 13.8 | 5.61
27 | 03/01/2016 | 7:00:00 a.m. | 438035 | 1063057 | 7.683 | 0 | 94.692 | 14.3 | 65.2 | 118.2 | 1.0152 | 92.175 | 96.534 | 95.71 | 11.1 | 17.3 | 12.7 | 5.61
26 | 02/01/2016 | 7:00:00 a.m. | 436542 | 1062859 | 7.5939 | 0 | 95.328 | 14.2 | 65.3 | 119 | 1.0151 | 93.077 | 97.803 | 94.305 | 10.8 | 16.5 | 12.4 | 5.6
25 | 01/01/2016 | 7:00:00 a.m. | 435045 | 1062662 | 7.7666 | 0 | 95.953 | 14.5 | 65.3 | 118.8 | 1.0153 | 93.524 | 97.855 | 97.226 | 12 | 16.4 | 13.6 | 5.63
24 | 31/12/2015 | 7:00:00 a.m. | 433547 | 1062466 | 7.7592 | 0 | 93.736 | 13.9 | 75.2 | 118.7 | 1.0155 | 88.94 | 98.471 | 96.487 | 9.9 | 16.3 | 12 | 5.61