## Interconexion Hyundai
End Time | Flow Time | Volume | Units | Mass | Units | Energy | Units | Temperature | Units | Pressure | Units | Pulses | Relative Density | Events | Alarms | Flow Calculation
31/08/2016 06:59:59a.m. | 86400 | 19.666 | E3m3 | 14132.72 | kg | 752.664 | GJ | 27.62 | C | 4811.5347 | kPa | 387855 | 0.58623 | 0 | 0 | AGA-7
30/08/2016 06:59:59a.m. | 85674.01 | 16.834 | E3m3 | 12097.52 | kg | 644.275 | GJ | 27.17 | C | 5141.6089 | kPa | 311562 | 0.58623 | 0 | 792 | AGA-7
29/08/2016 06:59:59a.m. | 63229.44 | 8.067 | E3m3 | 5797.43 | kg | 308.752 | GJ | 26.85 | C | 5540.2266 | kPa | 135701 | 0.58623 | 0 | 8648 | AGA-7
28/08/2016 06:59:59a.m. | 86395.99 | 18.99 | E3m3 | 13647.17 | kg | 726.804 | GJ | 27.28 | C | 5415.4902 | kPa | 329523 | 0.58623 | 0 | 8 | AGA-7
27/08/2016 06:59:59a.m. | 86371.91 | 19.25 | E3m3 | 13834.01 | kg | 736.755 | GJ | 27.19 | C | 5178.1533 | kPa | 350364 | 0.58623 | 0 | 46 | AGA-7
26/08/2016 06:59:59a.m. | 86400 | 20.21 | E3m3 | 14523.36 | kg | 773.467 | GJ | 27.45 | C | 5088.2144 | kPa | 375125 | 0.58623 | 0 | 0 | AGA-7
25/08/2016 06:59:59a.m. | 86341.8 | 19.139 | E3m3 | 13753.65 | kg | 732.475 | GJ | 27.51 | C | 5164.3545 | kPa | 350311 | 0.58623 | 0 | 88 | AGA-7
24/08/2016 06:59:59a.m. | 86354 | 19.042 | E3m3 | 13684.39 | kg | 728.786 | GJ | 27.38 | C | 5141.8799 | kPa | 349500 | 0.58623 | 0 | 34 | AGA-7
23/08/2016 06:59:59a.m. | 83973.03 | 15.925 | E3m3 | 11444.14 | kg | 609.478 | GJ | 27.13 | C | 5306.8647 | kPa | 284266 | 0.58623 | 0 | 1112 | AGA-7
22/08/2016 06:59:59a.m. | 56283.86 | 7.633 | E3m3 | 5485.62 | kg | 292.146 | GJ | 27.17 | C | 5319.3701 | kPa | 137445 | 0.58623 | 0 | 7792 | AGA-7
21/08/2016 06:59:59a.m. | 86363.85 | 18.675 | E3m3 | 13420.27 | kg | 714.72 | GJ | 27.27 | C | 4983.6323 | kPa | 354125 | 0.58623 | 0 | 56 | AGA-7
20/08/2016 06:59:59a.m. | 86389.97 | 18.347 | E3m3 | 13184.45 | kg | 702.161 | GJ | 27.32 | C | 4976.8501 | kPa | 348568 | 0.58623 | 0 | 14 | AGA-7
19/08/2016 06:59:59a.m. | 86146.95 | 16.736 | E3m3 | 12027.15 | kg | 640.527 | GJ | 27.55 | C | 5223.4028 | kPa | 302281 | 0.58623 | 0 | 98 | AGA-7
18/08/2016 06:59:59a.m. | 86220.79 | 16.213 | E3m3 | 11651.36 | kg | 620.514 | GJ | 28.13 | C | 5242.0825 | kPa | 292249 | 0.58623 | 0 | 186 | AGA-7
17/08/2016 06:59:59a.m. | 61219.28 | 12.063 | E3m3 | 8669.06 | kg | 461.686 | GJ | 28.46 | C | 4894.501 | kPa | 234460 | 0.58623 | 3 | 142 | AGA-7
16/08/2016 06:59:59a.m. | 86344.9 | 16.763 | E3m3 | 12046.38 | kg | 641.552 | GJ | 27.74 | C | 4866.3486 | kPa | 326236 | 0.58623 | 0 | 48 | AGA-7
15/08/2016 06:59:59a.m. | 67174.84 | 6.982 | E3m3 | 5017.3 | kg | 267.205 | GJ | 27.75 | C | 5297.8896 | kPa | 125206 | 0.58623 | 0 | 7847 | AGA-7
14/08/2016 06:59:59a.m. | 85657.69 | 17.902 | E3m3 | 12864.83 | kg | 685.14 | GJ | 27.58 | C | 5207.2573 | kPa | 324724 | 0.58623 | 0 | 652 | AGA-7
13/08/2016 06:59:59a.m. | 86309.99 | 18.028 | E3m3 | 12955.27 | kg | 689.956 | GJ | 27.31 | C | 5026.9907 | kPa | 339261 | 0.58623 | 0 | 108 | AGA-7
12/08/2016 06:59:59a.m. | 86343.33 | 18.433 | E3m3 | 13246.84 | kg | 705.484 | GJ | 27.22 | C | 5045.1406 | kPa | 345257 | 0.58623 | 0 | 50 | AGA-7
11/08/2016 06:59:59a.m. | 85997.88 | 18.63 | E3m3 | 13388.2 | kg | 713.013 | GJ | 27.21 | C | 5187.8135 | kPa | 338809 | 0.58623 | 0 | 206 | AGA-7
10/08/2016 06:59:59a.m. | 86202.52 | 17.55 | E3m3 | 12612.31 | kg | 671.691 | GJ | 26.98 | C | 5269.4248 | kPa | 313782 | 0.58623 | 0 | 202 | AGA-7
09/08/2016 06:59:59a.m. | 85940.62 | 17.759 | E3m3 | 12762.5 | kg | 679.69 | GJ | 26.94 | C | 5267.9458 | kPa | 317130 | 0.58623 | 0 | 266 | AGA-7
08/08/2016 06:59:59a.m. | 54387.65 | 5.736 | E3m3 | 4122.17 | kg | 219.533 | GJ | 26.85 | C | 5217.7505 | kPa | 102635 | 0.58623 | 0 | 10090 | AGA-7
07/08/2016 06:59:59a.m. | 86387.98 | 17.556 | E3m3 | 12616.68 | kg | 671.924 | GJ | 26.99 | C | 4904.4072 | kPa | 338850 | 0.58623 | 0 | 20 | AGA-7
06/08/2016 06:59:59a.m. | 86226.95 | 18.417 | E3m3 | 13235.06 | kg | 704.856 | GJ | 27.19 | C | 4933.0474 | kPa | 353657 | 0.58623 | 0 | 166 | AGA-7
05/08/2016 06:59:59a.m. | 86260.99 | 19.55 | E3m3 | 14049.26 | kg | 748.218 | GJ | 27.1 | C | 4913.356 | kPa | 376341 | 0.58623 | 0 | 108 | AGA-7
04/08/2016 06:59:59a.m. | 86366.95 | 18.785 | E3m3 | 13499.51 | kg | 718.94 | GJ | 26.97 | C | 4840.1943 | kPa | 367713 | 0.58623 | 0 | 48 | AGA-7
03/08/2016 06:59:59a.m. | 86386.97 | 17.822 | E3m3 | 12807.31 | kg | 682.076 | GJ | 26.92 | C | 4854.5806 | kPa | 347169 | 0.58623 | 13 | 24 | AGA-7
02/08/2016 06:59:59a.m. | 86357.93 | 19.683 | E3m3 | 14145.14 | kg | 753.325 | GJ | 26.94 | C | 5165.4995 | kPa | 359791 | 0.58623 | 0 | 58 | AGA-7
01/08/2016 06:59:59a.m. | 45988.39 | 3.879 | E3m3 | 2787.27 | kg | 148.441 | GJ | 26.87 | C | 5548.9902 | kPa | 65268 | 0.58623 | 0 | 9963 | AGA-7

## Hyundai
Data Log
Unit Serial Number: | 09/12/47834
Meter/Site ID: | HYUNDAI G160
Drive Rate | 1 m³/rev
Number of Logs Stored: | 30
Fault/Alarms Recorded: | Date | Time | Condition
13 | 16/01/2015 | 9:31:01 a.m. | 2 (Low Pressure Alarm Occurred)
14 | 20/01/2015 | 8:16:14 p.m. | 18 (Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
15 | 24/12/2015 | 2:53:30 p.m. | 19 (High Pressure Alarm Occurred Low Pressure Alarm Occurred High Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Average Flow | Peak Flow | Supercomp | Min Press | Max Press | Ending Press | Min Temp | Max Temp | Ending Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | Nm³/H | Fpv² | PSI | PSI | PSI | °C | °C | °C | V
22 | 31/08/2016 | 7:00:00 a.m. | 176083 | 666465 | 21.0214 | 0 | 309.493 | 27.2 | 813.1 | 1165 | 1.0382 | 305.876 | 313.236 | 309.465 | 25.8 | 28.7 | 26.4 | 5.16
21 | 30/08/2016 | 7:00:00 a.m. | 156650 | 665537 | 21.1304 | 0 | 309.453 | 27.1 | 803.3 | 1178.3 | 1.0385 | 306.026 | 313.005 | 310.883 | 25.9 | 28.6 | 26.3 | 5.16
20 | 29/08/2016 | 7:00:00 a.m. | 137448 | 664620 | 21.2233 | 0 | 312.617 | 26.6 | 312.5 | 749.2 | 1.0388 | 310.143 | 314.912 | 311.843 | 25.3 | 28.5 | 25.9 | 5.15
19 | 28/08/2016 | 7:00:00 a.m. | 129954 | 664267 | 21.3923 | 0 | 310.809 | 26.8 | 772.2 | 1201.8 | 1.0392 | 306.89 | 314.56 | 313.926 | 25.3 | 27.9 | 25.7 | 5.16
18 | 27/08/2016 | 7:00:00 a.m. | 111511 | 663391 | 21.1745 | 0 | 310.721 | 26.9 | 794.3 | 1165.5 | 1.0385 | 307.273 | 314.161 | 311.757 | 26.1 | 28.1 | 26.5 | 5.17
17 | 26/08/2016 | 7:00:00 a.m. | 92550 | 662490 | 21.2291 | 0 | 310.542 | 27.1 | 832 | 1240.2 | 1.0387 | 306.766 | 314.278 | 312.279 | 26.1 | 28.3 | 26.3 | 5.16
16 | 25/08/2016 | 7:00:00 a.m. | 72687 | 661545 | 21.0401 | 0 | 310.727 | 27.2 | 798.5 | 1213.1 | 1.0381 | 307.306 | 314.273 | 310.155 | 26.1 | 28.7 | 26.7 | 5.17
15 | 24/08/2016 | 7:00:00 a.m. | 53637 | 660639 | 21.2695 | 0 | 310.965 | 27.1 | 794.3 | 1286.8 | 1.0388 | 307.627 | 314.707 | 312.774 | 25.9 | 28.5 | 26.2 | 5.16
14 | 23/08/2016 | 7:00:00 a.m. | 34675 | 659738 | 21.337 | 0 | 311.072 | 27.1 | 782.3 | 1216.9 | 1.0389 | 306.839 | 314.43 | 313.652 | 26 | 28.8 | 26.1 | 5.17
13 | 22/08/2016 | 7:00:00 a.m. | 16025 | 658852 | 21.1974 | 0 | 313.889 | 26.7 | 286.7 | 751.6 | 1.0386 | 311.477 | 315.291 | 311.856 | 24.9 | 29.7 | 26.3 | 5.17
12 | 21/08/2016 | 7:00:00 a.m. | 9143 | 658529 | 21.4161 | 0 | 311.511 | 27.1 | 772.8 | 1195.4 | 1.0391 | 307.804 | 315.423 | 314.694 | 25.6 | 28.3 | 26.1 | 5.17
11 | 20/08/2016 | 7:00:00 a.m. | 990739 | 657656 | 21.2148 | 0 | 311.572 | 27.1 | 762.1 | 1238.1 | 1.0386 | 307.46 | 315.162 | 312.128 | 25.7 | 28.8 | 26.3 | 5.16
10 | 19/08/2016 | 7:00:00 a.m. | 972584 | 656795 | 21.2987 | 0 | 311.992 | 27.2 | 715.3 | 1196.4 | 1.0387 | 308.423 | 315.095 | 313.567 | 25.9 | 28.8 | 26.5 | 5.17
9 | 18/08/2016 | 7:00:00 a.m. | 955542 | 655988 | 21.3443 | 0 | 312.244 | 27.4 | 663.8 | 1171.9 | 1.0389 | 308.081 | 315.644 | 313.933 | 25.8 | 29.8 | 26.3 | 5.17
8 | 17/08/2016 | 7:00:00 a.m. | 939707 | 655238 | 21.3865 | 0 | 311.911 | 27.3 | 714.3 | 1240 | 1.039 | 307.514 | 315.412 | 314.478 | 25.7 | 29.8 | 26.2 | 5.17
7 | 16/08/2016 | 7:00:00 a.m. | 922686 | 654431 | 21.3388 | 0 | 311.764 | 27.3 | 697.4 | 1157.6 | 1.0389 | 307.694 | 314.784 | 313.856 | 25.9 | 29.2 | 26.3 | 5.18
6 | 15/08/2016 | 7:00:00 a.m. | 906051 | 653642 | 21.3287 | 0 | 313.695 | 27.2 | 329.7 | 1041.7 | 1.039 | 309.757 | 315.835 | 313.332 | 25.1 | 30.2 | 25.9 | 5.17
5 | 14/08/2016 | 7:00:00 a.m. | 898165 | 653271 | 21.4329 | 0 | 311.933 | 27 | 746.6 | 1200.9 | 1.0393 | 308.004 | 315.886 | 314.269 | 25.4 | 28.4 | 25.5 | 5.18
4 | 13/08/2016 | 7:00:00 a.m. | 880368 | 652428 | 21.2069 | 0 | 311.988 | 27 | 749.2 | 1204.3 | 1.0386 | 308.062 | 315.276 | 312.141 | 25.9 | 28.3 | 26.4 | 5.18
3 | 12/08/2016 | 7:00:00 a.m. | 862495 | 651582 | 21.2431 | 0 | 312.01 | 27 | 766.4 | 1210.2 | 1.0387 | 307.627 | 315.551 | 312.603 | 26 | 28.2 | 26.4 | 5.17
2 | 11/08/2016 | 7:00:00 a.m. | 844216 | 650717 | 21.3574 | 0 | 312.066 | 27 | 775.2 | 1240.6 | 1.0389 | 308.102 | 316.397 | 314.245 | 25.7 | 28.3 | 26.4 | 5.18
1 | 10/08/2016 | 7:00:00 a.m. | 825726 | 649842 | 21.4363 | 0 | 312.631 | 26.8 | 725 | 1256.8 | 1.0391 | 308.95 | 316.307 | 315.055 | 25.6 | 28.3 | 26.1 | 5.18
25 | 09/08/2016 | 7:00:00 a.m. | 808384 | 649020 | 21.385 | 0 | 312.772 | 26.8 | 739.1 | 1248.3 | 1.0373 | 309.113 | 316.51 | 314.673 | 25.7 | 28.3 | 25.9 | 5.25
24 | 08/08/2016 | 7:00:00 a.m. | 790780 | 648188 | 21.4544 | 0 | 315.041 | 26.4 | 303.9 | 1184.8 | 1.0374 | 310.251 | 317.042 | 315.554 | 24.3 | 29 | 25.9 | 5.26
23 | 07/08/2016 | 7:00:00 a.m. | 783524 | 647848 | 21.4621 | 0 | 312.931 | 26.8 | 728.4 | 1217.7 | 1.0374 | 309.175 | 316.038 | 315.689 | 25.8 | 28.1 | 25.9 | 5.27
22 | 06/08/2016 | 7:00:00 a.m. | 766169 | 647028 | 21.2663 | 0 | 312.764 | 27 | 764.6 | 1174.2 | 1.0369 | 309.392 | 316.355 | 313.621 | 26 | 28.1 | 26.5 | 5.25
21 | 05/08/2016 | 7:00:00 a.m. | 747940 | 646166 | 21.2943 | 0 | 312.628 | 26.9 | 810 | 1230.2 | 1.0369 | 309.133 | 316.616 | 313.918 | 25.7 | 28.1 | 26.4 | 5.26
20 | 04/08/2016 | 7:00:00 a.m. | 728598 | 645251 | 21.4652 | 0 | 312.934 | 26.8 | 778.9 | 1140.8 | 1.0374 | 309.585 | 316.566 | 315.961 | 25.4 | 28.2 | 26.1 | 5.27
19 | 03/08/2016 | 7:00:00 a.m. | 710035 | 644374 | 21.3571 | 0 | 313.2 | 26.8 | 739.2 | 1130.6 | 1.0372 | 309.419 | 316.456 | 314.353 | 25.6 | 28.5 | 26 | 5.25
18 | 02/08/2016 | 7:00:00 a.m. | 692430 | 643543 | 21.3387 | 0 | 312.946 | 26.8 | 817.2 | 1201.6 | 1.0371 | 309.524 | 316.642 | 314.397 | 25.4 | 28 | 26.3 | 5.26
17 | 01/08/2016 | 7:00:00 a.m. | 672930 | 642622 | 21.55 | 0 | 316.059 | 26.4 | 245.5 | 441.4 | 1.0378 | 313.76 | 317.826 | 316.397 | 24.7 | 29.2 | 25.4 | 5.26