## Tequila Patron 04-11-2016 Diari
Data Log
Unit Serial Number: | -1/83/3348552
Meter/Site ID: | Patron 18600044
Drive Rate | 1 m³/rev
Number of Logs Stored: | 9
Fault/Alarms Recorded: | Date | Time | Condition
16 | 21/01/2015 | 12:43:27 p.m. | 2 (Low Pressure Alarm Occurred)
17 | 21/01/2015 | 6:40:27 p.m. | 3 (High Pressure Alarm Occurred Low Pressure Alarm Occurred)
18 | 21/01/2015 | 6:55:57 p.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
19 | 21/01/2015 | 6:55:57 p.m. | 4 (Temperature Fault Occurred)
20 | 21/01/2015 | 6:56:57 p.m. | 15 (High Pressure Alarm Occurred Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
21 | 13/10/2015 | 10:54:09 a.m. | 31 (High Pressure Alarm Occurred Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred High Flow Rate Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
27 | 10/03/2016 | 9:00:00 a.m. | 9957908 | 460649 | 22.0454 | 9 | 299.303 | 20.8 | 2075.9 | 5.68
28 | 11/03/2016 | 9:00:00 a.m. | 9993518 | 462257 | 21.9961 | 9 | 303.324 | 20.4 | 2087.5 | 5.68
29 | 12/03/2016 | 9:00:00 a.m. | 10019042 | 463410 | 21.9971 | 9 | 304.098 | 20.2 | 2098.4 | 5.67
30 | 13/03/2016 | 9:00:00 a.m. | 10041312 | 464416 | 22.2506 | 9 | 304.342 | 20.3 | 2023.2 | 5.67
31 | 14/03/2016 | 9:00:00 a.m. | 10064808 | 465475 | 22.0397 | 9 | 304.004 | 20.6 | 2094.6 | 5.67
32 | 15/03/2016 | 9:00:00 a.m. | 10099081 | 467024 | 22.1304 | 9 | 302.843 | 20.6 | 2077.2 | 5.68
33 | 16/03/2016 | 9:00:00 a.m. | 10135762 | 468682 | 22.1205 | 9 | 302.514 | 20.6 | 2072.6 | 5.69
34 | 17/03/2016 | 9:00:00 a.m. | 10160880 | 469815 | 22.1012 | 9 | 303.371 | 20.7 | 2075.8 | 5.68
35 | 18/03/2016 | 9:00:00 a.m. | 10196516 | 471425 | 22.0998 | 9 | 302.576 | 20.5 | 2058.6 | 5.68
1 | 19/03/2016 | 9:00:00 a.m. | 10221894 | 472571 | 21.9646 | 9 | 303.352 | 20.4 | 2051.3 | 5.67
2 | 20/03/2016 | 9:00:00 a.m. | 10244848 | 473607 | 22.4041 | 9 | 303.796 | 20.3 | 2030.8 | 5.67
3 | 21/03/2016 | 9:00:00 a.m. | 10261836 | 474370 | 22.1925 | 9 | 304.333 | 20.5 | 2061.7 | 5.68
4 | 22/03/2016 | 9:00:00 a.m. | 10287175 | 475513 | 22.1476 | 9 | 303.447 | 20.6 | 2053.1 | 5.68
5 | 23/03/2016 | 9:00:00 a.m. | 10319247 | 476961 | 22.0929 | 9 | 302.628 | 20.7 | 2048.5 | 5.68
6 | 24/03/2016 | 9:00:00 a.m. | 10346279 | 478179 | 21.9938 | 9 | 303.16 | 20.8 | 2051.5 | 5.67
7 | 25/03/2016 | 9:00:00 a.m. | 10382512 | 479819 | 22.0365 | 9 | 302.018 | 20.7 | 2049.5 | 5.67
8 | 26/03/2016 | 9:00:00 a.m. | 10408783 | 481008 | 22.1527 | 9 | 303.015 | 20.7 | 2054.1 | 5.68
9 | 27/03/2016 | 9:00:00 a.m. | 10429369 | 481936 | 22.2812 | 9 | 303.845 | 20.6 | 2034.8 | 5.67
10 | 28/03/2016 | 9:00:00 a.m. | 10450692 | 482897 | 21.9801 | 9 | 303.31 | 21 | 2047.2 | 5.67
11 | 29/03/2016 | 9:00:00 a.m. | 10485314 | 484464 | 22.0872 | 9 | 302.053 | 20.9 | 2053.4 | 5.68
12 | 30/03/2016 | 9:00:00 a.m. | 10520314 | 486048 | 22.1066 | 9 | 301.994 | 21 | 2039.2 | 5.68
13 | 31/03/2016 | 9:00:00 a.m. | 10541015 | 486981 | 22.1492 | 9 | 303.164 | 21.2 | 2043.3 | 5.67
14 | 01/04/2016 | 9:00:00 a.m. | 10573435 | 488449 | 22.0507 | 9 | 302.091 | 21.1 | 2044.9 | 5.66
15 | 02/04/2016 | 9:00:00 a.m. | 10595853 | 489463 | 22.0654 | 9 | 303.132 | 20.9 | 2057.5 | 5.68
1 | 03/04/2016 | 9:00:00 a.m. | 10614340 | 490299 | 22.3746 | 9 | 303.423 | 21.1 | 2022.5 | 5.63
2 | 04/04/2016 | 9:00:00 a.m. | 10635481 | 491251 | 22.1329 | 9 | 303.501 | 21.3 | 2051.1 | 5.63
3 | 05/04/2016 | 9:00:00 a.m. | 10667587 | 492704 | 22.2379 | 9 | 302.503 | 21.3 | 2040.5 | 5.63
4 | 06/04/2016 | 9:00:00 a.m. | 10700874 | 494211 | 22.0435 | 9 | 302.361 | 21.3 | 2040.9 | 5.63
5 | 07/04/2016 | 9:00:00 a.m. | 10722204 | 495175 | 21.971 | 9 | 303.025 | 22 | 2037.9 | 5.63
6 | 08/04/2016 | 9:00:00 a.m. | 10754720 | 496653 | 22.0156 | 9 | 301.446 | 21.5 | 2042.3 | 5.63
7 | 09/04/2016 | 9:00:00 a.m. | 10778784 | 497746 | 22.1414 | 9 | 302.255 | 21.5 | 2051.2 | 5.64
8 | 10/04/2016 | 9:00:00 a.m. | 10797250 | 498584 | 22.2533 | 9 | 302.627 | 21.5 | 2035.8 | 5.63
9 | 11/04/2016 | 9:00:00 a.m. | 10815167 | 499395 | 22.007 | 9 | 302.591 | 21.8 | 2049.4 | 5.63