## Hoja1
Data Log
Unit Serial Number | 1/83/3348552
Meter/Site ID | Patron 18600044
Drive Rate | 1 m³/rev
Number of Logs Stored | 35
Fault/Alarms Recorded: | Date | Time | Condition
| 1 | 13/10/2015 | 10:54:09 a.m. | 31 (High Pressure Alarm Occurred Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred High Flow Rate Alarm Occurred)
| 2 | 21/01/2015 | 6:56:57 p.m. | 15 (High Pressure Alarm Occurred Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
| 3 | 21/01/2015 | 6:55:57 p.m. | 4 (Temperature Fault Occurred)
| 4 | 21/01/2015 | 6:55:57 p.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
| 5 | 21/01/2015 | 6:40:27 p.m. | 3 (High Pressure Alarm Occurred Low Pressure Alarm Occurred)
| 6 | 21/01/2015 | 12:43:27 p.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
22 | 2016-05-10 | 9:00 | 11612386 | 535845 | 21.8244 | 9 | 301.0139 | 22.9 | 2015.1 | 5.63
21 | 2016-05-09 | 9:00 | 11579003 | 534319 | 21.7836 | 9 | 301.3742 | 23.1 | 2008.4 | 5.62
20 | 2016-05-08 | 9:00 | 11556187 | 533277 | 22.096 | 9 | 301.6763 | 22.6 | 1981.9 | 5.62
19 | 2016-05-07 | 9:00 | 11533556 | 532241 | 21.7968 | 9 | 301.3539 | 22.7 | 2010.3 | 5.63
18 | 2016-05-06 | 9:00 | 11509692 | 531149 | 21.9629 | 9 | 300.392 | 22.7 | 2014.4 | 5.62
17 | 2016-05-05 | 9:00 | 11474814 | 529551 | 21.9064 | 9 | 300.6108 | 22.7 | 2223.2 | 5.62
16 | 2016-05-04 | 9:00 | 11441185 | 528011 | 21.8124 | 9 | 301.226 | 22.7 | 2159 | 5.64
15 | 2016-05-03 | 9:00 | 11411159 | 526639 | 21.8544 | 9 | 300.8016 | 22.6 | 2030.1 | 5.62
14 | 2016-05-02 | 9:00 | 11376622 | 525058 | 21.8439 | 9 | 301.8074 | 22.6 | 2041.2 | 5.63
13 | 2016-05-01 | 9:00 | 11354291 | 524041 | 22.1162 | 9 | 304.9557 | 23.1 | 1994 | 5.63
12 | 2016-04-30 | 9:00 | 11347537 | 523733 | 21.8095 | 9 | 302.3256 | 22.3 | 2058.5 | 5.62
11 | 2016-04-29 | 9:00 | 11326966 | 522796 | 21.9586 | 9 | 300.7983 | 22.5 | 2037.2 | 5.62
10 | 2016-04-28 | 9:00 | 11291278 | 521164 | 21.9377 | 9 | 301.5024 | 22.6 | 2040.9 | 5.62
9 | 2016-04-27 | 9:00 | 11264428 | 519939 | 21.863 | 9 | 301.2928 | 22.3 | 2056 | 5.62
8 | 2016-04-26 | 9:00 | 11229899 | 518363 | 22.0737 | 9 | 301.7386 | 22.3 | 2051.1 | 5.62
7 | 2016-04-25 | 9:00 | 11199238 | 516965 | 21.851 | 9 | 302.1353 | 22.4 | 2041.7 | 5.63
6 | 2016-04-24 | 9:00 | 11178132 | 516001 | 22.131 | 9 | 302.3655 | 22.1 | 2034.1 | 5.62
5 | 2016-04-23 | 9:00 | 11156285 | 515001 | 21.8008 | 9 | 302.1113 | 22.2 | 2050.3 | 5.62
4 | 2016-04-22 | 9:00 | 11132842 | 513928 | 21.806 | 9 | 300.8994 | 22.2 | 2041.5 | 5.63
3 | 2016-04-21 | 9:00 | 11098460 | 512350 | 21.8935 | 9 | 301.9477 | 22.2 | 2048.9 | 5.61
2 | 2016-04-20 | 9:00 | 11072360 | 511157 | 21.9103 | 9 | 301.1028 | 22.3 | 2050.1 | 5.64
1 | 2016-04-19 | 9:00 | 11038036 | 509584 | 21.794 | 9 | 301.2935 | 22.3 | 2054.7 | 5.63
16 | 18/04/2016 | 9:00:00 a.m. | 11006489 | 508139 | 21.8411 | 9 | 302.299 | 22.3 | 2055.1 | 5.64
15 | 17/04/2016 | 9:00:00 a.m. | 10985197 | 507168 | 22.0681 | 9 | 302.576 | 21.9 | 2044 | 5.63
14 | 16/04/2016 | 9:00:00 a.m. | 10964535 | 506224 | 21.8492 | 9 | 302.129 | 21.9 | 2056.9 | 5.64
13 | 15/04/2016 | 9:00:00 a.m. | 10941138 | 505154 | 21.9507 | 9 | 301.5 | 21.9 | 2058.3 | 5.64
12 | 14/04/2016 | 9:00:00 a.m. | 10909387 | 503702 | 21.9607 | 9 | 301.715 | 22.1 | 2097.5 | 5.64
11 | 13/04/2016 | 9:00:00 a.m. | 10883817 | 502534 | 21.8386 | 9 | 301.014 | 21.8 | 2109.9 | 5.62
10 | 12/04/2016 | 9:00:00 a.m. | 10848700 | 500927 | 22.0007 | 9 | 301.384 | 21.7 | 2033.5 | 5.63
9 | 11/04/2016 | 9:00:00 a.m. | 10815167 | 499395 | 22.007 | 9 | 302.591 | 21.8 | 2049.4 | 5.63