## Hoja1
Data Log
Unit Serial Number | -1/83/3348552
Meter/Site ID | Patron 18600044
Drive Rate | 1 m³/rev
Number of Logs Stored | 19
Fault/Alarms Recorded: | Date | Time | Condition
| 1 | 13/10/2015 | 10:54:09 a.m. | 31 (High Pressure Alarm Occurred Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred High Flow Rate Alarm Occurred)
| 2 | 21/01/2015 | 6:56:57 p.m. | 15 (High Pressure Alarm Occurred Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
| 3 | 21/01/2015 | 6:55:57 p.m. | 4 (Temperature Fault Occurred)
| 4 | 21/01/2015 | 6:55:57 p.m. | 11 (High Pressure Alarm Occurred Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
| 5 | 21/01/2015 | 6:40:27 p.m. | 3 (High Pressure Alarm Occurred Low Pressure Alarm Occurred)
| 6 | 21/01/2015 | 12:43:27 p.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
21 | 2016-07-06 | 9:00 | 13164435 | 607417 | 21.5961 | 9 | 299.0857 | 23.8 | 2047 | 5.64
20 | 2016-07-05 | 9:00 | 13123030 | 605501 | 21.5697 | 9 | 299.3816 | 23.9 | 2049.8 | 5.63
19 | 2016-07-04 | 9:00 | 13082636 | 603633 | 21.625 | 9 | 300.9171 | 23.9 | 2055.1 | 5.64
18 | 2016-07-03 | 9:00 | 13059601 | 602573 | 21.9041 | 9 | 301.3457 | 23.7 | 1509 | 5.64
17 | 2016-07-02 | 9:00 | 13038343 | 601595 | 21.7654 | 9 | 300.7427 | 23.9 | 1514.4 | 5.65
16 | 2016-07-01 | 9:00 | 13014906 | 600514 | 21.7629 | 9 | 300.0774 | 24 | 1522.8 | 5.64
15 | 2016-06-30 | 9:00 | 12983239 | 599053 | 21.6499 | 9 | 301.0393 | 25.7 | 1525.7 | 5.64
14 | 2016-06-29 | 9:00 | 12962319 | 598090 | 21.6162 | 9 | 300.0426 | 24.1 | 2027.3 | 5.64
13 | 2016-06-28 | 9:00 | 12930741 | 596629 | 21.639 | 9 | 300.3943 | 24 | 1525.9 | 5.64
12 | 2016-06-27 | 9:00 | 12898924 | 595159 | 21.6656 | 9 | 301.2746 | 23.9 | 3601.9 | 5.64
11 | 2016-06-26 | 9:00 | 12878747 | 594229 | 21.8519 | 9 | 301.4341 | 23.9 | 1539.4 | 5.65
10 | 2016-06-25 | 9:00 | 12861150 | 593416 | 21.649 | 9 | 300.8746 | 23.9 | 1551.6 | 5.65
9 | 2016-06-24 | 9:00 | 12837593 | 592326 | 21.6401 | 9 | 300.1754 | 24.1 | 1641.9 | 5.64
8 | 2016-06-23 | 9:00 | 12805579 | 590845 | 21.5563 | 9 | 301.6718 | 25.9 | 1520.4 | 5.65
7 | 2016-06-22 | 9:00 | 12785968 | 589939 | 21.5709 | 9 | 300.4825 | 24.2 | 1522.4 | 5.65
6 | 2016-06-21 | 9:00 | 12752975 | 588414 | 21.5751 | 9 | 300.1802 | 24.3 | 1799.6 | 5.65
5 | 2016-06-20 | 9:00 | 12720590 | 586915 | 21.689 | 9 | 301.4733 | 24.1 | 1536 | 5.64
4 | 2016-06-19 | 9:00 | 12700896 | 586010 | 21.9288 | 9 | 301.2457 | 23.9 | 1555.3 | 5.64
3 | 2016-06-18 | 9:00 | 12682274 | 585150 | 21.8699 | 9 | 300.6902 | 24.1 | 1564.1 | 5.64
2 | 2016-06-17 | 9:00 | 12658588 | 584055 | 21.6643 | 9 | 300.0633 | 24.4 | 1566.9 | 5.66
1 | 2016-06-16 | 9:00 | 12627910 | 582637 | 21.6444 | 9 | 301.0554 | 24.3 | 1563.5 | 5.66
21 | 2016-06-15 | 9:00 | 12605916 | 581624 | 21.8189 | 9 | 300.0136 | 24.4 | 2060.4 | 5.66
20 | 2016-06-14 | 9:00 | 12572873 | 580094 | 21.6355 | 9 | 299.9348 | 24.4 | 2066.9 | 5.64
19 | 2016-06-13 | 9:00 | 12538130 | 578485 | 21.5962 | 9 | 301.4355 | 24.1 | 2717 | 5.65
18 | 2016-06-12 | 9:00 | 12517763 | 577547 | 21.9574 | 9 | 301.3539 | 24.3 | 2021.4 | 5.66
17 | 2016-06-11 | 9:00 | 12499176 | 576688 | 21.716 | 9 | 300.9629 | 24.3 | 2026.2 | 5.66