## Mineria Empresarial horario 123
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 744
Fault/Alarms Recorded: | Date | Time | Condition
1 | 03/08/2015 | 2:19:12 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
744 | 01/01/2016 | 10:00:00 a.m. | 223621 | 206585 | 7.423 | 0 | 92.993 | 15.7 | 0 | 5.65
743 | 01/01/2016 | 9:00:00 a.m. | 223621 | 206585 | 7.7047 | 0 | 93.351 | 9.5 | 0 | 5.64
742 | 01/01/2016 | 8:00:00 a.m. | 223621 | 206585 | 7.7907 | 0 | 93.26 | 8.4 | 0 | 5.62
741 | 01/01/2016 | 7:00:00 a.m. | 223621 | 206585 | 7.7941 | 0 | 93.375 | 9 | 0 | 5.63
740 | 01/01/2016 | 6:00:00 a.m. | 223621 | 206585 | 7.7746 | 0 | 93.247 | 9.6 | 0 | 5.64
739 | 01/01/2016 | 5:00:00 a.m. | 223621 | 206585 | 7.7366 | 0 | 93.28 | 10.2 | 0 | 5.64
738 | 01/01/2016 | 4:00:00 a.m. | 223621 | 206585 | 7.7474 | 0 | 93.374 | 10.5 | 0 | 5.63
737 | 01/01/2016 | 3:00:00 a.m. | 223621 | 206585 | 7.7243 | 0 | 93.159 | 11.1 | 0 | 5.63
736 | 01/01/2016 | 2:00:00 a.m. | 223621 | 206585 | 7.7039 | 0 | 93.396 | 12.1 | 0 | 5.64
735 | 01/01/2016 | 1:00:00 a.m. | 223621 | 206585 | 7.6811 | 0 | 93.266 | 13.3 | 0 | 5.65
734 | 01/01/2016 | 12:00:00 a.m. | 223621 | 206585 | 7.6238 | 0 | 93.242 | 14.4 | 0 | 5.63
733 | 31/12/2015 | 11:00:00 p.m. | 223621 | 206585 | 7.6166 | 0 | 93.32 | 15 | 0 | 5.65
732 | 31/12/2015 | 10:00:00 p.m. | 223621 | 206585 | 7.591 | 0 | 93.107 | 16 | 0 | 5.64
731 | 31/12/2015 | 9:00:00 p.m. | 223621 | 206585 | 7.5507 | 0 | 93.695 | 17.6 | 0 | 5.65
730 | 31/12/2015 | 8:00:00 p.m. | 223621 | 206585 | 7.5278 | 0 | 93.446 | 20 | 0 | 5.66
729 | 31/12/2015 | 7:00:00 p.m. | 223621 | 206585 | 7.438 | 0 | 93.423 | 22.8 | 0 | 5.66
728 | 31/12/2015 | 6:00:00 p.m. | 223621 | 206585 | 7.3678 | 0 | 93.281 | 26.9 | 0 | 5.66
727 | 31/12/2015 | 5:00:00 p.m. | 223621 | 206585 | 7.1739 | 0 | 92.575 | 32.1 | 0 | 5.67
726 | 31/12/2015 | 4:00:00 p.m. | 223621 | 206585 | 7.0577 | 0 | 92.45 | 33.8 | 0 | 5.68
725 | 31/12/2015 | 3:00:00 p.m. | 223621 | 206585 | 7.1067 | 0 | 92.64 | 31.8 | 0 | 5.67
724 | 31/12/2015 | 2:00:00 p.m. | 223621 | 206585 | 7.1372 | 0 | 92.663 | 31.7 | 0 | 5.67
723 | 31/12/2015 | 1:00:00 p.m. | 223621 | 206585 | 7.1216 | 0 | 92.507 | 30.3 | 0 | 5.67
722 | 31/12/2015 | 12:00:00 p.m. | 223621 | 206585 | 7.1969 | 0 | 92.406 | 28.9 | 0 | 5.67
721 | 31/12/2015 | 11:00:00 a.m. | 223621 | 206585 | 7.2469 | 0 | 92.729 | 22.7 | 0 | 5.66
720 | 31/12/2015 | 10:00:00 a.m. | 223621 | 206585 | 7.5245 | 0 | 92.58 | 13.6 | 0 | 5.63
719 | 31/12/2015 | 9:00:00 a.m. | 223621 | 206585 | 7.6106 | 0 | 92.141 | 8.7 | 0 | 5.64
718 | 31/12/2015 | 8:00:00 a.m. | 223621 | 206585 | 7.7245 | 0 | 92.392 | 7.5 | 0 | 5.62
717 | 31/12/2015 | 7:00:00 a.m. | 223621 | 206585 | 7.7792 | 0 | 92.2 | 7.6 | 0 | 5.63
716 | 31/12/2015 | 6:00:00 a.m. | 223621 | 206585 | 7.7211 | 0 | 92.226 | 7.9 | 0 | 5.64
715 | 31/12/2015 | 5:00:00 a.m. | 223621 | 206585 | 7.7026 | 0 | 92.232 | 8.5 | 0 | 5.62
714 | 31/12/2015 | 4:00:00 a.m. | 223621 | 206585 | 7.7151 | 0 | 92.041 | 9 | 0 | 5.63
713 | 31/12/2015 | 3:00:00 a.m. | 223621 | 206585 | 7.6561 | 0 | 91.967 | 9.8 | 0 | 5.63
712 | 31/12/2015 | 2:00:00 a.m. | 223621 | 206585 | 7.6387 | 0 | 91.897 | 10.6 | 0 | 5.63
711 | 31/12/2015 | 1:00:00 a.m. | 223621 | 206585 | 7.6037 | 0 | 91.809 | 11.5 | 0 | 5.64
710 | 31/12/2015 | 12:00:00 a.m. | 223621 | 206585 | 7.6113 | 0 | 91.951 | 12.5 | 0 | 5.65
709 | 30/12/2015 | 11:00:00 p.m. | 223621 | 206585 | 7.5574 | 0 | 91.927 | 13.9 | 0 | 5.64
708 | 30/12/2015 | 10:00:00 p.m. | 223621 | 206585 | 7.524 | 0 | 91.936 | 15.6 | 0 | 5.65
707 | 30/12/2015 | 9:00:00 p.m. | 223621 | 206585 | 7.4493 | 0 | 91.941 | 17.8 | 0 | 5.65
706 | 30/12/2015 | 8:00:00 p.m. | 223621 | 206585 | 7.376 | 0 | 91.825 | 20.7 | 0 | 5.65
705 | 30/12/2015 | 7:00:00 p.m. | 223621 | 206585 | 7.2984 | 0 | 91.617 | 24.8 | 0 | 5.66
704 | 30/12/2015 | 6:00:00 p.m. | 223621 | 206585 | 7.16 | 0 | 91.483 | 30 | 0 | 5.67
703 | 30/12/2015 | 5:00:00 p.m. | 223621 | 206585 | 6.9997 | 0 | 91.142 | 36.1 | 0 | 5.67
702 | 30/12/2015 | 4:00:00 p.m. | 223621 | 206585 | 6.8549 | 0 | 90.819 | 38.3 | 0 | 5.68
701 | 30/12/2015 | 3:00:00 p.m. | 223621 | 206585 | 6.815 | 0 | 90.984 | 38 | 0 | 5.68
700 | 30/12/2015 | 2:00:00 p.m. | 223621 | 206585 | 6.8824 | 0 | 90.937 | 36.1 | 0 | 5.68
699 | 30/12/2015 | 1:00:00 p.m. | 223621 | 206585 | 6.9133 | 0 | 90.945 | 34.1 | 0 | 5.66
698 | 30/12/2015 | 12:00:00 p.m. | 223621 | 206585 | 6.9804 | 0 | 90.97 | 32.2 | 0 | 5.67
697 | 30/12/2015 | 11:00:00 a.m. | 223621 | 206585 | 7.0471 | 0 | 91.152 | 25.5 | 0 | 5.66
696 | 30/12/2015 | 10:00:00 a.m. | 223621 | 206585 | 7.2591 | 0 | 91.102 | 15.9 | 0 | 5.65
695 | 30/12/2015 | 9:00:00 a.m. | 223621 | 206585 | 7.5753 | 0 | 91.685 | 9.3 | 0 | 5.65
694 | 30/12/2015 | 8:00:00 a.m. | 223621 | 206585 | 7.6795 | 0 | 91.784 | 8.1 | 0 | 5.64
693 | 30/12/2015 | 7:00:00 a.m. | 223621 | 206585 | 7.684 | 0 | 91.935 | 8.5 | 0 | 5.63
692 | 30/12/2015 | 6:00:00 a.m. | 223621 | 206585 | 7.6817 | 0 | 91.731 | 8.9 | 0 | 5.63
691 | 30/12/2015 | 5:00:00 a.m. | 223621 | 206585 | 7.6752 | 0 | 91.781 | 9.3 | 0 | 5.64
690 | 30/12/2015 | 4:00:00 a.m. | 223621 | 206585 | 7.6483 | 0 | 91.829 | 10.2 | 0 | 5.63
689 | 30/12/2015 | 3:00:00 a.m. | 223621 | 206585 | 7.5487 | 0 | 91.725 | 11.3 | 0 | 5.63
688 | 30/12/2015 | 2:00:00 a.m. | 223621 | 206585 | 7.5794 | 0 | 91.573 | 12.6 | 0 | 5.63
687 | 30/12/2015 | 1:00:00 a.m. | 223621 | 206585 | 7.5334 | 0 | 91.731 | 13.4 | 0 | 5.63
686 | 30/12/2015 | 12:00:00 a.m. | 223621 | 206585 | 7.5823 | 0 | 92.002 | 14.4 | 0 | 5.64
685 | 29/12/2015 | 11:00:00 p.m. | 223621 | 206585 | 7.5016 | 0 | 91.723 | 15.4 | 0 | 5.64
684 | 29/12/2015 | 10:00:00 p.m. | 223621 | 206585 | 7.4768 | 0 | 91.612 | 16 | 0 | 5.64
683 | 29/12/2015 | 9:00:00 p.m. | 223621 | 206585 | 7.4505 | 0 | 91.745 | 17.6 | 0 | 5.65
682 | 29/12/2015 | 8:00:00 p.m. | 223621 | 206585 | 7.4171 | 0 | 91.742 | 19 | 0 | 5.66
681 | 29/12/2015 | 7:00:00 p.m. | 223621 | 206585 | 7.3661 | 0 | 91.597 | 20 | 0 | 5.65
680 | 29/12/2015 | 6:00:00 p.m. | 223621 | 206585 | 7.3102 | 0 | 91.864 | 22.1 | 0 | 5.66
679 | 29/12/2015 | 5:00:00 p.m. | 223621 | 206585 | 7.2664 | 0 | 91.567 | 26.1 | 0 | 5.66
678 | 29/12/2015 | 4:00:00 p.m. | 223621 | 206585 | 7.0672 | 0 | 91.224 | 32 | 0 | 5.68
677 | 29/12/2015 | 3:00:00 p.m. | 223621 | 206585 | 7.0282 | 0 | 91.165 | 29.4 | 0 | 5.67
676 | 29/12/2015 | 2:00:00 p.m. | 223621 | 206585 | 7.1296 | 0 | 91.177 | 28.8 | 0 | 5.68
675 | 29/12/2015 | 1:00:00 p.m. | 223621 | 206585 | 7.0519 | 0 | 91.228 | 31.6 | 0 | 5.67
674 | 29/12/2015 | 12:00:00 p.m. | 223621 | 206585 | 7.0117 | 0 | 91.062 | 30.5 | 0 | 5.66
673 | 29/12/2015 | 11:00:00 a.m. | 223621 | 206585 | 7.1141 | 0 | 91.22 | 25.4 | 0 | 5.66
672 | 29/12/2015 | 10:00:00 a.m. | 223621 | 206585 | 7.3018 | 0 | 91.367 | 15.1 | 0 | 5.65
671 | 29/12/2015 | 9:00:00 a.m. | 223621 | 206585 | 7.6152 | 0 | 91.575 | 8.3 | 0 | 5.64
670 | 29/12/2015 | 8:00:00 a.m. | 223621 | 206585 | 7.7115 | 0 | 91.563 | 6.1 | 0 | 5.63
669 | 29/12/2015 | 7:00:00 a.m. | 223621 | 206585 | 7.7165 | 0 | 91.863 | 6.6 | 0 | 5.62
668 | 29/12/2015 | 6:00:00 a.m. | 223621 | 206585 | 7.7456 | 0 | 91.865 | 7.2 | 0 | 5.62
667 | 29/12/2015 | 5:00:00 a.m. | 223621 | 206585 | 7.7 | 0 | 91.937 | 7.2 | 0 | 5.63
666 | 29/12/2015 | 4:00:00 a.m. | 223621 | 206585 | 7.7748 | 0 | 91.968 | 6.9 | 0 | 5.63
665 | 29/12/2015 | 3:00:00 a.m. | 223621 | 206585 | 7.7553 | 0 | 91.99 | 7.6 | 0 | 5.64
664 | 29/12/2015 | 2:00:00 a.m. | 223621 | 206585 | 7.7116 | 0 | 91.933 | 8.7 | 0 | 5.63
663 | 29/12/2015 | 1:00:00 a.m. | 223621 | 206585 | 7.6446 | 0 | 91.878 | 9.9 | 0 | 5.65
662 | 29/12/2015 | 12:00:00 a.m. | 223621 | 206585 | 7.6248 | 0 | 91.844 | 11 | 0 | 5.64
661 | 28/12/2015 | 11:00:00 p.m. | 223621 | 206585 | 7.5916 | 0 | 91.751 | 12.4 | 0 | 5.64
660 | 28/12/2015 | 10:00:00 p.m. | 223621 | 206585 | 7.5887 | 0 | 91.864 | 14.3 | 0 | 5.64
659 | 28/12/2015 | 9:00:00 p.m. | 223621 | 206585 | 7.4931 | 0 | 91.819 | 16.4 | 0 | 5.65
658 | 28/12/2015 | 8:00:00 p.m. | 223621 | 206585 | 7.4109 | 0 | 91.816 | 18.1 | 0 | 5.65
657 | 28/12/2015 | 7:00:00 p.m. | 223621 | 206585 | 7.3745 | 0 | 91.683 | 20.6 | 0 | 5.65
656 | 28/12/2015 | 6:00:00 p.m. | 223621 | 206585 | 7.2738 | 0 | 91.543 | 25.3 | 0 | 5.67
655 | 28/12/2015 | 5:00:00 p.m. | 223621 | 206585 | 7.0995 | 0 | 91.165 | 32.1 | 0 | 5.67
654 | 28/12/2015 | 4:00:00 p.m. | 223621 | 206585 | 6.9497 | 0 | 91.051 | 35.3 | 0 | 5.69
653 | 28/12/2015 | 3:00:00 p.m. | 223621 | 206585 | 6.9236 | 0 | 91.154 | 36.7 | 0 | 5.69
652 | 28/12/2015 | 2:00:00 p.m. | 223621 | 206585 | 6.9371 | 0 | 91.06 | 32.3 | 0 | 5.69
651 | 28/12/2015 | 1:00:00 p.m. | 223621 | 206585 | 7.0503 | 0 | 90.969 | 29.2 | 0 | 5.67
650 | 28/12/2015 | 12:00:00 p.m. | 223621 | 206585 | 7.081 | 0 | 91.167 | 27.8 | 0 | 5.67
649 | 28/12/2015 | 11:00:00 a.m. | 223621 | 206585 | 7.1712 | 0 | 90.948 | 21.2 | 0 | 5.65
648 | 28/12/2015 | 10:00:00 a.m. | 223621 | 206585 | 7.4339 | 0 | 91.219 | 11.5 | 0 | 5.64
647 | 28/12/2015 | 9:00:00 a.m. | 223621 | 206585 | 7.6637 | 0 | 91.926 | 6.1 | 0 | 5.63
646 | 28/12/2015 | 8:00:00 a.m. | 223621 | 206585 | 7.7904 | 0 | 92.016 | 4.5 | 0 | 5.63
645 | 28/12/2015 | 7:00:00 a.m. | 223621 | 206585 | 7.8168 | 0 | 92.185 | 4.8 | 0 | 5.62
644 | 28/12/2015 | 6:00:00 a.m. | 223621 | 206585 | 7.7997 | 0 | 92.134 | 5.8 | 0 | 5.63
643 | 28/12/2015 | 5:00:00 a.m. | 223621 | 206585 | 7.805 | 0 | 92.315 | 6.7 | 0 | 5.63
642 | 28/12/2015 | 4:00:00 a.m. | 223621 | 206585 | 7.7729 | 0 | 92.241 | 7.6 | 0 | 5.63
641 | 28/12/2015 | 3:00:00 a.m. | 223621 | 206585 | 7.7512 | 0 | 92.265 | 8.7 | 0 | 5.63
640 | 28/12/2015 | 2:00:00 a.m. | 223621 | 206585 | 7.7002 | 0 | 92.328 | 9.4 | 0 | 5.64
639 | 28/12/2015 | 1:00:00 a.m. | 223621 | 206585 | 7.7067 | 0 | 92.354 | 9.7 | 0 | 5.65
638 | 28/12/2015 | 12:00:00 a.m. | 223621 | 206585 | 7.67 | 0 | 92.19 | 11 | 0 | 5.64
637 | 27/12/2015 | 11:00:00 p.m. | 223621 | 206585 | 7.6237 | 0 | 92.468 | 12.5 | 0 | 5.65
636 | 27/12/2015 | 10:00:00 p.m. | 223621 | 206585 | 7.5933 | 0 | 92.398 | 14.3 | 0 | 5.63
635 | 27/12/2015 | 9:00:00 p.m. | 223621 | 206585 | 7.5399 | 0 | 92.412 | 15.9 | 0 | 5.65
634 | 27/12/2015 | 8:00:00 p.m. | 223621 | 206585 | 7.4972 | 0 | 92.426 | 17 | 0 | 5.64
633 | 27/12/2015 | 7:00:00 p.m. | 223621 | 206585 | 7.4567 | 0 | 92.389 | 19.2 | 0 | 5.65
632 | 27/12/2015 | 6:00:00 p.m. | 223621 | 206585 | 7.3134 | 0 | 92.302 | 23.9 | 0 | 5.66
631 | 27/12/2015 | 5:00:00 p.m. | 223621 | 206585 | 7.2282 | 0 | 92.099 | 27.7 | 0 | 5.68
630 | 27/12/2015 | 4:00:00 p.m. | 223621 | 206585 | 7.1586 | 0 | 92.044 | 30.7 | 0 | 5.67
629 | 27/12/2015 | 3:00:00 p.m. | 223621 | 206585 | 7.0925 | 0 | 91.992 | 31.3 | 0 | 5.67
628 | 27/12/2015 | 2:00:00 p.m. | 223621 | 206585 | 7.0845 | 0 | 91.937 | 29.5 | 0 | 5.67
627 | 27/12/2015 | 1:00:00 p.m. | 223621 | 206585 | 7.1993 | 0 | 91.94 | 28.4 | 0 | 5.67
626 | 27/12/2015 | 12:00:00 p.m. | 223621 | 206585 | 7.1288 | 0 | 91.935 | 28.2 | 0 | 5.67
625 | 27/12/2015 | 11:00:00 a.m. | 223621 | 206585 | 7.1968 | 0 | 91.909 | 25.1 | 0 | 5.67
624 | 27/12/2015 | 10:00:00 a.m. | 223621 | 206585 | 7.3163 | 0 | 92.069 | 20.1 | 0 | 5.65
623 | 27/12/2015 | 9:00:00 a.m. | 223621 | 206585 | 7.4778 | 0 | 92.415 | 14.7 | 0 | 5.64
622 | 27/12/2015 | 8:00:00 a.m. | 223621 | 206585 | 7.5733 | 0 | 92.428 | 13.7 | 0 | 5.66
621 | 27/12/2015 | 7:00:00 a.m. | 223621 | 206585 | 7.5766 | 0 | 92.455 | 13.9 | 0 | 5.64
620 | 27/12/2015 | 6:00:00 a.m. | 223621 | 206585 | 7.511 | 0 | 92.367 | 14.1 | 0 | 5.63
619 | 27/12/2015 | 5:00:00 a.m. | 223621 | 206585 | 7.4893 | 0 | 92.443 | 12.7 | 0 | 5.64
618 | 27/12/2015 | 4:00:00 a.m. | 223621 | 206585 | 7.6167 | 0 | 92.479 | 11.8 | 0 | 5.63
617 | 27/12/2015 | 3:00:00 a.m. | 223621 | 206585 | 7.6634 | 0 | 92.596 | 10.1 | 0 | 5.63
616 | 27/12/2015 | 2:00:00 a.m. | 223621 | 206585 | 7.6956 | 0 | 92.511 | 11.1 | 0 | 5.65
615 | 27/12/2015 | 1:00:00 a.m. | 223621 | 206585 | 7.6267 | 0 | 92.56 | 12.3 | 0 | 5.64
614 | 27/12/2015 | 12:00:00 a.m. | 223621 | 206585 | 7.625 | 0 | 92.52 | 13.2 | 0 | 5.64
613 | 26/12/2015 | 11:00:00 p.m. | 223621 | 206585 | 7.6209 | 0 | 92.565 | 14.1 | 0 | 5.64
612 | 26/12/2015 | 10:00:00 p.m. | 223621 | 206585 | 7.5966 | 0 | 92.587 | 15.1 | 0 | 5.64
611 | 26/12/2015 | 9:00:00 p.m. | 223621 | 206585 | 7.4868 | 0 | 92.666 | 16.4 | 0 | 5.64
610 | 26/12/2015 | 8:00:00 p.m. | 223621 | 206585 | 7.4247 | 0 | 92.564 | 17.9 | 0 | 5.64
609 | 26/12/2015 | 7:00:00 p.m. | 223621 | 206585 | 7.4437 | 0 | 92.543 | 20.1 | 0 | 5.65
608 | 26/12/2015 | 6:00:00 p.m. | 223621 | 206585 | 7.3108 | 0 | 92.39 | 25 | 0 | 5.66
607 | 26/12/2015 | 5:00:00 p.m. | 223621 | 206585 | 7.2059 | 0 | 92.125 | 29.6 | 0 | 5.68
606 | 26/12/2015 | 4:00:00 p.m. | 223621 | 206585 | 7.1308 | 0 | 91.989 | 31.7 | 0 | 5.68
605 | 26/12/2015 | 3:00:00 p.m. | 223621 | 206585 | 7.0819 | 0 | 92.126 | 32.5 | 0 | 5.67
604 | 26/12/2015 | 2:00:00 p.m. | 223621 | 206585 | 7.0674 | 0 | 92 | 31.6 | 0 | 5.68
603 | 26/12/2015 | 1:00:00 p.m. | 223621 | 206585 | 7.1071 | 0 | 91.889 | 28.9 | 0 | 5.67
602 | 26/12/2015 | 12:00:00 p.m. | 223621 | 206585 | 7.2099 | 0 | 91.997 | 25.1 | 0 | 5.67
601 | 26/12/2015 | 11:00:00 a.m. | 223621 | 206585 | 7.2812 | 0 | 91.946 | 21.6 | 0 | 5.66
600 | 26/12/2015 | 10:00:00 a.m. | 223621 | 206585 | 7.3592 | 0 | 91.985 | 15.3 | 0 | 5.64
599 | 26/12/2015 | 9:00:00 a.m. | 223621 | 206585 | 7.6541 | 0 | 92.383 | 7.7 | 0 | 5.62
598 | 26/12/2015 | 8:00:00 a.m. | 223621 | 206585 | 7.7845 | 0 | 92.549 | 5.9 | 0 | 5.63
597 | 26/12/2015 | 7:00:00 a.m. | 223621 | 206585 | 7.8306 | 0 | 92.736 | 6.2 | 0 | 5.63
596 | 26/12/2015 | 6:00:00 a.m. | 223621 | 206585 | 7.8394 | 0 | 92.739 | 6.8 | 0 | 5.63
595 | 26/12/2015 | 5:00:00 a.m. | 223621 | 206585 | 7.8332 | 0 | 92.852 | 7.3 | 0 | 5.63
594 | 26/12/2015 | 4:00:00 a.m. | 223621 | 206585 | 7.7917 | 0 | 92.824 | 7.9 | 0 | 5.63
593 | 26/12/2015 | 3:00:00 a.m. | 223621 | 206585 | 7.7656 | 0 | 92.684 | 8.3 | 0 | 5.63
592 | 26/12/2015 | 2:00:00 a.m. | 223621 | 206585 | 7.7299 | 0 | 93.057 | 8.8 | 0 | 5.63
591 | 26/12/2015 | 1:00:00 a.m. | 223621 | 206585 | 7.7863 | 0 | 92.806 | 9.6 | 0 | 5.63
590 | 26/12/2015 | 12:00:00 a.m. | 223621 | 206585 | 7.7266 | 0 | 93.071 | 10.7 | 0 | 5.64
589 | 25/12/2015 | 11:00:00 p.m. | 223621 | 206585 | 7.7619 | 0 | 93.247 | 12.1 | 0 | 5.64
588 | 25/12/2015 | 10:00:00 p.m. | 223621 | 206585 | 7.673 | 0 | 93.649 | 13.7 | 0 | 5.64
587 | 25/12/2015 | 9:00:00 p.m. | 223621 | 206585 | 7.646 | 0 | 94.468 | 15.8 | 0 | 5.64
586 | 25/12/2015 | 8:00:00 p.m. | 223621 | 206585 | 7.5628 | 0 | 93.983 | 18.4 | 0 | 5.65
585 | 25/12/2015 | 7:00:00 p.m. | 223621 | 206585 | 7.5104 | 0 | 93.671 | 21.7 | 0 | 5.66
584 | 25/12/2015 | 6:00:00 p.m. | 223621 | 206585 | 7.3947 | 0 | 93.426 | 26.8 | 0 | 5.66
583 | 25/12/2015 | 5:00:00 p.m. | 223621 | 206585 | 7.215 | 0 | 93.366 | 32 | 0 | 5.68
582 | 25/12/2015 | 4:00:00 p.m. | 223621 | 206585 | 7.1426 | 0 | 93.26 | 34.8 | 0 | 5.68
581 | 25/12/2015 | 3:00:00 p.m. | 223621 | 206585 | 6.9949 | 0 | 93.039 | 37.1 | 0 | 5.67
580 | 25/12/2015 | 2:00:00 p.m. | 223621 | 206585 | 7.076 | 0 | 93.219 | 31.7 | 0 | 5.67
579 | 25/12/2015 | 1:00:00 p.m. | 223621 | 206585 | 7.2383 | 0 | 93.064 | 27.3 | 0 | 5.67
578 | 25/12/2015 | 12:00:00 p.m. | 223621 | 206585 | 7.3219 | 0 | 93.319 | 21.5 | 0 | 5.67
577 | 25/12/2015 | 11:00:00 a.m. | 223621 | 206585 | 7.5457 | 0 | 93.306 | 14.8 | 0 | 5.64
576 | 25/12/2015 | 10:00:00 a.m. | 223621 | 206585 | 7.7304 | 0 | 95.819 | 10.3 | 0 | 5.63
575 | 25/12/2015 | 9:00:00 a.m. | 223621 | 206585 | 8.0028 | 0 | 95.196 | 6.7 | 0 | 5.63
574 | 25/12/2015 | 8:00:00 a.m. | 223621 | 206585 | 7.9704 | 0 | 95.368 | 6.3 | 0 | 5.63
573 | 25/12/2015 | 7:00:00 a.m. | 223621 | 206585 | 8.0263 | 0 | 95.597 | 6.9 | 0 | 5.64
572 | 25/12/2015 | 6:00:00 a.m. | 223621 | 206585 | 7.9624 | 0 | 95.015 | 7.2 | 0 | 5.64
571 | 25/12/2015 | 5:00:00 a.m. | 223621 | 206585 | 7.9995 | 0 | 95.586 | 7.5 | 0 | 5.63
570 | 25/12/2015 | 4:00:00 a.m. | 223621 | 206585 | 7.9943 | 0 | 95.019 | 8.1 | 0 | 5.64
569 | 25/12/2015 | 3:00:00 a.m. | 223621 | 206585 | 7.9506 | 0 | 95.773 | 8.7 | 0 | 5.64
568 | 25/12/2015 | 2:00:00 a.m. | 223621 | 206585 | 7.9573 | 0 | 95.15 | 9.4 | 0 | 5.64
567 | 25/12/2015 | 1:00:00 a.m. | 223621 | 206585 | 7.8653 | 0 | 95.749 | 10.2 | 0 | 5.64
566 | 25/12/2015 | 12:00:00 a.m. | 223621 | 206585 | 7.9589 | 0 | 95.816 | 11.2 | 0 | 5.64
565 | 24/12/2015 | 11:00:00 p.m. | 223621 | 206585 | 7.8336 | 0 | 94.98 | 12.4 | 0 | 5.65
564 | 24/12/2015 | 10:00:00 p.m. | 223621 | 206585 | 7.8632 | 0 | 95.849 | 13.8 | 0 | 5.65
563 | 24/12/2015 | 9:00:00 p.m. | 223621 | 206585 | 7.7661 | 0 | 94.536 | 15.8 | 0 | 5.64
562 | 24/12/2015 | 8:00:00 p.m. | 223621 | 206585 | 7.6498 | 0 | 94.285 | 18.7 | 0 | 5.65
561 | 24/12/2015 | 7:00:00 p.m. | 223621 | 206585 | 7.4204 | 0 | 92.624 | 22.8 | 0 | 5.66
560 | 24/12/2015 | 6:00:00 p.m. | 223621 | 206585 | 7.2825 | 0 | 91.506 | 27.8 | 0 | 5.68
559 | 24/12/2015 | 5:00:00 p.m. | 223621 | 206585 | 7.0466 | 0 | 91.066 | 32.6 | 0 | 5.68
558 | 24/12/2015 | 4:00:00 p.m. | 223621 | 206585 | 6.9454 | 0 | 91.027 | 32.9 | 0 | 5.67
557 | 24/12/2015 | 3:00:00 p.m. | 223621 | 206585 | 6.9953 | 0 | 91.148 | 34 | 0 | 5.68
556 | 24/12/2015 | 2:00:00 p.m. | 223621 | 206585 | 6.9106 | 0 | 90.897 | 33.3 | 0 | 5.69
555 | 24/12/2015 | 1:00:00 p.m. | 223621 | 206585 | 7.0097 | 0 | 90.9 | 31 | 0 | 5.68
554 | 24/12/2015 | 12:00:00 p.m. | 223621 | 206585 | 7.0433 | 0 | 91.016 | 28.6 | 0 | 5.68
553 | 24/12/2015 | 11:00:00 a.m. | 223621 | 206585 | 7.1286 | 0 | 90.975 | 21.9 | 0 | 5.67
552 | 24/12/2015 | 10:00:00 a.m. | 223621 | 206585 | 7.3683 | 0 | 91.104 | 13.2 | 0 | 5.65
551 | 24/12/2015 | 9:00:00 a.m. | 223621 | 206585 | 7.617 | 0 | 91.441 | 6.6 | 0 | 5.64
550 | 24/12/2015 | 8:00:00 a.m. | 223621 | 206585 | 7.7396 | 0 | 91.409 | 5.5 | 0 | 5.63
549 | 24/12/2015 | 7:00:00 a.m. | 223621 | 206585 | 7.718 | 0 | 91.47 | 5.8 | 0 | 5.63
548 | 24/12/2015 | 6:00:00 a.m. | 223621 | 206585 | 7.773 | 0 | 91.383 | 6.1 | 0 | 5.62
547 | 24/12/2015 | 5:00:00 a.m. | 223621 | 206585 | 7.6908 | 0 | 91.438 | 6.7 | 0 | 5.65
546 | 24/12/2015 | 4:00:00 a.m. | 223621 | 206585 | 7.7082 | 0 | 91.317 | 7.1 | 0 | 5.63
545 | 24/12/2015 | 3:00:00 a.m. | 223621 | 206585 | 7.6908 | 0 | 91.269 | 7.7 | 0 | 5.64
544 | 24/12/2015 | 2:00:00 a.m. | 223621 | 206585 | 7.6807 | 0 | 91.135 | 8.2 | 0 | 5.63
543 | 24/12/2015 | 1:00:00 a.m. | 223621 | 206585 | 7.634 | 0 | 91.094 | 8.7 | 0 | 5.63
542 | 24/12/2015 | 12:00:00 a.m. | 223621 | 206585 | 7.6063 | 0 | 91.183 | 9.1 | 0 | 5.64
541 | 23/12/2015 | 11:00:00 p.m. | 223621 | 206585 | 7.6037 | 0 | 91.164 | 9.5 | 0 | 5.64
540 | 23/12/2015 | 10:00:00 p.m. | 223621 | 206585 | 7.5894 | 0 | 91.1 | 10.3 | 0 | 5.64
539 | 23/12/2015 | 9:00:00 p.m. | 223621 | 206585 | 7.5675 | 0 | 91.014 | 11.2 | 0 | 5.64
538 | 23/12/2015 | 8:00:00 p.m. | 223621 | 206585 | 7.5405 | 0 | 90.964 | 12.3 | 0 | 5.64
537 | 23/12/2015 | 7:00:00 p.m. | 223621 | 206585 | 7.4436 | 0 | 90.777 | 13.8 | 0 | 5.65
536 | 23/12/2015 | 6:00:00 p.m. | 223621 | 206585 | 7.4662 | 0 | 90.704 | 15.5 | 2.3 | 5.65
535 | 23/12/2015 | 5:00:00 p.m. | 223620 | 206585 | 7.3778 | 0 | 88.483 | 17.4 | 84.9 | 5.64
534 | 23/12/2015 | 4:00:00 p.m. | 223564 | 206577 | 7.0993 | 0 | 87.849 | 19.5 | 84.6 | 5.65
533 | 23/12/2015 | 3:00:00 p.m. | 223485 | 206566 | 7.0823 | 0 | 87.643 | 20.2 | 83.7 | 5.66
532 | 23/12/2015 | 2:00:00 p.m. | 223406 | 206555 | 6.9889 | 0 | 87.702 | 22.6 | 83 | 5.67
531 | 23/12/2015 | 1:00:00 p.m. | 223331 | 206544 | 6.9692 | 0 | 87.332 | 23.7 | 83.4 | 5.67
530 | 23/12/2015 | 12:00:00 p.m. | 223254 | 206533 | 6.9428 | 0 | 87.411 | 23.2 | 85.3 | 5.68
529 | 23/12/2015 | 11:00:00 a.m. | 223175 | 206522 | 7.0118 | 0 | 87.43 | 22.3 | 85.6 | 5.66
528 | 23/12/2015 | 10:00:00 a.m. | 223096 | 206510 | 7.1213 | 0 | 87.483 | 20 | 88.4 | 5.64
527 | 23/12/2015 | 9:00:00 a.m. | 223016 | 206499 | 7.0382 | 0 | 90.039 | 12 | 92.5 | 5.64
526 | 23/12/2015 | 8:00:00 a.m. | 223000 | 206497 | 7.5694 | 0 | 91.04 | 10.1 | 0 | 5.64
525 | 23/12/2015 | 7:00:00 a.m. | 223000 | 206497 | 7.5591 | 0 | 90.972 | 10.1 | 0 | 5.63
524 | 23/12/2015 | 6:00:00 a.m. | 223000 | 206497 | 7.5755 | 0 | 91.097 | 10.3 | 0 | 5.64
523 | 23/12/2015 | 5:00:00 a.m. | 223000 | 206497 | 7.5619 | 0 | 91.081 | 10.6 | 0 | 5.64
522 | 23/12/2015 | 4:00:00 a.m. | 223000 | 206497 | 7.5712 | 0 | 91.267 | 11 | 0 | 5.64
521 | 23/12/2015 | 3:00:00 a.m. | 223000 | 206497 | 7.5815 | 0 | 91.177 | 11.3 | 0 | 5.64
520 | 23/12/2015 | 2:00:00 a.m. | 223000 | 206497 | 7.5769 | 0 | 91.113 | 11.3 | 0 | 5.64
519 | 23/12/2015 | 1:00:00 a.m. | 223000 | 206497 | 7.5427 | 0 | 90.987 | 11.4 | 0 | 5.65
518 | 23/12/2015 | 12:00:00 a.m. | 223000 | 206497 | 7.5138 | 0 | 91.29 | 11.7 | 0 | 5.63
517 | 22/12/2015 | 11:00:00 p.m. | 223000 | 206497 | 7.576 | 0 | 91.017 | 12.4 | 0 | 5.65
516 | 22/12/2015 | 10:00:00 p.m. | 223000 | 206497 | 7.5274 | 0 | 90.918 | 13.5 | 0 | 5.65
515 | 22/12/2015 | 9:00:00 p.m. | 223000 | 206497 | 7.4797 | 0 | 90.867 | 14.7 | 0 | 5.65
514 | 22/12/2015 | 8:00:00 p.m. | 223000 | 206497 | 7.4099 | 0 | 90.84 | 16.2 | 0 | 5.64
513 | 22/12/2015 | 7:00:00 p.m. | 223000 | 206497 | 7.3716 | 0 | 90.929 | 18.6 | 0.8 | 5.65
512 | 22/12/2015 | 6:00:00 p.m. | 223000 | 206497 | 7.288 | 0 | 90.558 | 20.8 | 84.3 | 5.65
511 | 22/12/2015 | 5:00:00 p.m. | 222995 | 206496 | 7.0192 | 0 | 87.528 | 21.7 | 83 | 5.68
510 | 22/12/2015 | 4:00:00 p.m. | 222918 | 206485 | 6.9664 | 0 | 87.721 | 22.7 | 82.6 | 5.66
509 | 22/12/2015 | 3:00:00 p.m. | 222844 | 206474 | 6.9863 | 0 | 87.96 | 23.8 | 83.1 | 5.67
508 | 22/12/2015 | 2:00:00 p.m. | 222774 | 206464 | 6.9214 | 0 | 86.957 | 23.7 | 84.9 | 5.67
507 | 22/12/2015 | 1:00:00 p.m. | 222691 | 206452 | 6.9033 | 0 | 86.74 | 25 | 84 | 5.68
506 | 22/12/2015 | 12:00:00 p.m. | 222609 | 206440 | 6.8992 | 0 | 86.846 | 24 | 84.6 | 5.68
505 | 22/12/2015 | 11:00:00 a.m. | 222525 | 206428 | 6.8991 | 0 | 87.017 | 22.1 | 85.2 | 5.66
504 | 22/12/2015 | 10:00:00 a.m. | 222441 | 206416 | 6.9702 | 0 | 87.096 | 19.6 | 90.5 | 5.66
503 | 22/12/2015 | 9:00:00 a.m. | 222354 | 206404 | 7.1022 | 0 | 90.823 | 9.5 | 92.1 | 5.64
502 | 22/12/2015 | 8:00:00 a.m. | 222350 | 206403 | 7.658 | 0 | 91.046 | 7.8 | 0 | 5.64
501 | 22/12/2015 | 7:00:00 a.m. | 222350 | 206403 | 7.6328 | 0 | 91.083 | 8 | 0 | 5.64
500 | 22/12/2015 | 6:00:00 a.m. | 222350 | 206403 | 7.6365 | 0 | 91.107 | 8.6 | 0 | 5.64
499 | 22/12/2015 | 5:00:00 a.m. | 222350 | 206403 | 7.6115 | 0 | 91.011 | 8.8 | 0 | 5.64
498 | 22/12/2015 | 4:00:00 a.m. | 222350 | 206403 | 7.6421 | 0 | 91.177 | 9.1 | 0 | 5.64
497 | 22/12/2015 | 3:00:00 a.m. | 222350 | 206403 | 7.5866 | 0 | 90.903 | 9.6 | 0 | 5.64
496 | 22/12/2015 | 2:00:00 a.m. | 222350 | 206403 | 7.5701 | 0 | 90.935 | 10.3 | 0 | 5.64
495 | 22/12/2015 | 1:00:00 a.m. | 222350 | 206403 | 7.5289 | 0 | 90.914 | 11.3 | 0 | 5.65
494 | 22/12/2015 | 12:00:00 a.m. | 222350 | 206403 | 7.5265 | 0 | 91.079 | 12.5 | 0 | 5.64
493 | 21/12/2015 | 11:00:00 p.m. | 222350 | 206403 | 7.4564 | 0 | 90.93 | 13.9 | 0 | 5.64
492 | 21/12/2015 | 10:00:00 p.m. | 222350 | 206403 | 7.4219 | 0 | 90.98 | 15.7 | 0 | 5.64
491 | 21/12/2015 | 9:00:00 p.m. | 222350 | 206403 | 7.4099 | 0 | 90.808 | 17.5 | 0 | 5.66
490 | 21/12/2015 | 8:00:00 p.m. | 222350 | 206403 | 7.3156 | 0 | 90.826 | 19.5 | 0 | 5.66
489 | 21/12/2015 | 7:00:00 p.m. | 222350 | 206403 | 7.251 | 0 | 90.787 | 22.1 | 0.8 | 5.66
488 | 21/12/2015 | 6:00:00 p.m. | 222350 | 206403 | 7.1798 | 0 | 90.319 | 23.7 | 84.4 | 5.66
487 | 21/12/2015 | 5:00:00 p.m. | 222344 | 206402 | 6.9942 | 0 | 87.763 | 23.9 | 77.4 | 5.69
486 | 21/12/2015 | 4:00:00 p.m. | 222272 | 206392 | 6.9979 | 0 | 87.555 | 24.1 | 79.7 | 5.68
485 | 21/12/2015 | 3:00:00 p.m. | 222199 | 206382 | 6.9577 | 0 | 87.353 | 25.1 | 82.4 | 5.69
484 | 21/12/2015 | 2:00:00 p.m. | 222121 | 206370 | 6.9029 | 0 | 87.729 | 27.4 | 90.8 | 5.68
483 | 21/12/2015 | 1:00:00 p.m. | 222056 | 206361 | 6.897 | 0 | 90.297 | 31.6 | 0 | 5.69
482 | 21/12/2015 | 12:00:00 p.m. | 222056 | 206361 | 6.9954 | 0 | 90.361 | 27.9 | 0 | 5.67
481 | 21/12/2015 | 11:00:00 a.m. | 222056 | 206361 | 7.1354 | 0 | 90.297 | 21.7 | 0 | 5.67
480 | 21/12/2015 | 10:00:00 a.m. | 222056 | 206361 | 7.3062 | 0 | 90.574 | 14.8 | 0 | 5.66
479 | 21/12/2015 | 9:00:00 a.m. | 222056 | 206361 | 7.5539 | 0 | 90.876 | 7.7 | 0 | 5.64
478 | 21/12/2015 | 8:00:00 a.m. | 222056 | 206361 | 7.6815 | 0 | 91.129 | 6.4 | 0 | 5.63
477 | 21/12/2015 | 7:00:00 a.m. | 222056 | 206361 | 7.6842 | 0 | 91.195 | 6.6 | 0 | 5.63
476 | 21/12/2015 | 6:00:00 a.m. | 222056 | 206361 | 7.6834 | 0 | 90.959 | 6.9 | 0 | 5.63
475 | 21/12/2015 | 5:00:00 a.m. | 222056 | 206361 | 7.6349 | 0 | 90.985 | 7.5 | 0 | 5.64
474 | 21/12/2015 | 4:00:00 a.m. | 222056 | 206361 | 7.6309 | 0 | 91.16 | 8.2 | 0 | 5.64
473 | 21/12/2015 | 3:00:00 a.m. | 222056 | 206361 | 7.6247 | 0 | 91.075 | 8.9 | 0 | 5.64
472 | 21/12/2015 | 2:00:00 a.m. | 222056 | 206361 | 7.6012 | 0 | 91.106 | 9.8 | 0 | 5.64
471 | 21/12/2015 | 1:00:00 a.m. | 222056 | 206361 | 7.5723 | 0 | 91.094 | 10.8 | 0 | 5.63
470 | 21/12/2015 | 12:00:00 a.m. | 222056 | 206361 | 7.5386 | 0 | 91.024 | 12 | 0 | 5.65
469 | 20/12/2015 | 11:00:00 p.m. | 222056 | 206361 | 7.4653 | 0 | 91.032 | 13.3 | 0 | 5.65
468 | 20/12/2015 | 10:00:00 p.m. | 222056 | 206361 | 7.4653 | 0 | 91.049 | 14.9 | 0 | 5.65
467 | 20/12/2015 | 9:00:00 p.m. | 222056 | 206361 | 7.4124 | 0 | 91.025 | 17.3 | 0 | 5.65
466 | 20/12/2015 | 8:00:00 p.m. | 222056 | 206361 | 7.3303 | 0 | 91.021 | 20 | 0 | 5.65
465 | 20/12/2015 | 7:00:00 p.m. | 222056 | 206361 | 7.2895 | 0 | 90.969 | 23.3 | 0 | 5.66
464 | 20/12/2015 | 6:00:00 p.m. | 222056 | 206361 | 7.1594 | 0 | 90.88 | 27.9 | 0 | 5.66
463 | 20/12/2015 | 5:00:00 p.m. | 222056 | 206361 | 7.0297 | 0 | 90.916 | 32.8 | 0 | 5.69
462 | 20/12/2015 | 4:00:00 p.m. | 222056 | 206361 | 6.9175 | 0 | 90.784 | 36.3 | 0 | 5.68
461 | 20/12/2015 | 3:00:00 p.m. | 222056 | 206361 | 6.8122 | 0 | 90.67 | 38.6 | 0 | 5.69
460 | 20/12/2015 | 2:00:00 p.m. | 222056 | 206361 | 6.8229 | 0 | 90.392 | 35.6 | 0 | 5.71
459 | 20/12/2015 | 1:00:00 p.m. | 222056 | 206361 | 6.9447 | 0 | 90.299 | 32.8 | 0 | 5.68
458 | 20/12/2015 | 12:00:00 p.m. | 222056 | 206361 | 6.9256 | 0 | 90.274 | 30.2 | 0 | 5.67
457 | 20/12/2015 | 11:00:00 a.m. | 222056 | 206361 | 7.0858 | 0 | 90.62 | 23.4 | 0 | 5.67
456 | 20/12/2015 | 10:00:00 a.m. | 222056 | 206361 | 7.2951 | 0 | 90.797 | 13.6 | 0 | 5.65
455 | 20/12/2015 | 9:00:00 a.m. | 222056 | 206361 | 7.6042 | 0 | 90.979 | 6.4 | 0 | 5.63
454 | 20/12/2015 | 8:00:00 a.m. | 222056 | 206361 | 7.7026 | 0 | 91.087 | 5.3 | 0 | 5.63
453 | 20/12/2015 | 7:00:00 a.m. | 222056 | 206361 | 7.6739 | 0 | 90.948 | 5.8 | 0 | 5.64
452 | 20/12/2015 | 6:00:00 a.m. | 222056 | 206361 | 7.6971 | 0 | 91.002 | 6.3 | 0 | 5.62
451 | 20/12/2015 | 5:00:00 a.m. | 222056 | 206361 | 7.6715 | 0 | 91.022 | 6.9 | 0 | 5.63
450 | 20/12/2015 | 4:00:00 a.m. | 222056 | 206361 | 7.6709 | 0 | 91.132 | 7.7 | 0 | 5.64
449 | 20/12/2015 | 3:00:00 a.m. | 222056 | 206361 | 7.6307 | 0 | 91.164 | 8.3 | 0 | 5.65
448 | 20/12/2015 | 2:00:00 a.m. | 222056 | 206361 | 7.6298 | 0 | 91.335 | 9.1 | 0 | 5.64
447 | 20/12/2015 | 1:00:00 a.m. | 222056 | 206361 | 7.6321 | 0 | 91.211 | 10.1 | 0 | 5.64
446 | 20/12/2015 | 12:00:00 a.m. | 222056 | 206361 | 7.5639 | 0 | 91.209 | 11.2 | 0 | 5.64
445 | 19/12/2015 | 11:00:00 p.m. | 222056 | 206361 | 7.5599 | 0 | 91.102 | 12.3 | 0 | 5.64
444 | 19/12/2015 | 10:00:00 p.m. | 222056 | 206361 | 7.5016 | 0 | 90.983 | 13.9 | 0 | 5.65
443 | 19/12/2015 | 9:00:00 p.m. | 222056 | 206361 | 7.416 | 0 | 91.062 | 16.1 | 0 | 5.65
442 | 19/12/2015 | 8:00:00 p.m. | 222056 | 206361 | 7.348 | 0 | 90.817 | 18.9 | 0 | 5.65
441 | 19/12/2015 | 7:00:00 p.m. | 222056 | 206361 | 7.2984 | 0 | 90.708 | 22.9 | 0 | 5.66
440 | 19/12/2015 | 6:00:00 p.m. | 222056 | 206361 | 7.1401 | 0 | 90.767 | 29.3 | 0 | 5.68
439 | 19/12/2015 | 5:00:00 p.m. | 222056 | 206361 | 6.9417 | 0 | 90.515 | 35.1 | 0 | 5.68
438 | 19/12/2015 | 4:00:00 p.m. | 222056 | 206361 | 6.8529 | 0 | 90.484 | 36.9 | 0 | 5.7
437 | 19/12/2015 | 3:00:00 p.m. | 222056 | 206361 | 6.8551 | 0 | 90.438 | 36.1 | 0 | 5.69
436 | 19/12/2015 | 2:00:00 p.m. | 222056 | 206361 | 6.9035 | 0 | 90.743 | 32.9 | 0 | 5.69
435 | 19/12/2015 | 1:00:00 p.m. | 222056 | 206361 | 7.0311 | 0 | 90.869 | 29.9 | 0 | 5.68
434 | 19/12/2015 | 12:00:00 p.m. | 222056 | 206361 | 7.0856 | 0 | 90.803 | 27.8 | 0 | 5.68
433 | 19/12/2015 | 11:00:00 a.m. | 222056 | 206361 | 7.096 | 0 | 90.515 | 22 | 0 | 5.67
432 | 19/12/2015 | 10:00:00 a.m. | 222056 | 206361 | 7.2879 | 0 | 90.444 | 13.3 | 0 | 5.66
431 | 19/12/2015 | 9:00:00 a.m. | 222056 | 206361 | 7.6262 | 0 | 90.885 | 6.4 | 0 | 5.63
430 | 19/12/2015 | 8:00:00 a.m. | 222056 | 206361 | 7.685 | 0 | 91.186 | 4.6 | 0 | 5.64
429 | 19/12/2015 | 7:00:00 a.m. | 222056 | 206361 | 7.693 | 0 | 91.286 | 4.9 | 0 | 5.63
428 | 19/12/2015 | 6:00:00 a.m. | 222056 | 206361 | 7.7676 | 0 | 91.227 | 5.4 | 0 | 5.63
427 | 19/12/2015 | 5:00:00 a.m. | 222056 | 206361 | 7.7296 | 0 | 91.326 | 6 | 0 | 5.64
426 | 19/12/2015 | 4:00:00 a.m. | 222056 | 206361 | 7.6913 | 0 | 91.203 | 6.7 | 0 | 5.63
425 | 19/12/2015 | 3:00:00 a.m. | 222056 | 206361 | 7.6622 | 0 | 91.175 | 7.4 | 0 | 5.64
424 | 19/12/2015 | 2:00:00 a.m. | 222056 | 206361 | 7.6441 | 0 | 91.151 | 8.2 | 0 | 5.64
423 | 19/12/2015 | 1:00:00 a.m. | 222056 | 206361 | 7.64 | 0 | 91.131 | 9.3 | 0 | 5.64
422 | 19/12/2015 | 12:00:00 a.m. | 222056 | 206361 | 7.627 | 0 | 91.29 | 10.6 | 0 | 5.64
421 | 18/12/2015 | 11:00:00 p.m. | 222056 | 206361 | 7.542 | 0 | 91.173 | 11.8 | 0 | 5.64
420 | 18/12/2015 | 10:00:00 p.m. | 222056 | 206361 | 7.527 | 0 | 91.063 | 13.4 | 0 | 5.65
419 | 18/12/2015 | 9:00:00 p.m. | 222056 | 206361 | 7.4514 | 0 | 91.063 | 15.1 | 0 | 5.65
418 | 18/12/2015 | 8:00:00 p.m. | 222056 | 206361 | 7.4391 | 0 | 91.059 | 17.5 | 0 | 5.65
417 | 18/12/2015 | 7:00:00 p.m. | 222056 | 206361 | 7.3286 | 0 | 90.915 | 20.7 | 0 | 5.66
416 | 18/12/2015 | 6:00:00 p.m. | 222056 | 206361 | 7.198 | 0 | 90.675 | 25.5 | 0 | 5.67
415 | 18/12/2015 | 5:00:00 p.m. | 222056 | 206361 | 7.087 | 0 | 90.627 | 31.4 | 0 | 5.69
414 | 18/12/2015 | 4:00:00 p.m. | 222056 | 206361 | 6.9178 | 0 | 90.575 | 32 | 5 | 5.69
413 | 18/12/2015 | 3:00:00 p.m. | 222056 | 206361 | 7.0539 | 0 | 88.772 | 25.7 | 73.4 | 5.68
412 | 18/12/2015 | 2:00:00 p.m. | 222003 | 206353 | 7.0319 | 0 | 87.916 | 24.2 | 81.9 | 5.68
411 | 18/12/2015 | 1:00:00 p.m. | 221930 | 206343 | 6.9766 | 0 | 87.932 | 22.3 | 83 | 5.67
410 | 18/12/2015 | 12:00:00 p.m. | 221851 | 206332 | 7.0076 | 0 | 87.572 | 22 | 83.9 | 5.66
409 | 18/12/2015 | 11:00:00 a.m. | 221772 | 206320 | 7.0464 | 0 | 89.364 | 19.9 | 91 | 5.66
408 | 18/12/2015 | 10:00:00 a.m. | 221733 | 206315 | 7.3827 | 0 | 90.838 | 13.8 | 0 | 5.65
407 | 18/12/2015 | 9:00:00 a.m. | 221733 | 206315 | 7.4785 | 0 | 90.979 | 8.9 | 0 | 5.64
406 | 18/12/2015 | 8:00:00 a.m. | 221733 | 206315 | 7.6781 | 0 | 91.046 | 7.7 | 0 | 5.64
405 | 18/12/2015 | 7:00:00 a.m. | 221733 | 206315 | 7.6706 | 0 | 91.6 | 7.7 | 0 | 5.64
404 | 18/12/2015 | 6:00:00 a.m. | 221733 | 206315 | 7.6796 | 0 | 91.555 | 8.2 | 0 | 5.65
403 | 18/12/2015 | 5:00:00 a.m. | 221733 | 206315 | 7.653 | 0 | 91.512 | 8.5 | 0 | 5.65
402 | 18/12/2015 | 4:00:00 a.m. | 221733 | 206315 | 7.6143 | 0 | 91.904 | 8.9 | 0 | 5.65
401 | 18/12/2015 | 3:00:00 a.m. | 221733 | 206315 | 7.6788 | 0 | 91.842 | 9.6 | 0 | 5.64
400 | 18/12/2015 | 2:00:00 a.m. | 221733 | 206315 | 7.6318 | 0 | 91.796 | 10.5 | 0 | 5.64
399 | 18/12/2015 | 1:00:00 a.m. | 221733 | 206315 | 7.51 | 0 | 91.722 | 11.4 | 0 | 5.65
398 | 18/12/2015 | 12:00:00 a.m. | 221733 | 206315 | 7.5661 | 0 | 91.725 | 12.4 | 0 | 5.64
397 | 17/12/2015 | 11:00:00 p.m. | 221733 | 206315 | 7.5333 | 0 | 91.735 | 14 | 0 | 5.65
396 | 17/12/2015 | 10:00:00 p.m. | 221733 | 206315 | 7.5124 | 0 | 91.725 | 15.9 | 0 | 5.65
395 | 17/12/2015 | 9:00:00 p.m. | 221733 | 206315 | 7.4376 | 0 | 91.612 | 17.6 | 0 | 5.66
394 | 17/12/2015 | 8:00:00 p.m. | 221733 | 206315 | 7.3792 | 0 | 91.567 | 19 | 0 | 5.66
393 | 17/12/2015 | 7:00:00 p.m. | 221733 | 206315 | 7.357 | 0 | 91.568 | 21.6 | 0 | 5.66
392 | 17/12/2015 | 6:00:00 p.m. | 221733 | 206315 | 7.1572 | 0 | 91.452 | 26.6 | 0 | 5.68
391 | 17/12/2015 | 5:00:00 p.m. | 221733 | 206315 | 7.0975 | 0 | 91.246 | 31.1 | 0.9 | 5.68
390 | 17/12/2015 | 4:00:00 p.m. | 221733 | 206315 | 7.0302 | 0 | 90.454 | 29.1 | 75.5 | 5.69
389 | 17/12/2015 | 3:00:00 p.m. | 221714 | 206312 | 6.951 | 0 | 88.299 | 25.6 | 80.9 | 5.69
388 | 17/12/2015 | 2:00:00 p.m. | 221640 | 206301 | 6.9471 | 0 | 87.803 | 25.2 | 81.8 | 5.69
387 | 17/12/2015 | 1:00:00 p.m. | 221562 | 206290 | 6.9462 | 0 | 87.998 | 24.7 | 81.9 | 5.69
386 | 17/12/2015 | 12:00:00 p.m. | 221483 | 206279 | 6.8624 | 0 | 87.81 | 24.3 | 83 | 5.68
385 | 17/12/2015 | 11:00:00 a.m. | 221406 | 206268 | 6.9326 | 0 | 88.677 | 23.9 | 90.6 | 5.68
384 | 17/12/2015 | 10:00:00 a.m. | 221360 | 206261 | 7.2106 | 0 | 90.497 | 16.3 | 0 | 5.66
383 | 17/12/2015 | 9:00:00 a.m. | 221360 | 206261 | 7.5301 | 0 | 90.966 | 7.7 | 0 | 5.64
382 | 17/12/2015 | 8:00:00 a.m. | 221360 | 206261 | 7.7495 | 0 | 91.229 | 5.5 | 0 | 5.64
381 | 17/12/2015 | 7:00:00 a.m. | 221360 | 206261 | 7.7119 | 0 | 91.356 | 5.8 | 0 | 5.63
380 | 17/12/2015 | 6:00:00 a.m. | 221360 | 206261 | 7.718 | 0 | 91.508 | 6.4 | 0 | 5.64
379 | 17/12/2015 | 5:00:00 a.m. | 221360 | 206261 | 7.7091 | 0 | 91.421 | 7.1 | 0 | 5.63
378 | 17/12/2015 | 4:00:00 a.m. | 221360 | 206261 | 7.7057 | 0 | 91.398 | 8 | 0 | 5.64
377 | 17/12/2015 | 3:00:00 a.m. | 221360 | 206261 | 7.6804 | 0 | 91.47 | 8.8 | 0 | 5.64
376 | 17/12/2015 | 2:00:00 a.m. | 221360 | 206261 | 7.6226 | 0 | 91.379 | 9.7 | 0 | 5.66
375 | 17/12/2015 | 1:00:00 a.m. | 221360 | 206261 | 7.5911 | 0 | 91.503 | 10.8 | 0 | 5.65
374 | 17/12/2015 | 12:00:00 a.m. | 221360 | 206261 | 7.5953 | 0 | 91.337 | 12 | 0 | 5.65
373 | 16/12/2015 | 11:00:00 p.m. | 221360 | 206261 | 7.5854 | 0 | 91.299 | 13.2 | 0 | 5.65
372 | 16/12/2015 | 10:00:00 p.m. | 221360 | 206261 | 7.487 | 0 | 91.264 | 14.7 | 0 | 5.65
371 | 16/12/2015 | 9:00:00 p.m. | 221360 | 206261 | 7.4262 | 0 | 91.204 | 16.5 | 0 | 5.65
370 | 16/12/2015 | 8:00:00 p.m. | 221360 | 206261 | 7.4232 | 0 | 91.098 | 18.2 | 0 | 5.66
369 | 16/12/2015 | 7:00:00 p.m. | 221360 | 206261 | 7.3189 | 0 | 91.093 | 20.4 | 0.8 | 5.66
368 | 16/12/2015 | 6:00:00 p.m. | 221360 | 206261 | 7.2594 | 0 | 90.794 | 23 | 82.3 | 5.68
367 | 16/12/2015 | 5:00:00 p.m. | 221351 | 206260 | 6.9829 | 0 | 87.508 | 24 | 85.4 | 5.69
366 | 16/12/2015 | 4:00:00 p.m. | 221268 | 206248 | 6.8786 | 0 | 88.337 | 26.3 | 87.4 | 5.69
365 | 16/12/2015 | 3:00:00 p.m. | 221211 | 206240 | 6.8894 | 0 | 87.296 | 25.3 | 85.1 | 5.68
364 | 16/12/2015 | 2:00:00 p.m. | 221127 | 206228 | 6.9028 | 0 | 86.9 | 25.2 | 85.7 | 5.68
363 | 16/12/2015 | 1:00:00 p.m. | 221042 | 206215 | 6.8873 | 0 | 86.836 | 24.6 | 84.9 | 5.69
362 | 16/12/2015 | 12:00:00 p.m. | 220958 | 206203 | 6.9243 | 0 | 87.122 | 24.2 | 85.4 | 5.68
361 | 16/12/2015 | 11:00:00 a.m. | 220874 | 206191 | 6.9257 | 0 | 87.243 | 23 | 85.3 | 5.67
360 | 16/12/2015 | 10:00:00 a.m. | 220790 | 206179 | 6.9794 | 0 | 87.313 | 20.3 | 91.4 | 5.65
359 | 16/12/2015 | 9:00:00 a.m. | 220704 | 206167 | 7.1154 | 0 | 91.064 | 7.7 | 92.8 | 5.63
358 | 16/12/2015 | 8:00:00 a.m. | 220701 | 206166 | 7.6939 | 0 | 91.553 | 6.1 | 0 | 5.64
357 | 16/12/2015 | 7:00:00 a.m. | 220701 | 206166 | 7.7635 | 0 | 91.588 | 6.7 | 0 | 5.64
356 | 16/12/2015 | 6:00:00 a.m. | 220701 | 206166 | 7.7366 | 0 | 91.471 | 7.7 | 0 | 5.64
355 | 16/12/2015 | 5:00:00 a.m. | 220701 | 206166 | 7.6612 | 0 | 91.46 | 8.5 | 0 | 5.65
354 | 16/12/2015 | 4:00:00 a.m. | 220701 | 206166 | 7.6417 | 0 | 91.601 | 9.3 | 0 | 5.64
353 | 16/12/2015 | 3:00:00 a.m. | 220701 | 206166 | 7.6582 | 0 | 91.272 | 9.9 | 0 | 5.64
352 | 16/12/2015 | 2:00:00 a.m. | 220701 | 206166 | 7.5844 | 0 | 91.279 | 10.8 | 0 | 5.65
351 | 16/12/2015 | 1:00:00 a.m. | 220701 | 206166 | 7.6041 | 0 | 91.197 | 11.4 | 0 | 5.65
350 | 16/12/2015 | 12:00:00 a.m. | 220701 | 206166 | 7.5505 | 0 | 91.367 | 12.1 | 0 | 5.65
349 | 15/12/2015 | 11:00:00 p.m. | 220701 | 206166 | 7.5503 | 0 | 91.24 | 13.5 | 0 | 5.64
348 | 15/12/2015 | 10:00:00 p.m. | 220701 | 206166 | 7.4852 | 0 | 91.513 | 14.7 | 0 | 5.65
347 | 15/12/2015 | 9:00:00 p.m. | 220701 | 206166 | 7.4733 | 0 | 91.608 | 16.2 | 0 | 5.66
346 | 15/12/2015 | 8:00:00 p.m. | 220701 | 206166 | 7.399 | 0 | 91.594 | 17.5 | 0 | 5.65
345 | 15/12/2015 | 7:00:00 p.m. | 220701 | 206166 | 7.4038 | 0 | 91.455 | 19.3 | 0.8 | 5.65
344 | 15/12/2015 | 6:00:00 p.m. | 220701 | 206166 | 7.2908 | 0 | 90.5 | 22.5 | 87 | 5.67
343 | 15/12/2015 | 5:00:00 p.m. | 220688 | 206164 | 6.962 | 0 | 89.77 | 25 | 87.6 | 5.69
342 | 15/12/2015 | 4:00:00 p.m. | 220648 | 206159 | 6.9701 | 0 | 87.25 | 24.6 | 85.3 | 5.68
341 | 15/12/2015 | 3:00:00 p.m. | 220564 | 206146 | 6.9287 | 0 | 88.597 | 26.5 | 86.7 | 5.69
340 | 15/12/2015 | 2:00:00 p.m. | 220509 | 206139 | 6.904 | 0 | 87.476 | 24.9 | 85.1 | 5.69
339 | 15/12/2015 | 1:00:00 p.m. | 220426 | 206126 | 6.9362 | 0 | 87.306 | 24.5 | 84.6 | 5.68
338 | 15/12/2015 | 12:00:00 p.m. | 220342 | 206114 | 6.8718 | 0 | 87.636 | 24 | 84.7 | 5.68
337 | 15/12/2015 | 11:00:00 a.m. | 220258 | 206102 | 6.9952 | 0 | 87.347 | 23 | 85.2 | 5.68
336 | 15/12/2015 | 10:00:00 a.m. | 220175 | 206090 | 6.9595 | 0 | 87.31 | 20.5 | 87.6 | 5.66
335 | 15/12/2015 | 9:00:00 a.m. | 220089 | 206078 | 7.0709 | 0 | 90.235 | 7.9 | 91.6 | 5.65
334 | 15/12/2015 | 8:00:00 a.m. | 220070 | 206076 | 7.7838 | 0 | 91.413 | 5 | 0 | 5.64
333 | 15/12/2015 | 7:00:00 a.m. | 220070 | 206076 | 7.7896 | 0 | 91.439 | 5.6 | 0 | 5.63
332 | 15/12/2015 | 6:00:00 a.m. | 220070 | 206076 | 7.724 | 0 | 91.369 | 6.4 | 0 | 5.64
331 | 15/12/2015 | 5:00:00 a.m. | 220070 | 206076 | 7.6959 | 0 | 91.429 | 7.1 | 0 | 5.64
330 | 15/12/2015 | 4:00:00 a.m. | 220070 | 206076 | 7.7146 | 0 | 91.549 | 7.7 | 0 | 5.64
329 | 15/12/2015 | 3:00:00 a.m. | 220070 | 206076 | 7.6995 | 0 | 91.391 | 8.6 | 0 | 5.64
328 | 15/12/2015 | 2:00:00 a.m. | 220070 | 206076 | 7.6377 | 0 | 91.494 | 9.5 | 0 | 5.65
327 | 15/12/2015 | 1:00:00 a.m. | 220070 | 206076 | 7.6002 | 0 | 91.574 | 10.5 | 0 | 5.65
326 | 15/12/2015 | 12:00:00 a.m. | 220070 | 206076 | 7.6153 | 0 | 91.559 | 11.5 | 0 | 5.65
325 | 14/12/2015 | 11:00:00 p.m. | 220070 | 206076 | 7.575 | 0 | 91.678 | 12.7 | 0 | 5.65
324 | 14/12/2015 | 10:00:00 p.m. | 220070 | 206076 | 7.5343 | 0 | 91.455 | 13.9 | 0 | 5.65
323 | 14/12/2015 | 9:00:00 p.m. | 220070 | 206076 | 7.4861 | 0 | 91.317 | 15.4 | 0 | 5.65
322 | 14/12/2015 | 8:00:00 p.m. | 220070 | 206076 | 7.3991 | 0 | 91.219 | 17.1 | 0 | 5.66
321 | 14/12/2015 | 7:00:00 p.m. | 220070 | 206076 | 7.4145 | 0 | 91.483 | 19.6 | 0.8 | 5.67
320 | 14/12/2015 | 6:00:00 p.m. | 220070 | 206076 | 7.2949 | 0 | 90.912 | 22.4 | 81.2 | 5.67
319 | 14/12/2015 | 5:00:00 p.m. | 220063 | 206075 | 7.0054 | 0 | 87.791 | 24.1 | 82.1 | 5.69
318 | 14/12/2015 | 4:00:00 p.m. | 219984 | 206063 | 6.9564 | 0 | 88.56 | 25.6 | 80.8 | 5.69
317 | 14/12/2015 | 3:00:00 p.m. | 219917 | 206054 | 6.9543 | 0 | 89.895 | 31.1 | 87.6 | 5.68
316 | 14/12/2015 | 2:00:00 p.m. | 219888 | 206049 | 7.0592 | 0 | 89.762 | 26.9 | 87.3 | 5.68
315 | 14/12/2015 | 1:00:00 p.m. | 219853 | 206044 | 6.9962 | 0 | 87.848 | 24 | 85.4 | 5.68
314 | 14/12/2015 | 12:00:00 p.m. | 219769 | 206032 | 6.9482 | 0 | 87.76 | 23.2 | 86.5 | 5.68
313 | 14/12/2015 | 11:00:00 a.m. | 219683 | 206020 | 7.028 | 0 | 87.875 | 21.4 | 87.4 | 5.66
312 | 14/12/2015 | 10:00:00 a.m. | 219597 | 206008 | 7.0911 | 0 | 89.97 | 14.1 | 92.7 | 5.65
311 | 14/12/2015 | 9:00:00 a.m. | 219562 | 206003 | 7.6024 | 0 | 91.909 | 10 | 0 | 5.64
310 | 14/12/2015 | 8:00:00 a.m. | 219562 | 206003 | 7.6514 | 0 | 91.676 | 9.5 | 0 | 5.66
309 | 14/12/2015 | 7:00:00 a.m. | 219562 | 206003 | 7.6549 | 0 | 91.87 | 9.6 | 0 | 5.65
308 | 14/12/2015 | 6:00:00 a.m. | 219562 | 206003 | 7.6619 | 0 | 92.407 | 9.2 | 0 | 5.64
307 | 14/12/2015 | 5:00:00 a.m. | 219562 | 206003 | 7.7547 | 0 | 92.536 | 7.1 | 0 | 5.64
306 | 14/12/2015 | 4:00:00 a.m. | 219562 | 206003 | 7.8012 | 0 | 92.617 | 6.6 | 0 | 5.64
305 | 14/12/2015 | 3:00:00 a.m. | 219562 | 206003 | 7.8515 | 0 | 92.496 | 7.2 | 0 | 5.63
304 | 14/12/2015 | 2:00:00 a.m. | 219562 | 206003 | 7.7699 | 0 | 92.599 | 7.9 | 0 | 5.63
303 | 14/12/2015 | 1:00:00 a.m. | 219562 | 206003 | 7.624 | 0 | 92.395 | 8.7 | 0 | 5.64
302 | 14/12/2015 | 12:00:00 a.m. | 219562 | 206003 | 7.7124 | 0 | 92.635 | 9.7 | 0 | 5.64
301 | 13/12/2015 | 11:00:00 p.m. | 219562 | 206003 | 7.6537 | 0 | 92.921 | 10.7 | 0 | 5.63
300 | 13/12/2015 | 10:00:00 p.m. | 219562 | 206003 | 7.6842 | 0 | 92.647 | 12 | 0 | 5.65
299 | 13/12/2015 | 9:00:00 p.m. | 219562 | 206003 | 7.5913 | 0 | 92.651 | 13.6 | 0 | 5.65
298 | 13/12/2015 | 8:00:00 p.m. | 219562 | 206003 | 7.5395 | 0 | 92.279 | 15.9 | 0 | 5.66
297 | 13/12/2015 | 7:00:00 p.m. | 219562 | 206003 | 7.495 | 0 | 92.265 | 19.1 | 0 | 5.66
296 | 13/12/2015 | 6:00:00 p.m. | 219562 | 206003 | 7.4002 | 0 | 92.064 | 23.1 | 0 | 5.66
295 | 13/12/2015 | 5:00:00 p.m. | 219562 | 206003 | 7.2185 | 0 | 91.906 | 28 | 0 | 5.67
294 | 13/12/2015 | 4:00:00 p.m. | 219562 | 206003 | 7.0718 | 0 | 91.841 | 32.1 | 0 | 5.69
293 | 13/12/2015 | 3:00:00 p.m. | 219562 | 206003 | 6.9709 | 0 | 91.978 | 30.8 | 0 | 5.69
292 | 13/12/2015 | 2:00:00 p.m. | 219562 | 206003 | 7.1863 | 0 | 91.838 | 25.3 | 0 | 5.67
291 | 13/12/2015 | 1:00:00 p.m. | 219562 | 206003 | 7.2675 | 0 | 92.037 | 23.5 | 0 | 5.68
290 | 13/12/2015 | 12:00:00 p.m. | 219562 | 206003 | 7.3974 | 0 | 92.361 | 18.1 | 0 | 5.67
289 | 13/12/2015 | 11:00:00 a.m. | 219562 | 206003 | 7.5402 | 0 | 92.262 | 15.5 | 0 | 5.66
288 | 13/12/2015 | 10:00:00 a.m. | 219562 | 206003 | 7.5489 | 0 | 92.559 | 12.9 | 0 | 5.66
287 | 13/12/2015 | 9:00:00 a.m. | 219562 | 206003 | 7.6505 | 0 | 92.14 | 11.8 | 0 | 5.65
286 | 13/12/2015 | 8:00:00 a.m. | 219562 | 206003 | 7.625 | 0 | 92.326 | 11.3 | 0 | 5.64
285 | 13/12/2015 | 7:00:00 a.m. | 219562 | 206003 | 7.6621 | 0 | 92.395 | 11.1 | 0 | 5.64
284 | 13/12/2015 | 6:00:00 a.m. | 219562 | 206003 | 7.6317 | 0 | 92.248 | 11.1 | 0 | 5.66
283 | 13/12/2015 | 5:00:00 a.m. | 219562 | 206003 | 7.6268 | 0 | 92.247 | 12.1 | 0 | 5.65
282 | 13/12/2015 | 4:00:00 a.m. | 219562 | 206003 | 7.5869 | 0 | 92.131 | 14.8 | 0 | 5.65
281 | 13/12/2015 | 3:00:00 a.m. | 219562 | 206003 | 7.5031 | 0 | 92.072 | 15.9 | 0 | 5.66
280 | 13/12/2015 | 2:00:00 a.m. | 219562 | 206003 | 7.4907 | 0 | 92.038 | 16.2 | 0 | 5.65
279 | 13/12/2015 | 1:00:00 a.m. | 219562 | 206003 | 7.4672 | 0 | 92.098 | 16.5 | 0 | 5.66
278 | 13/12/2015 | 12:00:00 a.m. | 219562 | 206003 | 7.5273 | 0 | 91.95 | 16.3 | 0 | 5.65
277 | 12/12/2015 | 11:00:00 p.m. | 219562 | 206003 | 7.4653 | 0 | 91.876 | 16.3 | 0 | 5.66
276 | 12/12/2015 | 10:00:00 p.m. | 219562 | 206003 | 7.3889 | 0 | 92.33 | 16.4 | 0 | 5.65
275 | 12/12/2015 | 9:00:00 p.m. | 219562 | 206003 | 7.5582 | 0 | 92.551 | 16.8 | 0 | 5.66
274 | 12/12/2015 | 8:00:00 p.m. | 219562 | 206003 | 7.5524 | 0 | 92.656 | 17.5 | 0 | 5.66
273 | 12/12/2015 | 7:00:00 p.m. | 219562 | 206003 | 7.5249 | 0 | 93.164 | 18.8 | 0 | 5.67
272 | 12/12/2015 | 6:00:00 p.m. | 219562 | 206003 | 7.5083 | 0 | 92.877 | 20.7 | 0 | 5.67
271 | 12/12/2015 | 5:00:00 p.m. | 219562 | 206003 | 7.4458 | 0 | 93.045 | 23.8 | 0 | 5.67
270 | 12/12/2015 | 4:00:00 p.m. | 219562 | 206003 | 7.3058 | 0 | 92.718 | 29 | 0 | 5.68
269 | 12/12/2015 | 3:00:00 p.m. | 219562 | 206003 | 7.1272 | 0 | 92.595 | 30.9 | 1 | 5.68
268 | 12/12/2015 | 2:00:00 p.m. | 219562 | 206003 | 7.1912 | 0 | 91.643 | 25.4 | 81.3 | 5.68
267 | 12/12/2015 | 1:00:00 p.m. | 219539 | 206000 | 7.1341 | 0 | 89.923 | 22.6 | 80.3 | 5.67
266 | 12/12/2015 | 12:00:00 p.m. | 219465 | 205989 | 7.203 | 0 | 89.896 | 23 | 80.3 | 5.67
265 | 12/12/2015 | 11:00:00 a.m. | 219389 | 205979 | 7.1011 | 0 | 89.558 | 22.9 | 82.6 | 5.67
264 | 12/12/2015 | 10:00:00 a.m. | 219311 | 205968 | 7.083 | 0 | 89.781 | 21.6 | 83.6 | 5.66
263 | 12/12/2015 | 9:00:00 a.m. | 219233 | 205957 | 7.1988 | 0 | 89.721 | 20.4 | 84.8 | 5.66
262 | 12/12/2015 | 8:00:00 a.m. | 219152 | 205946 | 7.3122 | 0 | 90.814 | 15.9 | 90.6 | 5.66
261 | 12/12/2015 | 7:00:00 a.m. | 219100 | 205938 | 7.7038 | 0 | 93.39 | 11.3 | 0 | 5.64
260 | 12/12/2015 | 6:00:00 a.m. | 219100 | 205938 | 7.6882 | 0 | 93.214 | 11.7 | 0 | 5.65
259 | 12/12/2015 | 5:00:00 a.m. | 219100 | 205938 | 7.734 | 0 | 93.253 | 12.7 | 0 | 5.65
258 | 12/12/2015 | 4:00:00 a.m. | 219100 | 205938 | 7.6185 | 0 | 93.118 | 13.8 | 0 | 5.65
257 | 12/12/2015 | 3:00:00 a.m. | 219100 | 205938 | 7.6662 | 0 | 93.254 | 14.5 | 0 | 5.65
256 | 12/12/2015 | 2:00:00 a.m. | 219100 | 205938 | 7.5767 | 0 | 93.135 | 15.2 | 0 | 5.66
255 | 12/12/2015 | 1:00:00 a.m. | 219100 | 205938 | 7.5862 | 0 | 93.127 | 15.5 | 0 | 5.66
254 | 12/12/2015 | 12:00:00 a.m. | 219100 | 205938 | 7.5693 | 0 | 93.27 | 15.9 | 0 | 5.66
253 | 11/12/2015 | 11:00:00 p.m. | 219100 | 205938 | 7.5505 | 0 | 93.114 | 16.5 | 0 | 5.64
252 | 11/12/2015 | 10:00:00 p.m. | 219100 | 205938 | 7.5209 | 0 | 93.175 | 17.2 | 0 | 5.66
251 | 11/12/2015 | 9:00:00 p.m. | 219100 | 205938 | 7.5398 | 0 | 93.081 | 17.6 | 0 | 5.67
250 | 11/12/2015 | 8:00:00 p.m. | 219100 | 205938 | 7.5216 | 0 | 93.029 | 18.5 | 0 | 5.66
249 | 11/12/2015 | 7:00:00 p.m. | 219100 | 205938 | 7.4858 | 0 | 92.977 | 19.6 | 0.8 | 5.66
248 | 11/12/2015 | 6:00:00 p.m. | 219100 | 205938 | 7.4268 | 0 | 92.76 | 21 | 79.2 | 5.65
247 | 11/12/2015 | 5:00:00 p.m. | 219095 | 205938 | 7.1648 | 0 | 91.429 | 22.5 | 82.6 | 5.66
246 | 11/12/2015 | 4:00:00 p.m. | 219046 | 205931 | 7.2289 | 0 | 89.95 | 24.1 | 81.7 | 5.68
245 | 11/12/2015 | 3:00:00 p.m. | 218979 | 205922 | 7.0252 | 0 | 89.272 | 24.5 | 81.6 | 5.68
244 | 11/12/2015 | 2:00:00 p.m. | 218900 | 205910 | 7.0274 | 0 | 88.89 | 25 | 82.1 | 5.68
243 | 11/12/2015 | 1:00:00 p.m. | 218822 | 205899 | 6.9965 | 0 | 88.496 | 25 | 82.7 | 5.68
242 | 11/12/2015 | 12:00:00 p.m. | 218742 | 205888 | 7.0508 | 0 | 88.701 | 24 | 82.1 | 5.68
241 | 11/12/2015 | 11:00:00 a.m. | 218662 | 205877 | 7.051 | 0 | 89.029 | 21.9 | 83.1 | 5.66
240 | 11/12/2015 | 10:00:00 a.m. | 218582 | 205865 | 7.1406 | 0 | 89.083 | 20.6 | 84.3 | 5.65
239 | 11/12/2015 | 9:00:00 a.m. | 218500 | 205854 | 7.1681 | 0 | 89.619 | 19.7 | 83.6 | 5.65
238 | 11/12/2015 | 8:00:00 a.m. | 218421 | 205843 | 7.2133 | 0 | 90.764 | 12.8 | 92.4 | 5.65
237 | 11/12/2015 | 7:00:00 a.m. | 218377 | 205837 | 7.8063 | 0 | 92.693 | 8.2 | 0 | 5.66
236 | 11/12/2015 | 6:00:00 a.m. | 218377 | 205837 | 7.7632 | 0 | 92.643 | 8 | 0 | 5.64
235 | 11/12/2015 | 5:00:00 a.m. | 218377 | 205837 | 7.7876 | 0 | 92.719 | 7.6 | 0 | 5.65
234 | 11/12/2015 | 4:00:00 a.m. | 218377 | 205837 | 7.7617 | 0 | 92.235 | 7.4 | 0 | 5.64
233 | 11/12/2015 | 3:00:00 a.m. | 218377 | 205837 | 7.745 | 0 | 92.331 | 7.8 | 0 | 5.64
232 | 11/12/2015 | 2:00:00 a.m. | 218377 | 205837 | 7.7118 | 0 | 92.232 | 8.7 | 0 | 5.64
231 | 11/12/2015 | 1:00:00 a.m. | 218377 | 205837 | 7.7026 | 0 | 92.399 | 9.7 | 0 | 5.65
230 | 11/12/2015 | 12:00:00 a.m. | 218377 | 205837 | 7.6831 | 0 | 92.486 | 10.7 | 0 | 5.65
229 | 10/12/2015 | 11:00:00 p.m. | 218377 | 205837 | 7.6472 | 0 | 92.313 | 11.9 | 0 | 5.64
228 | 10/12/2015 | 10:00:00 p.m. | 218377 | 205837 | 7.6763 | 0 | 92.271 | 13.4 | 0 | 5.66
227 | 10/12/2015 | 9:00:00 p.m. | 218377 | 205837 | 7.4623 | 0 | 92.139 | 15.4 | 0 | 5.65
226 | 10/12/2015 | 8:00:00 p.m. | 218377 | 205837 | 7.4606 | 0 | 92.276 | 17.5 | 0 | 5.67
225 | 10/12/2015 | 7:00:00 p.m. | 218377 | 205837 | 7.4432 | 0 | 92.151 | 19.8 | 0.8 | 5.67
224 | 10/12/2015 | 6:00:00 p.m. | 218377 | 205837 | 7.3449 | 0 | 91.765 | 22.4 | 83.2 | 5.67
223 | 10/12/2015 | 5:00:00 p.m. | 218371 | 205836 | 7.1462 | 0 | 88.919 | 23 | 82.2 | 5.68
222 | 10/12/2015 | 4:00:00 p.m. | 218294 | 205825 | 7.0572 | 0 | 88.767 | 23.5 | 83.4 | 5.68
221 | 10/12/2015 | 3:00:00 p.m. | 218217 | 205814 | 7.0616 | 0 | 89.301 | 25.2 | 84.8 | 5.69
220 | 10/12/2015 | 2:00:00 p.m. | 218152 | 205805 | 7.0441 | 0 | 89.392 | 26.2 | 80.9 | 5.7
219 | 10/12/2015 | 1:00:00 p.m. | 218093 | 205797 | 6.9867 | 0 | 88.363 | 25.3 | 82.7 | 5.68
218 | 10/12/2015 | 12:00:00 p.m. | 218016 | 205786 | 7.0992 | 0 | 88.681 | 24.5 | 82.2 | 5.68
217 | 10/12/2015 | 11:00:00 a.m. | 217940 | 205775 | 7.0539 | 0 | 88.729 | 23.3 | 81 | 5.67
216 | 10/12/2015 | 10:00:00 a.m. | 217866 | 205764 | 7.122 | 0 | 88.913 | 21.5 | 80.1 | 5.65
215 | 10/12/2015 | 9:00:00 a.m. | 217792 | 205754 | 7.1835 | 0 | 88.786 | 19.4 | 85.7 | 5.64
214 | 10/12/2015 | 8:00:00 a.m. | 217711 | 205743 | 7.2161 | 0 | 90.217 | 9.9 | 91.9 | 5.63
213 | 10/12/2015 | 7:00:00 a.m. | 217672 | 205737 | 7.8076 | 0 | 91.844 | 5.9 | 0 | 5.64
212 | 10/12/2015 | 6:00:00 a.m. | 217672 | 205737 | 7.7483 | 0 | 91.866 | 6.7 | 0 | 5.64
211 | 10/12/2015 | 5:00:00 a.m. | 217672 | 205737 | 7.7359 | 0 | 91.844 | 7.4 | 0 | 5.64
210 | 10/12/2015 | 4:00:00 a.m. | 217672 | 205737 | 7.7191 | 0 | 91.799 | 7.7 | 0 | 5.64
209 | 10/12/2015 | 3:00:00 a.m. | 217672 | 205737 | 7.694 | 0 | 91.858 | 8.2 | 0 | 5.65
208 | 10/12/2015 | 2:00:00 a.m. | 217672 | 205737 | 7.7193 | 0 | 91.84 | 9.1 | 0 | 5.65
207 | 10/12/2015 | 1:00:00 a.m. | 217672 | 205737 | 7.6513 | 0 | 91.851 | 9.8 | 0 | 5.65
206 | 10/12/2015 | 12:00:00 a.m. | 217672 | 205737 | 7.5996 | 0 | 91.977 | 10.5 | 0 | 5.66
205 | 09/12/2015 | 11:00:00 p.m. | 217672 | 205737 | 7.6224 | 0 | 92 | 11.6 | 0 | 5.65
204 | 09/12/2015 | 10:00:00 p.m. | 217672 | 205737 | 7.604 | 0 | 91.929 | 12.7 | 0 | 5.65
203 | 09/12/2015 | 9:00:00 p.m. | 217672 | 205737 | 7.5618 | 0 | 91.908 | 14.7 | 0 | 5.66
202 | 09/12/2015 | 8:00:00 p.m. | 217672 | 205737 | 7.5048 | 0 | 91.716 | 17.1 | 0 | 5.66
201 | 09/12/2015 | 7:00:00 p.m. | 217672 | 205737 | 7.4401 | 0 | 91.715 | 18.9 | 0.8 | 5.67
200 | 09/12/2015 | 6:00:00 p.m. | 217672 | 205737 | 7.3415 | 0 | 91.322 | 20.9 | 82.9 | 5.67
199 | 09/12/2015 | 5:00:00 p.m. | 217665 | 205736 | 7.0106 | 0 | 88.32 | 22.5 | 83.5 | 5.68
198 | 09/12/2015 | 4:00:00 p.m. | 217584 | 205725 | 6.9873 | 0 | 88.554 | 23.3 | 83.5 | 5.67
197 | 09/12/2015 | 3:00:00 p.m. | 217502 | 205713 | 7.0401 | 0 | 88.427 | 24.4 | 83.3 | 5.69
196 | 09/12/2015 | 2:00:00 p.m. | 217422 | 205702 | 6.9864 | 0 | 88.15 | 24.6 | 83.8 | 5.68
195 | 09/12/2015 | 1:00:00 p.m. | 217340 | 205690 | 7.0236 | 0 | 88.009 | 23.7 | 85.3 | 5.68
194 | 09/12/2015 | 12:00:00 p.m. | 217258 | 205678 | 7.0362 | 0 | 88.405 | 22.3 | 84.3 | 5.66
193 | 09/12/2015 | 11:00:00 a.m. | 217176 | 205667 | 7.0697 | 0 | 88.313 | 21.6 | 85.4 | 5.66
192 | 09/12/2015 | 10:00:00 a.m. | 217094 | 205655 | 7.1193 | 0 | 88.272 | 21 | 86.5 | 5.65
191 | 09/12/2015 | 9:00:00 a.m. | 217010 | 205643 | 7.1066 | 0 | 88.305 | 20.2 | 86.4 | 5.64
190 | 09/12/2015 | 8:00:00 a.m. | 216925 | 205631 | 7.0933 | 0 | 89.307 | 14.8 | 92.2 | 5.65
189 | 09/12/2015 | 7:00:00 a.m. | 216866 | 205623 | 7.749 | 0 | 92.071 | 8.6 | 0 | 5.66
188 | 09/12/2015 | 6:00:00 a.m. | 216866 | 205623 | 7.7332 | 0 | 91.916 | 8.7 | 0 | 5.65
187 | 09/12/2015 | 5:00:00 a.m. | 216866 | 205623 | 7.6559 | 0 | 92.071 | 9 | 0 | 5.65
186 | 09/12/2015 | 4:00:00 a.m. | 216866 | 205623 | 7.6947 | 0 | 91.984 | 9.3 | 0 | 5.65
185 | 09/12/2015 | 3:00:00 a.m. | 216866 | 205623 | 7.5989 | 0 | 92.058 | 9.3 | 0 | 5.65
184 | 09/12/2015 | 2:00:00 a.m. | 216866 | 205623 | 7.6053 | 0 | 91.973 | 9.5 | 0 | 5.65
183 | 09/12/2015 | 1:00:00 a.m. | 216866 | 205623 | 7.6605 | 0 | 91.94 | 10.4 | 0 | 5.65
182 | 09/12/2015 | 12:00:00 a.m. | 216866 | 205623 | 7.5727 | 0 | 91.854 | 11.7 | 0 | 5.64
181 | 08/12/2015 | 11:00:00 p.m. | 216866 | 205623 | 7.5825 | 0 | 91.907 | 12.6 | 0 | 5.65
180 | 08/12/2015 | 10:00:00 p.m. | 216866 | 205623 | 7.5817 | 0 | 91.95 | 13.2 | 0 | 5.65
179 | 08/12/2015 | 9:00:00 p.m. | 216866 | 205623 | 7.5839 | 0 | 92.149 | 14.3 | 0 | 5.65
178 | 08/12/2015 | 8:00:00 p.m. | 216866 | 205623 | 7.4875 | 0 | 92.144 | 16 | 0 | 5.66
177 | 08/12/2015 | 7:00:00 p.m. | 216866 | 205623 | 7.4403 | 0 | 92.086 | 17.9 | 0.8 | 5.66
176 | 08/12/2015 | 6:00:00 p.m. | 216866 | 205623 | 7.4465 | 0 | 91.935 | 20.1 | 84.8 | 5.66
175 | 08/12/2015 | 5:00:00 p.m. | 216863 | 205622 | 7.038 | 0 | 88.548 | 21.5 | 86.6 | 5.66
174 | 08/12/2015 | 4:00:00 p.m. | 216778 | 205610 | 7.1347 | 0 | 88.583 | 21.5 | 86.1 | 5.66
173 | 08/12/2015 | 3:00:00 p.m. | 216694 | 205599 | 7.0923 | 0 | 88.395 | 22.8 | 84.5 | 5.67
172 | 08/12/2015 | 2:00:00 p.m. | 216612 | 205587 | 7.0144 | 0 | 88.261 | 23.8 | 84.1 | 5.68
171 | 08/12/2015 | 1:00:00 p.m. | 216529 | 205575 | 6.9663 | 0 | 88.052 | 24.3 | 85.2 | 5.69
170 | 08/12/2015 | 12:00:00 p.m. | 216445 | 205563 | 7.0245 | 0 | 88.084 | 23.5 | 85.8 | 5.68
169 | 08/12/2015 | 11:00:00 a.m. | 216361 | 205551 | 7.043 | 0 | 87.559 | 22.9 | 86.1 | 5.68
168 | 08/12/2015 | 10:00:00 a.m. | 216277 | 205539 | 7.0102 | 0 | 87.732 | 21.5 | 87.3 | 5.66
167 | 08/12/2015 | 9:00:00 a.m. | 216190 | 205527 | 6.9583 | 0 | 87.744 | 20.3 | 88.4 | 5.66
166 | 08/12/2015 | 8:00:00 a.m. | 216103 | 205514 | 7.055 | 0 | 89.001 | 14.6 | 91.3 | 5.65
165 | 08/12/2015 | 7:00:00 a.m. | 216044 | 205506 | 7.6458 | 0 | 91.508 | 8.5 | 0 | 5.65
164 | 08/12/2015 | 6:00:00 a.m. | 216044 | 205506 | 7.7092 | 0 | 91.607 | 8.5 | 0 | 5.65
163 | 08/12/2015 | 5:00:00 a.m. | 216044 | 205506 | 7.6198 | 0 | 91.64 | 8.7 | 0 | 5.65
162 | 08/12/2015 | 4:00:00 a.m. | 216044 | 205506 | 7.6928 | 0 | 91.733 | 9 | 0 | 5.65
161 | 08/12/2015 | 3:00:00 a.m. | 216044 | 205506 | 7.6601 | 0 | 91.552 | 9.5 | 0 | 5.64
160 | 08/12/2015 | 2:00:00 a.m. | 216044 | 205506 | 7.5468 | 0 | 91.601 | 10.1 | 0 | 5.64
159 | 08/12/2015 | 1:00:00 a.m. | 216044 | 205506 | 7.6425 | 0 | 91.83 | 10.6 | 0 | 5.64
158 | 08/12/2015 | 12:00:00 a.m. | 216044 | 205506 | 7.6601 | 0 | 91.845 | 11.5 | 0 | 5.65
157 | 07/12/2015 | 11:00:00 p.m. | 216044 | 205506 | 7.4921 | 0 | 91.727 | 12.6 | 0 | 5.65
156 | 07/12/2015 | 10:00:00 p.m. | 216044 | 205506 | 7.5781 | 0 | 91.656 | 13.6 | 0 | 5.65
155 | 07/12/2015 | 9:00:00 p.m. | 216044 | 205506 | 7.4767 | 0 | 91.498 | 15.1 | 0 | 5.65
154 | 07/12/2015 | 8:00:00 p.m. | 216044 | 205506 | 7.4839 | 0 | 91.555 | 17.2 | 0 | 5.67
153 | 07/12/2015 | 7:00:00 p.m. | 216044 | 205506 | 7.409 | 0 | 91.626 | 20.2 | 0.8 | 5.67
152 | 07/12/2015 | 6:00:00 p.m. | 216044 | 205506 | 7.2826 | 0 | 91.389 | 23.1 | 83 | 5.68
151 | 07/12/2015 | 5:00:00 p.m. | 216039 | 205505 | 7.0027 | 0 | 87.996 | 24 | 83.8 | 5.68
150 | 07/12/2015 | 4:00:00 p.m. | 215958 | 205494 | 6.9503 | 0 | 87.61 | 24.9 | 85.9 | 5.7
149 | 07/12/2015 | 3:00:00 p.m. | 215874 | 205482 | 6.9307 | 0 | 88.067 | 27.1 | 87.8 | 5.69
148 | 07/12/2015 | 2:00:00 p.m. | 215807 | 205472 | 7.0921 | 0 | 88.402 | 25.5 | 87.2 | 5.7
147 | 07/12/2015 | 1:00:00 p.m. | 215745 | 205463 | 6.9062 | 0 | 88.608 | 24.4 | 87.1 | 5.69
146 | 07/12/2015 | 12:00:00 p.m. | 215679 | 205454 | 7.0909 | 0 | 89.926 | 23.5 | 87.8 | 5.68
145 | 07/12/2015 | 11:00:00 a.m. | 215643 | 205448 | 6.9795 | 0 | 87.64 | 22 | 87 | 5.67
144 | 07/12/2015 | 10:00:00 a.m. | 215556 | 205436 | 6.9481 | 0 | 87.501 | 21.7 | 87.7 | 5.67
143 | 07/12/2015 | 9:00:00 a.m. | 215469 | 205424 | 6.9708 | 0 | 87.825 | 20.2 | 88.2 | 5.65
142 | 07/12/2015 | 8:00:00 a.m. | 215382 | 205411 | 7.1097 | 0 | 89.445 | 13.5 | 92.6 | 5.65
141 | 07/12/2015 | 7:00:00 a.m. | 215335 | 205405 | 7.6583 | 0 | 91.629 | 8.8 | 0 | 5.65
140 | 07/12/2015 | 6:00:00 a.m. | 215335 | 205405 | 7.7243 | 0 | 91.73 | 9.2 | 0 | 5.65
139 | 07/12/2015 | 5:00:00 a.m. | 215335 | 205405 | 7.6559 | 0 | 91.784 | 9.4 | 0 | 5.66
138 | 07/12/2015 | 4:00:00 a.m. | 215335 | 205405 | 7.6515 | 0 | 91.727 | 9.4 | 0 | 5.64
137 | 07/12/2015 | 3:00:00 a.m. | 215335 | 205405 | 7.6497 | 0 | 91.684 | 9.4 | 0 | 5.65
136 | 07/12/2015 | 2:00:00 a.m. | 215335 | 205405 | 7.6264 | 0 | 91.54 | 9.8 | 0 | 5.66
135 | 07/12/2015 | 1:00:00 a.m. | 215335 | 205405 | 7.5978 | 0 | 91.573 | 11 | 0 | 5.66
134 | 07/12/2015 | 12:00:00 a.m. | 215335 | 205405 | 7.5207 | 0 | 91.423 | 12.3 | 0 | 5.65
133 | 06/12/2015 | 11:00:00 p.m. | 215335 | 205405 | 7.5025 | 0 | 91.503 | 13.2 | 0 | 5.66
132 | 06/12/2015 | 10:00:00 p.m. | 215335 | 205405 | 7.5157 | 0 | 91.724 | 14.3 | 0 | 5.66
131 | 06/12/2015 | 9:00:00 p.m. | 215335 | 205405 | 7.4898 | 0 | 91.517 | 16.4 | 0 | 5.66
130 | 06/12/2015 | 8:00:00 p.m. | 215335 | 205405 | 7.3661 | 0 | 91.497 | 19.4 | 0 | 5.66
129 | 06/12/2015 | 7:00:00 p.m. | 215335 | 205405 | 7.332 | 0 | 91.582 | 23.2 | 0 | 5.67
128 | 06/12/2015 | 6:00:00 p.m. | 215335 | 205405 | 7.207 | 0 | 91.678 | 28.1 | 0 | 5.68
127 | 06/12/2015 | 5:00:00 p.m. | 215335 | 205405 | 7.0354 | 0 | 91.51 | 32.7 | 0 | 5.7
126 | 06/12/2015 | 4:00:00 p.m. | 215335 | 205405 | 7.0077 | 0 | 91.462 | 34.8 | 0 | 5.7
125 | 06/12/2015 | 3:00:00 p.m. | 215335 | 205405 | 6.9456 | 0 | 91.278 | 34.1 | 0 | 5.68
124 | 06/12/2015 | 2:00:00 p.m. | 215335 | 205405 | 6.9959 | 0 | 91.373 | 31.6 | 0 | 5.69
123 | 06/12/2015 | 1:00:00 p.m. | 215335 | 205405 | 7.0878 | 0 | 91.434 | 28.2 | 0 | 5.69
122 | 06/12/2015 | 12:00:00 p.m. | 215335 | 205405 | 7.1132 | 0 | 91.362 | 25.6 | 0 | 5.68
121 | 06/12/2015 | 11:00:00 a.m. | 215335 | 205405 | 7.3049 | 0 | 91.677 | 17.4 | 0 | 5.67
120 | 06/12/2015 | 10:00:00 a.m. | 215335 | 205405 | 7.5465 | 0 | 91.703 | 11.9 | 0 | 5.66
119 | 06/12/2015 | 9:00:00 a.m. | 215335 | 205405 | 7.6179 | 0 | 91.632 | 8.6 | 0 | 5.65
118 | 06/12/2015 | 8:00:00 a.m. | 215335 | 205405 | 7.7731 | 0 | 91.855 | 7.4 | 0 | 5.65
117 | 06/12/2015 | 7:00:00 a.m. | 215335 | 205405 | 7.7264 | 0 | 91.853 | 8.3 | 0 | 5.65
116 | 06/12/2015 | 6:00:00 a.m. | 215335 | 205405 | 7.7252 | 0 | 91.872 | 9.4 | 0 | 5.64
115 | 06/12/2015 | 5:00:00 a.m. | 215335 | 205405 | 7.677 | 0 | 91.898 | 10.2 | 0 | 5.66
114 | 06/12/2015 | 4:00:00 a.m. | 215335 | 205405 | 7.6612 | 0 | 91.821 | 10.3 | 0 | 5.65
113 | 06/12/2015 | 3:00:00 a.m. | 215335 | 205405 | 7.6229 | 0 | 91.695 | 10.8 | 0 | 5.66
112 | 06/12/2015 | 2:00:00 a.m. | 215335 | 205405 | 7.6378 | 0 | 91.749 | 11.9 | 0 | 5.67
111 | 06/12/2015 | 1:00:00 a.m. | 215335 | 205405 | 7.5477 | 0 | 91.883 | 13.2 | 0 | 5.66
110 | 06/12/2015 | 12:00:00 a.m. | 215335 | 205405 | 7.5563 | 0 | 91.894 | 14.6 | 0 | 5.66
109 | 05/12/2015 | 11:00:00 p.m. | 215335 | 205405 | 7.5134 | 0 | 91.857 | 15.8 | 0 | 5.67
108 | 05/12/2015 | 10:00:00 p.m. | 215335 | 205405 | 7.4803 | 0 | 91.723 | 16.8 | 0 | 5.67
107 | 05/12/2015 | 9:00:00 p.m. | 215335 | 205405 | 7.4222 | 0 | 91.651 | 18.1 | 0 | 5.67
106 | 05/12/2015 | 8:00:00 p.m. | 215335 | 205405 | 7.3684 | 0 | 91.665 | 19.7 | 0 | 5.66
105 | 05/12/2015 | 7:00:00 p.m. | 215335 | 205405 | 7.3664 | 0 | 91.503 | 21.8 | 0 | 5.68
104 | 05/12/2015 | 6:00:00 p.m. | 215335 | 205405 | 7.2475 | 0 | 91.33 | 25.4 | 0 | 5.68
103 | 05/12/2015 | 5:00:00 p.m. | 215335 | 205405 | 7.1698 | 0 | 91.272 | 31 | 0 | 5.69
102 | 05/12/2015 | 4:00:00 p.m. | 215335 | 205405 | 7.0287 | 0 | 91.303 | 31.6 | 0.8 | 5.68
101 | 05/12/2015 | 3:00:00 p.m. | 215335 | 205405 | 6.9763 | 0 | 90.888 | 31 | 83.7 | 5.7
100 | 05/12/2015 | 2:00:00 p.m. | 215326 | 205403 | 6.9753 | 0 | 88.067 | 25.6 | 83.6 | 5.7
99 | 05/12/2015 | 1:00:00 p.m. | 215244 | 205392 | 6.9647 | 0 | 87.853 | 24.9 | 84.6 | 5.69
98 | 05/12/2015 | 12:00:00 p.m. | 215160 | 205380 | 7.0004 | 0 | 87.89 | 24.1 | 85.6 | 5.69
97 | 05/12/2015 | 11:00:00 a.m. | 215076 | 205368 | 7.0467 | 0 | 88.118 | 23.1 | 84.6 | 5.68
96 | 05/12/2015 | 10:00:00 a.m. | 214993 | 205356 | 7.0157 | 0 | 88.843 | 20.9 | 85.4 | 5.67
95 | 05/12/2015 | 9:00:00 a.m. | 214925 | 205346 | 7.1044 | 0 | 90.5 | 10.7 | 90.2 | 5.65
94 | 05/12/2015 | 8:00:00 a.m. | 214903 | 205343 | 7.6721 | 0 | 91.713 | 7.6 | 0 | 5.65
93 | 05/12/2015 | 7:00:00 a.m. | 214903 | 205343 | 7.7715 | 0 | 92.068 | 8.1 | 0 | 5.65
92 | 05/12/2015 | 6:00:00 a.m. | 214903 | 205343 | 7.6055 | 0 | 91.685 | 8.9 | 0 | 5.65
91 | 05/12/2015 | 5:00:00 a.m. | 214903 | 205343 | 7.657 | 0 | 91.646 | 9.8 | 0 | 5.64
90 | 05/12/2015 | 4:00:00 a.m. | 214903 | 205343 | 7.6307 | 0 | 91.842 | 10.4 | 0 | 5.66
89 | 05/12/2015 | 3:00:00 a.m. | 214903 | 205343 | 7.607 | 0 | 91.811 | 10.6 | 0 | 5.65
88 | 05/12/2015 | 2:00:00 a.m. | 214903 | 205343 | 7.6106 | 0 | 91.533 | 11.3 | 0 | 5.65
87 | 05/12/2015 | 1:00:00 a.m. | 214903 | 205343 | 7.5865 | 0 | 91.719 | 11.8 | 0 | 5.65
86 | 05/12/2015 | 12:00:00 a.m. | 214903 | 205343 | 7.531 | 0 | 91.707 | 11.8 | 0 | 5.66
85 | 04/12/2015 | 11:00:00 p.m. | 214903 | 205343 | 7.5692 | 0 | 91.805 | 12 | 0 | 5.66
84 | 04/12/2015 | 10:00:00 p.m. | 214903 | 205343 | 7.5752 | 0 | 91.613 | 13 | 0 | 5.66
83 | 04/12/2015 | 9:00:00 p.m. | 214903 | 205343 | 7.4987 | 0 | 91.656 | 14.7 | 0 | 5.66
82 | 04/12/2015 | 8:00:00 p.m. | 214903 | 205343 | 7.4634 | 0 | 91.539 | 16.8 | 0 | 5.67
81 | 04/12/2015 | 7:00:00 p.m. | 214903 | 205343 | 7.3751 | 0 | 91.403 | 19.7 | 0.8 | 5.67
80 | 04/12/2015 | 6:00:00 p.m. | 214903 | 205343 | 7.3333 | 0 | 91.32 | 22.9 | 76.8 | 5.68
79 | 04/12/2015 | 5:00:00 p.m. | 214898 | 205342 | 7.1265 | 0 | 88.083 | 24.6 | 87.2 | 5.69
78 | 04/12/2015 | 4:00:00 p.m. | 214816 | 205331 | 6.8428 | 0 | 90.589 | 32.9 | 89.3 | 5.69
77 | 04/12/2015 | 3:00:00 p.m. | 214801 | 205328 | 7.0032 | 0 | 91.073 | 32.9 | 0 | 5.69
76 | 04/12/2015 | 2:00:00 p.m. | 214801 | 205328 | 7.0647 | 0 | 91.123 | 28.2 | 0 | 5.68
75 | 04/12/2015 | 1:00:00 p.m. | 214801 | 205328 | 7.1633 | 0 | 91.234 | 23.3 | 0 | 5.68
74 | 04/12/2015 | 12:00:00 p.m. | 214801 | 205328 | 7.3563 | 0 | 91.46 | 19.3 | 0 | 5.67
73 | 04/12/2015 | 11:00:00 a.m. | 214801 | 205328 | 7.4043 | 0 | 91.41 | 15.4 | 0 | 5.66
72 | 04/12/2015 | 10:00:00 a.m. | 214801 | 205328 | 7.4781 | 0 | 91.27 | 13.6 | 0 | 5.66
71 | 04/12/2015 | 9:00:00 a.m. | 214801 | 205328 | 7.4916 | 0 | 91.457 | 11.8 | 0 | 5.66
70 | 04/12/2015 | 8:00:00 a.m. | 214801 | 205328 | 7.5855 | 0 | 91.624 | 11.4 | 0 | 5.66
69 | 04/12/2015 | 7:00:00 a.m. | 214801 | 205328 | 7.6053 | 0 | 91.657 | 11.5 | 0 | 5.65
68 | 04/12/2015 | 6:00:00 a.m. | 214801 | 205328 | 7.5888 | 0 | 91.623 | 11.6 | 0 | 5.67
67 | 04/12/2015 | 5:00:00 a.m. | 214801 | 205328 | 7.5666 | 0 | 91.811 | 11.7 | 0 | 5.67
66 | 04/12/2015 | 4:00:00 a.m. | 214801 | 205328 | 7.5909 | 0 | 92.019 | 11.7 | 0 | 5.66
65 | 04/12/2015 | 3:00:00 a.m. | 214801 | 205328 | 7.6536 | 0 | 91.869 | 11.9 | 0 | 5.66
64 | 04/12/2015 | 2:00:00 a.m. | 214801 | 205328 | 7.6159 | 0 | 91.917 | 12 | 0 | 5.66
63 | 04/12/2015 | 1:00:00 a.m. | 214801 | 205328 | 7.6086 | 0 | 91.938 | 12.1 | 0 | 5.66
62 | 04/12/2015 | 12:00:00 a.m. | 214801 | 205328 | 7.6437 | 0 | 91.996 | 12.1 | 0 | 5.66
61 | 03/12/2015 | 11:00:00 p.m. | 214801 | 205328 | 7.4883 | 0 | 91.876 | 12.2 | 0 | 5.66
60 | 03/12/2015 | 10:00:00 p.m. | 214801 | 205328 | 7.605 | 0 | 91.886 | 12.3 | 0 | 5.67
59 | 03/12/2015 | 9:00:00 p.m. | 214801 | 205328 | 7.5999 | 0 | 91.766 | 12.5 | 0 | 5.66
58 | 03/12/2015 | 8:00:00 p.m. | 214801 | 205328 | 7.5928 | 0 | 91.791 | 12.8 | 0 | 5.66
57 | 03/12/2015 | 7:00:00 p.m. | 214801 | 205328 | 7.5372 | 0 | 91.69 | 14 | 0.8 | 5.66
56 | 03/12/2015 | 6:00:00 p.m. | 214800 | 205328 | 7.5404 | 0 | 91.12 | 18.7 | 84.7 | 5.66
55 | 03/12/2015 | 5:00:00 p.m. | 214791 | 205327 | 6.9937 | 0 | 89.042 | 21.5 | 84.5 | 5.67
54 | 03/12/2015 | 4:00:00 p.m. | 214727 | 205318 | 7.0837 | 0 | 88.139 | 21.3 | 83 | 5.67
53 | 03/12/2015 | 3:00:00 p.m. | 214645 | 205306 | 7.0861 | 0 | 88.582 | 23 | 82.6 | 5.68
52 | 03/12/2015 | 2:00:00 p.m. | 214565 | 205295 | 6.9613 | 0 | 87.941 | 25.2 | 83.6 | 5.69
51 | 03/12/2015 | 1:00:00 p.m. | 214483 | 205283 | 6.9546 | 0 | 88.643 | 25.4 | 84.3 | 5.69
50 | 03/12/2015 | 12:00:00 p.m. | 214426 | 205275 | 6.9502 | 0 | 87.648 | 24.4 | 83.4 | 5.69
49 | 03/12/2015 | 11:00:00 a.m. | 214344 | 205263 | 6.9821 | 0 | 87.974 | 23.4 | 84 | 5.67
48 | 03/12/2015 | 10:00:00 a.m. | 214265 | 205252 | 7.0263 | 0 | 87.797 | 20.9 | 88.2 | 5.67
47 | 03/12/2015 | 9:00:00 a.m. | 214181 | 205240 | 7.1333 | 0 | 90.714 | 12.1 | 91 | 5.66
46 | 03/12/2015 | 8:00:00 a.m. | 214166 | 205238 | 7.5628 | 0 | 91.413 | 9.5 | 0 | 5.65
45 | 03/12/2015 | 7:00:00 a.m. | 214166 | 205238 | 7.6584 | 0 | 91.828 | 9.8 | 0 | 5.66
44 | 03/12/2015 | 6:00:00 a.m. | 214166 | 205238 | 7.6739 | 0 | 91.967 | 10.3 | 0 | 5.65
43 | 03/12/2015 | 5:00:00 a.m. | 214166 | 205238 | 7.6162 | 0 | 92.045 | 10.6 | 0 | 5.66
42 | 03/12/2015 | 4:00:00 a.m. | 214166 | 205238 | 7.6613 | 0 | 92.066 | 11.2 | 0 | 5.65
41 | 03/12/2015 | 3:00:00 a.m. | 214166 | 205238 | 7.5379 | 0 | 91.939 | 12 | 0 | 5.66
40 | 03/12/2015 | 2:00:00 a.m. | 214166 | 205238 | 7.5784 | 0 | 91.84 | 13 | 0 | 5.66
39 | 03/12/2015 | 1:00:00 a.m. | 214166 | 205238 | 7.5314 | 0 | 91.814 | 13.3 | 0 | 5.65
38 | 03/12/2015 | 12:00:00 a.m. | 214166 | 205238 | 7.5039 | 0 | 91.799 | 13.9 | 0 | 5.66
37 | 02/12/2015 | 11:00:00 p.m. | 214166 | 205238 | 7.5454 | 0 | 91.914 | 14.5 | 0 | 5.66
36 | 02/12/2015 | 10:00:00 p.m. | 214166 | 205238 | 7.5005 | 0 | 91.558 | 15.9 | 0 | 5.67
35 | 02/12/2015 | 9:00:00 p.m. | 214166 | 205238 | 7.4561 | 0 | 91.421 | 17.6 | 0 | 5.67
34 | 02/12/2015 | 8:00:00 p.m. | 214166 | 205238 | 7.3665 | 0 | 91.654 | 19.1 | 0 | 5.68
33 | 02/12/2015 | 7:00:00 p.m. | 214166 | 205238 | 7.3369 | 0 | 91.613 | 20.9 | 0.8 | 5.69
32 | 02/12/2015 | 6:00:00 p.m. | 214166 | 205238 | 7.3096 | 0 | 91.254 | 23.3 | 81.4 | 5.68
31 | 02/12/2015 | 5:00:00 p.m. | 214161 | 205237 | 7.0041 | 0 | 88.084 | 24.7 | 82.1 | 5.69
30 | 02/12/2015 | 4:00:00 p.m. | 214080 | 205226 | 6.9687 | 0 | 87.725 | 26 | 82.5 | 5.68
29 | 02/12/2015 | 3:00:00 p.m. | 213998 | 205214 | 6.9433 | 0 | 87.774 | 25.9 | 82.2 | 5.7
28 | 02/12/2015 | 2:00:00 p.m. | 213918 | 205202 | 6.9733 | 0 | 87.599 | 24.3 | 85 | 5.7
27 | 02/12/2015 | 1:00:00 p.m. | 213834 | 205190 | 6.9625 | 0 | 87.707 | 23.7 | 84.4 | 5.68
26 | 02/12/2015 | 12:00:00 p.m. | 213751 | 205178 | 6.9657 | 0 | 87.724 | 24.1 | 85.3 | 5.68
25 | 02/12/2015 | 11:00:00 a.m. | 213667 | 205166 | 6.9547 | 0 | 87.807 | 23 | 86.2 | 5.69
24 | 02/12/2015 | 10:00:00 a.m. | 213583 | 205154 | 7.0496 | 0 | 88.554 | 20.1 | 90.8 | 5.65
23 | 02/12/2015 | 9:00:00 a.m. | 213509 | 205144 | 7.5308 | 0 | 91.818 | 12.5 | 0 | 5.66
22 | 02/12/2015 | 8:00:00 a.m. | 213509 | 205144 | 7.59 | 0 | 91.805 | 10.4 | 0 | 5.65
21 | 02/12/2015 | 7:00:00 a.m. | 213509 | 205144 | 7.6633 | 0 | 91.898 | 10.2 | 0 | 5.65
20 | 02/12/2015 | 6:00:00 a.m. | 213509 | 205144 | 7.6076 | 0 | 91.896 | 10.4 | 0 | 5.66
19 | 02/12/2015 | 5:00:00 a.m. | 213509 | 205144 | 7.6366 | 0 | 91.915 | 10.5 | 0 | 5.65
18 | 02/12/2015 | 4:00:00 a.m. | 213509 | 205144 | 7.6528 | 0 | 91.762 | 10.4 | 0 | 5.67
17 | 02/12/2015 | 3:00:00 a.m. | 213509 | 205144 | 7.6079 | 0 | 91.665 | 11.1 | 0 | 5.65
16 | 02/12/2015 | 2:00:00 a.m. | 213509 | 205144 | 7.5778 | 0 | 91.653 | 11.8 | 0 | 5.66
15 | 02/12/2015 | 1:00:00 a.m. | 213509 | 205144 | 7.5731 | 0 | 91.63 | 12.5 | 0 | 5.65
14 | 02/12/2015 | 12:00:00 a.m. | 213509 | 205144 | 7.5661 | 0 | 91.652 | 13.5 | 0 | 5.66
13 | 01/12/2015 | 11:00:00 p.m. | 213509 | 205144 | 7.4823 | 0 | 91.544 | 14.7 | 0 | 5.67
12 | 01/12/2015 | 10:00:00 p.m. | 213509 | 205144 | 7.4734 | 0 | 91.573 | 16.1 | 0 | 5.66
11 | 01/12/2015 | 9:00:00 p.m. | 213509 | 205144 | 7.4423 | 0 | 91.6 | 17.7 | 0 | 5.67
10 | 01/12/2015 | 8:00:00 p.m. | 213509 | 205144 | 7.3935 | 0 | 91.72 | 19.5 | 0 | 5.67
9 | 01/12/2015 | 7:00:00 p.m. | 213509 | 205144 | 7.355 | 0 | 91.637 | 22 | 0 | 5.67
8 | 01/12/2015 | 6:00:00 p.m. | 213509 | 205144 | 7.2951 | 0 | 91.643 | 26.1 | 1.2 | 5.69
7 | 01/12/2015 | 5:00:00 p.m. | 213509 | 205144 | 7.1429 | 0 | 90.023 | 26.3 | 82.7 | 5.69
6 | 01/12/2015 | 4:00:00 p.m. | 213476 | 205139 | 6.9594 | 0 | 87.842 | 25.9 | 83.2 | 5.7
5 | 01/12/2015 | 3:00:00 p.m. | 213395 | 205127 | 6.9168 | 0 | 87.691 | 26.5 | 83.1 | 5.7
4 | 01/12/2015 | 2:00:00 p.m. | 213313 | 205116 | 6.8748 | 0 | 87.691 | 26.3 | 83.5 | 5.7
3 | 01/12/2015 | 1:00:00 p.m. | 213232 | 205104 | 6.9316 | 0 | 87.762 | 25.7 | 84.5 | 5.7
2 | 01/12/2015 | 12:00:00 p.m. | 213148 | 205092 | 6.9616 | 0 | 87.692 | 24.4 | 85.2 | 5.68
1 | 01/12/2015 | 11:00:00 a.m. | 213064 | 205080 | 6.9689 | 0 | 87.519 | 23.6 | 85.4 | 5.69