## La Fama diario 013116 MC B
Data Log
Unit Serial Number: | 03/11/45975
Meter/Site ID: | 1123871 16M FAMA
Drive Rate | 1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 18/09/2015 | 10:20:42 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
31 | 01/02/2016 | 9:00:00 a.m. | 12068345 | 1634429 | 7.7729 | 0 | 92.008 | 18.3 | 0 | 5.84
30 | 31/01/2016 | 9:00:00 a.m. | 12068345 | 1634429 | 7.7567 | 0 | 91.567 | 18.5 | 564.8 | 5.85
29 | 30/01/2016 | 9:00:00 a.m. | 12064878 | 1633954 | 7.2296 | 0 | 90.297 | 20 | 638.5 | 5.85
28 | 29/01/2016 | 9:00:00 a.m. | 12053668 | 1632408 | 7.2889 | 0 | 90.326 | 19.7 | 731 | 5.85
27 | 28/01/2016 | 9:00:00 a.m. | 12042744 | 1630904 | 7.2997 | 0 | 90.28 | 19.8 | 722.7 | 5.85
26 | 27/01/2016 | 9:00:00 a.m. | 12031449 | 1629347 | 7.2238 | 0 | 90.064 | 19.9 | 735.1 | 5.84
25 | 26/01/2016 | 9:00:00 a.m. | 12019402 | 1627682 | 7.2304 | 0 | 90.26 | 20.3 | 723.3 | 5.87
24 | 25/01/2016 | 9:00:00 a.m. | 12008077 | 1626118 | 7.3033 | 0 | 90.735 | 20 | 602.3 | 5.85
23 | 24/01/2016 | 9:00:00 a.m. | 11997752 | 1624701 | 7.3218 | 0 | 90.875 | 19.8 | 851.2 | 5.84
22 | 23/01/2016 | 9:00:00 a.m. | 11987405 | 1623283 | 7.2785 | 0 | 90.635 | 19.7 | 863.8 | 5.85
21 | 22/01/2016 | 9:00:00 a.m. | 11976723 | 1621817 | 7.3478 | 0 | 90.58 | 19.6 | 770.4 | 5.85
20 | 21/01/2016 | 9:00:00 a.m. | 11966285 | 1620384 | 7.2941 | 0 | 90.492 | 19.8 | 836.9 | 5.86
19 | 20/01/2016 | 9:00:00 a.m. | 11954275 | 1618733 | 7.206 | 0 | 90.805 | 19.8 | 773.4 | 5.85
18 | 19/01/2016 | 9:00:00 a.m. | 11944838 | 1617439 | 7.3164 | 0 | 90.902 | 20.1 | 664.6 | 5.85
17 | 18/01/2016 | 9:00:00 a.m. | 11936048 | 1616234 | 7.3731 | 0 | 91.016 | 20.1 | 661.8 | 5.85
16 | 17/01/2016 | 9:00:00 a.m. | 11926350 | 1614907 | 7.3702 | 0 | 90.918 | 19.4 | 812.2 | 5.85
15 | 16/01/2016 | 9:00:00 a.m. | 11915976 | 1613488 | 7.2599 | 0 | 90.683 | 20.1 | 759 | 5.86
14 | 15/01/2016 | 9:00:00 a.m. | 11907850 | 1612371 | 7.3202 | 0 | 90.084 | 19.7 | 980.3 | 5.86
13 | 14/01/2016 | 9:00:00 a.m. | 11893963 | 1610455 | 7.1907 | 0 | 90.18 | 19.8 | 975.4 | 5.86
12 | 13/01/2016 | 9:00:00 a.m. | 11880619 | 1608615 | 7.2418 | 0 | 90.06 | 20.2 | 971.5 | 5.86
11 | 12/01/2016 | 9:00:00 a.m. | 11867008 | 1606733 | 7.2372 | 0 | 90.21 | 20.3 | 942.2 | 5.87
10 | 11/01/2016 | 9:00:00 a.m. | 11854141 | 1604955 | 7.189 | 0 | 90.439 | 20.5 | 959.6 | 5.86
9 | 10/01/2016 | 9:00:00 a.m. | 11841091 | 1603155 | 7.2842 | 0 | 90.436 | 20.6 | 959.3 | 5.87
8 | 09/01/2016 | 9:00:00 a.m. | 11827517 | 1601282 | 7.2806 | 0 | 90.426 | 20.3 | 983.5 | 5.86
7 | 08/01/2016 | 9:00:00 a.m. | 11813438 | 1599340 | 7.1949 | 0 | 90.412 | 20.5 | 968.6 | 5.86
6 | 07/01/2016 | 9:00:00 a.m. | 11799610 | 1597432 | 7.2425 | 0 | 90.591 | 20.6 | 950.7 | 5.86
5 | 06/01/2016 | 9:00:00 a.m. | 11785724 | 1595518 | 7.2624 | 0 | 90.724 | 21 | 942.2 | 5.87
4 | 05/01/2016 | 9:00:00 a.m. | 11772469 | 1593691 | 7.3216 | 0 | 90.708 | 21 | 931 | 5.86
3 | 04/01/2016 | 9:00:00 a.m. | 11759325 | 1591879 | 7.2279 | 0 | 91.644 | 21.7 | 779.7 | 5.87
2 | 03/01/2016 | 9:00:00 a.m. | 11751838 | 1590854 | 7.4198 | 0 | 91.528 | 21.7 | 836 | 5.87
1 | 02/01/2016 | 9:00:00 a.m. | 11742855 | 1589622 | 7.2906 | 0 | 92.314 | 22 | 820.9 | 5.88