## Mineria Empresarial horario 013
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 745
Fault/Alarms Recorded: | Date | Time | Condition
1 | 17/01/2016 | 2:25:16 a.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 03/08/2015 | 2:19:12 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
745 | 01/02/2016 | 11:00:00 a.m. | 236520 | 208423 | 7.1359 | 0 | 91.737 | 24.5 | 0 | 5.64
744 | 01/02/2016 | 10:00:00 a.m. | 236520 | 208423 | 7.377 | 0 | 91.992 | 14.4 | 0 | 5.63
743 | 01/02/2016 | 9:00:00 a.m. | 236520 | 208423 | 7.7305 | 0 | 92.554 | 5.4 | 0 | 5.6
742 | 01/02/2016 | 8:00:00 a.m. | 236520 | 208423 | 7.7615 | 0 | 92.722 | 3.7 | 0 | 5.6
741 | 01/02/2016 | 7:00:00 a.m. | 236520 | 208423 | 7.9119 | 0 | 92.763 | 4.6 | 0 | 5.6
740 | 01/02/2016 | 6:00:00 a.m. | 236520 | 208423 | 7.8717 | 0 | 92.708 | 5.8 | 0 | 5.6
739 | 01/02/2016 | 5:00:00 a.m. | 236520 | 208423 | 7.8001 | 0 | 92.655 | 7.2 | 0 | 5.6
738 | 01/02/2016 | 4:00:00 a.m. | 236520 | 208423 | 7.7923 | 0 | 92.72 | 8.5 | 0 | 5.6
737 | 01/02/2016 | 3:00:00 a.m. | 236520 | 208423 | 7.7049 | 0 | 92.576 | 9.5 | 0 | 5.61
736 | 01/02/2016 | 2:00:00 a.m. | 236520 | 208423 | 7.7262 | 0 | 92.674 | 10 | 0 | 5.61
735 | 01/02/2016 | 1:00:00 a.m. | 236520 | 208423 | 7.6752 | 0 | 92.55 | 10.4 | 0 | 5.62
734 | 01/02/2016 | 12:00:00 a.m. | 236520 | 208423 | 7.6865 | 0 | 92.808 | 11.4 | 0 | 5.62
733 | 31/01/2016 | 11:00:00 p.m. | 236520 | 208423 | 7.653 | 0 | 92.645 | 13.4 | 0 | 5.62
732 | 31/01/2016 | 10:00:00 p.m. | 236520 | 208423 | 7.585 | 0 | 92.604 | 15.9 | 0 | 5.61
731 | 31/01/2016 | 9:00:00 p.m. | 236520 | 208423 | 7.5069 | 0 | 92.506 | 18.7 | 0 | 5.62
730 | 31/01/2016 | 8:00:00 p.m. | 236520 | 208423 | 7.423 | 0 | 92.445 | 22 | 0 | 5.63
729 | 31/01/2016 | 7:00:00 p.m. | 236520 | 208423 | 7.3193 | 0 | 92.268 | 26.8 | 0 | 5.64
728 | 31/01/2016 | 6:00:00 p.m. | 236520 | 208423 | 7.1481 | 0 | 92.244 | 33.4 | 0 | 5.65
727 | 31/01/2016 | 5:00:00 p.m. | 236520 | 208423 | 6.9548 | 0 | 91.706 | 38 | 0 | 5.65
726 | 31/01/2016 | 4:00:00 p.m. | 236520 | 208423 | 6.908 | 0 | 91.813 | 39.7 | 0 | 5.66
725 | 31/01/2016 | 3:00:00 p.m. | 236520 | 208423 | 6.8716 | 0 | 91.693 | 39.5 | 0 | 5.66
724 | 31/01/2016 | 2:00:00 p.m. | 236520 | 208423 | 6.8898 | 0 | 91.59 | 37.1 | 0 | 5.66
723 | 31/01/2016 | 1:00:00 p.m. | 236520 | 208423 | 6.9502 | 0 | 91.618 | 35.3 | 0 | 5.65
722 | 31/01/2016 | 12:00:00 p.m. | 236520 | 208423 | 7.0014 | 0 | 91.615 | 31.5 | 0 | 5.66
721 | 31/01/2016 | 11:00:00 a.m. | 236520 | 208423 | 7.1523 | 0 | 91.678 | 23 | 0 | 5.65
720 | 31/01/2016 | 10:00:00 a.m. | 236520 | 208423 | 7.4142 | 0 | 91.966 | 13.7 | 0 | 5.63
719 | 31/01/2016 | 9:00:00 a.m. | 236520 | 208423 | 7.7591 | 0 | 92.649 | 5.4 | 0 | 5.61
718 | 31/01/2016 | 8:00:00 a.m. | 236520 | 208423 | 7.8301 | 0 | 92.638 | 4.8 | 0 | 5.61
717 | 31/01/2016 | 7:00:00 a.m. | 236520 | 208423 | 7.8606 | 0 | 92.704 | 5.7 | 0 | 5.6
716 | 31/01/2016 | 6:00:00 a.m. | 236520 | 208423 | 7.8573 | 0 | 92.953 | 6.6 | 0 | 5.6
715 | 31/01/2016 | 5:00:00 a.m. | 236520 | 208423 | 7.7781 | 0 | 92.722 | 7.3 | 0 | 5.61
714 | 31/01/2016 | 4:00:00 a.m. | 236520 | 208423 | 7.7959 | 0 | 92.619 | 8.1 | 0 | 5.6
713 | 31/01/2016 | 3:00:00 a.m. | 236520 | 208423 | 7.7513 | 0 | 92.426 | 8.7 | 0 | 5.61
712 | 31/01/2016 | 2:00:00 a.m. | 236520 | 208423 | 7.723 | 0 | 92.272 | 9.6 | 0 | 5.6
711 | 31/01/2016 | 1:00:00 a.m. | 236520 | 208423 | 7.6935 | 0 | 92.34 | 10.8 | 0 | 5.61
710 | 31/01/2016 | 12:00:00 a.m. | 236520 | 208423 | 7.5206 | 0 | 92.273 | 11.9 | 0 | 5.62
709 | 30/01/2016 | 11:00:00 p.m. | 236520 | 208423 | 7.6004 | 0 | 92.189 | 13.5 | 0 | 5.62
708 | 30/01/2016 | 10:00:00 p.m. | 236520 | 208423 | 7.536 | 0 | 92.169 | 14.9 | 0 | 5.62
707 | 30/01/2016 | 9:00:00 p.m. | 236520 | 208423 | 7.5066 | 0 | 91.86 | 16 | 0 | 5.62
706 | 30/01/2016 | 8:00:00 p.m. | 236520 | 208423 | 7.4455 | 0 | 91.742 | 17.4 | 0 | 5.62
705 | 30/01/2016 | 7:00:00 p.m. | 236520 | 208423 | 7.393 | 0 | 91.949 | 19.4 | 0 | 5.62
704 | 30/01/2016 | 6:00:00 p.m. | 236520 | 208423 | 7.3774 | 0 | 91.756 | 22.1 | 0 | 5.63
703 | 30/01/2016 | 5:00:00 p.m. | 236520 | 208423 | 7.1593 | 0 | 91.776 | 25.8 | 0 | 5.64
702 | 30/01/2016 | 4:00:00 p.m. | 236520 | 208423 | 7.1929 | 0 | 91.706 | 29.3 | 0.7 | 5.65
701 | 30/01/2016 | 3:00:00 p.m. | 236520 | 208423 | 7.0455 | 0 | 90.926 | 28.6 | 86.6 | 5.65
700 | 30/01/2016 | 2:00:00 p.m. | 236514 | 208422 | 6.9571 | 0 | 87.508 | 23.5 | 87.6 | 5.65
699 | 30/01/2016 | 1:00:00 p.m. | 236428 | 208410 | 6.9583 | 0 | 87.149 | 23.2 | 87.9 | 5.64
698 | 30/01/2016 | 12:00:00 p.m. | 236341 | 208397 | 6.9356 | 0 | 87.16 | 22.5 | 89.3 | 5.65
697 | 30/01/2016 | 11:00:00 a.m. | 236253 | 208385 | 6.9906 | 0 | 87.482 | 21.4 | 89.7 | 5.64
696 | 30/01/2016 | 10:00:00 a.m. | 236171 | 208373 | 6.9108 | 0 | 86.855 | 18.6 | 92.9 | 5.63
695 | 30/01/2016 | 9:00:00 a.m. | 236081 | 208360 | 7.1143 | 0 | 90.923 | 9.1 | 94.1 | 5.6
694 | 30/01/2016 | 8:00:00 a.m. | 236076 | 208360 | 7.6543 | 0 | 91.175 | 8.4 | 0 | 5.61
693 | 30/01/2016 | 7:00:00 a.m. | 236076 | 208360 | 7.6148 | 0 | 91.135 | 8.8 | 0 | 5.61
692 | 30/01/2016 | 6:00:00 a.m. | 236076 | 208360 | 7.657 | 0 | 91.357 | 9.4 | 0 | 5.61
691 | 30/01/2016 | 5:00:00 a.m. | 236076 | 208360 | 7.6472 | 0 | 91.164 | 9.9 | 0 | 5.61
690 | 30/01/2016 | 4:00:00 a.m. | 236076 | 208360 | 7.606 | 0 | 91.227 | 10.5 | 0 | 5.62
689 | 30/01/2016 | 3:00:00 a.m. | 236076 | 208360 | 7.6084 | 0 | 91.235 | 11.2 | 0 | 5.61
688 | 30/01/2016 | 2:00:00 a.m. | 236076 | 208360 | 7.531 | 0 | 91.119 | 12 | 0 | 5.62
687 | 30/01/2016 | 1:00:00 a.m. | 236076 | 208360 | 7.5387 | 0 | 91.135 | 12.8 | 0 | 5.61
686 | 30/01/2016 | 12:00:00 a.m. | 236076 | 208360 | 7.4707 | 0 | 91.265 | 13.2 | 0 | 5.61
685 | 29/01/2016 | 11:00:00 p.m. | 236076 | 208360 | 7.5069 | 0 | 91.132 | 13.5 | 0 | 5.62
684 | 29/01/2016 | 10:00:00 p.m. | 236076 | 208360 | 7.4605 | 0 | 91.105 | 13.8 | 0 | 5.62
683 | 29/01/2016 | 9:00:00 p.m. | 236076 | 208360 | 7.4947 | 0 | 91.083 | 14.4 | 0 | 5.61
682 | 29/01/2016 | 8:00:00 p.m. | 236076 | 208360 | 7.4714 | 0 | 91.039 | 16.2 | 0 | 5.63
681 | 29/01/2016 | 7:00:00 p.m. | 236076 | 208360 | 7.2984 | 0 | 91.132 | 18.4 | 0.8 | 5.63
680 | 29/01/2016 | 6:00:00 p.m. | 236076 | 208360 | 7.3454 | 0 | 90.8 | 20.6 | 90.2 | 5.64
679 | 29/01/2016 | 5:00:00 p.m. | 236070 | 208359 | 7.031 | 0 | 87.102 | 21.7 | 91.8 | 5.64
678 | 29/01/2016 | 4:00:00 p.m. | 235981 | 208346 | 6.9274 | 0 | 87.697 | 23.4 | 89.6 | 5.65
677 | 29/01/2016 | 3:00:00 p.m. | 235906 | 208335 | 6.9475 | 0 | 87.231 | 23.1 | 89.4 | 5.66
676 | 29/01/2016 | 2:00:00 p.m. | 235825 | 208324 | 6.92 | 0 | 86.798 | 22.1 | 90 | 5.65
675 | 29/01/2016 | 1:00:00 p.m. | 235738 | 208311 | 6.9408 | 0 | 86.815 | 21 | 90.8 | 5.64
674 | 29/01/2016 | 12:00:00 p.m. | 235650 | 208298 | 7.0252 | 0 | 86.844 | 20.3 | 89.5 | 5.63
673 | 29/01/2016 | 11:00:00 a.m. | 235563 | 208286 | 7.0428 | 0 | 87.232 | 19.5 | 88.4 | 5.62
672 | 29/01/2016 | 10:00:00 a.m. | 235480 | 208274 | 7.084 | 0 | 87.531 | 18.3 | 87.8 | 5.61
671 | 29/01/2016 | 9:00:00 a.m. | 235395 | 208262 | 7.1555 | 0 | 87.841 | 17.2 | 87.1 | 5.61
670 | 29/01/2016 | 8:00:00 a.m. | 235313 | 208251 | 7.1563 | 0 | 89.12 | 10 | 95.7 | 5.6
669 | 29/01/2016 | 7:00:00 a.m. | 235262 | 208244 | 7.7638 | 0 | 91.3 | 4.7 | 0 | 5.6
668 | 29/01/2016 | 6:00:00 a.m. | 235262 | 208244 | 7.7546 | 0 | 91.333 | 5.2 | 0 | 5.6
667 | 29/01/2016 | 5:00:00 a.m. | 235262 | 208244 | 7.7221 | 0 | 91.561 | 5.7 | 0 | 5.61
666 | 29/01/2016 | 4:00:00 a.m. | 235262 | 208244 | 7.761 | 0 | 91.225 | 6 | 0 | 5.61
665 | 29/01/2016 | 3:00:00 a.m. | 235262 | 208244 | 7.7536 | 0 | 91.129 | 6.4 | 0 | 5.6
664 | 29/01/2016 | 2:00:00 a.m. | 235262 | 208244 | 7.7009 | 0 | 91.352 | 7.1 | 0 | 5.62
663 | 29/01/2016 | 1:00:00 a.m. | 235262 | 208244 | 7.6703 | 0 | 91.155 | 7.9 | 0 | 5.61
662 | 29/01/2016 | 12:00:00 a.m. | 235262 | 208244 | 7.6192 | 0 | 91.068 | 8.7 | 0 | 5.61
661 | 28/01/2016 | 11:00:00 p.m. | 235262 | 208244 | 7.5865 | 0 | 91.187 | 9.7 | 0 | 5.61
660 | 28/01/2016 | 10:00:00 p.m. | 235262 | 208244 | 7.6032 | 0 | 90.985 | 11 | 0 | 5.62
659 | 28/01/2016 | 9:00:00 p.m. | 235262 | 208244 | 7.5395 | 0 | 91.097 | 12.8 | 0 | 5.62
658 | 28/01/2016 | 8:00:00 p.m. | 235262 | 208244 | 7.4607 | 0 | 91.187 | 15.1 | 0 | 5.62
657 | 28/01/2016 | 7:00:00 p.m. | 235262 | 208244 | 7.3066 | 0 | 90.803 | 18.1 | 0.8 | 5.63
656 | 28/01/2016 | 6:00:00 p.m. | 235262 | 208244 | 7.2345 | 0 | 90.751 | 20.1 | 82 | 5.64
655 | 28/01/2016 | 5:00:00 p.m. | 235256 | 208243 | 7.059 | 0 | 87.846 | 21 | 84.5 | 5.64
654 | 28/01/2016 | 4:00:00 p.m. | 235176 | 208232 | 7.0536 | 0 | 87.598 | 21.6 | 86.3 | 5.64
653 | 28/01/2016 | 3:00:00 p.m. | 235096 | 208220 | 6.9259 | 0 | 87.753 | 22.3 | 84.9 | 5.65
652 | 28/01/2016 | 2:00:00 p.m. | 235019 | 208209 | 7.0027 | 0 | 87.487 | 22.1 | 84.1 | 5.65
651 | 28/01/2016 | 1:00:00 p.m. | 234942 | 208198 | 6.8996 | 0 | 87.157 | 21.9 | 86.2 | 5.63
650 | 28/01/2016 | 12:00:00 p.m. | 234862 | 208187 | 6.9972 | 0 | 87.402 | 20.5 | 85.9 | 5.63
649 | 28/01/2016 | 11:00:00 a.m. | 234782 | 208175 | 7.0697 | 0 | 87.063 | 19 | 89.3 | 5.63
648 | 28/01/2016 | 10:00:00 a.m. | 234694 | 208163 | 7.058 | 0 | 86.998 | 18 | 89.1 | 5.61
647 | 28/01/2016 | 9:00:00 a.m. | 234607 | 208150 | 7.1142 | 0 | 87.193 | 17.3 | 89.5 | 5.61
646 | 28/01/2016 | 8:00:00 a.m. | 234520 | 208138 | 7.1671 | 0 | 89.144 | 8.9 | 94.4 | 5.6
645 | 28/01/2016 | 7:00:00 a.m. | 234471 | 208131 | 7.7925 | 0 | 91.424 | 3.1 | 0 | 5.6
644 | 28/01/2016 | 6:00:00 a.m. | 234471 | 208131 | 7.8349 | 0 | 91.367 | 3.8 | 0 | 5.6
643 | 28/01/2016 | 5:00:00 a.m. | 234471 | 208131 | 7.7677 | 0 | 91.452 | 5.1 | 0 | 5.61
642 | 28/01/2016 | 4:00:00 a.m. | 234471 | 208131 | 7.7477 | 0 | 91.42 | 6.2 | 0 | 5.61
641 | 28/01/2016 | 3:00:00 a.m. | 234471 | 208131 | 7.6919 | 0 | 91.254 | 7.2 | 0 | 5.61
640 | 28/01/2016 | 2:00:00 a.m. | 234471 | 208131 | 7.655 | 0 | 91.244 | 8.5 | 0 | 5.61
639 | 28/01/2016 | 1:00:00 a.m. | 234471 | 208131 | 7.5921 | 0 | 91.161 | 9.6 | 0 | 5.62
638 | 28/01/2016 | 12:00:00 a.m. | 234471 | 208131 | 7.6023 | 0 | 91.316 | 10.6 | 0 | 5.62
637 | 27/01/2016 | 11:00:00 p.m. | 234471 | 208131 | 7.5592 | 0 | 91.206 | 12.1 | 0 | 5.63
636 | 27/01/2016 | 10:00:00 p.m. | 234471 | 208131 | 7.4998 | 0 | 91.156 | 13.7 | 0 | 5.62
635 | 27/01/2016 | 9:00:00 p.m. | 234471 | 208131 | 7.5037 | 0 | 91.23 | 14.7 | 0 | 5.62
634 | 27/01/2016 | 8:00:00 p.m. | 234471 | 208131 | 7.449 | 0 | 91.126 | 16.1 | 0 | 5.62
633 | 27/01/2016 | 7:00:00 p.m. | 234471 | 208131 | 7.3797 | 0 | 91.169 | 18.5 | 0.8 | 5.63
632 | 27/01/2016 | 6:00:00 p.m. | 234471 | 208131 | 7.3435 | 0 | 90.635 | 21.3 | 84.4 | 5.64
631 | 27/01/2016 | 5:00:00 p.m. | 234462 | 208130 | 6.9968 | 0 | 87.345 | 22.4 | 84.8 | 5.65
630 | 27/01/2016 | 4:00:00 p.m. | 234381 | 208119 | 6.9997 | 0 | 87.658 | 23.3 | 84.6 | 5.66
629 | 27/01/2016 | 3:00:00 p.m. | 234306 | 208108 | 6.9878 | 0 | 87.693 | 23.5 | 81.8 | 5.65
628 | 27/01/2016 | 2:00:00 p.m. | 234232 | 208097 | 6.9572 | 0 | 87.226 | 23.3 | 88.8 | 5.65
627 | 27/01/2016 | 1:00:00 p.m. | 234151 | 208086 | 6.9059 | 0 | 88.658 | 24.7 | 90.5 | 5.64
626 | 27/01/2016 | 12:00:00 p.m. | 234110 | 208080 | 6.9622 | 0 | 86.591 | 21.7 | 88.5 | 5.64
625 | 27/01/2016 | 11:00:00 a.m. | 234022 | 208067 | 6.9483 | 0 | 86.642 | 20.8 | 89 | 5.63
624 | 27/01/2016 | 10:00:00 a.m. | 233934 | 208054 | 7.0725 | 0 | 87.308 | 19.4 | 89.5 | 5.61
623 | 27/01/2016 | 9:00:00 a.m. | 233855 | 208043 | 7.0616 | 0 | 87.766 | 13.6 | 95.1 | 5.6
622 | 27/01/2016 | 8:00:00 a.m. | 233779 | 208032 | 7.7554 | 0 | 91.401 | 4.4 | 0 | 5.61
621 | 27/01/2016 | 7:00:00 a.m. | 233779 | 208032 | 7.7675 | 0 | 91.449 | 5.2 | 0 | 5.6
620 | 27/01/2016 | 6:00:00 a.m. | 233779 | 208032 | 7.6985 | 0 | 90.94 | 6.3 | 0 | 5.61
619 | 27/01/2016 | 5:00:00 a.m. | 233779 | 208032 | 7.6656 | 0 | 91.16 | 6.9 | 0 | 5.62
618 | 27/01/2016 | 4:00:00 a.m. | 233779 | 208032 | 7.6512 | 0 | 90.932 | 7.2 | 0 | 5.61
617 | 27/01/2016 | 3:00:00 a.m. | 233779 | 208032 | 7.6306 | 0 | 90.877 | 7.7 | 0 | 5.62
616 | 27/01/2016 | 2:00:00 a.m. | 233779 | 208032 | 7.6371 | 0 | 91.031 | 8.7 | 0 | 5.61
615 | 27/01/2016 | 1:00:00 a.m. | 233779 | 208032 | 7.6131 | 0 | 90.806 | 10 | 0 | 5.61
614 | 27/01/2016 | 12:00:00 a.m. | 233779 | 208032 | 7.5356 | 0 | 90.685 | 11.8 | 0 | 5.61
613 | 26/01/2016 | 11:00:00 p.m. | 233779 | 208032 | 7.4692 | 0 | 90.854 | 12.9 | 0 | 5.61
612 | 26/01/2016 | 10:00:00 p.m. | 233779 | 208032 | 7.4666 | 0 | 90.854 | 14.4 | 0 | 5.63
611 | 26/01/2016 | 9:00:00 p.m. | 233779 | 208032 | 7.4082 | 0 | 90.821 | 15.4 | 0 | 5.62
610 | 26/01/2016 | 8:00:00 p.m. | 233779 | 208032 | 7.4067 | 0 | 90.875 | 16.6 | 0 | 5.63
609 | 26/01/2016 | 7:00:00 p.m. | 233779 | 208032 | 7.3621 | 0 | 90.868 | 19.6 | 0.8 | 5.63
608 | 26/01/2016 | 6:00:00 p.m. | 233779 | 208032 | 7.2347 | 0 | 90.42 | 22.9 | 89.4 | 5.65
607 | 26/01/2016 | 5:00:00 p.m. | 233770 | 208031 | 6.9424 | 0 | 87.116 | 22.7 | 89.2 | 5.65
606 | 26/01/2016 | 4:00:00 p.m. | 233684 | 208019 | 6.9473 | 0 | 86.895 | 23 | 88 | 5.64
605 | 26/01/2016 | 3:00:00 p.m. | 233598 | 208006 | 6.9787 | 0 | 86.801 | 22.8 | 88.6 | 5.65
604 | 26/01/2016 | 2:00:00 p.m. | 233510 | 207994 | 6.9159 | 0 | 86.425 | 23 | 88.4 | 5.65
603 | 26/01/2016 | 1:00:00 p.m. | 233423 | 207981 | 6.8896 | 0 | 86.566 | 22.8 | 88.5 | 5.65
602 | 26/01/2016 | 12:00:00 p.m. | 233336 | 207969 | 6.9642 | 0 | 86.815 | 22 | 88.9 | 5.65
601 | 26/01/2016 | 11:00:00 a.m. | 233249 | 207956 | 6.9797 | 0 | 87.259 | 20.3 | 89.6 | 5.63
600 | 26/01/2016 | 10:00:00 a.m. | 233169 | 207945 | 7.1776 | 0 | 87.019 | 19.5 | 89.3 | 5.62
599 | 26/01/2016 | 9:00:00 a.m. | 233081 | 207932 | 7.0349 | 0 | 86.885 | 18.3 | 92 | 5.62
598 | 26/01/2016 | 8:00:00 a.m. | 232992 | 207919 | 7.1066 | 0 | 90.496 | 12.4 | 94.9 | 5.61
597 | 26/01/2016 | 7:00:00 a.m. | 232984 | 207918 | 7.541 | 0 | 91.275 | 12.3 | 0 | 5.62
596 | 26/01/2016 | 6:00:00 a.m. | 232984 | 207918 | 7.5155 | 0 | 91.276 | 12.6 | 0 | 5.62
595 | 26/01/2016 | 5:00:00 a.m. | 232984 | 207918 | 7.5103 | 0 | 91.121 | 12.7 | 0 | 5.62
594 | 26/01/2016 | 4:00:00 a.m. | 232984 | 207918 | 7.5058 | 0 | 91.294 | 12.6 | 0 | 5.61
593 | 26/01/2016 | 3:00:00 a.m. | 232984 | 207918 | 7.5263 | 0 | 91.378 | 13 | 0 | 5.62
592 | 26/01/2016 | 2:00:00 a.m. | 232984 | 207918 | 7.5171 | 0 | 91.244 | 13.5 | 0 | 5.62
591 | 26/01/2016 | 1:00:00 a.m. | 232984 | 207918 | 7.5085 | 0 | 91.147 | 13.9 | 0 | 5.62
590 | 26/01/2016 | 12:00:00 a.m. | 232984 | 207918 | 7.4646 | 0 | 91.184 | 14.6 | 0 | 5.62
589 | 25/01/2016 | 11:00:00 p.m. | 232984 | 207918 | 7.4415 | 0 | 91.198 | 15.5 | 0 | 5.63
588 | 25/01/2016 | 10:00:00 p.m. | 232984 | 207918 | 7.4572 | 0 | 91.248 | 16.4 | 0 | 5.63
587 | 25/01/2016 | 9:00:00 p.m. | 232984 | 207918 | 7.4136 | 0 | 91.271 | 17.3 | 0 | 5.62
586 | 25/01/2016 | 8:00:00 p.m. | 232984 | 207918 | 7.4113 | 0 | 91.085 | 18 | 0 | 5.63
585 | 25/01/2016 | 7:00:00 p.m. | 232984 | 207918 | 7.3468 | 0 | 90.95 | 19.4 | 0.8 | 5.64
584 | 25/01/2016 | 6:00:00 p.m. | 232984 | 207918 | 7.2717 | 0 | 90.61 | 20.9 | 85.7 | 5.63
583 | 25/01/2016 | 5:00:00 p.m. | 232978 | 207917 | 6.9925 | 0 | 87.171 | 21.9 | 85.8 | 5.64
582 | 25/01/2016 | 4:00:00 p.m. | 232893 | 207905 | 6.9413 | 0 | 87.073 | 22.6 | 85.3 | 5.64
581 | 25/01/2016 | 3:00:00 p.m. | 232809 | 207893 | 6.9756 | 0 | 87.208 | 23.2 | 84.5 | 5.65
580 | 25/01/2016 | 2:00:00 p.m. | 232726 | 207881 | 6.9774 | 0 | 87.195 | 22.9 | 85 | 5.65
579 | 25/01/2016 | 1:00:00 p.m. | 232643 | 207869 | 6.9497 | 0 | 87.076 | 23.2 | 85 | 5.66
578 | 25/01/2016 | 12:00:00 p.m. | 232561 | 207858 | 6.9585 | 0 | 87.501 | 22.3 | 84.5 | 5.65
577 | 25/01/2016 | 11:00:00 a.m. | 232482 | 207846 | 6.9845 | 0 | 87.723 | 20.5 | 81.5 | 5.64
576 | 25/01/2016 | 10:00:00 a.m. | 232406 | 207836 | 7.0971 | 0 | 87.939 | 18.7 | 84.8 | 5.62
575 | 25/01/2016 | 9:00:00 a.m. | 232327 | 207824 | 7.1675 | 0 | 88.15 | 17 | 86.9 | 5.61
574 | 25/01/2016 | 8:00:00 a.m. | 232249 | 207814 | 7.1808 | 0 | 88.59 | 10 | 94.6 | 5.6
573 | 25/01/2016 | 7:00:00 a.m. | 232190 | 207805 | 7.8268 | 0 | 91.47 | 2.6 | 0 | 5.61
572 | 25/01/2016 | 6:00:00 a.m. | 232190 | 207805 | 7.7959 | 0 | 91.456 | 3.5 | 0 | 5.61
571 | 25/01/2016 | 5:00:00 a.m. | 232190 | 207805 | 7.791 | 0 | 91.34 | 4.4 | 0 | 5.6
570 | 25/01/2016 | 4:00:00 a.m. | 232190 | 207805 | 7.7436 | 0 | 91.409 | 5.4 | 0 | 5.61
569 | 25/01/2016 | 3:00:00 a.m. | 232190 | 207805 | 7.7453 | 0 | 91.325 | 6.5 | 0 | 5.61
568 | 25/01/2016 | 2:00:00 a.m. | 232190 | 207805 | 7.6957 | 0 | 91.385 | 7.7 | 0 | 5.61
567 | 25/01/2016 | 1:00:00 a.m. | 232190 | 207805 | 7.6465 | 0 | 91.596 | 8.6 | 0 | 5.61
566 | 25/01/2016 | 12:00:00 a.m. | 232190 | 207805 | 7.6384 | 0 | 91.462 | 9.5 | 0 | 5.62
565 | 24/01/2016 | 11:00:00 p.m. | 232190 | 207805 | 7.5874 | 0 | 91.382 | 11.5 | 0 | 5.62
564 | 24/01/2016 | 10:00:00 p.m. | 232190 | 207805 | 7.5564 | 0 | 91.273 | 13.8 | 0 | 5.62
563 | 24/01/2016 | 9:00:00 p.m. | 232190 | 207805 | 7.4797 | 0 | 91.263 | 15.9 | 0 | 5.63
562 | 24/01/2016 | 8:00:00 p.m. | 232190 | 207805 | 7.4243 | 0 | 91.524 | 17.7 | 0 | 5.63
561 | 24/01/2016 | 7:00:00 p.m. | 232190 | 207805 | 7.3771 | 0 | 91.68 | 20.1 | 0 | 5.63
560 | 24/01/2016 | 6:00:00 p.m. | 232190 | 207805 | 7.284 | 0 | 91.493 | 24.5 | 0 | 5.64
559 | 24/01/2016 | 5:00:00 p.m. | 232190 | 207805 | 7.1385 | 0 | 91.278 | 29.2 | 0 | 5.66
558 | 24/01/2016 | 4:00:00 p.m. | 232190 | 207805 | 7.0597 | 0 | 91.284 | 32.7 | 0 | 5.66
557 | 24/01/2016 | 3:00:00 p.m. | 232190 | 207805 | 6.9649 | 0 | 91.254 | 33.5 | 0 | 5.66
556 | 24/01/2016 | 2:00:00 p.m. | 232190 | 207805 | 7.0246 | 0 | 91.223 | 32.3 | 0 | 5.66
555 | 24/01/2016 | 1:00:00 p.m. | 232190 | 207805 | 7.0165 | 0 | 91.132 | 30.2 | 0 | 5.65
554 | 24/01/2016 | 12:00:00 p.m. | 232190 | 207805 | 7.0529 | 0 | 91.221 | 24.1 | 0 | 5.65
553 | 24/01/2016 | 11:00:00 a.m. | 232190 | 207805 | 7.3904 | 0 | 91.503 | 16.5 | 0 | 5.63
552 | 24/01/2016 | 10:00:00 a.m. | 232190 | 207805 | 7.5477 | 0 | 91.602 | 8.6 | 0 | 5.62
551 | 24/01/2016 | 9:00:00 a.m. | 232190 | 207805 | 7.7743 | 0 | 91.836 | 3.2 | 0 | 5.61
550 | 24/01/2016 | 8:00:00 a.m. | 232190 | 207805 | 7.9582 | 0 | 92.077 | 2.4 | 0 | 5.6
549 | 24/01/2016 | 7:00:00 a.m. | 232190 | 207805 | 7.8838 | 0 | 91.994 | 2.6 | 0 | 5.6
548 | 24/01/2016 | 6:00:00 a.m. | 232190 | 207805 | 7.8593 | 0 | 92.01 | 3.2 | 0 | 5.6
547 | 24/01/2016 | 5:00:00 a.m. | 232190 | 207805 | 7.8523 | 0 | 92.008 | 4.1 | 0 | 5.6
546 | 24/01/2016 | 4:00:00 a.m. | 232190 | 207805 | 7.7624 | 0 | 92.096 | 5 | 0 | 5.61
545 | 24/01/2016 | 3:00:00 a.m. | 232190 | 207805 | 7.7919 | 0 | 91.996 | 5.7 | 0 | 5.61
544 | 24/01/2016 | 2:00:00 a.m. | 232190 | 207805 | 7.6744 | 0 | 92.003 | 6.4 | 0 | 5.61
543 | 24/01/2016 | 1:00:00 a.m. | 232190 | 207805 | 7.7506 | 0 | 91.852 | 7.4 | 0 | 5.61
542 | 24/01/2016 | 12:00:00 a.m. | 232190 | 207805 | 7.7036 | 0 | 92.03 | 8.6 | 0 | 5.62
541 | 23/01/2016 | 11:00:00 p.m. | 232190 | 207805 | 7.6723 | 0 | 91.788 | 10.1 | 0 | 5.62
540 | 23/01/2016 | 10:00:00 p.m. | 232190 | 207805 | 7.6169 | 0 | 91.708 | 12.2 | 0 | 5.62
539 | 23/01/2016 | 9:00:00 p.m. | 232190 | 207805 | 7.5367 | 0 | 91.727 | 15.2 | 0 | 5.63
538 | 23/01/2016 | 8:00:00 p.m. | 232190 | 207805 | 7.3658 | 0 | 91.638 | 19.2 | 0 | 5.65
537 | 23/01/2016 | 7:00:00 p.m. | 232190 | 207805 | 7.3177 | 0 | 91.538 | 25.5 | 0 | 5.65
536 | 23/01/2016 | 6:00:00 p.m. | 232190 | 207805 | 7.117 | 0 | 91.298 | 32.6 | 0 | 5.66
535 | 23/01/2016 | 5:00:00 p.m. | 232190 | 207805 | 6.9207 | 0 | 90.939 | 36.4 | 0 | 5.66
534 | 23/01/2016 | 4:00:00 p.m. | 232190 | 207805 | 6.882 | 0 | 90.811 | 37 | 0.8 | 5.66
533 | 23/01/2016 | 3:00:00 p.m. | 232190 | 207805 | 6.9211 | 0 | 90.591 | 31.2 | 88 | 5.67
532 | 23/01/2016 | 2:00:00 p.m. | 232182 | 207804 | 6.9632 | 0 | 87.519 | 24.2 | 85.4 | 5.67
531 | 23/01/2016 | 1:00:00 p.m. | 232101 | 207793 | 6.9344 | 0 | 87.669 | 23.4 | 85 | 5.66
530 | 23/01/2016 | 12:00:00 p.m. | 232023 | 207781 | 7.0062 | 0 | 87.133 | 22.2 | 87.7 | 5.65
529 | 23/01/2016 | 11:00:00 a.m. | 231938 | 207769 | 7.0143 | 0 | 87.345 | 20.8 | 86.7 | 5.64
528 | 23/01/2016 | 10:00:00 a.m. | 231852 | 207757 | 7.0222 | 0 | 87.381 | 19 | 87.8 | 5.62
527 | 23/01/2016 | 9:00:00 a.m. | 231766 | 207745 | 7.1091 | 0 | 87.734 | 16.5 | 89.4 | 5.61
526 | 23/01/2016 | 8:00:00 a.m. | 231678 | 207733 | 7.2189 | 0 | 89.904 | 5.2 | 93.2 | 5.6
525 | 23/01/2016 | 7:00:00 a.m. | 231640 | 207727 | 7.9066 | 0 | 91.674 | 0.8 | 0 | 5.6
524 | 23/01/2016 | 6:00:00 a.m. | 231640 | 207727 | 7.9005 | 0 | 91.694 | 1.6 | 0 | 5.6
523 | 23/01/2016 | 5:00:00 a.m. | 231640 | 207727 | 7.8021 | 0 | 91.685 | 2.5 | 0 | 5.6
522 | 23/01/2016 | 4:00:00 a.m. | 231640 | 207727 | 7.8523 | 0 | 91.57 | 3.5 | 0 | 5.6
521 | 23/01/2016 | 3:00:00 a.m. | 231640 | 207727 | 7.7937 | 0 | 91.555 | 4.6 | 0 | 5.61
520 | 23/01/2016 | 2:00:00 a.m. | 231640 | 207727 | 7.7959 | 0 | 91.481 | 5.8 | 0 | 5.61
519 | 23/01/2016 | 1:00:00 a.m. | 231640 | 207727 | 7.6559 | 0 | 91.537 | 7.3 | 0 | 5.61
518 | 23/01/2016 | 12:00:00 a.m. | 231640 | 207727 | 7.6968 | 0 | 91.543 | 9 | 0 | 5.61
517 | 22/01/2016 | 11:00:00 p.m. | 231640 | 207727 | 7.5576 | 0 | 91.521 | 10.8 | 0 | 5.62
516 | 22/01/2016 | 10:00:00 p.m. | 231640 | 207727 | 7.5827 | 0 | 91.614 | 12.7 | 0 | 5.63
515 | 22/01/2016 | 9:00:00 p.m. | 231640 | 207727 | 7.5125 | 0 | 91.406 | 15.3 | 0 | 5.62
514 | 22/01/2016 | 8:00:00 p.m. | 231640 | 207727 | 7.4116 | 0 | 91.422 | 18.5 | 0 | 5.63
513 | 22/01/2016 | 7:00:00 p.m. | 231640 | 207727 | 7.3246 | 0 | 91.243 | 22.2 | 0.8 | 5.64
512 | 22/01/2016 | 6:00:00 p.m. | 231640 | 207727 | 7.1983 | 0 | 90.929 | 24.3 | 84.8 | 5.65
511 | 22/01/2016 | 5:00:00 p.m. | 231633 | 207726 | 6.9544 | 0 | 87.567 | 23.5 | 85.6 | 5.66
510 | 22/01/2016 | 4:00:00 p.m. | 231550 | 207714 | 6.9506 | 0 | 87.323 | 24.4 | 86.4 | 5.66
509 | 22/01/2016 | 3:00:00 p.m. | 231466 | 207702 | 6.9281 | 0 | 88.174 | 25.3 | 86.8 | 5.67
508 | 22/01/2016 | 2:00:00 p.m. | 231396 | 207692 | 6.8908 | 0 | 88.987 | 31.3 | 88.8 | 5.66
507 | 22/01/2016 | 1:00:00 p.m. | 231358 | 207687 | 6.9235 | 0 | 90.656 | 32.3 | 0.8 | 5.67
506 | 22/01/2016 | 12:00:00 p.m. | 231358 | 207687 | 7.064 | 0 | 90.395 | 25.9 | 88.2 | 5.67
505 | 22/01/2016 | 11:00:00 a.m. | 231348 | 207685 | 7.028 | 0 | 87.052 | 20.7 | 88.7 | 5.63
504 | 22/01/2016 | 10:00:00 a.m. | 231261 | 207673 | 7.039 | 0 | 87.325 | 19 | 89.2 | 5.62
503 | 22/01/2016 | 9:00:00 a.m. | 231173 | 207660 | 7.12 | 0 | 87.347 | 16.2 | 90.8 | 5.6
502 | 22/01/2016 | 8:00:00 a.m. | 231084 | 207648 | 7.2289 | 0 | 90.472 | 2.8 | 93.3 | 5.6
501 | 22/01/2016 | 7:00:00 a.m. | 231064 | 207645 | 7.8999 | 0 | 91.634 | 1.2 | 0 | 5.61
500 | 22/01/2016 | 6:00:00 a.m. | 231064 | 207645 | 7.876 | 0 | 91.576 | 2 | 0 | 5.62
499 | 22/01/2016 | 5:00:00 a.m. | 231064 | 207645 | 7.879 | 0 | 91.614 | 2.8 | 0 | 5.61
498 | 22/01/2016 | 4:00:00 a.m. | 231064 | 207645 | 7.8721 | 0 | 91.522 | 3.4 | 0 | 5.61
497 | 22/01/2016 | 3:00:00 a.m. | 231064 | 207645 | 7.8155 | 0 | 91.537 | 4.3 | 0 | 5.6
496 | 22/01/2016 | 2:00:00 a.m. | 231064 | 207645 | 7.776 | 0 | 91.45 | 5.2 | 0 | 5.61
495 | 22/01/2016 | 1:00:00 a.m. | 231064 | 207645 | 7.6899 | 0 | 91.394 | 6.2 | 0 | 5.61
494 | 22/01/2016 | 12:00:00 a.m. | 231064 | 207645 | 7.6817 | 0 | 91.225 | 7.6 | 0 | 5.61
493 | 21/01/2016 | 11:00:00 p.m. | 231064 | 207645 | 7.6715 | 0 | 91.51 | 9.7 | 0 | 5.62
492 | 21/01/2016 | 10:00:00 p.m. | 231064 | 207645 | 7.6192 | 0 | 91.434 | 12.2 | 0 | 5.63
491 | 21/01/2016 | 9:00:00 p.m. | 231064 | 207645 | 7.5387 | 0 | 91.322 | 14.9 | 0 | 5.62
490 | 21/01/2016 | 8:00:00 p.m. | 231064 | 207645 | 7.4105 | 0 | 91.299 | 18.5 | 0 | 5.62
489 | 21/01/2016 | 7:00:00 p.m. | 231064 | 207645 | 7.3094 | 0 | 91.144 | 22.6 | 0.8 | 5.66
488 | 21/01/2016 | 6:00:00 p.m. | 231064 | 207645 | 7.1941 | 0 | 90.858 | 24.9 | 81.2 | 5.66
487 | 21/01/2016 | 5:00:00 p.m. | 231058 | 207644 | 6.9818 | 0 | 87.572 | 23.7 | 84.3 | 5.65
486 | 21/01/2016 | 4:00:00 p.m. | 230977 | 207633 | 6.9491 | 0 | 87.583 | 24.3 | 82.7 | 5.66
485 | 21/01/2016 | 3:00:00 p.m. | 230897 | 207621 | 6.9883 | 0 | 87.572 | 24.3 | 83.8 | 5.67
484 | 21/01/2016 | 2:00:00 p.m. | 230815 | 207609 | 6.9727 | 0 | 87.507 | 24 | 83.7 | 5.67
483 | 21/01/2016 | 1:00:00 p.m. | 230735 | 207598 | 6.9072 | 0 | 87.485 | 23.3 | 84.2 | 5.65
482 | 21/01/2016 | 12:00:00 p.m. | 230655 | 207586 | 7.0267 | 0 | 87.538 | 22.3 | 86.2 | 5.64
481 | 21/01/2016 | 11:00:00 a.m. | 230573 | 207575 | 7.1055 | 0 | 88.686 | 21.1 | 87 | 5.64
480 | 21/01/2016 | 10:00:00 a.m. | 230507 | 207565 | 7.1492 | 0 | 88.381 | 18.9 | 86.1 | 5.63
479 | 21/01/2016 | 9:00:00 a.m. | 230433 | 207555 | 7.2108 | 0 | 89.115 | 9.6 | 92.5 | 5.61
478 | 21/01/2016 | 8:00:00 a.m. | 230382 | 207548 | 7.837 | 0 | 91.42 | 2.2 | 0 | 5.6
477 | 21/01/2016 | 7:00:00 a.m. | 230382 | 207548 | 7.8014 | 0 | 91.592 | 2.7 | 0 | 5.6
476 | 21/01/2016 | 6:00:00 a.m. | 230382 | 207548 | 7.85 | 0 | 91.604 | 3.4 | 0 | 5.61
475 | 21/01/2016 | 5:00:00 a.m. | 230382 | 207548 | 7.7371 | 0 | 91.54 | 4.2 | 0 | 5.6
474 | 21/01/2016 | 4:00:00 a.m. | 230382 | 207548 | 7.7789 | 0 | 91.482 | 5.2 | 0 | 5.62
473 | 21/01/2016 | 3:00:00 a.m. | 230382 | 207548 | 7.7674 | 0 | 91.537 | 6.3 | 0 | 5.61
472 | 21/01/2016 | 2:00:00 a.m. | 230382 | 207548 | 7.7254 | 0 | 91.351 | 7.7 | 0 | 5.6
471 | 21/01/2016 | 1:00:00 a.m. | 230382 | 207548 | 7.6407 | 0 | 91.299 | 9.3 | 0 | 5.62
470 | 21/01/2016 | 12:00:00 a.m. | 230382 | 207548 | 7.5998 | 0 | 91.274 | 10.8 | 0 | 5.63
469 | 20/01/2016 | 11:00:00 p.m. | 230382 | 207548 | 7.5686 | 0 | 91.297 | 12.3 | 0 | 5.62
468 | 20/01/2016 | 10:00:00 p.m. | 230382 | 207548 | 7.5266 | 0 | 91.388 | 14 | 0 | 5.62
467 | 20/01/2016 | 9:00:00 p.m. | 230382 | 207548 | 7.3872 | 0 | 91.379 | 15.9 | 0 | 5.64
466 | 20/01/2016 | 8:00:00 p.m. | 230382 | 207548 | 7.4337 | 0 | 91.31 | 17.4 | 0 | 5.63
465 | 20/01/2016 | 7:00:00 p.m. | 230382 | 207548 | 7.3627 | 0 | 91.287 | 20.4 | 0.8 | 5.64
464 | 20/01/2016 | 6:00:00 p.m. | 230382 | 207548 | 7.2692 | 0 | 90.826 | 23 | 88.6 | 5.64
463 | 20/01/2016 | 5:00:00 p.m. | 230375 | 207547 | 6.9931 | 0 | 87.164 | 22.8 | 88.3 | 5.65
462 | 20/01/2016 | 4:00:00 p.m. | 230288 | 207534 | 6.8854 | 0 | 86.911 | 23.6 | 87.8 | 5.65
461 | 20/01/2016 | 3:00:00 p.m. | 230201 | 207522 | 6.9409 | 0 | 86.992 | 23.8 | 86.1 | 5.67
460 | 20/01/2016 | 2:00:00 p.m. | 230116 | 207510 | 6.9421 | 0 | 87.362 | 23.3 | 85.5 | 5.66
459 | 20/01/2016 | 1:00:00 p.m. | 230033 | 207498 | 6.9683 | 0 | 87.691 | 22.3 | 84.9 | 5.65
458 | 20/01/2016 | 12:00:00 p.m. | 229952 | 207486 | 7.0363 | 0 | 87.79 | 21.3 | 86.9 | 5.64
457 | 20/01/2016 | 11:00:00 a.m. | 229869 | 207474 | 7.0255 | 0 | 87.584 | 19.9 | 87.1 | 5.63
456 | 20/01/2016 | 10:00:00 a.m. | 229785 | 207462 | 7.119 | 0 | 88.689 | 18.3 | 87.5 | 5.62
455 | 20/01/2016 | 9:00:00 a.m. | 229713 | 207453 | 7.0956 | 0 | 87.45 | 16 | 92.3 | 5.61
454 | 20/01/2016 | 8:00:00 a.m. | 229629 | 207441 | 7.7216 | 0 | 91.4 | 5.5 | 0 | 5.61
453 | 20/01/2016 | 7:00:00 a.m. | 229629 | 207441 | 7.7573 | 0 | 91.625 | 5.7 | 0 | 5.61
452 | 20/01/2016 | 6:00:00 a.m. | 229629 | 207441 | 7.7383 | 0 | 91.786 | 6 | 0 | 5.62
451 | 20/01/2016 | 5:00:00 a.m. | 229629 | 207441 | 7.743 | 0 | 91.743 | 6.5 | 0 | 5.61
450 | 20/01/2016 | 4:00:00 a.m. | 229629 | 207441 | 7.735 | 0 | 91.722 | 7 | 0 | 5.62
449 | 20/01/2016 | 3:00:00 a.m. | 229629 | 207441 | 7.6344 | 0 | 91.578 | 7.4 | 0 | 5.6
448 | 20/01/2016 | 2:00:00 a.m. | 229629 | 207441 | 7.7018 | 0 | 91.56 | 7.8 | 0 | 5.62
447 | 20/01/2016 | 1:00:00 a.m. | 229629 | 207441 | 7.6837 | 0 | 91.581 | 8.5 | 0 | 5.61
446 | 20/01/2016 | 12:00:00 a.m. | 229629 | 207441 | 7.6598 | 0 | 91.657 | 9.4 | 0 | 5.62
445 | 19/01/2016 | 11:00:00 p.m. | 229629 | 207441 | 7.5529 | 0 | 91.733 | 10.7 | 0 | 5.61
444 | 19/01/2016 | 10:00:00 p.m. | 229629 | 207441 | 7.6003 | 0 | 91.646 | 12.2 | 0 | 5.62
443 | 19/01/2016 | 9:00:00 p.m. | 229629 | 207441 | 7.5488 | 0 | 91.497 | 14.1 | 0 | 5.62
442 | 19/01/2016 | 8:00:00 p.m. | 229629 | 207441 | 7.4961 | 0 | 91.66 | 16.2 | 0 | 5.63
441 | 19/01/2016 | 7:00:00 p.m. | 229629 | 207441 | 7.4361 | 0 | 91.547 | 18.6 | 0.8 | 5.64
440 | 19/01/2016 | 6:00:00 p.m. | 229629 | 207441 | 7.369 | 0 | 91.109 | 20.5 | 86.8 | 5.64
439 | 19/01/2016 | 5:00:00 p.m. | 229623 | 207440 | 7.0027 | 0 | 87.597 | 21.1 | 86.9 | 5.64
438 | 19/01/2016 | 4:00:00 p.m. | 229538 | 207428 | 7.0549 | 0 | 87.829 | 21.8 | 85.7 | 5.65
437 | 19/01/2016 | 3:00:00 p.m. | 229458 | 207416 | 7.0082 | 0 | 87.919 | 22.6 | 85 | 5.65
436 | 19/01/2016 | 2:00:00 p.m. | 229380 | 207405 | 6.9654 | 0 | 88.125 | 23 | 81.9 | 5.66
435 | 19/01/2016 | 1:00:00 p.m. | 229305 | 207395 | 7.0107 | 0 | 87.616 | 22.9 | 86.6 | 5.65
434 | 19/01/2016 | 12:00:00 p.m. | 229224 | 207383 | 7.0065 | 0 | 87.454 | 22.1 | 86.5 | 5.66
433 | 19/01/2016 | 11:00:00 a.m. | 229139 | 207371 | 7.0237 | 0 | 87.51 | 20.9 | 87.8 | 5.64
432 | 19/01/2016 | 10:00:00 a.m. | 229054 | 207359 | 7.0555 | 0 | 87.598 | 19.3 | 87.9 | 5.62
431 | 19/01/2016 | 9:00:00 a.m. | 228967 | 207347 | 7.1088 | 0 | 88.051 | 17.2 | 88.2 | 5.6
430 | 19/01/2016 | 8:00:00 a.m. | 228883 | 207335 | 7.2652 | 0 | 89.368 | 9.6 | 93.2 | 5.61
429 | 19/01/2016 | 7:00:00 a.m. | 228830 | 207328 | 7.8369 | 0 | 91.843 | 3.1 | 0 | 5.6
428 | 19/01/2016 | 6:00:00 a.m. | 228830 | 207328 | 7.8285 | 0 | 91.744 | 4.2 | 0 | 5.6
427 | 19/01/2016 | 5:00:00 a.m. | 228830 | 207328 | 7.7754 | 0 | 91.782 | 5.3 | 0 | 5.62
426 | 19/01/2016 | 4:00:00 a.m. | 228830 | 207328 | 7.7527 | 0 | 91.673 | 6.6 | 0 | 5.6
425 | 19/01/2016 | 3:00:00 a.m. | 228830 | 207328 | 7.721 | 0 | 91.739 | 7.9 | 0 | 5.61
424 | 19/01/2016 | 2:00:00 a.m. | 228830 | 207328 | 7.6747 | 0 | 91.693 | 9.5 | 0 | 5.62
423 | 19/01/2016 | 1:00:00 a.m. | 228830 | 207328 | 7.6273 | 0 | 91.599 | 11.1 | 0 | 5.62
422 | 19/01/2016 | 12:00:00 a.m. | 228830 | 207328 | 7.5717 | 0 | 91.663 | 13.1 | 0 | 5.63
421 | 18/01/2016 | 11:00:00 p.m. | 228830 | 207328 | 7.5055 | 0 | 91.633 | 14.7 | 0 | 5.62
420 | 18/01/2016 | 10:00:00 p.m. | 228830 | 207328 | 7.4897 | 0 | 91.553 | 15.8 | 0 | 5.62
419 | 18/01/2016 | 9:00:00 p.m. | 228830 | 207328 | 7.4504 | 0 | 91.649 | 16.5 | 0 | 5.62
418 | 18/01/2016 | 8:00:00 p.m. | 228830 | 207328 | 7.4297 | 0 | 91.669 | 17.5 | 0 | 5.63
417 | 18/01/2016 | 7:00:00 p.m. | 228830 | 207328 | 7.4029 | 0 | 91.606 | 19.4 | 0.8 | 5.63
416 | 18/01/2016 | 6:00:00 p.m. | 228830 | 207328 | 7.3074 | 0 | 91.156 | 21.5 | 85.3 | 5.64
415 | 18/01/2016 | 5:00:00 p.m. | 228822 | 207326 | 7.0201 | 0 | 87.463 | 24.8 | 90 | 5.66
414 | 18/01/2016 | 4:00:00 p.m. | 228736 | 207314 | 6.8373 | 0 | 90.927 | 37.4 | 0 | 5.66
413 | 18/01/2016 | 3:00:00 p.m. | 228736 | 207314 | 6.8528 | 0 | 90.826 | 36.8 | 0 | 5.67
412 | 18/01/2016 | 2:00:00 p.m. | 228736 | 207314 | 6.9179 | 0 | 90.96 | 33.7 | 0 | 5.66
411 | 18/01/2016 | 1:00:00 p.m. | 228736 | 207314 | 6.9716 | 0 | 90.918 | 32.7 | 0 | 5.66
410 | 18/01/2016 | 12:00:00 p.m. | 228736 | 207314 | 7.026 | 0 | 90.673 | 28.5 | 0 | 5.66
409 | 18/01/2016 | 11:00:00 a.m. | 228736 | 207314 | 7.1522 | 0 | 91.083 | 20.6 | 0 | 5.65
408 | 18/01/2016 | 10:00:00 a.m. | 228736 | 207314 | 7.4502 | 0 | 91.441 | 10.1 | 0 | 5.62
407 | 18/01/2016 | 9:00:00 a.m. | 228736 | 207314 | 7.7778 | 0 | 91.743 | 1.9 | 0 | 5.61
406 | 18/01/2016 | 8:00:00 a.m. | 228736 | 207314 | 7.8735 | 0 | 91.573 | 1.2 | 0 | 5.6
405 | 18/01/2016 | 7:00:00 a.m. | 228736 | 207314 | 7.9011 | 0 | 91.396 | 2.2 | 0 | 5.6
404 | 18/01/2016 | 6:00:00 a.m. | 228736 | 207314 | 7.8463 | 0 | 91.571 | 3.4 | 0 | 5.61
403 | 18/01/2016 | 5:00:00 a.m. | 228736 | 207314 | 7.8293 | 0 | 91.595 | 4.6 | 0 | 5.6
402 | 18/01/2016 | 4:00:00 a.m. | 228736 | 207314 | 7.7907 | 0 | 91.57 | 5.6 | 0 | 5.61
401 | 18/01/2016 | 3:00:00 a.m. | 228736 | 207314 | 7.7925 | 0 | 91.662 | 5.8 | 0 | 5.61
400 | 18/01/2016 | 2:00:00 a.m. | 228736 | 207314 | 7.7419 | 0 | 91.559 | 6.3 | 0 | 5.62
399 | 18/01/2016 | 1:00:00 a.m. | 228736 | 207314 | 7.7423 | 0 | 91.615 | 7.3 | 0 | 5.61
398 | 18/01/2016 | 12:00:00 a.m. | 228736 | 207314 | 7.7038 | 0 | 91.678 | 8.5 | 0 | 5.62
397 | 17/01/2016 | 11:00:00 p.m. | 228736 | 207314 | 7.6669 | 0 | 91.811 | 9.3 | 0 | 5.61
396 | 17/01/2016 | 10:00:00 p.m. | 228736 | 207314 | 7.6108 | 0 | 91.711 | 11.5 | 0 | 5.62
395 | 17/01/2016 | 9:00:00 p.m. | 228736 | 207314 | 7.5296 | 0 | 91.639 | 14.5 | 0 | 5.62
394 | 17/01/2016 | 8:00:00 p.m. | 228736 | 207314 | 7.3889 | 0 | 91.32 | 17.1 | 0 | 5.63
393 | 17/01/2016 | 7:00:00 p.m. | 228736 | 207314 | 7.3618 | 0 | 91.804 | 20.3 | 0 | 5.64
392 | 17/01/2016 | 6:00:00 p.m. | 228736 | 207314 | 7.3138 | 0 | 92.075 | 26.3 | 0 | 5.65
391 | 17/01/2016 | 5:00:00 p.m. | 228736 | 207314 | 7.1294 | 0 | 91.981 | 31.2 | 0 | 5.65
390 | 17/01/2016 | 4:00:00 p.m. | 228736 | 207314 | 7.0518 | 0 | 91.759 | 33.7 | 0 | 5.66
389 | 17/01/2016 | 3:00:00 p.m. | 228736 | 207314 | 6.9773 | 0 | 91.766 | 35.2 | 0 | 5.66
388 | 17/01/2016 | 2:00:00 p.m. | 228736 | 207314 | 6.9937 | 0 | 91.31 | 34.8 | 0 | 5.66
387 | 17/01/2016 | 1:00:00 p.m. | 228736 | 207314 | 7.0152 | 0 | 91.325 | 32.2 | 0 | 5.65
386 | 17/01/2016 | 12:00:00 p.m. | 228736 | 207314 | 7.0601 | 0 | 91.242 | 26.4 | 0 | 5.65
385 | 17/01/2016 | 11:00:00 a.m. | 228736 | 207314 | 7.2713 | 0 | 91.278 | 17 | 0 | 5.63
384 | 17/01/2016 | 10:00:00 a.m. | 228736 | 207314 | 7.5961 | 0 | 91.509 | 5.3 | 0 | 5.62
383 | 17/01/2016 | 9:00:00 a.m. | 228736 | 207314 | 7.9404 | 0 | 91.979 | -2.9 | 0 | 5.59
382 | 17/01/2016 | 8:00:00 a.m. | 228736 | 207314 | 8.0739 | 0 | 92.158 | -3.8 | 0 | 5.59
381 | 17/01/2016 | 7:00:00 a.m. | 228736 | 207314 | 8.0693 | 0 | 92.053 | -3.3 | 0 | 5.6
380 | 17/01/2016 | 6:00:00 a.m. | 228736 | 207314 | 8.0477 | 0 | 92.06 | -2.7 | 0 | 5.6
379 | 17/01/2016 | 5:00:00 a.m. | 228736 | 207314 | 8.0215 | 0 | 92.093 | -1.8 | 0 | 5.6
378 | 17/01/2016 | 4:00:00 a.m. | 228736 | 207314 | 8.0797 | 0 | 92.256 | -1 | 0 | 5.6
377 | 17/01/2016 | 3:00:00 a.m. | 228736 | 207314 | 7.9743 | 0 | 92.131 | 0 | 0 | 5.6
376 | 17/01/2016 | 2:00:00 a.m. | 228736 | 207314 | 7.9207 | 0 | 91.99 | 1 | 0 | 5.61
375 | 17/01/2016 | 1:00:00 a.m. | 228736 | 207314 | 7.9083 | 0 | 91.944 | 2.2 | 0 | 5.6
374 | 17/01/2016 | 12:00:00 a.m. | 228736 | 207314 | 7.9059 | 0 | 91.918 | 3.8 | 0 | 5.61
373 | 16/01/2016 | 11:00:00 p.m. | 228736 | 207314 | 7.7922 | 0 | 91.662 | 5.5 | 0 | 5.61
372 | 16/01/2016 | 10:00:00 p.m. | 228736 | 207314 | 7.7435 | 0 | 91.695 | 7.8 | 0 | 5.61
371 | 16/01/2016 | 9:00:00 p.m. | 228736 | 207314 | 7.6695 | 0 | 91.718 | 10.9 | 0 | 5.62
370 | 16/01/2016 | 8:00:00 p.m. | 228736 | 207314 | 7.5805 | 0 | 91.599 | 14.9 | 0 | 5.62
369 | 16/01/2016 | 7:00:00 p.m. | 228736 | 207314 | 7.4296 | 0 | 91.456 | 19.4 | 0 | 5.63
368 | 16/01/2016 | 6:00:00 p.m. | 228736 | 207314 | 7.311 | 0 | 91.254 | 23.5 | 0 | 5.64
367 | 16/01/2016 | 5:00:00 p.m. | 228736 | 207314 | 7.2042 | 0 | 91.12 | 25 | 0 | 5.64
366 | 16/01/2016 | 4:00:00 p.m. | 228736 | 207314 | 7.1558 | 0 | 91.006 | 25.7 | 0 | 5.64
365 | 16/01/2016 | 3:00:00 p.m. | 228736 | 207314 | 7.1761 | 0 | 90.79 | 24.8 | 0 | 5.64
364 | 16/01/2016 | 2:00:00 p.m. | 228736 | 207314 | 7.1287 | 0 | 90.745 | 24.3 | 0.8 | 5.64
363 | 16/01/2016 | 1:00:00 p.m. | 228736 | 207314 | 7.1648 | 0 | 90.303 | 22.2 | 89.1 | 5.64
362 | 16/01/2016 | 12:00:00 p.m. | 228722 | 207312 | 7.0298 | 0 | 87.203 | 20.5 | 87.7 | 5.63
361 | 16/01/2016 | 11:00:00 a.m. | 228635 | 207300 | 7.0407 | 0 | 87.38 | 19.4 | 87.8 | 5.63
360 | 16/01/2016 | 10:00:00 a.m. | 228548 | 207287 | 7.0572 | 0 | 87.491 | 18.4 | 88.9 | 5.62
359 | 16/01/2016 | 9:00:00 a.m. | 228463 | 207275 | 7.417 | 0 | 89.248 | 12.2 | 93.4 | 5.62
358 | 16/01/2016 | 8:00:00 a.m. | 228416 | 207269 | 7.7038 | 0 | 91.476 | 6.7 | 0 | 5.61
357 | 16/01/2016 | 7:00:00 a.m. | 228416 | 207269 | 7.7003 | 0 | 91.582 | 7.2 | 0 | 5.61
356 | 16/01/2016 | 6:00:00 a.m. | 228416 | 207269 | 7.7011 | 0 | 91.568 | 7.2 | 0 | 5.61
355 | 16/01/2016 | 5:00:00 a.m. | 228416 | 207269 | 7.7072 | 0 | 91.407 | 7.1 | 0 | 5.62
354 | 16/01/2016 | 4:00:00 a.m. | 228416 | 207269 | 7.7056 | 0 | 91.594 | 6.9 | 0 | 5.61
353 | 16/01/2016 | 3:00:00 a.m. | 228416 | 207269 | 7.7176 | 0 | 91.496 | 7.5 | 0 | 5.61
352 | 16/01/2016 | 2:00:00 a.m. | 228416 | 207269 | 7.6964 | 0 | 91.282 | 8.2 | 0 | 5.62
351 | 16/01/2016 | 1:00:00 a.m. | 228416 | 207269 | 7.6487 | 0 | 91.417 | 9.3 | 0 | 5.62
350 | 16/01/2016 | 12:00:00 a.m. | 228416 | 207269 | 7.5968 | 0 | 91.495 | 10.6 | 0 | 5.61
349 | 15/01/2016 | 11:00:00 p.m. | 228416 | 207269 | 7.6206 | 0 | 91.496 | 11.7 | 0 | 5.62
348 | 15/01/2016 | 10:00:00 p.m. | 228416 | 207269 | 7.5599 | 0 | 91.277 | 13 | 0 | 5.62
347 | 15/01/2016 | 9:00:00 p.m. | 228416 | 207269 | 7.5141 | 0 | 91.336 | 14.4 | 0 | 5.63
346 | 15/01/2016 | 8:00:00 p.m. | 228416 | 207269 | 7.4389 | 0 | 91.254 | 16 | 0 | 5.64
345 | 15/01/2016 | 7:00:00 p.m. | 228416 | 207269 | 7.4389 | 0 | 91.402 | 18.7 | 0.8 | 5.63
344 | 15/01/2016 | 6:00:00 p.m. | 228416 | 207269 | 7.269 | 0 | 90.882 | 22.1 | 85 | 5.65
343 | 15/01/2016 | 5:00:00 p.m. | 228408 | 207268 | 6.9982 | 0 | 87.542 | 22.5 | 86 | 5.65
342 | 15/01/2016 | 4:00:00 p.m. | 228323 | 207255 | 6.9349 | 0 | 87.184 | 23.7 | 86.9 | 5.66
341 | 15/01/2016 | 3:00:00 p.m. | 228237 | 207243 | 6.9057 | 0 | 87.06 | 23.9 | 89 | 5.66
340 | 15/01/2016 | 2:00:00 p.m. | 228150 | 207230 | 6.9176 | 0 | 89.063 | 29.1 | 92.2 | 5.66
339 | 15/01/2016 | 1:00:00 p.m. | 228115 | 207225 | 6.9865 | 0 | 90.77 | 30.1 | 0 | 5.65
338 | 15/01/2016 | 12:00:00 p.m. | 228115 | 207225 | 7.0681 | 0 | 90.926 | 27.8 | 0 | 5.66
337 | 15/01/2016 | 11:00:00 a.m. | 228115 | 207225 | 7.1965 | 0 | 90.579 | 20.2 | 0 | 5.65
336 | 15/01/2016 | 10:00:00 a.m. | 228115 | 207225 | 7.3765 | 0 | 90.685 | 10.9 | 0 | 5.62
335 | 15/01/2016 | 9:00:00 a.m. | 228115 | 207225 | 7.7157 | 0 | 91.069 | 4.1 | 0 | 5.61
334 | 15/01/2016 | 8:00:00 a.m. | 228115 | 207225 | 7.8411 | 0 | 91.093 | 2.4 | 0 | 5.61
333 | 15/01/2016 | 7:00:00 a.m. | 228115 | 207225 | 7.7869 | 0 | 91.064 | 3.3 | 0 | 5.61
332 | 15/01/2016 | 6:00:00 a.m. | 228115 | 207225 | 7.7836 | 0 | 90.96 | 4.6 | 0 | 5.61
331 | 15/01/2016 | 5:00:00 a.m. | 228115 | 207225 | 7.693 | 0 | 90.968 | 5.8 | 0 | 5.62
330 | 15/01/2016 | 4:00:00 a.m. | 228115 | 207225 | 7.7314 | 0 | 91.02 | 6.9 | 0 | 5.61
329 | 15/01/2016 | 3:00:00 a.m. | 228115 | 207225 | 7.6694 | 0 | 90.88 | 7.7 | 0 | 5.62
328 | 15/01/2016 | 2:00:00 a.m. | 228115 | 207225 | 7.6091 | 0 | 90.996 | 8.2 | 0 | 5.61
327 | 15/01/2016 | 1:00:00 a.m. | 228115 | 207225 | 7.63 | 0 | 90.911 | 8.4 | 0 | 5.61
326 | 15/01/2016 | 12:00:00 a.m. | 228115 | 207225 | 7.672 | 0 | 91.048 | 8.2 | 0 | 5.61
325 | 14/01/2016 | 11:00:00 p.m. | 228115 | 207225 | 7.6206 | 0 | 91.116 | 9 | 0 | 5.61
324 | 14/01/2016 | 10:00:00 p.m. | 228115 | 207225 | 7.6297 | 0 | 90.932 | 10.4 | 0 | 5.62
323 | 14/01/2016 | 9:00:00 p.m. | 228115 | 207225 | 7.5235 | 0 | 90.948 | 12.1 | 0 | 5.63
322 | 14/01/2016 | 8:00:00 p.m. | 228115 | 207225 | 7.4956 | 0 | 91.046 | 13.5 | 0 | 5.63
321 | 14/01/2016 | 7:00:00 p.m. | 228115 | 207225 | 7.474 | 0 | 90.942 | 15.9 | 0 | 5.63
320 | 14/01/2016 | 6:00:00 p.m. | 228115 | 207225 | 7.2955 | 0 | 90.969 | 20.7 | 0 | 5.65
319 | 14/01/2016 | 5:00:00 p.m. | 228115 | 207225 | 7.2613 | 0 | 90.896 | 22.4 | 2.1 | 5.65
318 | 14/01/2016 | 4:00:00 p.m. | 228115 | 207225 | 7.261 | 0 | 88.572 | 22.2 | 85.2 | 5.65
317 | 14/01/2016 | 3:00:00 p.m. | 228059 | 207217 | 6.9371 | 0 | 87.214 | 22.9 | 85.1 | 5.65
316 | 14/01/2016 | 2:00:00 p.m. | 227977 | 207206 | 6.9549 | 0 | 87.298 | 22.1 | 85.4 | 5.65
315 | 14/01/2016 | 1:00:00 p.m. | 227893 | 207194 | 7.0053 | 0 | 87.263 | 19.7 | 90.6 | 5.62
314 | 14/01/2016 | 12:00:00 p.m. | 227807 | 207181 | 7.1727 | 0 | 90.825 | 14.7 | 90 | 5.63
313 | 14/01/2016 | 11:00:00 a.m. | 227805 | 207181 | 7.431 | 0 | 90.856 | 15.4 | 0.8 | 5.62
312 | 14/01/2016 | 10:00:00 a.m. | 227805 | 207181 | 7.4104 | 0 | 90.45 | 17.5 | 85.8 | 5.63
311 | 14/01/2016 | 9:00:00 a.m. | 227796 | 207180 | 7.0268 | 0 | 87.177 | 18.9 | 87.8 | 5.63
310 | 14/01/2016 | 8:00:00 a.m. | 227710 | 207168 | 7.0737 | 0 | 88.721 | 14 | 92.4 | 5.62
309 | 14/01/2016 | 7:00:00 a.m. | 227657 | 207160 | 7.584 | 0 | 91.039 | 9.5 | 0 | 5.63
308 | 14/01/2016 | 6:00:00 a.m. | 227657 | 207160 | 7.6121 | 0 | 91.036 | 9.2 | 0 | 5.62
307 | 14/01/2016 | 5:00:00 a.m. | 227657 | 207160 | 7.5997 | 0 | 91.108 | 10.1 | 0 | 5.61
306 | 14/01/2016 | 4:00:00 a.m. | 227657 | 207160 | 7.585 | 0 | 91.146 | 10.8 | 0 | 5.61
305 | 14/01/2016 | 3:00:00 a.m. | 227657 | 207160 | 7.5174 | 0 | 91.146 | 11 | 0 | 5.62
304 | 14/01/2016 | 2:00:00 a.m. | 227657 | 207160 | 7.5748 | 0 | 91.143 | 10.9 | 0 | 5.62
303 | 14/01/2016 | 1:00:00 a.m. | 227657 | 207160 | 7.608 | 0 | 91.22 | 10.6 | 0 | 5.62
302 | 14/01/2016 | 12:00:00 a.m. | 227657 | 207160 | 7.5859 | 0 | 91.315 | 10.5 | 0 | 5.62
301 | 13/01/2016 | 11:00:00 p.m. | 227657 | 207160 | 7.5631 | 0 | 91.236 | 10.4 | 0 | 5.62
300 | 13/01/2016 | 10:00:00 p.m. | 227657 | 207160 | 7.6155 | 0 | 91.263 | 9.9 | 0 | 5.62
299 | 13/01/2016 | 9:00:00 p.m. | 227657 | 207160 | 7.6129 | 0 | 91.145 | 9.8 | 0 | 5.62
298 | 13/01/2016 | 8:00:00 p.m. | 227657 | 207160 | 7.6117 | 0 | 91.19 | 10.9 | 0 | 5.62
297 | 13/01/2016 | 7:00:00 p.m. | 227657 | 207160 | 7.47 | 0 | 90.987 | 13.2 | 0.8 | 5.62
296 | 13/01/2016 | 6:00:00 p.m. | 227657 | 207160 | 7.4857 | 0 | 90.54 | 16.1 | 85.5 | 5.63
295 | 13/01/2016 | 5:00:00 p.m. | 227648 | 207159 | 7.0584 | 0 | 87.154 | 19.1 | 86.7 | 5.63
294 | 13/01/2016 | 4:00:00 p.m. | 227563 | 207147 | 7.0726 | 0 | 87.673 | 18.8 | 89 | 5.63
293 | 13/01/2016 | 3:00:00 p.m. | 227486 | 207136 | 7.0644 | 0 | 90.029 | 14.6 | 90 | 5.63
292 | 13/01/2016 | 2:00:00 p.m. | 227469 | 207134 | 7.4444 | 0 | 90.829 | 14.5 | 0 | 5.64
291 | 13/01/2016 | 1:00:00 p.m. | 227469 | 207134 | 7.409 | 0 | 90.933 | 16.6 | 0 | 5.63
290 | 13/01/2016 | 12:00:00 p.m. | 227468 | 207134 | 7.3771 | 0 | 90.924 | 17.2 | 7.5 | 5.62
289 | 13/01/2016 | 11:00:00 a.m. | 227468 | 207134 | 7.3416 | 0 | 87.63 | 19.1 | 87.5 | 5.62
288 | 13/01/2016 | 10:00:00 a.m. | 227392 | 207123 | 7.0853 | 0 | 87.143 | 19 | 88.3 | 5.62
287 | 13/01/2016 | 9:00:00 a.m. | 227306 | 207111 | 7.0697 | 0 | 87.136 | 18.3 | 88.5 | 5.61
286 | 13/01/2016 | 8:00:00 a.m. | 227218 | 207098 | 7.113 | 0 | 88.887 | 12.7 | 91.9 | 5.62
285 | 13/01/2016 | 7:00:00 a.m. | 227170 | 207091 | 7.5837 | 0 | 91.064 | 9 | 0 | 5.62
284 | 13/01/2016 | 6:00:00 a.m. | 227170 | 207091 | 7.6238 | 0 | 91.11 | 9.9 | 0 | 5.62
283 | 13/01/2016 | 5:00:00 a.m. | 227170 | 207091 | 7.5631 | 0 | 90.97 | 10.5 | 0 | 5.63
282 | 13/01/2016 | 4:00:00 a.m. | 227170 | 207091 | 7.5826 | 0 | 91.018 | 9.6 | 0 | 5.62
281 | 13/01/2016 | 3:00:00 a.m. | 227170 | 207091 | 7.5932 | 0 | 91.207 | 9.4 | 0 | 5.62
280 | 13/01/2016 | 2:00:00 a.m. | 227170 | 207091 | 7.6362 | 0 | 91.257 | 9.8 | 0 | 5.63
279 | 13/01/2016 | 1:00:00 a.m. | 227170 | 207091 | 7.6108 | 0 | 91.162 | 10.7 | 0 | 5.62
278 | 13/01/2016 | 12:00:00 a.m. | 227170 | 207091 | 7.4825 | 0 | 91.068 | 12 | 0 | 5.61
277 | 12/01/2016 | 11:00:00 p.m. | 227170 | 207091 | 7.5369 | 0 | 91.089 | 13 | 0 | 5.63
276 | 12/01/2016 | 10:00:00 p.m. | 227170 | 207091 | 7.5083 | 0 | 91.077 | 13.6 | 0 | 5.63
275 | 12/01/2016 | 9:00:00 p.m. | 227170 | 207091 | 7.4786 | 0 | 90.97 | 14.6 | 0 | 5.63
274 | 12/01/2016 | 8:00:00 p.m. | 227170 | 207091 | 7.4733 | 0 | 90.918 | 15.5 | 0 | 5.64
273 | 12/01/2016 | 7:00:00 p.m. | 227170 | 207091 | 7.3708 | 0 | 91.039 | 17 | 0.8 | 5.63
272 | 12/01/2016 | 6:00:00 p.m. | 227170 | 207091 | 7.289 | 0 | 90.739 | 19 | 85.9 | 5.63
271 | 12/01/2016 | 5:00:00 p.m. | 227164 | 207091 | 7.0597 | 0 | 87.311 | 21.1 | 86.1 | 5.65
270 | 12/01/2016 | 4:00:00 p.m. | 227080 | 207079 | 6.9973 | 0 | 87.169 | 21.9 | 85.7 | 5.65
269 | 12/01/2016 | 3:00:00 p.m. | 226995 | 207066 | 6.9903 | 0 | 87.084 | 22.1 | 85.8 | 5.66
268 | 12/01/2016 | 2:00:00 p.m. | 226911 | 207054 | 6.97 | 0 | 86.911 | 21.8 | 86.2 | 5.66
267 | 12/01/2016 | 1:00:00 p.m. | 226827 | 207042 | 6.9906 | 0 | 86.898 | 21.4 | 87.1 | 5.64
266 | 12/01/2016 | 12:00:00 p.m. | 226741 | 207030 | 6.9711 | 0 | 86.928 | 21.4 | 86.5 | 5.65
265 | 12/01/2016 | 11:00:00 a.m. | 226655 | 207018 | 6.9346 | 0 | 86.868 | 21 | 87 | 5.65
264 | 12/01/2016 | 10:00:00 a.m. | 226569 | 207005 | 7.0026 | 0 | 86.969 | 19.5 | 87.8 | 5.63
263 | 12/01/2016 | 9:00:00 a.m. | 226483 | 206993 | 7.0617 | 0 | 87.237 | 17.4 | 89.6 | 5.61
262 | 12/01/2016 | 8:00:00 a.m. | 226395 | 206981 | 7.1061 | 0 | 90.159 | 6.3 | 93.6 | 5.61
261 | 12/01/2016 | 7:00:00 a.m. | 226377 | 206978 | 7.7216 | 0 | 91.225 | 5 | 0 | 5.62
260 | 12/01/2016 | 6:00:00 a.m. | 226377 | 206978 | 7.7367 | 0 | 91.28 | 5.1 | 0 | 5.61
259 | 12/01/2016 | 5:00:00 a.m. | 226377 | 206978 | 7.7603 | 0 | 91.217 | 5.7 | 0 | 5.62
258 | 12/01/2016 | 4:00:00 a.m. | 226377 | 206978 | 7.7108 | 0 | 91.245 | 6.7 | 0 | 5.61
257 | 12/01/2016 | 3:00:00 a.m. | 226377 | 206978 | 7.6921 | 0 | 91.214 | 7.5 | 0 | 5.62
256 | 12/01/2016 | 2:00:00 a.m. | 226377 | 206978 | 7.6376 | 0 | 91.322 | 8.3 | 0 | 5.62
255 | 12/01/2016 | 1:00:00 a.m. | 226377 | 206978 | 7.6406 | 0 | 91.387 | 9.2 | 0 | 5.61
254 | 12/01/2016 | 12:00:00 a.m. | 226377 | 206978 | 7.6099 | 0 | 91.391 | 10.3 | 0 | 5.62
253 | 11/01/2016 | 11:00:00 p.m. | 226377 | 206978 | 7.5789 | 0 | 90.956 | 11.7 | 0 | 5.63
252 | 11/01/2016 | 10:00:00 p.m. | 226377 | 206978 | 7.506 | 0 | 91.421 | 13.2 | 0 | 5.63
251 | 11/01/2016 | 9:00:00 p.m. | 226377 | 206978 | 7.4973 | 0 | 91.338 | 14.9 | 0 | 5.63
250 | 11/01/2016 | 8:00:00 p.m. | 226377 | 206978 | 7.3988 | 0 | 91.092 | 16.2 | 0 | 5.64
249 | 11/01/2016 | 7:00:00 p.m. | 226377 | 206978 | 7.4063 | 0 | 90.986 | 18.5 | 0.8 | 5.65
248 | 11/01/2016 | 6:00:00 p.m. | 226377 | 206978 | 7.327 | 0 | 90.586 | 21.9 | 85 | 5.65
247 | 11/01/2016 | 5:00:00 p.m. | 226366 | 206977 | 6.9895 | 0 | 87.43 | 22.8 | 85.7 | 5.66
246 | 11/01/2016 | 4:00:00 p.m. | 226281 | 206964 | 6.9765 | 0 | 87.188 | 23.4 | 86.2 | 5.66
245 | 11/01/2016 | 3:00:00 p.m. | 226196 | 206952 | 6.9279 | 0 | 87.055 | 23.4 | 85.4 | 5.65
244 | 11/01/2016 | 2:00:00 p.m. | 226112 | 206940 | 6.9233 | 0 | 87.056 | 23.2 | 85.2 | 5.65
243 | 11/01/2016 | 1:00:00 p.m. | 226028 | 206928 | 6.9718 | 0 | 86.951 | 22.7 | 86.5 | 5.65
242 | 11/01/2016 | 12:00:00 p.m. | 225942 | 206916 | 7.0008 | 0 | 86.986 | 22.4 | 86.5 | 5.65
241 | 11/01/2016 | 11:00:00 a.m. | 225857 | 206903 | 6.9546 | 0 | 86.839 | 21.6 | 87 | 5.65
240 | 11/01/2016 | 10:00:00 a.m. | 225772 | 206891 | 6.9795 | 0 | 87.019 | 19.9 | 87.7 | 5.64
239 | 11/01/2016 | 9:00:00 a.m. | 225685 | 206879 | 7.0424 | 0 | 88.246 | 13 | 93.2 | 5.62
238 | 11/01/2016 | 8:00:00 a.m. | 225623 | 206870 | 7.7637 | 0 | 91.114 | 4 | 0 | 5.61
237 | 11/01/2016 | 7:00:00 a.m. | 225623 | 206870 | 7.6958 | 0 | 91.341 | 4.2 | 0 | 5.61
236 | 11/01/2016 | 6:00:00 a.m. | 225623 | 206870 | 7.7669 | 0 | 91.536 | 4.6 | 0 | 5.61
235 | 11/01/2016 | 5:00:00 a.m. | 225623 | 206870 | 7.7572 | 0 | 91.516 | 5 | 0 | 5.62
234 | 11/01/2016 | 4:00:00 a.m. | 225623 | 206870 | 7.7368 | 0 | 91.538 | 5.8 | 0 | 5.62
233 | 11/01/2016 | 3:00:00 a.m. | 225623 | 206870 | 7.7295 | 0 | 91.491 | 6.8 | 0 | 5.62
232 | 11/01/2016 | 2:00:00 a.m. | 225623 | 206870 | 7.7227 | 0 | 91.474 | 8 | 0 | 5.63
231 | 11/01/2016 | 1:00:00 a.m. | 225623 | 206870 | 7.6356 | 0 | 91.373 | 9.5 | 0 | 5.62
230 | 11/01/2016 | 12:00:00 a.m. | 225623 | 206870 | 7.5885 | 0 | 91.307 | 11.5 | 0 | 5.63
229 | 10/01/2016 | 11:00:00 p.m. | 225623 | 206870 | 7.5047 | 0 | 91.243 | 13.3 | 0 | 5.63
228 | 10/01/2016 | 10:00:00 p.m. | 225623 | 206870 | 7.4041 | 0 | 91.261 | 14.3 | 0 | 5.63
227 | 10/01/2016 | 9:00:00 p.m. | 225623 | 206870 | 7.5175 | 0 | 91.472 | 15.2 | 0 | 5.64
226 | 10/01/2016 | 8:00:00 p.m. | 225623 | 206870 | 7.4721 | 0 | 91.194 | 16.2 | 0 | 5.65
225 | 10/01/2016 | 7:00:00 p.m. | 225623 | 206870 | 7.3773 | 0 | 91.152 | 18 | 0 | 5.63
224 | 10/01/2016 | 6:00:00 p.m. | 225623 | 206870 | 7.3111 | 0 | 91.042 | 20.5 | 0 | 5.64
223 | 10/01/2016 | 5:00:00 p.m. | 225623 | 206870 | 7.258 | 0 | 91.192 | 22.5 | 0 | 5.64
222 | 10/01/2016 | 4:00:00 p.m. | 225623 | 206870 | 7.2306 | 0 | 91.229 | 25.9 | 0 | 5.65
221 | 10/01/2016 | 3:00:00 p.m. | 225623 | 206870 | 7.1424 | 0 | 91.112 | 29.5 | 0 | 5.67
220 | 10/01/2016 | 2:00:00 p.m. | 225623 | 206870 | 7.0086 | 0 | 90.945 | 32.3 | 0 | 5.67
219 | 10/01/2016 | 1:00:00 p.m. | 225623 | 206870 | 7.0168 | 0 | 90.832 | 31.2 | 0 | 5.66
218 | 10/01/2016 | 12:00:00 p.m. | 225623 | 206870 | 7.0708 | 0 | 90.927 | 27.7 | 0 | 5.66
217 | 10/01/2016 | 11:00:00 a.m. | 225623 | 206870 | 7.1986 | 0 | 91.13 | 18.1 | 0 | 5.64
216 | 10/01/2016 | 10:00:00 a.m. | 225623 | 206870 | 7.5259 | 0 | 91.224 | 11.7 | 0 | 5.63
215 | 10/01/2016 | 9:00:00 a.m. | 225623 | 206870 | 7.6183 | 0 | 91.492 | 9 | 0 | 5.62
214 | 10/01/2016 | 8:00:00 a.m. | 225623 | 206870 | 7.6812 | 0 | 91.37 | 8.3 | 0 | 5.63
213 | 10/01/2016 | 7:00:00 a.m. | 225623 | 206870 | 7.6649 | 0 | 91.439 | 8.6 | 0 | 5.62
212 | 10/01/2016 | 6:00:00 a.m. | 225623 | 206870 | 7.6387 | 0 | 91.41 | 8.9 | 0 | 5.61
211 | 10/01/2016 | 5:00:00 a.m. | 225623 | 206870 | 7.642 | 0 | 91.53 | 9.1 | 0 | 5.62
210 | 10/01/2016 | 4:00:00 a.m. | 225623 | 206870 | 7.6635 | 0 | 91.398 | 9.7 | 0 | 5.62
209 | 10/01/2016 | 3:00:00 a.m. | 225623 | 206870 | 7.6094 | 0 | 91.492 | 10.6 | 0 | 5.63
208 | 10/01/2016 | 2:00:00 a.m. | 225623 | 206870 | 7.5835 | 0 | 91.465 | 11 | 0 | 5.62
207 | 10/01/2016 | 1:00:00 a.m. | 225623 | 206870 | 7.5908 | 0 | 91.477 | 11.7 | 0 | 5.64
206 | 10/01/2016 | 12:00:00 a.m. | 225623 | 206870 | 7.545 | 0 | 91.45 | 12.3 | 0 | 5.62
205 | 09/01/2016 | 11:00:00 p.m. | 225623 | 206870 | 7.5494 | 0 | 91.31 | 13.3 | 0 | 5.63
204 | 09/01/2016 | 10:00:00 p.m. | 225623 | 206870 | 7.4677 | 0 | 91.248 | 14.5 | 0 | 5.63
203 | 09/01/2016 | 9:00:00 p.m. | 225623 | 206870 | 7.4498 | 0 | 91.396 | 15.5 | 0 | 5.64
202 | 09/01/2016 | 8:00:00 p.m. | 225623 | 206870 | 7.4644 | 0 | 91.45 | 16.5 | 0 | 5.64
201 | 09/01/2016 | 7:00:00 p.m. | 225623 | 206870 | 7.3356 | 0 | 91.411 | 18.4 | 0 | 5.64
200 | 09/01/2016 | 6:00:00 p.m. | 225623 | 206870 | 7.3377 | 0 | 91.379 | 22.8 | 0 | 5.66
199 | 09/01/2016 | 5:00:00 p.m. | 225623 | 206870 | 7.2224 | 0 | 91.051 | 26.6 | 0 | 5.66
198 | 09/01/2016 | 4:00:00 p.m. | 225623 | 206870 | 7.1051 | 0 | 91.04 | 26.2 | 0.8 | 5.66
197 | 09/01/2016 | 3:00:00 p.m. | 225623 | 206870 | 7.1418 | 0 | 90.751 | 25.7 | 88.1 | 5.66
196 | 09/01/2016 | 2:00:00 p.m. | 225613 | 206869 | 6.9911 | 0 | 87.567 | 23 | 88.3 | 5.66
195 | 09/01/2016 | 1:00:00 p.m. | 225529 | 206857 | 6.9496 | 0 | 87.329 | 23.2 | 87.8 | 5.67
194 | 09/01/2016 | 12:00:00 p.m. | 225446 | 206845 | 6.976 | 0 | 87.309 | 22.8 | 88.4 | 5.67
193 | 09/01/2016 | 11:00:00 a.m. | 225362 | 206833 | 7.0147 | 0 | 87.271 | 21.8 | 88.5 | 5.65
192 | 09/01/2016 | 10:00:00 a.m. | 225277 | 206821 | 7.0259 | 0 | 87.576 | 19.7 | 90.4 | 5.64
191 | 09/01/2016 | 9:00:00 a.m. | 225191 | 206808 | 7.1147 | 0 | 89.396 | 10.4 | 94.6 | 5.62
190 | 09/01/2016 | 8:00:00 a.m. | 225139 | 206801 | 7.8229 | 0 | 91.748 | 3.7 | 0 | 5.62
189 | 09/01/2016 | 7:00:00 a.m. | 225139 | 206801 | 7.8111 | 0 | 91.761 | 3.6 | 0 | 5.62
188 | 09/01/2016 | 6:00:00 a.m. | 225139 | 206801 | 7.7965 | 0 | 91.76 | 3.9 | 0 | 5.63
187 | 09/01/2016 | 5:00:00 a.m. | 225139 | 206801 | 7.8022 | 0 | 91.659 | 4.6 | 0 | 5.61
186 | 09/01/2016 | 4:00:00 a.m. | 225139 | 206801 | 7.784 | 0 | 91.559 | 4.8 | 0 | 5.63
185 | 09/01/2016 | 3:00:00 a.m. | 225139 | 206801 | 7.7795 | 0 | 91.577 | 4.9 | 0 | 5.62
184 | 09/01/2016 | 2:00:00 a.m. | 225139 | 206801 | 7.7783 | 0 | 91.649 | 5.5 | 0 | 5.61
183 | 09/01/2016 | 1:00:00 a.m. | 225139 | 206801 | 7.7561 | 0 | 91.616 | 6.4 | 0 | 5.62
182 | 09/01/2016 | 12:00:00 a.m. | 225139 | 206801 | 7.7274 | 0 | 91.71 | 7.7 | 0 | 5.62
181 | 08/01/2016 | 11:00:00 p.m. | 225139 | 206801 | 7.6681 | 0 | 91.614 | 9.7 | 0 | 5.63
180 | 08/01/2016 | 10:00:00 p.m. | 225139 | 206801 | 7.6031 | 0 | 91.562 | 12 | 0 | 5.65
179 | 08/01/2016 | 9:00:00 p.m. | 225139 | 206801 | 7.5394 | 0 | 91.591 | 14.3 | 0 | 5.64
178 | 08/01/2016 | 8:00:00 p.m. | 225139 | 206801 | 7.4797 | 0 | 91.425 | 16.5 | 0 | 5.65
177 | 08/01/2016 | 7:00:00 p.m. | 225139 | 206801 | 7.4171 | 0 | 91.43 | 19.3 | 0.8 | 5.64
176 | 08/01/2016 | 6:00:00 p.m. | 225139 | 206801 | 7.3358 | 0 | 90.713 | 22.6 | 88.9 | 5.66
175 | 08/01/2016 | 5:00:00 p.m. | 225129 | 206800 | 6.9628 | 0 | 87.054 | 23.4 | 90.7 | 5.66
174 | 08/01/2016 | 4:00:00 p.m. | 225041 | 206787 | 6.8841 | 0 | 88.89 | 30.1 | 91.3 | 5.66
173 | 08/01/2016 | 3:00:00 p.m. | 225001 | 206781 | 6.9505 | 0 | 90.753 | 32.7 | 0 | 5.67
172 | 08/01/2016 | 2:00:00 p.m. | 225001 | 206781 | 6.9789 | 0 | 90.474 | 29.1 | 2.6 | 5.67
171 | 08/01/2016 | 1:00:00 p.m. | 225001 | 206781 | 7.0905 | 0 | 88.573 | 23.3 | 87.1 | 5.66
170 | 08/01/2016 | 12:00:00 p.m. | 224944 | 206773 | 6.9422 | 0 | 87.679 | 22.1 | 86.7 | 5.66
169 | 08/01/2016 | 11:00:00 a.m. | 224867 | 206762 | 7.0222 | 0 | 87.907 | 21 | 85.5 | 5.64
168 | 08/01/2016 | 10:00:00 a.m. | 224789 | 206751 | 7.0338 | 0 | 87.574 | 20.3 | 86.5 | 5.63
167 | 08/01/2016 | 9:00:00 a.m. | 224707 | 206739 | 7.0586 | 0 | 87.848 | 18.2 | 86.5 | 5.62
166 | 08/01/2016 | 8:00:00 a.m. | 224626 | 206728 | 7.1772 | 0 | 88.78 | 10.3 | 94 | 5.61
165 | 08/01/2016 | 7:00:00 a.m. | 224570 | 206720 | 7.8091 | 0 | 91.336 | 2.9 | 0 | 5.62
164 | 08/01/2016 | 6:00:00 a.m. | 224570 | 206720 | 7.8132 | 0 | 91.301 | 3.7 | 0 | 5.62
163 | 08/01/2016 | 5:00:00 a.m. | 224570 | 206720 | 7.7835 | 0 | 91.475 | 4.7 | 0 | 5.61
162 | 08/01/2016 | 4:00:00 a.m. | 224570 | 206720 | 7.7779 | 0 | 91.592 | 5.8 | 0 | 5.62
161 | 08/01/2016 | 3:00:00 a.m. | 224570 | 206720 | 7.7537 | 0 | 91.496 | 6.5 | 0 | 5.62
160 | 08/01/2016 | 2:00:00 a.m. | 224570 | 206720 | 7.6385 | 0 | 91.442 | 7 | 0 | 5.62
159 | 08/01/2016 | 1:00:00 a.m. | 224570 | 206720 | 7.6905 | 0 | 91.476 | 7.7 | 0 | 5.63
158 | 08/01/2016 | 12:00:00 a.m. | 224570 | 206720 | 7.6791 | 0 | 91.548 | 8.8 | 0 | 5.62
157 | 07/01/2016 | 11:00:00 p.m. | 224570 | 206720 | 7.6553 | 0 | 91.358 | 10.3 | 0 | 5.62
156 | 07/01/2016 | 10:00:00 p.m. | 224570 | 206720 | 7.5512 | 0 | 91.478 | 12.3 | 0 | 5.63
155 | 07/01/2016 | 9:00:00 p.m. | 224570 | 206720 | 7.5249 | 0 | 91.498 | 14.2 | 0 | 5.64
154 | 07/01/2016 | 8:00:00 p.m. | 224570 | 206720 | 7.4729 | 0 | 91.489 | 15.9 | 0 | 5.64
153 | 07/01/2016 | 7:00:00 p.m. | 224570 | 206720 | 7.4259 | 0 | 91.322 | 18.7 | 0 | 5.65
152 | 07/01/2016 | 6:00:00 p.m. | 224570 | 206720 | 7.3088 | 0 | 91.347 | 23.4 | 0 | 5.65
151 | 07/01/2016 | 5:00:00 p.m. | 224570 | 206720 | 7.1838 | 0 | 91.134 | 26.1 | 3 | 5.66
150 | 07/01/2016 | 4:00:00 p.m. | 224570 | 206720 | 7.1656 | 0 | 88.513 | 24.1 | 85.8 | 5.67
149 | 07/01/2016 | 3:00:00 p.m. | 224507 | 206711 | 6.9867 | 0 | 87.773 | 23.8 | 85 | 5.66
148 | 07/01/2016 | 2:00:00 p.m. | 224429 | 206700 | 6.9397 | 0 | 87.547 | 23.7 | 86.9 | 5.66
147 | 07/01/2016 | 1:00:00 p.m. | 224348 | 206688 | 6.9855 | 0 | 87.415 | 23 | 87.4 | 5.66
146 | 07/01/2016 | 12:00:00 p.m. | 224266 | 206677 | 7.051 | 0 | 88.016 | 21.8 | 85.6 | 5.65
145 | 07/01/2016 | 11:00:00 a.m. | 224187 | 206665 | 7.0683 | 0 | 89.466 | 18.6 | 91.8 | 5.64
144 | 07/01/2016 | 10:00:00 a.m. | 224143 | 206659 | 7.4699 | 0 | 91.158 | 11.7 | 0 | 5.64
143 | 07/01/2016 | 9:00:00 a.m. | 224143 | 206659 | 7.6746 | 0 | 91.272 | 4.4 | 0 | 5.62
142 | 07/01/2016 | 8:00:00 a.m. | 224143 | 206659 | 7.809 | 0 | 91.612 | 3.5 | 0 | 5.61
141 | 07/01/2016 | 7:00:00 a.m. | 224143 | 206659 | 7.8109 | 0 | 91.805 | 4.2 | 0 | 5.61
140 | 07/01/2016 | 6:00:00 a.m. | 224143 | 206659 | 7.7596 | 0 | 91.865 | 5.2 | 0 | 5.62
139 | 07/01/2016 | 5:00:00 a.m. | 224143 | 206659 | 7.7798 | 0 | 91.918 | 6 | 0 | 5.61
138 | 07/01/2016 | 4:00:00 a.m. | 224143 | 206659 | 7.7401 | 0 | 91.67 | 6.5 | 0 | 5.63
137 | 07/01/2016 | 3:00:00 a.m. | 224143 | 206659 | 7.7191 | 0 | 91.708 | 6.8 | 0 | 5.62
136 | 07/01/2016 | 2:00:00 a.m. | 224143 | 206659 | 7.7561 | 0 | 91.708 | 7.1 | 0 | 5.62
135 | 07/01/2016 | 1:00:00 a.m. | 224143 | 206659 | 7.7009 | 0 | 91.745 | 8.2 | 0 | 5.63
134 | 07/01/2016 | 12:00:00 a.m. | 224143 | 206659 | 7.662 | 0 | 91.674 | 9.5 | 0 | 5.63
133 | 06/01/2016 | 11:00:00 p.m. | 224143 | 206659 | 7.6309 | 0 | 91.602 | 11.2 | 0 | 5.64
132 | 06/01/2016 | 10:00:00 p.m. | 224143 | 206659 | 7.5521 | 0 | 91.608 | 13.2 | 0 | 5.63
131 | 06/01/2016 | 9:00:00 p.m. | 224143 | 206659 | 7.5402 | 0 | 91.509 | 14.7 | 0 | 5.64
130 | 06/01/2016 | 8:00:00 p.m. | 224143 | 206659 | 7.449 | 0 | 91.683 | 16.4 | 0 | 5.64
129 | 06/01/2016 | 7:00:00 p.m. | 224143 | 206659 | 7.4083 | 0 | 91.668 | 19 | 0.8 | 5.65
128 | 06/01/2016 | 6:00:00 p.m. | 224143 | 206659 | 7.3503 | 0 | 91.329 | 22.3 | 81.6 | 5.66
127 | 06/01/2016 | 5:00:00 p.m. | 224138 | 206658 | 7.0873 | 0 | 88.111 | 22.2 | 85 | 5.66
126 | 06/01/2016 | 4:00:00 p.m. | 224059 | 206647 | 7.0665 | 0 | 88.603 | 23.5 | 84.4 | 5.66
125 | 06/01/2016 | 3:00:00 p.m. | 223989 | 206637 | 7.0823 | 0 | 88.723 | 24.3 | 81.3 | 5.66
124 | 06/01/2016 | 2:00:00 p.m. | 223924 | 206628 | 6.985 | 0 | 88.034 | 23 | 84.3 | 5.66
123 | 06/01/2016 | 1:00:00 p.m. | 223847 | 206617 | 7.0445 | 0 | 87.756 | 22.7 | 85.5 | 5.66
122 | 06/01/2016 | 12:00:00 p.m. | 223765 | 206605 | 6.9634 | 0 | 88.465 | 22.7 | 85.4 | 5.66
121 | 06/01/2016 | 11:00:00 a.m. | 223693 | 206595 | 7.1402 | 0 | 89.293 | 22.4 | 89.8 | 5.66
120 | 06/01/2016 | 10:00:00 a.m. | 223647 | 206589 | 7.288 | 0 | 90.737 | 19 | 89.1 | 5.64
119 | 06/01/2016 | 9:00:00 a.m. | 223633 | 206587 | 7.1516 | 0 | 91.032 | 9.5 | 94.1 | 5.62
118 | 06/01/2016 | 8:00:00 a.m. | 223621 | 206585 | 7.7041 | 0 | 91.859 | 7.9 | 0 | 5.62
117 | 06/01/2016 | 7:00:00 a.m. | 223621 | 206585 | 7.7071 | 0 | 91.867 | 7.5 | 0 | 5.63
116 | 06/01/2016 | 6:00:00 a.m. | 223621 | 206585 | 7.7236 | 0 | 91.896 | 7.2 | 0 | 5.62
115 | 06/01/2016 | 5:00:00 a.m. | 223621 | 206585 | 7.7251 | 0 | 91.988 | 6.6 | 0 | 5.62
114 | 06/01/2016 | 4:00:00 a.m. | 223621 | 206585 | 7.7776 | 0 | 91.961 | 6.2 | 0 | 5.62
113 | 06/01/2016 | 3:00:00 a.m. | 223621 | 206585 | 7.7665 | 0 | 91.899 | 6.6 | 0 | 5.63
112 | 06/01/2016 | 2:00:00 a.m. | 223621 | 206585 | 7.7493 | 0 | 91.845 | 7.3 | 0 | 5.62
111 | 06/01/2016 | 1:00:00 a.m. | 223621 | 206585 | 7.7298 | 0 | 91.707 | 8.4 | 0 | 5.62
110 | 06/01/2016 | 12:00:00 a.m. | 223621 | 206585 | 7.6728 | 0 | 91.918 | 9.7 | 0 | 5.63
109 | 05/01/2016 | 11:00:00 p.m. | 223621 | 206585 | 7.6344 | 0 | 91.746 | 11.3 | 0 | 5.63
108 | 05/01/2016 | 10:00:00 p.m. | 223621 | 206585 | 7.5075 | 0 | 91.811 | 13.2 | 0 | 5.63
107 | 05/01/2016 | 9:00:00 p.m. | 223621 | 206585 | 7.4618 | 0 | 91.764 | 15.4 | 0 | 5.64
106 | 05/01/2016 | 8:00:00 p.m. | 223621 | 206585 | 7.4685 | 0 | 91.569 | 17.5 | 0 | 5.64
105 | 05/01/2016 | 7:00:00 p.m. | 223621 | 206585 | 7.3998 | 0 | 91.538 | 20 | 0 | 5.65
104 | 05/01/2016 | 6:00:00 p.m. | 223621 | 206585 | 7.2768 | 0 | 91.349 | 23.8 | 0 | 5.65
103 | 05/01/2016 | 5:00:00 p.m. | 223621 | 206585 | 7.1638 | 0 | 91.139 | 29.5 | 0 | 5.67
102 | 05/01/2016 | 4:00:00 p.m. | 223621 | 206585 | 7.0395 | 0 | 90.964 | 32.6 | 0 | 5.66
101 | 05/01/2016 | 3:00:00 p.m. | 223621 | 206585 | 6.9582 | 0 | 90.943 | 33.1 | 0 | 5.67
100 | 05/01/2016 | 2:00:00 p.m. | 223621 | 206585 | 6.9954 | 0 | 90.997 | 31.8 | 0 | 5.67
99 | 05/01/2016 | 1:00:00 p.m. | 223621 | 206585 | 7.0378 | 0 | 91.052 | 31.9 | 0 | 5.67
98 | 05/01/2016 | 12:00:00 p.m. | 223621 | 206585 | 7.0227 | 0 | 91.173 | 29.9 | 0 | 5.67
97 | 05/01/2016 | 11:00:00 a.m. | 223621 | 206585 | 7.1494 | 0 | 91.046 | 22.4 | 0 | 5.65
96 | 05/01/2016 | 10:00:00 a.m. | 223621 | 206585 | 7.404 | 0 | 91.266 | 12.5 | 0 | 5.62
95 | 05/01/2016 | 9:00:00 a.m. | 223621 | 206585 | 7.7282 | 0 | 91.779 | 5.4 | 0 | 5.64
94 | 05/01/2016 | 8:00:00 a.m. | 223621 | 206585 | 7.7813 | 0 | 91.577 | 4.5 | 0 | 5.62
93 | 05/01/2016 | 7:00:00 a.m. | 223621 | 206585 | 7.7049 | 0 | 91.682 | 5.2 | 0 | 5.62
92 | 05/01/2016 | 6:00:00 a.m. | 223621 | 206585 | 7.7993 | 0 | 91.716 | 6.1 | 0 | 5.62
91 | 05/01/2016 | 5:00:00 a.m. | 223621 | 206585 | 7.7149 | 0 | 91.613 | 6.8 | 0 | 5.62
90 | 05/01/2016 | 4:00:00 a.m. | 223621 | 206585 | 7.7426 | 0 | 91.744 | 7.3 | 0 | 5.62
89 | 05/01/2016 | 3:00:00 a.m. | 223621 | 206585 | 7.7116 | 0 | 91.753 | 7.9 | 0 | 5.63
88 | 05/01/2016 | 2:00:00 a.m. | 223621 | 206585 | 7.7043 | 0 | 91.715 | 8.5 | 0 | 5.63
87 | 05/01/2016 | 1:00:00 a.m. | 223621 | 206585 | 7.6785 | 0 | 91.629 | 9.2 | 0 | 5.62
86 | 05/01/2016 | 12:00:00 a.m. | 223621 | 206585 | 7.6592 | 0 | 91.748 | 10 | 0 | 5.62
85 | 04/01/2016 | 11:00:00 p.m. | 223621 | 206585 | 7.6349 | 0 | 91.813 | 11 | 0 | 5.63
84 | 04/01/2016 | 10:00:00 p.m. | 223621 | 206585 | 7.5925 | 0 | 91.578 | 12.3 | 0 | 5.63
83 | 04/01/2016 | 9:00:00 p.m. | 223621 | 206585 | 7.5259 | 0 | 91.624 | 14.1 | 0 | 5.63
82 | 04/01/2016 | 8:00:00 p.m. | 223621 | 206585 | 7.4608 | 0 | 91.536 | 16.1 | 0 | 5.64
81 | 04/01/2016 | 7:00:00 p.m. | 223621 | 206585 | 7.4193 | 0 | 91.628 | 18.9 | 0 | 5.65
80 | 04/01/2016 | 6:00:00 p.m. | 223621 | 206585 | 7.2712 | 0 | 91.386 | 21.9 | 0 | 5.66
79 | 04/01/2016 | 5:00:00 p.m. | 223621 | 206585 | 7.2771 | 0 | 91.315 | 24.3 | 0 | 5.66
78 | 04/01/2016 | 4:00:00 p.m. | 223621 | 206585 | 7.1999 | 0 | 91.057 | 26.1 | 0 | 5.65
77 | 04/01/2016 | 3:00:00 p.m. | 223621 | 206585 | 7.2369 | 0 | 91.338 | 24.3 | 0 | 5.65
76 | 04/01/2016 | 2:00:00 p.m. | 223621 | 206585 | 7.1685 | 0 | 90.957 | 25.7 | 0 | 5.66
75 | 04/01/2016 | 1:00:00 p.m. | 223621 | 206585 | 7.161 | 0 | 91.03 | 22 | 0 | 5.65
74 | 04/01/2016 | 12:00:00 p.m. | 223621 | 206585 | 7.2972 | 0 | 91.207 | 19.3 | 0 | 5.65
73 | 04/01/2016 | 11:00:00 a.m. | 223621 | 206585 | 7.3765 | 0 | 91.429 | 16 | 0 | 5.64
72 | 04/01/2016 | 10:00:00 a.m. | 223621 | 206585 | 7.4624 | 0 | 91.533 | 12.8 | 0 | 5.64
71 | 04/01/2016 | 9:00:00 a.m. | 223621 | 206585 | 7.5306 | 0 | 91.754 | 9.8 | 0 | 5.64
70 | 04/01/2016 | 8:00:00 a.m. | 223621 | 206585 | 7.692 | 0 | 91.887 | 9 | 0 | 5.62
69 | 04/01/2016 | 7:00:00 a.m. | 223621 | 206585 | 7.6796 | 0 | 91.918 | 10 | 0 | 5.63
68 | 04/01/2016 | 6:00:00 a.m. | 223621 | 206585 | 7.6521 | 0 | 91.649 | 10.5 | 0 | 5.63
67 | 04/01/2016 | 5:00:00 a.m. | 223621 | 206585 | 7.6045 | 0 | 91.583 | 9.9 | 0 | 5.63
66 | 04/01/2016 | 4:00:00 a.m. | 223621 | 206585 | 7.6523 | 0 | 91.772 | 9.3 | 0 | 5.63
65 | 04/01/2016 | 3:00:00 a.m. | 223621 | 206585 | 7.7011 | 0 | 91.939 | 9.1 | 0 | 5.63
64 | 04/01/2016 | 2:00:00 a.m. | 223621 | 206585 | 7.6777 | 0 | 92.029 | 10.1 | 0 | 5.62
63 | 04/01/2016 | 1:00:00 a.m. | 223621 | 206585 | 7.6277 | 0 | 92.241 | 11.2 | 0 | 5.62
62 | 04/01/2016 | 12:00:00 a.m. | 223621 | 206585 | 7.615 | 0 | 92.085 | 12.2 | 0 | 5.62
61 | 03/01/2016 | 11:00:00 p.m. | 223621 | 206585 | 7.5804 | 0 | 92.259 | 12.8 | 0 | 5.64
60 | 03/01/2016 | 10:00:00 p.m. | 223621 | 206585 | 7.6293 | 0 | 92.61 | 14.2 | 0 | 5.64
59 | 03/01/2016 | 9:00:00 p.m. | 223621 | 206585 | 7.5838 | 0 | 92.601 | 16 | 0 | 5.64
58 | 03/01/2016 | 8:00:00 p.m. | 223621 | 206585 | 7.5291 | 0 | 92.505 | 18.4 | 0 | 5.66
57 | 03/01/2016 | 7:00:00 p.m. | 223621 | 206585 | 7.441 | 0 | 92.468 | 21.8 | 0 | 5.65
56 | 03/01/2016 | 6:00:00 p.m. | 223621 | 206585 | 7.3172 | 0 | 92.363 | 25.1 | 0 | 5.65
55 | 03/01/2016 | 5:00:00 p.m. | 223621 | 206585 | 7.2247 | 0 | 92.329 | 27.4 | 0 | 5.66
54 | 03/01/2016 | 4:00:00 p.m. | 223621 | 206585 | 7.1706 | 0 | 92.139 | 30.7 | 0 | 5.68
53 | 03/01/2016 | 3:00:00 p.m. | 223621 | 206585 | 7.1247 | 0 | 92.067 | 32.9 | 0 | 5.68
52 | 03/01/2016 | 2:00:00 p.m. | 223621 | 206585 | 7.034 | 0 | 92.207 | 31.7 | 0 | 5.67
51 | 03/01/2016 | 1:00:00 p.m. | 223621 | 206585 | 6.9671 | 0 | 92.084 | 34 | 0 | 5.67
50 | 03/01/2016 | 12:00:00 p.m. | 223621 | 206585 | 6.9828 | 0 | 91.965 | 32 | 0 | 5.67
49 | 03/01/2016 | 11:00:00 a.m. | 223621 | 206585 | 7.1451 | 0 | 92.057 | 25.5 | 0 | 5.66
48 | 03/01/2016 | 10:00:00 a.m. | 223621 | 206585 | 7.3821 | 0 | 92.345 | 16 | 0 | 5.65
47 | 03/01/2016 | 9:00:00 a.m. | 223621 | 206585 | 7.7133 | 0 | 92.708 | 9 | 0 | 5.64
46 | 03/01/2016 | 8:00:00 a.m. | 223621 | 206585 | 7.7873 | 0 | 92.782 | 8.6 | 0 | 5.63
45 | 03/01/2016 | 7:00:00 a.m. | 223621 | 206585 | 7.7925 | 0 | 92.807 | 9.3 | 0 | 5.64
44 | 03/01/2016 | 6:00:00 a.m. | 223621 | 206585 | 7.7687 | 0 | 92.761 | 10.2 | 0 | 5.64
43 | 03/01/2016 | 5:00:00 a.m. | 223621 | 206585 | 7.7042 | 0 | 92.845 | 11.3 | 0 | 5.64
42 | 03/01/2016 | 4:00:00 a.m. | 223621 | 206585 | 7.6216 | 0 | 92.257 | 12.3 | 0 | 5.64
41 | 03/01/2016 | 3:00:00 a.m. | 223621 | 206585 | 7.556 | 0 | 92.212 | 13.2 | 0 | 5.63
40 | 03/01/2016 | 2:00:00 a.m. | 223621 | 206585 | 7.5456 | 0 | 91.83 | 13.8 | 0 | 5.63
39 | 03/01/2016 | 1:00:00 a.m. | 223621 | 206585 | 7.5186 | 0 | 92.151 | 14.5 | 0 | 5.64
38 | 03/01/2016 | 12:00:00 a.m. | 223621 | 206585 | 7.5216 | 0 | 92.045 | 15.2 | 0 | 5.65
37 | 02/01/2016 | 11:00:00 p.m. | 223621 | 206585 | 7.4732 | 0 | 91.912 | 16.7 | 0 | 5.64
36 | 02/01/2016 | 10:00:00 p.m. | 223621 | 206585 | 7.4233 | 0 | 91.826 | 18.2 | 0 | 5.65
35 | 02/01/2016 | 9:00:00 p.m. | 223621 | 206585 | 7.4332 | 0 | 91.881 | 19.4 | 0 | 5.65
34 | 02/01/2016 | 8:00:00 p.m. | 223621 | 206585 | 7.4106 | 0 | 92.107 | 20 | 0 | 5.65
33 | 02/01/2016 | 7:00:00 p.m. | 223621 | 206585 | 7.3413 | 0 | 91.917 | 22.1 | 0 | 5.66
32 | 02/01/2016 | 6:00:00 p.m. | 223621 | 206585 | 7.247 | 0 | 91.811 | 25.8 | 0 | 5.66
31 | 02/01/2016 | 5:00:00 p.m. | 223621 | 206585 | 7.1401 | 0 | 91.781 | 29.2 | 0 | 5.66
30 | 02/01/2016 | 4:00:00 p.m. | 223621 | 206585 | 7.1304 | 0 | 91.548 | 31.6 | 0 | 5.67
29 | 02/01/2016 | 3:00:00 p.m. | 223621 | 206585 | 7.0479 | 0 | 91.43 | 30.8 | 0 | 5.67
28 | 02/01/2016 | 2:00:00 p.m. | 223621 | 206585 | 7.0428 | 0 | 91.778 | 30.4 | 0 | 5.67
27 | 02/01/2016 | 1:00:00 p.m. | 223621 | 206585 | 7.1028 | 0 | 91.693 | 28.5 | 0 | 5.67
26 | 02/01/2016 | 12:00:00 p.m. | 223621 | 206585 | 7.2032 | 0 | 91.802 | 26.2 | 0 | 5.66
25 | 02/01/2016 | 11:00:00 a.m. | 223621 | 206585 | 7.2669 | 0 | 92.072 | 19.8 | 0 | 5.65
24 | 02/01/2016 | 10:00:00 a.m. | 223621 | 206585 | 7.4629 | 0 | 91.989 | 14 | 0 | 5.64
23 | 02/01/2016 | 9:00:00 a.m. | 223621 | 206585 | 7.5977 | 0 | 92.106 | 10.5 | 0 | 5.64
22 | 02/01/2016 | 8:00:00 a.m. | 223621 | 206585 | 7.7061 | 0 | 92.368 | 9.9 | 0 | 5.62
21 | 02/01/2016 | 7:00:00 a.m. | 223621 | 206585 | 7.6672 | 0 | 92.539 | 9.9 | 0 | 5.63
20 | 02/01/2016 | 6:00:00 a.m. | 223621 | 206585 | 7.7024 | 0 | 93.059 | 9.6 | 0 | 5.63
19 | 02/01/2016 | 5:00:00 a.m. | 223621 | 206585 | 7.6328 | 0 | 92.749 | 9.5 | 0 | 5.62
18 | 02/01/2016 | 4:00:00 a.m. | 223621 | 206585 | 7.6838 | 0 | 92.802 | 10 | 0 | 5.64
17 | 02/01/2016 | 3:00:00 a.m. | 223621 | 206585 | 7.6217 | 0 | 92.911 | 10.7 | 0 | 5.63
16 | 02/01/2016 | 2:00:00 a.m. | 223621 | 206585 | 7.677 | 0 | 92.731 | 11.4 | 0 | 5.63
15 | 02/01/2016 | 1:00:00 a.m. | 223621 | 206585 | 7.6381 | 0 | 92.772 | 12.4 | 0 | 5.63
14 | 02/01/2016 | 12:00:00 a.m. | 223621 | 206585 | 7.6603 | 0 | 92.506 | 13.6 | 0 | 5.64
13 | 01/01/2016 | 11:00:00 p.m. | 223621 | 206585 | 7.5456 | 0 | 93.173 | 15 | 0 | 5.64
12 | 01/01/2016 | 10:00:00 p.m. | 223621 | 206585 | 7.5982 | 0 | 93.374 | 16.5 | 0 | 5.64
11 | 01/01/2016 | 9:00:00 p.m. | 223621 | 206585 | 7.5329 | 0 | 93.184 | 18.6 | 0 | 5.66
10 | 01/01/2016 | 8:00:00 p.m. | 223621 | 206585 | 7.4805 | 0 | 93.363 | 21.5 | 0 | 5.67
9 | 01/01/2016 | 7:00:00 p.m. | 223621 | 206585 | 7.3899 | 0 | 93.149 | 25.5 | 0 | 5.66
8 | 01/01/2016 | 6:00:00 p.m. | 223621 | 206585 | 7.2346 | 0 | 93.043 | 31.5 | 0 | 5.68
7 | 01/01/2016 | 5:00:00 p.m. | 223621 | 206585 | 7.0929 | 0 | 92.948 | 36.5 | 0 | 5.68
6 | 01/01/2016 | 4:00:00 p.m. | 223621 | 206585 | 6.9875 | 0 | 92.635 | 36.9 | 0 | 5.68
5 | 01/01/2016 | 3:00:00 p.m. | 223621 | 206585 | 7.0351 | 0 | 92.851 | 35.1 | 0 | 5.68
4 | 01/01/2016 | 2:00:00 p.m. | 223621 | 206585 | 7.0874 | 0 | 92.824 | 35.4 | 0 | 5.68
3 | 01/01/2016 | 1:00:00 p.m. | 223621 | 206585 | 7.0347 | 0 | 92.625 | 34.5 | 0 | 5.67
2 | 01/01/2016 | 12:00:00 p.m. | 223621 | 206585 | 7.0824 | 0 | 92.815 | 31.1 | 0 | 5.68
1 | 01/01/2016 | 11:00:00 a.m. | 223621 | 206585 | 7.2466 | 0 | 92.477 | 24.1 | 0 | 5.66