## Mineria Empresarial horario 022
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 695
Fault/Alarms Recorded: | Date | Time | Condition
1 | 16/02/2016 | 3:04:17 p.m. | 4 (High Temperature Alarm Occurred)
2 | 09/02/2016 | 12:46:03 p.m. | 0 (Alarm Register Cleared )
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
695 | 01/03/2016 | 10:00:00 a.m. | 248813 | 210193 | 7.0132 | 0 | 87.346 | 19.5 | 95.5 | 5.62
694 | 01/03/2016 | 9:00:00 a.m. | 248726 | 210181 | 7.0814 | 0 | 91.015 | 10.9 | 96.2 | 5.6
693 | 01/03/2016 | 8:00:00 a.m. | 248723 | 210180 | 7.6341 | 0 | 91.471 | 8.3 | 0 | 5.6
692 | 01/03/2016 | 7:00:00 a.m. | 248723 | 210180 | 7.6414 | 0 | 91.847 | 8.7 | 0 | 5.59
691 | 01/03/2016 | 6:00:00 a.m. | 248723 | 210180 | 7.6627 | 0 | 91.766 | 9.2 | 0 | 5.59
690 | 01/03/2016 | 5:00:00 a.m. | 248723 | 210180 | 7.6749 | 0 | 91.709 | 9.8 | 0 | 5.6
689 | 01/03/2016 | 4:00:00 a.m. | 248723 | 210180 | 7.6379 | 0 | 91.7 | 10.6 | 0 | 5.6
688 | 01/03/2016 | 3:00:00 a.m. | 248723 | 210180 | 7.5948 | 0 | 91.627 | 11.5 | 0 | 5.6
687 | 01/03/2016 | 2:00:00 a.m. | 248723 | 210180 | 7.593 | 0 | 91.372 | 12.6 | 0 | 5.61
686 | 01/03/2016 | 1:00:00 a.m. | 248723 | 210180 | 7.5176 | 0 | 91.721 | 13.5 | 0 | 5.61
685 | 01/03/2016 | 12:00:00 a.m. | 248723 | 210180 | 7.5392 | 0 | 91.773 | 13.9 | 0 | 5.61
684 | 29/02/2016 | 11:00:00 p.m. | 248723 | 210180 | 7.4956 | 0 | 91.855 | 15 | 0 | 5.61
683 | 29/02/2016 | 10:00:00 p.m. | 248723 | 210180 | 7.4665 | 0 | 91.88 | 16.6 | 0 | 5.6
682 | 29/02/2016 | 9:00:00 p.m. | 248723 | 210180 | 7.4452 | 0 | 91.825 | 18.3 | 0 | 5.62
681 | 29/02/2016 | 8:00:00 p.m. | 248723 | 210180 | 7.3769 | 0 | 91.769 | 20.9 | 0 | 5.62
680 | 29/02/2016 | 7:00:00 p.m. | 248723 | 210180 | 7.3002 | 0 | 91.855 | 24.4 | 0 | 5.62
679 | 29/02/2016 | 6:00:00 p.m. | 248723 | 210180 | 7.2275 | 0 | 91.589 | 26.5 | 0 | 5.63
678 | 29/02/2016 | 5:00:00 p.m. | 248723 | 210180 | 7.1955 | 0 | 91.64 | 25.2 | 0 | 5.64
677 | 29/02/2016 | 4:00:00 p.m. | 248723 | 210180 | 7.2389 | 0 | 91.626 | 28.8 | 0 | 5.64
676 | 29/02/2016 | 3:00:00 p.m. | 248723 | 210180 | 7.0453 | 0 | 91.388 | 36 | 0 | 5.63
675 | 29/02/2016 | 2:00:00 p.m. | 248723 | 210180 | 6.9055 | 0 | 91.087 | 34.5 | 9.4 | 5.65
674 | 29/02/2016 | 1:00:00 p.m. | 248723 | 210180 | 7.1107 | 0 | 87.925 | 24.9 | 87.5 | 5.65
673 | 29/02/2016 | 12:00:00 p.m. | 248647 | 210169 | 6.9533 | 0 | 87.472 | 23.7 | 87 | 5.64
672 | 29/02/2016 | 11:00:00 a.m. | 248562 | 210157 | 6.9728 | 0 | 87.409 | 22.5 | 86.7 | 5.63
671 | 29/02/2016 | 10:00:00 a.m. | 248479 | 210145 | 6.9867 | 0 | 87.434 | 21 | 89 | 5.62
670 | 29/02/2016 | 9:00:00 a.m. | 248395 | 210133 | 7.0272 | 0 | 88.182 | 16.7 | 97 | 5.61
669 | 29/02/2016 | 8:00:00 a.m. | 248314 | 210122 | 7.7149 | 0 | 91.906 | 7.5 | 0 | 5.59
668 | 29/02/2016 | 7:00:00 a.m. | 248314 | 210122 | 7.7216 | 0 | 92.449 | 8 | 0 | 5.59
667 | 29/02/2016 | 6:00:00 a.m. | 248314 | 210122 | 7.7427 | 0 | 92.462 | 8.6 | 0 | 5.6
666 | 29/02/2016 | 5:00:00 a.m. | 248314 | 210122 | 7.7015 | 0 | 92.342 | 9.4 | 0 | 5.6
665 | 29/02/2016 | 4:00:00 a.m. | 248314 | 210122 | 7.6942 | 0 | 92.382 | 10.4 | 0 | 5.6
664 | 29/02/2016 | 3:00:00 a.m. | 248314 | 210122 | 7.6477 | 0 | 92.198 | 11.5 | 0 | 5.6
663 | 29/02/2016 | 2:00:00 a.m. | 248314 | 210122 | 7.6112 | 0 | 92.144 | 12.1 | 0 | 5.6
662 | 29/02/2016 | 1:00:00 a.m. | 248314 | 210122 | 7.5971 | 0 | 92.146 | 12.7 | 0 | 5.6
661 | 29/02/2016 | 12:00:00 a.m. | 248314 | 210122 | 7.5997 | 0 | 92.075 | 13.5 | 0 | 5.61
660 | 28/02/2016 | 11:00:00 p.m. | 248314 | 210122 | 7.5132 | 0 | 92.381 | 14.2 | 0 | 5.61
659 | 28/02/2016 | 10:00:00 p.m. | 248314 | 210122 | 7.55 | 0 | 92.472 | 15.1 | 0 | 5.61
658 | 28/02/2016 | 9:00:00 p.m. | 248314 | 210122 | 7.5708 | 0 | 92.462 | 17.1 | 0 | 5.61
657 | 28/02/2016 | 8:00:00 p.m. | 248314 | 210122 | 7.435 | 0 | 92.443 | 19.3 | 0 | 5.61
656 | 28/02/2016 | 7:00:00 p.m. | 248314 | 210122 | 7.4109 | 0 | 92.25 | 20.8 | 0 | 5.62
655 | 28/02/2016 | 6:00:00 p.m. | 248314 | 210122 | 7.3325 | 0 | 92.206 | 22.4 | 0 | 5.61
654 | 28/02/2016 | 5:00:00 p.m. | 248314 | 210122 | 7.3106 | 0 | 92.172 | 24 | 0 | 5.64
653 | 28/02/2016 | 4:00:00 p.m. | 248314 | 210122 | 7.2363 | 0 | 92.244 | 24.2 | 0 | 5.63
652 | 28/02/2016 | 3:00:00 p.m. | 248314 | 210122 | 7.1861 | 0 | 91.85 | 35.9 | 0 | 5.63
651 | 28/02/2016 | 2:00:00 p.m. | 248314 | 210122 | 6.8727 | 0 | 91.542 | 38.6 | 0 | 5.64
650 | 28/02/2016 | 1:00:00 p.m. | 248314 | 210122 | 6.8452 | 0 | 91.452 | 37 | 0 | 5.65
649 | 28/02/2016 | 12:00:00 p.m. | 248314 | 210122 | 6.9653 | 0 | 91.585 | 32.6 | 0 | 5.62
648 | 28/02/2016 | 11:00:00 a.m. | 248314 | 210122 | 7.0888 | 0 | 91.43 | 25.7 | 0 | 5.62
647 | 28/02/2016 | 10:00:00 a.m. | 248314 | 210122 | 7.2852 | 0 | 91.624 | 17.3 | 0 | 5.62
646 | 28/02/2016 | 9:00:00 a.m. | 248314 | 210122 | 7.5464 | 0 | 92.017 | 10.9 | 0 | 5.6
645 | 28/02/2016 | 8:00:00 a.m. | 248314 | 210122 | 7.6892 | 0 | 92.296 | 8.6 | 0 | 5.6
644 | 28/02/2016 | 7:00:00 a.m. | 248314 | 210122 | 7.7227 | 0 | 92.277 | 9.2 | 0 | 5.6
643 | 28/02/2016 | 6:00:00 a.m. | 248314 | 210122 | 7.6588 | 0 | 92.237 | 9.9 | 0 | 5.6
642 | 28/02/2016 | 5:00:00 a.m. | 248314 | 210122 | 7.6541 | 0 | 92.147 | 10.4 | 0 | 5.6
641 | 28/02/2016 | 4:00:00 a.m. | 248314 | 210122 | 7.6188 | 0 | 92.187 | 11 | 0 | 5.59
640 | 28/02/2016 | 3:00:00 a.m. | 248314 | 210122 | 7.6563 | 0 | 92.118 | 11.2 | 0 | 5.6
639 | 28/02/2016 | 2:00:00 a.m. | 248314 | 210122 | 7.6024 | 0 | 92.132 | 11 | 0 | 5.6
638 | 28/02/2016 | 1:00:00 a.m. | 248314 | 210122 | 7.603 | 0 | 92.118 | 11.6 | 0 | 5.6
637 | 28/02/2016 | 12:00:00 a.m. | 248314 | 210122 | 7.5981 | 0 | 92.169 | 12.1 | 0 | 5.6
636 | 27/02/2016 | 11:00:00 p.m. | 248314 | 210122 | 7.6128 | 0 | 92.175 | 12.3 | 0 | 5.6
635 | 27/02/2016 | 10:00:00 p.m. | 248314 | 210122 | 7.6016 | 0 | 92.098 | 12.3 | 0 | 5.61
634 | 27/02/2016 | 9:00:00 p.m. | 248314 | 210122 | 7.5942 | 0 | 92.064 | 12.5 | 0 | 5.61
633 | 27/02/2016 | 8:00:00 p.m. | 248314 | 210122 | 7.5911 | 0 | 92.056 | 12.8 | 0 | 5.6
632 | 27/02/2016 | 7:00:00 p.m. | 248314 | 210122 | 7.5856 | 0 | 92.028 | 13.3 | 0 | 5.6
631 | 27/02/2016 | 6:00:00 p.m. | 248314 | 210122 | 7.5448 | 0 | 92.078 | 16.4 | 0 | 5.61
630 | 27/02/2016 | 5:00:00 p.m. | 248314 | 210122 | 7.3628 | 0 | 91.774 | 23.9 | 0 | 5.62
629 | 27/02/2016 | 4:00:00 p.m. | 248314 | 210122 | 7.1819 | 0 | 91.627 | 25.9 | 0 | 5.63
628 | 27/02/2016 | 3:00:00 p.m. | 248314 | 210122 | 7.2363 | 0 | 91.488 | 26.5 | 0 | 5.62
627 | 27/02/2016 | 2:00:00 p.m. | 248314 | 210122 | 7.2088 | 0 | 91.47 | 26.2 | 0 | 5.63
626 | 27/02/2016 | 1:00:00 p.m. | 248314 | 210122 | 7.1332 | 0 | 91.445 | 26.6 | 0 | 5.63
625 | 27/02/2016 | 12:00:00 p.m. | 248314 | 210122 | 7.1974 | 0 | 91.574 | 22.4 | 0 | 5.62
624 | 27/02/2016 | 11:00:00 a.m. | 248314 | 210122 | 7.3656 | 0 | 91.433 | 19.9 | 0 | 5.62
623 | 27/02/2016 | 10:00:00 a.m. | 248314 | 210122 | 7.3802 | 0 | 91.406 | 15.8 | 0 | 5.61
622 | 27/02/2016 | 9:00:00 a.m. | 248314 | 210122 | 7.5575 | 0 | 92.163 | 10.9 | 0 | 5.6
621 | 27/02/2016 | 8:00:00 a.m. | 248314 | 210122 | 7.7396 | 0 | 92.096 | 9.3 | 0 | 5.61
620 | 27/02/2016 | 7:00:00 a.m. | 248314 | 210122 | 7.6749 | 0 | 92.05 | 9.7 | 0 | 5.61
619 | 27/02/2016 | 6:00:00 a.m. | 248314 | 210122 | 7.6685 | 0 | 92.117 | 10.2 | 0 | 5.6
618 | 27/02/2016 | 5:00:00 a.m. | 248314 | 210122 | 7.6168 | 0 | 92.271 | 11 | 0 | 5.6
617 | 27/02/2016 | 4:00:00 a.m. | 248314 | 210122 | 7.6394 | 0 | 92.357 | 11.9 | 0 | 5.6
616 | 27/02/2016 | 3:00:00 a.m. | 248314 | 210122 | 7.6083 | 0 | 92.315 | 13.3 | 0 | 5.61
615 | 27/02/2016 | 2:00:00 a.m. | 248314 | 210122 | 7.5787 | 0 | 92.284 | 14.1 | 0 | 5.61
614 | 27/02/2016 | 1:00:00 a.m. | 248314 | 210122 | 7.5692 | 0 | 92.242 | 14.2 | 0 | 5.61
613 | 27/02/2016 | 12:00:00 a.m. | 248314 | 210122 | 7.5723 | 0 | 92.306 | 14.7 | 0 | 5.61
612 | 26/02/2016 | 11:00:00 p.m. | 248314 | 210122 | 7.5374 | 0 | 92.224 | 15.4 | 0 | 5.61
611 | 26/02/2016 | 10:00:00 p.m. | 248314 | 210122 | 7.486 | 0 | 92.142 | 16.8 | 0 | 5.61
610 | 26/02/2016 | 9:00:00 p.m. | 248314 | 210122 | 7.465 | 0 | 91.802 | 18 | 0 | 5.62
609 | 26/02/2016 | 8:00:00 p.m. | 248314 | 210122 | 7.4611 | 0 | 91.921 | 19 | 0 | 5.61
608 | 26/02/2016 | 7:00:00 p.m. | 248314 | 210122 | 7.3666 | 0 | 91.69 | 20.3 | 0 | 5.62
607 | 26/02/2016 | 6:00:00 p.m. | 248314 | 210122 | 7.3222 | 0 | 91.762 | 22.4 | 1.9 | 5.62
606 | 26/02/2016 | 5:00:00 p.m. | 248314 | 210122 | 7.2815 | 0 | 89.383 | 22.6 | 89.5 | 5.63
605 | 26/02/2016 | 4:00:00 p.m. | 248262 | 210115 | 7.0516 | 0 | 87.929 | 22.9 | 89.2 | 5.63
604 | 26/02/2016 | 3:00:00 p.m. | 248179 | 210103 | 7.0139 | 0 | 87.983 | 23 | 87.9 | 5.64
603 | 26/02/2016 | 2:00:00 p.m. | 248096 | 210091 | 6.9712 | 0 | 87.537 | 23.4 | 88.5 | 5.64
602 | 26/02/2016 | 1:00:00 p.m. | 248010 | 210078 | 6.9583 | 0 | 87.526 | 23.9 | 87.6 | 5.64
601 | 26/02/2016 | 12:00:00 p.m. | 247924 | 210066 | 6.9572 | 0 | 87.436 | 23.7 | 88.1 | 5.65
600 | 26/02/2016 | 11:00:00 a.m. | 247839 | 210054 | 7.0023 | 0 | 87.573 | 22.5 | 89.1 | 5.64
599 | 26/02/2016 | 10:00:00 a.m. | 247752 | 210041 | 7.04 | 0 | 87.491 | 20.5 | 92.9 | 5.61
598 | 26/02/2016 | 9:00:00 a.m. | 247663 | 210029 | 7.0812 | 0 | 90.798 | 12.5 | 95.8 | 5.62
597 | 26/02/2016 | 8:00:00 a.m. | 247649 | 210027 | 7.6196 | 0 | 91.693 | 10.2 | 0 | 5.61
596 | 26/02/2016 | 7:00:00 a.m. | 247649 | 210027 | 7.6263 | 0 | 91.79 | 10.4 | 0 | 5.61
595 | 26/02/2016 | 6:00:00 a.m. | 247649 | 210027 | 7.63 | 0 | 91.817 | 11.1 | 0 | 5.62
594 | 26/02/2016 | 5:00:00 a.m. | 247649 | 210027 | 7.5827 | 0 | 92.12 | 12.1 | 0 | 5.61
593 | 26/02/2016 | 4:00:00 a.m. | 247649 | 210027 | 7.5676 | 0 | 92.083 | 12.9 | 0 | 5.61
592 | 26/02/2016 | 3:00:00 a.m. | 247649 | 210027 | 7.5682 | 0 | 91.954 | 13.6 | 0 | 5.61
591 | 26/02/2016 | 2:00:00 a.m. | 247649 | 210027 | 7.5405 | 0 | 92.061 | 14.7 | 0 | 5.6
590 | 26/02/2016 | 1:00:00 a.m. | 247649 | 210027 | 7.4893 | 0 | 92.228 | 16.1 | 0 | 5.62
589 | 26/02/2016 | 12:00:00 a.m. | 247649 | 210027 | 7.4866 | 0 | 92.147 | 17.5 | 0 | 5.61
588 | 25/02/2016 | 11:00:00 p.m. | 247649 | 210027 | 7.437 | 0 | 92.039 | 18.9 | 0 | 5.61
587 | 25/02/2016 | 10:00:00 p.m. | 247649 | 210027 | 7.379 | 0 | 91.921 | 20.1 | 0 | 5.63
586 | 25/02/2016 | 9:00:00 p.m. | 247649 | 210027 | 7.35 | 0 | 91.976 | 21.4 | 0 | 5.62
585 | 25/02/2016 | 8:00:00 p.m. | 247649 | 210027 | 7.2886 | 0 | 91.782 | 23.2 | 0 | 5.63
584 | 25/02/2016 | 7:00:00 p.m. | 247649 | 210027 | 7.2433 | 0 | 91.774 | 25 | 0 | 5.61
583 | 25/02/2016 | 6:00:00 p.m. | 247649 | 210027 | 7.2258 | 0 | 91.895 | 26.5 | 1.8 | 5.64
582 | 25/02/2016 | 5:00:00 p.m. | 247649 | 210027 | 7.2029 | 0 | 89.951 | 25.2 | 83.1 | 5.64
581 | 25/02/2016 | 4:00:00 p.m. | 247605 | 210021 | 6.9885 | 0 | 88.569 | 25.5 | 85.9 | 5.65
580 | 25/02/2016 | 3:00:00 p.m. | 247530 | 210010 | 6.9395 | 0 | 87.611 | 25.3 | 86.8 | 5.67
579 | 25/02/2016 | 2:00:00 p.m. | 247444 | 209997 | 6.9241 | 0 | 87.522 | 24.8 | 87.4 | 5.65
578 | 25/02/2016 | 1:00:00 p.m. | 247358 | 209985 | 6.9224 | 0 | 87.664 | 24.6 | 86.8 | 5.65
577 | 25/02/2016 | 12:00:00 p.m. | 247272 | 209973 | 6.9711 | 0 | 87.434 | 23.5 | 87.7 | 5.64
576 | 25/02/2016 | 11:00:00 a.m. | 247186 | 209960 | 6.9968 | 0 | 87.44 | 22.1 | 88.4 | 5.63
575 | 25/02/2016 | 10:00:00 a.m. | 247099 | 209948 | 7.0114 | 0 | 87.918 | 20.4 | 89.2 | 5.61
574 | 25/02/2016 | 9:00:00 a.m. | 247014 | 209936 | 7.1001 | 0 | 88.318 | 16.4 | 96 | 5.61
573 | 25/02/2016 | 8:00:00 a.m. | 246933 | 209925 | 7.7327 | 0 | 92.074 | 6.7 | 0 | 5.59
572 | 25/02/2016 | 7:00:00 a.m. | 246933 | 209925 | 7.7869 | 0 | 92.085 | 7 | 0 | 5.6
571 | 25/02/2016 | 6:00:00 a.m. | 246933 | 209925 | 7.7164 | 0 | 91.969 | 7.7 | 0 | 5.62
570 | 25/02/2016 | 5:00:00 a.m. | 246933 | 209925 | 7.6878 | 0 | 91.896 | 8.5 | 0 | 5.61
569 | 25/02/2016 | 4:00:00 a.m. | 246933 | 209925 | 7.7135 | 0 | 91.899 | 9.3 | 0 | 5.62
568 | 25/02/2016 | 3:00:00 a.m. | 246933 | 209925 | 7.6315 | 0 | 91.94 | 10.3 | 0 | 5.61
567 | 25/02/2016 | 2:00:00 a.m. | 246933 | 209925 | 7.6048 | 0 | 91.955 | 11.6 | 0 | 5.61
566 | 25/02/2016 | 1:00:00 a.m. | 246933 | 209925 | 7.5927 | 0 | 92.113 | 13.2 | 0 | 5.6
565 | 25/02/2016 | 12:00:00 a.m. | 246933 | 209925 | 7.533 | 0 | 91.876 | 15 | 0 | 5.62
564 | 24/02/2016 | 11:00:00 p.m. | 246933 | 209925 | 7.4647 | 0 | 91.967 | 17 | 0 | 5.61
563 | 24/02/2016 | 10:00:00 p.m. | 246933 | 209925 | 7.4089 | 0 | 91.825 | 18.9 | 0 | 5.62
562 | 24/02/2016 | 9:00:00 p.m. | 246933 | 209925 | 7.3591 | 0 | 91.721 | 20.4 | 0 | 5.62
561 | 24/02/2016 | 8:00:00 p.m. | 246933 | 209925 | 7.38 | 0 | 91.915 | 22.6 | 0 | 5.62
560 | 24/02/2016 | 7:00:00 p.m. | 246933 | 209925 | 7.2615 | 0 | 91.899 | 26.1 | 0 | 5.63
559 | 24/02/2016 | 6:00:00 p.m. | 246933 | 209925 | 7.1351 | 0 | 91.857 | 31.7 | 0 | 5.65
558 | 24/02/2016 | 5:00:00 p.m. | 246933 | 209925 | 7.0119 | 0 | 91.353 | 34.3 | 1.2 | 5.65
557 | 24/02/2016 | 4:00:00 p.m. | 246933 | 209925 | 6.9646 | 0 | 89.609 | 28.6 | 87.4 | 5.65
556 | 24/02/2016 | 3:00:00 p.m. | 246898 | 209919 | 6.921 | 0 | 88.08 | 25.7 | 86 | 5.65
555 | 24/02/2016 | 2:00:00 p.m. | 246816 | 209908 | 6.9274 | 0 | 88.232 | 26 | 84.8 | 5.65
554 | 24/02/2016 | 1:00:00 p.m. | 246737 | 209896 | 6.9671 | 0 | 88.329 | 25.5 | 84.5 | 5.65
553 | 24/02/2016 | 12:00:00 p.m. | 246661 | 209885 | 6.9571 | 0 | 88.087 | 24.2 | 85.7 | 5.64
552 | 24/02/2016 | 11:00:00 a.m. | 246581 | 209874 | 6.9581 | 0 | 87.904 | 22.6 | 87 | 5.64
551 | 24/02/2016 | 10:00:00 a.m. | 246498 | 209862 | 7.0298 | 0 | 87.591 | 20.1 | 88 | 5.63
550 | 24/02/2016 | 9:00:00 a.m. | 246426 | 209852 | 7.0154 | 0 | 87.488 | 10 | 94.4 | 5.61
549 | 24/02/2016 | 8:00:00 a.m. | 246402 | 209849 | 7.5081 | 0 | 88.543 | 5 | 0 | 5.59
548 | 24/02/2016 | 7:00:00 a.m. | 246402 | 209849 | 7.4978 | 0 | 88.762 | 5.5 | 0 | 5.59
547 | 24/02/2016 | 6:00:00 a.m. | 246402 | 209849 | 7.5367 | 0 | 88.722 | 6.4 | 0 | 5.6
546 | 24/02/2016 | 5:00:00 a.m. | 246402 | 209849 | 7.4985 | 0 | 88.671 | 7.4 | 0 | 5.6
545 | 24/02/2016 | 4:00:00 a.m. | 246402 | 209849 | 7.4713 | 0 | 88.642 | 8.7 | 0 | 5.61
544 | 24/02/2016 | 3:00:00 a.m. | 246402 | 209849 | 7.4159 | 0 | 88.488 | 10 | 0 | 5.6
543 | 24/02/2016 | 2:00:00 a.m. | 246402 | 209849 | 7.3572 | 0 | 88.44 | 11.5 | 0 | 5.61
542 | 24/02/2016 | 1:00:00 a.m. | 246402 | 209849 | 7.321 | 0 | 88.444 | 13.1 | 0 | 5.62
541 | 24/02/2016 | 12:00:00 a.m. | 246402 | 209849 | 7.2904 | 0 | 88.509 | 14.5 | 0 | 5.61
540 | 23/02/2016 | 11:00:00 p.m. | 246402 | 209849 | 7.2078 | 0 | 88.596 | 16.3 | 0 | 5.61
539 | 23/02/2016 | 10:00:00 p.m. | 246402 | 209849 | 7.1714 | 0 | 88.459 | 18.3 | 0 | 5.62
538 | 23/02/2016 | 9:00:00 p.m. | 246402 | 209849 | 7.1487 | 0 | 88.448 | 20.2 | 0 | 5.61
537 | 23/02/2016 | 8:00:00 p.m. | 246402 | 209849 | 7.0858 | 0 | 88.439 | 22.3 | 0 | 5.63
536 | 23/02/2016 | 7:00:00 p.m. | 246402 | 209849 | 7.0149 | 0 | 88.536 | 25.1 | 1.7 | 5.64
535 | 23/02/2016 | 6:00:00 p.m. | 246402 | 209849 | 6.9558 | 0 | 87.096 | 25 | 69.9 | 5.64
534 | 23/02/2016 | 5:00:00 p.m. | 246365 | 209843 | 6.8376 | 0 | 86.037 | 25.9 | 70.2 | 5.65
533 | 23/02/2016 | 4:00:00 p.m. | 246302 | 209834 | 6.7975 | 0 | 85.084 | 25.9 | 84.6 | 5.67
532 | 23/02/2016 | 3:00:00 p.m. | 246229 | 209823 | 6.6991 | 0 | 84.835 | 26 | 85.3 | 5.67
531 | 23/02/2016 | 2:00:00 p.m. | 246149 | 209811 | 6.7116 | 0 | 85.115 | 25.9 | 80.6 | 5.65
530 | 23/02/2016 | 1:00:00 p.m. | 246075 | 209800 | 6.7185 | 0 | 84.56 | 25.2 | 85.2 | 5.65
529 | 23/02/2016 | 12:00:00 p.m. | 245993 | 209788 | 6.718 | 0 | 84.815 | 24.3 | 84.7 | 5.63
528 | 23/02/2016 | 11:00:00 a.m. | 245914 | 209776 | 6.7898 | 0 | 84.51 | 22.8 | 87.5 | 5.64
527 | 23/02/2016 | 10:00:00 a.m. | 245833 | 209764 | 6.7597 | 0 | 84.27 | 21 | 90 | 5.63
526 | 23/02/2016 | 9:00:00 a.m. | 245744 | 209751 | 6.8247 | 0 | 84.601 | 19.1 | 91.3 | 5.61
525 | 23/02/2016 | 8:00:00 a.m. | 245655 | 209738 | 7.1114 | 0 | 87.357 | 14.2 | 94 | 5.6
524 | 23/02/2016 | 7:00:00 a.m. | 245610 | 209732 | 7.4517 | 0 | 88.754 | 8.2 | 0 | 5.6
523 | 23/02/2016 | 6:00:00 a.m. | 245610 | 209732 | 7.448 | 0 | 88.695 | 9.2 | 0 | 5.6
522 | 23/02/2016 | 5:00:00 a.m. | 245610 | 209732 | 7.4013 | 0 | 88.709 | 10.4 | 0 | 5.61
521 | 23/02/2016 | 4:00:00 a.m. | 245610 | 209732 | 7.3955 | 0 | 88.86 | 11.8 | 0 | 5.61
520 | 23/02/2016 | 3:00:00 a.m. | 245610 | 209732 | 7.3584 | 0 | 88.757 | 12.8 | 0 | 5.62
519 | 23/02/2016 | 2:00:00 a.m. | 245610 | 209732 | 7.3201 | 0 | 88.621 | 13.3 | 0 | 5.62
518 | 23/02/2016 | 1:00:00 a.m. | 245610 | 209732 | 7.2895 | 0 | 88.722 | 14.2 | 0 | 5.62
517 | 23/02/2016 | 12:00:00 a.m. | 245610 | 209732 | 7.2803 | 0 | 88.681 | 15 | 0 | 5.61
516 | 22/02/2016 | 11:00:00 p.m. | 245610 | 209732 | 7.2428 | 0 | 88.578 | 16.1 | 0 | 5.62
515 | 22/02/2016 | 10:00:00 p.m. | 245610 | 209732 | 7.2299 | 0 | 88.555 | 17.5 | 0 | 5.61
514 | 22/02/2016 | 9:00:00 p.m. | 245610 | 209732 | 7.1709 | 0 | 88.585 | 19.2 | 0 | 5.62
513 | 22/02/2016 | 8:00:00 p.m. | 245610 | 209732 | 7.1265 | 0 | 88.598 | 21.2 | 0 | 5.63
512 | 22/02/2016 | 7:00:00 p.m. | 245610 | 209732 | 7.0477 | 0 | 88.302 | 24.6 | 0 | 5.63
511 | 22/02/2016 | 6:00:00 p.m. | 245610 | 209732 | 6.9283 | 0 | 88.312 | 29.7 | 0 | 5.65
510 | 22/02/2016 | 5:00:00 p.m. | 245610 | 209732 | 6.8016 | 0 | 88.293 | 33.6 | 0 | 5.65
509 | 22/02/2016 | 4:00:00 p.m. | 245610 | 209732 | 6.744 | 0 | 88.338 | 36.2 | 0 | 5.66
508 | 22/02/2016 | 3:00:00 p.m. | 245610 | 209732 | 6.6868 | 0 | 88.243 | 37.8 | 0 | 5.66
507 | 22/02/2016 | 2:00:00 p.m. | 245610 | 209732 | 6.6624 | 0 | 88.243 | 38.4 | 0 | 5.65
506 | 22/02/2016 | 1:00:00 p.m. | 245609 | 209732 | 6.6741 | 0 | 88.185 | 37.1 | 0 | 5.65
505 | 22/02/2016 | 12:00:00 p.m. | 245609 | 209732 | 6.7126 | 0 | 88.331 | 34.2 | 0 | 5.65
504 | 22/02/2016 | 11:00:00 a.m. | 245609 | 209732 | 6.8156 | 0 | 88.253 | 28.4 | 0 | 5.61
503 | 22/02/2016 | 10:00:00 a.m. | 245609 | 209732 | 7.0079 | 0 | 88.423 | 19.1 | 0 | 5.63
502 | 22/02/2016 | 9:00:00 a.m. | 245609 | 209732 | 7.2719 | 0 | 88.616 | 11.3 | 0 | 5.62
501 | 22/02/2016 | 8:00:00 a.m. | 245609 | 209732 | 7.4554 | 0 | 88.825 | 8.5 | 0 | 5.6
500 | 22/02/2016 | 7:00:00 a.m. | 245609 | 209732 | 7.4799 | 0 | 89.298 | 9 | 0 | 5.61
499 | 22/02/2016 | 6:00:00 a.m. | 245609 | 209732 | 7.4601 | 0 | 89.349 | 9.8 | 0 | 5.61
498 | 22/02/2016 | 5:00:00 a.m. | 245609 | 209732 | 7.4393 | 0 | 89.289 | 10.6 | 0 | 5.61
497 | 22/02/2016 | 4:00:00 a.m. | 245609 | 209732 | 7.4207 | 0 | 89.136 | 11.5 | 0 | 5.6
496 | 22/02/2016 | 3:00:00 a.m. | 245609 | 209732 | 7.3779 | 0 | 89.151 | 12.3 | 0 | 5.61
495 | 22/02/2016 | 2:00:00 a.m. | 245609 | 209732 | 7.3522 | 0 | 89.08 | 13.2 | 0 | 5.61
494 | 22/02/2016 | 1:00:00 a.m. | 245609 | 209732 | 7.3136 | 0 | 89.2 | 14.1 | 0 | 5.61
493 | 22/02/2016 | 12:00:00 a.m. | 245609 | 209732 | 7.3333 | 0 | 89.384 | 14.6 | 0 | 5.62
492 | 21/02/2016 | 11:00:00 p.m. | 245609 | 209732 | 7.3139 | 0 | 89.368 | 15.9 | 0 | 5.62
491 | 21/02/2016 | 10:00:00 p.m. | 245609 | 209732 | 7.2977 | 0 | 89.486 | 18.1 | 0 | 5.62
490 | 21/02/2016 | 9:00:00 p.m. | 245609 | 209732 | 7.2168 | 0 | 89.526 | 20.7 | 0 | 5.63
489 | 21/02/2016 | 8:00:00 p.m. | 245609 | 209732 | 7.1514 | 0 | 89.383 | 23.8 | 0 | 5.62
488 | 21/02/2016 | 7:00:00 p.m. | 245609 | 209732 | 7.0723 | 0 | 89.147 | 29.4 | 0 | 5.63
487 | 21/02/2016 | 6:00:00 p.m. | 245609 | 209732 | 6.8592 | 0 | 89.28 | 37 | 0 | 5.67
486 | 21/02/2016 | 5:00:00 p.m. | 245609 | 209732 | 6.73 | 0 | 88.975 | 40.8 | 0 | 5.65
485 | 21/02/2016 | 4:00:00 p.m. | 245609 | 209732 | 6.6246 | 0 | 88.845 | 42.2 | 0 | 5.67
484 | 21/02/2016 | 3:00:00 p.m. | 245609 | 209732 | 6.6298 | 0 | 88.879 | 43.4 | 0 | 5.67
483 | 21/02/2016 | 2:00:00 p.m. | 245609 | 209732 | 6.606 | 0 | 88.638 | 42.8 | 0 | 5.68
482 | 21/02/2016 | 1:00:00 p.m. | 245609 | 209732 | 6.5909 | 0 | 88.667 | 40.7 | 0 | 5.66
481 | 21/02/2016 | 12:00:00 p.m. | 245609 | 209732 | 6.7022 | 0 | 88.799 | 35.2 | 0 | 5.64
480 | 21/02/2016 | 11:00:00 a.m. | 245609 | 209732 | 6.8262 | 0 | 88.945 | 26.9 | 0 | 5.64
479 | 21/02/2016 | 10:00:00 a.m. | 245609 | 209732 | 7.1058 | 0 | 88.956 | 16 | 0 | 5.63
478 | 21/02/2016 | 9:00:00 a.m. | 245609 | 209732 | 7.4443 | 0 | 89.374 | 6.4 | 0 | 5.6
477 | 21/02/2016 | 8:00:00 a.m. | 245609 | 209732 | 7.6362 | 0 | 89.72 | 3.7 | 0 | 5.59
476 | 21/02/2016 | 7:00:00 a.m. | 245609 | 209732 | 7.6886 | 0 | 89.936 | 4.4 | 0 | 5.6
475 | 21/02/2016 | 6:00:00 a.m. | 245609 | 209732 | 7.594 | 0 | 89.539 | 5.2 | 0 | 5.59
474 | 21/02/2016 | 5:00:00 a.m. | 245609 | 209732 | 7.5869 | 0 | 89.545 | 6.1 | 0 | 5.6
473 | 21/02/2016 | 4:00:00 a.m. | 245609 | 209732 | 7.5663 | 0 | 89.554 | 6.9 | 0 | 5.6
472 | 21/02/2016 | 3:00:00 a.m. | 245609 | 209732 | 7.508 | 0 | 89.429 | 7.6 | 0 | 5.6
471 | 21/02/2016 | 2:00:00 a.m. | 245609 | 209732 | 7.5019 | 0 | 89.545 | 8.5 | 0 | 5.61
470 | 21/02/2016 | 1:00:00 a.m. | 245609 | 209732 | 7.4862 | 0 | 89.596 | 9.6 | 0 | 5.61
469 | 21/02/2016 | 12:00:00 a.m. | 245609 | 209732 | 7.4682 | 0 | 89.592 | 11 | 0 | 5.61
468 | 20/02/2016 | 11:00:00 p.m. | 245609 | 209732 | 7.3752 | 0 | 89.531 | 12.9 | 0 | 5.61
467 | 20/02/2016 | 10:00:00 p.m. | 245609 | 209732 | 7.3414 | 0 | 89.295 | 15.2 | 0 | 5.61
466 | 20/02/2016 | 9:00:00 p.m. | 245609 | 209732 | 7.2734 | 0 | 89.426 | 18.3 | 0 | 5.61
465 | 20/02/2016 | 8:00:00 p.m. | 245609 | 209732 | 7.1549 | 0 | 89.181 | 22.6 | 0 | 5.63
464 | 20/02/2016 | 7:00:00 p.m. | 245609 | 209732 | 7.0293 | 0 | 88.861 | 28.2 | 0 | 5.65
463 | 20/02/2016 | 6:00:00 p.m. | 245609 | 209732 | 6.8262 | 0 | 88.971 | 34 | 0 | 5.65
462 | 20/02/2016 | 5:00:00 p.m. | 245609 | 209732 | 6.7842 | 0 | 88.943 | 36.2 | 0 | 5.65
461 | 20/02/2016 | 4:00:00 p.m. | 245609 | 209732 | 6.7339 | 0 | 88.79 | 38 | 0 | 5.65
460 | 20/02/2016 | 3:00:00 p.m. | 245609 | 209732 | 6.7208 | 0 | 88.881 | 39.2 | 0 | 5.65
459 | 20/02/2016 | 2:00:00 p.m. | 245609 | 209732 | 6.6789 | 0 | 88.593 | 34 | 6.1 | 5.65
458 | 20/02/2016 | 1:00:00 p.m. | 245609 | 209732 | 6.907 | 0 | 86.913 | 24.8 | 65.2 | 5.63
457 | 20/02/2016 | 12:00:00 p.m. | 245559 | 209724 | 6.9221 | 0 | 85.941 | 22.8 | 84.9 | 5.62
456 | 20/02/2016 | 11:00:00 a.m. | 245488 | 209714 | 6.8316 | 0 | 85.18 | 20.8 | 90.6 | 5.63
455 | 20/02/2016 | 10:00:00 a.m. | 245403 | 209702 | 6.9991 | 0 | 85.833 | 18.8 | 89.9 | 5.61
454 | 20/02/2016 | 9:00:00 a.m. | 245326 | 209691 | 6.9593 | 0 | 87.355 | 9 | 94.5 | 5.61
453 | 20/02/2016 | 8:00:00 a.m. | 245293 | 209686 | 7.5797 | 0 | 89.084 | 4.5 | 0 | 5.59
452 | 20/02/2016 | 7:00:00 a.m. | 245293 | 209686 | 7.6205 | 0 | 89.473 | 4.6 | 0 | 5.61
451 | 20/02/2016 | 6:00:00 a.m. | 245293 | 209686 | 7.6044 | 0 | 89.317 | 4.7 | 0 | 5.59
450 | 20/02/2016 | 5:00:00 a.m. | 245293 | 209686 | 7.6327 | 0 | 89.387 | 5.4 | 0 | 5.59
449 | 20/02/2016 | 4:00:00 a.m. | 245293 | 209686 | 7.6152 | 0 | 89.404 | 6.2 | 0 | 5.6
448 | 20/02/2016 | 3:00:00 a.m. | 245293 | 209686 | 7.5717 | 0 | 89.411 | 7.3 | 0 | 5.6
447 | 20/02/2016 | 2:00:00 a.m. | 245293 | 209686 | 7.543 | 0 | 89.42 | 8.5 | 0 | 5.6
446 | 20/02/2016 | 1:00:00 a.m. | 245293 | 209686 | 7.4886 | 0 | 89.419 | 9.7 | 0 | 5.6
445 | 20/02/2016 | 12:00:00 a.m. | 245293 | 209686 | 7.4343 | 0 | 89.261 | 11.2 | 0 | 5.61
444 | 19/02/2016 | 11:00:00 p.m. | 245293 | 209686 | 7.3807 | 0 | 89.263 | 13.3 | 0 | 5.61
443 | 19/02/2016 | 10:00:00 p.m. | 245293 | 209686 | 7.3288 | 0 | 89.142 | 16 | 0 | 5.61
442 | 19/02/2016 | 9:00:00 p.m. | 245293 | 209686 | 7.2796 | 0 | 89.404 | 19.2 | 0 | 5.62
441 | 19/02/2016 | 8:00:00 p.m. | 245293 | 209686 | 7.2023 | 0 | 89.3 | 23.3 | 0 | 5.64
440 | 19/02/2016 | 7:00:00 p.m. | 245293 | 209686 | 6.9491 | 0 | 89.15 | 28 | 0 | 5.64
439 | 19/02/2016 | 6:00:00 p.m. | 245293 | 209686 | 6.9027 | 0 | 89.063 | 31.4 | 2 | 5.66
438 | 19/02/2016 | 5:00:00 p.m. | 245293 | 209686 | 6.9071 | 0 | 86.873 | 26.8 | 87.6 | 5.66
437 | 19/02/2016 | 4:00:00 p.m. | 245242 | 209678 | 6.858 | 0 | 86.29 | 26.2 | 79.3 | 5.67
436 | 19/02/2016 | 3:00:00 p.m. | 245177 | 209669 | 6.7798 | 0 | 85.55 | 25.9 | 81.6 | 5.66
435 | 19/02/2016 | 2:00:00 p.m. | 245102 | 209658 | 6.702 | 0 | 85.713 | 26 | 83.5 | 5.66
434 | 19/02/2016 | 1:00:00 p.m. | 245029 | 209647 | 6.7215 | 0 | 86.33 | 25.8 | 85.1 | 5.66
433 | 19/02/2016 | 12:00:00 p.m. | 244966 | 209638 | 6.8534 | 0 | 85.246 | 23.9 | 88.1 | 5.64
432 | 19/02/2016 | 11:00:00 a.m. | 244886 | 209626 | 6.8145 | 0 | 86.273 | 22.4 | 88.2 | 5.63
431 | 19/02/2016 | 10:00:00 a.m. | 244819 | 209616 | 6.9976 | 0 | 86.593 | 18.9 | 87.3 | 5.62
430 | 19/02/2016 | 9:00:00 a.m. | 244754 | 209607 | 7.1524 | 0 | 88.615 | 7 | 93.9 | 5.6
429 | 19/02/2016 | 8:00:00 a.m. | 244739 | 209605 | 7.6364 | 0 | 89.206 | 3.5 | 0 | 5.6
428 | 19/02/2016 | 7:00:00 a.m. | 244739 | 209605 | 7.665 | 0 | 89.263 | 4.1 | 0 | 5.59
427 | 19/02/2016 | 6:00:00 a.m. | 244739 | 209605 | 7.6258 | 0 | 89.419 | 5 | 0 | 5.6
426 | 19/02/2016 | 5:00:00 a.m. | 244739 | 209605 | 7.6002 | 0 | 89.344 | 5.9 | 0 | 5.6
425 | 19/02/2016 | 4:00:00 a.m. | 244739 | 209605 | 7.6008 | 0 | 89.431 | 6.9 | 0 | 5.59
424 | 19/02/2016 | 3:00:00 a.m. | 244739 | 209605 | 7.5224 | 0 | 89.277 | 8.1 | 0 | 5.6
423 | 19/02/2016 | 2:00:00 a.m. | 244739 | 209605 | 7.4959 | 0 | 89.097 | 9.5 | 0 | 5.6
422 | 19/02/2016 | 1:00:00 a.m. | 244739 | 209605 | 7.4062 | 0 | 89.196 | 11.1 | 0 | 5.6
421 | 19/02/2016 | 12:00:00 a.m. | 244739 | 209605 | 7.3933 | 0 | 89.259 | 12.9 | 0 | 5.62
420 | 18/02/2016 | 11:00:00 p.m. | 244739 | 209605 | 7.3091 | 0 | 89.203 | 15 | 0 | 5.62
419 | 18/02/2016 | 10:00:00 p.m. | 244739 | 209605 | 7.3523 | 0 | 89.178 | 17.5 | 0 | 5.61
418 | 18/02/2016 | 9:00:00 p.m. | 244739 | 209605 | 7.2562 | 0 | 89.434 | 20.1 | 0 | 5.62
417 | 18/02/2016 | 8:00:00 p.m. | 244739 | 209605 | 7.1039 | 0 | 88.828 | 23.9 | 0 | 5.63
416 | 18/02/2016 | 7:00:00 p.m. | 244739 | 209605 | 6.9327 | 0 | 88.778 | 29.2 | 0 | 5.64
415 | 18/02/2016 | 6:00:00 p.m. | 244739 | 209605 | 6.8468 | 0 | 88.529 | 34.2 | 0 | 5.66
414 | 18/02/2016 | 5:00:00 p.m. | 244739 | 209605 | 6.7715 | 0 | 88.85 | 36.2 | 0.7 | 5.67
413 | 18/02/2016 | 4:00:00 p.m. | 244739 | 209605 | 6.76 | 0 | 88.649 | 32.4 | 58.5 | 5.67
412 | 18/02/2016 | 3:00:00 p.m. | 244733 | 209604 | 6.8341 | 0 | 85.196 | 25.5 | 89.1 | 5.67
411 | 18/02/2016 | 2:00:00 p.m. | 244654 | 209592 | 6.7224 | 0 | 84.611 | 25.1 | 90 | 5.66
410 | 18/02/2016 | 1:00:00 p.m. | 244566 | 209579 | 6.7291 | 0 | 85.03 | 25.7 | 90.5 | 5.66
409 | 18/02/2016 | 12:00:00 p.m. | 244488 | 209568 | 6.9258 | 0 | 85.97 | 23.8 | 85.8 | 5.65
408 | 18/02/2016 | 11:00:00 a.m. | 244423 | 209558 | 6.842 | 0 | 85 | 21.9 | 89.4 | 5.63
407 | 18/02/2016 | 10:00:00 a.m. | 244339 | 209546 | 6.8615 | 0 | 85.132 | 19.8 | 89 | 5.62
406 | 18/02/2016 | 9:00:00 a.m. | 244256 | 209534 | 6.936 | 0 | 86.367 | 11.6 | 95.7 | 5.6
405 | 18/02/2016 | 8:00:00 a.m. | 244198 | 209525 | 7.6057 | 0 | 89.097 | 3.5 | 0 | 5.6
404 | 18/02/2016 | 7:00:00 a.m. | 244198 | 209525 | 7.6634 | 0 | 89.08 | 4.2 | 0 | 5.59
403 | 18/02/2016 | 6:00:00 a.m. | 244198 | 209525 | 7.5824 | 0 | 89.025 | 5.2 | 0 | 5.6
402 | 18/02/2016 | 5:00:00 a.m. | 244198 | 209525 | 7.5721 | 0 | 89.097 | 6.2 | 0 | 5.6
401 | 18/02/2016 | 4:00:00 a.m. | 244198 | 209525 | 7.5128 | 0 | 89.146 | 7.4 | 0 | 5.6
400 | 18/02/2016 | 3:00:00 a.m. | 244198 | 209525 | 7.4691 | 0 | 89.19 | 8.7 | 0 | 5.6
399 | 18/02/2016 | 2:00:00 a.m. | 244198 | 209525 | 7.4468 | 0 | 89.104 | 10.2 | 0 | 5.61
398 | 18/02/2016 | 1:00:00 a.m. | 244198 | 209525 | 7.3967 | 0 | 88.979 | 12 | 0 | 5.61
397 | 18/02/2016 | 12:00:00 a.m. | 244198 | 209525 | 7.3329 | 0 | 89.008 | 13.6 | 0 | 5.62
396 | 17/02/2016 | 11:00:00 p.m. | 244198 | 209525 | 7.2919 | 0 | 89.053 | 15.4 | 0 | 5.62
395 | 17/02/2016 | 10:00:00 p.m. | 244198 | 209525 | 7.243 | 0 | 88.915 | 18 | 0 | 5.62
394 | 17/02/2016 | 9:00:00 p.m. | 244198 | 209525 | 7.1645 | 0 | 88.917 | 20.5 | 0 | 5.62
393 | 17/02/2016 | 8:00:00 p.m. | 244198 | 209525 | 7.0804 | 0 | 88.961 | 23.9 | 0 | 5.64
392 | 17/02/2016 | 7:00:00 p.m. | 244198 | 209525 | 6.9901 | 0 | 88.742 | 28.9 | 0 | 5.64
391 | 17/02/2016 | 6:00:00 p.m. | 244198 | 209525 | 6.8505 | 0 | 88.711 | 32.3 | 1.7 | 5.65
390 | 17/02/2016 | 5:00:00 p.m. | 244198 | 209525 | 6.8741 | 0 | 86.318 | 26.7 | 88.3 | 5.66
389 | 17/02/2016 | 4:00:00 p.m. | 244146 | 209518 | 6.7172 | 0 | 84.525 | 25.4 | 88.6 | 5.66
388 | 17/02/2016 | 3:00:00 p.m. | 244059 | 209505 | 6.7128 | 0 | 84.289 | 25.6 | 89.8 | 5.67
387 | 17/02/2016 | 2:00:00 p.m. | 243971 | 209492 | 6.6883 | 0 | 85.324 | 26.1 | 90.9 | 5.65
386 | 17/02/2016 | 1:00:00 p.m. | 243895 | 209480 | 6.8595 | 0 | 84.612 | 25 | 88 | 5.65
385 | 17/02/2016 | 12:00:00 p.m. | 243813 | 209468 | 6.7071 | 0 | 84.367 | 23.6 | 89.5 | 5.64
384 | 17/02/2016 | 11:00:00 a.m. | 243724 | 209455 | 6.7595 | 0 | 84.81 | 22.1 | 89.7 | 5.63
383 | 17/02/2016 | 10:00:00 a.m. | 243639 | 209442 | 6.8127 | 0 | 85.808 | 19.2 | 90.4 | 5.62
382 | 17/02/2016 | 9:00:00 a.m. | 243566 | 209432 | 7.1469 | 0 | 88.55 | 7.7 | 94.4 | 5.6
381 | 17/02/2016 | 8:00:00 a.m. | 243547 | 209429 | 7.603 | 0 | 89.522 | 4.1 | 0 | 5.6
380 | 17/02/2016 | 7:00:00 a.m. | 243547 | 209429 | 7.5947 | 0 | 89.636 | 5.1 | 0 | 5.59
379 | 17/02/2016 | 6:00:00 a.m. | 243547 | 209429 | 7.654 | 0 | 89.972 | 6.2 | 0 | 5.6
378 | 17/02/2016 | 5:00:00 a.m. | 243547 | 209429 | 7.5761 | 0 | 90.023 | 7.2 | 0 | 5.58
377 | 17/02/2016 | 4:00:00 a.m. | 243547 | 209429 | 7.616 | 0 | 89.854 | 7.8 | 0 | 5.6
376 | 17/02/2016 | 3:00:00 a.m. | 243547 | 209429 | 7.5734 | 0 | 89.683 | 8.8 | 0 | 5.61
375 | 17/02/2016 | 2:00:00 a.m. | 243547 | 209429 | 7.4867 | 0 | 89.767 | 9.8 | 0 | 5.61
374 | 17/02/2016 | 1:00:00 a.m. | 243547 | 209429 | 7.464 | 0 | 89.431 | 11.1 | 0 | 5.6
373 | 17/02/2016 | 12:00:00 a.m. | 243547 | 209429 | 7.3907 | 0 | 89.347 | 12.7 | 0 | 5.6
372 | 16/02/2016 | 11:00:00 p.m. | 243547 | 209429 | 7.3781 | 0 | 90.043 | 14.5 | 0 | 5.62
371 | 16/02/2016 | 10:00:00 p.m. | 243547 | 209429 | 7.3529 | 0 | 89.929 | 16.7 | 0 | 5.62
370 | 16/02/2016 | 9:00:00 p.m. | 243547 | 209429 | 7.2806 | 0 | 89.962 | 19.3 | 0 | 5.62
369 | 16/02/2016 | 8:00:00 p.m. | 243547 | 209429 | 7.2133 | 0 | 89.991 | 22.4 | 0 | 5.62
368 | 16/02/2016 | 7:00:00 p.m. | 243547 | 209429 | 7.1191 | 0 | 89.899 | 26.4 | 0 | 5.64
367 | 16/02/2016 | 6:00:00 p.m. | 243547 | 209429 | 6.9842 | 0 | 89.902 | 32 | 0 | 5.64
366 | 16/02/2016 | 5:00:00 p.m. | 243547 | 209429 | 6.8642 | 0 | 89.776 | 36.6 | 0 | 5.64
365 | 16/02/2016 | 4:00:00 p.m. | 243547 | 209429 | 6.8211 | 0 | 89.801 | 38.6 | 0 | 5.65
364 | 16/02/2016 | 3:00:00 p.m. | 243547 | 209429 | 6.762 | 0 | 89.762 | 39.6 | 0 | 5.66
363 | 16/02/2016 | 2:00:00 p.m. | 243547 | 209429 | 6.7723 | 0 | 89.864 | 39 | 0 | 5.65
362 | 16/02/2016 | 1:00:00 p.m. | 243547 | 209429 | 6.7016 | 0 | 89.944 | 37 | 0 | 5.65
361 | 16/02/2016 | 12:00:00 p.m. | 243547 | 209429 | 6.8363 | 0 | 89.613 | 32.5 | 0 | 5.64
360 | 16/02/2016 | 11:00:00 a.m. | 243547 | 209429 | 6.9573 | 0 | 89.773 | 25.2 | 0 | 5.65
359 | 16/02/2016 | 10:00:00 a.m. | 243547 | 209429 | 7.2447 | 0 | 89.97 | 15.1 | 0 | 5.62
358 | 16/02/2016 | 9:00:00 a.m. | 243547 | 209429 | 7.4876 | 0 | 90.143 | 7.2 | 0 | 5.6
357 | 16/02/2016 | 8:00:00 a.m. | 243547 | 209429 | 7.6382 | 0 | 90.247 | 5.5 | 0 | 5.59
356 | 16/02/2016 | 7:00:00 a.m. | 243547 | 209429 | 7.654 | 0 | 90.382 | 6.2 | 0 | 5.6
355 | 16/02/2016 | 6:00:00 a.m. | 243547 | 209429 | 7.6294 | 0 | 90.328 | 7.1 | 0 | 5.6
354 | 16/02/2016 | 5:00:00 a.m. | 243547 | 209429 | 7.5865 | 0 | 90.213 | 7.7 | 0 | 5.6
353 | 16/02/2016 | 4:00:00 a.m. | 243547 | 209429 | 7.5806 | 0 | 90.378 | 8.5 | 0 | 5.6
352 | 16/02/2016 | 3:00:00 a.m. | 243547 | 209429 | 7.5577 | 0 | 90.385 | 9.4 | 0 | 5.6
351 | 16/02/2016 | 2:00:00 a.m. | 243547 | 209429 | 7.5296 | 0 | 90.203 | 10.3 | 0 | 5.61
350 | 16/02/2016 | 1:00:00 a.m. | 243547 | 209429 | 7.5046 | 0 | 90.407 | 11.2 | 0 | 5.6
349 | 16/02/2016 | 12:00:00 a.m. | 243547 | 209429 | 7.4819 | 0 | 90.339 | 12.4 | 0 | 5.61
348 | 15/02/2016 | 11:00:00 p.m. | 243547 | 209429 | 7.4425 | 0 | 90.155 | 14.1 | 0 | 5.61
347 | 15/02/2016 | 10:00:00 p.m. | 243547 | 209429 | 7.3732 | 0 | 90.23 | 16.4 | 0 | 5.62
346 | 15/02/2016 | 9:00:00 p.m. | 243547 | 209429 | 7.3135 | 0 | 90.267 | 19.1 | 0 | 5.63
345 | 15/02/2016 | 8:00:00 p.m. | 243547 | 209429 | 7.2385 | 0 | 90.188 | 22.6 | 0 | 5.63
344 | 15/02/2016 | 7:00:00 p.m. | 243547 | 209429 | 7.1081 | 0 | 90.204 | 27.4 | 0 | 5.64
343 | 15/02/2016 | 6:00:00 p.m. | 243547 | 209429 | 7.0074 | 0 | 90.258 | 32.2 | 0 | 5.64
342 | 15/02/2016 | 5:00:00 p.m. | 243547 | 209429 | 6.8898 | 0 | 90.134 | 35.3 | 0.8 | 5.65
341 | 15/02/2016 | 4:00:00 p.m. | 243547 | 209429 | 6.8734 | 0 | 89.74 | 31 | 51.3 | 5.67
340 | 15/02/2016 | 3:00:00 p.m. | 243539 | 209428 | 6.9773 | 0 | 87.231 | 24.8 | 86.6 | 5.68
339 | 15/02/2016 | 2:00:00 p.m. | 243466 | 209417 | 6.875 | 0 | 86.441 | 24.4 | 87.2 | 5.65
338 | 15/02/2016 | 1:00:00 p.m. | 243382 | 209405 | 6.8864 | 0 | 86.856 | 24.2 | 85 | 5.65
337 | 15/02/2016 | 12:00:00 p.m. | 243307 | 209394 | 6.9158 | 0 | 86.221 | 23.1 | 85.4 | 5.66
336 | 15/02/2016 | 11:00:00 a.m. | 243226 | 209383 | 6.8806 | 0 | 86.96 | 21.6 | 87.6 | 5.63
335 | 15/02/2016 | 10:00:00 a.m. | 243156 | 209373 | 7.0901 | 0 | 86.819 | 18.9 | 87.7 | 5.6
334 | 15/02/2016 | 9:00:00 a.m. | 243080 | 209362 | 7.0179 | 0 | 88.617 | 10.3 | 94.4 | 5.6
333 | 15/02/2016 | 8:00:00 a.m. | 243047 | 209357 | 7.6106 | 0 | 90.354 | 6.6 | 0 | 5.6
332 | 15/02/2016 | 7:00:00 a.m. | 243047 | 209357 | 7.6278 | 0 | 90.343 | 7.1 | 0 | 5.6
331 | 15/02/2016 | 6:00:00 a.m. | 243047 | 209357 | 7.5971 | 0 | 90.26 | 7.5 | 0 | 5.61
330 | 15/02/2016 | 5:00:00 a.m. | 243047 | 209357 | 7.5901 | 0 | 90.256 | 7.9 | 0 | 5.61
329 | 15/02/2016 | 4:00:00 a.m. | 243047 | 209357 | 7.5747 | 0 | 90.285 | 7.9 | 0 | 5.6
328 | 15/02/2016 | 3:00:00 a.m. | 243047 | 209357 | 7.5913 | 0 | 90.299 | 8.4 | 0 | 5.61
327 | 15/02/2016 | 2:00:00 a.m. | 243047 | 209357 | 7.5529 | 0 | 90.256 | 9.4 | 0 | 5.62
326 | 15/02/2016 | 1:00:00 a.m. | 243047 | 209357 | 7.5332 | 0 | 90.218 | 9.4 | 0 | 5.61
325 | 15/02/2016 | 12:00:00 a.m. | 243047 | 209357 | 7.5239 | 0 | 90.379 | 10.7 | 0 | 5.61
324 | 14/02/2016 | 11:00:00 p.m. | 243047 | 209357 | 7.4955 | 0 | 90.423 | 12.5 | 0 | 5.6
323 | 14/02/2016 | 10:00:00 p.m. | 243047 | 209357 | 7.429 | 0 | 90.307 | 14.9 | 0 | 5.62
322 | 14/02/2016 | 9:00:00 p.m. | 243047 | 209357 | 7.3552 | 0 | 90.328 | 17.8 | 0 | 5.62
321 | 14/02/2016 | 8:00:00 p.m. | 243047 | 209357 | 7.2704 | 0 | 90.196 | 21.7 | 0 | 5.63
320 | 14/02/2016 | 7:00:00 p.m. | 243047 | 209357 | 7.0853 | 0 | 90.05 | 27.1 | 0 | 5.64
319 | 14/02/2016 | 6:00:00 p.m. | 243047 | 209357 | 6.9875 | 0 | 90.021 | 32.8 | 0 | 5.64
318 | 14/02/2016 | 5:00:00 p.m. | 243047 | 209357 | 6.8663 | 0 | 89.906 | 35.7 | 0 | 5.65
317 | 14/02/2016 | 4:00:00 p.m. | 243047 | 209357 | 6.8206 | 0 | 89.777 | 37.9 | 0 | 5.67
316 | 14/02/2016 | 3:00:00 p.m. | 243047 | 209357 | 6.7492 | 0 | 89.665 | 39.2 | 0 | 5.67
315 | 14/02/2016 | 2:00:00 p.m. | 243047 | 209357 | 6.7503 | 0 | 89.755 | 38.7 | 0 | 5.65
314 | 14/02/2016 | 1:00:00 p.m. | 243047 | 209357 | 6.7765 | 0 | 89.755 | 35.3 | 0 | 5.65
313 | 14/02/2016 | 12:00:00 p.m. | 243047 | 209357 | 6.9337 | 0 | 89.901 | 30.4 | 0 | 5.64
312 | 14/02/2016 | 11:00:00 a.m. | 243047 | 209357 | 7.044 | 0 | 89.997 | 22.6 | 0 | 5.63
311 | 14/02/2016 | 10:00:00 a.m. | 243047 | 209357 | 7.2962 | 0 | 90.08 | 12 | 0 | 5.63
310 | 14/02/2016 | 9:00:00 a.m. | 243047 | 209357 | 7.6321 | 0 | 90.498 | 2.4 | 0 | 5.6
309 | 14/02/2016 | 8:00:00 a.m. | 243047 | 209357 | 7.8284 | 0 | 90.628 | 0.3 | 0 | 5.58
308 | 14/02/2016 | 7:00:00 a.m. | 243047 | 209357 | 7.8495 | 0 | 90.772 | 0.8 | 0 | 5.59
307 | 14/02/2016 | 6:00:00 a.m. | 243047 | 209357 | 7.8308 | 0 | 90.606 | 1.6 | 0 | 5.59
306 | 14/02/2016 | 5:00:00 a.m. | 243047 | 209357 | 7.8033 | 0 | 90.452 | 2.5 | 0 | 5.6
305 | 14/02/2016 | 4:00:00 a.m. | 243047 | 209357 | 7.7345 | 0 | 90.408 | 3.4 | 0 | 5.59
304 | 14/02/2016 | 3:00:00 a.m. | 243047 | 209357 | 7.7045 | 0 | 90.448 | 4.4 | 0 | 5.6
303 | 14/02/2016 | 2:00:00 a.m. | 243047 | 209357 | 7.6929 | 0 | 90.367 | 5.6 | 0 | 5.6
302 | 14/02/2016 | 1:00:00 a.m. | 243047 | 209357 | 7.5812 | 0 | 90.416 | 7.1 | 0 | 5.61
301 | 14/02/2016 | 12:00:00 a.m. | 243047 | 209357 | 7.5842 | 0 | 90.309 | 8.9 | 0 | 5.6
300 | 13/02/2016 | 11:00:00 p.m. | 243047 | 209357 | 7.5477 | 0 | 90.389 | 11 | 0 | 5.61
299 | 13/02/2016 | 10:00:00 p.m. | 243047 | 209357 | 7.4772 | 0 | 90.121 | 13.7 | 0 | 5.61
298 | 13/02/2016 | 9:00:00 p.m. | 243047 | 209357 | 7.3091 | 0 | 89.807 | 16.8 | 0 | 5.62
297 | 13/02/2016 | 8:00:00 p.m. | 243047 | 209357 | 7.2847 | 0 | 89.713 | 20.6 | 0 | 5.62
296 | 13/02/2016 | 7:00:00 p.m. | 243047 | 209357 | 7.1602 | 0 | 89.877 | 26.4 | 0 | 5.64
295 | 13/02/2016 | 6:00:00 p.m. | 243047 | 209357 | 6.9495 | 0 | 89.739 | 32.8 | 0 | 5.65
294 | 13/02/2016 | 5:00:00 p.m. | 243047 | 209357 | 6.8533 | 0 | 89.699 | 35.8 | 0 | 5.65
293 | 13/02/2016 | 4:00:00 p.m. | 243047 | 209357 | 6.8383 | 0 | 89.454 | 35.6 | 0.8 | 5.66
292 | 13/02/2016 | 3:00:00 p.m. | 243047 | 209357 | 6.8324 | 0 | 88.835 | 30 | 88 | 5.65
291 | 13/02/2016 | 2:00:00 p.m. | 243035 | 209355 | 6.8341 | 0 | 85.715 | 24.2 | 87.9 | 5.64
290 | 13/02/2016 | 1:00:00 p.m. | 242952 | 209343 | 6.9708 | 0 | 86.49 | 23.8 | 88.2 | 5.65
289 | 13/02/2016 | 12:00:00 p.m. | 242879 | 209333 | 6.8382 | 0 | 85.67 | 22.5 | 87.4 | 5.63
288 | 13/02/2016 | 11:00:00 a.m. | 242794 | 209320 | 6.884 | 0 | 86.026 | 21 | 87.3 | 5.62
287 | 13/02/2016 | 10:00:00 a.m. | 242713 | 209308 | 6.976 | 0 | 85.701 | 17.8 | 95.9 | 5.62
286 | 13/02/2016 | 9:00:00 a.m. | 242630 | 209297 | 7.0987 | 0 | 89.598 | 3 | 96 | 5.6
285 | 13/02/2016 | 8:00:00 a.m. | 242628 | 209296 | 7.7405 | 0 | 89.957 | 1.4 | 0 | 5.6
284 | 13/02/2016 | 7:00:00 a.m. | 242628 | 209296 | 7.763 | 0 | 89.925 | 2.1 | 0 | 5.6
283 | 13/02/2016 | 6:00:00 a.m. | 242628 | 209296 | 7.6968 | 0 | 89.948 | 3 | 0 | 5.6
282 | 13/02/2016 | 5:00:00 a.m. | 242628 | 209296 | 7.7256 | 0 | 89.89 | 3.8 | 0 | 5.59
281 | 13/02/2016 | 4:00:00 a.m. | 242628 | 209296 | 7.6448 | 0 | 89.901 | 4.8 | 0 | 5.59
280 | 13/02/2016 | 3:00:00 a.m. | 242628 | 209296 | 7.6848 | 0 | 89.934 | 5.9 | 0 | 5.61
279 | 13/02/2016 | 2:00:00 a.m. | 242628 | 209296 | 7.605 | 0 | 89.773 | 7.3 | 0 | 5.6
278 | 13/02/2016 | 1:00:00 a.m. | 242628 | 209296 | 7.5675 | 0 | 89.741 | 9.2 | 0 | 5.6
277 | 13/02/2016 | 12:00:00 a.m. | 242628 | 209296 | 7.446 | 0 | 89.675 | 11.3 | 0 | 5.61
276 | 12/02/2016 | 11:00:00 p.m. | 242628 | 209296 | 7.3762 | 0 | 89.571 | 13.3 | 0 | 5.6
275 | 12/02/2016 | 10:00:00 p.m. | 242628 | 209296 | 7.3771 | 0 | 89.625 | 15 | 0 | 5.61
274 | 12/02/2016 | 9:00:00 p.m. | 242628 | 209296 | 7.3517 | 0 | 89.476 | 17.1 | 0 | 5.62
273 | 12/02/2016 | 8:00:00 p.m. | 242628 | 209296 | 7.2506 | 0 | 89.415 | 20.6 | 0 | 5.63
272 | 12/02/2016 | 7:00:00 p.m. | 242628 | 209296 | 7.1355 | 0 | 89.463 | 25.7 | 0 | 5.63
271 | 12/02/2016 | 6:00:00 p.m. | 242628 | 209296 | 6.9471 | 0 | 89.249 | 31.1 | 0.8 | 5.66
270 | 12/02/2016 | 5:00:00 p.m. | 242628 | 209296 | 6.873 | 0 | 88.428 | 28.9 | 86.5 | 5.66
269 | 12/02/2016 | 4:00:00 p.m. | 242615 | 209294 | 6.773 | 0 | 85.41 | 24.6 | 86.1 | 5.67
268 | 12/02/2016 | 3:00:00 p.m. | 242531 | 209282 | 6.7982 | 0 | 85.323 | 24.7 | 86.7 | 5.67
267 | 12/02/2016 | 2:00:00 p.m. | 242446 | 209269 | 6.7764 | 0 | 85.371 | 24.4 | 86.9 | 5.64
266 | 12/02/2016 | 1:00:00 p.m. | 242362 | 209257 | 6.7767 | 0 | 85.319 | 24 | 87.5 | 5.65
265 | 12/02/2016 | 12:00:00 p.m. | 242278 | 209245 | 6.8183 | 0 | 85.588 | 22.8 | 87 | 5.64
264 | 12/02/2016 | 11:00:00 a.m. | 242195 | 209233 | 6.8454 | 0 | 85.222 | 21.1 | 88.9 | 5.62
263 | 12/02/2016 | 10:00:00 a.m. | 242109 | 209220 | 6.8729 | 0 | 86.139 | 14.5 | 95.9 | 5.63
262 | 12/02/2016 | 9:00:00 a.m. | 242047 | 209211 | 7.6304 | 0 | 90.373 | 2.5 | 0 | 5.6
261 | 12/02/2016 | 8:00:00 a.m. | 242047 | 209211 | 7.7694 | 0 | 90.6 | 1.1 | 0 | 5.58
260 | 12/02/2016 | 7:00:00 a.m. | 242047 | 209211 | 7.8438 | 0 | 90.743 | 1.8 | 0 | 5.59
259 | 12/02/2016 | 6:00:00 a.m. | 242047 | 209211 | 7.7144 | 0 | 90.149 | 2.6 | 0 | 5.6
258 | 12/02/2016 | 5:00:00 a.m. | 242047 | 209211 | 7.7315 | 0 | 90.183 | 3.4 | 0 | 5.59
257 | 12/02/2016 | 4:00:00 a.m. | 242047 | 209211 | 7.7139 | 0 | 90.297 | 4.3 | 0 | 5.6
256 | 12/02/2016 | 3:00:00 a.m. | 242047 | 209211 | 7.6447 | 0 | 90.377 | 5.4 | 0 | 5.6
255 | 12/02/2016 | 2:00:00 a.m. | 242047 | 209211 | 7.6681 | 0 | 90.578 | 6.7 | 0 | 5.6
254 | 12/02/2016 | 1:00:00 a.m. | 242047 | 209211 | 7.6153 | 0 | 90.282 | 8.1 | 0 | 5.62
253 | 12/02/2016 | 12:00:00 a.m. | 242047 | 209211 | 7.5776 | 0 | 90.329 | 9.8 | 0 | 5.6
252 | 11/02/2016 | 11:00:00 p.m. | 242047 | 209211 | 7.5459 | 0 | 90.571 | 11.6 | 0 | 5.61
251 | 11/02/2016 | 10:00:00 p.m. | 242047 | 209211 | 7.482 | 0 | 90.443 | 13.7 | 0 | 5.61
250 | 11/02/2016 | 9:00:00 p.m. | 242047 | 209211 | 7.3929 | 0 | 90.405 | 16.5 | 0 | 5.62
249 | 11/02/2016 | 8:00:00 p.m. | 242047 | 209211 | 7.2709 | 0 | 90.183 | 19.8 | 0 | 5.62
248 | 11/02/2016 | 7:00:00 p.m. | 242047 | 209211 | 7.1732 | 0 | 90.117 | 24.6 | 0 | 5.62
247 | 11/02/2016 | 6:00:00 p.m. | 242047 | 209211 | 7.0843 | 0 | 89.941 | 30.2 | 0 | 5.65
246 | 11/02/2016 | 5:00:00 p.m. | 242047 | 209211 | 6.917 | 0 | 89.856 | 31.2 | 1.8 | 5.65
245 | 11/02/2016 | 4:00:00 p.m. | 242047 | 209211 | 6.9578 | 0 | 87.785 | 25.6 | 87.5 | 5.65
244 | 11/02/2016 | 3:00:00 p.m. | 241995 | 209204 | 6.8765 | 0 | 86.194 | 24.3 | 89.1 | 5.68
243 | 11/02/2016 | 2:00:00 p.m. | 241910 | 209191 | 6.8301 | 0 | 86.648 | 24.2 | 92 | 5.65
242 | 11/02/2016 | 1:00:00 p.m. | 241827 | 209179 | 6.9147 | 0 | 86.491 | 23.6 | 89 | 5.64
241 | 11/02/2016 | 12:00:00 p.m. | 241742 | 209167 | 6.9298 | 0 | 86.393 | 22.5 | 87.1 | 5.64
240 | 11/02/2016 | 11:00:00 a.m. | 241659 | 209155 | 6.9413 | 0 | 86.465 | 21.1 | 87.4 | 5.63
239 | 11/02/2016 | 10:00:00 a.m. | 241576 | 209143 | 6.9489 | 0 | 86.688 | 19.5 | 87.5 | 5.62
238 | 11/02/2016 | 9:00:00 a.m. | 241494 | 209131 | 7.0721 | 0 | 86.993 | 17.4 | 91.1 | 5.6
237 | 11/02/2016 | 8:00:00 a.m. | 241411 | 209119 | 7.1098 | 0 | 88.908 | 8.5 | 95.6 | 5.59
236 | 11/02/2016 | 7:00:00 a.m. | 241374 | 209114 | 7.7534 | 0 | 90.723 | 6.2 | 0 | 5.59
235 | 11/02/2016 | 6:00:00 a.m. | 241374 | 209114 | 7.6076 | 0 | 90.583 | 7.8 | 0 | 5.61
234 | 11/02/2016 | 5:00:00 a.m. | 241374 | 209114 | 7.5696 | 0 | 90.442 | 9 | 0 | 5.61
233 | 11/02/2016 | 4:00:00 a.m. | 241374 | 209114 | 7.576 | 0 | 90.589 | 9.6 | 0 | 5.6
232 | 11/02/2016 | 3:00:00 a.m. | 241374 | 209114 | 7.5614 | 0 | 90.666 | 9.9 | 0 | 5.6
231 | 11/02/2016 | 2:00:00 a.m. | 241374 | 209114 | 7.596 | 0 | 90.468 | 10.3 | 0 | 5.6
230 | 11/02/2016 | 1:00:00 a.m. | 241374 | 209114 | 7.5463 | 0 | 90.224 | 10.9 | 0 | 5.6
229 | 11/02/2016 | 12:00:00 a.m. | 241374 | 209114 | 7.5292 | 0 | 90.545 | 11.4 | 0 | 5.61
228 | 10/02/2016 | 11:00:00 p.m. | 241374 | 209114 | 7.481 | 0 | 90.464 | 12.7 | 0 | 5.61
227 | 10/02/2016 | 10:00:00 p.m. | 241374 | 209114 | 7.4277 | 0 | 90.644 | 14.9 | 0 | 5.6
226 | 10/02/2016 | 9:00:00 p.m. | 241374 | 209114 | 7.4228 | 0 | 90.625 | 16.7 | 0 | 5.62
225 | 10/02/2016 | 8:00:00 p.m. | 241374 | 209114 | 7.3192 | 0 | 90.534 | 19.1 | 0 | 5.63
224 | 10/02/2016 | 7:00:00 p.m. | 241374 | 209114 | 7.2561 | 0 | 90.46 | 22.3 | 0 | 5.63
223 | 10/02/2016 | 6:00:00 p.m. | 241374 | 209114 | 7.1405 | 0 | 90.211 | 26.6 | 0 | 5.64
222 | 10/02/2016 | 5:00:00 p.m. | 241374 | 209114 | 7.0008 | 0 | 90.068 | 29.5 | 0.9 | 5.64
221 | 10/02/2016 | 4:00:00 p.m. | 241374 | 209114 | 7.0781 | 0 | 89.664 | 26.4 | 88.6 | 5.64
220 | 10/02/2016 | 3:00:00 p.m. | 241358 | 209112 | 6.8752 | 0 | 86.51 | 22.5 | 89.2 | 5.63
219 | 10/02/2016 | 2:00:00 p.m. | 241272 | 209099 | 6.9725 | 0 | 86.592 | 21.6 | 88.9 | 5.64
218 | 10/02/2016 | 1:00:00 p.m. | 241185 | 209087 | 7.0179 | 0 | 86.363 | 21.2 | 89.4 | 5.63
217 | 10/02/2016 | 12:00:00 p.m. | 241098 | 209074 | 6.9553 | 0 | 86.401 | 20.4 | 90.1 | 5.62
216 | 10/02/2016 | 11:00:00 a.m. | 241009 | 209061 | 7.0185 | 0 | 84.842 | 19 | 92.2 | 5.61
215 | 10/02/2016 | 10:00:00 a.m. | 240919 | 209048 | 6.6207 | 0 | 85.803 | 18.5 | 92.4 | 5.61
214 | 10/02/2016 | 9:00:00 a.m. | 240829 | 209035 | 7.1043 | 0 | 87.754 | 17.3 | 93.4 | 5.6
213 | 10/02/2016 | 8:00:00 a.m. | 240738 | 209023 | 7.2246 | 0 | 91.337 | 8.6 | 96 | 5.6
212 | 10/02/2016 | 7:00:00 a.m. | 240722 | 209021 | 7.7604 | 0 | 91.944 | 7.8 | 0 | 5.6
211 | 10/02/2016 | 6:00:00 a.m. | 240722 | 209021 | 7.7463 | 0 | 91.902 | 7.7 | 0 | 5.6
210 | 10/02/2016 | 5:00:00 a.m. | 240722 | 209021 | 7.7099 | 0 | 92.041 | 8.1 | 0 | 5.61
209 | 10/02/2016 | 4:00:00 a.m. | 240722 | 209021 | 7.7192 | 0 | 92.053 | 8.6 | 0 | 5.6
208 | 10/02/2016 | 3:00:00 a.m. | 240722 | 209021 | 7.7206 | 0 | 92.078 | 9.1 | 0 | 5.6
207 | 10/02/2016 | 2:00:00 a.m. | 240722 | 209021 | 7.6214 | 0 | 91.944 | 9.6 | 0 | 5.6
206 | 10/02/2016 | 1:00:00 a.m. | 240722 | 209021 | 7.6437 | 0 | 91.995 | 10.1 | 0 | 5.61
205 | 10/02/2016 | 12:00:00 a.m. | 240722 | 209021 | 7.6684 | 0 | 92.139 | 10.7 | 0 | 5.6
204 | 09/02/2016 | 11:00:00 p.m. | 240722 | 209021 | 7.6321 | 0 | 91.62 | 11.4 | 0 | 5.62
203 | 09/02/2016 | 10:00:00 p.m. | 240722 | 209021 | 7.5149 | 0 | 91.573 | 12.3 | 0 | 5.61
202 | 09/02/2016 | 9:00:00 p.m. | 240722 | 209021 | 7.5642 | 0 | 91.786 | 13.4 | 0 | 5.62
201 | 09/02/2016 | 8:00:00 p.m. | 240722 | 209021 | 7.5429 | 0 | 92.083 | 15.1 | 0 | 5.62
200 | 09/02/2016 | 7:00:00 p.m. | 240722 | 209021 | 7.4844 | 0 | 92.134 | 17.6 | 0 | 5.62
199 | 09/02/2016 | 6:00:00 p.m. | 240722 | 209021 | 7.4138 | 0 | 92.093 | 19.7 | 0 | 5.62
198 | 09/02/2016 | 5:00:00 p.m. | 240722 | 209021 | 7.3638 | 0 | 91.959 | 21.3 | 0 | 5.62
197 | 09/02/2016 | 4:00:00 p.m. | 240722 | 209021 | 7.3378 | 0 | 91.964 | 21.6 | 0 | 5.64
196 | 09/02/2016 | 3:00:00 p.m. | 240722 | 209021 | 7.3986 | 0 | 92.029 | 20.1 | 0 | 5.62
195 | 09/02/2016 | 2:00:00 p.m. | 240722 | 209021 | 7.415 | 0 | 91.976 | 18.9 | 0 | 5.63
194 | 09/02/2016 | 1:00:00 p.m. | 240722 | 209021 | 7.3768 | 0 | 90.133 | 19.5 | 87.6 | 5.62
193 | 09/02/2016 | 12:00:00 p.m. | 240684 | 209015 | 7.0526 | 0 | 88.317 | 19.6 | 86.5 | 5.62
192 | 09/02/2016 | 11:00:00 a.m. | 240601 | 209004 | 7.0721 | 0 | 88.551 | 19.2 | 85.8 | 5.63
191 | 09/02/2016 | 10:00:00 a.m. | 240522 | 208992 | 7.1678 | 0 | 88.243 | 18.9 | 87.3 | 5.61
190 | 09/02/2016 | 9:00:00 a.m. | 240437 | 208981 | 7.1948 | 0 | 88.61 | 18.1 | 88.2 | 5.6
189 | 09/02/2016 | 8:00:00 a.m. | 240351 | 208969 | 7.1517 | 0 | 89.705 | 12.2 | 94.7 | 5.61
188 | 09/02/2016 | 7:00:00 a.m. | 240293 | 208961 | 7.822 | 0 | 92.449 | 6 | 0 | 5.59
187 | 09/02/2016 | 6:00:00 a.m. | 240293 | 208961 | 7.7568 | 0 | 92.366 | 6.3 | 0 | 5.6
186 | 09/02/2016 | 5:00:00 a.m. | 240293 | 208961 | 7.7818 | 0 | 92.184 | 7.2 | 0 | 5.6
185 | 09/02/2016 | 4:00:00 a.m. | 240293 | 208961 | 7.7561 | 0 | 92.102 | 8.6 | 0 | 5.61
184 | 09/02/2016 | 3:00:00 a.m. | 240293 | 208961 | 7.7027 | 0 | 91.936 | 9.9 | 0 | 5.61
183 | 09/02/2016 | 2:00:00 a.m. | 240293 | 208961 | 7.6423 | 0 | 92.081 | 11 | 0 | 5.62
182 | 09/02/2016 | 1:00:00 a.m. | 240293 | 208961 | 7.5806 | 0 | 92.039 | 11.9 | 0 | 5.61
181 | 09/02/2016 | 12:00:00 a.m. | 240293 | 208961 | 7.6007 | 0 | 92.086 | 13.1 | 0 | 5.62
180 | 08/02/2016 | 11:00:00 p.m. | 240293 | 208961 | 7.529 | 0 | 92.105 | 14 | 0 | 5.62
179 | 08/02/2016 | 10:00:00 p.m. | 240293 | 208961 | 7.5446 | 0 | 92.03 | 14.9 | 0 | 5.63
178 | 08/02/2016 | 9:00:00 p.m. | 240293 | 208961 | 7.5362 | 0 | 92.05 | 16 | 0 | 5.62
177 | 08/02/2016 | 8:00:00 p.m. | 240293 | 208961 | 7.4915 | 0 | 91.837 | 18.8 | 0 | 5.63
176 | 08/02/2016 | 7:00:00 p.m. | 240293 | 208961 | 7.3731 | 0 | 91.753 | 23.1 | 0.8 | 5.64
175 | 08/02/2016 | 6:00:00 p.m. | 240293 | 208961 | 7.2244 | 0 | 91.68 | 25.8 | 69 | 5.65
174 | 08/02/2016 | 5:00:00 p.m. | 240285 | 208960 | 7.0998 | 0 | 88.201 | 24.3 | 87.4 | 5.65
173 | 08/02/2016 | 4:00:00 p.m. | 240204 | 208948 | 6.9382 | 0 | 89.294 | 27 | 87.9 | 5.65
172 | 08/02/2016 | 3:00:00 p.m. | 240140 | 208939 | 6.8744 | 0 | 91.141 | 36.3 | 90.1 | 5.65
171 | 08/02/2016 | 2:00:00 p.m. | 240131 | 208937 | 6.9832 | 0 | 91.228 | 35.1 | 0 | 5.66
170 | 08/02/2016 | 1:00:00 p.m. | 240131 | 208937 | 6.9445 | 0 | 91.039 | 32.3 | 1.2 | 5.64
169 | 08/02/2016 | 12:00:00 p.m. | 240130 | 208937 | 7.0858 | 0 | 90.408 | 25 | 82.2 | 5.63
168 | 08/02/2016 | 11:00:00 a.m. | 240101 | 208933 | 7.1294 | 0 | 88.009 | 20.6 | 90.5 | 5.62
167 | 08/02/2016 | 10:00:00 a.m. | 240017 | 208921 | 7.0625 | 0 | 89.258 | 18.3 | 91.3 | 5.61
166 | 08/02/2016 | 9:00:00 a.m. | 239949 | 208912 | 7.3044 | 0 | 89.607 | 9 | 95.2 | 5.6
165 | 08/02/2016 | 8:00:00 a.m. | 239896 | 208905 | 7.9577 | 0 | 91.979 | -0.1 | 0 | 5.59
164 | 08/02/2016 | 7:00:00 a.m. | 239896 | 208905 | 7.9028 | 0 | 92.218 | 0.6 | 0 | 5.59
163 | 08/02/2016 | 6:00:00 a.m. | 239896 | 208905 | 7.9524 | 0 | 92.308 | 1.6 | 0 | 5.59
162 | 08/02/2016 | 5:00:00 a.m. | 239896 | 208905 | 7.9131 | 0 | 92.397 | 2.5 | 0 | 5.6
161 | 08/02/2016 | 4:00:00 a.m. | 239896 | 208905 | 7.9156 | 0 | 92.532 | 3.5 | 0 | 5.61
160 | 08/02/2016 | 3:00:00 a.m. | 239896 | 208905 | 7.8454 | 0 | 92.054 | 4.6 | 0 | 5.6
159 | 08/02/2016 | 2:00:00 a.m. | 239896 | 208905 | 7.7923 | 0 | 92.121 | 5.7 | 0 | 5.6
158 | 08/02/2016 | 1:00:00 a.m. | 239896 | 208905 | 7.7644 | 0 | 92.225 | 6.9 | 0 | 5.59
157 | 08/02/2016 | 12:00:00 a.m. | 239896 | 208905 | 7.7337 | 0 | 92.085 | 8.2 | 0 | 5.61
156 | 07/02/2016 | 11:00:00 p.m. | 239896 | 208905 | 7.6934 | 0 | 92.193 | 9.9 | 0 | 5.6
155 | 07/02/2016 | 10:00:00 p.m. | 239896 | 208905 | 7.6282 | 0 | 92.226 | 12.1 | 0 | 5.61
154 | 07/02/2016 | 9:00:00 p.m. | 239896 | 208905 | 7.6092 | 0 | 92.1 | 15.1 | 0 | 5.63
153 | 07/02/2016 | 8:00:00 p.m. | 239896 | 208905 | 7.5055 | 0 | 92.009 | 18.8 | 0 | 5.62
152 | 07/02/2016 | 7:00:00 p.m. | 239896 | 208905 | 7.3529 | 0 | 91.998 | 23.7 | 0 | 5.64
151 | 07/02/2016 | 6:00:00 p.m. | 239896 | 208905 | 7.2143 | 0 | 91.895 | 28.7 | 0 | 5.64
150 | 07/02/2016 | 5:00:00 p.m. | 239896 | 208905 | 7.1062 | 0 | 91.715 | 32.9 | 0 | 5.66
149 | 07/02/2016 | 4:00:00 p.m. | 239896 | 208905 | 7.0366 | 0 | 91.675 | 33.3 | 0 | 5.66
148 | 07/02/2016 | 3:00:00 p.m. | 239896 | 208905 | 7.0117 | 0 | 91.635 | 32.1 | 0 | 5.65
147 | 07/02/2016 | 2:00:00 p.m. | 239896 | 208905 | 7.0699 | 0 | 91.655 | 29.6 | 0 | 5.65
146 | 07/02/2016 | 1:00:00 p.m. | 239896 | 208905 | 7.095 | 0 | 91.758 | 29.7 | 0 | 5.64
145 | 07/02/2016 | 12:00:00 p.m. | 239896 | 208905 | 7.1891 | 0 | 91.86 | 25.2 | 0 | 5.64
144 | 07/02/2016 | 11:00:00 a.m. | 239896 | 208905 | 7.2893 | 0 | 91.996 | 19.4 | 0 | 5.63
143 | 07/02/2016 | 10:00:00 a.m. | 239896 | 208905 | 7.5526 | 0 | 92.121 | 11.5 | 0 | 5.63
142 | 07/02/2016 | 9:00:00 a.m. | 239896 | 208905 | 7.7128 | 0 | 92.395 | 5.4 | 0 | 5.61
141 | 07/02/2016 | 8:00:00 a.m. | 239896 | 208905 | 7.8973 | 0 | 92.388 | 4.1 | 0 | 5.6
140 | 07/02/2016 | 7:00:00 a.m. | 239896 | 208905 | 7.7937 | 0 | 92.457 | 5.1 | 0 | 5.6
139 | 07/02/2016 | 6:00:00 a.m. | 239896 | 208905 | 7.8562 | 0 | 92.395 | 6.2 | 0 | 5.6
138 | 07/02/2016 | 5:00:00 a.m. | 239896 | 208905 | 7.7616 | 0 | 92.337 | 7.2 | 0 | 5.6
137 | 07/02/2016 | 4:00:00 a.m. | 239896 | 208905 | 7.6833 | 0 | 92.421 | 7.8 | 0 | 5.61
136 | 07/02/2016 | 3:00:00 a.m. | 239896 | 208905 | 7.7264 | 0 | 92.399 | 8.4 | 0 | 5.62
135 | 07/02/2016 | 2:00:00 a.m. | 239896 | 208905 | 7.7165 | 0 | 92.449 | 9.1 | 0 | 5.6
134 | 07/02/2016 | 1:00:00 a.m. | 239896 | 208905 | 7.699 | 0 | 92.266 | 9.4 | 0 | 5.61
133 | 07/02/2016 | 12:00:00 a.m. | 239896 | 208905 | 7.6756 | 0 | 92.364 | 10.4 | 0 | 5.61
132 | 06/02/2016 | 11:00:00 p.m. | 239896 | 208905 | 7.6327 | 0 | 92.405 | 11.6 | 0 | 5.62
131 | 06/02/2016 | 10:00:00 p.m. | 239896 | 208905 | 7.6369 | 0 | 92.4 | 12.8 | 0 | 5.61
130 | 06/02/2016 | 9:00:00 p.m. | 239896 | 208905 | 7.5725 | 0 | 92.226 | 14.8 | 0 | 5.62
129 | 06/02/2016 | 8:00:00 p.m. | 239896 | 208905 | 7.4159 | 0 | 92.057 | 17.7 | 0 | 5.63
128 | 06/02/2016 | 7:00:00 p.m. | 239896 | 208905 | 7.3708 | 0 | 92.007 | 22.2 | 0 | 5.64
127 | 06/02/2016 | 6:00:00 p.m. | 239896 | 208905 | 7.2372 | 0 | 91.691 | 28.5 | 0 | 5.64
126 | 06/02/2016 | 5:00:00 p.m. | 239896 | 208905 | 7.0765 | 0 | 91.549 | 32.5 | 0 | 5.66
125 | 06/02/2016 | 4:00:00 p.m. | 239896 | 208905 | 7.033 | 0 | 91.664 | 34.3 | 0.9 | 5.66
124 | 06/02/2016 | 3:00:00 p.m. | 239896 | 208905 | 7.0144 | 0 | 90.846 | 29 | 93.5 | 5.66
123 | 06/02/2016 | 2:00:00 p.m. | 239878 | 208902 | 6.9744 | 0 | 87.547 | 23.6 | 92.3 | 5.65
122 | 06/02/2016 | 1:00:00 p.m. | 239787 | 208889 | 6.9553 | 0 | 87.66 | 23.2 | 92 | 5.65
121 | 06/02/2016 | 12:00:00 p.m. | 239697 | 208876 | 7.0332 | 0 | 88.097 | 22.7 | 90.4 | 5.65
120 | 06/02/2016 | 11:00:00 a.m. | 239610 | 208864 | 7.0779 | 0 | 87.59 | 21.3 | 92 | 5.63
119 | 06/02/2016 | 10:00:00 a.m. | 239521 | 208851 | 7.0203 | 0 | 87.649 | 19.5 | 92 | 5.62
118 | 06/02/2016 | 9:00:00 a.m. | 239431 | 208838 | 7.1949 | 0 | 88.615 | 17.4 | 89.7 | 5.61
117 | 06/02/2016 | 8:00:00 a.m. | 239350 | 208827 | 7.3023 | 0 | 89.99 | 10.3 | 95.1 | 5.59
116 | 06/02/2016 | 7:00:00 a.m. | 239299 | 208820 | 7.8546 | 0 | 92.104 | 4.4 | 0 | 5.6
115 | 06/02/2016 | 6:00:00 a.m. | 239299 | 208820 | 7.8005 | 0 | 92.201 | 5 | 0 | 5.61
114 | 06/02/2016 | 5:00:00 a.m. | 239299 | 208820 | 7.8208 | 0 | 92.321 | 5.9 | 0 | 5.6
113 | 06/02/2016 | 4:00:00 a.m. | 239299 | 208820 | 7.7513 | 0 | 92.197 | 6.9 | 0 | 5.62
112 | 06/02/2016 | 3:00:00 a.m. | 239299 | 208820 | 7.7422 | 0 | 92.202 | 8.1 | 0 | 5.61
111 | 06/02/2016 | 2:00:00 a.m. | 239299 | 208820 | 7.697 | 0 | 92.231 | 9.3 | 0 | 5.61
110 | 06/02/2016 | 1:00:00 a.m. | 239299 | 208820 | 7.6837 | 0 | 92.347 | 10.6 | 0 | 5.62
109 | 06/02/2016 | 12:00:00 a.m. | 239299 | 208820 | 7.6425 | 0 | 92.359 | 12.1 | 0 | 5.63
108 | 05/02/2016 | 11:00:00 p.m. | 239299 | 208820 | 7.609 | 0 | 92.345 | 13.9 | 0 | 5.61
107 | 05/02/2016 | 10:00:00 p.m. | 239299 | 208820 | 7.5324 | 0 | 92.231 | 16 | 0 | 5.62
106 | 05/02/2016 | 9:00:00 p.m. | 239299 | 208820 | 7.4867 | 0 | 92.271 | 18.3 | 0 | 5.63
105 | 05/02/2016 | 8:00:00 p.m. | 239299 | 208820 | 7.4223 | 0 | 92.187 | 21.3 | 0 | 5.63
104 | 05/02/2016 | 7:00:00 p.m. | 239299 | 208820 | 7.2871 | 0 | 92.178 | 24.9 | 0.8 | 5.64
103 | 05/02/2016 | 6:00:00 p.m. | 239299 | 208820 | 7.2562 | 0 | 91.545 | 26.3 | 87.7 | 5.65
102 | 05/02/2016 | 5:00:00 p.m. | 239289 | 208819 | 7.0149 | 0 | 88.335 | 24.4 | 88.8 | 5.66
101 | 05/02/2016 | 4:00:00 p.m. | 239206 | 208807 | 7.0389 | 0 | 88.311 | 25 | 84.2 | 5.66
100 | 05/02/2016 | 3:00:00 p.m. | 239128 | 208796 | 6.9847 | 0 | 88.313 | 24.8 | 85.6 | 5.67
99 | 05/02/2016 | 2:00:00 p.m. | 239046 | 208784 | 6.9986 | 0 | 88.322 | 24.2 | 85.7 | 5.65
98 | 05/02/2016 | 1:00:00 p.m. | 238965 | 208772 | 7.0278 | 0 | 88.303 | 23.8 | 85.3 | 5.65
97 | 05/02/2016 | 12:00:00 p.m. | 238885 | 208761 | 7.0439 | 0 | 88.388 | 22.7 | 84.9 | 5.66
96 | 05/02/2016 | 11:00:00 a.m. | 238805 | 208750 | 7.0964 | 0 | 88.338 | 21.1 | 85.8 | 5.63
95 | 05/02/2016 | 10:00:00 a.m. | 238724 | 208738 | 7.1275 | 0 | 88.427 | 19.2 | 85.2 | 5.62
94 | 05/02/2016 | 9:00:00 a.m. | 238644 | 208727 | 7.2027 | 0 | 88.55 | 17 | 89.3 | 5.59
93 | 05/02/2016 | 8:00:00 a.m. | 238559 | 208715 | 7.2561 | 0 | 90.175 | 7.3 | 95.1 | 5.61
92 | 05/02/2016 | 7:00:00 a.m. | 238516 | 208709 | 7.9557 | 0 | 92.245 | 2.5 | 0 | 5.59
91 | 05/02/2016 | 6:00:00 a.m. | 238516 | 208709 | 7.8968 | 0 | 92.324 | 3.3 | 0 | 5.59
90 | 05/02/2016 | 5:00:00 a.m. | 238516 | 208709 | 7.8761 | 0 | 92.391 | 4 | 0 | 5.6
89 | 05/02/2016 | 4:00:00 a.m. | 238516 | 208709 | 7.8615 | 0 | 92.288 | 4.9 | 0 | 5.6
88 | 05/02/2016 | 3:00:00 a.m. | 238516 | 208709 | 7.8278 | 0 | 92.396 | 5.9 | 0 | 5.6
87 | 05/02/2016 | 2:00:00 a.m. | 238516 | 208709 | 7.7618 | 0 | 92.32 | 7.1 | 0 | 5.6
86 | 05/02/2016 | 1:00:00 a.m. | 238516 | 208709 | 7.7467 | 0 | 92.178 | 8.6 | 0 | 5.62
85 | 05/02/2016 | 12:00:00 a.m. | 238516 | 208709 | 7.7151 | 0 | 92.458 | 10.1 | 0 | 5.61
84 | 04/02/2016 | 11:00:00 p.m. | 238516 | 208709 | 7.6272 | 0 | 92.4 | 12 | 0 | 5.63
83 | 04/02/2016 | 10:00:00 p.m. | 238516 | 208709 | 7.6141 | 0 | 92.388 | 14.3 | 0 | 5.62
82 | 04/02/2016 | 9:00:00 p.m. | 238516 | 208709 | 7.5578 | 0 | 92.178 | 17.1 | 0 | 5.62
81 | 04/02/2016 | 8:00:00 p.m. | 238516 | 208709 | 7.3836 | 0 | 91.946 | 20.3 | 0 | 5.64
80 | 04/02/2016 | 7:00:00 p.m. | 238516 | 208709 | 7.3128 | 0 | 91.901 | 24.6 | 0.8 | 5.64
79 | 04/02/2016 | 6:00:00 p.m. | 238516 | 208709 | 7.1806 | 0 | 91.316 | 26.3 | 79.1 | 5.65
78 | 04/02/2016 | 5:00:00 p.m. | 238504 | 208707 | 6.9519 | 0 | 88.599 | 24.6 | 81.4 | 5.66
77 | 04/02/2016 | 4:00:00 p.m. | 238429 | 208697 | 7.0642 | 0 | 88.611 | 25.3 | 79.9 | 5.67
76 | 04/02/2016 | 3:00:00 p.m. | 238354 | 208686 | 6.9928 | 0 | 88.388 | 25.2 | 81.6 | 5.67
75 | 04/02/2016 | 2:00:00 p.m. | 238279 | 208675 | 6.9786 | 0 | 88.079 | 24.6 | 82.9 | 5.67
74 | 04/02/2016 | 1:00:00 p.m. | 238201 | 208664 | 6.9794 | 0 | 88.266 | 24.2 | 82.7 | 5.65
73 | 04/02/2016 | 12:00:00 p.m. | 238124 | 208653 | 7.0181 | 0 | 88.129 | 23.1 | 83.2 | 5.65
72 | 04/02/2016 | 11:00:00 a.m. | 238043 | 208642 | 7.0234 | 0 | 88.037 | 21.5 | 84.7 | 5.63
71 | 04/02/2016 | 10:00:00 a.m. | 237961 | 208630 | 7.106 | 0 | 87.961 | 18 | 90.5 | 5.62
70 | 04/02/2016 | 9:00:00 a.m. | 237875 | 208618 | 7.2625 | 0 | 91.494 | 3 | 95.1 | 5.6
69 | 04/02/2016 | 8:00:00 a.m. | 237867 | 208617 | 7.8861 | 0 | 92.221 | 1.9 | 0 | 5.6
68 | 04/02/2016 | 7:00:00 a.m. | 237867 | 208617 | 7.923 | 0 | 92.33 | 2.8 | 0 | 5.6
67 | 04/02/2016 | 6:00:00 a.m. | 237867 | 208617 | 7.8558 | 0 | 92.193 | 3.7 | 0 | 5.6
66 | 04/02/2016 | 5:00:00 a.m. | 237867 | 208617 | 7.8439 | 0 | 92.116 | 4.8 | 0 | 5.6
65 | 04/02/2016 | 4:00:00 a.m. | 237867 | 208617 | 7.7727 | 0 | 92.315 | 5.7 | 0 | 5.6
64 | 04/02/2016 | 3:00:00 a.m. | 237867 | 208617 | 7.792 | 0 | 92.221 | 6.8 | 0 | 5.61
63 | 04/02/2016 | 2:00:00 a.m. | 237867 | 208617 | 7.8049 | 0 | 92.212 | 7.9 | 0 | 5.6
62 | 04/02/2016 | 1:00:00 a.m. | 237867 | 208617 | 7.7169 | 0 | 92.272 | 9.6 | 0 | 5.6
61 | 04/02/2016 | 12:00:00 a.m. | 237867 | 208617 | 7.7138 | 0 | 92.355 | 11.5 | 0 | 5.61
60 | 03/02/2016 | 11:00:00 p.m. | 237867 | 208617 | 7.6354 | 0 | 92.429 | 13.7 | 0 | 5.61
59 | 03/02/2016 | 10:00:00 p.m. | 237867 | 208617 | 7.5702 | 0 | 92.411 | 16.3 | 0 | 5.62
58 | 03/02/2016 | 9:00:00 p.m. | 237867 | 208617 | 7.4448 | 0 | 92.182 | 18.8 | 0 | 5.64
57 | 03/02/2016 | 8:00:00 p.m. | 237867 | 208617 | 7.3697 | 0 | 92.222 | 21.3 | 0 | 5.63
56 | 03/02/2016 | 7:00:00 p.m. | 237867 | 208617 | 7.3706 | 0 | 92.048 | 24.4 | 0 | 5.65
55 | 03/02/2016 | 6:00:00 p.m. | 237867 | 208617 | 7.2239 | 0 | 91.932 | 27.6 | 7.8 | 5.67
54 | 03/02/2016 | 5:00:00 p.m. | 237867 | 208617 | 7.1979 | 0 | 88.613 | 24.5 | 84.5 | 5.66
53 | 03/02/2016 | 4:00:00 p.m. | 237790 | 208606 | 7.0063 | 0 | 88.051 | 25 | 84.6 | 5.66
52 | 03/02/2016 | 3:00:00 p.m. | 237707 | 208594 | 6.95 | 0 | 86.949 | 25 | 85.7 | 5.66
51 | 03/02/2016 | 2:00:00 p.m. | 237623 | 208582 | 6.8472 | 0 | 86.209 | 24.5 | 85.5 | 5.67
50 | 03/02/2016 | 1:00:00 p.m. | 237538 | 208569 | 6.8783 | 0 | 86.343 | 24.2 | 85.6 | 5.67
49 | 03/02/2016 | 12:00:00 p.m. | 237454 | 208557 | 6.8743 | 0 | 86.465 | 23.1 | 85.3 | 5.64
48 | 03/02/2016 | 11:00:00 a.m. | 237370 | 208545 | 6.9554 | 0 | 86.608 | 21.6 | 87.7 | 5.63
47 | 03/02/2016 | 10:00:00 a.m. | 237285 | 208533 | 6.9434 | 0 | 86.689 | 18.5 | 90.5 | 5.62
46 | 03/02/2016 | 9:00:00 a.m. | 237199 | 208520 | 7.1271 | 0 | 90.183 | 5 | 95.9 | 5.6
45 | 03/02/2016 | 8:00:00 a.m. | 237186 | 208519 | 7.73 | 0 | 90.869 | 3.5 | 0 | 5.6
44 | 03/02/2016 | 7:00:00 a.m. | 237186 | 208519 | 7.7249 | 0 | 91.101 | 4.3 | 0 | 5.6
43 | 03/02/2016 | 6:00:00 a.m. | 237186 | 208519 | 7.7569 | 0 | 91.04 | 5.2 | 0 | 5.61
42 | 03/02/2016 | 5:00:00 a.m. | 237186 | 208519 | 7.6415 | 0 | 90.952 | 6.4 | 0 | 5.61
41 | 03/02/2016 | 4:00:00 a.m. | 237186 | 208519 | 7.6832 | 0 | 90.911 | 7.6 | 0 | 5.6
40 | 03/02/2016 | 3:00:00 a.m. | 237186 | 208519 | 7.6248 | 0 | 90.798 | 9 | 0 | 5.61
39 | 03/02/2016 | 2:00:00 a.m. | 237186 | 208519 | 7.5598 | 0 | 90.872 | 9.9 | 0 | 5.61
38 | 03/02/2016 | 1:00:00 a.m. | 237186 | 208519 | 7.5748 | 0 | 90.945 | 11 | 0 | 5.61
37 | 03/02/2016 | 12:00:00 a.m. | 237186 | 208519 | 7.5386 | 0 | 90.972 | 12.7 | 0 | 5.61
36 | 02/02/2016 | 11:00:00 p.m. | 237186 | 208519 | 7.4448 | 0 | 90.939 | 14.8 | 0 | 5.61
35 | 02/02/2016 | 10:00:00 p.m. | 237186 | 208519 | 7.4273 | 0 | 90.921 | 17 | 0 | 5.63
34 | 02/02/2016 | 9:00:00 p.m. | 237186 | 208519 | 7.3294 | 0 | 90.765 | 18.9 | 0 | 5.63
33 | 02/02/2016 | 8:00:00 p.m. | 237186 | 208519 | 7.3224 | 0 | 90.889 | 20.6 | 0 | 5.62
32 | 02/02/2016 | 7:00:00 p.m. | 237186 | 208519 | 7.1881 | 0 | 90.85 | 23.3 | 0 | 5.64
31 | 02/02/2016 | 6:00:00 p.m. | 237186 | 208519 | 7.1496 | 0 | 90.618 | 27.3 | 0 | 5.65
30 | 02/02/2016 | 5:00:00 p.m. | 237186 | 208519 | 7.0004 | 0 | 90.59 | 26.4 | 12.4 | 5.65
29 | 02/02/2016 | 4:00:00 p.m. | 237186 | 208519 | 7.195 | 0 | 87.98 | 25 | 89.1 | 5.65
28 | 02/02/2016 | 3:00:00 p.m. | 237124 | 208510 | 6.9604 | 0 | 86.885 | 24.8 | 87.8 | 5.66
27 | 02/02/2016 | 2:00:00 p.m. | 237042 | 208498 | 6.851 | 0 | 87.498 | 26.3 | 89.7 | 5.65
26 | 02/02/2016 | 1:00:00 p.m. | 236981 | 208489 | 7.036 | 0 | 87.314 | 24 | 88.7 | 5.65
25 | 02/02/2016 | 12:00:00 p.m. | 236911 | 208479 | 6.8926 | 0 | 87.038 | 22.6 | 90.2 | 5.66
24 | 02/02/2016 | 11:00:00 a.m. | 236827 | 208467 | 6.9818 | 0 | 87.17 | 21.9 | 88.1 | 5.64
23 | 02/02/2016 | 10:00:00 a.m. | 236745 | 208455 | 6.9047 | 0 | 86.821 | 19.9 | 89.4 | 5.61
22 | 02/02/2016 | 9:00:00 a.m. | 236658 | 208442 | 7.0357 | 0 | 87.053 | 17.9 | 90 | 5.6
21 | 02/02/2016 | 8:00:00 a.m. | 236569 | 208430 | 7.1144 | 0 | 89.067 | 11.1 | 96.1 | 5.61
20 | 02/02/2016 | 7:00:00 a.m. | 236520 | 208423 | 7.6946 | 0 | 91.341 | 6.8 | 0 | 5.61
19 | 02/02/2016 | 6:00:00 a.m. | 236520 | 208423 | 7.6938 | 0 | 91.531 | 7.3 | 0 | 5.61
18 | 02/02/2016 | 5:00:00 a.m. | 236520 | 208423 | 7.6994 | 0 | 91.378 | 8 | 0 | 5.61
17 | 02/02/2016 | 4:00:00 a.m. | 236520 | 208423 | 7.6516 | 0 | 91.447 | 9.3 | 0 | 5.62
16 | 02/02/2016 | 3:00:00 a.m. | 236520 | 208423 | 7.6204 | 0 | 91.447 | 10.5 | 0 | 5.62
15 | 02/02/2016 | 2:00:00 a.m. | 236520 | 208423 | 7.5875 | 0 | 91.263 | 10.7 | 0 | 5.6
14 | 02/02/2016 | 1:00:00 a.m. | 236520 | 208423 | 7.5142 | 0 | 91.569 | 11.9 | 0 | 5.61
13 | 02/02/2016 | 12:00:00 a.m. | 236520 | 208423 | 7.5125 | 0 | 91.901 | 13.5 | 0 | 5.63
12 | 01/02/2016 | 11:00:00 p.m. | 236520 | 208423 | 7.5612 | 0 | 92.033 | 15.5 | 0 | 5.62
11 | 01/02/2016 | 10:00:00 p.m. | 236520 | 208423 | 7.4894 | 0 | 92.039 | 17.3 | 0 | 5.62
10 | 01/02/2016 | 9:00:00 p.m. | 236520 | 208423 | 7.4212 | 0 | 91.94 | 18.2 | 0 | 5.63
9 | 01/02/2016 | 8:00:00 p.m. | 236520 | 208423 | 7.4333 | 0 | 91.945 | 19.4 | 0 | 5.63
8 | 01/02/2016 | 7:00:00 p.m. | 236520 | 208423 | 7.2821 | 0 | 91.881 | 22.1 | 0 | 5.63
7 | 01/02/2016 | 6:00:00 p.m. | 236520 | 208423 | 7.2833 | 0 | 91.708 | 26.6 | 0 | 5.65
6 | 01/02/2016 | 5:00:00 p.m. | 236520 | 208423 | 7.1017 | 0 | 91.595 | 28 | 0 | 5.64
5 | 01/02/2016 | 4:00:00 p.m. | 236520 | 208423 | 7.1602 | 0 | 91.567 | 32 | 0 | 5.65
4 | 01/02/2016 | 3:00:00 p.m. | 236520 | 208423 | 6.9543 | 0 | 91.34 | 37.1 | 0 | 5.65
3 | 01/02/2016 | 2:00:00 p.m. | 236520 | 208423 | 6.8998 | 0 | 91.307 | 38 | 0 | 5.65
2 | 01/02/2016 | 1:00:00 p.m. | 236520 | 208423 | 6.8693 | 0 | 91.422 | 37.5 | 0 | 5.65
1 | 01/02/2016 | 12:00:00 p.m. | 236520 | 208423 | 6.9707 | 0 | 91.476 | 32.8 | 0 | 5.65