## Saporis horario 022916 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 695
Fault/Alarms Recorded: | Date | Time | Condition
1 | 13/02/2016 | 7:09:52 a.m. | 8 (Low Temperature Alarm Occurred)
2 | 09/02/2016 | 12:23:28 p.m. | 0 (Alarm Register Cleared )
4 | 07/01/2016 | 3:27:01 p.m. | 128 (Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
695 | 01/03/2016 | 10:00:00 a.m. | 1314402 | 421520 | 7.2208 | 0 | 90.671 | 22.4 | 116.8 | 5.8
694 | 01/03/2016 | 9:00:00 a.m. | 1314311 | 421507 | 7.2367 | 0 | 90.838 | 21.4 | 154.1 | 5.8
693 | 01/03/2016 | 8:00:00 a.m. | 1314207 | 421493 | 7.3251 | 0 | 91.21 | 18.5 | 209.4 | 5.79
692 | 01/03/2016 | 7:00:00 a.m. | 1314144 | 421484 | 7.4982 | 0 | 91.696 | 9.1 | 126.9 | 5.79
691 | 01/03/2016 | 6:00:00 a.m. | 1314136 | 421483 | 7.7047 | 0 | 91.608 | 9.6 | 0 | 5.8
690 | 01/03/2016 | 5:00:00 a.m. | 1314136 | 421483 | 7.5923 | 0 | 91.553 | 12.6 | 3.7 | 5.79
689 | 01/03/2016 | 4:00:00 a.m. | 1314136 | 421483 | 7.4724 | 0 | 91.448 | 20 | 95.3 | 5.8
688 | 01/03/2016 | 3:00:00 a.m. | 1314076 | 421475 | 7.3146 | 0 | 91.221 | 21.6 | 157.8 | 5.8
687 | 01/03/2016 | 2:00:00 a.m. | 1313955 | 421458 | 7.2305 | 0 | 90.791 | 21.9 | 167 | 5.8
686 | 01/03/2016 | 1:00:00 a.m. | 1313791 | 421435 | 7.2592 | 0 | 91.517 | 13.8 | 166.1 | 5.8
685 | 01/03/2016 | 12:00:00 a.m. | 1313770 | 421433 | 7.4895 | 0 | 91.619 | 13.2 | 0 | 5.8
684 | 29/02/2016 | 11:00:00 p.m. | 1313770 | 421433 | 7.556 | 0 | 91.678 | 13.4 | 0 | 5.8
683 | 29/02/2016 | 10:00:00 p.m. | 1313770 | 421433 | 7.5084 | 0 | 91.722 | 15.7 | 2.5 | 5.8
682 | 29/02/2016 | 9:00:00 p.m. | 1313770 | 421433 | 7.4424 | 0 | 91.624 | 18.5 | 15.3 | 5.8
681 | 29/02/2016 | 8:00:00 p.m. | 1313759 | 421431 | 7.3787 | 0 | 91.583 | 20.1 | 15.1 | 5.8
680 | 29/02/2016 | 7:00:00 p.m. | 1313744 | 421429 | 7.2912 | 0 | 91.675 | 22.9 | 18.9 | 5.82
679 | 29/02/2016 | 6:00:00 p.m. | 1313736 | 421428 | 7.2187 | 0 | 91.451 | 24.2 | 18.8 | 5.82
678 | 29/02/2016 | 5:00:00 p.m. | 1313717 | 421425 | 7.2671 | 0 | 91.474 | 23.3 | 19 | 5.82
677 | 29/02/2016 | 4:00:00 p.m. | 1313699 | 421423 | 7.2573 | 0 | 91.435 | 27.5 | 18.9 | 5.82
676 | 29/02/2016 | 3:00:00 p.m. | 1313699 | 421423 | 7.0465 | 0 | 91.241 | 32.8 | 0 | 5.83
675 | 29/02/2016 | 2:00:00 p.m. | 1313699 | 421423 | 6.9733 | 0 | 91.001 | 32.9 | 0 | 5.83
674 | 29/02/2016 | 1:00:00 p.m. | 1313699 | 421423 | 6.9575 | 0 | 90.714 | 33.2 | 0 | 5.82
673 | 29/02/2016 | 12:00:00 p.m. | 1313699 | 421423 | 6.9762 | 0 | 90.796 | 29.1 | 9.7 | 5.83
672 | 29/02/2016 | 11:00:00 a.m. | 1313699 | 421423 | 7.1516 | 0 | 90.439 | 24 | 164.1 | 5.82
671 | 29/02/2016 | 10:00:00 a.m. | 1313606 | 421410 | 7.1546 | 0 | 90.562 | 22.1 | 115.8 | 5.8
670 | 29/02/2016 | 9:00:00 a.m. | 1313526 | 421399 | 7.2948 | 0 | 91.473 | 19.2 | 116.8 | 5.8
669 | 29/02/2016 | 8:00:00 a.m. | 1313487 | 421393 | 7.4856 | 0 | 91.682 | 13 | 168.4 | 5.79
668 | 29/02/2016 | 7:00:00 a.m. | 1313450 | 421389 | 7.7698 | 0 | 92.279 | 7 | 0 | 5.79
667 | 29/02/2016 | 6:00:00 a.m. | 1313450 | 421389 | 7.7261 | 0 | 92.293 | 8.7 | 1 | 5.79
666 | 29/02/2016 | 5:00:00 a.m. | 1313450 | 421389 | 7.6429 | 0 | 92.176 | 13.4 | 167.1 | 5.79
665 | 29/02/2016 | 4:00:00 a.m. | 1313443 | 421388 | 7.4585 | 0 | 92.145 | 19.4 | 102.5 | 5.8
664 | 29/02/2016 | 3:00:00 a.m. | 1313391 | 421381 | 7.3399 | 0 | 91.86 | 21.3 | 110.5 | 5.8
663 | 29/02/2016 | 2:00:00 a.m. | 1313291 | 421367 | 7.2968 | 0 | 91.8 | 21.5 | 120.9 | 5.8
662 | 29/02/2016 | 1:00:00 a.m. | 1313181 | 421352 | 7.3327 | 0 | 91.892 | 19.4 | 121.1 | 5.8
661 | 29/02/2016 | 12:00:00 a.m. | 1313115 | 421343 | 7.4299 | 0 | 91.808 | 18.2 | 167.5 | 5.8
660 | 28/02/2016 | 11:00:00 p.m. | 1313063 | 421336 | 7.5779 | 0 | 92.24 | 14.1 | 0 | 5.8
659 | 28/02/2016 | 10:00:00 p.m. | 1313063 | 421336 | 7.5448 | 0 | 92.301 | 14.7 | 0 | 5.8
658 | 28/02/2016 | 9:00:00 p.m. | 1313063 | 421336 | 7.502 | 0 | 92.272 | 16.8 | 0 | 5.8
657 | 28/02/2016 | 8:00:00 p.m. | 1313063 | 421336 | 7.4645 | 0 | 92.274 | 18.6 | 0 | 5.8
656 | 28/02/2016 | 7:00:00 p.m. | 1313063 | 421336 | 7.39 | 0 | 92.064 | 19.5 | 0.8 | 5.81
655 | 28/02/2016 | 6:00:00 p.m. | 1313063 | 421336 | 7.3902 | 0 | 92.041 | 21.1 | 65.3 | 5.81
654 | 28/02/2016 | 5:00:00 p.m. | 1313058 | 421335 | 7.3536 | 0 | 91.989 | 23.4 | 65.9 | 5.82
653 | 28/02/2016 | 4:00:00 p.m. | 1313047 | 421334 | 7.2902 | 0 | 92.068 | 23.9 | 0 | 5.82
652 | 28/02/2016 | 3:00:00 p.m. | 1313047 | 421334 | 7.1644 | 0 | 91.673 | 33.6 | 0 | 5.83
651 | 28/02/2016 | 2:00:00 p.m. | 1313047 | 421334 | 6.9263 | 0 | 91.414 | 34.6 | 0 | 5.83
650 | 28/02/2016 | 1:00:00 p.m. | 1313047 | 421334 | 7.0003 | 0 | 91.342 | 32.7 | 0 | 5.83
649 | 28/02/2016 | 12:00:00 p.m. | 1313047 | 421334 | 7.0268 | 0 | 91.498 | 28.9 | 3.4 | 5.82
648 | 28/02/2016 | 11:00:00 a.m. | 1313047 | 421334 | 7.1661 | 0 | 91.269 | 22.9 | 70.1 | 5.81
647 | 28/02/2016 | 10:00:00 a.m. | 1313019 | 421330 | 7.2858 | 0 | 91.529 | 17.3 | 0 | 5.8
646 | 28/02/2016 | 9:00:00 a.m. | 1313019 | 421330 | 7.4946 | 0 | 91.891 | 11.1 | 0 | 5.8
645 | 28/02/2016 | 8:00:00 a.m. | 1313019 | 421330 | 7.6986 | 0 | 92.133 | 7.6 | 0 | 5.79
644 | 28/02/2016 | 7:00:00 a.m. | 1313019 | 421330 | 7.7083 | 0 | 92.098 | 8.4 | 0 | 5.8
643 | 28/02/2016 | 6:00:00 a.m. | 1313019 | 421330 | 7.6992 | 0 | 92.063 | 9.5 | 0 | 5.8
642 | 28/02/2016 | 5:00:00 a.m. | 1313019 | 421330 | 7.6533 | 0 | 91.975 | 10.2 | 0 | 5.8
641 | 28/02/2016 | 4:00:00 a.m. | 1313019 | 421330 | 7.6576 | 0 | 92.033 | 10.9 | 0 | 5.8
640 | 28/02/2016 | 3:00:00 a.m. | 1313019 | 421330 | 7.5979 | 0 | 91.939 | 11.1 | 0 | 5.8
639 | 28/02/2016 | 2:00:00 a.m. | 1313019 | 421330 | 7.6274 | 0 | 91.966 | 10.5 | 0 | 5.8
638 | 28/02/2016 | 1:00:00 a.m. | 1313019 | 421330 | 7.6317 | 0 | 91.948 | 11.3 | 0 | 5.8
637 | 28/02/2016 | 12:00:00 a.m. | 1313019 | 421330 | 7.5798 | 0 | 92.01 | 12.8 | 0 | 5.8
636 | 27/02/2016 | 11:00:00 p.m. | 1313019 | 421330 | 7.5392 | 0 | 91.994 | 14.1 | 1.7 | 5.8
635 | 27/02/2016 | 10:00:00 p.m. | 1313019 | 421330 | 7.4927 | 0 | 91.915 | 17.5 | 166.2 | 5.8
634 | 27/02/2016 | 9:00:00 p.m. | 1313003 | 421328 | 7.4112 | 0 | 91.875 | 18.4 | 27.1 | 5.8
633 | 27/02/2016 | 8:00:00 p.m. | 1312980 | 421325 | 7.3873 | 0 | 91.887 | 18.3 | 27.7 | 5.8
632 | 27/02/2016 | 7:00:00 p.m. | 1312958 | 421321 | 7.4292 | 0 | 91.764 | 19.2 | 116.6 | 5.8
631 | 27/02/2016 | 6:00:00 p.m. | 1312908 | 421315 | 7.4707 | 0 | 91.868 | 17.7 | 35.1 | 5.8
630 | 27/02/2016 | 5:00:00 p.m. | 1312883 | 421311 | 7.362 | 0 | 91.496 | 22.5 | 113.5 | 5.81
629 | 27/02/2016 | 4:00:00 p.m. | 1312829 | 421304 | 7.2103 | 0 | 91.323 | 23.8 | 112.2 | 5.82
628 | 27/02/2016 | 3:00:00 p.m. | 1312725 | 421289 | 7.2398 | 0 | 91.184 | 24 | 129.1 | 5.82
627 | 27/02/2016 | 2:00:00 p.m. | 1312631 | 421277 | 7.2397 | 0 | 91.278 | 23.6 | 46.3 | 5.82
626 | 27/02/2016 | 1:00:00 p.m. | 1312597 | 421272 | 7.2218 | 0 | 91.266 | 24.1 | 67.8 | 5.82
625 | 27/02/2016 | 12:00:00 p.m. | 1312553 | 421266 | 7.2369 | 0 | 91.437 | 22.8 | 49.4 | 5.81
624 | 27/02/2016 | 11:00:00 a.m. | 1312526 | 421262 | 7.2622 | 0 | 91.141 | 22.6 | 108.3 | 5.8
623 | 27/02/2016 | 10:00:00 a.m. | 1312445 | 421251 | 7.2153 | 0 | 91.231 | 20.6 | 117.6 | 5.8
622 | 27/02/2016 | 9:00:00 a.m. | 1312404 | 421245 | 7.3232 | 0 | 92.026 | 18.9 | 27.6 | 5.8
621 | 27/02/2016 | 8:00:00 a.m. | 1312381 | 421242 | 7.3864 | 0 | 91.769 | 20.9 | 111 | 5.8
620 | 27/02/2016 | 7:00:00 a.m. | 1312293 | 421230 | 7.3297 | 0 | 91.751 | 21.1 | 109.6 | 5.8
619 | 27/02/2016 | 6:00:00 a.m. | 1312194 | 421217 | 7.3276 | 0 | 91.787 | 20.6 | 109.6 | 5.8
618 | 27/02/2016 | 5:00:00 a.m. | 1312101 | 421204 | 7.4113 | 0 | 92.019 | 13.3 | 167.8 | 5.8
617 | 27/02/2016 | 4:00:00 a.m. | 1312059 | 421198 | 7.6675 | 0 | 92.181 | 11.1 | 0 | 5.8
616 | 27/02/2016 | 3:00:00 a.m. | 1312059 | 421198 | 7.5827 | 0 | 92.15 | 13.1 | 0 | 5.8
615 | 27/02/2016 | 2:00:00 a.m. | 1312059 | 421198 | 7.5424 | 0 | 92.113 | 14.7 | 1.1 | 5.8
614 | 27/02/2016 | 1:00:00 a.m. | 1312059 | 421198 | 7.5056 | 0 | 92.05 | 17 | 166.2 | 5.8
613 | 27/02/2016 | 12:00:00 a.m. | 1312049 | 421197 | 7.4197 | 0 | 92.124 | 19 | 30.2 | 5.8
612 | 26/02/2016 | 11:00:00 p.m. | 1312026 | 421194 | 7.4216 | 0 | 91.981 | 20.2 | 101.8 | 5.8
611 | 26/02/2016 | 10:00:00 p.m. | 1311983 | 421188 | 7.3623 | 0 | 91.876 | 21.4 | 86.2 | 5.8
610 | 26/02/2016 | 9:00:00 p.m. | 1311907 | 421178 | 7.3125 | 0 | 91.536 | 19 | 166.5 | 5.8
609 | 26/02/2016 | 8:00:00 p.m. | 1311870 | 421172 | 7.3706 | 0 | 91.728 | 18.9 | 0 | 5.81
608 | 26/02/2016 | 7:00:00 p.m. | 1311870 | 421172 | 7.3529 | 0 | 91.488 | 20.4 | 0 | 5.81
607 | 26/02/2016 | 6:00:00 p.m. | 1311870 | 421172 | 7.317 | 0 | 91.608 | 23.4 | 0 | 5.82
606 | 26/02/2016 | 5:00:00 p.m. | 1311870 | 421172 | 7.1798 | 0 | 91.251 | 27.5 | 0 | 5.83
605 | 26/02/2016 | 4:00:00 p.m. | 1311870 | 421172 | 7.0885 | 0 | 91.113 | 29 | 0 | 5.83
604 | 26/02/2016 | 3:00:00 p.m. | 1311870 | 421172 | 7.0963 | 0 | 91.065 | 27.8 | 6.1 | 5.83
603 | 26/02/2016 | 2:00:00 p.m. | 1311870 | 421172 | 7.1506 | 0 | 90.774 | 24.8 | 119.8 | 5.83
602 | 26/02/2016 | 1:00:00 p.m. | 1311780 | 421160 | 7.1429 | 0 | 90.741 | 26.4 | 163.3 | 5.83
601 | 26/02/2016 | 12:00:00 p.m. | 1311709 | 421150 | 7.139 | 0 | 90.735 | 25.3 | 100.1 | 5.83
600 | 26/02/2016 | 11:00:00 a.m. | 1311635 | 421140 | 7.1816 | 0 | 91.017 | 24.6 | 23.3 | 5.82
599 | 26/02/2016 | 10:00:00 a.m. | 1311613 | 421136 | 7.2163 | 0 | 90.991 | 22.8 | 102.3 | 5.81
598 | 26/02/2016 | 9:00:00 a.m. | 1311560 | 421129 | 7.2483 | 0 | 91.156 | 21.9 | 104.6 | 5.8
597 | 26/02/2016 | 8:00:00 a.m. | 1311461 | 421116 | 7.2821 | 0 | 91.371 | 21.3 | 108.8 | 5.8
596 | 26/02/2016 | 7:00:00 a.m. | 1311361 | 421102 | 7.294 | 0 | 91.516 | 20.8 | 107.5 | 5.8
595 | 26/02/2016 | 6:00:00 a.m. | 1311272 | 421090 | 7.3172 | 0 | 91.487 | 20.2 | 167.4 | 5.8
594 | 26/02/2016 | 5:00:00 a.m. | 1311182 | 421077 | 7.3721 | 0 | 91.94 | 10.7 | 167.2 | 5.8
593 | 26/02/2016 | 4:00:00 a.m. | 1311174 | 421076 | 7.618 | 0 | 91.922 | 12.1 | 0 | 5.8
592 | 26/02/2016 | 3:00:00 a.m. | 1311174 | 421076 | 7.639 | 0 | 91.757 | 12.1 | 0 | 5.8
591 | 26/02/2016 | 2:00:00 a.m. | 1311174 | 421076 | 7.5411 | 0 | 91.891 | 13.2 | 0 | 5.8
590 | 26/02/2016 | 1:00:00 a.m. | 1311174 | 421076 | 7.5775 | 0 | 92.04 | 15.3 | 0 | 5.8
589 | 26/02/2016 | 12:00:00 a.m. | 1311174 | 421076 | 7.4857 | 0 | 91.959 | 16.8 | 0.9 | 5.8
588 | 25/02/2016 | 11:00:00 p.m. | 1311174 | 421076 | 7.4143 | 0 | 91.852 | 19.3 | 164.2 | 5.8
587 | 25/02/2016 | 10:00:00 p.m. | 1311168 | 421075 | 7.3516 | 0 | 91.733 | 21 | 22.6 | 5.81
586 | 25/02/2016 | 9:00:00 p.m. | 1311145 | 421072 | 7.3417 | 0 | 91.786 | 21.5 | 25.4 | 5.81
585 | 25/02/2016 | 8:00:00 p.m. | 1311123 | 421069 | 7.2868 | 0 | 91.511 | 23 | 104.5 | 5.82
584 | 25/02/2016 | 7:00:00 p.m. | 1311042 | 421058 | 7.2672 | 0 | 91.446 | 24.5 | 164.7 | 5.82
583 | 25/02/2016 | 6:00:00 p.m. | 1310958 | 421047 | 7.1742 | 0 | 91.731 | 29.5 | 0 | 5.83
582 | 25/02/2016 | 5:00:00 p.m. | 1310958 | 421047 | 7.0778 | 0 | 91.328 | 34.4 | 0 | 5.83
581 | 25/02/2016 | 4:00:00 p.m. | 1310958 | 421047 | 6.8993 | 0 | 91.163 | 36.5 | 0 | 5.84
580 | 25/02/2016 | 3:00:00 p.m. | 1310958 | 421047 | 6.9059 | 0 | 90.96 | 35.4 | 0 | 5.83
579 | 25/02/2016 | 2:00:00 p.m. | 1310958 | 421047 | 6.9407 | 0 | 90.923 | 32.5 | 3.1 | 5.83
578 | 25/02/2016 | 1:00:00 p.m. | 1310958 | 421047 | 7.0372 | 0 | 90.931 | 26.4 | 109.5 | 5.83
577 | 25/02/2016 | 12:00:00 p.m. | 1310898 | 421038 | 7.1487 | 0 | 90.691 | 24.7 | 126.7 | 5.82
576 | 25/02/2016 | 11:00:00 a.m. | 1310793 | 421024 | 7.1643 | 0 | 90.748 | 23.7 | 107.2 | 5.81
575 | 25/02/2016 | 10:00:00 a.m. | 1310691 | 421009 | 7.2206 | 0 | 91.058 | 20.7 | 167.1 | 5.8
574 | 25/02/2016 | 9:00:00 a.m. | 1310605 | 420997 | 7.4715 | 0 | 91.588 | 12.4 | 2.1 | 5.8
573 | 25/02/2016 | 8:00:00 a.m. | 1310605 | 420997 | 7.6045 | 0 | 91.926 | 14.8 | 26.6 | 5.79
572 | 25/02/2016 | 7:00:00 a.m. | 1310589 | 420995 | 7.4754 | 0 | 91.777 | 19.6 | 115.8 | 5.79
571 | 25/02/2016 | 6:00:00 a.m. | 1310517 | 420986 | 7.3237 | 0 | 91.637 | 20.6 | 113.2 | 5.79
570 | 25/02/2016 | 5:00:00 a.m. | 1310416 | 420972 | 7.3258 | 0 | 91.619 | 20.5 | 103.9 | 5.8
569 | 25/02/2016 | 4:00:00 a.m. | 1310323 | 420959 | 7.3265 | 0 | 91.588 | 20.6 | 103 | 5.79
568 | 25/02/2016 | 3:00:00 a.m. | 1310232 | 420947 | 7.3424 | 0 | 91.632 | 20.8 | 105.6 | 5.8
567 | 25/02/2016 | 2:00:00 a.m. | 1310140 | 420934 | 7.3299 | 0 | 91.679 | 19.8 | 111.3 | 5.8
566 | 25/02/2016 | 1:00:00 a.m. | 1310059 | 420923 | 7.467 | 0 | 91.917 | 18.5 | 92.5 | 5.8
565 | 25/02/2016 | 12:00:00 a.m. | 1310033 | 420920 | 7.2918 | 0 | 91.645 | 19.4 | 114 | 5.8
564 | 24/02/2016 | 11:00:00 p.m. | 1309980 | 420912 | 7.4041 | 0 | 91.77 | 19.2 | 31.9 | 5.8
563 | 24/02/2016 | 10:00:00 p.m. | 1309958 | 420909 | 7.3412 | 0 | 91.607 | 21.1 | 81.7 | 5.81
562 | 24/02/2016 | 9:00:00 p.m. | 1309912 | 420903 | 7.2626 | 0 | 91.483 | 21 | 165.1 | 5.81
561 | 24/02/2016 | 8:00:00 p.m. | 1309861 | 420896 | 7.32 | 0 | 91.728 | 21.7 | 0 | 5.82
560 | 24/02/2016 | 7:00:00 p.m. | 1309861 | 420896 | 7.291 | 0 | 91.721 | 25.5 | 0 | 5.83
559 | 24/02/2016 | 6:00:00 p.m. | 1309861 | 420896 | 7.1544 | 0 | 91.692 | 30.4 | 0.8 | 5.83
558 | 24/02/2016 | 5:00:00 p.m. | 1309861 | 420896 | 7.051 | 0 | 91.186 | 30.4 | 161.8 | 5.84
557 | 24/02/2016 | 4:00:00 p.m. | 1309851 | 420895 | 7.1524 | 0 | 90.701 | 26.1 | 114.4 | 5.84
556 | 24/02/2016 | 3:00:00 p.m. | 1309751 | 420881 | 7.0977 | 0 | 91.07 | 29.2 | 112.6 | 5.83
555 | 24/02/2016 | 2:00:00 p.m. | 1309709 | 420875 | 7.0396 | 0 | 91.057 | 30.2 | 22.3 | 5.84
554 | 24/02/2016 | 1:00:00 p.m. | 1309687 | 420872 | 7.0655 | 0 | 90.999 | 29 | 22.2 | 5.83
553 | 24/02/2016 | 12:00:00 p.m. | 1309665 | 420869 | 7.1358 | 0 | 90.994 | 27.3 | 25.2 | 5.83
552 | 24/02/2016 | 11:00:00 a.m. | 1309643 | 420865 | 7.1421 | 0 | 91.087 | 24.9 | 109.8 | 5.82
551 | 24/02/2016 | 10:00:00 a.m. | 1309611 | 420861 | 7.2109 | 0 | 89.724 | 22.8 | 110.6 | 5.8
550 | 24/02/2016 | 9:00:00 a.m. | 1309513 | 420847 | 7.059 | 0 | 88.121 | 21.2 | 118.7 | 5.8
549 | 24/02/2016 | 8:00:00 a.m. | 1309432 | 420836 | 7.0818 | 0 | 88.196 | 19 | 167.7 | 5.79
548 | 24/02/2016 | 7:00:00 a.m. | 1309329 | 420821 | 7.2876 | 0 | 88.621 | 4.4 | 166.6 | 5.79
547 | 24/02/2016 | 6:00:00 a.m. | 1309326 | 420821 | 7.5625 | 0 | 88.564 | 5.3 | 0 | 5.79
546 | 24/02/2016 | 5:00:00 a.m. | 1309326 | 420821 | 7.4816 | 0 | 88.523 | 7.7 | 0.9 | 5.79
545 | 24/02/2016 | 4:00:00 a.m. | 1309326 | 420821 | 7.3712 | 0 | 88.473 | 14.3 | 167.1 | 5.8
544 | 24/02/2016 | 3:00:00 a.m. | 1309313 | 420819 | 7.0657 | 0 | 88.18 | 20.6 | 111.3 | 5.8
543 | 24/02/2016 | 2:00:00 a.m. | 1309220 | 420806 | 7.096 | 0 | 88.121 | 20.7 | 118.5 | 5.8
542 | 24/02/2016 | 1:00:00 a.m. | 1309124 | 420792 | 7.0845 | 0 | 88.169 | 19.9 | 117.5 | 5.8
541 | 24/02/2016 | 12:00:00 a.m. | 1309047 | 420781 | 7.1593 | 0 | 88.207 | 19.8 | 166.2 | 5.8
540 | 23/02/2016 | 11:00:00 p.m. | 1308976 | 420771 | 7.1582 | 0 | 88.425 | 14 | 166 | 5.8
539 | 23/02/2016 | 10:00:00 p.m. | 1308971 | 420771 | 7.2338 | 0 | 88.301 | 16.4 | 0 | 5.8
538 | 23/02/2016 | 9:00:00 p.m. | 1308971 | 420771 | 7.1697 | 0 | 88.294 | 18.9 | 0 | 5.81
537 | 23/02/2016 | 8:00:00 p.m. | 1308971 | 420771 | 7.1135 | 0 | 88.268 | 21.5 | 0 | 5.82
536 | 23/02/2016 | 7:00:00 p.m. | 1308971 | 420771 | 7.0325 | 0 | 88.36 | 25.1 | 1 | 5.83
535 | 23/02/2016 | 6:00:00 p.m. | 1308971 | 420771 | 6.9545 | 0 | 88.057 | 26.7 | 161.6 | 5.83
534 | 23/02/2016 | 5:00:00 p.m. | 1308938 | 420766 | 6.9672 | 0 | 87.735 | 25.6 | 111.4 | 5.84
533 | 23/02/2016 | 4:00:00 p.m. | 1308847 | 420753 | 6.9126 | 0 | 87.558 | 27.6 | 111.8 | 5.84
532 | 23/02/2016 | 3:00:00 p.m. | 1308776 | 420743 | 6.8317 | 0 | 87.818 | 31.4 | 158.4 | 5.83
531 | 23/02/2016 | 2:00:00 p.m. | 1308760 | 420740 | 6.9066 | 0 | 87.579 | 26.8 | 114 | 5.83
530 | 23/02/2016 | 1:00:00 p.m. | 1308687 | 420730 | 6.8925 | 0 | 87.556 | 25.9 | 109.5 | 5.83
529 | 23/02/2016 | 12:00:00 p.m. | 1308597 | 420717 | 6.9338 | 0 | 87.532 | 25 | 155.2 | 5.83
528 | 23/02/2016 | 11:00:00 a.m. | 1308477 | 420699 | 6.925 | 0 | 87.461 | 24 | 201.5 | 5.82
527 | 23/02/2016 | 10:00:00 a.m. | 1308368 | 420684 | 6.9986 | 0 | 87.971 | 21 | 136.3 | 5.81
526 | 23/02/2016 | 9:00:00 a.m. | 1308347 | 420681 | 7.1362 | 0 | 88.342 | 15 | 3.3 | 5.8
525 | 23/02/2016 | 8:00:00 a.m. | 1308347 | 420681 | 7.2862 | 0 | 88.369 | 18.7 | 241.1 | 5.79
524 | 23/02/2016 | 7:00:00 a.m. | 1308288 | 420672 | 7.1198 | 0 | 88.482 | 20 | 105.5 | 5.79
523 | 23/02/2016 | 6:00:00 a.m. | 1308208 | 420661 | 7.1099 | 0 | 88.395 | 20.4 | 115.5 | 5.8
522 | 23/02/2016 | 5:00:00 a.m. | 1308118 | 420648 | 7.0838 | 0 | 88.476 | 12.2 | 166.8 | 5.8
521 | 23/02/2016 | 4:00:00 a.m. | 1308081 | 420643 | 7.4064 | 0 | 88.707 | 11.3 | 1 | 5.8
520 | 23/02/2016 | 3:00:00 a.m. | 1308080 | 420643 | 7.3159 | 0 | 88.572 | 16 | 165.6 | 5.8
519 | 23/02/2016 | 2:00:00 a.m. | 1308071 | 420642 | 7.1718 | 0 | 88.349 | 20.7 | 106.4 | 5.8
518 | 23/02/2016 | 1:00:00 a.m. | 1307998 | 420631 | 7.0701 | 0 | 88.498 | 18.4 | 166.3 | 5.8
517 | 23/02/2016 | 12:00:00 a.m. | 1307954 | 420625 | 7.1588 | 0 | 88.486 | 19.8 | 100 | 5.8
516 | 22/02/2016 | 11:00:00 p.m. | 1307918 | 420620 | 7.0786 | 0 | 88.263 | 21.8 | 109.8 | 5.8
515 | 22/02/2016 | 10:00:00 p.m. | 1307819 | 420606 | 7.0712 | 0 | 88.256 | 21.3 | 110 | 5.8
514 | 22/02/2016 | 9:00:00 p.m. | 1307736 | 420594 | 7.1435 | 0 | 88.419 | 20.2 | 33.1 | 5.8
513 | 22/02/2016 | 8:00:00 p.m. | 1307713 | 420591 | 7.1084 | 0 | 88.352 | 21.8 | 110.5 | 5.81
512 | 22/02/2016 | 7:00:00 p.m. | 1307662 | 420584 | 7.0235 | 0 | 87.962 | 23.1 | 118.4 | 5.82
511 | 22/02/2016 | 6:00:00 p.m. | 1307564 | 420570 | 7.0097 | 0 | 88.085 | 26.3 | 163.6 | 5.83
510 | 22/02/2016 | 5:00:00 p.m. | 1307519 | 420564 | 6.8173 | 0 | 88.158 | 33.2 | 0 | 5.83
509 | 22/02/2016 | 4:00:00 p.m. | 1307519 | 420564 | 6.7266 | 0 | 88.205 | 36.1 | 0 | 5.83
508 | 22/02/2016 | 3:00:00 p.m. | 1307519 | 420564 | 6.6978 | 0 | 88.113 | 36.8 | 0 | 5.83
507 | 22/02/2016 | 2:00:00 p.m. | 1307519 | 420564 | 6.669 | 0 | 88.123 | 37.1 | 0 | 5.83
506 | 22/02/2016 | 1:00:00 p.m. | 1307519 | 420564 | 6.701 | 0 | 88.061 | 35.5 | 0 | 5.83
505 | 22/02/2016 | 12:00:00 p.m. | 1307519 | 420564 | 6.7499 | 0 | 88.232 | 32.5 | 0 | 5.83
504 | 22/02/2016 | 11:00:00 a.m. | 1307519 | 420564 | 6.8488 | 0 | 88.16 | 27.4 | 0.9 | 5.82
503 | 22/02/2016 | 10:00:00 a.m. | 1307519 | 420564 | 7.0119 | 0 | 88.285 | 22.9 | 165.1 | 5.81
502 | 22/02/2016 | 9:00:00 a.m. | 1307496 | 420560 | 7.0268 | 0 | 88.31 | 21.9 | 116 | 5.8
501 | 22/02/2016 | 8:00:00 a.m. | 1307386 | 420545 | 7.0751 | 0 | 88.493 | 20 | 124.7 | 5.79
500 | 22/02/2016 | 7:00:00 a.m. | 1307279 | 420530 | 7.2684 | 0 | 89.114 | 8.4 | 167 | 5.79
499 | 22/02/2016 | 6:00:00 a.m. | 1307267 | 420528 | 7.5148 | 0 | 89.18 | 9.4 | 0 | 5.8
498 | 22/02/2016 | 5:00:00 a.m. | 1307267 | 420528 | 7.4043 | 0 | 89.132 | 14 | 26.9 | 5.8
497 | 22/02/2016 | 4:00:00 a.m. | 1307267 | 420528 | 7.1762 | 0 | 88.859 | 19.4 | 166.5 | 5.8
496 | 22/02/2016 | 3:00:00 a.m. | 1307201 | 420519 | 7.2284 | 0 | 88.927 | 19.3 | 110.6 | 5.8
495 | 22/02/2016 | 2:00:00 a.m. | 1307156 | 420512 | 7.1176 | 0 | 88.743 | 21.3 | 115.1 | 5.8
494 | 22/02/2016 | 1:00:00 a.m. | 1307055 | 420498 | 7.1117 | 0 | 88.914 | 20.1 | 120.1 | 5.8
493 | 22/02/2016 | 12:00:00 a.m. | 1306977 | 420487 | 7.2288 | 0 | 89.16 | 19.8 | 166.4 | 5.8
492 | 21/02/2016 | 11:00:00 p.m. | 1306930 | 420481 | 7.1167 | 0 | 89.142 | 16.2 | 165.9 | 5.8
491 | 21/02/2016 | 10:00:00 p.m. | 1306908 | 420478 | 7.2916 | 0 | 89.294 | 17 | 0 | 5.8
490 | 21/02/2016 | 9:00:00 p.m. | 1306908 | 420478 | 7.1618 | 0 | 89.362 | 19.2 | 0 | 5.81
489 | 21/02/2016 | 8:00:00 p.m. | 1306908 | 420478 | 7.207 | 0 | 89.203 | 22.5 | 0 | 5.82
488 | 21/02/2016 | 7:00:00 p.m. | 1306908 | 420478 | 7.0662 | 0 | 88.97 | 27.7 | 0 | 5.83
487 | 21/02/2016 | 6:00:00 p.m. | 1306908 | 420478 | 6.9068 | 0 | 89.128 | 33.1 | 0 | 5.83
486 | 21/02/2016 | 5:00:00 p.m. | 1306908 | 420478 | 6.808 | 0 | 88.804 | 35.9 | 0 | 5.84
485 | 21/02/2016 | 4:00:00 p.m. | 1306908 | 420478 | 6.6909 | 0 | 88.733 | 37.3 | 0 | 5.84
484 | 21/02/2016 | 3:00:00 p.m. | 1306908 | 420478 | 6.7556 | 0 | 88.744 | 37.5 | 0 | 5.83
483 | 21/02/2016 | 2:00:00 p.m. | 1306908 | 420478 | 6.7191 | 0 | 88.496 | 37.7 | 0 | 5.83
482 | 21/02/2016 | 1:00:00 p.m. | 1306908 | 420478 | 6.6878 | 0 | 88.553 | 35.6 | 0 | 5.83
481 | 21/02/2016 | 12:00:00 p.m. | 1306908 | 420478 | 6.7821 | 0 | 88.716 | 31.9 | 0 | 5.83
480 | 21/02/2016 | 11:00:00 a.m. | 1306908 | 420478 | 6.9317 | 0 | 88.852 | 25.7 | 22.3 | 5.82
479 | 21/02/2016 | 10:00:00 a.m. | 1306908 | 420478 | 7.0807 | 0 | 88.816 | 18.4 | 90.4 | 5.8
478 | 21/02/2016 | 9:00:00 a.m. | 1306879 | 420474 | 7.2496 | 0 | 89.245 | 8 | 0 | 5.8
477 | 21/02/2016 | 8:00:00 a.m. | 1306879 | 420474 | 7.5838 | 0 | 89.596 | 2.1 | 0 | 5.78
476 | 21/02/2016 | 7:00:00 a.m. | 1306879 | 420474 | 7.7298 | 0 | 89.745 | 2.6 | 0 | 5.78
475 | 21/02/2016 | 6:00:00 a.m. | 1306879 | 420474 | 7.6402 | 0 | 89.38 | 3.2 | 0 | 5.79
474 | 21/02/2016 | 5:00:00 a.m. | 1306879 | 420474 | 7.6695 | 0 | 89.421 | 4.1 | 0 | 5.79
473 | 21/02/2016 | 4:00:00 a.m. | 1306879 | 420474 | 7.6715 | 0 | 89.362 | 5 | 0 | 5.79
472 | 21/02/2016 | 3:00:00 a.m. | 1306879 | 420474 | 7.5641 | 0 | 89.272 | 5.5 | 0 | 5.79
471 | 21/02/2016 | 2:00:00 a.m. | 1306879 | 420474 | 7.5502 | 0 | 89.408 | 6.5 | 0 | 5.79
470 | 21/02/2016 | 1:00:00 a.m. | 1306879 | 420474 | 7.5795 | 0 | 89.424 | 7.5 | 0 | 5.79
469 | 21/02/2016 | 12:00:00 a.m. | 1306879 | 420474 | 7.5121 | 0 | 89.408 | 9 | 1.2 | 5.8
468 | 20/02/2016 | 11:00:00 p.m. | 1306879 | 420474 | 7.4653 | 0 | 89.324 | 11.7 | 166.2 | 5.8
467 | 20/02/2016 | 10:00:00 p.m. | 1306872 | 420473 | 7.3839 | 0 | 89.133 | 12.5 | 0 | 5.8
466 | 20/02/2016 | 9:00:00 p.m. | 1306872 | 420473 | 7.3229 | 0 | 89.237 | 16.4 | 8.9 | 5.8
465 | 20/02/2016 | 8:00:00 p.m. | 1306872 | 420473 | 7.1726 | 0 | 88.867 | 22 | 107.8 | 5.81
464 | 20/02/2016 | 7:00:00 p.m. | 1306793 | 420461 | 7.0303 | 0 | 88.586 | 23.4 | 113.5 | 5.82
463 | 20/02/2016 | 6:00:00 p.m. | 1306721 | 420451 | 7.0232 | 0 | 88.851 | 25.5 | 32.9 | 5.83
462 | 20/02/2016 | 5:00:00 p.m. | 1306698 | 420448 | 6.9971 | 0 | 88.804 | 26.8 | 27 | 5.83
461 | 20/02/2016 | 4:00:00 p.m. | 1306675 | 420445 | 6.9845 | 0 | 88.651 | 27.9 | 27.6 | 5.83
460 | 20/02/2016 | 3:00:00 p.m. | 1306653 | 420442 | 6.9098 | 0 | 88.714 | 27.6 | 101.3 | 5.83
459 | 20/02/2016 | 2:00:00 p.m. | 1306621 | 420437 | 6.9533 | 0 | 88.383 | 25.8 | 116.1 | 5.83
458 | 20/02/2016 | 1:00:00 p.m. | 1306548 | 420426 | 6.9697 | 0 | 88.102 | 24.6 | 158.9 | 5.82
457 | 20/02/2016 | 12:00:00 p.m. | 1306445 | 420412 | 6.9429 | 0 | 88.403 | 26.6 | 164.8 | 5.81
456 | 20/02/2016 | 11:00:00 a.m. | 1306427 | 420409 | 6.9882 | 0 | 88.598 | 21.1 | 2 | 5.8
455 | 20/02/2016 | 10:00:00 a.m. | 1306427 | 420409 | 7.1437 | 0 | 88.54 | 20.6 | 113.7 | 5.8
454 | 20/02/2016 | 9:00:00 a.m. | 1306374 | 420402 | 7.0905 | 0 | 88.49 | 21 | 114.6 | 5.79
453 | 20/02/2016 | 8:00:00 a.m. | 1306269 | 420387 | 7.108 | 0 | 88.682 | 18.2 | 169.2 | 5.78
452 | 20/02/2016 | 7:00:00 a.m. | 1306146 | 420370 | 7.6255 | 0 | 89.317 | 3.7 | 0 | 5.79
451 | 20/02/2016 | 6:00:00 a.m. | 1306146 | 420370 | 7.6829 | 0 | 89.178 | 3.1 | 0 | 5.78
450 | 20/02/2016 | 5:00:00 a.m. | 1306146 | 420370 | 7.6358 | 0 | 89.228 | 3.4 | 0 | 5.79
449 | 20/02/2016 | 4:00:00 a.m. | 1306145 | 420369 | 7.5741 | 0 | 89.248 | 4.1 | 0 | 5.79
448 | 20/02/2016 | 3:00:00 a.m. | 1306144 | 420369 | 7.5913 | 0 | 89.264 | 5 | 0 | 5.79
447 | 20/02/2016 | 2:00:00 a.m. | 1306144 | 420369 | 7.5246 | 0 | 89.253 | 6.4 | 0 | 5.8
446 | 20/02/2016 | 1:00:00 a.m. | 1306143 | 420369 | 7.5303 | 0 | 89.243 | 7.2 | 0 | 5.8
445 | 20/02/2016 | 12:00:00 a.m. | 1306142 | 420369 | 7.5285 | 0 | 89.096 | 8.3 | 0 | 5.8
444 | 19/02/2016 | 11:00:00 p.m. | 1306142 | 420369 | 7.4558 | 0 | 89.098 | 10.3 | 0 | 5.8
443 | 19/02/2016 | 10:00:00 p.m. | 1306142 | 420369 | 7.3217 | 0 | 88.991 | 13 | 0 | 5.8
442 | 19/02/2016 | 9:00:00 p.m. | 1306142 | 420369 | 7.3228 | 0 | 89.215 | 15.9 | 0 | 5.8
441 | 19/02/2016 | 8:00:00 p.m. | 1306142 | 420369 | 7.2206 | 0 | 89.084 | 20.1 | 0 | 5.81
440 | 19/02/2016 | 7:00:00 p.m. | 1306142 | 420369 | 7.0778 | 0 | 89.02 | 26.2 | 0 | 5.83
439 | 19/02/2016 | 6:00:00 p.m. | 1306142 | 420369 | 6.9612 | 0 | 88.915 | 30 | 0.9 | 5.83
438 | 19/02/2016 | 5:00:00 p.m. | 1306142 | 420369 | 6.8522 | 0 | 88.565 | 29 | 106.8 | 5.83
437 | 19/02/2016 | 4:00:00 p.m. | 1306129 | 420367 | 6.9438 | 0 | 88.2 | 25.8 | 112.2 | 5.83
436 | 19/02/2016 | 3:00:00 p.m. | 1306034 | 420354 | 6.9313 | 0 | 87.968 | 25.7 | 111.4 | 5.83
435 | 19/02/2016 | 2:00:00 p.m. | 1305933 | 420339 | 6.9327 | 0 | 88.096 | 26 | 110.1 | 5.83
434 | 19/02/2016 | 1:00:00 p.m. | 1305840 | 420326 | 6.9588 | 0 | 87.939 | 25.2 | 163.6 | 5.83
433 | 19/02/2016 | 12:00:00 p.m. | 1305705 | 420306 | 6.9451 | 0 | 88.271 | 30.5 | 164 | 5.82
432 | 19/02/2016 | 11:00:00 a.m. | 1305685 | 420303 | 6.8882 | 0 | 88.479 | 24.9 | 0 | 5.81
431 | 19/02/2016 | 10:00:00 a.m. | 1305685 | 420303 | 7.1085 | 0 | 88.685 | 19.5 | 5.7 | 5.8
430 | 19/02/2016 | 9:00:00 a.m. | 1305685 | 420303 | 7.184 | 0 | 88.953 | 19.8 | 104.2 | 5.79
429 | 19/02/2016 | 8:00:00 a.m. | 1305639 | 420297 | 7.1376 | 0 | 88.938 | 19.3 | 114 | 5.78
428 | 19/02/2016 | 7:00:00 a.m. | 1305552 | 420285 | 7.2382 | 0 | 89.028 | 17 | 120.8 | 5.79
427 | 19/02/2016 | 6:00:00 a.m. | 1305489 | 420276 | 7.3579 | 0 | 89.246 | 14.4 | 23.6 | 5.78
426 | 19/02/2016 | 5:00:00 a.m. | 1305465 | 420273 | 7.3223 | 0 | 89.178 | 14.8 | 23.5 | 5.79
425 | 19/02/2016 | 4:00:00 a.m. | 1305442 | 420270 | 7.3025 | 0 | 89.244 | 15.2 | 23.5 | 5.79
424 | 19/02/2016 | 3:00:00 a.m. | 1305419 | 420266 | 7.2958 | 0 | 89.081 | 17.5 | 96.2 | 5.79
423 | 19/02/2016 | 2:00:00 a.m. | 1305383 | 420261 | 7.1302 | 0 | 88.735 | 20.1 | 167.4 | 5.79
422 | 19/02/2016 | 1:00:00 a.m. | 1305273 | 420246 | 7.2563 | 0 | 89.029 | 8.6 | 167.2 | 5.8
421 | 19/02/2016 | 12:00:00 a.m. | 1305270 | 420246 | 7.4415 | 0 | 89.091 | 10.5 | 0 | 5.8
420 | 18/02/2016 | 11:00:00 p.m. | 1305270 | 420246 | 7.3971 | 0 | 89.063 | 12.6 | 0 | 5.8
419 | 18/02/2016 | 10:00:00 p.m. | 1305270 | 420246 | 7.355 | 0 | 89.006 | 15.4 | 1.1 | 5.8
418 | 18/02/2016 | 9:00:00 p.m. | 1305270 | 420246 | 7.3176 | 0 | 89.18 | 19.7 | 164.8 | 5.8
417 | 18/02/2016 | 8:00:00 p.m. | 1305245 | 420242 | 7.0575 | 0 | 88.501 | 22.5 | 114 | 5.81
416 | 18/02/2016 | 7:00:00 p.m. | 1305148 | 420228 | 7.091 | 0 | 88.483 | 23.4 | 111 | 5.82
415 | 18/02/2016 | 6:00:00 p.m. | 1305051 | 420215 | 7.0096 | 0 | 88.216 | 24.3 | 118.1 | 5.83
414 | 18/02/2016 | 5:00:00 p.m. | 1304948 | 420200 | 6.9729 | 0 | 88.634 | 30.2 | 163.3 | 5.83
413 | 18/02/2016 | 4:00:00 p.m. | 1304901 | 420193 | 6.8185 | 0 | 88.654 | 36 | 0 | 5.83
412 | 18/02/2016 | 3:00:00 p.m. | 1304901 | 420193 | 6.6888 | 0 | 88.204 | 36.2 | 0 | 5.83
411 | 18/02/2016 | 2:00:00 p.m. | 1304901 | 420193 | 6.7372 | 0 | 88.254 | 36.5 | 0 | 5.83
410 | 18/02/2016 | 1:00:00 p.m. | 1304901 | 420193 | 6.7132 | 0 | 88.242 | 33.9 | 0 | 5.83
409 | 18/02/2016 | 12:00:00 p.m. | 1304901 | 420193 | 6.8396 | 0 | 88.345 | 29.7 | 1.1 | 5.82
408 | 18/02/2016 | 11:00:00 a.m. | 1304901 | 420193 | 6.991 | 0 | 88.326 | 24.5 | 78 | 5.81
407 | 18/02/2016 | 10:00:00 a.m. | 1304872 | 420189 | 7.0514 | 0 | 88.177 | 22.6 | 121.6 | 5.8
406 | 18/02/2016 | 9:00:00 a.m. | 1304771 | 420175 | 7.0027 | 0 | 88.548 | 21.4 | 120.2 | 5.79
405 | 18/02/2016 | 8:00:00 a.m. | 1304666 | 420160 | 7.1382 | 0 | 88.791 | 20.3 | 115.5 | 5.78
404 | 18/02/2016 | 7:00:00 a.m. | 1304559 | 420145 | 7.149 | 0 | 88.71 | 20.3 | 123.7 | 5.78
403 | 18/02/2016 | 6:00:00 a.m. | 1304452 | 420130 | 7.1168 | 0 | 88.807 | 18.7 | 122.9 | 5.78
402 | 18/02/2016 | 5:00:00 a.m. | 1304381 | 420120 | 7.1898 | 0 | 88.868 | 18.5 | 78.1 | 5.79
401 | 18/02/2016 | 4:00:00 a.m. | 1304322 | 420112 | 7.189 | 0 | 88.925 | 18.7 | 73.8 | 5.79
400 | 18/02/2016 | 3:00:00 a.m. | 1304262 | 420103 | 7.2028 | 0 | 88.978 | 19 | 76.5 | 5.79
399 | 18/02/2016 | 2:00:00 a.m. | 1304203 | 420095 | 7.207 | 0 | 88.876 | 19.3 | 68.3 | 5.79
398 | 18/02/2016 | 1:00:00 a.m. | 1304144 | 420087 | 7.1864 | 0 | 88.685 | 20.4 | 124.8 | 5.8
397 | 18/02/2016 | 12:00:00 a.m. | 1304062 | 420075 | 7.0869 | 0 | 88.61 | 21.4 | 167 | 5.8
396 | 17/02/2016 | 11:00:00 p.m. | 1303937 | 420058 | 7.1164 | 0 | 88.805 | 14 | 167.6 | 5.8
395 | 17/02/2016 | 10:00:00 p.m. | 1303906 | 420053 | 7.2523 | 0 | 88.751 | 15.5 | 0 | 5.8
394 | 17/02/2016 | 9:00:00 p.m. | 1303906 | 420053 | 7.2183 | 0 | 88.735 | 18.5 | 0 | 5.8
393 | 17/02/2016 | 8:00:00 p.m. | 1303906 | 420053 | 7.1216 | 0 | 88.797 | 22.2 | 0 | 5.82
392 | 17/02/2016 | 7:00:00 p.m. | 1303906 | 420053 | 7.0201 | 0 | 88.594 | 27.4 | 0 | 5.83
391 | 17/02/2016 | 6:00:00 p.m. | 1303906 | 420053 | 6.9135 | 0 | 88.567 | 31.2 | 0 | 5.83
390 | 17/02/2016 | 5:00:00 p.m. | 1303906 | 420053 | 6.814 | 0 | 88.32 | 31.9 | 4 | 5.83
389 | 17/02/2016 | 4:00:00 p.m. | 1303906 | 420053 | 6.8451 | 0 | 87.917 | 26.3 | 161.5 | 5.83
388 | 17/02/2016 | 3:00:00 p.m. | 1303820 | 420041 | 6.9338 | 0 | 87.719 | 25.9 | 137.2 | 5.83
387 | 17/02/2016 | 2:00:00 p.m. | 1303705 | 420024 | 6.8903 | 0 | 88.02 | 34.4 | 163.3 | 5.83
386 | 17/02/2016 | 1:00:00 p.m. | 1303692 | 420023 | 6.7685 | 0 | 87.749 | 26.9 | 129.4 | 5.83
385 | 17/02/2016 | 12:00:00 p.m. | 1303611 | 420011 | 6.9674 | 0 | 87.82 | 24.7 | 123.5 | 5.82
384 | 17/02/2016 | 11:00:00 a.m. | 1303499 | 419995 | 6.9914 | 0 | 88.085 | 23.8 | 119.5 | 5.81
383 | 17/02/2016 | 10:00:00 a.m. | 1303401 | 419981 | 7.0155 | 0 | 88.4 | 22.5 | 117.3 | 5.8
382 | 17/02/2016 | 9:00:00 a.m. | 1303308 | 419968 | 7.0804 | 0 | 88.899 | 17.3 | 168.2 | 5.79
381 | 17/02/2016 | 8:00:00 a.m. | 1303238 | 419958 | 7.3805 | 0 | 89.374 | 8.4 | 21.2 | 5.78
380 | 17/02/2016 | 7:00:00 a.m. | 1303222 | 419956 | 7.6393 | 0 | 89.521 | 3.1 | 0 | 5.78
379 | 17/02/2016 | 6:00:00 a.m. | 1303222 | 419956 | 7.7045 | 0 | 89.791 | 4.3 | 0 | 5.79
378 | 17/02/2016 | 5:00:00 a.m. | 1303221 | 419955 | 7.5893 | 0 | 89.876 | 5.8 | 0 | 5.79
377 | 17/02/2016 | 4:00:00 a.m. | 1303221 | 419955 | 7.6449 | 0 | 89.671 | 6.2 | 0 | 5.79
376 | 17/02/2016 | 3:00:00 a.m. | 1303221 | 419955 | 7.6071 | 0 | 89.486 | 6.9 | 0 | 5.79
375 | 17/02/2016 | 2:00:00 a.m. | 1303220 | 419955 | 7.5494 | 0 | 89.584 | 8 | 0 | 5.79
374 | 17/02/2016 | 1:00:00 a.m. | 1303220 | 419955 | 7.5069 | 0 | 89.233 | 9.1 | 0 | 5.8
373 | 17/02/2016 | 12:00:00 a.m. | 1303220 | 419955 | 7.4276 | 0 | 89.158 | 10.6 | 0 | 5.8
372 | 16/02/2016 | 11:00:00 p.m. | 1303220 | 419955 | 7.4231 | 0 | 89.852 | 12.4 | 0 | 5.8
371 | 16/02/2016 | 10:00:00 p.m. | 1303220 | 419955 | 7.3881 | 0 | 89.731 | 14.8 | 0 | 5.8
370 | 16/02/2016 | 9:00:00 p.m. | 1303220 | 419955 | 7.3204 | 0 | 89.765 | 17.2 | 0 | 5.8
369 | 16/02/2016 | 8:00:00 p.m. | 1303220 | 419955 | 7.2439 | 0 | 89.79 | 20.4 | 0 | 5.81
368 | 16/02/2016 | 7:00:00 p.m. | 1303220 | 419955 | 7.1643 | 0 | 89.703 | 24 | 0 | 5.82
367 | 16/02/2016 | 6:00:00 p.m. | 1303220 | 419955 | 7.0524 | 0 | 89.729 | 27.2 | 9.6 | 5.83
366 | 16/02/2016 | 5:00:00 p.m. | 1303220 | 419955 | 7.0355 | 0 | 89.609 | 31.5 | 62.5 | 5.83
365 | 16/02/2016 | 4:00:00 p.m. | 1303208 | 419954 | 6.8602 | 0 | 89.652 | 35.4 | 0 | 5.83
364 | 16/02/2016 | 3:00:00 p.m. | 1303208 | 419954 | 6.8305 | 0 | 89.617 | 35.9 | 0 | 5.83
363 | 16/02/2016 | 2:00:00 p.m. | 1303208 | 419954 | 6.8309 | 0 | 89.712 | 35.2 | 0 | 5.83
362 | 16/02/2016 | 1:00:00 p.m. | 1303208 | 419954 | 6.8804 | 0 | 89.808 | 32.5 | 1 | 5.82
361 | 16/02/2016 | 12:00:00 p.m. | 1303208 | 419954 | 6.9535 | 0 | 89.446 | 26.8 | 59.6 | 5.82
360 | 16/02/2016 | 11:00:00 a.m. | 1303187 | 419951 | 7.0849 | 0 | 89.63 | 23.1 | 59.8 | 5.81
359 | 16/02/2016 | 10:00:00 a.m. | 1303169 | 419948 | 7.2023 | 0 | 89.82 | 17 | 0 | 5.8
358 | 16/02/2016 | 9:00:00 a.m. | 1303169 | 419948 | 7.4161 | 0 | 89.969 | 8.2 | 0 | 5.79
357 | 16/02/2016 | 8:00:00 a.m. | 1303169 | 419948 | 7.6631 | 0 | 90.072 | 3.8 | 0 | 5.78
356 | 16/02/2016 | 7:00:00 a.m. | 1303168 | 419948 | 7.6912 | 0 | 90.195 | 4.4 | 0 | 5.78
355 | 16/02/2016 | 6:00:00 a.m. | 1303168 | 419948 | 7.6589 | 0 | 90.135 | 5.2 | 0 | 5.79
354 | 16/02/2016 | 5:00:00 a.m. | 1303167 | 419948 | 7.6222 | 0 | 90.027 | 6.1 | 0 | 5.79
353 | 16/02/2016 | 4:00:00 a.m. | 1303167 | 419948 | 7.6224 | 0 | 90.189 | 6.6 | 0 | 5.79
352 | 16/02/2016 | 3:00:00 a.m. | 1303167 | 419948 | 7.6012 | 0 | 90.186 | 7.6 | 0 | 5.79
351 | 16/02/2016 | 2:00:00 a.m. | 1303167 | 419948 | 7.5671 | 0 | 90.004 | 8.4 | 0 | 5.79
350 | 16/02/2016 | 1:00:00 a.m. | 1303166 | 419948 | 7.5413 | 0 | 90.205 | 9.7 | 0 | 5.8
349 | 16/02/2016 | 12:00:00 a.m. | 1303166 | 419948 | 7.4985 | 0 | 90.131 | 11.3 | 0 | 5.8
348 | 15/02/2016 | 11:00:00 p.m. | 1303166 | 419948 | 7.4536 | 0 | 89.946 | 11.8 | 0 | 5.8
347 | 15/02/2016 | 10:00:00 p.m. | 1303166 | 419948 | 7.4292 | 0 | 90.027 | 13.9 | 0 | 5.8
346 | 15/02/2016 | 9:00:00 p.m. | 1303166 | 419948 | 7.3713 | 0 | 90.058 | 16.5 | 0 | 5.8
345 | 15/02/2016 | 8:00:00 p.m. | 1303166 | 419948 | 7.2959 | 0 | 89.973 | 20 | 0 | 5.81
344 | 15/02/2016 | 7:00:00 p.m. | 1303166 | 419948 | 7.1666 | 0 | 90.017 | 24.8 | 0 | 5.82
343 | 15/02/2016 | 6:00:00 p.m. | 1303166 | 419948 | 7.0658 | 0 | 90.071 | 28.1 | 1 | 5.83
342 | 15/02/2016 | 5:00:00 p.m. | 1303166 | 419948 | 6.9967 | 0 | 89.964 | 29.3 | 20.7 | 5.83
341 | 15/02/2016 | 4:00:00 p.m. | 1303159 | 419947 | 6.8765 | 0 | 89.783 | 34.7 | 0 | 5.83
340 | 15/02/2016 | 3:00:00 p.m. | 1303159 | 419947 | 6.846 | 0 | 89.735 | 33.4 | 19.7 | 5.83
339 | 15/02/2016 | 2:00:00 p.m. | 1303159 | 419947 | 7.0035 | 0 | 89.604 | 32.7 | 22.3 | 5.82
338 | 15/02/2016 | 1:00:00 p.m. | 1303154 | 419946 | 6.8627 | 0 | 89.453 | 32.3 | 1.2 | 5.82
337 | 15/02/2016 | 12:00:00 p.m. | 1303154 | 419946 | 6.9461 | 0 | 89.287 | 27.4 | 15.5 | 5.82
336 | 15/02/2016 | 11:00:00 a.m. | 1303147 | 419945 | 7.0672 | 0 | 89.356 | 22 | 15.1 | 5.8
335 | 15/02/2016 | 10:00:00 a.m. | 1303132 | 419943 | 7.2237 | 0 | 89.545 | 16.1 | 14.7 | 5.8
334 | 15/02/2016 | 9:00:00 a.m. | 1303117 | 419941 | 7.4027 | 0 | 89.866 | 8.4 | 11.2 | 5.79
333 | 15/02/2016 | 8:00:00 a.m. | 1303116 | 419941 | 7.62 | 0 | 90.2 | 5.3 | 0 | 5.78
332 | 15/02/2016 | 7:00:00 a.m. | 1303116 | 419941 | 7.6554 | 0 | 90.181 | 5.6 | 0 | 5.78
331 | 15/02/2016 | 6:00:00 a.m. | 1303115 | 419941 | 7.629 | 0 | 90.105 | 6.4 | 0 | 5.79
330 | 15/02/2016 | 5:00:00 a.m. | 1303115 | 419941 | 7.592 | 0 | 90.102 | 7.3 | 0 | 5.79
329 | 15/02/2016 | 4:00:00 a.m. | 1303114 | 419940 | 7.5922 | 0 | 90.134 | 6.4 | 0 | 5.79
328 | 15/02/2016 | 3:00:00 a.m. | 1303114 | 419940 | 7.6372 | 0 | 90.143 | 5.9 | 0 | 5.79
327 | 15/02/2016 | 2:00:00 a.m. | 1303114 | 419940 | 7.6269 | 0 | 90.103 | 6.4 | 0 | 5.79
326 | 15/02/2016 | 1:00:00 a.m. | 1303114 | 419940 | 7.5898 | 0 | 90.062 | 7.1 | 0 | 5.79
325 | 15/02/2016 | 12:00:00 a.m. | 1303114 | 419940 | 7.5804 | 0 | 90.204 | 8.5 | 0 | 5.79
324 | 14/02/2016 | 11:00:00 p.m. | 1303113 | 419940 | 7.5511 | 0 | 90.238 | 9.6 | 0 | 5.8
323 | 14/02/2016 | 10:00:00 p.m. | 1303113 | 419940 | 7.5065 | 0 | 90.129 | 11.8 | 0 | 5.8
322 | 14/02/2016 | 9:00:00 p.m. | 1303113 | 419940 | 7.4267 | 0 | 90.146 | 14.6 | 0.9 | 5.8
321 | 14/02/2016 | 8:00:00 p.m. | 1303113 | 419940 | 7.35 | 0 | 89.971 | 18.4 | 164.8 | 5.8
320 | 14/02/2016 | 7:00:00 p.m. | 1303100 | 419938 | 7.1336 | 0 | 89.888 | 23.8 | 163.7 | 5.81
319 | 14/02/2016 | 6:00:00 p.m. | 1303097 | 419938 | 7.0662 | 0 | 89.878 | 28.3 | 0 | 5.83
318 | 14/02/2016 | 5:00:00 p.m. | 1303097 | 419938 | 6.9825 | 0 | 89.777 | 30.9 | 0 | 5.83
317 | 14/02/2016 | 4:00:00 p.m. | 1303097 | 419938 | 6.8928 | 0 | 89.652 | 33.5 | 0 | 5.83
316 | 14/02/2016 | 3:00:00 p.m. | 1303097 | 419938 | 6.8628 | 0 | 89.551 | 33.9 | 0 | 5.83
315 | 14/02/2016 | 2:00:00 p.m. | 1303097 | 419938 | 6.8531 | 0 | 89.643 | 33.5 | 1.1 | 5.82
314 | 14/02/2016 | 1:00:00 p.m. | 1303097 | 419938 | 6.8979 | 0 | 89.651 | 29.6 | 21.9 | 5.82
313 | 14/02/2016 | 12:00:00 p.m. | 1303091 | 419937 | 6.9832 | 0 | 89.792 | 27.3 | 0.8 | 5.81
312 | 14/02/2016 | 11:00:00 a.m. | 1303091 | 419937 | 7.0989 | 0 | 89.883 | 21.9 | 15.6 | 5.8
311 | 14/02/2016 | 10:00:00 a.m. | 1303089 | 419937 | 7.131 | 0 | 89.937 | 16 | 166.5 | 5.8
310 | 14/02/2016 | 9:00:00 a.m. | 1303060 | 419933 | 7.5455 | 0 | 90.361 | 3.8 | 0 | 5.78
309 | 14/02/2016 | 8:00:00 a.m. | 1303060 | 419933 | 7.8658 | 0 | 90.443 | -1.6 | 0 | 5.78
308 | 14/02/2016 | 7:00:00 a.m. | 1303060 | 419933 | 7.8957 | 0 | 90.577 | -1.3 | 0 | 5.77
307 | 14/02/2016 | 6:00:00 a.m. | 1303060 | 419933 | 7.8857 | 0 | 90.422 | -0.6 | 0 | 5.78
306 | 14/02/2016 | 5:00:00 a.m. | 1303060 | 419933 | 7.8321 | 0 | 90.274 | 0.2 | 0 | 5.78
305 | 14/02/2016 | 4:00:00 a.m. | 1303060 | 419933 | 7.7796 | 0 | 90.243 | 1.3 | 0 | 5.78
304 | 14/02/2016 | 3:00:00 a.m. | 1303060 | 419933 | 7.7777 | 0 | 90.291 | 2.1 | 0 | 5.78
303 | 14/02/2016 | 2:00:00 a.m. | 1303060 | 419933 | 7.7458 | 0 | 90.182 | 3.5 | 0 | 5.78
302 | 14/02/2016 | 1:00:00 a.m. | 1303060 | 419933 | 7.6515 | 0 | 90.265 | 5.5 | 0 | 5.79
301 | 14/02/2016 | 12:00:00 a.m. | 1303060 | 419933 | 7.6022 | 0 | 90.145 | 8.4 | 0 | 5.79
300 | 13/02/2016 | 11:00:00 p.m. | 1303060 | 419933 | 7.5335 | 0 | 90.204 | 12 | 2.9 | 5.8
299 | 13/02/2016 | 10:00:00 p.m. | 1303060 | 419933 | 7.3697 | 0 | 89.814 | 19.9 | 166.4 | 5.8
298 | 13/02/2016 | 9:00:00 p.m. | 1302997 | 419924 | 7.1241 | 0 | 89.518 | 21.3 | 117 | 5.8
297 | 13/02/2016 | 8:00:00 p.m. | 1302908 | 419912 | 7.1421 | 0 | 89.345 | 21.4 | 166.4 | 5.8
296 | 13/02/2016 | 7:00:00 p.m. | 1302809 | 419898 | 7.2179 | 0 | 89.691 | 23.4 | 0 | 5.82
295 | 13/02/2016 | 6:00:00 p.m. | 1302809 | 419898 | 7.0467 | 0 | 89.61 | 27.3 | 0 | 5.82
294 | 13/02/2016 | 5:00:00 p.m. | 1302809 | 419898 | 6.9815 | 0 | 89.583 | 29.7 | 0 | 5.82
293 | 13/02/2016 | 4:00:00 p.m. | 1302809 | 419898 | 6.8806 | 0 | 89.342 | 32.4 | 0 | 5.82
292 | 13/02/2016 | 3:00:00 p.m. | 1302809 | 419898 | 6.8645 | 0 | 89.202 | 32.3 | 0 | 5.82
291 | 13/02/2016 | 2:00:00 p.m. | 1302809 | 419898 | 6.8725 | 0 | 88.936 | 31.5 | 0 | 5.82
290 | 13/02/2016 | 1:00:00 p.m. | 1302809 | 419898 | 6.9358 | 0 | 89.047 | 29.1 | 0 | 5.81
289 | 13/02/2016 | 12:00:00 p.m. | 1302809 | 419898 | 6.9524 | 0 | 89.101 | 25.9 | 0 | 5.81
288 | 13/02/2016 | 11:00:00 a.m. | 1302809 | 419898 | 7.0285 | 0 | 89.124 | 21.7 | 7.5 | 5.8
287 | 13/02/2016 | 10:00:00 a.m. | 1302809 | 419898 | 7.1572 | 0 | 88.772 | 21.8 | 167.1 | 5.8
286 | 13/02/2016 | 9:00:00 a.m. | 1302704 | 419883 | 7.1747 | 0 | 89.547 | 5 | 167.8 | 5.78
285 | 13/02/2016 | 8:00:00 a.m. | 1302688 | 419881 | 7.8031 | 0 | 89.786 | -0.2 | 0 | 5.78
284 | 13/02/2016 | 7:00:00 a.m. | 1302687 | 419881 | 7.7714 | 0 | 89.754 | 0.3 | 0 | 5.78
283 | 13/02/2016 | 6:00:00 a.m. | 1302687 | 419881 | 7.7163 | 0 | 89.796 | 1.2 | 0 | 5.78
282 | 13/02/2016 | 5:00:00 a.m. | 1302687 | 419881 | 7.7319 | 0 | 89.728 | 2.8 | 0.8 | 5.78
281 | 13/02/2016 | 4:00:00 a.m. | 1302687 | 419881 | 7.6872 | 0 | 89.766 | 5.6 | 1 | 5.78
280 | 13/02/2016 | 3:00:00 a.m. | 1302687 | 419881 | 7.5532 | 0 | 89.752 | 13.4 | 166.8 | 5.78
279 | 13/02/2016 | 2:00:00 a.m. | 1302669 | 419878 | 7.2611 | 0 | 89.508 | 19.4 | 122.5 | 5.78
278 | 13/02/2016 | 1:00:00 a.m. | 1302591 | 419867 | 7.2767 | 0 | 89.502 | 19.1 | 69.9 | 5.79
277 | 13/02/2016 | 12:00:00 a.m. | 1302532 | 419859 | 7.1871 | 0 | 89.35 | 20.8 | 120.5 | 5.79
276 | 12/02/2016 | 11:00:00 p.m. | 1302436 | 419846 | 7.1463 | 0 | 89.256 | 21.1 | 111.2 | 5.8
275 | 12/02/2016 | 10:00:00 p.m. | 1302335 | 419832 | 7.1844 | 0 | 89.375 | 15.6 | 167.3 | 5.8
274 | 12/02/2016 | 9:00:00 p.m. | 1302296 | 419826 | 7.3435 | 0 | 89.298 | 15.1 | 0 | 5.8
273 | 12/02/2016 | 8:00:00 p.m. | 1302296 | 419826 | 7.2814 | 0 | 89.232 | 18.5 | 0 | 5.8
272 | 12/02/2016 | 7:00:00 p.m. | 1302296 | 419826 | 7.1367 | 0 | 89.287 | 23.1 | 0 | 5.82
271 | 12/02/2016 | 6:00:00 p.m. | 1302296 | 419826 | 7.0466 | 0 | 89.116 | 25.8 | 2.6 | 5.83
270 | 12/02/2016 | 5:00:00 p.m. | 1302296 | 419826 | 6.9936 | 0 | 88.679 | 24.2 | 162.3 | 5.83
269 | 12/02/2016 | 4:00:00 p.m. | 1302216 | 419815 | 7.0312 | 0 | 88.535 | 28.7 | 163.7 | 5.82
268 | 12/02/2016 | 3:00:00 p.m. | 1302148 | 419805 | 6.8394 | 0 | 88.638 | 32.3 | 0.8 | 5.82
267 | 12/02/2016 | 2:00:00 p.m. | 1302148 | 419805 | 6.8364 | 0 | 88.667 | 29.2 | 163.6 | 5.82
266 | 12/02/2016 | 1:00:00 p.m. | 1302136 | 419803 | 6.9846 | 0 | 88.443 | 25.3 | 164.4 | 5.82
265 | 12/02/2016 | 12:00:00 p.m. | 1302033 | 419789 | 6.9298 | 0 | 88.785 | 25.7 | 162.9 | 5.81
264 | 12/02/2016 | 11:00:00 a.m. | 1301996 | 419783 | 6.9847 | 0 | 88.466 | 23.2 | 121.7 | 5.8
263 | 12/02/2016 | 10:00:00 a.m. | 1301882 | 419767 | 6.9969 | 0 | 88.645 | 22.3 | 122 | 5.8
262 | 12/02/2016 | 9:00:00 a.m. | 1301785 | 419754 | 7.1752 | 0 | 89.87 | 21.4 | 209.3 | 5.78
261 | 12/02/2016 | 8:00:00 a.m. | 1301630 | 419732 | 7.2809 | 0 | 90.378 | 11.7 | 181.5 | 5.77
260 | 12/02/2016 | 7:00:00 a.m. | 1301589 | 419726 | 7.7122 | 0 | 90.516 | 10.8 | 168.6 | 5.78
259 | 12/02/2016 | 6:00:00 a.m. | 1301578 | 419725 | 7.2131 | 0 | 89.797 | 19.8 | 125.9 | 5.78
258 | 12/02/2016 | 5:00:00 a.m. | 1301466 | 419709 | 7.2324 | 0 | 89.942 | 5.2 | 168.6 | 5.78
257 | 12/02/2016 | 4:00:00 a.m. | 1301431 | 419705 | 7.7363 | 0 | 90.132 | 4 | 0 | 5.78
256 | 12/02/2016 | 3:00:00 a.m. | 1301431 | 419705 | 7.6145 | 0 | 90.236 | 8.2 | 4.9 | 5.78
255 | 12/02/2016 | 2:00:00 a.m. | 1301431 | 419705 | 7.45 | 0 | 90.364 | 18.1 | 71.3 | 5.79
254 | 12/02/2016 | 1:00:00 a.m. | 1301380 | 419698 | 7.2653 | 0 | 89.971 | 20.3 | 116.5 | 5.79
253 | 12/02/2016 | 12:00:00 a.m. | 1301285 | 419684 | 7.2121 | 0 | 90.057 | 13.3 | 167.6 | 5.79
252 | 11/02/2016 | 11:00:00 p.m. | 1301226 | 419676 | 7.5935 | 0 | 90.399 | 9.3 | 0 | 5.8
251 | 11/02/2016 | 10:00:00 p.m. | 1301226 | 419676 | 7.5388 | 0 | 90.255 | 11.8 | 1.1 | 5.8
250 | 11/02/2016 | 9:00:00 p.m. | 1301226 | 419676 | 7.3964 | 0 | 90.179 | 17.9 | 165.8 | 5.8
249 | 11/02/2016 | 8:00:00 p.m. | 1301204 | 419673 | 7.1064 | 0 | 89.951 | 21.1 | 63 | 5.8
248 | 11/02/2016 | 7:00:00 p.m. | 1301148 | 419665 | 7.1589 | 0 | 89.883 | 22.3 | 105.3 | 5.81
247 | 11/02/2016 | 6:00:00 p.m. | 1301083 | 419656 | 7.1384 | 0 | 89.616 | 23.5 | 118.8 | 5.82
246 | 11/02/2016 | 5:00:00 p.m. | 1300980 | 419642 | 7.1094 | 0 | 89.498 | 23.6 | 163.9 | 5.82
245 | 11/02/2016 | 4:00:00 p.m. | 1300865 | 419626 | 7.0139 | 0 | 89.67 | 31.5 | 162.9 | 5.82
244 | 11/02/2016 | 3:00:00 p.m. | 1300861 | 419625 | 6.9421 | 0 | 89.585 | 32 | 0 | 5.82
243 | 11/02/2016 | 2:00:00 p.m. | 1300861 | 419625 | 6.8756 | 0 | 89.938 | 31.5 | 1.4 | 5.82
242 | 11/02/2016 | 1:00:00 p.m. | 1300861 | 419625 | 7.0078 | 0 | 89.785 | 25.8 | 164.2 | 5.81
241 | 11/02/2016 | 12:00:00 p.m. | 1300814 | 419619 | 7.1242 | 0 | 89.428 | 23.7 | 120.6 | 5.81
240 | 11/02/2016 | 11:00:00 a.m. | 1300705 | 419603 | 7.1153 | 0 | 89.492 | 23 | 121.5 | 5.8
239 | 11/02/2016 | 10:00:00 a.m. | 1300594 | 419588 | 7.1128 | 0 | 89.69 | 22.4 | 121.2 | 5.8
238 | 11/02/2016 | 9:00:00 a.m. | 1300480 | 419572 | 7.2081 | 0 | 89.877 | 19.7 | 214 | 5.79
237 | 11/02/2016 | 8:00:00 a.m. | 1300372 | 419557 | 7.3636 | 0 | 90.293 | 16.6 | 140.7 | 5.78
236 | 11/02/2016 | 7:00:00 a.m. | 1300326 | 419550 | 7.4857 | 0 | 90.468 | 18.5 | 167.3 | 5.78
235 | 11/02/2016 | 6:00:00 a.m. | 1300268 | 419542 | 7.1933 | 0 | 90.206 | 20.5 | 124.8 | 5.78
234 | 11/02/2016 | 5:00:00 a.m. | 1300153 | 419526 | 7.2226 | 0 | 90.192 | 11.2 | 168.3 | 5.79
233 | 11/02/2016 | 4:00:00 a.m. | 1300113 | 419521 | 7.5518 | 0 | 90.423 | 10.7 | 1.4 | 5.79
232 | 11/02/2016 | 3:00:00 a.m. | 1300113 | 419521 | 7.5026 | 0 | 90.477 | 17.3 | 75.5 | 5.79
231 | 11/02/2016 | 2:00:00 a.m. | 1300083 | 419517 | 7.2847 | 0 | 90.2 | 20.2 | 119.8 | 5.79
230 | 11/02/2016 | 1:00:00 a.m. | 1300012 | 419507 | 7.2228 | 0 | 89.819 | 20.5 | 167.1 | 5.79
229 | 11/02/2016 | 12:00:00 a.m. | 1299889 | 419490 | 7.5394 | 0 | 90.379 | 10.3 | 0 | 5.8
228 | 10/02/2016 | 11:00:00 p.m. | 1299889 | 419490 | 7.4853 | 0 | 90.289 | 10.7 | 0 | 5.8
227 | 10/02/2016 | 10:00:00 p.m. | 1299889 | 419490 | 7.4522 | 0 | 90.476 | 14 | 1 | 5.8
226 | 10/02/2016 | 9:00:00 p.m. | 1299889 | 419490 | 7.4089 | 0 | 90.417 | 18.4 | 164.4 | 5.8
225 | 10/02/2016 | 8:00:00 p.m. | 1299872 | 419488 | 7.2166 | 0 | 90.296 | 21.4 | 74.9 | 5.8
224 | 10/02/2016 | 7:00:00 p.m. | 1299810 | 419479 | 7.1842 | 0 | 90.22 | 21.8 | 75.6 | 5.8
223 | 10/02/2016 | 6:00:00 p.m. | 1299750 | 419471 | 7.218 | 0 | 89.894 | 22.8 | 119.2 | 5.8
222 | 10/02/2016 | 5:00:00 p.m. | 1299653 | 419457 | 7.1212 | 0 | 89.747 | 23 | 123.9 | 5.81
221 | 10/02/2016 | 4:00:00 p.m. | 1299538 | 419441 | 7.166 | 0 | 90.115 | 26 | 164.9 | 5.81
220 | 10/02/2016 | 3:00:00 p.m. | 1299509 | 419437 | 7.0371 | 0 | 90.021 | 24.8 | 5.9 | 5.81
219 | 10/02/2016 | 2:00:00 p.m. | 1299509 | 419437 | 7.1996 | 0 | 89.979 | 23.1 | 121 | 5.8
218 | 10/02/2016 | 1:00:00 p.m. | 1299436 | 419427 | 7.1979 | 0 | 89.708 | 22.6 | 118.2 | 5.8
217 | 10/02/2016 | 12:00:00 p.m. | 1299330 | 419412 | 7.1761 | 0 | 89.871 | 22.1 | 123.2 | 5.8
216 | 10/02/2016 | 11:00:00 a.m. | 1299220 | 419396 | 7.1848 | 0 | 88.359 | 20.9 | 123.5 | 5.79
215 | 10/02/2016 | 10:00:00 a.m. | 1299117 | 419382 | 6.8815 | 0 | 89.443 | 20.7 | 121.7 | 5.79
214 | 10/02/2016 | 9:00:00 a.m. | 1299020 | 419369 | 7.2833 | 0 | 91.182 | 19.2 | 168.6 | 5.79
213 | 10/02/2016 | 8:00:00 a.m. | 1298891 | 419351 | 7.7221 | 0 | 91.86 | 7.1 | 0 | 5.79
212 | 10/02/2016 | 7:00:00 a.m. | 1298891 | 419351 | 7.7435 | 0 | 91.782 | 7.6 | 0 | 5.79
211 | 10/02/2016 | 6:00:00 a.m. | 1298891 | 419351 | 7.7629 | 0 | 91.731 | 7.1 | 0 | 5.79
210 | 10/02/2016 | 5:00:00 a.m. | 1298891 | 419351 | 7.7303 | 0 | 91.877 | 7.3 | 0 | 5.79
209 | 10/02/2016 | 4:00:00 a.m. | 1298891 | 419351 | 7.7276 | 0 | 91.887 | 7.7 | 0 | 5.79
208 | 10/02/2016 | 3:00:00 a.m. | 1298891 | 419351 | 7.7378 | 0 | 91.901 | 8.5 | 0 | 5.79
207 | 10/02/2016 | 2:00:00 a.m. | 1298891 | 419351 | 7.6932 | 0 | 91.782 | 9.4 | 0 | 5.79
206 | 10/02/2016 | 1:00:00 a.m. | 1298891 | 419351 | 7.6415 | 0 | 91.832 | 11 | 0 | 5.79
205 | 10/02/2016 | 12:00:00 a.m. | 1298891 | 419351 | 7.592 | 0 | 91.96 | 15.1 | 166.4 | 5.79
204 | 09/02/2016 | 11:00:00 p.m. | 1298890 | 419351 | 7.2795 | 0 | 91.252 | 21.3 | 167.1 | 5.79
203 | 09/02/2016 | 10:00:00 p.m. | 1298781 | 419336 | 7.3061 | 0 | 91.206 | 21.3 | 123.2 | 5.8
202 | 09/02/2016 | 9:00:00 p.m. | 1298665 | 419320 | 7.3041 | 0 | 91.482 | 15.8 | 167.5 | 5.8
201 | 09/02/2016 | 8:00:00 p.m. | 1298606 | 419312 | 7.5445 | 0 | 91.907 | 14.1 | 0 | 5.8
200 | 09/02/2016 | 7:00:00 p.m. | 1298606 | 419312 | 7.502 | 0 | 91.962 | 16.6 | 0 | 5.8
199 | 09/02/2016 | 6:00:00 p.m. | 1298606 | 419312 | 7.4406 | 0 | 91.928 | 18.5 | 0 | 5.8
198 | 09/02/2016 | 5:00:00 p.m. | 1298606 | 419312 | 7.3918 | 0 | 91.8 | 20 | 0 | 5.8
197 | 09/02/2016 | 4:00:00 p.m. | 1298606 | 419312 | 7.3421 | 0 | 91.827 | 20.7 | 0 | 5.8
196 | 09/02/2016 | 3:00:00 p.m. | 1298606 | 419312 | 7.3965 | 0 | 91.884 | 19.6 | 0 | 5.8
195 | 09/02/2016 | 2:00:00 p.m. | 1298606 | 419312 | 7.4055 | 0 | 91.814 | 19 | 16 | 5.8
194 | 09/02/2016 | 1:00:00 p.m. | 1298606 | 419312 | 7.3137 | 0 | 91.325 | 21.8 | 166.9 | 5.8
193 | 09/02/2016 | 12:00:00 p.m. | 1298512 | 419299 | 7.2016 | 0 | 91.277 | 20.9 | 120.4 | 5.8
192 | 09/02/2016 | 11:00:00 a.m. | 1298441 | 419289 | 7.2885 | 0 | 91.345 | 20.3 | 69.1 | 5.8
191 | 09/02/2016 | 10:00:00 a.m. | 1298382 | 419281 | 7.3259 | 0 | 91.435 | 20 | 70.9 | 5.8
190 | 09/02/2016 | 9:00:00 a.m. | 1298321 | 419273 | 7.4032 | 0 | 91.753 | 16.6 | 168.4 | 5.79
189 | 09/02/2016 | 8:00:00 a.m. | 1298262 | 419265 | 7.5629 | 0 | 91.983 | 10.1 | 17 | 5.78
188 | 09/02/2016 | 7:00:00 a.m. | 1298250 | 419263 | 7.7928 | 0 | 92.268 | 7.4 | 0.9 | 5.79
187 | 09/02/2016 | 6:00:00 a.m. | 1298250 | 419263 | 7.6634 | 0 | 92.178 | 13.5 | 167.4 | 5.79
186 | 09/02/2016 | 5:00:00 a.m. | 1298238 | 419262 | 7.3477 | 0 | 91.879 | 19.5 | 123.5 | 5.79
185 | 09/02/2016 | 4:00:00 a.m. | 1298148 | 419249 | 7.4038 | 0 | 91.786 | 20.3 | 118.3 | 5.79
184 | 09/02/2016 | 3:00:00 a.m. | 1298049 | 419236 | 7.3757 | 0 | 91.59 | 20.5 | 119.6 | 5.79
183 | 09/02/2016 | 2:00:00 a.m. | 1297942 | 419221 | 7.3325 | 0 | 91.819 | 13.4 | 167.8 | 5.8
182 | 09/02/2016 | 1:00:00 a.m. | 1297896 | 419215 | 7.5381 | 0 | 91.879 | 10.9 | 0 | 5.8
181 | 09/02/2016 | 12:00:00 a.m. | 1297896 | 419215 | 7.6071 | 0 | 91.912 | 12.6 | 0 | 5.8
180 | 08/02/2016 | 11:00:00 p.m. | 1297896 | 419215 | 7.5435 | 0 | 91.94 | 13.8 | 0 | 5.8
179 | 08/02/2016 | 10:00:00 p.m. | 1297896 | 419215 | 7.5301 | 0 | 91.864 | 15.6 | 2.2 | 5.8
178 | 08/02/2016 | 9:00:00 p.m. | 1297896 | 419215 | 7.4554 | 0 | 91.827 | 19.9 | 165.9 | 5.8
177 | 08/02/2016 | 8:00:00 p.m. | 1297853 | 419209 | 7.3351 | 0 | 91.471 | 21.8 | 116.7 | 5.8
176 | 08/02/2016 | 7:00:00 p.m. | 1297746 | 419195 | 7.2903 | 0 | 91.342 | 22.6 | 165.6 | 5.81
175 | 08/02/2016 | 6:00:00 p.m. | 1297629 | 419178 | 7.249 | 0 | 91.726 | 24.4 | 32.8 | 5.82
174 | 08/02/2016 | 5:00:00 p.m. | 1297623 | 419178 | 7.2092 | 0 | 91.272 | 24.2 | 32.5 | 5.83
173 | 08/02/2016 | 4:00:00 p.m. | 1297591 | 419173 | 7.1654 | 0 | 91.209 | 28.3 | 132.8 | 5.83
172 | 08/02/2016 | 3:00:00 p.m. | 1297565 | 419169 | 7.0692 | 0 | 91.433 | 29.5 | 119.4 | 5.83
171 | 08/02/2016 | 2:00:00 p.m. | 1297559 | 419169 | 7.2217 | 0 | 90.933 | 24.7 | 119 | 5.82
170 | 08/02/2016 | 1:00:00 p.m. | 1297452 | 419154 | 7.1673 | 0 | 90.753 | 24.7 | 165.4 | 5.82
169 | 08/02/2016 | 12:00:00 p.m. | 1297351 | 419140 | 7.1504 | 0 | 91.246 | 25 | 0 | 5.81
168 | 08/02/2016 | 11:00:00 a.m. | 1297351 | 419140 | 7.2649 | 0 | 91.281 | 19.8 | 1 | 5.8
167 | 08/02/2016 | 10:00:00 a.m. | 1297351 | 419140 | 7.3665 | 0 | 91.497 | 18.3 | 69 | 5.8
166 | 08/02/2016 | 9:00:00 a.m. | 1297333 | 419137 | 7.3786 | 0 | 91.574 | 19 | 67.9 | 5.78
165 | 08/02/2016 | 8:00:00 a.m. | 1297275 | 419129 | 7.3803 | 0 | 91.568 | 19.2 | 166.2 | 5.78
164 | 08/02/2016 | 7:00:00 a.m. | 1297162 | 419114 | 7.379 | 0 | 91.963 | 0.9 | 169.4 | 5.78
163 | 08/02/2016 | 6:00:00 a.m. | 1297137 | 419111 | 7.9893 | 0 | 92.106 | 0.2 | 0 | 5.78
162 | 08/02/2016 | 5:00:00 a.m. | 1297137 | 419111 | 7.9202 | 0 | 92.213 | 3.1 | 0 | 5.78
161 | 08/02/2016 | 4:00:00 a.m. | 1297137 | 419111 | 7.8445 | 0 | 92.34 | 9.7 | 109.2 | 5.78
160 | 08/02/2016 | 3:00:00 a.m. | 1297137 | 419111 | 7.331 | 0 | 91.694 | 20.1 | 167.7 | 5.78
159 | 08/02/2016 | 2:00:00 a.m. | 1297029 | 419096 | 7.3475 | 0 | 91.761 | 20.2 | 127.1 | 5.78
158 | 08/02/2016 | 1:00:00 a.m. | 1296918 | 419081 | 7.352 | 0 | 91.977 | 18.8 | 120.4 | 5.79
157 | 08/02/2016 | 12:00:00 a.m. | 1296849 | 419072 | 7.3902 | 0 | 91.81 | 19.4 | 113.8 | 5.79
156 | 07/02/2016 | 11:00:00 p.m. | 1296769 | 419061 | 7.396 | 0 | 91.97 | 19.1 | 82.1 | 5.79
155 | 07/02/2016 | 10:00:00 p.m. | 1296711 | 419053 | 7.3558 | 0 | 91.985 | 19.4 | 117.6 | 5.8
154 | 07/02/2016 | 9:00:00 p.m. | 1296646 | 419044 | 7.4127 | 0 | 91.757 | 20.9 | 123.6 | 5.8
153 | 07/02/2016 | 8:00:00 p.m. | 1296545 | 419030 | 7.3671 | 0 | 91.685 | 20.3 | 167.1 | 5.8
152 | 07/02/2016 | 7:00:00 p.m. | 1296464 | 419019 | 7.4103 | 0 | 91.833 | 20.7 | 0 | 5.81
151 | 07/02/2016 | 6:00:00 p.m. | 1296464 | 419019 | 7.2646 | 0 | 91.741 | 24 | 0 | 5.82
150 | 07/02/2016 | 5:00:00 p.m. | 1296464 | 419019 | 7.2394 | 0 | 91.581 | 27.2 | 0 | 5.82
149 | 07/02/2016 | 4:00:00 p.m. | 1296464 | 419019 | 7.1182 | 0 | 91.554 | 29.8 | 0 | 5.83
148 | 07/02/2016 | 3:00:00 p.m. | 1296464 | 419019 | 7.0963 | 0 | 91.507 | 29.1 | 0 | 5.82
147 | 07/02/2016 | 2:00:00 p.m. | 1296464 | 419019 | 7.1031 | 0 | 91.528 | 26.7 | 0 | 5.82
146 | 07/02/2016 | 1:00:00 p.m. | 1296464 | 419019 | 7.194 | 0 | 91.64 | 26.3 | 1.1 | 5.82
145 | 07/02/2016 | 12:00:00 p.m. | 1296464 | 419019 | 7.2369 | 0 | 91.702 | 23 | 165.9 | 5.81
144 | 07/02/2016 | 11:00:00 a.m. | 1296444 | 419017 | 7.3258 | 0 | 91.877 | 19.6 | 22.7 | 5.8
143 | 07/02/2016 | 10:00:00 a.m. | 1296427 | 419014 | 7.5045 | 0 | 91.993 | 13.5 | 0 | 5.8
142 | 07/02/2016 | 9:00:00 a.m. | 1296427 | 419014 | 7.6301 | 0 | 92.254 | 6.3 | 0 | 5.79
141 | 07/02/2016 | 8:00:00 a.m. | 1296427 | 419014 | 7.9408 | 0 | 92.201 | 1.5 | 0 | 5.78
140 | 07/02/2016 | 7:00:00 a.m. | 1296427 | 419014 | 7.9202 | 0 | 92.29 | 2.7 | 0 | 5.79
139 | 07/02/2016 | 6:00:00 a.m. | 1296427 | 419014 | 7.9133 | 0 | 92.22 | 4.5 | 0 | 5.79
138 | 07/02/2016 | 5:00:00 a.m. | 1296427 | 419014 | 7.8047 | 0 | 92.167 | 5.8 | 0 | 5.79
137 | 07/02/2016 | 4:00:00 a.m. | 1296427 | 419014 | 7.7285 | 0 | 92.262 | 6.5 | 0 | 5.79
136 | 07/02/2016 | 3:00:00 a.m. | 1296427 | 419014 | 7.7571 | 0 | 92.232 | 6.8 | 0 | 5.79
135 | 07/02/2016 | 2:00:00 a.m. | 1296427 | 419014 | 7.7019 | 0 | 92.281 | 8.1 | 0 | 5.79
134 | 07/02/2016 | 1:00:00 a.m. | 1296427 | 419014 | 7.6949 | 0 | 92.106 | 8 | 0 | 5.8
133 | 07/02/2016 | 12:00:00 a.m. | 1296427 | 419014 | 7.7213 | 0 | 92.193 | 8.3 | 0 | 5.8
132 | 06/02/2016 | 11:00:00 p.m. | 1296426 | 419014 | 7.6688 | 0 | 92.234 | 10.3 | 0 | 5.8
131 | 06/02/2016 | 10:00:00 p.m. | 1296426 | 419014 | 7.6611 | 0 | 92.225 | 11.1 | 0 | 5.8
130 | 06/02/2016 | 9:00:00 p.m. | 1296426 | 419014 | 7.5983 | 0 | 92.038 | 13 | 0 | 5.8
129 | 06/02/2016 | 8:00:00 p.m. | 1296426 | 419014 | 7.4335 | 0 | 91.881 | 15.9 | 1.2 | 5.8
128 | 06/02/2016 | 7:00:00 p.m. | 1296426 | 419014 | 7.419 | 0 | 91.774 | 20.4 | 163.9 | 5.81
127 | 06/02/2016 | 6:00:00 p.m. | 1296388 | 419009 | 7.3001 | 0 | 91.382 | 22.9 | 117.6 | 5.82
126 | 06/02/2016 | 5:00:00 p.m. | 1296287 | 418995 | 7.2435 | 0 | 91.229 | 24.5 | 164.4 | 5.82
125 | 06/02/2016 | 4:00:00 p.m. | 1296198 | 418983 | 7.1483 | 0 | 91.542 | 29.9 | 0 | 5.83
124 | 06/02/2016 | 3:00:00 p.m. | 1296198 | 418983 | 7.1165 | 0 | 91.489 | 30 | 0 | 5.82
123 | 06/02/2016 | 2:00:00 p.m. | 1296198 | 418983 | 7.0786 | 0 | 91.324 | 29.7 | 0 | 5.82
122 | 06/02/2016 | 1:00:00 p.m. | 1296198 | 418983 | 7.0772 | 0 | 91.4 | 28.3 | 0 | 5.82
121 | 06/02/2016 | 12:00:00 p.m. | 1296198 | 418983 | 7.1709 | 0 | 91.508 | 26.3 | 0 | 5.82
120 | 06/02/2016 | 11:00:00 a.m. | 1296198 | 418983 | 7.2288 | 0 | 91.293 | 22.5 | 5.6 | 5.81
119 | 06/02/2016 | 10:00:00 a.m. | 1296198 | 418983 | 7.2821 | 0 | 91.297 | 21.4 | 79.6 | 5.8
118 | 06/02/2016 | 9:00:00 a.m. | 1296146 | 418976 | 7.3498 | 0 | 91.51 | 20.8 | 123.8 | 5.79
117 | 06/02/2016 | 8:00:00 a.m. | 1296056 | 418963 | 7.3393 | 0 | 91.757 | 18.9 | 120.6 | 5.78
116 | 06/02/2016 | 7:00:00 a.m. | 1295976 | 418952 | 7.4283 | 0 | 91.833 | 19.1 | 118.6 | 5.79
115 | 06/02/2016 | 6:00:00 a.m. | 1295900 | 418942 | 7.3549 | 0 | 91.838 | 20.2 | 122.1 | 5.79
114 | 06/02/2016 | 5:00:00 a.m. | 1295788 | 418927 | 7.3794 | 0 | 92.048 | 19.2 | 123.7 | 5.79
113 | 06/02/2016 | 4:00:00 a.m. | 1295711 | 418916 | 7.3413 | 0 | 91.86 | 20.3 | 118.9 | 5.79
112 | 06/02/2016 | 3:00:00 a.m. | 1295606 | 418902 | 7.3273 | 0 | 91.87 | 20.5 | 114.8 | 5.79
111 | 06/02/2016 | 2:00:00 a.m. | 1295500 | 418888 | 7.3554 | 0 | 91.847 | 20.2 | 167.3 | 5.79
110 | 06/02/2016 | 1:00:00 a.m. | 1295378 | 418871 | 7.4829 | 0 | 92.168 | 8 | 167.4 | 5.79
109 | 06/02/2016 | 12:00:00 a.m. | 1295372 | 418870 | 7.7159 | 0 | 92.191 | 9.6 | 0 | 5.8
108 | 05/02/2016 | 11:00:00 p.m. | 1295372 | 418870 | 7.6753 | 0 | 92.167 | 11 | 0 | 5.8
107 | 05/02/2016 | 10:00:00 p.m. | 1295372 | 418870 | 7.6089 | 0 | 92.056 | 13.3 | 0 | 5.8
106 | 05/02/2016 | 9:00:00 p.m. | 1295372 | 418870 | 7.5385 | 0 | 92.09 | 15.7 | 0 | 5.8
105 | 05/02/2016 | 8:00:00 p.m. | 1295372 | 418870 | 7.4946 | 0 | 91.998 | 18.5 | 3.4 | 5.81
104 | 05/02/2016 | 7:00:00 p.m. | 1295372 | 418870 | 7.3207 | 0 | 91.957 | 22.4 | 163.8 | 5.82
103 | 05/02/2016 | 6:00:00 p.m. | 1295323 | 418864 | 7.3226 | 0 | 91.741 | 23.9 | 73 | 5.83
102 | 05/02/2016 | 5:00:00 p.m. | 1295263 | 418855 | 7.2295 | 0 | 91.342 | 24 | 117.9 | 5.83
101 | 05/02/2016 | 4:00:00 p.m. | 1295177 | 418844 | 7.2326 | 0 | 90.882 | 25.5 | 163.3 | 5.83
100 | 05/02/2016 | 3:00:00 p.m. | 1295062 | 418827 | 6.9414 | 0 | 91.446 | 34.7 | 0 | 5.83
99 | 05/02/2016 | 2:00:00 p.m. | 1295062 | 418827 | 6.9807 | 0 | 91.329 | 34.1 | 0 | 5.83
98 | 05/02/2016 | 1:00:00 p.m. | 1295062 | 418827 | 7.0092 | 0 | 91.341 | 31.9 | 0 | 5.83
97 | 05/02/2016 | 12:00:00 p.m. | 1295062 | 418827 | 7.0775 | 0 | 91.369 | 27 | 10.2 | 5.82
96 | 05/02/2016 | 11:00:00 a.m. | 1295062 | 418827 | 7.275 | 0 | 91.32 | 22.7 | 107 | 5.81
95 | 05/02/2016 | 10:00:00 a.m. | 1295011 | 418820 | 7.2668 | 0 | 91.226 | 22 | 117.1 | 5.8
94 | 05/02/2016 | 9:00:00 a.m. | 1294904 | 418806 | 7.3341 | 0 | 91.61 | 20.6 | 120.1 | 5.79
93 | 05/02/2016 | 8:00:00 a.m. | 1294802 | 418792 | 7.3834 | 0 | 91.743 | 18.6 | 118.6 | 5.78
92 | 05/02/2016 | 7:00:00 a.m. | 1294715 | 418780 | 7.4988 | 0 | 91.923 | 19 | 116.2 | 5.78
91 | 05/02/2016 | 6:00:00 a.m. | 1294630 | 418768 | 7.3908 | 0 | 91.99 | 19 | 125.5 | 5.78
90 | 05/02/2016 | 5:00:00 a.m. | 1294534 | 418756 | 7.4563 | 0 | 92.143 | 17.6 | 77.4 | 5.78
89 | 05/02/2016 | 4:00:00 a.m. | 1294475 | 418748 | 7.4558 | 0 | 92.057 | 17.6 | 73.2 | 5.78
88 | 05/02/2016 | 3:00:00 a.m. | 1294418 | 418740 | 7.4623 | 0 | 92.166 | 17.9 | 81.1 | 5.79
87 | 05/02/2016 | 2:00:00 a.m. | 1294360 | 418732 | 7.4129 | 0 | 92.074 | 18.9 | 113.4 | 5.79
86 | 05/02/2016 | 1:00:00 a.m. | 1294291 | 418723 | 7.3759 | 0 | 91.819 | 19 | 167.2 | 5.79
85 | 05/02/2016 | 12:00:00 a.m. | 1294180 | 418708 | 7.7619 | 0 | 92.277 | 8 | 0 | 5.8
84 | 04/02/2016 | 11:00:00 p.m. | 1294180 | 418708 | 7.6532 | 0 | 92.225 | 10.6 | 0.9 | 5.8
83 | 04/02/2016 | 10:00:00 p.m. | 1294180 | 418708 | 7.6246 | 0 | 92.209 | 14.9 | 52.9 | 5.8
82 | 04/02/2016 | 9:00:00 p.m. | 1294176 | 418707 | 7.4114 | 0 | 91.933 | 20.5 | 68.9 | 5.8
81 | 04/02/2016 | 8:00:00 p.m. | 1294121 | 418700 | 7.2912 | 0 | 91.61 | 21.8 | 110.6 | 5.8
80 | 04/02/2016 | 7:00:00 p.m. | 1294024 | 418686 | 7.2818 | 0 | 91.567 | 22.7 | 112.1 | 5.82
79 | 04/02/2016 | 6:00:00 p.m. | 1293924 | 418673 | 7.2574 | 0 | 91.412 | 23.6 | 113.2 | 5.82
78 | 04/02/2016 | 5:00:00 p.m. | 1293819 | 418658 | 7.1334 | 0 | 91.159 | 23.9 | 117.5 | 5.83
77 | 04/02/2016 | 4:00:00 p.m. | 1293758 | 418650 | 7.2544 | 0 | 91.08 | 25.1 | 111.4 | 5.83
76 | 04/02/2016 | 3:00:00 p.m. | 1293687 | 418640 | 7.166 | 0 | 90.9 | 25.1 | 121 | 5.83
75 | 04/02/2016 | 2:00:00 p.m. | 1293583 | 418625 | 7.1233 | 0 | 90.88 | 25.9 | 70.6 | 5.83
74 | 04/02/2016 | 1:00:00 p.m. | 1293531 | 418618 | 7.1525 | 0 | 91.008 | 24.9 | 114.3 | 5.83
73 | 04/02/2016 | 12:00:00 p.m. | 1293464 | 418609 | 7.2036 | 0 | 90.983 | 24.6 | 164.1 | 5.82
72 | 04/02/2016 | 11:00:00 a.m. | 1293375 | 418596 | 7.2148 | 0 | 91.145 | 22.8 | 74.2 | 5.81
71 | 04/02/2016 | 10:00:00 a.m. | 1293317 | 418588 | 7.2836 | 0 | 91.309 | 21.2 | 70.6 | 5.8
70 | 04/02/2016 | 9:00:00 a.m. | 1293261 | 418581 | 7.33 | 0 | 91.602 | 18.8 | 168.6 | 5.79
69 | 04/02/2016 | 8:00:00 a.m. | 1293198 | 418572 | 7.5064 | 0 | 91.981 | 16.6 | 70.7 | 5.78
68 | 04/02/2016 | 7:00:00 a.m. | 1293149 | 418566 | 7.5043 | 0 | 92.079 | 17.6 | 76.2 | 5.78
67 | 04/02/2016 | 6:00:00 a.m. | 1293091 | 418558 | 7.3922 | 0 | 91.91 | 18.4 | 78.8 | 5.78
66 | 04/02/2016 | 5:00:00 a.m. | 1293015 | 418548 | 7.4317 | 0 | 91.844 | 11.7 | 157.6 | 5.78
65 | 04/02/2016 | 4:00:00 a.m. | 1292958 | 418540 | 7.8384 | 0 | 92.148 | 3.2 | 0 | 5.79
64 | 04/02/2016 | 3:00:00 a.m. | 1292958 | 418540 | 7.8486 | 0 | 92.05 | 5.2 | 5.6 | 5.79
63 | 04/02/2016 | 2:00:00 a.m. | 1292958 | 418540 | 7.7724 | 0 | 92.043 | 6.9 | 22.9 | 5.79
62 | 04/02/2016 | 1:00:00 a.m. | 1292951 | 418539 | 7.798 | 0 | 92.114 | 6.6 | 0 | 5.8
61 | 04/02/2016 | 12:00:00 a.m. | 1292951 | 418539 | 7.7875 | 0 | 92.181 | 9.4 | 10.6 | 5.8
60 | 03/02/2016 | 11:00:00 p.m. | 1292950 | 418539 | 7.6011 | 0 | 92.247 | 12.9 | 10.7 | 5.8
59 | 03/02/2016 | 10:00:00 p.m. | 1292943 | 418538 | 7.637 | 0 | 92.23 | 14.2 | 0 | 5.8
58 | 03/02/2016 | 9:00:00 p.m. | 1292943 | 418538 | 7.475 | 0 | 92.002 | 17.4 | 1.7 | 5.8
57 | 03/02/2016 | 8:00:00 p.m. | 1292943 | 418538 | 7.3933 | 0 | 92.043 | 20.4 | 14.4 | 5.81
56 | 03/02/2016 | 7:00:00 p.m. | 1292937 | 418537 | 7.3838 | 0 | 91.805 | 22.7 | 68.5 | 5.82
55 | 03/02/2016 | 6:00:00 p.m. | 1292880 | 418529 | 7.2813 | 0 | 91.71 | 24.3 | 68.6 | 5.83
54 | 03/02/2016 | 5:00:00 p.m. | 1292814 | 418520 | 7.2119 | 0 | 91.453 | 24.4 | 79.5 | 5.83
53 | 03/02/2016 | 4:00:00 p.m. | 1292757 | 418512 | 7.2218 | 0 | 91.131 | 25.7 | 80.1 | 5.83
52 | 03/02/2016 | 3:00:00 p.m. | 1292686 | 418502 | 7.1448 | 0 | 89.958 | 25.5 | 224.9 | 5.83
51 | 03/02/2016 | 2:00:00 p.m. | 1292566 | 418485 | 7.0472 | 0 | 89.376 | 25.7 | 137.8 | 5.83
50 | 03/02/2016 | 1:00:00 p.m. | 1292473 | 418472 | 7.0625 | 0 | 89.559 | 25.3 | 64.4 | 5.83
49 | 03/02/2016 | 12:00:00 p.m. | 1292410 | 418463 | 7.0679 | 0 | 89.702 | 24.6 | 68.9 | 5.82
48 | 03/02/2016 | 11:00:00 a.m. | 1292344 | 418454 | 7.1564 | 0 | 89.916 | 23.3 | 76.2 | 5.81
47 | 03/02/2016 | 10:00:00 a.m. | 1292273 | 418444 | 7.1276 | 0 | 90.093 | 21.7 | 76.5 | 5.8
46 | 03/02/2016 | 9:00:00 a.m. | 1292207 | 418435 | 7.2281 | 0 | 90.501 | 19.5 | 78.9 | 5.79
45 | 03/02/2016 | 8:00:00 a.m. | 1292135 | 418425 | 7.3317 | 0 | 90.64 | 12.4 | 137.9 | 5.78
44 | 03/02/2016 | 7:00:00 a.m. | 1292088 | 418419 | 7.7254 | 0 | 90.941 | 5.3 | 1.2 | 5.78
43 | 03/02/2016 | 6:00:00 a.m. | 1292087 | 418418 | 7.6631 | 0 | 90.851 | 13.9 | 70.5 | 5.79
42 | 03/02/2016 | 5:00:00 a.m. | 1292062 | 418415 | 7.2639 | 0 | 90.722 | 18.8 | 70.5 | 5.79
41 | 03/02/2016 | 4:00:00 a.m. | 1291995 | 418406 | 7.336 | 0 | 90.683 | 19 | 72.2 | 5.79
40 | 03/02/2016 | 3:00:00 a.m. | 1291927 | 418397 | 7.3113 | 0 | 90.563 | 19.3 | 69.2 | 5.79
39 | 03/02/2016 | 2:00:00 a.m. | 1291858 | 418387 | 7.2747 | 0 | 90.627 | 19.2 | 76 | 5.79
38 | 03/02/2016 | 1:00:00 a.m. | 1291788 | 418378 | 7.3392 | 0 | 90.746 | 10.3 | 138.7 | 5.8
37 | 03/02/2016 | 12:00:00 a.m. | 1291770 | 418375 | 7.5945 | 0 | 90.796 | 10.5 | 0 | 5.8
36 | 02/02/2016 | 11:00:00 p.m. | 1291770 | 418375 | 7.4828 | 0 | 90.762 | 13.2 | 1 | 5.8
35 | 02/02/2016 | 10:00:00 p.m. | 1291770 | 418375 | 7.448 | 0 | 90.733 | 17.7 | 43.7 | 5.8
34 | 02/02/2016 | 9:00:00 p.m. | 1291757 | 418373 | 7.2439 | 0 | 90.556 | 20.8 | 50.3 | 5.8
33 | 02/02/2016 | 8:00:00 p.m. | 1291714 | 418367 | 7.2732 | 0 | 90.683 | 21.4 | 46.5 | 5.81
32 | 02/02/2016 | 7:00:00 p.m. | 1291672 | 418362 | 7.1739 | 0 | 90.63 | 22.1 | 69 | 5.81
31 | 02/02/2016 | 6:00:00 p.m. | 1291624 | 418355 | 7.2038 | 0 | 90.403 | 23.6 | 70.8 | 5.83
30 | 02/02/2016 | 5:00:00 p.m. | 1291562 | 418346 | 7.0728 | 0 | 90.346 | 24 | 74 | 5.83
29 | 02/02/2016 | 4:00:00 p.m. | 1291495 | 418337 | 7.1737 | 0 | 90.136 | 25.6 | 74.5 | 5.83
28 | 02/02/2016 | 3:00:00 p.m. | 1291438 | 418329 | 7.0874 | 0 | 89.97 | 26.4 | 110.5 | 5.83
27 | 02/02/2016 | 2:00:00 p.m. | 1291378 | 418320 | 7.0474 | 0 | 89.949 | 27.1 | 54.4 | 5.83
26 | 02/02/2016 | 1:00:00 p.m. | 1291337 | 418315 | 7.0713 | 0 | 90.086 | 25.7 | 47.4 | 5.83
25 | 02/02/2016 | 12:00:00 p.m. | 1291297 | 418309 | 7.075 | 0 | 90.298 | 24.6 | 89.3 | 5.82
24 | 02/02/2016 | 11:00:00 a.m. | 1291246 | 418302 | 7.1733 | 0 | 90.35 | 23.3 | 98.2 | 5.81
23 | 02/02/2016 | 10:00:00 a.m. | 1291177 | 418292 | 7.1075 | 0 | 90.372 | 21.7 | 63.8 | 5.8
22 | 02/02/2016 | 9:00:00 a.m. | 1291122 | 418285 | 7.2487 | 0 | 90.531 | 20.5 | 103 | 5.79
21 | 02/02/2016 | 8:00:00 a.m. | 1291038 | 418273 | 7.296 | 0 | 90.932 | 18.8 | 88.9 | 5.78
20 | 02/02/2016 | 7:00:00 a.m. | 1290962 | 418263 | 7.3819 | 0 | 91.155 | 17.2 | 123.7 | 5.79
19 | 02/02/2016 | 6:00:00 a.m. | 1290922 | 418257 | 7.3933 | 0 | 91.34 | 17.6 | 53.1 | 5.79
18 | 02/02/2016 | 5:00:00 a.m. | 1290879 | 418251 | 7.398 | 0 | 91.16 | 18.8 | 78.7 | 5.79
17 | 02/02/2016 | 4:00:00 a.m. | 1290819 | 418243 | 7.3344 | 0 | 91.195 | 19.4 | 81.3 | 5.79
16 | 02/02/2016 | 3:00:00 a.m. | 1290742 | 418233 | 7.3474 | 0 | 91.197 | 19.7 | 75.6 | 5.79
15 | 02/02/2016 | 2:00:00 a.m. | 1290671 | 418223 | 7.3142 | 0 | 91.005 | 19.7 | 76.9 | 5.79
14 | 02/02/2016 | 1:00:00 a.m. | 1290599 | 418213 | 7.2781 | 0 | 91.337 | 19.2 | 68.5 | 5.8
13 | 02/02/2016 | 12:00:00 a.m. | 1290539 | 418205 | 7.3123 | 0 | 91.638 | 18.5 | 135.4 | 5.8
12 | 01/02/2016 | 11:00:00 p.m. | 1290477 | 418197 | 7.6064 | 0 | 91.859 | 13.9 | 0 | 5.8
11 | 01/02/2016 | 10:00:00 p.m. | 1290477 | 418197 | 7.4934 | 0 | 91.874 | 16.7 | 0 | 5.8
10 | 01/02/2016 | 9:00:00 p.m. | 1290477 | 418197 | 7.439 | 0 | 91.778 | 17.3 | 0 | 5.8
9 | 01/02/2016 | 8:00:00 p.m. | 1290477 | 418197 | 7.4437 | 0 | 91.778 | 18.5 | 0 | 5.8
8 | 01/02/2016 | 7:00:00 p.m. | 1290477 | 418197 | 7.2958 | 0 | 91.709 | 21.4 | 0 | 5.81
7 | 01/02/2016 | 6:00:00 p.m. | 1290477 | 418197 | 7.2946 | 0 | 91.56 | 25 | 0 | 5.82
6 | 01/02/2016 | 5:00:00 p.m. | 1290477 | 418197 | 7.152 | 0 | 91.451 | 26.7 | 0 | 5.82
5 | 01/02/2016 | 4:00:00 p.m. | 1290477 | 418197 | 7.1758 | 0 | 91.417 | 29.3 | 0 | 5.83
4 | 01/02/2016 | 3:00:00 p.m. | 1290477 | 418197 | 7.0539 | 0 | 91.218 | 31.6 | 0 | 5.83
3 | 01/02/2016 | 2:00:00 p.m. | 1290477 | 418197 | 6.939 | 0 | 91.207 | 35.4 | 0 | 5.83
2 | 01/02/2016 | 1:00:00 p.m. | 1290477 | 418197 | 6.956 | 0 | 91.334 | 32.8 | 1.4 | 5.83
1 | 01/02/2016 | 12:00:00 p.m. | 1290477 | 418197 | 7.1029 | 0 | 91.302 | 26.3 | 165.7 | 5.82