## Mineria Empresarial horario 043
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 696
Fault/Alarms Recorded: | Date | Time | Condition
1 | 16/02/2016 | 3:04:17 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
696 | 01/05/2016 | 11:00:00 a.m. | 273060 | 213697 | 7.1344 | 0 | 91.581 | 25.6 | 0 | 5.57
695 | 01/05/2016 | 10:00:00 a.m. | 273060 | 213697 | 7.2629 | 0 | 91.541 | 19 | 0 | 5.58
694 | 01/05/2016 | 9:00:00 a.m. | 273060 | 213697 | 7.4718 | 0 | 91.738 | 11.3 | 0 | 5.56
693 | 01/05/2016 | 8:00:00 a.m. | 273060 | 213697 | 7.7028 | 0 | 92.111 | 9 | 0 | 5.54
692 | 01/05/2016 | 7:00:00 a.m. | 273060 | 213697 | 7.7257 | 0 | 91.946 | 9.8 | 0 | 5.55
691 | 01/05/2016 | 6:00:00 a.m. | 273060 | 213697 | 7.6286 | 0 | 91.803 | 10.8 | 0 | 5.55
690 | 01/05/2016 | 5:00:00 a.m. | 273060 | 213697 | 7.6019 | 0 | 91.574 | 11.9 | 0 | 5.55
689 | 01/05/2016 | 4:00:00 a.m. | 273060 | 213697 | 7.5942 | 0 | 91.766 | 13.2 | 0 | 5.55
688 | 01/05/2016 | 3:00:00 a.m. | 273060 | 213697 | 7.5109 | 0 | 91.646 | 14.8 | 0 | 5.55
687 | 01/05/2016 | 2:00:00 a.m. | 273060 | 213697 | 7.4375 | 0 | 91.528 | 16.8 | 0 | 5.55
686 | 01/05/2016 | 1:00:00 a.m. | 273060 | 213697 | 7.3617 | 0 | 91.439 | 18.5 | 0 | 5.57
685 | 01/05/2016 | 12:00:00 a.m. | 273060 | 213697 | 7.3456 | 0 | 91.59 | 19.7 | 0 | 5.57
684 | 30/04/2016 | 11:00:00 p.m. | 273060 | 213697 | 7.3091 | 0 | 91.379 | 20.9 | 0 | 5.57
683 | 30/04/2016 | 10:00:00 p.m. | 273060 | 213697 | 7.2825 | 0 | 90.833 | 22.1 | 0 | 5.57
682 | 30/04/2016 | 9:00:00 p.m. | 273060 | 213697 | 7.2332 | 0 | 90.598 | 23.8 | 0 | 5.57
681 | 30/04/2016 | 8:00:00 p.m. | 273060 | 213697 | 7.1075 | 0 | 90.517 | 26.7 | 0 | 5.57
680 | 30/04/2016 | 7:00:00 p.m. | 273060 | 213697 | 7.0653 | 0 | 90.708 | 29.2 | 0 | 5.58
679 | 30/04/2016 | 6:00:00 p.m. | 273060 | 213697 | 7.0356 | 0 | 90.89 | 31.8 | 0 | 5.57
678 | 30/04/2016 | 5:00:00 p.m. | 273060 | 213697 | 6.9379 | 0 | 90.482 | 35.7 | 0 | 5.6
677 | 30/04/2016 | 4:00:00 p.m. | 273060 | 213697 | 6.8763 | 0 | 90.603 | 37 | 0 | 5.59
676 | 30/04/2016 | 3:00:00 p.m. | 273060 | 213697 | 6.7721 | 0 | 90.652 | 39.1 | 0 | 5.59
675 | 30/04/2016 | 2:00:00 p.m. | 273060 | 213697 | 6.7584 | 0 | 90.359 | 38.9 | 0 | 5.58
674 | 30/04/2016 | 1:00:00 p.m. | 273060 | 213697 | 6.7434 | 0 | 90.021 | 36.5 | 0 | 5.6
673 | 30/04/2016 | 12:00:00 p.m. | 273060 | 213697 | 6.8671 | 0 | 90.377 | 32.4 | 0 | 5.58
672 | 30/04/2016 | 11:00:00 a.m. | 273060 | 213697 | 6.9506 | 0 | 90.492 | 28.1 | 1.7 | 5.58
671 | 30/04/2016 | 10:00:00 a.m. | 273060 | 213697 | 7.0546 | 0 | 88.19 | 23 | 90.9 | 5.59
670 | 30/04/2016 | 9:00:00 a.m. | 273010 | 213690 | 6.952 | 0 | 87.891 | 17.1 | 98 | 5.55
669 | 30/04/2016 | 8:00:00 a.m. | 272947 | 213681 | 7.5178 | 0 | 90.572 | 10.7 | 0 | 5.55
668 | 30/04/2016 | 7:00:00 a.m. | 272947 | 213681 | 7.53 | 0 | 90.914 | 10.3 | 0 | 5.56
667 | 30/04/2016 | 6:00:00 a.m. | 272947 | 213681 | 7.5079 | 0 | 90.911 | 10.6 | 0 | 5.55
666 | 30/04/2016 | 5:00:00 a.m. | 272947 | 213681 | 7.4585 | 0 | 90.87 | 11.3 | 0 | 5.55
665 | 30/04/2016 | 4:00:00 a.m. | 272947 | 213681 | 7.5273 | 0 | 90.716 | 12.2 | 0 | 5.56
664 | 30/04/2016 | 3:00:00 a.m. | 272947 | 213681 | 7.5483 | 0 | 91.109 | 13.4 | 0 | 5.56
663 | 30/04/2016 | 2:00:00 a.m. | 272947 | 213681 | 7.4487 | 0 | 90.581 | 14.8 | 0 | 5.55
662 | 30/04/2016 | 1:00:00 a.m. | 272947 | 213681 | 7.3656 | 0 | 90.385 | 16.4 | 0 | 5.56
661 | 30/04/2016 | 12:00:00 a.m. | 272947 | 213681 | 7.3266 | 0 | 90.747 | 18.1 | 0 | 5.57
660 | 29/04/2016 | 11:00:00 p.m. | 272947 | 213681 | 7.3262 | 0 | 90.644 | 20.2 | 0 | 5.55
659 | 29/04/2016 | 10:00:00 p.m. | 272947 | 213681 | 7.218 | 0 | 90.76 | 21.9 | 0 | 5.57
658 | 29/04/2016 | 9:00:00 p.m. | 272947 | 213681 | 7.1742 | 0 | 90.521 | 24.1 | 0 | 5.57
657 | 29/04/2016 | 8:00:00 p.m. | 272947 | 213681 | 7.0892 | 0 | 90.488 | 27.5 | 0 | 5.59
656 | 29/04/2016 | 7:00:00 p.m. | 272947 | 213681 | 7.0628 | 0 | 90.176 | 31.5 | 0 | 5.59
655 | 29/04/2016 | 6:00:00 p.m. | 272947 | 213681 | 6.9254 | 0 | 90.086 | 33.2 | 1.4 | 5.59
654 | 29/04/2016 | 5:00:00 p.m. | 272947 | 213681 | 6.8968 | 0 | 88.153 | 28.6 | 88.1 | 5.59
653 | 29/04/2016 | 4:00:00 p.m. | 272903 | 213675 | 6.8218 | 0 | 86.384 | 26.3 | 89.1 | 5.58
652 | 29/04/2016 | 3:00:00 p.m. | 272816 | 213662 | 6.7795 | 0 | 86.202 | 26.8 | 88.8 | 5.6
651 | 29/04/2016 | 2:00:00 p.m. | 272729 | 213649 | 6.7908 | 0 | 86.262 | 26.9 | 89.8 | 5.58
650 | 29/04/2016 | 1:00:00 p.m. | 272642 | 213636 | 6.7663 | 0 | 85.955 | 26.5 | 90.2 | 5.59
649 | 29/04/2016 | 12:00:00 p.m. | 272554 | 213623 | 6.7715 | 0 | 86.074 | 25.7 | 89.8 | 5.58
648 | 29/04/2016 | 11:00:00 a.m. | 272466 | 213610 | 6.782 | 0 | 86.44 | 25 | 90.6 | 5.57
647 | 29/04/2016 | 10:00:00 a.m. | 272384 | 213599 | 6.903 | 0 | 87.042 | 21.4 | 98 | 5.58
646 | 29/04/2016 | 9:00:00 a.m. | 272312 | 213588 | 7.3978 | 0 | 90.636 | 13 | 0 | 5.55
645 | 29/04/2016 | 8:00:00 a.m. | 272312 | 213588 | 7.5161 | 0 | 90.46 | 11 | 0 | 5.55
644 | 29/04/2016 | 7:00:00 a.m. | 272312 | 213588 | 7.5321 | 0 | 90.695 | 11.5 | 0 | 5.55
643 | 29/04/2016 | 6:00:00 a.m. | 272312 | 213588 | 7.4903 | 0 | 90.547 | 12.5 | 0 | 5.55
642 | 29/04/2016 | 5:00:00 a.m. | 272312 | 213588 | 7.4621 | 0 | 90.635 | 13.4 | 0 | 5.55
641 | 29/04/2016 | 4:00:00 a.m. | 272312 | 213588 | 7.4371 | 0 | 90.728 | 14.3 | 0 | 5.56
640 | 29/04/2016 | 3:00:00 a.m. | 272312 | 213588 | 7.4245 | 0 | 90.678 | 15.8 | 0 | 5.55
639 | 29/04/2016 | 2:00:00 a.m. | 272312 | 213588 | 7.429 | 0 | 90.642 | 17 | 0 | 5.57
638 | 29/04/2016 | 1:00:00 a.m. | 272312 | 213588 | 7.3352 | 0 | 90.629 | 18.1 | 0 | 5.57
637 | 29/04/2016 | 12:00:00 a.m. | 272312 | 213588 | 7.3007 | 0 | 90.758 | 19.9 | 0 | 5.56
636 | 28/04/2016 | 11:00:00 p.m. | 272312 | 213588 | 7.2443 | 0 | 90.716 | 21.8 | 0 | 5.56
635 | 28/04/2016 | 10:00:00 p.m. | 272312 | 213588 | 7.2154 | 0 | 90.727 | 23.9 | 0 | 5.57
634 | 28/04/2016 | 9:00:00 p.m. | 272312 | 213588 | 7.1813 | 0 | 90.646 | 25.3 | 0 | 5.57
633 | 28/04/2016 | 8:00:00 p.m. | 272312 | 213588 | 7.116 | 0 | 90.431 | 28.3 | 0 | 5.59
632 | 28/04/2016 | 7:00:00 p.m. | 272312 | 213588 | 6.9963 | 0 | 90.721 | 32.4 | 0 | 5.59
631 | 28/04/2016 | 6:00:00 p.m. | 272312 | 213588 | 6.9388 | 0 | 90.594 | 34.5 | 1.5 | 5.6
630 | 28/04/2016 | 5:00:00 p.m. | 272312 | 213588 | 6.9363 | 0 | 89.135 | 29.7 | 79.3 | 5.6
629 | 28/04/2016 | 4:00:00 p.m. | 272276 | 213583 | 6.8838 | 0 | 87.841 | 27.9 | 83.4 | 5.6
628 | 28/04/2016 | 3:00:00 p.m. | 272209 | 213573 | 6.8645 | 0 | 87.388 | 27.6 | 86.6 | 5.59
627 | 28/04/2016 | 2:00:00 p.m. | 272133 | 213562 | 6.8257 | 0 | 87.041 | 27.5 | 88.7 | 5.58
626 | 28/04/2016 | 1:00:00 p.m. | 272056 | 213551 | 6.7924 | 0 | 87.45 | 27.4 | 88.9 | 5.58
625 | 28/04/2016 | 12:00:00 p.m. | 271984 | 213540 | 6.8371 | 0 | 86.93 | 26.5 | 89.5 | 5.59
624 | 28/04/2016 | 11:00:00 a.m. | 271908 | 213529 | 6.8248 | 0 | 86.651 | 25.2 | 89.9 | 5.57
623 | 28/04/2016 | 10:00:00 a.m. | 271825 | 213517 | 6.8811 | 0 | 86.987 | 23.1 | 89.3 | 5.58
622 | 28/04/2016 | 9:00:00 a.m. | 271744 | 213505 | 6.9875 | 0 | 88.327 | 17.1 | 98.5 | 5.55
621 | 28/04/2016 | 8:00:00 a.m. | 271683 | 213497 | 7.6082 | 0 | 91.346 | 9.6 | 0 | 5.55
620 | 28/04/2016 | 7:00:00 a.m. | 271683 | 213497 | 7.6435 | 0 | 91.201 | 10.9 | 0 | 5.55
619 | 28/04/2016 | 6:00:00 a.m. | 271683 | 213497 | 7.5141 | 0 | 91.419 | 12.5 | 0 | 5.55
618 | 28/04/2016 | 5:00:00 a.m. | 271683 | 213497 | 7.5068 | 0 | 90.903 | 14.4 | 0 | 5.56
617 | 28/04/2016 | 4:00:00 a.m. | 271683 | 213497 | 7.4258 | 0 | 90.888 | 16.2 | 0 | 5.56
616 | 28/04/2016 | 3:00:00 a.m. | 271683 | 213497 | 7.4026 | 0 | 90.703 | 17.3 | 0 | 5.56
615 | 28/04/2016 | 2:00:00 a.m. | 271683 | 213497 | 7.4047 | 0 | 90.649 | 18.5 | 0 | 5.56
614 | 28/04/2016 | 1:00:00 a.m. | 271683 | 213497 | 7.2912 | 0 | 90.557 | 19 | 0 | 5.57
613 | 28/04/2016 | 12:00:00 a.m. | 271683 | 213497 | 7.275 | 0 | 90.519 | 19 | 0 | 5.57
612 | 27/04/2016 | 11:00:00 p.m. | 271683 | 213497 | 7.2936 | 0 | 90.696 | 20.6 | 0 | 5.57
611 | 27/04/2016 | 10:00:00 p.m. | 271683 | 213497 | 7.2135 | 0 | 90.613 | 22.4 | 0 | 5.57
610 | 27/04/2016 | 9:00:00 p.m. | 271683 | 213497 | 7.1797 | 0 | 90.552 | 24.8 | 0 | 5.58
609 | 27/04/2016 | 8:00:00 p.m. | 271683 | 213497 | 7.0762 | 0 | 90.745 | 28.1 | 0 | 5.58
608 | 27/04/2016 | 7:00:00 p.m. | 271683 | 213497 | 7.0323 | 0 | 90.327 | 32.6 | 0 | 5.6
607 | 27/04/2016 | 6:00:00 p.m. | 271683 | 213497 | 6.8732 | 0 | 90.312 | 35.6 | 0 | 5.6
606 | 27/04/2016 | 5:00:00 p.m. | 271683 | 213497 | 6.8924 | 0 | 90.214 | 35 | 2.3 | 5.6
605 | 27/04/2016 | 4:00:00 p.m. | 271683 | 213497 | 6.9321 | 0 | 87.357 | 28.4 | 92.4 | 5.6
604 | 27/04/2016 | 3:00:00 p.m. | 271620 | 213488 | 6.8052 | 0 | 86.198 | 27.4 | 89.8 | 5.58
603 | 27/04/2016 | 2:00:00 p.m. | 271532 | 213474 | 6.7842 | 0 | 86.286 | 27.2 | 90.4 | 5.57
602 | 27/04/2016 | 1:00:00 p.m. | 271443 | 213461 | 6.828 | 0 | 86.379 | 26.7 | 90.9 | 5.58
601 | 27/04/2016 | 12:00:00 p.m. | 271353 | 213448 | 6.8206 | 0 | 86.375 | 25.8 | 91 | 5.59
600 | 27/04/2016 | 11:00:00 a.m. | 271263 | 213435 | 6.8368 | 0 | 86.413 | 24.3 | 91.6 | 5.58
599 | 27/04/2016 | 10:00:00 a.m. | 271173 | 213422 | 6.8658 | 0 | 87.226 | 19.9 | 97.2 | 5.57
598 | 27/04/2016 | 9:00:00 a.m. | 271097 | 213411 | 7.5182 | 0 | 91.233 | 7.9 | 0 | 5.56
597 | 27/04/2016 | 8:00:00 a.m. | 271097 | 213411 | 7.7684 | 0 | 91.142 | 5.7 | 0 | 5.53
596 | 27/04/2016 | 7:00:00 a.m. | 271097 | 213411 | 7.6859 | 0 | 91.54 | 6.4 | 0 | 5.54
595 | 27/04/2016 | 6:00:00 a.m. | 271097 | 213411 | 7.6849 | 0 | 91.141 | 7.4 | 0 | 5.55
594 | 27/04/2016 | 5:00:00 a.m. | 271097 | 213411 | 7.6461 | 0 | 91.177 | 8.5 | 0 | 5.55
593 | 27/04/2016 | 4:00:00 a.m. | 271097 | 213411 | 7.5878 | 0 | 91.081 | 9.8 | 0 | 5.54
592 | 27/04/2016 | 3:00:00 a.m. | 271097 | 213411 | 7.5599 | 0 | 90.918 | 11.2 | 0 | 5.55
591 | 27/04/2016 | 2:00:00 a.m. | 271097 | 213411 | 7.5437 | 0 | 91.073 | 12.8 | 0 | 5.56
590 | 27/04/2016 | 1:00:00 a.m. | 271097 | 213411 | 7.4554 | 0 | 91.259 | 14.6 | 0 | 5.56
589 | 27/04/2016 | 12:00:00 a.m. | 271097 | 213411 | 7.482 | 0 | 91.053 | 16.7 | 0 | 5.57
588 | 26/04/2016 | 11:00:00 p.m. | 271097 | 213411 | 7.3679 | 0 | 91.36 | 18.9 | 0 | 5.55
587 | 26/04/2016 | 10:00:00 p.m. | 271097 | 213411 | 7.3119 | 0 | 91.007 | 21.1 | 0 | 5.57
586 | 26/04/2016 | 9:00:00 p.m. | 271097 | 213411 | 7.231 | 0 | 90.857 | 23.4 | 0 | 5.57
585 | 26/04/2016 | 8:00:00 p.m. | 271097 | 213411 | 7.2024 | 0 | 90.944 | 26.6 | 0 | 5.58
584 | 26/04/2016 | 7:00:00 p.m. | 271097 | 213411 | 7.1723 | 0 | 91.174 | 30.2 | 0 | 5.59
583 | 26/04/2016 | 6:00:00 p.m. | 271097 | 213411 | 6.9993 | 0 | 90.636 | 32.1 | 0.9 | 5.59
582 | 26/04/2016 | 5:00:00 p.m. | 271097 | 213411 | 6.962 | 0 | 89.623 | 29.4 | 89.3 | 5.59
581 | 26/04/2016 | 4:00:00 p.m. | 271079 | 213408 | 6.8405 | 0 | 86.693 | 26.2 | 90.2 | 5.59
580 | 26/04/2016 | 3:00:00 p.m. | 270990 | 213395 | 6.8524 | 0 | 86.576 | 26.3 | 89.7 | 5.58
579 | 26/04/2016 | 2:00:00 p.m. | 270902 | 213383 | 6.8506 | 0 | 86.471 | 26.8 | 89.9 | 5.59
578 | 26/04/2016 | 1:00:00 p.m. | 270815 | 213370 | 6.8116 | 0 | 86.782 | 26.4 | 88.4 | 5.59
577 | 26/04/2016 | 12:00:00 p.m. | 270734 | 213358 | 6.8325 | 0 | 87.026 | 25.8 | 89.6 | 5.58
576 | 26/04/2016 | 11:00:00 a.m. | 270652 | 213346 | 6.8622 | 0 | 87.079 | 24.8 | 90.5 | 5.58
575 | 26/04/2016 | 10:00:00 a.m. | 270572 | 213334 | 6.9415 | 0 | 87.715 | 20.3 | 97.7 | 5.58
574 | 26/04/2016 | 9:00:00 a.m. | 270508 | 213325 | 7.4483 | 0 | 90.714 | 11.9 | 0 | 5.56
573 | 26/04/2016 | 8:00:00 a.m. | 270508 | 213325 | 7.5535 | 0 | 91.044 | 10.2 | 0 | 5.55
572 | 26/04/2016 | 7:00:00 a.m. | 270508 | 213325 | 7.6354 | 0 | 91.263 | 11 | 0 | 5.55
571 | 26/04/2016 | 6:00:00 a.m. | 270508 | 213325 | 7.5981 | 0 | 91.07 | 11.6 | 0 | 5.55
570 | 26/04/2016 | 5:00:00 a.m. | 270508 | 213325 | 7.5091 | 0 | 90.907 | 12 | 0 | 5.55
569 | 26/04/2016 | 4:00:00 a.m. | 270508 | 213325 | 7.4916 | 0 | 90.951 | 12.3 | 0 | 5.56
568 | 26/04/2016 | 3:00:00 a.m. | 270508 | 213325 | 7.4805 | 0 | 90.838 | 13.3 | 0 | 5.55
567 | 26/04/2016 | 2:00:00 a.m. | 270508 | 213325 | 7.4506 | 0 | 90.954 | 14.4 | 0 | 5.56
566 | 26/04/2016 | 1:00:00 a.m. | 270508 | 213325 | 7.4602 | 0 | 91.264 | 15.3 | 0 | 5.55
565 | 26/04/2016 | 12:00:00 a.m. | 270508 | 213325 | 7.4636 | 0 | 91.032 | 16.2 | 0 | 5.57
564 | 25/04/2016 | 11:00:00 p.m. | 270508 | 213325 | 7.4452 | 0 | 90.923 | 18 | 0 | 5.57
563 | 25/04/2016 | 10:00:00 p.m. | 270508 | 213325 | 7.3368 | 0 | 90.687 | 20.4 | 0 | 5.57
562 | 25/04/2016 | 9:00:00 p.m. | 270508 | 213325 | 7.2349 | 0 | 90.537 | 22.8 | 0 | 5.57
561 | 25/04/2016 | 8:00:00 p.m. | 270508 | 213325 | 7.1835 | 0 | 90.406 | 26 | 0 | 5.58
560 | 25/04/2016 | 7:00:00 p.m. | 270508 | 213325 | 7.037 | 0 | 90.544 | 29.4 | 0 | 5.59
559 | 25/04/2016 | 6:00:00 p.m. | 270508 | 213325 | 7.038 | 0 | 90.369 | 30.4 | 0 | 5.58
558 | 25/04/2016 | 5:00:00 p.m. | 270508 | 213325 | 6.9845 | 0 | 90.658 | 31.5 | 0 | 5.58
557 | 25/04/2016 | 4:00:00 p.m. | 270508 | 213325 | 7.0651 | 0 | 91.196 | 31.4 | 0 | 5.59
556 | 25/04/2016 | 3:00:00 p.m. | 270508 | 213325 | 7.0717 | 0 | 91.191 | 29.8 | 0 | 5.58
555 | 25/04/2016 | 2:00:00 p.m. | 270508 | 213325 | 7.0841 | 0 | 91.082 | 31.2 | 0 | 5.58
554 | 25/04/2016 | 1:00:00 p.m. | 270508 | 213325 | 6.9742 | 0 | 91.341 | 29.3 | 0 | 5.58
553 | 25/04/2016 | 12:00:00 p.m. | 270508 | 213325 | 7.17 | 0 | 91.645 | 25.6 | 0 | 5.57
552 | 25/04/2016 | 11:00:00 a.m. | 270508 | 213325 | 7.2441 | 0 | 91.714 | 19.6 | 0 | 5.57
551 | 25/04/2016 | 10:00:00 a.m. | 270508 | 213325 | 7.4368 | 0 | 91.435 | 13.8 | 0 | 5.57
550 | 25/04/2016 | 9:00:00 a.m. | 270508 | 213325 | 7.5163 | 0 | 91.199 | 9.8 | 0 | 5.55
549 | 25/04/2016 | 8:00:00 a.m. | 270508 | 213325 | 7.6066 | 0 | 91.48 | 9.3 | 0 | 5.55
548 | 25/04/2016 | 7:00:00 a.m. | 270508 | 213325 | 7.602 | 0 | 91.543 | 9.9 | 0 | 5.55
547 | 25/04/2016 | 6:00:00 a.m. | 270508 | 213325 | 7.653 | 0 | 91.95 | 10.6 | 0 | 5.56
546 | 25/04/2016 | 5:00:00 a.m. | 270508 | 213325 | 7.6377 | 0 | 91.779 | 10.8 | 0 | 5.55
545 | 25/04/2016 | 4:00:00 a.m. | 270508 | 213325 | 7.6355 | 0 | 92.038 | 11.4 | 0 | 5.56
544 | 25/04/2016 | 3:00:00 a.m. | 270508 | 213325 | 7.6577 | 0 | 92.006 | 12.2 | 0 | 5.56
543 | 25/04/2016 | 2:00:00 a.m. | 270508 | 213325 | 7.5666 | 0 | 91.49 | 13.4 | 0 | 5.55
542 | 25/04/2016 | 1:00:00 a.m. | 270508 | 213325 | 7.5039 | 0 | 91.347 | 15 | 0 | 5.55
541 | 25/04/2016 | 12:00:00 a.m. | 270508 | 213325 | 7.4679 | 0 | 91.605 | 17 | 0 | 5.57
540 | 24/04/2016 | 11:00:00 p.m. | 270508 | 213325 | 7.4394 | 0 | 92.063 | 19.5 | 0 | 5.58
539 | 24/04/2016 | 10:00:00 p.m. | 270508 | 213325 | 7.3423 | 0 | 92.129 | 21.7 | 0 | 5.57
538 | 24/04/2016 | 9:00:00 p.m. | 270508 | 213325 | 7.2774 | 0 | 92.115 | 24 | 0 | 5.57
537 | 24/04/2016 | 8:00:00 p.m. | 270508 | 213325 | 7.1787 | 0 | 91.886 | 27.7 | 0 | 5.58
536 | 24/04/2016 | 7:00:00 p.m. | 270508 | 213325 | 7.1098 | 0 | 91.773 | 31.9 | 0 | 5.59
535 | 24/04/2016 | 6:00:00 p.m. | 270508 | 213325 | 6.9797 | 0 | 91.637 | 34.8 | 0 | 5.59
534 | 24/04/2016 | 5:00:00 p.m. | 270508 | 213325 | 6.9685 | 0 | 91.685 | 36 | 0 | 5.59
533 | 24/04/2016 | 4:00:00 p.m. | 270508 | 213325 | 6.9511 | 0 | 91.621 | 36.6 | 0 | 5.6
532 | 24/04/2016 | 3:00:00 p.m. | 270508 | 213325 | 6.9367 | 0 | 91.486 | 38.6 | 0 | 5.59
531 | 24/04/2016 | 2:00:00 p.m. | 270508 | 213325 | 6.8042 | 0 | 90.714 | 38.6 | 0 | 5.58
530 | 24/04/2016 | 1:00:00 p.m. | 270508 | 213325 | 6.8491 | 0 | 90.976 | 36.5 | 0 | 5.59
529 | 24/04/2016 | 12:00:00 p.m. | 270508 | 213325 | 6.9522 | 0 | 90.95 | 33.9 | 0 | 5.58
528 | 24/04/2016 | 11:00:00 a.m. | 270508 | 213325 | 7.0154 | 0 | 91.055 | 27 | 0 | 5.58
527 | 24/04/2016 | 10:00:00 a.m. | 270508 | 213325 | 7.2313 | 0 | 91.004 | 17.6 | 0 | 5.57
526 | 24/04/2016 | 9:00:00 a.m. | 270508 | 213325 | 7.4812 | 0 | 91.329 | 9.6 | 0 | 5.55
525 | 24/04/2016 | 8:00:00 a.m. | 270508 | 213325 | 7.7196 | 0 | 91.261 | 7.8 | 0 | 5.54
524 | 24/04/2016 | 7:00:00 a.m. | 270508 | 213325 | 7.6961 | 0 | 91.34 | 8.7 | 0 | 5.56
523 | 24/04/2016 | 6:00:00 a.m. | 270508 | 213325 | 7.6033 | 0 | 91.476 | 9.8 | 0 | 5.55
522 | 24/04/2016 | 5:00:00 a.m. | 270508 | 213325 | 7.5788 | 0 | 91.396 | 10.8 | 0 | 5.55
521 | 24/04/2016 | 4:00:00 a.m. | 270508 | 213325 | 7.586 | 0 | 91.433 | 12 | 0 | 5.55
520 | 24/04/2016 | 3:00:00 a.m. | 270508 | 213325 | 7.5264 | 0 | 91.39 | 13.5 | 0 | 5.57
519 | 24/04/2016 | 2:00:00 a.m. | 270508 | 213325 | 7.4777 | 0 | 91.246 | 15 | 0 | 5.57
518 | 24/04/2016 | 1:00:00 a.m. | 270508 | 213325 | 7.421 | 0 | 91.302 | 16.6 | 0 | 5.56
517 | 24/04/2016 | 12:00:00 a.m. | 270508 | 213325 | 7.3915 | 0 | 91.383 | 18.1 | 0 | 5.57
516 | 23/04/2016 | 11:00:00 p.m. | 270508 | 213325 | 7.3685 | 0 | 91.241 | 18.3 | 0 | 5.58
515 | 23/04/2016 | 10:00:00 p.m. | 270508 | 213325 | 7.3687 | 0 | 91.288 | 18.9 | 0 | 5.57
514 | 23/04/2016 | 9:00:00 p.m. | 270508 | 213325 | 7.3812 | 0 | 91.129 | 20.1 | 0 | 5.58
513 | 23/04/2016 | 8:00:00 p.m. | 270508 | 213325 | 7.2373 | 0 | 91.008 | 22.8 | 0 | 5.58
512 | 23/04/2016 | 7:00:00 p.m. | 270508 | 213325 | 7.1614 | 0 | 90.845 | 25.8 | 0 | 5.58
511 | 23/04/2016 | 6:00:00 p.m. | 270508 | 213325 | 7.1002 | 0 | 90.555 | 28.7 | 0 | 5.59
510 | 23/04/2016 | 5:00:00 p.m. | 270508 | 213325 | 7.0149 | 0 | 90.649 | 28.7 | 0 | 5.58
509 | 23/04/2016 | 4:00:00 p.m. | 270508 | 213325 | 7.0334 | 0 | 90.491 | 29.5 | 0 | 5.58
508 | 23/04/2016 | 3:00:00 p.m. | 270508 | 213325 | 7.0206 | 0 | 90.497 | 27.8 | 0.8 | 5.59
507 | 23/04/2016 | 2:00:00 p.m. | 270508 | 213325 | 7.1264 | 0 | 90.27 | 25.2 | 83.1 | 5.57
506 | 23/04/2016 | 1:00:00 p.m. | 270497 | 213324 | 6.9142 | 0 | 86.906 | 24.4 | 90.2 | 5.58
505 | 23/04/2016 | 12:00:00 p.m. | 270412 | 213311 | 6.9441 | 0 | 87.545 | 24.5 | 86.9 | 5.58
504 | 23/04/2016 | 11:00:00 a.m. | 270336 | 213300 | 6.96 | 0 | 87.478 | 23.5 | 86.5 | 5.57
503 | 23/04/2016 | 10:00:00 a.m. | 270260 | 213289 | 6.9881 | 0 | 87.396 | 22.5 | 88.4 | 5.57
502 | 23/04/2016 | 9:00:00 a.m. | 270178 | 213278 | 7.0525 | 0 | 88.318 | 18.6 | 97 | 5.56
501 | 23/04/2016 | 8:00:00 a.m. | 270114 | 213269 | 7.4677 | 0 | 90.882 | 12.5 | 0 | 5.56
500 | 23/04/2016 | 7:00:00 a.m. | 270114 | 213269 | 7.5028 | 0 | 90.802 | 12.4 | 0 | 5.56
499 | 23/04/2016 | 6:00:00 a.m. | 270114 | 213269 | 7.4827 | 0 | 90.723 | 12.9 | 0 | 5.55
498 | 23/04/2016 | 5:00:00 a.m. | 270114 | 213269 | 7.4368 | 0 | 90.976 | 13.4 | 0 | 5.55
497 | 23/04/2016 | 4:00:00 a.m. | 270114 | 213269 | 7.4715 | 0 | 90.971 | 14.1 | 0 | 5.56
496 | 23/04/2016 | 3:00:00 a.m. | 270114 | 213269 | 7.4304 | 0 | 90.861 | 14.9 | 0 | 5.56
495 | 23/04/2016 | 2:00:00 a.m. | 270114 | 213269 | 7.4113 | 0 | 90.971 | 15.6 | 0 | 5.56
494 | 23/04/2016 | 1:00:00 a.m. | 270114 | 213269 | 7.4229 | 0 | 90.903 | 16.1 | 0 | 5.57
493 | 23/04/2016 | 12:00:00 a.m. | 270114 | 213269 | 7.4037 | 0 | 91.036 | 16.2 | 0 | 5.57
492 | 22/04/2016 | 11:00:00 p.m. | 270114 | 213269 | 7.4158 | 0 | 90.968 | 16.6 | 0 | 5.57
491 | 22/04/2016 | 10:00:00 p.m. | 270114 | 213269 | 7.3748 | 0 | 90.906 | 17.7 | 0 | 5.57
490 | 22/04/2016 | 9:00:00 p.m. | 270114 | 213269 | 7.3397 | 0 | 91.002 | 19.3 | 0 | 5.57
489 | 22/04/2016 | 8:00:00 p.m. | 270114 | 213269 | 7.2864 | 0 | 90.925 | 21.7 | 0 | 5.6
488 | 22/04/2016 | 7:00:00 p.m. | 270114 | 213269 | 7.2446 | 0 | 90.573 | 23.6 | 0 | 5.59
487 | 22/04/2016 | 6:00:00 p.m. | 270114 | 213269 | 7.1973 | 0 | 90.545 | 23.8 | 0 | 5.58
486 | 22/04/2016 | 5:00:00 p.m. | 270114 | 213269 | 7.2432 | 0 | 90.582 | 23.3 | 0 | 5.59
485 | 22/04/2016 | 4:00:00 p.m. | 270114 | 213269 | 7.0228 | 0 | 90.416 | 31 | 0.7 | 5.59
484 | 22/04/2016 | 3:00:00 p.m. | 270114 | 213269 | 6.9646 | 0 | 90.214 | 29.7 | 84.7 | 5.59
483 | 22/04/2016 | 2:00:00 p.m. | 270109 | 213268 | 6.9512 | 0 | 87.736 | 25.4 | 88.2 | 5.58
482 | 22/04/2016 | 1:00:00 p.m. | 270037 | 213258 | 6.9174 | 0 | 87.434 | 25.4 | 92.3 | 5.58
481 | 22/04/2016 | 12:00:00 p.m. | 269963 | 213247 | 7.0669 | 0 | 90.642 | 26.4 | 0 | 5.59
480 | 22/04/2016 | 11:00:00 a.m. | 269963 | 213247 | 7.1584 | 0 | 88.785 | 23.8 | 80.4 | 5.59
479 | 22/04/2016 | 10:00:00 a.m. | 269916 | 213240 | 6.9989 | 0 | 86.937 | 21.9 | 94.9 | 5.57
478 | 22/04/2016 | 9:00:00 a.m. | 269832 | 213228 | 7.0333 | 0 | 90.636 | 12.2 | 96.7 | 5.57
477 | 22/04/2016 | 8:00:00 a.m. | 269830 | 213228 | 7.5583 | 0 | 90.803 | 11.3 | 0 | 5.56
476 | 22/04/2016 | 7:00:00 a.m. | 269830 | 213228 | 7.5148 | 0 | 90.996 | 12.2 | 0 | 5.58
475 | 22/04/2016 | 6:00:00 a.m. | 269830 | 213228 | 7.4537 | 0 | 90.646 | 13.7 | 0 | 5.57
474 | 22/04/2016 | 5:00:00 a.m. | 269830 | 213228 | 7.4511 | 0 | 90.808 | 15 | 0 | 5.57
473 | 22/04/2016 | 4:00:00 a.m. | 269830 | 213228 | 7.3986 | 0 | 90.821 | 15.5 | 0 | 5.55
472 | 22/04/2016 | 3:00:00 a.m. | 269830 | 213228 | 7.4231 | 0 | 90.793 | 15.4 | 0 | 5.57
471 | 22/04/2016 | 2:00:00 a.m. | 269830 | 213228 | 7.3921 | 0 | 90.784 | 16.3 | 0 | 5.57
470 | 22/04/2016 | 1:00:00 a.m. | 269830 | 213228 | 7.4113 | 0 | 91.108 | 16 | 0 | 5.57
469 | 22/04/2016 | 12:00:00 a.m. | 269830 | 213228 | 7.4257 | 0 | 91.074 | 15.8 | 0 | 5.57
468 | 21/04/2016 | 11:00:00 p.m. | 269830 | 213228 | 7.396 | 0 | 91.19 | 17.5 | 0 | 5.56
467 | 21/04/2016 | 10:00:00 p.m. | 269830 | 213228 | 7.3424 | 0 | 91.097 | 19.8 | 0 | 5.57
466 | 21/04/2016 | 9:00:00 p.m. | 269830 | 213228 | 7.2566 | 0 | 90.973 | 22.2 | 0 | 5.57
465 | 21/04/2016 | 8:00:00 p.m. | 269830 | 213228 | 7.187 | 0 | 90.747 | 25.3 | 0 | 5.59
464 | 21/04/2016 | 7:00:00 p.m. | 269830 | 213228 | 7.1156 | 0 | 90.76 | 28 | 0 | 5.59
463 | 21/04/2016 | 6:00:00 p.m. | 269830 | 213228 | 7.0482 | 0 | 90.603 | 30.7 | 1.5 | 5.6
462 | 21/04/2016 | 5:00:00 p.m. | 269830 | 213228 | 7.0181 | 0 | 88.476 | 27.4 | 90.4 | 5.59
461 | 21/04/2016 | 4:00:00 p.m. | 269784 | 213221 | 6.8893 | 0 | 88.141 | 25.8 | 89.1 | 5.58
460 | 21/04/2016 | 3:00:00 p.m. | 269719 | 213212 | 6.9971 | 0 | 88.565 | 25.7 | 74.7 | 5.58
459 | 21/04/2016 | 2:00:00 p.m. | 269654 | 213202 | 7.0342 | 0 | 88.053 | 25.5 | 83.1 | 5.58
458 | 21/04/2016 | 1:00:00 p.m. | 269581 | 213192 | 6.9089 | 0 | 88.48 | 25.8 | 87.9 | 5.59
457 | 21/04/2016 | 12:00:00 p.m. | 269511 | 213182 | 6.8847 | 0 | 88.107 | 25.7 | 87.8 | 5.6
456 | 21/04/2016 | 11:00:00 a.m. | 269437 | 213171 | 7.0614 | 0 | 88.039 | 24.4 | 88.7 | 5.59
455 | 21/04/2016 | 10:00:00 a.m. | 269364 | 213161 | 6.9175 | 0 | 88.14 | 22 | 93.3 | 5.57
454 | 21/04/2016 | 9:00:00 a.m. | 269293 | 213151 | 6.9397 | 0 | 89.787 | 11.7 | 97.5 | 5.55
453 | 21/04/2016 | 8:00:00 a.m. | 269266 | 213147 | 7.613 | 0 | 91.148 | 8.4 | 0 | 5.55
452 | 21/04/2016 | 7:00:00 a.m. | 269266 | 213147 | 7.6433 | 0 | 91.278 | 9.1 | 0 | 5.56
451 | 21/04/2016 | 6:00:00 a.m. | 269266 | 213147 | 7.6102 | 0 | 91.214 | 10.1 | 0 | 5.57
450 | 21/04/2016 | 5:00:00 a.m. | 269266 | 213147 | 7.5673 | 0 | 91.164 | 11.2 | 0 | 5.57
449 | 21/04/2016 | 4:00:00 a.m. | 269266 | 213147 | 7.5929 | 0 | 91.496 | 12.4 | 0 | 5.56
448 | 21/04/2016 | 3:00:00 a.m. | 269266 | 213147 | 7.5711 | 0 | 91.609 | 13.2 | 0 | 5.56
447 | 21/04/2016 | 2:00:00 a.m. | 269266 | 213147 | 7.5244 | 0 | 91.546 | 14.1 | 0 | 5.56
446 | 21/04/2016 | 1:00:00 a.m. | 269266 | 213147 | 7.4665 | 0 | 91.437 | 14.7 | 0 | 5.57
445 | 21/04/2016 | 12:00:00 a.m. | 269266 | 213147 | 7.4783 | 0 | 91.707 | 15 | 0 | 5.57
444 | 20/04/2016 | 11:00:00 p.m. | 269266 | 213147 | 7.4598 | 0 | 91.628 | 15.9 | 0 | 5.59
443 | 20/04/2016 | 10:00:00 p.m. | 269266 | 213147 | 7.4479 | 0 | 91.517 | 17.5 | 0 | 5.57
442 | 20/04/2016 | 9:00:00 p.m. | 269266 | 213147 | 7.3689 | 0 | 91.518 | 20.3 | 0 | 5.57
441 | 20/04/2016 | 8:00:00 p.m. | 269266 | 213147 | 7.25 | 0 | 90.803 | 22.5 | 0 | 5.58
440 | 20/04/2016 | 7:00:00 p.m. | 269266 | 213147 | 7.2306 | 0 | 90.82 | 23.5 | 0 | 5.58
439 | 20/04/2016 | 6:00:00 p.m. | 269266 | 213147 | 7.2021 | 0 | 90.826 | 23.9 | 1.4 | 5.57
438 | 20/04/2016 | 5:00:00 p.m. | 269266 | 213147 | 7.1684 | 0 | 89.438 | 22.7 | 92.3 | 5.58
437 | 20/04/2016 | 4:00:00 p.m. | 269229 | 213142 | 7.0893 | 0 | 86.866 | 23.7 | 92.1 | 5.58
436 | 20/04/2016 | 3:00:00 p.m. | 269141 | 213129 | 6.9112 | 0 | 86.516 | 24.7 | 91.2 | 5.59
435 | 20/04/2016 | 2:00:00 p.m. | 269051 | 213116 | 6.8554 | 0 | 86.262 | 23.6 | 92 | 5.58
434 | 20/04/2016 | 1:00:00 p.m. | 268960 | 213102 | 6.906 | 0 | 86.827 | 24.1 | 91.4 | 5.59
433 | 20/04/2016 | 12:00:00 p.m. | 268873 | 213090 | 6.8968 | 0 | 86.873 | 25.1 | 88.4 | 5.59
432 | 20/04/2016 | 11:00:00 a.m. | 268790 | 213078 | 6.8705 | 0 | 86.539 | 24.7 | 90.7 | 5.58
431 | 20/04/2016 | 10:00:00 a.m. | 268702 | 213065 | 6.8993 | 0 | 87.126 | 23 | 91.1 | 5.58
430 | 20/04/2016 | 9:00:00 a.m. | 268622 | 213053 | 7.0576 | 0 | 88.84 | 16 | 97.5 | 5.57
429 | 20/04/2016 | 8:00:00 a.m. | 268578 | 213047 | 7.5409 | 0 | 90.873 | 10.5 | 0 | 5.56
428 | 20/04/2016 | 7:00:00 a.m. | 268578 | 213047 | 7.5773 | 0 | 91.195 | 10.8 | 0 | 5.55
427 | 20/04/2016 | 6:00:00 a.m. | 268578 | 213047 | 7.5584 | 0 | 91.084 | 11 | 0 | 5.56
426 | 20/04/2016 | 5:00:00 a.m. | 268578 | 213047 | 7.5129 | 0 | 91.051 | 11.4 | 0 | 5.55
425 | 20/04/2016 | 4:00:00 a.m. | 268578 | 213047 | 7.5593 | 0 | 91.101 | 11.8 | 0 | 5.56
424 | 20/04/2016 | 3:00:00 a.m. | 268578 | 213047 | 7.4878 | 0 | 91.095 | 11.9 | 0 | 5.56
423 | 20/04/2016 | 2:00:00 a.m. | 268578 | 213047 | 7.5621 | 0 | 91.092 | 11.9 | 0 | 5.56
422 | 20/04/2016 | 1:00:00 a.m. | 268578 | 213047 | 7.4945 | 0 | 91.108 | 12.6 | 0 | 5.56
421 | 20/04/2016 | 12:00:00 a.m. | 268578 | 213047 | 7.4987 | 0 | 91.083 | 13.3 | 0 | 5.57
420 | 19/04/2016 | 11:00:00 p.m. | 268578 | 213047 | 7.4822 | 0 | 91.157 | 14.3 | 0 | 5.57
419 | 19/04/2016 | 10:00:00 p.m. | 268578 | 213047 | 7.4367 | 0 | 91.037 | 15.6 | 0 | 5.56
418 | 19/04/2016 | 9:00:00 p.m. | 268578 | 213047 | 7.419 | 0 | 91.07 | 16.8 | 0 | 5.57
417 | 19/04/2016 | 8:00:00 p.m. | 268578 | 213047 | 7.3623 | 0 | 90.867 | 17.4 | 0 | 5.57
416 | 19/04/2016 | 7:00:00 p.m. | 268578 | 213047 | 7.379 | 0 | 91.107 | 16.4 | 0 | 5.58
415 | 19/04/2016 | 6:00:00 p.m. | 268578 | 213047 | 7.4453 | 0 | 91.342 | 17.2 | 1.5 | 5.58
414 | 19/04/2016 | 5:00:00 p.m. | 268578 | 213047 | 7.3969 | 0 | 90.007 | 21.8 | 70.1 | 5.57
413 | 19/04/2016 | 4:00:00 p.m. | 268546 | 213043 | 6.9842 | 0 | 88.038 | 26.4 | 87.4 | 5.59
412 | 19/04/2016 | 3:00:00 p.m. | 268474 | 213032 | 6.8775 | 0 | 87.837 | 27 | 85.5 | 5.59
411 | 19/04/2016 | 2:00:00 p.m. | 268400 | 213022 | 6.8813 | 0 | 87.884 | 27.1 | 85.2 | 5.59
410 | 19/04/2016 | 1:00:00 p.m. | 268327 | 213011 | 6.8466 | 0 | 87.542 | 26.7 | 88.8 | 5.6
409 | 19/04/2016 | 12:00:00 p.m. | 268250 | 213000 | 6.9166 | 0 | 87.351 | 26.3 | 90.9 | 5.59
408 | 19/04/2016 | 11:00:00 a.m. | 268170 | 212988 | 6.9847 | 0 | 89.046 | 25.2 | 52.3 | 5.59
407 | 19/04/2016 | 10:00:00 a.m. | 268119 | 212981 | 7.053 | 0 | 88.918 | 22.9 | 75.5 | 5.57
406 | 19/04/2016 | 9:00:00 a.m. | 268064 | 212973 | 7.0773 | 0 | 88.922 | 15 | 94.6 | 5.56
405 | 19/04/2016 | 8:00:00 a.m. | 268022 | 212967 | 7.534 | 0 | 90.871 | 10.5 | 0 | 5.56
404 | 19/04/2016 | 7:00:00 a.m. | 268022 | 212967 | 7.5579 | 0 | 91.068 | 11.3 | 0 | 5.56
403 | 19/04/2016 | 6:00:00 a.m. | 268022 | 212967 | 7.5215 | 0 | 91.011 | 11.9 | 0 | 5.57
402 | 19/04/2016 | 5:00:00 a.m. | 268022 | 212967 | 7.5471 | 0 | 91.107 | 12.5 | 0 | 5.56
401 | 19/04/2016 | 4:00:00 a.m. | 268022 | 212967 | 7.5245 | 0 | 91.042 | 13.3 | 0 | 5.56
400 | 19/04/2016 | 3:00:00 a.m. | 268022 | 212967 | 7.484 | 0 | 91.21 | 14.3 | 0 | 5.57
399 | 19/04/2016 | 2:00:00 a.m. | 268022 | 212967 | 7.4665 | 0 | 91.059 | 15.5 | 0 | 5.58
398 | 19/04/2016 | 1:00:00 a.m. | 268022 | 212967 | 7.3972 | 0 | 90.964 | 16.9 | 0 | 5.59
397 | 19/04/2016 | 12:00:00 a.m. | 268022 | 212967 | 7.3924 | 0 | 91.103 | 18.5 | 0 | 5.58
396 | 18/04/2016 | 11:00:00 p.m. | 268022 | 212967 | 7.3616 | 0 | 91.275 | 20.6 | 0 | 5.57
395 | 18/04/2016 | 10:00:00 p.m. | 268022 | 212967 | 7.2699 | 0 | 91.203 | 22.3 | 0 | 5.58
394 | 18/04/2016 | 9:00:00 p.m. | 268022 | 212967 | 7.2553 | 0 | 91.125 | 24.1 | 0 | 5.59
393 | 18/04/2016 | 8:00:00 p.m. | 268022 | 212967 | 7.1887 | 0 | 90.974 | 24.3 | 0 | 5.58
392 | 18/04/2016 | 7:00:00 p.m. | 268022 | 212967 | 7.1912 | 0 | 91.036 | 21.4 | 0 | 5.6
391 | 18/04/2016 | 6:00:00 p.m. | 268022 | 212967 | 7.2523 | 0 | 91.157 | 27.3 | 1.4 | 5.59
390 | 18/04/2016 | 5:00:00 p.m. | 268022 | 212967 | 7.0588 | 0 | 89.613 | 27.1 | 82.9 | 5.6
389 | 18/04/2016 | 4:00:00 p.m. | 267987 | 212962 | 6.876 | 0 | 87.799 | 27.1 | 83.5 | 5.6
388 | 18/04/2016 | 3:00:00 p.m. | 267911 | 212951 | 6.8592 | 0 | 87.908 | 28.2 | 82.1 | 5.6
387 | 18/04/2016 | 2:00:00 p.m. | 267837 | 212940 | 6.8436 | 0 | 88.059 | 28.6 | 81.1 | 5.6
386 | 18/04/2016 | 1:00:00 p.m. | 267768 | 212930 | 6.8748 | 0 | 87.779 | 27.6 | 90.5 | 5.61
385 | 18/04/2016 | 12:00:00 p.m. | 267694 | 212920 | 6.8693 | 0 | 87.609 | 26.7 | 92.3 | 5.6
384 | 18/04/2016 | 11:00:00 a.m. | 267621 | 212909 | 7.0056 | 0 | 87.587 | 25.1 | 94 | 5.59
383 | 18/04/2016 | 10:00:00 a.m. | 267547 | 212898 | 6.8369 | 0 | 87.99 | 22.1 | 98.3 | 5.58
382 | 18/04/2016 | 9:00:00 a.m. | 267491 | 212890 | 6.9629 | 0 | 90.125 | 13.2 | 97.8 | 5.58
381 | 18/04/2016 | 8:00:00 a.m. | 267474 | 212888 | 7.5913 | 0 | 91.243 | 11.1 | 0 | 5.58
380 | 18/04/2016 | 7:00:00 a.m. | 267474 | 212888 | 7.5638 | 0 | 91.385 | 12.2 | 0 | 5.56
379 | 18/04/2016 | 6:00:00 a.m. | 267474 | 212888 | 7.5286 | 0 | 91.456 | 13.4 | 0 | 5.57
378 | 18/04/2016 | 5:00:00 a.m. | 267474 | 212888 | 7.5192 | 0 | 91.27 | 14 | 0 | 5.59
377 | 18/04/2016 | 4:00:00 a.m. | 267474 | 212888 | 7.4768 | 0 | 91.147 | 14.4 | 0 | 5.59
376 | 18/04/2016 | 3:00:00 a.m. | 267474 | 212888 | 7.4503 | 0 | 91.11 | 15 | 0 | 5.57
375 | 18/04/2016 | 2:00:00 a.m. | 267474 | 212888 | 7.4298 | 0 | 91.057 | 16.5 | 0 | 5.57
374 | 18/04/2016 | 1:00:00 a.m. | 267474 | 212888 | 7.41 | 0 | 91.251 | 18.2 | 0 | 5.58
373 | 18/04/2016 | 12:00:00 a.m. | 267474 | 212888 | 7.346 | 0 | 91.873 | 20.1 | 0 | 5.58
372 | 17/04/2016 | 11:00:00 p.m. | 267474 | 212888 | 7.3154 | 0 | 91.922 | 22.1 | 0 | 5.59
371 | 17/04/2016 | 10:00:00 p.m. | 267474 | 212888 | 7.3079 | 0 | 91.642 | 23.1 | 0 | 5.59
370 | 17/04/2016 | 9:00:00 p.m. | 267474 | 212888 | 7.2876 | 0 | 91.768 | 24.2 | 0 | 5.58
369 | 17/04/2016 | 8:00:00 p.m. | 267474 | 212888 | 7.2302 | 0 | 91.548 | 26 | 0 | 5.59
368 | 17/04/2016 | 7:00:00 p.m. | 267474 | 212888 | 7.1474 | 0 | 91.849 | 28.4 | 0 | 5.6
367 | 17/04/2016 | 6:00:00 p.m. | 267474 | 212888 | 7.1354 | 0 | 91.652 | 31.9 | 0 | 5.6
366 | 17/04/2016 | 5:00:00 p.m. | 267474 | 212888 | 7.0116 | 0 | 91.489 | 34.9 | 0 | 5.6
365 | 17/04/2016 | 4:00:00 p.m. | 267474 | 212888 | 6.9228 | 0 | 91.502 | 37.6 | 0 | 5.62
364 | 17/04/2016 | 3:00:00 p.m. | 267474 | 212888 | 6.8302 | 0 | 91.651 | 42.8 | 0 | 5.61
363 | 17/04/2016 | 2:00:00 p.m. | 267474 | 212888 | 6.7887 | 0 | 91.672 | 41.9 | 0 | 5.6
362 | 17/04/2016 | 1:00:00 p.m. | 267474 | 212888 | 6.8636 | 0 | 91.71 | 38.5 | 0 | 5.6
361 | 17/04/2016 | 12:00:00 p.m. | 267474 | 212888 | 6.9278 | 0 | 91.489 | 34.8 | 0 | 5.6
360 | 17/04/2016 | 11:00:00 a.m. | 267474 | 212888 | 7.0182 | 0 | 91.463 | 26.8 | 0 | 5.59
359 | 17/04/2016 | 10:00:00 a.m. | 267474 | 212888 | 7.2316 | 0 | 91.414 | 20 | 0 | 5.59
358 | 17/04/2016 | 9:00:00 a.m. | 267474 | 212888 | 7.52 | 0 | 92.071 | 12.4 | 0 | 5.57
357 | 17/04/2016 | 8:00:00 a.m. | 267474 | 212888 | 7.6069 | 0 | 91.776 | 11.5 | 0 | 5.57
356 | 17/04/2016 | 7:00:00 a.m. | 267474 | 212888 | 7.5566 | 0 | 91.726 | 13 | 0 | 5.57
355 | 17/04/2016 | 6:00:00 a.m. | 267474 | 212888 | 7.5372 | 0 | 91.613 | 13.7 | 0 | 5.57
354 | 17/04/2016 | 5:00:00 a.m. | 267474 | 212888 | 7.4984 | 0 | 91.526 | 14.1 | 0 | 5.58
353 | 17/04/2016 | 4:00:00 a.m. | 267474 | 212888 | 7.5077 | 0 | 91.351 | 14.4 | 0 | 5.57
352 | 17/04/2016 | 3:00:00 a.m. | 267474 | 212888 | 7.4734 | 0 | 91.101 | 14.5 | 0 | 5.57
351 | 17/04/2016 | 2:00:00 a.m. | 267474 | 212888 | 7.4017 | 0 | 91.271 | 15.4 | 0 | 5.58
350 | 17/04/2016 | 1:00:00 a.m. | 267474 | 212888 | 7.4563 | 0 | 91.595 | 16.2 | 0 | 5.58
349 | 17/04/2016 | 12:00:00 a.m. | 267474 | 212888 | 7.5519 | 0 | 91.636 | 17.7 | 0 | 5.58
348 | 16/04/2016 | 11:00:00 p.m. | 267474 | 212888 | 7.3797 | 0 | 91.054 | 19.3 | 0 | 5.57
347 | 16/04/2016 | 10:00:00 p.m. | 267474 | 212888 | 7.3285 | 0 | 90.948 | 21.5 | 0 | 5.59
346 | 16/04/2016 | 9:00:00 p.m. | 267474 | 212888 | 7.2262 | 0 | 90.834 | 23.7 | 0 | 5.59
345 | 16/04/2016 | 8:00:00 p.m. | 267474 | 212888 | 7.1618 | 0 | 91.045 | 26 | 0 | 5.59
344 | 16/04/2016 | 7:00:00 p.m. | 267474 | 212888 | 7.1025 | 0 | 90.8 | 28.6 | 0 | 5.6
343 | 16/04/2016 | 6:00:00 p.m. | 267474 | 212888 | 7.0523 | 0 | 90.722 | 31.5 | 0 | 5.61
342 | 16/04/2016 | 5:00:00 p.m. | 267474 | 212888 | 6.945 | 0 | 90.495 | 33.8 | 0 | 5.61
341 | 16/04/2016 | 4:00:00 p.m. | 267474 | 212888 | 6.9286 | 0 | 90.534 | 35.6 | 0.7 | 5.6
340 | 16/04/2016 | 3:00:00 p.m. | 267474 | 212888 | 6.8723 | 0 | 90.449 | 35.1 | 76.7 | 5.61
339 | 16/04/2016 | 2:00:00 p.m. | 267471 | 212887 | 6.8756 | 0 | 87.666 | 27.6 | 86.5 | 5.6
338 | 16/04/2016 | 1:00:00 p.m. | 267396 | 212876 | 6.8448 | 0 | 86.668 | 26 | 92.6 | 5.59
337 | 16/04/2016 | 12:00:00 p.m. | 267307 | 212863 | 6.8385 | 0 | 86.842 | 25.7 | 91.9 | 5.6
336 | 16/04/2016 | 11:00:00 a.m. | 267222 | 212851 | 6.978 | 0 | 86.797 | 25.2 | 91.9 | 5.59
335 | 16/04/2016 | 10:00:00 a.m. | 267135 | 212838 | 6.8855 | 0 | 87.374 | 23.1 | 93.1 | 5.58
334 | 16/04/2016 | 9:00:00 a.m. | 267055 | 212827 | 6.9608 | 0 | 89.759 | 14.5 | 97.2 | 5.57
333 | 16/04/2016 | 8:00:00 a.m. | 267035 | 212824 | 7.4967 | 0 | 90.713 | 11.9 | 0 | 5.55
332 | 16/04/2016 | 7:00:00 a.m. | 267035 | 212824 | 7.4903 | 0 | 90.674 | 12.1 | 0 | 5.56
331 | 16/04/2016 | 6:00:00 a.m. | 267035 | 212824 | 7.4773 | 0 | 90.756 | 12.1 | 0 | 5.57
330 | 16/04/2016 | 5:00:00 a.m. | 267035 | 212824 | 7.451 | 0 | 90.785 | 12.8 | 0 | 5.57
329 | 16/04/2016 | 4:00:00 a.m. | 267035 | 212824 | 7.4861 | 0 | 90.906 | 13.7 | 0 | 5.57
328 | 16/04/2016 | 3:00:00 a.m. | 267035 | 212824 | 7.4224 | 0 | 90.583 | 14.8 | 0 | 5.57
327 | 16/04/2016 | 2:00:00 a.m. | 267035 | 212824 | 7.4212 | 0 | 91.055 | 15.9 | 0 | 5.57
326 | 16/04/2016 | 1:00:00 a.m. | 267035 | 212824 | 7.4282 | 0 | 91.155 | 17.1 | 0 | 5.57
325 | 16/04/2016 | 12:00:00 a.m. | 267035 | 212824 | 7.368 | 0 | 90.889 | 18.8 | 0 | 5.57
324 | 15/04/2016 | 11:00:00 p.m. | 267035 | 212824 | 7.3302 | 0 | 90.809 | 20.6 | 0 | 5.58
323 | 15/04/2016 | 10:00:00 p.m. | 267035 | 212824 | 7.2933 | 0 | 90.712 | 22.2 | 0 | 5.58
322 | 15/04/2016 | 9:00:00 p.m. | 267035 | 212824 | 7.2398 | 0 | 90.66 | 24 | 0 | 5.59
321 | 15/04/2016 | 8:00:00 p.m. | 267035 | 212824 | 7.1627 | 0 | 90.675 | 26.2 | 0 | 5.58
320 | 15/04/2016 | 7:00:00 p.m. | 267035 | 212824 | 7.0637 | 0 | 90.709 | 29.4 | 0 | 5.6
319 | 15/04/2016 | 6:00:00 p.m. | 267035 | 212824 | 6.9735 | 0 | 90.282 | 32.5 | 0 | 5.6
318 | 15/04/2016 | 5:00:00 p.m. | 267035 | 212824 | 6.9045 | 0 | 90.412 | 33.2 | 4.4 | 5.61
317 | 15/04/2016 | 4:00:00 p.m. | 267035 | 212824 | 6.9717 | 0 | 88.689 | 28.3 | 75.9 | 5.6
316 | 15/04/2016 | 3:00:00 p.m. | 266980 | 212816 | 6.9448 | 0 | 87.993 | 28.1 | 90.1 | 5.6
315 | 15/04/2016 | 2:00:00 p.m. | 266913 | 212806 | 6.9347 | 0 | 87.315 | 27.5 | 89.9 | 5.6
314 | 15/04/2016 | 1:00:00 p.m. | 266836 | 212795 | 6.8296 | 0 | 87.088 | 26.7 | 89.3 | 5.6
313 | 15/04/2016 | 12:00:00 p.m. | 266754 | 212783 | 6.8459 | 0 | 87.829 | 26.4 | 89.4 | 5.61
312 | 15/04/2016 | 11:00:00 a.m. | 266684 | 212773 | 6.8534 | 0 | 86.568 | 24.7 | 92.4 | 5.59
311 | 15/04/2016 | 10:00:00 a.m. | 266596 | 212760 | 6.9523 | 0 | 87.098 | 21.3 | 97.4 | 5.58
310 | 15/04/2016 | 9:00:00 a.m. | 266519 | 212749 | 7.4227 | 0 | 90.739 | 11.4 | 0 | 5.56
309 | 15/04/2016 | 8:00:00 a.m. | 266519 | 212749 | 7.544 | 0 | 90.915 | 9.6 | 0 | 5.56
308 | 15/04/2016 | 7:00:00 a.m. | 266519 | 212749 | 7.5817 | 0 | 91.011 | 9.8 | 0 | 5.56
307 | 15/04/2016 | 6:00:00 a.m. | 266519 | 212749 | 7.6331 | 0 | 90.962 | 10.3 | 0 | 5.57
306 | 15/04/2016 | 5:00:00 a.m. | 266519 | 212749 | 7.5869 | 0 | 90.929 | 10.8 | 0 | 5.57
305 | 15/04/2016 | 4:00:00 a.m. | 266519 | 212749 | 7.5594 | 0 | 90.955 | 11.6 | 0 | 5.56
304 | 15/04/2016 | 3:00:00 a.m. | 266519 | 212749 | 7.5083 | 0 | 90.871 | 13.1 | 0 | 5.57
303 | 15/04/2016 | 2:00:00 a.m. | 266519 | 212749 | 7.4504 | 0 | 90.867 | 14.7 | 0 | 5.57
302 | 15/04/2016 | 1:00:00 a.m. | 266519 | 212749 | 7.3946 | 0 | 90.664 | 16.5 | 0 | 5.58
301 | 15/04/2016 | 12:00:00 a.m. | 266519 | 212749 | 7.3338 | 0 | 90.849 | 18.2 | 0 | 5.57
300 | 14/04/2016 | 11:00:00 p.m. | 266519 | 212749 | 7.3768 | 0 | 91.127 | 20.4 | 0 | 5.59
299 | 14/04/2016 | 10:00:00 p.m. | 266519 | 212749 | 7.2983 | 0 | 91.023 | 22.5 | 0 | 5.6
298 | 14/04/2016 | 9:00:00 p.m. | 266519 | 212749 | 7.2165 | 0 | 91.152 | 24.6 | 0 | 5.59
297 | 14/04/2016 | 8:00:00 p.m. | 266519 | 212749 | 7.1988 | 0 | 91.037 | 27.5 | 0 | 5.6
296 | 14/04/2016 | 7:00:00 p.m. | 266519 | 212749 | 7.0423 | 0 | 90.759 | 31.5 | 0 | 5.6
295 | 14/04/2016 | 6:00:00 p.m. | 266519 | 212749 | 6.9323 | 0 | 90.603 | 34 | 0 | 5.62
294 | 14/04/2016 | 5:00:00 p.m. | 266519 | 212749 | 6.8702 | 0 | 90.521 | 36 | 1.6 | 5.61
293 | 14/04/2016 | 4:00:00 p.m. | 266519 | 212749 | 6.943 | 0 | 88.716 | 29.7 | 88.3 | 5.61
292 | 14/04/2016 | 3:00:00 p.m. | 266473 | 212742 | 6.8658 | 0 | 88.388 | 28.3 | 81.4 | 5.61
291 | 14/04/2016 | 2:00:00 p.m. | 266406 | 212733 | 6.8629 | 0 | 87.769 | 28.1 | 87.7 | 5.61
290 | 14/04/2016 | 1:00:00 p.m. | 266336 | 212723 | 6.844 | 0 | 87.313 | 26.9 | 88.3 | 5.6
289 | 14/04/2016 | 12:00:00 p.m. | 266259 | 212711 | 6.8521 | 0 | 86.703 | 26.1 | 90.9 | 5.6
288 | 14/04/2016 | 11:00:00 a.m. | 266174 | 212699 | 6.8319 | 0 | 86.43 | 24.4 | 93.5 | 5.59
287 | 14/04/2016 | 10:00:00 a.m. | 266082 | 212686 | 6.9017 | 0 | 86.47 | 21.8 | 96.7 | 5.57
286 | 14/04/2016 | 9:00:00 a.m. | 265990 | 212672 | 7.0954 | 0 | 90.801 | 9.4 | 96.8 | 5.57
285 | 14/04/2016 | 8:00:00 a.m. | 265988 | 212672 | 7.6377 | 0 | 90.975 | 7.8 | 0 | 5.56
284 | 14/04/2016 | 7:00:00 a.m. | 265988 | 212672 | 7.6436 | 0 | 91.184 | 8.9 | 0 | 5.58
283 | 14/04/2016 | 6:00:00 a.m. | 265988 | 212672 | 7.6125 | 0 | 90.991 | 10.1 | 0 | 5.57
282 | 14/04/2016 | 5:00:00 a.m. | 265988 | 212672 | 7.5625 | 0 | 91.084 | 11.4 | 0 | 5.57
281 | 14/04/2016 | 4:00:00 a.m. | 265988 | 212672 | 7.5225 | 0 | 90.889 | 12.9 | 0 | 5.58
280 | 14/04/2016 | 3:00:00 a.m. | 265988 | 212672 | 7.4464 | 0 | 90.864 | 14.3 | 0 | 5.58
279 | 14/04/2016 | 2:00:00 a.m. | 265988 | 212672 | 7.4162 | 0 | 90.838 | 15.4 | 0 | 5.57
278 | 14/04/2016 | 1:00:00 a.m. | 265988 | 212672 | 7.3454 | 0 | 90.984 | 16.9 | 0 | 5.57
277 | 14/04/2016 | 12:00:00 a.m. | 265988 | 212672 | 7.3293 | 0 | 90.924 | 18.8 | 0 | 5.58
276 | 13/04/2016 | 11:00:00 p.m. | 265988 | 212672 | 7.2831 | 0 | 91.207 | 21.3 | 0 | 5.58
275 | 13/04/2016 | 10:00:00 p.m. | 265988 | 212672 | 7.238 | 0 | 90.957 | 23.9 | 0 | 5.58
274 | 13/04/2016 | 9:00:00 p.m. | 265988 | 212672 | 7.1553 | 0 | 90.885 | 26 | 0 | 5.6
273 | 13/04/2016 | 8:00:00 p.m. | 265988 | 212672 | 7.0868 | 0 | 90.827 | 29.2 | 0 | 5.6
272 | 13/04/2016 | 7:00:00 p.m. | 265988 | 212672 | 6.9883 | 0 | 90.631 | 33.5 | 0 | 5.62
271 | 13/04/2016 | 6:00:00 p.m. | 265988 | 212672 | 6.9319 | 0 | 90.588 | 35 | 1.6 | 5.62
270 | 13/04/2016 | 5:00:00 p.m. | 265988 | 212672 | 6.9369 | 0 | 88.772 | 29.8 | 89.7 | 5.62
269 | 13/04/2016 | 4:00:00 p.m. | 265946 | 212666 | 6.9545 | 0 | 87.953 | 28.4 | 79.4 | 5.61
268 | 13/04/2016 | 3:00:00 p.m. | 265880 | 212656 | 6.8283 | 0 | 87.934 | 28.4 | 84.5 | 5.61
267 | 13/04/2016 | 2:00:00 p.m. | 265808 | 212646 | 6.8711 | 0 | 87.999 | 28.1 | 77.6 | 5.6
266 | 13/04/2016 | 1:00:00 p.m. | 265738 | 212636 | 6.8455 | 0 | 88.172 | 27.9 | 82.1 | 5.6
265 | 13/04/2016 | 12:00:00 p.m. | 265672 | 212626 | 6.9602 | 0 | 87.551 | 26.4 | 87.4 | 5.61
264 | 13/04/2016 | 11:00:00 a.m. | 265594 | 212615 | 6.8859 | 0 | 88.17 | 25 | 89.9 | 5.59
263 | 13/04/2016 | 10:00:00 a.m. | 265514 | 212603 | 6.9224 | 0 | 87.318 | 22.8 | 90.5 | 5.58
262 | 13/04/2016 | 9:00:00 a.m. | 265427 | 212591 | 7.0301 | 0 | 89.744 | 13.7 | 97.2 | 5.56
261 | 13/04/2016 | 8:00:00 a.m. | 265390 | 212585 | 7.611 | 0 | 91.629 | 9.7 | 0 | 5.56
260 | 13/04/2016 | 7:00:00 a.m. | 265390 | 212585 | 7.6167 | 0 | 91.961 | 10.8 | 0 | 5.57
259 | 13/04/2016 | 6:00:00 a.m. | 265390 | 212585 | 7.5854 | 0 | 91.763 | 12.3 | 0 | 5.57
258 | 13/04/2016 | 5:00:00 a.m. | 265390 | 212585 | 7.5596 | 0 | 91.662 | 13.8 | 0 | 5.57
257 | 13/04/2016 | 4:00:00 a.m. | 265390 | 212585 | 7.5006 | 0 | 91.163 | 15.4 | 0 | 5.57
256 | 13/04/2016 | 3:00:00 a.m. | 265390 | 212585 | 7.4118 | 0 | 91.27 | 16.9 | 0 | 5.58
255 | 13/04/2016 | 2:00:00 a.m. | 265390 | 212585 | 7.4297 | 0 | 91.798 | 18.2 | 0 | 5.59
254 | 13/04/2016 | 1:00:00 a.m. | 265390 | 212585 | 7.4003 | 0 | 91.925 | 19.7 | 0 | 5.58
253 | 13/04/2016 | 12:00:00 a.m. | 265390 | 212585 | 7.406 | 0 | 91.211 | 21.2 | 0 | 5.58
252 | 12/04/2016 | 11:00:00 p.m. | 265390 | 212585 | 7.2458 | 0 | 90.964 | 22.4 | 0 | 5.59
251 | 12/04/2016 | 10:00:00 p.m. | 265390 | 212585 | 7.2303 | 0 | 90.83 | 23.9 | 0 | 5.58
250 | 12/04/2016 | 9:00:00 p.m. | 265390 | 212585 | 7.1997 | 0 | 90.903 | 25.9 | 0 | 5.59
249 | 12/04/2016 | 8:00:00 p.m. | 265390 | 212585 | 7.106 | 0 | 90.679 | 28.9 | 0 | 5.61
248 | 12/04/2016 | 7:00:00 p.m. | 265390 | 212585 | 7.0265 | 0 | 90.656 | 32.1 | 0 | 5.6
247 | 12/04/2016 | 6:00:00 p.m. | 265390 | 212585 | 6.9252 | 0 | 90.635 | 34.7 | 1.4 | 5.61
246 | 12/04/2016 | 5:00:00 p.m. | 265390 | 212585 | 6.8994 | 0 | 88.79 | 29.5 | 88.7 | 5.62
245 | 12/04/2016 | 4:00:00 p.m. | 265345 | 212579 | 6.8726 | 0 | 87.744 | 27.8 | 89.1 | 5.62
244 | 12/04/2016 | 3:00:00 p.m. | 265271 | 212568 | 6.9023 | 0 | 87.662 | 28 | 89.2 | 5.61
243 | 12/04/2016 | 2:00:00 p.m. | 265197 | 212557 | 6.8574 | 0 | 86.727 | 26.9 | 92.6 | 5.61
242 | 12/04/2016 | 1:00:00 p.m. | 265111 | 212545 | 6.8224 | 0 | 86.461 | 26.5 | 92 | 5.61
241 | 12/04/2016 | 12:00:00 p.m. | 265022 | 212532 | 6.8586 | 0 | 87.084 | 25.9 | 89.9 | 5.6
240 | 12/04/2016 | 11:00:00 a.m. | 264941 | 212520 | 6.8621 | 0 | 86.352 | 24.5 | 92.9 | 5.59
239 | 12/04/2016 | 10:00:00 a.m. | 264851 | 212507 | 6.9074 | 0 | 87.911 | 22.5 | 91.3 | 5.58
238 | 12/04/2016 | 9:00:00 a.m. | 264776 | 212496 | 7.1309 | 0 | 89.072 | 15.6 | 94.6 | 5.57
237 | 12/04/2016 | 8:00:00 a.m. | 264728 | 212489 | 7.5714 | 0 | 91.089 | 10.3 | 0 | 5.57
236 | 12/04/2016 | 7:00:00 a.m. | 264728 | 212489 | 7.5748 | 0 | 91.227 | 11.2 | 0 | 5.58
235 | 12/04/2016 | 6:00:00 a.m. | 264728 | 212489 | 7.5752 | 0 | 91.106 | 11.9 | 0 | 5.58
234 | 12/04/2016 | 5:00:00 a.m. | 264728 | 212489 | 7.4817 | 0 | 91.121 | 13.2 | 0 | 5.56
233 | 12/04/2016 | 4:00:00 a.m. | 264728 | 212489 | 7.4901 | 0 | 91.042 | 14.8 | 0 | 5.58
232 | 12/04/2016 | 3:00:00 a.m. | 264728 | 212489 | 7.4216 | 0 | 90.826 | 16.2 | 0 | 5.58
231 | 12/04/2016 | 2:00:00 a.m. | 264728 | 212489 | 7.3661 | 0 | 90.533 | 17.3 | 0 | 5.58
230 | 12/04/2016 | 1:00:00 a.m. | 264728 | 212489 | 7.3036 | 0 | 90.343 | 18.8 | 0 | 5.58
229 | 12/04/2016 | 12:00:00 a.m. | 264728 | 212489 | 7.2955 | 0 | 90.391 | 20 | 0 | 5.59
228 | 11/04/2016 | 11:00:00 p.m. | 264728 | 212489 | 7.2539 | 0 | 90.37 | 21.4 | 0 | 5.6
227 | 11/04/2016 | 10:00:00 p.m. | 264728 | 212489 | 7.2478 | 0 | 90.454 | 23.2 | 0 | 5.59
226 | 11/04/2016 | 9:00:00 p.m. | 264728 | 212489 | 7.1628 | 0 | 90.272 | 25.4 | 0 | 5.6
225 | 11/04/2016 | 8:00:00 p.m. | 264728 | 212489 | 7.1116 | 0 | 90.387 | 28.6 | 0 | 5.59
224 | 11/04/2016 | 7:00:00 p.m. | 264728 | 212489 | 6.9823 | 0 | 90.209 | 32.8 | 0 | 5.61
223 | 11/04/2016 | 6:00:00 p.m. | 264728 | 212489 | 6.8942 | 0 | 89.982 | 34.8 | 1.5 | 5.63
222 | 11/04/2016 | 5:00:00 p.m. | 264728 | 212489 | 6.8581 | 0 | 88.22 | 29.3 | 88.9 | 5.61
221 | 11/04/2016 | 4:00:00 p.m. | 264685 | 212483 | 6.7863 | 0 | 87.56 | 28 | 89.9 | 5.61
220 | 11/04/2016 | 3:00:00 p.m. | 264619 | 212473 | 6.8262 | 0 | 87.332 | 27.9 | 82.4 | 5.61
219 | 11/04/2016 | 2:00:00 p.m. | 264548 | 212463 | 6.832 | 0 | 86.496 | 27.4 | 90.3 | 5.61
218 | 11/04/2016 | 1:00:00 p.m. | 264467 | 212451 | 6.8108 | 0 | 87.151 | 27.2 | 86.1 | 5.6
217 | 11/04/2016 | 12:00:00 p.m. | 264395 | 212441 | 6.943 | 0 | 86.384 | 26.1 | 91.3 | 5.6
216 | 11/04/2016 | 11:00:00 a.m. | 264313 | 212429 | 6.9408 | 0 | 87.065 | 24.6 | 93.6 | 5.59
215 | 11/04/2016 | 10:00:00 a.m. | 264240 | 212418 | 6.8427 | 0 | 89.468 | 18.8 | 97.3 | 5.58
214 | 11/04/2016 | 9:00:00 a.m. | 264225 | 212416 | 7.41 | 0 | 90.419 | 11.4 | 0 | 5.58
213 | 11/04/2016 | 8:00:00 a.m. | 264225 | 212416 | 7.5591 | 0 | 90.273 | 9.4 | 0 | 5.57
212 | 11/04/2016 | 7:00:00 a.m. | 264225 | 212416 | 7.5214 | 0 | 90.555 | 10.1 | 0 | 5.57
211 | 11/04/2016 | 6:00:00 a.m. | 264225 | 212416 | 7.5372 | 0 | 90.663 | 11 | 0 | 5.56
210 | 11/04/2016 | 5:00:00 a.m. | 264225 | 212416 | 7.505 | 0 | 90.715 | 12.1 | 0 | 5.57
209 | 11/04/2016 | 4:00:00 a.m. | 264225 | 212416 | 7.5399 | 0 | 90.755 | 13.4 | 0 | 5.57
208 | 11/04/2016 | 3:00:00 a.m. | 264225 | 212416 | 7.4958 | 0 | 90.757 | 14.7 | 0 | 5.57
207 | 11/04/2016 | 2:00:00 a.m. | 264225 | 212416 | 7.4088 | 0 | 90.923 | 16.2 | 0 | 5.57
206 | 11/04/2016 | 1:00:00 a.m. | 264225 | 212416 | 7.4333 | 0 | 91.199 | 18.2 | 0 | 5.57
205 | 11/04/2016 | 12:00:00 a.m. | 264225 | 212416 | 7.3187 | 0 | 90.702 | 20.4 | 0 | 5.6
204 | 10/04/2016 | 11:00:00 p.m. | 264225 | 212416 | 7.2506 | 0 | 90.723 | 22.4 | 0 | 5.59
203 | 10/04/2016 | 10:00:00 p.m. | 264225 | 212416 | 7.1892 | 0 | 90.86 | 23.8 | 0 | 5.58
202 | 10/04/2016 | 9:00:00 p.m. | 264225 | 212416 | 7.1811 | 0 | 90.852 | 25.4 | 0 | 5.59
201 | 10/04/2016 | 8:00:00 p.m. | 264225 | 212416 | 7.1018 | 0 | 90.5 | 28.2 | 0 | 5.59
200 | 10/04/2016 | 7:00:00 p.m. | 264225 | 212416 | 7.0018 | 0 | 90.762 | 32.4 | 0 | 5.6
199 | 10/04/2016 | 6:00:00 p.m. | 264225 | 212416 | 6.9212 | 0 | 90.697 | 35.3 | 0 | 5.61
198 | 10/04/2016 | 5:00:00 p.m. | 264225 | 212416 | 6.8832 | 0 | 90.88 | 35.8 | 0 | 5.61
197 | 10/04/2016 | 4:00:00 p.m. | 264225 | 212416 | 6.8881 | 0 | 90.925 | 38.7 | 0 | 5.62
196 | 10/04/2016 | 3:00:00 p.m. | 264225 | 212416 | 6.826 | 0 | 90.859 | 41.5 | 0 | 5.61
195 | 10/04/2016 | 2:00:00 p.m. | 264225 | 212416 | 6.7383 | 0 | 90.969 | 41.4 | 0 | 5.6
194 | 10/04/2016 | 1:00:00 p.m. | 264225 | 212416 | 6.7935 | 0 | 90.939 | 38.8 | 0 | 5.61
193 | 10/04/2016 | 12:00:00 p.m. | 264225 | 212416 | 6.8774 | 0 | 90.795 | 34.5 | 0 | 5.6
192 | 10/04/2016 | 11:00:00 a.m. | 264225 | 212416 | 7.0138 | 0 | 90.929 | 27.1 | 0 | 5.6
191 | 10/04/2016 | 10:00:00 a.m. | 264225 | 212416 | 7.2271 | 0 | 90.921 | 18.3 | 0 | 5.6
190 | 10/04/2016 | 9:00:00 a.m. | 264225 | 212416 | 7.4419 | 0 | 91.118 | 12 | 0 | 5.58
189 | 10/04/2016 | 8:00:00 a.m. | 264225 | 212416 | 7.5403 | 0 | 91.535 | 11.4 | 0 | 5.56
188 | 10/04/2016 | 7:00:00 a.m. | 264225 | 212416 | 7.6005 | 0 | 91.655 | 12.2 | 0 | 5.57
187 | 10/04/2016 | 6:00:00 a.m. | 264225 | 212416 | 7.5411 | 0 | 91.292 | 12.8 | 0 | 5.58
186 | 10/04/2016 | 5:00:00 a.m. | 264225 | 212416 | 7.5001 | 0 | 91.169 | 12.8 | 0 | 5.58
185 | 10/04/2016 | 4:00:00 a.m. | 264225 | 212416 | 7.5138 | 0 | 91.296 | 13 | 0 | 5.58
184 | 10/04/2016 | 3:00:00 a.m. | 264225 | 212416 | 7.5771 | 0 | 91.39 | 13.8 | 0 | 5.58
183 | 10/04/2016 | 2:00:00 a.m. | 264225 | 212416 | 7.4892 | 0 | 91.235 | 14.9 | 0 | 5.57
182 | 10/04/2016 | 1:00:00 a.m. | 264225 | 212416 | 7.4368 | 0 | 91.182 | 16.5 | 0 | 5.58
181 | 10/04/2016 | 12:00:00 a.m. | 264225 | 212416 | 7.4022 | 0 | 91.116 | 18.4 | 0 | 5.59
180 | 09/04/2016 | 11:00:00 p.m. | 264225 | 212416 | 7.327 | 0 | 91.079 | 20.7 | 0 | 5.59
179 | 09/04/2016 | 10:00:00 p.m. | 264225 | 212416 | 7.2504 | 0 | 91.012 | 23.3 | 0 | 5.59
178 | 09/04/2016 | 9:00:00 p.m. | 264225 | 212416 | 7.1516 | 0 | 91.075 | 25.9 | 0 | 5.6
177 | 09/04/2016 | 8:00:00 p.m. | 264225 | 212416 | 7.1287 | 0 | 91.235 | 29.6 | 0 | 5.59
176 | 09/04/2016 | 7:00:00 p.m. | 264225 | 212416 | 7.0154 | 0 | 90.868 | 34.2 | 0 | 5.61
175 | 09/04/2016 | 6:00:00 p.m. | 264225 | 212416 | 6.9061 | 0 | 90.82 | 37.5 | 0 | 5.62
174 | 09/04/2016 | 5:00:00 p.m. | 264225 | 212416 | 6.8367 | 0 | 90.564 | 39.6 | 0 | 5.63
173 | 09/04/2016 | 4:00:00 p.m. | 264225 | 212416 | 6.8572 | 0 | 90.365 | 39.9 | 0.8 | 5.63
172 | 09/04/2016 | 3:00:00 p.m. | 264225 | 212416 | 6.8085 | 0 | 89.806 | 35.4 | 89.7 | 5.62
171 | 09/04/2016 | 2:00:00 p.m. | 264216 | 212415 | 6.7589 | 0 | 87.587 | 28.2 | 90.1 | 5.62
170 | 09/04/2016 | 1:00:00 p.m. | 264148 | 212405 | 6.9107 | 0 | 88.149 | 27.7 | 68.6 | 5.62
169 | 09/04/2016 | 12:00:00 p.m. | 264088 | 212396 | 6.9435 | 0 | 88.443 | 26.2 | 75.3 | 5.6
168 | 09/04/2016 | 11:00:00 a.m. | 264028 | 212387 | 6.9107 | 0 | 87.951 | 24.4 | 72.1 | 5.59
167 | 09/04/2016 | 10:00:00 a.m. | 263963 | 212378 | 7.0296 | 0 | 88.332 | 22.4 | 91.7 | 5.59
166 | 09/04/2016 | 9:00:00 a.m. | 263903 | 212369 | 7.0492 | 0 | 88.2 | 16.9 | 96.8 | 5.58
165 | 09/04/2016 | 8:00:00 a.m. | 263842 | 212361 | 7.5612 | 0 | 90.827 | 10.3 | 0 | 5.57
164 | 09/04/2016 | 7:00:00 a.m. | 263842 | 212361 | 7.5512 | 0 | 90.798 | 11.3 | 0 | 5.57
163 | 09/04/2016 | 6:00:00 a.m. | 263842 | 212361 | 7.5052 | 0 | 90.489 | 12.4 | 0 | 5.56
162 | 09/04/2016 | 5:00:00 a.m. | 263842 | 212361 | 7.4696 | 0 | 90.639 | 13.4 | 0 | 5.57
161 | 09/04/2016 | 4:00:00 a.m. | 263842 | 212361 | 7.4542 | 0 | 90.779 | 14 | 0 | 5.58
160 | 09/04/2016 | 3:00:00 a.m. | 263842 | 212361 | 7.4368 | 0 | 90.8 | 15.3 | 0 | 5.56
159 | 09/04/2016 | 2:00:00 a.m. | 263842 | 212361 | 7.3702 | 0 | 90.697 | 16.7 | 0 | 5.58
158 | 09/04/2016 | 1:00:00 a.m. | 263842 | 212361 | 7.3372 | 0 | 90.664 | 18 | 0 | 5.57
157 | 09/04/2016 | 12:00:00 a.m. | 263842 | 212361 | 7.3208 | 0 | 90.67 | 18.6 | 0 | 5.58
156 | 08/04/2016 | 11:00:00 p.m. | 263842 | 212361 | 7.3068 | 0 | 90.652 | 19.9 | 0 | 5.59
155 | 08/04/2016 | 10:00:00 p.m. | 263842 | 212361 | 7.2718 | 0 | 90.439 | 22 | 0 | 5.58
154 | 08/04/2016 | 9:00:00 p.m. | 263842 | 212361 | 7.143 | 0 | 90.52 | 24.9 | 0 | 5.6
153 | 08/04/2016 | 8:00:00 p.m. | 263842 | 212361 | 7.1195 | 0 | 90.45 | 28.2 | 0 | 5.6
152 | 08/04/2016 | 7:00:00 p.m. | 263842 | 212361 | 7.0363 | 0 | 90.388 | 29.6 | 0 | 5.6
151 | 08/04/2016 | 6:00:00 p.m. | 263842 | 212361 | 7.0222 | 0 | 90.442 | 29.7 | 1.6 | 5.6
150 | 08/04/2016 | 5:00:00 p.m. | 263842 | 212361 | 7.0079 | 0 | 88.255 | 27.3 | 86.2 | 5.61
149 | 08/04/2016 | 4:00:00 p.m. | 263798 | 212354 | 6.7846 | 0 | 86.548 | 27.2 | 85.9 | 5.62
148 | 08/04/2016 | 3:00:00 p.m. | 263715 | 212342 | 6.7619 | 0 | 86.761 | 27.9 | 85.6 | 5.61
147 | 08/04/2016 | 2:00:00 p.m. | 263636 | 212331 | 6.7996 | 0 | 86.045 | 27 | 88 | 5.61
146 | 08/04/2016 | 1:00:00 p.m. | 263550 | 212318 | 6.7721 | 0 | 86.045 | 26.4 | 88.1 | 5.6
145 | 08/04/2016 | 12:00:00 p.m. | 263463 | 212305 | 6.8221 | 0 | 85.96 | 25.5 | 88.3 | 5.6
144 | 08/04/2016 | 11:00:00 a.m. | 263376 | 212292 | 6.812 | 0 | 86.228 | 24.2 | 88.9 | 5.6
143 | 08/04/2016 | 10:00:00 a.m. | 263288 | 212280 | 6.9081 | 0 | 86.398 | 22.6 | 90.4 | 5.59
142 | 08/04/2016 | 9:00:00 a.m. | 263200 | 212267 | 6.9422 | 0 | 87.649 | 17.3 | 96.3 | 5.59
141 | 08/04/2016 | 8:00:00 a.m. | 263136 | 212258 | 7.4822 | 0 | 90.426 | 12.1 | 0 | 5.58
140 | 08/04/2016 | 7:00:00 a.m. | 263136 | 212258 | 7.46 | 0 | 90.609 | 13.1 | 0 | 5.57
139 | 08/04/2016 | 6:00:00 a.m. | 263136 | 212258 | 7.4613 | 0 | 90.585 | 14 | 0 | 5.57
138 | 08/04/2016 | 5:00:00 a.m. | 263136 | 212258 | 7.4062 | 0 | 90.775 | 15.2 | 0 | 5.57
137 | 08/04/2016 | 4:00:00 a.m. | 263136 | 212258 | 7.3885 | 0 | 90.808 | 16.5 | 0 | 5.58
136 | 08/04/2016 | 3:00:00 a.m. | 263136 | 212258 | 7.373 | 0 | 90.801 | 17.4 | 0 | 5.58
135 | 08/04/2016 | 2:00:00 a.m. | 263136 | 212258 | 7.3251 | 0 | 90.675 | 18.3 | 0 | 5.57
134 | 08/04/2016 | 1:00:00 a.m. | 263136 | 212258 | 7.3599 | 0 | 90.682 | 19.5 | 0 | 5.58
133 | 08/04/2016 | 12:00:00 a.m. | 263136 | 212258 | 7.2758 | 0 | 90.697 | 20.8 | 0 | 5.59
132 | 07/04/2016 | 11:00:00 p.m. | 263136 | 212258 | 7.2553 | 0 | 90.672 | 22 | 0 | 5.58
131 | 07/04/2016 | 10:00:00 p.m. | 263136 | 212258 | 7.2104 | 0 | 90.74 | 24 | 0 | 5.6
130 | 07/04/2016 | 9:00:00 p.m. | 263136 | 212258 | 7.1539 | 0 | 90.679 | 26.2 | 0 | 5.6
129 | 07/04/2016 | 8:00:00 p.m. | 263136 | 212258 | 7.0276 | 0 | 90.583 | 29.3 | 0 | 5.61
128 | 07/04/2016 | 7:00:00 p.m. | 263136 | 212258 | 6.9826 | 0 | 90.411 | 33.1 | 0 | 5.62
127 | 07/04/2016 | 6:00:00 p.m. | 263136 | 212258 | 6.8968 | 0 | 90.108 | 34.1 | 1.4 | 5.63
126 | 07/04/2016 | 5:00:00 p.m. | 263136 | 212258 | 6.9308 | 0 | 88.286 | 28.8 | 87 | 5.63
125 | 07/04/2016 | 4:00:00 p.m. | 263091 | 212251 | 6.7826 | 0 | 86.287 | 27 | 88.5 | 5.62
124 | 07/04/2016 | 3:00:00 p.m. | 263005 | 212238 | 6.7951 | 0 | 85.842 | 27.1 | 88.7 | 5.62
123 | 07/04/2016 | 2:00:00 p.m. | 262918 | 212225 | 6.7388 | 0 | 85.77 | 26.9 | 90 | 5.6
122 | 07/04/2016 | 1:00:00 p.m. | 262829 | 212212 | 6.7592 | 0 | 85.968 | 25.9 | 89.5 | 5.6
121 | 07/04/2016 | 12:00:00 p.m. | 262740 | 212199 | 6.7909 | 0 | 85.859 | 24.9 | 89.9 | 5.6
120 | 07/04/2016 | 11:00:00 a.m. | 262651 | 212186 | 6.8058 | 0 | 86.138 | 23.7 | 90.1 | 5.6
119 | 07/04/2016 | 10:00:00 a.m. | 262563 | 212173 | 6.9297 | 0 | 87.048 | 21.7 | 90.3 | 5.58
118 | 07/04/2016 | 9:00:00 a.m. | 262484 | 212162 | 6.9796 | 0 | 87.645 | 15.2 | 97.4 | 5.57
117 | 07/04/2016 | 8:00:00 a.m. | 262427 | 212154 | 7.527 | 0 | 90.524 | 9.9 | 0 | 5.57
116 | 07/04/2016 | 7:00:00 a.m. | 262427 | 212154 | 7.5539 | 0 | 90.741 | 10.6 | 0 | 5.57
115 | 07/04/2016 | 6:00:00 a.m. | 262427 | 212154 | 7.5284 | 0 | 90.741 | 11.4 | 0 | 5.57
114 | 07/04/2016 | 5:00:00 a.m. | 262427 | 212154 | 7.5241 | 0 | 90.742 | 12.2 | 0 | 5.57
113 | 07/04/2016 | 4:00:00 a.m. | 262427 | 212154 | 7.4774 | 0 | 90.746 | 13.2 | 0 | 5.57
112 | 07/04/2016 | 3:00:00 a.m. | 262427 | 212154 | 7.4745 | 0 | 90.694 | 14.3 | 0 | 5.58
111 | 07/04/2016 | 2:00:00 a.m. | 262427 | 212154 | 7.4409 | 0 | 90.671 | 15.8 | 0 | 5.58
110 | 07/04/2016 | 1:00:00 a.m. | 262427 | 212154 | 7.3704 | 0 | 90.637 | 17.6 | 0 | 5.58
109 | 07/04/2016 | 12:00:00 a.m. | 262427 | 212154 | 7.3065 | 0 | 90.602 | 19.5 | 0 | 5.59
108 | 06/04/2016 | 11:00:00 p.m. | 262427 | 212154 | 7.2607 | 0 | 90.52 | 21.6 | 0 | 5.59
107 | 06/04/2016 | 10:00:00 p.m. | 262427 | 212154 | 7.2049 | 0 | 90.54 | 24.2 | 0 | 5.59
106 | 06/04/2016 | 9:00:00 p.m. | 262427 | 212154 | 7.1 | 0 | 90.388 | 27.2 | 0 | 5.6
105 | 06/04/2016 | 8:00:00 p.m. | 262427 | 212154 | 7.0101 | 0 | 90.22 | 30.7 | 0 | 5.6
104 | 06/04/2016 | 7:00:00 p.m. | 262427 | 212154 | 6.9579 | 0 | 90.173 | 35.1 | 0 | 5.62
103 | 06/04/2016 | 6:00:00 p.m. | 262427 | 212154 | 6.8994 | 0 | 90.193 | 35.3 | 1.5 | 5.63
102 | 06/04/2016 | 5:00:00 p.m. | 262427 | 212154 | 6.9514 | 0 | 88.319 | 29.5 | 89.9 | 5.63
101 | 06/04/2016 | 4:00:00 p.m. | 262384 | 212148 | 6.8287 | 0 | 87.28 | 27.9 | 89 | 5.62
100 | 06/04/2016 | 3:00:00 p.m. | 262313 | 212137 | 6.7818 | 0 | 86.196 | 27.2 | 89.6 | 5.62
99 | 06/04/2016 | 2:00:00 p.m. | 262225 | 212124 | 6.8224 | 0 | 85.934 | 26.6 | 90.7 | 5.61
98 | 06/04/2016 | 1:00:00 p.m. | 262136 | 212111 | 6.8061 | 0 | 86.444 | 25.9 | 89.8 | 5.63
97 | 06/04/2016 | 12:00:00 p.m. | 262055 | 212099 | 6.8076 | 0 | 85.928 | 24.7 | 90.6 | 5.6
96 | 06/04/2016 | 11:00:00 a.m. | 261966 | 212086 | 6.8322 | 0 | 85.752 | 23.9 | 91.2 | 5.58
95 | 06/04/2016 | 10:00:00 a.m. | 261875 | 212073 | 6.8534 | 0 | 86.052 | 22.1 | 91.7 | 5.59
94 | 06/04/2016 | 9:00:00 a.m. | 261785 | 212060 | 6.9194 | 0 | 87.156 | 17.6 | 96.1 | 5.57
93 | 06/04/2016 | 8:00:00 a.m. | 261717 | 212050 | 7.4581 | 0 | 90.518 | 12.4 | 0 | 5.57
92 | 06/04/2016 | 7:00:00 a.m. | 261717 | 212050 | 7.4701 | 0 | 90.566 | 13.4 | 0 | 5.58
91 | 06/04/2016 | 6:00:00 a.m. | 261717 | 212050 | 7.4267 | 0 | 90.539 | 14.5 | 0 | 5.58
90 | 06/04/2016 | 5:00:00 a.m. | 261717 | 212050 | 7.4161 | 0 | 90.569 | 15.6 | 0 | 5.58
89 | 06/04/2016 | 4:00:00 a.m. | 261717 | 212050 | 7.3886 | 0 | 90.535 | 16.8 | 0 | 5.59
88 | 06/04/2016 | 3:00:00 a.m. | 261717 | 212050 | 7.3786 | 0 | 90.51 | 17.3 | 0 | 5.58
87 | 06/04/2016 | 2:00:00 a.m. | 261717 | 212050 | 7.3319 | 0 | 90.414 | 18.3 | 0 | 5.59
86 | 06/04/2016 | 1:00:00 a.m. | 261717 | 212050 | 7.2985 | 0 | 90.496 | 19.7 | 0 | 5.61
85 | 06/04/2016 | 12:00:00 a.m. | 261717 | 212050 | 7.2519 | 0 | 90.526 | 21.3 | 0 | 5.59
84 | 05/04/2016 | 11:00:00 p.m. | 261717 | 212050 | 7.2108 | 0 | 90.356 | 22.8 | 0 | 5.59
83 | 05/04/2016 | 10:00:00 p.m. | 261717 | 212050 | 7.1475 | 0 | 90.374 | 24.7 | 0 | 5.59
82 | 05/04/2016 | 9:00:00 p.m. | 261717 | 212050 | 7.1179 | 0 | 90.308 | 27.1 | 0 | 5.62
81 | 05/04/2016 | 8:00:00 p.m. | 261717 | 212050 | 7.0342 | 0 | 90.253 | 30.9 | 0 | 5.6
80 | 05/04/2016 | 7:00:00 p.m. | 261717 | 212050 | 6.9233 | 0 | 90.4 | 35.3 | 0 | 5.61
79 | 05/04/2016 | 6:00:00 p.m. | 261717 | 212050 | 6.8678 | 0 | 90.035 | 35.8 | 1.5 | 5.62
78 | 05/04/2016 | 5:00:00 p.m. | 261717 | 212050 | 6.8908 | 0 | 87.782 | 29.2 | 91.2 | 5.62
77 | 05/04/2016 | 4:00:00 p.m. | 261668 | 212043 | 6.7434 | 0 | 86.039 | 27.3 | 89.7 | 5.63
76 | 05/04/2016 | 3:00:00 p.m. | 261579 | 212030 | 6.7726 | 0 | 86 | 28.5 | 92 | 5.63
75 | 05/04/2016 | 2:00:00 p.m. | 261490 | 212016 | 6.6182 | 0 | 89.635 | 41.5 | 90.2 | 5.62
74 | 05/04/2016 | 1:00:00 p.m. | 261484 | 212016 | 6.7939 | 0 | 89.057 | 32.8 | 92.3 | 5.62
73 | 05/04/2016 | 12:00:00 p.m. | 261469 | 212013 | 6.7899 | 0 | 85.769 | 25 | 90.4 | 5.6
72 | 05/04/2016 | 11:00:00 a.m. | 261380 | 212000 | 6.8303 | 0 | 86.038 | 23.7 | 91.1 | 5.59
71 | 05/04/2016 | 10:00:00 a.m. | 261290 | 211987 | 6.8996 | 0 | 86.394 | 21.9 | 91.4 | 5.58
70 | 05/04/2016 | 9:00:00 a.m. | 261200 | 211974 | 6.9855 | 0 | 88.057 | 16.2 | 97.7 | 5.57
69 | 05/04/2016 | 8:00:00 a.m. | 261139 | 211966 | 7.5506 | 0 | 90.424 | 8.9 | 0 | 5.57
68 | 05/04/2016 | 7:00:00 a.m. | 261139 | 211966 | 7.5712 | 0 | 90.603 | 9.8 | 0 | 5.57
67 | 05/04/2016 | 6:00:00 a.m. | 261139 | 211966 | 7.5444 | 0 | 90.654 | 10.8 | 0 | 5.57
66 | 05/04/2016 | 5:00:00 a.m. | 261139 | 211966 | 7.5439 | 0 | 90.687 | 12 | 0 | 5.58
65 | 05/04/2016 | 4:00:00 a.m. | 261139 | 211966 | 7.4993 | 0 | 90.654 | 13.4 | 0 | 5.58
64 | 05/04/2016 | 3:00:00 a.m. | 261139 | 211966 | 7.4468 | 0 | 90.644 | 15 | 0 | 5.58
63 | 05/04/2016 | 2:00:00 a.m. | 261139 | 211966 | 7.3527 | 0 | 90.391 | 16.6 | 0 | 5.58
62 | 05/04/2016 | 1:00:00 a.m. | 261139 | 211966 | 7.3434 | 0 | 90.597 | 18.2 | 0 | 5.57
61 | 05/04/2016 | 12:00:00 a.m. | 261139 | 211966 | 7.2751 | 0 | 90.503 | 20 | 0 | 5.59
60 | 04/04/2016 | 11:00:00 p.m. | 261139 | 211966 | 7.2509 | 0 | 90.554 | 21.6 | 0 | 5.58
59 | 04/04/2016 | 10:00:00 p.m. | 261139 | 211966 | 7.2117 | 0 | 90.645 | 23.1 | 0 | 5.59
58 | 04/04/2016 | 9:00:00 p.m. | 261139 | 211966 | 7.163 | 0 | 90.488 | 24.9 | 0 | 5.59
57 | 04/04/2016 | 8:00:00 p.m. | 261139 | 211966 | 7.1153 | 0 | 90.259 | 27.7 | 0 | 5.6
56 | 04/04/2016 | 7:00:00 p.m. | 261139 | 211966 | 7.0228 | 0 | 90.198 | 32.1 | 0 | 5.62
55 | 04/04/2016 | 6:00:00 p.m. | 261139 | 211966 | 6.895 | 0 | 90.174 | 35.5 | 0 | 5.62
54 | 04/04/2016 | 5:00:00 p.m. | 261139 | 211966 | 6.795 | 0 | 90.128 | 39.6 | 0 | 5.62
53 | 04/04/2016 | 4:00:00 p.m. | 261139 | 211966 | 6.7642 | 0 | 90.1 | 40.8 | 0 | 5.62
52 | 04/04/2016 | 3:00:00 p.m. | 261139 | 211966 | 6.6698 | 0 | 89.732 | 43.2 | 0 | 5.62
51 | 04/04/2016 | 2:00:00 p.m. | 261139 | 211966 | 6.632 | 0 | 89.683 | 42.7 | 0 | 5.61
50 | 04/04/2016 | 1:00:00 p.m. | 261139 | 211966 | 6.7212 | 0 | 89.75 | 39.1 | 0 | 5.61
49 | 04/04/2016 | 12:00:00 p.m. | 261139 | 211966 | 6.8274 | 0 | 89.867 | 32.2 | 0 | 5.6
48 | 04/04/2016 | 11:00:00 a.m. | 261138 | 211965 | 7.0003 | 0 | 90.119 | 24.3 | 0 | 5.6
47 | 04/04/2016 | 10:00:00 a.m. | 261138 | 211965 | 7.2926 | 0 | 90.506 | 14.2 | 0 | 5.58
46 | 04/04/2016 | 9:00:00 a.m. | 261138 | 211965 | 7.5336 | 0 | 90.413 | 8.9 | 0 | 5.57
45 | 04/04/2016 | 8:00:00 a.m. | 261138 | 211965 | 7.5489 | 0 | 90.467 | 9.2 | 0 | 5.57
44 | 04/04/2016 | 7:00:00 a.m. | 261138 | 211965 | 7.5678 | 0 | 90.668 | 10.3 | 0 | 5.57
43 | 04/04/2016 | 6:00:00 a.m. | 261138 | 211965 | 7.5929 | 0 | 90.955 | 11.1 | 0 | 5.57
42 | 04/04/2016 | 5:00:00 a.m. | 261138 | 211965 | 7.5135 | 0 | 90.81 | 11.8 | 0 | 5.57
41 | 04/04/2016 | 4:00:00 a.m. | 261138 | 211965 | 7.4841 | 0 | 91.073 | 12.7 | 0 | 5.57
40 | 04/04/2016 | 3:00:00 a.m. | 261138 | 211965 | 7.5362 | 0 | 91.334 | 13.7 | 0 | 5.58
39 | 04/04/2016 | 2:00:00 a.m. | 261138 | 211965 | 7.4904 | 0 | 91.311 | 15.1 | 0 | 5.58
38 | 04/04/2016 | 1:00:00 a.m. | 261138 | 211965 | 7.4481 | 0 | 91.284 | 17 | 0 | 5.59
37 | 04/04/2016 | 12:00:00 a.m. | 261138 | 211965 | 7.3674 | 0 | 91.288 | 19 | 0 | 5.58
36 | 03/04/2016 | 11:00:00 p.m. | 261138 | 211965 | 7.3084 | 0 | 91.239 | 20.8 | 0 | 5.59
35 | 03/04/2016 | 10:00:00 p.m. | 261138 | 211965 | 7.3037 | 0 | 91.248 | 22.1 | 0 | 5.6
34 | 03/04/2016 | 9:00:00 p.m. | 261138 | 211965 | 7.2633 | 0 | 91.165 | 23.9 | 0 | 5.59
33 | 03/04/2016 | 8:00:00 p.m. | 261138 | 211965 | 7.1813 | 0 | 91.115 | 26.8 | 0 | 5.6
32 | 03/04/2016 | 7:00:00 p.m. | 261138 | 211965 | 7.112 | 0 | 91 | 30.9 | 0 | 5.61
31 | 03/04/2016 | 6:00:00 p.m. | 261138 | 211965 | 7.0157 | 0 | 91.158 | 34.1 | 0 | 5.62
30 | 03/04/2016 | 5:00:00 p.m. | 261138 | 211965 | 6.9231 | 0 | 91.172 | 36.2 | 0 | 5.62
29 | 03/04/2016 | 4:00:00 p.m. | 261138 | 211965 | 6.8841 | 0 | 90.919 | 38.6 | 0 | 5.63
28 | 03/04/2016 | 3:00:00 p.m. | 261138 | 211965 | 6.8075 | 0 | 90.945 | 41.2 | 0 | 5.61
27 | 03/04/2016 | 2:00:00 p.m. | 261138 | 211965 | 6.833 | 0 | 90.774 | 40.7 | 0 | 5.62
26 | 03/04/2016 | 1:00:00 p.m. | 261138 | 211965 | 6.8073 | 0 | 90.698 | 37 | 0 | 5.61
25 | 03/04/2016 | 12:00:00 p.m. | 261138 | 211965 | 6.9307 | 0 | 91.061 | 30.2 | 0 | 5.6
24 | 03/04/2016 | 11:00:00 a.m. | 261138 | 211965 | 7.1517 | 0 | 90.831 | 23.3 | 0 | 5.6
23 | 03/04/2016 | 10:00:00 a.m. | 261138 | 211965 | 7.2969 | 0 | 91.181 | 14.8 | 0 | 5.58
22 | 03/04/2016 | 9:00:00 a.m. | 261138 | 211965 | 7.6311 | 0 | 91.296 | 8 | 0 | 5.57
21 | 03/04/2016 | 8:00:00 a.m. | 261138 | 211965 | 7.6963 | 0 | 91.561 | 7 | 0 | 5.56
20 | 03/04/2016 | 7:00:00 a.m. | 261138 | 211965 | 7.6697 | 0 | 91.636 | 7.8 | 0 | 5.57
19 | 03/04/2016 | 6:00:00 a.m. | 261138 | 211965 | 7.6466 | 0 | 91.501 | 8.6 | 0 | 5.56
18 | 03/04/2016 | 5:00:00 a.m. | 261138 | 211965 | 7.6472 | 0 | 91.474 | 9.7 | 0 | 5.58
17 | 03/04/2016 | 4:00:00 a.m. | 261138 | 211965 | 7.59 | 0 | 91.359 | 10.6 | 0 | 5.58
16 | 03/04/2016 | 3:00:00 a.m. | 261138 | 211965 | 7.561 | 0 | 91.527 | 11.8 | 0 | 5.57
15 | 03/04/2016 | 2:00:00 a.m. | 261138 | 211965 | 7.5311 | 0 | 91.358 | 13.4 | 0 | 5.58
14 | 03/04/2016 | 1:00:00 a.m. | 261138 | 211965 | 7.4954 | 0 | 91.44 | 15.4 | 0 | 5.57
13 | 03/04/2016 | 12:00:00 a.m. | 261138 | 211965 | 7.3961 | 0 | 91.399 | 17.6 | 0 | 5.58
12 | 02/04/2016 | 11:00:00 p.m. | 261138 | 211965 | 7.3423 | 0 | 91.02 | 19.8 | 0 | 5.59
11 | 02/04/2016 | 10:00:00 p.m. | 261138 | 211965 | 7.295 | 0 | 90.901 | 21.7 | 0 | 5.61
10 | 02/04/2016 | 9:00:00 p.m. | 261138 | 211965 | 7.2471 | 0 | 90.773 | 23.6 | 0 | 5.59
9 | 02/04/2016 | 8:00:00 p.m. | 261138 | 211965 | 7.2016 | 0 | 90.811 | 26.1 | 0 | 5.6
8 | 02/04/2016 | 7:00:00 p.m. | 261138 | 211965 | 7.0775 | 0 | 90.596 | 28.9 | 0 | 5.6
7 | 02/04/2016 | 6:00:00 p.m. | 261138 | 211965 | 7.0281 | 0 | 90.601 | 33.8 | 0 | 5.61
6 | 02/04/2016 | 5:00:00 p.m. | 261138 | 211965 | 6.8131 | 0 | 90.68 | 35.5 | 0 | 5.61
5 | 02/04/2016 | 4:00:00 p.m. | 261138 | 211965 | 6.9206 | 0 | 90.841 | 35.8 | 2.4 | 5.62
4 | 02/04/2016 | 3:00:00 p.m. | 261138 | 211965 | 6.9675 | 0 | 88.885 | 28.2 | 88.2 | 5.62
3 | 02/04/2016 | 2:00:00 p.m. | 261087 | 211958 | 6.894 | 0 | 87.585 | 26.3 | 85.6 | 5.62
2 | 02/04/2016 | 1:00:00 p.m. | 261013 | 211947 | 6.9228 | 0 | 87.03 | 25.6 | 89.4 | 5.61
1 | 02/04/2016 | 12:00:00 p.m. | 260932 | 211936 | 6.882 | 0 | 87.866 | 25.6 | 85.5 | 5.61