## Saporis horario 043016 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 695
Fault/Alarms Recorded: | Date | Time | Condition
1 | 11/04/2016 | 1:03:17 p.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 13/02/2016 | 7:09:52 a.m. | 8 (Low Temperature Alarm Occurred)
5 | 07/01/2016 | 3:27:01 p.m. | 128 (Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
695 | 01/05/2016 | 10:00:00 a.m. | 1362281 | 428222 | 7.2347 | 0 | 91.387 | 22.1 | 8.7 | 5.81
694 | 01/05/2016 | 9:00:00 a.m. | 1362281 | 428222 | 7.3453 | 0 | 91.538 | 16.8 | 40.5 | 5.8
693 | 01/05/2016 | 8:00:00 a.m. | 1362258 | 428219 | 7.6508 | 0 | 91.895 | 8.4 | 0 | 5.79
692 | 01/05/2016 | 7:00:00 a.m. | 1362258 | 428219 | 7.6671 | 0 | 91.7 | 8.8 | 0 | 5.8
691 | 01/05/2016 | 6:00:00 a.m. | 1362258 | 428219 | 7.6435 | 0 | 91.595 | 9.8 | 0 | 5.8
690 | 01/05/2016 | 5:00:00 a.m. | 1362258 | 428219 | 7.5887 | 0 | 91.375 | 10.6 | 0 | 5.8
689 | 01/05/2016 | 4:00:00 a.m. | 1362258 | 428219 | 7.6088 | 0 | 91.533 | 11.7 | 0 | 5.8
688 | 01/05/2016 | 3:00:00 a.m. | 1362258 | 428219 | 7.5577 | 0 | 91.413 | 13.7 | 0 | 5.8
687 | 01/05/2016 | 2:00:00 a.m. | 1362258 | 428219 | 7.4707 | 0 | 91.332 | 15.5 | 0 | 5.8
686 | 01/05/2016 | 1:00:00 a.m. | 1362258 | 428219 | 7.4536 | 0 | 91.233 | 17.6 | 0 | 5.8
685 | 01/05/2016 | 12:00:00 a.m. | 1362258 | 428219 | 7.3602 | 0 | 91.412 | 19.9 | 1.2 | 5.8
684 | 30/04/2016 | 11:00:00 p.m. | 1362258 | 428219 | 7.2958 | 0 | 91.167 | 23.4 | 163.8 | 5.81
683 | 30/04/2016 | 10:00:00 p.m. | 1362237 | 428216 | 7.1484 | 0 | 90.535 | 25.6 | 118.3 | 5.81
682 | 30/04/2016 | 9:00:00 p.m. | 1362159 | 428205 | 7.1062 | 0 | 90.201 | 26.1 | 118.9 | 5.82
681 | 30/04/2016 | 8:00:00 p.m. | 1362051 | 428189 | 7.0999 | 0 | 90.134 | 26.9 | 163.1 | 5.82
680 | 30/04/2016 | 7:00:00 p.m. | 1361933 | 428173 | 7.0056 | 0 | 90.562 | 29.6 | 162.1 | 5.83
679 | 30/04/2016 | 6:00:00 p.m. | 1361925 | 428172 | 7.0439 | 0 | 90.688 | 32.4 | 0 | 5.83
678 | 30/04/2016 | 5:00:00 p.m. | 1361925 | 428172 | 6.7889 | 0 | 90.395 | 38 | 0 | 5.83
677 | 30/04/2016 | 4:00:00 p.m. | 1361925 | 428172 | 6.7857 | 0 | 90.429 | 39.3 | 0 | 5.83
676 | 30/04/2016 | 3:00:00 p.m. | 1361925 | 428172 | 6.8055 | 0 | 90.548 | 38 | 0.9 | 5.83
675 | 30/04/2016 | 2:00:00 p.m. | 1361925 | 428172 | 6.8902 | 0 | 90.204 | 32.3 | 119.7 | 5.83
674 | 30/04/2016 | 1:00:00 p.m. | 1361897 | 428168 | 7.0161 | 0 | 89.669 | 30.3 | 161.9 | 5.83
673 | 30/04/2016 | 12:00:00 p.m. | 1361808 | 428155 | 6.8559 | 0 | 90.278 | 31.5 | 0 | 5.83
672 | 30/04/2016 | 11:00:00 a.m. | 1361808 | 428155 | 6.9149 | 0 | 90.418 | 27.7 | 0 | 5.82
671 | 30/04/2016 | 10:00:00 a.m. | 1361808 | 428155 | 7.1718 | 0 | 90.157 | 21.2 | 0 | 5.81
670 | 30/04/2016 | 9:00:00 a.m. | 1361808 | 428155 | 7.2808 | 0 | 90.479 | 17.2 | 3.1 | 5.8
669 | 30/04/2016 | 8:00:00 a.m. | 1361808 | 428155 | 7.3768 | 0 | 90.229 | 22.1 | 166.6 | 5.8
668 | 30/04/2016 | 7:00:00 a.m. | 1361722 | 428143 | 7.518 | 0 | 90.702 | 10.1 | 0 | 5.8
667 | 30/04/2016 | 6:00:00 a.m. | 1361722 | 428143 | 7.4541 | 0 | 90.74 | 10.6 | 0 | 5.8
666 | 30/04/2016 | 5:00:00 a.m. | 1361722 | 428143 | 7.4995 | 0 | 90.712 | 12.1 | 0 | 5.8
665 | 30/04/2016 | 4:00:00 a.m. | 1361722 | 428143 | 7.3883 | 0 | 90.614 | 14.3 | 1.3 | 5.8
664 | 30/04/2016 | 3:00:00 a.m. | 1361722 | 428143 | 7.4129 | 0 | 90.84 | 21.3 | 114.8 | 5.8
663 | 30/04/2016 | 2:00:00 a.m. | 1361678 | 428137 | 7.1408 | 0 | 90.187 | 24.6 | 119.4 | 5.8
662 | 30/04/2016 | 1:00:00 a.m. | 1361575 | 428122 | 7.1387 | 0 | 90.037 | 24.8 | 117.2 | 5.8
661 | 30/04/2016 | 12:00:00 a.m. | 1361471 | 428108 | 7.1516 | 0 | 90.521 | 18.2 | 164.6 | 5.8
660 | 29/04/2016 | 11:00:00 p.m. | 1361439 | 428103 | 7.2974 | 0 | 90.456 | 18.9 | 0 | 5.81
659 | 29/04/2016 | 10:00:00 p.m. | 1361439 | 428103 | 7.2457 | 0 | 90.585 | 20.8 | 0 | 5.81
658 | 29/04/2016 | 9:00:00 p.m. | 1361439 | 428103 | 7.2425 | 0 | 90.354 | 23.6 | 0 | 5.82
657 | 29/04/2016 | 8:00:00 p.m. | 1361439 | 428103 | 7.1481 | 0 | 90.328 | 27.2 | 3.2 | 5.83
656 | 29/04/2016 | 7:00:00 p.m. | 1361439 | 428103 | 7.0282 | 0 | 89.888 | 28.6 | 162 | 5.83
655 | 29/04/2016 | 6:00:00 p.m. | 1361359 | 428092 | 6.9982 | 0 | 89.695 | 29.1 | 161.8 | 5.83
654 | 29/04/2016 | 5:00:00 p.m. | 1361232 | 428074 | 6.9427 | 0 | 89.789 | 37 | 162.1 | 5.83
653 | 29/04/2016 | 4:00:00 p.m. | 1361214 | 428071 | 6.7928 | 0 | 89.85 | 35.9 | 0 | 5.83
652 | 29/04/2016 | 3:00:00 p.m. | 1361214 | 428071 | 6.8392 | 0 | 89.694 | 37.5 | 0 | 5.83
651 | 29/04/2016 | 2:00:00 p.m. | 1361214 | 428071 | 6.7409 | 0 | 89.817 | 38 | 1 | 5.83
650 | 29/04/2016 | 1:00:00 p.m. | 1361214 | 428071 | 6.8185 | 0 | 89.525 | 32.8 | 144.2 | 5.83
649 | 29/04/2016 | 12:00:00 p.m. | 1361181 | 428066 | 6.9836 | 0 | 89.436 | 28.6 | 145.3 | 5.83
648 | 29/04/2016 | 11:00:00 a.m. | 1361065 | 428050 | 6.9956 | 0 | 89.415 | 28.1 | 145.2 | 5.83
647 | 29/04/2016 | 10:00:00 a.m. | 1360965 | 428035 | 7.0382 | 0 | 90.027 | 23.1 | 0 | 5.82
646 | 29/04/2016 | 9:00:00 a.m. | 1360965 | 428035 | 7.3243 | 0 | 90.482 | 14.8 | 0 | 5.8
645 | 29/04/2016 | 8:00:00 a.m. | 1360965 | 428035 | 7.4257 | 0 | 90.326 | 15.9 | 19.4 | 5.8
644 | 29/04/2016 | 7:00:00 a.m. | 1360964 | 428035 | 7.1953 | 0 | 90.389 | 23.6 | 142.4 | 5.8
643 | 29/04/2016 | 6:00:00 a.m. | 1360884 | 428024 | 7.1848 | 0 | 90.219 | 19.7 | 166.1 | 5.8
642 | 29/04/2016 | 5:00:00 a.m. | 1360811 | 428014 | 7.4969 | 0 | 90.454 | 12.4 | 0 | 5.8
641 | 29/04/2016 | 4:00:00 a.m. | 1360811 | 428014 | 7.4446 | 0 | 90.569 | 12.9 | 0 | 5.8
640 | 29/04/2016 | 3:00:00 a.m. | 1360811 | 428014 | 7.4882 | 0 | 90.513 | 14.4 | 0 | 5.8
639 | 29/04/2016 | 2:00:00 a.m. | 1360811 | 428014 | 7.4245 | 0 | 90.434 | 16 | 0 | 5.8
638 | 29/04/2016 | 1:00:00 a.m. | 1360811 | 428014 | 7.3406 | 0 | 90.447 | 17.9 | 0 | 5.8
637 | 29/04/2016 | 12:00:00 a.m. | 1360811 | 428014 | 7.3012 | 0 | 90.563 | 19.8 | 0 | 5.81
636 | 28/04/2016 | 11:00:00 p.m. | 1360811 | 428014 | 7.2649 | 0 | 90.556 | 21.6 | 2.3 | 5.81
635 | 28/04/2016 | 10:00:00 p.m. | 1360811 | 428014 | 7.1064 | 0 | 90.524 | 24.4 | 163 | 5.82
634 | 28/04/2016 | 9:00:00 p.m. | 1360793 | 428011 | 7.1525 | 0 | 90.479 | 25.4 | 0 | 5.82
633 | 28/04/2016 | 8:00:00 p.m. | 1360793 | 428011 | 7.064 | 0 | 90.273 | 29.2 | 0 | 5.83
632 | 28/04/2016 | 7:00:00 p.m. | 1360793 | 428011 | 7.008 | 0 | 90.57 | 35 | 0 | 5.83
631 | 28/04/2016 | 6:00:00 p.m. | 1360793 | 428011 | 6.8134 | 0 | 90.477 | 38.8 | 0 | 5.83
630 | 28/04/2016 | 5:00:00 p.m. | 1360793 | 428011 | 6.7816 | 0 | 90.167 | 39.9 | 0 | 5.83
629 | 28/04/2016 | 4:00:00 p.m. | 1360793 | 428011 | 6.7397 | 0 | 89.968 | 39.9 | 0.7 | 5.83
628 | 28/04/2016 | 3:00:00 p.m. | 1360793 | 428011 | 6.8048 | 0 | 90.047 | 35.4 | 135.9 | 5.83
627 | 28/04/2016 | 2:00:00 p.m. | 1360788 | 428011 | 6.9254 | 0 | 89.743 | 30.1 | 105 | 5.83
626 | 28/04/2016 | 1:00:00 p.m. | 1360706 | 427999 | 6.9334 | 0 | 89.713 | 30 | 104.8 | 5.83
625 | 28/04/2016 | 12:00:00 p.m. | 1360623 | 427987 | 6.9323 | 0 | 89.593 | 29.4 | 99.3 | 5.83
624 | 28/04/2016 | 11:00:00 a.m. | 1360551 | 427976 | 7.0005 | 0 | 89.832 | 28.3 | 87.9 | 5.82
623 | 28/04/2016 | 10:00:00 a.m. | 1360479 | 427966 | 7.021 | 0 | 89.961 | 26.3 | 97.6 | 5.81
622 | 28/04/2016 | 9:00:00 a.m. | 1360406 | 427956 | 7.1224 | 0 | 90.499 | 17.8 | 165.5 | 5.8
621 | 28/04/2016 | 8:00:00 a.m. | 1360354 | 427949 | 7.5867 | 0 | 91.201 | 8.8 | 0 | 5.79
620 | 28/04/2016 | 7:00:00 a.m. | 1360354 | 427949 | 7.658 | 0 | 90.974 | 10.6 | 0.9 | 5.8
619 | 28/04/2016 | 6:00:00 a.m. | 1360354 | 427949 | 7.5049 | 0 | 91.231 | 15.5 | 24.9 | 5.8
618 | 28/04/2016 | 5:00:00 a.m. | 1360349 | 427948 | 7.262 | 0 | 90.691 | 20.7 | 24.8 | 5.8
617 | 28/04/2016 | 4:00:00 a.m. | 1360324 | 427945 | 7.2529 | 0 | 90.684 | 21.5 | 24.8 | 5.8
616 | 28/04/2016 | 3:00:00 a.m. | 1360300 | 427941 | 7.2009 | 0 | 90.53 | 22.1 | 24.8 | 5.8
615 | 28/04/2016 | 2:00:00 a.m. | 1360275 | 427938 | 7.2086 | 0 | 90.428 | 22.8 | 26.4 | 5.8
614 | 28/04/2016 | 1:00:00 a.m. | 1360253 | 427935 | 7.1428 | 0 | 90.283 | 24.9 | 109.9 | 5.8
613 | 28/04/2016 | 12:00:00 a.m. | 1360187 | 427925 | 7.1841 | 0 | 90.352 | 22.9 | 25.2 | 5.8
612 | 27/04/2016 | 11:00:00 p.m. | 1360162 | 427922 | 7.158 | 0 | 90.484 | 23.5 | 25.3 | 5.8
611 | 27/04/2016 | 10:00:00 p.m. | 1360137 | 427918 | 7.1514 | 0 | 90.427 | 24.2 | 25.2 | 5.81
610 | 27/04/2016 | 9:00:00 p.m. | 1360112 | 427915 | 7.1914 | 0 | 90.351 | 25.2 | 25.2 | 5.82
609 | 27/04/2016 | 8:00:00 p.m. | 1360087 | 427911 | 7.1157 | 0 | 90.565 | 27.2 | 25 | 5.83
608 | 27/04/2016 | 7:00:00 p.m. | 1360062 | 427908 | 7.0374 | 0 | 90.175 | 29.9 | 24.9 | 5.83
607 | 27/04/2016 | 6:00:00 p.m. | 1360038 | 427904 | 6.9633 | 0 | 90.164 | 31.5 | 24.9 | 5.83
606 | 27/04/2016 | 5:00:00 p.m. | 1360013 | 427901 | 6.9243 | 0 | 90.102 | 32.7 | 35.2 | 5.84
605 | 27/04/2016 | 4:00:00 p.m. | 1359990 | 427898 | 6.9021 | 0 | 89.803 | 30.9 | 105.5 | 5.83
604 | 27/04/2016 | 3:00:00 p.m. | 1359920 | 427888 | 6.9734 | 0 | 89.682 | 29.8 | 111 | 5.83
603 | 27/04/2016 | 2:00:00 p.m. | 1359829 | 427874 | 6.9681 | 0 | 89.875 | 31.4 | 161.4 | 5.83
602 | 27/04/2016 | 1:00:00 p.m. | 1359748 | 427863 | 6.8423 | 0 | 90.019 | 33.1 | 133.6 | 5.83
601 | 27/04/2016 | 12:00:00 p.m. | 1359724 | 427859 | 7.0091 | 0 | 90.043 | 32 | 162.2 | 5.83
600 | 27/04/2016 | 11:00:00 a.m. | 1359694 | 427855 | 6.9868 | 0 | 90.199 | 26.2 | 0 | 5.82
599 | 27/04/2016 | 10:00:00 a.m. | 1359694 | 427855 | 7.1635 | 0 | 90.277 | 18.3 | 0 | 5.8
598 | 27/04/2016 | 9:00:00 a.m. | 1359694 | 427855 | 7.4418 | 0 | 91.119 | 9.5 | 0 | 5.8
597 | 27/04/2016 | 8:00:00 a.m. | 1359694 | 427855 | 7.6858 | 0 | 90.937 | 8 | 1.2 | 5.79
596 | 27/04/2016 | 7:00:00 a.m. | 1359694 | 427855 | 7.5795 | 0 | 91.386 | 13.2 | 12.3 | 5.79
595 | 27/04/2016 | 6:00:00 a.m. | 1359693 | 427855 | 7.3276 | 0 | 90.831 | 23.3 | 106.3 | 5.79
594 | 27/04/2016 | 5:00:00 a.m. | 1359608 | 427843 | 7.1956 | 0 | 90.882 | 23.2 | 106 | 5.79
593 | 27/04/2016 | 4:00:00 a.m. | 1359525 | 427832 | 7.2156 | 0 | 90.807 | 23.5 | 100.7 | 5.79
592 | 27/04/2016 | 3:00:00 a.m. | 1359441 | 427820 | 7.2439 | 0 | 90.614 | 23.8 | 100.2 | 5.8
591 | 27/04/2016 | 2:00:00 a.m. | 1359356 | 427808 | 7.154 | 0 | 90.769 | 24 | 106.2 | 5.8
590 | 27/04/2016 | 1:00:00 a.m. | 1359270 | 427796 | 7.1698 | 0 | 91.089 | 20.5 | 104.8 | 5.8
589 | 27/04/2016 | 12:00:00 a.m. | 1359234 | 427791 | 7.3518 | 0 | 90.805 | 21 | 92.9 | 5.8
588 | 26/04/2016 | 11:00:00 p.m. | 1359214 | 427788 | 7.2289 | 0 | 91.163 | 22.4 | 25.1 | 5.8
587 | 26/04/2016 | 10:00:00 p.m. | 1359188 | 427785 | 7.2133 | 0 | 90.813 | 23 | 34.2 | 5.8
586 | 26/04/2016 | 9:00:00 p.m. | 1359166 | 427782 | 7.2093 | 0 | 90.681 | 24.3 | 32 | 5.81
585 | 26/04/2016 | 8:00:00 p.m. | 1359143 | 427779 | 7.2013 | 0 | 90.731 | 26.3 | 86.6 | 5.82
584 | 26/04/2016 | 7:00:00 p.m. | 1359092 | 427771 | 7.1029 | 0 | 90.959 | 28.2 | 31.8 | 5.83
583 | 26/04/2016 | 6:00:00 p.m. | 1359069 | 427768 | 7.0414 | 0 | 90.408 | 28.8 | 106.9 | 5.83
582 | 26/04/2016 | 5:00:00 p.m. | 1359001 | 427759 | 7.0137 | 0 | 90.106 | 31.9 | 162.7 | 5.83
581 | 26/04/2016 | 4:00:00 p.m. | 1358938 | 427749 | 6.8898 | 0 | 90.286 | 34.2 | 0 | 5.83
580 | 26/04/2016 | 3:00:00 p.m. | 1358938 | 427749 | 6.9285 | 0 | 90.146 | 34.9 | 0 | 5.83
579 | 26/04/2016 | 2:00:00 p.m. | 1358938 | 427749 | 6.8626 | 0 | 89.975 | 36.3 | 0 | 5.83
578 | 26/04/2016 | 1:00:00 p.m. | 1358938 | 427749 | 6.8481 | 0 | 89.889 | 34.5 | 0 | 5.83
577 | 26/04/2016 | 12:00:00 p.m. | 1358938 | 427749 | 6.8869 | 0 | 90.15 | 32.6 | 0 | 5.83
576 | 26/04/2016 | 11:00:00 a.m. | 1358938 | 427749 | 6.9858 | 0 | 90.052 | 29.1 | 2.4 | 5.83
575 | 26/04/2016 | 10:00:00 a.m. | 1358938 | 427749 | 7.0725 | 0 | 90.161 | 24.9 | 50 | 5.81
574 | 26/04/2016 | 9:00:00 a.m. | 1358906 | 427745 | 7.1549 | 0 | 90.534 | 16.4 | 138.6 | 5.8
573 | 26/04/2016 | 8:00:00 a.m. | 1358875 | 427741 | 7.5523 | 0 | 90.921 | 9.8 | 0 | 5.8
572 | 26/04/2016 | 7:00:00 a.m. | 1358875 | 427741 | 7.6318 | 0 | 91.05 | 10.7 | 0 | 5.8
571 | 26/04/2016 | 6:00:00 a.m. | 1358875 | 427741 | 7.5111 | 0 | 90.873 | 11.5 | 0 | 5.8
570 | 26/04/2016 | 5:00:00 a.m. | 1358875 | 427741 | 7.5161 | 0 | 90.716 | 11.9 | 0 | 5.8
569 | 26/04/2016 | 4:00:00 a.m. | 1358875 | 427741 | 7.4986 | 0 | 90.782 | 12.1 | 0 | 5.8
568 | 26/04/2016 | 3:00:00 a.m. | 1358875 | 427741 | 7.515 | 0 | 90.669 | 11.6 | 0 | 5.8
567 | 26/04/2016 | 2:00:00 a.m. | 1358875 | 427741 | 7.4926 | 0 | 90.791 | 13.2 | 0 | 5.8
566 | 26/04/2016 | 1:00:00 a.m. | 1358875 | 427741 | 7.4494 | 0 | 91.08 | 14.4 | 0 | 5.8
565 | 26/04/2016 | 12:00:00 a.m. | 1358875 | 427741 | 7.4629 | 0 | 90.859 | 15.1 | 0 | 5.8
564 | 25/04/2016 | 11:00:00 p.m. | 1358875 | 427741 | 7.4198 | 0 | 90.705 | 17.5 | 0 | 5.8
563 | 25/04/2016 | 10:00:00 p.m. | 1358875 | 427741 | 7.3145 | 0 | 90.489 | 19.9 | 1 | 5.81
562 | 25/04/2016 | 9:00:00 p.m. | 1358875 | 427741 | 7.2168 | 0 | 90.313 | 23.9 | 106.8 | 5.81
561 | 25/04/2016 | 8:00:00 p.m. | 1358848 | 427737 | 7.0767 | 0 | 90.101 | 26.8 | 110.2 | 5.82
560 | 25/04/2016 | 7:00:00 p.m. | 1358759 | 427724 | 7.0582 | 0 | 90.332 | 28.3 | 111.6 | 5.83
559 | 25/04/2016 | 6:00:00 p.m. | 1358678 | 427713 | 7.0742 | 0 | 90.096 | 29.6 | 162.3 | 5.83
558 | 25/04/2016 | 5:00:00 p.m. | 1358611 | 427703 | 6.9291 | 0 | 90.578 | 33.2 | 0 | 5.83
557 | 25/04/2016 | 4:00:00 p.m. | 1358611 | 427703 | 6.9585 | 0 | 91.072 | 32.6 | 2.2 | 5.83
556 | 25/04/2016 | 3:00:00 p.m. | 1358611 | 427703 | 7.0506 | 0 | 91.006 | 28.4 | 160.9 | 5.83
555 | 25/04/2016 | 2:00:00 p.m. | 1358573 | 427698 | 7.0971 | 0 | 90.899 | 30.7 | 163 | 5.82
554 | 25/04/2016 | 1:00:00 p.m. | 1358556 | 427695 | 7.0277 | 0 | 91.239 | 28.8 | 0 | 5.82
553 | 25/04/2016 | 12:00:00 p.m. | 1358556 | 427695 | 7.1732 | 0 | 91.496 | 26.3 | 0 | 5.82
552 | 25/04/2016 | 11:00:00 a.m. | 1358556 | 427695 | 7.2217 | 0 | 91.578 | 22.8 | 1.4 | 5.8
551 | 25/04/2016 | 10:00:00 a.m. | 1358556 | 427695 | 7.2879 | 0 | 91.193 | 23.4 | 139.6 | 5.8
550 | 25/04/2016 | 9:00:00 a.m. | 1358518 | 427690 | 7.1979 | 0 | 90.968 | 16.1 | 166.5 | 5.79
549 | 25/04/2016 | 8:00:00 a.m. | 1358463 | 427683 | 7.6338 | 0 | 91.288 | 9 | 0 | 5.8
548 | 25/04/2016 | 7:00:00 a.m. | 1358463 | 427683 | 7.628 | 0 | 91.39 | 9.5 | 0 | 5.8
547 | 25/04/2016 | 6:00:00 a.m. | 1358463 | 427683 | 7.5962 | 0 | 91.813 | 10.7 | 0 | 5.8
546 | 25/04/2016 | 5:00:00 a.m. | 1358463 | 427683 | 7.6359 | 0 | 91.595 | 11.8 | 0 | 5.8
545 | 25/04/2016 | 4:00:00 a.m. | 1358463 | 427683 | 7.5921 | 0 | 91.856 | 12.8 | 0 | 5.8
544 | 25/04/2016 | 3:00:00 a.m. | 1358463 | 427683 | 7.5072 | 0 | 91.825 | 15.7 | 2.6 | 5.8
543 | 25/04/2016 | 2:00:00 a.m. | 1358463 | 427683 | 7.3698 | 0 | 91.212 | 23.5 | 164.3 | 5.8
542 | 25/04/2016 | 1:00:00 a.m. | 1358402 | 427674 | 7.1762 | 0 | 91.063 | 24.4 | 98.6 | 5.8
541 | 25/04/2016 | 12:00:00 a.m. | 1358324 | 427663 | 7.1883 | 0 | 91.337 | 24.4 | 93.2 | 5.8
540 | 24/04/2016 | 11:00:00 p.m. | 1358250 | 427653 | 7.17 | 0 | 91.798 | 19.6 | 165.2 | 5.8
539 | 24/04/2016 | 10:00:00 p.m. | 1358216 | 427648 | 7.415 | 0 | 91.957 | 20.7 | 0 | 5.81
538 | 24/04/2016 | 9:00:00 p.m. | 1358216 | 427648 | 7.3538 | 0 | 91.914 | 23.5 | 0 | 5.82
537 | 24/04/2016 | 8:00:00 p.m. | 1358216 | 427648 | 7.2437 | 0 | 91.727 | 27.9 | 0 | 5.82
536 | 24/04/2016 | 7:00:00 p.m. | 1358216 | 427648 | 7.101 | 0 | 91.608 | 33.5 | 0 | 5.83
535 | 24/04/2016 | 6:00:00 p.m. | 1358216 | 427648 | 6.9793 | 0 | 91.535 | 36.6 | 0 | 5.83
534 | 24/04/2016 | 5:00:00 p.m. | 1358216 | 427648 | 6.9036 | 0 | 91.563 | 38.3 | 0 | 5.83
533 | 24/04/2016 | 4:00:00 p.m. | 1358216 | 427648 | 6.8473 | 0 | 91.521 | 37.2 | 1.3 | 5.83
532 | 24/04/2016 | 3:00:00 p.m. | 1358216 | 427648 | 6.9655 | 0 | 91.307 | 33.9 | 161.9 | 5.83
531 | 24/04/2016 | 2:00:00 p.m. | 1358199 | 427646 | 6.837 | 0 | 90.574 | 36.6 | 0 | 5.83
530 | 24/04/2016 | 1:00:00 p.m. | 1358199 | 427646 | 6.9039 | 0 | 90.875 | 34.6 | 0 | 5.83
529 | 24/04/2016 | 12:00:00 p.m. | 1358199 | 427646 | 6.9299 | 0 | 90.815 | 32.2 | 0 | 5.83
528 | 24/04/2016 | 11:00:00 a.m. | 1358199 | 427646 | 7.0377 | 0 | 90.955 | 28.1 | 1.3 | 5.82
527 | 24/04/2016 | 10:00:00 a.m. | 1358199 | 427646 | 7.1714 | 0 | 90.814 | 25.4 | 111.3 | 5.81
526 | 24/04/2016 | 9:00:00 a.m. | 1358154 | 427640 | 7.1204 | 0 | 91.117 | 19.3 | 166.4 | 5.8
525 | 24/04/2016 | 8:00:00 a.m. | 1358113 | 427634 | 7.2003 | 0 | 90.902 | 21.8 | 167.6 | 5.79
524 | 24/04/2016 | 7:00:00 a.m. | 1358035 | 427623 | 7.3544 | 0 | 91.068 | 11.9 | 167.5 | 5.79
523 | 24/04/2016 | 6:00:00 a.m. | 1358002 | 427618 | 7.6775 | 0 | 91.303 | 9 | 0 | 5.79
522 | 24/04/2016 | 5:00:00 a.m. | 1358002 | 427618 | 7.5688 | 0 | 91.243 | 9.3 | 0 | 5.8
521 | 24/04/2016 | 4:00:00 a.m. | 1358002 | 427618 | 7.5966 | 0 | 91.248 | 10.4 | 0 | 5.8
520 | 24/04/2016 | 3:00:00 a.m. | 1358002 | 427618 | 7.5549 | 0 | 91.212 | 12.3 | 0 | 5.8
519 | 24/04/2016 | 2:00:00 a.m. | 1358002 | 427618 | 7.4885 | 0 | 91.049 | 14.3 | 0 | 5.8
518 | 24/04/2016 | 1:00:00 a.m. | 1358002 | 427618 | 7.4184 | 0 | 91.125 | 16.2 | 0 | 5.8
517 | 24/04/2016 | 12:00:00 a.m. | 1358002 | 427618 | 7.4386 | 0 | 91.21 | 17.3 | 0 | 5.8
516 | 23/04/2016 | 11:00:00 p.m. | 1358002 | 427618 | 7.4114 | 0 | 91.063 | 17.8 | 0 | 5.8
515 | 23/04/2016 | 10:00:00 p.m. | 1358002 | 427618 | 7.3404 | 0 | 91.113 | 19.1 | 2.6 | 5.8
514 | 23/04/2016 | 9:00:00 p.m. | 1358002 | 427618 | 7.2861 | 0 | 90.902 | 22.8 | 163.5 | 5.81
513 | 23/04/2016 | 8:00:00 p.m. | 1357983 | 427616 | 7.2086 | 0 | 90.813 | 24.8 | 45.9 | 5.82
512 | 23/04/2016 | 7:00:00 p.m. | 1357960 | 427613 | 7.1097 | 0 | 90.678 | 27 | 78.3 | 5.82
511 | 23/04/2016 | 6:00:00 p.m. | 1357941 | 427610 | 7.0355 | 0 | 90.395 | 28.6 | 25.4 | 5.83
510 | 23/04/2016 | 5:00:00 p.m. | 1357918 | 427607 | 7.0167 | 0 | 90.514 | 28 | 25.7 | 5.82
509 | 23/04/2016 | 4:00:00 p.m. | 1357892 | 427603 | 7.0814 | 0 | 90.354 | 28.6 | 27.7 | 5.82
508 | 23/04/2016 | 3:00:00 p.m. | 1357869 | 427600 | 7.0178 | 0 | 90.368 | 28 | 40.9 | 5.82
507 | 23/04/2016 | 2:00:00 p.m. | 1357847 | 427597 | 7.087 | 0 | 90.485 | 26.5 | 25.6 | 5.82
506 | 23/04/2016 | 1:00:00 p.m. | 1357826 | 427594 | 7.0602 | 0 | 90.21 | 27.1 | 27.4 | 5.82
505 | 23/04/2016 | 12:00:00 p.m. | 1357805 | 427591 | 7.0787 | 0 | 90.243 | 26.8 | 71 | 5.82
504 | 23/04/2016 | 11:00:00 a.m. | 1357775 | 427586 | 7.0863 | 0 | 90.035 | 25.3 | 164.4 | 5.81
503 | 23/04/2016 | 10:00:00 a.m. | 1357680 | 427573 | 7.2437 | 0 | 90.492 | 20.3 | 1.1 | 5.8
502 | 23/04/2016 | 9:00:00 a.m. | 1357680 | 427573 | 7.234 | 0 | 90.632 | 22.6 | 165.1 | 5.8
501 | 23/04/2016 | 8:00:00 a.m. | 1357656 | 427570 | 7.1476 | 0 | 90.57 | 24.9 | 107.7 | 5.8
500 | 23/04/2016 | 7:00:00 a.m. | 1357564 | 427557 | 7.142 | 0 | 90.475 | 24.7 | 113.2 | 5.8
499 | 23/04/2016 | 6:00:00 a.m. | 1357470 | 427544 | 7.1332 | 0 | 90.3 | 25.1 | 166.1 | 5.8
498 | 23/04/2016 | 5:00:00 a.m. | 1357344 | 427526 | 7.1777 | 0 | 90.753 | 14.3 | 165.8 | 5.8
497 | 23/04/2016 | 4:00:00 a.m. | 1357326 | 427523 | 7.4414 | 0 | 90.784 | 14.1 | 0 | 5.8
496 | 23/04/2016 | 3:00:00 a.m. | 1357326 | 427523 | 7.4235 | 0 | 90.683 | 15.3 | 0 | 5.8
495 | 23/04/2016 | 2:00:00 a.m. | 1357326 | 427523 | 7.3937 | 0 | 90.795 | 16.2 | 0 | 5.8
494 | 23/04/2016 | 1:00:00 a.m. | 1357326 | 427523 | 7.3496 | 0 | 90.729 | 17.6 | 0 | 5.8
493 | 23/04/2016 | 12:00:00 a.m. | 1357326 | 427523 | 7.3274 | 0 | 90.868 | 18 | 0 | 5.8
492 | 22/04/2016 | 11:00:00 p.m. | 1357326 | 427523 | 7.3451 | 0 | 90.773 | 17.3 | 0 | 5.8
491 | 22/04/2016 | 10:00:00 p.m. | 1357326 | 427523 | 7.3631 | 0 | 90.721 | 17.7 | 0 | 5.8
490 | 22/04/2016 | 9:00:00 p.m. | 1357326 | 427523 | 7.3247 | 0 | 90.816 | 19.3 | 0 | 5.8
489 | 22/04/2016 | 8:00:00 p.m. | 1357326 | 427523 | 7.2677 | 0 | 90.737 | 22.8 | 56.7 | 5.81
488 | 22/04/2016 | 7:00:00 p.m. | 1357325 | 427523 | 7.0903 | 0 | 90.276 | 26.6 | 138.2 | 5.81
487 | 22/04/2016 | 6:00:00 p.m. | 1357234 | 427510 | 7.1161 | 0 | 90.307 | 26.4 | 117.8 | 5.82
486 | 22/04/2016 | 5:00:00 p.m. | 1357172 | 427502 | 7.104 | 0 | 90.379 | 24.8 | 35 | 5.82
485 | 22/04/2016 | 4:00:00 p.m. | 1357144 | 427498 | 7.1 | 0 | 90.26 | 27.6 | 29 | 5.83
484 | 22/04/2016 | 3:00:00 p.m. | 1357118 | 427494 | 7.011 | 0 | 90.272 | 28.5 | 26 | 5.83
483 | 22/04/2016 | 2:00:00 p.m. | 1357092 | 427490 | 7.0272 | 0 | 90.177 | 27.6 | 27.5 | 5.82
482 | 22/04/2016 | 1:00:00 p.m. | 1357068 | 427487 | 7.0545 | 0 | 90.197 | 27 | 34 | 5.82
481 | 22/04/2016 | 12:00:00 p.m. | 1357043 | 427483 | 7.0827 | 0 | 90.428 | 26.9 | 88.9 | 5.82
480 | 22/04/2016 | 11:00:00 a.m. | 1356983 | 427475 | 7.072 | 0 | 90.182 | 26.5 | 90.7 | 5.81
479 | 22/04/2016 | 10:00:00 a.m. | 1356904 | 427464 | 7.0583 | 0 | 90.053 | 26 | 116 | 5.81
478 | 22/04/2016 | 9:00:00 a.m. | 1356810 | 427451 | 7.0959 | 0 | 90.589 | 21.9 | 112.7 | 5.8
477 | 22/04/2016 | 8:00:00 a.m. | 1356772 | 427445 | 7.2562 | 0 | 90.608 | 20.7 | 101.4 | 5.8
476 | 22/04/2016 | 7:00:00 a.m. | 1356745 | 427442 | 7.2841 | 0 | 90.762 | 21.8 | 94.9 | 5.8
475 | 22/04/2016 | 6:00:00 a.m. | 1356713 | 427437 | 7.1308 | 0 | 90.331 | 24.6 | 120.5 | 5.8
474 | 22/04/2016 | 5:00:00 a.m. | 1356615 | 427423 | 7.1299 | 0 | 90.458 | 24.9 | 120.8 | 5.8
473 | 22/04/2016 | 4:00:00 a.m. | 1356515 | 427409 | 7.1929 | 0 | 90.527 | 24.5 | 93.4 | 5.8
472 | 22/04/2016 | 3:00:00 a.m. | 1356432 | 427398 | 7.1434 | 0 | 90.494 | 24.4 | 97.5 | 5.8
471 | 22/04/2016 | 2:00:00 a.m. | 1356349 | 427386 | 7.1685 | 0 | 90.436 | 22.2 | 165.4 | 5.8
470 | 22/04/2016 | 1:00:00 a.m. | 1356261 | 427374 | 7.3947 | 0 | 90.942 | 16.3 | 0 | 5.8
469 | 22/04/2016 | 12:00:00 a.m. | 1356261 | 427374 | 7.4426 | 0 | 90.869 | 15.1 | 0 | 5.8
468 | 21/04/2016 | 11:00:00 p.m. | 1356261 | 427374 | 7.3933 | 0 | 91.006 | 16.7 | 0 | 5.8
467 | 21/04/2016 | 10:00:00 p.m. | 1356261 | 427374 | 7.3787 | 0 | 90.893 | 19.1 | 0 | 5.81
466 | 21/04/2016 | 9:00:00 p.m. | 1356261 | 427374 | 7.3243 | 0 | 90.77 | 21.8 | 0 | 5.81
465 | 21/04/2016 | 8:00:00 p.m. | 1356261 | 427374 | 7.1922 | 0 | 90.572 | 25.5 | 0 | 5.82
464 | 21/04/2016 | 7:00:00 p.m. | 1356261 | 427374 | 7.0786 | 0 | 90.604 | 29 | 0 | 5.83
463 | 21/04/2016 | 6:00:00 p.m. | 1356261 | 427374 | 6.9962 | 0 | 90.453 | 33.2 | 1.5 | 5.83
462 | 21/04/2016 | 5:00:00 p.m. | 1356261 | 427374 | 6.8959 | 0 | 90.154 | 30.7 | 159.5 | 5.83
461 | 21/04/2016 | 4:00:00 p.m. | 1356215 | 427367 | 6.9905 | 0 | 90.008 | 28.4 | 117.4 | 5.83
460 | 21/04/2016 | 3:00:00 p.m. | 1356139 | 427356 | 7.0351 | 0 | 90.581 | 31 | 162.4 | 5.83
459 | 21/04/2016 | 2:00:00 p.m. | 1356117 | 427353 | 7.0139 | 0 | 90.539 | 30.2 | 0 | 5.83
458 | 21/04/2016 | 1:00:00 p.m. | 1356117 | 427353 | 7.0301 | 0 | 90.834 | 31.6 | 0 | 5.82
457 | 21/04/2016 | 12:00:00 p.m. | 1356117 | 427353 | 6.9684 | 0 | 90.755 | 31.2 | 0.8 | 5.83
456 | 21/04/2016 | 11:00:00 a.m. | 1356117 | 427353 | 7.0559 | 0 | 90.619 | 27 | 101.8 | 5.82
455 | 21/04/2016 | 10:00:00 a.m. | 1356111 | 427352 | 7.1136 | 0 | 90.365 | 25.8 | 164.6 | 5.81
454 | 21/04/2016 | 9:00:00 a.m. | 1356005 | 427338 | 7.1632 | 0 | 90.774 | 21.6 | 165.9 | 5.8
453 | 21/04/2016 | 8:00:00 a.m. | 1355964 | 427332 | 7.213 | 0 | 90.863 | 23.4 | 165.7 | 5.79
452 | 21/04/2016 | 7:00:00 a.m. | 1355879 | 427320 | 7.1768 | 0 | 90.916 | 24.3 | 121.6 | 5.79
451 | 21/04/2016 | 6:00:00 a.m. | 1355767 | 427305 | 7.2092 | 0 | 90.823 | 24.5 | 124.7 | 5.8
450 | 21/04/2016 | 5:00:00 a.m. | 1355652 | 427288 | 7.1525 | 0 | 90.785 | 20.7 | 167.3 | 5.8
449 | 21/04/2016 | 4:00:00 a.m. | 1355543 | 427273 | 7.5748 | 0 | 91.329 | 11.7 | 0 | 5.8
448 | 21/04/2016 | 3:00:00 a.m. | 1355543 | 427273 | 7.5655 | 0 | 91.414 | 12.5 | 0 | 5.8
447 | 21/04/2016 | 2:00:00 a.m. | 1355543 | 427273 | 7.5034 | 0 | 91.365 | 14 | 0 | 5.8
446 | 21/04/2016 | 1:00:00 a.m. | 1355543 | 427273 | 7.5051 | 0 | 91.26 | 14.6 | 0 | 5.8
445 | 21/04/2016 | 12:00:00 a.m. | 1355543 | 427273 | 7.4713 | 0 | 91.536 | 14.2 | 0 | 5.8
444 | 20/04/2016 | 11:00:00 p.m. | 1355543 | 427273 | 7.5059 | 0 | 91.448 | 14.8 | 0 | 5.8
443 | 20/04/2016 | 10:00:00 p.m. | 1355543 | 427273 | 7.4512 | 0 | 91.321 | 16.4 | 0 | 5.8
442 | 20/04/2016 | 9:00:00 p.m. | 1355543 | 427273 | 7.4029 | 0 | 91.312 | 19.4 | 0 | 5.81
441 | 20/04/2016 | 8:00:00 p.m. | 1355543 | 427273 | 7.241 | 0 | 90.634 | 22.9 | 0 | 5.82
440 | 20/04/2016 | 7:00:00 p.m. | 1355543 | 427273 | 7.1591 | 0 | 90.67 | 23.9 | 0 | 5.82
439 | 20/04/2016 | 6:00:00 p.m. | 1355543 | 427273 | 7.1596 | 0 | 90.66 | 24.8 | 0 | 5.82
438 | 20/04/2016 | 5:00:00 p.m. | 1355543 | 427273 | 7.1273 | 0 | 90.578 | 22.7 | 0 | 5.82
437 | 20/04/2016 | 4:00:00 p.m. | 1355543 | 427273 | 7.177 | 0 | 90.483 | 24.6 | 2.8 | 5.82
436 | 20/04/2016 | 3:00:00 p.m. | 1355543 | 427273 | 7.1215 | 0 | 90.145 | 27.1 | 162.4 | 5.83
435 | 20/04/2016 | 2:00:00 p.m. | 1355486 | 427265 | 7.0341 | 0 | 89.874 | 25.8 | 165 | 5.82
434 | 20/04/2016 | 1:00:00 p.m. | 1355380 | 427250 | 7.1348 | 0 | 90.334 | 28.7 | 0 | 5.82
433 | 20/04/2016 | 12:00:00 p.m. | 1355380 | 427250 | 6.933 | 0 | 90.078 | 31.1 | 1 | 5.83
432 | 20/04/2016 | 11:00:00 a.m. | 1355380 | 427250 | 7.0049 | 0 | 90.073 | 28.5 | 161.2 | 5.83
431 | 20/04/2016 | 10:00:00 a.m. | 1355349 | 427246 | 7.0222 | 0 | 89.92 | 26.8 | 140.8 | 5.82
430 | 20/04/2016 | 9:00:00 a.m. | 1355230 | 427229 | 7.072 | 0 | 90.104 | 25.5 | 165.5 | 5.8
429 | 20/04/2016 | 8:00:00 a.m. | 1355104 | 427211 | 7.1271 | 0 | 90.638 | 18.5 | 166.6 | 5.8
428 | 20/04/2016 | 7:00:00 a.m. | 1355056 | 427205 | 7.5322 | 0 | 91.016 | 13 | 1 | 5.8
427 | 20/04/2016 | 6:00:00 a.m. | 1355056 | 427205 | 7.4371 | 0 | 90.859 | 19 | 166.2 | 5.8
426 | 20/04/2016 | 5:00:00 a.m. | 1355030 | 427201 | 7.136 | 0 | 90.813 | 13.3 | 166.5 | 5.8
425 | 20/04/2016 | 4:00:00 a.m. | 1354998 | 427197 | 7.526 | 0 | 90.91 | 12.2 | 0 | 5.8
424 | 20/04/2016 | 3:00:00 a.m. | 1354998 | 427197 | 7.507 | 0 | 90.937 | 12.2 | 0 | 5.8
423 | 20/04/2016 | 2:00:00 a.m. | 1354998 | 427197 | 7.4903 | 0 | 90.908 | 11.7 | 0 | 5.8
422 | 20/04/2016 | 1:00:00 a.m. | 1354998 | 427197 | 7.5144 | 0 | 90.94 | 12.1 | 0 | 5.8
421 | 20/04/2016 | 12:00:00 a.m. | 1354998 | 427197 | 7.5354 | 0 | 90.89 | 13 | 0 | 5.8
420 | 19/04/2016 | 11:00:00 p.m. | 1354998 | 427197 | 7.4697 | 0 | 90.97 | 14.2 | 0 | 5.8
419 | 19/04/2016 | 10:00:00 p.m. | 1354998 | 427197 | 7.3974 | 0 | 90.853 | 16.9 | 1.9 | 5.8
418 | 19/04/2016 | 9:00:00 p.m. | 1354998 | 427197 | 7.3053 | 0 | 90.832 | 23.2 | 163.4 | 5.8
417 | 19/04/2016 | 8:00:00 p.m. | 1354960 | 427191 | 7.1607 | 0 | 90.557 | 23.9 | 164.5 | 5.81
416 | 19/04/2016 | 7:00:00 p.m. | 1354887 | 427181 | 7.2927 | 0 | 90.941 | 19.4 | 0 | 5.81
415 | 19/04/2016 | 6:00:00 p.m. | 1354887 | 427181 | 7.3567 | 0 | 91.139 | 19.2 | 0 | 5.82
414 | 19/04/2016 | 5:00:00 p.m. | 1354887 | 427181 | 7.3085 | 0 | 90.802 | 23.7 | 0 | 5.83
413 | 19/04/2016 | 4:00:00 p.m. | 1354887 | 427181 | 6.9404 | 0 | 90.467 | 35.8 | 0 | 5.84
412 | 19/04/2016 | 3:00:00 p.m. | 1354887 | 427181 | 6.828 | 0 | 90.364 | 37 | 0 | 5.84
411 | 19/04/2016 | 2:00:00 p.m. | 1354887 | 427181 | 6.8323 | 0 | 90.377 | 36.3 | 0 | 5.83
410 | 19/04/2016 | 1:00:00 p.m. | 1354887 | 427181 | 6.8623 | 0 | 90.312 | 35.8 | 0 | 5.83
409 | 19/04/2016 | 12:00:00 p.m. | 1354887 | 427181 | 6.8999 | 0 | 90.367 | 33.3 | 0 | 5.83
408 | 19/04/2016 | 11:00:00 a.m. | 1354887 | 427181 | 6.9811 | 0 | 90.294 | 28.3 | 0 | 5.83
407 | 19/04/2016 | 10:00:00 a.m. | 1354887 | 427181 | 7.1065 | 0 | 90.376 | 23.3 | 2.2 | 5.82
406 | 19/04/2016 | 9:00:00 a.m. | 1354887 | 427181 | 7.2124 | 0 | 90.347 | 24.8 | 164.3 | 5.8
405 | 19/04/2016 | 8:00:00 a.m. | 1354805 | 427169 | 7.1171 | 0 | 90.54 | 17.8 | 167 | 5.8
404 | 19/04/2016 | 7:00:00 a.m. | 1354726 | 427158 | 7.555 | 0 | 90.89 | 10.9 | 0 | 5.8
403 | 19/04/2016 | 6:00:00 a.m. | 1354726 | 427158 | 7.5323 | 0 | 90.837 | 11.7 | 0 | 5.8
402 | 19/04/2016 | 5:00:00 a.m. | 1354726 | 427158 | 7.4815 | 0 | 90.929 | 12 | 0 | 5.8
401 | 19/04/2016 | 4:00:00 a.m. | 1354725 | 427158 | 7.4892 | 0 | 90.866 | 12.7 | 0 | 5.8
400 | 19/04/2016 | 3:00:00 a.m. | 1354725 | 427158 | 7.5222 | 0 | 91.016 | 13.5 | 0 | 5.8
399 | 19/04/2016 | 2:00:00 a.m. | 1354725 | 427158 | 7.4762 | 0 | 90.849 | 14.8 | 0 | 5.8
398 | 19/04/2016 | 1:00:00 a.m. | 1354725 | 427158 | 7.3951 | 0 | 90.782 | 16.7 | 0 | 5.8
397 | 19/04/2016 | 12:00:00 a.m. | 1354725 | 427158 | 7.3561 | 0 | 90.93 | 18.8 | 0 | 5.81
396 | 18/04/2016 | 11:00:00 p.m. | 1354725 | 427158 | 7.3526 | 0 | 91.07 | 20.2 | 0 | 5.82
395 | 18/04/2016 | 10:00:00 p.m. | 1354725 | 427158 | 7.2675 | 0 | 91.032 | 22.7 | 0 | 5.82
394 | 18/04/2016 | 9:00:00 p.m. | 1354725 | 427158 | 7.1988 | 0 | 90.942 | 24.4 | 0 | 5.82
393 | 18/04/2016 | 8:00:00 p.m. | 1354725 | 427158 | 7.1694 | 0 | 90.802 | 25.7 | 0 | 5.83
392 | 18/04/2016 | 7:00:00 p.m. | 1354725 | 427158 | 7.1434 | 0 | 90.871 | 23.6 | 0 | 5.83
391 | 18/04/2016 | 6:00:00 p.m. | 1354725 | 427158 | 7.2841 | 0 | 90.966 | 29.1 | 0 | 5.83
390 | 18/04/2016 | 5:00:00 p.m. | 1354725 | 427158 | 6.9988 | 0 | 90.651 | 33.1 | 0 | 5.83
389 | 18/04/2016 | 4:00:00 p.m. | 1354725 | 427158 | 6.8983 | 0 | 90.496 | 37.4 | 0 | 5.84
388 | 18/04/2016 | 3:00:00 p.m. | 1354725 | 427158 | 6.7945 | 0 | 90.434 | 38.9 | 0 | 5.84
387 | 18/04/2016 | 2:00:00 p.m. | 1354725 | 427158 | 6.798 | 0 | 90.37 | 38.8 | 0 | 5.83
386 | 18/04/2016 | 1:00:00 p.m. | 1354725 | 427158 | 6.8304 | 0 | 90.394 | 35.2 | 21 | 5.83
385 | 18/04/2016 | 12:00:00 p.m. | 1354725 | 427158 | 7.0289 | 0 | 89.985 | 28.6 | 134 | 5.83
384 | 18/04/2016 | 11:00:00 a.m. | 1354603 | 427141 | 7.0194 | 0 | 89.925 | 27.8 | 134.5 | 5.83
383 | 18/04/2016 | 10:00:00 a.m. | 1354477 | 427123 | 7.0244 | 0 | 90.129 | 26.8 | 145.6 | 5.82
382 | 18/04/2016 | 9:00:00 a.m. | 1354348 | 427105 | 7.1017 | 0 | 90.7 | 17.2 | 164.6 | 5.8
381 | 18/04/2016 | 8:00:00 a.m. | 1354310 | 427099 | 7.4182 | 0 | 90.964 | 20.2 | 137.2 | 5.8
380 | 18/04/2016 | 7:00:00 a.m. | 1354265 | 427093 | 7.1666 | 0 | 91.166 | 14.8 | 165.3 | 5.8
379 | 18/04/2016 | 6:00:00 a.m. | 1354240 | 427090 | 7.4975 | 0 | 91.264 | 16.8 | 3.4 | 5.8
378 | 18/04/2016 | 5:00:00 a.m. | 1354240 | 427090 | 7.28 | 0 | 90.895 | 24.7 | 131.2 | 5.8
377 | 18/04/2016 | 4:00:00 a.m. | 1354143 | 427076 | 7.137 | 0 | 90.742 | 25.5 | 128.8 | 5.8
376 | 18/04/2016 | 3:00:00 a.m. | 1354020 | 427059 | 7.1611 | 0 | 90.692 | 25.4 | 129.1 | 5.8
375 | 18/04/2016 | 2:00:00 a.m. | 1353900 | 427042 | 7.1384 | 0 | 90.57 | 24.6 | 165.3 | 5.8
374 | 18/04/2016 | 1:00:00 a.m. | 1353764 | 427023 | 7.4033 | 0 | 91.06 | 17.4 | 0 | 5.8
373 | 18/04/2016 | 12:00:00 a.m. | 1353764 | 427023 | 7.4173 | 0 | 91.674 | 19.2 | 0 | 5.82
372 | 17/04/2016 | 11:00:00 p.m. | 1353764 | 427023 | 7.3537 | 0 | 91.741 | 21.8 | 0 | 5.82
371 | 17/04/2016 | 10:00:00 p.m. | 1353764 | 427023 | 7.2798 | 0 | 91.46 | 23.3 | 0 | 5.82
370 | 17/04/2016 | 9:00:00 p.m. | 1353764 | 427023 | 7.2235 | 0 | 91.578 | 24.4 | 0 | 5.82
369 | 17/04/2016 | 8:00:00 p.m. | 1353764 | 427023 | 7.1995 | 0 | 91.364 | 26.6 | 0 | 5.83
368 | 17/04/2016 | 7:00:00 p.m. | 1353764 | 427023 | 7.1126 | 0 | 91.689 | 29 | 1.7 | 5.83
367 | 17/04/2016 | 6:00:00 p.m. | 1353764 | 427023 | 7.1194 | 0 | 91.456 | 31.1 | 56.3 | 5.83
366 | 17/04/2016 | 5:00:00 p.m. | 1353745 | 427020 | 6.916 | 0 | 91.337 | 37.3 | 0 | 5.84
365 | 17/04/2016 | 4:00:00 p.m. | 1353745 | 427020 | 6.8748 | 0 | 91.382 | 39.2 | 0 | 5.84
364 | 17/04/2016 | 3:00:00 p.m. | 1353745 | 427020 | 6.9009 | 0 | 91.536 | 39.4 | 0 | 5.84
363 | 17/04/2016 | 2:00:00 p.m. | 1353745 | 427020 | 6.8665 | 0 | 91.541 | 39.6 | 0 | 5.84
362 | 17/04/2016 | 1:00:00 p.m. | 1353745 | 427020 | 6.8655 | 0 | 91.584 | 37.6 | 0 | 5.84
361 | 17/04/2016 | 12:00:00 p.m. | 1353745 | 427020 | 6.9438 | 0 | 91.351 | 33.6 | 0.7 | 5.83
360 | 17/04/2016 | 11:00:00 a.m. | 1353745 | 427020 | 7.0341 | 0 | 91.35 | 27.8 | 77.9 | 5.83
359 | 17/04/2016 | 10:00:00 a.m. | 1353742 | 427020 | 7.1409 | 0 | 91.292 | 21.8 | 77.3 | 5.82
358 | 17/04/2016 | 9:00:00 a.m. | 1353715 | 427016 | 7.4711 | 0 | 91.885 | 12.9 | 0 | 5.8
357 | 17/04/2016 | 8:00:00 a.m. | 1353715 | 427016 | 7.6087 | 0 | 91.594 | 10.6 | 0 | 5.8
356 | 17/04/2016 | 7:00:00 a.m. | 1353715 | 427016 | 7.586 | 0 | 91.544 | 12.6 | 0 | 5.8
355 | 17/04/2016 | 6:00:00 a.m. | 1353715 | 427016 | 7.5218 | 0 | 91.41 | 13.9 | 0 | 5.8
354 | 17/04/2016 | 5:00:00 a.m. | 1353715 | 427016 | 7.4831 | 0 | 91.349 | 14.3 | 0 | 5.8
353 | 17/04/2016 | 4:00:00 a.m. | 1353715 | 427016 | 7.4912 | 0 | 91.143 | 14.9 | 0 | 5.8
352 | 17/04/2016 | 3:00:00 a.m. | 1353715 | 427016 | 7.423 | 0 | 90.89 | 14.4 | 0 | 5.8
351 | 17/04/2016 | 2:00:00 a.m. | 1353715 | 427016 | 7.4117 | 0 | 91.116 | 15.2 | 0 | 5.8
350 | 17/04/2016 | 1:00:00 a.m. | 1353715 | 427016 | 7.4596 | 0 | 91.435 | 15.7 | 0 | 5.8
349 | 17/04/2016 | 12:00:00 a.m. | 1353715 | 427016 | 7.4737 | 0 | 91.39 | 17.4 | 0 | 5.8
348 | 16/04/2016 | 11:00:00 p.m. | 1353715 | 427016 | 7.3798 | 0 | 90.857 | 19 | 0 | 5.81
347 | 16/04/2016 | 10:00:00 p.m. | 1353715 | 427016 | 7.3143 | 0 | 90.744 | 21.7 | 3.4 | 5.82
346 | 16/04/2016 | 9:00:00 p.m. | 1353715 | 427016 | 7.211 | 0 | 90.423 | 26.3 | 163.6 | 5.82
345 | 16/04/2016 | 8:00:00 p.m. | 1353605 | 427001 | 7.0748 | 0 | 90.83 | 26.5 | 163.6 | 5.82
344 | 16/04/2016 | 7:00:00 p.m. | 1353590 | 426999 | 7.0728 | 0 | 90.635 | 29.6 | 0 | 5.83
343 | 16/04/2016 | 6:00:00 p.m. | 1353590 | 426999 | 6.9758 | 0 | 90.553 | 33.3 | 0 | 5.83
342 | 16/04/2016 | 5:00:00 p.m. | 1353590 | 426999 | 6.8621 | 0 | 90.374 | 36 | 0 | 5.84
341 | 16/04/2016 | 4:00:00 p.m. | 1353590 | 426999 | 6.8909 | 0 | 90.4 | 36.8 | 0 | 5.84
340 | 16/04/2016 | 3:00:00 p.m. | 1353590 | 426999 | 6.8013 | 0 | 90.442 | 38.5 | 0 | 5.84
339 | 16/04/2016 | 2:00:00 p.m. | 1353590 | 426999 | 6.8061 | 0 | 90.234 | 38 | 0 | 5.84
338 | 16/04/2016 | 1:00:00 p.m. | 1353590 | 426999 | 6.8433 | 0 | 90.321 | 34 | 0 | 5.83
337 | 16/04/2016 | 12:00:00 p.m. | 1353590 | 426999 | 6.9476 | 0 | 90.226 | 33.3 | 0 | 5.83
336 | 16/04/2016 | 11:00:00 a.m. | 1353590 | 426999 | 6.9512 | 0 | 90.359 | 30.3 | 0 | 5.83
335 | 16/04/2016 | 10:00:00 a.m. | 1353590 | 426999 | 7.0587 | 0 | 90.457 | 24.9 | 4.4 | 5.82
334 | 16/04/2016 | 9:00:00 a.m. | 1353590 | 426999 | 7.1426 | 0 | 90.261 | 25.2 | 129.5 | 5.81
333 | 16/04/2016 | 8:00:00 a.m. | 1353484 | 426984 | 7.1058 | 0 | 90.286 | 25 | 158.7 | 5.8
332 | 16/04/2016 | 7:00:00 a.m. | 1353359 | 426966 | 7.088 | 0 | 90.257 | 25 | 131.2 | 5.8
331 | 16/04/2016 | 6:00:00 a.m. | 1353235 | 426949 | 7.106 | 0 | 90.31 | 24.4 | 166.1 | 5.8
330 | 16/04/2016 | 5:00:00 a.m. | 1353115 | 426932 | 7.125 | 0 | 90.595 | 15.9 | 166.8 | 5.8
329 | 16/04/2016 | 4:00:00 a.m. | 1353103 | 426930 | 7.3856 | 0 | 90.662 | 20.2 | 129.9 | 5.8
328 | 16/04/2016 | 3:00:00 a.m. | 1353083 | 426927 | 7.1203 | 0 | 90.095 | 24.7 | 165.4 | 5.8
327 | 16/04/2016 | 2:00:00 a.m. | 1352943 | 426908 | 7.4066 | 0 | 90.867 | 15.7 | 0 | 5.8
326 | 16/04/2016 | 1:00:00 a.m. | 1352943 | 426908 | 7.424 | 0 | 90.947 | 16.7 | 0 | 5.81
325 | 16/04/2016 | 12:00:00 a.m. | 1352943 | 426908 | 7.3904 | 0 | 90.701 | 18.3 | 0 | 5.81
324 | 15/04/2016 | 11:00:00 p.m. | 1352943 | 426908 | 7.3296 | 0 | 90.614 | 19.9 | 0 | 5.82
323 | 15/04/2016 | 10:00:00 p.m. | 1352943 | 426908 | 7.2436 | 0 | 90.528 | 22 | 0 | 5.82
322 | 15/04/2016 | 9:00:00 p.m. | 1352943 | 426908 | 7.2093 | 0 | 90.474 | 23.7 | 0 | 5.83
321 | 15/04/2016 | 8:00:00 p.m. | 1352943 | 426908 | 7.1433 | 0 | 90.482 | 26.3 | 1.3 | 5.83
320 | 15/04/2016 | 7:00:00 p.m. | 1352943 | 426908 | 7.0902 | 0 | 90.451 | 28.1 | 132.5 | 5.83
319 | 15/04/2016 | 6:00:00 p.m. | 1352891 | 426900 | 7.0355 | 0 | 89.886 | 29.4 | 162 | 5.83
318 | 15/04/2016 | 5:00:00 p.m. | 1352769 | 426883 | 6.8406 | 0 | 90.299 | 38.3 | 0 | 5.84
317 | 15/04/2016 | 4:00:00 p.m. | 1352769 | 426883 | 6.8029 | 0 | 90.323 | 39 | 0 | 5.84
316 | 15/04/2016 | 3:00:00 p.m. | 1352769 | 426883 | 6.7624 | 0 | 90.167 | 38.5 | 0 | 5.84
315 | 15/04/2016 | 2:00:00 p.m. | 1352769 | 426883 | 6.8128 | 0 | 90.134 | 37.8 | 0 | 5.84
314 | 15/04/2016 | 1:00:00 p.m. | 1352769 | 426883 | 6.8495 | 0 | 90.132 | 34.7 | 3.3 | 5.84
313 | 15/04/2016 | 12:00:00 p.m. | 1352769 | 426883 | 6.9234 | 0 | 90.123 | 29.6 | 121.5 | 5.83
312 | 15/04/2016 | 11:00:00 a.m. | 1352716 | 426875 | 7.0298 | 0 | 89.975 | 27.7 | 134.7 | 5.83
311 | 15/04/2016 | 10:00:00 a.m. | 1352597 | 426859 | 7.0425 | 0 | 89.94 | 26.4 | 117.7 | 5.82
310 | 15/04/2016 | 9:00:00 a.m. | 1352491 | 426843 | 7.1081 | 0 | 90.507 | 23.5 | 136.4 | 5.8
309 | 15/04/2016 | 8:00:00 a.m. | 1352429 | 426835 | 7.1937 | 0 | 90.695 | 13 | 167 | 5.8
308 | 15/04/2016 | 7:00:00 a.m. | 1352400 | 426831 | 7.5518 | 0 | 90.858 | 10.1 | 0 | 5.8
307 | 15/04/2016 | 6:00:00 a.m. | 1352400 | 426831 | 7.5963 | 0 | 90.78 | 10.2 | 0 | 5.8
306 | 15/04/2016 | 5:00:00 a.m. | 1352400 | 426831 | 7.5488 | 0 | 90.761 | 11.1 | 0 | 5.8
305 | 15/04/2016 | 4:00:00 a.m. | 1352400 | 426831 | 7.5632 | 0 | 90.764 | 13.7 | 5 | 5.8
304 | 15/04/2016 | 3:00:00 a.m. | 1352400 | 426831 | 7.3271 | 0 | 90.665 | 20.9 | 164.7 | 5.8
303 | 15/04/2016 | 2:00:00 a.m. | 1352372 | 426827 | 7.2627 | 0 | 90.602 | 23.1 | 110.2 | 5.8
302 | 15/04/2016 | 1:00:00 a.m. | 1352320 | 426820 | 7.1228 | 0 | 90.288 | 25.1 | 119.5 | 5.8
301 | 15/04/2016 | 12:00:00 a.m. | 1352213 | 426805 | 7.1128 | 0 | 90.514 | 22.4 | 164.5 | 5.8
300 | 14/04/2016 | 11:00:00 p.m. | 1352140 | 426794 | 7.3774 | 0 | 90.923 | 19.7 | 0 | 5.81
299 | 14/04/2016 | 10:00:00 p.m. | 1352140 | 426794 | 7.2682 | 0 | 90.823 | 22 | 0 | 5.82
298 | 14/04/2016 | 9:00:00 p.m. | 1352140 | 426794 | 7.2045 | 0 | 90.978 | 24.6 | 0 | 5.83
297 | 14/04/2016 | 8:00:00 p.m. | 1352140 | 426794 | 7.1444 | 0 | 90.833 | 28.9 | 0 | 5.83
296 | 14/04/2016 | 7:00:00 p.m. | 1352140 | 426794 | 6.9589 | 0 | 90.608 | 34.6 | 0 | 5.84
295 | 14/04/2016 | 6:00:00 p.m. | 1352140 | 426794 | 6.8943 | 0 | 90.452 | 37.1 | 0 | 5.84
294 | 14/04/2016 | 5:00:00 p.m. | 1352140 | 426794 | 6.7819 | 0 | 90.406 | 39.3 | 0 | 5.84
293 | 14/04/2016 | 4:00:00 p.m. | 1352140 | 426794 | 6.8147 | 0 | 90.249 | 38.5 | 0.8 | 5.84
292 | 14/04/2016 | 3:00:00 p.m. | 1352140 | 426794 | 6.811 | 0 | 90.46 | 34.8 | 102.1 | 5.84
291 | 14/04/2016 | 2:00:00 p.m. | 1352129 | 426793 | 6.9716 | 0 | 89.906 | 30.1 | 161.5 | 5.84
290 | 14/04/2016 | 1:00:00 p.m. | 1352017 | 426777 | 6.9015 | 0 | 90.104 | 36.8 | 161.6 | 5.84
289 | 14/04/2016 | 12:00:00 p.m. | 1352009 | 426776 | 6.8789 | 0 | 90.107 | 30.6 | 21.2 | 5.84
288 | 14/04/2016 | 11:00:00 a.m. | 1351990 | 426773 | 7.001 | 0 | 90.274 | 27.4 | 21.3 | 5.83
287 | 14/04/2016 | 10:00:00 a.m. | 1351969 | 426770 | 7.1259 | 0 | 90.429 | 24.7 | 21.5 | 5.82
286 | 14/04/2016 | 9:00:00 a.m. | 1351948 | 426767 | 7.1477 | 0 | 90.566 | 24.6 | 149.5 | 5.8
285 | 14/04/2016 | 8:00:00 a.m. | 1351849 | 426753 | 7.1895 | 0 | 90.758 | 20 | 118.8 | 5.8
284 | 14/04/2016 | 7:00:00 a.m. | 1351801 | 426747 | 7.3119 | 0 | 90.986 | 20.1 | 43.6 | 5.8
283 | 14/04/2016 | 6:00:00 a.m. | 1351772 | 426743 | 7.2336 | 0 | 90.669 | 23.6 | 118.8 | 5.8
282 | 14/04/2016 | 5:00:00 a.m. | 1351681 | 426730 | 7.2125 | 0 | 90.83 | 21.7 | 119.6 | 5.8
281 | 14/04/2016 | 4:00:00 a.m. | 1351624 | 426722 | 7.2481 | 0 | 90.572 | 24.1 | 110 | 5.8
280 | 14/04/2016 | 3:00:00 a.m. | 1351539 | 426710 | 7.1579 | 0 | 90.526 | 24.6 | 112 | 5.8
279 | 14/04/2016 | 2:00:00 a.m. | 1351443 | 426697 | 7.1426 | 0 | 90.511 | 24.5 | 106.7 | 5.8
278 | 14/04/2016 | 1:00:00 a.m. | 1351353 | 426684 | 7.1219 | 0 | 90.71 | 17.9 | 165.1 | 5.8
277 | 14/04/2016 | 12:00:00 a.m. | 1351314 | 426679 | 7.3342 | 0 | 90.727 | 17.1 | 0 | 5.81
276 | 13/04/2016 | 11:00:00 p.m. | 1351314 | 426679 | 7.3107 | 0 | 91.024 | 20 | 0 | 5.82
275 | 13/04/2016 | 10:00:00 p.m. | 1351314 | 426679 | 7.2695 | 0 | 90.764 | 23.2 | 0 | 5.82
274 | 13/04/2016 | 9:00:00 p.m. | 1351314 | 426679 | 7.1304 | 0 | 90.712 | 25.9 | 0 | 5.83
273 | 13/04/2016 | 8:00:00 p.m. | 1351314 | 426679 | 7.0901 | 0 | 90.65 | 29.9 | 0 | 5.84
272 | 13/04/2016 | 7:00:00 p.m. | 1351314 | 426679 | 6.9294 | 0 | 90.506 | 34.6 | 1.8 | 5.84
271 | 13/04/2016 | 6:00:00 p.m. | 1351314 | 426679 | 6.8766 | 0 | 90.349 | 31.8 | 160.6 | 5.85
270 | 13/04/2016 | 5:00:00 p.m. | 1351253 | 426670 | 6.917 | 0 | 90.031 | 31.6 | 115.9 | 5.84
269 | 13/04/2016 | 4:00:00 p.m. | 1351181 | 426660 | 6.9508 | 0 | 90.038 | 32.9 | 38.2 | 5.84
268 | 13/04/2016 | 3:00:00 p.m. | 1351150 | 426655 | 6.9516 | 0 | 90.336 | 32.4 | 35.1 | 5.84
267 | 13/04/2016 | 2:00:00 p.m. | 1351120 | 426651 | 6.9403 | 0 | 90.258 | 32.1 | 36.7 | 5.84
266 | 13/04/2016 | 1:00:00 p.m. | 1351090 | 426647 | 6.9276 | 0 | 90.114 | 30 | 105 | 5.84
265 | 13/04/2016 | 12:00:00 p.m. | 1351009 | 426635 | 7.0009 | 0 | 90.284 | 28.9 | 112.5 | 5.83
264 | 13/04/2016 | 11:00:00 a.m. | 1350912 | 426621 | 7.0462 | 0 | 90.972 | 27.8 | 113.4 | 5.83
263 | 13/04/2016 | 10:00:00 a.m. | 1350811 | 426607 | 7.0995 | 0 | 90.645 | 26.3 | 147.6 | 5.82
262 | 13/04/2016 | 9:00:00 a.m. | 1350705 | 426592 | 7.1568 | 0 | 91.11 | 23.4 | 124.6 | 5.8
261 | 13/04/2016 | 8:00:00 a.m. | 1350633 | 426582 | 7.2591 | 0 | 91.413 | 22.1 | 84.7 | 5.8
260 | 13/04/2016 | 7:00:00 a.m. | 1350577 | 426574 | 7.3099 | 0 | 91.725 | 21.9 | 112 | 5.8
259 | 13/04/2016 | 6:00:00 a.m. | 1350528 | 426568 | 7.2171 | 0 | 91.381 | 24.3 | 132.9 | 5.8
258 | 13/04/2016 | 5:00:00 a.m. | 1350409 | 426551 | 7.2478 | 0 | 91.37 | 17.4 | 166.4 | 5.8
257 | 13/04/2016 | 4:00:00 a.m. | 1350359 | 426544 | 7.4505 | 0 | 90.966 | 14.3 | 0 | 5.8
256 | 13/04/2016 | 3:00:00 a.m. | 1350359 | 426544 | 7.4311 | 0 | 91.089 | 15.8 | 0 | 5.8
255 | 13/04/2016 | 2:00:00 a.m. | 1350359 | 426544 | 7.4356 | 0 | 91.604 | 17.4 | 0 | 5.81
254 | 13/04/2016 | 1:00:00 a.m. | 1350359 | 426544 | 7.3868 | 0 | 91.742 | 19.4 | 0 | 5.82
253 | 13/04/2016 | 12:00:00 a.m. | 1350359 | 426544 | 7.3982 | 0 | 90.987 | 20.8 | 0 | 5.82
252 | 12/04/2016 | 11:00:00 p.m. | 1350359 | 426544 | 7.2265 | 0 | 90.8 | 21.7 | 0 | 5.82
251 | 12/04/2016 | 10:00:00 p.m. | 1350359 | 426544 | 7.2297 | 0 | 90.658 | 23.3 | 1.4 | 5.82
250 | 12/04/2016 | 9:00:00 p.m. | 1350359 | 426544 | 7.1873 | 0 | 90.706 | 25.3 | 42.7 | 5.83
249 | 12/04/2016 | 8:00:00 p.m. | 1350344 | 426542 | 7.1321 | 0 | 90.442 | 27.4 | 108.4 | 5.83
248 | 12/04/2016 | 7:00:00 p.m. | 1350286 | 426534 | 7.0731 | 0 | 90.316 | 28.3 | 115.4 | 5.84
247 | 12/04/2016 | 6:00:00 p.m. | 1350181 | 426519 | 7.0111 | 0 | 90.389 | 35.6 | 162.2 | 5.84
246 | 12/04/2016 | 5:00:00 p.m. | 1350132 | 426512 | 6.7754 | 0 | 90.415 | 35.6 | 103.8 | 5.84
245 | 12/04/2016 | 4:00:00 p.m. | 1350114 | 426510 | 6.9607 | 0 | 90.228 | 30.5 | 111.9 | 5.84
244 | 12/04/2016 | 3:00:00 p.m. | 1350026 | 426497 | 6.9892 | 0 | 90.053 | 29.9 | 111.9 | 5.84
243 | 12/04/2016 | 2:00:00 p.m. | 1349926 | 426483 | 7.0088 | 0 | 90.101 | 30.9 | 117.6 | 5.83
242 | 12/04/2016 | 1:00:00 p.m. | 1349880 | 426476 | 6.9652 | 0 | 90.128 | 30.8 | 33.7 | 5.83
241 | 12/04/2016 | 12:00:00 p.m. | 1349853 | 426472 | 7.0383 | 0 | 90.005 | 28.6 | 109 | 5.83
240 | 12/04/2016 | 11:00:00 a.m. | 1349763 | 426459 | 7.0075 | 0 | 89.895 | 27 | 163.4 | 5.83
239 | 12/04/2016 | 10:00:00 a.m. | 1349648 | 426443 | 7.1763 | 0 | 90.539 | 18.8 | 0 | 5.81
238 | 12/04/2016 | 9:00:00 a.m. | 1349648 | 426443 | 7.4018 | 0 | 90.782 | 11.6 | 0 | 5.8
237 | 12/04/2016 | 8:00:00 a.m. | 1349648 | 426443 | 7.5759 | 0 | 90.915 | 9.7 | 0 | 5.8
236 | 12/04/2016 | 7:00:00 a.m. | 1349648 | 426443 | 7.5811 | 0 | 91.05 | 11.1 | 0 | 5.8
235 | 12/04/2016 | 6:00:00 a.m. | 1349648 | 426443 | 7.5364 | 0 | 90.913 | 12.4 | 1 | 5.8
234 | 12/04/2016 | 5:00:00 a.m. | 1349648 | 426443 | 7.4902 | 0 | 90.921 | 17.6 | 164.3 | 5.8
233 | 12/04/2016 | 4:00:00 a.m. | 1349638 | 426442 | 7.3014 | 0 | 90.735 | 23.8 | 105.2 | 5.8
232 | 12/04/2016 | 3:00:00 a.m. | 1349564 | 426431 | 7.1173 | 0 | 90.492 | 24.7 | 106.8 | 5.8
231 | 12/04/2016 | 2:00:00 a.m. | 1349471 | 426418 | 7.144 | 0 | 90.184 | 24.9 | 108.2 | 5.8
230 | 12/04/2016 | 1:00:00 a.m. | 1349376 | 426405 | 7.1042 | 0 | 89.992 | 25.2 | 114.3 | 5.81
229 | 12/04/2016 | 12:00:00 a.m. | 1349277 | 426391 | 7.0837 | 0 | 90.155 | 20.3 | 163.9 | 5.82
228 | 11/04/2016 | 11:00:00 p.m. | 1349255 | 426388 | 7.2356 | 0 | 90.202 | 21.1 | 0 | 5.82
227 | 11/04/2016 | 10:00:00 p.m. | 1349255 | 426388 | 7.2332 | 0 | 90.27 | 23.1 | 4.4 | 5.82
226 | 11/04/2016 | 9:00:00 p.m. | 1349255 | 426388 | 7.1661 | 0 | 90.027 | 26 | 161.3 | 5.83
225 | 11/04/2016 | 8:00:00 p.m. | 1349205 | 426381 | 7.1001 | 0 | 90.147 | 27.1 | 109.5 | 5.83
224 | 11/04/2016 | 7:00:00 p.m. | 1349149 | 426373 | 7.0622 | 0 | 89.91 | 28.7 | 108.7 | 5.84
223 | 11/04/2016 | 6:00:00 p.m. | 1349048 | 426358 | 7.0229 | 0 | 89.681 | 29.6 | 109 | 5.84
222 | 11/04/2016 | 5:00:00 p.m. | 1348947 | 426344 | 6.9464 | 0 | 89.683 | 31.2 | 128.9 | 5.84
221 | 11/04/2016 | 4:00:00 p.m. | 1348877 | 426334 | 6.9379 | 0 | 89.636 | 31.6 | 159 | 5.84
220 | 11/04/2016 | 3:00:00 p.m. | 1348841 | 426329 | 6.9413 | 0 | 89.668 | 36.3 | 161.2 | 5.84
219 | 11/04/2016 | 2:00:00 p.m. | 1348801 | 426323 | 6.7788 | 0 | 89.523 | 39.2 | 0 | 5.84
218 | 11/04/2016 | 1:00:00 p.m. | 1348801 | 426323 | 6.7101 | 0 | 89.648 | 38.3 | 0 | 5.83
217 | 11/04/2016 | 12:00:00 p.m. | 1348801 | 426323 | 6.8407 | 0 | 89.596 | 34.6 | 0 | 5.83
216 | 11/04/2016 | 11:00:00 a.m. | 1348801 | 426323 | 6.9068 | 0 | 89.68 | 29.1 | 0 | 5.83
215 | 11/04/2016 | 10:00:00 a.m. | 1348801 | 426323 | 7.0811 | 0 | 90.034 | 22.4 | 1.7 | 5.82
214 | 11/04/2016 | 9:00:00 a.m. | 1348801 | 426323 | 7.2298 | 0 | 90.197 | 23.1 | 116.2 | 5.8
213 | 11/04/2016 | 8:00:00 a.m. | 1348755 | 426316 | 7.1385 | 0 | 89.882 | 24.2 | 127.7 | 5.8
212 | 11/04/2016 | 7:00:00 a.m. | 1348638 | 426300 | 7.1403 | 0 | 90.284 | 22.1 | 115.4 | 5.8
211 | 11/04/2016 | 6:00:00 a.m. | 1348564 | 426290 | 7.2495 | 0 | 90.372 | 23.2 | 111 | 5.8
210 | 11/04/2016 | 5:00:00 a.m. | 1348488 | 426279 | 7.1387 | 0 | 90.349 | 24.1 | 142.3 | 5.8
209 | 11/04/2016 | 4:00:00 a.m. | 1348376 | 426263 | 7.2266 | 0 | 90.439 | 16 | 166.6 | 5.8
208 | 11/04/2016 | 3:00:00 a.m. | 1348320 | 426256 | 7.4805 | 0 | 90.559 | 13.7 | 0 | 5.8
207 | 11/04/2016 | 2:00:00 a.m. | 1348320 | 426256 | 7.4374 | 0 | 90.743 | 15 | 0 | 5.8
206 | 11/04/2016 | 1:00:00 a.m. | 1348320 | 426256 | 7.4554 | 0 | 90.983 | 16.6 | 0 | 5.8
205 | 11/04/2016 | 12:00:00 a.m. | 1348320 | 426256 | 7.3434 | 0 | 90.515 | 19.2 | 0 | 5.81
204 | 10/04/2016 | 11:00:00 p.m. | 1348320 | 426256 | 7.2402 | 0 | 90.543 | 21.6 | 0 | 5.82
203 | 10/04/2016 | 10:00:00 p.m. | 1348320 | 426256 | 7.1847 | 0 | 90.697 | 23.6 | 0 | 5.82
202 | 10/04/2016 | 9:00:00 p.m. | 1348320 | 426256 | 7.1701 | 0 | 90.675 | 25.5 | 0 | 5.83
201 | 10/04/2016 | 8:00:00 p.m. | 1348320 | 426256 | 7.0847 | 0 | 90.324 | 28.6 | 0 | 5.83
200 | 10/04/2016 | 7:00:00 p.m. | 1348320 | 426256 | 6.9711 | 0 | 90.622 | 34 | 0 | 5.84
199 | 10/04/2016 | 6:00:00 p.m. | 1348320 | 426256 | 6.8586 | 0 | 90.578 | 37.7 | 0 | 5.84
198 | 10/04/2016 | 5:00:00 p.m. | 1348320 | 426256 | 6.8259 | 0 | 90.765 | 36.7 | 0 | 5.84
197 | 10/04/2016 | 4:00:00 p.m. | 1348320 | 426256 | 6.8868 | 0 | 90.81 | 37.8 | 1.1 | 5.84
196 | 10/04/2016 | 3:00:00 p.m. | 1348320 | 426256 | 6.8807 | 0 | 90.728 | 34.6 | 160.9 | 5.84
195 | 10/04/2016 | 2:00:00 p.m. | 1348311 | 426254 | 6.9312 | 0 | 90.853 | 38.5 | 19.3 | 5.83
194 | 10/04/2016 | 1:00:00 p.m. | 1348308 | 426254 | 6.8621 | 0 | 90.821 | 36.8 | 0 | 5.83
193 | 10/04/2016 | 12:00:00 p.m. | 1348308 | 426254 | 6.9282 | 0 | 90.69 | 32.8 | 7 | 5.83
192 | 10/04/2016 | 11:00:00 a.m. | 1348308 | 426254 | 7.0701 | 0 | 90.814 | 26.8 | 19.3 | 5.83
191 | 10/04/2016 | 10:00:00 a.m. | 1348291 | 426252 | 7.1551 | 0 | 90.786 | 22.1 | 18.4 | 5.81
190 | 10/04/2016 | 9:00:00 a.m. | 1348273 | 426249 | 7.316 | 0 | 90.956 | 13 | 18.4 | 5.8
189 | 10/04/2016 | 8:00:00 a.m. | 1348267 | 426248 | 7.5628 | 0 | 91.382 | 10.6 | 0 | 5.8
188 | 10/04/2016 | 7:00:00 a.m. | 1348267 | 426248 | 7.618 | 0 | 91.475 | 11.7 | 0 | 5.8
187 | 10/04/2016 | 6:00:00 a.m. | 1348267 | 426248 | 7.5262 | 0 | 91.111 | 12.2 | 0 | 5.8
186 | 10/04/2016 | 5:00:00 a.m. | 1348267 | 426248 | 7.4883 | 0 | 90.989 | 12.4 | 0 | 5.8
185 | 10/04/2016 | 4:00:00 a.m. | 1348267 | 426248 | 7.5181 | 0 | 91.126 | 12.9 | 0 | 5.8
184 | 10/04/2016 | 3:00:00 a.m. | 1348267 | 426248 | 7.5284 | 0 | 91.191 | 13.3 | 0 | 5.8
183 | 10/04/2016 | 2:00:00 a.m. | 1348267 | 426248 | 7.4845 | 0 | 91.038 | 13.6 | 0 | 5.8
182 | 10/04/2016 | 1:00:00 a.m. | 1348267 | 426248 | 7.4505 | 0 | 90.988 | 15.1 | 0 | 5.8
181 | 10/04/2016 | 12:00:00 a.m. | 1348267 | 426248 | 7.441 | 0 | 90.921 | 17.1 | 0 | 5.8
180 | 09/04/2016 | 11:00:00 p.m. | 1348267 | 426248 | 7.3373 | 0 | 90.883 | 19.7 | 0 | 5.81
179 | 09/04/2016 | 10:00:00 p.m. | 1348267 | 426248 | 7.2447 | 0 | 90.829 | 22.7 | 0 | 5.82
178 | 09/04/2016 | 9:00:00 p.m. | 1348267 | 426248 | 7.1758 | 0 | 90.898 | 25.4 | 0 | 5.83
177 | 09/04/2016 | 8:00:00 p.m. | 1348267 | 426248 | 7.1233 | 0 | 91.049 | 30 | 0 | 5.83
176 | 09/04/2016 | 7:00:00 p.m. | 1348267 | 426248 | 6.977 | 0 | 90.721 | 35.9 | 0 | 5.84
175 | 09/04/2016 | 6:00:00 p.m. | 1348267 | 426248 | 6.8344 | 0 | 90.686 | 39.2 | 0 | 5.84
174 | 09/04/2016 | 5:00:00 p.m. | 1348267 | 426248 | 6.8055 | 0 | 90.451 | 39.4 | 0 | 5.84
173 | 09/04/2016 | 4:00:00 p.m. | 1348267 | 426248 | 6.846 | 0 | 90.245 | 38 | 1.1 | 5.84
172 | 09/04/2016 | 3:00:00 p.m. | 1348267 | 426248 | 6.8562 | 0 | 90.076 | 33.1 | 160.5 | 5.84
171 | 09/04/2016 | 2:00:00 p.m. | 1348247 | 426245 | 6.963 | 0 | 89.638 | 32.1 | 161.9 | 5.83
170 | 09/04/2016 | 1:00:00 p.m. | 1348162 | 426233 | 6.8002 | 0 | 89.86 | 37.3 | 0 | 5.83
169 | 09/04/2016 | 12:00:00 p.m. | 1348162 | 426233 | 6.8402 | 0 | 90.179 | 33.4 | 0 | 5.83
168 | 09/04/2016 | 11:00:00 a.m. | 1348162 | 426233 | 6.9462 | 0 | 89.961 | 27.4 | 0 | 5.83
167 | 09/04/2016 | 10:00:00 a.m. | 1348162 | 426233 | 7.1381 | 0 | 90.131 | 20.1 | 0 | 5.81
166 | 09/04/2016 | 9:00:00 a.m. | 1348162 | 426233 | 7.3182 | 0 | 90.4 | 14.8 | 2.9 | 5.8
165 | 09/04/2016 | 8:00:00 a.m. | 1348162 | 426233 | 7.4142 | 0 | 90.647 | 19.1 | 38.3 | 5.8
164 | 09/04/2016 | 7:00:00 a.m. | 1348140 | 426230 | 7.2864 | 0 | 90.58 | 21.2 | 110.5 | 5.8
163 | 09/04/2016 | 6:00:00 a.m. | 1348102 | 426225 | 7.1573 | 0 | 90.152 | 23.4 | 114.1 | 5.8
162 | 09/04/2016 | 5:00:00 a.m. | 1348006 | 426211 | 7.2296 | 0 | 90.393 | 15 | 164.9 | 5.8
161 | 09/04/2016 | 4:00:00 a.m. | 1347978 | 426207 | 7.4593 | 0 | 90.589 | 12.8 | 0 | 5.8
160 | 09/04/2016 | 3:00:00 a.m. | 1347978 | 426207 | 7.457 | 0 | 90.601 | 14.3 | 0 | 5.8
159 | 09/04/2016 | 2:00:00 a.m. | 1347978 | 426207 | 7.3668 | 0 | 90.495 | 16 | 0 | 5.8
158 | 09/04/2016 | 1:00:00 a.m. | 1347978 | 426207 | 7.3486 | 0 | 90.473 | 18.1 | 0 | 5.81
157 | 09/04/2016 | 12:00:00 a.m. | 1347978 | 426207 | 7.3042 | 0 | 90.474 | 18.9 | 0 | 5.81
156 | 08/04/2016 | 11:00:00 p.m. | 1347978 | 426207 | 7.2862 | 0 | 90.462 | 20.7 | 6.6 | 5.81
155 | 08/04/2016 | 10:00:00 p.m. | 1347978 | 426207 | 7.2114 | 0 | 90.144 | 25.2 | 131.9 | 5.82
154 | 08/04/2016 | 9:00:00 p.m. | 1347904 | 426197 | 7.0684 | 0 | 90.282 | 24.4 | 162.5 | 5.82
153 | 08/04/2016 | 8:00:00 p.m. | 1347876 | 426193 | 7.1176 | 0 | 90.289 | 28.3 | 0 | 5.83
152 | 08/04/2016 | 7:00:00 p.m. | 1347876 | 426193 | 6.9886 | 0 | 90.251 | 30 | 0.9 | 5.83
151 | 08/04/2016 | 6:00:00 p.m. | 1347876 | 426193 | 7.0183 | 0 | 90.269 | 28.7 | 143.2 | 5.83
150 | 08/04/2016 | 5:00:00 p.m. | 1347866 | 426192 | 6.9956 | 0 | 89.712 | 28.7 | 114.2 | 5.83
149 | 08/04/2016 | 4:00:00 p.m. | 1347785 | 426180 | 6.9425 | 0 | 89.569 | 30 | 115 | 5.84
148 | 08/04/2016 | 3:00:00 p.m. | 1347710 | 426169 | 6.9299 | 0 | 89.546 | 29.6 | 115.8 | 5.84
147 | 08/04/2016 | 2:00:00 p.m. | 1347608 | 426155 | 6.9564 | 0 | 89.408 | 29.4 | 113.8 | 5.83
146 | 08/04/2016 | 1:00:00 p.m. | 1347507 | 426140 | 6.9504 | 0 | 89.443 | 29 | 116.2 | 5.84
145 | 08/04/2016 | 12:00:00 p.m. | 1347406 | 426126 | 6.9942 | 0 | 89.341 | 28.4 | 133.7 | 5.83
144 | 08/04/2016 | 11:00:00 a.m. | 1347289 | 426109 | 6.9799 | 0 | 89.799 | 27.4 | 125.6 | 5.82
143 | 08/04/2016 | 10:00:00 a.m. | 1347223 | 426100 | 7.0786 | 0 | 89.963 | 25.5 | 113.8 | 5.81
142 | 08/04/2016 | 9:00:00 a.m. | 1347155 | 426090 | 7.1291 | 0 | 90.127 | 24.3 | 136.9 | 5.8
141 | 08/04/2016 | 8:00:00 a.m. | 1347077 | 426079 | 7.1139 | 0 | 89.984 | 24.4 | 137.5 | 5.8
140 | 08/04/2016 | 7:00:00 a.m. | 1346946 | 426061 | 7.162 | 0 | 90.352 | 22.9 | 86.1 | 5.8
139 | 08/04/2016 | 6:00:00 a.m. | 1346880 | 426051 | 7.1943 | 0 | 90.279 | 18.7 | 165.4 | 5.8
138 | 08/04/2016 | 5:00:00 a.m. | 1346819 | 426043 | 7.4165 | 0 | 90.59 | 14.4 | 0 | 5.8
137 | 08/04/2016 | 4:00:00 a.m. | 1346819 | 426043 | 7.4029 | 0 | 90.625 | 16.1 | 0 | 5.8
136 | 08/04/2016 | 3:00:00 a.m. | 1346819 | 426043 | 7.3413 | 0 | 90.613 | 17.1 | 0 | 5.8
135 | 08/04/2016 | 2:00:00 a.m. | 1346819 | 426043 | 7.3206 | 0 | 90.5 | 17.6 | 0 | 5.8
134 | 08/04/2016 | 1:00:00 a.m. | 1346819 | 426043 | 7.3695 | 0 | 90.493 | 18.9 | 0 | 5.81
133 | 08/04/2016 | 12:00:00 a.m. | 1346819 | 426043 | 7.2691 | 0 | 90.516 | 20.2 | 0 | 5.81
132 | 07/04/2016 | 11:00:00 p.m. | 1346819 | 426043 | 7.272 | 0 | 90.495 | 21.1 | 0 | 5.82
131 | 07/04/2016 | 10:00:00 p.m. | 1346819 | 426043 | 7.2221 | 0 | 90.561 | 23.1 | 0 | 5.82
130 | 07/04/2016 | 9:00:00 p.m. | 1346819 | 426043 | 7.1609 | 0 | 90.494 | 25.6 | 0 | 5.83
129 | 07/04/2016 | 8:00:00 p.m. | 1346819 | 426043 | 7.0443 | 0 | 90.421 | 29 | 1.1 | 5.83
128 | 07/04/2016 | 7:00:00 p.m. | 1346819 | 426043 | 6.9927 | 0 | 90.194 | 29.6 | 130.8 | 5.84
127 | 07/04/2016 | 6:00:00 p.m. | 1346775 | 426037 | 7.0108 | 0 | 89.811 | 29.1 | 132.6 | 5.84
126 | 07/04/2016 | 5:00:00 p.m. | 1346672 | 426022 | 6.9944 | 0 | 89.915 | 30.3 | 73.1 | 5.84
125 | 07/04/2016 | 4:00:00 p.m. | 1346611 | 426013 | 6.9279 | 0 | 89.639 | 31.6 | 160.9 | 5.84
124 | 07/04/2016 | 3:00:00 p.m. | 1346551 | 426004 | 6.963 | 0 | 89.201 | 29 | 126.8 | 5.84
123 | 07/04/2016 | 2:00:00 p.m. | 1346433 | 425987 | 6.9485 | 0 | 89.2 | 29 | 132.5 | 5.84
122 | 07/04/2016 | 1:00:00 p.m. | 1346305 | 425969 | 6.9511 | 0 | 89.39 | 28.5 | 132.9 | 5.83
121 | 07/04/2016 | 12:00:00 p.m. | 1346178 | 425951 | 6.972 | 0 | 89.302 | 27.7 | 133.3 | 5.83
120 | 07/04/2016 | 11:00:00 a.m. | 1346051 | 425933 | 6.9831 | 0 | 89.686 | 26.8 | 135.3 | 5.82
119 | 07/04/2016 | 10:00:00 a.m. | 1345969 | 425921 | 7.0422 | 0 | 89.886 | 25.3 | 132.2 | 5.8
118 | 07/04/2016 | 9:00:00 a.m. | 1345886 | 425909 | 7.1266 | 0 | 89.72 | 24.6 | 138.2 | 5.8
117 | 07/04/2016 | 8:00:00 a.m. | 1345755 | 425891 | 7.1213 | 0 | 90.225 | 15.6 | 166.8 | 5.8
116 | 07/04/2016 | 7:00:00 a.m. | 1345689 | 425882 | 7.544 | 0 | 90.583 | 10 | 0 | 5.8
115 | 07/04/2016 | 6:00:00 a.m. | 1345689 | 425882 | 7.5266 | 0 | 90.583 | 10.9 | 0 | 5.8
114 | 07/04/2016 | 5:00:00 a.m. | 1345689 | 425882 | 7.5247 | 0 | 90.574 | 11.7 | 0 | 5.8
113 | 07/04/2016 | 4:00:00 a.m. | 1345689 | 425882 | 7.4721 | 0 | 90.587 | 12.7 | 0 | 5.8
112 | 07/04/2016 | 3:00:00 a.m. | 1345689 | 425882 | 7.4518 | 0 | 90.531 | 13.7 | 0 | 5.8
111 | 07/04/2016 | 2:00:00 a.m. | 1345689 | 425882 | 7.4404 | 0 | 90.499 | 15.4 | 0 | 5.8
110 | 07/04/2016 | 1:00:00 a.m. | 1345689 | 425882 | 7.3674 | 0 | 90.466 | 17.7 | 1.4 | 5.8
109 | 07/04/2016 | 12:00:00 a.m. | 1345689 | 425882 | 7.2766 | 0 | 90.399 | 22.9 | 162.9 | 5.81
108 | 06/04/2016 | 11:00:00 p.m. | 1345656 | 425877 | 7.1461 | 0 | 90.288 | 24.6 | 73.6 | 5.81
107 | 06/04/2016 | 10:00:00 p.m. | 1345594 | 425868 | 7.1366 | 0 | 90.308 | 25.2 | 66.4 | 5.82
106 | 06/04/2016 | 9:00:00 p.m. | 1345534 | 425860 | 7.0889 | 0 | 90.13 | 26 | 129 | 5.82
105 | 06/04/2016 | 8:00:00 p.m. | 1345458 | 425849 | 7.0644 | 0 | 89.926 | 26.8 | 134.4 | 5.83
104 | 06/04/2016 | 7:00:00 p.m. | 1345366 | 425836 | 7.0743 | 0 | 89.988 | 28.5 | 70.3 | 5.83
103 | 06/04/2016 | 6:00:00 p.m. | 1345305 | 425828 | 7.0564 | 0 | 90 | 29.6 | 125.3 | 5.84
102 | 06/04/2016 | 5:00:00 p.m. | 1345240 | 425818 | 7.0472 | 0 | 89.678 | 30.6 | 161.2 | 5.84
101 | 06/04/2016 | 4:00:00 p.m. | 1345157 | 425806 | 6.7511 | 0 | 89.727 | 38.4 | 0 | 5.84
100 | 06/04/2016 | 3:00:00 p.m. | 1345157 | 425806 | 6.789 | 0 | 89.773 | 37.2 | 1.6 | 5.83
99 | 06/04/2016 | 2:00:00 p.m. | 1345157 | 425806 | 6.8544 | 0 | 89.587 | 32 | 161.2 | 5.83
98 | 06/04/2016 | 1:00:00 p.m. | 1345137 | 425803 | 6.9837 | 0 | 89.475 | 28.8 | 118 | 5.83
97 | 06/04/2016 | 12:00:00 p.m. | 1345061 | 425792 | 6.9801 | 0 | 89.633 | 28 | 100.5 | 5.83
96 | 06/04/2016 | 11:00:00 a.m. | 1345031 | 425788 | 7.0253 | 0 | 89.415 | 27 | 107.6 | 5.83
95 | 06/04/2016 | 10:00:00 a.m. | 1344937 | 425775 | 7.0353 | 0 | 89.702 | 25.4 | 113.3 | 5.81
94 | 06/04/2016 | 9:00:00 a.m. | 1344837 | 425761 | 7.0935 | 0 | 89.762 | 23.9 | 166.9 | 5.8
93 | 06/04/2016 | 8:00:00 a.m. | 1344721 | 425744 | 7.187 | 0 | 90.337 | 12.4 | 167.4 | 5.8
92 | 06/04/2016 | 7:00:00 a.m. | 1344709 | 425743 | 7.4733 | 0 | 90.406 | 12.5 | 0 | 5.8
91 | 06/04/2016 | 6:00:00 a.m. | 1344709 | 425743 | 7.4474 | 0 | 90.382 | 13.8 | 0 | 5.8
90 | 06/04/2016 | 5:00:00 a.m. | 1344709 | 425743 | 7.42 | 0 | 90.408 | 15.4 | 0 | 5.8
89 | 06/04/2016 | 4:00:00 a.m. | 1344709 | 425743 | 7.352 | 0 | 90.38 | 18 | 1.4 | 5.8
88 | 06/04/2016 | 3:00:00 a.m. | 1344709 | 425743 | 7.3207 | 0 | 90.315 | 22.3 | 84.2 | 5.8
87 | 06/04/2016 | 2:00:00 a.m. | 1344675 | 425738 | 7.1489 | 0 | 90.122 | 22.5 | 166.2 | 5.8
86 | 06/04/2016 | 1:00:00 a.m. | 1344599 | 425727 | 7.315 | 0 | 90.336 | 19 | 0 | 5.81
85 | 06/04/2016 | 12:00:00 a.m. | 1344599 | 425727 | 7.2641 | 0 | 90.371 | 20.8 | 0 | 5.82
84 | 05/04/2016 | 11:00:00 p.m. | 1344599 | 425727 | 7.2211 | 0 | 90.199 | 22 | 0 | 5.82
83 | 05/04/2016 | 10:00:00 p.m. | 1344599 | 425727 | 7.1564 | 0 | 90.219 | 24.1 | 0 | 5.82
82 | 05/04/2016 | 9:00:00 p.m. | 1344599 | 425727 | 7.1308 | 0 | 90.15 | 26.5 | 0 | 5.83
81 | 05/04/2016 | 8:00:00 p.m. | 1344599 | 425727 | 7.0375 | 0 | 90.108 | 30.9 | 0 | 5.83
80 | 05/04/2016 | 7:00:00 p.m. | 1344599 | 425727 | 6.9003 | 0 | 90.285 | 35.8 | 0 | 5.84
79 | 05/04/2016 | 6:00:00 p.m. | 1344599 | 425727 | 6.8274 | 0 | 89.92 | 38.1 | 0 | 5.84
78 | 05/04/2016 | 5:00:00 p.m. | 1344599 | 425727 | 6.7764 | 0 | 89.696 | 39.7 | 0 | 5.84
77 | 05/04/2016 | 4:00:00 p.m. | 1344599 | 425727 | 6.7133 | 0 | 89.686 | 38.3 | 0 | 5.84
76 | 05/04/2016 | 3:00:00 p.m. | 1344599 | 425727 | 6.783 | 0 | 89.748 | 36.8 | 1.5 | 5.83
75 | 05/04/2016 | 2:00:00 p.m. | 1344599 | 425727 | 6.8226 | 0 | 89.725 | 31.1 | 160 | 5.83
74 | 05/04/2016 | 1:00:00 p.m. | 1344563 | 425722 | 7.0163 | 0 | 89.404 | 28.2 | 129 | 5.83
73 | 05/04/2016 | 12:00:00 p.m. | 1344456 | 425707 | 6.9808 | 0 | 89.266 | 27.5 | 164.2 | 5.83
72 | 05/04/2016 | 11:00:00 a.m. | 1344330 | 425689 | 6.9506 | 0 | 89.846 | 27.1 | 0 | 5.82
71 | 05/04/2016 | 10:00:00 a.m. | 1344329 | 425689 | 7.1603 | 0 | 90.116 | 19.5 | 0.8 | 5.81
70 | 05/04/2016 | 9:00:00 a.m. | 1344329 | 425689 | 7.3564 | 0 | 90.281 | 18.1 | 167.5 | 5.8
69 | 05/04/2016 | 8:00:00 a.m. | 1344311 | 425686 | 7.1408 | 0 | 90.223 | 14.5 | 168.2 | 5.8
68 | 05/04/2016 | 7:00:00 a.m. | 1344276 | 425681 | 7.5973 | 0 | 90.457 | 9 | 0 | 5.8
67 | 05/04/2016 | 6:00:00 a.m. | 1344276 | 425681 | 7.5421 | 0 | 90.498 | 10.3 | 0 | 5.8
66 | 05/04/2016 | 5:00:00 a.m. | 1344276 | 425681 | 7.5411 | 0 | 90.53 | 11.8 | 0 | 5.8
65 | 05/04/2016 | 4:00:00 a.m. | 1344276 | 425681 | 7.4633 | 0 | 90.489 | 14.9 | 1.8 | 5.8
64 | 05/04/2016 | 3:00:00 a.m. | 1344276 | 425681 | 7.34 | 0 | 90.333 | 22.5 | 132 | 5.8
63 | 05/04/2016 | 2:00:00 a.m. | 1344200 | 425671 | 7.1185 | 0 | 89.986 | 24.1 | 131.8 | 5.8
62 | 05/04/2016 | 1:00:00 a.m. | 1344073 | 425653 | 7.1542 | 0 | 90.289 | 20.4 | 166.3 | 5.8
61 | 05/04/2016 | 12:00:00 a.m. | 1344011 | 425644 | 7.2764 | 0 | 90.345 | 19.2 | 0 | 5.81
60 | 04/04/2016 | 11:00:00 p.m. | 1344011 | 425644 | 7.2681 | 0 | 90.393 | 21.1 | 0 | 5.82
59 | 04/04/2016 | 10:00:00 p.m. | 1344011 | 425644 | 7.2063 | 0 | 90.476 | 22.4 | 0 | 5.82
58 | 04/04/2016 | 9:00:00 p.m. | 1344011 | 425644 | 7.1706 | 0 | 90.327 | 23.9 | 4.5 | 5.82
57 | 04/04/2016 | 8:00:00 p.m. | 1344011 | 425644 | 7.13 | 0 | 90.04 | 25.9 | 140.8 | 5.83
56 | 04/04/2016 | 7:00:00 p.m. | 1343955 | 425636 | 7.0792 | 0 | 89.882 | 28.4 | 163.7 | 5.83
55 | 04/04/2016 | 6:00:00 p.m. | 1343864 | 425623 | 6.8821 | 0 | 90.047 | 34.1 | 0 | 5.83
54 | 04/04/2016 | 5:00:00 p.m. | 1343864 | 425623 | 6.8682 | 0 | 90.02 | 37.5 | 0.7 | 5.84
53 | 04/04/2016 | 4:00:00 p.m. | 1343864 | 425623 | 6.8222 | 0 | 89.982 | 34.2 | 82.8 | 5.83
52 | 04/04/2016 | 3:00:00 p.m. | 1343857 | 425622 | 6.984 | 0 | 89.391 | 28.1 | 130.3 | 5.83
51 | 04/04/2016 | 2:00:00 p.m. | 1343732 | 425604 | 6.9667 | 0 | 89.363 | 28.2 | 135.6 | 5.83
50 | 04/04/2016 | 1:00:00 p.m. | 1343613 | 425587 | 7.0036 | 0 | 89.467 | 28 | 132.6 | 5.83
49 | 04/04/2016 | 12:00:00 p.m. | 1343513 | 425573 | 7.0102 | 0 | 89.534 | 27.1 | 130.3 | 5.83
48 | 04/04/2016 | 11:00:00 a.m. | 1343386 | 425555 | 7.0216 | 0 | 89.769 | 25.9 | 165.7 | 5.82
47 | 04/04/2016 | 10:00:00 a.m. | 1343259 | 425537 | 7.1913 | 0 | 90.369 | 22.5 | 164.4 | 5.8
46 | 04/04/2016 | 9:00:00 a.m. | 1343235 | 425534 | 7.1574 | 0 | 90.023 | 23.6 | 135.9 | 5.8
45 | 04/04/2016 | 8:00:00 a.m. | 1343109 | 425516 | 7.133 | 0 | 90.068 | 23.3 | 136.7 | 5.79
44 | 04/04/2016 | 7:00:00 a.m. | 1342980 | 425498 | 7.1744 | 0 | 90.234 | 20.6 | 168.2 | 5.8
43 | 04/04/2016 | 6:00:00 a.m. | 1342852 | 425480 | 7.5914 | 0 | 90.794 | 10.4 | 0 | 5.8
42 | 04/04/2016 | 5:00:00 a.m. | 1342852 | 425480 | 7.52 | 0 | 90.652 | 10.7 | 0 | 5.8
41 | 04/04/2016 | 4:00:00 a.m. | 1342852 | 425480 | 7.5161 | 0 | 90.922 | 11.2 | 0 | 5.8
40 | 04/04/2016 | 3:00:00 a.m. | 1342852 | 425480 | 7.567 | 0 | 91.174 | 12.5 | 0 | 5.8
39 | 04/04/2016 | 2:00:00 a.m. | 1342852 | 425480 | 7.5002 | 0 | 91.15 | 14.1 | 0 | 5.8
38 | 04/04/2016 | 1:00:00 a.m. | 1342852 | 425480 | 7.4712 | 0 | 91.114 | 15.8 | 0 | 5.8
37 | 04/04/2016 | 12:00:00 a.m. | 1342852 | 425480 | 7.3887 | 0 | 91.122 | 17.8 | 0 | 5.8
36 | 03/04/2016 | 11:00:00 p.m. | 1342852 | 425480 | 7.3282 | 0 | 91.082 | 20 | 0 | 5.81
35 | 03/04/2016 | 10:00:00 p.m. | 1342852 | 425480 | 7.3086 | 0 | 91.092 | 21.7 | 0 | 5.81
34 | 03/04/2016 | 9:00:00 p.m. | 1342852 | 425480 | 7.2542 | 0 | 90.996 | 23.7 | 0 | 5.82
33 | 03/04/2016 | 8:00:00 p.m. | 1342852 | 425480 | 7.1706 | 0 | 90.95 | 27.6 | 0 | 5.83
32 | 03/04/2016 | 7:00:00 p.m. | 1342852 | 425480 | 7.0452 | 0 | 90.861 | 33.2 | 0 | 5.83
31 | 03/04/2016 | 6:00:00 p.m. | 1342852 | 425480 | 6.9575 | 0 | 91.042 | 35.2 | 0.8 | 5.83
30 | 03/04/2016 | 5:00:00 p.m. | 1342852 | 425480 | 6.9058 | 0 | 91.051 | 35.5 | 160.6 | 5.83
29 | 03/04/2016 | 4:00:00 p.m. | 1342847 | 425479 | 6.8905 | 0 | 90.813 | 35.8 | 1.1 | 5.83
28 | 03/04/2016 | 3:00:00 p.m. | 1342847 | 425479 | 6.9069 | 0 | 90.838 | 34.3 | 20.2 | 5.83
27 | 03/04/2016 | 2:00:00 p.m. | 1342839 | 425478 | 6.9037 | 0 | 90.661 | 36.7 | 1.1 | 5.83
26 | 03/04/2016 | 1:00:00 p.m. | 1342839 | 425478 | 6.9115 | 0 | 90.597 | 31.4 | 14.5 | 5.83
25 | 03/04/2016 | 12:00:00 p.m. | 1342833 | 425478 | 7.0588 | 0 | 90.948 | 28.5 | 15.2 | 5.82
24 | 03/04/2016 | 11:00:00 a.m. | 1342831 | 425477 | 7.1565 | 0 | 90.712 | 23.7 | 19 | 5.81
23 | 03/04/2016 | 10:00:00 a.m. | 1342827 | 425477 | 7.2232 | 0 | 91.055 | 19.4 | 19 | 5.8
22 | 03/04/2016 | 9:00:00 a.m. | 1342808 | 425474 | 7.4822 | 0 | 91.153 | 8.3 | 19.1 | 5.8
21 | 03/04/2016 | 8:00:00 a.m. | 1342803 | 425473 | 7.7272 | 0 | 91.393 | 5.5 | 0 | 5.79
20 | 03/04/2016 | 7:00:00 a.m. | 1342803 | 425473 | 7.7035 | 0 | 91.471 | 6.2 | 0 | 5.79
19 | 03/04/2016 | 6:00:00 a.m. | 1342803 | 425473 | 7.6831 | 0 | 91.331 | 7.1 | 0 | 5.8
18 | 03/04/2016 | 5:00:00 a.m. | 1342803 | 425473 | 7.6778 | 0 | 91.308 | 8.2 | 0 | 5.8
17 | 03/04/2016 | 4:00:00 a.m. | 1342803 | 425473 | 7.6122 | 0 | 91.19 | 9.9 | 0 | 5.8
16 | 03/04/2016 | 3:00:00 a.m. | 1342803 | 425473 | 7.5513 | 0 | 91.356 | 11.2 | 0 | 5.8
15 | 03/04/2016 | 2:00:00 a.m. | 1342803 | 425473 | 7.5347 | 0 | 91.198 | 12.7 | 0 | 5.8
14 | 03/04/2016 | 1:00:00 a.m. | 1342803 | 425473 | 7.5011 | 0 | 91.259 | 15.1 | 1.3 | 5.8
13 | 03/04/2016 | 12:00:00 a.m. | 1342803 | 425473 | 7.3699 | 0 | 91.192 | 20.7 | 165.4 | 5.8
12 | 02/04/2016 | 11:00:00 p.m. | 1342775 | 425470 | 7.2129 | 0 | 90.727 | 23.9 | 130.1 | 5.81
11 | 02/04/2016 | 10:00:00 p.m. | 1342695 | 425458 | 7.1655 | 0 | 90.531 | 24.8 | 135.8 | 5.81
10 | 02/04/2016 | 9:00:00 p.m. | 1342583 | 425443 | 7.1566 | 0 | 90.398 | 25.1 | 128.8 | 5.82
9 | 02/04/2016 | 8:00:00 p.m. | 1342468 | 425427 | 7.1818 | 0 | 90.564 | 25.6 | 130.2 | 5.82
8 | 02/04/2016 | 7:00:00 p.m. | 1342398 | 425417 | 7.0812 | 0 | 90.203 | 26.3 | 133.7 | 5.83
7 | 02/04/2016 | 6:00:00 p.m. | 1342272 | 425399 | 7.1041 | 0 | 90.331 | 27.9 | 128.1 | 5.83
6 | 02/04/2016 | 5:00:00 p.m. | 1342188 | 425387 | 6.956 | 0 | 90.51 | 29.3 | 75.7 | 5.84
5 | 02/04/2016 | 4:00:00 p.m. | 1342129 | 425379 | 7.0748 | 0 | 90.611 | 28.7 | 129.2 | 5.83
4 | 02/04/2016 | 3:00:00 p.m. | 1342045 | 425367 | 7.0736 | 0 | 90.381 | 28.4 | 133.7 | 5.83
3 | 02/04/2016 | 2:00:00 p.m. | 1341932 | 425351 | 7.063 | 0 | 90.105 | 29.1 | 78.9 | 5.83
2 | 02/04/2016 | 1:00:00 p.m. | 1341874 | 425343 | 7.0383 | 0 | 89.939 | 29.6 | 135.9 | 5.83
1 | 02/04/2016 | 12:00:00 p.m. | 1341796 | 425331 | 6.8684 | 0 | 90.295 | 32.8 | 1 | 5.83