## Mineria Empresarial horario 033
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 721
Fault/Alarms Recorded: | Date | Time | Condition
1 | 16/02/2016 | 3:04:17 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
721 | 31/03/2016 | 11:00:00 a.m. | 259529 | 211731 | 6.8381 | 0 | 86.473 | 24.5 | 89.9 | 5.6
720 | 31/03/2016 | 10:00:00 a.m. | 259440 | 211718 | 6.9277 | 0 | 86.719 | 22.4 | 94.9 | 5.59
719 | 31/03/2016 | 9:00:00 a.m. | 259354 | 211706 | 7.2109 | 0 | 90.489 | 18.5 | 0 | 5.58
718 | 31/03/2016 | 8:00:00 a.m. | 259354 | 211706 | 7.3484 | 0 | 91.111 | 12.9 | 0 | 5.58
717 | 31/03/2016 | 7:00:00 a.m. | 259354 | 211706 | 7.5876 | 0 | 91.101 | 12.4 | 0 | 5.58
716 | 31/03/2016 | 6:00:00 a.m. | 259354 | 211706 | 7.5094 | 0 | 90.951 | 12.9 | 0 | 5.58
715 | 31/03/2016 | 5:00:00 a.m. | 259354 | 211706 | 7.4729 | 0 | 90.784 | 13.2 | 0 | 5.58
714 | 31/03/2016 | 4:00:00 a.m. | 259354 | 211706 | 7.4562 | 0 | 90.758 | 13.6 | 0 | 5.58
713 | 31/03/2016 | 3:00:00 a.m. | 259354 | 211706 | 7.4946 | 0 | 91.098 | 13.8 | 0 | 5.58
712 | 31/03/2016 | 2:00:00 a.m. | 259354 | 211706 | 7.4457 | 0 | 91.267 | 14.8 | 0 | 5.58
711 | 31/03/2016 | 1:00:00 a.m. | 259354 | 211706 | 7.4619 | 0 | 91.234 | 16.5 | 0 | 5.58
710 | 31/03/2016 | 12:00:00 a.m. | 259354 | 211706 | 7.4162 | 0 | 91.267 | 17.9 | 0 | 5.59
709 | 30/03/2016 | 11:00:00 p.m. | 259354 | 211706 | 7.3538 | 0 | 91.146 | 19.7 | 0 | 5.59
708 | 30/03/2016 | 10:00:00 p.m. | 259354 | 211706 | 7.3234 | 0 | 91.038 | 21.1 | 0 | 5.59
707 | 30/03/2016 | 9:00:00 p.m. | 259354 | 211706 | 7.2888 | 0 | 90.918 | 22.4 | 0 | 5.59
706 | 30/03/2016 | 8:00:00 p.m. | 259354 | 211706 | 7.1922 | 0 | 90.756 | 24.2 | 0 | 5.6
705 | 30/03/2016 | 7:00:00 p.m. | 259354 | 211706 | 7.1899 | 0 | 90.935 | 27.7 | 0 | 5.61
704 | 30/03/2016 | 6:00:00 p.m. | 259354 | 211706 | 7.0477 | 0 | 90.586 | 31.6 | 0 | 5.61
703 | 30/03/2016 | 5:00:00 p.m. | 259354 | 211706 | 6.9435 | 0 | 90.396 | 34.7 | 0 | 5.62
702 | 30/03/2016 | 4:00:00 p.m. | 259354 | 211706 | 6.8101 | 0 | 90.853 | 36.1 | 0.7 | 5.62
701 | 30/03/2016 | 3:00:00 p.m. | 259354 | 211706 | 6.9486 | 0 | 90.55 | 33 | 87.4 | 5.63
700 | 30/03/2016 | 2:00:00 p.m. | 259347 | 211705 | 6.8668 | 0 | 87.512 | 26.5 | 87.2 | 5.62
699 | 30/03/2016 | 1:00:00 p.m. | 259265 | 211693 | 6.8482 | 0 | 87.244 | 25.9 | 87.3 | 5.63
698 | 30/03/2016 | 12:00:00 p.m. | 259180 | 211681 | 6.9115 | 0 | 86.933 | 25.2 | 87.7 | 5.61
697 | 30/03/2016 | 11:00:00 a.m. | 259094 | 211668 | 6.8459 | 0 | 86.558 | 24.3 | 88.5 | 5.61
696 | 30/03/2016 | 10:00:00 a.m. | 259007 | 211656 | 6.9087 | 0 | 86.357 | 22.5 | 90.2 | 5.58
695 | 30/03/2016 | 9:00:00 a.m. | 258918 | 211643 | 6.9189 | 0 | 86.512 | 21.1 | 91.3 | 5.58
694 | 30/03/2016 | 8:00:00 a.m. | 258827 | 211630 | 7.0059 | 0 | 88.7 | 14.7 | 96.8 | 5.57
693 | 30/03/2016 | 7:00:00 a.m. | 258768 | 211621 | 7.6576 | 0 | 91.689 | 9.3 | 0 | 5.59
692 | 30/03/2016 | 6:00:00 a.m. | 258768 | 211621 | 7.685 | 0 | 91.565 | 9.8 | 0 | 5.57
691 | 30/03/2016 | 5:00:00 a.m. | 258768 | 211621 | 7.6441 | 0 | 91.456 | 10.5 | 0 | 5.57
690 | 30/03/2016 | 4:00:00 a.m. | 258768 | 211621 | 7.5362 | 0 | 91.413 | 11.6 | 0 | 5.57
689 | 30/03/2016 | 3:00:00 a.m. | 258768 | 211621 | 7.5623 | 0 | 91.406 | 12.8 | 0 | 5.57
688 | 30/03/2016 | 2:00:00 a.m. | 258768 | 211621 | 7.5136 | 0 | 91.22 | 13.8 | 0 | 5.59
687 | 30/03/2016 | 1:00:00 a.m. | 258768 | 211621 | 7.5004 | 0 | 91.485 | 15.3 | 0 | 5.58
686 | 30/03/2016 | 12:00:00 a.m. | 258768 | 211621 | 7.4149 | 0 | 91.658 | 17.1 | 0 | 5.59
685 | 29/03/2016 | 11:00:00 p.m. | 258768 | 211621 | 7.3298 | 0 | 91.577 | 19 | 0 | 5.59
684 | 29/03/2016 | 10:00:00 p.m. | 258768 | 211621 | 7.3393 | 0 | 91.464 | 20.6 | 0 | 5.6
683 | 29/03/2016 | 9:00:00 p.m. | 258768 | 211621 | 7.3017 | 0 | 91.493 | 21.9 | 0 | 5.6
682 | 29/03/2016 | 8:00:00 p.m. | 258768 | 211621 | 7.3092 | 0 | 91.441 | 23.8 | 0 | 5.6
681 | 29/03/2016 | 7:00:00 p.m. | 258768 | 211621 | 7.1792 | 0 | 91.063 | 26.1 | 0 | 5.6
680 | 29/03/2016 | 6:00:00 p.m. | 258768 | 211621 | 7.1122 | 0 | 90.977 | 28.1 | 2.1 | 5.62
679 | 29/03/2016 | 5:00:00 p.m. | 258768 | 211621 | 7.0567 | 0 | 88.358 | 25.8 | 89.6 | 5.61
678 | 29/03/2016 | 4:00:00 p.m. | 258713 | 211613 | 6.9949 | 0 | 88.75 | 30.7 | 88.7 | 5.62
677 | 29/03/2016 | 3:00:00 p.m. | 258674 | 211608 | 6.9111 | 0 | 88.663 | 28.6 | 87.3 | 5.62
676 | 29/03/2016 | 2:00:00 p.m. | 258635 | 211602 | 6.8468 | 0 | 86.646 | 25.9 | 88.1 | 5.62
675 | 29/03/2016 | 1:00:00 p.m. | 258549 | 211589 | 6.8524 | 0 | 86.795 | 25.6 | 87.4 | 5.61
674 | 29/03/2016 | 12:00:00 p.m. | 258463 | 211577 | 6.8636 | 0 | 86.849 | 25.1 | 88 | 5.61
673 | 29/03/2016 | 11:00:00 a.m. | 258377 | 211564 | 6.8795 | 0 | 86.934 | 24.2 | 88.3 | 5.62
672 | 29/03/2016 | 10:00:00 a.m. | 258290 | 211552 | 6.9381 | 0 | 87.274 | 22.8 | 87.9 | 5.6
671 | 29/03/2016 | 9:00:00 a.m. | 258206 | 211540 | 7.0142 | 0 | 89.244 | 17.5 | 95.2 | 5.6
670 | 29/03/2016 | 8:00:00 a.m. | 258158 | 211533 | 7.5425 | 0 | 91.549 | 9.6 | 0 | 5.58
669 | 29/03/2016 | 7:00:00 a.m. | 258158 | 211533 | 7.6205 | 0 | 91.245 | 9.5 | 0 | 5.57
668 | 29/03/2016 | 6:00:00 a.m. | 258158 | 211533 | 7.6044 | 0 | 91.721 | 10.3 | 0 | 5.56
667 | 29/03/2016 | 5:00:00 a.m. | 258158 | 211533 | 7.6549 | 0 | 91.739 | 11.4 | 0 | 5.57
666 | 29/03/2016 | 4:00:00 a.m. | 258158 | 211533 | 7.604 | 0 | 91.644 | 12.6 | 0 | 5.57
665 | 29/03/2016 | 3:00:00 a.m. | 258158 | 211533 | 7.5426 | 0 | 91.789 | 13.8 | 0 | 5.59
664 | 29/03/2016 | 2:00:00 a.m. | 258158 | 211533 | 7.5466 | 0 | 91.615 | 15 | 0 | 5.58
663 | 29/03/2016 | 1:00:00 a.m. | 258158 | 211533 | 7.4958 | 0 | 91.816 | 16 | 0 | 5.59
662 | 29/03/2016 | 12:00:00 a.m. | 258158 | 211533 | 7.4645 | 0 | 92.06 | 16.8 | 0 | 5.59
661 | 28/03/2016 | 11:00:00 p.m. | 258158 | 211533 | 7.4461 | 0 | 91.678 | 18.5 | 0 | 5.59
660 | 28/03/2016 | 10:00:00 p.m. | 258158 | 211533 | 7.2553 | 0 | 91.569 | 20.6 | 0 | 5.58
659 | 28/03/2016 | 9:00:00 p.m. | 258158 | 211533 | 7.3197 | 0 | 91.974 | 22.5 | 0 | 5.59
658 | 28/03/2016 | 8:00:00 p.m. | 258158 | 211533 | 7.3015 | 0 | 91.977 | 24.3 | 0 | 5.6
657 | 28/03/2016 | 7:00:00 p.m. | 258158 | 211533 | 7.1351 | 0 | 91.913 | 26.4 | 0 | 5.6
656 | 28/03/2016 | 6:00:00 p.m. | 258158 | 211533 | 7.1601 | 0 | 91.724 | 27.6 | 2.1 | 5.6
655 | 28/03/2016 | 5:00:00 p.m. | 258158 | 211533 | 7.1513 | 0 | 89.105 | 24.5 | 90.5 | 5.6
654 | 28/03/2016 | 4:00:00 p.m. | 258099 | 211524 | 6.97 | 0 | 88.434 | 25 | 87.4 | 5.61
653 | 28/03/2016 | 3:00:00 p.m. | 258025 | 211514 | 6.8505 | 0 | 90.473 | 35 | 89.9 | 5.62
652 | 28/03/2016 | 2:00:00 p.m. | 258012 | 211512 | 6.9031 | 0 | 91.062 | 38.3 | 1.6 | 5.61
651 | 28/03/2016 | 1:00:00 p.m. | 258011 | 211512 | 6.9386 | 0 | 89.396 | 28.7 | 88.2 | 5.62
650 | 28/03/2016 | 12:00:00 p.m. | 257960 | 211504 | 6.9808 | 0 | 87.764 | 25.4 | 87.8 | 5.61
649 | 28/03/2016 | 11:00:00 a.m. | 257878 | 211493 | 6.9082 | 0 | 87.45 | 24.3 | 88.1 | 5.61
648 | 28/03/2016 | 10:00:00 a.m. | 257795 | 211481 | 7.0904 | 0 | 88.06 | 22.8 | 89.6 | 5.59
647 | 28/03/2016 | 9:00:00 a.m. | 257714 | 211469 | 7.0569 | 0 | 89.88 | 17.3 | 97.3 | 5.6
646 | 28/03/2016 | 8:00:00 a.m. | 257668 | 211463 | 7.5943 | 0 | 92.179 | 11.6 | 0 | 5.59
645 | 28/03/2016 | 7:00:00 a.m. | 257668 | 211463 | 7.7071 | 0 | 92.426 | 12.1 | 0 | 5.57
644 | 28/03/2016 | 6:00:00 a.m. | 257668 | 211463 | 7.5988 | 0 | 92.297 | 13 | 0 | 5.58
643 | 28/03/2016 | 5:00:00 a.m. | 257668 | 211463 | 7.5762 | 0 | 92.105 | 13.8 | 0 | 5.58
642 | 28/03/2016 | 4:00:00 a.m. | 257668 | 211463 | 7.5418 | 0 | 92.054 | 14.4 | 0 | 5.59
641 | 28/03/2016 | 3:00:00 a.m. | 257668 | 211463 | 7.4864 | 0 | 91.868 | 15 | 0 | 5.59
640 | 28/03/2016 | 2:00:00 a.m. | 257668 | 211463 | 7.4067 | 0 | 91.712 | 15.8 | 0 | 5.57
639 | 28/03/2016 | 1:00:00 a.m. | 257668 | 211463 | 7.4741 | 0 | 91.817 | 16.9 | 0 | 5.59
638 | 28/03/2016 | 12:00:00 a.m. | 257668 | 211463 | 7.432 | 0 | 91.533 | 18.2 | 0 | 5.58
637 | 27/03/2016 | 11:00:00 p.m. | 257668 | 211463 | 7.456 | 0 | 92.248 | 19.5 | 0 | 5.59
636 | 27/03/2016 | 10:00:00 p.m. | 257668 | 211463 | 7.4223 | 0 | 92.392 | 21.1 | 0 | 5.6
635 | 27/03/2016 | 9:00:00 p.m. | 257668 | 211463 | 7.3631 | 0 | 91.994 | 23.1 | 0 | 5.58
634 | 27/03/2016 | 8:00:00 p.m. | 257668 | 211463 | 7.3284 | 0 | 92.384 | 25.4 | 0 | 5.6
633 | 27/03/2016 | 7:00:00 p.m. | 257668 | 211463 | 7.2426 | 0 | 92.33 | 29.3 | 0 | 5.61
632 | 27/03/2016 | 6:00:00 p.m. | 257668 | 211463 | 7.136 | 0 | 91.904 | 34.6 | 0 | 5.61
631 | 27/03/2016 | 5:00:00 p.m. | 257668 | 211463 | 6.8392 | 0 | 91.536 | 38 | 0 | 5.64
630 | 27/03/2016 | 4:00:00 p.m. | 257668 | 211463 | 6.8524 | 0 | 91.789 | 40 | 0 | 5.62
629 | 27/03/2016 | 3:00:00 p.m. | 257668 | 211463 | 6.8344 | 0 | 91.52 | 42.5 | 0 | 5.65
628 | 27/03/2016 | 2:00:00 p.m. | 257668 | 211463 | 6.6941 | 0 | 91.914 | 42.9 | 0 | 5.61
627 | 27/03/2016 | 1:00:00 p.m. | 257668 | 211463 | 6.7362 | 0 | 91.821 | 41.1 | 0 | 5.62
626 | 27/03/2016 | 12:00:00 p.m. | 257668 | 211463 | 6.8787 | 0 | 91.843 | 37.8 | 0 | 5.62
625 | 27/03/2016 | 11:00:00 a.m. | 257668 | 211463 | 6.9921 | 0 | 91.847 | 30.7 | 0 | 5.61
624 | 27/03/2016 | 10:00:00 a.m. | 257668 | 211463 | 7.2105 | 0 | 92.009 | 22.3 | 0 | 5.59
623 | 27/03/2016 | 9:00:00 a.m. | 257668 | 211463 | 7.305 | 0 | 92.154 | 16.3 | 0 | 5.59
622 | 27/03/2016 | 8:00:00 a.m. | 257668 | 211463 | 7.6128 | 0 | 92.299 | 13.1 | 0 | 5.58
621 | 27/03/2016 | 7:00:00 a.m. | 257668 | 211463 | 7.591 | 0 | 92.236 | 12.8 | 0 | 5.59
620 | 27/03/2016 | 6:00:00 a.m. | 257668 | 211463 | 7.6124 | 0 | 92.196 | 13.3 | 0 | 5.58
619 | 27/03/2016 | 5:00:00 a.m. | 257668 | 211463 | 7.391 | 0 | 92.241 | 14 | 0 | 5.57
618 | 27/03/2016 | 4:00:00 a.m. | 257668 | 211463 | 7.5903 | 0 | 92.21 | 14.9 | 0 | 5.58
617 | 27/03/2016 | 3:00:00 a.m. | 257668 | 211463 | 7.5009 | 0 | 92.119 | 15.1 | 0 | 5.58
616 | 27/03/2016 | 2:00:00 a.m. | 257668 | 211463 | 7.4608 | 0 | 92.028 | 15.9 | 0 | 5.59
615 | 27/03/2016 | 1:00:00 a.m. | 257668 | 211463 | 7.534 | 0 | 92.193 | 16.5 | 0 | 5.6
614 | 27/03/2016 | 12:00:00 a.m. | 257668 | 211463 | 7.4967 | 0 | 92.416 | 17.3 | 0 | 5.59
613 | 26/03/2016 | 11:00:00 p.m. | 257668 | 211463 | 7.5249 | 0 | 92.24 | 18.3 | 0 | 5.59
612 | 26/03/2016 | 10:00:00 p.m. | 257668 | 211463 | 7.4115 | 0 | 92.391 | 19.1 | 0 | 5.59
611 | 26/03/2016 | 9:00:00 p.m. | 257668 | 211463 | 7.4332 | 0 | 92.178 | 20.3 | 0 | 5.59
610 | 26/03/2016 | 8:00:00 p.m. | 257668 | 211463 | 7.3524 | 0 | 91.988 | 22.1 | 0 | 5.6
609 | 26/03/2016 | 7:00:00 p.m. | 257668 | 211463 | 7.3484 | 0 | 92.324 | 24.8 | 0 | 5.61
608 | 26/03/2016 | 6:00:00 p.m. | 257668 | 211463 | 7.2186 | 0 | 91.984 | 28.2 | 0 | 5.6
607 | 26/03/2016 | 5:00:00 p.m. | 257668 | 211463 | 7.1225 | 0 | 92.41 | 29 | 0 | 5.61
606 | 26/03/2016 | 4:00:00 p.m. | 257668 | 211463 | 7.0991 | 0 | 91.851 | 30.3 | 0 | 5.6
605 | 26/03/2016 | 3:00:00 p.m. | 257668 | 211463 | 7.0665 | 0 | 92.114 | 32.5 | 0 | 5.61
604 | 26/03/2016 | 2:00:00 p.m. | 257668 | 211463 | 7.0212 | 0 | 91.792 | 35 | 0 | 5.61
603 | 26/03/2016 | 1:00:00 p.m. | 257668 | 211463 | 6.9658 | 0 | 91.503 | 33.2 | 0 | 5.61
602 | 26/03/2016 | 12:00:00 p.m. | 257668 | 211463 | 7.1077 | 0 | 92.254 | 28.4 | 0 | 5.61
601 | 26/03/2016 | 11:00:00 a.m. | 257668 | 211463 | 7.1111 | 0 | 91.824 | 30.8 | 0 | 5.6
600 | 26/03/2016 | 10:00:00 a.m. | 257668 | 211463 | 7.1182 | 0 | 92.019 | 26.1 | 0 | 5.6
599 | 26/03/2016 | 9:00:00 a.m. | 257668 | 211463 | 7.326 | 0 | 91.942 | 17.4 | 0 | 5.59
598 | 26/03/2016 | 8:00:00 a.m. | 257668 | 211463 | 7.5567 | 0 | 92.009 | 12 | 0 | 5.58
597 | 26/03/2016 | 7:00:00 a.m. | 257668 | 211463 | 7.6147 | 0 | 92.26 | 11.7 | 0 | 5.58
596 | 26/03/2016 | 6:00:00 a.m. | 257668 | 211463 | 7.6487 | 0 | 92.467 | 12.9 | 0 | 5.58
595 | 26/03/2016 | 5:00:00 a.m. | 257668 | 211463 | 7.5781 | 0 | 92.512 | 14.2 | 0 | 5.58
594 | 26/03/2016 | 4:00:00 a.m. | 257668 | 211463 | 7.5894 | 0 | 92.544 | 15.1 | 0 | 5.57
593 | 26/03/2016 | 3:00:00 a.m. | 257668 | 211463 | 7.5244 | 0 | 92.378 | 15.9 | 0 | 5.58
592 | 26/03/2016 | 2:00:00 a.m. | 257668 | 211463 | 7.5229 | 0 | 92.419 | 16.9 | 0 | 5.59
591 | 26/03/2016 | 1:00:00 a.m. | 257668 | 211463 | 7.4742 | 0 | 92.443 | 17.5 | 0 | 5.59
590 | 26/03/2016 | 12:00:00 a.m. | 257668 | 211463 | 7.5008 | 0 | 92.658 | 18.3 | 0 | 5.59
589 | 25/03/2016 | 11:00:00 p.m. | 257668 | 211463 | 7.4262 | 0 | 92.391 | 19.2 | 0 | 5.58
588 | 25/03/2016 | 10:00:00 p.m. | 257668 | 211463 | 7.4427 | 0 | 92.403 | 19.9 | 0 | 5.59
587 | 25/03/2016 | 9:00:00 p.m. | 257668 | 211463 | 7.3751 | 0 | 92.382 | 21.1 | 0 | 5.6
586 | 25/03/2016 | 8:00:00 p.m. | 257668 | 211463 | 7.3763 | 0 | 92.495 | 22.7 | 0 | 5.61
585 | 25/03/2016 | 7:00:00 p.m. | 257668 | 211463 | 7.3399 | 0 | 92.509 | 25.5 | 0 | 5.6
584 | 25/03/2016 | 6:00:00 p.m. | 257668 | 211463 | 7.2081 | 0 | 92.243 | 28.7 | 0 | 5.61
583 | 25/03/2016 | 5:00:00 p.m. | 257668 | 211463 | 7.1379 | 0 | 92.115 | 29.6 | 0 | 5.61
582 | 25/03/2016 | 4:00:00 p.m. | 257668 | 211463 | 7.1401 | 0 | 92.362 | 32.5 | 0 | 5.61
581 | 25/03/2016 | 3:00:00 p.m. | 257668 | 211463 | 6.9223 | 0 | 92.257 | 35.8 | 0 | 5.62
580 | 25/03/2016 | 2:00:00 p.m. | 257668 | 211463 | 6.9685 | 0 | 92.051 | 36.7 | 0 | 5.61
579 | 25/03/2016 | 1:00:00 p.m. | 257668 | 211463 | 6.9184 | 0 | 92.012 | 38.1 | 0 | 5.62
578 | 25/03/2016 | 12:00:00 p.m. | 257668 | 211463 | 6.9303 | 0 | 91.97 | 36.3 | 0 | 5.62
577 | 25/03/2016 | 11:00:00 a.m. | 257668 | 211463 | 7.0209 | 0 | 91.937 | 31.7 | 0 | 5.62
576 | 25/03/2016 | 10:00:00 a.m. | 257668 | 211463 | 7.1949 | 0 | 92.022 | 23.3 | 0 | 5.61
575 | 25/03/2016 | 9:00:00 a.m. | 257668 | 211463 | 7.3302 | 0 | 92.252 | 13.6 | 0 | 5.59
574 | 25/03/2016 | 8:00:00 a.m. | 257668 | 211463 | 7.6444 | 0 | 92.614 | 7.3 | 0 | 5.57
573 | 25/03/2016 | 7:00:00 a.m. | 257668 | 211463 | 7.8111 | 0 | 92.662 | 7.4 | 0 | 5.57
572 | 25/03/2016 | 6:00:00 a.m. | 257668 | 211463 | 7.7921 | 0 | 92.825 | 8.3 | 0 | 5.58
571 | 25/03/2016 | 5:00:00 a.m. | 257668 | 211463 | 7.7293 | 0 | 92.563 | 9.3 | 0 | 5.57
570 | 25/03/2016 | 4:00:00 a.m. | 257668 | 211463 | 7.7201 | 0 | 92.577 | 10.5 | 0 | 5.58
569 | 25/03/2016 | 3:00:00 a.m. | 257668 | 211463 | 7.6873 | 0 | 92.507 | 11.8 | 0 | 5.57
568 | 25/03/2016 | 2:00:00 a.m. | 257668 | 211463 | 7.6396 | 0 | 92.6 | 13.4 | 0 | 5.58
567 | 25/03/2016 | 1:00:00 a.m. | 257668 | 211463 | 7.5977 | 0 | 92.433 | 15 | 0 | 5.58
566 | 25/03/2016 | 12:00:00 a.m. | 257668 | 211463 | 7.55 | 0 | 92.634 | 16.1 | 0 | 5.59
565 | 24/03/2016 | 11:00:00 p.m. | 257668 | 211463 | 7.5136 | 0 | 92.687 | 17.5 | 0 | 5.59
564 | 24/03/2016 | 10:00:00 p.m. | 257668 | 211463 | 7.4924 | 0 | 92.541 | 19.3 | 0 | 5.59
563 | 24/03/2016 | 9:00:00 p.m. | 257668 | 211463 | 7.3959 | 0 | 92.426 | 21.4 | 0 | 5.6
562 | 24/03/2016 | 8:00:00 p.m. | 257668 | 211463 | 7.345 | 0 | 92.33 | 23.4 | 0 | 5.59
561 | 24/03/2016 | 7:00:00 p.m. | 257668 | 211463 | 7.3058 | 0 | 92.643 | 26.7 | 0 | 5.61
560 | 24/03/2016 | 6:00:00 p.m. | 257668 | 211463 | 7.1773 | 0 | 92.325 | 31.3 | 0 | 5.62
559 | 24/03/2016 | 5:00:00 p.m. | 257668 | 211463 | 7.0413 | 0 | 92.141 | 34.6 | 0 | 5.63
558 | 24/03/2016 | 4:00:00 p.m. | 257668 | 211463 | 7.0222 | 0 | 92.179 | 34 | 0.8 | 5.63
557 | 24/03/2016 | 3:00:00 p.m. | 257668 | 211463 | 7.0152 | 0 | 91.558 | 30.7 | 88.5 | 5.62
556 | 24/03/2016 | 2:00:00 p.m. | 257653 | 211460 | 7.0403 | 0 | 88.43 | 24.2 | 88.5 | 5.6
555 | 24/03/2016 | 1:00:00 p.m. | 257565 | 211448 | 7.0264 | 0 | 88.223 | 24.3 | 90.1 | 5.61
554 | 24/03/2016 | 12:00:00 p.m. | 257477 | 211435 | 7.0023 | 0 | 88.064 | 24.5 | 91.3 | 5.62
553 | 24/03/2016 | 11:00:00 a.m. | 257388 | 211423 | 6.9874 | 0 | 88.407 | 23.7 | 89 | 5.61
552 | 24/03/2016 | 10:00:00 a.m. | 257301 | 211410 | 7.0279 | 0 | 89.145 | 21.8 | 91.2 | 5.6
551 | 24/03/2016 | 9:00:00 a.m. | 257219 | 211399 | 7.1115 | 0 | 92.06 | 13.7 | 96.2 | 5.59
550 | 24/03/2016 | 8:00:00 a.m. | 257209 | 211397 | 7.7269 | 0 | 92.925 | 7.7 | 0 | 5.6
549 | 24/03/2016 | 7:00:00 a.m. | 257209 | 211397 | 7.7935 | 0 | 92.792 | 7.8 | 0 | 5.57
548 | 24/03/2016 | 6:00:00 a.m. | 257209 | 211397 | 7.7776 | 0 | 92.744 | 8.3 | 0 | 5.58
547 | 24/03/2016 | 5:00:00 a.m. | 257209 | 211397 | 7.769 | 0 | 92.721 | 9 | 0 | 5.59
546 | 24/03/2016 | 4:00:00 a.m. | 257209 | 211397 | 7.7255 | 0 | 92.406 | 9.8 | 0 | 5.57
545 | 24/03/2016 | 3:00:00 a.m. | 257209 | 211397 | 7.688 | 0 | 92.507 | 10.7 | 0 | 5.58
544 | 24/03/2016 | 2:00:00 a.m. | 257209 | 211397 | 7.689 | 0 | 92.48 | 11.9 | 0 | 5.58
543 | 24/03/2016 | 1:00:00 a.m. | 257209 | 211397 | 7.6682 | 0 | 92.574 | 13.6 | 0 | 5.59
542 | 24/03/2016 | 12:00:00 a.m. | 257209 | 211397 | 7.547 | 0 | 92.339 | 15.5 | 0 | 5.59
541 | 23/03/2016 | 11:00:00 p.m. | 257209 | 211397 | 7.5067 | 0 | 92.399 | 17.6 | 0 | 5.58
540 | 23/03/2016 | 10:00:00 p.m. | 257209 | 211397 | 7.435 | 0 | 92.249 | 19.3 | 0 | 5.6
539 | 23/03/2016 | 9:00:00 p.m. | 257209 | 211397 | 7.445 | 0 | 92.328 | 20.3 | 0 | 5.59
538 | 23/03/2016 | 8:00:00 p.m. | 257209 | 211397 | 7.3935 | 0 | 92.076 | 20.7 | 0 | 5.59
537 | 23/03/2016 | 7:00:00 p.m. | 257209 | 211397 | 7.3843 | 0 | 92.252 | 20.9 | 0 | 5.59
536 | 23/03/2016 | 6:00:00 p.m. | 257209 | 211397 | 7.3858 | 0 | 92.104 | 21.1 | 2.1 | 5.6
535 | 23/03/2016 | 5:00:00 p.m. | 257209 | 211397 | 7.2987 | 0 | 89.739 | 21.8 | 88.7 | 5.61
534 | 23/03/2016 | 4:00:00 p.m. | 257154 | 211390 | 7.1548 | 0 | 88.675 | 22.4 | 88.6 | 5.6
533 | 23/03/2016 | 3:00:00 p.m. | 257075 | 211378 | 7.0299 | 0 | 87.654 | 23 | 91.1 | 5.61
532 | 23/03/2016 | 2:00:00 p.m. | 256986 | 211366 | 6.9864 | 0 | 87.669 | 23.4 | 92.2 | 5.61
531 | 23/03/2016 | 1:00:00 p.m. | 256895 | 211353 | 6.9984 | 0 | 87.468 | 24.1 | 92 | 5.61
530 | 23/03/2016 | 12:00:00 p.m. | 256804 | 211339 | 6.8518 | 0 | 88.182 | 24.4 | 92.4 | 5.6
529 | 23/03/2016 | 11:00:00 a.m. | 256725 | 211328 | 6.976 | 0 | 89.312 | 23.6 | 89.2 | 5.6
528 | 23/03/2016 | 10:00:00 a.m. | 256658 | 211319 | 7.2008 | 0 | 88.327 | 21.5 | 93.9 | 5.6
527 | 23/03/2016 | 9:00:00 a.m. | 256583 | 211308 | 7.1001 | 0 | 91.722 | 14.1 | 96.6 | 5.59
526 | 23/03/2016 | 8:00:00 a.m. | 256578 | 211307 | 7.6279 | 0 | 92.078 | 8.8 | 0 | 5.57
525 | 23/03/2016 | 7:00:00 a.m. | 256578 | 211307 | 7.7352 | 0 | 91.863 | 8.2 | 0 | 5.57
524 | 23/03/2016 | 6:00:00 a.m. | 256578 | 211307 | 7.6705 | 0 | 91.579 | 8.6 | 0 | 5.57
523 | 23/03/2016 | 5:00:00 a.m. | 256578 | 211307 | 7.6538 | 0 | 91.808 | 8.9 | 0 | 5.59
522 | 23/03/2016 | 4:00:00 a.m. | 256578 | 211307 | 7.6918 | 0 | 91.897 | 9.4 | 0 | 5.58
521 | 23/03/2016 | 3:00:00 a.m. | 256578 | 211307 | 7.6425 | 0 | 91.66 | 10.2 | 0 | 5.57
520 | 23/03/2016 | 2:00:00 a.m. | 256578 | 211307 | 7.6502 | 0 | 92.408 | 11.1 | 0 | 5.57
519 | 23/03/2016 | 1:00:00 a.m. | 256578 | 211307 | 7.5919 | 0 | 92.127 | 12.5 | 0 | 5.58
518 | 23/03/2016 | 12:00:00 a.m. | 256578 | 211307 | 7.6052 | 0 | 92.017 | 14.4 | 0 | 5.58
517 | 22/03/2016 | 11:00:00 p.m. | 256578 | 211307 | 7.5185 | 0 | 92.649 | 16.5 | 0 | 5.59
516 | 22/03/2016 | 10:00:00 p.m. | 256578 | 211307 | 7.4743 | 0 | 92.067 | 18.4 | 0 | 5.59
515 | 22/03/2016 | 9:00:00 p.m. | 256578 | 211307 | 7.3507 | 0 | 91.905 | 19.9 | 0 | 5.59
514 | 22/03/2016 | 8:00:00 p.m. | 256578 | 211307 | 7.3018 | 0 | 91.475 | 21.2 | 0 | 5.6
513 | 22/03/2016 | 7:00:00 p.m. | 256578 | 211307 | 7.3037 | 0 | 91.684 | 22.9 | 0 | 5.59
512 | 22/03/2016 | 6:00:00 p.m. | 256578 | 211307 | 7.2848 | 0 | 91.51 | 24 | 0.9 | 5.6
511 | 22/03/2016 | 5:00:00 p.m. | 256578 | 211307 | 7.2281 | 0 | 90.827 | 23.4 | 81.1 | 5.61
510 | 22/03/2016 | 4:00:00 p.m. | 256563 | 211305 | 7.0024 | 0 | 87.87 | 23 | 89.7 | 5.61
509 | 22/03/2016 | 3:00:00 p.m. | 256485 | 211294 | 6.9777 | 0 | 87.864 | 22 | 90 | 5.61
508 | 22/03/2016 | 2:00:00 p.m. | 256397 | 211282 | 7.1086 | 0 | 88.29 | 21.9 | 90.3 | 5.6
507 | 22/03/2016 | 1:00:00 p.m. | 256308 | 211269 | 6.9712 | 0 | 87.748 | 23.9 | 90.9 | 5.62
506 | 22/03/2016 | 12:00:00 p.m. | 256218 | 211256 | 6.9569 | 0 | 86.942 | 23.8 | 91.5 | 5.6
505 | 22/03/2016 | 11:00:00 a.m. | 256128 | 211243 | 6.9487 | 0 | 86.686 | 22.3 | 93 | 5.6
504 | 22/03/2016 | 10:00:00 a.m. | 256036 | 211230 | 6.9337 | 0 | 86.785 | 20.3 | 93.9 | 5.58
503 | 22/03/2016 | 9:00:00 a.m. | 255945 | 211217 | 7.0409 | 0 | 90.272 | 11.8 | 98.2 | 5.58
502 | 22/03/2016 | 8:00:00 a.m. | 255920 | 211213 | 7.6341 | 0 | 91.35 | 9 | 0 | 5.58
501 | 22/03/2016 | 7:00:00 a.m. | 255920 | 211213 | 7.6856 | 0 | 91.955 | 9.3 | 0 | 5.58
500 | 22/03/2016 | 6:00:00 a.m. | 255920 | 211213 | 7.6804 | 0 | 92.325 | 9.8 | 0 | 5.58
499 | 22/03/2016 | 5:00:00 a.m. | 255920 | 211213 | 7.703 | 0 | 92.021 | 10.3 | 0 | 5.58
498 | 22/03/2016 | 4:00:00 a.m. | 255920 | 211213 | 7.6389 | 0 | 91.99 | 10.6 | 0 | 5.58
497 | 22/03/2016 | 3:00:00 a.m. | 255920 | 211213 | 7.6314 | 0 | 91.926 | 11.1 | 0 | 5.58
496 | 22/03/2016 | 2:00:00 a.m. | 255920 | 211213 | 7.6077 | 0 | 92.012 | 11.7 | 0 | 5.58
495 | 22/03/2016 | 1:00:00 a.m. | 255920 | 211213 | 7.5959 | 0 | 92.081 | 12.9 | 0 | 5.58
494 | 22/03/2016 | 12:00:00 a.m. | 255920 | 211213 | 7.5215 | 0 | 92.199 | 14.4 | 0 | 5.58
493 | 21/03/2016 | 11:00:00 p.m. | 255920 | 211213 | 7.5176 | 0 | 92.167 | 15.4 | 0 | 5.58
492 | 21/03/2016 | 10:00:00 p.m. | 255920 | 211213 | 7.5073 | 0 | 92.094 | 16.3 | 0 | 5.59
491 | 21/03/2016 | 9:00:00 p.m. | 255920 | 211213 | 7.4501 | 0 | 92.116 | 17.9 | 0 | 5.59
490 | 21/03/2016 | 8:00:00 p.m. | 255920 | 211213 | 7.3999 | 0 | 92.033 | 19.5 | 0 | 5.59
489 | 21/03/2016 | 7:00:00 p.m. | 255920 | 211213 | 7.3426 | 0 | 91.892 | 22.2 | 0 | 5.6
488 | 21/03/2016 | 6:00:00 p.m. | 255920 | 211213 | 7.2478 | 0 | 92.052 | 26 | 0 | 5.6
487 | 21/03/2016 | 5:00:00 p.m. | 255920 | 211213 | 7.2036 | 0 | 92.338 | 28.8 | 0 | 5.62
486 | 21/03/2016 | 4:00:00 p.m. | 255920 | 211213 | 7.1656 | 0 | 92.277 | 31 | 0 | 5.61
485 | 21/03/2016 | 3:00:00 p.m. | 255920 | 211213 | 7.0809 | 0 | 92.18 | 33.7 | 0 | 5.63
484 | 21/03/2016 | 2:00:00 p.m. | 255920 | 211213 | 7.1103 | 0 | 92.281 | 32.3 | 0 | 5.61
483 | 21/03/2016 | 1:00:00 p.m. | 255920 | 211213 | 7.0863 | 0 | 92.061 | 29 | 0 | 5.61
482 | 21/03/2016 | 12:00:00 p.m. | 255920 | 211213 | 7.2628 | 0 | 92.301 | 23.1 | 0 | 5.61
481 | 21/03/2016 | 11:00:00 a.m. | 255920 | 211213 | 7.3634 | 0 | 92.315 | 18.3 | 0 | 5.6
480 | 21/03/2016 | 10:00:00 a.m. | 255920 | 211213 | 7.4689 | 0 | 92.217 | 14.3 | 0 | 5.59
479 | 21/03/2016 | 9:00:00 a.m. | 255920 | 211213 | 7.6271 | 0 | 91.975 | 11.2 | 0 | 5.58
478 | 21/03/2016 | 8:00:00 a.m. | 255920 | 211213 | 7.6832 | 0 | 92.133 | 9.9 | 0 | 5.59
477 | 21/03/2016 | 7:00:00 a.m. | 255920 | 211213 | 7.6327 | 0 | 92.309 | 10 | 0 | 5.57
476 | 21/03/2016 | 6:00:00 a.m. | 255920 | 211213 | 7.6901 | 0 | 92.207 | 10.5 | 0 | 5.58
475 | 21/03/2016 | 5:00:00 a.m. | 255920 | 211213 | 7.6769 | 0 | 91.991 | 10.9 | 0 | 5.58
474 | 21/03/2016 | 4:00:00 a.m. | 255920 | 211213 | 7.6107 | 0 | 92.107 | 11.5 | 0 | 5.58
473 | 21/03/2016 | 3:00:00 a.m. | 255920 | 211213 | 7.6598 | 0 | 92.244 | 11.9 | 0 | 5.59
472 | 21/03/2016 | 2:00:00 a.m. | 255920 | 211213 | 7.5072 | 0 | 92.337 | 12.1 | 0 | 5.59
471 | 21/03/2016 | 1:00:00 a.m. | 255920 | 211213 | 7.6395 | 0 | 92.231 | 12.4 | 0 | 5.58
470 | 21/03/2016 | 12:00:00 a.m. | 255920 | 211213 | 7.5817 | 0 | 92.365 | 13.3 | 0 | 5.59
469 | 20/03/2016 | 11:00:00 p.m. | 255920 | 211213 | 7.5819 | 0 | 92.546 | 14.6 | 0 | 5.59
468 | 20/03/2016 | 10:00:00 p.m. | 255920 | 211213 | 7.5753 | 0 | 92.622 | 15.9 | 0 | 5.59
467 | 20/03/2016 | 9:00:00 p.m. | 255920 | 211213 | 7.4756 | 0 | 92.603 | 17.4 | 0 | 5.59
466 | 20/03/2016 | 8:00:00 p.m. | 255920 | 211213 | 7.4414 | 0 | 92.511 | 19.8 | 0 | 5.6
465 | 20/03/2016 | 7:00:00 p.m. | 255920 | 211213 | 7.4034 | 0 | 92.456 | 23.4 | 0 | 5.6
464 | 20/03/2016 | 6:00:00 p.m. | 255920 | 211213 | 7.1847 | 0 | 92.417 | 27.1 | 0 | 5.61
463 | 20/03/2016 | 5:00:00 p.m. | 255920 | 211213 | 7.1738 | 0 | 92.673 | 30.1 | 0 | 5.62
462 | 20/03/2016 | 4:00:00 p.m. | 255920 | 211213 | 7.1192 | 0 | 92.42 | 32.2 | 0 | 5.62
461 | 20/03/2016 | 3:00:00 p.m. | 255920 | 211213 | 7.0446 | 0 | 92.177 | 32.2 | 0 | 5.61
460 | 20/03/2016 | 2:00:00 p.m. | 255920 | 211213 | 7.1141 | 0 | 92.239 | 31.8 | 0 | 5.61
459 | 20/03/2016 | 1:00:00 p.m. | 255920 | 211213 | 7.0949 | 0 | 92.031 | 30.4 | 0 | 5.62
458 | 20/03/2016 | 12:00:00 p.m. | 255920 | 211213 | 7.1382 | 0 | 92.004 | 28 | 0 | 5.61
457 | 20/03/2016 | 11:00:00 a.m. | 255920 | 211213 | 7.2494 | 0 | 91.952 | 23.9 | 0 | 5.6
456 | 20/03/2016 | 10:00:00 a.m. | 255920 | 211213 | 7.3033 | 0 | 91.885 | 17.8 | 0 | 5.6
455 | 20/03/2016 | 9:00:00 a.m. | 255920 | 211213 | 7.5819 | 0 | 92.071 | 10.2 | 0 | 5.58
454 | 20/03/2016 | 8:00:00 a.m. | 255920 | 211213 | 7.7741 | 0 | 92.284 | 7 | 0 | 5.58
453 | 20/03/2016 | 7:00:00 a.m. | 255920 | 211213 | 7.7538 | 0 | 92.399 | 7.6 | 0 | 5.57
452 | 20/03/2016 | 6:00:00 a.m. | 255920 | 211213 | 7.7156 | 0 | 92.282 | 8.2 | 0 | 5.58
451 | 20/03/2016 | 5:00:00 a.m. | 255920 | 211213 | 7.7497 | 0 | 92.252 | 8.7 | 0 | 5.58
450 | 20/03/2016 | 4:00:00 a.m. | 255920 | 211213 | 7.7515 | 0 | 92.346 | 9.6 | 0 | 5.57
449 | 20/03/2016 | 3:00:00 a.m. | 255920 | 211213 | 7.649 | 0 | 92.316 | 11.2 | 0 | 5.59
448 | 20/03/2016 | 2:00:00 a.m. | 255920 | 211213 | 7.6153 | 0 | 92.186 | 12.1 | 0 | 5.6
447 | 20/03/2016 | 1:00:00 a.m. | 255920 | 211213 | 7.6273 | 0 | 92.35 | 11.9 | 0 | 5.59
446 | 20/03/2016 | 12:00:00 a.m. | 255920 | 211213 | 7.6252 | 0 | 92.299 | 13.3 | 0 | 5.58
445 | 19/03/2016 | 11:00:00 p.m. | 255920 | 211213 | 7.5993 | 0 | 92.307 | 15.2 | 0 | 5.59
444 | 19/03/2016 | 10:00:00 p.m. | 255920 | 211213 | 7.5232 | 0 | 92.159 | 17.1 | 0 | 5.59
443 | 19/03/2016 | 9:00:00 p.m. | 255920 | 211213 | 7.442 | 0 | 92.18 | 18.3 | 0 | 5.59
442 | 19/03/2016 | 8:00:00 p.m. | 255920 | 211213 | 7.4511 | 0 | 91.967 | 19.9 | 0 | 5.61
441 | 19/03/2016 | 7:00:00 p.m. | 255920 | 211213 | 7.2448 | 0 | 91.872 | 23.1 | 0 | 5.61
440 | 19/03/2016 | 6:00:00 p.m. | 255920 | 211213 | 7.2002 | 0 | 91.661 | 27.5 | 0 | 5.61
439 | 19/03/2016 | 5:00:00 p.m. | 255920 | 211213 | 7.1048 | 0 | 91.371 | 30.4 | 0 | 5.63
438 | 19/03/2016 | 4:00:00 p.m. | 255920 | 211213 | 7.0743 | 0 | 91.61 | 29.3 | 0 | 5.61
437 | 19/03/2016 | 3:00:00 p.m. | 255920 | 211213 | 7.1336 | 0 | 91.551 | 28.1 | 0 | 5.61
436 | 19/03/2016 | 2:00:00 p.m. | 255920 | 211213 | 7.1482 | 0 | 91.427 | 26.6 | 0 | 5.61
435 | 19/03/2016 | 1:00:00 p.m. | 255920 | 211213 | 7.1795 | 0 | 91.479 | 25.6 | 0 | 5.6
434 | 19/03/2016 | 12:00:00 p.m. | 255920 | 211213 | 7.2214 | 0 | 91.421 | 23.4 | 0 | 5.6
433 | 19/03/2016 | 11:00:00 a.m. | 255920 | 211213 | 7.3262 | 0 | 91.557 | 19.4 | 0 | 5.6
432 | 19/03/2016 | 10:00:00 a.m. | 255920 | 211213 | 7.4225 | 0 | 91.41 | 14.5 | 0 | 5.58
431 | 19/03/2016 | 9:00:00 a.m. | 255920 | 211213 | 7.5617 | 0 | 91.555 | 11.4 | 0 | 5.58
430 | 19/03/2016 | 8:00:00 a.m. | 255920 | 211213 | 7.549 | 0 | 92.088 | 10 | 0 | 5.58
429 | 19/03/2016 | 7:00:00 a.m. | 255920 | 211213 | 7.6592 | 0 | 92.449 | 10 | 0 | 5.59
428 | 19/03/2016 | 6:00:00 a.m. | 255920 | 211213 | 7.7284 | 0 | 92.401 | 10 | 0 | 5.57
427 | 19/03/2016 | 5:00:00 a.m. | 255920 | 211213 | 7.6528 | 0 | 92.311 | 10.3 | 0 | 5.59
426 | 19/03/2016 | 4:00:00 a.m. | 255920 | 211213 | 7.6714 | 0 | 92.492 | 10.6 | 0 | 5.58
425 | 19/03/2016 | 3:00:00 a.m. | 255920 | 211213 | 7.6383 | 0 | 92.574 | 11.3 | 0 | 5.58
424 | 19/03/2016 | 2:00:00 a.m. | 255920 | 211213 | 7.6723 | 0 | 92.562 | 12.3 | 0 | 5.59
423 | 19/03/2016 | 1:00:00 a.m. | 255920 | 211213 | 7.6321 | 0 | 92.442 | 13.1 | 0 | 5.58
422 | 19/03/2016 | 12:00:00 a.m. | 255920 | 211213 | 7.5863 | 0 | 92.27 | 14.4 | 0 | 5.6
421 | 18/03/2016 | 11:00:00 p.m. | 255920 | 211213 | 7.4966 | 0 | 92.068 | 15.9 | 0 | 5.59
420 | 18/03/2016 | 10:00:00 p.m. | 255920 | 211213 | 7.4646 | 0 | 91.905 | 17.4 | 0 | 5.59
419 | 18/03/2016 | 9:00:00 p.m. | 255920 | 211213 | 7.4075 | 0 | 91.85 | 18.9 | 0 | 5.59
418 | 18/03/2016 | 8:00:00 p.m. | 255920 | 211213 | 7.3642 | 0 | 92.079 | 20.4 | 0 | 5.61
417 | 18/03/2016 | 7:00:00 p.m. | 255920 | 211213 | 7.3173 | 0 | 92.136 | 22.7 | 0 | 5.61
416 | 18/03/2016 | 6:00:00 p.m. | 255920 | 211213 | 7.2753 | 0 | 91.847 | 24.9 | 2.4 | 5.61
415 | 18/03/2016 | 5:00:00 p.m. | 255920 | 211213 | 7.2246 | 0 | 89.636 | 23.9 | 93.6 | 5.62
414 | 18/03/2016 | 4:00:00 p.m. | 255871 | 211206 | 6.9434 | 0 | 87.466 | 23.6 | 90 | 5.61
413 | 18/03/2016 | 3:00:00 p.m. | 255783 | 211194 | 6.9227 | 0 | 87.38 | 23.9 | 89.2 | 5.62
412 | 18/03/2016 | 2:00:00 p.m. | 255695 | 211181 | 6.9571 | 0 | 87.456 | 23.8 | 89.9 | 5.63
411 | 18/03/2016 | 1:00:00 p.m. | 255607 | 211168 | 6.9895 | 0 | 87.663 | 23.9 | 87.9 | 5.62
410 | 18/03/2016 | 12:00:00 p.m. | 255521 | 211156 | 6.964 | 0 | 87.607 | 23.1 | 87.6 | 5.61
409 | 18/03/2016 | 11:00:00 a.m. | 255437 | 211144 | 7.0016 | 0 | 87.956 | 22.3 | 88.3 | 5.61
408 | 18/03/2016 | 10:00:00 a.m. | 255350 | 211132 | 7.0478 | 0 | 87.878 | 21.2 | 89 | 5.61
407 | 18/03/2016 | 9:00:00 a.m. | 255263 | 211119 | 7.0055 | 0 | 90.387 | 13.9 | 96.2 | 5.59
406 | 18/03/2016 | 8:00:00 a.m. | 255226 | 211114 | 7.6554 | 0 | 92.067 | 8.3 | 0 | 5.58
405 | 18/03/2016 | 7:00:00 a.m. | 255226 | 211114 | 7.7123 | 0 | 92.192 | 8.4 | 0 | 5.58
404 | 18/03/2016 | 6:00:00 a.m. | 255226 | 211114 | 7.6892 | 0 | 92.036 | 9.1 | 0 | 5.58
403 | 18/03/2016 | 5:00:00 a.m. | 255226 | 211114 | 7.665 | 0 | 92.046 | 10 | 0 | 5.58
402 | 18/03/2016 | 4:00:00 a.m. | 255226 | 211114 | 7.6455 | 0 | 92.155 | 11.2 | 0 | 5.59
401 | 18/03/2016 | 3:00:00 a.m. | 255226 | 211114 | 7.5936 | 0 | 91.871 | 12.2 | 0 | 5.59
400 | 18/03/2016 | 2:00:00 a.m. | 255226 | 211114 | 7.5697 | 0 | 91.735 | 12.7 | 0 | 5.58
399 | 18/03/2016 | 1:00:00 a.m. | 255226 | 211114 | 7.5401 | 0 | 91.859 | 12.7 | 0 | 5.6
398 | 18/03/2016 | 12:00:00 a.m. | 255226 | 211114 | 7.6401 | 0 | 92.052 | 13.3 | 0 | 5.59
397 | 17/03/2016 | 11:00:00 p.m. | 255226 | 211114 | 7.5421 | 0 | 92.024 | 14.9 | 0 | 5.59
396 | 17/03/2016 | 10:00:00 p.m. | 255226 | 211114 | 7.4269 | 0 | 91.774 | 17.2 | 0 | 5.6
395 | 17/03/2016 | 9:00:00 p.m. | 255226 | 211114 | 7.3815 | 0 | 91.614 | 19.6 | 0 | 5.59
394 | 17/03/2016 | 8:00:00 p.m. | 255226 | 211114 | 7.3278 | 0 | 91.721 | 21.5 | 0 | 5.6
393 | 17/03/2016 | 7:00:00 p.m. | 255226 | 211114 | 7.3278 | 0 | 91.613 | 24.2 | 0 | 5.62
392 | 17/03/2016 | 6:00:00 p.m. | 255226 | 211114 | 7.2264 | 0 | 91.165 | 25.8 | 2.2 | 5.62
391 | 17/03/2016 | 5:00:00 p.m. | 255226 | 211114 | 7.1685 | 0 | 88.307 | 24 | 86.2 | 5.61
390 | 17/03/2016 | 4:00:00 p.m. | 255170 | 211106 | 7.0034 | 0 | 86.72 | 23.4 | 84.8 | 5.62
389 | 17/03/2016 | 3:00:00 p.m. | 255090 | 211094 | 6.9282 | 0 | 86.833 | 24.3 | 81.7 | 5.62
388 | 17/03/2016 | 2:00:00 p.m. | 255014 | 211083 | 6.9473 | 0 | 86.644 | 23.3 | 86.7 | 5.61
387 | 17/03/2016 | 1:00:00 p.m. | 254932 | 211072 | 6.9327 | 0 | 86.484 | 22.9 | 86 | 5.62
386 | 17/03/2016 | 12:00:00 p.m. | 254849 | 211059 | 6.8973 | 0 | 86.752 | 22.9 | 86.9 | 5.62
385 | 17/03/2016 | 11:00:00 a.m. | 254764 | 211047 | 6.9479 | 0 | 86.987 | 22.2 | 87.9 | 5.61
384 | 17/03/2016 | 10:00:00 a.m. | 254679 | 211035 | 7.0023 | 0 | 87.05 | 21.4 | 89.3 | 5.6
383 | 17/03/2016 | 9:00:00 a.m. | 254594 | 211023 | 6.9368 | 0 | 88.531 | 15 | 95 | 5.58
382 | 17/03/2016 | 8:00:00 a.m. | 254545 | 211016 | 7.5308 | 0 | 90.836 | 9.7 | 0 | 5.58
381 | 17/03/2016 | 7:00:00 a.m. | 254545 | 211016 | 7.6022 | 0 | 90.911 | 10 | 0 | 5.59
380 | 17/03/2016 | 6:00:00 a.m. | 254545 | 211016 | 7.571 | 0 | 90.827 | 10.4 | 0 | 5.59
379 | 17/03/2016 | 5:00:00 a.m. | 254545 | 211016 | 7.5639 | 0 | 90.93 | 10.9 | 0 | 5.58
378 | 17/03/2016 | 4:00:00 a.m. | 254545 | 211016 | 7.5128 | 0 | 90.774 | 11.5 | 0 | 5.59
377 | 17/03/2016 | 3:00:00 a.m. | 254545 | 211016 | 7.5282 | 0 | 90.737 | 12.5 | 0 | 5.59
376 | 17/03/2016 | 2:00:00 a.m. | 254545 | 211016 | 7.3854 | 0 | 90.824 | 13.9 | 0 | 5.6
375 | 17/03/2016 | 1:00:00 a.m. | 254545 | 211016 | 7.4348 | 0 | 90.809 | 15.3 | 0 | 5.59
374 | 17/03/2016 | 12:00:00 a.m. | 254545 | 211016 | 7.3662 | 0 | 90.857 | 17 | 0 | 5.6
373 | 16/03/2016 | 11:00:00 p.m. | 254545 | 211016 | 7.358 | 0 | 90.976 | 18.6 | 0 | 5.6
372 | 16/03/2016 | 10:00:00 p.m. | 254545 | 211016 | 7.3538 | 0 | 90.992 | 20.1 | 0 | 5.6
371 | 16/03/2016 | 9:00:00 p.m. | 254545 | 211016 | 7.2406 | 0 | 90.863 | 21.5 | 0 | 5.61
370 | 16/03/2016 | 8:00:00 p.m. | 254545 | 211016 | 7.2378 | 0 | 90.824 | 23.7 | 0 | 5.61
369 | 16/03/2016 | 7:00:00 p.m. | 254545 | 211016 | 7.1668 | 0 | 90.893 | 26.8 | 0 | 5.61
368 | 16/03/2016 | 6:00:00 p.m. | 254545 | 211016 | 7.047 | 0 | 90.999 | 30.9 | 0 | 5.62
367 | 16/03/2016 | 5:00:00 p.m. | 254545 | 211016 | 6.9967 | 0 | 90.57 | 32.3 | 2.2 | 5.63
366 | 16/03/2016 | 4:00:00 p.m. | 254545 | 211016 | 7.0361 | 0 | 88.647 | 26.3 | 82 | 5.62
365 | 16/03/2016 | 3:00:00 p.m. | 254493 | 211008 | 6.9344 | 0 | 87.527 | 25.1 | 83.8 | 5.64
364 | 16/03/2016 | 2:00:00 p.m. | 254417 | 210997 | 6.8871 | 0 | 87.339 | 25.3 | 83 | 5.63
363 | 16/03/2016 | 1:00:00 p.m. | 254341 | 210986 | 6.8819 | 0 | 87.454 | 24.7 | 83.7 | 5.62
362 | 16/03/2016 | 12:00:00 p.m. | 254266 | 210976 | 6.9879 | 0 | 87.185 | 24.2 | 86.1 | 5.62
361 | 16/03/2016 | 11:00:00 a.m. | 254186 | 210964 | 6.9289 | 0 | 87.005 | 23.1 | 85.7 | 5.62
360 | 16/03/2016 | 10:00:00 a.m. | 254104 | 210952 | 6.9842 | 0 | 87.612 | 21.7 | 85.6 | 5.61
359 | 16/03/2016 | 9:00:00 a.m. | 254025 | 210941 | 7.0363 | 0 | 87.816 | 19.7 | 83.4 | 5.6
358 | 16/03/2016 | 8:00:00 a.m. | 253948 | 210930 | 7.1666 | 0 | 88.995 | 12.6 | 97 | 5.57
357 | 16/03/2016 | 7:00:00 a.m. | 253895 | 210923 | 7.6385 | 0 | 91.464 | 7.6 | 0 | 5.58
356 | 16/03/2016 | 6:00:00 a.m. | 253895 | 210923 | 7.6808 | 0 | 91.449 | 8.6 | 0 | 5.58
355 | 16/03/2016 | 5:00:00 a.m. | 253895 | 210923 | 7.614 | 0 | 91.388 | 9.6 | 0 | 5.58
354 | 16/03/2016 | 4:00:00 a.m. | 253895 | 210923 | 7.6045 | 0 | 91.373 | 10.8 | 0 | 5.59
353 | 16/03/2016 | 3:00:00 a.m. | 253895 | 210923 | 7.58 | 0 | 91.305 | 12.1 | 0 | 5.59
352 | 16/03/2016 | 2:00:00 a.m. | 253895 | 210923 | 7.5337 | 0 | 91.24 | 13.5 | 0 | 5.59
351 | 16/03/2016 | 1:00:00 a.m. | 253895 | 210923 | 7.4564 | 0 | 91.189 | 14.8 | 0 | 5.59
350 | 16/03/2016 | 12:00:00 a.m. | 253895 | 210923 | 7.4056 | 0 | 91.026 | 16.1 | 0 | 5.6
349 | 15/03/2016 | 11:00:00 p.m. | 253895 | 210923 | 7.3827 | 0 | 90.924 | 17.7 | 0 | 5.6
348 | 15/03/2016 | 10:00:00 p.m. | 253895 | 210923 | 7.3302 | 0 | 90.753 | 19.4 | 0 | 5.6
347 | 15/03/2016 | 9:00:00 p.m. | 253895 | 210923 | 7.2528 | 0 | 90.556 | 20.9 | 0 | 5.61
346 | 15/03/2016 | 8:00:00 p.m. | 253895 | 210923 | 7.2394 | 0 | 90.58 | 22.9 | 0 | 5.61
345 | 15/03/2016 | 7:00:00 p.m. | 253895 | 210923 | 7.1786 | 0 | 90.593 | 25.1 | 0 | 5.59
344 | 15/03/2016 | 6:00:00 p.m. | 253895 | 210923 | 7.0895 | 0 | 90.463 | 26.8 | 1.5 | 5.62
343 | 15/03/2016 | 5:00:00 p.m. | 253895 | 210923 | 7.0754 | 0 | 88.872 | 24.9 | 77.2 | 5.63
342 | 15/03/2016 | 4:00:00 p.m. | 253856 | 210917 | 6.9525 | 0 | 87.569 | 24.9 | 77.4 | 5.63
341 | 15/03/2016 | 3:00:00 p.m. | 253788 | 210907 | 6.9383 | 0 | 87.514 | 25.4 | 80.2 | 5.64
340 | 15/03/2016 | 2:00:00 p.m. | 253715 | 210897 | 6.8938 | 0 | 87.748 | 25.9 | 86.6 | 5.63
339 | 15/03/2016 | 1:00:00 p.m. | 253643 | 210886 | 6.8602 | 0 | 86.573 | 24.5 | 87.4 | 5.62
338 | 15/03/2016 | 12:00:00 p.m. | 253558 | 210874 | 6.8178 | 0 | 86.541 | 23.9 | 87.1 | 5.62
337 | 15/03/2016 | 11:00:00 a.m. | 253472 | 210861 | 6.9007 | 0 | 86.476 | 23.3 | 87.7 | 5.62
336 | 15/03/2016 | 10:00:00 a.m. | 253385 | 210849 | 6.9201 | 0 | 86.355 | 21.5 | 90.8 | 5.6
335 | 15/03/2016 | 9:00:00 a.m. | 253297 | 210836 | 6.9242 | 0 | 88.557 | 16.1 | 95.6 | 5.6
334 | 15/03/2016 | 8:00:00 a.m. | 253241 | 210828 | 7.5958 | 0 | 90.756 | 7.3 | 0 | 5.58
333 | 15/03/2016 | 7:00:00 a.m. | 253241 | 210828 | 7.6482 | 0 | 91.083 | 7.9 | 0 | 5.58
332 | 15/03/2016 | 6:00:00 a.m. | 253241 | 210828 | 7.6038 | 0 | 91.178 | 9.1 | 0 | 5.58
331 | 15/03/2016 | 5:00:00 a.m. | 253241 | 210828 | 7.5722 | 0 | 91.056 | 10.6 | 0 | 5.6
330 | 15/03/2016 | 4:00:00 a.m. | 253241 | 210828 | 7.5318 | 0 | 90.818 | 12 | 0 | 5.58
329 | 15/03/2016 | 3:00:00 a.m. | 253241 | 210828 | 7.5053 | 0 | 90.844 | 12.7 | 0 | 5.6
328 | 15/03/2016 | 2:00:00 a.m. | 253241 | 210828 | 7.4598 | 0 | 90.96 | 13.4 | 0 | 5.6
327 | 15/03/2016 | 1:00:00 a.m. | 253241 | 210828 | 7.4502 | 0 | 91.051 | 14.4 | 0 | 5.59
326 | 15/03/2016 | 12:00:00 a.m. | 253241 | 210828 | 7.455 | 0 | 91.045 | 15.6 | 0 | 5.6
325 | 14/03/2016 | 11:00:00 p.m. | 253241 | 210828 | 7.4159 | 0 | 91.146 | 17.4 | 0 | 5.61
324 | 14/03/2016 | 10:00:00 p.m. | 253241 | 210828 | 7.3424 | 0 | 91.037 | 19.5 | 0 | 5.61
323 | 14/03/2016 | 9:00:00 p.m. | 253241 | 210828 | 7.2747 | 0 | 90.635 | 21.4 | 0 | 5.61
322 | 14/03/2016 | 8:00:00 p.m. | 253241 | 210828 | 7.2001 | 0 | 90.911 | 23.7 | 0 | 5.61
321 | 14/03/2016 | 7:00:00 p.m. | 253241 | 210828 | 7.1143 | 0 | 90.805 | 27.8 | 0 | 5.62
320 | 14/03/2016 | 6:00:00 p.m. | 253241 | 210828 | 7.036 | 0 | 90.679 | 32.8 | 0 | 5.62
319 | 14/03/2016 | 5:00:00 p.m. | 253241 | 210828 | 6.8819 | 0 | 90.691 | 35.6 | 0 | 5.64
318 | 14/03/2016 | 4:00:00 p.m. | 253241 | 210828 | 6.8584 | 0 | 90.531 | 38 | 0.9 | 5.64
317 | 14/03/2016 | 3:00:00 p.m. | 253241 | 210828 | 6.8332 | 0 | 89.842 | 32.7 | 52.2 | 5.64
316 | 14/03/2016 | 2:00:00 p.m. | 253227 | 210826 | 6.9625 | 0 | 88.131 | 26.9 | 73.7 | 5.64
315 | 14/03/2016 | 1:00:00 p.m. | 253166 | 210817 | 6.9762 | 0 | 88.261 | 31.9 | 90.9 | 5.63
314 | 14/03/2016 | 12:00:00 p.m. | 253118 | 210810 | 6.8497 | 0 | 90.242 | 30.4 | 73.7 | 5.63
313 | 14/03/2016 | 11:00:00 a.m. | 253104 | 210808 | 7.0653 | 0 | 87.277 | 22.9 | 91.7 | 5.62
312 | 14/03/2016 | 10:00:00 a.m. | 253021 | 210797 | 6.9653 | 0 | 86.452 | 20.6 | 94.5 | 5.61
311 | 14/03/2016 | 9:00:00 a.m. | 252929 | 210783 | 7.0217 | 0 | 90.19 | 9.4 | 97 | 5.59
310 | 14/03/2016 | 8:00:00 a.m. | 252911 | 210781 | 7.7445 | 0 | 91.161 | 3.7 | 0 | 5.58
309 | 14/03/2016 | 7:00:00 a.m. | 252911 | 210781 | 7.7878 | 0 | 91.545 | 4.1 | 0 | 5.57
308 | 14/03/2016 | 6:00:00 a.m. | 252911 | 210781 | 7.7798 | 0 | 91.683 | 4.9 | 0 | 5.58
307 | 14/03/2016 | 5:00:00 a.m. | 252911 | 210781 | 7.8233 | 0 | 91.7 | 5.8 | 0 | 5.57
306 | 14/03/2016 | 4:00:00 a.m. | 252911 | 210781 | 7.7113 | 0 | 91.486 | 6.9 | 0 | 5.58
305 | 14/03/2016 | 3:00:00 a.m. | 252911 | 210781 | 7.6551 | 0 | 91.425 | 8.1 | 0 | 5.59
304 | 14/03/2016 | 2:00:00 a.m. | 252911 | 210781 | 7.6506 | 0 | 91.358 | 9.6 | 0 | 5.59
303 | 14/03/2016 | 1:00:00 a.m. | 252911 | 210781 | 7.619 | 0 | 91.394 | 11.1 | 0 | 5.6
302 | 14/03/2016 | 12:00:00 a.m. | 252911 | 210781 | 7.4598 | 0 | 91.402 | 12.7 | 0 | 5.6
301 | 13/03/2016 | 11:00:00 p.m. | 252911 | 210781 | 7.5245 | 0 | 91.446 | 14.7 | 0 | 5.59
300 | 13/03/2016 | 10:00:00 p.m. | 252911 | 210781 | 7.4592 | 0 | 91.432 | 17.4 | 0 | 5.61
299 | 13/03/2016 | 9:00:00 p.m. | 252911 | 210781 | 7.3573 | 0 | 91.293 | 20.4 | 0 | 5.6
298 | 13/03/2016 | 8:00:00 p.m. | 252911 | 210781 | 7.2563 | 0 | 91.228 | 24.2 | 0 | 5.62
297 | 13/03/2016 | 7:00:00 p.m. | 252911 | 210781 | 7.1348 | 0 | 91.424 | 29.7 | 0 | 5.63
296 | 13/03/2016 | 6:00:00 p.m. | 252911 | 210781 | 7.0109 | 0 | 91.201 | 35.4 | 0 | 5.63
295 | 13/03/2016 | 5:00:00 p.m. | 252911 | 210781 | 6.8979 | 0 | 90.853 | 39.3 | 0 | 5.66
294 | 13/03/2016 | 4:00:00 p.m. | 252911 | 210781 | 6.7503 | 0 | 91.037 | 42 | 0 | 5.65
293 | 13/03/2016 | 3:00:00 p.m. | 252911 | 210781 | 6.7785 | 0 | 91.32 | 42.9 | 0 | 5.65
292 | 13/03/2016 | 2:00:00 p.m. | 252911 | 210781 | 6.7959 | 0 | 91.102 | 42 | 0 | 5.64
291 | 13/03/2016 | 1:00:00 p.m. | 252911 | 210781 | 6.8164 | 0 | 91.231 | 39.3 | 0 | 5.63
290 | 13/03/2016 | 12:00:00 p.m. | 252911 | 210781 | 6.8834 | 0 | 91.134 | 34.5 | 0 | 5.63
289 | 13/03/2016 | 11:00:00 a.m. | 252911 | 210781 | 7.0085 | 0 | 91.143 | 27.3 | 0 | 5.61
288 | 13/03/2016 | 10:00:00 a.m. | 252911 | 210781 | 7.2577 | 0 | 91.073 | 17.2 | 0 | 5.6
287 | 13/03/2016 | 9:00:00 a.m. | 252911 | 210781 | 7.5289 | 0 | 91.337 | 7.5 | 0 | 5.6
286 | 13/03/2016 | 8:00:00 a.m. | 252911 | 210781 | 7.8185 | 0 | 91.69 | 2.9 | 0 | 5.58
285 | 13/03/2016 | 7:00:00 a.m. | 252911 | 210781 | 7.8399 | 0 | 91.634 | 3.4 | 0 | 5.57
284 | 13/03/2016 | 6:00:00 a.m. | 252911 | 210781 | 7.7835 | 0 | 91.768 | 4.4 | 0 | 5.58
283 | 13/03/2016 | 5:00:00 a.m. | 252911 | 210781 | 7.8042 | 0 | 91.572 | 5.3 | 0 | 5.58
282 | 13/03/2016 | 4:00:00 a.m. | 252911 | 210781 | 7.728 | 0 | 91.492 | 6.3 | 0 | 5.58
281 | 13/03/2016 | 3:00:00 a.m. | 252911 | 210781 | 7.7096 | 0 | 91.492 | 7.4 | 0 | 5.58
280 | 13/03/2016 | 2:00:00 a.m. | 252911 | 210781 | 7.6772 | 0 | 91.546 | 8.8 | 0 | 5.58
279 | 13/03/2016 | 1:00:00 a.m. | 252911 | 210781 | 7.5905 | 0 | 91.427 | 10.4 | 0 | 5.59
278 | 13/03/2016 | 12:00:00 a.m. | 252911 | 210781 | 7.5945 | 0 | 91.317 | 11.6 | 0 | 5.59
277 | 12/03/2016 | 11:00:00 p.m. | 252911 | 210781 | 7.5568 | 0 | 91.375 | 13.3 | 0 | 5.59
276 | 12/03/2016 | 10:00:00 p.m. | 252911 | 210781 | 7.4868 | 0 | 91.276 | 15.7 | 0 | 5.6
275 | 12/03/2016 | 9:00:00 p.m. | 252911 | 210781 | 7.4075 | 0 | 91.136 | 18 | 0 | 5.61
274 | 12/03/2016 | 8:00:00 p.m. | 252911 | 210781 | 7.3176 | 0 | 91.544 | 21.3 | 0 | 5.61
273 | 12/03/2016 | 7:00:00 p.m. | 252911 | 210781 | 7.2838 | 0 | 91.557 | 26.5 | 0 | 5.63
272 | 12/03/2016 | 6:00:00 p.m. | 252911 | 210781 | 7.0971 | 0 | 91.483 | 32.9 | 0 | 5.62
271 | 12/03/2016 | 5:00:00 p.m. | 252911 | 210781 | 7.0046 | 0 | 91.309 | 36.6 | 0 | 5.63
270 | 12/03/2016 | 4:00:00 p.m. | 252911 | 210781 | 6.8913 | 0 | 91.295 | 37.6 | 0.8 | 5.65
269 | 12/03/2016 | 3:00:00 p.m. | 252911 | 210781 | 6.9247 | 0 | 90.454 | 31.4 | 89 | 5.65
268 | 12/03/2016 | 2:00:00 p.m. | 252895 | 210778 | 6.9235 | 0 | 87.69 | 25.3 | 86.6 | 5.64
267 | 12/03/2016 | 1:00:00 p.m. | 252815 | 210767 | 6.8844 | 0 | 88.138 | 29.6 | 95.2 | 5.64
266 | 12/03/2016 | 12:00:00 p.m. | 252761 | 210759 | 6.8904 | 0 | 90.461 | 31.7 | 0 | 5.62
265 | 12/03/2016 | 11:00:00 a.m. | 252761 | 210759 | 7.0657 | 0 | 90.582 | 24.3 | 0 | 5.61
264 | 12/03/2016 | 10:00:00 a.m. | 252761 | 210759 | 7.2991 | 0 | 90.601 | 14.4 | 0 | 5.6
263 | 12/03/2016 | 9:00:00 a.m. | 252761 | 210759 | 7.5843 | 0 | 90.894 | 4.8 | 0 | 5.58
262 | 12/03/2016 | 8:00:00 a.m. | 252761 | 210759 | 7.8195 | 0 | 91.2 | 0.2 | 0 | 5.57
261 | 12/03/2016 | 7:00:00 a.m. | 252761 | 210759 | 7.9215 | 0 | 91.437 | 0.6 | 0 | 5.57
260 | 12/03/2016 | 6:00:00 a.m. | 252761 | 210759 | 7.8727 | 0 | 91.3 | 1.4 | 0 | 5.57
259 | 12/03/2016 | 5:00:00 a.m. | 252761 | 210759 | 7.8335 | 0 | 91.352 | 2.4 | 0 | 5.57
258 | 12/03/2016 | 4:00:00 a.m. | 252761 | 210759 | 7.7646 | 0 | 91.302 | 3.4 | 0 | 5.57
257 | 12/03/2016 | 3:00:00 a.m. | 252761 | 210759 | 7.8145 | 0 | 91.264 | 4.5 | 0 | 5.57
256 | 12/03/2016 | 2:00:00 a.m. | 252761 | 210759 | 7.7092 | 0 | 91.246 | 5.5 | 0 | 5.58
255 | 12/03/2016 | 1:00:00 a.m. | 252761 | 210759 | 7.7219 | 0 | 91.4 | 6.7 | 0 | 5.58
254 | 12/03/2016 | 12:00:00 a.m. | 252761 | 210759 | 7.6523 | 0 | 91.204 | 8.2 | 0 | 5.58
253 | 11/03/2016 | 11:00:00 p.m. | 252761 | 210759 | 7.6134 | 0 | 91.282 | 10.1 | 0 | 5.59
252 | 11/03/2016 | 10:00:00 p.m. | 252761 | 210759 | 7.5684 | 0 | 91.239 | 12.1 | 0 | 5.59
251 | 11/03/2016 | 9:00:00 p.m. | 252761 | 210759 | 7.5086 | 0 | 91.157 | 14 | 0 | 5.6
250 | 11/03/2016 | 8:00:00 p.m. | 252761 | 210759 | 7.4432 | 0 | 90.953 | 16.2 | 0 | 5.6
249 | 11/03/2016 | 7:00:00 p.m. | 252761 | 210759 | 7.4031 | 0 | 90.768 | 19.6 | 0 | 5.61
248 | 11/03/2016 | 6:00:00 p.m. | 252761 | 210759 | 7.231 | 0 | 90.555 | 22.8 | 2.4 | 5.62
247 | 11/03/2016 | 5:00:00 p.m. | 252761 | 210759 | 7.1623 | 0 | 88.125 | 22.7 | 86.9 | 5.63
246 | 11/03/2016 | 4:00:00 p.m. | 252703 | 210751 | 6.9527 | 0 | 87.224 | 22.7 | 85.9 | 5.62
245 | 11/03/2016 | 3:00:00 p.m. | 252623 | 210739 | 6.9323 | 0 | 86.685 | 23 | 87.1 | 5.63
244 | 11/03/2016 | 2:00:00 p.m. | 252538 | 210727 | 6.8899 | 0 | 86.689 | 23.6 | 88.9 | 5.62
243 | 11/03/2016 | 1:00:00 p.m. | 252451 | 210714 | 6.9313 | 0 | 86.482 | 23.2 | 88.6 | 5.62
242 | 11/03/2016 | 12:00:00 p.m. | 252364 | 210702 | 6.9007 | 0 | 86.327 | 22.5 | 89.3 | 5.61
241 | 11/03/2016 | 11:00:00 a.m. | 252276 | 210689 | 6.9279 | 0 | 86.61 | 21.3 | 89.9 | 5.61
240 | 11/03/2016 | 10:00:00 a.m. | 252191 | 210677 | 7.1164 | 0 | 88.735 | 15.4 | 97.3 | 5.59
239 | 11/03/2016 | 9:00:00 a.m. | 252148 | 210671 | 7.5753 | 0 | 90.511 | 5.6 | 0 | 5.58
238 | 11/03/2016 | 8:00:00 a.m. | 252148 | 210671 | 7.7492 | 0 | 90.726 | 0.5 | 0 | 5.58
237 | 11/03/2016 | 7:00:00 a.m. | 252148 | 210671 | 7.8651 | 0 | 90.918 | 0.5 | 0 | 5.59
236 | 11/03/2016 | 6:00:00 a.m. | 252148 | 210671 | 7.8621 | 0 | 91.216 | 1.1 | 0 | 5.58
235 | 11/03/2016 | 5:00:00 a.m. | 252148 | 210671 | 7.8599 | 0 | 91.282 | 1.7 | 0 | 5.58
234 | 11/03/2016 | 4:00:00 a.m. | 252148 | 210671 | 7.8619 | 0 | 91.285 | 2.1 | 0 | 5.57
233 | 11/03/2016 | 3:00:00 a.m. | 252148 | 210671 | 7.8622 | 0 | 91.402 | 2.4 | 0 | 5.57
232 | 11/03/2016 | 2:00:00 a.m. | 252148 | 210671 | 7.7923 | 0 | 91.255 | 3.2 | 0 | 5.57
231 | 11/03/2016 | 1:00:00 a.m. | 252148 | 210671 | 7.8121 | 0 | 91.42 | 4.3 | 0 | 5.58
230 | 11/03/2016 | 12:00:00 a.m. | 252148 | 210671 | 7.7378 | 0 | 91.325 | 5.7 | 0 | 5.57
229 | 10/03/2016 | 11:00:00 p.m. | 252148 | 210671 | 7.678 | 0 | 91.31 | 7.8 | 0 | 5.58
228 | 10/03/2016 | 10:00:00 p.m. | 252148 | 210671 | 7.6095 | 0 | 91.158 | 9.5 | 0 | 5.59
227 | 10/03/2016 | 9:00:00 p.m. | 252148 | 210671 | 7.5389 | 0 | 91.241 | 10.7 | 0 | 5.59
226 | 10/03/2016 | 8:00:00 p.m. | 252148 | 210671 | 7.5946 | 0 | 91.088 | 12.2 | 0 | 5.59
225 | 10/03/2016 | 7:00:00 p.m. | 252148 | 210671 | 7.4981 | 0 | 91.037 | 15.2 | 0 | 5.6
224 | 10/03/2016 | 6:00:00 p.m. | 252148 | 210671 | 7.3822 | 0 | 91.083 | 17.6 | 0 | 5.6
223 | 10/03/2016 | 5:00:00 p.m. | 252148 | 210671 | 7.3426 | 0 | 91.063 | 19.5 | 0 | 5.61
222 | 10/03/2016 | 4:00:00 p.m. | 252148 | 210671 | 7.254 | 0 | 90.861 | 23.4 | 0 | 5.61
221 | 10/03/2016 | 3:00:00 p.m. | 252148 | 210671 | 7.1842 | 0 | 90.748 | 23.7 | 0.8 | 5.61
220 | 10/03/2016 | 2:00:00 p.m. | 252148 | 210671 | 7.1989 | 0 | 90.16 | 24 | 88.2 | 5.62
219 | 10/03/2016 | 1:00:00 p.m. | 252135 | 210669 | 6.9757 | 0 | 87.116 | 21.3 | 89.6 | 5.61
218 | 10/03/2016 | 12:00:00 p.m. | 252053 | 210657 | 6.9505 | 0 | 86.65 | 20.7 | 90.6 | 5.61
217 | 10/03/2016 | 11:00:00 a.m. | 251963 | 210644 | 6.9956 | 0 | 86.773 | 19.5 | 90.9 | 5.6
216 | 10/03/2016 | 10:00:00 a.m. | 251876 | 210632 | 7.1116 | 0 | 88.556 | 15.4 | 96.1 | 5.59
215 | 10/03/2016 | 9:00:00 a.m. | 251823 | 210624 | 7.5747 | 0 | 90.734 | 8.4 | 0 | 5.59
214 | 10/03/2016 | 8:00:00 a.m. | 251823 | 210624 | 7.6258 | 0 | 91.199 | 6.3 | 0 | 5.58
213 | 10/03/2016 | 7:00:00 a.m. | 251823 | 210624 | 7.7351 | 0 | 91.368 | 5.1 | 0 | 5.58
212 | 10/03/2016 | 6:00:00 a.m. | 251823 | 210624 | 7.7754 | 0 | 91.252 | 4.2 | 0 | 5.58
211 | 10/03/2016 | 5:00:00 a.m. | 251823 | 210624 | 7.798 | 0 | 91.154 | 4.3 | 0 | 5.57
210 | 10/03/2016 | 4:00:00 a.m. | 251823 | 210624 | 7.7433 | 0 | 91.115 | 4.3 | 0 | 5.58
209 | 10/03/2016 | 3:00:00 a.m. | 251823 | 210624 | 7.7887 | 0 | 91.239 | 3.5 | 0 | 5.58
208 | 10/03/2016 | 2:00:00 a.m. | 251823 | 210624 | 7.7971 | 0 | 91.134 | 3.8 | 0 | 5.58
207 | 10/03/2016 | 1:00:00 a.m. | 251823 | 210624 | 7.75 | 0 | 91.31 | 4.2 | 0 | 5.58
206 | 10/03/2016 | 12:00:00 a.m. | 251823 | 210624 | 7.7994 | 0 | 91.16 | 4.3 | 0 | 5.58
205 | 09/03/2016 | 11:00:00 p.m. | 251823 | 210624 | 7.7526 | 0 | 91.119 | 5.9 | 0 | 5.58
204 | 09/03/2016 | 10:00:00 p.m. | 251823 | 210624 | 7.6056 | 0 | 90.84 | 8.4 | 0 | 5.58
203 | 09/03/2016 | 9:00:00 p.m. | 251823 | 210624 | 7.5935 | 0 | 90.684 | 8.1 | 0 | 5.58
202 | 09/03/2016 | 8:00:00 p.m. | 251823 | 210624 | 7.5814 | 0 | 90.889 | 8.4 | 0 | 5.59
201 | 09/03/2016 | 7:00:00 p.m. | 251823 | 210624 | 7.5949 | 0 | 91.291 | 9.1 | 0 | 5.59
200 | 09/03/2016 | 6:00:00 p.m. | 251823 | 210624 | 7.6095 | 0 | 91.089 | 12 | 0 | 5.59
199 | 09/03/2016 | 5:00:00 p.m. | 251823 | 210624 | 7.5136 | 0 | 91.042 | 13.9 | 0 | 5.61
198 | 09/03/2016 | 4:00:00 p.m. | 251823 | 210624 | 7.3043 | 0 | 91.078 | 21.3 | 1.2 | 5.61
197 | 09/03/2016 | 3:00:00 p.m. | 251823 | 210624 | 7.2306 | 0 | 90.29 | 24.4 | 92.3 | 5.62
196 | 09/03/2016 | 2:00:00 p.m. | 251811 | 210623 | 7.1324 | 0 | 89.08 | 23 | 92.6 | 5.62
195 | 09/03/2016 | 1:00:00 p.m. | 251771 | 210617 | 6.9422 | 0 | 86.532 | 21.7 | 92.3 | 5.62
194 | 09/03/2016 | 12:00:00 p.m. | 251680 | 210604 | 6.9338 | 0 | 87.106 | 21.3 | 91.2 | 5.63
193 | 09/03/2016 | 11:00:00 a.m. | 251597 | 210592 | 7.1141 | 0 | 88.752 | 20.9 | 90.1 | 5.61
192 | 09/03/2016 | 10:00:00 a.m. | 251539 | 210584 | 7.1701 | 0 | 88.563 | 19.7 | 75.9 | 5.61
191 | 09/03/2016 | 9:00:00 a.m. | 251478 | 210575 | 7.1232 | 0 | 88.996 | 15.7 | 95.3 | 5.6
190 | 09/03/2016 | 8:00:00 a.m. | 251437 | 210569 | 7.4747 | 0 | 90.828 | 11.7 | 0 | 5.59
189 | 09/03/2016 | 7:00:00 a.m. | 251437 | 210569 | 7.5534 | 0 | 91.034 | 11.3 | 0 | 5.59
188 | 09/03/2016 | 6:00:00 a.m. | 251437 | 210569 | 7.5798 | 0 | 91.127 | 12.1 | 0 | 5.59
187 | 09/03/2016 | 5:00:00 a.m. | 251437 | 210569 | 7.4261 | 0 | 90.947 | 12.9 | 0 | 5.6
186 | 09/03/2016 | 4:00:00 a.m. | 251437 | 210569 | 7.5115 | 0 | 90.924 | 12.9 | 0 | 5.6
185 | 09/03/2016 | 3:00:00 a.m. | 251437 | 210569 | 7.497 | 0 | 90.972 | 12.2 | 0 | 5.59
184 | 09/03/2016 | 2:00:00 a.m. | 251437 | 210569 | 7.5473 | 0 | 91.031 | 11.9 | 0 | 5.61
183 | 09/03/2016 | 1:00:00 a.m. | 251437 | 210569 | 7.508 | 0 | 91.056 | 12.2 | 0 | 5.6
182 | 09/03/2016 | 12:00:00 a.m. | 251437 | 210569 | 7.4849 | 0 | 90.97 | 12.6 | 0 | 5.6
181 | 08/03/2016 | 11:00:00 p.m. | 251437 | 210569 | 7.5065 | 0 | 91.074 | 12.9 | 0 | 5.6
180 | 08/03/2016 | 10:00:00 p.m. | 251437 | 210569 | 7.4917 | 0 | 90.805 | 13.5 | 0 | 5.59
179 | 08/03/2016 | 9:00:00 p.m. | 251437 | 210569 | 7.4451 | 0 | 90.77 | 13 | 0 | 5.6
178 | 08/03/2016 | 8:00:00 p.m. | 251437 | 210569 | 7.5046 | 0 | 90.829 | 12.8 | 0 | 5.6
177 | 08/03/2016 | 7:00:00 p.m. | 251437 | 210569 | 7.4889 | 0 | 90.923 | 13.3 | 0 | 5.61
176 | 08/03/2016 | 6:00:00 p.m. | 251437 | 210569 | 7.4711 | 0 | 90.858 | 14.1 | 0 | 5.61
175 | 08/03/2016 | 5:00:00 p.m. | 251437 | 210569 | 7.423 | 0 | 90.765 | 16.4 | 0 | 5.61
174 | 08/03/2016 | 4:00:00 p.m. | 251437 | 210569 | 7.3721 | 0 | 90.896 | 18.3 | 0 | 5.61
173 | 08/03/2016 | 3:00:00 p.m. | 251437 | 210569 | 7.3078 | 0 | 90.873 | 21.3 | 0 | 5.61
172 | 08/03/2016 | 2:00:00 p.m. | 251437 | 210569 | 7.2215 | 0 | 90.902 | 27.6 | 0 | 5.64
171 | 08/03/2016 | 1:00:00 p.m. | 251437 | 210569 | 6.9829 | 0 | 90.421 | 30.1 | 0 | 5.62
170 | 08/03/2016 | 12:00:00 p.m. | 251437 | 210569 | 7.0218 | 0 | 90.264 | 27.8 | 0 | 5.62
169 | 08/03/2016 | 11:00:00 a.m. | 251437 | 210569 | 7.1444 | 0 | 90.423 | 24.9 | 0 | 5.62
168 | 08/03/2016 | 10:00:00 a.m. | 251437 | 210569 | 7.1525 | 0 | 90.601 | 20.1 | 0 | 5.62
167 | 08/03/2016 | 9:00:00 a.m. | 251437 | 210569 | 7.3316 | 0 | 90.651 | 15.1 | 0 | 5.61
166 | 08/03/2016 | 8:00:00 a.m. | 251437 | 210569 | 7.4857 | 0 | 90.919 | 12.1 | 0 | 5.6
165 | 08/03/2016 | 7:00:00 a.m. | 251437 | 210569 | 7.5595 | 0 | 91.072 | 11.3 | 0 | 5.6
164 | 08/03/2016 | 6:00:00 a.m. | 251437 | 210569 | 7.577 | 0 | 91.12 | 11.4 | 0 | 5.59
163 | 08/03/2016 | 5:00:00 a.m. | 251437 | 210569 | 7.5238 | 0 | 91.127 | 11.7 | 0 | 5.6
162 | 08/03/2016 | 4:00:00 a.m. | 251437 | 210569 | 7.5691 | 0 | 91.03 | 11.1 | 0 | 5.6
161 | 08/03/2016 | 3:00:00 a.m. | 251437 | 210569 | 7.473 | 0 | 91.009 | 11.4 | 0 | 5.6
160 | 08/03/2016 | 2:00:00 a.m. | 251437 | 210569 | 7.5632 | 0 | 90.99 | 11.4 | 0 | 5.59
159 | 08/03/2016 | 1:00:00 a.m. | 251437 | 210569 | 7.5365 | 0 | 91.054 | 12.5 | 0 | 5.6
158 | 08/03/2016 | 12:00:00 a.m. | 251437 | 210569 | 7.5007 | 0 | 91.372 | 13.8 | 0 | 5.6
157 | 07/03/2016 | 11:00:00 p.m. | 251437 | 210569 | 7.4891 | 0 | 91.31 | 15.2 | 0 | 5.61
156 | 07/03/2016 | 10:00:00 p.m. | 251437 | 210569 | 7.4396 | 0 | 91.245 | 16.3 | 0 | 5.6
155 | 07/03/2016 | 9:00:00 p.m. | 251437 | 210569 | 7.4522 | 0 | 91.305 | 17.7 | 0 | 5.6
154 | 07/03/2016 | 8:00:00 p.m. | 251437 | 210569 | 7.3622 | 0 | 91.208 | 19.7 | 0 | 5.61
153 | 07/03/2016 | 7:00:00 p.m. | 251437 | 210569 | 7.2906 | 0 | 90.913 | 22.8 | 0 | 5.62
152 | 07/03/2016 | 6:00:00 p.m. | 251437 | 210569 | 7.1909 | 0 | 90.942 | 25.4 | 2.8 | 5.63
151 | 07/03/2016 | 5:00:00 p.m. | 251437 | 210569 | 7.1537 | 0 | 87.863 | 22.9 | 93 | 5.63
150 | 07/03/2016 | 4:00:00 p.m. | 251367 | 210559 | 6.9193 | 0 | 86.708 | 23.5 | 92.7 | 5.63
149 | 07/03/2016 | 3:00:00 p.m. | 251275 | 210546 | 6.8802 | 0 | 86.608 | 23.3 | 93.1 | 5.62
148 | 07/03/2016 | 2:00:00 p.m. | 251184 | 210533 | 6.9077 | 0 | 86.501 | 22.9 | 93.7 | 5.63
147 | 07/03/2016 | 1:00:00 p.m. | 251092 | 210519 | 6.9184 | 0 | 87.58 | 23.3 | 90.8 | 5.62
146 | 07/03/2016 | 12:00:00 p.m. | 251016 | 210508 | 6.982 | 0 | 88.97 | 27.1 | 94.7 | 5.62
145 | 07/03/2016 | 11:00:00 a.m. | 250981 | 210503 | 7.0796 | 0 | 90.324 | 25.2 | 0 | 5.62
144 | 07/03/2016 | 10:00:00 a.m. | 250981 | 210503 | 7.1385 | 0 | 90.469 | 20.6 | 0 | 5.61
143 | 07/03/2016 | 9:00:00 a.m. | 250981 | 210503 | 7.3833 | 0 | 91.135 | 13.1 | 0 | 5.6
142 | 07/03/2016 | 8:00:00 a.m. | 250981 | 210503 | 7.605 | 0 | 91.253 | 10 | 0 | 5.6
141 | 07/03/2016 | 7:00:00 a.m. | 250981 | 210503 | 7.6544 | 0 | 91.636 | 10.6 | 0 | 5.59
140 | 07/03/2016 | 6:00:00 a.m. | 250981 | 210503 | 7.5498 | 0 | 91.418 | 11.4 | 0 | 5.61
139 | 07/03/2016 | 5:00:00 a.m. | 250981 | 210503 | 7.614 | 0 | 91.538 | 11.7 | 0 | 5.6
138 | 07/03/2016 | 4:00:00 a.m. | 250981 | 210503 | 7.5476 | 0 | 91.521 | 11.5 | 0 | 5.6
137 | 07/03/2016 | 3:00:00 a.m. | 250981 | 210503 | 7.6313 | 0 | 91.758 | 12.1 | 0 | 5.59
136 | 07/03/2016 | 2:00:00 a.m. | 250981 | 210503 | 7.5283 | 0 | 91.624 | 13 | 0 | 5.6
135 | 07/03/2016 | 1:00:00 a.m. | 250981 | 210503 | 7.5822 | 0 | 91.502 | 14.1 | 0 | 5.61
134 | 07/03/2016 | 12:00:00 a.m. | 250981 | 210503 | 7.4415 | 0 | 91.83 | 15.5 | 0 | 5.6
133 | 06/03/2016 | 11:00:00 p.m. | 250981 | 210503 | 7.4615 | 0 | 91.629 | 17 | 0 | 5.61
132 | 06/03/2016 | 10:00:00 p.m. | 250981 | 210503 | 7.4408 | 0 | 92.105 | 18.6 | 0 | 5.61
131 | 06/03/2016 | 9:00:00 p.m. | 250981 | 210503 | 7.3393 | 0 | 91.58 | 20.4 | 0 | 5.61
130 | 06/03/2016 | 8:00:00 p.m. | 250981 | 210503 | 7.3792 | 0 | 92.115 | 22.9 | 0 | 5.62
129 | 06/03/2016 | 7:00:00 p.m. | 250981 | 210503 | 7.2332 | 0 | 91.623 | 26.5 | 0 | 5.63
128 | 06/03/2016 | 6:00:00 p.m. | 250981 | 210503 | 7.1563 | 0 | 91.746 | 31.4 | 0 | 5.64
127 | 06/03/2016 | 5:00:00 p.m. | 250981 | 210503 | 6.9738 | 0 | 91.423 | 35.9 | 0 | 5.64
126 | 06/03/2016 | 4:00:00 p.m. | 250981 | 210503 | 6.8432 | 0 | 91.653 | 40.5 | 0 | 5.64
125 | 06/03/2016 | 3:00:00 p.m. | 250981 | 210503 | 6.8086 | 0 | 91.316 | 40.6 | 0 | 5.65
124 | 06/03/2016 | 2:00:00 p.m. | 250981 | 210503 | 6.7927 | 0 | 91.404 | 41.8 | 0 | 5.65
123 | 06/03/2016 | 1:00:00 p.m. | 250981 | 210503 | 6.8214 | 0 | 91.251 | 38.9 | 0 | 5.63
122 | 06/03/2016 | 12:00:00 p.m. | 250981 | 210503 | 6.9434 | 0 | 91.632 | 34.3 | 0 | 5.63
121 | 06/03/2016 | 11:00:00 a.m. | 250981 | 210503 | 7.0511 | 0 | 91.613 | 28.2 | 0 | 5.64
120 | 06/03/2016 | 10:00:00 a.m. | 250981 | 210503 | 7.2653 | 0 | 91.601 | 18.8 | 0 | 5.62
119 | 06/03/2016 | 9:00:00 a.m. | 250981 | 210503 | 7.5151 | 0 | 91.483 | 10.4 | 0 | 5.6
118 | 06/03/2016 | 8:00:00 a.m. | 250981 | 210503 | 7.6748 | 0 | 91.91 | 6.6 | 0 | 5.59
117 | 06/03/2016 | 7:00:00 a.m. | 250981 | 210503 | 7.758 | 0 | 92.091 | 6.9 | 0 | 5.59
116 | 06/03/2016 | 6:00:00 a.m. | 250981 | 210503 | 7.6905 | 0 | 91.748 | 7.7 | 0 | 5.6
115 | 06/03/2016 | 5:00:00 a.m. | 250981 | 210503 | 7.7372 | 0 | 91.601 | 8.8 | 0 | 5.59
114 | 06/03/2016 | 4:00:00 a.m. | 250981 | 210503 | 7.6345 | 0 | 92.089 | 10 | 0 | 5.6
113 | 06/03/2016 | 3:00:00 a.m. | 250981 | 210503 | 7.6262 | 0 | 91.736 | 11.2 | 0 | 5.59
112 | 06/03/2016 | 2:00:00 a.m. | 250981 | 210503 | 7.5532 | 0 | 91.809 | 11.8 | 0 | 5.6
111 | 06/03/2016 | 1:00:00 a.m. | 250981 | 210503 | 7.6012 | 0 | 91.612 | 12.8 | 0 | 5.61
110 | 06/03/2016 | 12:00:00 a.m. | 250981 | 210503 | 7.5098 | 0 | 91.883 | 14.5 | 0 | 5.61
109 | 05/03/2016 | 11:00:00 p.m. | 250981 | 210503 | 7.526 | 0 | 91.967 | 16.3 | 0 | 5.61
108 | 05/03/2016 | 10:00:00 p.m. | 250981 | 210503 | 7.4544 | 0 | 92.023 | 18.2 | 0 | 5.6
107 | 05/03/2016 | 9:00:00 p.m. | 250981 | 210503 | 7.4073 | 0 | 91.981 | 20.3 | 0 | 5.61
106 | 05/03/2016 | 8:00:00 p.m. | 250981 | 210503 | 7.3544 | 0 | 91.997 | 23.9 | 0 | 5.61
105 | 05/03/2016 | 7:00:00 p.m. | 250981 | 210503 | 7.2419 | 0 | 92.115 | 29 | 0 | 5.62
104 | 05/03/2016 | 6:00:00 p.m. | 250981 | 210503 | 7.106 | 0 | 91.945 | 34 | 0 | 5.64
103 | 05/03/2016 | 5:00:00 p.m. | 250981 | 210503 | 6.9497 | 0 | 91.291 | 37 | 0 | 5.64
102 | 05/03/2016 | 4:00:00 p.m. | 250981 | 210503 | 6.9043 | 0 | 91.661 | 39.7 | 0 | 5.65
101 | 05/03/2016 | 3:00:00 p.m. | 250981 | 210503 | 6.7902 | 0 | 91.078 | 41.1 | 0 | 5.65
100 | 05/03/2016 | 2:00:00 p.m. | 250981 | 210503 | 6.7642 | 0 | 91.003 | 40.4 | 0 | 5.66
99 | 05/03/2016 | 1:00:00 p.m. | 250981 | 210503 | 6.8205 | 0 | 90.836 | 38.5 | 0 | 5.65
98 | 05/03/2016 | 12:00:00 p.m. | 250981 | 210503 | 6.9415 | 0 | 90.773 | 33.4 | 0 | 5.63
97 | 05/03/2016 | 11:00:00 a.m. | 250981 | 210503 | 7.0468 | 0 | 90.863 | 26.1 | 0 | 5.63
96 | 05/03/2016 | 10:00:00 a.m. | 250981 | 210503 | 7.2314 | 0 | 90.813 | 16.3 | 0 | 5.61
95 | 05/03/2016 | 9:00:00 a.m. | 250981 | 210503 | 7.5042 | 0 | 91.072 | 7.6 | 0 | 5.59
94 | 05/03/2016 | 8:00:00 a.m. | 250981 | 210503 | 7.7669 | 0 | 91.608 | 3.7 | 0 | 5.58
93 | 05/03/2016 | 7:00:00 a.m. | 250981 | 210503 | 7.7667 | 0 | 91.286 | 4.5 | 0 | 5.59
92 | 05/03/2016 | 6:00:00 a.m. | 250981 | 210503 | 7.7503 | 0 | 91.83 | 5.5 | 0 | 5.59
91 | 05/03/2016 | 5:00:00 a.m. | 250981 | 210503 | 7.7167 | 0 | 91.712 | 6.8 | 0 | 5.59
90 | 05/03/2016 | 4:00:00 a.m. | 250981 | 210503 | 7.672 | 0 | 91.667 | 8.1 | 0 | 5.59
89 | 05/03/2016 | 3:00:00 a.m. | 250981 | 210503 | 7.6375 | 0 | 91.73 | 9.4 | 0 | 5.59
88 | 05/03/2016 | 2:00:00 a.m. | 250981 | 210503 | 7.5952 | 0 | 91.502 | 10.6 | 0 | 5.6
87 | 05/03/2016 | 1:00:00 a.m. | 250981 | 210503 | 7.6077 | 0 | 91.577 | 12 | 0 | 5.6
86 | 05/03/2016 | 12:00:00 a.m. | 250981 | 210503 | 7.515 | 0 | 91.577 | 13.4 | 0 | 5.6
85 | 04/03/2016 | 11:00:00 p.m. | 250981 | 210503 | 7.5116 | 0 | 91.656 | 14.8 | 0 | 5.6
84 | 04/03/2016 | 10:00:00 p.m. | 250981 | 210503 | 7.4687 | 0 | 91.701 | 16.5 | 0 | 5.6
83 | 04/03/2016 | 9:00:00 p.m. | 250981 | 210503 | 7.4156 | 0 | 91.709 | 18.5 | 0 | 5.61
82 | 04/03/2016 | 8:00:00 p.m. | 250981 | 210503 | 7.3461 | 0 | 91.408 | 21.7 | 0 | 5.62
81 | 04/03/2016 | 7:00:00 p.m. | 250981 | 210503 | 7.2083 | 0 | 91.52 | 26.7 | 0 | 5.62
80 | 04/03/2016 | 6:00:00 p.m. | 250981 | 210503 | 7.075 | 0 | 91.442 | 31.7 | 0 | 5.64
79 | 04/03/2016 | 5:00:00 p.m. | 250981 | 210503 | 7.0495 | 0 | 91.568 | 32.1 | 3.3 | 5.64
78 | 04/03/2016 | 4:00:00 p.m. | 250981 | 210503 | 7.1565 | 0 | 89.121 | 26.2 | 81.5 | 5.64
77 | 04/03/2016 | 3:00:00 p.m. | 250922 | 210495 | 6.8958 | 0 | 87.966 | 26.1 | 82.4 | 5.64
76 | 04/03/2016 | 2:00:00 p.m. | 250846 | 210484 | 7.0152 | 0 | 88.088 | 25.9 | 83.2 | 5.64
75 | 04/03/2016 | 1:00:00 p.m. | 250774 | 210474 | 6.9768 | 0 | 87.825 | 24.9 | 88.2 | 5.65
74 | 04/03/2016 | 12:00:00 p.m. | 250694 | 210462 | 6.9197 | 0 | 87.423 | 23.9 | 89.6 | 5.63
73 | 04/03/2016 | 11:00:00 a.m. | 250607 | 210450 | 6.9358 | 0 | 87.236 | 22.9 | 90.2 | 5.63
72 | 04/03/2016 | 10:00:00 a.m. | 250518 | 210437 | 6.9616 | 0 | 88.841 | 19.3 | 95.2 | 5.62
71 | 04/03/2016 | 9:00:00 a.m. | 250460 | 210429 | 7.4707 | 0 | 91.723 | 11.1 | 0 | 5.6
70 | 04/03/2016 | 8:00:00 a.m. | 250460 | 210429 | 7.7089 | 0 | 92.201 | 8.2 | 0 | 5.59
69 | 04/03/2016 | 7:00:00 a.m. | 250460 | 210429 | 7.6899 | 0 | 92.387 | 9.8 | 0 | 5.6
68 | 04/03/2016 | 6:00:00 a.m. | 250460 | 210429 | 7.6887 | 0 | 92.272 | 11.6 | 0 | 5.59
67 | 04/03/2016 | 5:00:00 a.m. | 250460 | 210429 | 7.5729 | 0 | 92.262 | 12.5 | 0 | 5.6
66 | 04/03/2016 | 4:00:00 a.m. | 250460 | 210429 | 7.558 | 0 | 92.25 | 13.2 | 0 | 5.61
65 | 04/03/2016 | 3:00:00 a.m. | 250460 | 210429 | 7.6169 | 0 | 92.289 | 13.8 | 0 | 5.6
64 | 04/03/2016 | 2:00:00 a.m. | 250460 | 210429 | 7.5227 | 0 | 92.321 | 14.5 | 0 | 5.61
63 | 04/03/2016 | 1:00:00 a.m. | 250460 | 210429 | 7.5008 | 0 | 92.375 | 15.3 | 0 | 5.62
62 | 04/03/2016 | 12:00:00 a.m. | 250460 | 210429 | 7.522 | 0 | 92.271 | 16.5 | 0 | 5.6
61 | 03/03/2016 | 11:00:00 p.m. | 250460 | 210429 | 7.4719 | 0 | 92.314 | 18 | 0 | 5.61
60 | 03/03/2016 | 10:00:00 p.m. | 250460 | 210429 | 7.3684 | 0 | 92.077 | 19.5 | 0 | 5.62
59 | 03/03/2016 | 9:00:00 p.m. | 250460 | 210429 | 7.3906 | 0 | 91.781 | 21.3 | 0 | 5.62
58 | 03/03/2016 | 8:00:00 p.m. | 250460 | 210429 | 7.3181 | 0 | 91.695 | 24.3 | 0 | 5.62
57 | 03/03/2016 | 7:00:00 p.m. | 250460 | 210429 | 7.2173 | 0 | 91.685 | 28.7 | 0 | 5.63
56 | 03/03/2016 | 6:00:00 p.m. | 250460 | 210429 | 7.0665 | 0 | 91.718 | 31.8 | 0.8 | 5.64
55 | 03/03/2016 | 5:00:00 p.m. | 250460 | 210429 | 7.0457 | 0 | 91.134 | 29.6 | 85.1 | 5.64
54 | 03/03/2016 | 4:00:00 p.m. | 250448 | 210427 | 6.9438 | 0 | 88.359 | 25.5 | 85.4 | 5.66
53 | 03/03/2016 | 3:00:00 p.m. | 250370 | 210416 | 6.9988 | 0 | 88.353 | 25.5 | 82.3 | 5.64
52 | 03/03/2016 | 2:00:00 p.m. | 250294 | 210405 | 7.0038 | 0 | 88.673 | 25.3 | 86.6 | 5.63
51 | 03/03/2016 | 1:00:00 p.m. | 250217 | 210394 | 6.9926 | 0 | 87.842 | 24.6 | 87.2 | 5.64
50 | 03/03/2016 | 12:00:00 p.m. | 250133 | 210382 | 6.9354 | 0 | 87.626 | 23.4 | 87.5 | 5.62
49 | 03/03/2016 | 11:00:00 a.m. | 250049 | 210370 | 6.9975 | 0 | 87.576 | 22.1 | 88.6 | 5.61
48 | 03/03/2016 | 10:00:00 a.m. | 249961 | 210357 | 7.0513 | 0 | 87.426 | 20.3 | 93 | 5.61
47 | 03/03/2016 | 9:00:00 a.m. | 249874 | 210345 | 7.0909 | 0 | 90.916 | 12.8 | 95.2 | 5.6
46 | 03/03/2016 | 8:00:00 a.m. | 249861 | 210343 | 7.5804 | 0 | 92 | 10.9 | 0 | 5.6
45 | 03/03/2016 | 7:00:00 a.m. | 249861 | 210343 | 7.6007 | 0 | 92.072 | 11.5 | 0 | 5.58
44 | 03/03/2016 | 6:00:00 a.m. | 249861 | 210343 | 7.5782 | 0 | 91.961 | 12.4 | 0 | 5.59
43 | 03/03/2016 | 5:00:00 a.m. | 249861 | 210343 | 7.6086 | 0 | 91.975 | 13.1 | 0 | 5.59
42 | 03/03/2016 | 4:00:00 a.m. | 249861 | 210343 | 7.5773 | 0 | 91.808 | 13.9 | 0 | 5.61
41 | 03/03/2016 | 3:00:00 a.m. | 249861 | 210343 | 7.5649 | 0 | 91.96 | 14.2 | 0 | 5.6
40 | 03/03/2016 | 2:00:00 a.m. | 249861 | 210343 | 7.5425 | 0 | 91.954 | 15 | 0 | 5.6
39 | 03/03/2016 | 1:00:00 a.m. | 249861 | 210343 | 7.4656 | 0 | 92.013 | 15.5 | 0 | 5.61
38 | 03/03/2016 | 12:00:00 a.m. | 249861 | 210343 | 7.4686 | 0 | 92.043 | 15.6 | 0 | 5.6
37 | 02/03/2016 | 11:00:00 p.m. | 249861 | 210343 | 7.4459 | 0 | 92.027 | 16.1 | 0 | 5.6
36 | 02/03/2016 | 10:00:00 p.m. | 249861 | 210343 | 7.4796 | 0 | 91.935 | 16.4 | 0 | 5.61
35 | 02/03/2016 | 9:00:00 p.m. | 249861 | 210343 | 7.468 | 0 | 91.606 | 17.2 | 0 | 5.61
34 | 02/03/2016 | 8:00:00 p.m. | 249861 | 210343 | 7.4635 | 0 | 91.678 | 18.9 | 0 | 5.6
33 | 02/03/2016 | 7:00:00 p.m. | 249861 | 210343 | 7.3676 | 0 | 91.531 | 21.8 | 0 | 5.63
32 | 02/03/2016 | 6:00:00 p.m. | 249861 | 210343 | 7.2811 | 0 | 91.326 | 24 | 0 | 5.62
31 | 02/03/2016 | 5:00:00 p.m. | 249861 | 210343 | 7.2281 | 0 | 91.224 | 25.1 | 1.3 | 5.62
30 | 02/03/2016 | 4:00:00 p.m. | 249861 | 210343 | 7.1636 | 0 | 89.324 | 23.8 | 87.1 | 5.62
29 | 02/03/2016 | 3:00:00 p.m. | 249821 | 210337 | 6.9761 | 0 | 87.794 | 22.7 | 87.2 | 5.63
28 | 02/03/2016 | 2:00:00 p.m. | 249737 | 210325 | 6.9786 | 0 | 87.925 | 23.7 | 86.6 | 5.63
27 | 02/03/2016 | 1:00:00 p.m. | 249656 | 210314 | 6.9863 | 0 | 88.108 | 23.6 | 85.3 | 5.63
26 | 02/03/2016 | 12:00:00 p.m. | 249578 | 210302 | 7.0138 | 0 | 87.87 | 22.9 | 86.2 | 5.62
25 | 02/03/2016 | 11:00:00 a.m. | 249498 | 210291 | 6.972 | 0 | 87.542 | 21 | 87.8 | 5.61
24 | 02/03/2016 | 10:00:00 a.m. | 249413 | 210279 | 7.0892 | 0 | 87.843 | 19.4 | 92 | 5.6
23 | 02/03/2016 | 9:00:00 a.m. | 249329 | 210267 | 7.0958 | 0 | 91.113 | 11.8 | 95.7 | 5.6
22 | 02/03/2016 | 8:00:00 a.m. | 249318 | 210266 | 7.6146 | 0 | 91.574 | 9.9 | 0 | 5.6
21 | 02/03/2016 | 7:00:00 a.m. | 249318 | 210266 | 7.6196 | 0 | 92.191 | 9.8 | 0 | 5.59
20 | 02/03/2016 | 6:00:00 a.m. | 249318 | 210266 | 7.6806 | 0 | 92.002 | 10.2 | 0 | 5.59
19 | 02/03/2016 | 5:00:00 a.m. | 249318 | 210266 | 7.6546 | 0 | 92.066 | 10.6 | 0 | 5.6
18 | 02/03/2016 | 4:00:00 a.m. | 249318 | 210266 | 7.6427 | 0 | 92.009 | 11.1 | 0 | 5.61
17 | 02/03/2016 | 3:00:00 a.m. | 249318 | 210266 | 7.621 | 0 | 92.233 | 12 | 0 | 5.61
16 | 02/03/2016 | 2:00:00 a.m. | 249318 | 210266 | 7.5395 | 0 | 91.812 | 12.9 | 0 | 5.62
15 | 02/03/2016 | 1:00:00 a.m. | 249318 | 210266 | 7.5366 | 0 | 91.813 | 13.8 | 0 | 5.61
14 | 02/03/2016 | 12:00:00 a.m. | 249318 | 210266 | 7.535 | 0 | 91.856 | 14.9 | 0 | 5.6
13 | 01/03/2016 | 11:00:00 p.m. | 249318 | 210266 | 7.4854 | 0 | 91.878 | 16.3 | 0 | 5.6
12 | 01/03/2016 | 10:00:00 p.m. | 249318 | 210266 | 7.4526 | 0 | 91.872 | 17.8 | 0 | 5.61
11 | 01/03/2016 | 9:00:00 p.m. | 249318 | 210266 | 7.4119 | 0 | 91.583 | 19.3 | 0 | 5.61
10 | 01/03/2016 | 8:00:00 p.m. | 249318 | 210266 | 7.2967 | 0 | 91.304 | 20.8 | 0 | 5.61
9 | 01/03/2016 | 7:00:00 p.m. | 249318 | 210266 | 7.2698 | 0 | 91.469 | 23.2 | 0 | 5.62
8 | 01/03/2016 | 6:00:00 p.m. | 249318 | 210266 | 7.1965 | 0 | 91.403 | 26.2 | 0 | 5.63
7 | 01/03/2016 | 5:00:00 p.m. | 249318 | 210266 | 7.1852 | 0 | 91.467 | 26.1 | 2.7 | 5.63
6 | 01/03/2016 | 4:00:00 p.m. | 249318 | 210266 | 7.1785 | 0 | 88.259 | 22.9 | 89.6 | 5.63
5 | 01/03/2016 | 3:00:00 p.m. | 249252 | 210256 | 6.9295 | 0 | 87.019 | 23.7 | 89.7 | 5.63
4 | 01/03/2016 | 2:00:00 p.m. | 249164 | 210243 | 6.9376 | 0 | 87.253 | 23 | 90.6 | 5.63
3 | 01/03/2016 | 1:00:00 p.m. | 249075 | 210231 | 6.8972 | 0 | 86.942 | 22.5 | 90.4 | 5.63
2 | 01/03/2016 | 12:00:00 p.m. | 248986 | 210218 | 6.9673 | 0 | 87.256 | 22.4 | 90.5 | 5.62
1 | 01/03/2016 | 11:00:00 a.m. | 248896 | 210205 | 6.9769 | 0 | 87.245 | 21.7 | 91.3 | 5.61