## Mineria Empresarial diario 0504
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 33
Fault/Alarms Recorded: | Date | Time | Condition
1 | 16/02/2016 | 15:04:17 | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
33 | 05/05/2016 | 09:00:00 | 274836 | 213958 | 7.2664 | 0 | 89.032 | 24.2 | 92.4 | 5.56
32 | 04/05/2016 | 09:00:00 | 274177 | 213861 | 6.879 | 0 | 89.133 | 23.4 | 97.2 | 5.56
31 | 03/05/2016 | 09:00:00 | 273562 | 213770 | 7.1855 | 0 | 89.662 | 23.4 | 96.9 | 5.56
30 | 02/05/2016 | 09:00:00 | 273132 | 213708 | 7.0927 | 0 | 91.283 | 23.7 | 100.2 | 5.56
29 | 01/05/2016 | 09:00:00 | 273060 | 213697 | 7.4718 | 0 | 90.968 | 23.4 | 90.9 | 5.56
28 | 30/04/2016 | 09:00:00 | 273010 | 213690 | 6.952 | 0 | 89.162 | 20.9 | 98 | 5.55
27 | 29/04/2016 | 09:00:00 | 272312 | 213588 | 7.3978 | 0 | 89.57 | 22 | 89.9 | 5.55
26 | 28/04/2016 | 09:00:00 | 271744 | 213505 | 6.9875 | 0 | 89.425 | 22.2 | 98.5 | 5.55
25 | 27/04/2016 | 09:00:00 | 271097 | 213411 | 7.5182 | 0 | 89.815 | 19.1 | 97.7 | 5.56
24 | 26/04/2016 | 09:00:00 | 270508 | 213325 | 7.4483 | 0 | 90.99 | 20.3 | 0 | 5.56
23 | 25/04/2016 | 09:00:00 | 270508 | 213325 | 7.5163 | 0 | 91.564 | 22.7 | 0 | 5.55
22 | 24/04/2016 | 09:00:00 | 270508 | 213325 | 7.4812 | 0 | 90.452 | 19.3 | 90.2 | 5.55
21 | 23/04/2016 | 09:00:00 | 270178 | 213278 | 7.0525 | 0 | 90.171 | 19.8 | 97 | 5.56
20 | 22/04/2016 | 09:00:00 | 269832 | 213228 | 7.0333 | 0 | 89.993 | 20.4 | 96.7 | 5.57
19 | 21/04/2016 | 09:00:00 | 269293 | 213151 | 6.9397 | 0 | 89.831 | 18.1 | 97.5 | 5.55
18 | 20/04/2016 | 09:00:00 | 268622 | 213053 | 7.0576 | 0 | 90.072 | 17.6 | 97.5 | 5.57
17 | 19/04/2016 | 09:00:00 | 268064 | 212973 | 7.0773 | 0 | 89.978 | 20.5 | 98.3 | 5.56
16 | 18/04/2016 | 09:00:00 | 267491 | 212890 | 6.9629 | 0 | 91.445 | 24.2 | 97.8 | 5.58
15 | 17/04/2016 | 09:00:00 | 267474 | 212888 | 7.52 | 0 | 90.329 | 21.9 | 93.1 | 5.57
14 | 16/04/2016 | 09:00:00 | 267055 | 212827 | 6.9608 | 0 | 89.755 | 21.4 | 97.4 | 5.57
13 | 15/04/2016 | 09:00:00 | 266519 | 212749 | 7.4227 | 0 | 89.866 | 21.2 | 96.7 | 5.56
12 | 14/04/2016 | 09:00:00 | 265990 | 212672 | 7.0954 | 0 | 89.937 | 21.3 | 96.8 | 5.57
11 | 13/04/2016 | 09:00:00 | 265427 | 212591 | 7.0301 | 0 | 89.897 | 22.1 | 97.2 | 5.56
10 | 12/04/2016 | 09:00:00 | 264776 | 212496 | 7.1309 | 0 | 89.504 | 21.9 | 97.3 | 5.57
9 | 11/04/2016 | 09:00:00 | 264225 | 212416 | 7.41 | 0 | 90.774 | 24.2 | 0 | 5.58
8 | 10/04/2016 | 09:00:00 | 264225 | 212416 | 7.4419 | 0 | 90.428 | 23 | 91.7 | 5.58
7 | 09/04/2016 | 09:00:00 | 263903 | 212369 | 7.0492 | 0 | 89.154 | 21.2 | 96.8 | 5.58
6 | 08/04/2016 | 09:00:00 | 263200 | 212267 | 6.9422 | 0 | 89.087 | 22.5 | 96.3 | 5.59
5 | 07/04/2016 | 09:00:00 | 262484 | 212162 | 6.9796 | 0 | 89.07 | 21.7 | 97.4 | 5.57
4 | 06/04/2016 | 09:00:00 | 261785 | 212060 | 6.9194 | 0 | 89.178 | 23.9 | 96.1 | 5.57
3 | 05/04/2016 | 09:00:00 | 261200 | 211974 | 6.9855 | 0 | 90.226 | 24.3 | 97.7 | 5.57
2 | 04/04/2016 | 09:00:00 | 261138 | 211965 | 7.5336 | 0 | 91.005 | 22.9 | 0 | 5.57
1 | 03/04/2016 | 09:00:00 | 261138 | 211965 | 7.6311 | 0 | 90.364 | 20.2 | 91.3 | 5.57