## Mineria Empresarial diario 0507
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 4
Fault/Alarms Recorded: | Date | Time | Condition
1 | 05/05/2016 | 12:49:13 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
4 | 09/05/2016 | 9:00:00 a.m. | 275371 | 214036 | 7.4053 | 0 | 91.486 | 23.5 | 0 | 5.54
3 | 08/05/2016 | 9:00:00 a.m. | 275371 | 214036 | 7.4799 | 0 | 90.128 | 22.6 | 91.6 | 5.55
2 | 07/05/2016 | 9:00:00 a.m. | 274917 | 213969 | 6.9305 | 0 | 90.566 | 27.2 | 97.9 | 5.55
1 | 06/05/2016 | 9:00:00 a.m. | 274836 | 213958 | 7.2916 | 0 | 90.082 | 27.7 | 0 | 5.56