## Mineria Empresarial horario 050
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 96
Fault/Alarms Recorded: | Date | Time | Condition
1 | 05/05/2016 | 12:49:13 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
96 | 09/05/2016 | 11:00:00 a.m. | 275371 | 214036 | 7.0321 | 0 | 90.627 | 26.2 | 0 | 5.57
95 | 09/05/2016 | 10:00:00 a.m. | 275371 | 214036 | 7.2904 | 0 | 90.873 | 18.8 | 0 | 5.56
94 | 09/05/2016 | 9:00:00 a.m. | 275371 | 214036 | 7.4053 | 0 | 91.112 | 13.5 | 0 | 5.54
93 | 09/05/2016 | 8:00:00 a.m. | 275371 | 214036 | 7.3895 | 0 | 91.237 | 12.7 | 0 | 5.55
92 | 09/05/2016 | 7:00:00 a.m. | 275371 | 214036 | 7.5865 | 0 | 92.004 | 13.4 | 0 | 5.56
91 | 09/05/2016 | 6:00:00 a.m. | 275371 | 214036 | 7.5712 | 0 | 91.621 | 14.3 | 0 | 5.55
90 | 09/05/2016 | 5:00:00 a.m. | 275371 | 214036 | 7.5402 | 0 | 91.727 | 14.8 | 0 | 5.55
89 | 09/05/2016 | 4:00:00 a.m. | 275371 | 214036 | 7.4702 | 0 | 91.892 | 14.8 | 0 | 5.56
88 | 09/05/2016 | 3:00:00 a.m. | 275371 | 214036 | 7.5147 | 0 | 91.332 | 14.9 | 0 | 5.55
87 | 09/05/2016 | 2:00:00 a.m. | 275371 | 214036 | 7.5318 | 0 | 91.939 | 15.3 | 0 | 5.57
86 | 09/05/2016 | 1:00:00 a.m. | 275371 | 214036 | 7.484 | 0 | 91.944 | 15.8 | 0 | 5.55
85 | 09/05/2016 | 12:00:00 a.m. | 275371 | 214036 | 7.4755 | 0 | 91.664 | 16.5 | 0 | 5.55
84 | 08/05/2016 | 11:00:00 p.m. | 275371 | 214036 | 7.4554 | 0 | 91.841 | 17.5 | 0 | 5.57
83 | 08/05/2016 | 10:00:00 p.m. | 275371 | 214036 | 7.3395 | 0 | 91.229 | 18.7 | 0 | 5.56
82 | 08/05/2016 | 9:00:00 p.m. | 275371 | 214036 | 7.3653 | 0 | 91.315 | 19.9 | 0 | 5.56
81 | 08/05/2016 | 8:00:00 p.m. | 275371 | 214036 | 7.3408 | 0 | 91.305 | 22.4 | 0 | 5.56
80 | 08/05/2016 | 7:00:00 p.m. | 275371 | 214036 | 7.0663 | 0 | 91.481 | 29.6 | 0 | 5.57
79 | 08/05/2016 | 6:00:00 p.m. | 275371 | 214036 | 7.0543 | 0 | 91.083 | 29.7 | 0 | 5.58
78 | 08/05/2016 | 5:00:00 p.m. | 275371 | 214036 | 7.0881 | 0 | 91.456 | 30.3 | 0 | 5.57
77 | 08/05/2016 | 4:00:00 p.m. | 275371 | 214036 | 6.9211 | 0 | 90.682 | 39.3 | 0 | 5.59
76 | 08/05/2016 | 3:00:00 p.m. | 275371 | 214036 | 6.813 | 0 | 91.4 | 43.4 | 0 | 5.59
75 | 08/05/2016 | 2:00:00 p.m. | 275371 | 214036 | 6.8103 | 0 | 91.441 | 42.5 | 0 | 5.59
74 | 08/05/2016 | 1:00:00 p.m. | 275371 | 214036 | 6.7776 | 0 | 91.363 | 40 | 0 | 5.58
73 | 08/05/2016 | 12:00:00 p.m. | 275371 | 214036 | 6.8779 | 0 | 91.421 | 35.8 | 0 | 5.58
72 | 08/05/2016 | 11:00:00 a.m. | 275371 | 214036 | 7.0245 | 0 | 91.446 | 28.8 | 0 | 5.57
71 | 08/05/2016 | 10:00:00 a.m. | 275371 | 214036 | 7.2595 | 0 | 91.727 | 19.8 | 0 | 5.57
70 | 08/05/2016 | 9:00:00 a.m. | 275371 | 214036 | 7.4799 | 0 | 91.419 | 13.3 | 0 | 5.55
69 | 08/05/2016 | 8:00:00 a.m. | 275371 | 214036 | 7.5944 | 0 | 91.771 | 11.6 | 0 | 5.55
68 | 08/05/2016 | 7:00:00 a.m. | 275371 | 214036 | 7.4547 | 0 | 91.818 | 12.3 | 0 | 5.56
67 | 08/05/2016 | 6:00:00 a.m. | 275371 | 214036 | 7.5952 | 0 | 91.083 | 13.1 | 0 | 5.55
66 | 08/05/2016 | 5:00:00 a.m. | 275371 | 214036 | 7.4576 | 0 | 91.183 | 13.9 | 0 | 5.55
65 | 08/05/2016 | 4:00:00 a.m. | 275371 | 214036 | 7.4382 | 0 | 91.059 | 14.8 | 0 | 5.54
64 | 08/05/2016 | 3:00:00 a.m. | 275371 | 214036 | 7.4831 | 0 | 91.349 | 15.9 | 0 | 5.55
63 | 08/05/2016 | 2:00:00 a.m. | 275371 | 214036 | 7.3284 | 0 | 91.156 | 16.9 | 0 | 5.56
62 | 08/05/2016 | 1:00:00 a.m. | 275371 | 214036 | 7.3585 | 0 | 91.134 | 18.3 | 0 | 5.56
61 | 08/05/2016 | 12:00:00 a.m. | 275371 | 214036 | 7.2494 | 0 | 91.316 | 19.8 | 0 | 5.56
60 | 07/05/2016 | 11:00:00 p.m. | 275371 | 214036 | 7.3798 | 0 | 91.383 | 20.9 | 0 | 5.56
59 | 07/05/2016 | 10:00:00 p.m. | 275371 | 214036 | 7.2933 | 0 | 90.976 | 22.7 | 0 | 5.56
58 | 07/05/2016 | 9:00:00 p.m. | 275371 | 214036 | 7.2716 | 0 | 90.938 | 25 | 0 | 5.58
57 | 07/05/2016 | 8:00:00 p.m. | 275371 | 214036 | 7.0688 | 0 | 91.06 | 27.3 | 0 | 5.57
56 | 07/05/2016 | 7:00:00 p.m. | 275371 | 214036 | 7.114 | 0 | 90.949 | 28.5 | 0 | 5.57
55 | 07/05/2016 | 6:00:00 p.m. | 275371 | 214036 | 6.9749 | 0 | 91.098 | 30.6 | 0 | 5.57
54 | 07/05/2016 | 5:00:00 p.m. | 275371 | 214036 | 7.0345 | 0 | 90.752 | 33.3 | 0 | 5.59
53 | 07/05/2016 | 4:00:00 p.m. | 275371 | 214036 | 6.782 | 0 | 90.583 | 38.7 | 0.7 | 5.59
52 | 07/05/2016 | 3:00:00 p.m. | 275371 | 214036 | 6.7701 | 0 | 90.118 | 35.5 | 91 | 5.58
51 | 07/05/2016 | 2:00:00 p.m. | 275364 | 214035 | 6.8217 | 0 | 86.683 | 27.6 | 90.4 | 5.58
50 | 07/05/2016 | 1:00:00 p.m. | 275275 | 214022 | 6.7477 | 0 | 86.115 | 27 | 90.2 | 5.58
49 | 07/05/2016 | 12:00:00 p.m. | 275186 | 214009 | 6.7218 | 0 | 86.105 | 26.2 | 91.2 | 5.58
48 | 07/05/2016 | 11:00:00 a.m. | 275097 | 213995 | 6.8227 | 0 | 86.434 | 25.1 | 91.3 | 5.58
47 | 07/05/2016 | 10:00:00 a.m. | 275007 | 213982 | 6.9503 | 0 | 86.583 | 23.6 | 91.6 | 5.57
46 | 07/05/2016 | 9:00:00 a.m. | 274917 | 213969 | 6.9305 | 0 | 87.266 | 20.7 | 97.9 | 5.55
45 | 07/05/2016 | 8:00:00 a.m. | 274836 | 213958 | 7.4342 | 0 | 90.967 | 14.6 | 0 | 5.55
44 | 07/05/2016 | 7:00:00 a.m. | 274836 | 213958 | 7.4602 | 0 | 91.473 | 15.5 | 0 | 5.55
43 | 07/05/2016 | 6:00:00 a.m. | 274836 | 213958 | 7.5128 | 0 | 91.34 | 16.4 | 0 | 5.56
42 | 07/05/2016 | 5:00:00 a.m. | 274836 | 213958 | 7.3995 | 0 | 91.289 | 16.7 | 0 | 5.56
41 | 07/05/2016 | 4:00:00 a.m. | 274836 | 213958 | 7.3914 | 0 | 91.163 | 16.9 | 0 | 5.56
40 | 07/05/2016 | 3:00:00 a.m. | 274836 | 213958 | 7.3989 | 0 | 91.34 | 17.3 | 0 | 5.56
39 | 07/05/2016 | 2:00:00 a.m. | 274836 | 213958 | 7.3776 | 0 | 91.193 | 17.7 | 0 | 5.57
38 | 07/05/2016 | 1:00:00 a.m. | 274836 | 213958 | 7.3919 | 0 | 91.304 | 17.8 | 0 | 5.56
37 | 07/05/2016 | 12:00:00 a.m. | 274836 | 213958 | 7.4634 | 0 | 91.119 | 18.2 | 0 | 5.56
36 | 06/05/2016 | 11:00:00 p.m. | 274836 | 213958 | 7.2515 | 0 | 91.31 | 24.1 | 0 | 5.56
35 | 06/05/2016 | 10:00:00 p.m. | 274836 | 213958 | 7.1507 | 0 | 91.297 | 25.3 | 0 | 5.57
34 | 06/05/2016 | 9:00:00 p.m. | 274836 | 213958 | 7.1838 | 0 | 91.32 | 26.8 | 0 | 5.57
33 | 06/05/2016 | 8:00:00 p.m. | 274836 | 213958 | 7.1694 | 0 | 91.322 | 29.7 | 0 | 5.57
32 | 06/05/2016 | 7:00:00 p.m. | 274836 | 213958 | 7.0189 | 0 | 90.366 | 34.5 | 0 | 5.59
31 | 06/05/2016 | 6:00:00 p.m. | 274836 | 213958 | 6.7176 | 0 | 90.07 | 41.2 | 0 | 5.59
30 | 06/05/2016 | 5:00:00 p.m. | 274836 | 213958 | 6.6328 | 0 | 89.581 | 43.4 | 0 | 5.61
29 | 06/05/2016 | 4:00:00 p.m. | 274836 | 213958 | 6.5953 | 0 | 89.72 | 43.3 | 0 | 5.6
28 | 06/05/2016 | 3:00:00 p.m. | 274836 | 213958 | 6.6348 | 0 | 90.207 | 44.5 | 0 | 5.59
27 | 06/05/2016 | 2:00:00 p.m. | 274836 | 213958 | 6.6605 | 0 | 90.128 | 42.8 | 0 | 5.58
26 | 06/05/2016 | 1:00:00 p.m. | 274836 | 213958 | 6.7063 | 0 | 90.034 | 40 | 0 | 5.58
25 | 06/05/2016 | 12:00:00 p.m. | 274836 | 213958 | 6.743 | 0 | 89.777 | 35.7 | 0 | 5.59
24 | 06/05/2016 | 11:00:00 a.m. | 274836 | 213958 | 6.866 | 0 | 89.91 | 29 | 0 | 5.58
23 | 06/05/2016 | 10:00:00 a.m. | 274836 | 213958 | 7.112 | 0 | 90.075 | 21.2 | 0 | 5.57
22 | 06/05/2016 | 9:00:00 a.m. | 274836 | 213958 | 7.2916 | 0 | 90.249 | 16.3 | 0 | 5.56
21 | 06/05/2016 | 8:00:00 a.m. | 274836 | 213958 | 7.4158 | 0 | 90.403 | 15.1 | 0 | 5.56
20 | 06/05/2016 | 7:00:00 a.m. | 274836 | 213958 | 7.3725 | 0 | 90.529 | 15.8 | 0 | 5.55
19 | 06/05/2016 | 6:00:00 a.m. | 274836 | 213958 | 7.3189 | 0 | 90.382 | 16.9 | 0 | 5.55
18 | 06/05/2016 | 5:00:00 a.m. | 274836 | 213958 | 7.3033 | 0 | 90.282 | 18.1 | 0 | 5.56
17 | 06/05/2016 | 4:00:00 a.m. | 274836 | 213958 | 7.2352 | 0 | 90.07 | 19.1 | 0 | 5.56
16 | 06/05/2016 | 3:00:00 a.m. | 274836 | 213958 | 7.2192 | 0 | 90.29 | 19.4 | 0 | 5.56
15 | 06/05/2016 | 2:00:00 a.m. | 274836 | 213958 | 7.2618 | 0 | 90.287 | 20.4 | 0 | 5.57
14 | 06/05/2016 | 1:00:00 a.m. | 274836 | 213958 | 7.2351 | 0 | 90.401 | 21.7 | 0 | 5.57
13 | 06/05/2016 | 12:00:00 a.m. | 274836 | 213958 | 7.2239 | 0 | 90.351 | 22.6 | 0 | 5.58
12 | 05/05/2016 | 11:00:00 p.m. | 274836 | 213958 | 7.1763 | 0 | 90.203 | 23.6 | 0 | 5.56
11 | 05/05/2016 | 10:00:00 p.m. | 274836 | 213958 | 7.128 | 0 | 90.136 | 25.3 | 0 | 5.58
10 | 05/05/2016 | 9:00:00 p.m. | 274836 | 213958 | 7.0459 | 0 | 90.117 | 28.4 | 0 | 5.59
9 | 05/05/2016 | 8:00:00 p.m. | 274836 | 213958 | 6.9491 | 0 | 89.989 | 32.7 | 0 | 5.59
8 | 05/05/2016 | 7:00:00 p.m. | 274836 | 213958 | 6.8821 | 0 | 89.795 | 37.6 | 0 | 5.59
7 | 05/05/2016 | 6:00:00 p.m. | 274836 | 213958 | 6.7528 | 0 | 89.814 | 40.8 | 0 | 5.59
6 | 05/05/2016 | 5:00:00 p.m. | 274836 | 213958 | 6.7456 | 0 | 89.766 | 41.8 | 0 | 5.6
5 | 05/05/2016 | 4:00:00 p.m. | 274836 | 213958 | 6.6551 | 0 | 89.831 | 41.2 | 0 | 5.6
4 | 05/05/2016 | 3:00:00 p.m. | 274836 | 213958 | 6.6821 | 0 | 89.773 | 42.4 | 0 | 5.59
3 | 05/05/2016 | 2:00:00 p.m. | 274836 | 213958 | 6.6431 | 0 | 89.777 | 42 | 0 | 5.58
2 | 05/05/2016 | 1:00:00 p.m. | 274836 | 213958 | 6.6989 | 0 | 89.74 | 38.7 | 0 | 5.58
1 | 05/05/2016 | 12:00:00 p.m. | 274836 | 213958 | 6.8332 | 0 | 89.845 | 34.9 | 0 | 5.59