## Saporis horario 050716 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 96
Fault/Alarms Recorded: | Date | Time | Condition
1 | 05/05/2016 | 2:57:40 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
96 | 09/05/2016 | 10:00:00 a.m. | 1367024 | 428894 | 7.1798 | 0 | 90.694 | 24.7 | 164.1 | 5.82
95 | 09/05/2016 | 9:00:00 a.m. | 1367010 | 428893 | 7.2058 | 0 | 90.71 | 24.7 | 165.3 | 5.8
94 | 09/05/2016 | 8:00:00 a.m. | 1366904 | 428878 | 7.1032 | 0 | 90.987 | 16 | 166.2 | 5.8
93 | 09/05/2016 | 7:00:00 a.m. | 1366865 | 428872 | 7.5722 | 0 | 91.813 | 13 | 0 | 5.8
92 | 09/05/2016 | 6:00:00 a.m. | 1366865 | 428872 | 7.5798 | 0 | 91.424 | 14.3 | 0 | 5.8
91 | 09/05/2016 | 5:00:00 a.m. | 1366865 | 428872 | 7.4932 | 0 | 91.535 | 15.6 | 0 | 5.8
90 | 09/05/2016 | 4:00:00 a.m. | 1366865 | 428872 | 7.4204 | 0 | 91.707 | 15.7 | 0 | 5.8
89 | 09/05/2016 | 3:00:00 a.m. | 1366865 | 428872 | 7.4799 | 0 | 91.141 | 16.1 | 0 | 5.8
88 | 09/05/2016 | 2:00:00 a.m. | 1366865 | 428872 | 7.4655 | 0 | 91.746 | 17.4 | 1.1 | 5.8
87 | 09/05/2016 | 1:00:00 a.m. | 1366865 | 428872 | 7.3719 | 0 | 91.705 | 22.2 | 111.2 | 5.8
86 | 09/05/2016 | 12:00:00 a.m. | 1366834 | 428868 | 7.2052 | 0 | 91.26 | 23.5 | 164.9 | 5.8
85 | 08/05/2016 | 11:00:00 p.m. | 1366723 | 428853 | 7.4693 | 0 | 91.643 | 16.9 | 0 | 5.8
84 | 08/05/2016 | 10:00:00 p.m. | 1366723 | 428853 | 7.3534 | 0 | 91.046 | 18.2 | 0 | 5.81
83 | 08/05/2016 | 9:00:00 p.m. | 1366723 | 428853 | 7.3528 | 0 | 91.119 | 19.9 | 0 | 5.81
82 | 08/05/2016 | 8:00:00 p.m. | 1366723 | 428853 | 7.3118 | 0 | 91.097 | 21.9 | 0 | 5.82
81 | 08/05/2016 | 7:00:00 p.m. | 1366723 | 428853 | 7.0918 | 0 | 91.321 | 29.3 | 1.2 | 5.83
80 | 08/05/2016 | 6:00:00 p.m. | 1366723 | 428853 | 7.0228 | 0 | 90.922 | 30.3 | 76.4 | 5.83
79 | 08/05/2016 | 5:00:00 p.m. | 1366706 | 428850 | 7.0669 | 0 | 91.278 | 30.4 | 0 | 5.83
78 | 08/05/2016 | 4:00:00 p.m. | 1366706 | 428850 | 6.9198 | 0 | 90.542 | 37.8 | 0 | 5.84
77 | 08/05/2016 | 3:00:00 p.m. | 1366706 | 428850 | 6.8285 | 0 | 91.277 | 41.4 | 0 | 5.84
76 | 08/05/2016 | 2:00:00 p.m. | 1366706 | 428850 | 6.8152 | 0 | 91.309 | 40.5 | 0 | 5.84
75 | 08/05/2016 | 1:00:00 p.m. | 1366706 | 428850 | 6.8075 | 0 | 91.241 | 38.2 | 0 | 5.84
74 | 08/05/2016 | 12:00:00 p.m. | 1366706 | 428850 | 6.9036 | 0 | 91.301 | 34.1 | 1.1 | 5.83
73 | 08/05/2016 | 11:00:00 a.m. | 1366706 | 428850 | 7.0517 | 0 | 91.298 | 28.5 | 162.3 | 5.83
72 | 08/05/2016 | 10:00:00 a.m. | 1366685 | 428847 | 7.2125 | 0 | 91.596 | 22.2 | 19.7 | 5.82
71 | 08/05/2016 | 9:00:00 a.m. | 1366676 | 428846 | 7.4107 | 0 | 91.264 | 14.7 | 0 | 5.8
70 | 08/05/2016 | 8:00:00 a.m. | 1366676 | 428846 | 7.5766 | 0 | 91.572 | 11.1 | 0 | 5.8
69 | 08/05/2016 | 7:00:00 a.m. | 1366676 | 428846 | 7.4668 | 0 | 91.644 | 11.5 | 0 | 5.8
68 | 08/05/2016 | 6:00:00 a.m. | 1366676 | 428846 | 7.573 | 0 | 90.889 | 12.4 | 0 | 5.8
67 | 08/05/2016 | 5:00:00 a.m. | 1366676 | 428846 | 7.4521 | 0 | 91.001 | 13.1 | 0 | 5.8
66 | 08/05/2016 | 4:00:00 a.m. | 1366676 | 428846 | 7.4387 | 0 | 90.887 | 14.4 | 0 | 5.8
65 | 08/05/2016 | 3:00:00 a.m. | 1366676 | 428846 | 7.4752 | 0 | 91.149 | 15.4 | 0 | 5.8
64 | 08/05/2016 | 2:00:00 a.m. | 1366676 | 428846 | 7.3253 | 0 | 90.975 | 16.4 | 0 | 5.8
63 | 08/05/2016 | 1:00:00 a.m. | 1366676 | 428846 | 7.3712 | 0 | 90.941 | 17.7 | 0 | 5.8
62 | 08/05/2016 | 12:00:00 a.m. | 1366676 | 428846 | 7.2322 | 0 | 91.141 | 19.9 | 0 | 5.81
61 | 07/05/2016 | 11:00:00 p.m. | 1366676 | 428846 | 7.3792 | 0 | 91.191 | 21.4 | 3.6 | 5.82
60 | 07/05/2016 | 10:00:00 p.m. | 1366676 | 428846 | 7.2546 | 0 | 90.685 | 25.4 | 161.2 | 5.82
59 | 07/05/2016 | 9:00:00 p.m. | 1366603 | 428836 | 7.1928 | 0 | 90.634 | 26.3 | 102.7 | 5.82
58 | 07/05/2016 | 8:00:00 p.m. | 1366518 | 428824 | 7.0413 | 0 | 90.783 | 26.9 | 106.4 | 5.83
57 | 07/05/2016 | 7:00:00 p.m. | 1366430 | 428811 | 7.1324 | 0 | 90.642 | 27.3 | 112.6 | 5.83
56 | 07/05/2016 | 6:00:00 p.m. | 1366339 | 428799 | 6.9939 | 0 | 90.932 | 28.1 | 101 | 5.83
55 | 07/05/2016 | 5:00:00 p.m. | 1366307 | 428794 | 7.1049 | 0 | 90.471 | 27.9 | 108.2 | 5.83
54 | 07/05/2016 | 4:00:00 p.m. | 1366226 | 428783 | 6.9519 | 0 | 90.32 | 30 | 106.2 | 5.84
53 | 07/05/2016 | 3:00:00 p.m. | 1366146 | 428771 | 6.9124 | 0 | 90.264 | 31.6 | 98.6 | 5.84
52 | 07/05/2016 | 2:00:00 p.m. | 1366107 | 428765 | 7.0171 | 0 | 90.229 | 29.5 | 101 | 5.84
51 | 07/05/2016 | 1:00:00 p.m. | 1366021 | 428753 | 6.9562 | 0 | 89.651 | 28.9 | 101.7 | 5.83
50 | 07/05/2016 | 12:00:00 p.m. | 1365935 | 428741 | 6.9347 | 0 | 89.719 | 28.2 | 117.9 | 5.83
49 | 07/05/2016 | 11:00:00 a.m. | 1365843 | 428728 | 7.0201 | 0 | 90.14 | 27.4 | 105.7 | 5.83
48 | 07/05/2016 | 10:00:00 a.m. | 1365790 | 428720 | 7.1608 | 0 | 90.287 | 25.5 | 40.4 | 5.83
47 | 07/05/2016 | 9:00:00 a.m. | 1365761 | 428716 | 7.1328 | 0 | 90.45 | 24.9 | 107.7 | 5.81
46 | 07/05/2016 | 8:00:00 a.m. | 1365688 | 428706 | 7.132 | 0 | 90.612 | 23.6 | 166.2 | 5.8
45 | 07/05/2016 | 7:00:00 a.m. | 1365590 | 428692 | 7.4641 | 0 | 91.287 | 15.1 | 0 | 5.8
44 | 07/05/2016 | 6:00:00 a.m. | 1365590 | 428692 | 7.5034 | 0 | 91.146 | 16.3 | 0 | 5.8
43 | 07/05/2016 | 5:00:00 a.m. | 1365590 | 428692 | 7.3943 | 0 | 91.101 | 16.9 | 0 | 5.8
42 | 07/05/2016 | 4:00:00 a.m. | 1365590 | 428692 | 7.3675 | 0 | 90.983 | 16.9 | 0 | 5.8
41 | 07/05/2016 | 3:00:00 a.m. | 1365590 | 428692 | 7.4151 | 0 | 91.159 | 17.3 | 0 | 5.8
40 | 07/05/2016 | 2:00:00 a.m. | 1365590 | 428692 | 7.3582 | 0 | 91.006 | 17.8 | 0 | 5.81
39 | 07/05/2016 | 1:00:00 a.m. | 1365590 | 428692 | 7.3719 | 0 | 91.11 | 18.1 | 0 | 5.81
38 | 07/05/2016 | 12:00:00 a.m. | 1365590 | 428692 | 7.4324 | 0 | 90.902 | 17.5 | 0 | 5.81
37 | 06/05/2016 | 11:00:00 p.m. | 1365590 | 428692 | 7.2662 | 0 | 91.131 | 24.3 | 0 | 5.82
36 | 06/05/2016 | 10:00:00 p.m. | 1365590 | 428692 | 7.1404 | 0 | 91.129 | 25.5 | 0 | 5.83
35 | 06/05/2016 | 9:00:00 p.m. | 1365590 | 428692 | 7.1581 | 0 | 91.144 | 27 | 0 | 5.83
34 | 06/05/2016 | 8:00:00 p.m. | 1365590 | 428692 | 7.1507 | 0 | 91.147 | 30.1 | 0 | 5.83
33 | 06/05/2016 | 7:00:00 p.m. | 1365590 | 428692 | 6.9998 | 0 | 90.199 | 33.7 | 0.8 | 5.84
32 | 06/05/2016 | 6:00:00 p.m. | 1365590 | 428692 | 6.7951 | 0 | 89.901 | 33.3 | 159 | 5.84
31 | 06/05/2016 | 5:00:00 p.m. | 1365577 | 428690 | 6.9052 | 0 | 89.299 | 30.7 | 112.9 | 5.85
30 | 06/05/2016 | 4:00:00 p.m. | 1365490 | 428678 | 6.8833 | 0 | 89.478 | 36.9 | 159.2 | 5.84
29 | 06/05/2016 | 3:00:00 p.m. | 1365431 | 428669 | 6.6582 | 0 | 90.096 | 40.3 | 1.5 | 5.84
28 | 06/05/2016 | 2:00:00 p.m. | 1365431 | 428669 | 6.771 | 0 | 89.957 | 37.3 | 159.7 | 5.84
27 | 06/05/2016 | 1:00:00 p.m. | 1365411 | 428666 | 6.7339 | 0 | 89.905 | 38.2 | 0 | 5.84
26 | 06/05/2016 | 12:00:00 p.m. | 1365411 | 428666 | 6.7828 | 0 | 89.661 | 34.7 | 0 | 5.83
25 | 06/05/2016 | 11:00:00 a.m. | 1365411 | 428666 | 6.8719 | 0 | 89.81 | 29.6 | 0 | 5.83
24 | 06/05/2016 | 10:00:00 a.m. | 1365411 | 428666 | 7.0635 | 0 | 89.955 | 23.3 | 0 | 5.83
23 | 06/05/2016 | 9:00:00 a.m. | 1365411 | 428666 | 7.2387 | 0 | 90.096 | 17.2 | 0 | 5.81
22 | 06/05/2016 | 8:00:00 a.m. | 1365411 | 428666 | 7.3983 | 0 | 90.218 | 14.8 | 0 | 5.8
21 | 06/05/2016 | 7:00:00 a.m. | 1365411 | 428666 | 7.3704 | 0 | 90.339 | 15.6 | 0 | 5.8
20 | 06/05/2016 | 6:00:00 a.m. | 1365411 | 428666 | 7.3093 | 0 | 90.194 | 17.1 | 0.9 | 5.8
19 | 06/05/2016 | 5:00:00 a.m. | 1365411 | 428666 | 7.2606 | 0 | 90.076 | 21.5 | 143.1 | 5.81
18 | 06/05/2016 | 4:00:00 a.m. | 1365393 | 428664 | 7.0481 | 0 | 89.706 | 25.2 | 162.5 | 5.81
17 | 06/05/2016 | 3:00:00 a.m. | 1365285 | 428649 | 7.0746 | 0 | 90.097 | 19.6 | 163.1 | 5.81
16 | 06/05/2016 | 2:00:00 a.m. | 1365279 | 428648 | 7.2617 | 0 | 90.109 | 20.1 | 0 | 5.81
15 | 06/05/2016 | 1:00:00 a.m. | 1365279 | 428648 | 7.2227 | 0 | 90.23 | 21.8 | 0.8 | 5.82
14 | 06/05/2016 | 12:00:00 a.m. | 1365279 | 428648 | 7.214 | 0 | 90.169 | 23.7 | 162.3 | 5.82
13 | 05/05/2016 | 11:00:00 p.m. | 1365271 | 428647 | 7.0859 | 0 | 89.897 | 26.1 | 161.9 | 5.82
12 | 05/05/2016 | 10:00:00 p.m. | 1365180 | 428634 | 7.0598 | 0 | 89.849 | 26.2 | 104.4 | 5.82
11 | 05/05/2016 | 9:00:00 p.m. | 1365099 | 428622 | 7.031 | 0 | 89.818 | 26.7 | 109.6 | 5.83
10 | 05/05/2016 | 8:00:00 p.m. | 1365013 | 428610 | 7.0118 | 0 | 89.715 | 27.7 | 109.2 | 5.83
9 | 05/05/2016 | 7:00:00 p.m. | 1364928 | 428598 | 7.0183 | 0 | 89.442 | 30 | 160.4 | 5.84
8 | 05/05/2016 | 6:00:00 p.m. | 1364818 | 428582 | 6.7429 | 0 | 89.678 | 40.9 | 0 | 5.84
7 | 05/05/2016 | 5:00:00 p.m. | 1364818 | 428582 | 6.7349 | 0 | 89.636 | 41.8 | 0 | 5.84
6 | 05/05/2016 | 4:00:00 p.m. | 1364818 | 428582 | 6.6416 | 0 | 89.723 | 41.4 | 0 | 5.84
5 | 05/05/2016 | 3:00:00 p.m. | 1364818 | 428582 | 6.6918 | 0 | 89.66 | 39.2 | 0 | 5.84
4 | 05/05/2016 | 2:00:00 p.m. | 1364818 | 428582 | 6.7189 | 0 | 89.656 | 38.3 | 0 | 5.83
3 | 05/05/2016 | 1:00:00 p.m. | 1364818 | 428582 | 6.763 | 0 | 89.615 | 36.5 | 0 | 5.83
2 | 05/05/2016 | 12:00:00 p.m. | 1364818 | 428582 | 6.8671 | 0 | 89.715 | 33.4 | 0 | 5.83
1 | 05/05/2016 | 11:00:00 a.m. | 1364818 | 428582 | 6.9616 | 0 | 89.786 | 29.6 | 0 | 5.83