## Mineria Empresarial diario 0531
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 27
Fault/Alarms Recorded: | Date | Time | Condition
1 | 05/05/2016 | 12:49:13 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
27 | 01/06/2016 | 9:00:00 a.m. | 282854 | 215127 | 7.3481 | 0 | 90.117 | 21 | 95 | 5.53
26 | 31/05/2016 | 9:00:00 a.m. | 282237 | 215038 | 7.4257 | 0 | 90.36 | 22.8 | 93 | 5.54
25 | 30/05/2016 | 9:00:00 a.m. | 281722 | 214963 | 7.1819 | 0 | 90.908 | 26.4 | 100.3 | 5.53
24 | 29/05/2016 | 9:00:00 a.m. | 281642 | 214951 | 7.4628 | 0 | 91.006 | 27.1 | 0 | 5.54
23 | 28/05/2016 | 9:00:00 a.m. | 281642 | 214951 | 7.2982 | 0 | 89.939 | 21.6 | 96.2 | 5.54
22 | 27/05/2016 | 9:00:00 a.m. | 281039 | 214863 | 7.4207 | 0 | 90.043 | 22.3 | 94.3 | 5.55
21 | 26/05/2016 | 9:00:00 a.m. | 280482 | 214782 | 7.4451 | 0 | 90.897 | 24 | 96.2 | 5.54
20 | 25/05/2016 | 9:00:00 a.m. | 280125 | 214730 | 7.354 | 0 | 90.307 | 22.8 | 96.9 | 5.55
19 | 24/05/2016 | 9:00:00 a.m. | 279550 | 214646 | 7.3761 | 0 | 91.269 | 25.9 | 0 | 5.54
18 | 23/05/2016 | 9:00:00 a.m. | 279550 | 214646 | 7.3502 | 0 | 91.511 | 28.1 | 0 | 5.55
17 | 22/05/2016 | 9:00:00 a.m. | 279550 | 214646 | 7.3547 | 0 | 90.943 | 27.7 | 91.4 | 5.54
16 | 21/05/2016 | 9:00:00 a.m. | 279293 | 214609 | 6.9863 | 0 | 89.966 | 23.4 | 97.1 | 5.54
15 | 20/05/2016 | 9:00:00 a.m. | 278694 | 214521 | 7.4675 | 0 | 89.904 | 21.9 | 92.4 | 5.54
14 | 19/05/2016 | 9:00:00 a.m. | 278029 | 214424 | 7.0251 | 0 | 91.019 | 25.6 | 97.4 | 5.53
13 | 18/05/2016 | 9:00:00 a.m. | 277943 | 214412 | 7.44 | 0 | 89.458 | 22.3 | 91.5 | 5.55
12 | 17/05/2016 | 9:00:00 a.m. | 277329 | 214322 | 7.0899 | 0 | 90.368 | 24.1 | 96.6 | 5.55
11 | 16/05/2016 | 9:00:00 a.m. | 277262 | 214313 | 7.3608 | 0 | 90.807 | 19.6 | 0 | 5.55
10 | 15/05/2016 | 9:00:00 a.m. | 277262 | 214313 | 7.3312 | 0 | 89.943 | 23.8 | 89.7 | 5.55
9 | 14/05/2016 | 9:00:00 a.m. | 276824 | 214249 | 6.902 | 0 | 90.018 | 26.6 | 98.3 | 5.55
8 | 13/05/2016 | 9:00:00 a.m. | 276739 | 214237 | 7.2958 | 0 | 88.75 | 22 | 92.6 | 5.54
7 | 12/05/2016 | 9:00:00 a.m. | 276062 | 214137 | 6.7827 | 0 | 89.501 | 22.6 | 97.3 | 5.54
6 | 11/05/2016 | 9:00:00 a.m. | 275976 | 214124 | 7.3213 | 0 | 89.312 | 22.9 | 91.7 | 5.55
5 | 10/05/2016 | 9:00:00 a.m. | 275442 | 214046 | 7.0234 | 0 | 90.525 | 20.8 | 98.8 | 5.55
4 | 09/05/2016 | 9:00:00 a.m. | 275371 | 214036 | 7.4053 | 0 | 91.486 | 23.5 | 0 | 5.54
3 | 08/05/2016 | 9:00:00 a.m. | 275371 | 214036 | 7.4799 | 0 | 90.128 | 22.6 | 91.6 | 5.55
2 | 07/05/2016 | 9:00:00 a.m. | 274917 | 213969 | 6.9305 | 0 | 90.566 | 27.2 | 97.9 | 5.55
1 | 06/05/2016 | 9:00:00 a.m. | 274836 | 213958 | 7.2916 | 0 | 90.082 | 27.7 | 0 | 5.56