## Saporis horario 053116 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 648
Fault/Alarms Recorded: | Date | Time | Condition
1 | 05/05/2016 | 2:57:40 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Peak Flow | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | Nm³/H | V
648 | 01/06/2016 | 10:00:00 a.m. | 1383308 | 431190 | 7.1648 | 0 | 90.74 | 24.3 | 162.2 | 5.8
647 | 01/06/2016 | 9:00:00 a.m. | 1383281 | 431186 | 7.1834 | 0 | 91.069 | 24.7 | 110.6 | 5.8
646 | 01/06/2016 | 8:00:00 a.m. | 1383230 | 431179 | 7.232 | 0 | 91.134 | 24.6 | 73.2 | 5.8
645 | 01/06/2016 | 7:00:00 a.m. | 1383170 | 431171 | 7.1805 | 0 | 91.126 | 24.5 | 78.9 | 5.8
644 | 01/06/2016 | 6:00:00 a.m. | 1383107 | 431162 | 7.1853 | 0 | 90.992 | 19.6 | 164.5 | 5.8
643 | 01/06/2016 | 5:00:00 a.m. | 1383060 | 431155 | 7.4086 | 0 | 91.249 | 17.5 | 0 | 5.8
642 | 01/06/2016 | 4:00:00 a.m. | 1383060 | 431155 | 7.3396 | 0 | 91.22 | 19.7 | 1.5 | 5.8
641 | 01/06/2016 | 3:00:00 a.m. | 1383060 | 431155 | 7.2891 | 0 | 91.203 | 23.5 | 106.1 | 5.8
640 | 01/06/2016 | 2:00:00 a.m. | 1383028 | 431151 | 7.1845 | 0 | 91.054 | 24.7 | 77.6 | 5.8
639 | 01/06/2016 | 1:00:00 a.m. | 1382965 | 431142 | 7.1835 | 0 | 91.039 | 24.7 | 73.9 | 5.8
638 | 01/06/2016 | 12:00:00 a.m. | 1382903 | 431134 | 7.179 | 0 | 90.991 | 24.5 | 77.2 | 5.8
637 | 31/05/2016 | 11:00:00 p.m. | 1382838 | 431125 | 7.1987 | 0 | 91.082 | 24.2 | 88.2 | 5.8
636 | 31/05/2016 | 10:00:00 p.m. | 1382770 | 431115 | 7.1863 | 0 | 91.13 | 19.6 | 164 | 5.8
635 | 31/05/2016 | 9:00:00 p.m. | 1382740 | 431111 | 7.3305 | 0 | 91.277 | 18.8 | 0 | 5.8
634 | 31/05/2016 | 8:00:00 p.m. | 1382740 | 431111 | 7.3366 | 0 | 91.266 | 18.1 | 0 | 5.8
633 | 31/05/2016 | 7:00:00 p.m. | 1382740 | 431111 | 7.4087 | 0 | 91.332 | 17.3 | 0 | 5.8
632 | 31/05/2016 | 6:00:00 p.m. | 1382740 | 431111 | 7.4282 | 0 | 91.268 | 20.1 | 0.7 | 5.81
631 | 31/05/2016 | 5:00:00 p.m. | 1382740 | 431111 | 7.0084 | 0 | 90.707 | 33.7 | 138.9 | 5.83
630 | 31/05/2016 | 4:00:00 p.m. | 1382737 | 431110 | 7.0295 | 0 | 89.949 | 29.6 | 119 | 5.83
629 | 31/05/2016 | 3:00:00 p.m. | 1382626 | 431095 | 6.9873 | 0 | 90.182 | 29.2 | 122.6 | 5.83
628 | 31/05/2016 | 2:00:00 p.m. | 1382515 | 431079 | 7.0201 | 0 | 90.276 | 28.8 | 120.5 | 5.83
627 | 31/05/2016 | 1:00:00 p.m. | 1382403 | 431063 | 7.0459 | 0 | 90.143 | 28.1 | 161.8 | 5.82
626 | 31/05/2016 | 12:00:00 p.m. | 1382274 | 431045 | 6.9397 | 0 | 90.817 | 31.4 | 0 | 5.82
625 | 31/05/2016 | 11:00:00 a.m. | 1382273 | 431044 | 7.0333 | 0 | 90.725 | 26.4 | 0 | 5.81
624 | 31/05/2016 | 10:00:00 a.m. | 1382273 | 431044 | 7.1836 | 0 | 91.143 | 21.3 | 0 | 5.8
623 | 31/05/2016 | 9:00:00 a.m. | 1382273 | 431044 | 7.32 | 0 | 91.61 | 19.9 | 1.6 | 5.8
622 | 31/05/2016 | 8:00:00 a.m. | 1382273 | 431044 | 7.3471 | 0 | 91.498 | 23.8 | 126.1 | 5.8
621 | 31/05/2016 | 7:00:00 a.m. | 1382212 | 431036 | 7.1698 | 0 | 91.242 | 25.2 | 124.4 | 5.8
620 | 31/05/2016 | 6:00:00 a.m. | 1382097 | 431020 | 7.1841 | 0 | 91.286 | 22.3 | 163.7 | 5.8
619 | 31/05/2016 | 5:00:00 a.m. | 1382008 | 431007 | 7.394 | 0 | 91.804 | 18.2 | 0 | 5.8
618 | 31/05/2016 | 4:00:00 a.m. | 1382008 | 431007 | 7.4047 | 0 | 91.592 | 18.6 | 0 | 5.8
617 | 31/05/2016 | 3:00:00 a.m. | 1382008 | 431007 | 7.3822 | 0 | 91.569 | 18.4 | 0 | 5.8
616 | 31/05/2016 | 2:00:00 a.m. | 1382008 | 431007 | 7.3935 | 0 | 91.756 | 19 | 0 | 5.8
615 | 31/05/2016 | 1:00:00 a.m. | 1382008 | 431007 | 7.3866 | 0 | 91.739 | 18.5 | 0 | 5.8
614 | 31/05/2016 | 12:00:00 a.m. | 1382008 | 431007 | 7.387 | 0 | 91.936 | 18.6 | 0 | 5.8
613 | 30/05/2016 | 11:00:00 p.m. | 1382008 | 431007 | 7.4073 | 0 | 91.386 | 19.6 | 0 | 5.8
612 | 30/05/2016 | 10:00:00 p.m. | 1382008 | 431007 | 7.3002 | 0 | 91.082 | 21.4 | 1.3 | 5.8
611 | 30/05/2016 | 9:00:00 p.m. | 1382008 | 431007 | 7.2585 | 0 | 90.734 | 24.5 | 140.1 | 5.81
610 | 30/05/2016 | 8:00:00 p.m. | 1381957 | 431000 | 7.1274 | 0 | 90.465 | 26.1 | 122.3 | 5.81
609 | 30/05/2016 | 7:00:00 p.m. | 1381850 | 430985 | 7.066 | 0 | 90.392 | 27.5 | 119.5 | 5.82
608 | 30/05/2016 | 6:00:00 p.m. | 1381742 | 430970 | 7.0673 | 0 | 90.314 | 28.2 | 118.5 | 5.83
607 | 30/05/2016 | 5:00:00 p.m. | 1381634 | 430955 | 7.068 | 0 | 90.513 | 30.2 | 160.1 | 5.83
606 | 30/05/2016 | 4:00:00 p.m. | 1381537 | 430941 | 6.7576 | 0 | 90.518 | 38.1 | 0.9 | 5.83
605 | 30/05/2016 | 3:00:00 p.m. | 1381537 | 430941 | 6.9239 | 0 | 90.564 | 29.9 | 115.9 | 5.82
604 | 30/05/2016 | 2:00:00 p.m. | 1381510 | 430937 | 7.0541 | 0 | 90.1 | 28.4 | 117.9 | 5.82
603 | 30/05/2016 | 1:00:00 p.m. | 1381406 | 430922 | 7.0278 | 0 | 89.989 | 28.1 | 122.6 | 5.82
602 | 30/05/2016 | 12:00:00 p.m. | 1381300 | 430907 | 7.0771 | 0 | 89.915 | 27.6 | 122.9 | 5.82
601 | 30/05/2016 | 11:00:00 a.m. | 1381189 | 430891 | 6.9788 | 0 | 89.844 | 27 | 125.2 | 5.82
600 | 30/05/2016 | 10:00:00 a.m. | 1381075 | 430875 | 7.0823 | 0 | 90.611 | 25.8 | 162.8 | 5.8
599 | 30/05/2016 | 9:00:00 a.m. | 1380967 | 430860 | 7.1816 | 0 | 90.603 | 23.6 | 164.3 | 5.8
598 | 30/05/2016 | 8:00:00 a.m. | 1380861 | 430845 | 7.3973 | 0 | 92.038 | 19.4 | 16.5 | 5.8
597 | 30/05/2016 | 7:00:00 a.m. | 1380844 | 430843 | 7.4371 | 0 | 91.778 | 16.3 | 16.4 | 5.8
596 | 30/05/2016 | 6:00:00 a.m. | 1380844 | 430843 | 7.4892 | 0 | 91.409 | 17.1 | 0 | 5.8
595 | 30/05/2016 | 5:00:00 a.m. | 1380844 | 430843 | 7.3527 | 0 | 90.886 | 19.5 | 0 | 5.8
594 | 30/05/2016 | 4:00:00 a.m. | 1380844 | 430843 | 7.3151 | 0 | 90.957 | 19.2 | 0 | 5.8
593 | 30/05/2016 | 3:00:00 a.m. | 1380844 | 430843 | 7.3 | 0 | 90.818 | 18.7 | 0 | 5.8
592 | 30/05/2016 | 2:00:00 a.m. | 1380844 | 430843 | 7.3159 | 0 | 90.808 | 19.3 | 0 | 5.8
591 | 30/05/2016 | 1:00:00 a.m. | 1380844 | 430843 | 7.3081 | 0 | 90.939 | 20.4 | 0 | 5.8
590 | 30/05/2016 | 12:00:00 a.m. | 1380844 | 430843 | 7.2618 | 0 | 90.866 | 21.1 | 0 | 5.8
589 | 29/05/2016 | 11:00:00 p.m. | 1380844 | 430843 | 7.2606 | 0 | 91.176 | 22.2 | 0 | 5.81
588 | 29/05/2016 | 10:00:00 p.m. | 1380844 | 430843 | 7.2136 | 0 | 90.757 | 23.5 | 0 | 5.81
587 | 29/05/2016 | 9:00:00 p.m. | 1380844 | 430843 | 7.1911 | 0 | 90.965 | 25.5 | 0 | 5.82
586 | 29/05/2016 | 8:00:00 p.m. | 1380844 | 430843 | 7.1404 | 0 | 90.785 | 29.6 | 0 | 5.82
585 | 29/05/2016 | 7:00:00 p.m. | 1380844 | 430843 | 6.9658 | 0 | 90.527 | 34.5 | 1.5 | 5.83
584 | 29/05/2016 | 6:00:00 p.m. | 1380844 | 430843 | 6.8728 | 0 | 90.401 | 36.1 | 82.8 | 5.83
583 | 29/05/2016 | 5:00:00 p.m. | 1380826 | 430840 | 6.7457 | 0 | 90.505 | 41.9 | 0 | 5.83
582 | 29/05/2016 | 4:00:00 p.m. | 1380826 | 430840 | 6.7349 | 0 | 90.539 | 41.8 | 0 | 5.83
581 | 29/05/2016 | 3:00:00 p.m. | 1380826 | 430840 | 6.7573 | 0 | 90.64 | 39.9 | 0 | 5.83
580 | 29/05/2016 | 2:00:00 p.m. | 1380826 | 430840 | 6.8246 | 0 | 90.647 | 37.9 | 0 | 5.83
579 | 29/05/2016 | 1:00:00 p.m. | 1380826 | 430840 | 6.8658 | 0 | 90.565 | 34.4 | 0 | 5.83
578 | 29/05/2016 | 12:00:00 p.m. | 1380826 | 430840 | 6.9604 | 0 | 90.625 | 30.4 | 3.5 | 5.82
577 | 29/05/2016 | 11:00:00 a.m. | 1380826 | 430840 | 7.0751 | 0 | 90.68 | 23.3 | 84.5 | 5.81
576 | 29/05/2016 | 10:00:00 a.m. | 1380807 | 430838 | 7.2832 | 0 | 90.944 | 17.9 | 0 | 5.8
575 | 29/05/2016 | 9:00:00 a.m. | 1380807 | 430838 | 7.3783 | 0 | 90.977 | 16.3 | 0 | 5.8
574 | 29/05/2016 | 8:00:00 a.m. | 1380807 | 430838 | 7.3757 | 0 | 90.999 | 15.9 | 0 | 5.8
573 | 29/05/2016 | 7:00:00 a.m. | 1380807 | 430838 | 7.4025 | 0 | 91.172 | 15.7 | 0 | 5.8
572 | 29/05/2016 | 6:00:00 a.m. | 1380807 | 430838 | 7.4764 | 0 | 91.025 | 16.4 | 0 | 5.8
571 | 29/05/2016 | 5:00:00 a.m. | 1380807 | 430838 | 7.3875 | 0 | 91.175 | 18.8 | 0.8 | 5.8
570 | 29/05/2016 | 4:00:00 a.m. | 1380807 | 430838 | 7.2922 | 0 | 91.065 | 22.1 | 138.2 | 5.8
569 | 29/05/2016 | 3:00:00 a.m. | 1380796 | 430836 | 7.1448 | 0 | 90.734 | 25.3 | 105.6 | 5.8
568 | 29/05/2016 | 2:00:00 a.m. | 1380704 | 430823 | 7.165 | 0 | 91.096 | 25.4 | 105.3 | 5.8
567 | 29/05/2016 | 1:00:00 a.m. | 1380614 | 430811 | 7.1499 | 0 | 90.872 | 25.2 | 105.2 | 5.8
566 | 29/05/2016 | 12:00:00 a.m. | 1380528 | 430799 | 7.1735 | 0 | 91.001 | 25.5 | 97.2 | 5.8
565 | 28/05/2016 | 11:00:00 p.m. | 1380455 | 430789 | 7.1628 | 0 | 91.16 | 25.6 | 162.8 | 5.81
564 | 28/05/2016 | 10:00:00 p.m. | 1380397 | 430780 | 7.178 | 0 | 91.023 | 24.5 | 1.3 | 5.81
563 | 28/05/2016 | 9:00:00 p.m. | 1380397 | 430780 | 7.2214 | 0 | 90.904 | 26.2 | 163.2 | 5.82
562 | 28/05/2016 | 8:00:00 p.m. | 1380363 | 430776 | 7.0969 | 0 | 90.786 | 27.7 | 115 | 5.82
561 | 28/05/2016 | 7:00:00 p.m. | 1380297 | 430766 | 7.0689 | 0 | 90.869 | 29.2 | 107.3 | 5.83
560 | 28/05/2016 | 6:00:00 p.m. | 1380239 | 430758 | 7.045 | 0 | 90.3 | 29.5 | 114.3 | 5.83
559 | 28/05/2016 | 5:00:00 p.m. | 1380151 | 430746 | 6.9778 | 0 | 90.585 | 30.7 | 104.9 | 5.84
558 | 28/05/2016 | 4:00:00 p.m. | 1380068 | 430734 | 7.0274 | 0 | 90.478 | 30.7 | 95.1 | 5.83
557 | 28/05/2016 | 3:00:00 p.m. | 1379986 | 430722 | 6.9915 | 0 | 90.534 | 30.3 | 90.9 | 5.83
556 | 28/05/2016 | 2:00:00 p.m. | 1379907 | 430711 | 7.0028 | 0 | 90.334 | 34.9 | 161.4 | 5.83
555 | 28/05/2016 | 1:00:00 p.m. | 1379858 | 430704 | 6.8165 | 0 | 90.36 | 38.1 | 0 | 5.83
554 | 28/05/2016 | 12:00:00 p.m. | 1379858 | 430704 | 6.8622 | 0 | 90.577 | 34.7 | 0.9 | 5.83
553 | 28/05/2016 | 11:00:00 a.m. | 1379858 | 430704 | 6.9695 | 0 | 90.539 | 29.4 | 96.7 | 5.82
552 | 28/05/2016 | 10:00:00 a.m. | 1379841 | 430701 | 7.0647 | 0 | 90.139 | 26.7 | 163.9 | 5.81
551 | 28/05/2016 | 9:00:00 a.m. | 1379706 | 430682 | 7.0922 | 0 | 90.591 | 25.5 | 231.8 | 5.8
550 | 28/05/2016 | 8:00:00 a.m. | 1379600 | 430667 | 7.0831 | 0 | 90.905 | 18.1 | 164.2 | 5.8
549 | 28/05/2016 | 7:00:00 a.m. | 1379547 | 430660 | 7.5221 | 0 | 91.201 | 15.3 | 0 | 5.8
548 | 28/05/2016 | 6:00:00 a.m. | 1379547 | 430660 | 7.4649 | 0 | 91.098 | 17 | 0 | 5.8
547 | 28/05/2016 | 5:00:00 a.m. | 1379547 | 430660 | 7.3786 | 0 | 90.934 | 17.3 | 0 | 5.8
546 | 28/05/2016 | 4:00:00 a.m. | 1379547 | 430660 | 7.3772 | 0 | 91.072 | 18 | 0 | 5.8
545 | 28/05/2016 | 3:00:00 a.m. | 1379547 | 430660 | 7.3048 | 0 | 90.972 | 19.3 | 2.3 | 5.8
544 | 28/05/2016 | 2:00:00 a.m. | 1379547 | 430660 | 7.3453 | 0 | 91.105 | 24.5 | 162.5 | 5.8
543 | 28/05/2016 | 1:00:00 a.m. | 1379486 | 430652 | 7.1828 | 0 | 90.774 | 25.3 | 99 | 5.8
542 | 28/05/2016 | 12:00:00 a.m. | 1379400 | 430640 | 7.2221 | 0 | 90.716 | 25.4 | 108 | 5.8
541 | 27/05/2016 | 11:00:00 p.m. | 1379311 | 430627 | 7.0929 | 0 | 90.998 | 20.2 | 163.4 | 5.8
540 | 27/05/2016 | 10:00:00 p.m. | 1379283 | 430623 | 7.3906 | 0 | 91.048 | 21.1 | 0 | 5.8
539 | 27/05/2016 | 9:00:00 p.m. | 1379283 | 430623 | 7.2207 | 0 | 90.945 | 23.9 | 3.2 | 5.81
538 | 27/05/2016 | 8:00:00 p.m. | 1379283 | 430623 | 7.2399 | 0 | 90.622 | 26.7 | 162.4 | 5.82
537 | 27/05/2016 | 7:00:00 p.m. | 1379192 | 430610 | 7.0467 | 0 | 90.73 | 27.6 | 131.1 | 5.82
536 | 27/05/2016 | 6:00:00 p.m. | 1379136 | 430602 | 7.1441 | 0 | 90.553 | 26.9 | 133 | 5.82
535 | 27/05/2016 | 5:00:00 p.m. | 1379073 | 430594 | 7.0607 | 0 | 90.516 | 26 | 132.5 | 5.82
534 | 27/05/2016 | 4:00:00 p.m. | 1379008 | 430584 | 7.1273 | 0 | 90.484 | 29.9 | 160.3 | 5.83
533 | 27/05/2016 | 3:00:00 p.m. | 1378942 | 430575 | 6.9432 | 0 | 90.514 | 40.1 | 160.4 | 5.83
532 | 27/05/2016 | 2:00:00 p.m. | 1378934 | 430574 | 6.8301 | 0 | 90.731 | 39.7 | 0 | 5.83
531 | 27/05/2016 | 1:00:00 p.m. | 1378934 | 430574 | 6.8142 | 0 | 90.505 | 37.6 | 0 | 5.83
530 | 27/05/2016 | 12:00:00 p.m. | 1378934 | 430574 | 6.8817 | 0 | 90.441 | 33.5 | 0 | 5.83
529 | 27/05/2016 | 11:00:00 a.m. | 1378934 | 430574 | 6.9179 | 0 | 90.528 | 28.5 | 0 | 5.82
528 | 27/05/2016 | 10:00:00 a.m. | 1378934 | 430574 | 7.1611 | 0 | 90.814 | 24.1 | 3.3 | 5.81
527 | 27/05/2016 | 9:00:00 a.m. | 1378934 | 430574 | 7.2086 | 0 | 90.814 | 25.1 | 136.8 | 5.8
526 | 27/05/2016 | 8:00:00 a.m. | 1378849 | 430562 | 7.1756 | 0 | 90.775 | 18.6 | 164.2 | 5.8
525 | 27/05/2016 | 7:00:00 a.m. | 1378782 | 430553 | 7.4764 | 0 | 91.463 | 15.3 | 0 | 5.8
524 | 27/05/2016 | 6:00:00 a.m. | 1378782 | 430553 | 7.4622 | 0 | 91.23 | 16.5 | 0 | 5.8
523 | 27/05/2016 | 5:00:00 a.m. | 1378782 | 430553 | 7.4409 | 0 | 91.298 | 16.5 | 0 | 5.8
522 | 27/05/2016 | 4:00:00 a.m. | 1378782 | 430553 | 7.4033 | 0 | 91.27 | 17.9 | 0 | 5.8
521 | 27/05/2016 | 3:00:00 a.m. | 1378782 | 430553 | 7.4149 | 0 | 91.445 | 20.2 | 4.2 | 5.8
520 | 27/05/2016 | 2:00:00 a.m. | 1378782 | 430553 | 7.2857 | 0 | 90.735 | 25.3 | 147.1 | 5.8
519 | 27/05/2016 | 1:00:00 a.m. | 1378684 | 430539 | 7.1105 | 0 | 90.904 | 21.8 | 163.3 | 5.8
518 | 27/05/2016 | 12:00:00 a.m. | 1378641 | 430533 | 7.3082 | 0 | 91.141 | 21.8 | 0 | 5.81
517 | 26/05/2016 | 11:00:00 p.m. | 1378641 | 430533 | 7.2138 | 0 | 91.175 | 23 | 0.8 | 5.81
516 | 26/05/2016 | 10:00:00 p.m. | 1378641 | 430533 | 7.2578 | 0 | 91.287 | 24.5 | 93.6 | 5.81
515 | 26/05/2016 | 9:00:00 p.m. | 1378636 | 430532 | 7.1026 | 0 | 90.884 | 26.3 | 104.4 | 5.81
514 | 26/05/2016 | 8:00:00 p.m. | 1378554 | 430521 | 7.1049 | 0 | 90.763 | 26.8 | 108.2 | 5.82
513 | 26/05/2016 | 7:00:00 p.m. | 1378471 | 430509 | 7.077 | 0 | 90.58 | 27.6 | 110.3 | 5.82
512 | 26/05/2016 | 6:00:00 p.m. | 1378389 | 430497 | 7.0961 | 0 | 90.446 | 27 | 118.2 | 5.82
511 | 26/05/2016 | 5:00:00 p.m. | 1378293 | 430484 | 7.0983 | 0 | 90.544 | 26.7 | 81.8 | 5.82
510 | 26/05/2016 | 4:00:00 p.m. | 1378224 | 430474 | 7.1189 | 0 | 90.259 | 27.4 | 76.5 | 5.82
509 | 26/05/2016 | 3:00:00 p.m. | 1378160 | 430465 | 7.0137 | 0 | 90.311 | 29.2 | 70.3 | 5.83
508 | 26/05/2016 | 2:00:00 p.m. | 1378110 | 430458 | 6.9364 | 0 | 90.235 | 30.6 | 68.6 | 5.83
507 | 26/05/2016 | 1:00:00 p.m. | 1378076 | 430453 | 6.9982 | 0 | 90.077 | 30.1 | 74.9 | 5.83
506 | 26/05/2016 | 12:00:00 p.m. | 1378050 | 430449 | 7.0379 | 0 | 90.64 | 28.3 | 32.9 | 5.82
505 | 26/05/2016 | 11:00:00 a.m. | 1378028 | 430446 | 7.0601 | 0 | 90.445 | 26.7 | 94.9 | 5.81
504 | 26/05/2016 | 10:00:00 a.m. | 1377973 | 430438 | 7.1414 | 0 | 91.277 | 24.1 | 162.9 | 5.8
503 | 26/05/2016 | 9:00:00 a.m. | 1377936 | 430433 | 7.2877 | 0 | 91.733 | 24.3 | 97.5 | 5.8
502 | 26/05/2016 | 8:00:00 a.m. | 1377885 | 430426 | 7.2628 | 0 | 91.289 | 24.3 | 74.8 | 5.8
501 | 26/05/2016 | 7:00:00 a.m. | 1377826 | 430418 | 7.2648 | 0 | 92.055 | 24.2 | 71.7 | 5.8
500 | 26/05/2016 | 6:00:00 a.m. | 1377765 | 430410 | 7.2346 | 0 | 91.775 | 20.9 | 163.5 | 5.8
499 | 26/05/2016 | 5:00:00 a.m. | 1377705 | 430401 | 7.4382 | 0 | 91.965 | 16.5 | 0 | 5.8
498 | 26/05/2016 | 4:00:00 a.m. | 1377705 | 430401 | 7.4016 | 0 | 91.309 | 17 | 0 | 5.8
497 | 26/05/2016 | 3:00:00 a.m. | 1377705 | 430401 | 7.3682 | 0 | 91.068 | 21.4 | 0 | 5.81
496 | 26/05/2016 | 2:00:00 a.m. | 1377705 | 430401 | 7.2777 | 0 | 90.921 | 21.8 | 0 | 5.81
495 | 26/05/2016 | 1:00:00 a.m. | 1377705 | 430401 | 7.2778 | 0 | 90.9 | 21.6 | 0 | 5.81
494 | 26/05/2016 | 12:00:00 a.m. | 1377705 | 430401 | 7.2822 | 0 | 90.86 | 22 | 0 | 5.81
493 | 25/05/2016 | 11:00:00 p.m. | 1377705 | 430401 | 7.2563 | 0 | 91.263 | 23.4 | 0 | 5.81
492 | 25/05/2016 | 10:00:00 p.m. | 1377705 | 430401 | 7.2266 | 0 | 91.774 | 24.9 | 0 | 5.81
491 | 25/05/2016 | 9:00:00 p.m. | 1377705 | 430401 | 7.2071 | 0 | 91.824 | 26.2 | 0 | 5.82
490 | 25/05/2016 | 8:00:00 p.m. | 1377705 | 430401 | 7.1642 | 0 | 91.455 | 28.6 | 0 | 5.83
489 | 25/05/2016 | 7:00:00 p.m. | 1377705 | 430401 | 7.1196 | 0 | 91.504 | 29 | 0 | 5.82
488 | 25/05/2016 | 6:00:00 p.m. | 1377705 | 430401 | 7.081 | 0 | 91.639 | 29.9 | 0.9 | 5.83
487 | 25/05/2016 | 5:00:00 p.m. | 1377705 | 430401 | 7.0928 | 0 | 91.561 | 31.8 | 33.7 | 5.83
486 | 25/05/2016 | 4:00:00 p.m. | 1377700 | 430401 | 7.0195 | 0 | 91.365 | 37.1 | 159.4 | 5.83
485 | 25/05/2016 | 3:00:00 p.m. | 1377684 | 430398 | 6.9944 | 0 | 91.052 | 33.1 | 143.3 | 5.83
484 | 25/05/2016 | 2:00:00 p.m. | 1377635 | 430391 | 7.0553 | 0 | 90.665 | 30.5 | 144 | 5.83
483 | 25/05/2016 | 1:00:00 p.m. | 1377584 | 430384 | 7.0236 | 0 | 90.672 | 31.5 | 143.8 | 5.83
482 | 25/05/2016 | 12:00:00 p.m. | 1377542 | 430378 | 7.0516 | 0 | 90.871 | 31.1 | 144.1 | 5.83
481 | 25/05/2016 | 11:00:00 a.m. | 1377503 | 430372 | 7.0392 | 0 | 90.379 | 28.7 | 144.8 | 5.83
480 | 25/05/2016 | 10:00:00 a.m. | 1377447 | 430364 | 7.081 | 0 | 90.774 | 25.8 | 1.4 | 5.82
479 | 25/05/2016 | 9:00:00 a.m. | 1377447 | 430364 | 7.2133 | 0 | 90.921 | 24.3 | 161.5 | 5.8
478 | 25/05/2016 | 8:00:00 a.m. | 1377416 | 430360 | 7.1798 | 0 | 90.9 | 24 | 107.5 | 5.8
477 | 25/05/2016 | 7:00:00 a.m. | 1377356 | 430352 | 7.2115 | 0 | 90.971 | 23.9 | 69.8 | 5.8
476 | 25/05/2016 | 6:00:00 a.m. | 1377297 | 430344 | 7.1912 | 0 | 91.022 | 20.4 | 163.8 | 5.8
475 | 25/05/2016 | 5:00:00 a.m. | 1377241 | 430336 | 7.4091 | 0 | 91.383 | 16.9 | 0 | 5.8
474 | 25/05/2016 | 4:00:00 a.m. | 1377241 | 430336 | 7.4034 | 0 | 91.255 | 16.9 | 0 | 5.8
473 | 25/05/2016 | 3:00:00 a.m. | 1377241 | 430336 | 7.3914 | 0 | 91.493 | 17.6 | 0 | 5.8
472 | 25/05/2016 | 2:00:00 a.m. | 1377241 | 430336 | 7.4125 | 0 | 91.477 | 18.7 | 0 | 5.8
471 | 25/05/2016 | 1:00:00 a.m. | 1377241 | 430336 | 7.3701 | 0 | 91.501 | 19.7 | 0 | 5.8
470 | 25/05/2016 | 12:00:00 a.m. | 1377241 | 430336 | 7.3163 | 0 | 91.375 | 21.5 | 0 | 5.81
469 | 24/05/2016 | 11:00:00 p.m. | 1377241 | 430336 | 7.2715 | 0 | 91.367 | 23.1 | 1 | 5.81
468 | 24/05/2016 | 10:00:00 p.m. | 1377241 | 430336 | 7.2113 | 0 | 91.283 | 25.1 | 161.5 | 5.82
467 | 24/05/2016 | 9:00:00 p.m. | 1377225 | 430334 | 7.2078 | 0 | 91.17 | 26.4 | 160.8 | 5.82
466 | 24/05/2016 | 8:00:00 p.m. | 1377182 | 430328 | 7.1785 | 0 | 92.018 | 27.2 | 42.1 | 5.83
465 | 24/05/2016 | 7:00:00 p.m. | 1377151 | 430323 | 7.1812 | 0 | 91.851 | 27.9 | 48.3 | 5.82
464 | 24/05/2016 | 6:00:00 p.m. | 1377113 | 430318 | 7.1658 | 0 | 91.946 | 28.3 | 63.4 | 5.83
463 | 24/05/2016 | 5:00:00 p.m. | 1377080 | 430313 | 7.1261 | 0 | 91.536 | 29.4 | 150.3 | 5.83
462 | 24/05/2016 | 4:00:00 p.m. | 1377053 | 430310 | 7.0604 | 0 | 90.663 | 29.6 | 158.9 | 5.83
461 | 24/05/2016 | 3:00:00 p.m. | 1377029 | 430306 | 7.0359 | 0 | 90.486 | 30.4 | 86.4 | 5.83
460 | 24/05/2016 | 2:00:00 p.m. | 1376960 | 430296 | 7.0245 | 0 | 90.393 | 34.4 | 159.2 | 5.83
459 | 24/05/2016 | 1:00:00 p.m. | 1376896 | 430287 | 6.8222 | 0 | 90.495 | 37.9 | 0 | 5.83
458 | 24/05/2016 | 12:00:00 p.m. | 1376896 | 430287 | 6.8364 | 0 | 90.559 | 34.8 | 0 | 5.83
457 | 24/05/2016 | 11:00:00 a.m. | 1376896 | 430287 | 6.9617 | 0 | 90.671 | 29.8 | 0 | 5.83
456 | 24/05/2016 | 10:00:00 a.m. | 1376896 | 430287 | 7.1126 | 0 | 90.867 | 24 | 0 | 5.82
455 | 24/05/2016 | 9:00:00 a.m. | 1376896 | 430287 | 7.3035 | 0 | 91.156 | 18.6 | 1.5 | 5.8
454 | 24/05/2016 | 8:00:00 a.m. | 1376896 | 430287 | 7.3799 | 0 | 91.188 | 18.5 | 162.1 | 5.8
453 | 24/05/2016 | 7:00:00 a.m. | 1376882 | 430285 | 7.4279 | 0 | 91.3 | 15 | 15.8 | 5.8
452 | 24/05/2016 | 6:00:00 a.m. | 1376881 | 430285 | 7.4451 | 0 | 91.358 | 15.3 | 0 | 5.8
451 | 24/05/2016 | 5:00:00 a.m. | 1376881 | 430285 | 7.4447 | 0 | 91.383 | 16.4 | 0 | 5.8
450 | 24/05/2016 | 4:00:00 a.m. | 1376881 | 430285 | 7.3993 | 0 | 91.334 | 18.2 | 1.7 | 5.8
449 | 24/05/2016 | 3:00:00 a.m. | 1376881 | 430285 | 7.3681 | 0 | 91.219 | 22.6 | 56.4 | 5.8
448 | 24/05/2016 | 2:00:00 a.m. | 1376859 | 430282 | 7.1922 | 0 | 90.998 | 24.4 | 72.3 | 5.8
447 | 24/05/2016 | 1:00:00 a.m. | 1376806 | 430275 | 7.206 | 0 | 90.986 | 24.2 | 161.2 | 5.8
446 | 24/05/2016 | 12:00:00 a.m. | 1376740 | 430266 | 7.2944 | 0 | 91.12 | 21.2 | 0 | 5.81
445 | 23/05/2016 | 11:00:00 p.m. | 1376740 | 430266 | 7.2826 | 0 | 91.423 | 22 | 0 | 5.81
444 | 23/05/2016 | 10:00:00 p.m. | 1376740 | 430266 | 7.286 | 0 | 91.264 | 22.6 | 0 | 5.81
443 | 23/05/2016 | 9:00:00 p.m. | 1376740 | 430266 | 7.2252 | 0 | 91.274 | 24 | 0.8 | 5.82
442 | 23/05/2016 | 8:00:00 p.m. | 1376740 | 430266 | 7.1985 | 0 | 91.266 | 25.8 | 98.3 | 5.82
441 | 23/05/2016 | 7:00:00 p.m. | 1376728 | 430264 | 7.1108 | 0 | 91.2 | 27.2 | 159 | 5.82
440 | 23/05/2016 | 6:00:00 p.m. | 1376717 | 430262 | 7.1277 | 0 | 90.976 | 28.6 | 158.4 | 5.83
439 | 23/05/2016 | 5:00:00 p.m. | 1376665 | 430255 | 7.0849 | 0 | 90.966 | 30.9 | 33.6 | 5.83
438 | 23/05/2016 | 4:00:00 p.m. | 1376640 | 430251 | 6.9909 | 0 | 90.889 | 31.8 | 33.9 | 5.83
437 | 23/05/2016 | 3:00:00 p.m. | 1376614 | 430248 | 6.9822 | 0 | 90.942 | 31.8 | 30.3 | 5.83
436 | 23/05/2016 | 2:00:00 p.m. | 1376589 | 430244 | 7.0306 | 0 | 90.773 | 32.3 | 30.7 | 5.83
435 | 23/05/2016 | 1:00:00 p.m. | 1376562 | 430240 | 6.988 | 0 | 90.657 | 30.9 | 157.8 | 5.83
434 | 23/05/2016 | 12:00:00 p.m. | 1376524 | 430235 | 6.9363 | 0 | 90.752 | 30.1 | 48.2 | 5.83
433 | 23/05/2016 | 11:00:00 a.m. | 1376494 | 430231 | 7.0436 | 0 | 90.96 | 28 | 41.3 | 5.83
432 | 23/05/2016 | 10:00:00 a.m. | 1376462 | 430226 | 7.1401 | 0 | 90.631 | 26.5 | 160.5 | 5.82
431 | 23/05/2016 | 9:00:00 a.m. | 1376371 | 430213 | 7.1191 | 0 | 91.199 | 23.1 | 160.9 | 5.8
430 | 23/05/2016 | 8:00:00 a.m. | 1376343 | 430209 | 7.2637 | 0 | 91.395 | 19.1 | 133 | 5.8
429 | 23/05/2016 | 7:00:00 a.m. | 1376313 | 430205 | 7.4838 | 0 | 91.74 | 16.4 | 0 | 5.8
428 | 23/05/2016 | 6:00:00 a.m. | 1376313 | 430205 | 7.4363 | 0 | 91.849 | 17.3 | 0 | 5.8
427 | 23/05/2016 | 5:00:00 a.m. | 1376313 | 430205 | 7.3977 | 0 | 91.696 | 18.1 | 0 | 5.8
426 | 23/05/2016 | 4:00:00 a.m. | 1376313 | 430205 | 7.3955 | 0 | 91.648 | 18.4 | 0 | 5.8
425 | 23/05/2016 | 3:00:00 a.m. | 1376313 | 430205 | 7.3927 | 0 | 91.577 | 19.4 | 0 | 5.8
424 | 23/05/2016 | 2:00:00 a.m. | 1376313 | 430205 | 7.3206 | 0 | 91.65 | 20.8 | 1 | 5.81
423 | 23/05/2016 | 1:00:00 a.m. | 1376313 | 430205 | 7.3055 | 0 | 91.588 | 24.1 | 160.8 | 5.81
422 | 23/05/2016 | 12:00:00 a.m. | 1376286 | 430201 | 7.1665 | 0 | 91.775 | 25 | 160.5 | 5.81
421 | 22/05/2016 | 11:00:00 p.m. | 1376209 | 430191 | 7.3243 | 0 | 91.808 | 23.9 | 0 | 5.82
420 | 22/05/2016 | 10:00:00 p.m. | 1376209 | 430191 | 7.2989 | 0 | 91.694 | 25.4 | 0 | 5.82
419 | 22/05/2016 | 9:00:00 p.m. | 1376209 | 430191 | 7.1616 | 0 | 91.658 | 27.3 | 0 | 5.82
418 | 22/05/2016 | 8:00:00 p.m. | 1376209 | 430191 | 7.1647 | 0 | 91.555 | 31.6 | 0 | 5.83
417 | 22/05/2016 | 7:00:00 p.m. | 1376209 | 430191 | 6.9278 | 0 | 91.299 | 35.9 | 1.3 | 5.83
416 | 22/05/2016 | 6:00:00 p.m. | 1376209 | 430191 | 6.9087 | 0 | 91.02 | 35.8 | 72.2 | 5.84
415 | 22/05/2016 | 5:00:00 p.m. | 1376193 | 430188 | 6.8305 | 0 | 91.056 | 41.6 | 0 | 5.84
414 | 22/05/2016 | 4:00:00 p.m. | 1376193 | 430188 | 6.8276 | 0 | 90.893 | 41.5 | 0 | 5.83
413 | 22/05/2016 | 3:00:00 p.m. | 1376193 | 430188 | 6.7354 | 0 | 90.742 | 42.3 | 0 | 5.83
412 | 22/05/2016 | 2:00:00 p.m. | 1376193 | 430188 | 6.7473 | 0 | 90.805 | 40.8 | 0 | 5.83
411 | 22/05/2016 | 1:00:00 p.m. | 1376193 | 430188 | 6.798 | 0 | 90.644 | 38.4 | 0 | 5.83
410 | 22/05/2016 | 12:00:00 p.m. | 1376193 | 430188 | 6.8684 | 0 | 90.761 | 34.2 | 0.9 | 5.83
409 | 22/05/2016 | 11:00:00 a.m. | 1376193 | 430188 | 6.9915 | 0 | 90.868 | 29.1 | 113.8 | 5.82
408 | 22/05/2016 | 10:00:00 a.m. | 1376170 | 430185 | 7.1603 | 0 | 91.267 | 24.5 | 0 | 5.82
407 | 22/05/2016 | 9:00:00 a.m. | 1376170 | 430185 | 7.2279 | 0 | 91.234 | 18.8 | 0 | 5.8
406 | 22/05/2016 | 8:00:00 a.m. | 1376170 | 430185 | 7.4379 | 0 | 91.253 | 16.1 | 0 | 5.8
405 | 22/05/2016 | 7:00:00 a.m. | 1376170 | 430185 | 7.4262 | 0 | 91.602 | 17 | 0 | 5.8
404 | 22/05/2016 | 6:00:00 a.m. | 1376170 | 430185 | 7.3944 | 0 | 91.434 | 18.1 | 0 | 5.8
403 | 22/05/2016 | 5:00:00 a.m. | 1376170 | 430185 | 7.41 | 0 | 91.417 | 18.6 | 0 | 5.8
402 | 22/05/2016 | 4:00:00 a.m. | 1376170 | 430185 | 7.406 | 0 | 91.606 | 19 | 0 | 5.8
401 | 22/05/2016 | 3:00:00 a.m. | 1376170 | 430185 | 7.3514 | 0 | 91.746 | 19.6 | 0 | 5.8
400 | 22/05/2016 | 2:00:00 a.m. | 1376170 | 430185 | 7.3817 | 0 | 91.824 | 21.1 | 0 | 5.81
399 | 22/05/2016 | 1:00:00 a.m. | 1376170 | 430185 | 7.2808 | 0 | 91.615 | 22.8 | 0 | 5.81
398 | 22/05/2016 | 12:00:00 a.m. | 1376170 | 430185 | 7.2419 | 0 | 91.747 | 23.9 | 1.1 | 5.81
397 | 21/05/2016 | 11:00:00 p.m. | 1376170 | 430185 | 7.2492 | 0 | 91.536 | 25 | 160.5 | 5.81
396 | 21/05/2016 | 10:00:00 p.m. | 1376151 | 430183 | 7.1703 | 0 | 91.394 | 26.1 | 59 | 5.82
395 | 21/05/2016 | 9:00:00 p.m. | 1376104 | 430176 | 7.1643 | 0 | 91.514 | 26.8 | 61.1 | 5.82
394 | 21/05/2016 | 8:00:00 p.m. | 1376058 | 430170 | 7.1317 | 0 | 91.196 | 27.9 | 92.5 | 5.83
393 | 21/05/2016 | 7:00:00 p.m. | 1375997 | 430161 | 7.07 | 0 | 90.933 | 29.4 | 105 | 5.84
392 | 21/05/2016 | 6:00:00 p.m. | 1375917 | 430150 | 7.1042 | 0 | 90.871 | 30.3 | 101.6 | 5.84
391 | 21/05/2016 | 5:00:00 p.m. | 1375835 | 430138 | 7.0428 | 0 | 90.696 | 30.2 | 104 | 5.84
390 | 21/05/2016 | 4:00:00 p.m. | 1375753 | 430126 | 7.0465 | 0 | 90.845 | 30.6 | 96.5 | 5.84
389 | 21/05/2016 | 3:00:00 p.m. | 1375675 | 430115 | 7.0179 | 0 | 90.606 | 32.7 | 159.8 | 5.83
388 | 21/05/2016 | 2:00:00 p.m. | 1375588 | 430103 | 6.7665 | 0 | 90.918 | 40.9 | 0 | 5.83
387 | 21/05/2016 | 1:00:00 p.m. | 1375588 | 430103 | 6.8011 | 0 | 90.576 | 38.5 | 0 | 5.83
386 | 21/05/2016 | 12:00:00 p.m. | 1375588 | 430103 | 6.8156 | 0 | 90.53 | 35.1 | 0 | 5.83
385 | 21/05/2016 | 11:00:00 a.m. | 1375588 | 430103 | 6.9732 | 0 | 90.614 | 30.4 | 0 | 5.82
384 | 21/05/2016 | 10:00:00 a.m. | 1375588 | 430103 | 7.1199 | 0 | 90.932 | 24.9 | 1.9 | 5.81
383 | 21/05/2016 | 9:00:00 a.m. | 1375588 | 430103 | 7.2448 | 0 | 91.032 | 24.1 | 163.8 | 5.8
382 | 21/05/2016 | 8:00:00 a.m. | 1375525 | 430094 | 7.2843 | 0 | 91.105 | 23.4 | 164.5 | 5.8
381 | 21/05/2016 | 7:00:00 a.m. | 1375426 | 430080 | 7.5989 | 0 | 91.71 | 13.2 | 0 | 5.8
380 | 21/05/2016 | 6:00:00 a.m. | 1375426 | 430080 | 7.5564 | 0 | 91.277 | 14.4 | 0 | 5.8
379 | 21/05/2016 | 5:00:00 a.m. | 1375426 | 430080 | 7.3895 | 0 | 91.124 | 15.5 | 0 | 5.8
378 | 21/05/2016 | 4:00:00 a.m. | 1375426 | 430080 | 7.4312 | 0 | 91.019 | 16.1 | 0 | 5.8
377 | 21/05/2016 | 3:00:00 a.m. | 1375426 | 430080 | 7.4305 | 0 | 90.964 | 16.5 | 0 | 5.8
376 | 21/05/2016 | 2:00:00 a.m. | 1375426 | 430080 | 7.4313 | 0 | 91.032 | 17.2 | 0 | 5.8
375 | 21/05/2016 | 1:00:00 a.m. | 1375426 | 430080 | 7.3884 | 0 | 90.936 | 18.9 | 0 | 5.8
374 | 21/05/2016 | 12:00:00 a.m. | 1375426 | 430080 | 7.278 | 0 | 91.289 | 21 | 0 | 5.81
373 | 20/05/2016 | 11:00:00 p.m. | 1375426 | 430080 | 7.2555 | 0 | 90.932 | 23.1 | 1.8 | 5.81
372 | 20/05/2016 | 10:00:00 p.m. | 1375426 | 430080 | 7.2032 | 0 | 90.585 | 25.6 | 161.4 | 5.82
371 | 20/05/2016 | 9:00:00 p.m. | 1375374 | 430073 | 7.1421 | 0 | 90.511 | 27.4 | 161.4 | 5.82
370 | 20/05/2016 | 8:00:00 p.m. | 1375298 | 430062 | 7.0572 | 0 | 90.909 | 32.8 | 0 | 5.83
369 | 20/05/2016 | 7:00:00 p.m. | 1375298 | 430062 | 6.9243 | 0 | 90.737 | 37.6 | 0 | 5.84
368 | 20/05/2016 | 6:00:00 p.m. | 1375298 | 430062 | 6.835 | 0 | 90.847 | 40.6 | 0 | 5.84
367 | 20/05/2016 | 5:00:00 p.m. | 1375298 | 430062 | 6.7876 | 0 | 90.673 | 42 | 0 | 5.84
366 | 20/05/2016 | 4:00:00 p.m. | 1375298 | 430062 | 6.7337 | 0 | 90.578 | 42.2 | 0 | 5.83
365 | 20/05/2016 | 3:00:00 p.m. | 1375298 | 430062 | 6.7719 | 0 | 90.656 | 41.5 | 0 | 5.83
364 | 20/05/2016 | 2:00:00 p.m. | 1375298 | 430062 | 6.7995 | 0 | 90.609 | 38.8 | 1.4 | 5.83
363 | 20/05/2016 | 1:00:00 p.m. | 1375298 | 430062 | 6.8011 | 0 | 90.285 | 31.4 | 85.7 | 5.83
362 | 20/05/2016 | 12:00:00 p.m. | 1375266 | 430058 | 7.0018 | 0 | 90.152 | 29 | 159.8 | 5.83
361 | 20/05/2016 | 11:00:00 a.m. | 1375198 | 430048 | 7.0164 | 0 | 90.214 | 27.4 | 115.8 | 5.82
360 | 20/05/2016 | 10:00:00 a.m. | 1375095 | 430033 | 7.1093 | 0 | 90.57 | 24.2 | 162.1 | 5.81
359 | 20/05/2016 | 9:00:00 a.m. | 1375018 | 430023 | 7.2886 | 0 | 91.091 | 16.2 | 14.2 | 5.8
358 | 20/05/2016 | 8:00:00 a.m. | 1375011 | 430022 | 7.4635 | 0 | 91.09 | 12.8 | 0.9 | 5.8
357 | 20/05/2016 | 7:00:00 a.m. | 1375011 | 430022 | 7.4415 | 0 | 91.171 | 18.2 | 110.4 | 5.8
356 | 20/05/2016 | 6:00:00 a.m. | 1374997 | 430020 | 7.1864 | 0 | 90.983 | 22.6 | 162 | 5.8
355 | 20/05/2016 | 5:00:00 a.m. | 1374899 | 430006 | 7.4447 | 0 | 91.334 | 17.5 | 17.9 | 5.8
354 | 20/05/2016 | 4:00:00 a.m. | 1374899 | 430006 | 7.2688 | 0 | 91.051 | 24.5 | 117.4 | 5.8
353 | 20/05/2016 | 3:00:00 a.m. | 1374804 | 429993 | 7.1877 | 0 | 91.161 | 24.7 | 111.7 | 5.8
352 | 20/05/2016 | 2:00:00 a.m. | 1374704 | 429979 | 7.2128 | 0 | 91.001 | 24.9 | 118.5 | 5.8
351 | 20/05/2016 | 1:00:00 a.m. | 1374604 | 429965 | 7.1925 | 0 | 91.197 | 20.2 | 161 | 5.8
350 | 20/05/2016 | 12:00:00 a.m. | 1374562 | 429959 | 7.2877 | 0 | 91.242 | 19.6 | 0 | 5.8
349 | 19/05/2016 | 11:00:00 p.m. | 1374562 | 429959 | 7.3231 | 0 | 91.227 | 21.7 | 2.1 | 5.81
348 | 19/05/2016 | 10:00:00 p.m. | 1374562 | 429959 | 7.2012 | 0 | 90.949 | 25.5 | 137.1 | 5.82
347 | 19/05/2016 | 9:00:00 p.m. | 1374493 | 429950 | 7.1531 | 0 | 90.772 | 26.5 | 160.6 | 5.81
346 | 19/05/2016 | 8:00:00 p.m. | 1374400 | 429937 | 7.134 | 0 | 91.063 | 28.7 | 0 | 5.83
345 | 19/05/2016 | 7:00:00 p.m. | 1374400 | 429937 | 7.0486 | 0 | 90.884 | 33.6 | 0 | 5.83
344 | 19/05/2016 | 6:00:00 p.m. | 1374400 | 429937 | 6.8717 | 0 | 90.642 | 36.6 | 1.1 | 5.83
343 | 19/05/2016 | 5:00:00 p.m. | 1374400 | 429937 | 6.875 | 0 | 90.553 | 32.2 | 138.4 | 5.83
342 | 19/05/2016 | 4:00:00 p.m. | 1374366 | 429932 | 7.0101 | 0 | 90.22 | 29.7 | 96.4 | 5.83
341 | 19/05/2016 | 3:00:00 p.m. | 1374287 | 429920 | 7.0045 | 0 | 90.375 | 30.6 | 70.1 | 5.83
340 | 19/05/2016 | 2:00:00 p.m. | 1374236 | 429913 | 6.9675 | 0 | 90.407 | 29.2 | 111.3 | 5.83
339 | 19/05/2016 | 1:00:00 p.m. | 1374171 | 429904 | 7.0275 | 0 | 90.3 | 28.4 | 112.2 | 5.83
338 | 19/05/2016 | 12:00:00 p.m. | 1374073 | 429890 | 7.0726 | 0 | 90.314 | 28.2 | 160.1 | 5.83
337 | 19/05/2016 | 11:00:00 a.m. | 1373966 | 429875 | 7.0497 | 0 | 90.579 | 28.6 | 161.4 | 5.82
336 | 19/05/2016 | 10:00:00 a.m. | 1373949 | 429872 | 7.1282 | 0 | 90.78 | 22.5 | 0 | 5.81
335 | 19/05/2016 | 9:00:00 a.m. | 1373949 | 429872 | 7.3847 | 0 | 90.976 | 15.8 | 0 | 5.8
334 | 19/05/2016 | 8:00:00 a.m. | 1373949 | 429872 | 7.5069 | 0 | 91.281 | 13.4 | 0 | 5.8
333 | 19/05/2016 | 7:00:00 a.m. | 1373949 | 429872 | 7.4843 | 0 | 91.505 | 17.3 | 19.5 | 5.8
332 | 19/05/2016 | 6:00:00 a.m. | 1373949 | 429872 | 7.209 | 0 | 91.186 | 23 | 164.4 | 5.8
331 | 19/05/2016 | 5:00:00 a.m. | 1373869 | 429861 | 7.2188 | 0 | 91.17 | 24.6 | 119.7 | 5.8
330 | 19/05/2016 | 4:00:00 a.m. | 1373765 | 429847 | 7.1636 | 0 | 91.152 | 25 | 121.1 | 5.8
329 | 19/05/2016 | 3:00:00 a.m. | 1373658 | 429832 | 7.2355 | 0 | 91.164 | 25.1 | 120.1 | 5.8
328 | 19/05/2016 | 2:00:00 a.m. | 1373549 | 429817 | 7.1639 | 0 | 90.896 | 25.6 | 121.6 | 5.8
327 | 19/05/2016 | 1:00:00 a.m. | 1373438 | 429801 | 7.1399 | 0 | 91.076 | 22.2 | 161.7 | 5.8
326 | 19/05/2016 | 12:00:00 a.m. | 1373401 | 429796 | 7.2602 | 0 | 91.199 | 22 | 1.1 | 5.81
325 | 18/05/2016 | 11:00:00 p.m. | 1373401 | 429796 | 7.2606 | 0 | 91.222 | 24.3 | 160.1 | 5.81
324 | 18/05/2016 | 10:00:00 p.m. | 1373382 | 429793 | 7.1549 | 0 | 90.79 | 25.6 | 113.4 | 5.81
323 | 18/05/2016 | 9:00:00 p.m. | 1373324 | 429785 | 7.161 | 0 | 91.032 | 25.8 | 62.1 | 5.81
322 | 18/05/2016 | 8:00:00 p.m. | 1373279 | 429779 | 7.1662 | 0 | 90.984 | 27.1 | 59.9 | 5.83
321 | 18/05/2016 | 7:00:00 p.m. | 1373233 | 429773 | 7.0672 | 0 | 90.833 | 28.9 | 65.2 | 5.83
320 | 18/05/2016 | 6:00:00 p.m. | 1373187 | 429766 | 7.0511 | 0 | 90.713 | 30.5 | 60.4 | 5.83
319 | 18/05/2016 | 5:00:00 p.m. | 1373140 | 429759 | 7.0089 | 0 | 90.741 | 29.1 | 117.6 | 5.83
318 | 18/05/2016 | 4:00:00 p.m. | 1373047 | 429746 | 7.0746 | 0 | 90.476 | 29.2 | 159.8 | 5.83
317 | 18/05/2016 | 3:00:00 p.m. | 1372934 | 429730 | 6.921 | 0 | 90.896 | 37.5 | 0 | 5.83
316 | 18/05/2016 | 2:00:00 p.m. | 1372933 | 429730 | 6.8319 | 0 | 90.756 | 40 | 0 | 5.83
315 | 18/05/2016 | 1:00:00 p.m. | 1372933 | 429730 | 6.7678 | 0 | 90.748 | 37.8 | 0 | 5.83
314 | 18/05/2016 | 12:00:00 p.m. | 1372933 | 429730 | 6.9225 | 0 | 90.75 | 33.6 | 2.4 | 5.83
313 | 18/05/2016 | 11:00:00 a.m. | 1372933 | 429730 | 6.9941 | 0 | 90.456 | 27.9 | 136.2 | 5.83
312 | 18/05/2016 | 10:00:00 a.m. | 1372854 | 429719 | 7.0504 | 0 | 90.41 | 24.2 | 161.2 | 5.81
311 | 18/05/2016 | 9:00:00 a.m. | 1372777 | 429708 | 7.3341 | 0 | 91.094 | 17.2 | 0 | 5.8
310 | 18/05/2016 | 8:00:00 a.m. | 1372777 | 429708 | 7.4368 | 0 | 91.23 | 15.7 | 1.1 | 5.8
309 | 18/05/2016 | 7:00:00 a.m. | 1372777 | 429708 | 7.4432 | 0 | 91.324 | 21.4 | 120.6 | 5.8
308 | 18/05/2016 | 6:00:00 a.m. | 1372744 | 429703 | 7.1563 | 0 | 90.682 | 25.2 | 122.3 | 5.8
307 | 18/05/2016 | 5:00:00 a.m. | 1372631 | 429688 | 7.1132 | 0 | 90.735 | 25.4 | 121.8 | 5.8
306 | 18/05/2016 | 4:00:00 a.m. | 1372521 | 429672 | 7.153 | 0 | 90.94 | 25.3 | 117.2 | 5.8
305 | 18/05/2016 | 3:00:00 a.m. | 1372411 | 429657 | 7.1881 | 0 | 90.242 | 25.2 | 120.2 | 5.8
304 | 18/05/2016 | 2:00:00 a.m. | 1372301 | 429641 | 7.1298 | 0 | 90.822 | 20.6 | 162.2 | 5.8
303 | 18/05/2016 | 1:00:00 a.m. | 1372243 | 429633 | 7.2876 | 0 | 90.367 | 19.1 | 0 | 5.8
302 | 18/05/2016 | 12:00:00 a.m. | 1372243 | 429633 | 7.2543 | 0 | 90.381 | 20.8 | 0 | 5.81
301 | 17/05/2016 | 11:00:00 p.m. | 1372243 | 429633 | 7.2389 | 0 | 90.304 | 21.4 | 0 | 5.81
300 | 17/05/2016 | 10:00:00 p.m. | 1372243 | 429633 | 7.2269 | 0 | 90.296 | 23.1 | 0 | 5.81
299 | 17/05/2016 | 9:00:00 p.m. | 1372243 | 429633 | 7.2117 | 0 | 90.261 | 25.1 | 0 | 5.82
298 | 17/05/2016 | 8:00:00 p.m. | 1372243 | 429633 | 7.1546 | 0 | 90.257 | 27.5 | 0 | 5.82
297 | 17/05/2016 | 7:00:00 p.m. | 1372243 | 429633 | 7.0275 | 0 | 90.137 | 31.5 | 0 | 5.83
296 | 17/05/2016 | 6:00:00 p.m. | 1372243 | 429633 | 6.9585 | 0 | 90.035 | 32.3 | 0 | 5.83
295 | 17/05/2016 | 5:00:00 p.m. | 1372243 | 429633 | 6.8819 | 0 | 90.08 | 32 | 16.1 | 5.83
294 | 17/05/2016 | 4:00:00 p.m. | 1372243 | 429633 | 7.004 | 0 | 89.765 | 30 | 157.4 | 5.83
293 | 17/05/2016 | 3:00:00 p.m. | 1372196 | 429626 | 6.9641 | 0 | 89.406 | 29.9 | 118.8 | 5.83
292 | 17/05/2016 | 2:00:00 p.m. | 1372109 | 429614 | 6.9293 | 0 | 89.695 | 30.2 | 69.9 | 5.83
291 | 17/05/2016 | 1:00:00 p.m. | 1372061 | 429607 | 6.9657 | 0 | 89.623 | 29.4 | 51.8 | 5.83
290 | 17/05/2016 | 12:00:00 p.m. | 1372014 | 429600 | 6.9732 | 0 | 89.567 | 28.6 | 59.9 | 5.83
289 | 17/05/2016 | 11:00:00 a.m. | 1371967 | 429594 | 6.9809 | 0 | 89.599 | 27.4 | 116.3 | 5.82
288 | 17/05/2016 | 10:00:00 a.m. | 1371888 | 429582 | 7.023 | 0 | 89.723 | 24.2 | 160.8 | 5.81
287 | 17/05/2016 | 9:00:00 a.m. | 1371817 | 429572 | 7.2302 | 0 | 90.202 | 20.7 | 120.6 | 5.8
286 | 17/05/2016 | 8:00:00 a.m. | 1371816 | 429572 | 7.1131 | 0 | 90.003 | 24.5 | 137 | 5.8
285 | 17/05/2016 | 7:00:00 a.m. | 1371710 | 429557 | 7.1438 | 0 | 90.386 | 18.3 | 162.8 | 5.8
284 | 17/05/2016 | 6:00:00 a.m. | 1371679 | 429553 | 7.2677 | 0 | 90.215 | 23.9 | 116.4 | 5.8
283 | 17/05/2016 | 5:00:00 a.m. | 1371597 | 429541 | 7.1451 | 0 | 90.102 | 25 | 119.2 | 5.8
282 | 17/05/2016 | 4:00:00 a.m. | 1371488 | 429526 | 7.1005 | 0 | 90.112 | 25 | 118.8 | 5.8
281 | 17/05/2016 | 3:00:00 a.m. | 1371380 | 429511 | 7.1158 | 0 | 90.069 | 25.2 | 119.5 | 5.8
280 | 17/05/2016 | 2:00:00 a.m. | 1371275 | 429496 | 7.0955 | 0 | 90.223 | 20.5 | 162.8 | 5.8
279 | 17/05/2016 | 1:00:00 a.m. | 1371204 | 429486 | 7.3771 | 0 | 90.594 | 17.6 | 0 | 5.8
278 | 17/05/2016 | 12:00:00 a.m. | 1371204 | 429486 | 7.3062 | 0 | 90.41 | 18.8 | 0 | 5.8
277 | 16/05/2016 | 11:00:00 p.m. | 1371204 | 429486 | 7.295 | 0 | 90.402 | 20.4 | 0 | 5.8
276 | 16/05/2016 | 10:00:00 p.m. | 1371204 | 429486 | 7.2076 | 0 | 90.502 | 22 | 0 | 5.81
275 | 16/05/2016 | 9:00:00 p.m. | 1371204 | 429486 | 7.1727 | 0 | 90.395 | 23.9 | 0 | 5.82
274 | 16/05/2016 | 8:00:00 p.m. | 1371204 | 429486 | 7.0987 | 0 | 90.407 | 26.8 | 0 | 5.82
273 | 16/05/2016 | 7:00:00 p.m. | 1371204 | 429486 | 7.0262 | 0 | 90.19 | 30.9 | 0 | 5.83
272 | 16/05/2016 | 6:00:00 p.m. | 1371204 | 429486 | 6.8916 | 0 | 90.346 | 34 | 0 | 5.83
271 | 16/05/2016 | 5:00:00 p.m. | 1371204 | 429486 | 6.8771 | 0 | 90.323 | 35.6 | 0 | 5.83
270 | 16/05/2016 | 4:00:00 p.m. | 1371204 | 429486 | 6.9495 | 0 | 90.358 | 33.4 | 0 | 5.83
269 | 16/05/2016 | 3:00:00 p.m. | 1371204 | 429486 | 6.9205 | 0 | 90.253 | 33.2 | 8.8 | 5.83
268 | 16/05/2016 | 2:00:00 p.m. | 1371204 | 429486 | 6.9947 | 0 | 89.955 | 28.7 | 138.1 | 5.83
267 | 16/05/2016 | 1:00:00 p.m. | 1371135 | 429476 | 7.0432 | 0 | 89.948 | 27.9 | 91.2 | 5.83
266 | 16/05/2016 | 12:00:00 p.m. | 1371057 | 429465 | 6.997 | 0 | 89.956 | 28.8 | 160.8 | 5.82
265 | 16/05/2016 | 11:00:00 a.m. | 1370997 | 429457 | 7.0112 | 0 | 90.272 | 28.8 | 0 | 5.82
264 | 16/05/2016 | 10:00:00 a.m. | 1370997 | 429457 | 7.1029 | 0 | 90.425 | 24.5 | 2.1 | 5.81
263 | 16/05/2016 | 9:00:00 a.m. | 1370997 | 429457 | 7.1781 | 0 | 90.238 | 24.6 | 117.7 | 5.8
262 | 16/05/2016 | 8:00:00 a.m. | 1370927 | 429447 | 7.0977 | 0 | 90.082 | 24.7 | 117.4 | 5.8
261 | 16/05/2016 | 7:00:00 a.m. | 1370818 | 429432 | 7.1163 | 0 | 90.216 | 24.6 | 116.3 | 5.8
260 | 16/05/2016 | 6:00:00 a.m. | 1370712 | 429417 | 7.1419 | 0 | 90.324 | 24.8 | 117.6 | 5.8
259 | 16/05/2016 | 5:00:00 a.m. | 1370606 | 429402 | 7.1396 | 0 | 90.205 | 24.3 | 164.3 | 5.8
258 | 16/05/2016 | 4:00:00 a.m. | 1370485 | 429385 | 7.2681 | 0 | 90.68 | 21 | 16.3 | 5.8
257 | 16/05/2016 | 3:00:00 a.m. | 1370469 | 429383 | 7.2939 | 0 | 90.825 | 19.1 | 16.1 | 5.8
256 | 16/05/2016 | 2:00:00 a.m. | 1370461 | 429381 | 7.3466 | 0 | 90.722 | 18.2 | 0 | 5.8
255 | 16/05/2016 | 1:00:00 a.m. | 1370461 | 429381 | 7.2479 | 0 | 90.819 | 18.4 | 0 | 5.8
254 | 16/05/2016 | 12:00:00 a.m. | 1370461 | 429381 | 7.2628 | 0 | 90.796 | 18.8 | 0 | 5.8
253 | 15/05/2016 | 11:00:00 p.m. | 1370461 | 429381 | 7.2857 | 0 | 90.831 | 19.1 | 0 | 5.8
252 | 15/05/2016 | 10:00:00 p.m. | 1370461 | 429381 | 7.3258 | 0 | 90.629 | 19.5 | 0 | 5.8
251 | 15/05/2016 | 9:00:00 p.m. | 1370461 | 429381 | 7.3092 | 0 | 90.474 | 20.1 | 0 | 5.8
250 | 15/05/2016 | 8:00:00 p.m. | 1370461 | 429381 | 7.2624 | 0 | 90.44 | 20.8 | 0 | 5.8
249 | 15/05/2016 | 7:00:00 p.m. | 1370461 | 429381 | 7.2324 | 0 | 90.507 | 21.5 | 1.1 | 5.81
248 | 15/05/2016 | 6:00:00 p.m. | 1370461 | 429381 | 7.2391 | 0 | 90.494 | 21.6 | 96.8 | 5.8
247 | 15/05/2016 | 5:00:00 p.m. | 1370443 | 429379 | 7.2669 | 0 | 90.733 | 19.5 | 0 | 5.8
246 | 15/05/2016 | 4:00:00 p.m. | 1370443 | 429379 | 7.296 | 0 | 90.702 | 18.9 | 0 | 5.8
245 | 15/05/2016 | 3:00:00 p.m. | 1370443 | 429379 | 7.2906 | 0 | 90.761 | 22.2 | 0 | 5.81
244 | 15/05/2016 | 2:00:00 p.m. | 1370443 | 429379 | 7.1488 | 0 | 91.136 | 28.6 | 0 | 5.82
243 | 15/05/2016 | 1:00:00 p.m. | 1370443 | 429379 | 7.0043 | 0 | 90.577 | 31.1 | 0 | 5.82
242 | 15/05/2016 | 12:00:00 p.m. | 1370443 | 429379 | 6.9785 | 0 | 90.623 | 28 | 0.8 | 5.82
241 | 15/05/2016 | 11:00:00 a.m. | 1370443 | 429379 | 7.0792 | 0 | 90.532 | 26.2 | 130.4 | 5.81
240 | 15/05/2016 | 10:00:00 a.m. | 1370423 | 429376 | 7.1345 | 0 | 90.754 | 21.3 | 129.9 | 5.8
239 | 15/05/2016 | 9:00:00 a.m. | 1370414 | 429375 | 7.2985 | 0 | 90.92 | 18.9 | 0 | 5.8
238 | 15/05/2016 | 8:00:00 a.m. | 1370414 | 429375 | 7.3951 | 0 | 90.847 | 18 | 0 | 5.8
237 | 15/05/2016 | 7:00:00 a.m. | 1370414 | 429375 | 7.392 | 0 | 90.773 | 17.4 | 0 | 5.8
236 | 15/05/2016 | 6:00:00 a.m. | 1370414 | 429375 | 7.3397 | 0 | 90.712 | 17.5 | 0 | 5.8
235 | 15/05/2016 | 5:00:00 a.m. | 1370414 | 429375 | 7.3829 | 0 | 90.695 | 17.6 | 0 | 5.8
234 | 15/05/2016 | 4:00:00 a.m. | 1370414 | 429375 | 7.3484 | 0 | 90.815 | 17.1 | 0 | 5.8
233 | 15/05/2016 | 3:00:00 a.m. | 1370414 | 429375 | 7.3394 | 0 | 90.941 | 17.6 | 0 | 5.8
232 | 15/05/2016 | 2:00:00 a.m. | 1370414 | 429375 | 7.3823 | 0 | 91.006 | 17.7 | 0 | 5.8
231 | 15/05/2016 | 1:00:00 a.m. | 1370414 | 429375 | 7.3694 | 0 | 91.078 | 17.9 | 0 | 5.8
230 | 15/05/2016 | 12:00:00 a.m. | 1370414 | 429375 | 7.3373 | 0 | 90.942 | 18.9 | 0 | 5.8
229 | 14/05/2016 | 11:00:00 p.m. | 1370414 | 429375 | 7.2969 | 0 | 90.933 | 19.9 | 0 | 5.8
228 | 14/05/2016 | 10:00:00 p.m. | 1370414 | 429375 | 7.3303 | 0 | 90.83 | 21.5 | 1 | 5.81
227 | 14/05/2016 | 9:00:00 p.m. | 1370414 | 429375 | 7.2137 | 0 | 90.719 | 24.2 | 160.6 | 5.81
226 | 14/05/2016 | 8:00:00 p.m. | 1370385 | 429371 | 7.129 | 0 | 90.326 | 26.5 | 117.2 | 5.82
225 | 14/05/2016 | 7:00:00 p.m. | 1370280 | 429356 | 7.0856 | 0 | 90.032 | 27.5 | 159.3 | 5.83
224 | 14/05/2016 | 6:00:00 p.m. | 1370170 | 429340 | 7.027 | 0 | 90.334 | 33.2 | 159.3 | 5.83
223 | 14/05/2016 | 5:00:00 p.m. | 1370156 | 429338 | 6.8499 | 0 | 90.191 | 35.6 | 0 | 5.83
222 | 14/05/2016 | 4:00:00 p.m. | 1370156 | 429338 | 6.8183 | 0 | 90.237 | 37.7 | 0.9 | 5.83
221 | 14/05/2016 | 3:00:00 p.m. | 1370156 | 429338 | 6.8404 | 0 | 90.178 | 32.3 | 113.1 | 5.83
220 | 14/05/2016 | 2:00:00 p.m. | 1370130 | 429335 | 7.0269 | 0 | 89.851 | 28 | 115.4 | 5.82
219 | 14/05/2016 | 1:00:00 p.m. | 1370025 | 429320 | 7.0231 | 0 | 89.634 | 27.4 | 115 | 5.82
218 | 14/05/2016 | 12:00:00 p.m. | 1369918 | 429305 | 7.0561 | 0 | 89.769 | 25.3 | 161.1 | 5.81
217 | 14/05/2016 | 11:00:00 a.m. | 1369822 | 429291 | 7.1957 | 0 | 90.272 | 21.1 | 1.4 | 5.8
216 | 14/05/2016 | 10:00:00 a.m. | 1369822 | 429291 | 7.2308 | 0 | 90.159 | 24.4 | 112.8 | 5.81
215 | 14/05/2016 | 9:00:00 a.m. | 1369771 | 429284 | 7.0747 | 0 | 89.83 | 25.5 | 116.2 | 5.8
214 | 14/05/2016 | 8:00:00 a.m. | 1369665 | 429269 | 7.0986 | 0 | 90.274 | 25.2 | 118 | 5.8
213 | 14/05/2016 | 7:00:00 a.m. | 1369561 | 429254 | 7.1425 | 0 | 90.225 | 25.3 | 119.7 | 5.8
212 | 14/05/2016 | 6:00:00 a.m. | 1369450 | 429238 | 7.1269 | 0 | 90.247 | 22 | 162.4 | 5.8
211 | 14/05/2016 | 5:00:00 a.m. | 1369370 | 429227 | 7.3024 | 0 | 90.631 | 19.2 | 0 | 5.8
210 | 14/05/2016 | 4:00:00 a.m. | 1369370 | 429227 | 7.305 | 0 | 90.418 | 19.3 | 0 | 5.8
209 | 14/05/2016 | 3:00:00 a.m. | 1369370 | 429227 | 7.2973 | 0 | 90.486 | 19.5 | 0 | 5.8
208 | 14/05/2016 | 2:00:00 a.m. | 1369370 | 429227 | 7.3016 | 0 | 90.373 | 19.7 | 0 | 5.8
207 | 14/05/2016 | 1:00:00 a.m. | 1369370 | 429227 | 7.2516 | 0 | 90.495 | 20.9 | 0 | 5.81
206 | 14/05/2016 | 12:00:00 a.m. | 1369370 | 429227 | 7.2342 | 0 | 90.358 | 21.3 | 0 | 5.81
205 | 13/05/2016 | 11:00:00 p.m. | 1369370 | 429227 | 7.2076 | 0 | 90.6 | 21.9 | 0 | 5.81
204 | 13/05/2016 | 10:00:00 p.m. | 1369370 | 429227 | 7.1674 | 0 | 90.354 | 23.2 | 0 | 5.81
203 | 13/05/2016 | 9:00:00 p.m. | 1369370 | 429227 | 7.1681 | 0 | 90.262 | 24.6 | 0 | 5.82
202 | 13/05/2016 | 8:00:00 p.m. | 1369370 | 429227 | 7.1174 | 0 | 90.153 | 27.1 | 1 | 5.83
201 | 13/05/2016 | 7:00:00 p.m. | 1369370 | 429227 | 7.0131 | 0 | 89.693 | 28.8 | 134.2 | 5.83
200 | 13/05/2016 | 6:00:00 p.m. | 1369341 | 429223 | 6.9789 | 0 | 89.322 | 28.5 | 138.8 | 5.83
199 | 13/05/2016 | 5:00:00 p.m. | 1369230 | 429207 | 6.9781 | 0 | 88.988 | 28.5 | 159.3 | 5.83
198 | 13/05/2016 | 4:00:00 p.m. | 1369119 | 429191 | 6.8796 | 0 | 89.236 | 38.6 | 159.8 | 5.83
197 | 13/05/2016 | 3:00:00 p.m. | 1369093 | 429187 | 6.7572 | 0 | 89.503 | 38.7 | 0 | 5.83
196 | 13/05/2016 | 2:00:00 p.m. | 1369093 | 429187 | 6.7618 | 0 | 89.423 | 37.4 | 0 | 5.83
195 | 13/05/2016 | 1:00:00 p.m. | 1369093 | 429187 | 6.8003 | 0 | 89.302 | 35.2 | 0 | 5.83
194 | 13/05/2016 | 12:00:00 p.m. | 1369093 | 429187 | 6.8588 | 0 | 89.587 | 31.8 | 0 | 5.83
193 | 13/05/2016 | 11:00:00 a.m. | 1369093 | 429187 | 6.9469 | 0 | 89.599 | 27.1 | 0.9 | 5.82
192 | 13/05/2016 | 10:00:00 a.m. | 1369093 | 429187 | 7.0953 | 0 | 89.743 | 24.4 | 161.5 | 5.81
191 | 13/05/2016 | 9:00:00 a.m. | 1369073 | 429185 | 7.0735 | 0 | 89.464 | 25.1 | 162.4 | 5.8
190 | 13/05/2016 | 8:00:00 a.m. | 1368992 | 429173 | 7.0833 | 0 | 89.79 | 22.2 | 162.9 | 5.8
189 | 13/05/2016 | 7:00:00 a.m. | 1368925 | 429164 | 7.3371 | 0 | 90.174 | 18.8 | 2.3 | 5.8
188 | 13/05/2016 | 6:00:00 a.m. | 1368925 | 429164 | 7.1966 | 0 | 89.884 | 24.1 | 161.5 | 5.8
187 | 13/05/2016 | 5:00:00 a.m. | 1368870 | 429156 | 7.0896 | 0 | 89.745 | 24.8 | 162.9 | 5.8
186 | 13/05/2016 | 4:00:00 a.m. | 1368785 | 429144 | 7.0628 | 0 | 89.777 | 18.5 | 162.7 | 5.8
185 | 13/05/2016 | 3:00:00 a.m. | 1368766 | 429141 | 7.3126 | 0 | 90.032 | 18.3 | 0 | 5.8
184 | 13/05/2016 | 2:00:00 a.m. | 1368766 | 429141 | 7.3035 | 0 | 90.269 | 18.2 | 0 | 5.8
183 | 13/05/2016 | 1:00:00 a.m. | 1368766 | 429141 | 7.3181 | 0 | 90.303 | 18.9 | 0 | 5.8
182 | 13/05/2016 | 12:00:00 a.m. | 1368766 | 429141 | 7.2645 | 0 | 90.145 | 18.4 | 0 | 5.8
181 | 12/05/2016 | 11:00:00 p.m. | 1368766 | 429141 | 7.3107 | 0 | 90.183 | 18 | 0 | 5.81
180 | 12/05/2016 | 10:00:00 p.m. | 1368766 | 429141 | 7.2866 | 0 | 89.972 | 22.4 | 0 | 5.81
179 | 12/05/2016 | 9:00:00 p.m. | 1368766 | 429141 | 7.149 | 0 | 89.885 | 23.8 | 2.2 | 5.81
178 | 12/05/2016 | 8:00:00 p.m. | 1368766 | 429141 | 7.0924 | 0 | 89.783 | 26.2 | 161.8 | 5.82
177 | 12/05/2016 | 7:00:00 p.m. | 1368709 | 429133 | 7.0582 | 0 | 89.916 | 27.4 | 160.5 | 5.82
176 | 12/05/2016 | 6:00:00 p.m. | 1368703 | 429132 | 7.0229 | 0 | 89.8 | 29.1 | 159 | 5.83
175 | 12/05/2016 | 5:00:00 p.m. | 1368699 | 429132 | 6.9781 | 0 | 89.665 | 30.5 | 159.1 | 5.83
174 | 12/05/2016 | 4:00:00 p.m. | 1368695 | 429131 | 6.8991 | 0 | 89.493 | 36.4 | 160.9 | 5.83
173 | 12/05/2016 | 3:00:00 p.m. | 1368678 | 429129 | 6.6973 | 0 | 89.602 | 39.7 | 0 | 5.83
172 | 12/05/2016 | 2:00:00 p.m. | 1368678 | 429129 | 6.7299 | 0 | 89.462 | 38.6 | 0 | 5.83
171 | 12/05/2016 | 1:00:00 p.m. | 1368678 | 429129 | 6.7133 | 0 | 89.447 | 35.6 | 1.5 | 5.83
170 | 12/05/2016 | 12:00:00 p.m. | 1368678 | 429129 | 6.8987 | 0 | 89.235 | 29.3 | 162.1 | 5.83
169 | 12/05/2016 | 11:00:00 a.m. | 1368641 | 429123 | 6.9914 | 0 | 89.342 | 26.9 | 118.1 | 5.82
168 | 12/05/2016 | 10:00:00 a.m. | 1368610 | 429119 | 6.9894 | 0 | 88.947 | 26.3 | 163.3 | 5.82
167 | 12/05/2016 | 9:00:00 a.m. | 1368510 | 429105 | 6.9756 | 0 | 88.878 | 23.5 | 164.8 | 5.8
166 | 12/05/2016 | 8:00:00 a.m. | 1368392 | 429088 | 7.4073 | 0 | 89.734 | 12.6 | 0 | 5.8
165 | 12/05/2016 | 7:00:00 a.m. | 1368392 | 429088 | 7.4134 | 0 | 89.661 | 12.9 | 0 | 5.8
164 | 12/05/2016 | 6:00:00 a.m. | 1368392 | 429088 | 7.3965 | 0 | 89.634 | 13 | 0 | 5.8
163 | 12/05/2016 | 5:00:00 a.m. | 1368392 | 429088 | 7.3729 | 0 | 89.535 | 14.3 | 0 | 5.8
162 | 12/05/2016 | 4:00:00 a.m. | 1368392 | 429088 | 7.327 | 0 | 89.389 | 14.4 | 0 | 5.8
161 | 12/05/2016 | 3:00:00 a.m. | 1368392 | 429088 | 7.3316 | 0 | 89.392 | 15.3 | 0 | 5.8
160 | 12/05/2016 | 2:00:00 a.m. | 1368392 | 429088 | 7.3204 | 0 | 89.415 | 15.9 | 0 | 5.8
159 | 12/05/2016 | 1:00:00 a.m. | 1368392 | 429088 | 7.2894 | 0 | 89.443 | 16 | 0 | 5.8
158 | 12/05/2016 | 12:00:00 a.m. | 1368392 | 429088 | 7.2864 | 0 | 89.508 | 16.8 | 0 | 5.8
157 | 11/05/2016 | 11:00:00 p.m. | 1368392 | 429088 | 7.2603 | 0 | 89.617 | 18.3 | 0 | 5.8
156 | 11/05/2016 | 10:00:00 p.m. | 1368392 | 429088 | 7.2307 | 0 | 89.518 | 20.1 | 0 | 5.81
155 | 11/05/2016 | 9:00:00 p.m. | 1368392 | 429088 | 7.1654 | 0 | 89.437 | 23.5 | 69 | 5.81
154 | 11/05/2016 | 8:00:00 p.m. | 1368392 | 429088 | 7.0334 | 0 | 89.219 | 26.4 | 141.2 | 5.82
153 | 11/05/2016 | 7:00:00 p.m. | 1368284 | 429072 | 6.991 | 0 | 89.091 | 26.6 | 117.5 | 5.82
152 | 11/05/2016 | 6:00:00 p.m. | 1368183 | 429058 | 7.017 | 0 | 89.276 | 28.7 | 161.3 | 5.83
151 | 11/05/2016 | 5:00:00 p.m. | 1368141 | 429052 | 6.9838 | 0 | 89.436 | 28.4 | 0 | 5.83
150 | 11/05/2016 | 4:00:00 p.m. | 1368141 | 429052 | 6.9368 | 0 | 89.768 | 29.2 | 0 | 5.83
149 | 11/05/2016 | 3:00:00 p.m. | 1368141 | 429052 | 6.9471 | 0 | 89.828 | 33.2 | 0 | 5.83
148 | 11/05/2016 | 2:00:00 p.m. | 1368141 | 429052 | 6.8042 | 0 | 89.486 | 35.9 | 0.8 | 5.83
147 | 11/05/2016 | 1:00:00 p.m. | 1368141 | 429052 | 6.8026 | 0 | 89.605 | 32.1 | 103.3 | 5.83
146 | 11/05/2016 | 12:00:00 p.m. | 1368130 | 429050 | 7.0685 | 0 | 89.136 | 30.3 | 161.3 | 5.83
145 | 11/05/2016 | 11:00:00 a.m. | 1368080 | 429043 | 6.8879 | 0 | 89.473 | 28.6 | 0 | 5.83
144 | 11/05/2016 | 10:00:00 a.m. | 1368080 | 429043 | 7.0432 | 0 | 89.83 | 22.9 | 1.3 | 5.81
143 | 11/05/2016 | 9:00:00 a.m. | 1368080 | 429043 | 7.216 | 0 | 89.648 | 23.5 | 164 | 5.8
142 | 11/05/2016 | 8:00:00 a.m. | 1368026 | 429036 | 7.0202 | 0 | 89.738 | 17.7 | 164.4 | 5.8
141 | 11/05/2016 | 7:00:00 a.m. | 1367974 | 429028 | 7.3486 | 0 | 89.989 | 15 | 0 | 5.8
140 | 11/05/2016 | 6:00:00 a.m. | 1367974 | 429028 | 7.4356 | 0 | 90.291 | 14.6 | 0 | 5.8
139 | 11/05/2016 | 5:00:00 a.m. | 1367974 | 429028 | 7.3933 | 0 | 89.893 | 14.7 | 0 | 5.8
138 | 11/05/2016 | 4:00:00 a.m. | 1367974 | 429028 | 7.3478 | 0 | 90.189 | 15.4 | 0 | 5.8
137 | 11/05/2016 | 3:00:00 a.m. | 1367974 | 429028 | 7.3349 | 0 | 90.105 | 16.3 | 0 | 5.8
136 | 11/05/2016 | 2:00:00 a.m. | 1367974 | 429028 | 7.33 | 0 | 90.133 | 17.3 | 0 | 5.8
135 | 11/05/2016 | 1:00:00 a.m. | 1367974 | 429028 | 7.3155 | 0 | 89.985 | 18.1 | 0 | 5.81
134 | 11/05/2016 | 12:00:00 a.m. | 1367974 | 429028 | 7.2851 | 0 | 90.087 | 19.5 | 0 | 5.81
133 | 10/05/2016 | 11:00:00 p.m. | 1367974 | 429028 | 7.2523 | 0 | 90.213 | 21.3 | 0 | 5.81
132 | 10/05/2016 | 10:00:00 p.m. | 1367974 | 429028 | 7.2059 | 0 | 90.293 | 23.2 | 0 | 5.82
131 | 10/05/2016 | 9:00:00 p.m. | 1367974 | 429028 | 7.0943 | 0 | 89.6 | 26 | 0 | 5.83
130 | 10/05/2016 | 8:00:00 p.m. | 1367974 | 429028 | 6.9975 | 0 | 89.942 | 30.4 | 0 | 5.83
129 | 10/05/2016 | 7:00:00 p.m. | 1367974 | 429028 | 6.9938 | 0 | 90.589 | 35.1 | 0 | 5.84
128 | 10/05/2016 | 6:00:00 p.m. | 1367974 | 429028 | 6.915 | 0 | 90.293 | 35.5 | 0 | 5.83
127 | 10/05/2016 | 5:00:00 p.m. | 1367974 | 429028 | 6.775 | 0 | 90.14 | 39.6 | 0 | 5.84
126 | 10/05/2016 | 4:00:00 p.m. | 1367974 | 429028 | 6.8145 | 0 | 90.347 | 40 | 0 | 5.84
125 | 10/05/2016 | 3:00:00 p.m. | 1367974 | 429028 | 6.7191 | 0 | 89.591 | 38.8 | 0.7 | 5.83
124 | 10/05/2016 | 2:00:00 p.m. | 1367974 | 429028 | 6.7613 | 0 | 89.657 | 34.1 | 134.1 | 5.83
123 | 10/05/2016 | 1:00:00 p.m. | 1367967 | 429027 | 6.9687 | 0 | 90.047 | 30.1 | 160.2 | 5.83
122 | 10/05/2016 | 12:00:00 p.m. | 1367883 | 429015 | 6.8735 | 0 | 90.492 | 31.9 | 0 | 5.83
121 | 10/05/2016 | 11:00:00 a.m. | 1367883 | 429015 | 7.085 | 0 | 90.444 | 26.4 | 0 | 5.83
120 | 10/05/2016 | 10:00:00 a.m. | 1367883 | 429015 | 7.2343 | 0 | 90.754 | 19.4 | 0 | 5.81
119 | 10/05/2016 | 9:00:00 a.m. | 1367883 | 429015 | 7.3429 | 0 | 90.714 | 14.4 | 0 | 5.8
118 | 10/05/2016 | 8:00:00 a.m. | 1367883 | 429015 | 7.472 | 0 | 91.044 | 13.2 | 0 | 5.8
117 | 10/05/2016 | 7:00:00 a.m. | 1367883 | 429015 | 7.4979 | 0 | 91.062 | 12.8 | 0 | 5.8
116 | 10/05/2016 | 6:00:00 a.m. | 1367883 | 429015 | 7.4892 | 0 | 90.966 | 12.4 | 0 | 5.8
115 | 10/05/2016 | 5:00:00 a.m. | 1367883 | 429015 | 7.4388 | 0 | 90.687 | 12.9 | 0 | 5.8
114 | 10/05/2016 | 4:00:00 a.m. | 1367883 | 429015 | 7.4709 | 0 | 90.668 | 14.2 | 0 | 5.8
113 | 10/05/2016 | 3:00:00 a.m. | 1367883 | 429015 | 7.4274 | 0 | 90.742 | 17.8 | 8.6 | 5.8
112 | 10/05/2016 | 2:00:00 a.m. | 1367883 | 429015 | 7.2305 | 0 | 90.23 | 24.7 | 163.4 | 5.8
111 | 10/05/2016 | 1:00:00 a.m. | 1367779 | 429001 | 7.1499 | 0 | 90.099 | 24.8 | 124.5 | 5.8
110 | 10/05/2016 | 12:00:00 a.m. | 1367667 | 428985 | 7.1216 | 0 | 90.118 | 24.2 | 164.6 | 5.8
109 | 09/05/2016 | 11:00:00 p.m. | 1367552 | 428969 | 7.2334 | 0 | 90.298 | 24.1 | 119.5 | 5.8
108 | 09/05/2016 | 10:00:00 p.m. | 1367467 | 428957 | 7.1247 | 0 | 90.57 | 22.7 | 120.4 | 5.8
107 | 09/05/2016 | 9:00:00 p.m. | 1367411 | 428949 | 7.1867 | 0 | 90.365 | 22.8 | 109.3 | 5.8
106 | 09/05/2016 | 8:00:00 p.m. | 1367357 | 428942 | 7.1035 | 0 | 90.154 | 21.8 | 121.3 | 5.8
105 | 09/05/2016 | 7:00:00 p.m. | 1367296 | 428933 | 7.2115 | 0 | 90.157 | 20.7 | 116.8 | 5.8
104 | 09/05/2016 | 6:00:00 p.m. | 1367224 | 428923 | 7.181 | 0 | 90.106 | 19.6 | 165.4 | 5.81
103 | 09/05/2016 | 5:00:00 p.m. | 1367187 | 428918 | 7.1062 | 0 | 90.063 | 29.2 | 3.2 | 5.83
102 | 09/05/2016 | 4:00:00 p.m. | 1367187 | 428918 | 6.991 | 0 | 89.482 | 28.9 | 161.1 | 5.84
101 | 09/05/2016 | 3:00:00 p.m. | 1367096 | 428905 | 6.9633 | 0 | 90.071 | 33.4 | 161.6 | 5.83
100 | 09/05/2016 | 2:00:00 p.m. | 1367050 | 428898 | 6.9031 | 0 | 90.381 | 33.4 | 11.7 | 5.83
99 | 09/05/2016 | 1:00:00 p.m. | 1367039 | 428897 | 6.9461 | 0 | 90.388 | 31.8 | 11.4 | 5.83
98 | 09/05/2016 | 12:00:00 p.m. | 1367027 | 428895 | 7.0195 | 0 | 90.404 | 32.2 | 11.8 | 5.83
97 | 09/05/2016 | 11:00:00 a.m. | 1367024 | 428894 | 7.02 | 0 | 90.52 | 28.3 | 1 | 5.83
96 | 09/05/2016 | 10:00:00 a.m. | 1367024 | 428894 | 7.1798 | 0 | 90.694 | 24.7 | 164.1 | 5.82
95 | 09/05/2016 | 9:00:00 a.m. | 1367010 | 428893 | 7.2058 | 0 | 90.71 | 24.7 | 165.3 | 5.8
94 | 09/05/2016 | 8:00:00 a.m. | 1366904 | 428878 | 7.1032 | 0 | 90.987 | 16 | 166.2 | 5.8
93 | 09/05/2016 | 7:00:00 a.m. | 1366865 | 428872 | 7.5722 | 0 | 91.813 | 13 | 0 | 5.8
92 | 09/05/2016 | 6:00:00 a.m. | 1366865 | 428872 | 7.5798 | 0 | 91.424 | 14.3 | 0 | 5.8
91 | 09/05/2016 | 5:00:00 a.m. | 1366865 | 428872 | 7.4932 | 0 | 91.535 | 15.6 | 0 | 5.8
90 | 09/05/2016 | 4:00:00 a.m. | 1366865 | 428872 | 7.4204 | 0 | 91.707 | 15.7 | 0 | 5.8
89 | 09/05/2016 | 3:00:00 a.m. | 1366865 | 428872 | 7.4799 | 0 | 91.141 | 16.1 | 0 | 5.8
88 | 09/05/2016 | 2:00:00 a.m. | 1366865 | 428872 | 7.4655 | 0 | 91.746 | 17.4 | 1.1 | 5.8
87 | 09/05/2016 | 1:00:00 a.m. | 1366865 | 428872 | 7.3719 | 0 | 91.705 | 22.2 | 111.2 | 5.8
86 | 09/05/2016 | 12:00:00 a.m. | 1366834 | 428868 | 7.2052 | 0 | 91.26 | 23.5 | 164.9 | 5.8
85 | 08/05/2016 | 11:00:00 p.m. | 1366723 | 428853 | 7.4693 | 0 | 91.643 | 16.9 | 0 | 5.8
84 | 08/05/2016 | 10:00:00 p.m. | 1366723 | 428853 | 7.3534 | 0 | 91.046 | 18.2 | 0 | 5.81
83 | 08/05/2016 | 9:00:00 p.m. | 1366723 | 428853 | 7.3528 | 0 | 91.119 | 19.9 | 0 | 5.81
82 | 08/05/2016 | 8:00:00 p.m. | 1366723 | 428853 | 7.3118 | 0 | 91.097 | 21.9 | 0 | 5.82
81 | 08/05/2016 | 7:00:00 p.m. | 1366723 | 428853 | 7.0918 | 0 | 91.321 | 29.3 | 1.2 | 5.83
80 | 08/05/2016 | 6:00:00 p.m. | 1366723 | 428853 | 7.0228 | 0 | 90.922 | 30.3 | 76.4 | 5.83
79 | 08/05/2016 | 5:00:00 p.m. | 1366706 | 428850 | 7.0669 | 0 | 91.278 | 30.4 | 0 | 5.83
78 | 08/05/2016 | 4:00:00 p.m. | 1366706 | 428850 | 6.9198 | 0 | 90.542 | 37.8 | 0 | 5.84
77 | 08/05/2016 | 3:00:00 p.m. | 1366706 | 428850 | 6.8285 | 0 | 91.277 | 41.4 | 0 | 5.84
76 | 08/05/2016 | 2:00:00 p.m. | 1366706 | 428850 | 6.8152 | 0 | 91.309 | 40.5 | 0 | 5.84
75 | 08/05/2016 | 1:00:00 p.m. | 1366706 | 428850 | 6.8075 | 0 | 91.241 | 38.2 | 0 | 5.84
74 | 08/05/2016 | 12:00:00 p.m. | 1366706 | 428850 | 6.9036 | 0 | 91.301 | 34.1 | 1.1 | 5.83
73 | 08/05/2016 | 11:00:00 a.m. | 1366706 | 428850 | 7.0517 | 0 | 91.298 | 28.5 | 162.3 | 5.83
72 | 08/05/2016 | 10:00:00 a.m. | 1366685 | 428847 | 7.2125 | 0 | 91.596 | 22.2 | 19.7 | 5.82
71 | 08/05/2016 | 9:00:00 a.m. | 1366676 | 428846 | 7.4107 | 0 | 91.264 | 14.7 | 0 | 5.8
70 | 08/05/2016 | 8:00:00 a.m. | 1366676 | 428846 | 7.5766 | 0 | 91.572 | 11.1 | 0 | 5.8
69 | 08/05/2016 | 7:00:00 a.m. | 1366676 | 428846 | 7.4668 | 0 | 91.644 | 11.5 | 0 | 5.8
68 | 08/05/2016 | 6:00:00 a.m. | 1366676 | 428846 | 7.573 | 0 | 90.889 | 12.4 | 0 | 5.8
67 | 08/05/2016 | 5:00:00 a.m. | 1366676 | 428846 | 7.4521 | 0 | 91.001 | 13.1 | 0 | 5.8
66 | 08/05/2016 | 4:00:00 a.m. | 1366676 | 428846 | 7.4387 | 0 | 90.887 | 14.4 | 0 | 5.8
65 | 08/05/2016 | 3:00:00 a.m. | 1366676 | 428846 | 7.4752 | 0 | 91.149 | 15.4 | 0 | 5.8
64 | 08/05/2016 | 2:00:00 a.m. | 1366676 | 428846 | 7.3253 | 0 | 90.975 | 16.4 | 0 | 5.8
63 | 08/05/2016 | 1:00:00 a.m. | 1366676 | 428846 | 7.3712 | 0 | 90.941 | 17.7 | 0 | 5.8
62 | 08/05/2016 | 12:00:00 a.m. | 1366676 | 428846 | 7.2322 | 0 | 91.141 | 19.9 | 0 | 5.81
61 | 07/05/2016 | 11:00:00 p.m. | 1366676 | 428846 | 7.3792 | 0 | 91.191 | 21.4 | 3.6 | 5.82
60 | 07/05/2016 | 10:00:00 p.m. | 1366676 | 428846 | 7.2546 | 0 | 90.685 | 25.4 | 161.2 | 5.82
59 | 07/05/2016 | 9:00:00 p.m. | 1366603 | 428836 | 7.1928 | 0 | 90.634 | 26.3 | 102.7 | 5.82
58 | 07/05/2016 | 8:00:00 p.m. | 1366518 | 428824 | 7.0413 | 0 | 90.783 | 26.9 | 106.4 | 5.83
57 | 07/05/2016 | 7:00:00 p.m. | 1366430 | 428811 | 7.1324 | 0 | 90.642 | 27.3 | 112.6 | 5.83
56 | 07/05/2016 | 6:00:00 p.m. | 1366339 | 428799 | 6.9939 | 0 | 90.932 | 28.1 | 101 | 5.83
55 | 07/05/2016 | 5:00:00 p.m. | 1366307 | 428794 | 7.1049 | 0 | 90.471 | 27.9 | 108.2 | 5.83
54 | 07/05/2016 | 4:00:00 p.m. | 1366226 | 428783 | 6.9519 | 0 | 90.32 | 30 | 106.2 | 5.84
53 | 07/05/2016 | 3:00:00 p.m. | 1366146 | 428771 | 6.9124 | 0 | 90.264 | 31.6 | 98.6 | 5.84
52 | 07/05/2016 | 2:00:00 p.m. | 1366107 | 428765 | 7.0171 | 0 | 90.229 | 29.5 | 101 | 5.84
51 | 07/05/2016 | 1:00:00 p.m. | 1366021 | 428753 | 6.9562 | 0 | 89.651 | 28.9 | 101.7 | 5.83
50 | 07/05/2016 | 12:00:00 p.m. | 1365935 | 428741 | 6.9347 | 0 | 89.719 | 28.2 | 117.9 | 5.83
49 | 07/05/2016 | 11:00:00 a.m. | 1365843 | 428728 | 7.0201 | 0 | 90.14 | 27.4 | 105.7 | 5.83
48 | 07/05/2016 | 10:00:00 a.m. | 1365790 | 428720 | 7.1608 | 0 | 90.287 | 25.5 | 40.4 | 5.83
47 | 07/05/2016 | 9:00:00 a.m. | 1365761 | 428716 | 7.1328 | 0 | 90.45 | 24.9 | 107.7 | 5.81
46 | 07/05/2016 | 8:00:00 a.m. | 1365688 | 428706 | 7.132 | 0 | 90.612 | 23.6 | 166.2 | 5.8
45 | 07/05/2016 | 7:00:00 a.m. | 1365590 | 428692 | 7.4641 | 0 | 91.287 | 15.1 | 0 | 5.8
44 | 07/05/2016 | 6:00:00 a.m. | 1365590 | 428692 | 7.5034 | 0 | 91.146 | 16.3 | 0 | 5.8
43 | 07/05/2016 | 5:00:00 a.m. | 1365590 | 428692 | 7.3943 | 0 | 91.101 | 16.9 | 0 | 5.8
42 | 07/05/2016 | 4:00:00 a.m. | 1365590 | 428692 | 7.3675 | 0 | 90.983 | 16.9 | 0 | 5.8
41 | 07/05/2016 | 3:00:00 a.m. | 1365590 | 428692 | 7.4151 | 0 | 91.159 | 17.3 | 0 | 5.8
40 | 07/05/2016 | 2:00:00 a.m. | 1365590 | 428692 | 7.3582 | 0 | 91.006 | 17.8 | 0 | 5.81
39 | 07/05/2016 | 1:00:00 a.m. | 1365590 | 428692 | 7.3719 | 0 | 91.11 | 18.1 | 0 | 5.81
38 | 07/05/2016 | 12:00:00 a.m. | 1365590 | 428692 | 7.4324 | 0 | 90.902 | 17.5 | 0 | 5.81
37 | 06/05/2016 | 11:00:00 p.m. | 1365590 | 428692 | 7.2662 | 0 | 91.131 | 24.3 | 0 | 5.82
36 | 06/05/2016 | 10:00:00 p.m. | 1365590 | 428692 | 7.1404 | 0 | 91.129 | 25.5 | 0 | 5.83
35 | 06/05/2016 | 9:00:00 p.m. | 1365590 | 428692 | 7.1581 | 0 | 91.144 | 27 | 0 | 5.83
34 | 06/05/2016 | 8:00:00 p.m. | 1365590 | 428692 | 7.1507 | 0 | 91.147 | 30.1 | 0 | 5.83
33 | 06/05/2016 | 7:00:00 p.m. | 1365590 | 428692 | 6.9998 | 0 | 90.199 | 33.7 | 0.8 | 5.84
32 | 06/05/2016 | 6:00:00 p.m. | 1365590 | 428692 | 6.7951 | 0 | 89.901 | 33.3 | 159 | 5.84
31 | 06/05/2016 | 5:00:00 p.m. | 1365577 | 428690 | 6.9052 | 0 | 89.299 | 30.7 | 112.9 | 5.85
30 | 06/05/2016 | 4:00:00 p.m. | 1365490 | 428678 | 6.8833 | 0 | 89.478 | 36.9 | 159.2 | 5.84
29 | 06/05/2016 | 3:00:00 p.m. | 1365431 | 428669 | 6.6582 | 0 | 90.096 | 40.3 | 1.5 | 5.84
28 | 06/05/2016 | 2:00:00 p.m. | 1365431 | 428669 | 6.771 | 0 | 89.957 | 37.3 | 159.7 | 5.84
27 | 06/05/2016 | 1:00:00 p.m. | 1365411 | 428666 | 6.7339 | 0 | 89.905 | 38.2 | 0 | 5.84
26 | 06/05/2016 | 12:00:00 p.m. | 1365411 | 428666 | 6.7828 | 0 | 89.661 | 34.7 | 0 | 5.83
25 | 06/05/2016 | 11:00:00 a.m. | 1365411 | 428666 | 6.8719 | 0 | 89.81 | 29.6 | 0 | 5.83
24 | 06/05/2016 | 10:00:00 a.m. | 1365411 | 428666 | 7.0635 | 0 | 89.955 | 23.3 | 0 | 5.83
23 | 06/05/2016 | 9:00:00 a.m. | 1365411 | 428666 | 7.2387 | 0 | 90.096 | 17.2 | 0 | 5.81
22 | 06/05/2016 | 8:00:00 a.m. | 1365411 | 428666 | 7.3983 | 0 | 90.218 | 14.8 | 0 | 5.8
21 | 06/05/2016 | 7:00:00 a.m. | 1365411 | 428666 | 7.3704 | 0 | 90.339 | 15.6 | 0 | 5.8
20 | 06/05/2016 | 6:00:00 a.m. | 1365411 | 428666 | 7.3093 | 0 | 90.194 | 17.1 | 0.9 | 5.8
19 | 06/05/2016 | 5:00:00 a.m. | 1365411 | 428666 | 7.2606 | 0 | 90.076 | 21.5 | 143.1 | 5.81
18 | 06/05/2016 | 4:00:00 a.m. | 1365393 | 428664 | 7.0481 | 0 | 89.706 | 25.2 | 162.5 | 5.81
17 | 06/05/2016 | 3:00:00 a.m. | 1365285 | 428649 | 7.0746 | 0 | 90.097 | 19.6 | 163.1 | 5.81
16 | 06/05/2016 | 2:00:00 a.m. | 1365279 | 428648 | 7.2617 | 0 | 90.109 | 20.1 | 0 | 5.81
15 | 06/05/2016 | 1:00:00 a.m. | 1365279 | 428648 | 7.2227 | 0 | 90.23 | 21.8 | 0.8 | 5.82
14 | 06/05/2016 | 12:00:00 a.m. | 1365279 | 428648 | 7.214 | 0 | 90.169 | 23.7 | 162.3 | 5.82
13 | 05/05/2016 | 11:00:00 p.m. | 1365271 | 428647 | 7.0859 | 0 | 89.897 | 26.1 | 161.9 | 5.82
12 | 05/05/2016 | 10:00:00 p.m. | 1365180 | 428634 | 7.0598 | 0 | 89.849 | 26.2 | 104.4 | 5.82
11 | 05/05/2016 | 9:00:00 p.m. | 1365099 | 428622 | 7.031 | 0 | 89.818 | 26.7 | 109.6 | 5.83
10 | 05/05/2016 | 8:00:00 p.m. | 1365013 | 428610 | 7.0118 | 0 | 89.715 | 27.7 | 109.2 | 5.83
9 | 05/05/2016 | 7:00:00 p.m. | 1364928 | 428598 | 7.0183 | 0 | 89.442 | 30 | 160.4 | 5.84
8 | 05/05/2016 | 6:00:00 p.m. | 1364818 | 428582 | 6.7429 | 0 | 89.678 | 40.9 | 0 | 5.84
7 | 05/05/2016 | 5:00:00 p.m. | 1364818 | 428582 | 6.7349 | 0 | 89.636 | 41.8 | 0 | 5.84
6 | 05/05/2016 | 4:00:00 p.m. | 1364818 | 428582 | 6.6416 | 0 | 89.723 | 41.4 | 0 | 5.84
5 | 05/05/2016 | 3:00:00 p.m. | 1364818 | 428582 | 6.6918 | 0 | 89.66 | 39.2 | 0 | 5.84
4 | 05/05/2016 | 2:00:00 p.m. | 1364818 | 428582 | 6.7189 | 0 | 89.656 | 38.3 | 0 | 5.83
3 | 05/05/2016 | 1:00:00 p.m. | 1364818 | 428582 | 6.763 | 0 | 89.615 | 36.5 | 0 | 5.83
2 | 05/05/2016 | 12:00:00 p.m. | 1364818 | 428582 | 6.8671 | 0 | 89.715 | 33.4 | 0 | 5.83
1 | 05/05/2016 | 11:00:00 a.m. | 1364818 | 428582 | 6.9616 | 0 | 89.786 | 29.6 | 0 | 5.83