## Mineria Empresarial diario 0407
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 3
Fault/Alarms Recorded: | Date | Time | Condition
1 | 02/24/2014 | 12:42:43 p.m. | 6 (Low Pressure Alarm Occurred High Temperature Alarm Occurred)
2 | 02/17/2014 | 10:31:52 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
3 | 04/08/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.87524 | 0 | 0.782 | 22.3 | 6.11
2 | 04/07/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.89858 | 0 | 1.235 | 23.3 | 6.12
1 | 04/06/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.91975 | 0 | 1.496 | 24.2 | 6.13