## Mineria Empresarial horario 040
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 68
Fault/Alarms Recorded: | Date | Time | Condition
1 | 02/24/2014 | 12:42:43 p.m. | 6 (Low Pressure Alarm Occurred High Temperature Alarm Occurred)
2 | 02/17/2014 | 10:31:52 a.m. | 2 (Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
68 | 04/08/2014 | 10:00:00 a.m. | 9195 | 177503 | 0.85715 | 0 | 0.532 | 16.5 | 6.12
67 | 04/08/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.87524 | 0 | 0.478 | 10 | 6.11
66 | 04/08/2014 | 8:00:00 a.m. | 9195 | 177503 | 0.88766 | 0 | 0.465 | 7.6 | 6.11
65 | 04/08/2014 | 7:00:00 a.m. | 9195 | 177503 | 0.88905 | 0 | 0.489 | 8.3 | 6.1
64 | 04/08/2014 | 6:00:00 a.m. | 9195 | 177503 | 0.88777 | 0 | 0.51 | 9 | 6.1
63 | 04/08/2014 | 5:00:00 a.m. | 9195 | 177503 | 0.88709 | 0 | 0.533 | 9.7 | 6.11
62 | 04/08/2014 | 4:00:00 a.m. | 9195 | 177503 | 0.88614 | 0 | 0.56 | 10.9 | 6.11
61 | 04/08/2014 | 3:00:00 a.m. | 9195 | 177503 | 0.88459 | 0 | 0.582 | 12.2 | 6.11
60 | 04/08/2014 | 2:00:00 a.m. | 9195 | 177503 | 0.88191 | 0 | 0.608 | 13.7 | 6.12
59 | 04/08/2014 | 1:00:00 a.m. | 9195 | 177503 | 0.87843 | 0 | 0.637 | 15.5 | 6.12
58 | 04/08/2014 | 12:00:00 a.m. | 9195 | 177503 | 0.87473 | 0 | 0.675 | 17.5 | 6.14
57 | 04/07/2014 | 11:00:00 p.m. | 9195 | 177503 | 0.87114 | 0 | 0.717 | 19.5 | 6.13
56 | 04/07/2014 | 10:00:00 p.m. | 9195 | 177503 | 0.86922 | 0 | 0.764 | 21.3 | 6.12
55 | 04/07/2014 | 9:00:00 p.m. | 9195 | 177503 | 0.8667 | 0 | 0.817 | 23.4 | 6.14
54 | 04/07/2014 | 8:00:00 p.m. | 9195 | 177503 | 0.86402 | 0 | 0.882 | 26.4 | 6.15
53 | 04/07/2014 | 7:00:00 p.m. | 9195 | 177503 | 0.85845 | 0 | 0.948 | 30.1 | 6.15
52 | 04/07/2014 | 6:00:00 p.m. | 9195 | 177503 | 0.85233 | 0 | 1.006 | 33.3 | 6.17
51 | 04/07/2014 | 5:00:00 p.m. | 9195 | 177503 | 0.8469 | 0 | 1.038 | 35.3 | 6.17
50 | 04/07/2014 | 4:00:00 p.m. | 9195 | 177503 | 0.84566 | 0 | 1.05 | 36.9 | 6.17
49 | 04/07/2014 | 3:00:00 p.m. | 9195 | 177503 | 0.84018 | 0 | 1.05 | 39.6 | 6.16
48 | 04/07/2014 | 2:00:00 p.m. | 9195 | 177503 | 0.8325 | 0 | 1.049 | 40.6 | 6.16
47 | 04/07/2014 | 1:00:00 p.m. | 9195 | 177503 | 0.83449 | 0 | 1.032 | 38 | 6.16
46 | 04/07/2014 | 12:00:00 p.m. | 9195 | 177503 | 0.84505 | 0 | 0.998 | 32.1 | 6.15
45 | 04/07/2014 | 11:00:00 a.m. | 9195 | 177503 | 0.86253 | 0 | 0.956 | 25.1 | 6.14
44 | 04/07/2014 | 10:00:00 a.m. | 9195 | 177503 | 0.8776 | 0 | 0.911 | 17.8 | 6.14
43 | 04/07/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.89858 | 0 | 0.86 | 11.2 | 6.12
42 | 04/07/2014 | 8:00:00 a.m. | 9195 | 177503 | 0.91106 | 0 | 0.862 | 9.7 | 6.11
41 | 04/07/2014 | 7:00:00 a.m. | 9195 | 177503 | 0.91066 | 0 | 0.894 | 10.7 | 6.11
40 | 04/07/2014 | 6:00:00 a.m. | 9195 | 177503 | 0.91024 | 0 | 0.929 | 11.7 | 6.12
39 | 04/07/2014 | 5:00:00 a.m. | 9195 | 177503 | 0.91009 | 0 | 0.959 | 12.5 | 6.12
38 | 04/07/2014 | 4:00:00 a.m. | 9195 | 177503 | 0.90857 | 0 | 0.977 | 12.9 | 6.11
37 | 04/07/2014 | 3:00:00 a.m. | 9195 | 177503 | 0.9084 | 0 | 0.996 | 13.5 | 6.1
36 | 04/07/2014 | 2:00:00 a.m. | 9195 | 177503 | 0.90796 | 0 | 1.025 | 14.6 | 6.12
35 | 04/07/2014 | 1:00:00 a.m. | 9195 | 177503 | 0.90655 | 0 | 1.059 | 16.3 | 6.13
34 | 04/07/2014 | 12:00:00 a.m. | 9195 | 177503 | 0.90233 | 0 | 1.097 | 18 | 6.14
33 | 04/06/2014 | 11:00:00 p.m. | 9195 | 177503 | 0.9001 | 0 | 1.144 | 19.6 | 6.13
32 | 04/06/2014 | 10:00:00 p.m. | 9195 | 177503 | 0.89899 | 0 | 1.194 | 21.1 | 6.14
31 | 04/06/2014 | 9:00:00 p.m. | 9195 | 177503 | 0.89878 | 0 | 1.252 | 23 | 6.14
30 | 04/06/2014 | 8:00:00 p.m. | 9195 | 177503 | 0.89494 | 0 | 1.323 | 26.1 | 6.16
29 | 04/06/2014 | 7:00:00 p.m. | 9195 | 177503 | 0.88836 | 0 | 1.404 | 30.8 | 6.17
28 | 04/06/2014 | 6:00:00 p.m. | 9195 | 177503 | 0.88014 | 0 | 1.463 | 34.1 | 6.17
27 | 04/06/2014 | 5:00:00 p.m. | 9195 | 177503 | 0.87787 | 0 | 1.494 | 35 | 6.17
26 | 04/06/2014 | 4:00:00 p.m. | 9195 | 177503 | 0.87909 | 0 | 1.514 | 35.9 | 6.17
25 | 04/06/2014 | 3:00:00 p.m. | 9195 | 177503 | 0.87432 | 0 | 1.529 | 38.3 | 6.17
24 | 04/06/2014 | 2:00:00 p.m. | 9195 | 177503 | 0.86988 | 0 | 1.541 | 38.8 | 6.16
23 | 04/06/2014 | 1:00:00 p.m. | 9195 | 177503 | 0.87375 | 0 | 1.546 | 37.3 | 6.17
22 | 04/06/2014 | 12:00:00 p.m. | 9195 | 177503 | 0.87808 | 0 | 1.542 | 34.2 | 6.16
21 | 04/06/2014 | 11:00:00 a.m. | 9195 | 177503 | 0.88859 | 0 | 1.526 | 30 | 6.16
20 | 04/06/2014 | 10:00:00 a.m. | 9195 | 177503 | 0.90355 | 0 | 1.51 | 24 | 6.14
19 | 04/06/2014 | 9:00:00 a.m. | 9195 | 177503 | 0.91975 | 0 | 1.475 | 17.5 | 6.13
18 | 04/06/2014 | 8:00:00 a.m. | 9195 | 177503 | 0.93861 | 0 | 1.469 | 14.2 | 6.13
17 | 04/06/2014 | 7:00:00 a.m. | 9195 | 177503 | 0.94294 | 0 | 1.489 | 12.9 | 6.12
16 | 04/06/2014 | 6:00:00 a.m. | 9195 | 177503 | 0.95061 | 0 | 1.5 | 11.6 | 6.12
15 | 04/06/2014 | 5:00:00 a.m. | 9195 | 177503 | 0.951 | 0 | 1.533 | 12.5 | 6.12
14 | 04/06/2014 | 4:00:00 a.m. | 9195 | 177503 | 0.94956 | 0 | 1.569 | 13.8 | 6.12
13 | 04/06/2014 | 3:00:00 a.m. | 9195 | 177503 | 0.94879 | 0 | 1.605 | 14.9 | 6.13
12 | 04/06/2014 | 2:00:00 a.m. | 9195 | 177503 | 0.94744 | 0 | 1.644 | 16.1 | 6.13
11 | 04/06/2014 | 1:00:00 a.m. | 9195 | 177503 | 0.94607 | 0 | 1.688 | 17.6 | 6.13
10 | 04/06/2014 | 12:00:00 a.m. | 9195 | 177503 | 0.94429 | 0 | 1.737 | 19.1 | 6.14
9 | 04/05/2014 | 11:00:00 p.m. | 9195 | 177503 | 0.94346 | 0 | 1.788 | 20.4 | 6.14
8 | 04/05/2014 | 10:00:00 p.m. | 9195 | 177503 | 0.94265 | 0 | 1.844 | 21.9 | 6.15
7 | 04/05/2014 | 9:00:00 p.m. | 9195 | 177503 | 0.94036 | 0 | 1.909 | 24 | 6.14
6 | 04/05/2014 | 8:00:00 p.m. | 9195 | 177503 | 0.93796 | 0 | 1.988 | 26.8 | 6.15
5 | 04/05/2014 | 7:00:00 p.m. | 9195 | 177503 | 0.93424 | 0 | 2.065 | 30.1 | 6.16
4 | 04/05/2014 | 6:00:00 p.m. | 9195 | 177503 | 0.92896 | 0 | 2.128 | 32.7 | 6.16
3 | 04/05/2014 | 5:00:00 p.m. | 9195 | 177503 | 0.9249 | 0 | 2.188 | 35.3 | 6.18
2 | 04/05/2014 | 4:00:00 p.m. | 9195 | 177503 | 0.92468 | 0 | 2.218 | 36.4 | 6.17
1 | 04/05/2014 | 3:00:00 p.m. | 9195 | 177503 | 0.92017 | 0 | 1.905 | 38.5 | 6.17