## La Fama diario 052114 MC B
Data Log
Unit Serial Number: | 03/11/45975
Meter/Site ID: | 1123871 16M FAMA
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 19/05/2014 | 9:47:02 a.m. | 0 (Alarm Register Cleared )
2 | 19/05/2014 | 9:46:58 a.m. | 0 (Fault Register Cleared )
3 | 12/05/2014 | 3:34:06 p.m. | 14 (Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
4 | 12/05/2014 | 3:33:36 p.m. | 10 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
5 | 12/05/2014 | 3:33:36 p.m. | 4 (Temperature Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
21 | 22/05/2014 | 9:00:00 a.m. | 5988992 | 821950 | 7.7273 | 0 | 98.433 | 23.6 | 5.53
20 | 21/05/2014 | 9:00:00 a.m. | 5983322 | 821217 | 7.7386 | 0 | 98.254 | 24 | 5.52
19 | 20/05/2014 | 9:00:00 a.m. | 5976647 | 820350 | 7.6821 | 0 | 98.166 | 26.1 | 5.54
18 | 19/05/2014 | 9:00:00 a.m. | 5968032 | 819225 | 7.6728 | 4 | 98.404 | 26.2 | 5.5
17 | 18/05/2014 | 9:00:00 a.m. | 5961350 | 818355 | 7.7019 | 4 | 98.359 | 26.2 | 5.53
16 | 17/05/2014 | 9:00:00 a.m. | 5954328 | 817439 | 7.6542 | 4 | 98.271 | 25.9 | 5.52
15 | 16/05/2014 | 9:00:00 a.m. | 5946765 | 816453 | 7.7005 | 4 | 98.308 | 25.3 | 5.53
14 | 15/05/2014 | 9:00:00 a.m. | 5939439 | 815500 | 7.726 | 4 | 98.284 | 25.9 | 5.52
13 | 14/05/2014 | 9:00:00 a.m. | 5932497 | 814595 | 7.6779 | 4 | 98.352 | 26.4 | 5.56
12 | 13/05/2014 | 9:00:00 a.m. | 5927792 | 813982 | T flt | 4 | 97.762 | T flt | 5.56
11 | 12/05/2014 | 9:00:00 a.m. | 5920742 | 813067 | 7.6249 | 0 | 98.234 | 26.6 | 5.54
10 | 11/05/2014 | 9:00:00 a.m. | 5913347 | 812101 | 7.6604 | 0 | 98.164 | 26.5 | 5.56
9 | 10/05/2014 | 9:00:00 a.m. | 5905773 | 811111 | 7.6576 | 0 | 98.107 | 26.5 | 5.52
8 | 09/05/2014 | 9:00:00 a.m. | 5897715 | 810057 | 7.6351 | 0 | 98.197 | 25.4 | 5.53
7 | 08/05/2014 | 9:00:00 a.m. | 5889770 | 809023 | 7.7321 | 0 | 97.922 | 26.1 | 5.52
6 | 07/05/2014 | 9:00:00 a.m. | 5883547 | 808206 | 7.0974 | 0 | 90.312 | 26.3 | 5.54
5 | 06/05/2014 | 9:00:00 a.m. | 5875048 | 807009 | 7.1127 | 0 | 90.337 | 26.7 | 5.53
4 | 05/05/2014 | 9:00:00 a.m. | 5866546 | 805810 | 7.0956 | 0 | 90.375 | 27 | 5.56
3 | 04/05/2014 | 9:00:00 a.m. | 5858207 | 804634 | 7.1287 | 0 | 90.418 | 26.3 | 5.52
2 | 03/05/2014 | 9:00:00 a.m. | 5849254 | 803374 | 7.0713 | 0 | 90.281 | 26.6 | 5.54
1 | 02/05/2014 | 9:00:00 a.m. | 5839214 | 801958 | 7.1027 | 0 | 90.496 | 27.1 | 5.55