## Tron Team Foods diario 052114 M
Data Log
Unit Serial Number: | 05/10/44636
Meter/Site ID: | 1049129 16M TRON
Drive Rate | 1 m³/rev
Number of Logs Stored: | 21
Fault/Alarms Recorded: | Date | Time | Condition
1 | 12/05/2014 | 3:20:08 p.m. | 0 (Fault Register Cleared )
2 | 12/05/2014 | 3:20:04 p.m. | 0 (Alarm Register Cleared )
3 | 12/05/2014 | 2:44:10 p.m. | 14 (Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
4 | 12/05/2014 | 2:40:22 p.m. | 10 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
5 | 12/05/2014 | 2:40:22 p.m. | 4 (Temperature Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
21 | 22/05/2014 | 9:00:00 a.m. | 10936608 | 1482027 | 7.8012 | 41 | 98.741 | 21.4 | 5.45
20 | 21/05/2014 | 9:00:00 a.m. | 10930058 | 1481189 | 7.8387 | 41 | 98.484 | 21.4 | 5.45
19 | 20/05/2014 | 9:00:00 a.m. | 10920329 | 1479944 | 7.8102 | 41 | 98.477 | 21.2 | 5.45
18 | 19/05/2014 | 9:00:00 a.m. | 10910751 | 1478718 | 7.8336 | 41 | 98.749 | 21.8 | 5.45
17 | 18/05/2014 | 9:00:00 a.m. | 10903519 | 1477794 | 7.8454 | 41 | 98.651 | 21.5 | 5.46
16 | 17/05/2014 | 9:00:00 a.m. | 10895194 | 1476728 | 7.8874 | 41 | 98.391 | 20.6 | 5.45
15 | 16/05/2014 | 9:00:00 a.m. | 10883705 | 1475261 | 7.8376 | 41 | 98.431 | 20.2 | 5.45
14 | 15/05/2014 | 9:00:00 a.m. | 10872627 | 1473848 | 7.8175 | 41 | 98.423 | 20.9 | 5.45
13 | 14/05/2014 | 9:00:00 a.m. | 10861855 | 1472471 | 7.8057 | 41 | 98.209 | 20.5 | 5.45
12 | 13/05/2014 | 9:00:00 a.m. | 10848834 | 1470804 | T flt | 41 | 97.3 | T flt | 5.46
11 | 12/05/2014 | 9:00:00 a.m. | 10832372 | 1468644 | 7.7621 | 0 | 97.694 | 20.9 | 5.45
10 | 11/05/2014 | 9:00:00 a.m. | 10816951 | 1466660 | 7.7636 | 0 | 97.36 | 20.5 | 5.46
9 | 10/05/2014 | 9:00:00 a.m. | 10799066 | 1464355 | 7.7518 | 0 | 97.224 | 20.2 | 5.45
8 | 09/05/2014 | 9:00:00 a.m. | 10780360 | 1461942 | 7.7543 | 0 | 97.253 | 19.3 | 5.45
7 | 08/05/2014 | 9:00:00 a.m. | 10761003 | 1459456 | 7.8166 | 0 | 96.992 | 20.1 | 5.46
6 | 07/05/2014 | 9:00:00 a.m. | 10742562 | 1457073 | 7.2035 | 0 | 89.406 | 20.1 | 5.46
5 | 06/05/2014 | 9:00:00 a.m. | 10723980 | 1454491 | 7.2211 | 0 | 89.667 | 20.7 | 5.47
4 | 05/05/2014 | 9:00:00 a.m. | 10707311 | 1452176 | 7.2015 | 0 | 90.061 | 21.7 | 5.47
3 | 04/05/2014 | 9:00:00 a.m. | 10694518 | 1450401 | 7.2572 | 0 | 90.321 | 21.1 | 5.46
2 | 03/05/2014 | 9:00:00 a.m. | 10683297 | 1448850 | 7.1942 | 0 | 90.199 | 21.4 | 5.46
1 | 02/05/2014 | 9:00:00 a.m. | 10671397 | 1447202 | 7.2438 | 0 | 90.426 | 22.4 | 5.47