## DeAcero diario 053114 MC B
Data Log
Unit Serial Number: | 04/07/33086
Meter/Site ID: | 3M 37553 deacero
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 31
Fault/Alarms Recorded: | Date | Time | Condition
1 | 19/05/2014 | 6:28:25 p.m. | 0 (Fault Register Cleared )
2 | 19/05/2014 | 6:28:19 p.m. | 0 (Alarm Register Cleared )
3 | 19/05/2014 | 6:19:55 p.m. | 14 (Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
4 | 19/05/2014 | 6:19:25 p.m. | 6 (Low Pressure Alarm Occurred High Temperature Alarm Occurred)
5 | 19/05/2014 | 6:18:25 p.m. | 4 (Temperature Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
31 | 01/06/2014 | 9:00:00 a.m. | 16861186 | 1531532 | 7.7192 | 1 | 98.013 | 22.7 | 4.89
30 | 31/05/2014 | 9:00:00 a.m. | 16856704 | 1530953 | 7.7332 | 1 | 97.888 | 22.4 | 4.89
29 | 30/05/2014 | 9:00:00 a.m. | 16852191 | 1530371 | 7.7585 | 1 | 97.78 | 22.9 | 4.9
28 | 29/05/2014 | 9:00:00 a.m. | 16847672 | 1529786 | 7.7026 | 1 | 97.816 | 22.9 | 4.9
27 | 28/05/2014 | 9:00:00 a.m. | 16843026 | 1529185 | 7.7552 | 1 | 97.849 | 23 | 4.9
26 | 27/05/2014 | 9:00:00 a.m. | 16838437 | 1528591 | 7.7169 | 1 | 97.835 | 23.3 | 4.9
25 | 26/05/2014 | 9:00:00 a.m. | 16833969 | 1528012 | 7.7118 | 1 | 97.974 | 23.5 | 4.9
24 | 25/05/2014 | 9:00:00 a.m. | 16829436 | 1527425 | 7.7474 | 1 | 97.955 | 23.5 | 4.9
23 | 24/05/2014 | 9:00:00 a.m. | 16824744 | 1526817 | 7.7474 | 1 | 98.008 | 23.4 | 4.91
22 | 23/05/2014 | 9:00:00 a.m. | 16820102 | 1526216 | 7.7416 | 1 | 98.069 | 24 | 4.91
21 | 22/05/2014 | 9:00:00 a.m. | 16815462 | 1525615 | 7.7172 | 1 | 98.302 | 23.4 | 4.91
20 | 21/05/2014 | 9:00:00 a.m. | 16811261 | 1525073 | 7.7493 | 1 | 98.103 | 24.2 | 4.91
19 | 20/05/2014 | 9:00:00 a.m. | 16806634 | 1524473 | T flt | 1 | 98.11 | T flt | 4.91
18 | 19/05/2014 | 9:00:00 a.m. | 16802006 | 1523868 | 7.6583 | 0 | 98.552 | 28.2 | 4.91
17 | 18/05/2014 | 9:00:00 a.m. | 16797385 | 1523263 | 7.6589 | 0 | 98.524 | 28.4 | 4.91
16 | 17/05/2014 | 9:00:00 a.m. | 16792868 | 1522671 | 7.6428 | 0 | 98.44 | 27.9 | 4.91
15 | 16/05/2014 | 9:00:00 a.m. | 16788200 | 1522059 | 7.6743 | 0 | 98.428 | 27.5 | 4.91
14 | 15/05/2014 | 9:00:00 a.m. | 16783361 | 1521426 | 7.652 | 0 | 98.389 | 28.1 | 4.91
13 | 14/05/2014 | 9:00:00 a.m. | 16778564 | 1520798 | 7.6342 | 0 | 98.432 | 28.3 | 4.91
12 | 13/05/2014 | 9:00:00 a.m. | 16774047 | 1520205 | 7.6258 | 0 | 98.451 | 27.9 | 4.92
11 | 12/05/2014 | 9:00:00 a.m. | 16769974 | 1519672 | 7.6572 | 0 | 98.49 | 27.7 | 4.91
10 | 11/05/2014 | 9:00:00 a.m. | 16765756 | 1519120 | 7.6599 | 0 | 98.409 | 27.7 | 4.91
9 | 10/05/2014 | 9:00:00 a.m. | 16761482 | 1518560 | 7.6206 | 0 | 98.355 | 27.5 | 4.91
8 | 09/05/2014 | 9:00:00 a.m. | 16757161 | 1517995 | 7.6295 | 0 | 98.383 | 26.1 | 4.91
7 | 08/05/2014 | 9:00:00 a.m. | 16752509 | 1517389 | 7.7272 | 0 | 97.93 | 27.8 | 4.91
6 | 07/05/2014 | 9:00:00 a.m. | 16747381 | 1516714 | 7.0622 | 0 | 90.353 | 28.2 | 4.93
5 | 06/05/2014 | 9:00:00 a.m. | 16742291 | 1515993 | 7.0786 | 0 | 90.419 | 28.6 | 4.92
4 | 05/05/2014 | 9:00:00 a.m. | 16737351 | 1515293 | 7.0609 | 0 | 90.497 | 28.8 | 4.93
3 | 04/05/2014 | 9:00:00 a.m. | 16732592 | 1514619 | 7.095 | 0 | 90.592 | 28 | 4.92
2 | 03/05/2014 | 9:00:00 a.m. | 16727883 | 1513953 | 7.0701 | 0 | 90.462 | 28.3 | 4.93
1 | 02/05/2014 | 9:00:00 a.m. | 16722915 | 1513250 | 7.0652 | 0 | 90.989 | 29.2 | 4.93