## DeAcero horario 053114 MC B
Data Log
Unit Serial Number: | 04/07/33086
Meter/Site ID: | 3M 37553 deacero
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 743
Fault/Alarms Recorded: | Date | Time | Condition
1 | 19/05/2014 | 6:28:25 p.m. | 0 (Fault Register Cleared )
2 | 19/05/2014 | 6:28:19 p.m. | 0 (Alarm Register Cleared )
3 | 19/05/2014 | 6:19:55 p.m. | 14 (Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
4 | 19/05/2014 | 6:19:25 p.m. | 6 (Low Pressure Alarm Occurred High Temperature Alarm Occurred)
5 | 19/05/2014 | 6:18:25 p.m. | 4 (Temperature Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
743 | 01/06/2014 | 10:00:00 a.m. | 16861391 | 1531558 | 7.7287 | 1 | 97.779 | 22.5 | 4.9
742 | 01/06/2014 | 9:00:00 a.m. | 16861186 | 1531532 | 7.7192 | 1 | 97.99 | 22 | 4.89
741 | 01/06/2014 | 8:00:00 a.m. | 16860980 | 1531505 | 7.7803 | 1 | 98.235 | 21.4 | 4.88
740 | 01/06/2014 | 7:00:00 a.m. | 16860771 | 1531478 | 7.8135 | 1 | 98.474 | 21.2 | 4.88
739 | 01/06/2014 | 6:00:00 a.m. | 16860586 | 1531455 | 7.8102 | 1 | 98.322 | 21.5 | 4.88
738 | 01/06/2014 | 5:00:00 a.m. | 16860387 | 1531429 | 7.8096 | 1 | 98.381 | 21.4 | 4.88
737 | 01/06/2014 | 4:00:00 a.m. | 16860197 | 1531405 | 7.8255 | 1 | 98.449 | 21.5 | 4.89
736 | 01/06/2014 | 3:00:00 a.m. | 16860020 | 1531382 | 7.7997 | 1 | 98.295 | 21.7 | 4.89
735 | 01/06/2014 | 2:00:00 a.m. | 16859826 | 1531357 | 7.7969 | 1 | 98.363 | 21.7 | 4.89
734 | 01/06/2014 | 1:00:00 a.m. | 16859636 | 1531333 | 7.8148 | 1 | 98.52 | 21.7 | 4.89
733 | 01/06/2014 | 12:00:00 a.m. | 16859463 | 1531311 | 7.8045 | 1 | 98.395 | 22 | 4.9
732 | 31/05/2014 | 11:00:00 p.m. | 16859272 | 1531286 | 7.8008 | 1 | 98.473 | 22.1 | 4.9
731 | 31/05/2014 | 10:00:00 p.m. | 16859089 | 1531263 | 7.7954 | 1 | 98.323 | 22.3 | 4.9
730 | 31/05/2014 | 9:00:00 p.m. | 16858906 | 1531239 | 7.7731 | 1 | 98.094 | 22.6 | 4.9
729 | 31/05/2014 | 8:00:00 p.m. | 16858719 | 1531215 | 7.7517 | 1 | 98.047 | 23.1 | 4.91
728 | 31/05/2014 | 7:00:00 p.m. | 16858551 | 1531193 | 7.7208 | 1 | 97.587 | 23.8 | 4.91
727 | 31/05/2014 | 6:00:00 p.m. | 16858353 | 1531168 | 7.6697 | 1 | 97.58 | 24.2 | 4.91
726 | 31/05/2014 | 5:00:00 p.m. | 16858165 | 1531143 | 7.6842 | 1 | 97.694 | 24.7 | 4.91
725 | 31/05/2014 | 4:00:00 p.m. | 16857995 | 1531121 | 7.6403 | 1 | 97.549 | 25.2 | 4.91
724 | 31/05/2014 | 3:00:00 p.m. | 16857808 | 1531097 | 7.6486 | 1 | 97.587 | 25.5 | 4.91
723 | 31/05/2014 | 2:00:00 p.m. | 16857626 | 1531073 | 7.6523 | 1 | 97.501 | 24.1 | 4.91
722 | 31/05/2014 | 1:00:00 p.m. | 16857446 | 1531049 | 7.6657 | 1 | 97.393 | 23.8 | 4.91
721 | 31/05/2014 | 12:00:00 p.m. | 16857247 | 1531023 | 7.6982 | 1 | 97.618 | 22.9 | 4.9
720 | 31/05/2014 | 11:00:00 a.m. | 16857074 | 1531001 | 7.7315 | 1 | 97.691 | 22.2 | 4.9
719 | 31/05/2014 | 10:00:00 a.m. | 16856893 | 1530978 | 7.7382 | 1 | 97.749 | 22.1 | 4.89
718 | 31/05/2014 | 9:00:00 a.m. | 16856704 | 1530953 | 7.7332 | 1 | 97.967 | 22.1 | 4.89
717 | 31/05/2014 | 8:00:00 a.m. | 16856517 | 1530929 | 7.7534 | 1 | 98.084 | 21.8 | 4.89
716 | 31/05/2014 | 7:00:00 a.m. | 16856344 | 1530907 | 7.7601 | 1 | 98.102 | 21.9 | 4.89
715 | 31/05/2014 | 6:00:00 a.m. | 16856171 | 1530885 | 7.7811 | 1 | 98.142 | 22 | 4.89
714 | 31/05/2014 | 5:00:00 a.m. | 16855980 | 1530860 | 7.7986 | 1 | 98.2 | 21.9 | 4.89
713 | 31/05/2014 | 4:00:00 a.m. | 16855800 | 1530837 | 7.774 | 1 | 98.147 | 22 | 4.89
712 | 31/05/2014 | 3:00:00 a.m. | 16855612 | 1530813 | 7.7679 | 1 | 98.142 | 22 | 4.89
711 | 31/05/2014 | 2:00:00 a.m. | 16855426 | 1530789 | 7.7925 | 1 | 98.16 | 21.9 | 4.89
710 | 31/05/2014 | 1:00:00 a.m. | 16855235 | 1530764 | 7.7762 | 1 | 98.134 | 21.5 | 4.89
709 | 31/05/2014 | 12:00:00 a.m. | 16855047 | 1530740 | 7.7789 | 1 | 98.014 | 21.5 | 4.9
708 | 30/05/2014 | 11:00:00 p.m. | 16854859 | 1530716 | 7.7741 | 1 | 98.208 | 21.6 | 4.9
707 | 30/05/2014 | 10:00:00 p.m. | 16854682 | 1530693 | 7.7934 | 1 | 97.976 | 21.7 | 4.9
706 | 30/05/2014 | 9:00:00 p.m. | 16854492 | 1530669 | 7.7647 | 1 | 97.959 | 21.8 | 4.9
705 | 30/05/2014 | 8:00:00 p.m. | 16854309 | 1530645 | 7.7572 | 1 | 97.989 | 22.3 | 4.9
704 | 30/05/2014 | 7:00:00 p.m. | 16854128 | 1530622 | 7.7313 | 1 | 97.895 | 22.6 | 4.9
703 | 30/05/2014 | 6:00:00 p.m. | 16853934 | 1530597 | 7.7509 | 1 | 97.994 | 21.9 | 4.9
702 | 30/05/2014 | 5:00:00 p.m. | 16853749 | 1530573 | 7.7909 | 1 | 97.73 | 20.8 | 4.91
701 | 30/05/2014 | 4:00:00 p.m. | 16853554 | 1530548 | 7.6901 | 1 | 97.642 | 23.7 | 4.91
700 | 30/05/2014 | 3:00:00 p.m. | 16853376 | 1530525 | 7.6706 | 1 | 97.564 | 24 | 4.91
699 | 30/05/2014 | 2:00:00 p.m. | 16853183 | 1530500 | 7.672 | 1 | 97.442 | 24.5 | 4.91
698 | 30/05/2014 | 1:00:00 p.m. | 16852984 | 1530474 | 7.6225 | 1 | 97.369 | 24.3 | 4.91
697 | 30/05/2014 | 12:00:00 p.m. | 16852784 | 1530448 | 7.6502 | 1 | 97.384 | 23.9 | 4.91
696 | 30/05/2014 | 11:00:00 a.m. | 16852584 | 1530422 | 7.6799 | 1 | 97.512 | 23.2 | 4.91
695 | 30/05/2014 | 10:00:00 a.m. | 16852388 | 1530396 | 7.7055 | 1 | 97.544 | 22.9 | 4.9
694 | 30/05/2014 | 9:00:00 a.m. | 16852191 | 1530371 | 7.7585 | 1 | 97.862 | 22.3 | 4.9
693 | 30/05/2014 | 8:00:00 a.m. | 16852002 | 1530346 | 7.7594 | 1 | 97.976 | 22 | 4.89
692 | 30/05/2014 | 7:00:00 a.m. | 16851825 | 1530323 | 7.7741 | 1 | 97.967 | 22.1 | 4.89
691 | 30/05/2014 | 6:00:00 a.m. | 16851648 | 1530301 | 7.76 | 1 | 97.912 | 22.1 | 4.89
690 | 30/05/2014 | 5:00:00 a.m. | 16851461 | 1530276 | 7.7765 | 1 | 97.919 | 22 | 4.89
689 | 30/05/2014 | 4:00:00 a.m. | 16851275 | 1530253 | 7.7719 | 1 | 97.963 | 22.1 | 4.9
688 | 30/05/2014 | 3:00:00 a.m. | 16851085 | 1530228 | 7.7626 | 1 | 97.922 | 22.1 | 4.9
687 | 30/05/2014 | 2:00:00 a.m. | 16850895 | 1530204 | 7.7476 | 1 | 97.916 | 22.2 | 4.9
686 | 30/05/2014 | 1:00:00 a.m. | 16850697 | 1530178 | 7.7709 | 1 | 97.936 | 21.6 | 4.9
685 | 30/05/2014 | 12:00:00 a.m. | 16850495 | 1530152 | 7.7953 | 1 | 97.96 | 21.8 | 4.9
684 | 29/05/2014 | 11:00:00 p.m. | 16850299 | 1530127 | 7.7438 | 1 | 97.915 | 22.5 | 4.9
683 | 29/05/2014 | 10:00:00 p.m. | 16850103 | 1530101 | 7.7296 | 1 | 97.928 | 22.4 | 4.9
682 | 29/05/2014 | 9:00:00 p.m. | 16849922 | 1530078 | 7.7598 | 1 | 97.99 | 22.5 | 4.9
681 | 29/05/2014 | 8:00:00 p.m. | 16849756 | 1530057 | 7.7397 | 1 | 97.785 | 22.6 | 4.91
680 | 29/05/2014 | 7:00:00 p.m. | 16849560 | 1530031 | 7.7314 | 1 | 97.801 | 22.5 | 4.91
679 | 29/05/2014 | 6:00:00 p.m. | 16849365 | 1530006 | 7.7203 | 1 | 97.823 | 23.4 | 4.91
678 | 29/05/2014 | 5:00:00 p.m. | 16849187 | 1529983 | 7.7164 | 1 | 97.774 | 23.3 | 4.91
677 | 29/05/2014 | 4:00:00 p.m. | 16849004 | 1529959 | 7.7138 | 1 | 97.74 | 23.7 | 4.91
676 | 29/05/2014 | 3:00:00 p.m. | 16848821 | 1529936 | 7.6638 | 1 | 97.454 | 25.1 | 4.92
675 | 29/05/2014 | 2:00:00 p.m. | 16848629 | 1529911 | 7.6441 | 1 | 97.454 | 25.4 | 4.92
674 | 29/05/2014 | 1:00:00 p.m. | 16848434 | 1529885 | 7.6299 | 1 | 97.461 | 25 | 4.91
673 | 29/05/2014 | 12:00:00 p.m. | 16848260 | 1529862 | 7.6429 | 1 | 97.266 | 24.7 | 4.91
672 | 29/05/2014 | 11:00:00 a.m. | 16848058 | 1529836 | 7.6692 | 1 | 97.384 | 23.5 | 4.91
671 | 29/05/2014 | 10:00:00 a.m. | 16847854 | 1529809 | 7.6909 | 1 | 97.616 | 22.8 | 4.9
670 | 29/05/2014 | 9:00:00 a.m. | 16847672 | 1529786 | 7.7026 | 1 | 97.615 | 22.5 | 4.9
669 | 29/05/2014 | 8:00:00 a.m. | 16847464 | 1529759 | 7.7573 | 1 | 97.825 | 22.2 | 4.9
668 | 29/05/2014 | 7:00:00 a.m. | 16847265 | 1529733 | 7.7665 | 1 | 97.859 | 22.3 | 4.9
667 | 29/05/2014 | 6:00:00 a.m. | 16847067 | 1529708 | 7.7341 | 1 | 97.884 | 22.3 | 4.89
666 | 29/05/2014 | 5:00:00 a.m. | 16846869 | 1529682 | 7.7501 | 1 | 98.034 | 22.1 | 4.9
665 | 29/05/2014 | 4:00:00 a.m. | 16846694 | 1529659 | 7.7611 | 1 | 97.958 | 22.3 | 4.9
664 | 29/05/2014 | 3:00:00 a.m. | 16846503 | 1529635 | 7.7576 | 1 | 97.954 | 22.3 | 4.9
663 | 29/05/2014 | 2:00:00 a.m. | 16846305 | 1529609 | 7.7743 | 1 | 97.919 | 22.3 | 4.9
662 | 29/05/2014 | 1:00:00 a.m. | 16846105 | 1529583 | 7.7405 | 1 | 97.871 | 22.1 | 4.9
661 | 29/05/2014 | 12:00:00 a.m. | 16845903 | 1529557 | 7.7601 | 1 | 97.996 | 22 | 4.9
660 | 28/05/2014 | 11:00:00 p.m. | 16845717 | 1529533 | 7.7733 | 1 | 97.948 | 21.9 | 4.9
659 | 28/05/2014 | 10:00:00 p.m. | 16845519 | 1529508 | 7.7812 | 1 | 98.041 | 21.7 | 4.9
658 | 28/05/2014 | 9:00:00 p.m. | 16845325 | 1529483 | 7.7752 | 1 | 97.95 | 21.7 | 4.9
657 | 28/05/2014 | 8:00:00 p.m. | 16845127 | 1529458 | 7.7684 | 1 | 98.04 | 22.3 | 4.91
656 | 28/05/2014 | 7:00:00 p.m. | 16844947 | 1529434 | 7.7378 | 1 | 97.928 | 23.2 | 4.91
655 | 28/05/2014 | 6:00:00 p.m. | 16844748 | 1529409 | 7.7433 | 1 | 97.926 | 23.7 | 4.91
654 | 28/05/2014 | 5:00:00 p.m. | 16844576 | 1529386 | 7.7166 | 1 | 97.81 | 23.9 | 4.91
653 | 28/05/2014 | 4:00:00 p.m. | 16844396 | 1529363 | 7.6885 | 1 | 97.76 | 24.1 | 4.91
652 | 28/05/2014 | 3:00:00 p.m. | 16844212 | 1529339 | 7.6483 | 1 | 97.639 | 25.1 | 4.92
651 | 28/05/2014 | 2:00:00 p.m. | 16844036 | 1529316 | 7.6585 | 1 | 97.374 | 25.1 | 4.91
650 | 28/05/2014 | 1:00:00 p.m. | 16843836 | 1529290 | 7.6623 | 1 | 97.511 | 24.5 | 4.91
649 | 28/05/2014 | 12:00:00 p.m. | 16843655 | 1529266 | 7.6517 | 1 | 97.544 | 23.7 | 4.91
648 | 28/05/2014 | 11:00:00 a.m. | 16843446 | 1529239 | 7.7146 | 1 | 97.513 | 23.5 | 4.91
647 | 28/05/2014 | 10:00:00 a.m. | 16843234 | 1529211 | 7.6972 | 1 | 97.688 | 22.9 | 4.91
646 | 28/05/2014 | 9:00:00 a.m. | 16843026 | 1529185 | 7.7552 | 1 | 97.865 | 22.2 | 4.9
645 | 28/05/2014 | 8:00:00 a.m. | 16842836 | 1529160 | 7.7566 | 1 | 97.952 | 22 | 4.89
644 | 28/05/2014 | 7:00:00 a.m. | 16842655 | 1529137 | 7.774 | 1 | 97.98 | 22.1 | 4.9
643 | 28/05/2014 | 6:00:00 a.m. | 16842461 | 1529112 | 7.7567 | 1 | 98.071 | 21.9 | 4.9
642 | 28/05/2014 | 5:00:00 a.m. | 16842275 | 1529088 | 7.8084 | 1 | 98.138 | 22.1 | 4.9
641 | 28/05/2014 | 4:00:00 a.m. | 16842098 | 1529065 | 7.7726 | 1 | 98.057 | 22.4 | 4.9
640 | 28/05/2014 | 3:00:00 a.m. | 16841901 | 1529040 | 7.7428 | 1 | 97.974 | 22.4 | 4.9
639 | 28/05/2014 | 2:00:00 a.m. | 16841697 | 1529013 | 7.7619 | 1 | 98.009 | 22.2 | 4.9
638 | 28/05/2014 | 1:00:00 a.m. | 16841499 | 1528988 | 7.7786 | 1 | 98.065 | 21.7 | 4.9
637 | 28/05/2014 | 12:00:00 a.m. | 16841312 | 1528964 | 7.7739 | 1 | 97.965 | 21.5 | 4.9
636 | 27/05/2014 | 11:00:00 p.m. | 16841110 | 1528938 | 7.7861 | 1 | 98.015 | 21.5 | 4.9
635 | 27/05/2014 | 10:00:00 p.m. | 16840926 | 1528914 | 7.7559 | 1 | 97.929 | 22.3 | 4.91
634 | 27/05/2014 | 9:00:00 p.m. | 16840733 | 1528889 | 7.727 | 1 | 97.789 | 23 | 4.91
633 | 27/05/2014 | 8:00:00 p.m. | 16840534 | 1528864 | 7.7229 | 1 | 97.681 | 23.4 | 4.91
632 | 27/05/2014 | 7:00:00 p.m. | 16840334 | 1528838 | 7.6898 | 1 | 97.599 | 23.8 | 4.91
631 | 27/05/2014 | 6:00:00 p.m. | 16840133 | 1528811 | 7.6883 | 1 | 97.663 | 23.6 | 4.91
630 | 27/05/2014 | 5:00:00 p.m. | 16839933 | 1528785 | 7.713 | 1 | 97.794 | 23.8 | 4.91
629 | 27/05/2014 | 4:00:00 p.m. | 16839739 | 1528760 | 7.7235 | 1 | 98.027 | 24.5 | 4.91
628 | 27/05/2014 | 3:00:00 p.m. | 16839567 | 1528738 | 7.6671 | 1 | 97.557 | 25.6 | 4.91
627 | 27/05/2014 | 2:00:00 p.m. | 16839370 | 1528712 | 7.6468 | 1 | 97.787 | 25.5 | 4.91
626 | 27/05/2014 | 1:00:00 p.m. | 16839212 | 1528691 | 7.6637 | 1 | 97.565 | 24.2 | 4.91
625 | 27/05/2014 | 12:00:00 p.m. | 16839014 | 1528666 | 7.6815 | 1 | 97.665 | 24 | 4.91
624 | 27/05/2014 | 11:00:00 a.m. | 16838825 | 1528641 | 7.6799 | 1 | 97.635 | 23.6 | 4.91
623 | 27/05/2014 | 10:00:00 a.m. | 16838629 | 1528616 | 7.7101 | 1 | 97.582 | 22.8 | 4.91
622 | 27/05/2014 | 9:00:00 a.m. | 16838437 | 1528591 | 7.7169 | 1 | 97.759 | 22.2 | 4.9
621 | 27/05/2014 | 8:00:00 a.m. | 16838252 | 1528567 | 7.7681 | 1 | 97.872 | 21.8 | 4.9
620 | 27/05/2014 | 7:00:00 a.m. | 16838069 | 1528543 | 7.7627 | 1 | 98.07 | 21.6 | 4.9
619 | 27/05/2014 | 6:00:00 a.m. | 16837910 | 1528523 | 7.7629 | 1 | 97.912 | 21.9 | 4.9
618 | 27/05/2014 | 5:00:00 a.m. | 16837720 | 1528498 | 7.7746 | 1 | 98.018 | 21.5 | 4.9
617 | 27/05/2014 | 4:00:00 a.m. | 16837544 | 1528476 | 7.7879 | 1 | 98.138 | 21.9 | 4.9
616 | 27/05/2014 | 3:00:00 a.m. | 16837373 | 1528454 | 7.7823 | 1 | 98.027 | 22.2 | 4.9
615 | 27/05/2014 | 2:00:00 a.m. | 16837173 | 1528428 | 7.7634 | 1 | 98.066 | 22.1 | 4.9
614 | 27/05/2014 | 1:00:00 a.m. | 16836980 | 1528403 | 7.7979 | 1 | 98.17 | 21.8 | 4.9
613 | 27/05/2014 | 12:00:00 a.m. | 16836807 | 1528381 | 7.7823 | 1 | 98.028 | 21.7 | 4.9
612 | 26/05/2014 | 11:00:00 p.m. | 16836608 | 1528355 | 7.7949 | 1 | 98.206 | 20.4 | 4.9
611 | 26/05/2014 | 10:00:00 p.m. | 16836426 | 1528332 | 7.8421 | 1 | 98.083 | 20.7 | 4.91
610 | 26/05/2014 | 9:00:00 p.m. | 16836231 | 1528307 | 7.7682 | 1 | 98.096 | 22.8 | 4.91
609 | 26/05/2014 | 8:00:00 p.m. | 16836047 | 1528283 | 7.7409 | 1 | 97.922 | 23.4 | 4.91
608 | 26/05/2014 | 7:00:00 p.m. | 16835865 | 1528260 | 7.6982 | 1 | 98.088 | 23.8 | 4.91
607 | 26/05/2014 | 6:00:00 p.m. | 16835677 | 1528235 | 7.7194 | 1 | 97.786 | 24.5 | 4.92
606 | 26/05/2014 | 5:00:00 p.m. | 16835473 | 1528209 | 7.6577 | 1 | 97.47 | 25.6 | 4.93
605 | 26/05/2014 | 4:00:00 p.m. | 16835277 | 1528183 | 7.6511 | 1 | 97.65 | 26.3 | 4.93
604 | 26/05/2014 | 3:00:00 p.m. | 16835111 | 1528161 | 7.6066 | 1 | 97.538 | 26.7 | 4.93
603 | 26/05/2014 | 2:00:00 p.m. | 16834921 | 1528136 | 7.6084 | 1 | 97.346 | 26.2 | 4.92
602 | 26/05/2014 | 1:00:00 p.m. | 16834725 | 1528111 | 7.6 | 1 | 97.512 | 25.9 | 4.93
601 | 26/05/2014 | 12:00:00 p.m. | 16834563 | 1528089 | 7.6631 | 1 | 97.447 | 25.2 | 4.92
600 | 26/05/2014 | 11:00:00 a.m. | 16834374 | 1528065 | 7.6442 | 1 | 97.323 | 24.6 | 4.92
599 | 26/05/2014 | 10:00:00 a.m. | 16834172 | 1528038 | 7.6755 | 1 | 97.521 | 23.6 | 4.91
598 | 26/05/2014 | 9:00:00 a.m. | 16833969 | 1528012 | 7.7118 | 1 | 97.798 | 22.8 | 4.9
597 | 26/05/2014 | 8:00:00 a.m. | 16833758 | 1527985 | 7.7562 | 1 | 97.96 | 22.5 | 4.9
596 | 26/05/2014 | 7:00:00 a.m. | 16833556 | 1527959 | 7.7341 | 1 | 98.062 | 22.5 | 4.91
595 | 26/05/2014 | 6:00:00 a.m. | 16833385 | 1527937 | 7.762 | 1 | 98.066 | 22.6 | 4.91
594 | 26/05/2014 | 5:00:00 a.m. | 16833203 | 1527913 | 7.7452 | 1 | 98.034 | 22.5 | 4.9
593 | 26/05/2014 | 4:00:00 a.m. | 16833019 | 1527889 | 7.7746 | 1 | 98.253 | 22.5 | 4.9
592 | 26/05/2014 | 3:00:00 a.m. | 16832854 | 1527868 | 7.7569 | 1 | 98.093 | 22.6 | 4.91
591 | 26/05/2014 | 2:00:00 a.m. | 16832669 | 1527844 | 7.7533 | 1 | 98.149 | 22.7 | 4.9
590 | 26/05/2014 | 1:00:00 a.m. | 16832476 | 1527819 | 7.7722 | 1 | 98.234 | 22.6 | 4.91
589 | 26/05/2014 | 12:00:00 a.m. | 16832303 | 1527797 | 7.7526 | 1 | 98.286 | 22.9 | 4.91
588 | 25/05/2014 | 11:00:00 p.m. | 16832110 | 1527772 | 7.7457 | 1 | 98.336 | 22.7 | 4.91
587 | 25/05/2014 | 10:00:00 p.m. | 16831931 | 1527749 | 7.7588 | 1 | 98.478 | 22.9 | 4.91
586 | 25/05/2014 | 9:00:00 p.m. | 16831753 | 1527726 | 7.7701 | 1 | 98.167 | 23.1 | 4.91
585 | 25/05/2014 | 8:00:00 p.m. | 16831571 | 1527703 | 7.7498 | 1 | 98.246 | 23.3 | 4.91
584 | 25/05/2014 | 7:00:00 p.m. | 16831407 | 1527682 | 7.7035 | 1 | 97.839 | 24 | 4.92
583 | 25/05/2014 | 6:00:00 p.m. | 16831208 | 1527656 | 7.692 | 1 | 97.708 | 24.3 | 4.93
582 | 25/05/2014 | 5:00:00 p.m. | 16831012 | 1527630 | 7.6797 | 1 | 97.639 | 24.9 | 4.93
581 | 25/05/2014 | 4:00:00 p.m. | 16830817 | 1527605 | 7.6482 | 1 | 97.692 | 26 | 4.92
580 | 25/05/2014 | 3:00:00 p.m. | 16830621 | 1527579 | 7.6331 | 1 | 97.737 | 26.4 | 4.92
579 | 25/05/2014 | 2:00:00 p.m. | 16830456 | 1527558 | 7.6163 | 1 | 97.508 | 25.9 | 4.92
578 | 25/05/2014 | 1:00:00 p.m. | 16830248 | 1527530 | 7.6307 | 1 | 97.575 | 24.9 | 4.91
577 | 25/05/2014 | 12:00:00 p.m. | 16830045 | 1527504 | 7.6939 | 1 | 97.692 | 23.7 | 4.91
576 | 25/05/2014 | 11:00:00 a.m. | 16829843 | 1527477 | 7.7139 | 1 | 97.741 | 23.5 | 4.91
575 | 25/05/2014 | 10:00:00 a.m. | 16829639 | 1527451 | 7.7108 | 1 | 98.073 | 22.9 | 4.91
574 | 25/05/2014 | 9:00:00 a.m. | 16829436 | 1527425 | 7.7474 | 1 | 98.325 | 22.7 | 4.9
573 | 25/05/2014 | 8:00:00 a.m. | 16829234 | 1527399 | 7.7824 | 1 | 98.199 | 22.3 | 4.9
572 | 25/05/2014 | 7:00:00 a.m. | 16829035 | 1527373 | 7.7829 | 1 | 98.16 | 22.4 | 4.9
571 | 25/05/2014 | 6:00:00 a.m. | 16828836 | 1527348 | 7.7543 | 1 | 98.141 | 22.4 | 4.9
570 | 25/05/2014 | 5:00:00 a.m. | 16828637 | 1527322 | 7.7906 | 1 | 98.197 | 22.2 | 4.9
569 | 25/05/2014 | 4:00:00 a.m. | 16828440 | 1527297 | 7.7856 | 1 | 98.187 | 22.3 | 4.9
568 | 25/05/2014 | 3:00:00 a.m. | 16828243 | 1527271 | 7.7689 | 1 | 98.173 | 21.9 | 4.9
567 | 25/05/2014 | 2:00:00 a.m. | 16828046 | 1527246 | 7.7946 | 1 | 98.21 | 21.7 | 4.9
566 | 25/05/2014 | 1:00:00 a.m. | 16827851 | 1527221 | 7.7994 | 1 | 98.259 | 22.1 | 4.91
565 | 25/05/2014 | 12:00:00 a.m. | 16827657 | 1527196 | 7.7532 | 1 | 98.191 | 21.9 | 4.91
564 | 24/05/2014 | 11:00:00 p.m. | 16827464 | 1527171 | 7.8082 | 1 | 98.21 | 22.4 | 4.91
563 | 24/05/2014 | 10:00:00 p.m. | 16827272 | 1527146 | 7.7317 | 1 | 98.215 | 23.2 | 4.91
562 | 24/05/2014 | 9:00:00 p.m. | 16827093 | 1527123 | 7.7427 | 1 | 98.06 | 23.6 | 4.91
561 | 24/05/2014 | 8:00:00 p.m. | 16826906 | 1527099 | 7.7257 | 1 | 97.923 | 23.9 | 4.91
560 | 24/05/2014 | 7:00:00 p.m. | 16826710 | 1527074 | 7.6923 | 1 | 97.93 | 24.2 | 4.92
559 | 24/05/2014 | 6:00:00 p.m. | 16826512 | 1527048 | 7.7086 | 1 | 97.882 | 24.4 | 4.92
558 | 24/05/2014 | 5:00:00 p.m. | 16826319 | 1527023 | 7.6763 | 1 | 97.825 | 24.7 | 4.93
557 | 24/05/2014 | 4:00:00 p.m. | 16826128 | 1526998 | 7.6792 | 1 | 97.703 | 25.5 | 4.93
556 | 24/05/2014 | 3:00:00 p.m. | 16825932 | 1526973 | 7.6196 | 1 | 97.51 | 27.1 | 4.93
555 | 24/05/2014 | 2:00:00 p.m. | 16825732 | 1526946 | 7.5991 | 1 | 97.547 | 26.2 | 4.92
554 | 24/05/2014 | 1:00:00 p.m. | 16825535 | 1526920 | 7.6301 | 1 | 97.418 | 25.5 | 4.92
553 | 24/05/2014 | 12:00:00 p.m. | 16825334 | 1526894 | 7.6573 | 1 | 97.42 | 24.8 | 4.92
552 | 24/05/2014 | 11:00:00 a.m. | 16825128 | 1526867 | 7.6605 | 1 | 97.483 | 24 | 4.91
551 | 24/05/2014 | 10:00:00 a.m. | 16824919 | 1526840 | 7.6852 | 1 | 97.743 | 23.2 | 4.91
550 | 24/05/2014 | 9:00:00 a.m. | 16824744 | 1526817 | 7.7474 | 1 | 97.926 | 22.7 | 4.91
549 | 24/05/2014 | 8:00:00 a.m. | 16824561 | 1526793 | 7.7619 | 1 | 98.134 | 22.3 | 4.9
548 | 24/05/2014 | 7:00:00 a.m. | 16824368 | 1526769 | 7.7537 | 1 | 98.222 | 22.4 | 4.9
547 | 24/05/2014 | 6:00:00 a.m. | 16824176 | 1526744 | 7.7791 | 1 | 98.258 | 22.3 | 4.9
546 | 24/05/2014 | 5:00:00 a.m. | 16823982 | 1526719 | 7.7649 | 1 | 98.22 | 22.4 | 4.9
545 | 24/05/2014 | 4:00:00 a.m. | 16823788 | 1526694 | 7.7657 | 1 | 98.24 | 22.3 | 4.9
544 | 24/05/2014 | 3:00:00 a.m. | 16823595 | 1526669 | 7.782 | 1 | 98.152 | 22.4 | 4.9
543 | 24/05/2014 | 2:00:00 a.m. | 16823401 | 1526644 | 7.7605 | 1 | 98.145 | 22.4 | 4.91
542 | 24/05/2014 | 1:00:00 a.m. | 16823208 | 1526619 | 7.7818 | 1 | 98.233 | 22.4 | 4.91
541 | 24/05/2014 | 12:00:00 a.m. | 16823014 | 1526594 | 7.7719 | 1 | 98.261 | 21.7 | 4.91
540 | 23/05/2014 | 11:00:00 p.m. | 16822820 | 1526570 | 7.8348 | 1 | 98.32 | 21.4 | 4.91
539 | 23/05/2014 | 10:00:00 p.m. | 16822630 | 1526545 | 7.7556 | 1 | 98.147 | 22.8 | 4.91
538 | 23/05/2014 | 9:00:00 p.m. | 16822444 | 1526521 | 7.7174 | 1 | 98.047 | 23.4 | 4.91
537 | 23/05/2014 | 8:00:00 p.m. | 16822258 | 1526497 | 7.7313 | 1 | 98.028 | 23.6 | 4.91
536 | 23/05/2014 | 7:00:00 p.m. | 16822067 | 1526472 | 7.7227 | 1 | 98.143 | 23 | 4.91
535 | 23/05/2014 | 6:00:00 p.m. | 16821874 | 1526447 | 7.7826 | 1 | 98.003 | 24 | 4.92
534 | 23/05/2014 | 5:00:00 p.m. | 16821679 | 1526422 | 7.6775 | 1 | 97.749 | 24.4 | 4.92
533 | 23/05/2014 | 4:00:00 p.m. | 16821483 | 1526397 | 7.6775 | 1 | 97.737 | 24.6 | 4.92
532 | 23/05/2014 | 3:00:00 p.m. | 16821291 | 1526372 | 7.6799 | 1 | 97.647 | 25.9 | 4.93
531 | 23/05/2014 | 2:00:00 p.m. | 16821102 | 1526347 | 7.6063 | 1 | 97.628 | 26.3 | 4.93
530 | 23/05/2014 | 1:00:00 p.m. | 16820911 | 1526322 | 7.6431 | 1 | 97.623 | 25.9 | 4.93
529 | 23/05/2014 | 12:00:00 p.m. | 16820715 | 1526296 | 7.6362 | 1 | 97.696 | 24.9 | 4.92
528 | 23/05/2014 | 11:00:00 a.m. | 16820514 | 1526270 | 7.6826 | 1 | 97.698 | 24.2 | 4.91
527 | 23/05/2014 | 10:00:00 a.m. | 16820308 | 1526243 | 7.6893 | 1 | 97.926 | 23.5 | 4.91
526 | 23/05/2014 | 9:00:00 a.m. | 16820102 | 1526216 | 7.7416 | 1 | 98.147 | 22.9 | 4.91
525 | 23/05/2014 | 8:00:00 a.m. | 16819917 | 1526193 | 7.7473 | 1 | 98.193 | 22.5 | 4.91
524 | 23/05/2014 | 7:00:00 a.m. | 16819728 | 1526168 | 7.7823 | 1 | 98.265 | 22.5 | 4.91
523 | 23/05/2014 | 6:00:00 a.m. | 16819540 | 1526144 | 7.7538 | 1 | 98.228 | 22.6 | 4.91
522 | 23/05/2014 | 5:00:00 a.m. | 16819350 | 1526120 | 7.8048 | 1 | 98.243 | 22.3 | 4.91
521 | 23/05/2014 | 4:00:00 a.m. | 16819160 | 1526095 | 7.7559 | 1 | 98.136 | 23 | 4.91
520 | 23/05/2014 | 3:00:00 a.m. | 16818968 | 1526070 | 7.7681 | 1 | 98.29 | 23 | 4.91
519 | 23/05/2014 | 2:00:00 a.m. | 16818777 | 1526046 | 7.7488 | 1 | 98.312 | 23.1 | 4.91
518 | 23/05/2014 | 1:00:00 a.m. | 16818590 | 1526022 | 7.7728 | 1 | 98.243 | 23.2 | 4.91
517 | 23/05/2014 | 12:00:00 a.m. | 16818397 | 1525997 | 7.7595 | 1 | 98.26 | 23.4 | 4.91
516 | 22/05/2014 | 11:00:00 p.m. | 16818206 | 1525972 | 7.7432 | 1 | 98.361 | 23.3 | 4.91
515 | 22/05/2014 | 10:00:00 p.m. | 16818013 | 1525947 | 7.752 | 1 | 98.263 | 23.3 | 4.91
514 | 22/05/2014 | 9:00:00 p.m. | 16817821 | 1525922 | 7.7281 | 1 | 98.289 | 23.5 | 4.91
513 | 22/05/2014 | 8:00:00 p.m. | 16817631 | 1525898 | 7.7116 | 1 | 98.275 | 23.8 | 4.92
512 | 22/05/2014 | 7:00:00 p.m. | 16817438 | 1525873 | 7.7568 | 1 | 98.186 | 24.2 | 4.92
511 | 22/05/2014 | 6:00:00 p.m. | 16817244 | 1525848 | 7.6914 | 1 | 98.03 | 24.6 | 4.93
510 | 22/05/2014 | 5:00:00 p.m. | 16817038 | 1525821 | 7.692 | 1 | 97.992 | 25.3 | 4.93
509 | 22/05/2014 | 4:00:00 p.m. | 16816851 | 1525797 | 7.6518 | 1 | 97.743 | 26.6 | 4.93
508 | 22/05/2014 | 3:00:00 p.m. | 16816657 | 1525771 | 7.5865 | 1 | 97.72 | 27 | 4.93
507 | 22/05/2014 | 2:00:00 p.m. | 16816452 | 1525744 | 7.6278 | 1 | 97.721 | 26.3 | 4.93
506 | 22/05/2014 | 1:00:00 p.m. | 16816256 | 1525719 | 7.6213 | 1 | 97.741 | 25.9 | 4.93
505 | 22/05/2014 | 12:00:00 p.m. | 16816071 | 1525694 | 7.6312 | 1 | 97.609 | 25.2 | 4.93
504 | 22/05/2014 | 11:00:00 a.m. | 16815867 | 1525668 | 7.6653 | 1 | 97.707 | 24.4 | 4.92
503 | 22/05/2014 | 10:00:00 a.m. | 16815664 | 1525641 | 7.674 | 1 | 97.713 | 23.4 | 4.91
502 | 22/05/2014 | 9:00:00 a.m. | 16815462 | 1525615 | 7.7172 | 1 | 97.96 | 22.7 | 4.91
501 | 22/05/2014 | 8:00:00 a.m. | 16815259 | 1525589 | 7.7727 | 1 | 98.218 | 22.2 | 4.9
500 | 22/05/2014 | 7:00:00 a.m. | 16815063 | 1525564 | 7.7856 | 1 | 98.396 | 22.5 | 4.9
499 | 22/05/2014 | 6:00:00 a.m. | 16814880 | 1525540 | 7.7606 | 1 | 98.409 | 22.7 | 4.9
498 | 22/05/2014 | 5:00:00 a.m. | 16814677 | 1525514 | 7.7971 | 1 | 98.617 | 22.2 | 4.9
497 | 22/05/2014 | 4:00:00 a.m. | 16814490 | 1525490 | 7.8536 | 1 | 98.87 | 22.3 | 4.91
496 | 22/05/2014 | 3:00:00 a.m. | 16814325 | 1525469 | 7.7796 | 1 | 98.536 | 22.2 | 4.91
495 | 22/05/2014 | 2:00:00 a.m. | 16814119 | 1525443 | 7.857 | 1 | 98.807 | 20.1 | 4.91
494 | 22/05/2014 | 1:00:00 a.m. | 16813960 | 1525422 | 7.8456 | 1 | 98.771 | 22.9 | 4.91
493 | 22/05/2014 | 12:00:00 a.m. | 16813801 | 1525402 | 7.7555 | 1 | 98.528 | 23 | 4.91
492 | 21/05/2014 | 11:00:00 p.m. | 16813633 | 1525380 | 7.7609 | 1 | 98.753 | 22.9 | 4.91
491 | 21/05/2014 | 10:00:00 p.m. | 16813483 | 1525361 | 7.7861 | 1 | 98.49 | 23.2 | 4.91
490 | 21/05/2014 | 9:00:00 p.m. | 16813310 | 1525339 | 7.7445 | 1 | 98.476 | 23.2 | 4.91
489 | 21/05/2014 | 8:00:00 p.m. | 16813147 | 1525318 | 7.7546 | 1 | 98.422 | 23.4 | 4.91
488 | 21/05/2014 | 7:00:00 p.m. | 16813005 | 1525300 | 7.7452 | 1 | 98.159 | 24.1 | 4.92
487 | 21/05/2014 | 6:00:00 p.m. | 16812817 | 1525275 | 7.7066 | 1 | 98.349 | 23.8 | 4.92
486 | 21/05/2014 | 5:00:00 p.m. | 16812653 | 1525254 | 7.7604 | 1 | 98.459 | 21.9 | 4.91
485 | 21/05/2014 | 4:00:00 p.m. | 16812487 | 1525233 | 7.8468 | 1 | 98.114 | 23.4 | 4.92
484 | 21/05/2014 | 3:00:00 p.m. | 16812288 | 1525207 | 7.6655 | 1 | 98.015 | 26.6 | 4.93
483 | 21/05/2014 | 2:00:00 p.m. | 16812129 | 1525186 | 7.6178 | 1 | 97.853 | 26.7 | 4.93
482 | 21/05/2014 | 1:00:00 p.m. | 16811972 | 1525166 | 7.6118 | 1 | 97.667 | 26.1 | 4.93
481 | 21/05/2014 | 12:00:00 p.m. | 16811778 | 1525140 | 7.6593 | 1 | 97.804 | 25.9 | 4.93
480 | 21/05/2014 | 11:00:00 a.m. | 16811626 | 1525120 | 7.647 | 1 | 97.75 | 25 | 4.93
479 | 21/05/2014 | 10:00:00 a.m. | 16811454 | 1525098 | 7.6753 | 1 | 97.818 | 23.9 | 4.92
478 | 21/05/2014 | 9:00:00 a.m. | 16811261 | 1525073 | 7.7493 | 1 | 98.199 | 22.9 | 4.91
477 | 21/05/2014 | 8:00:00 a.m. | 16811091 | 1525051 | 7.7843 | 1 | 98.413 | 22.6 | 4.91
476 | 21/05/2014 | 7:00:00 a.m. | 16810909 | 1525028 | 7.7958 | 1 | 98.677 | 22.4 | 4.91
475 | 21/05/2014 | 6:00:00 a.m. | 16810741 | 1525006 | 7.8042 | 1 | 98.694 | 22.3 | 4.91
474 | 21/05/2014 | 5:00:00 a.m. | 16810592 | 1524987 | 7.8093 | 1 | 98.624 | 22.6 | 4.91
473 | 21/05/2014 | 4:00:00 a.m. | 16810429 | 1524966 | 7.7549 | 1 | 98.329 | 23 | 4.91
472 | 21/05/2014 | 3:00:00 a.m. | 16810230 | 1524940 | 7.7743 | 1 | 98.41 | 23.1 | 4.91
471 | 21/05/2014 | 2:00:00 a.m. | 16810038 | 1524916 | 7.7537 | 1 | 98.328 | 23.3 | 4.91
470 | 21/05/2014 | 1:00:00 a.m. | 16809838 | 1524890 | 7.7446 | 1 | 98.338 | 23.4 | 4.91
469 | 21/05/2014 | 12:00:00 a.m. | 16809636 | 1524864 | 7.7875 | 1 | 98.422 | 23.4 | 4.91
468 | 20/05/2014 | 11:00:00 p.m. | 16809434 | 1524838 | 7.7551 | 1 | 98.581 | 23.3 | 4.91
467 | 20/05/2014 | 10:00:00 p.m. | 16809275 | 1524817 | 7.769 | 1 | 98.282 | 23.7 | 4.91
466 | 20/05/2014 | 9:00:00 p.m. | 16809075 | 1524792 | 7.7451 | 1 | 98.28 | 23.7 | 4.92
465 | 20/05/2014 | 8:00:00 p.m. | 16808884 | 1524767 | 7.7326 | 1 | 98.274 | 24 | 4.92
464 | 20/05/2014 | 7:00:00 p.m. | 16808705 | 1524744 | 7.7084 | 1 | 98.027 | 24.4 | 4.92
463 | 20/05/2014 | 6:00:00 p.m. | 16808502 | 1524717 | 7.7011 | 1 | 97.976 | 23.9 | 4.92
462 | 20/05/2014 | 5:00:00 p.m. | 16808297 | 1524691 | 7.7612 | 1 | 97.931 | 23.9 | 4.93
461 | 20/05/2014 | 4:00:00 p.m. | 16808088 | 1524664 | 7.6071 | 1 | 97.578 | 27.8 | 4.94
460 | 20/05/2014 | 3:00:00 p.m. | 16807881 | 1524636 | 7.5841 | 1 | 97.537 | 27.9 | 4.94
459 | 20/05/2014 | 2:00:00 p.m. | 16807672 | 1524609 | 7.5866 | 1 | 97.545 | 27.3 | 4.94
458 | 20/05/2014 | 1:00:00 p.m. | 16807481 | 1524584 | 7.5814 | 1 | 97.466 | 26.6 | 4.93
457 | 20/05/2014 | 12:00:00 p.m. | 16807271 | 1524556 | 7.594 | 1 | 97.402 | 26.1 | 4.94
456 | 20/05/2014 | 11:00:00 a.m. | 16807056 | 1524528 | 7.6153 | 1 | 97.463 | 24.9 | 4.93
455 | 20/05/2014 | 10:00:00 a.m. | 16806841 | 1524500 | 7.6571 | 1 | 97.69 | 23.9 | 4.92
454 | 20/05/2014 | 9:00:00 a.m. | 16806634 | 1524473 | 7.7051 | 1 | 97.953 | 23.3 | 4.91
453 | 20/05/2014 | 8:00:00 a.m. | 16806430 | 1524446 | 7.7376 | 1 | 98.109 | 22.7 | 4.91
452 | 20/05/2014 | 7:00:00 a.m. | 16806232 | 1524421 | 7.7972 | 1 | 98.339 | 22.6 | 4.91
451 | 20/05/2014 | 6:00:00 a.m. | 16806037 | 1524396 | 7.7693 | 1 | 98.407 | 22.6 | 4.91
450 | 20/05/2014 | 5:00:00 a.m. | 16805863 | 1524373 | 7.7858 | 1 | 98.362 | 22.8 | 4.91
449 | 20/05/2014 | 4:00:00 a.m. | 16805672 | 1524349 | 7.7613 | 1 | 98.354 | 23 | 4.91
448 | 20/05/2014 | 3:00:00 a.m. | 16805477 | 1524324 | 7.7487 | 1 | 98.316 | 23.1 | 4.91
447 | 20/05/2014 | 2:00:00 a.m. | 16805271 | 1524297 | 7.7544 | 1 | 98.497 | 23.1 | 4.91
446 | 20/05/2014 | 1:00:00 a.m. | 16805078 | 1524272 | 7.7904 | 1 | 98.567 | 23.1 | 4.91
445 | 20/05/2014 | 12:00:00 a.m. | 16804895 | 1524249 | 7.7555 | 1 | 98.502 | 23.4 | 4.91
444 | 19/05/2014 | 11:00:00 p.m. | 16804700 | 1524224 | 7.794 | 1 | 98.45 | 23.6 | 4.91
443 | 19/05/2014 | 10:00:00 p.m. | 16804504 | 1524198 | 7.7445 | 1 | 98.238 | 23.7 | 4.92
442 | 19/05/2014 | 9:00:00 p.m. | 16804311 | 1524173 | 7.7356 | 1 | 98.219 | 24 | 4.92
441 | 19/05/2014 | 8:00:00 p.m. | 16804126 | 1524149 | 7.7182 | 1 | 98.113 | 24.5 | 4.93
440 | 19/05/2014 | 7:00:00 p.m. | 16803944 | 1524126 | T flt | 1 | 95.586 | T flt | 4.93
439 | 19/05/2014 | 6:00:00 p.m. | 16803764 | 1524100 | 7.5911 | 0 | 98.161 | 29.4 | 4.93
438 | 19/05/2014 | 5:00:00 p.m. | 16803572 | 1524075 | 7.5702 | 0 | 98.057 | 29.9 | 4.93
437 | 19/05/2014 | 4:00:00 p.m. | 16803383 | 1524050 | 7.5391 | 0 | 97.983 | 30.7 | 4.93
436 | 19/05/2014 | 3:00:00 p.m. | 16803193 | 1524025 | 7.546 | 0 | 98.001 | 30.1 | 4.93
435 | 19/05/2014 | 2:00:00 p.m. | 16802991 | 1523998 | 7.5519 | 0 | 98.009 | 30.2 | 4.93
434 | 19/05/2014 | 1:00:00 p.m. | 16802797 | 1523972 | 7.5452 | 0 | 97.962 | 30.1 | 4.93
433 | 19/05/2014 | 12:00:00 p.m. | 16802601 | 1523946 | 7.5292 | 0 | 98.018 | 29.6 | 4.93
432 | 19/05/2014 | 11:00:00 a.m. | 16802405 | 1523920 | 7.5835 | 0 | 98.131 | 28.7 | 4.92
431 | 19/05/2014 | 10:00:00 a.m. | 16802205 | 1523894 | 7.6064 | 0 | 98.303 | 27.6 | 4.91
430 | 19/05/2014 | 9:00:00 a.m. | 16802006 | 1523868 | 7.6583 | 0 | 98.493 | 26.9 | 4.91
429 | 19/05/2014 | 8:00:00 a.m. | 16801809 | 1523842 | 7.6723 | 0 | 98.615 | 26.5 | 4.9
428 | 19/05/2014 | 7:00:00 a.m. | 16801606 | 1523816 | 7.6961 | 0 | 98.69 | 26.4 | 4.9
427 | 19/05/2014 | 6:00:00 a.m. | 16801402 | 1523789 | 7.7115 | 0 | 98.675 | 26.5 | 4.91
426 | 19/05/2014 | 5:00:00 a.m. | 16801206 | 1523764 | 7.6793 | 0 | 98.698 | 26.5 | 4.91
425 | 19/05/2014 | 4:00:00 a.m. | 16801010 | 1523738 | 7.6796 | 0 | 98.815 | 26.7 | 4.91
424 | 19/05/2014 | 3:00:00 a.m. | 16800816 | 1523713 | 7.6758 | 0 | 98.741 | 26.8 | 4.91
423 | 19/05/2014 | 2:00:00 a.m. | 16800615 | 1523687 | 7.6887 | 0 | 98.683 | 26.9 | 4.91
422 | 19/05/2014 | 1:00:00 a.m. | 16800417 | 1523661 | 7.6722 | 0 | 98.731 | 27.1 | 4.91
421 | 19/05/2014 | 12:00:00 a.m. | 16800223 | 1523636 | 7.6917 | 0 | 98.705 | 27.3 | 4.91
420 | 18/05/2014 | 11:00:00 p.m. | 16800029 | 1523611 | 7.6497 | 0 | 98.713 | 27.5 | 4.91
419 | 18/05/2014 | 10:00:00 p.m. | 16799829 | 1523584 | 7.6674 | 0 | 98.86 | 27.4 | 4.91
418 | 18/05/2014 | 9:00:00 p.m. | 16799657 | 1523562 | 7.6676 | 0 | 98.833 | 27.7 | 4.92
417 | 18/05/2014 | 8:00:00 p.m. | 16799480 | 1523539 | 7.66 | 0 | 98.568 | 28.2 | 4.92
416 | 18/05/2014 | 7:00:00 p.m. | 16799280 | 1523513 | 7.6188 | 0 | 98.455 | 28.9 | 4.93
415 | 18/05/2014 | 6:00:00 p.m. | 16799083 | 1523487 | 7.5909 | 0 | 98.48 | 29.6 | 4.93
414 | 18/05/2014 | 5:00:00 p.m. | 16798893 | 1523462 | 7.5865 | 0 | 98.426 | 30.2 | 4.94
413 | 18/05/2014 | 4:00:00 p.m. | 16798718 | 1523439 | 7.5715 | 0 | 98.26 | 31.1 | 4.94
412 | 18/05/2014 | 3:00:00 p.m. | 16798524 | 1523413 | 7.5379 | 0 | 98.226 | 30.9 | 4.94
411 | 18/05/2014 | 2:00:00 p.m. | 16798335 | 1523388 | 7.5451 | 0 | 98.174 | 30.5 | 4.93
410 | 18/05/2014 | 1:00:00 p.m. | 16798147 | 1523363 | 7.5687 | 0 | 98.236 | 30.3 | 4.93
409 | 18/05/2014 | 12:00:00 p.m. | 16797960 | 1523338 | 7.5755 | 0 | 98.305 | 29.6 | 4.93
408 | 18/05/2014 | 11:00:00 a.m. | 16797769 | 1523313 | 7.592 | 0 | 98.336 | 28.7 | 4.93
407 | 18/05/2014 | 10:00:00 a.m. | 16797577 | 1523288 | 7.6234 | 0 | 98.523 | 27.9 | 4.92
406 | 18/05/2014 | 9:00:00 a.m. | 16797385 | 1523263 | 7.6589 | 0 | 98.712 | 27.2 | 4.91
405 | 18/05/2014 | 8:00:00 a.m. | 16797194 | 1523238 | 7.7089 | 0 | 98.901 | 26.7 | 4.91
404 | 18/05/2014 | 7:00:00 a.m. | 16797002 | 1523213 | 7.7165 | 0 | 98.869 | 26.8 | 4.91
403 | 18/05/2014 | 6:00:00 a.m. | 16796813 | 1523188 | 7.688 | 0 | 98.929 | 26.9 | 4.91
402 | 18/05/2014 | 5:00:00 a.m. | 16796641 | 1523166 | 7.6718 | 0 | 98.821 | 27.1 | 4.91
401 | 18/05/2014 | 4:00:00 a.m. | 16796448 | 1523141 | 7.6822 | 0 | 98.815 | 27.1 | 4.91
400 | 18/05/2014 | 3:00:00 a.m. | 16796253 | 1523116 | 7.6986 | 0 | 98.789 | 27.1 | 4.91
399 | 18/05/2014 | 2:00:00 a.m. | 16796058 | 1523090 | 7.669 | 0 | 98.828 | 27.3 | 4.91
398 | 18/05/2014 | 1:00:00 a.m. | 16795863 | 1523065 | 7.6896 | 0 | 98.915 | 27.1 | 4.91
397 | 18/05/2014 | 12:00:00 a.m. | 16795681 | 1523041 | 7.7312 | 0 | 99.073 | 27 | 4.91
396 | 17/05/2014 | 11:00:00 p.m. | 16795529 | 1523021 | 7.6886 | 0 | 98.843 | 27.4 | 4.91
395 | 17/05/2014 | 10:00:00 p.m. | 16795342 | 1522997 | 7.7019 | 0 | 99.029 | 27.5 | 4.92
394 | 17/05/2014 | 9:00:00 p.m. | 16795190 | 1522977 | 7.6734 | 0 | 98.819 | 27.9 | 4.92
393 | 17/05/2014 | 8:00:00 p.m. | 16795001 | 1522953 | 7.6556 | 0 | 98.597 | 28.4 | 4.93
392 | 17/05/2014 | 7:00:00 p.m. | 16794804 | 1522927 | 7.6107 | 0 | 98.291 | 29 | 4.93
391 | 17/05/2014 | 6:00:00 p.m. | 16794609 | 1522901 | 7.5693 | 0 | 98.103 | 29.2 | 4.93
390 | 17/05/2014 | 5:00:00 p.m. | 16794415 | 1522875 | 7.5761 | 0 | 98.058 | 30.3 | 4.94
389 | 17/05/2014 | 4:00:00 p.m. | 16794221 | 1522850 | 7.5119 | 0 | 98.044 | 31.5 | 4.93
388 | 17/05/2014 | 3:00:00 p.m. | 16794023 | 1522823 | 7.5155 | 0 | 98.007 | 31.4 | 4.93
387 | 17/05/2014 | 2:00:00 p.m. | 16793828 | 1522797 | 7.4959 | 0 | 97.926 | 31 | 4.93
386 | 17/05/2014 | 1:00:00 p.m. | 16793632 | 1522771 | 7.5182 | 0 | 98.098 | 30.7 | 4.93
385 | 17/05/2014 | 12:00:00 p.m. | 16793467 | 1522750 | 7.5433 | 0 | 98.019 | 29.7 | 4.93
384 | 17/05/2014 | 11:00:00 a.m. | 16793277 | 1522724 | 7.5643 | 0 | 97.969 | 28.6 | 4.93
383 | 17/05/2014 | 10:00:00 a.m. | 16793078 | 1522698 | 7.5964 | 0 | 98.125 | 27.6 | 4.91
382 | 17/05/2014 | 9:00:00 a.m. | 16792868 | 1522671 | 7.6428 | 0 | 98.335 | 26.8 | 4.91
381 | 17/05/2014 | 8:00:00 a.m. | 16792664 | 1522644 | 7.6911 | 0 | 98.685 | 26.1 | 4.9
380 | 17/05/2014 | 7:00:00 a.m. | 16792466 | 1522618 | 7.6949 | 0 | 98.762 | 26.2 | 4.9
379 | 17/05/2014 | 6:00:00 a.m. | 16792264 | 1522592 | 7.6913 | 0 | 98.842 | 26.1 | 4.9
378 | 17/05/2014 | 5:00:00 a.m. | 16792078 | 1522568 | 7.7073 | 0 | 98.811 | 26.3 | 4.9
377 | 17/05/2014 | 4:00:00 a.m. | 16791886 | 1522543 | 7.6929 | 0 | 98.827 | 26.4 | 4.91
376 | 17/05/2014 | 3:00:00 a.m. | 16791695 | 1522518 | 7.6878 | 0 | 98.711 | 26.6 | 4.91
375 | 17/05/2014 | 2:00:00 a.m. | 16791496 | 1522492 | 7.6841 | 0 | 98.675 | 26.7 | 4.91
374 | 17/05/2014 | 1:00:00 a.m. | 16791296 | 1522466 | 7.6802 | 0 | 98.83 | 26.7 | 4.91
373 | 17/05/2014 | 12:00:00 a.m. | 16791125 | 1522444 | 7.701 | 0 | 98.729 | 27.1 | 4.91
372 | 16/05/2014 | 11:00:00 p.m. | 16790938 | 1522420 | 7.6687 | 0 | 98.783 | 27.1 | 4.91
371 | 16/05/2014 | 10:00:00 p.m. | 16790757 | 1522396 | 7.6814 | 0 | 98.745 | 27.3 | 4.91
370 | 16/05/2014 | 9:00:00 p.m. | 16790582 | 1522373 | 7.6504 | 0 | 98.495 | 27.8 | 4.92
369 | 16/05/2014 | 8:00:00 p.m. | 16790376 | 1522346 | 7.6394 | 0 | 98.515 | 28.1 | 4.93
368 | 16/05/2014 | 7:00:00 p.m. | 16790202 | 1522324 | 7.6239 | 0 | 98.214 | 28.6 | 4.93
367 | 16/05/2014 | 6:00:00 p.m. | 16790008 | 1522298 | 7.5831 | 0 | 98.167 | 28.8 | 4.93
366 | 16/05/2014 | 5:00:00 p.m. | 16789829 | 1522275 | 7.5803 | 0 | 98.053 | 29.9 | 4.94
365 | 16/05/2014 | 4:00:00 p.m. | 16789629 | 1522248 | 7.5319 | 0 | 98.206 | 31.5 | 4.93
364 | 16/05/2014 | 3:00:00 p.m. | 16789452 | 1522225 | 7.5255 | 0 | 98.022 | 31 | 4.93
363 | 16/05/2014 | 2:00:00 p.m. | 16789252 | 1522198 | 7.5174 | 0 | 97.875 | 30.4 | 4.93
362 | 16/05/2014 | 1:00:00 p.m. | 16789041 | 1522170 | 7.5418 | 0 | 98.101 | 29.9 | 4.93
361 | 16/05/2014 | 12:00:00 p.m. | 16788852 | 1522145 | 7.5761 | 0 | 97.962 | 29 | 4.93
360 | 16/05/2014 | 11:00:00 a.m. | 16788628 | 1522115 | 7.5844 | 0 | 98.006 | 28.1 | 4.93
359 | 16/05/2014 | 10:00:00 a.m. | 16788406 | 1522086 | 7.6324 | 0 | 98.207 | 26.9 | 4.92
358 | 16/05/2014 | 9:00:00 a.m. | 16788200 | 1522059 | 7.6743 | 0 | 98.483 | 26.4 | 4.91
357 | 16/05/2014 | 8:00:00 a.m. | 16788002 | 1522033 | 7.6797 | 0 | 98.662 | 25.9 | 4.9
356 | 16/05/2014 | 7:00:00 a.m. | 16787792 | 1522006 | 7.7185 | 0 | 98.844 | 25.8 | 4.9
355 | 16/05/2014 | 6:00:00 a.m. | 16787600 | 1521981 | 7.7265 | 0 | 98.778 | 25.9 | 4.9
354 | 16/05/2014 | 5:00:00 a.m. | 16787403 | 1521956 | 7.7168 | 0 | 98.788 | 26.1 | 4.91
353 | 16/05/2014 | 4:00:00 a.m. | 16787203 | 1521930 | 7.6922 | 0 | 98.76 | 26.2 | 4.91
352 | 16/05/2014 | 3:00:00 a.m. | 16787008 | 1521904 | 7.6904 | 0 | 98.675 | 26.5 | 4.91
351 | 16/05/2014 | 2:00:00 a.m. | 16786792 | 1521876 | 7.6797 | 0 | 98.775 | 26.5 | 4.91
350 | 16/05/2014 | 1:00:00 a.m. | 16786600 | 1521851 | 7.6626 | 0 | 98.556 | 26.9 | 4.91
349 | 16/05/2014 | 12:00:00 a.m. | 16786383 | 1521823 | 7.7008 | 0 | 98.707 | 27 | 4.91
348 | 15/05/2014 | 11:00:00 p.m. | 16786174 | 1521796 | 7.6687 | 0 | 98.542 | 27.3 | 4.91
347 | 15/05/2014 | 10:00:00 p.m. | 16785954 | 1521767 | 7.6433 | 0 | 98.544 | 27.2 | 4.91
346 | 15/05/2014 | 9:00:00 p.m. | 16785759 | 1521742 | 7.6567 | 0 | 98.449 | 27.3 | 4.92
345 | 15/05/2014 | 8:00:00 p.m. | 16785554 | 1521715 | 7.6537 | 0 | 98.43 | 27.7 | 4.92
344 | 15/05/2014 | 7:00:00 p.m. | 16785365 | 1521690 | 7.6903 | 0 | 98.31 | 28.1 | 4.93
343 | 15/05/2014 | 6:00:00 p.m. | 16785160 | 1521663 | 7.6469 | 0 | 98.242 | 28.4 | 4.93
342 | 15/05/2014 | 5:00:00 p.m. | 16784965 | 1521638 | 7.5948 | 0 | 98.076 | 29.5 | 4.94
341 | 15/05/2014 | 4:00:00 p.m. | 16784775 | 1521613 | 7.5266 | 0 | 97.964 | 30.7 | 4.93
340 | 15/05/2014 | 3:00:00 p.m. | 16784570 | 1521585 | 7.5319 | 0 | 98.034 | 30.5 | 4.93
339 | 15/05/2014 | 2:00:00 p.m. | 16784390 | 1521561 | 7.5413 | 0 | 97.908 | 29.7 | 4.93
338 | 15/05/2014 | 1:00:00 p.m. | 16784190 | 1521535 | 7.5814 | 0 | 98.046 | 28.4 | 4.92
337 | 15/05/2014 | 12:00:00 p.m. | 16783982 | 1521508 | 7.6062 | 0 | 98.163 | 27.3 | 4.91
336 | 15/05/2014 | 11:00:00 a.m. | 16783778 | 1521481 | 7.6552 | 0 | 98.23 | 27.3 | 4.91
335 | 15/05/2014 | 10:00:00 a.m. | 16783579 | 1521455 | 7.6755 | 0 | 98.296 | 26.9 | 4.91
334 | 15/05/2014 | 9:00:00 a.m. | 16783361 | 1521426 | 7.652 | 0 | 98.392 | 26.5 | 4.91
333 | 15/05/2014 | 8:00:00 a.m. | 16783140 | 1521397 | 7.6816 | 0 | 98.488 | 26.5 | 4.91
332 | 15/05/2014 | 7:00:00 a.m. | 16782919 | 1521369 | 7.6713 | 0 | 98.617 | 26.5 | 4.91
331 | 15/05/2014 | 6:00:00 a.m. | 16782711 | 1521342 | 7.6773 | 0 | 98.606 | 26.3 | 4.91
330 | 15/05/2014 | 5:00:00 a.m. | 16782497 | 1521314 | 7.7059 | 0 | 98.738 | 26.2 | 4.91
329 | 15/05/2014 | 4:00:00 a.m. | 16782292 | 1521287 | 7.6935 | 0 | 98.718 | 26.3 | 4.91
328 | 15/05/2014 | 3:00:00 a.m. | 16782089 | 1521261 | 7.7056 | 0 | 98.673 | 26.3 | 4.91
327 | 15/05/2014 | 2:00:00 a.m. | 16781878 | 1521233 | 7.6873 | 0 | 98.629 | 26.7 | 4.91
326 | 15/05/2014 | 1:00:00 a.m. | 16781673 | 1521207 | 7.6768 | 0 | 98.691 | 26.6 | 4.91
325 | 15/05/2014 | 12:00:00 a.m. | 16781473 | 1521181 | 7.681 | 0 | 98.762 | 25.5 | 4.91
324 | 14/05/2014 | 11:00:00 p.m. | 16781274 | 1521155 | 7.7196 | 0 | 98.585 | 27.4 | 4.92
323 | 14/05/2014 | 10:00:00 p.m. | 16781068 | 1521128 | 7.6516 | 0 | 98.606 | 27.7 | 4.93
322 | 14/05/2014 | 9:00:00 p.m. | 16780880 | 1521103 | 7.6344 | 0 | 98.516 | 27.9 | 4.93
321 | 14/05/2014 | 8:00:00 p.m. | 16780681 | 1521077 | 7.6637 | 0 | 98.557 | 28.1 | 4.93
320 | 14/05/2014 | 7:00:00 p.m. | 16780501 | 1521054 | 7.6116 | 0 | 98.445 | 28.7 | 4.93
319 | 14/05/2014 | 6:00:00 p.m. | 16780321 | 1521030 | 7.588 | 0 | 98.202 | 29.4 | 4.94
318 | 14/05/2014 | 5:00:00 p.m. | 16780133 | 1521005 | 7.555 | 0 | 98.092 | 30.6 | 4.95
317 | 14/05/2014 | 4:00:00 p.m. | 16779950 | 1520981 | 7.5198 | 0 | 98.069 | 31.5 | 4.94
316 | 14/05/2014 | 3:00:00 p.m. | 16779761 | 1520956 | 7.5246 | 0 | 98.228 | 31.5 | 4.94
315 | 14/05/2014 | 2:00:00 p.m. | 16779572 | 1520931 | 7.5347 | 0 | 97.992 | 30.8 | 4.94
314 | 14/05/2014 | 1:00:00 p.m. | 16779374 | 1520905 | 7.518 | 0 | 97.932 | 30.3 | 4.94
313 | 14/05/2014 | 12:00:00 p.m. | 16779180 | 1520879 | 7.5278 | 0 | 97.884 | 29.6 | 4.94
312 | 14/05/2014 | 11:00:00 a.m. | 16778978 | 1520852 | 7.5667 | 0 | 97.897 | 28.7 | 4.94
311 | 14/05/2014 | 10:00:00 a.m. | 16778772 | 1520825 | 7.5922 | 0 | 98.018 | 27.7 | 4.93
310 | 14/05/2014 | 9:00:00 a.m. | 16778564 | 1520798 | 7.6342 | 0 | 98.2 | 27.2 | 4.91
309 | 14/05/2014 | 8:00:00 a.m. | 16778353 | 1520770 | 7.6406 | 0 | 98.393 | 26.7 | 4.91
308 | 14/05/2014 | 7:00:00 a.m. | 16778139 | 1520742 | 7.6947 | 0 | 98.506 | 26.5 | 4.91
307 | 14/05/2014 | 6:00:00 a.m. | 16777935 | 1520715 | 7.6695 | 0 | 98.513 | 26.7 | 4.91
306 | 14/05/2014 | 5:00:00 a.m. | 16777734 | 1520689 | 7.685 | 0 | 98.624 | 26.9 | 4.91
305 | 14/05/2014 | 4:00:00 a.m. | 16777549 | 1520665 | 7.6603 | 0 | 98.716 | 26.8 | 4.91
304 | 14/05/2014 | 3:00:00 a.m. | 16777370 | 1520642 | 7.6907 | 0 | 98.674 | 26.9 | 4.92
303 | 14/05/2014 | 2:00:00 a.m. | 16777181 | 1520617 | 7.6738 | 0 | 98.732 | 26.9 | 4.92
302 | 14/05/2014 | 1:00:00 a.m. | 16776991 | 1520592 | 7.6772 | 0 | 98.766 | 27.1 | 4.92
301 | 14/05/2014 | 12:00:00 a.m. | 16776806 | 1520568 | 7.6655 | 0 | 98.693 | 27.3 | 4.92
300 | 13/05/2014 | 11:00:00 p.m. | 16776622 | 1520544 | 7.6704 | 0 | 98.672 | 27.5 | 4.93
299 | 13/05/2014 | 10:00:00 p.m. | 16776434 | 1520520 | 7.6523 | 0 | 98.655 | 27.7 | 4.93
298 | 13/05/2014 | 9:00:00 p.m. | 16776243 | 1520495 | 7.6581 | 0 | 98.596 | 27.9 | 4.93
297 | 13/05/2014 | 8:00:00 p.m. | 16776056 | 1520470 | 7.6319 | 0 | 98.635 | 28.2 | 4.94
296 | 13/05/2014 | 7:00:00 p.m. | 16775870 | 1520446 | 7.6418 | 0 | 98.646 | 28.6 | 4.94
295 | 13/05/2014 | 6:00:00 p.m. | 16775684 | 1520422 | 7.6212 | 0 | 98.43 | 29 | 4.95
294 | 13/05/2014 | 5:00:00 p.m. | 16775497 | 1520397 | 7.6072 | 0 | 98.259 | 30.4 | 4.95
293 | 13/05/2014 | 4:00:00 p.m. | 16775317 | 1520373 | 7.5371 | 0 | 98.218 | 31.6 | 4.95
292 | 13/05/2014 | 3:00:00 p.m. | 16775136 | 1520349 | 7.5157 | 0 | 98.166 | 31.9 | 4.95
291 | 13/05/2014 | 2:00:00 p.m. | 16774959 | 1520326 | 7.5204 | 0 | 98.109 | 31.4 | 4.94
290 | 13/05/2014 | 1:00:00 p.m. | 16774784 | 1520302 | 7.532 | 0 | 98.037 | 30.4 | 4.94
289 | 13/05/2014 | 12:00:00 p.m. | 16774607 | 1520279 | 7.5618 | 0 | 98.001 | 29.3 | 4.94
288 | 13/05/2014 | 11:00:00 a.m. | 16774427 | 1520255 | 7.5779 | 0 | 98.013 | 28.8 | 4.94
287 | 13/05/2014 | 10:00:00 a.m. | 16774241 | 1520231 | 7.6136 | 0 | 98.116 | 27.8 | 4.93
286 | 13/05/2014 | 9:00:00 a.m. | 16774047 | 1520205 | 7.6258 | 0 | 98.338 | 27.1 | 4.92
285 | 13/05/2014 | 8:00:00 a.m. | 16773859 | 1520181 | 7.6784 | 0 | 98.789 | 26.3 | 4.91
284 | 13/05/2014 | 7:00:00 a.m. | 16773690 | 1520159 | 7.7111 | 0 | 98.792 | 26.2 | 4.91
283 | 13/05/2014 | 6:00:00 a.m. | 16773520 | 1520137 | 7.7022 | 0 | 98.707 | 26.3 | 4.91
282 | 13/05/2014 | 5:00:00 a.m. | 16773346 | 1520114 | 7.6934 | 0 | 98.737 | 26.3 | 4.91
281 | 13/05/2014 | 4:00:00 a.m. | 16773175 | 1520092 | 7.7083 | 0 | 98.76 | 26.4 | 4.91
280 | 13/05/2014 | 3:00:00 a.m. | 16773012 | 1520071 | 7.7031 | 0 | 98.734 | 26.6 | 4.92
279 | 13/05/2014 | 2:00:00 a.m. | 16772848 | 1520049 | 7.6846 | 0 | 98.755 | 26.8 | 4.92
278 | 13/05/2014 | 1:00:00 a.m. | 16772677 | 1520027 | 7.6757 | 0 | 98.728 | 26.9 | 4.92
277 | 13/05/2014 | 12:00:00 a.m. | 16772504 | 1520005 | 7.686 | 0 | 98.817 | 26.9 | 4.92
276 | 12/05/2014 | 11:00:00 p.m. | 16772344 | 1519984 | 7.6885 | 0 | 98.771 | 27.1 | 4.93
275 | 12/05/2014 | 10:00:00 p.m. | 16772181 | 1519962 | 7.6856 | 0 | 98.706 | 27.3 | 4.93
274 | 12/05/2014 | 9:00:00 p.m. | 16772018 | 1519941 | 7.6695 | 0 | 98.614 | 27.6 | 4.93
273 | 12/05/2014 | 8:00:00 p.m. | 16771857 | 1519920 | 7.6449 | 0 | 98.403 | 28.1 | 4.94
272 | 12/05/2014 | 7:00:00 p.m. | 16771689 | 1519898 | 7.6017 | 0 | 98.233 | 28.6 | 4.94
271 | 12/05/2014 | 6:00:00 p.m. | 16771516 | 1519875 | 7.5893 | 0 | 98.112 | 29.3 | 4.95
270 | 12/05/2014 | 5:00:00 p.m. | 16771343 | 1519853 | 7.5509 | 0 | 98.012 | 30.2 | 4.95
269 | 12/05/2014 | 4:00:00 p.m. | 16771180 | 1519831 | 7.5243 | 0 | 98.15 | 29.8 | 4.95
268 | 12/05/2014 | 3:00:00 p.m. | 16771014 | 1519809 | 7.5723 | 0 | 98.206 | 30.3 | 4.94
267 | 12/05/2014 | 2:00:00 p.m. | 16770841 | 1519786 | 7.5258 | 0 | 98.035 | 31.1 | 4.94
266 | 12/05/2014 | 1:00:00 p.m. | 16770666 | 1519763 | 7.5251 | 0 | 98.019 | 30.3 | 4.94
265 | 12/05/2014 | 12:00:00 p.m. | 16770501 | 1519741 | 7.566 | 0 | 98.131 | 29.4 | 4.94
264 | 12/05/2014 | 11:00:00 a.m. | 16770332 | 1519719 | 7.5913 | 0 | 98.089 | 28.5 | 4.94
263 | 12/05/2014 | 10:00:00 a.m. | 16770155 | 1519695 | 7.609 | 0 | 98.19 | 27.3 | 4.93
262 | 12/05/2014 | 9:00:00 a.m. | 16769974 | 1519672 | 7.6572 | 0 | 98.426 | 26.4 | 4.91
261 | 12/05/2014 | 8:00:00 a.m. | 16769778 | 1519646 | 7.7041 | 0 | 98.726 | 26.1 | 4.91
260 | 12/05/2014 | 7:00:00 a.m. | 16769602 | 1519623 | 7.7098 | 0 | 98.741 | 26 | 4.91
259 | 12/05/2014 | 6:00:00 a.m. | 16769422 | 1519600 | 7.7062 | 0 | 98.722 | 26.1 | 4.91
258 | 12/05/2014 | 5:00:00 a.m. | 16769246 | 1519577 | 7.7229 | 0 | 98.808 | 26.2 | 4.91
257 | 12/05/2014 | 4:00:00 a.m. | 16769074 | 1519555 | 7.6979 | 0 | 98.77 | 26.1 | 4.91
256 | 12/05/2014 | 3:00:00 a.m. | 16768903 | 1519533 | 7.6986 | 0 | 98.675 | 26.1 | 4.92
255 | 12/05/2014 | 2:00:00 a.m. | 16768735 | 1519511 | 7.6776 | 0 | 98.724 | 26.2 | 4.92
254 | 12/05/2014 | 1:00:00 a.m. | 16768566 | 1519489 | 7.7021 | 0 | 98.688 | 26.6 | 4.92
253 | 12/05/2014 | 12:00:00 a.m. | 16768390 | 1519466 | 7.6771 | 0 | 98.682 | 26.7 | 4.92
252 | 11/05/2014 | 11:00:00 p.m. | 16768216 | 1519443 | 7.6821 | 0 | 98.765 | 26.7 | 4.92
251 | 11/05/2014 | 10:00:00 p.m. | 16768057 | 1519423 | 7.6854 | 0 | 98.631 | 27 | 4.93
250 | 11/05/2014 | 9:00:00 p.m. | 16767879 | 1519399 | 7.6611 | 0 | 98.594 | 27.2 | 4.93
249 | 11/05/2014 | 8:00:00 p.m. | 16767709 | 1519377 | 7.666 | 0 | 98.554 | 27.7 | 4.93
248 | 11/05/2014 | 7:00:00 p.m. | 16767543 | 1519356 | 7.6429 | 0 | 98.394 | 28.2 | 4.94
247 | 11/05/2014 | 6:00:00 p.m. | 16767369 | 1519333 | 7.6152 | 0 | 98.168 | 28.4 | 4.94
246 | 11/05/2014 | 5:00:00 p.m. | 16767186 | 1519309 | 7.5983 | 0 | 98.151 | 29.7 | 4.95
245 | 11/05/2014 | 4:00:00 p.m. | 16767007 | 1519285 | 7.5233 | 0 | 98.173 | 31 | 4.95
244 | 11/05/2014 | 3:00:00 p.m. | 16766828 | 1519261 | 7.5294 | 0 | 98.034 | 30.8 | 4.94
243 | 11/05/2014 | 2:00:00 p.m. | 16766641 | 1519236 | 7.532 | 0 | 98.16 | 30.7 | 4.94
242 | 11/05/2014 | 1:00:00 p.m. | 16766465 | 1519213 | 7.5478 | 0 | 98.167 | 30.3 | 4.94
241 | 11/05/2014 | 12:00:00 p.m. | 16766292 | 1519190 | 7.5507 | 0 | 98.329 | 29.7 | 4.94
240 | 11/05/2014 | 11:00:00 a.m. | 16766112 | 1519166 | 7.6027 | 0 | 98.277 | 28.1 | 4.93
239 | 11/05/2014 | 10:00:00 a.m. | 16765929 | 1519142 | 7.6451 | 0 | 98.392 | 27.2 | 4.92
238 | 11/05/2014 | 9:00:00 a.m. | 16765756 | 1519120 | 7.6599 | 0 | 98.608 | 26.3 | 4.91
237 | 11/05/2014 | 8:00:00 a.m. | 16765592 | 1519099 | 7.7002 | 0 | 98.692 | 26.1 | 4.91
236 | 11/05/2014 | 7:00:00 a.m. | 16765418 | 1519076 | 7.6927 | 0 | 98.719 | 26 | 4.91
235 | 11/05/2014 | 6:00:00 a.m. | 16765240 | 1519053 | 7.7005 | 0 | 98.721 | 26.2 | 4.91
234 | 11/05/2014 | 5:00:00 a.m. | 16765065 | 1519030 | 7.7146 | 0 | 98.735 | 26.2 | 4.91
233 | 11/05/2014 | 4:00:00 a.m. | 16764895 | 1519008 | 7.7134 | 0 | 98.742 | 26.3 | 4.91
232 | 11/05/2014 | 3:00:00 a.m. | 16764723 | 1518986 | 7.7045 | 0 | 98.646 | 26.4 | 4.91
231 | 11/05/2014 | 2:00:00 a.m. | 16764544 | 1518962 | 7.6819 | 0 | 98.568 | 26.5 | 4.92
230 | 11/05/2014 | 1:00:00 a.m. | 16764362 | 1518939 | 7.6875 | 0 | 98.798 | 26.5 | 4.92
229 | 11/05/2014 | 12:00:00 a.m. | 16764201 | 1518918 | 7.6817 | 0 | 98.716 | 26.7 | 4.92
228 | 10/05/2014 | 11:00:00 p.m. | 16764038 | 1518897 | 7.6825 | 0 | 98.692 | 26.7 | 4.92
227 | 10/05/2014 | 10:00:00 p.m. | 16763880 | 1518876 | 7.6807 | 0 | 98.62 | 26.9 | 4.92
226 | 10/05/2014 | 9:00:00 p.m. | 16763712 | 1518854 | 7.6687 | 0 | 98.603 | 27.1 | 4.93
225 | 10/05/2014 | 8:00:00 p.m. | 16763543 | 1518832 | 7.6649 | 0 | 98.53 | 27.5 | 4.93
224 | 10/05/2014 | 7:00:00 p.m. | 16763366 | 1518809 | 7.6522 | 0 | 98.36 | 28.1 | 4.94
223 | 10/05/2014 | 6:00:00 p.m. | 16763176 | 1518784 | 7.6086 | 0 | 98.242 | 28.6 | 4.94
222 | 10/05/2014 | 5:00:00 p.m. | 16762988 | 1518759 | 7.5966 | 0 | 98.109 | 29.5 | 4.95
221 | 10/05/2014 | 4:00:00 p.m. | 16762806 | 1518735 | 7.5446 | 0 | 98.148 | 30.3 | 4.95
220 | 10/05/2014 | 3:00:00 p.m. | 16762628 | 1518712 | 7.5563 | 0 | 98.066 | 30.2 | 4.94
219 | 10/05/2014 | 2:00:00 p.m. | 16762445 | 1518687 | 7.54 | 0 | 97.941 | 30.8 | 4.94
218 | 10/05/2014 | 1:00:00 p.m. | 16762263 | 1518663 | 7.5297 | 0 | 97.874 | 30.1 | 4.94
217 | 10/05/2014 | 12:00:00 p.m. | 16762074 | 1518638 | 7.5597 | 0 | 97.886 | 29.2 | 4.94
216 | 10/05/2014 | 11:00:00 a.m. | 16761876 | 1518612 | 7.5796 | 0 | 97.862 | 28.3 | 4.94
215 | 10/05/2014 | 10:00:00 a.m. | 16761679 | 1518586 | 7.6097 | 0 | 97.947 | 27.3 | 4.93
214 | 10/05/2014 | 9:00:00 a.m. | 16761482 | 1518560 | 7.6206 | 0 | 98.263 | 26.5 | 4.91
213 | 10/05/2014 | 8:00:00 a.m. | 16761287 | 1518535 | 7.6779 | 0 | 98.617 | 25.9 | 4.91
212 | 10/05/2014 | 7:00:00 a.m. | 16761111 | 1518512 | 7.7283 | 0 | 98.747 | 25.8 | 4.91
211 | 10/05/2014 | 6:00:00 a.m. | 16760937 | 1518489 | 7.7067 | 0 | 98.709 | 25.9 | 4.91
210 | 10/05/2014 | 5:00:00 a.m. | 16760761 | 1518466 | 7.696 | 0 | 98.657 | 25.9 | 4.91
209 | 10/05/2014 | 4:00:00 a.m. | 16760587 | 1518444 | 7.6963 | 0 | 98.659 | 26 | 4.91
208 | 10/05/2014 | 3:00:00 a.m. | 16760413 | 1518421 | 7.6892 | 0 | 98.602 | 26.2 | 4.91
207 | 10/05/2014 | 2:00:00 a.m. | 16760231 | 1518398 | 7.6889 | 0 | 98.574 | 26.3 | 4.91
206 | 10/05/2014 | 1:00:00 a.m. | 16760052 | 1518374 | 7.6849 | 0 | 98.649 | 26.4 | 4.91
205 | 10/05/2014 | 12:00:00 a.m. | 16759876 | 1518352 | 7.6922 | 0 | 98.626 | 26.4 | 4.92
204 | 09/05/2014 | 11:00:00 p.m. | 16759702 | 1518329 | 7.6931 | 0 | 98.629 | 26.6 | 4.92
203 | 09/05/2014 | 10:00:00 p.m. | 16759525 | 1518306 | 7.6724 | 0 | 98.648 | 26.6 | 4.92
202 | 09/05/2014 | 9:00:00 p.m. | 16759350 | 1518283 | 7.6763 | 0 | 98.659 | 26.1 | 4.92
201 | 09/05/2014 | 8:00:00 p.m. | 16759177 | 1518261 | 7.6741 | 0 | 98.473 | 27.5 | 4.93
200 | 09/05/2014 | 7:00:00 p.m. | 16759005 | 1518238 | 7.6539 | 0 | 98.386 | 27.9 | 4.94
199 | 09/05/2014 | 6:00:00 p.m. | 16758828 | 1518215 | 7.6079 | 0 | 98.121 | 28.5 | 4.94
198 | 09/05/2014 | 5:00:00 p.m. | 16758648 | 1518191 | 7.5833 | 0 | 98.071 | 29.6 | 4.95
197 | 09/05/2014 | 4:00:00 p.m. | 16758471 | 1518168 | 7.5257 | 0 | 98.072 | 31.1 | 4.94
196 | 09/05/2014 | 3:00:00 p.m. | 16758303 | 1518145 | 7.5408 | 0 | 97.883 | 30.5 | 4.94
195 | 09/05/2014 | 2:00:00 p.m. | 16758109 | 1518120 | 7.5281 | 0 | 97.856 | 30.1 | 4.93
194 | 09/05/2014 | 1:00:00 p.m. | 16757919 | 1518094 | 7.5475 | 0 | 97.909 | 29.4 | 4.93
193 | 09/05/2014 | 12:00:00 p.m. | 16757732 | 1518070 | 7.5631 | 0 | 97.917 | 28.8 | 4.94
192 | 09/05/2014 | 11:00:00 a.m. | 16757547 | 1518045 | 7.5873 | 0 | 97.799 | 28 | 4.93
191 | 09/05/2014 | 10:00:00 a.m. | 16757354 | 1518020 | 7.6154 | 0 | 97.998 | 27 | 4.93
190 | 09/05/2014 | 9:00:00 a.m. | 16757161 | 1517995 | 7.6295 | 0 | 98.2 | 26.2 | 4.91
189 | 09/05/2014 | 8:00:00 a.m. | 16756966 | 1517969 | 7.6853 | 0 | 98.478 | 25.7 | 4.91
188 | 09/05/2014 | 7:00:00 a.m. | 16756781 | 1517945 | 7.7074 | 0 | 98.497 | 25.7 | 4.91
187 | 09/05/2014 | 6:00:00 a.m. | 16756591 | 1517920 | 7.6866 | 0 | 98.477 | 25.7 | 4.91
186 | 09/05/2014 | 5:00:00 a.m. | 16756402 | 1517896 | 7.7065 | 0 | 98.652 | 25.6 | 4.91
185 | 09/05/2014 | 4:00:00 a.m. | 16756226 | 1517873 | 7.7115 | 0 | 98.571 | 25.9 | 4.91
184 | 09/05/2014 | 3:00:00 a.m. | 16756042 | 1517849 | 7.7051 | 0 | 98.52 | 25.9 | 4.91
183 | 09/05/2014 | 2:00:00 a.m. | 16755856 | 1517825 | 7.6851 | 0 | 98.469 | 26 | 4.91
182 | 09/05/2014 | 1:00:00 a.m. | 16755668 | 1517801 | 7.698 | 0 | 98.514 | 26 | 4.91
181 | 09/05/2014 | 12:00:00 a.m. | 16755488 | 1517777 | 7.6695 | 0 | 98.549 | 26.1 | 4.91
180 | 08/05/2014 | 11:00:00 p.m. | 16755314 | 1517755 | 7.6822 | 0 | 98.595 | 26 | 4.91
179 | 08/05/2014 | 10:00:00 p.m. | 16755144 | 1517733 | 7.6898 | 0 | 98.479 | 26.3 | 4.91
178 | 08/05/2014 | 9:00:00 p.m. | 16754961 | 1517709 | 7.6766 | 0 | 98.36 | 26.6 | 4.92
177 | 08/05/2014 | 8:00:00 p.m. | 16754764 | 1517683 | 7.6724 | 0 | 98.27 | 27 | 4.92
176 | 08/05/2014 | 7:00:00 p.m. | 16754560 | 1517656 | 7.6278 | 0 | 98.143 | 27.2 | 4.92
175 | 08/05/2014 | 6:00:00 p.m. | 16754347 | 1517628 | 7.6329 | 0 | 98.185 | 27.3 | 4.92
174 | 08/05/2014 | 5:00:00 p.m. | 16754140 | 1517601 | 7.6335 | 0 | 98.175 | 27 | 4.92
173 | 08/05/2014 | 4:00:00 p.m. | 16753937 | 1517575 | 7.6598 | 0 | 98.182 | 26.8 | 4.92
172 | 08/05/2014 | 3:00:00 p.m. | 16753730 | 1517548 | 7.6408 | 0 | 98.088 | 26.8 | 4.92
171 | 08/05/2014 | 2:00:00 p.m. | 16753526 | 1517521 | 7.6317 | 0 | 98.193 | 26.5 | 4.91
170 | 08/05/2014 | 1:00:00 p.m. | 16753327 | 1517495 | 7.659 | 0 | 98.313 | 26.4 | 4.92
169 | 08/05/2014 | 12:00:00 p.m. | 16753126 | 1517469 | 7.6865 | 0 | 98.447 | 24.8 | 4.91
168 | 08/05/2014 | 11:00:00 a.m. | 16752923 | 1517443 | 7.7365 | 0 | 98.444 | 24.8 | 4.91
167 | 08/05/2014 | 10:00:00 a.m. | 16752719 | 1517416 | 7.7507 | 0 | 98.388 | 24.7 | 4.91
166 | 08/05/2014 | 9:00:00 a.m. | 16752509 | 1517389 | 7.7272 | 0 | 98.351 | 25 | 4.91
165 | 08/05/2014 | 8:00:00 a.m. | 16752297 | 1517361 | 7.7087 | 0 | 98.513 | 25.2 | 4.91
164 | 08/05/2014 | 7:00:00 a.m. | 16752099 | 1517336 | 7.71 | 0 | 98.562 | 26.4 | 4.91
163 | 08/05/2014 | 6:00:00 a.m. | 16751901 | 1517310 | 7.6727 | 0 | 98.51 | 27.1 | 4.91
162 | 08/05/2014 | 5:00:00 a.m. | 16751696 | 1517283 | 7.6731 | 0 | 98.58 | 27 | 4.92
161 | 08/05/2014 | 4:00:00 a.m. | 16751491 | 1517256 | 7.6759 | 0 | 98.614 | 27.2 | 4.92
160 | 08/05/2014 | 3:00:00 a.m. | 16751279 | 1517229 | 7.6616 | 0 | 98.608 | 27.2 | 4.92
159 | 08/05/2014 | 2:00:00 a.m. | 16751067 | 1517201 | 7.6734 | 0 | 98.594 | 27.2 | 4.92
158 | 08/05/2014 | 1:00:00 a.m. | 16750854 | 1517173 | 7.6491 | 0 | 98.529 | 27.3 | 4.92
157 | 08/05/2014 | 12:00:00 a.m. | 16750636 | 1517145 | 7.6684 | 0 | 98.591 | 27.4 | 4.92
156 | 07/05/2014 | 11:00:00 p.m. | 16750423 | 1517117 | 7.66 | 0 | 98.538 | 27.5 | 4.92
155 | 07/05/2014 | 10:00:00 p.m. | 16750210 | 1517089 | 7.6495 | 0 | 98.531 | 27.5 | 4.93
154 | 07/05/2014 | 9:00:00 p.m. | 16750000 | 1517062 | 7.6665 | 0 | 98.594 | 27.2 | 4.93
153 | 07/05/2014 | 8:00:00 p.m. | 16749790 | 1517035 | 7.6484 | 0 | 98.482 | 28 | 4.93
152 | 07/05/2014 | 7:00:00 p.m. | 16749577 | 1517007 | 7.6278 | 0 | 98.38 | 28.7 | 4.94
151 | 07/05/2014 | 6:00:00 p.m. | 16749366 | 1516979 | 7.6093 | 0 | 98.199 | 29.2 | 4.94
150 | 07/05/2014 | 5:00:00 p.m. | 16749156 | 1516951 | 7.5833 | 0 | 98.119 | 29.7 | 4.95
149 | 07/05/2014 | 4:00:00 p.m. | 16748947 | 1516924 | 7.5354 | 0 | 98.057 | 30.2 | 4.95
148 | 07/05/2014 | 3:00:00 p.m. | 16748741 | 1516896 | 7.5887 | 0 | 98.262 | 29 | 4.94
147 | 07/05/2014 | 2:00:00 p.m. | 16748539 | 1516870 | 7.6182 | 0 | 98.293 | 28.6 | 4.93
146 | 07/05/2014 | 1:00:00 p.m. | 16748329 | 1516842 | 7.5968 | 0 | 97.99 | 28.8 | 4.93
145 | 07/05/2014 | 12:00:00 p.m. | 16748086 | 1516810 | 7.5874 | 0 | 98.107 | 28.6 | 4.93
144 | 07/05/2014 | 11:00:00 a.m. | 16747842 | 1516778 | 7.6085 | 0 | 97.814 | 28.3 | 4.93
143 | 07/05/2014 | 10:00:00 a.m. | 16747611 | 1516747 | 6.551 | 0 | 87.494 | 28.2 | 4.93
142 | 07/05/2014 | 9:00:00 a.m. | 16747381 | 1516714 | 7.0622 | 0 | 90.312 | 27.7 | 4.93
141 | 07/05/2014 | 8:00:00 a.m. | 16747159 | 1516683 | 7.0738 | 0 | 90.377 | 27.6 | 4.92
140 | 07/05/2014 | 7:00:00 a.m. | 16746927 | 1516650 | 7.0784 | 0 | 90.517 | 27.4 | 4.92
139 | 07/05/2014 | 6:00:00 a.m. | 16746719 | 1516620 | 7.0907 | 0 | 90.495 | 27.4 | 4.92
138 | 07/05/2014 | 5:00:00 a.m. | 16746509 | 1516591 | 7.0909 | 0 | 90.586 | 27.4 | 4.92
137 | 07/05/2014 | 4:00:00 a.m. | 16746303 | 1516562 | 7.1008 | 0 | 90.579 | 27.4 | 4.92
136 | 07/05/2014 | 3:00:00 a.m. | 16746096 | 1516533 | 7.0877 | 0 | 90.587 | 27.4 | 4.92
135 | 07/05/2014 | 2:00:00 a.m. | 16745894 | 1516504 | 7.1029 | 0 | 90.573 | 27.4 | 4.93
134 | 07/05/2014 | 1:00:00 a.m. | 16745695 | 1516476 | 7.0906 | 0 | 90.518 | 27.3 | 4.93
133 | 07/05/2014 | 12:00:00 a.m. | 16745487 | 1516447 | 7.0888 | 0 | 90.516 | 27.6 | 4.93
132 | 06/05/2014 | 11:00:00 p.m. | 16745284 | 1516418 | 7.0861 | 0 | 90.484 | 27.8 | 4.93
131 | 06/05/2014 | 10:00:00 p.m. | 16745075 | 1516389 | 7.0779 | 0 | 90.459 | 27.7 | 4.93
130 | 06/05/2014 | 9:00:00 p.m. | 16744861 | 1516358 | 7.0619 | 0 | 90.323 | 28 | 4.93
129 | 06/05/2014 | 8:00:00 p.m. | 16744632 | 1516326 | 7.0606 | 0 | 90.312 | 27.9 | 4.93
128 | 06/05/2014 | 7:00:00 p.m. | 16744403 | 1516294 | 7.0691 | 0 | 90.329 | 27.7 | 4.94
127 | 06/05/2014 | 6:00:00 p.m. | 16744177 | 1516262 | 7.0716 | 0 | 90.272 | 28.4 | 4.94
126 | 06/05/2014 | 5:00:00 p.m. | 16743948 | 1516229 | 7.0434 | 0 | 90.143 | 28.5 | 4.94
125 | 06/05/2014 | 4:00:00 p.m. | 16743715 | 1516196 | 7.0282 | 0 | 90.19 | 28.1 | 4.94
124 | 06/05/2014 | 3:00:00 p.m. | 16743488 | 1516164 | 7.0387 | 0 | 90.203 | 28 | 4.95
123 | 06/05/2014 | 2:00:00 p.m. | 16743278 | 1516134 | 7.0248 | 0 | 90.133 | 30.3 | 4.95
122 | 06/05/2014 | 1:00:00 p.m. | 16743079 | 1516106 | 6.9956 | 0 | 90.067 | 31 | 4.95
121 | 06/05/2014 | 12:00:00 p.m. | 16742886 | 1516078 | 6.9664 | 0 | 90.029 | 30.6 | 4.95
120 | 06/05/2014 | 11:00:00 a.m. | 16742685 | 1516049 | 6.9858 | 0 | 90.139 | 29.6 | 4.95
119 | 06/05/2014 | 10:00:00 a.m. | 16742489 | 1516021 | 7.0331 | 0 | 90.324 | 28.4 | 4.93
118 | 06/05/2014 | 9:00:00 a.m. | 16742291 | 1515993 | 7.0786 | 0 | 90.441 | 27.6 | 4.92
117 | 06/05/2014 | 8:00:00 a.m. | 16742092 | 1515965 | 7.0858 | 0 | 90.564 | 27.3 | 4.92
116 | 06/05/2014 | 7:00:00 a.m. | 16741882 | 1515935 | 7.1054 | 0 | 90.581 | 27.3 | 4.92
115 | 06/05/2014 | 6:00:00 a.m. | 16741672 | 1515906 | 7.0905 | 0 | 90.575 | 27.5 | 4.92
114 | 06/05/2014 | 5:00:00 a.m. | 16741459 | 1515876 | 7.0932 | 0 | 90.562 | 27.6 | 4.93
113 | 06/05/2014 | 4:00:00 a.m. | 16741246 | 1515846 | 7.0915 | 0 | 90.544 | 27.6 | 4.93
112 | 06/05/2014 | 3:00:00 a.m. | 16741028 | 1515815 | 7.085 | 0 | 90.585 | 27.6 | 4.93
111 | 06/05/2014 | 2:00:00 a.m. | 16740811 | 1515784 | 7.0974 | 0 | 90.538 | 27.7 | 4.93
110 | 06/05/2014 | 1:00:00 a.m. | 16740597 | 1515754 | 7.0862 | 0 | 90.505 | 27.8 | 4.93
109 | 06/05/2014 | 12:00:00 a.m. | 16740385 | 1515724 | 7.0787 | 0 | 90.544 | 27.8 | 4.93
108 | 05/05/2014 | 11:00:00 p.m. | 16740178 | 1515695 | 7.0742 | 0 | 90.552 | 28 | 4.94
107 | 05/05/2014 | 10:00:00 p.m. | 16739971 | 1515666 | 7.0756 | 0 | 90.542 | 28.1 | 4.93
106 | 05/05/2014 | 9:00:00 p.m. | 16739765 | 1515637 | 7.0776 | 0 | 90.522 | 28.2 | 4.94
105 | 05/05/2014 | 8:00:00 p.m. | 16739563 | 1515608 | 7.0664 | 0 | 90.462 | 28.7 | 4.94
104 | 05/05/2014 | 7:00:00 p.m. | 16739361 | 1515579 | 7.0528 | 0 | 90.442 | 29 | 4.95
103 | 05/05/2014 | 6:00:00 p.m. | 16739158 | 1515551 | 7.0314 | 0 | 90.297 | 29.5 | 4.95
102 | 05/05/2014 | 5:00:00 p.m. | 16738954 | 1515522 | 7.0239 | 0 | 90.361 | 29.6 | 4.95
101 | 05/05/2014 | 4:00:00 p.m. | 16738754 | 1515493 | 7.0253 | 0 | 90.393 | 29.4 | 4.95
100 | 05/05/2014 | 3:00:00 p.m. | 16738558 | 1515465 | 7.0206 | 0 | 90.269 | 30.5 | 4.95
99 | 05/05/2014 | 2:00:00 p.m. | 16738358 | 1515437 | 6.9582 | 0 | 90.171 | 31.6 | 4.95
98 | 05/05/2014 | 1:00:00 p.m. | 16738157 | 1515408 | 6.978 | 0 | 90.108 | 30.9 | 4.95
97 | 05/05/2014 | 12:00:00 p.m. | 16737952 | 1515379 | 6.9873 | 0 | 90.063 | 30 | 4.95
96 | 05/05/2014 | 11:00:00 a.m. | 16737749 | 1515349 | 7.0151 | 0 | 90.161 | 29.2 | 4.95
95 | 05/05/2014 | 10:00:00 a.m. | 16737552 | 1515321 | 7.0378 | 0 | 90.264 | 28.3 | 4.94
94 | 05/05/2014 | 9:00:00 a.m. | 16737351 | 1515293 | 7.0609 | 0 | 90.387 | 27.6 | 4.93
93 | 05/05/2014 | 8:00:00 a.m. | 16737147 | 1515264 | 7.1038 | 0 | 90.685 | 27.2 | 4.93
92 | 05/05/2014 | 7:00:00 a.m. | 16736956 | 1515237 | 7.1109 | 0 | 90.654 | 27.4 | 4.93
91 | 05/05/2014 | 6:00:00 a.m. | 16736766 | 1515210 | 7.0899 | 0 | 90.592 | 27.5 | 4.93
90 | 05/05/2014 | 5:00:00 a.m. | 16736573 | 1515183 | 7.0935 | 0 | 90.576 | 27.6 | 4.93
89 | 05/05/2014 | 4:00:00 a.m. | 16736378 | 1515156 | 7.0967 | 0 | 90.584 | 27.5 | 4.93
88 | 05/05/2014 | 3:00:00 a.m. | 16736178 | 1515128 | 7.0905 | 0 | 90.59 | 27.7 | 4.93
87 | 05/05/2014 | 2:00:00 a.m. | 16735971 | 1515098 | 7.0861 | 0 | 90.595 | 27.6 | 4.93
86 | 05/05/2014 | 1:00:00 a.m. | 16735768 | 1515070 | 7.1056 | 0 | 90.629 | 27.5 | 4.93
85 | 05/05/2014 | 12:00:00 a.m. | 16735567 | 1515041 | 7.0867 | 0 | 90.656 | 27.6 | 4.93
84 | 04/05/2014 | 11:00:00 p.m. | 16735368 | 1515013 | 7.0802 | 0 | 90.654 | 27.8 | 4.94
83 | 04/05/2014 | 10:00:00 p.m. | 16735169 | 1514985 | 7.1035 | 0 | 90.681 | 27.9 | 4.94
82 | 04/05/2014 | 9:00:00 p.m. | 16734975 | 1514958 | 7.0849 | 0 | 90.667 | 28.1 | 4.94
81 | 04/05/2014 | 8:00:00 p.m. | 16734783 | 1514931 | 7.0797 | 0 | 90.582 | 28.6 | 4.95
80 | 04/05/2014 | 7:00:00 p.m. | 16734586 | 1514903 | 7.0483 | 0 | 90.464 | 29.2 | 4.95
79 | 04/05/2014 | 6:00:00 p.m. | 16734387 | 1514875 | 7.0278 | 0 | 90.366 | 29.9 | 4.96
78 | 04/05/2014 | 5:00:00 p.m. | 16734188 | 1514846 | 7.0105 | 0 | 90.267 | 30.8 | 4.97
77 | 04/05/2014 | 4:00:00 p.m. | 16733989 | 1514818 | 6.9614 | 0 | 90.291 | 32 | 4.96
76 | 04/05/2014 | 3:00:00 p.m. | 16733787 | 1514789 | 6.9901 | 0 | 90.343 | 31.7 | 4.96
75 | 04/05/2014 | 2:00:00 p.m. | 16733587 | 1514760 | 6.9773 | 0 | 90.3 | 31.5 | 4.95
74 | 04/05/2014 | 1:00:00 p.m. | 16733387 | 1514732 | 6.9776 | 0 | 90.256 | 30.8 | 4.95
73 | 04/05/2014 | 12:00:00 p.m. | 16733183 | 1514702 | 7.0158 | 0 | 90.312 | 29.9 | 4.95
72 | 04/05/2014 | 11:00:00 a.m. | 16732987 | 1514675 | 7.028 | 0 | 90.34 | 28.9 | 4.95
71 | 04/05/2014 | 10:00:00 a.m. | 16732788 | 1514646 | 7.0652 | 0 | 90.454 | 27.9 | 4.94
70 | 04/05/2014 | 9:00:00 a.m. | 16732592 | 1514619 | 7.095 | 0 | 90.619 | 27 | 4.92
69 | 04/05/2014 | 8:00:00 a.m. | 16732387 | 1514590 | 7.1353 | 0 | 90.886 | 26.3 | 4.91
68 | 04/05/2014 | 7:00:00 a.m. | 16732190 | 1514562 | 7.1507 | 0 | 90.983 | 26.1 | 4.91
67 | 04/05/2014 | 6:00:00 a.m. | 16732014 | 1514538 | 7.1592 | 0 | 91.046 | 26.2 | 4.92
66 | 04/05/2014 | 5:00:00 a.m. | 16731849 | 1514514 | 7.1399 | 0 | 90.882 | 26.7 | 4.92
65 | 04/05/2014 | 4:00:00 a.m. | 16731653 | 1514487 | 7.1438 | 0 | 90.877 | 26.8 | 4.92
64 | 04/05/2014 | 3:00:00 a.m. | 16731462 | 1514460 | 7.1231 | 0 | 90.772 | 27 | 4.92
63 | 04/05/2014 | 2:00:00 a.m. | 16731256 | 1514431 | 7.1291 | 0 | 90.851 | 26.9 | 4.93
62 | 04/05/2014 | 1:00:00 a.m. | 16731062 | 1514404 | 7.111 | 0 | 90.718 | 27.2 | 4.93
61 | 04/05/2014 | 12:00:00 a.m. | 16730858 | 1514375 | 7.1112 | 0 | 90.682 | 27.4 | 4.93
60 | 03/05/2014 | 11:00:00 p.m. | 16730659 | 1514347 | 7.1177 | 0 | 90.743 | 27.4 | 4.93
59 | 03/05/2014 | 10:00:00 p.m. | 16730477 | 1514322 | 7.0993 | 0 | 90.677 | 27.3 | 4.93
58 | 03/05/2014 | 9:00:00 p.m. | 16730279 | 1514294 | 7.1156 | 0 | 90.631 | 27.8 | 4.94
57 | 03/05/2014 | 8:00:00 p.m. | 16730089 | 1514267 | 7.0788 | 0 | 90.536 | 27.9 | 4.94
56 | 03/05/2014 | 7:00:00 p.m. | 16729889 | 1514239 | 7.0949 | 0 | 90.577 | 27.8 | 4.94
55 | 03/05/2014 | 6:00:00 p.m. | 16729696 | 1514212 | 7.0823 | 0 | 90.516 | 27.7 | 4.95
54 | 03/05/2014 | 5:00:00 p.m. | 16729490 | 1514183 | 7.0555 | 0 | 90.308 | 29.9 | 4.95
53 | 03/05/2014 | 4:00:00 p.m. | 16729285 | 1514153 | 6.967 | 0 | 90.237 | 31 | 4.96
52 | 03/05/2014 | 3:00:00 p.m. | 16729078 | 1514124 | 7.0068 | 0 | 90.293 | 30.6 | 4.95
51 | 03/05/2014 | 2:00:00 p.m. | 16728876 | 1514095 | 7.0167 | 0 | 90.3 | 30.6 | 4.95
50 | 03/05/2014 | 1:00:00 p.m. | 16728681 | 1514067 | 6.9829 | 0 | 90.255 | 30.5 | 4.95
49 | 03/05/2014 | 12:00:00 p.m. | 16728479 | 1514038 | 7.0124 | 0 | 90.252 | 29.6 | 4.95
48 | 03/05/2014 | 11:00:00 a.m. | 16728288 | 1514011 | 7.0255 | 0 | 90.218 | 29 | 4.95
47 | 03/05/2014 | 10:00:00 a.m. | 16728088 | 1513982 | 7.0483 | 0 | 90.353 | 28 | 4.94
46 | 03/05/2014 | 9:00:00 a.m. | 16727883 | 1513953 | 7.0701 | 0 | 90.561 | 27.2 | 4.93
45 | 03/05/2014 | 8:00:00 a.m. | 16727676 | 1513924 | 7.1226 | 0 | 90.721 | 26.8 | 4.92
44 | 03/05/2014 | 7:00:00 a.m. | 16727467 | 1513895 | 7.1075 | 0 | 90.803 | 26.7 | 4.92
43 | 03/05/2014 | 6:00:00 a.m. | 16727271 | 1513867 | 7.1393 | 0 | 90.691 | 26.9 | 4.93
42 | 03/05/2014 | 5:00:00 a.m. | 16727068 | 1513839 | 7.1163 | 0 | 90.743 | 26.9 | 4.92
41 | 03/05/2014 | 4:00:00 a.m. | 16726866 | 1513811 | 7.1264 | 0 | 90.737 | 27.1 | 4.93
40 | 03/05/2014 | 3:00:00 a.m. | 16726658 | 1513781 | 7.1073 | 0 | 90.704 | 27.2 | 4.93
39 | 03/05/2014 | 2:00:00 a.m. | 16726470 | 1513755 | 7.1173 | 0 | 90.713 | 27.4 | 4.93
38 | 03/05/2014 | 1:00:00 a.m. | 16726285 | 1513729 | 7.1047 | 0 | 90.652 | 27.7 | 4.93
37 | 03/05/2014 | 12:00:00 a.m. | 16726087 | 1513701 | 7.0887 | 0 | 90.659 | 27.7 | 4.94
36 | 02/05/2014 | 11:00:00 p.m. | 16725887 | 1513673 | 7.0929 | 0 | 90.563 | 27.8 | 4.94
35 | 02/05/2014 | 10:00:00 p.m. | 16725678 | 1513643 | 7.0851 | 0 | 90.595 | 27.8 | 4.94
34 | 02/05/2014 | 9:00:00 p.m. | 16725482 | 1513616 | 7.1005 | 0 | 90.631 | 28.1 | 4.94
33 | 02/05/2014 | 8:00:00 p.m. | 16725294 | 1513589 | 7.0681 | 0 | 90.435 | 28.5 | 4.95
32 | 02/05/2014 | 7:00:00 p.m. | 16725081 | 1513559 | 7.0513 | 0 | 90.387 | 28.8 | 4.95
31 | 02/05/2014 | 6:00:00 p.m. | 16724866 | 1513528 | 7.0495 | 0 | 90.295 | 29 | 4.95
30 | 02/05/2014 | 5:00:00 p.m. | 16724649 | 1513497 | 7.0301 | 0 | 90.215 | 29.3 | 4.96
29 | 02/05/2014 | 4:00:00 p.m. | 16724435 | 1513467 | 7.0228 | 0 | 90.197 | 30.6 | 4.96
28 | 02/05/2014 | 3:00:00 p.m. | 16724226 | 1513437 | 6.9663 | 0 | 90.069 | 29.8 | 4.96
27 | 02/05/2014 | 2:00:00 p.m. | 16723999 | 1513405 | 7.0086 | 0 | 90.023 | 30.9 | 4.96
26 | 02/05/2014 | 1:00:00 p.m. | 16723781 | 1513373 | 6.98 | 0 | 90.032 | 30.3 | 4.96
25 | 02/05/2014 | 12:00:00 p.m. | 16723558 | 1513342 | 7.0144 | 0 | 90.085 | 29.2 | 4.95
24 | 02/05/2014 | 11:00:00 a.m. | 16723328 | 1513309 | 7.0191 | 0 | 90.331 | 28.9 | 4.95
23 | 02/05/2014 | 10:00:00 a.m. | 16723141 | 1513282 | 7.053 | 0 | 90.256 | 28.2 | 4.94
22 | 02/05/2014 | 9:00:00 a.m. | 16722915 | 1513250 | 7.0652 | 0 | 90.504 | 27.5 | 4.93
21 | 02/05/2014 | 8:00:00 a.m. | 16722704 | 1513220 | 7.0952 | 0 | 90.565 | 27.4 | 4.93
20 | 02/05/2014 | 7:00:00 a.m. | 16722495 | 1513191 | 7.0819 | 0 | 90.645 | 27 | 4.93
19 | 02/05/2014 | 6:00:00 a.m. | 16722308 | 1513165 | 7.1497 | 0 | 91.05 | 26.3 | 4.94
18 | 02/05/2014 | 5:00:00 a.m. | 16722206 | 1513150 | 7.1515 | 0 | 91.078 | 26.4 | 4.94
17 | 02/05/2014 | 4:00:00 a.m. | 16722100 | 1513135 | 7.1469 | 0 | 91.002 | 26.8 | 4.94
16 | 02/05/2014 | 3:00:00 a.m. | 16721971 | 1513117 | 7.1509 | 0 | 91.134 | 26.7 | 4.94
15 | 02/05/2014 | 2:00:00 a.m. | 16721868 | 1513103 | 7.1462 | 0 | 91.102 | 26.9 | 4.94
14 | 02/05/2014 | 1:00:00 a.m. | 16721766 | 1513089 | 7.1211 | 0 | 90.952 | 27.2 | 4.94
13 | 02/05/2014 | 12:00:00 a.m. | 16721635 | 1513070 | 7.1347 | 0 | 91.135 | 26.9 | 4.94
12 | 01/05/2014 | 11:00:00 p.m. | 16721531 | 1513056 | 7.1535 | 0 | 91.176 | 26.4 | 4.95
11 | 01/05/2014 | 10:00:00 p.m. | 16721446 | 1513044 | 7.1817 | 0 | 91.274 | 26.5 | 4.95
10 | 01/05/2014 | 9:00:00 p.m. | 16721398 | 1513037 | 7.1685 | 0 | 91.289 | 26.8 | 4.95
9 | 01/05/2014 | 8:00:00 p.m. | 16721368 | 1513033 | 7.1484 | 0 | 91.234 | 28.2 | 4.95
8 | 01/05/2014 | 7:00:00 p.m. | 16721347 | 1513030 | 7.1053 | 0 | 91.127 | 29 | 4.96
7 | 01/05/2014 | 6:00:00 p.m. | 16721306 | 1513024 | 7.0685 | 0 | 91.052 | 30.4 | 4.97
6 | 01/05/2014 | 5:00:00 p.m. | 16721270 | 1513019 | 7.022 | 0 | 90.975 | 34 | 4.97
5 | 01/05/2014 | 4:00:00 p.m. | 16721249 | 1513016 | 6.8771 | 0 | 90.884 | 35.9 | 4.97
4 | 01/05/2014 | 3:00:00 p.m. | 16721220 | 1513012 | 6.9268 | 0 | 90.831 | 35.6 | 4.97
3 | 01/05/2014 | 2:00:00 p.m. | 16721173 | 1513005 | 6.8785 | 0 | 90.975 | 37.3 | 4.97
2 | 01/05/2014 | 1:00:00 p.m. | 16721154 | 1513002 | 6.8953 | 0 | 90.958 | 34.5 | 4.97
1 | 01/05/2014 | 12:00:00 p.m. | 16721133 | 1512999 | 6.9761 | 0 | 90.874 | 32.2 | 4.97