## La Fama horario 053114 MC B
Data Log
Unit Serial Number: | 03/11/45975
Meter/Site ID: | 1123871 16M FAMA
Drive Rate | 1 m³/rev
Number of Logs Stored: | 745
Fault/Alarms Recorded: | Date | Time | Condition
1 | 19/05/2014 | 9:47:02 a.m. | 0 (Alarm Register Cleared )
2 | 19/05/2014 | 9:46:58 a.m. | 0 (Fault Register Cleared )
3 | 12/05/2014 | 3:34:06 p.m. | 14 (Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
4 | 12/05/2014 | 3:33:36 p.m. | 10 (Low Pressure Alarm Occurred Low Temperature Alarm Occurred)
5 | 12/05/2014 | 3:33:36 p.m. | 4 (Temperature Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
745 | 01/06/2014 | 11:00:00 a.m. | 6042739 | 828918 | 7.7854 | 0 | 97.969 | 19.2 | 5.63
744 | 01/06/2014 | 10:00:00 a.m. | 6042739 | 828918 | 7.9142 | 0 | 98.105 | 15 | 5.61
743 | 01/06/2014 | 9:00:00 a.m. | 6042739 | 828918 | 8.0765 | 0 | 98.354 | 12.1 | 5.52
742 | 01/06/2014 | 8:00:00 a.m. | 6042739 | 828918 | 8.1101 | 0 | 98.598 | 11.7 | 5.48
741 | 01/06/2014 | 7:00:00 a.m. | 6042739 | 828918 | 8.1083 | 0 | 98.735 | 12.3 | 5.48
740 | 01/06/2014 | 6:00:00 a.m. | 6042739 | 828918 | 8.0879 | 0 | 98.649 | 13 | 5.48
739 | 01/06/2014 | 5:00:00 a.m. | 6042739 | 828918 | 8.0673 | 0 | 98.658 | 13.9 | 5.5
738 | 01/06/2014 | 4:00:00 a.m. | 6042739 | 828918 | 8.0425 | 0 | 98.682 | 14.8 | 5.47
737 | 01/06/2014 | 3:00:00 a.m. | 6042739 | 828918 | 8.0076 | 0 | 98.605 | 15.8 | 5.49
736 | 01/06/2014 | 2:00:00 a.m. | 6042739 | 828918 | 7.9616 | 0 | 98.629 | 17 | 5.49
735 | 01/06/2014 | 1:00:00 a.m. | 6042739 | 828918 | 7.9427 | 0 | 98.725 | 18.4 | 5.52
734 | 01/06/2014 | 12:00:00 a.m. | 6042739 | 828918 | 7.8923 | 0 | 98.681 | 20.1 | 5.53
733 | 31/05/2014 | 11:00:00 p.m. | 6042739 | 828918 | 7.8489 | 0 | 98.711 | 22.1 | 5.56
732 | 31/05/2014 | 10:00:00 p.m. | 6042739 | 828918 | 7.7964 | 0 | 98.605 | 24 | 5.58
731 | 31/05/2014 | 9:00:00 p.m. | 6042739 | 828918 | 7.7182 | 0 | 98.389 | 26.1 | 5.61
730 | 31/05/2014 | 8:00:00 p.m. | 6042739 | 828918 | 7.6446 | 0 | 98.278 | 27.7 | 5.63
729 | 31/05/2014 | 7:00:00 p.m. | 6042739 | 828918 | 7.6234 | 0 | 97.955 | 27.7 | 5.64
728 | 31/05/2014 | 6:00:00 p.m. | 6042670 | 828909 | 7.5952 | 0 | 97.855 | 27.5 | 5.63
727 | 31/05/2014 | 5:00:00 p.m. | 6042549 | 828893 | 7.5953 | 0 | 97.871 | 27.4 | 5.64
726 | 31/05/2014 | 4:00:00 p.m. | 6042427 | 828877 | 7.6259 | 0 | 97.819 | 26.9 | 5.63
725 | 31/05/2014 | 3:00:00 p.m. | 6042297 | 828860 | 7.6147 | 0 | 97.808 | 26.3 | 5.62
724 | 31/05/2014 | 2:00:00 p.m. | 6042160 | 828842 | 7.6538 | 0 | 97.79 | 25.5 | 5.61
723 | 31/05/2014 | 1:00:00 p.m. | 6042045 | 828827 | 7.6609 | 0 | 97.717 | 24.9 | 5.61
722 | 31/05/2014 | 12:00:00 p.m. | 6041861 | 828803 | 7.6717 | 0 | 97.848 | 24.2 | 5.58
721 | 31/05/2014 | 11:00:00 a.m. | 6041707 | 828783 | 7.6984 | 0 | 97.952 | 23.1 | 5.55
720 | 31/05/2014 | 10:00:00 a.m. | 6041568 | 828765 | 7.7468 | 0 | 98.056 | 22.8 | 5.51
719 | 31/05/2014 | 9:00:00 a.m. | 6041421 | 828746 | 7.7277 | 0 | 98.193 | 22.6 | 5.51
718 | 31/05/2014 | 8:00:00 a.m. | 6041266 | 828726 | 7.7621 | 0 | 98.238 | 22.5 | 5.51
717 | 31/05/2014 | 7:00:00 a.m. | 6041087 | 828703 | 7.8026 | 0 | 98.253 | 22.1 | 5.5
716 | 31/05/2014 | 6:00:00 a.m. | 6040939 | 828684 | 7.7916 | 0 | 98.381 | 22 | 5.51
715 | 31/05/2014 | 5:00:00 a.m. | 6040807 | 828667 | 7.8086 | 0 | 98.406 | 22 | 5.49
714 | 31/05/2014 | 4:00:00 a.m. | 6040667 | 828649 | 7.7867 | 0 | 98.383 | 22 | 5.49
713 | 31/05/2014 | 3:00:00 a.m. | 6040526 | 828631 | 7.7819 | 0 | 98.358 | 22.1 | 5.51
712 | 31/05/2014 | 2:00:00 a.m. | 6040379 | 828612 | 7.7946 | 0 | 98.4 | 22.1 | 5.5
711 | 31/05/2014 | 1:00:00 a.m. | 6040230 | 828593 | 7.786 | 0 | 98.376 | 22 | 5.51
710 | 31/05/2014 | 12:00:00 a.m. | 6040075 | 828573 | 7.7814 | 0 | 98.266 | 22.1 | 5.52
709 | 30/05/2014 | 11:00:00 p.m. | 6039919 | 828553 | 7.7633 | 0 | 98.374 | 22.3 | 5.53
708 | 30/05/2014 | 10:00:00 p.m. | 6039779 | 828535 | 7.771 | 0 | 98.197 | 22.9 | 5.53
707 | 30/05/2014 | 9:00:00 p.m. | 6039570 | 828508 | 7.745 | 0 | 98.116 | 23.2 | 5.56
706 | 30/05/2014 | 8:00:00 p.m. | 6039337 | 828478 | 7.7367 | 0 | 98.139 | 23.5 | 5.57
705 | 30/05/2014 | 7:00:00 p.m. | 6039121 | 828450 | 7.7278 | 0 | 98.134 | 23.7 | 5.59
704 | 30/05/2014 | 6:00:00 p.m. | 6038935 | 828426 | 7.7279 | 0 | 98.182 | 23.5 | 5.58
703 | 30/05/2014 | 5:00:00 p.m. | 6038750 | 828402 | 7.7965 | 0 | 98.038 | 23.3 | 5.6
702 | 30/05/2014 | 4:00:00 p.m. | 6038510 | 828371 | 7.6553 | 0 | 97.784 | 24.7 | 5.61
701 | 30/05/2014 | 3:00:00 p.m. | 6038234 | 828335 | 7.6736 | 0 | 97.843 | 25 | 5.62
700 | 30/05/2014 | 2:00:00 p.m. | 6038027 | 828308 | 7.6739 | 0 | 97.747 | 25.3 | 5.63
699 | 30/05/2014 | 1:00:00 p.m. | 6037789 | 828277 | 7.6435 | 0 | 97.692 | 25.2 | 5.63
698 | 30/05/2014 | 12:00:00 p.m. | 6037575 | 828249 | 7.6415 | 0 | 97.633 | 24.5 | 5.6
697 | 30/05/2014 | 11:00:00 a.m. | 6037299 | 828213 | 7.6796 | 0 | 97.751 | 23.9 | 5.59
696 | 30/05/2014 | 10:00:00 a.m. | 6037006 | 828175 | 7.7124 | 0 | 97.724 | 23.8 | 5.58
695 | 30/05/2014 | 9:00:00 a.m. | 6036699 | 828135 | 7.7446 | 0 | 97.945 | 23.1 | 5.51
694 | 30/05/2014 | 8:00:00 a.m. | 6036366 | 828092 | 7.7801 | 0 | 98.01 | 22.9 | 5.5
693 | 30/05/2014 | 7:00:00 a.m. | 6036033 | 828049 | 7.7441 | 0 | 98.024 | 22.8 | 5.5
692 | 30/05/2014 | 6:00:00 a.m. | 6035693 | 828005 | 7.7471 | 0 | 97.993 | 22.9 | 5.52
691 | 30/05/2014 | 5:00:00 a.m. | 6035360 | 827962 | 7.7561 | 0 | 97.973 | 22.9 | 5.49
690 | 30/05/2014 | 4:00:00 a.m. | 6035012 | 827917 | 7.7589 | 0 | 98.037 | 22.9 | 5.5
689 | 30/05/2014 | 3:00:00 a.m. | 6034671 | 827873 | 7.7374 | 0 | 98.01 | 22.9 | 5.5
688 | 30/05/2014 | 2:00:00 a.m. | 6034339 | 827830 | 7.7504 | 0 | 98.019 | 23 | 5.51
687 | 30/05/2014 | 1:00:00 a.m. | 6033998 | 827786 | 7.759 | 0 | 98.039 | 23 | 5.51
686 | 30/05/2014 | 12:00:00 a.m. | 6033658 | 827742 | 7.7566 | 0 | 98.044 | 23 | 5.53
685 | 29/05/2014 | 11:00:00 p.m. | 6033309 | 827697 | 7.7361 | 0 | 98.025 | 23.1 | 5.53
684 | 29/05/2014 | 10:00:00 p.m. | 6032969 | 827653 | 7.7458 | 0 | 97.927 | 23.3 | 5.54
683 | 29/05/2014 | 9:00:00 p.m. | 6032591 | 827604 | 7.7043 | 0 | 97.907 | 23.4 | 5.55
682 | 29/05/2014 | 8:00:00 p.m. | 6032205 | 827554 | 7.7385 | 0 | 97.87 | 23.7 | 5.57
681 | 29/05/2014 | 7:00:00 p.m. | 6031827 | 827505 | 7.7078 | 0 | 97.876 | 23.7 | 5.59
680 | 29/05/2014 | 6:00:00 p.m. | 6031465 | 827458 | 7.712 | 0 | 97.84 | 24 | 5.59
679 | 29/05/2014 | 5:00:00 p.m. | 6031119 | 827413 | 7.6799 | 0 | 97.783 | 23.9 | 5.59
678 | 29/05/2014 | 4:00:00 p.m. | 6030742 | 827364 | 7.7212 | 0 | 97.765 | 24.1 | 5.62
677 | 29/05/2014 | 3:00:00 p.m. | 6030365 | 827315 | 7.6516 | 0 | 97.53 | 24.8 | 5.63
676 | 29/05/2014 | 2:00:00 p.m. | 6029974 | 827264 | 7.6304 | 0 | 97.538 | 24.7 | 5.62
675 | 29/05/2014 | 1:00:00 p.m. | 6029584 | 827213 | 7.6528 | 0 | 97.487 | 24.8 | 5.62
674 | 29/05/2014 | 12:00:00 p.m. | 6029202 | 827163 | 7.6683 | 0 | 97.395 | 24.7 | 5.63
673 | 29/05/2014 | 11:00:00 a.m. | 6028820 | 827113 | 7.617 | 0 | 97.479 | 24.1 | 5.58
672 | 29/05/2014 | 10:00:00 a.m. | 6028398 | 827058 | 7.6513 | 0 | 97.668 | 23.6 | 5.55
671 | 29/05/2014 | 9:00:00 a.m. | 6028021 | 827009 | 7.7221 | 0 | 97.768 | 23.3 | 5.53
670 | 29/05/2014 | 8:00:00 a.m. | 6027658 | 826962 | 7.7579 | 0 | 97.928 | 23 | 5.5
669 | 29/05/2014 | 7:00:00 a.m. | 6027310 | 826917 | 7.7586 | 0 | 97.991 | 23 | 5.5
668 | 29/05/2014 | 6:00:00 a.m. | 6026986 | 826875 | 7.7378 | 0 | 98.051 | 23 | 5.5
667 | 29/05/2014 | 5:00:00 a.m. | 6026684 | 826836 | 7.7315 | 0 | 98.079 | 23 | 5.49
666 | 29/05/2014 | 4:00:00 a.m. | 6026374 | 826796 | 7.7369 | 0 | 98.073 | 23 | 5.5
665 | 29/05/2014 | 3:00:00 a.m. | 6026064 | 826756 | 7.7705 | 0 | 98.151 | 22.8 | 5.5
664 | 29/05/2014 | 2:00:00 a.m. | 6025801 | 826722 | 7.7593 | 0 | 98.069 | 22.9 | 5.51
663 | 29/05/2014 | 1:00:00 a.m. | 6025491 | 826682 | 7.7324 | 0 | 98.049 | 22.8 | 5.51
662 | 29/05/2014 | 12:00:00 a.m. | 6025189 | 826643 | 7.7538 | 0 | 98.086 | 22.8 | 5.51
661 | 28/05/2014 | 11:00:00 p.m. | 6024887 | 826604 | 7.7335 | 0 | 98.094 | 22.9 | 5.52
660 | 28/05/2014 | 10:00:00 p.m. | 6024578 | 826564 | 7.7699 | 0 | 98.133 | 23 | 5.53
659 | 28/05/2014 | 9:00:00 p.m. | 6024237 | 826520 | 7.7411 | 0 | 98.032 | 23.1 | 5.55
658 | 28/05/2014 | 8:00:00 p.m. | 6023904 | 826477 | 7.7038 | 0 | 98.06 | 23.4 | 5.57
657 | 28/05/2014 | 7:00:00 p.m. | 6023557 | 826432 | 7.7552 | 0 | 98.049 | 23.8 | 5.59
656 | 28/05/2014 | 6:00:00 p.m. | 6023217 | 826388 | 7.7421 | 0 | 97.988 | 24.3 | 5.6
655 | 28/05/2014 | 5:00:00 p.m. | 6022909 | 826348 | 7.707 | 0 | 97.89 | 24.5 | 5.62
654 | 28/05/2014 | 4:00:00 p.m. | 6022586 | 826306 | 7.6578 | 0 | 97.848 | 24.6 | 5.62
653 | 28/05/2014 | 3:00:00 p.m. | 6022264 | 826264 | 7.697 | 0 | 97.761 | 25.1 | 5.63
652 | 28/05/2014 | 2:00:00 p.m. | 6021958 | 826224 | 7.6438 | 0 | 97.591 | 25.2 | 5.63
651 | 28/05/2014 | 1:00:00 p.m. | 6021637 | 826182 | 7.6748 | 0 | 97.611 | 25 | 5.62
650 | 28/05/2014 | 12:00:00 p.m. | 6021300 | 826138 | 7.6627 | 0 | 97.783 | 24.3 | 5.61
649 | 28/05/2014 | 11:00:00 a.m. | 6020977 | 826096 | 7.7171 | 0 | 97.764 | 24.3 | 5.6
648 | 28/05/2014 | 10:00:00 a.m. | 6020631 | 826051 | 7.6672 | 0 | 97.859 | 23.8 | 5.57
647 | 28/05/2014 | 9:00:00 a.m. | 6020277 | 826005 | 7.7425 | 0 | 97.928 | 23.3 | 5.51
646 | 28/05/2014 | 8:00:00 a.m. | 6019899 | 825956 | 7.7583 | 0 | 98.042 | 23 | 5.49
645 | 28/05/2014 | 7:00:00 a.m. | 6019551 | 825911 | 7.7559 | 0 | 98.069 | 23 | 5.5
644 | 28/05/2014 | 6:00:00 a.m. | 6019210 | 825867 | 7.7787 | 0 | 98.13 | 22.9 | 5.49
643 | 28/05/2014 | 5:00:00 a.m. | 6018893 | 825826 | 7.7363 | 0 | 98.158 | 23.1 | 5.52
642 | 28/05/2014 | 4:00:00 a.m. | 6018560 | 825783 | 7.7554 | 0 | 98.292 | 22.9 | 5.5
641 | 28/05/2014 | 3:00:00 a.m. | 6018304 | 825750 | 7.7492 | 0 | 98.167 | 23.1 | 5.51
640 | 28/05/2014 | 2:00:00 a.m. | 6018002 | 825711 | 7.72 | 0 | 98.149 | 23.1 | 5.52
639 | 28/05/2014 | 1:00:00 a.m. | 6017700 | 825672 | 7.7962 | 0 | 98.178 | 23 | 5.51
638 | 28/05/2014 | 12:00:00 a.m. | 6017398 | 825633 | 7.7422 | 0 | 98.137 | 22.9 | 5.51
637 | 27/05/2014 | 11:00:00 p.m. | 6017088 | 825593 | 7.7787 | 0 | 98.125 | 23.1 | 5.53
636 | 27/05/2014 | 10:00:00 p.m. | 6016794 | 825555 | 7.7361 | 0 | 98.059 | 23.4 | 5.56
635 | 27/05/2014 | 9:00:00 p.m. | 6016485 | 825515 | 7.7091 | 0 | 97.969 | 23.8 | 5.58
634 | 27/05/2014 | 8:00:00 p.m. | 6016184 | 825476 | 7.7191 | 0 | 97.858 | 24.3 | 5.6
633 | 27/05/2014 | 7:00:00 p.m. | 6015869 | 825435 | 7.6883 | 0 | 97.782 | 24.7 | 5.6
632 | 27/05/2014 | 6:00:00 p.m. | 6015554 | 825394 | 7.6701 | 0 | 97.794 | 24.4 | 5.61
631 | 27/05/2014 | 5:00:00 p.m. | 6015224 | 825351 | 7.6875 | 0 | 97.996 | 26.4 | 5.62
630 | 27/05/2014 | 4:00:00 p.m. | 6015040 | 825327 | 7.5854 | 0 | 98.275 | 29.8 | 5.63
629 | 27/05/2014 | 3:00:00 p.m. | 6015040 | 825327 | 7.5545 | 0 | 97.965 | 29.5 | 5.64
628 | 27/05/2014 | 2:00:00 p.m. | 6015040 | 825327 | 7.5821 | 0 | 98.008 | 27.9 | 5.62
627 | 27/05/2014 | 1:00:00 p.m. | 6015040 | 825327 | 7.6223 | 0 | 97.965 | 26.6 | 5.63
626 | 27/05/2014 | 12:00:00 p.m. | 6015040 | 825327 | 7.662 | 0 | 98.038 | 25.9 | 5.63
625 | 27/05/2014 | 11:00:00 a.m. | 6015040 | 825327 | 7.6652 | 0 | 98.024 | 24.7 | 5.62
624 | 27/05/2014 | 10:00:00 a.m. | 6015025 | 825325 | 7.6859 | 0 | 97.725 | 24 | 5.58
623 | 27/05/2014 | 9:00:00 a.m. | 6014702 | 825283 | 7.7122 | 0 | 97.828 | 23.4 | 5.53
622 | 27/05/2014 | 8:00:00 a.m. | 6014347 | 825237 | 7.7296 | 0 | 97.941 | 23.2 | 5.5
621 | 27/05/2014 | 7:00:00 a.m. | 6013999 | 825192 | 7.6921 | 0 | 98.003 | 23.2 | 5.49
620 | 27/05/2014 | 6:00:00 a.m. | 6013652 | 825147 | 7.7246 | 0 | 98.008 | 23.2 | 5.5
619 | 27/05/2014 | 5:00:00 a.m. | 6013319 | 825104 | 7.7516 | 0 | 98.061 | 23.1 | 5.5
618 | 27/05/2014 | 4:00:00 a.m. | 6013010 | 825064 | 7.7262 | 0 | 98.201 | 22.9 | 5.51
617 | 27/05/2014 | 3:00:00 a.m. | 6012754 | 825031 | 7.7804 | 0 | 98.238 | 22.9 | 5.51
616 | 27/05/2014 | 2:00:00 a.m. | 6012514 | 825000 | 7.7602 | 0 | 98.256 | 22.9 | 5.52
615 | 27/05/2014 | 1:00:00 a.m. | 6012289 | 824971 | 7.7691 | 0 | 98.264 | 23 | 5.51
614 | 27/05/2014 | 12:00:00 a.m. | 6012033 | 824938 | 7.7478 | 0 | 98.204 | 23 | 5.51
613 | 26/05/2014 | 11:00:00 p.m. | 6011761 | 824903 | 7.757 | 0 | 98.322 | 22.6 | 5.52
612 | 26/05/2014 | 10:00:00 p.m. | 6011513 | 824871 | 7.7892 | 0 | 98.269 | 22.8 | 5.54
611 | 26/05/2014 | 9:00:00 p.m. | 6011265 | 824839 | 7.7432 | 0 | 98.267 | 23.7 | 5.58
610 | 26/05/2014 | 8:00:00 p.m. | 6011032 | 824809 | 7.7389 | 0 | 98.066 | 24 | 5.6
609 | 26/05/2014 | 7:00:00 p.m. | 6010762 | 824774 | 7.7088 | 0 | 98.227 | 24.4 | 5.62
608 | 26/05/2014 | 6:00:00 p.m. | 6010508 | 824741 | 7.715 | 0 | 98.049 | 25.5 | 5.64
607 | 26/05/2014 | 5:00:00 p.m. | 6010217 | 824703 | 7.6502 | 0 | 97.601 | 26.1 | 5.64
606 | 26/05/2014 | 4:00:00 p.m. | 6009904 | 824662 | 7.6571 | 0 | 97.668 | 26.1 | 5.64
605 | 26/05/2014 | 3:00:00 p.m. | 6009599 | 824622 | 7.6369 | 0 | 97.674 | 26 | 5.64
604 | 26/05/2014 | 2:00:00 p.m. | 6009294 | 824582 | 7.6196 | 0 | 97.492 | 26.3 | 5.65
603 | 26/05/2014 | 1:00:00 p.m. | 6008959 | 824538 | 7.5724 | 0 | 97.568 | 26.2 | 5.65
602 | 26/05/2014 | 12:00:00 p.m. | 6008677 | 824501 | 7.6623 | 0 | 97.584 | 25.8 | 5.65
601 | 26/05/2014 | 11:00:00 a.m. | 6008357 | 824459 | 7.6275 | 0 | 97.532 | 25.6 | 5.65
600 | 26/05/2014 | 10:00:00 a.m. | 6008052 | 824419 | 7.6574 | 0 | 97.743 | 24.9 | 5.61
599 | 26/05/2014 | 9:00:00 a.m. | 6007791 | 824385 | 7.702 | 0 | 98.064 | 23.3 | 5.54
598 | 26/05/2014 | 8:00:00 a.m. | 6007567 | 824356 | 7.7782 | 0 | 98.254 | 22.8 | 5.53
597 | 26/05/2014 | 7:00:00 a.m. | 6007404 | 824335 | 7.7626 | 0 | 98.227 | 22.8 | 5.52
596 | 26/05/2014 | 6:00:00 a.m. | 6007249 | 824315 | 7.7761 | 0 | 98.26 | 22.7 | 5.52
595 | 26/05/2014 | 5:00:00 a.m. | 6007094 | 824295 | 7.781 | 0 | 98.243 | 22.4 | 5.52
594 | 26/05/2014 | 4:00:00 a.m. | 6006962 | 824278 | 7.7823 | 0 | 98.375 | 22.6 | 5.53
593 | 26/05/2014 | 3:00:00 a.m. | 6006806 | 824258 | 7.7546 | 0 | 98.289 | 22.6 | 5.52
592 | 26/05/2014 | 2:00:00 a.m. | 6006659 | 824239 | 7.7511 | 0 | 98.395 | 22.7 | 5.53
591 | 26/05/2014 | 1:00:00 a.m. | 6006511 | 824220 | 7.7677 | 0 | 98.381 | 23 | 5.53
590 | 26/05/2014 | 12:00:00 a.m. | 6006348 | 824199 | 7.7519 | 0 | 98.535 | 23.1 | 5.55
589 | 25/05/2014 | 11:00:00 p.m. | 6006208 | 824181 | 7.7534 | 0 | 98.484 | 23.1 | 5.55
588 | 25/05/2014 | 10:00:00 p.m. | 6006045 | 824160 | 7.773 | 0 | 98.624 | 23.3 | 5.57
587 | 25/05/2014 | 9:00:00 p.m. | 6005898 | 824141 | 7.7982 | 0 | 98.415 | 23.7 | 5.59
586 | 25/05/2014 | 8:00:00 p.m. | 6005751 | 824122 | 7.7377 | 0 | 98.377 | 24.5 | 5.61
585 | 25/05/2014 | 7:00:00 p.m. | 6005604 | 824103 | 7.6908 | 0 | 98.134 | 25.7 | 5.62
584 | 25/05/2014 | 6:00:00 p.m. | 6005451 | 824083 | 7.6629 | 0 | 98.009 | 26.8 | 5.63
583 | 25/05/2014 | 5:00:00 p.m. | 6005306 | 824064 | 7.6253 | 0 | 97.917 | 27.1 | 5.64
582 | 25/05/2014 | 4:00:00 p.m. | 6005161 | 824045 | 7.6125 | 0 | 97.938 | 26.8 | 5.64
581 | 25/05/2014 | 3:00:00 p.m. | 6005008 | 824025 | 7.6468 | 0 | 97.91 | 26.9 | 5.64
580 | 25/05/2014 | 2:00:00 p.m. | 6004871 | 824007 | 7.6351 | 0 | 97.846 | 26.5 | 5.63
579 | 25/05/2014 | 1:00:00 p.m. | 6004719 | 823987 | 7.6327 | 0 | 97.871 | 25.6 | 5.63
578 | 25/05/2014 | 12:00:00 p.m. | 6004565 | 823967 | 7.6758 | 0 | 98.004 | 24.8 | 5.61
577 | 25/05/2014 | 11:00:00 a.m. | 6004435 | 823950 | 7.7068 | 0 | 98.034 | 23.9 | 5.59
576 | 25/05/2014 | 10:00:00 a.m. | 6004280 | 823930 | 7.7391 | 0 | 98.361 | 22.7 | 5.53
575 | 25/05/2014 | 9:00:00 a.m. | 6004141 | 823912 | 7.7749 | 0 | 98.575 | 22.2 | 5.51
574 | 25/05/2014 | 8:00:00 a.m. | 6003992 | 823893 | 7.8025 | 0 | 98.492 | 21.5 | 5.48
573 | 25/05/2014 | 7:00:00 a.m. | 6003852 | 823875 | 7.8158 | 0 | 98.434 | 21.9 | 5.5
572 | 25/05/2014 | 6:00:00 a.m. | 6003696 | 823855 | 7.7851 | 0 | 98.397 | 21.8 | 5.48
571 | 25/05/2014 | 5:00:00 a.m. | 6003540 | 823835 | 7.823 | 0 | 98.465 | 21.8 | 5.49
570 | 25/05/2014 | 4:00:00 a.m. | 6003407 | 823818 | 7.8114 | 0 | 98.435 | 21.9 | 5.5
569 | 25/05/2014 | 3:00:00 a.m. | 6003251 | 823798 | 7.8118 | 0 | 98.45 | 22.1 | 5.5
568 | 25/05/2014 | 2:00:00 a.m. | 6003111 | 823780 | 7.8054 | 0 | 98.453 | 21.9 | 5.51
567 | 25/05/2014 | 1:00:00 a.m. | 6002955 | 823760 | 7.8155 | 0 | 98.514 | 22.1 | 5.52
566 | 25/05/2014 | 12:00:00 a.m. | 6002823 | 823743 | 7.7775 | 0 | 98.433 | 22.3 | 5.53
565 | 24/05/2014 | 11:00:00 p.m. | 6002667 | 823723 | 7.8074 | 0 | 98.458 | 22.9 | 5.56
564 | 24/05/2014 | 10:00:00 p.m. | 6002527 | 823705 | 7.7485 | 0 | 98.413 | 23.4 | 5.56
563 | 24/05/2014 | 9:00:00 p.m. | 6002380 | 823686 | 7.761 | 0 | 98.307 | 23.8 | 5.59
562 | 24/05/2014 | 8:00:00 p.m. | 6002240 | 823668 | 7.7326 | 0 | 98.193 | 24.5 | 5.6
561 | 24/05/2014 | 7:00:00 p.m. | 6002094 | 823649 | 7.715 | 0 | 98.191 | 24.8 | 5.62
560 | 24/05/2014 | 6:00:00 p.m. | 6001925 | 823627 | 7.73 | 0 | 98.098 | 24.9 | 5.62
559 | 24/05/2014 | 5:00:00 p.m. | 6001694 | 823597 | 7.6626 | 0 | 98.023 | 25.3 | 5.62
558 | 24/05/2014 | 4:00:00 p.m. | 6001464 | 823567 | 7.676 | 0 | 97.92 | 26.1 | 5.64
557 | 24/05/2014 | 3:00:00 p.m. | 6001219 | 823535 | 7.6414 | 0 | 97.764 | 26.8 | 5.64
556 | 24/05/2014 | 2:00:00 p.m. | 6000998 | 823506 | 7.6267 | 0 | 97.779 | 26.1 | 5.64
555 | 24/05/2014 | 1:00:00 p.m. | 6000761 | 823475 | 7.6355 | 0 | 97.698 | 25.9 | 5.64
554 | 24/05/2014 | 12:00:00 p.m. | 6000502 | 823441 | 7.6308 | 0 | 97.759 | 25.5 | 5.64
553 | 24/05/2014 | 11:00:00 a.m. | 6000257 | 823409 | 7.6715 | 0 | 97.826 | 24.8 | 5.62
552 | 24/05/2014 | 10:00:00 a.m. | 6000019 | 823378 | 7.6905 | 0 | 97.866 | 24.2 | 5.61
551 | 24/05/2014 | 9:00:00 a.m. | 5999758 | 823344 | 7.7344 | 0 | 98.065 | 23.1 | 5.54
550 | 24/05/2014 | 8:00:00 a.m. | 5999495 | 823310 | 7.7503 | 0 | 98.312 | 22.5 | 5.48
549 | 24/05/2014 | 7:00:00 a.m. | 5999261 | 823280 | 7.7593 | 0 | 98.424 | 22.1 | 5.49
548 | 24/05/2014 | 6:00:00 a.m. | 5999067 | 823255 | 7.8151 | 0 | 98.489 | 21.8 | 5.5
547 | 24/05/2014 | 5:00:00 a.m. | 5998911 | 823235 | 7.7875 | 0 | 98.452 | 22 | 5.5
546 | 24/05/2014 | 4:00:00 a.m. | 5998731 | 823212 | 7.8115 | 0 | 98.471 | 22.1 | 5.5
545 | 24/05/2014 | 3:00:00 a.m. | 5998560 | 823190 | 7.7802 | 0 | 98.391 | 22.2 | 5.5
544 | 24/05/2014 | 2:00:00 a.m. | 5998373 | 823166 | 7.7973 | 0 | 98.39 | 22.3 | 5.5
543 | 24/05/2014 | 1:00:00 a.m. | 5998194 | 823143 | 7.7824 | 0 | 98.451 | 22.3 | 5.5
542 | 24/05/2014 | 12:00:00 a.m. | 5998015 | 823120 | 7.7755 | 0 | 98.488 | 22.1 | 5.51
541 | 23/05/2014 | 11:00:00 p.m. | 5997843 | 823098 | 7.8334 | 0 | 98.544 | 22 | 5.53
540 | 23/05/2014 | 10:00:00 p.m. | 5997648 | 823073 | 7.7484 | 0 | 98.273 | 23.5 | 5.54
539 | 23/05/2014 | 9:00:00 p.m. | 5997385 | 823039 | 7.7412 | 0 | 98.191 | 23.8 | 5.57
538 | 23/05/2014 | 8:00:00 p.m. | 5997122 | 823005 | 7.7186 | 0 | 98.202 | 24 | 5.57
537 | 23/05/2014 | 7:00:00 p.m. | 5996868 | 822972 | 7.7424 | 0 | 98.337 | 23.7 | 5.58
536 | 23/05/2014 | 6:00:00 p.m. | 5996635 | 822942 | 7.7641 | 0 | 98.209 | 24.2 | 5.61
535 | 23/05/2014 | 5:00:00 p.m. | 5996396 | 822911 | 7.7025 | 0 | 98.017 | 24.6 | 5.62
534 | 23/05/2014 | 4:00:00 p.m. | 5996158 | 822880 | 7.6873 | 0 | 97.975 | 24.9 | 5.62
533 | 23/05/2014 | 3:00:00 p.m. | 5995904 | 822847 | 7.6807 | 0 | 97.863 | 26 | 5.65
532 | 23/05/2014 | 2:00:00 p.m. | 5995644 | 822813 | 7.65 | 0 | 97.794 | 26.3 | 5.64
531 | 23/05/2014 | 1:00:00 p.m. | 5995377 | 822778 | 7.6493 | 0 | 97.838 | 25.8 | 5.64
530 | 23/05/2014 | 12:00:00 p.m. | 5995125 | 822745 | 7.6158 | 0 | 97.88 | 25.2 | 5.62
529 | 23/05/2014 | 11:00:00 a.m. | 5994849 | 822709 | 7.705 | 0 | 97.889 | 24.7 | 5.6
528 | 23/05/2014 | 10:00:00 a.m. | 5994549 | 822670 | 7.7075 | 0 | 98.136 | 23.8 | 5.54
527 | 23/05/2014 | 9:00:00 a.m. | 5994287 | 822636 | 7.7572 | 0 | 98.268 | 23.2 | 5.52
526 | 23/05/2014 | 8:00:00 a.m. | 5994016 | 822601 | 7.7518 | 0 | 98.376 | 22.7 | 5.5
525 | 23/05/2014 | 7:00:00 a.m. | 5993790 | 822572 | 7.8032 | 0 | 98.471 | 22.4 | 5.5
524 | 23/05/2014 | 6:00:00 a.m. | 5993611 | 822549 | 7.7831 | 0 | 98.465 | 22.5 | 5.52
523 | 23/05/2014 | 5:00:00 a.m. | 5993440 | 822527 | 7.7925 | 0 | 98.474 | 22.6 | 5.53
522 | 23/05/2014 | 4:00:00 a.m. | 5993261 | 822504 | 7.7628 | 0 | 98.381 | 23 | 5.52
521 | 23/05/2014 | 3:00:00 a.m. | 5993082 | 822481 | 7.7891 | 0 | 98.512 | 22.9 | 5.52
520 | 23/05/2014 | 2:00:00 a.m. | 5992911 | 822459 | 7.7662 | 0 | 98.513 | 22.9 | 5.53
519 | 23/05/2014 | 1:00:00 a.m. | 5992740 | 822437 | 7.7833 | 0 | 98.479 | 23.2 | 5.54
518 | 23/05/2014 | 12:00:00 a.m. | 5992562 | 822414 | 7.7494 | 0 | 98.464 | 23.4 | 5.55
517 | 22/05/2014 | 11:00:00 p.m. | 5992375 | 822390 | 7.781 | 0 | 98.576 | 23.5 | 5.56
516 | 22/05/2014 | 10:00:00 p.m. | 5992181 | 822365 | 7.7844 | 0 | 98.442 | 23.7 | 5.56
515 | 22/05/2014 | 9:00:00 p.m. | 5991941 | 822334 | 7.723 | 0 | 98.464 | 23.9 | 5.58
514 | 22/05/2014 | 8:00:00 p.m. | 5991701 | 822303 | 7.7523 | 0 | 98.457 | 24.2 | 5.6
513 | 22/05/2014 | 7:00:00 p.m. | 5991469 | 822273 | 7.6935 | 0 | 98.399 | 24.6 | 5.62
512 | 22/05/2014 | 6:00:00 p.m. | 5991222 | 822241 | 7.7266 | 0 | 98.311 | 25.2 | 5.63
511 | 22/05/2014 | 5:00:00 p.m. | 5990999 | 822212 | 7.6883 | 0 | 98.184 | 25.8 | 5.64
510 | 22/05/2014 | 4:00:00 p.m. | 5990769 | 822182 | 7.6306 | 0 | 97.961 | 26.8 | 5.65
509 | 22/05/2014 | 3:00:00 p.m. | 5990524 | 822150 | 7.6295 | 0 | 97.944 | 26.5 | 5.65
508 | 22/05/2014 | 2:00:00 p.m. | 5990280 | 822118 | 7.6898 | 0 | 97.919 | 26.1 | 5.65
507 | 22/05/2014 | 1:00:00 p.m. | 5989997 | 822081 | 7.6021 | 0 | 97.967 | 26 | 5.65
506 | 22/05/2014 | 12:00:00 p.m. | 5989760 | 822050 | 7.6762 | 0 | 97.886 | 25.6 | 5.64
505 | 22/05/2014 | 11:00:00 a.m. | 5989477 | 822013 | 7.6608 | 0 | 98.007 | 25.1 | 5.64
504 | 22/05/2014 | 10:00:00 a.m. | 5989224 | 821980 | 7.6815 | 0 | 98.033 | 24.2 | 5.61
503 | 22/05/2014 | 9:00:00 a.m. | 5988992 | 821950 | 7.7273 | 0 | 98.234 | 22.7 | 5.53
502 | 22/05/2014 | 8:00:00 a.m. | 5988760 | 821920 | 7.7897 | 0 | 98.485 | 22 | 5.49
501 | 22/05/2014 | 7:00:00 a.m. | 5988557 | 821894 | 7.8182 | 0 | 98.594 | 22.2 | 5.5
500 | 22/05/2014 | 6:00:00 a.m. | 5988370 | 821870 | 7.7927 | 0 | 98.666 | 22.2 | 5.49
499 | 22/05/2014 | 5:00:00 a.m. | 5988191 | 821847 | 7.8025 | 0 | 98.782 | 21.8 | 5.5
498 | 22/05/2014 | 4:00:00 a.m. | 5988011 | 821824 | 7.847 | 0 | 98.962 | 22 | 5.51
497 | 22/05/2014 | 3:00:00 a.m. | 5987862 | 821805 | 7.8058 | 0 | 98.819 | 22.1 | 5.5
496 | 22/05/2014 | 2:00:00 a.m. | 5987683 | 821782 | 7.8651 | 0 | 98.884 | 21.8 | 5.51
495 | 22/05/2014 | 1:00:00 a.m. | 5987502 | 821759 | 7.8581 | 0 | 98.875 | 23 | 5.53
494 | 22/05/2014 | 12:00:00 a.m. | 5987339 | 821738 | 7.8179 | 0 | 98.692 | 23 | 5.54
493 | 21/05/2014 | 11:00:00 p.m. | 5987167 | 821716 | 7.8047 | 0 | 98.794 | 23.2 | 5.54
492 | 21/05/2014 | 10:00:00 p.m. | 5986973 | 821691 | 7.7551 | 0 | 98.553 | 23.5 | 5.56
491 | 21/05/2014 | 9:00:00 p.m. | 5986709 | 821657 | 7.7872 | 0 | 98.501 | 23.7 | 5.58
490 | 21/05/2014 | 8:00:00 p.m. | 5986438 | 821622 | 7.7841 | 0 | 98.394 | 24.2 | 5.6
489 | 21/05/2014 | 7:00:00 p.m. | 5986175 | 821588 | 7.7133 | 0 | 98.284 | 24.6 | 5.6
488 | 21/05/2014 | 6:00:00 p.m. | 5985867 | 821548 | 7.7412 | 0 | 98.323 | 24.3 | 5.6
487 | 21/05/2014 | 5:00:00 p.m. | 5985566 | 821509 | 7.7756 | 0 | 98.507 | 23 | 5.58
486 | 21/05/2014 | 4:00:00 p.m. | 5985294 | 821474 | 7.8046 | 0 | 98.342 | 24 | 5.63
485 | 21/05/2014 | 3:00:00 p.m. | 5985008 | 821437 | 7.686 | 0 | 98.061 | 25.8 | 5.65
484 | 21/05/2014 | 2:00:00 p.m. | 5984709 | 821398 | 7.6036 | 0 | 97.93 | 26.2 | 5.64
483 | 21/05/2014 | 1:00:00 p.m. | 5984426 | 821361 | 7.6423 | 0 | 97.932 | 25.8 | 5.65
482 | 21/05/2014 | 12:00:00 p.m. | 5984158 | 821326 | 7.6818 | 0 | 97.869 | 25.7 | 5.65
481 | 21/05/2014 | 11:00:00 a.m. | 5983883 | 821290 | 7.6335 | 0 | 97.884 | 25.2 | 5.64
480 | 21/05/2014 | 10:00:00 a.m. | 5983599 | 821253 | 7.698 | 0 | 98.019 | 24.3 | 5.6
479 | 21/05/2014 | 9:00:00 a.m. | 5983322 | 821217 | 7.7386 | 0 | 98.242 | 23.3 | 5.52
478 | 21/05/2014 | 8:00:00 a.m. | 5983036 | 821180 | 7.7882 | 0 | 98.5 | 22.6 | 5.49
477 | 21/05/2014 | 7:00:00 a.m. | 5982771 | 821146 | 7.8025 | 0 | 98.807 | 21.8 | 5.5
476 | 21/05/2014 | 6:00:00 a.m. | 5982622 | 821127 | 7.8312 | 0 | 98.764 | 21.9 | 5.48
475 | 21/05/2014 | 5:00:00 a.m. | 5982466 | 821107 | 7.8146 | 0 | 98.721 | 22.1 | 5.51
474 | 21/05/2014 | 4:00:00 a.m. | 5982302 | 821086 | 7.8088 | 0 | 98.603 | 22.4 | 5.51
473 | 21/05/2014 | 3:00:00 a.m. | 5982123 | 821063 | 7.7944 | 0 | 98.656 | 22.4 | 5.52
472 | 21/05/2014 | 2:00:00 a.m. | 5981967 | 821043 | 7.8017 | 0 | 98.618 | 22.6 | 5.53
471 | 21/05/2014 | 1:00:00 a.m. | 5981811 | 821023 | 7.7698 | 0 | 98.609 | 22.9 | 5.54
470 | 21/05/2014 | 12:00:00 a.m. | 5981632 | 821000 | 7.7272 | 0 | 98.691 | 23 | 5.55
469 | 20/05/2014 | 11:00:00 p.m. | 5981477 | 820980 | 7.7647 | 0 | 98.678 | 23.4 | 5.57
468 | 20/05/2014 | 10:00:00 p.m. | 5981290 | 820956 | 7.773 | 0 | 98.477 | 23.6 | 5.57
467 | 20/05/2014 | 9:00:00 p.m. | 5981042 | 820924 | 7.7441 | 0 | 98.43 | 23.8 | 5.59
466 | 20/05/2014 | 8:00:00 p.m. | 5980764 | 820888 | 7.765 | 0 | 98.376 | 24.2 | 5.61
465 | 20/05/2014 | 7:00:00 p.m. | 5980493 | 820853 | 7.7175 | 0 | 98.226 | 24.5 | 5.62
464 | 20/05/2014 | 6:00:00 p.m. | 5980200 | 820815 | 7.714 | 0 | 98.204 | 24.4 | 5.62
463 | 20/05/2014 | 5:00:00 p.m. | 5979923 | 820779 | 7.7286 | 0 | 98.123 | 24.7 | 5.64
462 | 20/05/2014 | 4:00:00 p.m. | 5979577 | 820734 | 7.6521 | 0 | 97.712 | 26.3 | 5.66
461 | 20/05/2014 | 3:00:00 p.m. | 5979203 | 820685 | 7.6332 | 0 | 97.627 | 26 | 5.65
460 | 20/05/2014 | 2:00:00 p.m. | 5978791 | 820631 | 7.6137 | 0 | 97.512 | 25.7 | 5.65
459 | 20/05/2014 | 1:00:00 p.m. | 5978341 | 820572 | 7.6345 | 0 | 97.603 | 25.6 | 5.66
458 | 20/05/2014 | 12:00:00 p.m. | 5977937 | 820519 | 7.6662 | 0 | 97.507 | 25.3 | 5.65
457 | 20/05/2014 | 11:00:00 a.m. | 5977478 | 820459 | 7.6157 | 0 | 97.597 | 26.5 | 5.63
456 | 20/05/2014 | 10:00:00 a.m. | 5977044 | 820402 | 7.6408 | 0 | 97.823 | 26.2 | 5.62
455 | 20/05/2014 | 9:00:00 a.m. | 5976647 | 820350 | 7.6821 | 0 | 98.027 | 25.4 | 5.54
454 | 20/05/2014 | 8:00:00 a.m. | 5976241 | 820297 | 7.7054 | 0 | 98.211 | 24.9 | 5.5
453 | 20/05/2014 | 7:00:00 a.m. | 5975856 | 820247 | 7.7133 | 0 | 98.462 | 24.6 | 5.49
452 | 20/05/2014 | 6:00:00 a.m. | 5975539 | 820206 | 7.7282 | 0 | 98.468 | 24.8 | 5.5
451 | 20/05/2014 | 5:00:00 a.m. | 5975246 | 820168 | 7.713 | 0 | 98.452 | 24.9 | 5.51
450 | 20/05/2014 | 4:00:00 a.m. | 5974929 | 820127 | 7.7308 | 0 | 98.459 | 25 | 5.51
449 | 20/05/2014 | 3:00:00 a.m. | 5974598 | 820084 | 7.7133 | 0 | 98.482 | 25 | 5.51
448 | 20/05/2014 | 2:00:00 a.m. | 5974289 | 820044 | 7.7231 | 0 | 98.605 | 25.1 | 5.53
447 | 20/05/2014 | 1:00:00 a.m. | 5973981 | 820004 | 7.6953 | 0 | 98.638 | 25.2 | 5.53
446 | 20/05/2014 | 12:00:00 a.m. | 5973672 | 819964 | 7.704 | 0 | 98.637 | 25.4 | 5.55
445 | 19/05/2014 | 11:00:00 p.m. | 5973363 | 819924 | 7.7101 | 0 | 98.556 | 25.6 | 5.56
444 | 19/05/2014 | 10:00:00 p.m. | 5973040 | 819882 | 7.698 | 0 | 98.265 | 25.8 | 5.58
443 | 19/05/2014 | 9:00:00 p.m. | 5972656 | 819832 | 7.6689 | 0 | 98.227 | 26 | 5.59
442 | 19/05/2014 | 8:00:00 p.m. | 5972272 | 819782 | 7.6263 | 0 | 98.065 | 26.5 | 5.61
441 | 19/05/2014 | 7:00:00 p.m. | 5971875 | 819730 | 7.6549 | 0 | 98.038 | 26.8 | 5.64
440 | 19/05/2014 | 6:00:00 p.m. | 5971501 | 819681 | 7.6449 | 0 | 97.91 | 27.2 | 5.65
439 | 19/05/2014 | 5:00:00 p.m. | 5971112 | 819630 | 7.6102 | 0 | 97.791 | 27.7 | 5.65
438 | 19/05/2014 | 4:00:00 p.m. | 5970725 | 819579 | 7.6028 | 0 | 97.76 | 27.8 | 5.64
437 | 19/05/2014 | 3:00:00 p.m. | 5970361 | 819531 | 7.6032 | 0 | 97.803 | 27.5 | 5.65
436 | 19/05/2014 | 2:00:00 p.m. | 5969981 | 819481 | 7.5766 | 0 | 97.742 | 27.5 | 5.65
435 | 19/05/2014 | 1:00:00 p.m. | 5969586 | 819429 | 7.6063 | 0 | 97.704 | 27.5 | 5.65
434 | 19/05/2014 | 12:00:00 p.m. | 5969199 | 819378 | 7.6067 | 0 | 97.783 | 27.3 | 5.65
433 | 19/05/2014 | 11:00:00 a.m. | 5968803 | 819326 | 7.6196 | 0 | 97.87 | 26.7 | 5.63
432 | 19/05/2014 | 10:00:00 a.m. | 5968415 | 819275 | 7.6582 | 0 | 98.036 | 25.8 | 5.56
431 | 19/05/2014 | 9:00:00 a.m. | 5968032 | 819225 | 7.6728 | 4 | 98.161 | 25.2 | 5.5
430 | 19/05/2014 | 8:00:00 a.m. | 5967617 | 819171 | 7.7325 | 4 | 98.408 | 24.7 | 5.5
429 | 19/05/2014 | 7:00:00 a.m. | 5967254 | 819124 | 7.7234 | 4 | 98.528 | 24.6 | 5.5
428 | 19/05/2014 | 6:00:00 a.m. | 5966929 | 819082 | 7.7297 | 4 | 98.512 | 24.6 | 5.49
427 | 19/05/2014 | 5:00:00 a.m. | 5966613 | 819041 | 7.7393 | 4 | 98.543 | 24.6 | 5.5
426 | 19/05/2014 | 4:00:00 a.m. | 5966319 | 819003 | 7.7544 | 4 | 98.66 | 24.8 | 5.5
425 | 19/05/2014 | 3:00:00 a.m. | 5966025 | 818965 | 7.7106 | 4 | 98.579 | 24.9 | 5.5
424 | 19/05/2014 | 2:00:00 a.m. | 5965701 | 818923 | 7.7431 | 4 | 98.554 | 25 | 5.52
423 | 19/05/2014 | 1:00:00 a.m. | 5965400 | 818884 | 7.7012 | 4 | 98.57 | 25.1 | 5.53
422 | 19/05/2014 | 12:00:00 a.m. | 5965107 | 818846 | 7.7257 | 4 | 98.548 | 25.3 | 5.54
421 | 18/05/2014 | 11:00:00 p.m. | 5964814 | 818808 | 7.6962 | 4 | 98.589 | 25.5 | 5.55
420 | 18/05/2014 | 10:00:00 p.m. | 5964544 | 818773 | 7.6974 | 4 | 98.635 | 25.6 | 5.58
419 | 18/05/2014 | 9:00:00 p.m. | 5964289 | 818740 | 7.7198 | 4 | 98.656 | 25.8 | 5.61
418 | 18/05/2014 | 8:00:00 p.m. | 5964050 | 818709 | 7.6854 | 4 | 98.498 | 26.4 | 5.62
417 | 18/05/2014 | 7:00:00 p.m. | 5963812 | 818678 | 7.6648 | 4 | 98.39 | 27.1 | 5.63
416 | 18/05/2014 | 6:00:00 p.m. | 5963575 | 818647 | 7.6337 | 4 | 98.369 | 27.8 | 5.64
415 | 18/05/2014 | 5:00:00 p.m. | 5963331 | 818615 | 7.6096 | 4 | 98.242 | 28.3 | 5.65
414 | 18/05/2014 | 4:00:00 p.m. | 5963087 | 818583 | 7.6068 | 4 | 98.175 | 28.3 | 5.65
413 | 18/05/2014 | 3:00:00 p.m. | 5962844 | 818551 | 7.5971 | 4 | 98.083 | 28.4 | 5.66
412 | 18/05/2014 | 2:00:00 p.m. | 5962586 | 818517 | 7.5858 | 4 | 98.068 | 28.3 | 5.65
411 | 18/05/2014 | 1:00:00 p.m. | 5962328 | 818483 | 7.6094 | 4 | 98.118 | 27.9 | 5.65
410 | 18/05/2014 | 12:00:00 p.m. | 5962084 | 818451 | 7.5953 | 4 | 98.184 | 27.6 | 5.64
409 | 18/05/2014 | 11:00:00 a.m. | 5961840 | 818419 | 7.6318 | 4 | 98.236 | 27 | 5.64
408 | 18/05/2014 | 10:00:00 a.m. | 5961595 | 818387 | 7.6691 | 4 | 98.398 | 26.2 | 5.6
407 | 18/05/2014 | 9:00:00 a.m. | 5961350 | 818355 | 7.7019 | 4 | 98.554 | 25.2 | 5.53
406 | 18/05/2014 | 8:00:00 a.m. | 5961080 | 818320 | 7.7437 | 4 | 98.772 | 24.6 | 5.5
405 | 18/05/2014 | 7:00:00 a.m. | 5960832 | 818288 | 7.7544 | 4 | 98.719 | 24.7 | 5.51
404 | 18/05/2014 | 6:00:00 a.m. | 5960584 | 818256 | 7.7429 | 4 | 98.701 | 24.9 | 5.52
403 | 18/05/2014 | 5:00:00 a.m. | 5960321 | 818222 | 7.741 | 4 | 98.68 | 24.9 | 5.52
402 | 18/05/2014 | 4:00:00 a.m. | 5960058 | 818188 | 7.7349 | 4 | 98.686 | 24.9 | 5.51
401 | 18/05/2014 | 3:00:00 a.m. | 5959795 | 818154 | 7.719 | 4 | 98.658 | 25 | 5.52
400 | 18/05/2014 | 2:00:00 a.m. | 5959533 | 818120 | 7.7295 | 4 | 98.73 | 25.1 | 5.54
399 | 18/05/2014 | 1:00:00 a.m. | 5959285 | 818088 | 7.7378 | 4 | 98.748 | 25.1 | 5.54
398 | 18/05/2014 | 12:00:00 a.m. | 5959045 | 818057 | 7.7482 | 4 | 98.79 | 25.3 | 5.55
397 | 17/05/2014 | 11:00:00 p.m. | 5958806 | 818026 | 7.7347 | 4 | 98.679 | 25.5 | 5.56
396 | 17/05/2014 | 10:00:00 p.m. | 5958543 | 817992 | 7.7187 | 4 | 98.744 | 25.7 | 5.58
395 | 17/05/2014 | 9:00:00 p.m. | 5958297 | 817960 | 7.7296 | 4 | 98.694 | 26 | 5.61
394 | 17/05/2014 | 8:00:00 p.m. | 5958050 | 817928 | 7.7139 | 4 | 98.526 | 26.6 | 5.62
393 | 17/05/2014 | 7:00:00 p.m. | 5957804 | 817896 | 7.6439 | 4 | 98.195 | 27.4 | 5.65
392 | 17/05/2014 | 6:00:00 p.m. | 5957530 | 817860 | 7.6157 | 4 | 97.966 | 28.2 | 5.65
391 | 17/05/2014 | 5:00:00 p.m. | 5957211 | 817818 | 7.5662 | 4 | 97.842 | 28.2 | 5.65
390 | 17/05/2014 | 4:00:00 p.m. | 5956855 | 817771 | 7.5634 | 4 | 97.865 | 28 | 5.65
389 | 17/05/2014 | 3:00:00 p.m. | 5956521 | 817727 | 7.6024 | 4 | 97.859 | 27.8 | 5.65
388 | 17/05/2014 | 2:00:00 p.m. | 5956186 | 817683 | 7.6074 | 4 | 97.846 | 27.7 | 5.65
387 | 17/05/2014 | 1:00:00 p.m. | 5955867 | 817641 | 7.5999 | 4 | 97.832 | 27.6 | 5.65
386 | 17/05/2014 | 12:00:00 p.m. | 5955518 | 817595 | 7.6172 | 4 | 97.815 | 27.2 | 5.66
385 | 17/05/2014 | 11:00:00 a.m. | 5955137 | 817545 | 7.6008 | 4 | 97.713 | 26.7 | 5.64
384 | 17/05/2014 | 10:00:00 a.m. | 5954688 | 817486 | 7.6531 | 4 | 98.004 | 26 | 5.6
383 | 17/05/2014 | 9:00:00 a.m. | 5954328 | 817439 | 7.6542 | 4 | 98.093 | 25.1 | 5.52
382 | 17/05/2014 | 8:00:00 a.m. | 5953905 | 817384 | 7.7089 | 4 | 98.468 | 24.3 | 5.48
381 | 17/05/2014 | 7:00:00 a.m. | 5953565 | 817340 | 7.7567 | 4 | 98.661 | 24 | 5.49
380 | 17/05/2014 | 6:00:00 a.m. | 5953294 | 817305 | 7.7456 | 4 | 98.677 | 24.2 | 5.48
379 | 17/05/2014 | 5:00:00 a.m. | 5953030 | 817271 | 7.7324 | 4 | 98.67 | 24.2 | 5.49
378 | 17/05/2014 | 4:00:00 a.m. | 5952775 | 817238 | 7.7618 | 4 | 98.694 | 24.2 | 5.5
377 | 17/05/2014 | 3:00:00 a.m. | 5952519 | 817205 | 7.7369 | 4 | 98.616 | 24.4 | 5.51
376 | 17/05/2014 | 2:00:00 a.m. | 5952256 | 817171 | 7.7278 | 4 | 98.582 | 24.6 | 5.51
375 | 17/05/2014 | 1:00:00 a.m. | 5951993 | 817137 | 7.7332 | 4 | 98.607 | 24.8 | 5.52
374 | 17/05/2014 | 12:00:00 a.m. | 5951730 | 817103 | 7.721 | 4 | 98.56 | 25 | 5.54
373 | 16/05/2014 | 11:00:00 p.m. | 5951460 | 817068 | 7.6997 | 4 | 98.598 | 25.2 | 5.55
372 | 16/05/2014 | 10:00:00 p.m. | 5951189 | 817033 | 7.7094 | 4 | 98.462 | 25.5 | 5.58
371 | 16/05/2014 | 9:00:00 p.m. | 5950866 | 816991 | 7.6772 | 4 | 98.353 | 26 | 5.61
370 | 16/05/2014 | 8:00:00 p.m. | 5950528 | 816947 | 7.6801 | 4 | 98.241 | 26.9 | 5.64
369 | 16/05/2014 | 7:00:00 p.m. | 5950192 | 816903 | 7.6388 | 4 | 98.061 | 27.7 | 5.65
368 | 16/05/2014 | 6:00:00 p.m. | 5949864 | 816860 | 7.6098 | 4 | 97.952 | 28.2 | 5.65
367 | 16/05/2014 | 5:00:00 p.m. | 5949545 | 816818 | 7.596 | 4 | 97.914 | 28.2 | 5.65
366 | 16/05/2014 | 4:00:00 p.m. | 5949234 | 816777 | 7.5762 | 4 | 97.929 | 27.8 | 5.64
365 | 16/05/2014 | 3:00:00 p.m. | 5948908 | 816734 | 7.6309 | 4 | 97.881 | 27.3 | 5.63
364 | 16/05/2014 | 2:00:00 p.m. | 5948573 | 816690 | 7.6183 | 4 | 97.657 | 27 | 5.64
363 | 16/05/2014 | 1:00:00 p.m. | 5948147 | 816634 | 7.6186 | 4 | 97.899 | 27.1 | 5.64
362 | 16/05/2014 | 12:00:00 p.m. | 5947804 | 816589 | 7.6077 | 4 | 97.944 | 26.9 | 5.65
361 | 16/05/2014 | 11:00:00 a.m. | 5947476 | 816546 | 7.6431 | 4 | 97.94 | 26.4 | 5.64
360 | 16/05/2014 | 10:00:00 a.m. | 5947117 | 816499 | 7.6437 | 4 | 98.049 | 25.7 | 5.61
359 | 16/05/2014 | 9:00:00 a.m. | 5946765 | 816453 | 7.7005 | 4 | 98.269 | 24.6 | 5.53
358 | 16/05/2014 | 8:00:00 a.m. | 5946410 | 816407 | 7.751 | 4 | 98.523 | 24 | 5.48
357 | 16/05/2014 | 7:00:00 a.m. | 5946085 | 816365 | 7.7308 | 4 | 98.677 | 23.6 | 5.48
356 | 16/05/2014 | 6:00:00 a.m. | 5945813 | 816330 | 7.768 | 4 | 98.666 | 23.6 | 5.49
355 | 16/05/2014 | 5:00:00 a.m. | 5945565 | 816298 | 7.7616 | 4 | 98.723 | 23.8 | 5.49
354 | 16/05/2014 | 4:00:00 a.m. | 5945324 | 816267 | 7.7622 | 4 | 98.628 | 24 | 5.5
353 | 16/05/2014 | 3:00:00 a.m. | 5945068 | 816234 | 7.7684 | 4 | 98.656 | 24.1 | 5.48
352 | 16/05/2014 | 2:00:00 a.m. | 5944804 | 816200 | 7.751 | 4 | 98.643 | 24.3 | 5.49
351 | 16/05/2014 | 1:00:00 a.m. | 5944541 | 816166 | 7.7435 | 4 | 98.533 | 24.4 | 5.51
350 | 16/05/2014 | 12:00:00 a.m. | 5944278 | 816132 | 7.7236 | 4 | 98.684 | 24.6 | 5.52
349 | 15/05/2014 | 11:00:00 p.m. | 5944030 | 816100 | 7.7273 | 4 | 98.54 | 24.9 | 5.54
348 | 15/05/2014 | 10:00:00 p.m. | 5943775 | 816067 | 7.7248 | 4 | 98.389 | 25.2 | 5.57
347 | 15/05/2014 | 9:00:00 p.m. | 5943467 | 816027 | 7.6923 | 4 | 98.296 | 25.5 | 5.6
346 | 15/05/2014 | 8:00:00 p.m. | 5943137 | 815984 | 7.687 | 4 | 98.221 | 26 | 5.63
345 | 15/05/2014 | 7:00:00 p.m. | 5942807 | 815941 | 7.6407 | 4 | 98.206 | 27 | 5.64
344 | 15/05/2014 | 6:00:00 p.m. | 5942486 | 815899 | 7.6195 | 4 | 98.109 | 27.7 | 5.63
343 | 15/05/2014 | 5:00:00 p.m. | 5942159 | 815856 | 7.6168 | 4 | 97.873 | 27.6 | 5.63
342 | 15/05/2014 | 4:00:00 p.m. | 5941839 | 815814 | 7.618 | 4 | 97.791 | 27.2 | 5.63
341 | 15/05/2014 | 3:00:00 p.m. | 5941482 | 815767 | 7.6088 | 4 | 97.845 | 26.9 | 5.63
340 | 15/05/2014 | 2:00:00 p.m. | 5941154 | 815724 | 7.6297 | 4 | 97.733 | 26.6 | 5.62
339 | 15/05/2014 | 1:00:00 p.m. | 5940766 | 815673 | 7.6155 | 4 | 97.983 | 26.2 | 5.6
338 | 15/05/2014 | 12:00:00 p.m. | 5940452 | 815632 | 7.6723 | 4 | 98.055 | 25.8 | 5.59
337 | 15/05/2014 | 11:00:00 a.m. | 5940115 | 815588 | 7.6539 | 4 | 98.079 | 25.5 | 5.55
336 | 15/05/2014 | 10:00:00 a.m. | 5939754 | 815541 | 7.6822 | 4 | 98.274 | 25 | 5.53
335 | 15/05/2014 | 9:00:00 a.m. | 5939439 | 815500 | 7.726 | 4 | 98.366 | 24.6 | 5.52
334 | 15/05/2014 | 8:00:00 a.m. | 5939122 | 815459 | 7.7296 | 4 | 98.481 | 24.4 | 5.49
333 | 15/05/2014 | 7:00:00 a.m. | 5938836 | 815422 | 7.7503 | 4 | 98.576 | 24.1 | 5.5
332 | 15/05/2014 | 6:00:00 a.m. | 5938581 | 815389 | 7.7494 | 4 | 98.589 | 24 | 5.5
331 | 15/05/2014 | 5:00:00 a.m. | 5938325 | 815356 | 7.7887 | 4 | 98.72 | 24 | 5.5
330 | 15/05/2014 | 4:00:00 a.m. | 5938092 | 815326 | 7.7374 | 4 | 98.646 | 24.2 | 5.52
329 | 15/05/2014 | 3:00:00 a.m. | 5937844 | 815294 | 7.7482 | 4 | 98.646 | 24.3 | 5.51
328 | 15/05/2014 | 2:00:00 a.m. | 5937604 | 815263 | 7.7436 | 4 | 98.566 | 24.7 | 5.52
327 | 15/05/2014 | 1:00:00 a.m. | 5937356 | 815231 | 7.7336 | 4 | 98.597 | 24.6 | 5.54
326 | 15/05/2014 | 12:00:00 a.m. | 5937101 | 815198 | 7.7476 | 4 | 98.656 | 24.1 | 5.55
325 | 14/05/2014 | 11:00:00 p.m. | 5936845 | 815165 | 7.745 | 4 | 98.532 | 25.3 | 5.58
324 | 14/05/2014 | 10:00:00 p.m. | 5936598 | 815133 | 7.6884 | 4 | 98.441 | 25.8 | 5.59
323 | 14/05/2014 | 9:00:00 p.m. | 5936314 | 815096 | 7.6838 | 4 | 98.391 | 25.8 | 5.61
322 | 14/05/2014 | 8:00:00 p.m. | 5936030 | 815059 | 7.6777 | 4 | 98.343 | 26.3 | 5.62
321 | 14/05/2014 | 7:00:00 p.m. | 5935746 | 815022 | 7.6729 | 4 | 98.266 | 26.9 | 5.64
320 | 14/05/2014 | 6:00:00 p.m. | 5935471 | 814986 | 7.6426 | 4 | 98.064 | 27.9 | 5.66
319 | 14/05/2014 | 5:00:00 p.m. | 5935189 | 814949 | 7.615 | 4 | 97.916 | 28.5 | 5.66
318 | 14/05/2014 | 4:00:00 p.m. | 5934901 | 814911 | 7.579 | 4 | 97.888 | 28.3 | 5.66
317 | 14/05/2014 | 3:00:00 p.m. | 5934598 | 814871 | 7.6068 | 4 | 98.07 | 27.9 | 5.65
316 | 14/05/2014 | 2:00:00 p.m. | 5934309 | 814833 | 7.5922 | 4 | 97.827 | 27.5 | 5.65
315 | 14/05/2014 | 1:00:00 p.m. | 5933951 | 814786 | 7.5717 | 4 | 97.8 | 27.6 | 5.66
314 | 14/05/2014 | 12:00:00 p.m. | 5933617 | 814742 | 7.6234 | 4 | 97.741 | 27.2 | 5.65
313 | 14/05/2014 | 11:00:00 a.m. | 5933245 | 814693 | 7.6077 | 4 | 97.766 | 26.8 | 5.65
312 | 14/05/2014 | 10:00:00 a.m. | 5932856 | 814642 | 7.655 | 4 | 97.924 | 26.1 | 5.63
311 | 14/05/2014 | 9:00:00 a.m. | 5932497 | 814595 | 7.6779 | 4 | 98.168 | 25.1 | 5.56
310 | 14/05/2014 | 8:00:00 a.m. | 5932205 | 814557 | 7.6987 | 4 | 98.385 | 24.5 | 5.51
309 | 14/05/2014 | 7:00:00 a.m. | 5931942 | 814523 | 7.7247 | 4 | 98.451 | 24.4 | 5.52
308 | 14/05/2014 | 6:00:00 a.m. | 5931703 | 814492 | 7.7501 | 4 | 98.472 | 24.5 | 5.53
307 | 14/05/2014 | 5:00:00 a.m. | 5931486 | 814464 | 7.7148 | 4 | 98.501 | 24.7 | 5.53
306 | 14/05/2014 | 4:00:00 a.m. | 5931270 | 814436 | 7.7317 | 4 | 98.572 | 24.7 | 5.54
305 | 14/05/2014 | 3:00:00 a.m. | 5931069 | 814410 | 7.7311 | 4 | 98.572 | 24.6 | 5.53
304 | 14/05/2014 | 2:00:00 a.m. | 5930868 | 814384 | 7.7385 | 4 | 98.636 | 24.7 | 5.54
303 | 14/05/2014 | 1:00:00 a.m. | 5930667 | 814358 | 7.7227 | 4 | 98.65 | 25 | 5.56
302 | 14/05/2014 | 12:00:00 a.m. | 5930473 | 814333 | 7.7285 | 4 | 98.561 | 25.3 | 5.57
301 | 13/05/2014 | 11:00:00 p.m. | 5930257 | 814305 | 7.7103 | 4 | 98.563 | 25.5 | 5.59
300 | 13/05/2014 | 10:00:00 p.m. | 5930057 | 814279 | 7.7087 | 4 | 98.56 | 25.7 | 5.6
299 | 13/05/2014 | 9:00:00 p.m. | 5929857 | 814253 | 7.6756 | 4 | 98.441 | 26.1 | 5.61
298 | 13/05/2014 | 8:00:00 p.m. | 5929611 | 814221 | 7.6818 | 4 | 98.544 | 26.6 | 5.63
297 | 13/05/2014 | 7:00:00 p.m. | 5929442 | 814199 | 7.6613 | 4 | 98.565 | 27.3 | 5.64
296 | 13/05/2014 | 6:00:00 p.m. | 5929320 | 814183 | 7.652 | 4 | 98.354 | 28.6 | 5.64
295 | 13/05/2014 | 5:00:00 p.m. | 5929221 | 814170 | 7.5675 | 4 | 98.22 | 29.7 | 5.66
294 | 13/05/2014 | 4:00:00 p.m. | 5929115 | 814156 | 7.5695 | 4 | 98.124 | 29.6 | 5.66
293 | 13/05/2014 | 3:00:00 p.m. | 5928956 | 814135 | 7.5599 | 4 | 98.082 | 29.2 | 5.66
292 | 13/05/2014 | 2:00:00 p.m. | 5928805 | 814115 | 7.5792 | 4 | 98.037 | 28.6 | 5.66
291 | 13/05/2014 | 1:00:00 p.m. | 5928638 | 814093 | 7.5743 | 4 | 97.999 | 28.6 | 5.66
290 | 13/05/2014 | 12:00:00 p.m. | 5928463 | 814070 | 7.5855 | 4 | 97.982 | 28.2 | 5.66
289 | 13/05/2014 | 11:00:00 a.m. | 5928281 | 814046 | 7.6123 | 4 | 97.966 | 27.1 | 5.65
288 | 13/05/2014 | 10:00:00 a.m. | 5928052 | 814016 | 7.638 | 4 | 98.038 | 26 | 5.62
287 | 13/05/2014 | 9:00:00 a.m. | 5927792 | 813982 | 7.6907 | 4 | 98.183 | 24.9 | 5.56
286 | 13/05/2014 | 8:00:00 a.m. | 5927515 | 813946 | 7.7308 | 4 | 98.549 | 24.5 | 5.52
285 | 13/05/2014 | 7:00:00 a.m. | 5927267 | 813914 | 7.7511 | 4 | 98.584 | 24.5 | 5.51
284 | 13/05/2014 | 6:00:00 a.m. | 5927020 | 813882 | 7.7321 | 4 | 98.532 | 24.3 | 5.53
283 | 13/05/2014 | 5:00:00 a.m. | 5926795 | 813853 | 7.7309 | 4 | 98.553 | 24.3 | 5.53
282 | 13/05/2014 | 4:00:00 a.m. | 5926586 | 813826 | 7.73 | 4 | 98.545 | 24.5 | 5.53
281 | 13/05/2014 | 3:00:00 a.m. | 5926370 | 813798 | 7.7291 | 4 | 98.532 | 24.7 | 5.54
280 | 13/05/2014 | 2:00:00 a.m. | 5926153 | 813770 | 7.7258 | 4 | 98.565 | 24.9 | 5.56
279 | 13/05/2014 | 1:00:00 a.m. | 5925937 | 813742 | 7.7318 | 4 | 98.542 | 25.1 | 5.56
278 | 13/05/2014 | 12:00:00 a.m. | 5925721 | 813714 | 7.7189 | 4 | 98.575 | 25.2 | 5.58
277 | 12/05/2014 | 11:00:00 p.m. | 5925497 | 813685 | 7.7047 | 4 | 98.538 | 25.4 | 5.59
276 | 12/05/2014 | 10:00:00 p.m. | 5925281 | 813657 | 7.7087 | 4 | 98.46 | 25.6 | 5.61
275 | 12/05/2014 | 9:00:00 p.m. | 5925043 | 813626 | 7.6779 | 4 | 98.34 | 25.9 | 5.63
274 | 12/05/2014 | 8:00:00 p.m. | 5924766 | 813590 | 7.6697 | 4 | 98.153 | 26.7 | 5.65
273 | 12/05/2014 | 7:00:00 p.m. | 5924468 | 813551 | 7.6225 | 4 | 98.015 | 27.6 | 5.65
272 | 12/05/2014 | 6:00:00 p.m. | 5924171 | 813512 | 7.607 | 4 | 97.902 | 28.1 | 5.66
271 | 12/05/2014 | 5:00:00 p.m. | 5923875 | 813473 | 7.5785 | 4 | 92.058 | 28.5 | 5.65
270 | 12/05/2014 | 4:00:00 p.m. | 5923548 | 813440 | T flt | 4 | 93.219 | T flt | 5.66
269 | 12/05/2014 | 3:00:00 p.m. | 5923180 | 813388 | 7.6153 | 0 | 97.876 | 27.6 | 5.65
268 | 12/05/2014 | 2:00:00 p.m. | 5922807 | 813339 | 7.5752 | 0 | 97.68 | 28 | 5.66
267 | 12/05/2014 | 1:00:00 p.m. | 5922398 | 813285 | 7.563 | 0 | 97.62 | 27.9 | 5.66
266 | 12/05/2014 | 12:00:00 p.m. | 5921989 | 813231 | 7.5738 | 0 | 97.74 | 27.6 | 5.66
265 | 12/05/2014 | 11:00:00 a.m. | 5921587 | 813178 | 7.5876 | 0 | 97.672 | 27.1 | 5.65
264 | 12/05/2014 | 10:00:00 a.m. | 5921138 | 813119 | 7.604 | 0 | 97.859 | 26.5 | 5.62
263 | 12/05/2014 | 9:00:00 a.m. | 5920742 | 813067 | 7.6249 | 0 | 98.218 | 25.5 | 5.54
262 | 12/05/2014 | 8:00:00 a.m. | 5920411 | 813024 | 7.7038 | 0 | 98.477 | 24.9 | 5.51
261 | 12/05/2014 | 7:00:00 a.m. | 5920103 | 812984 | 7.7013 | 0 | 98.509 | 24.9 | 5.5
260 | 12/05/2014 | 6:00:00 a.m. | 5919802 | 812945 | 7.719 | 0 | 98.468 | 25.1 | 5.51
259 | 12/05/2014 | 5:00:00 a.m. | 5919493 | 812905 | 7.7199 | 0 | 98.548 | 25.2 | 5.51
258 | 12/05/2014 | 4:00:00 a.m. | 5919192 | 812866 | 7.7116 | 0 | 98.497 | 25.3 | 5.52
257 | 12/05/2014 | 3:00:00 a.m. | 5918892 | 812827 | 7.6998 | 0 | 98.382 | 25.5 | 5.53
256 | 12/05/2014 | 2:00:00 a.m. | 5918569 | 812785 | 7.707 | 0 | 98.406 | 25.6 | 5.55
255 | 12/05/2014 | 1:00:00 a.m. | 5918238 | 812742 | 7.7024 | 0 | 98.413 | 25.8 | 5.54
254 | 12/05/2014 | 12:00:00 a.m. | 5917922 | 812701 | 7.6889 | 0 | 98.387 | 25.9 | 5.56
253 | 11/05/2014 | 11:00:00 p.m. | 5917600 | 812659 | 7.6777 | 0 | 98.424 | 26 | 5.57
252 | 11/05/2014 | 10:00:00 p.m. | 5917284 | 812618 | 7.6849 | 0 | 98.37 | 26.2 | 5.6
251 | 11/05/2014 | 9:00:00 p.m. | 5916978 | 812578 | 7.685 | 0 | 98.3 | 26.5 | 5.62
250 | 11/05/2014 | 8:00:00 p.m. | 5916656 | 812536 | 7.6491 | 0 | 98.277 | 27.3 | 5.64
249 | 11/05/2014 | 7:00:00 p.m. | 5916366 | 812498 | 7.6141 | 0 | 98.149 | 28 | 5.65
248 | 11/05/2014 | 6:00:00 p.m. | 5916069 | 812459 | 7.589 | 0 | 97.985 | 28.6 | 5.66
247 | 11/05/2014 | 5:00:00 p.m. | 5915773 | 812420 | 7.563 | 0 | 97.939 | 28.9 | 5.66
246 | 11/05/2014 | 4:00:00 p.m. | 5915493 | 812383 | 7.5692 | 0 | 97.95 | 28.7 | 5.65
245 | 11/05/2014 | 3:00:00 p.m. | 5915205 | 812345 | 7.5763 | 0 | 97.874 | 28.4 | 5.65
244 | 11/05/2014 | 2:00:00 p.m. | 5914917 | 812307 | 7.5918 | 0 | 97.921 | 28.2 | 5.64
243 | 11/05/2014 | 1:00:00 p.m. | 5914613 | 812267 | 7.6048 | 0 | 97.906 | 28 | 5.64
242 | 11/05/2014 | 12:00:00 p.m. | 5914302 | 812226 | 7.6114 | 0 | 98.05 | 27.2 | 5.64
241 | 11/05/2014 | 11:00:00 a.m. | 5913981 | 812184 | 7.6301 | 0 | 98.052 | 27 | 5.63
240 | 11/05/2014 | 10:00:00 a.m. | 5913661 | 812142 | 7.6368 | 0 | 98.103 | 26.2 | 5.59
239 | 11/05/2014 | 9:00:00 a.m. | 5913347 | 812101 | 7.6604 | 0 | 98.273 | 25.6 | 5.56
238 | 11/05/2014 | 8:00:00 a.m. | 5913032 | 812060 | 7.7126 | 0 | 98.42 | 25.1 | 5.51
237 | 11/05/2014 | 7:00:00 a.m. | 5912716 | 812019 | 7.7024 | 0 | 98.455 | 25.2 | 5.51
236 | 11/05/2014 | 6:00:00 a.m. | 5912400 | 811978 | 7.713 | 0 | 98.446 | 25.3 | 5.51
235 | 11/05/2014 | 5:00:00 a.m. | 5912099 | 811939 | 7.712 | 0 | 98.451 | 25.3 | 5.51
234 | 11/05/2014 | 4:00:00 a.m. | 5911799 | 811900 | 7.7018 | 0 | 98.469 | 25.4 | 5.52
233 | 11/05/2014 | 3:00:00 a.m. | 5911498 | 811861 | 7.6991 | 0 | 98.385 | 25.5 | 5.52
232 | 11/05/2014 | 2:00:00 a.m. | 5911175 | 811819 | 7.6976 | 0 | 98.324 | 25.7 | 5.54
231 | 11/05/2014 | 1:00:00 a.m. | 5910860 | 811778 | 7.6994 | 0 | 98.45 | 25.8 | 5.54
230 | 11/05/2014 | 12:00:00 a.m. | 5910537 | 811736 | 7.7079 | 0 | 98.386 | 25.9 | 5.56
229 | 10/05/2014 | 11:00:00 p.m. | 5910230 | 811696 | 7.6842 | 0 | 98.366 | 26 | 5.56
228 | 10/05/2014 | 10:00:00 p.m. | 5909915 | 811655 | 7.667 | 0 | 98.309 | 26.1 | 5.58
227 | 10/05/2014 | 9:00:00 p.m. | 5909608 | 811615 | 7.6652 | 0 | 98.306 | 26.4 | 5.6
226 | 10/05/2014 | 8:00:00 p.m. | 5909293 | 811574 | 7.6854 | 0 | 98.33 | 26.6 | 5.61
225 | 10/05/2014 | 7:00:00 p.m. | 5909041 | 811541 | 7.6683 | 0 | 98.22 | 27.1 | 5.64
224 | 10/05/2014 | 6:00:00 p.m. | 5908781 | 811507 | 7.6271 | 0 | 98.04 | 27.4 | 5.64
223 | 10/05/2014 | 5:00:00 p.m. | 5908469 | 811466 | 7.6146 | 0 | 97.897 | 28.2 | 5.66
222 | 10/05/2014 | 4:00:00 p.m. | 5908165 | 811426 | 7.5863 | 0 | 97.915 | 28.3 | 5.66
221 | 10/05/2014 | 3:00:00 p.m. | 5907862 | 811386 | 7.5804 | 0 | 97.864 | 28.3 | 5.65
220 | 10/05/2014 | 2:00:00 p.m. | 5907566 | 811347 | 7.575 | 0 | 97.782 | 28.2 | 5.65
219 | 10/05/2014 | 1:00:00 p.m. | 5907263 | 811307 | 7.5761 | 0 | 97.731 | 28.1 | 5.66
218 | 10/05/2014 | 12:00:00 p.m. | 5906937 | 811264 | 7.5867 | 0 | 97.777 | 27.7 | 5.66
217 | 10/05/2014 | 11:00:00 a.m. | 5906603 | 811220 | 7.5742 | 0 | 97.655 | 27.2 | 5.65
216 | 10/05/2014 | 10:00:00 a.m. | 5906200 | 811167 | 7.6057 | 0 | 97.694 | 26.4 | 5.61
215 | 10/05/2014 | 9:00:00 a.m. | 5905773 | 811111 | 7.6576 | 0 | 98.013 | 25.6 | 5.52
214 | 10/05/2014 | 8:00:00 a.m. | 5905367 | 811058 | 7.6968 | 0 | 98.361 | 25.1 | 5.51
213 | 10/05/2014 | 7:00:00 a.m. | 5905044 | 811016 | 7.7105 | 0 | 98.475 | 25.1 | 5.5
212 | 10/05/2014 | 6:00:00 a.m. | 5904727 | 810975 | 7.7269 | 0 | 98.446 | 25.1 | 5.51
211 | 10/05/2014 | 5:00:00 a.m. | 5904411 | 810934 | 7.7178 | 0 | 98.373 | 25.2 | 5.52
210 | 10/05/2014 | 4:00:00 a.m. | 5904088 | 810892 | 7.6952 | 0 | 98.407 | 25.2 | 5.5
209 | 10/05/2014 | 3:00:00 a.m. | 5903780 | 810852 | 7.6877 | 0 | 98.371 | 25.3 | 5.51
208 | 10/05/2014 | 2:00:00 a.m. | 5903472 | 810812 | 7.6974 | 0 | 98.338 | 25.5 | 5.53
207 | 10/05/2014 | 1:00:00 a.m. | 5903156 | 810771 | 7.7125 | 0 | 98.381 | 25.6 | 5.53
206 | 10/05/2014 | 12:00:00 a.m. | 5902833 | 810729 | 7.6846 | 0 | 98.353 | 25.7 | 5.53
205 | 09/05/2014 | 11:00:00 p.m. | 5902518 | 810688 | 7.6992 | 0 | 98.384 | 25.7 | 5.56
204 | 09/05/2014 | 10:00:00 p.m. | 5902211 | 810648 | 7.6868 | 0 | 98.393 | 25.8 | 5.57
203 | 09/05/2014 | 9:00:00 p.m. | 5901903 | 810608 | 7.692 | 0 | 98.398 | 25.8 | 5.61
202 | 09/05/2014 | 8:00:00 p.m. | 5901588 | 810567 | 7.6576 | 0 | 98.219 | 26.8 | 5.62
201 | 09/05/2014 | 7:00:00 p.m. | 5901297 | 810529 | 7.6629 | 0 | 98.183 | 27.5 | 5.65
200 | 09/05/2014 | 6:00:00 p.m. | 5900992 | 810489 | 7.5952 | 0 | 97.902 | 28.7 | 5.65
199 | 09/05/2014 | 5:00:00 p.m. | 5900659 | 810445 | 7.5418 | 0 | 97.801 | 28.8 | 5.65
198 | 09/05/2014 | 4:00:00 p.m. | 5900334 | 810402 | 7.5462 | 0 | 97.721 | 28.3 | 5.64
197 | 09/05/2014 | 3:00:00 p.m. | 5899970 | 810354 | 7.5743 | 0 | 97.678 | 27.8 | 5.64
196 | 09/05/2014 | 2:00:00 p.m. | 5899599 | 810305 | 7.5845 | 0 | 97.563 | 27.6 | 5.65
195 | 09/05/2014 | 1:00:00 p.m. | 5899182 | 810250 | 7.605 | 0 | 97.693 | 27.6 | 5.65
194 | 09/05/2014 | 12:00:00 p.m. | 5898818 | 810202 | 7.5681 | 0 | 97.68 | 27.5 | 5.65
193 | 09/05/2014 | 11:00:00 a.m. | 5898446 | 810153 | 7.5928 | 0 | 97.634 | 27.1 | 5.64
192 | 09/05/2014 | 10:00:00 a.m. | 5898074 | 810104 | 7.6343 | 0 | 97.811 | 26.3 | 5.61
191 | 09/05/2014 | 9:00:00 a.m. | 5897715 | 810057 | 7.6351 | 0 | 97.995 | 25.4 | 5.53
190 | 09/05/2014 | 8:00:00 a.m. | 5897339 | 810008 | 7.7081 | 0 | 98.262 | 24.9 | 5.48
189 | 09/05/2014 | 7:00:00 a.m. | 5897000 | 809964 | 7.7117 | 0 | 98.29 | 24.9 | 5.49
188 | 09/05/2014 | 6:00:00 a.m. | 5896676 | 809922 | 7.7175 | 0 | 98.246 | 25 | 5.5
187 | 09/05/2014 | 5:00:00 a.m. | 5896337 | 809878 | 7.7114 | 0 | 98.356 | 25.1 | 5.49
186 | 09/05/2014 | 4:00:00 a.m. | 5896006 | 809835 | 7.6874 | 0 | 98.317 | 25.1 | 5.48
185 | 09/05/2014 | 3:00:00 a.m. | 5895675 | 809792 | 7.7134 | 0 | 98.273 | 25.1 | 5.51
184 | 09/05/2014 | 2:00:00 a.m. | 5895328 | 809747 | 7.6589 | 0 | 98.173 | 25.2 | 5.49
183 | 09/05/2014 | 1:00:00 a.m. | 5894967 | 809700 | 7.6976 | 0 | 98.236 | 25.3 | 5.51
182 | 09/05/2014 | 12:00:00 a.m. | 5894629 | 809656 | 7.6938 | 0 | 98.263 | 25.3 | 5.52
181 | 08/05/2014 | 11:00:00 p.m. | 5894313 | 809615 | 7.6763 | 0 | 98.306 | 25.4 | 5.52
180 | 08/05/2014 | 10:00:00 p.m. | 5893998 | 809574 | 7.6868 | 0 | 98.234 | 25.4 | 5.53
179 | 08/05/2014 | 9:00:00 p.m. | 5893675 | 809532 | 7.7005 | 0 | 98.186 | 25.5 | 5.55
178 | 08/05/2014 | 8:00:00 p.m. | 5893368 | 809492 | 7.6802 | 0 | 98.149 | 26.1 | 5.58
177 | 08/05/2014 | 7:00:00 p.m. | 5893061 | 809452 | 7.6465 | 0 | 98.046 | 26.3 | 5.59
176 | 08/05/2014 | 6:00:00 p.m. | 5892747 | 809411 | 7.6342 | 0 | 98.034 | 26.3 | 5.58
175 | 08/05/2014 | 5:00:00 p.m. | 5892426 | 809369 | 7.6628 | 0 | 97.986 | 26.1 | 5.57
174 | 08/05/2014 | 4:00:00 p.m. | 5892074 | 809323 | 7.6567 | 0 | 97.952 | 25.9 | 5.57
173 | 08/05/2014 | 3:00:00 p.m. | 5891668 | 809270 | 7.6633 | 0 | 97.927 | 26 | 5.58
172 | 08/05/2014 | 2:00:00 p.m. | 5891278 | 809219 | 7.6559 | 0 | 98.095 | 26 | 5.57
171 | 08/05/2014 | 1:00:00 p.m. | 5890941 | 809175 | 7.6769 | 0 | 98.254 | 25.7 | 5.52
170 | 08/05/2014 | 12:00:00 p.m. | 5890649 | 809137 | 7.7064 | 0 | 98.414 | 24.9 | 5.51
169 | 08/05/2014 | 11:00:00 a.m. | 5890379 | 809102 | 7.7451 | 0 | 98.373 | 24.9 | 5.51
168 | 08/05/2014 | 10:00:00 a.m. | 5890063 | 809061 | 7.7447 | 0 | 98.364 | 24.7 | 5.51
167 | 08/05/2014 | 9:00:00 a.m. | 5889770 | 809023 | 7.7321 | 0 | 98.344 | 24.7 | 5.52
166 | 08/05/2014 | 8:00:00 a.m. | 5889492 | 808987 | 7.7056 | 0 | 98.446 | 24.7 | 5.51
165 | 08/05/2014 | 7:00:00 a.m. | 5889253 | 808956 | 7.7154 | 0 | 98.482 | 25.2 | 5.53
164 | 08/05/2014 | 6:00:00 a.m. | 5889021 | 808926 | 7.6915 | 0 | 98.444 | 25.5 | 5.52
163 | 08/05/2014 | 5:00:00 a.m. | 5888775 | 808894 | 7.7119 | 0 | 98.514 | 25.4 | 5.53
162 | 08/05/2014 | 4:00:00 a.m. | 5888528 | 808862 | 7.726 | 0 | 98.59 | 25.3 | 5.51
161 | 08/05/2014 | 3:00:00 a.m. | 5888289 | 808831 | 7.7118 | 0 | 98.606 | 25.2 | 5.51
160 | 08/05/2014 | 2:00:00 a.m. | 5888073 | 808803 | 7.7225 | 0 | 98.596 | 25.3 | 5.53
159 | 08/05/2014 | 1:00:00 a.m. | 5887857 | 808775 | 7.7217 | 0 | 98.578 | 25.3 | 5.53
158 | 08/05/2014 | 12:00:00 a.m. | 5887648 | 808748 | 7.7255 | 0 | 98.601 | 25.4 | 5.53
157 | 07/05/2014 | 11:00:00 p.m. | 5887440 | 808721 | 7.7006 | 0 | 98.551 | 25.6 | 5.55
156 | 07/05/2014 | 10:00:00 p.m. | 5887240 | 808695 | 7.7034 | 0 | 98.526 | 25.8 | 5.56
155 | 07/05/2014 | 9:00:00 p.m. | 5887024 | 808667 | 7.6879 | 0 | 98.571 | 25.7 | 5.57
154 | 07/05/2014 | 8:00:00 p.m. | 5886808 | 808639 | 7.7086 | 0 | 98.483 | 26.2 | 5.61
153 | 07/05/2014 | 7:00:00 p.m. | 5886570 | 808608 | 7.67 | 0 | 98.365 | 27 | 5.63
152 | 07/05/2014 | 6:00:00 p.m. | 5886333 | 808577 | 7.656 | 0 | 98.189 | 27.7 | 5.64
151 | 07/05/2014 | 5:00:00 p.m. | 5886096 | 808546 | 7.6212 | 0 | 98.092 | 27.9 | 5.64
150 | 07/05/2014 | 4:00:00 p.m. | 5885845 | 808513 | 7.6051 | 0 | 98.003 | 28 | 5.65
149 | 07/05/2014 | 3:00:00 p.m. | 5885579 | 808478 | 7.6321 | 0 | 98.203 | 27.3 | 5.63
148 | 07/05/2014 | 2:00:00 p.m. | 5885342 | 808447 | 7.6496 | 0 | 98.316 | 26.8 | 5.62
147 | 07/05/2014 | 1:00:00 p.m. | 5885082 | 808413 | 7.6369 | 0 | 98.091 | 26.8 | 5.62
146 | 07/05/2014 | 12:00:00 p.m. | 5884731 | 808367 | 7.6337 | 0 | 98.173 | 26.6 | 5.6
145 | 07/05/2014 | 11:00:00 a.m. | 5884379 | 808321 | 7.6671 | 0 | 97.982 | 26.5 | 5.59
144 | 07/05/2014 | 10:00:00 a.m. | 5883974 | 808268 | 6.612 | 0 | 87.387 | 26.3 | 5.57
143 | 07/05/2014 | 9:00:00 a.m. | 5883547 | 808206 | 7.0974 | 0 | 90.335 | 26 | 5.54
142 | 07/05/2014 | 8:00:00 a.m. | 5883184 | 808155 | 7.1351 | 0 | 90.457 | 25.6 | 5.52
141 | 07/05/2014 | 7:00:00 a.m. | 5882849 | 808108 | 7.1121 | 0 | 90.45 | 25.7 | 5.53
140 | 07/05/2014 | 6:00:00 a.m. | 5882514 | 808061 | 7.1042 | 0 | 90.425 | 25.6 | 5.52
139 | 07/05/2014 | 5:00:00 a.m. | 5882165 | 808012 | 7.1371 | 0 | 90.515 | 25.7 | 5.52
138 | 07/05/2014 | 4:00:00 a.m. | 5881837 | 807966 | 7.141 | 0 | 90.509 | 25.6 | 5.53
137 | 07/05/2014 | 3:00:00 a.m. | 5881501 | 807919 | 7.133 | 0 | 90.498 | 25.6 | 5.53
136 | 07/05/2014 | 2:00:00 a.m. | 5881180 | 807874 | 7.1446 | 0 | 90.473 | 25.7 | 5.53
135 | 07/05/2014 | 1:00:00 a.m. | 5880859 | 807829 | 7.1356 | 0 | 90.463 | 25.8 | 5.54
134 | 07/05/2014 | 12:00:00 a.m. | 5880532 | 807783 | 7.1289 | 0 | 90.425 | 25.9 | 5.55
133 | 06/05/2014 | 11:00:00 p.m. | 5880204 | 807737 | 7.1319 | 0 | 90.433 | 26 | 5.55
132 | 06/05/2014 | 10:00:00 p.m. | 5879877 | 807691 | 7.1327 | 0 | 90.421 | 25.9 | 5.56
131 | 06/05/2014 | 9:00:00 p.m. | 5879528 | 807642 | 7.1112 | 0 | 90.327 | 26 | 5.56
130 | 06/05/2014 | 8:00:00 p.m. | 5879151 | 807589 | 7.0964 | 0 | 90.351 | 26.1 | 5.6
129 | 06/05/2014 | 7:00:00 p.m. | 5878795 | 807539 | 7.12 | 0 | 90.346 | 26.1 | 5.59
128 | 06/05/2014 | 6:00:00 p.m. | 5878440 | 807489 | 7.1061 | 0 | 90.36 | 26.5 | 5.61
127 | 06/05/2014 | 5:00:00 p.m. | 5878113 | 807443 | 7.0978 | 0 | 90.295 | 26.8 | 5.62
126 | 06/05/2014 | 4:00:00 p.m. | 5877794 | 807398 | 7.0609 | 0 | 90.255 | 26.7 | 5.62
125 | 06/05/2014 | 3:00:00 p.m. | 5877425 | 807346 | 7.0952 | 0 | 90.192 | 26.9 | 5.65
124 | 06/05/2014 | 2:00:00 p.m. | 5877064 | 807295 | 7.0612 | 0 | 90.009 | 27.7 | 5.65
123 | 06/05/2014 | 1:00:00 p.m. | 5876670 | 807239 | 7.0315 | 0 | 89.926 | 28.3 | 5.66
122 | 06/05/2014 | 12:00:00 p.m. | 5876276 | 807183 | 7.0093 | 0 | 89.878 | 28 | 5.66
121 | 06/05/2014 | 11:00:00 a.m. | 5875854 | 807123 | 7.0472 | 0 | 89.979 | 27.4 | 5.64
120 | 06/05/2014 | 10:00:00 a.m. | 5875445 | 807065 | 7.0884 | 0 | 90.165 | 26.5 | 5.58
119 | 06/05/2014 | 9:00:00 a.m. | 5875048 | 807009 | 7.1127 | 0 | 90.32 | 26 | 5.53
118 | 06/05/2014 | 8:00:00 a.m. | 5874657 | 806954 | 7.1224 | 0 | 90.562 | 25.5 | 5.52
117 | 06/05/2014 | 7:00:00 a.m. | 5874336 | 806909 | 7.1444 | 0 | 90.547 | 25.6 | 5.53
116 | 06/05/2014 | 6:00:00 a.m. | 5874000 | 806862 | 7.1327 | 0 | 90.519 | 25.7 | 5.52
115 | 06/05/2014 | 5:00:00 a.m. | 5873658 | 806814 | 7.1417 | 0 | 90.52 | 25.9 | 5.54
114 | 06/05/2014 | 4:00:00 a.m. | 5873330 | 806768 | 7.1385 | 0 | 90.551 | 25.8 | 5.54
113 | 06/05/2014 | 3:00:00 a.m. | 5873009 | 806723 | 7.1282 | 0 | 90.571 | 25.8 | 5.54
112 | 06/05/2014 | 2:00:00 a.m. | 5872681 | 806677 | 7.1294 | 0 | 90.515 | 25.9 | 5.55
111 | 06/05/2014 | 1:00:00 a.m. | 5872353 | 806631 | 7.1312 | 0 | 90.498 | 26.1 | 5.56
110 | 06/05/2014 | 12:00:00 a.m. | 5872033 | 806586 | 7.115 | 0 | 90.474 | 26.2 | 5.58
109 | 05/05/2014 | 11:00:00 p.m. | 5871705 | 806540 | 7.1112 | 0 | 90.471 | 26.3 | 5.58
108 | 05/05/2014 | 10:00:00 p.m. | 5871371 | 806493 | 7.1003 | 0 | 90.458 | 26.4 | 5.6
107 | 05/05/2014 | 9:00:00 p.m. | 5871037 | 806446 | 7.1254 | 0 | 90.43 | 26.7 | 5.62
106 | 05/05/2014 | 8:00:00 p.m. | 5870689 | 806397 | 7.1035 | 0 | 90.363 | 27.1 | 5.63
105 | 05/05/2014 | 7:00:00 p.m. | 5870356 | 806350 | 7.0865 | 0 | 90.36 | 27.5 | 5.65
104 | 05/05/2014 | 6:00:00 p.m. | 5870023 | 806303 | 7.0516 | 0 | 90.228 | 28 | 5.64
103 | 05/05/2014 | 5:00:00 p.m. | 5869691 | 806256 | 7.06 | 0 | 90.248 | 27.5 | 5.64
102 | 05/05/2014 | 4:00:00 p.m. | 5869338 | 806206 | 7.0494 | 0 | 90.221 | 27.4 | 5.64
101 | 05/05/2014 | 3:00:00 p.m. | 5868949 | 806151 | 7.0539 | 0 | 90.133 | 28 | 5.65
100 | 05/05/2014 | 2:00:00 p.m. | 5868576 | 806098 | 7.0249 | 0 | 89.996 | 28.2 | 5.66
99 | 05/05/2014 | 1:00:00 p.m. | 5868168 | 806040 | 7.0569 | 0 | 89.929 | 28.1 | 5.66
98 | 05/05/2014 | 12:00:00 p.m. | 5867739 | 805979 | 7.0194 | 0 | 89.975 | 27.8 | 5.65
97 | 05/05/2014 | 11:00:00 a.m. | 5867337 | 805922 | 7.0486 | 0 | 90.047 | 27.5 | 5.65
96 | 05/05/2014 | 10:00:00 a.m. | 5866942 | 805866 | 7.0777 | 0 | 90.139 | 26.7 | 5.62
95 | 05/05/2014 | 9:00:00 a.m. | 5866546 | 805810 | 7.0956 | 0 | 90.301 | 26.1 | 5.56
94 | 05/05/2014 | 8:00:00 a.m. | 5866169 | 805757 | 7.1291 | 0 | 90.532 | 25.7 | 5.52
93 | 05/05/2014 | 7:00:00 a.m. | 5865827 | 805709 | 7.1311 | 0 | 90.501 | 25.8 | 5.54
92 | 05/05/2014 | 6:00:00 a.m. | 5865477 | 805660 | 7.1001 | 0 | 90.445 | 26 | 5.55
91 | 05/05/2014 | 5:00:00 a.m. | 5865129 | 805611 | 7.1294 | 0 | 90.446 | 26 | 5.55
90 | 05/05/2014 | 4:00:00 a.m. | 5864787 | 805563 | 7.1255 | 0 | 90.477 | 26.1 | 5.55
89 | 05/05/2014 | 3:00:00 a.m. | 5864438 | 805514 | 7.1119 | 0 | 90.507 | 26.2 | 5.55
88 | 05/05/2014 | 2:00:00 a.m. | 5864089 | 805465 | 7.1119 | 0 | 90.47 | 26.1 | 5.55
87 | 05/05/2014 | 1:00:00 a.m. | 5863740 | 805416 | 7.1398 | 0 | 90.485 | 26.1 | 5.56
86 | 05/05/2014 | 12:00:00 a.m. | 5863377 | 805365 | 7.103 | 0 | 90.514 | 26.2 | 5.57
85 | 04/05/2014 | 11:00:00 p.m. | 5863028 | 805316 | 7.0967 | 0 | 90.51 | 26.3 | 5.58
84 | 04/05/2014 | 10:00:00 p.m. | 5862672 | 805266 | 7.1354 | 0 | 90.513 | 26.5 | 5.59
83 | 04/05/2014 | 9:00:00 p.m. | 5862310 | 805215 | 7.1192 | 0 | 90.506 | 26.7 | 5.61
82 | 04/05/2014 | 8:00:00 p.m. | 5861961 | 805166 | 7.1007 | 0 | 90.447 | 27.1 | 5.65
81 | 04/05/2014 | 7:00:00 p.m. | 5861614 | 805117 | 7.0695 | 0 | 90.355 | 27.7 | 5.64
80 | 04/05/2014 | 6:00:00 p.m. | 5861267 | 805068 | 7.0561 | 0 | 90.268 | 28.3 | 5.66
79 | 04/05/2014 | 5:00:00 p.m. | 5860929 | 805020 | 7.0335 | 0 | 90.152 | 29.1 | 5.66
78 | 04/05/2014 | 4:00:00 p.m. | 5860592 | 804972 | 7.0196 | 0 | 90.203 | 28.9 | 5.66
77 | 04/05/2014 | 3:00:00 p.m. | 5860254 | 804924 | 7.0628 | 0 | 90.251 | 28.5 | 5.66
76 | 04/05/2014 | 2:00:00 p.m. | 5859930 | 804878 | 7.0422 | 0 | 90.215 | 28.4 | 5.65
75 | 04/05/2014 | 1:00:00 p.m. | 5859592 | 804830 | 7.0396 | 0 | 90.173 | 28.3 | 5.66
74 | 04/05/2014 | 12:00:00 p.m. | 5859247 | 804781 | 7.0632 | 0 | 90.189 | 28 | 5.66
73 | 04/05/2014 | 11:00:00 a.m. | 5858901 | 804732 | 7.0692 | 0 | 90.227 | 27.3 | 5.64
72 | 04/05/2014 | 10:00:00 a.m. | 5858548 | 804682 | 7.0853 | 0 | 90.317 | 26.6 | 5.62
71 | 04/05/2014 | 9:00:00 a.m. | 5858207 | 804634 | 7.1287 | 0 | 90.519 | 25.7 | 5.52
70 | 04/05/2014 | 8:00:00 a.m. | 5857857 | 804585 | 7.1683 | 0 | 90.772 | 25 | 5.49
69 | 04/05/2014 | 7:00:00 a.m. | 5857528 | 804539 | 7.1798 | 0 | 90.765 | 25.1 | 5.5
68 | 04/05/2014 | 6:00:00 a.m. | 5857198 | 804493 | 7.1656 | 0 | 90.749 | 25.2 | 5.5
67 | 04/05/2014 | 5:00:00 a.m. | 5856847 | 804444 | 7.1602 | 0 | 90.76 | 25.1 | 5.49
66 | 04/05/2014 | 4:00:00 a.m. | 5856517 | 804398 | 7.1729 | 0 | 90.725 | 25.2 | 5.5
65 | 04/05/2014 | 3:00:00 a.m. | 5856181 | 804351 | 7.1623 | 0 | 90.691 | 25.3 | 5.5
64 | 04/05/2014 | 2:00:00 a.m. | 5855845 | 804304 | 7.1528 | 0 | 90.686 | 25.4 | 5.52
63 | 04/05/2014 | 1:00:00 a.m. | 5855501 | 804256 | 7.1443 | 0 | 90.597 | 25.6 | 5.53
62 | 04/05/2014 | 12:00:00 a.m. | 5855137 | 804205 | 7.1394 | 0 | 90.562 | 25.7 | 5.54
61 | 03/05/2014 | 11:00:00 p.m. | 5854802 | 804158 | 7.1447 | 0 | 90.559 | 25.8 | 5.56
60 | 03/05/2014 | 10:00:00 p.m. | 5854474 | 804112 | 7.1462 | 0 | 90.561 | 25.7 | 5.56
59 | 03/05/2014 | 9:00:00 p.m. | 5854138 | 804065 | 7.142 | 0 | 90.498 | 26.1 | 5.59
58 | 03/05/2014 | 8:00:00 p.m. | 5853811 | 804019 | 7.1179 | 0 | 90.438 | 26.5 | 5.59
57 | 03/05/2014 | 7:00:00 p.m. | 5853469 | 803971 | 7.1159 | 0 | 90.42 | 26.4 | 5.61
56 | 03/05/2014 | 6:00:00 p.m. | 5853107 | 803920 | 7.1083 | 0 | 90.405 | 26.4 | 5.62
55 | 03/05/2014 | 5:00:00 p.m. | 5852730 | 803867 | 7.0938 | 0 | 90.206 | 27.8 | 5.65
54 | 03/05/2014 | 4:00:00 p.m. | 5852363 | 803815 | 7.0139 | 0 | 90.109 | 28.1 | 5.65
53 | 03/05/2014 | 3:00:00 p.m. | 5851990 | 803762 | 7.0589 | 0 | 90.133 | 27.8 | 5.65
52 | 03/05/2014 | 2:00:00 p.m. | 5851602 | 803707 | 7.0574 | 0 | 90.11 | 27.8 | 5.66
51 | 03/05/2014 | 1:00:00 p.m. | 5851207 | 803651 | 7.0549 | 0 | 90.055 | 27.8 | 5.66
50 | 03/05/2014 | 12:00:00 p.m. | 5850784 | 803591 | 7.0431 | 0 | 89.851 | 27.5 | 5.66
49 | 03/05/2014 | 11:00:00 a.m. | 5850270 | 803518 | 7.0479 | 0 | 89.74 | 27.2 | 5.65
48 | 03/05/2014 | 10:00:00 a.m. | 5849700 | 803437 | 7.0621 | 0 | 90.111 | 26.7 | 5.64
47 | 03/05/2014 | 9:00:00 a.m. | 5849254 | 803374 | 7.0713 | 0 | 90.319 | 25.9 | 5.54
46 | 03/05/2014 | 8:00:00 a.m. | 5848806 | 803311 | 7.1417 | 0 | 90.523 | 25.4 | 5.51
45 | 03/05/2014 | 7:00:00 a.m. | 5848371 | 803250 | 7.121 | 0 | 90.602 | 25.4 | 5.51
44 | 03/05/2014 | 6:00:00 a.m. | 5847985 | 803196 | 7.1512 | 0 | 90.516 | 25.4 | 5.52
43 | 03/05/2014 | 5:00:00 a.m. | 5847585 | 803140 | 7.1543 | 0 | 90.547 | 25.5 | 5.52
42 | 03/05/2014 | 4:00:00 a.m. | 5847185 | 803084 | 7.1669 | 0 | 90.681 | 25.5 | 5.53
41 | 03/05/2014 | 3:00:00 a.m. | 5846849 | 803037 | 7.1465 | 0 | 90.471 | 25.8 | 5.54
40 | 03/05/2014 | 2:00:00 a.m. | 5846450 | 802981 | 7.136 | 0 | 90.43 | 26 | 5.55
39 | 03/05/2014 | 1:00:00 a.m. | 5846044 | 802924 | 7.1331 | 0 | 90.432 | 26.1 | 5.55
38 | 03/05/2014 | 12:00:00 a.m. | 5845632 | 802866 | 7.1208 | 0 | 90.441 | 26.2 | 5.57
37 | 02/05/2014 | 11:00:00 p.m. | 5845219 | 802808 | 7.1292 | 0 | 90.401 | 26.2 | 5.58
36 | 02/05/2014 | 10:00:00 p.m. | 5844821 | 802752 | 7.1201 | 0 | 90.362 | 26.3 | 5.6
35 | 02/05/2014 | 9:00:00 p.m. | 5844409 | 802694 | 7.1147 | 0 | 90.361 | 26.6 | 5.61
34 | 02/05/2014 | 8:00:00 p.m. | 5843997 | 802636 | 7.1039 | 0 | 90.303 | 27 | 5.62
33 | 02/05/2014 | 7:00:00 p.m. | 5843600 | 802580 | 7.0862 | 0 | 90.291 | 27.2 | 5.63
32 | 02/05/2014 | 6:00:00 p.m. | 5843204 | 802524 | 7.0833 | 0 | 90.199 | 27.3 | 5.64
31 | 02/05/2014 | 5:00:00 p.m. | 5842808 | 802468 | 7.0755 | 0 | 90.107 | 27.5 | 5.64
30 | 02/05/2014 | 4:00:00 p.m. | 5842398 | 802410 | 7.0473 | 0 | 90.038 | 27.8 | 5.65
29 | 02/05/2014 | 3:00:00 p.m. | 5841983 | 802351 | 7.037 | 0 | 90.019 | 27.8 | 5.66
28 | 02/05/2014 | 2:00:00 p.m. | 5841560 | 802291 | 7.0759 | 0 | 89.762 | 27.9 | 5.66
27 | 02/05/2014 | 1:00:00 p.m. | 5841047 | 802218 | 7.0433 | 0 | 89.882 | 27.9 | 5.66
26 | 02/05/2014 | 12:00:00 p.m. | 5840583 | 802152 | 7.0202 | 0 | 89.962 | 27.4 | 5.65
25 | 02/05/2014 | 11:00:00 a.m. | 5840125 | 802087 | 7.0594 | 0 | 90.011 | 27.5 | 5.65
24 | 02/05/2014 | 10:00:00 a.m. | 5839688 | 802025 | 7.0445 | 0 | 90.09 | 26.8 | 5.61
23 | 02/05/2014 | 9:00:00 a.m. | 5839214 | 801958 | 7.1027 | 0 | 90.34 | 26.2 | 5.55
22 | 02/05/2014 | 8:00:00 a.m. | 5838795 | 801899 | 7.1158 | 0 | 90.379 | 26 | 5.54
21 | 02/05/2014 | 7:00:00 a.m. | 5838376 | 801840 | 7.1179 | 0 | 90.531 | 26 | 5.54
20 | 02/05/2014 | 6:00:00 a.m. | 5838048 | 801794 | 7.1363 | 0 | 90.581 | 26.1 | 5.55
19 | 02/05/2014 | 5:00:00 a.m. | 5837727 | 801749 | 7.1196 | 0 | 90.603 | 26.1 | 5.55
18 | 02/05/2014 | 4:00:00 a.m. | 5837407 | 801704 | 7.1379 | 0 | 90.587 | 26.2 | 5.56
17 | 02/05/2014 | 3:00:00 a.m. | 5837079 | 801658 | 7.1235 | 0 | 90.645 | 26.3 | 5.56
16 | 02/05/2014 | 2:00:00 a.m. | 5836751 | 801612 | 7.1313 | 0 | 90.602 | 26.4 | 5.57
15 | 02/05/2014 | 1:00:00 a.m. | 5836417 | 801565 | 7.1028 | 0 | 90.51 | 26.5 | 5.58
14 | 02/05/2014 | 12:00:00 a.m. | 5836061 | 801515 | 7.1205 | 0 | 90.677 | 26.4 | 5.58
13 | 01/05/2014 | 11:00:00 p.m. | 5835762 | 801473 | 7.1263 | 0 | 90.692 | 26.5 | 5.59
12 | 01/05/2014 | 10:00:00 p.m. | 5835484 | 801434 | 7.1278 | 0 | 90.714 | 26.7 | 5.61
11 | 01/05/2014 | 9:00:00 p.m. | 5835207 | 801395 | 7.1286 | 0 | 90.718 | 26.9 | 5.62
10 | 01/05/2014 | 8:00:00 p.m. | 5834936 | 801357 | 7.1096 | 0 | 90.633 | 27.3 | 5.63
9 | 01/05/2014 | 7:00:00 p.m. | 5834638 | 801315 | 7.0899 | 0 | 90.537 | 27.7 | 5.64
8 | 01/05/2014 | 6:00:00 p.m. | 5834334 | 801272 | 7.082 | 0 | 90.47 | 27.9 | 5.65
7 | 01/05/2014 | 5:00:00 p.m. | 5834029 | 801229 | 7.0497 | 0 | 90.381 | 28.5 | 5.66
6 | 01/05/2014 | 4:00:00 p.m. | 5833726 | 801186 | 7.0446 | 0 | 90.261 | 28.7 | 5.66
5 | 01/05/2014 | 3:00:00 p.m. | 5833403 | 801140 | 7.0305 | 0 | 90.243 | 28.5 | 5.65
4 | 01/05/2014 | 2:00:00 p.m. | 5833072 | 801093 | 7.0467 | 0 | 90.335 | 28.6 | 5.66
3 | 01/05/2014 | 1:00:00 p.m. | 5832748 | 801047 | 7.0449 | 0 | 90.365 | 28.5 | 5.67
2 | 01/05/2014 | 12:00:00 p.m. | 5832437 | 801003 | 7.0574 | 0 | 90.325 | 28.4 | 5.66
1 | 01/05/2014 | 11:00:00 a.m. | 5832127 | 800959 | 7.0391 | 0 | 90.349 | 28 | 5.66