## Saporis horario 053114 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 742
Fault/Alarms Recorded: | Date | Time | Condition
1 | 19/05/2014 | 5:21:04 p.m. | 0 (Fault Register Cleared )
2 | 19/05/2014 | 5:20:58 p.m. | 0 (Alarm Register Cleared )
3 | 19/05/2014 | 3:05:14 p.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
4 | 19/05/2014 | 3:05:04 p.m. | 8 (Low Temperature Alarm Occurred)
5 | 19/05/2014 | 3:02:27 p.m. | 0 (Alarm Register Cleared )
6 | 19/05/2014 | 2:50:44 p.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
7 | 19/05/2014 | 2:46:44 p.m. | 8 (Low Temperature Alarm Occurred)
8 | 19/05/2014 | 2:45:44 p.m. | 4 (Temperature Fault Occurred)
9 | 19/05/2014 | 2:10:13 p.m. | 0 (Alarm Register Cleared )
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
742 | 01/06/2014 | 9:00:00 a.m. | 859315 | 361021 | 8.1465 | 0 | 99.091 | 10.8 | 4.91
741 | 01/06/2014 | 8:00:00 a.m. | 859315 | 361021 | 8.2571 | 0 | 99.328 | 7.7 | 4.9
740 | 01/06/2014 | 7:00:00 a.m. | 859315 | 361021 | 8.2926 | 0 | 99.463 | 7.7 | 4.9
739 | 01/06/2014 | 6:00:00 a.m. | 859315 | 361021 | 8.2856 | 0 | 99.376 | 8.3 | 4.9
738 | 01/06/2014 | 5:00:00 a.m. | 859315 | 361021 | 8.2719 | 0 | 99.395 | 9 | 4.9
737 | 01/06/2014 | 4:00:00 a.m. | 859315 | 361021 | 8.2552 | 0 | 99.417 | 9.5 | 4.9
736 | 01/06/2014 | 3:00:00 a.m. | 859315 | 361021 | 8.2321 | 0 | 99.34 | 10.1 | 4.9
735 | 01/06/2014 | 2:00:00 a.m. | 859315 | 361021 | 8.1979 | 0 | 99.373 | 10.8 | 4.91
734 | 01/06/2014 | 1:00:00 a.m. | 859315 | 361021 | 8.1862 | 0 | 99.472 | 11.8 | 4.91
733 | 01/06/2014 | 12:00:00 a.m. | 859315 | 361021 | 8.1519 | 0 | 99.42 | 13.3 | 4.91
732 | 31/05/2014 | 11:00:00 p.m. | 859315 | 361021 | 8.0982 | 0 | 99.463 | 15.5 | 4.91
731 | 31/05/2014 | 10:00:00 p.m. | 859315 | 361021 | 8.0238 | 0 | 99.324 | 18.4 | 4.91
730 | 31/05/2014 | 9:00:00 p.m. | 859307 | 361020 | 7.8732 | 0 | 99.023 | 20.9 | 4.91
729 | 31/05/2014 | 8:00:00 p.m. | 859233 | 361010 | 7.8664 | 0 | 98.916 | 22.6 | 4.92
728 | 31/05/2014 | 7:00:00 p.m. | 859171 | 361002 | 7.7812 | 0 | 98.641 | 26.2 | 4.93
727 | 31/05/2014 | 6:00:00 p.m. | 859138 | 360998 | 7.5526 | 0 | 98.626 | 31.2 | 4.92
726 | 31/05/2014 | 5:00:00 p.m. | 859138 | 360998 | 7.5213 | 0 | 98.644 | 31.8 | 4.92
725 | 31/05/2014 | 4:00:00 p.m. | 859138 | 360998 | 7.5424 | 0 | 98.577 | 30.6 | 4.92
724 | 31/05/2014 | 3:00:00 p.m. | 859138 | 360998 | 7.5969 | 0 | 98.594 | 28.8 | 4.91
723 | 31/05/2014 | 2:00:00 p.m. | 859138 | 360998 | 7.6891 | 0 | 98.469 | 22.7 | 4.91
722 | 31/05/2014 | 1:00:00 p.m. | 859080 | 360991 | 7.7884 | 0 | 98.408 | 22 | 4.91
721 | 31/05/2014 | 12:00:00 p.m. | 859012 | 360982 | 7.8141 | 0 | 98.536 | 21.4 | 4.91
720 | 31/05/2014 | 11:00:00 a.m. | 858947 | 360974 | 7.8276 | 0 | 98.642 | 20.5 | 4.91
719 | 31/05/2014 | 10:00:00 a.m. | 858885 | 360966 | 7.859 | 0 | 98.734 | 20.1 | 4.91
718 | 31/05/2014 | 9:00:00 a.m. | 858822 | 360958 | 7.862 | 0 | 98.908 | 20 | 4.9
717 | 31/05/2014 | 8:00:00 a.m. | 858760 | 360950 | 7.8785 | 0 | 98.97 | 19.8 | 4.9
716 | 31/05/2014 | 7:00:00 a.m. | 858697 | 360942 | 7.896 | 0 | 98.971 | 19.6 | 4.9
715 | 31/05/2014 | 6:00:00 a.m. | 858638 | 360935 | 7.897 | 0 | 99.093 | 15.1 | 4.9
714 | 31/05/2014 | 5:00:00 a.m. | 858603 | 360930 | 8.1093 | 0 | 99.184 | 12.8 | 4.9
713 | 31/05/2014 | 4:00:00 a.m. | 858603 | 360930 | 8.1346 | 0 | 99.164 | 13.1 | 4.9
712 | 31/05/2014 | 3:00:00 a.m. | 858603 | 360930 | 8.0966 | 0 | 99.138 | 13.3 | 4.91
711 | 31/05/2014 | 2:00:00 a.m. | 858603 | 360930 | 8.1008 | 0 | 99.179 | 13.8 | 4.91
710 | 31/05/2014 | 1:00:00 a.m. | 858603 | 360930 | 8.0867 | 0 | 99.129 | 16.5 | 4.91
709 | 31/05/2014 | 12:00:00 a.m. | 858585 | 360928 | 7.9219 | 0 | 98.951 | 19.3 | 4.9
708 | 30/05/2014 | 11:00:00 p.m. | 858517 | 360919 | 7.9395 | 0 | 99.131 | 14.5 | 4.9
707 | 30/05/2014 | 10:00:00 p.m. | 858508 | 360918 | 8.0694 | 0 | 98.957 | 16.6 | 4.91
706 | 30/05/2014 | 9:00:00 p.m. | 858485 | 360915 | 8.0083 | 0 | 98.948 | 16.9 | 4.91
705 | 30/05/2014 | 8:00:00 p.m. | 858485 | 360915 | 7.9491 | 0 | 98.969 | 18.7 | 4.91
704 | 30/05/2014 | 7:00:00 p.m. | 858485 | 360915 | 7.9175 | 0 | 98.933 | 19.6 | 4.91
703 | 30/05/2014 | 6:00:00 p.m. | 858485 | 360915 | 7.9202 | 0 | 98.992 | 17.7 | 4.91
702 | 30/05/2014 | 5:00:00 p.m. | 858485 | 360915 | 8.0594 | 0 | 98.828 | 17.8 | 4.91
701 | 30/05/2014 | 4:00:00 p.m. | 858485 | 360915 | 7.7162 | 0 | 98.65 | 25.5 | 4.92
700 | 30/05/2014 | 3:00:00 p.m. | 858485 | 360915 | 7.7255 | 0 | 98.65 | 25.2 | 4.92
699 | 30/05/2014 | 2:00:00 p.m. | 858485 | 360915 | 7.73 | 0 | 98.523 | 23.9 | 4.92
698 | 30/05/2014 | 1:00:00 p.m. | 858461 | 360912 | 7.7506 | 0 | 98.415 | 22.7 | 4.91
697 | 30/05/2014 | 12:00:00 p.m. | 858394 | 360903 | 7.7859 | 0 | 98.385 | 22 | 4.91
696 | 30/05/2014 | 11:00:00 a.m. | 858318 | 360894 | 7.8215 | 0 | 98.495 | 21.2 | 4.91
695 | 30/05/2014 | 10:00:00 a.m. | 858235 | 360883 | 7.8341 | 0 | 98.592 | 20.3 | 4.91
694 | 30/05/2014 | 9:00:00 a.m. | 858197 | 360878 | 7.8958 | 0 | 98.836 | 18.9 | 4.9
693 | 30/05/2014 | 8:00:00 a.m. | 858162 | 360874 | 7.9225 | 0 | 98.87 | 19.7 | 4.9
692 | 30/05/2014 | 7:00:00 a.m. | 858102 | 360866 | 7.9191 | 0 | 98.866 | 19.8 | 4.9
691 | 30/05/2014 | 6:00:00 a.m. | 858034 | 360858 | 7.8851 | 0 | 98.842 | 19.7 | 4.9
690 | 30/05/2014 | 5:00:00 a.m. | 857964 | 360849 | 7.8702 | 0 | 98.804 | 18 | 4.9
689 | 30/05/2014 | 4:00:00 a.m. | 857891 | 360840 | 8.1122 | 0 | 98.979 | 13.6 | 4.91
688 | 30/05/2014 | 3:00:00 a.m. | 857891 | 360840 | 8.0327 | 0 | 98.897 | 18.2 | 4.91
687 | 30/05/2014 | 2:00:00 a.m. | 857850 | 360834 | 7.9174 | 0 | 98.912 | 15.1 | 4.91
686 | 30/05/2014 | 1:00:00 a.m. | 857822 | 360831 | 8.0805 | 0 | 99.008 | 13 | 4.91
685 | 30/05/2014 | 12:00:00 a.m. | 857822 | 360831 | 8.098 | 0 | 98.986 | 14.1 | 4.91
684 | 29/05/2014 | 11:00:00 p.m. | 857822 | 360831 | 8.0463 | 0 | 98.965 | 15.4 | 4.91
683 | 29/05/2014 | 10:00:00 p.m. | 857822 | 360831 | 8.0169 | 0 | 98.906 | 16 | 4.91
682 | 29/05/2014 | 9:00:00 p.m. | 857822 | 360831 | 8.0059 | 0 | 98.905 | 17.3 | 4.91
681 | 29/05/2014 | 8:00:00 p.m. | 857822 | 360831 | 7.8896 | 0 | 98.789 | 17.9 | 4.91
680 | 29/05/2014 | 7:00:00 p.m. | 857794 | 360827 | 7.9628 | 0 | 98.845 | 18 | 4.91
679 | 29/05/2014 | 6:00:00 p.m. | 857794 | 360827 | 7.8527 | 0 | 98.795 | 21.7 | 4.92
678 | 29/05/2014 | 5:00:00 p.m. | 857794 | 360827 | 7.8344 | 0 | 98.774 | 21.7 | 4.92
677 | 29/05/2014 | 4:00:00 p.m. | 857794 | 360827 | 7.8186 | 0 | 98.742 | 24.4 | 4.92
676 | 29/05/2014 | 3:00:00 p.m. | 857794 | 360827 | 7.6493 | 0 | 98.524 | 29.1 | 4.93
675 | 29/05/2014 | 2:00:00 p.m. | 857794 | 360827 | 7.6274 | 0 | 98.537 | 30.1 | 4.93
674 | 29/05/2014 | 1:00:00 p.m. | 857794 | 360827 | 7.5897 | 0 | 98.47 | 28.9 | 4.93
673 | 29/05/2014 | 12:00:00 p.m. | 857794 | 360827 | 7.637 | 0 | 98.393 | 26.3 | 4.92
672 | 29/05/2014 | 11:00:00 a.m. | 857794 | 360827 | 7.7824 | 0 | 98.498 | 21 | 4.91
671 | 29/05/2014 | 10:00:00 a.m. | 857794 | 360827 | 7.8975 | 0 | 98.609 | 20.2 | 4.91
670 | 29/05/2014 | 9:00:00 a.m. | 857751 | 360822 | 7.8269 | 0 | 98.646 | 20.2 | 4.91
669 | 29/05/2014 | 8:00:00 a.m. | 857684 | 360813 | 7.8668 | 0 | 98.805 | 19.7 | 4.91
668 | 29/05/2014 | 7:00:00 a.m. | 857617 | 360805 | 7.9035 | 0 | 98.835 | 19.7 | 4.91
667 | 29/05/2014 | 6:00:00 a.m. | 857553 | 360797 | 7.9035 | 0 | 98.885 | 19.2 | 4.91
666 | 29/05/2014 | 5:00:00 a.m. | 857498 | 360790 | 7.9238 | 0 | 98.933 | 14.2 | 4.91
665 | 29/05/2014 | 4:00:00 a.m. | 857470 | 360786 | 8.1159 | 0 | 98.983 | 13.2 | 4.91
664 | 29/05/2014 | 3:00:00 a.m. | 857470 | 360786 | 8.0756 | 0 | 99.001 | 13.9 | 4.91
663 | 29/05/2014 | 2:00:00 a.m. | 857470 | 360786 | 8.0391 | 0 | 98.975 | 16.8 | 4.91
662 | 29/05/2014 | 1:00:00 a.m. | 857457 | 360784 | 7.9015 | 0 | 98.873 | 19.4 | 4.91
661 | 29/05/2014 | 12:00:00 a.m. | 857393 | 360776 | 7.9305 | 0 | 98.96 | 14.3 | 4.91
660 | 28/05/2014 | 11:00:00 p.m. | 857371 | 360774 | 8.0882 | 0 | 98.992 | 14.2 | 4.91
659 | 28/05/2014 | 10:00:00 p.m. | 857363 | 360773 | 8.0842 | 0 | 99.08 | 14.2 | 4.91
658 | 28/05/2014 | 9:00:00 p.m. | 857363 | 360773 | 8.0439 | 0 | 98.973 | 15.8 | 4.91
657 | 28/05/2014 | 8:00:00 p.m. | 857352 | 360771 | 8.0513 | 0 | 99.043 | 17 | 4.91
656 | 28/05/2014 | 7:00:00 p.m. | 857352 | 360771 | 7.9887 | 0 | 98.99 | 20.2 | 4.92
655 | 28/05/2014 | 6:00:00 p.m. | 857352 | 360771 | 7.8284 | 0 | 98.853 | 21.9 | 4.92
654 | 28/05/2014 | 5:00:00 p.m. | 857307 | 360765 | 7.8325 | 0 | 98.735 | 22.2 | 4.92
653 | 28/05/2014 | 4:00:00 p.m. | 857243 | 360757 | 7.8233 | 0 | 98.715 | 22.2 | 4.92
652 | 28/05/2014 | 3:00:00 p.m. | 857178 | 360749 | 7.7962 | 0 | 98.566 | 23.1 | 4.93
651 | 28/05/2014 | 2:00:00 p.m. | 857111 | 360740 | 7.7581 | 0 | 98.421 | 23 | 4.92
650 | 28/05/2014 | 1:00:00 p.m. | 857046 | 360732 | 7.7544 | 0 | 98.484 | 22.4 | 4.92
649 | 28/05/2014 | 12:00:00 p.m. | 856990 | 360725 | 7.8286 | 0 | 98.669 | 22.1 | 4.91
648 | 28/05/2014 | 11:00:00 a.m. | 856973 | 360723 | 7.8105 | 0 | 98.683 | 21.1 | 4.91
647 | 28/05/2014 | 10:00:00 a.m. | 856973 | 360723 | 7.8909 | 0 | 98.826 | 18.1 | 4.91
646 | 28/05/2014 | 9:00:00 a.m. | 856973 | 360723 | 7.9809 | 0 | 98.906 | 17.4 | 4.91
645 | 28/05/2014 | 8:00:00 a.m. | 856961 | 360721 | 7.8945 | 0 | 98.903 | 19.5 | 4.9
644 | 28/05/2014 | 7:00:00 a.m. | 856898 | 360713 | 7.8874 | 0 | 98.952 | 19.4 | 4.9
643 | 28/05/2014 | 6:00:00 a.m. | 856833 | 360705 | 7.9262 | 0 | 98.938 | 18.2 | 4.9
642 | 28/05/2014 | 5:00:00 a.m. | 856761 | 360696 | 8.1296 | 0 | 99.08 | 14.9 | 4.91
641 | 28/05/2014 | 4:00:00 a.m. | 856738 | 360693 | 8.1765 | 0 | 99.141 | 12 | 4.9
640 | 28/05/2014 | 3:00:00 a.m. | 856738 | 360693 | 8.1429 | 0 | 99.06 | 11.9 | 4.91
639 | 28/05/2014 | 2:00:00 a.m. | 856738 | 360693 | 8.1519 | 0 | 99.084 | 11.8 | 4.91
638 | 28/05/2014 | 1:00:00 a.m. | 856738 | 360693 | 8.1504 | 0 | 99.069 | 11.8 | 4.91
637 | 28/05/2014 | 12:00:00 a.m. | 856738 | 360693 | 8.1257 | 0 | 99.055 | 12.9 | 4.91
636 | 27/05/2014 | 11:00:00 p.m. | 856738 | 360693 | 8.0514 | 0 | 98.983 | 18.1 | 4.91
635 | 27/05/2014 | 10:00:00 p.m. | 856704 | 360689 | 7.8842 | 0 | 98.901 | 19.9 | 4.91
634 | 27/05/2014 | 9:00:00 p.m. | 856642 | 360681 | 7.8989 | 0 | 98.813 | 20.7 | 4.91
633 | 27/05/2014 | 8:00:00 p.m. | 856579 | 360673 | 7.8428 | 0 | 98.708 | 21.3 | 4.92
632 | 27/05/2014 | 7:00:00 p.m. | 856516 | 360665 | 7.8228 | 0 | 98.614 | 22 | 4.92
631 | 27/05/2014 | 6:00:00 p.m. | 856452 | 360657 | 7.8094 | 0 | 98.684 | 21.5 | 4.92
630 | 27/05/2014 | 5:00:00 p.m. | 856387 | 360648 | 7.8486 | 0 | 98.78 | 21.6 | 4.92
629 | 27/05/2014 | 4:00:00 p.m. | 856332 | 360641 | 7.836 | 0 | 98.968 | 22.6 | 4.93
628 | 27/05/2014 | 3:00:00 p.m. | 856290 | 360636 | 7.7797 | 0 | 98.639 | 24.6 | 4.93
627 | 27/05/2014 | 2:00:00 p.m. | 856255 | 360631 | 7.7595 | 0 | 98.7 | 23.2 | 4.92
626 | 27/05/2014 | 1:00:00 p.m. | 856213 | 360626 | 7.7942 | 0 | 98.591 | 22.2 | 4.92
625 | 27/05/2014 | 12:00:00 p.m. | 856145 | 360617 | 7.8136 | 0 | 98.691 | 21.7 | 4.92
624 | 27/05/2014 | 11:00:00 a.m. | 856096 | 360611 | 7.8004 | 0 | 98.688 | 21.1 | 4.92
623 | 27/05/2014 | 10:00:00 a.m. | 856052 | 360605 | 7.8475 | 0 | 98.626 | 19.5 | 4.91
622 | 27/05/2014 | 9:00:00 a.m. | 856027 | 360602 | 7.913 | 0 | 98.738 | 18.2 | 4.91
621 | 27/05/2014 | 8:00:00 a.m. | 855993 | 360598 | 7.9896 | 0 | 98.858 | 18.3 | 4.91
620 | 27/05/2014 | 7:00:00 a.m. | 855961 | 360594 | 7.9058 | 0 | 98.904 | 19.4 | 4.91
619 | 27/05/2014 | 6:00:00 a.m. | 855899 | 360586 | 7.9166 | 0 | 98.862 | 19.4 | 4.91
618 | 27/05/2014 | 5:00:00 a.m. | 855833 | 360578 | 7.8873 | 0 | 98.878 | 19 | 4.91
617 | 27/05/2014 | 4:00:00 a.m. | 855761 | 360568 | 8.0313 | 0 | 99.039 | 13.9 | 4.91
616 | 27/05/2014 | 3:00:00 a.m. | 855738 | 360566 | 8.1242 | 0 | 99.081 | 12.3 | 4.91
615 | 27/05/2014 | 2:00:00 a.m. | 855738 | 360566 | 8.1317 | 0 | 99.101 | 12.4 | 4.91
614 | 27/05/2014 | 1:00:00 a.m. | 855738 | 360566 | 8.1321 | 0 | 99.117 | 12.4 | 4.91
613 | 27/05/2014 | 12:00:00 a.m. | 855738 | 360566 | 8.1233 | 0 | 99.094 | 12.3 | 4.91
612 | 26/05/2014 | 11:00:00 p.m. | 855738 | 360566 | 8.1362 | 0 | 99.181 | 12.1 | 4.91
611 | 26/05/2014 | 10:00:00 p.m. | 855738 | 360566 | 8.1236 | 0 | 99.116 | 13.5 | 4.91
610 | 26/05/2014 | 9:00:00 p.m. | 855738 | 360566 | 8.0309 | 0 | 99.119 | 17.9 | 4.92
609 | 26/05/2014 | 8:00:00 p.m. | 855738 | 360566 | 7.8925 | 0 | 98.798 | 21 | 4.93
608 | 26/05/2014 | 7:00:00 p.m. | 855648 | 360554 | 7.8319 | 0 | 99.043 | 22.4 | 4.93
607 | 26/05/2014 | 6:00:00 p.m. | 855621 | 360551 | 7.7429 | 0 | 98.943 | 29.2 | 4.94
606 | 26/05/2014 | 5:00:00 p.m. | 855621 | 360551 | 7.5412 | 0 | 98.548 | 32.6 | 4.94
605 | 26/05/2014 | 4:00:00 p.m. | 855621 | 360551 | 7.5296 | 0 | 98.611 | 33.5 | 4.94
604 | 26/05/2014 | 3:00:00 p.m. | 855621 | 360551 | 7.5048 | 0 | 98.608 | 31.3 | 4.94
603 | 26/05/2014 | 2:00:00 p.m. | 855620 | 360551 | 7.7014 | 0 | 98.351 | 24.2 | 4.93
602 | 26/05/2014 | 1:00:00 p.m. | 855548 | 360541 | 7.7408 | 0 | 98.368 | 23.7 | 4.93
601 | 26/05/2014 | 12:00:00 p.m. | 855467 | 360531 | 7.7584 | 0 | 98.408 | 23 | 4.93
600 | 26/05/2014 | 11:00:00 a.m. | 855389 | 360521 | 7.7663 | 0 | 98.338 | 22.5 | 4.93
599 | 26/05/2014 | 10:00:00 a.m. | 855311 | 360511 | 7.77 | 0 | 98.526 | 21.5 | 4.92
598 | 26/05/2014 | 9:00:00 a.m. | 855230 | 360500 | 7.8547 | 0 | 98.86 | 17.9 | 4.91
597 | 26/05/2014 | 8:00:00 a.m. | 855181 | 360494 | 8.0176 | 0 | 99.028 | 17.9 | 4.91
596 | 26/05/2014 | 7:00:00 a.m. | 855157 | 360491 | 7.8809 | 0 | 98.929 | 20.1 | 4.91
595 | 26/05/2014 | 6:00:00 a.m. | 855081 | 360481 | 7.8706 | 0 | 98.966 | 20.2 | 4.91
594 | 26/05/2014 | 5:00:00 a.m. | 854997 | 360471 | 7.8852 | 0 | 98.895 | 17.7 | 4.91
593 | 26/05/2014 | 4:00:00 a.m. | 854921 | 360461 | 8.083 | 0 | 99.193 | 14.2 | 4.91
592 | 26/05/2014 | 3:00:00 a.m. | 854921 | 360461 | 8.0631 | 0 | 99.095 | 14.3 | 4.91
591 | 26/05/2014 | 2:00:00 a.m. | 854921 | 360461 | 8.0945 | 0 | 99.204 | 13.2 | 4.91
590 | 26/05/2014 | 1:00:00 a.m. | 854921 | 360461 | 8.0829 | 0 | 99.184 | 14.4 | 4.91
589 | 26/05/2014 | 12:00:00 a.m. | 854921 | 360461 | 8.0576 | 0 | 99.341 | 15.4 | 4.92
588 | 25/05/2014 | 11:00:00 p.m. | 854921 | 360461 | 8.0437 | 0 | 99.308 | 15.2 | 4.91
587 | 25/05/2014 | 10:00:00 p.m. | 854921 | 360461 | 8.044 | 0 | 99.455 | 16.3 | 4.92
586 | 25/05/2014 | 9:00:00 p.m. | 854921 | 360461 | 8.031 | 0 | 99.2 | 18.3 | 4.92
585 | 25/05/2014 | 8:00:00 p.m. | 854921 | 360461 | 7.8986 | 0 | 99.17 | 21.6 | 4.93
584 | 25/05/2014 | 7:00:00 p.m. | 854921 | 360461 | 7.7884 | 0 | 98.942 | 26.2 | 4.93
583 | 25/05/2014 | 6:00:00 p.m. | 854921 | 360461 | 7.6643 | 0 | 98.796 | 30 | 4.93
582 | 25/05/2014 | 5:00:00 p.m. | 854921 | 360461 | 7.5578 | 0 | 98.714 | 30.8 | 4.93
581 | 25/05/2014 | 4:00:00 p.m. | 854921 | 360461 | 7.6157 | 0 | 98.758 | 30.6 | 4.93
580 | 25/05/2014 | 3:00:00 p.m. | 854921 | 360461 | 7.608 | 0 | 98.687 | 30.2 | 4.93
579 | 25/05/2014 | 2:00:00 p.m. | 854921 | 360461 | 7.532 | 0 | 98.642 | 30.3 | 4.93
578 | 25/05/2014 | 1:00:00 p.m. | 854921 | 360461 | 7.6685 | 0 | 98.604 | 24.4 | 4.92
577 | 25/05/2014 | 12:00:00 p.m. | 854888 | 360457 | 7.7858 | 0 | 98.784 | 21.1 | 4.92
576 | 25/05/2014 | 11:00:00 a.m. | 854888 | 360457 | 7.8843 | 0 | 98.839 | 18.5 | 4.91
575 | 25/05/2014 | 10:00:00 a.m. | 854888 | 360457 | 8.0052 | 0 | 99.162 | 14.5 | 4.91
574 | 25/05/2014 | 9:00:00 a.m. | 854888 | 360457 | 8.0902 | 0 | 99.397 | 11.5 | 4.91
573 | 25/05/2014 | 8:00:00 a.m. | 854888 | 360457 | 8.2435 | 0 | 99.278 | 9.9 | 4.9
572 | 25/05/2014 | 7:00:00 a.m. | 854888 | 360457 | 8.2097 | 0 | 99.224 | 10 | 4.91
571 | 25/05/2014 | 6:00:00 a.m. | 854888 | 360457 | 8.2041 | 0 | 99.208 | 10.7 | 4.91
570 | 25/05/2014 | 5:00:00 a.m. | 854888 | 360457 | 8.2128 | 0 | 99.247 | 10.5 | 4.91
569 | 25/05/2014 | 4:00:00 a.m. | 854888 | 360457 | 8.1737 | 0 | 99.237 | 11.2 | 4.91
568 | 25/05/2014 | 3:00:00 a.m. | 854888 | 360457 | 8.1769 | 0 | 99.24 | 11.7 | 4.91
567 | 25/05/2014 | 2:00:00 a.m. | 854888 | 360457 | 8.1474 | 0 | 99.247 | 12.1 | 4.91
566 | 25/05/2014 | 1:00:00 a.m. | 854888 | 360457 | 8.1345 | 0 | 99.305 | 13.2 | 4.91
565 | 25/05/2014 | 12:00:00 a.m. | 854888 | 360457 | 8.102 | 0 | 99.232 | 13.4 | 4.91
564 | 24/05/2014 | 11:00:00 p.m. | 854888 | 360457 | 8.1046 | 0 | 99.238 | 16 | 4.92
563 | 24/05/2014 | 10:00:00 p.m. | 854888 | 360457 | 7.9862 | 0 | 99.171 | 19.3 | 4.92
562 | 24/05/2014 | 9:00:00 p.m. | 854856 | 360453 | 7.8867 | 0 | 98.995 | 21 | 4.93
561 | 24/05/2014 | 8:00:00 p.m. | 854784 | 360444 | 7.8461 | 0 | 98.834 | 21.5 | 4.93
560 | 24/05/2014 | 7:00:00 p.m. | 854693 | 360432 | 7.8571 | 0 | 98.992 | 23.1 | 4.93
559 | 24/05/2014 | 6:00:00 p.m. | 854684 | 360431 | 7.8041 | 0 | 98.933 | 23.2 | 4.93
558 | 24/05/2014 | 5:00:00 p.m. | 854677 | 360430 | 7.8081 | 0 | 98.845 | 22.7 | 4.93
557 | 24/05/2014 | 4:00:00 p.m. | 854635 | 360425 | 7.8018 | 0 | 98.746 | 26.1 | 4.93
556 | 24/05/2014 | 3:00:00 p.m. | 854612 | 360422 | 7.6021 | 0 | 98.597 | 28.3 | 4.93
555 | 24/05/2014 | 2:00:00 p.m. | 854593 | 360419 | 7.7038 | 0 | 98.621 | 27.5 | 4.93
554 | 24/05/2014 | 1:00:00 p.m. | 854578 | 360417 | 7.7552 | 0 | 98.526 | 25.8 | 4.93
553 | 24/05/2014 | 12:00:00 p.m. | 854562 | 360415 | 7.7028 | 0 | 98.56 | 22.7 | 4.93
552 | 24/05/2014 | 11:00:00 a.m. | 854540 | 360412 | 7.7985 | 0 | 98.584 | 20.7 | 4.92
551 | 24/05/2014 | 10:00:00 a.m. | 854511 | 360409 | 7.8772 | 0 | 98.733 | 16.7 | 4.92
550 | 24/05/2014 | 9:00:00 a.m. | 854511 | 360409 | 8.0493 | 0 | 98.941 | 11.8 | 4.91
549 | 24/05/2014 | 8:00:00 a.m. | 854511 | 360409 | 8.2048 | 0 | 99.173 | 9.9 | 4.91
548 | 24/05/2014 | 7:00:00 a.m. | 854511 | 360409 | 8.2259 | 0 | 99.251 | 10 | 4.91
547 | 24/05/2014 | 6:00:00 a.m. | 854511 | 360409 | 8.1966 | 0 | 99.296 | 10.2 | 4.91
546 | 24/05/2014 | 5:00:00 a.m. | 854511 | 360409 | 8.2074 | 0 | 99.268 | 10.5 | 4.91
545 | 24/05/2014 | 4:00:00 a.m. | 854511 | 360409 | 8.1746 | 0 | 99.274 | 12.3 | 4.91
544 | 24/05/2014 | 3:00:00 a.m. | 854511 | 360409 | 8.0661 | 0 | 99.106 | 17 | 4.91
543 | 24/05/2014 | 2:00:00 a.m. | 854457 | 360402 | 8.1279 | 0 | 99.092 | 16.7 | 4.91
542 | 24/05/2014 | 1:00:00 a.m. | 854404 | 360395 | 8.056 | 0 | 99.27 | 12 | 4.91
541 | 24/05/2014 | 12:00:00 a.m. | 854402 | 360395 | 8.1592 | 0 | 99.311 | 12.4 | 4.91
540 | 23/05/2014 | 11:00:00 p.m. | 854402 | 360395 | 8.1256 | 0 | 99.359 | 13.6 | 4.92
539 | 23/05/2014 | 10:00:00 p.m. | 854402 | 360395 | 8.0358 | 0 | 99.17 | 17.6 | 4.92
538 | 23/05/2014 | 9:00:00 p.m. | 854399 | 360395 | 7.8879 | 0 | 98.976 | 20.6 | 4.92
537 | 23/05/2014 | 8:00:00 p.m. | 854323 | 360385 | 7.8753 | 0 | 98.983 | 20.8 | 4.92
536 | 23/05/2014 | 7:00:00 p.m. | 854246 | 360375 | 7.8848 | 0 | 99.16 | 18.3 | 4.92
535 | 23/05/2014 | 6:00:00 p.m. | 854225 | 360372 | 7.9033 | 0 | 98.985 | 21.1 | 4.93
534 | 23/05/2014 | 5:00:00 p.m. | 854156 | 360364 | 7.8475 | 0 | 98.782 | 21.9 | 4.93
533 | 23/05/2014 | 4:00:00 p.m. | 854087 | 360355 | 7.8315 | 0 | 98.733 | 22.1 | 4.93
532 | 23/05/2014 | 3:00:00 p.m. | 854016 | 360346 | 7.8176 | 0 | 98.628 | 27.7 | 4.94
531 | 23/05/2014 | 2:00:00 p.m. | 853962 | 360339 | 7.5122 | 0 | 98.685 | 32.2 | 4.94
530 | 23/05/2014 | 1:00:00 p.m. | 853962 | 360339 | 7.5801 | 0 | 98.699 | 29.2 | 4.93
529 | 23/05/2014 | 12:00:00 p.m. | 853962 | 360339 | 7.673 | 0 | 98.793 | 24.4 | 4.93
528 | 23/05/2014 | 11:00:00 a.m. | 853962 | 360339 | 7.8193 | 0 | 98.803 | 21.5 | 4.92
527 | 23/05/2014 | 10:00:00 a.m. | 853951 | 360337 | 7.8766 | 0 | 98.988 | 19.7 | 4.91
526 | 23/05/2014 | 9:00:00 a.m. | 853912 | 360332 | 7.9216 | 0 | 99.106 | 19 | 4.91
525 | 23/05/2014 | 8:00:00 a.m. | 853868 | 360327 | 7.9476 | 0 | 99.164 | 19.1 | 4.91
524 | 23/05/2014 | 7:00:00 a.m. | 853804 | 360319 | 7.924 | 0 | 99.206 | 19.5 | 4.91
523 | 23/05/2014 | 6:00:00 a.m. | 853732 | 360310 | 7.9179 | 0 | 99.172 | 19.6 | 4.91
522 | 23/05/2014 | 5:00:00 a.m. | 853655 | 360300 | 7.9004 | 0 | 99.184 | 19.5 | 4.91
521 | 23/05/2014 | 4:00:00 a.m. | 853580 | 360291 | 7.9142 | 0 | 99.018 | 19.4 | 4.91
520 | 23/05/2014 | 3:00:00 a.m. | 853480 | 360278 | 8.1062 | 0 | 99.325 | 12.7 | 4.92
519 | 23/05/2014 | 2:00:00 a.m. | 853480 | 360278 | 8.1264 | 0 | 99.335 | 13.5 | 4.92
518 | 23/05/2014 | 1:00:00 a.m. | 853480 | 360278 | 8.083 | 0 | 99.28 | 14.6 | 4.92
517 | 23/05/2014 | 12:00:00 a.m. | 853480 | 360278 | 8.0489 | 0 | 99.301 | 16 | 4.92
516 | 22/05/2014 | 11:00:00 p.m. | 853480 | 360278 | 8.0517 | 0 | 99.404 | 16.1 | 4.92
515 | 22/05/2014 | 10:00:00 p.m. | 853480 | 360278 | 8.0247 | 0 | 99.303 | 17.1 | 4.93
514 | 22/05/2014 | 9:00:00 p.m. | 853480 | 360278 | 7.9901 | 0 | 99.329 | 18.8 | 4.93
513 | 22/05/2014 | 8:00:00 p.m. | 853480 | 360278 | 7.903 | 0 | 99.3 | 20.7 | 4.93
512 | 22/05/2014 | 7:00:00 p.m. | 853480 | 360278 | 7.8823 | 0 | 99.235 | 21.7 | 4.93
511 | 22/05/2014 | 6:00:00 p.m. | 853455 | 360275 | 7.8142 | 0 | 99.118 | 25 | 4.94
510 | 22/05/2014 | 5:00:00 p.m. | 853443 | 360273 | 7.7291 | 0 | 99.012 | 25.6 | 4.94
509 | 22/05/2014 | 4:00:00 p.m. | 853436 | 360272 | 7.7779 | 0 | 98.753 | 30.6 | 4.94
508 | 22/05/2014 | 3:00:00 p.m. | 853397 | 360267 | 7.4671 | 0 | 98.837 | 34.4 | 4.94
507 | 22/05/2014 | 2:00:00 p.m. | 853397 | 360267 | 7.5271 | 0 | 98.806 | 32.4 | 4.94
506 | 22/05/2014 | 1:00:00 p.m. | 853397 | 360267 | 7.6028 | 0 | 98.811 | 29.4 | 4.93
505 | 22/05/2014 | 12:00:00 p.m. | 853397 | 360267 | 7.6864 | 0 | 98.723 | 23.7 | 4.93
504 | 22/05/2014 | 11:00:00 a.m. | 853377 | 360265 | 7.8094 | 0 | 98.799 | 21.6 | 4.93
503 | 22/05/2014 | 10:00:00 a.m. | 853331 | 360259 | 7.8384 | 0 | 98.762 | 20.6 | 4.92
502 | 22/05/2014 | 9:00:00 a.m. | 853258 | 360250 | 7.874 | 0 | 98.987 | 19.6 | 4.91
501 | 22/05/2014 | 8:00:00 a.m. | 853185 | 360240 | 7.964 | 0 | 99.239 | 18.9 | 4.91
500 | 22/05/2014 | 7:00:00 a.m. | 853111 | 360231 | 7.954 | 0 | 99.301 | 19.3 | 4.91
499 | 22/05/2014 | 6:00:00 a.m. | 853028 | 360221 | 7.8971 | 0 | 99.378 | 14.2 | 4.91
498 | 22/05/2014 | 5:00:00 a.m. | 852973 | 360214 | 8.209 | 0 | 99.658 | 10.9 | 4.91
497 | 22/05/2014 | 4:00:00 a.m. | 852973 | 360214 | 8.2109 | 0 | 99.81 | 10.7 | 4.91
496 | 22/05/2014 | 3:00:00 a.m. | 852973 | 360214 | 8.2345 | 0 | 99.644 | 10.7 | 4.91
495 | 22/05/2014 | 2:00:00 a.m. | 852973 | 360214 | 8.2236 | 0 | 99.735 | 12 | 4.91
494 | 22/05/2014 | 1:00:00 a.m. | 852973 | 360214 | 8.1094 | 0 | 99.684 | 17.9 | 4.92
493 | 22/05/2014 | 12:00:00 a.m. | 852960 | 360212 | 7.9612 | 0 | 99.421 | 20 | 4.91
492 | 21/05/2014 | 11:00:00 p.m. | 852888 | 360203 | 7.9316 | 0 | 99.61 | 15.6 | 4.92
491 | 21/05/2014 | 10:00:00 p.m. | 852874 | 360201 | 8.0176 | 0 | 99.467 | 16.2 | 4.92
490 | 21/05/2014 | 9:00:00 p.m. | 852874 | 360201 | 7.9947 | 0 | 99.392 | 18.6 | 4.93
489 | 21/05/2014 | 8:00:00 p.m. | 852862 | 360200 | 7.8928 | 0 | 99.208 | 21 | 4.93
488 | 21/05/2014 | 7:00:00 p.m. | 852800 | 360192 | 7.864 | 0 | 99.156 | 21.8 | 4.93
487 | 21/05/2014 | 6:00:00 p.m. | 852738 | 360184 | 7.8635 | 0 | 99.213 | 21 | 4.93
486 | 21/05/2014 | 5:00:00 p.m. | 852676 | 360176 | 7.9086 | 0 | 99.348 | 19.1 | 4.92
485 | 21/05/2014 | 4:00:00 p.m. | 852611 | 360168 | 8.0172 | 0 | 99.138 | 21.1 | 4.93
484 | 21/05/2014 | 3:00:00 p.m. | 852561 | 360161 | 7.701 | 0 | 98.924 | 25.6 | 4.94
483 | 21/05/2014 | 2:00:00 p.m. | 852535 | 360158 | 7.7662 | 0 | 98.706 | 24.1 | 4.94
482 | 21/05/2014 | 1:00:00 p.m. | 852455 | 360148 | 7.779 | 0 | 98.637 | 23.3 | 4.94
481 | 21/05/2014 | 12:00:00 p.m. | 852360 | 360136 | 7.7858 | 0 | 98.679 | 23.2 | 4.94
480 | 21/05/2014 | 11:00:00 a.m. | 852305 | 360129 | 7.8063 | 0 | 98.705 | 22.1 | 4.93
479 | 21/05/2014 | 10:00:00 a.m. | 852248 | 360121 | 7.8462 | 0 | 98.869 | 20.1 | 4.93
478 | 21/05/2014 | 9:00:00 a.m. | 852214 | 360117 | 7.9145 | 0 | 99.109 | 16.1 | 4.91
477 | 21/05/2014 | 8:00:00 a.m. | 852157 | 360110 | 8.2132 | 0 | 99.431 | 10 | 4.91
476 | 21/05/2014 | 7:00:00 a.m. | 852157 | 360110 | 8.2222 | 0 | 99.657 | 12.8 | 4.91
475 | 21/05/2014 | 6:00:00 a.m. | 852157 | 360110 | 8.0321 | 0 | 99.503 | 18.9 | 4.91
474 | 21/05/2014 | 5:00:00 a.m. | 852085 | 360101 | 7.9545 | 0 | 99.493 | 19 | 4.91
473 | 21/05/2014 | 4:00:00 a.m. | 852009 | 360091 | 7.96 | 0 | 99.338 | 19 | 4.91
472 | 21/05/2014 | 3:00:00 a.m. | 851935 | 360082 | 7.9362 | 0 | 99.388 | 19.2 | 4.92
471 | 21/05/2014 | 2:00:00 a.m. | 851861 | 360072 | 7.951 | 0 | 99.309 | 19.3 | 4.92
470 | 21/05/2014 | 1:00:00 a.m. | 851776 | 360062 | 7.9136 | 0 | 99.375 | 13.4 | 4.92
469 | 21/05/2014 | 12:00:00 a.m. | 851750 | 360059 | 8.1352 | 0 | 99.519 | 13.8 | 4.93
468 | 20/05/2014 | 11:00:00 p.m. | 851750 | 360059 | 8.1069 | 0 | 99.513 | 15.4 | 4.93
467 | 20/05/2014 | 10:00:00 p.m. | 851750 | 360059 | 8.0218 | 0 | 99.363 | 16.6 | 4.93
466 | 20/05/2014 | 9:00:00 p.m. | 851750 | 360059 | 8.0082 | 0 | 99.337 | 18 | 4.93
465 | 20/05/2014 | 8:00:00 p.m. | 851750 | 360059 | 7.9256 | 0 | 99.262 | 20.6 | 4.94
464 | 20/05/2014 | 7:00:00 p.m. | 851750 | 360059 | 7.8678 | 0 | 99.089 | 21.7 | 4.94
463 | 20/05/2014 | 6:00:00 p.m. | 851713 | 360054 | 7.8647 | 0 | 98.969 | 21.2 | 4.94
462 | 20/05/2014 | 5:00:00 p.m. | 851625 | 360043 | 7.8794 | 0 | 99.054 | 25.3 | 4.94
461 | 20/05/2014 | 4:00:00 p.m. | 851621 | 360042 | 7.5316 | 0 | 98.695 | 36.6 | 4.95
460 | 20/05/2014 | 3:00:00 p.m. | 851621 | 360042 | 7.4004 | 0 | 98.674 | 36.8 | 4.95
459 | 20/05/2014 | 2:00:00 p.m. | 851621 | 360042 | 7.4667 | 0 | 98.618 | 34.5 | 4.95
458 | 20/05/2014 | 1:00:00 p.m. | 851621 | 360042 | 7.4843 | 0 | 98.645 | 33.1 | 4.95
457 | 20/05/2014 | 12:00:00 p.m. | 851621 | 360042 | 7.5487 | 0 | 98.609 | 29.9 | 4.94
456 | 20/05/2014 | 11:00:00 a.m. | 851621 | 360042 | 7.6692 | 0 | 98.654 | 25 | 4.94
455 | 20/05/2014 | 10:00:00 a.m. | 851621 | 360042 | 7.8301 | 0 | 98.874 | 19.1 | 4.93
454 | 20/05/2014 | 9:00:00 a.m. | 851621 | 360042 | 7.9908 | 0 | 99.116 | 16.1 | 4.92
453 | 20/05/2014 | 8:00:00 a.m. | 851620 | 360042 | 7.9679 | 0 | 99.206 | 18.6 | 4.91
452 | 20/05/2014 | 7:00:00 a.m. | 851555 | 360034 | 7.9561 | 0 | 99.347 | 18.8 | 4.91
451 | 20/05/2014 | 6:00:00 a.m. | 851481 | 360025 | 7.9514 | 0 | 99.314 | 18.8 | 4.91
450 | 20/05/2014 | 5:00:00 a.m. | 851399 | 360014 | 7.9502 | 0 | 99.341 | 13.4 | 4.91
449 | 20/05/2014 | 4:00:00 a.m. | 851346 | 360008 | 8.2627 | 0 | 99.455 | 10 | 4.91
448 | 20/05/2014 | 3:00:00 a.m. | 851346 | 360008 | 8.1912 | 0 | 99.454 | 10.6 | 4.91
447 | 20/05/2014 | 2:00:00 a.m. | 851346 | 360008 | 8.2146 | 0 | 99.575 | 11.1 | 4.91
446 | 20/05/2014 | 1:00:00 a.m. | 851346 | 360008 | 8.1679 | 0 | 99.616 | 12.2 | 4.92
445 | 20/05/2014 | 12:00:00 a.m. | 851346 | 360008 | 8.1666 | 0 | 99.607 | 13.8 | 4.92
444 | 19/05/2014 | 11:00:00 p.m. | 851346 | 360008 | 8.0587 | 0 | 99.544 | 16.3 | 4.93
443 | 19/05/2014 | 10:00:00 p.m. | 851346 | 360008 | 7.9784 | 0 | 99.279 | 19.8 | 4.93
442 | 19/05/2014 | 9:00:00 p.m. | 851302 | 360002 | 7.9002 | 0 | 99.208 | 20.5 | 4.93
441 | 19/05/2014 | 8:00:00 p.m. | 851240 | 359994 | 7.8789 | 0 | 99.084 | 21.6 | 4.94
440 | 19/05/2014 | 7:00:00 p.m. | 851182 | 359987 | 7.8414 | 0 | 99.001 | 22.4 | 4.94
439 | 19/05/2014 | 6:00:00 p.m. | 851123 | 359979 | 7.8174 | 0 | 93.619 | 25.5 | 4.95
438 | 19/05/2014 | 5:00:00 p.m. | 850912 | 359972 | 0 | 0 | 98.626 | 27.7 | 4.95
437 | 19/05/2014 | 4:00:00 p.m. | 850912 | 359964 | T flt | 0 | 98.519 | T flt | 4.95
436 | 19/05/2014 | 3:00:00 p.m. | 850912 | 359954 | T flt | 0 | 88.682 | T flt | 4.85
435 | 19/05/2014 | 2:00:00 p.m. | 850912 | 359952 | 7.3423 | 0 | 98.182 | 38.2 | 4.95
434 | 19/05/2014 | 1:00:00 p.m. | 850912 | 359952 | 7.3342 | 0 | 98.127 | 37.1 | 4.94
433 | 19/05/2014 | 12:00:00 p.m. | 850912 | 359952 | 7.4078 | 0 | 98.198 | 33.5 | 4.94
432 | 19/05/2014 | 11:00:00 a.m. | 850912 | 359952 | 7.52 | 0 | 98.324 | 26.8 | 4.93
431 | 19/05/2014 | 10:00:00 a.m. | 850912 | 359952 | 7.7779 | 0 | 98.49 | 18.6 | 4.92
430 | 19/05/2014 | 9:00:00 a.m. | 850912 | 359952 | 7.9876 | 0 | 98.683 | 13.5 | 4.91
429 | 19/05/2014 | 8:00:00 a.m. | 850912 | 359952 | 8.0905 | 0 | 98.834 | 12.8 | 4.91
428 | 19/05/2014 | 7:00:00 a.m. | 850912 | 359952 | 8.0471 | 0 | 98.916 | 16.9 | 4.91
427 | 19/05/2014 | 6:00:00 a.m. | 850907 | 359952 | 7.8494 | 0 | 98.792 | 20.7 | 4.91
426 | 19/05/2014 | 5:00:00 a.m. | 850840 | 359943 | 7.8612 | 0 | 98.765 | 19.1 | 4.91
425 | 19/05/2014 | 4:00:00 a.m. | 850762 | 359933 | 8.1266 | 0 | 99.003 | 13.7 | 4.91
424 | 19/05/2014 | 3:00:00 a.m. | 850762 | 359933 | 8.0495 | 0 | 98.957 | 16.9 | 4.92
423 | 19/05/2014 | 2:00:00 a.m. | 850762 | 359933 | 7.8911 | 0 | 98.796 | 21.3 | 4.92
422 | 19/05/2014 | 1:00:00 a.m. | 850698 | 359925 | 7.8038 | 0 | 98.835 | 16.5 | 4.92
421 | 19/05/2014 | 12:00:00 a.m. | 850667 | 359921 | 7.974 | 0 | 98.88 | 17.5 | 4.93
420 | 18/05/2014 | 11:00:00 p.m. | 850667 | 359921 | 7.9116 | 0 | 98.894 | 19.3 | 4.93
419 | 18/05/2014 | 10:00:00 p.m. | 850667 | 359921 | 7.8851 | 0 | 98.934 | 21.3 | 4.93
418 | 18/05/2014 | 9:00:00 p.m. | 850667 | 359921 | 7.8367 | 0 | 98.926 | 23.9 | 4.94
417 | 18/05/2014 | 8:00:00 p.m. | 850667 | 359921 | 7.7187 | 0 | 98.763 | 28.2 | 4.94
416 | 18/05/2014 | 7:00:00 p.m. | 850667 | 359921 | 7.585 | 0 | 98.633 | 32.6 | 4.95
415 | 18/05/2014 | 6:00:00 p.m. | 850667 | 359921 | 7.4409 | 0 | 98.619 | 36.3 | 4.95
414 | 18/05/2014 | 5:00:00 p.m. | 850667 | 359921 | 7.3907 | 0 | 98.497 | 37.9 | 4.95
413 | 18/05/2014 | 4:00:00 p.m. | 850667 | 359921 | 7.3548 | 0 | 98.425 | 39.7 | 4.95
412 | 18/05/2014 | 3:00:00 p.m. | 850667 | 359921 | 7.2868 | 0 | 98.351 | 39.2 | 4.95
411 | 18/05/2014 | 2:00:00 p.m. | 850667 | 359921 | 7.3881 | 0 | 98.255 | 35.9 | 4.95
410 | 18/05/2014 | 1:00:00 p.m. | 850641 | 359918 | 7.3391 | 0 | 98.368 | 37.2 | 4.95
409 | 18/05/2014 | 12:00:00 p.m. | 850641 | 359918 | 7.4316 | 0 | 98.44 | 33.7 | 4.94
408 | 18/05/2014 | 11:00:00 a.m. | 850641 | 359918 | 7.5611 | 0 | 98.488 | 29 | 4.94
407 | 18/05/2014 | 10:00:00 a.m. | 850641 | 359918 | 7.6955 | 0 | 98.667 | 21.9 | 4.93
406 | 18/05/2014 | 9:00:00 a.m. | 850641 | 359918 | 7.925 | 0 | 98.871 | 15.4 | 4.92
405 | 18/05/2014 | 8:00:00 a.m. | 850641 | 359918 | 8.0764 | 0 | 99.069 | 12.9 | 4.91
404 | 18/05/2014 | 7:00:00 a.m. | 850641 | 359918 | 8.0843 | 0 | 99.02 | 13.8 | 4.91
403 | 18/05/2014 | 6:00:00 a.m. | 850641 | 359918 | 8.0622 | 0 | 99.007 | 14.8 | 4.92
402 | 18/05/2014 | 5:00:00 a.m. | 850641 | 359918 | 8.0477 | 0 | 98.983 | 15 | 4.92
401 | 18/05/2014 | 4:00:00 a.m. | 850641 | 359918 | 8.0377 | 0 | 98.994 | 15.6 | 4.92
400 | 18/05/2014 | 3:00:00 a.m. | 850641 | 359918 | 8.0047 | 0 | 98.967 | 16.4 | 4.92
399 | 18/05/2014 | 2:00:00 a.m. | 850641 | 359918 | 8.012 | 0 | 99.007 | 16.5 | 4.93
398 | 18/05/2014 | 1:00:00 a.m. | 850641 | 359918 | 7.9791 | 0 | 99.028 | 17.4 | 4.93
397 | 18/05/2014 | 12:00:00 a.m. | 850641 | 359918 | 7.939 | 0 | 99.074 | 18.8 | 4.93
396 | 17/05/2014 | 11:00:00 p.m. | 850641 | 359918 | 7.8924 | 0 | 98.97 | 20.7 | 4.93
395 | 17/05/2014 | 10:00:00 p.m. | 850641 | 359918 | 7.827 | 0 | 98.969 | 22.6 | 4.94
394 | 17/05/2014 | 9:00:00 p.m. | 850613 | 359914 | 7.8055 | 0 | 98.965 | 23.8 | 4.94
393 | 17/05/2014 | 8:00:00 p.m. | 850613 | 359914 | 7.7475 | 0 | 98.731 | 25.5 | 4.95
392 | 17/05/2014 | 7:00:00 p.m. | 850575 | 359909 | 7.6823 | 0 | 98.397 | 28.3 | 4.95
391 | 17/05/2014 | 6:00:00 p.m. | 850515 | 359901 | 7.5379 | 0 | 98.244 | 31.8 | 4.95
390 | 17/05/2014 | 5:00:00 p.m. | 850481 | 359897 | 7.4396 | 0 | 98.177 | 32.1 | 4.95
389 | 17/05/2014 | 4:00:00 p.m. | 850445 | 359892 | 7.5053 | 0 | 98.173 | 32 | 4.95
388 | 17/05/2014 | 3:00:00 p.m. | 850403 | 359887 | 7.5552 | 0 | 98.118 | 30.4 | 4.95
387 | 17/05/2014 | 2:00:00 p.m. | 850338 | 359878 | 7.5456 | 0 | 98.041 | 29.6 | 4.95
386 | 17/05/2014 | 1:00:00 p.m. | 850267 | 359868 | 7.5817 | 0 | 98.08 | 36.6 | 4.94
385 | 17/05/2014 | 12:00:00 p.m. | 850223 | 359863 | 7.3702 | 0 | 98.194 | 34.8 | 4.94
384 | 17/05/2014 | 11:00:00 a.m. | 850223 | 359863 | 7.5171 | 0 | 98.191 | 28.3 | 4.94
383 | 17/05/2014 | 10:00:00 a.m. | 850223 | 359863 | 7.7233 | 0 | 98.384 | 19.6 | 4.93
382 | 17/05/2014 | 9:00:00 a.m. | 850223 | 359863 | 8.0095 | 0 | 98.586 | 11.9 | 4.92
381 | 17/05/2014 | 8:00:00 a.m. | 850223 | 359863 | 8.213 | 0 | 98.887 | 8.4 | 4.91
380 | 17/05/2014 | 7:00:00 a.m. | 850223 | 359863 | 8.2447 | 0 | 98.982 | 8.8 | 4.91
379 | 17/05/2014 | 6:00:00 a.m. | 850223 | 359863 | 8.2095 | 0 | 98.985 | 9.7 | 4.91
378 | 17/05/2014 | 5:00:00 a.m. | 850223 | 359863 | 8.186 | 0 | 98.982 | 10.7 | 4.91
377 | 17/05/2014 | 4:00:00 a.m. | 850223 | 359863 | 8.1445 | 0 | 98.997 | 12.5 | 4.91
376 | 17/05/2014 | 3:00:00 a.m. | 850223 | 359863 | 8.08 | 0 | 98.916 | 15.8 | 4.91
375 | 17/05/2014 | 2:00:00 a.m. | 850223 | 359863 | 7.9272 | 0 | 98.839 | 20.8 | 4.91
374 | 17/05/2014 | 1:00:00 a.m. | 850181 | 359857 | 7.8158 | 0 | 98.811 | 21.9 | 4.92
373 | 17/05/2014 | 12:00:00 a.m. | 850106 | 359848 | 7.8281 | 0 | 98.783 | 18.3 | 4.92
372 | 16/05/2014 | 11:00:00 p.m. | 850055 | 359841 | 7.9922 | 0 | 98.902 | 17.5 | 4.93
371 | 16/05/2014 | 10:00:00 p.m. | 850055 | 359841 | 7.924 | 0 | 98.828 | 19.9 | 4.93
370 | 16/05/2014 | 9:00:00 p.m. | 850055 | 359841 | 7.8367 | 0 | 98.712 | 23.9 | 4.94
369 | 16/05/2014 | 8:00:00 p.m. | 850055 | 359841 | 7.6962 | 0 | 98.583 | 28.1 | 4.95
368 | 16/05/2014 | 7:00:00 p.m. | 850055 | 359841 | 7.5705 | 0 | 98.313 | 32.1 | 4.95
367 | 16/05/2014 | 6:00:00 p.m. | 850013 | 359836 | 7.3584 | 0 | 98.281 | 38.8 | 4.95
366 | 16/05/2014 | 5:00:00 p.m. | 850013 | 359836 | 7.325 | 0 | 98.231 | 38.4 | 4.95
365 | 16/05/2014 | 4:00:00 p.m. | 850013 | 359836 | 7.4002 | 0 | 98.27 | 33.8 | 4.95
364 | 16/05/2014 | 3:00:00 p.m. | 849995 | 359833 | 7.496 | 0 | 98.176 | 30.1 | 4.95
363 | 16/05/2014 | 2:00:00 p.m. | 849948 | 359827 | 7.5803 | 0 | 98.055 | 28.9 | 4.94
362 | 16/05/2014 | 1:00:00 p.m. | 849885 | 359819 | 7.5811 | 0 | 98.197 | 33.2 | 4.94
361 | 16/05/2014 | 12:00:00 p.m. | 849854 | 359815 | 7.4725 | 0 | 98.283 | 31.8 | 4.94
360 | 16/05/2014 | 11:00:00 a.m. | 849854 | 359815 | 7.5854 | 0 | 98.306 | 26.7 | 4.93
359 | 16/05/2014 | 10:00:00 a.m. | 849854 | 359815 | 7.7493 | 0 | 98.39 | 18.8 | 4.93
358 | 16/05/2014 | 9:00:00 a.m. | 849835 | 359812 | 8.0235 | 0 | 98.673 | 11.1 | 4.92
357 | 16/05/2014 | 8:00:00 a.m. | 849835 | 359812 | 8.2355 | 0 | 98.921 | 6.8 | 4.91
356 | 16/05/2014 | 7:00:00 a.m. | 849835 | 359812 | 8.2839 | 0 | 99.028 | 7.1 | 4.91
355 | 16/05/2014 | 6:00:00 a.m. | 849835 | 359812 | 8.2593 | 0 | 98.973 | 8.2 | 4.91
354 | 16/05/2014 | 5:00:00 a.m. | 849835 | 359812 | 8.2533 | 0 | 99.016 | 9.7 | 4.91
353 | 16/05/2014 | 4:00:00 a.m. | 849835 | 359812 | 8.1481 | 0 | 98.939 | 12 | 4.91
352 | 16/05/2014 | 3:00:00 a.m. | 849835 | 359812 | 8.089 | 0 | 98.966 | 15.8 | 4.92
351 | 16/05/2014 | 2:00:00 a.m. | 849835 | 359812 | 7.923 | 0 | 98.879 | 20.2 | 4.92
350 | 16/05/2014 | 1:00:00 a.m. | 849777 | 359805 | 7.8894 | 0 | 98.775 | 14.4 | 4.92
349 | 16/05/2014 | 12:00:00 a.m. | 849754 | 359802 | 8.0865 | 0 | 98.968 | 15.4 | 4.93
348 | 15/05/2014 | 11:00:00 p.m. | 849754 | 359802 | 7.9916 | 0 | 98.832 | 17.2 | 4.93
347 | 15/05/2014 | 10:00:00 p.m. | 849754 | 359802 | 7.9237 | 0 | 98.725 | 20 | 4.93
346 | 15/05/2014 | 9:00:00 p.m. | 849754 | 359802 | 7.8265 | 0 | 98.637 | 22.8 | 4.94
345 | 15/05/2014 | 8:00:00 p.m. | 849726 | 359798 | 7.7503 | 0 | 98.501 | 24.6 | 4.94
344 | 15/05/2014 | 7:00:00 p.m. | 849667 | 359791 | 7.6806 | 0 | 98.467 | 27.1 | 4.95
343 | 15/05/2014 | 6:00:00 p.m. | 849607 | 359783 | 7.6193 | 0 | 98.369 | 28.8 | 4.95
342 | 15/05/2014 | 5:00:00 p.m. | 849550 | 359775 | 7.5856 | 0 | 98.157 | 29.5 | 4.95
341 | 15/05/2014 | 4:00:00 p.m. | 849494 | 359768 | 7.5683 | 0 | 98.112 | 29.4 | 4.94
340 | 15/05/2014 | 3:00:00 p.m. | 849438 | 359761 | 7.594 | 0 | 98.112 | 28.3 | 4.94
339 | 15/05/2014 | 2:00:00 p.m. | 849377 | 359753 | 7.6244 | 0 | 98.069 | 30.6 | 4.94
338 | 15/05/2014 | 1:00:00 p.m. | 849339 | 359747 | 7.5608 | 0 | 98.313 | 26.7 | 4.93
337 | 15/05/2014 | 12:00:00 p.m. | 849339 | 359747 | 7.7413 | 0 | 98.409 | 23.3 | 4.93
336 | 15/05/2014 | 11:00:00 a.m. | 849339 | 359747 | 7.7846 | 0 | 98.461 | 21.7 | 4.93
335 | 15/05/2014 | 10:00:00 a.m. | 849339 | 359747 | 7.8312 | 0 | 98.606 | 20.4 | 4.92
334 | 15/05/2014 | 9:00:00 a.m. | 849328 | 359746 | 7.8617 | 0 | 98.66 | 21.2 | 4.92
333 | 15/05/2014 | 8:00:00 a.m. | 849283 | 359740 | 7.8456 | 0 | 98.718 | 21.4 | 4.91
332 | 15/05/2014 | 7:00:00 a.m. | 849216 | 359732 | 7.8468 | 0 | 98.783 | 21.1 | 4.91
331 | 15/05/2014 | 6:00:00 a.m. | 849147 | 359723 | 7.8275 | 0 | 98.791 | 21 | 4.91
330 | 15/05/2014 | 5:00:00 a.m. | 849075 | 359714 | 7.8717 | 0 | 98.855 | 20.5 | 4.91
329 | 15/05/2014 | 4:00:00 a.m. | 848992 | 359703 | 7.8798 | 0 | 98.903 | 14.2 | 4.92
328 | 15/05/2014 | 3:00:00 a.m. | 848980 | 359702 | 8.0487 | 0 | 98.926 | 15 | 4.92
327 | 15/05/2014 | 2:00:00 a.m. | 848980 | 359702 | 8.0187 | 0 | 98.858 | 15.2 | 4.93
326 | 15/05/2014 | 1:00:00 a.m. | 848980 | 359702 | 8.0164 | 0 | 98.886 | 15 | 4.93
325 | 15/05/2014 | 12:00:00 a.m. | 848980 | 359702 | 8.0339 | 0 | 98.957 | 15.7 | 4.93
324 | 14/05/2014 | 11:00:00 p.m. | 848980 | 359702 | 7.9399 | 0 | 98.789 | 21.7 | 4.94
323 | 14/05/2014 | 10:00:00 p.m. | 848969 | 359700 | 7.8224 | 0 | 98.759 | 22.9 | 4.94
322 | 14/05/2014 | 9:00:00 p.m. | 848969 | 359700 | 7.7689 | 0 | 98.703 | 24.4 | 4.94
321 | 14/05/2014 | 8:00:00 p.m. | 848969 | 359700 | 7.7268 | 0 | 98.658 | 27 | 4.95
320 | 14/05/2014 | 7:00:00 p.m. | 848969 | 359700 | 7.6409 | 0 | 98.543 | 28.7 | 4.95
319 | 14/05/2014 | 6:00:00 p.m. | 848961 | 359699 | 7.593 | 0 | 98.308 | 31.1 | 4.96
318 | 14/05/2014 | 5:00:00 p.m. | 848929 | 359695 | 7.5286 | 0 | 98.142 | 31.6 | 4.96
317 | 14/05/2014 | 4:00:00 p.m. | 848876 | 359688 | 7.5047 | 0 | 98.131 | 38.9 | 4.96
316 | 14/05/2014 | 3:00:00 p.m. | 848841 | 359683 | 7.2727 | 0 | 98.368 | 41.9 | 4.95
315 | 14/05/2014 | 2:00:00 p.m. | 848841 | 359683 | 7.2824 | 0 | 98.2 | 40.2 | 4.95
314 | 14/05/2014 | 1:00:00 p.m. | 848841 | 359683 | 7.3272 | 0 | 98.135 | 38.3 | 4.95
313 | 14/05/2014 | 12:00:00 p.m. | 848841 | 359683 | 7.3521 | 0 | 98.112 | 36.1 | 4.95
312 | 14/05/2014 | 11:00:00 a.m. | 848841 | 359683 | 7.4746 | 0 | 98.155 | 31.2 | 4.95
311 | 14/05/2014 | 10:00:00 a.m. | 848841 | 359683 | 7.5979 | 0 | 98.264 | 26 | 4.94
310 | 14/05/2014 | 9:00:00 a.m. | 848829 | 359682 | 7.7347 | 0 | 98.412 | 23 | 4.93
309 | 14/05/2014 | 8:00:00 a.m. | 848768 | 359674 | 7.7999 | 0 | 98.602 | 21.9 | 4.92
308 | 14/05/2014 | 7:00:00 a.m. | 848706 | 359666 | 7.8018 | 0 | 98.652 | 21.8 | 4.92
307 | 14/05/2014 | 6:00:00 a.m. | 848639 | 359657 | 7.8189 | 0 | 98.633 | 22.1 | 4.92
306 | 14/05/2014 | 5:00:00 a.m. | 848568 | 359648 | 7.8088 | 0 | 98.648 | 19.6 | 4.93
305 | 14/05/2014 | 4:00:00 a.m. | 848506 | 359640 | 7.9948 | 0 | 98.825 | 15.7 | 4.93
304 | 14/05/2014 | 3:00:00 a.m. | 848506 | 359640 | 7.9969 | 0 | 98.825 | 15.9 | 4.93
303 | 14/05/2014 | 2:00:00 a.m. | 848506 | 359640 | 7.9804 | 0 | 98.88 | 16.8 | 4.93
302 | 14/05/2014 | 1:00:00 a.m. | 848506 | 359640 | 7.9598 | 0 | 98.894 | 18.3 | 4.93
301 | 14/05/2014 | 12:00:00 a.m. | 848506 | 359640 | 7.9077 | 0 | 98.807 | 20.1 | 4.94
300 | 13/05/2014 | 11:00:00 p.m. | 848506 | 359640 | 7.8394 | 0 | 98.808 | 22.1 | 4.94
299 | 13/05/2014 | 10:00:00 p.m. | 848506 | 359640 | 7.7971 | 0 | 98.798 | 23.6 | 4.95
298 | 13/05/2014 | 9:00:00 p.m. | 848506 | 359640 | 7.7503 | 0 | 98.723 | 25.3 | 4.95
297 | 13/05/2014 | 8:00:00 p.m. | 848506 | 359640 | 7.7079 | 0 | 98.752 | 26.2 | 4.95
296 | 13/05/2014 | 7:00:00 p.m. | 848491 | 359638 | 7.6942 | 0 | 98.705 | 26.3 | 4.95
295 | 13/05/2014 | 6:00:00 p.m. | 848431 | 359631 | 7.6969 | 0 | 98.441 | 30.2 | 4.96
294 | 13/05/2014 | 5:00:00 p.m. | 848359 | 359621 | 7.3449 | 0 | 98.38 | 42.7 | 4.97
293 | 13/05/2014 | 4:00:00 p.m. | 848359 | 359621 | 7.2224 | 0 | 98.301 | 43.9 | 4.97
292 | 13/05/2014 | 3:00:00 p.m. | 848359 | 359621 | 7.2276 | 0 | 98.258 | 42.6 | 4.96
291 | 13/05/2014 | 2:00:00 p.m. | 848359 | 359621 | 7.2956 | 0 | 98.198 | 35.3 | 4.96
290 | 13/05/2014 | 1:00:00 p.m. | 848342 | 359619 | 7.5422 | 0 | 98.087 | 29.5 | 4.95
289 | 13/05/2014 | 12:00:00 p.m. | 848279 | 359611 | 7.583 | 0 | 98.065 | 28.3 | 4.95
288 | 13/05/2014 | 11:00:00 a.m. | 848214 | 359602 | 7.6283 | 0 | 98.096 | 27 | 4.95
287 | 13/05/2014 | 10:00:00 a.m. | 848165 | 359596 | 7.6211 | 0 | 98.256 | 25.5 | 4.94
286 | 13/05/2014 | 9:00:00 a.m. | 848123 | 359590 | 7.7321 | 0 | 98.402 | 22.2 | 4.94
285 | 13/05/2014 | 8:00:00 a.m. | 848057 | 359582 | 7.9254 | 0 | 98.85 | 18.2 | 4.93
284 | 13/05/2014 | 7:00:00 a.m. | 848057 | 359582 | 7.9194 | 0 | 98.831 | 21.1 | 4.93
283 | 13/05/2014 | 6:00:00 a.m. | 848031 | 359578 | 7.7986 | 0 | 98.705 | 22.3 | 4.93
282 | 13/05/2014 | 5:00:00 a.m. | 847958 | 359569 | 7.8097 | 0 | 98.712 | 22.3 | 4.93
281 | 13/05/2014 | 4:00:00 a.m. | 847884 | 359560 | 7.8233 | 0 | 98.709 | 22.6 | 4.93
280 | 13/05/2014 | 3:00:00 a.m. | 847810 | 359550 | 7.7916 | 0 | 98.673 | 22.8 | 4.93
279 | 13/05/2014 | 2:00:00 a.m. | 847728 | 359540 | 7.8086 | 0 | 98.734 | 20.1 | 4.93
278 | 13/05/2014 | 1:00:00 a.m. | 847682 | 359534 | 7.9079 | 0 | 98.8 | 19.8 | 4.94
277 | 13/05/2014 | 12:00:00 a.m. | 847682 | 359534 | 7.8582 | 0 | 98.838 | 20.9 | 4.94
276 | 12/05/2014 | 11:00:00 p.m. | 847682 | 359534 | 7.8287 | 0 | 98.802 | 22.1 | 4.95
275 | 12/05/2014 | 10:00:00 p.m. | 847682 | 359534 | 7.7925 | 0 | 98.729 | 23.6 | 4.95
274 | 12/05/2014 | 9:00:00 p.m. | 847682 | 359534 | 7.7593 | 0 | 98.598 | 24.9 | 4.95
273 | 12/05/2014 | 8:00:00 p.m. | 847648 | 359529 | 7.7161 | 0 | 98.375 | 26.5 | 4.96
272 | 12/05/2014 | 7:00:00 p.m. | 847582 | 359521 | 7.6126 | 0 | 98.241 | 31.1 | 4.96
271 | 12/05/2014 | 6:00:00 p.m. | 847531 | 359514 | 7.4595 | 0 | 98.166 | 34.3 | 4.97
270 | 12/05/2014 | 5:00:00 p.m. | 847502 | 359510 | 7.4491 | 0 | 98.013 | 34.5 | 4.96
269 | 12/05/2014 | 4:00:00 p.m. | 847471 | 359506 | 7.4544 | 0 | 98.146 | 30.6 | 4.96
268 | 12/05/2014 | 3:00:00 p.m. | 847440 | 359502 | 7.6164 | 0 | 98.201 | 32.9 | 4.95
267 | 12/05/2014 | 2:00:00 p.m. | 847383 | 359494 | 7.3142 | 0 | 98.093 | 34.5 | 4.96
266 | 12/05/2014 | 1:00:00 p.m. | 847364 | 359492 | 7.5366 | 0 | 97.985 | 32.2 | 4.95
265 | 12/05/2014 | 12:00:00 p.m. | 847307 | 359484 | 7.3416 | 0 | 98.187 | 36.1 | 4.95
264 | 12/05/2014 | 11:00:00 a.m. | 847307 | 359484 | 7.4823 | 0 | 98.178 | 30.7 | 4.95
263 | 12/05/2014 | 10:00:00 a.m. | 847307 | 359484 | 7.6271 | 0 | 98.244 | 25 | 4.94
262 | 12/05/2014 | 9:00:00 a.m. | 847256 | 359477 | 7.7498 | 0 | 98.541 | 22.1 | 4.93
261 | 12/05/2014 | 8:00:00 a.m. | 847196 | 359470 | 7.8436 | 0 | 98.769 | 21.2 | 4.91
260 | 12/05/2014 | 7:00:00 a.m. | 847138 | 359462 | 7.8364 | 0 | 98.792 | 21.3 | 4.93
259 | 12/05/2014 | 6:00:00 a.m. | 847074 | 359454 | 7.8226 | 0 | 98.715 | 20.2 | 4.93
258 | 12/05/2014 | 5:00:00 a.m. | 847002 | 359445 | 8.0261 | 0 | 98.89 | 17.5 | 4.93
257 | 12/05/2014 | 4:00:00 a.m. | 847002 | 359445 | 7.8967 | 0 | 98.801 | 21.3 | 4.93
256 | 12/05/2014 | 3:00:00 a.m. | 846970 | 359441 | 7.7986 | 0 | 98.6 | 22.2 | 4.93
255 | 12/05/2014 | 2:00:00 a.m. | 846878 | 359429 | 7.8088 | 0 | 98.749 | 18.6 | 4.93
254 | 12/05/2014 | 1:00:00 a.m. | 846866 | 359428 | 7.92 | 0 | 98.776 | 19.6 | 4.94
253 | 12/05/2014 | 12:00:00 a.m. | 846866 | 359428 | 7.8757 | 0 | 98.759 | 20.4 | 4.94
252 | 11/05/2014 | 11:00:00 p.m. | 846866 | 359428 | 7.8472 | 0 | 98.782 | 21.1 | 4.94
251 | 11/05/2014 | 10:00:00 p.m. | 846866 | 359428 | 7.8328 | 0 | 98.728 | 22.9 | 4.95
250 | 11/05/2014 | 9:00:00 p.m. | 846866 | 359428 | 7.7632 | 0 | 98.627 | 25.9 | 4.95
249 | 11/05/2014 | 8:00:00 p.m. | 846854 | 359426 | 7.6424 | 0 | 98.588 | 31.6 | 4.96
248 | 11/05/2014 | 7:00:00 p.m. | 846854 | 359426 | 7.4354 | 0 | 98.473 | 37 | 4.97
247 | 11/05/2014 | 6:00:00 p.m. | 846854 | 359426 | 7.3548 | 0 | 98.287 | 39.8 | 4.97
246 | 11/05/2014 | 5:00:00 p.m. | 846854 | 359426 | 7.272 | 0 | 98.234 | 42.2 | 4.97
245 | 11/05/2014 | 4:00:00 p.m. | 846854 | 359426 | 7.2586 | 0 | 98.251 | 41.4 | 4.96
244 | 11/05/2014 | 3:00:00 p.m. | 846854 | 359426 | 7.315 | 0 | 98.097 | 34.3 | 4.96
243 | 11/05/2014 | 2:00:00 p.m. | 846819 | 359421 | 7.439 | 0 | 98.238 | 39 | 4.95
242 | 11/05/2014 | 1:00:00 p.m. | 846812 | 359420 | 7.3426 | 0 | 98.233 | 37.9 | 4.95
241 | 11/05/2014 | 12:00:00 p.m. | 846812 | 359420 | 7.3874 | 0 | 98.403 | 35.1 | 4.95
240 | 11/05/2014 | 11:00:00 a.m. | 846812 | 359420 | 7.5321 | 0 | 98.396 | 28 | 4.95
239 | 11/05/2014 | 10:00:00 a.m. | 846812 | 359420 | 7.737 | 0 | 98.453 | 21.6 | 4.94
238 | 11/05/2014 | 9:00:00 a.m. | 846812 | 359420 | 7.8652 | 0 | 98.644 | 16.9 | 4.94
237 | 11/05/2014 | 8:00:00 a.m. | 846812 | 359420 | 8.0228 | 0 | 98.78 | 14 | 4.93
236 | 11/05/2014 | 7:00:00 a.m. | 846812 | 359420 | 8.0463 | 0 | 98.817 | 14.3 | 4.93
235 | 11/05/2014 | 6:00:00 a.m. | 846812 | 359420 | 8.0394 | 0 | 98.802 | 14.4 | 4.93
234 | 11/05/2014 | 5:00:00 a.m. | 846812 | 359420 | 8.0461 | 0 | 98.803 | 14.7 | 4.93
233 | 11/05/2014 | 4:00:00 a.m. | 846812 | 359420 | 8.0287 | 0 | 98.811 | 15.3 | 4.93
232 | 11/05/2014 | 3:00:00 a.m. | 846812 | 359420 | 8.0042 | 0 | 98.75 | 16.3 | 4.93
231 | 11/05/2014 | 2:00:00 a.m. | 846812 | 359420 | 7.9639 | 0 | 98.683 | 17.4 | 4.93
230 | 11/05/2014 | 1:00:00 a.m. | 846812 | 359420 | 7.9273 | 0 | 98.818 | 18.6 | 4.94
229 | 11/05/2014 | 12:00:00 a.m. | 846812 | 359420 | 7.9044 | 0 | 98.743 | 19.6 | 4.94
228 | 10/05/2014 | 11:00:00 p.m. | 846812 | 359420 | 7.8764 | 0 | 98.708 | 20.5 | 4.94
227 | 10/05/2014 | 10:00:00 p.m. | 846812 | 359420 | 7.8275 | 0 | 98.667 | 22.1 | 4.94
226 | 10/05/2014 | 9:00:00 p.m. | 846812 | 359420 | 7.7906 | 0 | 98.658 | 24.4 | 4.95
225 | 10/05/2014 | 8:00:00 p.m. | 846812 | 359420 | 7.7138 | 0 | 98.612 | 27.2 | 4.95
224 | 10/05/2014 | 7:00:00 p.m. | 846812 | 359420 | 7.6263 | 0 | 98.504 | 31.2 | 4.95
223 | 10/05/2014 | 6:00:00 p.m. | 846812 | 359420 | 7.5078 | 0 | 98.368 | 34.6 | 4.96
222 | 10/05/2014 | 5:00:00 p.m. | 846812 | 359420 | 7.4065 | 0 | 98.211 | 39.4 | 4.96
221 | 10/05/2014 | 4:00:00 p.m. | 846812 | 359420 | 7.307 | 0 | 98.224 | 39.1 | 4.96
220 | 10/05/2014 | 3:00:00 p.m. | 846812 | 359420 | 7.316 | 0 | 98.161 | 40.1 | 4.96
219 | 10/05/2014 | 2:00:00 p.m. | 846807 | 359420 | 7.2579 | 0 | 98.075 | 41.9 | 4.96
218 | 10/05/2014 | 1:00:00 p.m. | 846807 | 359420 | 7.28 | 0 | 98.04 | 39.2 | 4.96
217 | 10/05/2014 | 12:00:00 p.m. | 846807 | 359420 | 7.3686 | 0 | 98.095 | 34.7 | 4.95
216 | 10/05/2014 | 11:00:00 a.m. | 846807 | 359420 | 7.5135 | 0 | 98.023 | 27.9 | 4.95
215 | 10/05/2014 | 10:00:00 a.m. | 846773 | 359415 | 7.6599 | 0 | 98.088 | 24.7 | 4.94
214 | 10/05/2014 | 9:00:00 a.m. | 846711 | 359407 | 7.7435 | 0 | 98.388 | 22.5 | 4.93
213 | 10/05/2014 | 8:00:00 a.m. | 846648 | 359399 | 7.7998 | 0 | 98.655 | 21.6 | 4.92
212 | 10/05/2014 | 7:00:00 a.m. | 846585 | 359391 | 7.8325 | 0 | 98.77 | 21.5 | 4.92
211 | 10/05/2014 | 6:00:00 a.m. | 846522 | 359383 | 7.8305 | 0 | 98.726 | 21.7 | 4.92
210 | 10/05/2014 | 5:00:00 a.m. | 846453 | 359374 | 7.8285 | 0 | 98.674 | 21.6 | 4.93
209 | 10/05/2014 | 4:00:00 a.m. | 846391 | 359366 | 7.8255 | 0 | 98.675 | 21.8 | 4.93
208 | 10/05/2014 | 3:00:00 a.m. | 846328 | 359358 | 7.8061 | 0 | 98.645 | 22 | 4.93
207 | 10/05/2014 | 2:00:00 a.m. | 846263 | 359350 | 7.8054 | 0 | 98.606 | 22.2 | 4.93
206 | 10/05/2014 | 1:00:00 a.m. | 846195 | 359341 | 7.8002 | 0 | 98.674 | 21.9 | 4.93
205 | 10/05/2014 | 12:00:00 a.m. | 846136 | 359334 | 7.8281 | 0 | 98.668 | 21.3 | 4.94
204 | 09/05/2014 | 11:00:00 p.m. | 846099 | 359329 | 7.8312 | 0 | 98.683 | 21.8 | 4.94
203 | 09/05/2014 | 10:00:00 p.m. | 846064 | 359324 | 7.7791 | 0 | 98.633 | 22.8 | 4.94
202 | 09/05/2014 | 9:00:00 p.m. | 845988 | 359315 | 7.7909 | 0 | 98.626 | 22.6 | 4.94
201 | 09/05/2014 | 8:00:00 p.m. | 845906 | 359304 | 7.7365 | 0 | 98.429 | 24.8 | 4.95
200 | 09/05/2014 | 7:00:00 p.m. | 845826 | 359294 | 7.7182 | 0 | 98.392 | 26.4 | 4.95
199 | 09/05/2014 | 6:00:00 p.m. | 845757 | 359285 | 7.5994 | 0 | 98.162 | 37.3 | 4.96
198 | 09/05/2014 | 5:00:00 p.m. | 845724 | 359280 | 7.2507 | 0 | 98.143 | 42.4 | 4.96
197 | 09/05/2014 | 4:00:00 p.m. | 845724 | 359280 | 7.2433 | 0 | 98.106 | 41.3 | 4.95
196 | 09/05/2014 | 3:00:00 p.m. | 845724 | 359280 | 7.2817 | 0 | 98.071 | 40.6 | 4.95
195 | 09/05/2014 | 2:00:00 p.m. | 845724 | 359280 | 7.2883 | 0 | 98.024 | 38.9 | 4.95
194 | 09/05/2014 | 1:00:00 p.m. | 845724 | 359280 | 7.3528 | 0 | 98.062 | 36.4 | 4.95
193 | 09/05/2014 | 12:00:00 p.m. | 845724 | 359280 | 7.419 | 0 | 98.059 | 32.2 | 4.95
192 | 09/05/2014 | 11:00:00 a.m. | 845724 | 359280 | 7.5902 | 0 | 97.96 | 26.9 | 4.95
191 | 09/05/2014 | 10:00:00 a.m. | 845695 | 359277 | 7.6891 | 0 | 98.146 | 23.6 | 4.94
190 | 09/05/2014 | 9:00:00 a.m. | 845663 | 359272 | 7.7838 | 0 | 98.359 | 21.4 | 4.93
189 | 09/05/2014 | 8:00:00 a.m. | 845615 | 359266 | 7.8335 | 0 | 98.555 | 20.5 | 4.91
188 | 09/05/2014 | 7:00:00 a.m. | 845550 | 359258 | 7.8611 | 0 | 98.574 | 20.6 | 4.91
187 | 09/05/2014 | 6:00:00 a.m. | 845480 | 359249 | 7.8591 | 0 | 98.495 | 17 | 4.91
186 | 09/05/2014 | 5:00:00 a.m. | 845403 | 359239 | 8.1521 | 0 | 98.751 | 10.6 | 4.92
185 | 09/05/2014 | 4:00:00 a.m. | 845403 | 359239 | 8.1403 | 0 | 98.696 | 11.2 | 4.92
184 | 09/05/2014 | 3:00:00 a.m. | 845403 | 359239 | 8.1237 | 0 | 98.666 | 12 | 4.92
183 | 09/05/2014 | 2:00:00 a.m. | 845403 | 359239 | 8.0797 | 0 | 98.609 | 12.4 | 4.92
182 | 09/05/2014 | 1:00:00 a.m. | 845403 | 359239 | 8.0899 | 0 | 98.633 | 13.1 | 4.92
181 | 09/05/2014 | 12:00:00 a.m. | 845403 | 359239 | 8.0499 | 0 | 98.638 | 14.3 | 4.93
180 | 08/05/2014 | 11:00:00 p.m. | 845403 | 359239 | 8.0076 | 0 | 98.656 | 15.7 | 4.93
179 | 08/05/2014 | 10:00:00 p.m. | 845403 | 359239 | 7.9699 | 0 | 98.599 | 17 | 4.93
178 | 08/05/2014 | 9:00:00 p.m. | 845403 | 359239 | 7.9315 | 0 | 98.541 | 19.2 | 4.93
177 | 08/05/2014 | 8:00:00 p.m. | 845403 | 359239 | 7.8337 | 0 | 98.482 | 22.7 | 4.94
176 | 08/05/2014 | 7:00:00 p.m. | 845403 | 359239 | 7.7245 | 0 | 98.391 | 24.6 | 4.94
175 | 08/05/2014 | 6:00:00 p.m. | 845403 | 359239 | 7.6942 | 0 | 98.406 | 24.8 | 4.94
174 | 08/05/2014 | 5:00:00 p.m. | 845403 | 359239 | 7.7263 | 0 | 98.314 | 23.6 | 4.94
173 | 08/05/2014 | 4:00:00 p.m. | 845342 | 359231 | 7.7669 | 0 | 98.343 | 23.2 | 4.94
172 | 08/05/2014 | 3:00:00 p.m. | 845278 | 359223 | 7.7515 | 0 | 98.266 | 23.2 | 4.94
171 | 08/05/2014 | 2:00:00 p.m. | 845212 | 359215 | 7.7496 | 0 | 98.35 | 23 | 4.93
170 | 08/05/2014 | 1:00:00 p.m. | 845146 | 359206 | 7.7789 | 0 | 98.478 | 21.9 | 4.93
169 | 08/05/2014 | 12:00:00 p.m. | 845089 | 359199 | 7.8376 | 0 | 98.625 | 20 | 4.93
168 | 08/05/2014 | 11:00:00 a.m. | 845029 | 359191 | 7.8871 | 0 | 98.63 | 20 | 4.93
167 | 08/05/2014 | 10:00:00 a.m. | 844968 | 359184 | 7.8997 | 0 | 98.607 | 19.7 | 4.93
166 | 08/05/2014 | 9:00:00 a.m. | 844908 | 359176 | 7.8852 | 0 | 98.567 | 19.7 | 4.93
165 | 08/05/2014 | 8:00:00 a.m. | 844846 | 359168 | 7.8817 | 0 | 98.653 | 19.9 | 4.93
164 | 08/05/2014 | 7:00:00 a.m. | 844788 | 359161 | 7.8679 | 0 | 98.685 | 20.9 | 4.93
163 | 08/05/2014 | 6:00:00 a.m. | 844729 | 359153 | 7.8353 | 0 | 98.657 | 19.7 | 4.93
162 | 08/05/2014 | 5:00:00 a.m. | 844672 | 359146 | 8.0096 | 0 | 98.802 | 16 | 4.93
161 | 08/05/2014 | 4:00:00 a.m. | 844672 | 359146 | 7.9956 | 0 | 98.866 | 16.7 | 4.93
160 | 08/05/2014 | 3:00:00 a.m. | 844672 | 359146 | 7.9513 | 0 | 98.861 | 18.8 | 4.93
159 | 08/05/2014 | 2:00:00 a.m. | 844672 | 359146 | 7.8765 | 0 | 98.795 | 21.8 | 4.94
158 | 08/05/2014 | 1:00:00 a.m. | 844620 | 359139 | 7.8169 | 0 | 98.685 | 19.7 | 4.93
157 | 08/05/2014 | 12:00:00 a.m. | 844554 | 359131 | 7.9576 | 0 | 98.844 | 17.8 | 4.94
156 | 07/05/2014 | 11:00:00 p.m. | 844554 | 359131 | 7.9364 | 0 | 98.795 | 18.2 | 4.94
155 | 07/05/2014 | 10:00:00 p.m. | 844554 | 359131 | 7.9276 | 0 | 98.774 | 18.4 | 4.94
154 | 07/05/2014 | 9:00:00 p.m. | 844554 | 359131 | 7.9147 | 0 | 98.827 | 19.9 | 4.95
153 | 07/05/2014 | 8:00:00 p.m. | 844554 | 359131 | 7.8227 | 0 | 98.736 | 24.5 | 4.95
152 | 07/05/2014 | 7:00:00 p.m. | 844554 | 359131 | 7.6744 | 0 | 98.615 | 29.6 | 4.96
151 | 07/05/2014 | 6:00:00 p.m. | 844554 | 359131 | 7.5733 | 0 | 98.442 | 31.9 | 4.96
150 | 07/05/2014 | 5:00:00 p.m. | 844554 | 359131 | 7.5649 | 0 | 98.32 | 30 | 4.96
149 | 07/05/2014 | 4:00:00 p.m. | 844526 | 359127 | 7.5484 | 0 | 98.239 | 30.2 | 4.96
148 | 07/05/2014 | 3:00:00 p.m. | 844492 | 359123 | 7.6421 | 0 | 98.426 | 26.8 | 4.95
147 | 07/05/2014 | 2:00:00 p.m. | 844460 | 359118 | 7.712 | 0 | 98.506 | 25.3 | 4.95
146 | 07/05/2014 | 1:00:00 p.m. | 844402 | 359111 | 7.7074 | 0 | 98.364 | 25.5 | 4.95
145 | 07/05/2014 | 12:00:00 p.m. | 844339 | 359103 | 7.7013 | 0 | 98.506 | 25.7 | 4.95
144 | 07/05/2014 | 11:00:00 a.m. | 844319 | 359100 | 7.7277 | 0 | 98.314 | 24 | 4.95
143 | 07/05/2014 | 10:00:00 a.m. | 844319 | 359100 | 6.7009 | 0 | 87.913 | 22.2 | 4.95
142 | 07/05/2014 | 9:00:00 a.m. | 844319 | 359100 | 7.2503 | 0 | 90.718 | 20.4 | 4.94
141 | 07/05/2014 | 8:00:00 a.m. | 844319 | 359100 | 7.275 | 0 | 90.765 | 21.6 | 4.94
140 | 07/05/2014 | 7:00:00 a.m. | 844271 | 359094 | 7.2548 | 0 | 90.758 | 21.7 | 4.93
139 | 07/05/2014 | 6:00:00 a.m. | 844210 | 359085 | 7.257 | 0 | 90.716 | 19.1 | 4.93
138 | 07/05/2014 | 5:00:00 a.m. | 844154 | 359077 | 7.4379 | 0 | 90.886 | 15.1 | 4.93
137 | 07/05/2014 | 4:00:00 a.m. | 844154 | 359077 | 7.4433 | 0 | 90.878 | 15.3 | 4.94
136 | 07/05/2014 | 3:00:00 a.m. | 844154 | 359077 | 7.4111 | 0 | 90.858 | 16.7 | 4.94
135 | 07/05/2014 | 2:00:00 a.m. | 844154 | 359077 | 7.3741 | 0 | 90.829 | 18.2 | 4.94
134 | 07/05/2014 | 1:00:00 a.m. | 844154 | 359077 | 7.3326 | 0 | 90.818 | 19.7 | 4.94
133 | 07/05/2014 | 12:00:00 a.m. | 844154 | 359077 | 7.2866 | 0 | 90.777 | 21.9 | 4.95
132 | 06/05/2014 | 11:00:00 p.m. | 844143 | 359076 | 7.2159 | 0 | 90.728 | 23 | 4.95
131 | 06/05/2014 | 10:00:00 p.m. | 844086 | 359068 | 7.2194 | 0 | 90.723 | 22.8 | 4.94
130 | 06/05/2014 | 9:00:00 p.m. | 844027 | 359060 | 7.2145 | 0 | 90.672 | 22.7 | 4.95
129 | 06/05/2014 | 8:00:00 p.m. | 843970 | 359052 | 7.2117 | 0 | 90.664 | 23 | 4.95
128 | 06/05/2014 | 7:00:00 p.m. | 843913 | 359044 | 7.21 | 0 | 90.657 | 22.9 | 4.95
127 | 06/05/2014 | 6:00:00 p.m. | 843854 | 359036 | 7.1948 | 0 | 90.616 | 24.6 | 4.95
126 | 06/05/2014 | 5:00:00 p.m. | 843793 | 359027 | 7.1565 | 0 | 90.53 | 25 | 4.95
125 | 06/05/2014 | 4:00:00 p.m. | 843733 | 359019 | 7.1559 | 0 | 90.554 | 23.9 | 4.95
124 | 06/05/2014 | 3:00:00 p.m. | 843679 | 359011 | 7.1482 | 0 | 90.478 | 25.1 | 4.96
123 | 06/05/2014 | 2:00:00 p.m. | 843622 | 359003 | 7.0972 | 0 | 90.348 | 28.9 | 4.97
122 | 06/05/2014 | 1:00:00 p.m. | 843566 | 358995 | 7.0502 | 0 | 90.254 | 29.7 | 4.97
121 | 06/05/2014 | 12:00:00 p.m. | 843509 | 358987 | 6.9798 | 0 | 90.249 | 29.7 | 4.97
120 | 06/05/2014 | 11:00:00 a.m. | 843451 | 358979 | 7.0446 | 0 | 90.338 | 27.1 | 4.96
119 | 06/05/2014 | 10:00:00 a.m. | 843393 | 358971 | 7.1451 | 0 | 90.529 | 24.1 | 4.95
118 | 06/05/2014 | 9:00:00 a.m. | 843332 | 358962 | 7.2212 | 0 | 90.655 | 22.5 | 4.94
117 | 06/05/2014 | 8:00:00 a.m. | 843270 | 358954 | 7.2386 | 0 | 90.817 | 21.7 | 4.94
116 | 06/05/2014 | 7:00:00 a.m. | 843203 | 358945 | 7.2725 | 0 | 90.81 | 20.7 | 4.94
115 | 06/05/2014 | 6:00:00 a.m. | 843133 | 358935 | 7.3233 | 0 | 90.889 | 16.4 | 4.94
114 | 06/05/2014 | 5:00:00 a.m. | 843128 | 358934 | 7.381 | 0 | 90.891 | 17.5 | 4.94
113 | 06/05/2014 | 4:00:00 a.m. | 843128 | 358934 | 7.3777 | 0 | 90.904 | 17.5 | 4.94
112 | 06/05/2014 | 3:00:00 a.m. | 843128 | 358934 | 7.365 | 0 | 90.939 | 19.1 | 4.94
111 | 06/05/2014 | 2:00:00 a.m. | 843128 | 358934 | 7.2985 | 0 | 90.802 | 22.2 | 4.94
110 | 06/05/2014 | 1:00:00 a.m. | 843073 | 358927 | 7.2297 | 0 | 90.698 | 22.1 | 4.95
109 | 06/05/2014 | 12:00:00 a.m. | 842995 | 358916 | 7.3192 | 0 | 90.841 | 20 | 4.95
108 | 05/05/2014 | 11:00:00 p.m. | 842995 | 358916 | 7.2847 | 0 | 90.836 | 21.2 | 4.95
107 | 05/05/2014 | 10:00:00 p.m. | 842995 | 358916 | 7.2476 | 0 | 90.828 | 22.9 | 4.96
106 | 05/05/2014 | 9:00:00 p.m. | 842995 | 358916 | 7.213 | 0 | 90.785 | 25 | 4.96
105 | 05/05/2014 | 8:00:00 p.m. | 842995 | 358916 | 7.1324 | 0 | 90.723 | 27.6 | 4.96
104 | 05/05/2014 | 7:00:00 p.m. | 842995 | 358916 | 7.0876 | 0 | 90.706 | 28.8 | 4.97
103 | 05/05/2014 | 6:00:00 p.m. | 842995 | 358916 | 7.0721 | 0 | 90.517 | 29.9 | 4.97
102 | 05/05/2014 | 5:00:00 p.m. | 842964 | 358911 | 7.0743 | 0 | 90.554 | 27.1 | 4.97
101 | 05/05/2014 | 4:00:00 p.m. | 842910 | 358904 | 7.0951 | 0 | 90.551 | 27.5 | 4.97
100 | 05/05/2014 | 3:00:00 p.m. | 842856 | 358896 | 7.0482 | 0 | 90.49 | 31.6 | 4.97
99 | 05/05/2014 | 2:00:00 p.m. | 842825 | 358892 | 6.9242 | 0 | 90.397 | 34 | 4.97
98 | 05/05/2014 | 1:00:00 p.m. | 842796 | 358888 | 6.9252 | 0 | 90.37 | 32.2 | 4.97
97 | 05/05/2014 | 12:00:00 p.m. | 842768 | 358884 | 7.0024 | 0 | 90.327 | 29.4 | 4.97
96 | 05/05/2014 | 11:00:00 a.m. | 842726 | 358878 | 7.0666 | 0 | 90.355 | 27 | 4.96
95 | 05/05/2014 | 10:00:00 a.m. | 842661 | 358869 | 7.1188 | 0 | 90.463 | 24.8 | 4.95
94 | 05/05/2014 | 9:00:00 a.m. | 842591 | 358859 | 7.1811 | 0 | 90.637 | 22.6 | 4.95
93 | 05/05/2014 | 8:00:00 a.m. | 842531 | 358850 | 7.2569 | 0 | 90.837 | 21.6 | 4.94
92 | 05/05/2014 | 7:00:00 a.m. | 842470 | 358842 | 7.2471 | 0 | 90.791 | 22.4 | 4.94
91 | 05/05/2014 | 6:00:00 a.m. | 842403 | 358833 | 7.214 | 0 | 90.721 | 22.8 | 4.95
90 | 05/05/2014 | 5:00:00 a.m. | 842327 | 358822 | 7.231 | 0 | 90.712 | 22.7 | 4.95
89 | 05/05/2014 | 4:00:00 a.m. | 842251 | 358812 | 7.2323 | 0 | 90.732 | 22.7 | 4.95
88 | 05/05/2014 | 3:00:00 a.m. | 842169 | 358800 | 7.2394 | 0 | 90.801 | 18.2 | 4.95
87 | 05/05/2014 | 2:00:00 a.m. | 842128 | 358795 | 7.3811 | 0 | 90.88 | 16.9 | 4.94
86 | 05/05/2014 | 1:00:00 a.m. | 842128 | 358795 | 7.3929 | 0 | 90.892 | 17.9 | 4.95
85 | 05/05/2014 | 12:00:00 a.m. | 842128 | 358795 | 7.337 | 0 | 90.909 | 19.3 | 4.95
84 | 04/05/2014 | 11:00:00 p.m. | 842128 | 358795 | 7.2957 | 0 | 90.907 | 20.9 | 4.95
83 | 04/05/2014 | 10:00:00 p.m. | 842128 | 358795 | 7.2743 | 0 | 90.91 | 22.5 | 4.96
82 | 04/05/2014 | 9:00:00 p.m. | 842128 | 358795 | 7.2266 | 0 | 90.886 | 24.9 | 4.96
81 | 04/05/2014 | 8:00:00 p.m. | 842128 | 358795 | 7.1311 | 0 | 90.814 | 28.9 | 4.96
80 | 04/05/2014 | 7:00:00 p.m. | 842128 | 358795 | 7.0086 | 0 | 90.713 | 33.6 | 4.97
79 | 04/05/2014 | 6:00:00 p.m. | 842128 | 358795 | 6.8795 | 0 | 90.61 | 40.1 | 4.97
78 | 04/05/2014 | 5:00:00 p.m. | 842128 | 358795 | 6.7194 | 0 | 90.506 | 43.8 | 4.97
77 | 04/05/2014 | 4:00:00 p.m. | 842128 | 358795 | 6.7082 | 0 | 90.542 | 42.6 | 4.97
76 | 04/05/2014 | 3:00:00 p.m. | 842128 | 358795 | 6.8058 | 0 | 90.589 | 40 | 4.97
75 | 04/05/2014 | 2:00:00 p.m. | 842128 | 358795 | 6.8542 | 0 | 90.483 | 36.7 | 4.97
74 | 04/05/2014 | 1:00:00 p.m. | 842097 | 358790 | 6.7818 | 0 | 90.536 | 38.9 | 4.97
73 | 04/05/2014 | 12:00:00 p.m. | 842097 | 358790 | 6.8714 | 0 | 90.551 | 34.5 | 4.97
72 | 04/05/2014 | 11:00:00 a.m. | 842097 | 358790 | 6.9981 | 0 | 90.597 | 27.9 | 4.96
71 | 04/05/2014 | 10:00:00 a.m. | 842097 | 358790 | 7.1875 | 0 | 90.687 | 19.4 | 4.95
70 | 04/05/2014 | 9:00:00 a.m. | 842097 | 358790 | 7.4492 | 0 | 90.914 | 11.7 | 4.94
69 | 04/05/2014 | 8:00:00 a.m. | 842097 | 358790 | 7.6207 | 0 | 91.149 | 8.6 | 4.93
68 | 04/05/2014 | 7:00:00 a.m. | 842097 | 358790 | 7.6425 | 0 | 91.145 | 9 | 4.93
67 | 04/05/2014 | 6:00:00 a.m. | 842097 | 358790 | 7.6205 | 0 | 91.163 | 9.7 | 4.93
66 | 04/05/2014 | 5:00:00 a.m. | 842097 | 358790 | 7.5968 | 0 | 91.137 | 10.6 | 4.93
65 | 04/05/2014 | 4:00:00 a.m. | 842097 | 358790 | 7.5774 | 0 | 91.111 | 11.4 | 4.94
64 | 04/05/2014 | 3:00:00 a.m. | 842097 | 358790 | 7.5456 | 0 | 91.077 | 12.5 | 4.93
63 | 04/05/2014 | 2:00:00 a.m. | 842097 | 358790 | 7.5055 | 0 | 91.084 | 14.1 | 4.94
62 | 04/05/2014 | 1:00:00 a.m. | 842097 | 358790 | 7.4503 | 0 | 91.009 | 16 | 4.94
61 | 04/05/2014 | 12:00:00 a.m. | 842097 | 358790 | 7.396 | 0 | 90.94 | 17.6 | 4.95
60 | 03/05/2014 | 11:00:00 p.m. | 842097 | 358790 | 7.3543 | 0 | 90.925 | 19 | 4.95
59 | 03/05/2014 | 10:00:00 p.m. | 842097 | 358790 | 7.3239 | 0 | 90.905 | 21 | 4.95
58 | 03/05/2014 | 9:00:00 p.m. | 842078 | 358788 | 7.239 | 0 | 90.758 | 23 | 4.95
57 | 03/05/2014 | 8:00:00 p.m. | 842008 | 358778 | 7.2135 | 0 | 90.714 | 23.5 | 4.95
56 | 03/05/2014 | 7:00:00 p.m. | 841942 | 358769 | 7.2137 | 0 | 90.726 | 23 | 4.96
55 | 03/05/2014 | 6:00:00 p.m. | 841882 | 358760 | 7.2442 | 0 | 90.766 | 23.3 | 4.96
54 | 03/05/2014 | 5:00:00 p.m. | 841850 | 358756 | 7.1041 | 0 | 90.554 | 30.5 | 4.97
53 | 03/05/2014 | 4:00:00 p.m. | 841820 | 358752 | 6.9322 | 0 | 90.487 | 31.6 | 4.97
52 | 03/05/2014 | 3:00:00 p.m. | 841789 | 358747 | 7.0552 | 0 | 90.514 | 29.5 | 4.97
51 | 03/05/2014 | 2:00:00 p.m. | 841749 | 358742 | 7.0817 | 0 | 90.461 | 33.6 | 4.97
50 | 03/05/2014 | 1:00:00 p.m. | 841701 | 358735 | 6.8311 | 0 | 90.527 | 37.2 | 4.97
49 | 03/05/2014 | 12:00:00 p.m. | 841701 | 358735 | 6.8896 | 0 | 90.478 | 33.9 | 4.97
48 | 03/05/2014 | 11:00:00 a.m. | 841701 | 358735 | 6.9793 | 0 | 90.48 | 29.2 | 4.96
47 | 03/05/2014 | 10:00:00 a.m. | 841701 | 358735 | 7.1293 | 0 | 90.638 | 22.2 | 4.96
46 | 03/05/2014 | 9:00:00 a.m. | 841701 | 358735 | 7.3225 | 0 | 90.869 | 17.4 | 4.95
45 | 03/05/2014 | 8:00:00 a.m. | 841701 | 358735 | 7.3819 | 0 | 91.005 | 17.3 | 4.94
44 | 03/05/2014 | 7:00:00 a.m. | 841663 | 358730 | 7.4147 | 0 | 91.027 | 12.3 | 4.93
43 | 03/05/2014 | 6:00:00 a.m. | 841651 | 358728 | 7.5264 | 0 | 90.986 | 13.3 | 4.94
42 | 03/05/2014 | 5:00:00 a.m. | 841651 | 358728 | 7.4731 | 0 | 91.028 | 15.8 | 4.94
41 | 03/05/2014 | 4:00:00 a.m. | 841651 | 358728 | 7.392 | 0 | 91.022 | 20 | 4.94
40 | 03/05/2014 | 3:00:00 a.m. | 841620 | 358724 | 7.282 | 0 | 90.792 | 20.8 | 4.94
39 | 03/05/2014 | 2:00:00 a.m. | 841539 | 358713 | 7.4004 | 0 | 90.907 | 17.7 | 4.95
38 | 03/05/2014 | 1:00:00 a.m. | 841539 | 358713 | 7.3586 | 0 | 90.905 | 18.7 | 4.95
37 | 03/05/2014 | 12:00:00 a.m. | 841539 | 358713 | 7.3321 | 0 | 90.918 | 19.7 | 4.95
36 | 02/05/2014 | 11:00:00 p.m. | 841539 | 358713 | 7.3 | 0 | 90.844 | 21.3 | 4.96
35 | 02/05/2014 | 10:00:00 p.m. | 841528 | 358711 | 7.2646 | 0 | 90.841 | 22.4 | 4.96
34 | 02/05/2014 | 9:00:00 p.m. | 841528 | 358711 | 7.2248 | 0 | 90.832 | 24.6 | 4.96
33 | 02/05/2014 | 8:00:00 p.m. | 841528 | 358711 | 7.143 | 0 | 90.753 | 27.3 | 4.97
32 | 02/05/2014 | 7:00:00 p.m. | 841528 | 358711 | 7.0847 | 0 | 90.721 | 28.4 | 4.97
31 | 02/05/2014 | 6:00:00 p.m. | 841528 | 358711 | 7.1146 | 0 | 90.563 | 26.7 | 4.97
30 | 02/05/2014 | 5:00:00 p.m. | 841466 | 358702 | 7.1036 | 0 | 90.458 | 27.3 | 4.97
29 | 02/05/2014 | 4:00:00 p.m. | 841397 | 358693 | 7.0853 | 0 | 90.411 | 29.4 | 4.97
28 | 02/05/2014 | 3:00:00 p.m. | 841329 | 358683 | 7.0034 | 0 | 90.409 | 28.4 | 4.97
27 | 02/05/2014 | 2:00:00 p.m. | 841267 | 358674 | 7.0648 | 0 | 90.301 | 29.9 | 4.97
26 | 02/05/2014 | 1:00:00 p.m. | 841204 | 358665 | 7.0228 | 0 | 90.298 | 28.7 | 4.97
25 | 02/05/2014 | 12:00:00 p.m. | 841126 | 358654 | 7.0644 | 0 | 90.468 | 31.7 | 4.97
24 | 02/05/2014 | 11:00:00 a.m. | 841111 | 358652 | 6.9753 | 0 | 90.531 | 28 | 4.97
23 | 02/05/2014 | 10:00:00 a.m. | 841111 | 358652 | 7.164 | 0 | 90.654 | 22 | 4.96
22 | 02/05/2014 | 9:00:00 a.m. | 841111 | 358652 | 7.3137 | 0 | 90.838 | 19.2 | 4.95
21 | 02/05/2014 | 8:00:00 a.m. | 841111 | 358652 | 7.3057 | 0 | 90.834 | 21.4 | 4.95
20 | 02/05/2014 | 7:00:00 a.m. | 841071 | 358646 | 7.2444 | 0 | 90.782 | 22.4 | 4.95
19 | 02/05/2014 | 6:00:00 a.m. | 840994 | 358636 | 7.2297 | 0 | 90.763 | 21.1 | 4.95
18 | 02/05/2014 | 5:00:00 a.m. | 840906 | 358624 | 7.3489 | 0 | 90.972 | 18.5 | 4.95
17 | 02/05/2014 | 4:00:00 a.m. | 840906 | 358624 | 7.359 | 0 | 90.973 | 18.7 | 4.95
16 | 02/05/2014 | 3:00:00 a.m. | 840906 | 358624 | 7.3423 | 0 | 91.013 | 19.2 | 4.96
15 | 02/05/2014 | 2:00:00 a.m. | 840906 | 358624 | 7.328 | 0 | 90.988 | 19.7 | 4.96
14 | 02/05/2014 | 1:00:00 a.m. | 840906 | 358624 | 7.2972 | 0 | 90.924 | 20.2 | 4.96
13 | 02/05/2014 | 12:00:00 a.m. | 840906 | 358624 | 7.2935 | 0 | 91.025 | 21 | 4.96
12 | 01/05/2014 | 11:00:00 p.m. | 840906 | 358624 | 7.2838 | 0 | 91.025 | 21.9 | 4.96
11 | 01/05/2014 | 10:00:00 p.m. | 840906 | 358624 | 7.2518 | 0 | 91.041 | 23.3 | 4.96
10 | 01/05/2014 | 9:00:00 p.m. | 840906 | 358624 | 7.2145 | 0 | 91.033 | 25.2 | 4.97
9 | 01/05/2014 | 8:00:00 p.m. | 840906 | 358624 | 7.1474 | 0 | 90.963 | 28.4 | 4.97
8 | 01/05/2014 | 7:00:00 p.m. | 840906 | 358624 | 7.0559 | 0 | 90.876 | 30.8 | 4.97
7 | 01/05/2014 | 6:00:00 p.m. | 840906 | 358624 | 6.9969 | 0 | 90.8 | 34.2 | 4.97
6 | 01/05/2014 | 5:00:00 p.m. | 840906 | 358624 | 6.8759 | 0 | 90.705 | 39.6 | 4.97
5 | 01/05/2014 | 4:00:00 p.m. | 840906 | 358624 | 6.7601 | 0 | 90.619 | 40.1 | 4.97
4 | 01/05/2014 | 3:00:00 p.m. | 840906 | 358624 | 6.8209 | 0 | 90.563 | 35.9 | 4.97
3 | 01/05/2014 | 2:00:00 p.m. | 840894 | 358622 | 6.9628 | 0 | 90.66 | 40.1 | 4.97
2 | 01/05/2014 | 1:00:00 p.m. | 840875 | 358619 | 6.8081 | 0 | 90.695 | 39.4 | 4.97
1 | 01/05/2014 | 12:00:00 p.m. | 840875 | 358619 | 6.805 | 0 | 90.652 | 37.3 | 4.97