## Agrometalica diario 080714 MC B
Data Log
Unit Serial Number: | 07/04/24444
Meter/Site ID: | 0034328 Agro
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 1
Fault/Alarms Recorded: | Date | Time | Condition
1 | 26/06/2014 | 11:15:37 a.m. | 16 (High Flow Rate Alarm Occurred)
2 | 26/06/2014 | 11:15:37 a.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp
|  |  | m³ | m³ |  | m³ | PSI | °C
1 | 08/08/2014 | 9:00:00 a.m. | 82 | 93146 | 7.9485 | 0 | 109.853 | 17.1