## Agrometalica diario 083114 MC B
Data Log
Unit Serial Number: | 07/04/24444
Meter/Site ID: | 0034328 Agro
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 25
Fault/Alarms Recorded: | Date | Time | Condition
1 | 26/06/2014 | 11:15:37 a.m. | 16 (High Flow Rate Alarm Occurred)
2 | 26/06/2014 | 11:15:37 a.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp
|  |  | m³ | m³ |  | m³ | PSI | °C
25 | 01/09/2014 | 9:00:00 a.m. | 1881 | 93379 | 8.1135 | 0 | 112.187 | 21
24 | 31/08/2014 | 9:00:00 a.m. | 1877 | 93379 | 8.1408 | 0 | 112.132 | 22.1
23 | 30/08/2014 | 9:00:00 a.m. | 1877 | 93379 | 8.1455 | 0 | 112.157 | 22.2
22 | 29/08/2014 | 9:00:00 a.m. | 1736 | 93361 | 7.9855 | 0 | 112.143 | 22
21 | 28/08/2014 | 9:00:00 a.m. | 1490 | 93329 | 8.1941 | 0 | 112.218 | 23.2
20 | 27/08/2014 | 9:00:00 a.m. | 1473 | 93327 | 8.1837 | 0 | 111.941 | 22.6
19 | 26/08/2014 | 9:00:00 a.m. | 1458 | 93325 | 7.9981 | 0 | 109.585 | 21.9
18 | 25/08/2014 | 9:00:00 a.m. | 1446 | 93323 | 7.9588 | 0 | 106.803 | 20.9
17 | 24/08/2014 | 9:00:00 a.m. | 1446 | 93323 | 8.0194 | 0 | 109.665 | 20.1
16 | 23/08/2014 | 9:00:00 a.m. | 1444 | 93323 | 8.0442 | 0 | 109.613 | 18.4
15 | 22/08/2014 | 9:00:00 a.m. | 1423 | 93320 | 7.9394 | 0 | 109.568 | 20.6
14 | 21/08/2014 | 9:00:00 a.m. | 1214 | 93293 | 7.836 | 0 | 109.731 | 19.8
13 | 20/08/2014 | 9:00:00 a.m. | 1017 | 93268 | 7.8921 | 0 | 109.654 | 18.8
12 | 19/08/2014 | 9:00:00 a.m. | 893 | 93252 | 7.9473 | 0 | 109.678 | 20.7
11 | 18/08/2014 | 9:00:00 a.m. | 719 | 93229 | 7.9302 | 0 | 109.901 | 21.4
10 | 17/08/2014 | 9:00:00 a.m. | 712 | 93228 | 7.9844 | 0 | 109.61 | 21.8
9 | 16/08/2014 | 9:00:00 a.m. | 711 | 93228 | 7.9942 | 0 | 109.586 | 19.7
8 | 15/08/2014 | 9:00:00 a.m. | 582 | 93211 | 7.9103 | 0 | 109.743 | 19.3
7 | 14/08/2014 | 9:00:00 a.m. | 453 | 93194 | 7.8953 | 0 | 109.594 | 18.8
6 | 13/08/2014 | 9:00:00 a.m. | 420 | 93190 | 7.8827 | 0 | 109.616 | 19.2
5 | 12/08/2014 | 9:00:00 a.m. | 335 | 93179 | 7.901 | 0 | 109.747 | 19
4 | 11/08/2014 | 9:00:00 a.m. | 243 | 93167 | 7.909 | 0 | 109.783 | 19
3 | 10/08/2014 | 9:00:00 a.m. | 237 | 93166 | 7.939 | 0 | 109.739 | 20.9
2 | 09/08/2014 | 9:00:00 a.m. | 236 | 93166 | 7.9828 | 0 | 109.855 | 17.7
1 | 08/08/2014 | 9:00:00 a.m. | 82 | 93146 | 7.9485 | 0 | 109.853 | 17.1