## Agrometalica horario 083114 MC
Data Log
Unit Serial Number: | 07/04/24444
Meter/Site ID: | 0034328 Agro
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 599
Fault/Alarms Recorded: | Date | Time | Condition
1 | 26/06/2014 | 11:15:37 a.m. | 16 (High Flow Rate Alarm Occurred)
2 | 26/06/2014 | 11:15:37 a.m. | 64 (Internal Operations Fault Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp
|  |  | m³ | m³ |  | m³ | PSI | °C
599 | 01/09/2014 | 11:00:00 a.m. | 1899 | 93381 | 7.936 | 0 | 111.808 | 20.7
598 | 01/09/2014 | 10:00:00 a.m. | 1889 | 93380 | 8.0255 | 0 | 111.967 | 17.4
597 | 01/09/2014 | 9:00:00 a.m. | 1881 | 93379 | 8.1135 | 0 | 112.256 | 14.4
596 | 01/09/2014 | 8:00:00 a.m. | 1879 | 93379 | 8.1849 | 0 | 112.338 | 14.2
595 | 01/09/2014 | 7:00:00 a.m. | 1878 | 93379 | 8.1632 | 0 | 112.352 | 14.4
594 | 01/09/2014 | 6:00:00 a.m. | 1878 | 93379 | 8.1982 | 0 | 112.408 | 14.1
593 | 01/09/2014 | 5:00:00 a.m. | 1878 | 93379 | 8.1782 | 0 | 112.373 | 14.1
592 | 01/09/2014 | 4:00:00 a.m. | 1878 | 93379 | 8.1991 | 0 | 112.332 | 14.4
591 | 01/09/2014 | 3:00:00 a.m. | 1878 | 93379 | 8.1594 | 0 | 112.325 | 14.6
590 | 01/09/2014 | 2:00:00 a.m. | 1878 | 93379 | 8.174 | 0 | 112.327 | 14.5
589 | 01/09/2014 | 1:00:00 a.m. | 1878 | 93379 | 8.1685 | 0 | 112.353 | 14.3
588 | 01/09/2014 | 12:00:00 a.m. | 1878 | 93379 | 8.1746 | 0 | 112.425 | 14.5
587 | 31/08/2014 | 11:00:00 p.m. | 1878 | 93379 | 8.1781 | 0 | 112.527 | 17.6
586 | 31/08/2014 | 10:00:00 p.m. | 1878 | 93379 | 8.0032 | 0 | 112.258 | 21.3
585 | 31/08/2014 | 9:00:00 p.m. | 1878 | 93379 | 7.9456 | 0 | 112.182 | 23.2
584 | 31/08/2014 | 8:00:00 p.m. | 1878 | 93379 | 7.8684 | 0 | 112.139 | 26.2
583 | 31/08/2014 | 7:00:00 p.m. | 1878 | 93379 | 7.7964 | 0 | 112.146 | 28.9
582 | 31/08/2014 | 6:00:00 p.m. | 1878 | 93379 | 7.6957 | 0 | 112.007 | 31.9
581 | 31/08/2014 | 5:00:00 p.m. | 1878 | 93379 | 7.5929 | 0 | 111.846 | 36.1
580 | 31/08/2014 | 4:00:00 p.m. | 1878 | 93379 | 7.5502 | 0 | 111.89 | 33.8
579 | 31/08/2014 | 3:00:00 p.m. | 1878 | 93379 | 7.5985 | 0 | 111.873 | 32.3
578 | 31/08/2014 | 2:00:00 p.m. | 1878 | 93379 | 7.7317 | 0 | 111.946 | 26.4
577 | 31/08/2014 | 1:00:00 p.m. | 1878 | 93379 | 7.8301 | 0 | 112.003 | 24.2
576 | 31/08/2014 | 12:00:00 p.m. | 1878 | 93379 | 7.9052 | 0 | 112.005 | 22.8
575 | 31/08/2014 | 11:00:00 a.m. | 1878 | 93379 | 7.9444 | 0 | 112.007 | 19.6
574 | 31/08/2014 | 10:00:00 a.m. | 1878 | 93379 | 8.044 | 0 | 112.168 | 16.5
573 | 31/08/2014 | 9:00:00 a.m. | 1877 | 93379 | 8.1408 | 0 | 112.273 | 15
572 | 31/08/2014 | 8:00:00 a.m. | 1877 | 93379 | 8.1627 | 0 | 112.297 | 14.4
571 | 31/08/2014 | 7:00:00 a.m. | 1877 | 93379 | 8.1858 | 0 | 112.348 | 14.3
570 | 31/08/2014 | 6:00:00 a.m. | 1877 | 93379 | 8.1857 | 0 | 112.332 | 14.3
569 | 31/08/2014 | 5:00:00 a.m. | 1877 | 93379 | 8.1734 | 0 | 112.337 | 14.8
568 | 31/08/2014 | 4:00:00 a.m. | 1877 | 93379 | 8.1598 | 0 | 112.325 | 14.9
567 | 31/08/2014 | 3:00:00 a.m. | 1877 | 93379 | 8.1561 | 0 | 112.321 | 15.2
566 | 31/08/2014 | 2:00:00 a.m. | 1877 | 93379 | 8.1455 | 0 | 112.346 | 15.4
565 | 31/08/2014 | 1:00:00 a.m. | 1877 | 93379 | 8.1253 | 0 | 112.327 | 16.1
564 | 31/08/2014 | 12:00:00 a.m. | 1877 | 93379 | 8.1328 | 0 | 112.234 | 19
563 | 30/08/2014 | 11:00:00 p.m. | 1877 | 93379 | 7.9833 | 0 | 112.179 | 20.3
562 | 30/08/2014 | 10:00:00 p.m. | 1877 | 93379 | 7.9827 | 0 | 112.14 | 20.7
561 | 30/08/2014 | 9:00:00 p.m. | 1877 | 93379 | 7.9519 | 0 | 112.154 | 23
560 | 30/08/2014 | 8:00:00 p.m. | 1877 | 93379 | 7.8745 | 0 | 112.063 | 27.1
559 | 30/08/2014 | 7:00:00 p.m. | 1877 | 93379 | 7.7502 | 0 | 112.012 | 28.6
558 | 30/08/2014 | 6:00:00 p.m. | 1877 | 93379 | 7.7625 | 0 | 111.961 | 29
557 | 30/08/2014 | 5:00:00 p.m. | 1877 | 93379 | 7.6941 | 0 | 111.924 | 33.1
556 | 30/08/2014 | 4:00:00 p.m. | 1877 | 93379 | 7.6608 | 0 | 111.941 | 33
555 | 30/08/2014 | 3:00:00 p.m. | 1877 | 93379 | 7.6206 | 0 | 111.863 | 33.4
554 | 30/08/2014 | 2:00:00 p.m. | 1877 | 93379 | 7.7098 | 0 | 112.012 | 31.3
553 | 30/08/2014 | 1:00:00 p.m. | 1877 | 93379 | 7.6249 | 0 | 111.912 | 30.8
552 | 30/08/2014 | 12:00:00 p.m. | 1877 | 93379 | 7.7711 | 0 | 111.831 | 26.7
551 | 30/08/2014 | 11:00:00 a.m. | 1877 | 93379 | 7.8622 | 0 | 111.986 | 22.2
550 | 30/08/2014 | 10:00:00 a.m. | 1877 | 93379 | 8.0043 | 0 | 112.054 | 17.4
549 | 30/08/2014 | 9:00:00 a.m. | 1877 | 93379 | 8.1455 | 0 | 112.303 | 13.5
548 | 30/08/2014 | 8:00:00 a.m. | 1877 | 93379 | 8.2413 | 0 | 112.374 | 13
547 | 30/08/2014 | 7:00:00 a.m. | 1877 | 93379 | 8.2121 | 0 | 112.48 | 13.3
546 | 30/08/2014 | 6:00:00 a.m. | 1877 | 93379 | 8.2167 | 0 | 112.395 | 13.9
545 | 30/08/2014 | 5:00:00 a.m. | 1877 | 93379 | 8.1779 | 0 | 112.352 | 14.6
544 | 30/08/2014 | 4:00:00 a.m. | 1877 | 93379 | 8.1651 | 0 | 112.361 | 15.5
543 | 30/08/2014 | 3:00:00 a.m. | 1877 | 93379 | 8.1229 | 0 | 112.294 | 16.2
542 | 30/08/2014 | 2:00:00 a.m. | 1877 | 93379 | 8.136 | 0 | 112.327 | 16.7
541 | 30/08/2014 | 1:00:00 a.m. | 1877 | 93379 | 8.0843 | 0 | 112.27 | 17.4
540 | 30/08/2014 | 12:00:00 a.m. | 1877 | 93379 | 8.0856 | 0 | 112.3 | 18.3
539 | 29/08/2014 | 11:00:00 p.m. | 1877 | 93379 | 8.0413 | 0 | 112.305 | 19.7
538 | 29/08/2014 | 10:00:00 p.m. | 1877 | 93379 | 7.9964 | 0 | 112.304 | 21.4
537 | 29/08/2014 | 9:00:00 p.m. | 1877 | 93379 | 7.9352 | 0 | 112.189 | 24.4
536 | 29/08/2014 | 8:00:00 p.m. | 1877 | 93379 | 7.8282 | 0 | 112.063 | 28.8
535 | 29/08/2014 | 7:00:00 p.m. | 1877 | 93379 | 7.6861 | 0 | 112.099 | 31.5
534 | 29/08/2014 | 6:00:00 p.m. | 1876 | 93379 | 7.6848 | 0 | 111.959 | 29.3
533 | 29/08/2014 | 5:00:00 p.m. | 1857 | 93376 | 7.7334 | 0 | 111.879 | 28.7
532 | 29/08/2014 | 4:00:00 p.m. | 1832 | 93373 | 7.7614 | 0 | 111.922 | 30.7
531 | 29/08/2014 | 3:00:00 p.m. | 1818 | 93371 | 7.6435 | 0 | 111.812 | 32.3
530 | 29/08/2014 | 2:00:00 p.m. | 1805 | 93369 | 7.6172 | 0 | 111.958 | 33.6
529 | 29/08/2014 | 1:00:00 p.m. | 1797 | 93368 | 7.7116 | 0 | 111.882 | 30
528 | 29/08/2014 | 12:00:00 p.m. | 1783 | 93366 | 7.7438 | 0 | 111.927 | 26.4
527 | 29/08/2014 | 11:00:00 a.m. | 1774 | 93365 | 7.8586 | 0 | 111.963 | 23.2
526 | 29/08/2014 | 10:00:00 a.m. | 1766 | 93364 | 7.9234 | 0 | 112.049 | 21.6
525 | 29/08/2014 | 9:00:00 a.m. | 1736 | 93361 | 7.9855 | 0 | 112.306 | 19.1
524 | 29/08/2014 | 8:00:00 a.m. | 1706 | 93357 | 8.0822 | 0 | 112.373 | 15.7
523 | 29/08/2014 | 7:00:00 a.m. | 1686 | 93354 | 8.2226 | 0 | 112.413 | 13.4
522 | 29/08/2014 | 6:00:00 a.m. | 1686 | 93354 | 8.2127 | 0 | 112.344 | 14
521 | 29/08/2014 | 5:00:00 a.m. | 1686 | 93354 | 8.2004 | 0 | 112.313 | 14.5
520 | 29/08/2014 | 4:00:00 a.m. | 1686 | 93354 | 8.1844 | 0 | 112.304 | 15.1
519 | 29/08/2014 | 3:00:00 a.m. | 1686 | 93354 | 8.1491 | 0 | 112.346 | 15.6
518 | 29/08/2014 | 2:00:00 a.m. | 1686 | 93354 | 8.1313 | 0 | 112.321 | 16.4
517 | 29/08/2014 | 1:00:00 a.m. | 1686 | 93354 | 8.1052 | 0 | 112.268 | 17.3
516 | 29/08/2014 | 12:00:00 a.m. | 1686 | 93354 | 8.0767 | 0 | 112.322 | 18.4
515 | 28/08/2014 | 11:00:00 p.m. | 1686 | 93354 | 8.0352 | 0 | 112.313 | 20
514 | 28/08/2014 | 10:00:00 p.m. | 1686 | 93354 | 7.9885 | 0 | 112.265 | 22.4
513 | 28/08/2014 | 9:00:00 p.m. | 1686 | 93354 | 7.8849 | 0 | 112.297 | 25.9
512 | 28/08/2014 | 8:00:00 p.m. | 1686 | 93354 | 7.7886 | 0 | 112.155 | 30.4
511 | 28/08/2014 | 7:00:00 p.m. | 1686 | 93354 | 7.6453 | 0 | 112.154 | 33.2
510 | 28/08/2014 | 6:00:00 p.m. | 1686 | 93354 | 7.6105 | 0 | 112.025 | 32.6
509 | 28/08/2014 | 5:00:00 p.m. | 1680 | 93354 | 7.6908 | 0 | 111.772 | 29.4
508 | 28/08/2014 | 4:00:00 p.m. | 1650 | 93350 | 7.7094 | 0 | 111.781 | 29.2
507 | 28/08/2014 | 3:00:00 p.m. | 1618 | 93346 | 7.7115 | 0 | 111.832 | 29.4
506 | 28/08/2014 | 2:00:00 p.m. | 1586 | 93341 | 7.7288 | 0 | 111.865 | 28.8
505 | 28/08/2014 | 1:00:00 p.m. | 1554 | 93337 | 7.7815 | 0 | 111.875 | 26.7
504 | 28/08/2014 | 12:00:00 p.m. | 1513 | 93332 | 7.8237 | 0 | 111.841 | 24.4
503 | 28/08/2014 | 11:00:00 a.m. | 1491 | 93329 | 7.8949 | 0 | 111.939 | 21
502 | 28/08/2014 | 10:00:00 a.m. | 1491 | 93329 | 8.0446 | 0 | 111.999 | 16.1
501 | 28/08/2014 | 9:00:00 a.m. | 1490 | 93329 | 8.1941 | 0 | 112.287 | 12.1
500 | 28/08/2014 | 8:00:00 a.m. | 1490 | 93329 | 8.2805 | 0 | 112.44 | 11.7
499 | 28/08/2014 | 7:00:00 a.m. | 1490 | 93329 | 8.2647 | 0 | 112.39 | 12.3
498 | 28/08/2014 | 6:00:00 a.m. | 1490 | 93329 | 8.2525 | 0 | 112.371 | 13
497 | 28/08/2014 | 5:00:00 a.m. | 1490 | 93329 | 8.2177 | 0 | 112.38 | 13.8
496 | 28/08/2014 | 4:00:00 a.m. | 1490 | 93329 | 8.1828 | 0 | 112.457 | 14.5
495 | 28/08/2014 | 3:00:00 a.m. | 1490 | 93329 | 8.175 | 0 | 112.547 | 15.2
494 | 28/08/2014 | 2:00:00 a.m. | 1490 | 93329 | 8.1359 | 0 | 112.393 | 16
493 | 28/08/2014 | 1:00:00 a.m. | 1489 | 93329 | 8.113 | 0 | 112.368 | 17
492 | 28/08/2014 | 12:00:00 a.m. | 1489 | 93329 | 8.0869 | 0 | 112.333 | 18.3
491 | 27/08/2014 | 11:00:00 p.m. | 1489 | 93329 | 8.0539 | 0 | 112.345 | 20.1
490 | 27/08/2014 | 10:00:00 p.m. | 1489 | 93329 | 7.9721 | 0 | 112.281 | 22.4
489 | 27/08/2014 | 9:00:00 p.m. | 1489 | 93329 | 7.9018 | 0 | 112.258 | 25.6
488 | 27/08/2014 | 8:00:00 p.m. | 1489 | 93329 | 7.7836 | 0 | 112.201 | 30
487 | 27/08/2014 | 7:00:00 p.m. | 1489 | 93329 | 7.6591 | 0 | 112.171 | 33.8
486 | 27/08/2014 | 6:00:00 p.m. | 1489 | 93329 | 7.5653 | 0 | 112.014 | 36.9
485 | 27/08/2014 | 5:00:00 p.m. | 1489 | 93329 | 7.5049 | 0 | 111.934 | 38.1
484 | 27/08/2014 | 4:00:00 p.m. | 1488 | 93329 | 7.5038 | 0 | 111.955 | 39.2
483 | 27/08/2014 | 3:00:00 p.m. | 1487 | 93329 | 7.4738 | 0 | 111.964 | 38.6
482 | 27/08/2014 | 2:00:00 p.m. | 1487 | 93329 | 7.5143 | 0 | 111.981 | 33.7
481 | 27/08/2014 | 1:00:00 p.m. | 1482 | 93328 | 7.7304 | 0 | 111.987 | 31.5
480 | 27/08/2014 | 12:00:00 p.m. | 1476 | 93327 | 7.717 | 0 | 111.962 | 26
479 | 27/08/2014 | 11:00:00 a.m. | 1475 | 93327 | 7.9163 | 0 | 112.069 | 20.7
478 | 27/08/2014 | 10:00:00 a.m. | 1474 | 93327 | 8.0387 | 0 | 112.141 | 16.9
477 | 27/08/2014 | 9:00:00 a.m. | 1473 | 93327 | 8.1837 | 0 | 112.408 | 13.1
476 | 27/08/2014 | 8:00:00 a.m. | 1472 | 93327 | 8.2581 | 0 | 112.523 | 12.6
475 | 27/08/2014 | 7:00:00 a.m. | 1472 | 93327 | 8.2348 | 0 | 112.499 | 13.1
474 | 27/08/2014 | 6:00:00 a.m. | 1472 | 93327 | 8.2336 | 0 | 112.464 | 13.2
473 | 27/08/2014 | 5:00:00 a.m. | 1472 | 93327 | 8.2314 | 0 | 112.451 | 13.7
472 | 27/08/2014 | 4:00:00 a.m. | 1472 | 93327 | 8.1981 | 0 | 112.408 | 14.3
471 | 27/08/2014 | 3:00:00 a.m. | 1472 | 93327 | 8.1767 | 0 | 112.447 | 14.9
470 | 27/08/2014 | 2:00:00 a.m. | 1472 | 93327 | 8.1659 | 0 | 112.45 | 15.5
469 | 27/08/2014 | 1:00:00 a.m. | 1472 | 93327 | 8.1414 | 0 | 112.437 | 16.4
468 | 27/08/2014 | 12:00:00 a.m. | 1472 | 93327 | 8.12 | 0 | 112.413 | 17.4
467 | 26/08/2014 | 11:00:00 p.m. | 1472 | 93327 | 8.0906 | 0 | 112.414 | 18.8
466 | 26/08/2014 | 10:00:00 p.m. | 1472 | 93327 | 8.0265 | 0 | 112.352 | 21.3
465 | 26/08/2014 | 9:00:00 p.m. | 1472 | 93327 | 7.9243 | 0 | 112.323 | 25.4
464 | 26/08/2014 | 8:00:00 p.m. | 1472 | 93327 | 7.8056 | 0 | 112.245 | 30.5
463 | 26/08/2014 | 7:00:00 p.m. | 1472 | 93327 | 7.6494 | 0 | 112.228 | 33.9
462 | 26/08/2014 | 6:00:00 p.m. | 1472 | 93327 | 7.5784 | 0 | 112.107 | 37
461 | 26/08/2014 | 5:00:00 p.m. | 1471 | 93327 | 7.519 | 0 | 112.022 | 37.9
460 | 26/08/2014 | 4:00:00 p.m. | 1471 | 93327 | 7.5102 | 0 | 111.992 | 37.1
459 | 26/08/2014 | 3:00:00 p.m. | 1471 | 93327 | 7.533 | 0 | 111.964 | 36.3
458 | 26/08/2014 | 2:00:00 p.m. | 1470 | 93326 | 7.5956 | 0 | 112 | 31.7
457 | 26/08/2014 | 1:00:00 p.m. | 1465 | 93326 | 7.7519 | 0 | 112.076 | 30.4
456 | 26/08/2014 | 12:00:00 p.m. | 1459 | 93325 | 7.7673 | 0 | 109.545 | 23.6
455 | 26/08/2014 | 11:00:00 a.m. | 1458 | 93325 | 7.7461 | 0 | 109.327 | 19.6
454 | 26/08/2014 | 10:00:00 a.m. | 1458 | 93325 | 7.8843 | 0 | 109.496 | 15.5
453 | 26/08/2014 | 9:00:00 a.m. | 1458 | 93325 | 7.9981 | 0 | 109.728 | 13
452 | 26/08/2014 | 8:00:00 a.m. | 1457 | 93325 | 8.0616 | 0 | 109.835 | 12.4
451 | 26/08/2014 | 7:00:00 a.m. | 1457 | 93325 | 8.0383 | 0 | 109.821 | 13.1
450 | 26/08/2014 | 6:00:00 a.m. | 1457 | 93325 | 8.0147 | 0 | 109.773 | 13.7
449 | 26/08/2014 | 5:00:00 a.m. | 1457 | 93325 | 8.0263 | 0 | 109.795 | 13.7
448 | 26/08/2014 | 4:00:00 a.m. | 1457 | 93325 | 7.9826 | 0 | 109.803 | 14.4
447 | 26/08/2014 | 3:00:00 a.m. | 1457 | 93325 | 7.9938 | 0 | 109.83 | 15.2
446 | 26/08/2014 | 2:00:00 a.m. | 1457 | 93325 | 7.9369 | 0 | 109.851 | 16.2
445 | 26/08/2014 | 1:00:00 a.m. | 1456 | 93325 | 7.9263 | 0 | 109.784 | 16.6
444 | 26/08/2014 | 12:00:00 a.m. | 1456 | 93325 | 7.9056 | 0 | 109.785 | 17.8
443 | 25/08/2014 | 11:00:00 p.m. | 1456 | 93325 | 7.865 | 0 | 109.759 | 19.1
442 | 25/08/2014 | 10:00:00 p.m. | 1456 | 93325 | 7.8389 | 0 | 109.763 | 20.3
441 | 25/08/2014 | 9:00:00 p.m. | 1456 | 93325 | 7.7816 | 0 | 109.654 | 23.2
440 | 25/08/2014 | 8:00:00 p.m. | 1456 | 93325 | 7.6666 | 0 | 109.563 | 28.1
439 | 25/08/2014 | 7:00:00 p.m. | 1456 | 93325 | 7.5338 | 0 | 109.488 | 33.3
438 | 25/08/2014 | 6:00:00 p.m. | 1455 | 93325 | 7.4107 | 0 | 109.275 | 35
437 | 25/08/2014 | 5:00:00 p.m. | 1455 | 93325 | 7.4254 | 0 | 109.265 | 33
436 | 25/08/2014 | 4:00:00 p.m. | 1455 | 93325 | 7.4851 | 0 | 109.377 | 31.8
435 | 25/08/2014 | 3:00:00 p.m. | 1455 | 93325 | 7.4625 | 0 | 109.317 | 35.1
434 | 25/08/2014 | 2:00:00 p.m. | 1455 | 93325 | 7.3845 | 0 | 109.217 | 31.7
433 | 25/08/2014 | 1:00:00 p.m. | 1452 | 93324 | 7.5474 | 0 | 109.193 | 29.9
432 | 25/08/2014 | 12:00:00 p.m. | 1446 | 93323 | 7.5602 | 0 | 109.18 | 24.5
431 | 25/08/2014 | 11:00:00 a.m. | 1446 | 93323 | 7.7613 | 0 | 109.401 | 19.3
430 | 25/08/2014 | 10:00:00 a.m. | 1446 | 93323 | 7.9127 | 0 | 109.595 | 16.2
429 | 25/08/2014 | 9:00:00 a.m. | 1446 | 93323 | 7.9588 | 0 | 109.66 | 14.2
428 | 25/08/2014 | 8:00:00 a.m. | 1446 | 93323 | 7.99 | 0 | 109.747 | 13.8
427 | 25/08/2014 | 7:00:00 a.m. | 1446 | 93323 | 8.0212 | 0 | 109.847 | 14.3
426 | 25/08/2014 | 6:00:00 a.m. | 1446 | 93323 | 7.9954 | 0 | 109.868 | 14.7
425 | 25/08/2014 | 5:00:00 a.m. | 1446 | 93323 | 7.9824 | 0 | 109.796 | 14.6
424 | 25/08/2014 | 4:00:00 a.m. | 1446 | 93323 | 7.9664 | 0 | 109.895 | 14.5
423 | 25/08/2014 | 3:00:00 a.m. | 1446 | 93323 | 7.9894 | 0 | 110.01 | 14.1
422 | 25/08/2014 | 2:00:00 a.m. | 1446 | 93323 | 8.0171 | 0 | 109.964 | 13.8
421 | 25/08/2014 | 1:00:00 a.m. | 1446 | 93323 | 8.0074 | 0 | 110.018 | 14.3
420 | 25/08/2014 | 12:00:00 a.m. | 1446 | 93323 | 7.9801 | 0 | 109.975 | 15
419 | 24/08/2014 | 11:00:00 p.m. | 1446 | 93323 | 8.0003 | 0 | 109.969 | 15.2
418 | 24/08/2014 | 10:00:00 p.m. | 1446 | 93323 | 7.9431 | 0 | 109.894 | 15.7
417 | 24/08/2014 | 9:00:00 p.m. | 1446 | 93323 | 7.9573 | 0 | 109.852 | 17.7
416 | 24/08/2014 | 8:00:00 p.m. | 1446 | 93323 | 7.8251 | 0 | 109.692 | 23.3
415 | 24/08/2014 | 7:00:00 p.m. | 1446 | 93323 | 7.6398 | 0 | 109.58 | 30.3
414 | 24/08/2014 | 6:00:00 p.m. | 1446 | 93323 | 7.4662 | 0 | 109.462 | 33.7
413 | 24/08/2014 | 5:00:00 p.m. | 1446 | 93323 | 7.4374 | 0 | 109.388 | 35
412 | 24/08/2014 | 4:00:00 p.m. | 1446 | 93323 | 7.3898 | 0 | 109.365 | 35.6
411 | 24/08/2014 | 3:00:00 p.m. | 1446 | 93323 | 7.3461 | 0 | 109.348 | 36.4
410 | 24/08/2014 | 2:00:00 p.m. | 1446 | 93323 | 7.4114 | 0 | 109.345 | 33.3
409 | 24/08/2014 | 1:00:00 p.m. | 1446 | 93323 | 7.5146 | 0 | 109.392 | 28.1
408 | 24/08/2014 | 12:00:00 p.m. | 1446 | 93323 | 7.6667 | 0 | 109.368 | 21
407 | 24/08/2014 | 11:00:00 a.m. | 1446 | 93323 | 7.8084 | 0 | 104.587 | 18.2
406 | 24/08/2014 | 10:00:00 a.m. | 1446 | 93323 | 0.84356 | 0 | 45.245 | 14.5
405 | 24/08/2014 | 9:00:00 a.m. | 1446 | 93323 | 8.0194 | 0 | 109.79 | 12.9
404 | 24/08/2014 | 8:00:00 a.m. | 1446 | 93323 | 8.0551 | 0 | 109.89 | 12.8
403 | 24/08/2014 | 7:00:00 a.m. | 1446 | 93323 | 8.0655 | 0 | 109.862 | 12.8
402 | 24/08/2014 | 6:00:00 a.m. | 1446 | 93323 | 8.0674 | 0 | 109.962 | 13.3
401 | 24/08/2014 | 5:00:00 a.m. | 1446 | 93323 | 8.0334 | 0 | 109.864 | 13.8
400 | 24/08/2014 | 4:00:00 a.m. | 1446 | 93323 | 8.0122 | 0 | 109.892 | 14
399 | 24/08/2014 | 3:00:00 a.m. | 1446 | 93323 | 8.0214 | 0 | 109.884 | 14.1
398 | 24/08/2014 | 2:00:00 a.m. | 1445 | 93323 | 7.9933 | 0 | 109.896 | 14.2
397 | 24/08/2014 | 1:00:00 a.m. | 1445 | 93323 | 8.009 | 0 | 109.881 | 14.4
396 | 24/08/2014 | 12:00:00 a.m. | 1445 | 93323 | 8.0068 | 0 | 109.837 | 14.3
395 | 23/08/2014 | 11:00:00 p.m. | 1445 | 93323 | 8.0173 | 0 | 109.893 | 14.4
394 | 23/08/2014 | 10:00:00 p.m. | 1445 | 93323 | 8.0016 | 0 | 109.873 | 14.5
393 | 23/08/2014 | 9:00:00 p.m. | 1445 | 93323 | 7.9973 | 0 | 109.83 | 15.8
392 | 23/08/2014 | 8:00:00 p.m. | 1445 | 93323 | 7.8292 | 0 | 109.639 | 23
391 | 23/08/2014 | 7:00:00 p.m. | 1445 | 93323 | 7.682 | 0 | 109.551 | 26.5
390 | 23/08/2014 | 6:00:00 p.m. | 1445 | 93323 | 7.5728 | 0 | 109.45 | 31.5
389 | 23/08/2014 | 5:00:00 p.m. | 1445 | 93323 | 7.4126 | 0 | 109.348 | 36.5
388 | 23/08/2014 | 4:00:00 p.m. | 1445 | 93323 | 7.3692 | 0 | 109.325 | 34.6
387 | 23/08/2014 | 3:00:00 p.m. | 1445 | 93323 | 7.3876 | 0 | 109.28 | 34
386 | 23/08/2014 | 2:00:00 p.m. | 1445 | 93323 | 7.4453 | 0 | 109.309 | 31.9
385 | 23/08/2014 | 1:00:00 p.m. | 1445 | 93323 | 7.4907 | 0 | 109.363 | 28
384 | 23/08/2014 | 12:00:00 p.m. | 1445 | 93323 | 7.6368 | 0 | 109.399 | 22.1
383 | 23/08/2014 | 11:00:00 a.m. | 1445 | 93323 | 7.8314 | 0 | 109.385 | 18
382 | 23/08/2014 | 10:00:00 a.m. | 1445 | 93323 | 7.9167 | 0 | 109.557 | 14.4
381 | 23/08/2014 | 9:00:00 a.m. | 1444 | 93323 | 8.0442 | 0 | 109.862 | 12
380 | 23/08/2014 | 8:00:00 a.m. | 1444 | 93323 | 8.1175 | 0 | 109.895 | 11.6
379 | 23/08/2014 | 7:00:00 a.m. | 1444 | 93323 | 8.1163 | 0 | 109.8 | 12.1
378 | 23/08/2014 | 6:00:00 a.m. | 1444 | 93323 | 8.0491 | 0 | 109.824 | 12.6
377 | 23/08/2014 | 5:00:00 a.m. | 1444 | 93323 | 8.037 | 0 | 109.75 | 13.2
376 | 23/08/2014 | 4:00:00 a.m. | 1444 | 93323 | 8.0039 | 0 | 109.816 | 13.8
375 | 23/08/2014 | 3:00:00 a.m. | 1444 | 93323 | 7.9933 | 0 | 109.748 | 14.4
374 | 23/08/2014 | 2:00:00 a.m. | 1444 | 93323 | 7.9812 | 0 | 109.748 | 14.8
373 | 23/08/2014 | 1:00:00 a.m. | 1444 | 93323 | 7.9753 | 0 | 109.811 | 14.9
372 | 23/08/2014 | 12:00:00 a.m. | 1444 | 93323 | 7.979 | 0 | 109.752 | 15.4
371 | 22/08/2014 | 11:00:00 p.m. | 1444 | 93323 | 7.9672 | 0 | 109.733 | 15.6
370 | 22/08/2014 | 10:00:00 p.m. | 1444 | 93323 | 7.9679 | 0 | 109.75 | 15.4
369 | 22/08/2014 | 9:00:00 p.m. | 1444 | 93323 | 7.9639 | 0 | 109.712 | 15.2
368 | 22/08/2014 | 8:00:00 p.m. | 1444 | 93323 | 7.98 | 0 | 109.734 | 17
367 | 22/08/2014 | 7:00:00 p.m. | 1443 | 93323 | 7.7678 | 0 | 109.579 | 22.1
366 | 22/08/2014 | 6:00:00 p.m. | 1443 | 93323 | 7.7902 | 0 | 109.549 | 21.7
365 | 22/08/2014 | 5:00:00 p.m. | 1443 | 93323 | 7.6611 | 0 | 109.457 | 28.1
364 | 22/08/2014 | 4:00:00 p.m. | 1443 | 93323 | 7.5626 | 0 | 109.37 | 30.6
363 | 22/08/2014 | 3:00:00 p.m. | 1443 | 93323 | 7.5206 | 0 | 109.255 | 28.3
362 | 22/08/2014 | 2:00:00 p.m. | 1438 | 93322 | 7.5621 | 0 | 109.221 | 27.6
361 | 22/08/2014 | 1:00:00 p.m. | 1432 | 93321 | 7.6302 | 0 | 109.256 | 26.1
360 | 22/08/2014 | 12:00:00 p.m. | 1423 | 93320 | 7.6391 | 0 | 109.281 | 23.1
359 | 22/08/2014 | 11:00:00 a.m. | 1423 | 93320 | 7.7653 | 0 | 109.314 | 20.1
358 | 22/08/2014 | 10:00:00 a.m. | 1423 | 93320 | 7.8472 | 0 | 109.507 | 17.1
357 | 22/08/2014 | 9:00:00 a.m. | 1423 | 93320 | 7.9394 | 0 | 109.585 | 15.8
356 | 22/08/2014 | 8:00:00 a.m. | 1423 | 93320 | 7.9634 | 0 | 109.706 | 15.5
355 | 22/08/2014 | 7:00:00 a.m. | 1423 | 93320 | 7.9512 | 0 | 109.763 | 15.5
354 | 22/08/2014 | 6:00:00 a.m. | 1423 | 93320 | 7.9652 | 0 | 109.727 | 15.6
353 | 22/08/2014 | 5:00:00 a.m. | 1423 | 93320 | 7.9506 | 0 | 109.707 | 15.7
352 | 22/08/2014 | 4:00:00 a.m. | 1423 | 93320 | 7.9363 | 0 | 109.69 | 15.8
351 | 22/08/2014 | 3:00:00 a.m. | 1423 | 93320 | 7.9476 | 0 | 109.75 | 15.9
350 | 22/08/2014 | 2:00:00 a.m. | 1423 | 93320 | 7.9384 | 0 | 109.737 | 15.9
349 | 22/08/2014 | 1:00:00 a.m. | 1423 | 93320 | 7.9382 | 0 | 109.702 | 16.7
348 | 22/08/2014 | 12:00:00 a.m. | 1423 | 93320 | 7.8926 | 0 | 109.676 | 17.4
347 | 21/08/2014 | 11:00:00 p.m. | 1423 | 93320 | 7.8949 | 0 | 109.674 | 17.9
346 | 21/08/2014 | 10:00:00 p.m. | 1423 | 93320 | 7.8682 | 0 | 109.648 | 19.3
345 | 21/08/2014 | 9:00:00 p.m. | 1423 | 93320 | 7.8307 | 0 | 109.636 | 22
344 | 21/08/2014 | 8:00:00 p.m. | 1423 | 93320 | 7.7155 | 0 | 109.577 | 26.2
343 | 21/08/2014 | 7:00:00 p.m. | 1423 | 93320 | 7.5853 | 0 | 109.474 | 28
342 | 21/08/2014 | 6:00:00 p.m. | 1416 | 93319 | 7.6329 | 0 | 109.388 | 25.3
341 | 21/08/2014 | 5:00:00 p.m. | 1396 | 93317 | 7.66 | 0 | 109.319 | 25.2
340 | 21/08/2014 | 4:00:00 p.m. | 1375 | 93314 | 7.6257 | 0 | 109.384 | 26.9
339 | 21/08/2014 | 3:00:00 p.m. | 1355 | 93311 | 7.5923 | 0 | 109.324 | 27.3
338 | 21/08/2014 | 2:00:00 p.m. | 1335 | 93309 | 7.5908 | 0 | 109.365 | 27
337 | 21/08/2014 | 1:00:00 p.m. | 1313 | 93306 | 7.6305 | 0 | 109.347 | 25.1
336 | 21/08/2014 | 12:00:00 p.m. | 1288 | 93303 | 7.6963 | 0 | 109.387 | 22.4
335 | 21/08/2014 | 11:00:00 a.m. | 1266 | 93300 | 7.7588 | 0 | 109.506 | 21.4
334 | 21/08/2014 | 10:00:00 a.m. | 1243 | 93297 | 7.7868 | 0 | 109.565 | 20.2
333 | 21/08/2014 | 9:00:00 a.m. | 1214 | 93293 | 7.836 | 0 | 109.709 | 18.5
332 | 21/08/2014 | 8:00:00 a.m. | 1189 | 93290 | 7.9125 | 0 | 109.922 | 15.5
331 | 21/08/2014 | 7:00:00 a.m. | 1171 | 93288 | 8.0689 | 0 | 109.951 | 13.2
330 | 21/08/2014 | 6:00:00 a.m. | 1171 | 93288 | 8.0308 | 0 | 110.001 | 13.6
329 | 21/08/2014 | 5:00:00 a.m. | 1171 | 93288 | 8.0165 | 0 | 109.878 | 13.8
328 | 21/08/2014 | 4:00:00 a.m. | 1171 | 93288 | 8.0134 | 0 | 109.973 | 13.7
327 | 21/08/2014 | 3:00:00 a.m. | 1171 | 93288 | 8.0136 | 0 | 109.918 | 13.8
326 | 21/08/2014 | 2:00:00 a.m. | 1171 | 93288 | 8.0122 | 0 | 110.005 | 13.8
325 | 21/08/2014 | 1:00:00 a.m. | 1171 | 93288 | 8.0331 | 0 | 109.96 | 13.9
324 | 21/08/2014 | 12:00:00 a.m. | 1171 | 93288 | 8.0245 | 0 | 109.945 | 14.5
323 | 20/08/2014 | 11:00:00 p.m. | 1171 | 93288 | 7.9815 | 0 | 109.89 | 17.4
322 | 20/08/2014 | 10:00:00 p.m. | 1171 | 93288 | 7.8486 | 0 | 109.72 | 19.7
321 | 20/08/2014 | 9:00:00 p.m. | 1171 | 93288 | 7.8197 | 0 | 109.748 | 20.6
320 | 20/08/2014 | 8:00:00 p.m. | 1171 | 93288 | 7.7971 | 0 | 109.714 | 22.2
319 | 20/08/2014 | 7:00:00 p.m. | 1171 | 93288 | 7.7476 | 0 | 109.717 | 24
318 | 20/08/2014 | 6:00:00 p.m. | 1170 | 93288 | 7.6919 | 0 | 109.583 | 26.4
317 | 20/08/2014 | 5:00:00 p.m. | 1162 | 93286 | 7.5673 | 0 | 109.424 | 27.2
316 | 20/08/2014 | 4:00:00 p.m. | 1140 | 93284 | 7.6088 | 0 | 109.376 | 28.1
315 | 20/08/2014 | 3:00:00 p.m. | 1119 | 93281 | 7.5712 | 0 | 109.533 | 28
314 | 20/08/2014 | 2:00:00 p.m. | 1096 | 93278 | 7.6236 | 0 | 109.463 | 26.8
313 | 20/08/2014 | 1:00:00 p.m. | 1069 | 93274 | 7.6501 | 0 | 109.541 | 27.9
312 | 20/08/2014 | 12:00:00 p.m. | 1058 | 93273 | 7.6802 | 0 | 109.517 | 23.3
311 | 20/08/2014 | 11:00:00 a.m. | 1045 | 93271 | 7.7574 | 0 | 109.526 | 20.8
310 | 20/08/2014 | 10:00:00 a.m. | 1034 | 93270 | 7.8233 | 0 | 109.539 | 18.9
309 | 20/08/2014 | 9:00:00 a.m. | 1017 | 93268 | 7.8921 | 0 | 109.708 | 14.1
308 | 20/08/2014 | 8:00:00 a.m. | 1007 | 93266 | 8.0617 | 0 | 109.8 | 12.7
307 | 20/08/2014 | 7:00:00 a.m. | 1006 | 93266 | 8.047 | 0 | 109.886 | 13.7
306 | 20/08/2014 | 6:00:00 a.m. | 1006 | 93266 | 8.01 | 0 | 109.743 | 14.6
305 | 20/08/2014 | 5:00:00 a.m. | 1006 | 93266 | 7.9872 | 0 | 109.768 | 14.8
304 | 20/08/2014 | 4:00:00 a.m. | 1006 | 93266 | 7.975 | 0 | 109.833 | 14.9
303 | 20/08/2014 | 3:00:00 a.m. | 1006 | 93266 | 7.9934 | 0 | 109.881 | 15.4
302 | 20/08/2014 | 2:00:00 a.m. | 1006 | 93266 | 7.9449 | 0 | 109.821 | 16
301 | 20/08/2014 | 1:00:00 a.m. | 1006 | 93266 | 7.953 | 0 | 109.812 | 16.4
300 | 20/08/2014 | 12:00:00 a.m. | 1006 | 93266 | 7.9196 | 0 | 109.78 | 16.7
299 | 19/08/2014 | 11:00:00 p.m. | 1006 | 93266 | 7.9282 | 0 | 109.762 | 17.1
298 | 19/08/2014 | 10:00:00 p.m. | 1006 | 93266 | 7.8942 | 0 | 109.776 | 17.9
297 | 19/08/2014 | 9:00:00 p.m. | 1006 | 93266 | 7.8662 | 0 | 109.71 | 19.3
296 | 19/08/2014 | 8:00:00 p.m. | 1006 | 93266 | 7.8206 | 0 | 109.727 | 20.6
295 | 19/08/2014 | 7:00:00 p.m. | 1006 | 93266 | 7.805 | 0 | 109.644 | 22
294 | 19/08/2014 | 6:00:00 p.m. | 1005 | 93266 | 7.7504 | 0 | 109.65 | 21.7
293 | 19/08/2014 | 5:00:00 p.m. | 1000 | 93265 | 7.7744 | 0 | 109.555 | 21.7
292 | 19/08/2014 | 4:00:00 p.m. | 985 | 93263 | 7.7674 | 0 | 109.52 | 21.5
291 | 19/08/2014 | 3:00:00 p.m. | 972 | 93262 | 7.7333 | 0 | 109.382 | 26.2
290 | 19/08/2014 | 2:00:00 p.m. | 956 | 93260 | 7.6001 | 0 | 109.304 | 27.2
289 | 19/08/2014 | 1:00:00 p.m. | 946 | 93258 | 7.6451 | 0 | 109.308 | 25.4
288 | 19/08/2014 | 12:00:00 p.m. | 930 | 93256 | 7.6582 | 0 | 109.293 | 23.2
287 | 19/08/2014 | 11:00:00 a.m. | 919 | 93255 | 7.7573 | 0 | 109.404 | 20.9
286 | 19/08/2014 | 10:00:00 a.m. | 905 | 93253 | 7.8392 | 0 | 109.639 | 17.8
285 | 19/08/2014 | 9:00:00 a.m. | 893 | 93252 | 7.9473 | 0 | 109.771 | 14.6
284 | 19/08/2014 | 8:00:00 a.m. | 890 | 93251 | 8.0236 | 0 | 109.805 | 13.8
283 | 19/08/2014 | 7:00:00 a.m. | 890 | 93251 | 8.0175 | 0 | 109.845 | 13.6
282 | 19/08/2014 | 6:00:00 a.m. | 890 | 93251 | 8.0105 | 0 | 109.855 | 13.7
281 | 19/08/2014 | 5:00:00 a.m. | 890 | 93251 | 8.0113 | 0 | 109.859 | 14.3
280 | 19/08/2014 | 4:00:00 a.m. | 890 | 93251 | 7.9874 | 0 | 109.839 | 15.6
279 | 19/08/2014 | 3:00:00 a.m. | 890 | 93251 | 7.9559 | 0 | 109.938 | 16.7
278 | 19/08/2014 | 2:00:00 a.m. | 890 | 93251 | 7.9296 | 0 | 109.86 | 17.2
277 | 19/08/2014 | 1:00:00 a.m. | 890 | 93251 | 7.9109 | 0 | 109.836 | 17.5
276 | 19/08/2014 | 12:00:00 a.m. | 890 | 93251 | 7.8921 | 0 | 109.818 | 18.4
275 | 18/08/2014 | 11:00:00 p.m. | 890 | 93251 | 7.8811 | 0 | 109.782 | 19.1
274 | 18/08/2014 | 10:00:00 p.m. | 890 | 93251 | 7.847 | 0 | 109.801 | 19.8
273 | 18/08/2014 | 9:00:00 p.m. | 889 | 93251 | 7.8429 | 0 | 109.789 | 20.9
272 | 18/08/2014 | 8:00:00 p.m. | 889 | 93251 | 7.7722 | 0 | 109.742 | 22.7
271 | 18/08/2014 | 7:00:00 p.m. | 889 | 93251 | 7.7146 | 0 | 109.659 | 26.6
270 | 18/08/2014 | 6:00:00 p.m. | 888 | 93251 | 7.5944 | 0 | 109.432 | 29.5
269 | 18/08/2014 | 5:00:00 p.m. | 879 | 93250 | 7.5416 | 0 | 109.435 | 28.5
268 | 18/08/2014 | 4:00:00 p.m. | 867 | 93248 | 7.5509 | 0 | 109.399 | 29
267 | 18/08/2014 | 3:00:00 p.m. | 852 | 93246 | 7.5875 | 0 | 109.397 | 28.9
266 | 18/08/2014 | 2:00:00 p.m. | 831 | 93243 | 7.5475 | 0 | 109.423 | 28
265 | 18/08/2014 | 1:00:00 p.m. | 819 | 93242 | 7.6784 | 0 | 109.564 | 23.2
264 | 18/08/2014 | 12:00:00 p.m. | 790 | 93238 | 7.7277 | 0 | 109.533 | 23.3
263 | 18/08/2014 | 11:00:00 a.m. | 766 | 93235 | 7.7293 | 0 | 109.385 | 22
262 | 18/08/2014 | 10:00:00 a.m. | 741 | 93232 | 7.7828 | 0 | 109.509 | 19.4
261 | 18/08/2014 | 9:00:00 a.m. | 719 | 93229 | 7.9302 | 0 | 109.846 | 13.9
260 | 18/08/2014 | 8:00:00 a.m. | 713 | 93228 | 8.0376 | 0 | 109.971 | 12.8
259 | 18/08/2014 | 7:00:00 a.m. | 712 | 93228 | 8.0512 | 0 | 110.186 | 13.5
258 | 18/08/2014 | 6:00:00 a.m. | 712 | 93228 | 8.078 | 0 | 110.261 | 13.9
257 | 18/08/2014 | 5:00:00 a.m. | 712 | 93228 | 8.0609 | 0 | 110.213 | 14.1
256 | 18/08/2014 | 4:00:00 a.m. | 712 | 93228 | 8.0663 | 0 | 110.125 | 14.5
255 | 18/08/2014 | 3:00:00 a.m. | 712 | 93228 | 8.0096 | 0 | 110.17 | 14.6
254 | 18/08/2014 | 2:00:00 a.m. | 712 | 93228 | 7.9869 | 0 | 110.182 | 14.9
253 | 18/08/2014 | 1:00:00 a.m. | 712 | 93228 | 7.9988 | 0 | 110.171 | 15.1
252 | 18/08/2014 | 12:00:00 a.m. | 712 | 93228 | 7.9874 | 0 | 110.155 | 16
251 | 17/08/2014 | 11:00:00 p.m. | 712 | 93228 | 7.9651 | 0 | 110.184 | 17.6
250 | 17/08/2014 | 10:00:00 p.m. | 712 | 93228 | 7.8962 | 0 | 110.053 | 19.6
249 | 17/08/2014 | 9:00:00 p.m. | 712 | 93228 | 7.8581 | 0 | 109.997 | 21.7
248 | 17/08/2014 | 8:00:00 p.m. | 712 | 93228 | 7.7716 | 0 | 109.965 | 24.4
247 | 17/08/2014 | 7:00:00 p.m. | 712 | 93228 | 7.6677 | 0 | 109.895 | 28.3
246 | 17/08/2014 | 6:00:00 p.m. | 712 | 93228 | 7.5224 | 0 | 109.815 | 31.1
245 | 17/08/2014 | 5:00:00 p.m. | 712 | 93228 | 7.5194 | 0 | 109.655 | 33.5
244 | 17/08/2014 | 4:00:00 p.m. | 712 | 93228 | 7.4197 | 0 | 109.656 | 34.8
243 | 17/08/2014 | 3:00:00 p.m. | 712 | 93228 | 7.355 | 0 | 109.607 | 36.2
242 | 17/08/2014 | 2:00:00 p.m. | 712 | 93228 | 7.43 | 0 | 109.501 | 35.6
241 | 17/08/2014 | 1:00:00 p.m. | 712 | 93228 | 7.4388 | 0 | 109.486 | 30.6
240 | 17/08/2014 | 12:00:00 p.m. | 712 | 93228 | 7.6274 | 0 | 109.401 | 22.9
239 | 17/08/2014 | 11:00:00 a.m. | 712 | 93228 | 7.7873 | 0 | 109.468 | 19.3
238 | 17/08/2014 | 10:00:00 a.m. | 712 | 93228 | 7.8875 | 0 | 109.665 | 16
237 | 17/08/2014 | 9:00:00 a.m. | 712 | 93228 | 7.9844 | 0 | 109.898 | 14.3
236 | 17/08/2014 | 8:00:00 a.m. | 712 | 93228 | 8.0124 | 0 | 109.901 | 14.5
235 | 17/08/2014 | 7:00:00 a.m. | 712 | 93228 | 7.9921 | 0 | 109.901 | 15
234 | 17/08/2014 | 6:00:00 a.m. | 712 | 93228 | 7.9816 | 0 | 109.88 | 15.4
233 | 17/08/2014 | 5:00:00 a.m. | 712 | 93228 | 7.9778 | 0 | 109.932 | 16.1
232 | 17/08/2014 | 4:00:00 a.m. | 712 | 93228 | 7.9683 | 0 | 109.838 | 16.5
231 | 17/08/2014 | 3:00:00 a.m. | 712 | 93228 | 7.9447 | 0 | 109.762 | 16.8
230 | 17/08/2014 | 2:00:00 a.m. | 712 | 93228 | 7.9318 | 0 | 109.831 | 17.2
229 | 17/08/2014 | 1:00:00 a.m. | 711 | 93228 | 7.9198 | 0 | 109.783 | 17.5
228 | 17/08/2014 | 12:00:00 a.m. | 711 | 93228 | 7.8915 | 0 | 109.743 | 17.9
227 | 16/08/2014 | 11:00:00 p.m. | 711 | 93228 | 7.8713 | 0 | 109.726 | 18.5
226 | 16/08/2014 | 10:00:00 p.m. | 711 | 93228 | 7.8747 | 0 | 109.75 | 19
225 | 16/08/2014 | 9:00:00 p.m. | 711 | 93228 | 7.8382 | 0 | 109.676 | 20.7
224 | 16/08/2014 | 8:00:00 p.m. | 711 | 93228 | 7.7601 | 0 | 109.557 | 23.8
223 | 16/08/2014 | 7:00:00 p.m. | 711 | 93228 | 7.6304 | 0 | 109.428 | 29.3
222 | 16/08/2014 | 6:00:00 p.m. | 711 | 93228 | 7.4981 | 0 | 109.297 | 32.6
221 | 16/08/2014 | 5:00:00 p.m. | 711 | 93228 | 7.4737 | 0 | 109.266 | 33.3
220 | 16/08/2014 | 4:00:00 p.m. | 711 | 93228 | 7.4482 | 0 | 109.308 | 32.3
219 | 16/08/2014 | 3:00:00 p.m. | 711 | 93228 | 7.4428 | 0 | 109.334 | 33.3
218 | 16/08/2014 | 2:00:00 p.m. | 711 | 93228 | 7.4442 | 0 | 109.424 | 33
217 | 16/08/2014 | 1:00:00 p.m. | 711 | 93228 | 7.4663 | 0 | 109.251 | 29.8
216 | 16/08/2014 | 12:00:00 p.m. | 711 | 93228 | 7.6264 | 0 | 109.223 | 22.8
215 | 16/08/2014 | 11:00:00 a.m. | 711 | 93228 | 7.7843 | 0 | 109.359 | 18.9
214 | 16/08/2014 | 10:00:00 a.m. | 711 | 93228 | 7.898 | 0 | 109.564 | 15.5
213 | 16/08/2014 | 9:00:00 a.m. | 711 | 93228 | 7.9942 | 0 | 109.65 | 13.3
212 | 16/08/2014 | 8:00:00 a.m. | 711 | 93228 | 8.043 | 0 | 109.703 | 13.1
211 | 16/08/2014 | 7:00:00 a.m. | 711 | 93228 | 8.0143 | 0 | 109.77 | 13.9
210 | 16/08/2014 | 6:00:00 a.m. | 711 | 93228 | 7.9998 | 0 | 109.773 | 14.6
209 | 16/08/2014 | 5:00:00 a.m. | 711 | 93228 | 7.9713 | 0 | 109.667 | 15.6
208 | 16/08/2014 | 4:00:00 a.m. | 711 | 93228 | 7.9435 | 0 | 109.719 | 15.8
207 | 16/08/2014 | 3:00:00 a.m. | 711 | 93228 | 7.9463 | 0 | 109.739 | 15.6
206 | 16/08/2014 | 2:00:00 a.m. | 711 | 93228 | 7.959 | 0 | 109.753 | 15.7
205 | 16/08/2014 | 1:00:00 a.m. | 711 | 93228 | 7.9645 | 0 | 109.757 | 16
204 | 16/08/2014 | 12:00:00 a.m. | 711 | 93228 | 7.9427 | 0 | 109.725 | 15.9
203 | 15/08/2014 | 11:00:00 p.m. | 711 | 93228 | 7.9656 | 0 | 109.681 | 15.9
202 | 15/08/2014 | 10:00:00 p.m. | 711 | 93228 | 7.9311 | 0 | 109.682 | 15.8
201 | 15/08/2014 | 9:00:00 p.m. | 711 | 93228 | 7.9722 | 0 | 109.783 | 15.3
200 | 15/08/2014 | 8:00:00 p.m. | 710 | 93228 | 7.9776 | 0 | 109.767 | 17
199 | 15/08/2014 | 7:00:00 p.m. | 710 | 93228 | 7.9318 | 0 | 109.704 | 23.7
198 | 15/08/2014 | 6:00:00 p.m. | 710 | 93228 | 7.5391 | 0 | 109.356 | 30.3
197 | 15/08/2014 | 5:00:00 p.m. | 701 | 93227 | 7.4993 | 0 | 109.222 | 30.6
196 | 15/08/2014 | 4:00:00 p.m. | 687 | 93225 | 7.533 | 0 | 109.3 | 29.6
195 | 15/08/2014 | 3:00:00 p.m. | 672 | 93223 | 7.5129 | 0 | 109.255 | 29.6
194 | 15/08/2014 | 2:00:00 p.m. | 656 | 93221 | 7.551 | 0 | 109.346 | 30.4
193 | 15/08/2014 | 1:00:00 p.m. | 647 | 93219 | 7.6169 | 0 | 109.382 | 25.6
192 | 15/08/2014 | 12:00:00 p.m. | 627 | 93217 | 7.6927 | 0 | 109.289 | 22
191 | 15/08/2014 | 11:00:00 a.m. | 613 | 93215 | 7.7663 | 0 | 109.408 | 20.3
190 | 15/08/2014 | 10:00:00 a.m. | 599 | 93213 | 7.8228 | 0 | 109.63 | 18.4
189 | 15/08/2014 | 9:00:00 a.m. | 582 | 93211 | 7.9103 | 0 | 109.883 | 14.3
188 | 15/08/2014 | 8:00:00 a.m. | 572 | 93210 | 8.0864 | 0 | 110.021 | 10.9
187 | 15/08/2014 | 7:00:00 a.m. | 571 | 93210 | 8.0988 | 0 | 110.096 | 10.9
186 | 15/08/2014 | 6:00:00 a.m. | 571 | 93210 | 8.1309 | 0 | 110.051 | 11.3
185 | 15/08/2014 | 5:00:00 a.m. | 571 | 93210 | 8.0767 | 0 | 109.938 | 11.9
184 | 15/08/2014 | 4:00:00 a.m. | 571 | 93210 | 8.0704 | 0 | 109.955 | 12.4
183 | 15/08/2014 | 3:00:00 a.m. | 571 | 93210 | 8.0424 | 0 | 110.012 | 13.1
182 | 15/08/2014 | 2:00:00 a.m. | 571 | 93210 | 8.0325 | 0 | 110.001 | 13.9
181 | 15/08/2014 | 1:00:00 a.m. | 571 | 93210 | 8.0036 | 0 | 110.007 | 14.8
180 | 15/08/2014 | 12:00:00 a.m. | 571 | 93210 | 7.9767 | 0 | 109.947 | 15.8
179 | 14/08/2014 | 11:00:00 p.m. | 571 | 93210 | 7.9289 | 0 | 109.904 | 17.2
178 | 14/08/2014 | 10:00:00 p.m. | 571 | 93210 | 7.8954 | 0 | 109.905 | 19
177 | 14/08/2014 | 9:00:00 p.m. | 571 | 93210 | 7.8292 | 0 | 109.744 | 21.9
176 | 14/08/2014 | 8:00:00 p.m. | 571 | 93210 | 7.724 | 0 | 109.703 | 25.6
175 | 14/08/2014 | 7:00:00 p.m. | 571 | 93210 | 7.6019 | 0 | 109.603 | 28.4
174 | 14/08/2014 | 6:00:00 p.m. | 570 | 93210 | 7.5808 | 0 | 109.484 | 28.8
173 | 14/08/2014 | 5:00:00 p.m. | 565 | 93209 | 7.5887 | 0 | 109.416 | 27.8
172 | 14/08/2014 | 4:00:00 p.m. | 549 | 93207 | 7.6049 | 0 | 109.406 | 28
171 | 14/08/2014 | 3:00:00 p.m. | 534 | 93205 | 7.565 | 0 | 109.379 | 26.2
170 | 14/08/2014 | 2:00:00 p.m. | 516 | 93202 | 7.6864 | 0 | 109.429 | 24.4
169 | 14/08/2014 | 1:00:00 p.m. | 508 | 93201 | 7.6588 | 0 | 109.397 | 24.5
168 | 14/08/2014 | 12:00:00 p.m. | 489 | 93199 | 7.6832 | 0 | 109.339 | 22.9
167 | 14/08/2014 | 11:00:00 a.m. | 476 | 93197 | 7.7557 | 0 | 109.585 | 20.4
166 | 14/08/2014 | 10:00:00 a.m. | 465 | 93196 | 7.8176 | 0 | 109.634 | 18.5
165 | 14/08/2014 | 9:00:00 a.m. | 453 | 93194 | 7.8953 | 0 | 109.68 | 15.6
164 | 14/08/2014 | 8:00:00 a.m. | 445 | 93193 | 7.9919 | 0 | 109.589 | 13.8
163 | 14/08/2014 | 7:00:00 a.m. | 444 | 93193 | 8.0043 | 0 | 109.735 | 13.7
162 | 14/08/2014 | 6:00:00 a.m. | 444 | 93193 | 8.0109 | 0 | 109.768 | 13.6
161 | 14/08/2014 | 5:00:00 a.m. | 444 | 93193 | 8.0034 | 0 | 109.785 | 14.1
160 | 14/08/2014 | 4:00:00 a.m. | 444 | 93193 | 7.9874 | 0 | 109.728 | 14.4
159 | 14/08/2014 | 3:00:00 a.m. | 444 | 93193 | 7.9844 | 0 | 109.733 | 14.4
158 | 14/08/2014 | 2:00:00 a.m. | 444 | 93193 | 7.9973 | 0 | 109.747 | 14.3
157 | 14/08/2014 | 1:00:00 a.m. | 444 | 93193 | 7.9927 | 0 | 109.757 | 14.3
156 | 14/08/2014 | 12:00:00 a.m. | 444 | 93193 | 7.9935 | 0 | 109.793 | 14.4
155 | 13/08/2014 | 11:00:00 p.m. | 444 | 93193 | 7.9822 | 0 | 109.874 | 14.6
154 | 13/08/2014 | 10:00:00 p.m. | 444 | 93193 | 7.9886 | 0 | 109.865 | 14.6
153 | 13/08/2014 | 9:00:00 p.m. | 444 | 93193 | 7.9908 | 0 | 109.832 | 14.9
152 | 13/08/2014 | 8:00:00 p.m. | 444 | 93193 | 7.974 | 0 | 109.779 | 15.4
151 | 13/08/2014 | 7:00:00 p.m. | 444 | 93193 | 7.945 | 0 | 109.764 | 19
150 | 13/08/2014 | 6:00:00 p.m. | 443 | 93193 | 7.7264 | 0 | 109.513 | 28.7
149 | 13/08/2014 | 5:00:00 p.m. | 441 | 93193 | 7.4303 | 0 | 109.314 | 28.8
148 | 13/08/2014 | 4:00:00 p.m. | 441 | 93193 | 7.6241 | 0 | 109.309 | 29.2
147 | 13/08/2014 | 3:00:00 p.m. | 440 | 93193 | 7.5143 | 0 | 109.226 | 29.2
146 | 13/08/2014 | 2:00:00 p.m. | 440 | 93193 | 7.5048 | 0 | 109.235 | 28.2
145 | 13/08/2014 | 1:00:00 p.m. | 436 | 93192 | 7.6226 | 0 | 109.248 | 26.1
144 | 13/08/2014 | 12:00:00 p.m. | 430 | 93191 | 7.7262 | 0 | 109.252 | 21.8
143 | 13/08/2014 | 11:00:00 a.m. | 430 | 93191 | 7.7592 | 0 | 109.291 | 19.6
142 | 13/08/2014 | 10:00:00 a.m. | 428 | 93191 | 7.8573 | 0 | 109.432 | 18.1
141 | 13/08/2014 | 9:00:00 a.m. | 420 | 93190 | 7.8827 | 0 | 109.633 | 16.1
140 | 13/08/2014 | 8:00:00 a.m. | 411 | 93189 | 7.9753 | 0 | 109.665 | 14.7
139 | 13/08/2014 | 7:00:00 a.m. | 410 | 93189 | 7.968 | 0 | 109.686 | 14.8
138 | 13/08/2014 | 6:00:00 a.m. | 410 | 93189 | 7.9825 | 0 | 109.654 | 14.7
137 | 13/08/2014 | 5:00:00 a.m. | 410 | 93189 | 7.9757 | 0 | 109.743 | 14.4
136 | 13/08/2014 | 4:00:00 a.m. | 410 | 93189 | 7.9857 | 0 | 109.713 | 14.9
135 | 13/08/2014 | 3:00:00 a.m. | 410 | 93189 | 7.9554 | 0 | 109.736 | 15.1
134 | 13/08/2014 | 2:00:00 a.m. | 410 | 93189 | 7.9618 | 0 | 109.699 | 14.7
133 | 13/08/2014 | 1:00:00 a.m. | 410 | 93189 | 7.973 | 0 | 109.723 | 14.9
132 | 13/08/2014 | 12:00:00 a.m. | 410 | 93189 | 7.9714 | 0 | 109.753 | 15.4
131 | 12/08/2014 | 11:00:00 p.m. | 410 | 93189 | 7.9501 | 0 | 109.826 | 15.9
130 | 12/08/2014 | 10:00:00 p.m. | 410 | 93189 | 7.9482 | 0 | 109.747 | 16
129 | 12/08/2014 | 9:00:00 p.m. | 410 | 93189 | 7.9412 | 0 | 109.706 | 16.2
128 | 12/08/2014 | 8:00:00 p.m. | 410 | 93189 | 7.94 | 0 | 109.754 | 16.4
127 | 12/08/2014 | 7:00:00 p.m. | 410 | 93189 | 7.9176 | 0 | 109.694 | 18.8
126 | 12/08/2014 | 6:00:00 p.m. | 409 | 93189 | 7.7985 | 0 | 109.504 | 23.5
125 | 12/08/2014 | 5:00:00 p.m. | 406 | 93188 | 7.6509 | 0 | 109.425 | 28
124 | 12/08/2014 | 4:00:00 p.m. | 395 | 93187 | 7.5333 | 0 | 109.372 | 31.6
123 | 12/08/2014 | 3:00:00 p.m. | 388 | 93186 | 7.544 | 0 | 109.363 | 30.2
122 | 12/08/2014 | 2:00:00 p.m. | 377 | 93184 | 7.4429 | 0 | 109.328 | 30.6
121 | 12/08/2014 | 1:00:00 p.m. | 372 | 93184 | 7.625 | 0 | 109.373 | 25
120 | 12/08/2014 | 12:00:00 p.m. | 359 | 93182 | 7.7288 | 0 | 109.429 | 21.9
119 | 12/08/2014 | 11:00:00 a.m. | 353 | 93181 | 7.7976 | 0 | 109.578 | 19.2
118 | 12/08/2014 | 10:00:00 a.m. | 342 | 93180 | 7.8798 | 0 | 109.678 | 17.5
117 | 12/08/2014 | 9:00:00 a.m. | 335 | 93179 | 7.901 | 0 | 109.851 | 15.8
116 | 12/08/2014 | 8:00:00 a.m. | 326 | 93178 | 8.0099 | 0 | 109.86 | 14.3
115 | 12/08/2014 | 7:00:00 a.m. | 326 | 93178 | 8.0088 | 0 | 109.954 | 14.2
114 | 12/08/2014 | 6:00:00 a.m. | 325 | 93178 | 8.0006 | 0 | 109.912 | 14.2
113 | 12/08/2014 | 5:00:00 a.m. | 325 | 93178 | 7.9993 | 0 | 109.944 | 14.2
112 | 12/08/2014 | 4:00:00 a.m. | 325 | 93178 | 8.0105 | 0 | 109.864 | 14.3
111 | 12/08/2014 | 3:00:00 a.m. | 325 | 93178 | 8.0018 | 0 | 110.054 | 14.8
110 | 12/08/2014 | 2:00:00 a.m. | 325 | 93178 | 7.9808 | 0 | 109.873 | 15.2
109 | 12/08/2014 | 1:00:00 a.m. | 325 | 93178 | 7.9741 | 0 | 109.995 | 15.2
108 | 12/08/2014 | 12:00:00 a.m. | 325 | 93178 | 7.9705 | 0 | 109.929 | 15.2
107 | 11/08/2014 | 11:00:00 p.m. | 325 | 93178 | 7.9745 | 0 | 109.922 | 15.3
106 | 11/08/2014 | 10:00:00 p.m. | 325 | 93178 | 7.9751 | 0 | 109.906 | 15.6
105 | 11/08/2014 | 9:00:00 p.m. | 325 | 93178 | 7.9651 | 0 | 109.807 | 15.9
104 | 11/08/2014 | 8:00:00 p.m. | 325 | 93178 | 7.942 | 0 | 109.876 | 17.4
103 | 11/08/2014 | 7:00:00 p.m. | 324 | 93178 | 7.8755 | 0 | 109.835 | 20.6
102 | 11/08/2014 | 6:00:00 p.m. | 324 | 93178 | 7.7553 | 0 | 109.718 | 22.9
101 | 11/08/2014 | 5:00:00 p.m. | 321 | 93177 | 7.7202 | 0 | 109.503 | 26.6
100 | 11/08/2014 | 4:00:00 p.m. | 311 | 93176 | 7.5412 | 0 | 109.436 | 29.5
99 | 11/08/2014 | 3:00:00 p.m. | 305 | 93175 | 7.5584 | 0 | 109.368 | 28.8
98 | 11/08/2014 | 2:00:00 p.m. | 296 | 93174 | 7.5684 | 0 | 109.412 | 29.3
97 | 11/08/2014 | 1:00:00 p.m. | 288 | 93173 | 7.6159 | 0 | 109.42 | 25.3
96 | 11/08/2014 | 12:00:00 p.m. | 270 | 93171 | 7.7052 | 0 | 109.472 | 22.4
95 | 11/08/2014 | 11:00:00 a.m. | 258 | 93169 | 7.7734 | 0 | 109.517 | 20.7
94 | 11/08/2014 | 10:00:00 a.m. | 250 | 93168 | 7.8139 | 0 | 109.497 | 18
93 | 11/08/2014 | 9:00:00 a.m. | 243 | 93167 | 7.909 | 0 | 109.849 | 14.6
92 | 11/08/2014 | 8:00:00 a.m. | 238 | 93166 | 8.0457 | 0 | 109.993 | 13.1
91 | 11/08/2014 | 7:00:00 a.m. | 238 | 93166 | 8.0547 | 0 | 109.983 | 12.7
90 | 11/08/2014 | 6:00:00 a.m. | 238 | 93166 | 8.05 | 0 | 109.883 | 12.5
89 | 11/08/2014 | 5:00:00 a.m. | 238 | 93166 | 8.0916 | 0 | 109.947 | 12.2
88 | 11/08/2014 | 4:00:00 a.m. | 238 | 93166 | 8.0493 | 0 | 109.917 | 12.8
87 | 11/08/2014 | 3:00:00 a.m. | 238 | 93166 | 8.0435 | 0 | 109.892 | 13.6
86 | 11/08/2014 | 2:00:00 a.m. | 238 | 93166 | 8.0223 | 0 | 109.974 | 14.5
85 | 11/08/2014 | 1:00:00 a.m. | 238 | 93166 | 7.983 | 0 | 109.909 | 14.9
84 | 11/08/2014 | 12:00:00 a.m. | 238 | 93166 | 7.9793 | 0 | 109.941 | 14.8
83 | 10/08/2014 | 11:00:00 p.m. | 237 | 93166 | 7.9903 | 0 | 109.92 | 14.7
82 | 10/08/2014 | 10:00:00 p.m. | 237 | 93166 | 8.0233 | 0 | 109.96 | 14.3
81 | 10/08/2014 | 9:00:00 p.m. | 237 | 93166 | 8.0099 | 0 | 109.954 | 14
80 | 10/08/2014 | 8:00:00 p.m. | 237 | 93166 | 8.0274 | 0 | 109.925 | 15.5
79 | 10/08/2014 | 7:00:00 p.m. | 237 | 93166 | 7.8015 | 0 | 109.707 | 24.9
78 | 10/08/2014 | 6:00:00 p.m. | 237 | 93166 | 7.6659 | 0 | 109.674 | 25.3
77 | 10/08/2014 | 5:00:00 p.m. | 237 | 93166 | 7.6597 | 0 | 109.642 | 25.2
76 | 10/08/2014 | 4:00:00 p.m. | 237 | 93166 | 7.6925 | 0 | 109.753 | 26.7
75 | 10/08/2014 | 3:00:00 p.m. | 237 | 93166 | 7.4938 | 0 | 109.608 | 34.5
74 | 10/08/2014 | 2:00:00 p.m. | 237 | 93166 | 7.3167 | 0 | 109.407 | 36
73 | 10/08/2014 | 1:00:00 p.m. | 237 | 93166 | 7.4455 | 0 | 109.461 | 30.6
72 | 10/08/2014 | 12:00:00 p.m. | 237 | 93166 | 7.6319 | 0 | 109.419 | 23.2
71 | 10/08/2014 | 11:00:00 a.m. | 237 | 93166 | 7.7631 | 0 | 109.51 | 19.6
70 | 10/08/2014 | 10:00:00 a.m. | 237 | 93166 | 7.8758 | 0 | 109.563 | 16.4
69 | 10/08/2014 | 9:00:00 a.m. | 237 | 93166 | 7.939 | 0 | 109.849 | 14.5
68 | 10/08/2014 | 8:00:00 a.m. | 237 | 93166 | 8.0046 | 0 | 109.932 | 14
67 | 10/08/2014 | 7:00:00 a.m. | 237 | 93166 | 8.0218 | 0 | 109.959 | 13.4
66 | 10/08/2014 | 6:00:00 a.m. | 237 | 93166 | 8.0548 | 0 | 109.984 | 13.3
65 | 10/08/2014 | 5:00:00 a.m. | 237 | 93166 | 8.0348 | 0 | 109.94 | 14
64 | 10/08/2014 | 4:00:00 a.m. | 237 | 93166 | 8.0062 | 0 | 110.006 | 14
63 | 10/08/2014 | 3:00:00 a.m. | 237 | 93166 | 8.0127 | 0 | 109.962 | 14.4
62 | 10/08/2014 | 2:00:00 a.m. | 237 | 93166 | 8.0278 | 0 | 109.996 | 14.8
61 | 10/08/2014 | 1:00:00 a.m. | 237 | 93166 | 7.9781 | 0 | 110.04 | 15.4
60 | 10/08/2014 | 12:00:00 a.m. | 237 | 93166 | 7.9543 | 0 | 109.919 | 16.4
59 | 09/08/2014 | 11:00:00 p.m. | 237 | 93166 | 7.9209 | 0 | 109.858 | 17.9
58 | 09/08/2014 | 10:00:00 p.m. | 237 | 93166 | 7.8693 | 0 | 109.841 | 19.8
57 | 09/08/2014 | 9:00:00 p.m. | 237 | 93166 | 7.7933 | 0 | 109.796 | 22.4
56 | 09/08/2014 | 8:00:00 p.m. | 237 | 93166 | 7.737 | 0 | 109.675 | 24.8
55 | 09/08/2014 | 7:00:00 p.m. | 237 | 93166 | 7.66 | 0 | 109.618 | 26.9
54 | 09/08/2014 | 6:00:00 p.m. | 237 | 93166 | 7.5692 | 0 | 109.569 | 30.9
53 | 09/08/2014 | 5:00:00 p.m. | 237 | 93166 | 7.5021 | 0 | 109.431 | 30.6
52 | 09/08/2014 | 4:00:00 p.m. | 237 | 93166 | 7.5546 | 0 | 109.533 | 30.1
51 | 09/08/2014 | 3:00:00 p.m. | 237 | 93166 | 7.4798 | 0 | 109.46 | 34.7
50 | 09/08/2014 | 2:00:00 p.m. | 237 | 93166 | 7.3883 | 0 | 109.384 | 33.7
49 | 09/08/2014 | 1:00:00 p.m. | 237 | 93166 | 7.4879 | 0 | 109.411 | 29
48 | 09/08/2014 | 12:00:00 p.m. | 237 | 93166 | 7.6833 | 0 | 109.478 | 22.3
47 | 09/08/2014 | 11:00:00 a.m. | 237 | 93166 | 7.7933 | 0 | 109.46 | 18.5
46 | 09/08/2014 | 10:00:00 a.m. | 236 | 93166 | 7.9114 | 0 | 109.632 | 15.2
45 | 09/08/2014 | 9:00:00 a.m. | 236 | 93166 | 7.9828 | 0 | 109.895 | 12.9
44 | 09/08/2014 | 8:00:00 a.m. | 235 | 93166 | 8.0704 | 0 | 110.021 | 11.8
43 | 09/08/2014 | 7:00:00 a.m. | 235 | 93166 | 8.0556 | 0 | 109.988 | 11.3
42 | 09/08/2014 | 6:00:00 a.m. | 235 | 93166 | 8.1085 | 0 | 110.104 | 11.5
41 | 09/08/2014 | 5:00:00 a.m. | 235 | 93166 | 8.1282 | 0 | 110.129 | 11.9
40 | 09/08/2014 | 4:00:00 a.m. | 235 | 93166 | 8.0776 | 0 | 110.006 | 12.4
39 | 09/08/2014 | 3:00:00 a.m. | 235 | 93166 | 8.0391 | 0 | 109.95 | 12.8
38 | 09/08/2014 | 2:00:00 a.m. | 235 | 93166 | 8.0442 | 0 | 109.957 | 13.6
37 | 09/08/2014 | 1:00:00 a.m. | 235 | 93166 | 8.0287 | 0 | 109.98 | 14.7
36 | 09/08/2014 | 12:00:00 a.m. | 235 | 93166 | 7.9668 | 0 | 110.074 | 15.7
35 | 08/08/2014 | 11:00:00 p.m. | 235 | 93166 | 7.9635 | 0 | 110.006 | 15.9
34 | 08/08/2014 | 10:00:00 p.m. | 235 | 93166 | 7.9681 | 0 | 109.9 | 15.7
33 | 08/08/2014 | 9:00:00 p.m. | 235 | 93166 | 7.9758 | 0 | 109.862 | 15.9
32 | 08/08/2014 | 8:00:00 p.m. | 234 | 93166 | 7.9363 | 0 | 109.807 | 16.1
31 | 08/08/2014 | 7:00:00 p.m. | 234 | 93166 | 7.9452 | 0 | 109.91 | 16.6
30 | 08/08/2014 | 6:00:00 p.m. | 234 | 93166 | 7.8871 | 0 | 109.92 | 20.1
29 | 08/08/2014 | 5:00:00 p.m. | 202 | 93162 | 7.7364 | 0 | 109.86 | 23.5
28 | 08/08/2014 | 4:00:00 p.m. | 175 | 93158 | 7.7092 | 0 | 109.749 | 25.1
27 | 08/08/2014 | 3:00:00 p.m. | 141 | 93154 | 7.6073 | 0 | 109.574 | 32.5
26 | 08/08/2014 | 2:00:00 p.m. | 136 | 93153 | 7.4027 | 0 | 109.445 | 31.4
25 | 08/08/2014 | 1:00:00 p.m. | 131 | 93153 | 7.6319 | 0 | 109.508 | 24.4
24 | 08/08/2014 | 12:00:00 p.m. | 115 | 93150 | 7.7441 | 0 | 109.544 | 21.8
23 | 08/08/2014 | 11:00:00 a.m. | 99 | 93148 | 7.7683 | 0 | 109.687 | 19.7
22 | 08/08/2014 | 10:00:00 a.m. | 93 | 93148 | 7.8729 | 0 | 109.64 | 17.7
21 | 08/08/2014 | 9:00:00 a.m. | 82 | 93146 | 7.9485 | 0 | 109.892 | 14.2
20 | 08/08/2014 | 8:00:00 a.m. | 79 | 93146 | 8.0233 | 0 | 109.956 | 14
19 | 08/08/2014 | 7:00:00 a.m. | 79 | 93146 | 8.0297 | 0 | 109.926 | 14.1
18 | 08/08/2014 | 6:00:00 a.m. | 79 | 93146 | 7.9966 | 0 | 109.844 | 14
17 | 08/08/2014 | 5:00:00 a.m. | 79 | 93146 | 8.0069 | 0 | 110.045 | 13.8
16 | 08/08/2014 | 4:00:00 a.m. | 79 | 93146 | 8.0233 | 0 | 109.948 | 14.1
15 | 08/08/2014 | 3:00:00 a.m. | 79 | 93146 | 8.01 | 0 | 110.023 | 14.3
14 | 08/08/2014 | 2:00:00 a.m. | 79 | 93146 | 8.0133 | 0 | 109.924 | 14.4
13 | 08/08/2014 | 1:00:00 a.m. | 79 | 93146 | 7.9884 | 0 | 109.857 | 14.9
12 | 08/08/2014 | 12:00:00 a.m. | 79 | 93146 | 7.9711 | 0 | 109.916 | 15.5
11 | 07/08/2014 | 11:00:00 p.m. | 79 | 93146 | 7.9562 | 0 | 110.03 | 16
10 | 07/08/2014 | 10:00:00 p.m. | 79 | 93146 | 7.9455 | 0 | 109.887 | 16.4
9 | 07/08/2014 | 9:00:00 p.m. | 79 | 93146 | 7.9543 | 0 | 109.877 | 16.5
8 | 07/08/2014 | 8:00:00 p.m. | 79 | 93146 | 7.9339 | 0 | 109.914 | 16.9
7 | 07/08/2014 | 7:00:00 p.m. | 79 | 93146 | 7.9574 | 0 | 109.865 | 16.8
6 | 07/08/2014 | 6:00:00 p.m. | 78 | 93146 | 7.9429 | 0 | 109.834 | 16.8
5 | 07/08/2014 | 5:00:00 p.m. | 78 | 93146 | 7.9479 | 0 | 109.787 | 17.6
4 | 07/08/2014 | 4:00:00 p.m. | 76 | 93146 | 7.8733 | 0 | 109.853 | 19.6
3 | 07/08/2014 | 3:00:00 p.m. | 64 | 93144 | 7.7629 | 0 | 109.606 | 26.5
2 | 07/08/2014 | 2:00:00 p.m. | 45 | 93141 | 7.6162 | 0 | 109.463 | 27.6
1 | 07/08/2014 | 1:00:00 p.m. | 26 | 93139 | 7.6338 | 0 | 109.414 | 25.4