## Saporis horario 083114 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 337
Fault/Alarms Recorded: | Date | Time | Condition
1 | 13/08/2014 | 9:30:00 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
2 | 13/08/2014 | 7:21:34 p.m. | 128 (Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
337 | 01/09/2014 | 11:00:00 a.m. | 908534 | 367296 | 7.9549 | 0 | 100.672 | 21.3 | 6.19
336 | 01/09/2014 | 10:00:00 a.m. | 908472 | 367288 | 8.0025 | 0 | 100.838 | 19.9 | 6.18
335 | 01/09/2014 | 9:00:00 a.m. | 908405 | 367280 | 8.0672 | 0 | 101.172 | 14.3 | 6.17
334 | 01/09/2014 | 8:00:00 a.m. | 908368 | 367275 | 8.362 | 0 | 101.338 | 11.4 | 6.17
333 | 01/09/2014 | 7:00:00 a.m. | 908368 | 367275 | 8.2826 | 0 | 101.341 | 12.9 | 6.18
332 | 01/09/2014 | 6:00:00 a.m. | 908368 | 367275 | 8.2427 | 0 | 101.367 | 17.1 | 6.18
331 | 01/09/2014 | 5:00:00 a.m. | 908340 | 367272 | 8.0962 | 0 | 101.29 | 19 | 6.17
330 | 01/09/2014 | 4:00:00 a.m. | 908276 | 367264 | 8.0904 | 0 | 101.246 | 18.9 | 6.18
329 | 01/09/2014 | 3:00:00 a.m. | 908210 | 367256 | 8.0966 | 0 | 101.221 | 18.5 | 6.18
328 | 01/09/2014 | 2:00:00 a.m. | 908145 | 367248 | 8.1087 | 0 | 101.155 | 18.4 | 6.18
327 | 01/09/2014 | 1:00:00 a.m. | 908058 | 367237 | 8.0566 | 0 | 101.234 | 15.6 | 6.17
326 | 01/09/2014 | 12:00:00 a.m. | 908009 | 367231 | 8.0342 | 0 | 101.325 | 12.4 | 6.18
325 | 31/08/2014 | 11:00:00 p.m. | 907975 | 367227 | 8.3463 | 0 | 101.518 | 13.1 | 6.18
324 | 31/08/2014 | 10:00:00 p.m. | 907975 | 367227 | 8.1803 | 0 | 101.262 | 17.4 | 6.19
323 | 31/08/2014 | 9:00:00 p.m. | 907975 | 367227 | 8.1053 | 0 | 101.176 | 19.2 | 6.19
322 | 31/08/2014 | 8:00:00 p.m. | 907975 | 367227 | 8.0238 | 0 | 101.109 | 22.6 | 6.19
321 | 31/08/2014 | 7:00:00 p.m. | 907975 | 367227 | 7.9545 | 0 | 101.093 | 25.4 | 6.19
320 | 31/08/2014 | 6:00:00 p.m. | 907975 | 367227 | 7.8079 | 0 | 100.928 | 29.7 | 6.2
319 | 31/08/2014 | 5:00:00 p.m. | 907975 | 367227 | 7.6739 | 0 | 100.694 | 31.4 | 6.2
318 | 31/08/2014 | 4:00:00 p.m. | 907975 | 367227 | 7.7213 | 0 | 100.74 | 28.2 | 6.2
317 | 31/08/2014 | 3:00:00 p.m. | 907975 | 367227 | 7.8352 | 0 | 100.703 | 25.4 | 6.19
316 | 31/08/2014 | 2:00:00 p.m. | 907966 | 367226 | 7.9185 | 0 | 100.795 | 24.4 | 6.19
315 | 31/08/2014 | 1:00:00 p.m. | 907942 | 367223 | 7.9173 | 0 | 100.927 | 22.4 | 6.19
314 | 31/08/2014 | 12:00:00 p.m. | 907942 | 367223 | 7.9942 | 0 | 100.938 | 20.7 | 6.19
313 | 31/08/2014 | 11:00:00 a.m. | 907942 | 367223 | 8.0383 | 0 | 100.949 | 17.6 | 6.19
312 | 31/08/2014 | 10:00:00 a.m. | 907942 | 367223 | 8.1451 | 0 | 101.134 | 14.2 | 6.19
311 | 31/08/2014 | 9:00:00 a.m. | 907942 | 367223 | 8.2715 | 0 | 101.251 | 12.1 | 6.18
310 | 31/08/2014 | 8:00:00 a.m. | 907942 | 367223 | 8.3153 | 0 | 101.286 | 11.3 | 6.18
309 | 31/08/2014 | 7:00:00 a.m. | 907942 | 367223 | 8.3208 | 0 | 101.341 | 11.1 | 6.18
308 | 31/08/2014 | 6:00:00 a.m. | 907942 | 367223 | 8.3395 | 0 | 101.331 | 11 | 6.18
307 | 31/08/2014 | 5:00:00 a.m. | 907942 | 367223 | 8.3221 | 0 | 101.334 | 11.6 | 6.18
306 | 31/08/2014 | 4:00:00 a.m. | 907942 | 367223 | 8.2949 | 0 | 101.31 | 11.8 | 6.18
305 | 31/08/2014 | 3:00:00 a.m. | 907942 | 367223 | 8.3132 | 0 | 101.307 | 12 | 6.18
304 | 31/08/2014 | 2:00:00 a.m. | 907942 | 367223 | 8.2955 | 0 | 101.334 | 12.4 | 6.18
303 | 31/08/2014 | 1:00:00 a.m. | 907942 | 367223 | 8.2825 | 0 | 101.313 | 12.9 | 6.18
302 | 31/08/2014 | 12:00:00 a.m. | 907942 | 367223 | 8.2723 | 0 | 101.223 | 15.4 | 6.19
301 | 30/08/2014 | 11:00:00 p.m. | 907942 | 367223 | 8.1544 | 0 | 101.164 | 16.5 | 6.19
300 | 30/08/2014 | 10:00:00 p.m. | 907942 | 367223 | 8.1628 | 0 | 101.142 | 16.3 | 6.19
299 | 30/08/2014 | 9:00:00 p.m. | 907942 | 367223 | 8.1311 | 0 | 101.149 | 18.4 | 6.19
298 | 30/08/2014 | 8:00:00 p.m. | 907942 | 367223 | 8.0351 | 0 | 100.951 | 21.4 | 6.19
297 | 30/08/2014 | 7:00:00 p.m. | 907881 | 367215 | 7.955 | 0 | 100.855 | 22.5 | 6.2
296 | 30/08/2014 | 6:00:00 p.m. | 907816 | 367207 | 7.9725 | 0 | 100.818 | 23.6 | 6.2
295 | 30/08/2014 | 5:00:00 p.m. | 907770 | 367201 | 7.8441 | 0 | 100.797 | 29 | 6.2
294 | 30/08/2014 | 4:00:00 p.m. | 907770 | 367201 | 7.7621 | 0 | 100.825 | 29 | 6.2
293 | 30/08/2014 | 3:00:00 p.m. | 907770 | 367201 | 7.7395 | 0 | 100.731 | 28.5 | 6.2
292 | 30/08/2014 | 2:00:00 p.m. | 907770 | 367201 | 7.8107 | 0 | 100.825 | 24.9 | 6.2
291 | 30/08/2014 | 1:00:00 p.m. | 907751 | 367199 | 7.9528 | 0 | 100.613 | 23.5 | 6.2
290 | 30/08/2014 | 12:00:00 p.m. | 907687 | 367191 | 7.8915 | 0 | 100.675 | 24.4 | 6.2
289 | 30/08/2014 | 11:00:00 a.m. | 907653 | 367186 | 7.9119 | 0 | 100.921 | 20.9 | 6.19
288 | 30/08/2014 | 10:00:00 a.m. | 907653 | 367186 | 8.0411 | 0 | 100.993 | 16.4 | 6.19
287 | 30/08/2014 | 9:00:00 a.m. | 907637 | 367184 | 8.2656 | 0 | 101.287 | 10.2 | 6.18
286 | 30/08/2014 | 8:00:00 a.m. | 907637 | 367184 | 8.4199 | 0 | 101.383 | 8.9 | 6.18
285 | 30/08/2014 | 7:00:00 a.m. | 907637 | 367184 | 8.4014 | 0 | 101.492 | 9.3 | 6.18
284 | 30/08/2014 | 6:00:00 a.m. | 907637 | 367184 | 8.374 | 0 | 101.41 | 10.7 | 6.18
283 | 30/08/2014 | 5:00:00 a.m. | 907637 | 367184 | 8.3098 | 0 | 101.354 | 14.4 | 6.18
282 | 30/08/2014 | 4:00:00 a.m. | 907632 | 367184 | 8.0868 | 0 | 101.304 | 19.2 | 6.18
281 | 30/08/2014 | 3:00:00 a.m. | 907572 | 367176 | 8.0911 | 0 | 101.235 | 19.3 | 6.18
280 | 30/08/2014 | 2:00:00 a.m. | 907510 | 367169 | 8.0594 | 0 | 101.259 | 19.3 | 6.18
279 | 30/08/2014 | 1:00:00 a.m. | 907450 | 367161 | 8.0696 | 0 | 101.184 | 17.4 | 6.19
278 | 30/08/2014 | 12:00:00 a.m. | 907394 | 367154 | 8.2649 | 0 | 101.312 | 14 | 6.19
277 | 29/08/2014 | 11:00:00 p.m. | 907394 | 367154 | 8.2088 | 0 | 101.32 | 15.4 | 6.19
276 | 29/08/2014 | 10:00:00 p.m. | 907394 | 367154 | 8.1625 | 0 | 101.322 | 17.5 | 6.19
275 | 29/08/2014 | 9:00:00 p.m. | 907394 | 367154 | 8.0982 | 0 | 101.19 | 19.8 | 6.19
274 | 29/08/2014 | 8:00:00 p.m. | 907391 | 367154 | 8.0087 | 0 | 100.963 | 21.9 | 6.2
273 | 29/08/2014 | 7:00:00 p.m. | 907331 | 367146 | 7.9485 | 0 | 100.944 | 23.2 | 6.21
272 | 29/08/2014 | 6:00:00 p.m. | 907272 | 367139 | 7.9011 | 0 | 100.812 | 25.4 | 6.21
271 | 29/08/2014 | 5:00:00 p.m. | 907238 | 367135 | 7.8756 | 0 | 100.741 | 28.9 | 6.21
270 | 29/08/2014 | 4:00:00 p.m. | 907217 | 367132 | 7.7224 | 0 | 100.81 | 31.3 | 6.21
269 | 29/08/2014 | 3:00:00 p.m. | 907217 | 367132 | 7.6931 | 0 | 100.672 | 32.1 | 6.21
268 | 29/08/2014 | 2:00:00 p.m. | 907217 | 367132 | 7.6999 | 0 | 100.78 | 28.1 | 6.21
267 | 29/08/2014 | 1:00:00 p.m. | 907202 | 367130 | 7.9045 | 0 | 100.622 | 23.7 | 6.21
266 | 29/08/2014 | 12:00:00 p.m. | 907137 | 367122 | 7.9231 | 0 | 100.738 | 23 | 6.2
265 | 29/08/2014 | 11:00:00 a.m. | 907072 | 367113 | 7.9469 | 0 | 100.826 | 21.9 | 6.2
264 | 29/08/2014 | 10:00:00 a.m. | 907006 | 367105 | 8.0029 | 0 | 100.94 | 18.6 | 6.19
263 | 29/08/2014 | 9:00:00 a.m. | 906943 | 367097 | 8.2856 | 0 | 101.305 | 10 | 6.18
262 | 29/08/2014 | 8:00:00 a.m. | 906943 | 367097 | 8.4247 | 0 | 101.388 | 9.3 | 6.18
261 | 29/08/2014 | 7:00:00 a.m. | 906943 | 367097 | 8.3604 | 0 | 101.431 | 11.4 | 6.18
260 | 29/08/2014 | 6:00:00 a.m. | 906943 | 367097 | 8.2585 | 0 | 101.321 | 17.7 | 6.18
259 | 29/08/2014 | 5:00:00 a.m. | 906902 | 367092 | 8.0753 | 0 | 101.254 | 19.1 | 6.18
258 | 29/08/2014 | 4:00:00 a.m. | 906839 | 367084 | 8.0994 | 0 | 101.26 | 19.1 | 6.18
257 | 29/08/2014 | 3:00:00 a.m. | 906778 | 367077 | 8.0705 | 0 | 101.292 | 19.2 | 6.18
256 | 29/08/2014 | 2:00:00 a.m. | 906717 | 367069 | 8.0843 | 0 | 101.269 | 19.3 | 6.19
255 | 29/08/2014 | 1:00:00 a.m. | 906656 | 367062 | 8.0767 | 0 | 101.203 | 19.3 | 6.19
254 | 29/08/2014 | 12:00:00 a.m. | 906595 | 367054 | 8.09 | 0 | 101.286 | 14.9 | 6.19
253 | 28/08/2014 | 11:00:00 p.m. | 906569 | 367051 | 8.2384 | 0 | 101.321 | 14.7 | 6.19
252 | 28/08/2014 | 10:00:00 p.m. | 906569 | 367051 | 8.1841 | 0 | 101.275 | 17 | 6.19
251 | 28/08/2014 | 9:00:00 p.m. | 906569 | 367051 | 8.0982 | 0 | 101.186 | 20.4 | 6.2
250 | 28/08/2014 | 8:00:00 p.m. | 906518 | 367045 | 8.0108 | 0 | 101.034 | 22.5 | 6.21
249 | 28/08/2014 | 7:00:00 p.m. | 906478 | 367040 | 7.8174 | 0 | 101.025 | 30.6 | 6.21
248 | 28/08/2014 | 6:00:00 p.m. | 906476 | 367039 | 7.7241 | 0 | 100.9 | 29.9 | 6.21
247 | 28/08/2014 | 5:00:00 p.m. | 906476 | 367039 | 7.8719 | 0 | 100.54 | 24.7 | 6.21
246 | 28/08/2014 | 4:00:00 p.m. | 906416 | 367032 | 7.8672 | 0 | 100.515 | 25.7 | 6.21
245 | 28/08/2014 | 3:00:00 p.m. | 906354 | 367024 | 7.6969 | 0 | 100.648 | 30 | 6.21
244 | 28/08/2014 | 2:00:00 p.m. | 906354 | 367024 | 7.8076 | 0 | 100.616 | 24.4 | 6.21
243 | 28/08/2014 | 1:00:00 p.m. | 906309 | 367018 | 7.9035 | 0 | 100.606 | 23.4 | 6.21
242 | 28/08/2014 | 12:00:00 p.m. | 906245 | 367010 | 7.9316 | 0 | 100.641 | 22.8 | 6.21
241 | 28/08/2014 | 11:00:00 a.m. | 906180 | 367002 | 7.9466 | 0 | 100.774 | 21.8 | 6.2
240 | 28/08/2014 | 10:00:00 a.m. | 906115 | 366994 | 7.9869 | 0 | 100.898 | 19.8 | 6.19
239 | 28/08/2014 | 9:00:00 a.m. | 906076 | 366989 | 8.0636 | 0 | 101.197 | 17.6 | 6.19
238 | 28/08/2014 | 8:00:00 a.m. | 906037 | 366984 | 8.1962 | 0 | 101.365 | 17.8 | 6.18
237 | 28/08/2014 | 7:00:00 a.m. | 905992 | 366979 | 8.1016 | 0 | 101.302 | 18.6 | 6.18
236 | 28/08/2014 | 6:00:00 a.m. | 905929 | 366971 | 8.0851 | 0 | 101.277 | 18.8 | 6.18
235 | 28/08/2014 | 5:00:00 a.m. | 905861 | 366962 | 8.0886 | 0 | 101.301 | 13.5 | 6.18
234 | 28/08/2014 | 4:00:00 a.m. | 905819 | 366957 | 8.3799 | 0 | 101.439 | 10.3 | 6.18
233 | 28/08/2014 | 3:00:00 a.m. | 905819 | 366957 | 8.3359 | 0 | 101.535 | 12.6 | 6.19
232 | 28/08/2014 | 2:00:00 a.m. | 905819 | 366957 | 8.2399 | 0 | 101.32 | 18 | 6.19
231 | 28/08/2014 | 1:00:00 a.m. | 905774 | 366952 | 8.0925 | 0 | 101.316 | 13.2 | 6.19
230 | 28/08/2014 | 12:00:00 a.m. | 905762 | 366950 | 8.2357 | 0 | 101.296 | 16.4 | 6.19
229 | 27/08/2014 | 11:00:00 p.m. | 905751 | 366949 | 8.0651 | 0 | 101.264 | 19.9 | 6.19
228 | 27/08/2014 | 10:00:00 p.m. | 905692 | 366941 | 8.0593 | 0 | 101.156 | 20.2 | 6.19
227 | 27/08/2014 | 9:00:00 p.m. | 905617 | 366932 | 8.0724 | 0 | 101.218 | 21.3 | 6.2
226 | 27/08/2014 | 8:00:00 p.m. | 905617 | 366932 | 7.9465 | 0 | 101.11 | 26.5 | 6.21
225 | 27/08/2014 | 7:00:00 p.m. | 905617 | 366932 | 7.7688 | 0 | 101.03 | 31.2 | 6.22
224 | 27/08/2014 | 6:00:00 p.m. | 905617 | 366932 | 7.6873 | 0 | 100.862 | 32.8 | 6.22
223 | 27/08/2014 | 5:00:00 p.m. | 905617 | 366932 | 7.6683 | 0 | 100.775 | 32.3 | 6.22
222 | 27/08/2014 | 4:00:00 p.m. | 905617 | 366932 | 7.6882 | 0 | 100.759 | 27.9 | 6.21
221 | 27/08/2014 | 3:00:00 p.m. | 905607 | 366931 | 7.9011 | 0 | 100.742 | 24.4 | 6.21
220 | 27/08/2014 | 2:00:00 p.m. | 905561 | 366925 | 7.9004 | 0 | 100.712 | 23.9 | 6.21
219 | 27/08/2014 | 1:00:00 p.m. | 905502 | 366918 | 7.9096 | 0 | 100.708 | 23.4 | 6.21
218 | 27/08/2014 | 12:00:00 p.m. | 905441 | 366910 | 7.9327 | 0 | 100.747 | 23.1 | 6.21
217 | 27/08/2014 | 11:00:00 a.m. | 905383 | 366903 | 7.9045 | 0 | 100.988 | 22.5 | 6.21
216 | 27/08/2014 | 10:00:00 a.m. | 905383 | 366903 | 8.0129 | 0 | 101.044 | 20 | 6.19
215 | 27/08/2014 | 9:00:00 a.m. | 905350 | 366898 | 8.0566 | 0 | 101.295 | 19.2 | 6.19
214 | 27/08/2014 | 8:00:00 a.m. | 905290 | 366891 | 8.108 | 0 | 101.427 | 18.6 | 6.18
213 | 27/08/2014 | 7:00:00 a.m. | 905229 | 366884 | 8.107 | 0 | 101.414 | 18.8 | 6.18
212 | 27/08/2014 | 6:00:00 a.m. | 905168 | 366876 | 8.0829 | 0 | 101.364 | 18.9 | 6.18
211 | 27/08/2014 | 5:00:00 a.m. | 905104 | 366868 | 8.1014 | 0 | 101.366 | 18.7 | 6.19
210 | 27/08/2014 | 4:00:00 a.m. | 905042 | 366860 | 8.086 | 0 | 101.263 | 15.5 | 6.19
209 | 27/08/2014 | 3:00:00 a.m. | 904976 | 366852 | 8.3725 | 0 | 101.426 | 10.1 | 6.19
208 | 27/08/2014 | 2:00:00 a.m. | 904976 | 366852 | 8.3685 | 0 | 101.427 | 10.6 | 6.19
207 | 27/08/2014 | 1:00:00 a.m. | 904976 | 366852 | 8.3595 | 0 | 101.418 | 11.4 | 6.19
206 | 27/08/2014 | 12:00:00 a.m. | 904976 | 366852 | 8.3168 | 0 | 101.401 | 12.4 | 6.19
205 | 26/08/2014 | 11:00:00 p.m. | 904976 | 366852 | 8.2733 | 0 | 101.414 | 13.9 | 6.19
204 | 26/08/2014 | 10:00:00 p.m. | 904976 | 366852 | 8.2153 | 0 | 101.352 | 16.3 | 6.19
203 | 26/08/2014 | 9:00:00 p.m. | 904976 | 366852 | 8.1148 | 0 | 101.294 | 20.5 | 6.2
202 | 26/08/2014 | 8:00:00 p.m. | 904976 | 366852 | 7.975 | 0 | 101.163 | 26 | 6.21
201 | 26/08/2014 | 7:00:00 p.m. | 904976 | 366852 | 7.7992 | 0 | 101.095 | 30.2 | 6.22
200 | 26/08/2014 | 6:00:00 p.m. | 904976 | 366852 | 7.72 | 0 | 100.957 | 31.6 | 6.22
199 | 26/08/2014 | 5:00:00 p.m. | 904976 | 366852 | 7.69 | 0 | 100.864 | 31.7 | 6.22
198 | 26/08/2014 | 4:00:00 p.m. | 904976 | 366852 | 7.7446 | 0 | 100.807 | 26.6 | 6.21
197 | 26/08/2014 | 3:00:00 p.m. | 904966 | 366851 | 7.9309 | 0 | 100.692 | 23.1 | 6.21
196 | 26/08/2014 | 2:00:00 p.m. | 904900 | 366843 | 7.9388 | 0 | 100.764 | 24.9 | 6.21
195 | 26/08/2014 | 1:00:00 p.m. | 904866 | 366838 | 7.9188 | 0 | 100.786 | 22.7 | 6.21
194 | 26/08/2014 | 12:00:00 p.m. | 904810 | 366831 | 7.9634 | 0 | 98.391 | 22.5 | 6.21
193 | 26/08/2014 | 11:00:00 a.m. | 904746 | 366823 | 7.777 | 0 | 98.143 | 21.2 | 6.2
192 | 26/08/2014 | 10:00:00 a.m. | 904685 | 366815 | 7.8198 | 0 | 98.315 | 20.1 | 6.19
191 | 26/08/2014 | 9:00:00 a.m. | 904619 | 366807 | 7.8702 | 0 | 98.56 | 17.4 | 6.19
190 | 26/08/2014 | 8:00:00 a.m. | 904554 | 366799 | 8.1928 | 0 | 98.773 | 9.1 | 6.19
189 | 26/08/2014 | 7:00:00 a.m. | 904554 | 366799 | 8.1794 | 0 | 98.774 | 11.6 | 6.19
188 | 26/08/2014 | 6:00:00 a.m. | 904554 | 366799 | 8.0348 | 0 | 98.629 | 14.4 | 6.19
187 | 26/08/2014 | 5:00:00 a.m. | 904508 | 366793 | 8.1878 | 0 | 98.761 | 9.6 | 6.19
186 | 26/08/2014 | 4:00:00 a.m. | 904508 | 366793 | 8.1649 | 0 | 98.753 | 10 | 6.19
185 | 26/08/2014 | 3:00:00 a.m. | 904508 | 366793 | 8.1563 | 0 | 98.793 | 11.4 | 6.19
184 | 26/08/2014 | 2:00:00 a.m. | 904508 | 366793 | 8.0876 | 0 | 98.806 | 13.9 | 6.19
183 | 26/08/2014 | 1:00:00 a.m. | 904508 | 366793 | 8.0069 | 0 | 98.689 | 18.5 | 6.19
182 | 26/08/2014 | 12:00:00 a.m. | 904462 | 366787 | 7.8918 | 0 | 98.696 | 14.3 | 6.19
181 | 25/08/2014 | 11:00:00 p.m. | 904441 | 366784 | 8.0574 | 0 | 98.733 | 14.6 | 6.19
180 | 25/08/2014 | 10:00:00 p.m. | 904441 | 366784 | 7.9962 | 0 | 98.746 | 16.2 | 6.2
179 | 25/08/2014 | 9:00:00 p.m. | 904441 | 366784 | 7.9446 | 0 | 98.6 | 19.3 | 6.21
178 | 25/08/2014 | 8:00:00 p.m. | 904418 | 366781 | 7.8148 | 0 | 98.509 | 23.5 | 6.21
177 | 25/08/2014 | 7:00:00 p.m. | 904418 | 366781 | 7.6792 | 0 | 98.379 | 28.9 | 6.22
176 | 25/08/2014 | 6:00:00 p.m. | 904418 | 366781 | 7.5728 | 0 | 98.078 | 26.9 | 6.22
175 | 25/08/2014 | 5:00:00 p.m. | 904388 | 366778 | 7.6777 | 0 | 98.143 | 29.2 | 6.22
174 | 25/08/2014 | 4:00:00 p.m. | 904384 | 366777 | 7.557 | 0 | 98.265 | 28 | 6.21
173 | 25/08/2014 | 3:00:00 p.m. | 904384 | 366777 | 7.6279 | 0 | 98.186 | 30.5 | 6.21
172 | 25/08/2014 | 2:00:00 p.m. | 904384 | 366777 | 7.4907 | 0 | 98.064 | 31.6 | 6.22
171 | 25/08/2014 | 1:00:00 p.m. | 904384 | 366777 | 7.5189 | 0 | 98.02 | 29.3 | 6.21
170 | 25/08/2014 | 12:00:00 p.m. | 904384 | 366777 | 7.6214 | 0 | 98.074 | 25 | 6.21
169 | 25/08/2014 | 11:00:00 a.m. | 904384 | 366777 | 7.7708 | 0 | 98.321 | 19.7 | 6.21
168 | 25/08/2014 | 10:00:00 a.m. | 904384 | 366777 | 7.9392 | 0 | 98.53 | 16.9 | 6.2
167 | 25/08/2014 | 9:00:00 a.m. | 904384 | 366777 | 7.9455 | 0 | 98.554 | 18.9 | 6.19
166 | 25/08/2014 | 8:00:00 a.m. | 904339 | 366771 | 7.8857 | 0 | 98.618 | 19 | 6.19
165 | 25/08/2014 | 7:00:00 a.m. | 904280 | 366764 | 7.9159 | 0 | 98.732 | 18.8 | 6.19
164 | 25/08/2014 | 6:00:00 a.m. | 904222 | 366756 | 7.9175 | 0 | 98.752 | 19.2 | 6.19
163 | 25/08/2014 | 5:00:00 a.m. | 904162 | 366749 | 7.8966 | 0 | 98.678 | 19.1 | 6.19
162 | 25/08/2014 | 4:00:00 a.m. | 904100 | 366741 | 7.9003 | 0 | 98.744 | 18.7 | 6.19
161 | 25/08/2014 | 3:00:00 a.m. | 904027 | 366732 | 7.9662 | 0 | 98.948 | 11.9 | 6.19
160 | 25/08/2014 | 2:00:00 a.m. | 904023 | 366731 | 8.1172 | 0 | 98.848 | 14.5 | 6.19
159 | 25/08/2014 | 1:00:00 a.m. | 903994 | 366728 | 8.1826 | 0 | 98.97 | 10.7 | 6.19
158 | 25/08/2014 | 12:00:00 a.m. | 903994 | 366728 | 8.1412 | 0 | 98.931 | 11.5 | 6.19
157 | 24/08/2014 | 11:00:00 p.m. | 903994 | 366728 | 8.0911 | 0 | 98.931 | 12 | 6.19
156 | 24/08/2014 | 10:00:00 p.m. | 903994 | 366728 | 8.1207 | 0 | 98.872 | 12.1 | 6.19
155 | 24/08/2014 | 9:00:00 p.m. | 903994 | 366728 | 8.1069 | 0 | 98.838 | 13.4 | 6.2
154 | 24/08/2014 | 8:00:00 p.m. | 903994 | 366728 | 8.0221 | 0 | 98.673 | 18.6 | 6.21
153 | 24/08/2014 | 7:00:00 p.m. | 903994 | 366728 | 7.7885 | 0 | 98.507 | 26.8 | 6.22
152 | 24/08/2014 | 6:00:00 p.m. | 903994 | 366728 | 7.5729 | 0 | 98.357 | 30.4 | 6.22
151 | 24/08/2014 | 5:00:00 p.m. | 903994 | 366728 | 7.5634 | 0 | 98.268 | 30.8 | 6.22
150 | 24/08/2014 | 4:00:00 p.m. | 903994 | 366728 | 7.5546 | 0 | 98.235 | 30 | 6.22
149 | 24/08/2014 | 3:00:00 p.m. | 903994 | 366728 | 7.5658 | 0 | 98.216 | 28.3 | 6.22
148 | 24/08/2014 | 2:00:00 p.m. | 903994 | 366728 | 7.6762 | 0 | 98.109 | 27.1 | 6.22
147 | 24/08/2014 | 1:00:00 p.m. | 903955 | 366723 | 7.5781 | 0 | 98.262 | 28.1 | 6.22
146 | 24/08/2014 | 12:00:00 p.m. | 903955 | 366723 | 7.6552 | 0 | 98.293 | 23.9 | 6.21
145 | 24/08/2014 | 11:00:00 a.m. | 903955 | 366723 | 7.8197 | 0 | 98.402 | 17.2 | 6.21
144 | 24/08/2014 | 10:00:00 a.m. | 903955 | 366723 | 7.9917 | 0 | 98.524 | 12.3 | 6.2
143 | 24/08/2014 | 9:00:00 a.m. | 903955 | 366723 | 8.1343 | 0 | 98.727 | 9.4 | 6.19
142 | 24/08/2014 | 8:00:00 a.m. | 903955 | 366723 | 8.2342 | 0 | 98.832 | 9.1 | 6.19
141 | 24/08/2014 | 7:00:00 a.m. | 903955 | 366723 | 8.2199 | 0 | 98.811 | 9.4 | 6.19
140 | 24/08/2014 | 6:00:00 a.m. | 903955 | 366723 | 8.2443 | 0 | 98.921 | 9.8 | 6.19
139 | 24/08/2014 | 5:00:00 a.m. | 903955 | 366723 | 8.2089 | 0 | 98.825 | 10.5 | 6.19
138 | 24/08/2014 | 4:00:00 a.m. | 903955 | 366723 | 8.177 | 0 | 98.841 | 10.7 | 6.19
137 | 24/08/2014 | 3:00:00 a.m. | 903955 | 366723 | 8.1517 | 0 | 98.829 | 10.9 | 6.19
136 | 24/08/2014 | 2:00:00 a.m. | 903955 | 366723 | 8.1373 | 0 | 98.829 | 11 | 6.19
135 | 24/08/2014 | 1:00:00 a.m. | 903955 | 366723 | 8.1441 | 0 | 98.813 | 11.1 | 6.19
134 | 24/08/2014 | 12:00:00 a.m. | 903955 | 366723 | 8.1265 | 0 | 98.771 | 11.2 | 6.19
133 | 23/08/2014 | 11:00:00 p.m. | 903955 | 366723 | 8.136 | 0 | 98.84 | 11 | 6.19
132 | 23/08/2014 | 10:00:00 p.m. | 903955 | 366723 | 8.1444 | 0 | 98.83 | 11.3 | 6.19
131 | 23/08/2014 | 9:00:00 p.m. | 903955 | 366723 | 8.1543 | 0 | 98.794 | 12.4 | 6.2
130 | 23/08/2014 | 8:00:00 p.m. | 903955 | 366723 | 7.9549 | 0 | 98.586 | 19.6 | 6.21
129 | 23/08/2014 | 7:00:00 p.m. | 903947 | 366722 | 7.7747 | 0 | 98.492 | 23.3 | 6.22
128 | 23/08/2014 | 6:00:00 p.m. | 903947 | 366722 | 7.6915 | 0 | 98.369 | 28.7 | 6.22
127 | 23/08/2014 | 5:00:00 p.m. | 903947 | 366722 | 7.5347 | 0 | 98.203 | 30.3 | 6.23
126 | 23/08/2014 | 4:00:00 p.m. | 903947 | 366722 | 7.604 | 0 | 98.161 | 26.1 | 6.22
125 | 23/08/2014 | 3:00:00 p.m. | 903933 | 366720 | 7.7422 | 0 | 98.057 | 22.9 | 6.22
124 | 23/08/2014 | 2:00:00 p.m. | 903873 | 366712 | 7.7422 | 0 | 98.021 | 23.3 | 6.22
123 | 23/08/2014 | 1:00:00 p.m. | 903793 | 366702 | 7.6102 | 0 | 98.191 | 25.9 | 6.22
122 | 23/08/2014 | 12:00:00 p.m. | 903793 | 366702 | 7.7208 | 0 | 98.274 | 23.4 | 6.22
121 | 23/08/2014 | 11:00:00 a.m. | 903793 | 366702 | 7.7786 | 0 | 98.286 | 20.2 | 6.21
120 | 23/08/2014 | 10:00:00 a.m. | 903793 | 366702 | 7.9446 | 0 | 98.457 | 14.1 | 6.2
119 | 23/08/2014 | 9:00:00 a.m. | 903793 | 366702 | 8.1029 | 0 | 98.772 | 12.5 | 6.19
118 | 23/08/2014 | 8:00:00 a.m. | 903793 | 366702 | 7.9499 | 0 | 98.758 | 17.7 | 6.19
117 | 23/08/2014 | 7:00:00 a.m. | 903745 | 366696 | 7.9856 | 0 | 98.688 | 18 | 6.19
116 | 23/08/2014 | 6:00:00 a.m. | 903692 | 366689 | 7.9238 | 0 | 98.694 | 18.3 | 6.19
115 | 23/08/2014 | 5:00:00 a.m. | 903630 | 366681 | 7.9242 | 0 | 98.577 | 14.8 | 6.19
114 | 23/08/2014 | 4:00:00 a.m. | 903568 | 366673 | 8.1825 | 0 | 98.757 | 9.9 | 6.19
113 | 23/08/2014 | 3:00:00 a.m. | 903568 | 366673 | 8.1433 | 0 | 98.685 | 10.8 | 6.19
112 | 23/08/2014 | 2:00:00 a.m. | 903568 | 366673 | 8.1109 | 0 | 98.681 | 11.4 | 6.2
111 | 23/08/2014 | 1:00:00 a.m. | 903568 | 366673 | 8.1105 | 0 | 98.735 | 11.6 | 6.2
110 | 23/08/2014 | 12:00:00 a.m. | 903568 | 366673 | 8.1244 | 0 | 98.678 | 12 | 6.2
109 | 22/08/2014 | 11:00:00 p.m. | 903568 | 366673 | 8.1053 | 0 | 98.676 | 12.9 | 6.2
108 | 22/08/2014 | 10:00:00 p.m. | 903568 | 366673 | 8.0663 | 0 | 98.693 | 13.3 | 6.2
107 | 22/08/2014 | 9:00:00 p.m. | 903568 | 366673 | 8.012 | 0 | 98.62 | 14.1 | 6.2
106 | 22/08/2014 | 8:00:00 p.m. | 903545 | 366670 | 8.1053 | 0 | 98.706 | 12.8 | 6.2
105 | 22/08/2014 | 7:00:00 p.m. | 903545 | 366670 | 7.9809 | 0 | 98.513 | 18.9 | 6.21
104 | 22/08/2014 | 6:00:00 p.m. | 903545 | 366670 | 7.9252 | 0 | 98.491 | 17.7 | 6.21
103 | 22/08/2014 | 5:00:00 p.m. | 903545 | 366670 | 7.8213 | 0 | 98.373 | 25.1 | 6.22
102 | 22/08/2014 | 4:00:00 p.m. | 903545 | 366670 | 7.6324 | 0 | 98.234 | 28.1 | 6.22
101 | 22/08/2014 | 3:00:00 p.m. | 903545 | 366670 | 7.6263 | 0 | 98.119 | 26.6 | 6.22
100 | 22/08/2014 | 2:00:00 p.m. | 903545 | 366670 | 7.7079 | 0 | 98.021 | 22.5 | 6.22
99 | 22/08/2014 | 1:00:00 p.m. | 903497 | 366664 | 7.752 | 0 | 98.029 | 23.1 | 6.22
98 | 22/08/2014 | 12:00:00 p.m. | 903451 | 366658 | 7.708 | 0 | 98.166 | 22.1 | 6.22
97 | 22/08/2014 | 11:00:00 a.m. | 903451 | 366658 | 7.8436 | 0 | 98.216 | 18.9 | 6.21
96 | 22/08/2014 | 10:00:00 a.m. | 903450 | 366658 | 7.8773 | 0 | 98.392 | 16.5 | 6.2
95 | 22/08/2014 | 9:00:00 a.m. | 903422 | 366655 | 8.0622 | 0 | 98.5 | 12.4 | 6.2
94 | 22/08/2014 | 8:00:00 a.m. | 903422 | 366655 | 8.1067 | 0 | 98.634 | 12.2 | 6.2
93 | 22/08/2014 | 7:00:00 a.m. | 903422 | 366655 | 8.102 | 0 | 98.703 | 12 | 6.2
92 | 22/08/2014 | 6:00:00 a.m. | 903422 | 366655 | 8.1066 | 0 | 98.67 | 12.1 | 6.2
91 | 22/08/2014 | 5:00:00 a.m. | 903422 | 366655 | 8.1012 | 0 | 98.651 | 12.2 | 6.2
90 | 22/08/2014 | 4:00:00 a.m. | 903422 | 366655 | 8.0919 | 0 | 98.623 | 12.3 | 6.2
89 | 22/08/2014 | 3:00:00 a.m. | 903422 | 366655 | 8.084 | 0 | 98.682 | 12.6 | 6.2
88 | 22/08/2014 | 2:00:00 a.m. | 903422 | 366655 | 8.0666 | 0 | 98.661 | 12.8 | 6.2
87 | 22/08/2014 | 1:00:00 a.m. | 903422 | 366655 | 8.0782 | 0 | 98.623 | 12.9 | 6.21
86 | 22/08/2014 | 12:00:00 a.m. | 903422 | 366655 | 8.0362 | 0 | 98.598 | 13.9 | 6.2
85 | 21/08/2014 | 11:00:00 p.m. | 903422 | 366655 | 8.0386 | 0 | 98.604 | 14.8 | 6.21
84 | 21/08/2014 | 10:00:00 p.m. | 903422 | 366655 | 7.9743 | 0 | 98.559 | 16.4 | 6.21
83 | 21/08/2014 | 9:00:00 p.m. | 903409 | 366653 | 7.972 | 0 | 98.582 | 18.2 | 6.21
82 | 21/08/2014 | 8:00:00 p.m. | 903409 | 366653 | 7.8601 | 0 | 98.504 | 22.4 | 6.22
81 | 21/08/2014 | 7:00:00 p.m. | 903409 | 366653 | 7.7435 | 0 | 98.333 | 26.4 | 6.23
80 | 21/08/2014 | 6:00:00 p.m. | 903409 | 366653 | 7.6844 | 0 | 98.233 | 23.4 | 6.23
79 | 21/08/2014 | 5:00:00 p.m. | 903377 | 366649 | 7.7947 | 0 | 98.169 | 21.9 | 6.22
78 | 21/08/2014 | 4:00:00 p.m. | 903337 | 366644 | 7.7681 | 0 | 98.201 | 25.4 | 6.23
77 | 21/08/2014 | 3:00:00 p.m. | 903320 | 366642 | 7.7131 | 0 | 98.124 | 28.3 | 6.23
76 | 21/08/2014 | 2:00:00 p.m. | 903308 | 366640 | 7.6192 | 0 | 98.182 | 27.9 | 6.23
75 | 21/08/2014 | 1:00:00 p.m. | 903308 | 366640 | 7.6558 | 0 | 98.169 | 24.7 | 6.22
74 | 21/08/2014 | 12:00:00 p.m. | 903308 | 366640 | 7.7611 | 0 | 98.252 | 22.2 | 6.22
73 | 21/08/2014 | 11:00:00 a.m. | 903302 | 366639 | 7.818 | 0 | 98.328 | 20.3 | 6.21
72 | 21/08/2014 | 10:00:00 a.m. | 903245 | 366632 | 7.8442 | 0 | 98.384 | 19.5 | 6.21
71 | 21/08/2014 | 9:00:00 a.m. | 903186 | 366624 | 7.8852 | 0 | 98.507 | 17.6 | 6.19
70 | 21/08/2014 | 8:00:00 a.m. | 903117 | 366616 | 8.191 | 0 | 98.851 | 9.2 | 6.2
69 | 21/08/2014 | 7:00:00 a.m. | 903117 | 366616 | 8.2193 | 0 | 98.882 | 9.3 | 6.2
68 | 21/08/2014 | 6:00:00 a.m. | 903117 | 366616 | 8.1817 | 0 | 98.937 | 10 | 6.2
67 | 21/08/2014 | 5:00:00 a.m. | 903117 | 366616 | 8.1804 | 0 | 98.813 | 10.6 | 6.2
66 | 21/08/2014 | 4:00:00 a.m. | 903117 | 366616 | 8.1478 | 0 | 98.901 | 10.5 | 6.2
65 | 21/08/2014 | 3:00:00 a.m. | 903117 | 366616 | 8.1632 | 0 | 98.84 | 10.4 | 6.2
64 | 21/08/2014 | 2:00:00 a.m. | 903117 | 366616 | 8.1563 | 0 | 98.921 | 10.7 | 6.2
63 | 21/08/2014 | 1:00:00 a.m. | 903117 | 366616 | 8.172 | 0 | 98.878 | 11 | 6.2
62 | 21/08/2014 | 12:00:00 a.m. | 903117 | 366616 | 8.1345 | 0 | 98.836 | 15.5 | 6.21
61 | 20/08/2014 | 11:00:00 p.m. | 903090 | 366612 | 7.967 | 0 | 98.757 | 18.1 | 6.21
60 | 20/08/2014 | 10:00:00 p.m. | 903029 | 366605 | 7.8806 | 0 | 98.619 | 16.6 | 6.21
59 | 20/08/2014 | 9:00:00 p.m. | 903010 | 366602 | 7.9618 | 0 | 98.649 | 18 | 6.22
58 | 20/08/2014 | 8:00:00 p.m. | 902989 | 366599 | 7.9307 | 0 | 98.664 | 18.8 | 6.22
57 | 20/08/2014 | 7:00:00 p.m. | 902989 | 366599 | 7.8658 | 0 | 98.656 | 21.5 | 6.22
56 | 20/08/2014 | 6:00:00 p.m. | 902989 | 366599 | 7.7918 | 0 | 98.509 | 26.2 | 6.23
55 | 20/08/2014 | 5:00:00 p.m. | 902989 | 366599 | 7.5569 | 0 | 98.297 | 28.5 | 6.23
54 | 20/08/2014 | 4:00:00 p.m. | 902989 | 366599 | 7.6122 | 0 | 98.224 | 29.4 | 6.23
53 | 20/08/2014 | 3:00:00 p.m. | 902989 | 366599 | 7.5932 | 0 | 98.358 | 28.7 | 6.23
52 | 20/08/2014 | 2:00:00 p.m. | 902989 | 366599 | 7.6002 | 0 | 98.291 | 28.1 | 6.24
51 | 20/08/2014 | 1:00:00 p.m. | 902989 | 366599 | 7.6595 | 0 | 98.316 | 24.3 | 6.23
50 | 20/08/2014 | 12:00:00 p.m. | 902951 | 366595 | 7.775 | 0 | 98.317 | 21.8 | 6.23
49 | 20/08/2014 | 11:00:00 a.m. | 902889 | 366587 | 7.804 | 0 | 98.336 | 20.7 | 6.22
48 | 20/08/2014 | 10:00:00 a.m. | 902824 | 366578 | 7.8379 | 0 | 98.386 | 16.4 | 6.21
47 | 20/08/2014 | 9:00:00 a.m. | 902786 | 366574 | 8.0436 | 0 | 98.624 | 13 | 6.21
46 | 20/08/2014 | 8:00:00 a.m. | 902786 | 366574 | 7.9522 | 0 | 98.667 | 18.4 | 6.2
45 | 20/08/2014 | 7:00:00 a.m. | 902732 | 366567 | 7.9315 | 0 | 98.764 | 18.6 | 6.2
44 | 20/08/2014 | 6:00:00 a.m. | 902674 | 366559 | 7.9133 | 0 | 98.618 | 19 | 6.2
43 | 20/08/2014 | 5:00:00 a.m. | 902612 | 366552 | 7.8814 | 0 | 98.624 | 15.8 | 6.2
42 | 20/08/2014 | 4:00:00 a.m. | 902562 | 366545 | 8.1231 | 0 | 98.767 | 11.1 | 6.21
41 | 20/08/2014 | 3:00:00 a.m. | 902562 | 366545 | 8.1558 | 0 | 98.818 | 11.7 | 6.21
40 | 20/08/2014 | 2:00:00 a.m. | 902562 | 366545 | 8.0891 | 0 | 98.745 | 12.9 | 6.21
39 | 20/08/2014 | 1:00:00 a.m. | 902562 | 366545 | 8.0748 | 0 | 98.745 | 14.9 | 6.21
38 | 20/08/2014 | 12:00:00 a.m. | 902562 | 366545 | 7.9286 | 0 | 98.657 | 19.1 | 6.21
37 | 19/08/2014 | 11:00:00 p.m. | 902513 | 366539 | 7.9 | 0 | 98.637 | 19.1 | 6.21
36 | 19/08/2014 | 10:00:00 p.m. | 902453 | 366531 | 7.8379 | 0 | 98.673 | 14 | 6.21
35 | 19/08/2014 | 9:00:00 p.m. | 902434 | 366529 | 8.0519 | 0 | 98.67 | 15.1 | 6.22
34 | 19/08/2014 | 8:00:00 p.m. | 902434 | 366529 | 7.96 | 0 | 98.678 | 17 | 6.22
33 | 19/08/2014 | 7:00:00 p.m. | 902434 | 366529 | 7.9492 | 0 | 98.602 | 18.2 | 6.22
32 | 19/08/2014 | 6:00:00 p.m. | 902434 | 366529 | 7.8946 | 0 | 98.602 | 17.9 | 6.22
31 | 19/08/2014 | 5:00:00 p.m. | 902434 | 366529 | 7.9344 | 0 | 98.48 | 17.2 | 6.23
30 | 19/08/2014 | 4:00:00 p.m. | 902434 | 366529 | 7.9068 | 0 | 98.42 | 18.8 | 6.23
29 | 19/08/2014 | 3:00:00 p.m. | 902412 | 366526 | 7.8515 | 0 | 98.201 | 22.4 | 6.23
28 | 19/08/2014 | 2:00:00 p.m. | 902360 | 366519 | 7.7375 | 0 | 98.086 | 22.6 | 6.23
27 | 19/08/2014 | 1:00:00 p.m. | 902306 | 366513 | 7.7616 | 0 | 98.086 | 22.2 | 6.23
26 | 19/08/2014 | 12:00:00 p.m. | 902253 | 366506 | 7.7539 | 0 | 98.108 | 22.3 | 6.23
25 | 19/08/2014 | 11:00:00 a.m. | 902199 | 366499 | 7.7874 | 0 | 98.241 | 20.3 | 6.23
24 | 19/08/2014 | 10:00:00 a.m. | 902158 | 366493 | 7.9231 | 0 | 98.538 | 15.3 | 6.22
23 | 19/08/2014 | 9:00:00 a.m. | 902158 | 366493 | 8.0356 | 0 | 98.658 | 17.1 | 6.21
22 | 19/08/2014 | 8:00:00 a.m. | 902132 | 366490 | 7.9101 | 0 | 98.678 | 18.9 | 6.21
21 | 19/08/2014 | 7:00:00 a.m. | 902075 | 366483 | 7.9134 | 0 | 98.731 | 18.6 | 6.21
20 | 19/08/2014 | 6:00:00 a.m. | 902024 | 366477 | 7.9198 | 0 | 98.739 | 18.5 | 6.21
19 | 19/08/2014 | 5:00:00 a.m. | 901967 | 366469 | 7.9146 | 0 | 98.712 | 14.4 | 6.21
18 | 19/08/2014 | 4:00:00 a.m. | 901915 | 366463 | 8.1702 | 0 | 98.782 | 11.1 | 6.21
17 | 19/08/2014 | 3:00:00 a.m. | 901915 | 366463 | 8.1208 | 0 | 98.876 | 12.6 | 6.21
16 | 19/08/2014 | 2:00:00 a.m. | 901915 | 366463 | 8.0829 | 0 | 98.786 | 13 | 6.22
15 | 19/08/2014 | 1:00:00 a.m. | 901915 | 366463 | 8.1093 | 0 | 98.762 | 12.5 | 6.21
14 | 19/08/2014 | 12:00:00 a.m. | 901915 | 366463 | 8.0873 | 0 | 98.747 | 14.5 | 6.22
13 | 18/08/2014 | 11:00:00 p.m. | 901915 | 366463 | 7.9818 | 0 | 98.68 | 17 | 6.22
12 | 18/08/2014 | 10:00:00 p.m. | 901897 | 366461 | 7.9899 | 0 | 98.737 | 16.1 | 6.22
11 | 18/08/2014 | 9:00:00 p.m. | 901897 | 366461 | 7.9871 | 0 | 98.746 | 16.8 | 6.22
10 | 18/08/2014 | 8:00:00 p.m. | 901897 | 366461 | 7.9459 | 0 | 98.694 | 18.7 | 6.23
9 | 18/08/2014 | 7:00:00 p.m. | 901897 | 366461 | 7.8578 | 0 | 98.602 | 24.1 | 6.24
8 | 18/08/2014 | 6:00:00 p.m. | 901897 | 366461 | 7.6422 | 0 | 98.311 | 30.5 | 6.25
7 | 18/08/2014 | 5:00:00 p.m. | 901897 | 366461 | 7.5459 | 0 | 98.301 | 28.3 | 6.25
6 | 18/08/2014 | 4:00:00 p.m. | 901897 | 366461 | 7.6284 | 0 | 98.234 | 28.2 | 6.24
5 | 18/08/2014 | 3:00:00 p.m. | 901897 | 366461 | 7.6611 | 0 | 98.25 | 28.5 | 6.24
4 | 18/08/2014 | 2:00:00 p.m. | 901897 | 366461 | 7.6243 | 0 | 98.22 | 24.1 | 6.24
3 | 18/08/2014 | 1:00:00 p.m. | 901852 | 366455 | 7.762 | 0 | 98.391 | 21.7 | 6.24
2 | 18/08/2014 | 12:00:00 p.m. | 901789 | 366447 | 7.8152 | 0 | 98.347 | 21.8 | 6.24
1 | 18/08/2014 | 11:00:00 a.m. | 901728 | 366439 | Int flt | 0 | 98.227 | 21.5 | 6.24