## Mineria Empresarial horario 103
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 168
Fault/Alarms Recorded: | Date | Time | Condition
1 | 30/10/2014 | 5:44:57 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
168 | 01/11/2014 | 10:00:00 a.m. | 77723 | 186558 | 7.8863 | 0 | 98.977 | 17.3 | 5.85
167 | 01/11/2014 | 9:00:00 a.m. | 77667 | 186551 | 8.0805 | 0 | 99.895 | 7.9 | 5.83
166 | 01/11/2014 | 8:00:00 a.m. | 77647 | 186549 | 8.5519 | 0 | 100.826 | 1.3 | 5.83
165 | 01/11/2014 | 7:00:00 a.m. | 77647 | 186549 | 8.6399 | 0 | 100.866 | 1.1 | 5.83
164 | 01/11/2014 | 6:00:00 a.m. | 77647 | 186549 | 8.605 | 0 | 100.916 | 1.7 | 5.82
163 | 01/11/2014 | 5:00:00 a.m. | 77647 | 186549 | 8.6116 | 0 | 100.915 | 2.4 | 5.84
162 | 01/11/2014 | 4:00:00 a.m. | 77647 | 186549 | 8.5727 | 0 | 100.862 | 3.2 | 5.83
161 | 01/11/2014 | 3:00:00 a.m. | 77647 | 186549 | 8.5311 | 0 | 100.842 | 3.9 | 5.84
160 | 01/11/2014 | 2:00:00 a.m. | 77647 | 186549 | 8.5283 | 0 | 100.816 | 4.5 | 5.83
159 | 01/11/2014 | 1:00:00 a.m. | 77647 | 186549 | 8.5035 | 0 | 100.835 | 5.3 | 5.84
158 | 01/11/2014 | 12:00:00 a.m. | 77647 | 186549 | 8.4855 | 0 | 100.813 | 6.4 | 5.83
157 | 31/10/2014 | 11:00:00 p.m. | 77647 | 186549 | 8.3938 | 0 | 100.692 | 7.9 | 5.84
156 | 31/10/2014 | 10:00:00 p.m. | 77647 | 186549 | 8.3967 | 0 | 100.839 | 9 | 5.83
155 | 31/10/2014 | 9:00:00 p.m. | 77647 | 186549 | 8.3199 | 0 | 100.796 | 10.4 | 5.84
154 | 31/10/2014 | 8:00:00 p.m. | 77647 | 186549 | 8.3092 | 0 | 100.791 | 12.4 | 5.84
153 | 31/10/2014 | 7:00:00 p.m. | 77647 | 186549 | 8.2039 | 0 | 100.715 | 15.5 | 5.85
152 | 31/10/2014 | 6:00:00 p.m. | 77647 | 186549 | 8.0649 | 0 | 100.537 | 20.1 | 5.87
151 | 31/10/2014 | 5:00:00 p.m. | 77647 | 186549 | 7.9311 | 0 | 99.803 | 21.7 | 5.87
150 | 31/10/2014 | 4:00:00 p.m. | 77612 | 186544 | 7.8583 | 0 | 98.756 | 22.1 | 5.88
149 | 31/10/2014 | 3:00:00 p.m. | 77553 | 186537 | 7.7577 | 0 | 98.452 | 22.4 | 5.88
148 | 31/10/2014 | 2:00:00 p.m. | 77491 | 186529 | 7.8176 | 0 | 98.189 | 21.8 | 5.87
147 | 31/10/2014 | 1:00:00 p.m. | 77423 | 186520 | 7.7812 | 0 | 98.402 | 21.5 | 5.89
146 | 31/10/2014 | 12:00:00 p.m. | 77360 | 186512 | 7.8352 | 0 | 98.373 | 20.7 | 5.87
145 | 31/10/2014 | 11:00:00 a.m. | 77295 | 186504 | 7.8211 | 0 | 98.275 | 19.6 | 5.86
144 | 31/10/2014 | 10:00:00 a.m. | 77226 | 186495 | 7.9223 | 0 | 98.093 | 16.6 | 5.85
143 | 31/10/2014 | 9:00:00 a.m. | 77154 | 186486 | 8.2281 | 0 | 100.375 | 6.8 | 5.84
142 | 31/10/2014 | 8:00:00 a.m. | 77154 | 186486 | 8.5689 | 0 | 100.779 | 1.1 | 5.82
141 | 31/10/2014 | 7:00:00 a.m. | 77154 | 186486 | 8.6495 | 0 | 100.853 | 0.9 | 5.82
140 | 31/10/2014 | 6:00:00 a.m. | 77154 | 186486 | 8.6036 | 0 | 100.822 | 1.6 | 5.83
139 | 31/10/2014 | 5:00:00 a.m. | 77154 | 186486 | 8.5904 | 0 | 100.834 | 2.3 | 5.83
138 | 31/10/2014 | 4:00:00 a.m. | 77154 | 186486 | 8.5877 | 0 | 100.824 | 3.3 | 5.82
137 | 31/10/2014 | 3:00:00 a.m. | 77154 | 186486 | 8.5155 | 0 | 100.803 | 4.4 | 5.83
136 | 31/10/2014 | 2:00:00 a.m. | 77154 | 186486 | 8.484 | 0 | 100.811 | 5.7 | 5.84
135 | 31/10/2014 | 1:00:00 a.m. | 77154 | 186486 | 8.4597 | 0 | 100.831 | 6.9 | 5.83
134 | 31/10/2014 | 12:00:00 a.m. | 77154 | 186486 | 8.4179 | 0 | 100.894 | 8.3 | 5.83
133 | 30/10/2014 | 11:00:00 p.m. | 77154 | 186486 | 8.3485 | 0 | 100.808 | 9.5 | 5.84
132 | 30/10/2014 | 10:00:00 p.m. | 77154 | 186486 | 8.3004 | 0 | 100.738 | 10.7 | 5.86
131 | 30/10/2014 | 9:00:00 p.m. | 77154 | 186486 | 8.2801 | 0 | 100.717 | 12.4 | 5.84
130 | 30/10/2014 | 8:00:00 p.m. | 77154 | 186486 | 8.2057 | 0 | 100.624 | 14.6 | 5.84
129 | 30/10/2014 | 7:00:00 p.m. | 77154 | 186486 | 8.1325 | 0 | 100.494 | 17.9 | 5.86
128 | 30/10/2014 | 6:00:00 p.m. | 77154 | 186486 | 7.9969 | 0 | 100.491 | 21.2 | 5.87
127 | 30/10/2014 | 5:00:00 p.m. | 77154 | 186486 | 7.9603 | 0 | 98.579 | 21.2 | 5.88
126 | 30/10/2014 | 4:00:00 p.m. | 77088 | 186477 | 7.7433 | 0 | 98.089 | 22.1 | 5.87
125 | 30/10/2014 | 3:00:00 p.m. | 77016 | 186468 | 7.7361 | 0 | 98.017 | 22.4 | 5.89
124 | 30/10/2014 | 2:00:00 p.m. | 76945 | 186459 | 7.7532 | 0 | 97.891 | 22 | 5.89
123 | 30/10/2014 | 1:00:00 p.m. | 76872 | 186450 | 7.8028 | 0 | 98.098 | 21.7 | 5.88
122 | 30/10/2014 | 12:00:00 p.m. | 76802 | 186441 | 7.8102 | 0 | 98.191 | 20.9 | 5.86
121 | 30/10/2014 | 11:00:00 a.m. | 76733 | 186432 | 7.8098 | 0 | 98.017 | 19.7 | 5.86
120 | 30/10/2014 | 10:00:00 a.m. | 76659 | 186422 | 7.7181 | 0 | 98.624 | 16.8 | 5.85
119 | 30/10/2014 | 9:00:00 a.m. | 76598 | 186415 | 7.8694 | 0 | 100.393 | 5.5 | 5.83
118 | 30/10/2014 | 8:00:00 a.m. | 76595 | 186414 | 8.6535 | 0 | 101.031 | -0.8 | 5.83
117 | 30/10/2014 | 7:00:00 a.m. | 76595 | 186414 | 8.7045 | 0 | 101.12 | -0.6 | 5.83
116 | 30/10/2014 | 6:00:00 a.m. | 76595 | 186414 | 8.6959 | 0 | 100.864 | 0.3 | 5.83
115 | 30/10/2014 | 5:00:00 a.m. | 76595 | 186414 | 8.6192 | 0 | 100.764 | 1.2 | 5.83
114 | 30/10/2014 | 4:00:00 a.m. | 76595 | 186414 | 8.5819 | 0 | 100.706 | 2.3 | 5.82
113 | 30/10/2014 | 3:00:00 a.m. | 76595 | 186414 | 8.5529 | 0 | 100.72 | 3.5 | 5.82
112 | 30/10/2014 | 2:00:00 a.m. | 76595 | 186414 | 8.5092 | 0 | 100.772 | 4.7 | 5.82
111 | 30/10/2014 | 1:00:00 a.m. | 76595 | 186414 | 8.4613 | 0 | 100.782 | 5.7 | 5.83
110 | 30/10/2014 | 12:00:00 a.m. | 76595 | 186414 | 8.4545 | 0 | 100.743 | 6.7 | 5.84
109 | 29/10/2014 | 11:00:00 p.m. | 76595 | 186414 | 8.4086 | 0 | 100.537 | 7.9 | 5.83
108 | 29/10/2014 | 10:00:00 p.m. | 76595 | 186414 | 8.3576 | 0 | 100.492 | 9.4 | 5.83
107 | 29/10/2014 | 9:00:00 p.m. | 76595 | 186414 | 8.305 | 0 | 100.47 | 11.5 | 5.83
106 | 29/10/2014 | 8:00:00 p.m. | 76595 | 186414 | 8.2082 | 0 | 100.382 | 14.5 | 5.84
105 | 29/10/2014 | 7:00:00 p.m. | 76595 | 186414 | 8.1054 | 0 | 100.303 | 18.6 | 5.87
104 | 29/10/2014 | 6:00:00 p.m. | 76595 | 186414 | 7.951 | 0 | 100.097 | 22.5 | 5.88
103 | 29/10/2014 | 5:00:00 p.m. | 76595 | 186414 | 7.9004 | 0 | 98.617 | 21.9 | 5.88
102 | 29/10/2014 | 4:00:00 p.m. | 76541 | 186407 | 7.8109 | 0 | 97.747 | 22.4 | 5.89
101 | 29/10/2014 | 3:00:00 p.m. | 76472 | 186398 | 7.689 | 0 | 97.668 | 22.8 | 5.9
100 | 29/10/2014 | 2:00:00 p.m. | 76402 | 186389 | 7.7642 | 0 | 97.912 | 23.1 | 5.89
99 | 29/10/2014 | 1:00:00 p.m. | 76343 | 186382 | 7.771 | 0 | 98.002 | 22.3 | 5.87
98 | 29/10/2014 | 12:00:00 p.m. | 76282 | 186374 | 7.7521 | 0 | 97.842 | 21.4 | 5.87
97 | 29/10/2014 | 11:00:00 a.m. | 76214 | 186365 | 7.8113 | 0 | 97.275 | 20 | 5.87
96 | 29/10/2014 | 10:00:00 a.m. | 76134 | 186355 | 7.8046 | 0 | 97.564 | 18.2 | 5.85
95 | 29/10/2014 | 9:00:00 a.m. | 76056 | 186345 | 7.832 | 0 | 98.415 | 11.4 | 5.83
94 | 29/10/2014 | 8:00:00 a.m. | 76009 | 186339 | 8.3891 | 0 | 100.303 | 5.8 | 5.84
93 | 29/10/2014 | 7:00:00 a.m. | 76009 | 186339 | 8.472 | 0 | 100.389 | 3.4 | 5.84
92 | 29/10/2014 | 6:00:00 a.m. | 76009 | 186339 | 8.5328 | 0 | 100.454 | 3.3 | 5.83
91 | 29/10/2014 | 5:00:00 a.m. | 76009 | 186339 | 8.5072 | 0 | 100.441 | 4.3 | 5.84
90 | 29/10/2014 | 4:00:00 a.m. | 76009 | 186339 | 8.4587 | 0 | 100.391 | 5.4 | 5.84
89 | 29/10/2014 | 3:00:00 a.m. | 76009 | 186339 | 8.4344 | 0 | 100.397 | 6.3 | 5.83
88 | 29/10/2014 | 2:00:00 a.m. | 76009 | 186339 | 8.4011 | 0 | 100.463 | 7.2 | 5.84
87 | 29/10/2014 | 1:00:00 a.m. | 76009 | 186339 | 8.3767 | 0 | 100.435 | 8.1 | 5.83
86 | 29/10/2014 | 12:00:00 a.m. | 76009 | 186339 | 8.3391 | 0 | 100.404 | 9 | 5.85
85 | 28/10/2014 | 11:00:00 p.m. | 76009 | 186339 | 8.3133 | 0 | 100.387 | 10.2 | 5.84
84 | 28/10/2014 | 10:00:00 p.m. | 76009 | 186339 | 8.2706 | 0 | 100.374 | 11.5 | 5.86
83 | 28/10/2014 | 9:00:00 p.m. | 76009 | 186339 | 8.2177 | 0 | 100.386 | 13 | 5.85
82 | 28/10/2014 | 8:00:00 p.m. | 76009 | 186339 | 8.1707 | 0 | 100.372 | 15.2 | 5.84
81 | 28/10/2014 | 7:00:00 p.m. | 76009 | 186339 | 8.0857 | 0 | 100.269 | 19 | 5.86
80 | 28/10/2014 | 6:00:00 p.m. | 76009 | 186339 | 7.929 | 0 | 100.072 | 22.8 | 5.88
79 | 28/10/2014 | 5:00:00 p.m. | 76009 | 186339 | 7.9048 | 0 | 98.023 | 21.4 | 5.88
78 | 28/10/2014 | 4:00:00 p.m. | 75941 | 186330 | 7.7657 | 0 | 97.582 | 22.5 | 5.89
77 | 28/10/2014 | 3:00:00 p.m. | 75867 | 186320 | 7.7176 | 0 | 97.54 | 26.8 | 5.89
76 | 28/10/2014 | 2:00:00 p.m. | 75803 | 186312 | 7.5407 | 0 | 99.514 | 35.1 | 5.9
75 | 28/10/2014 | 1:00:00 p.m. | 75802 | 186312 | 7.5376 | 0 | 99.496 | 34.6 | 5.88
74 | 28/10/2014 | 12:00:00 p.m. | 75802 | 186312 | 7.5615 | 0 | 99.558 | 31.2 | 5.88
73 | 28/10/2014 | 11:00:00 a.m. | 75802 | 186312 | 7.6915 | 0 | 99.618 | 25.5 | 5.86
72 | 28/10/2014 | 10:00:00 a.m. | 75802 | 186312 | 7.8839 | 0 | 99.729 | 17.4 | 5.86
71 | 28/10/2014 | 9:00:00 a.m. | 75802 | 186312 | 8.1741 | 0 | 99.955 | 8.3 | 5.85
70 | 28/10/2014 | 8:00:00 a.m. | 75802 | 186312 | 8.452 | 0 | 100.358 | 2.8 | 5.84
69 | 28/10/2014 | 7:00:00 a.m. | 75802 | 186312 | 8.5487 | 0 | 100.431 | 2.6 | 5.83
68 | 28/10/2014 | 6:00:00 a.m. | 75802 | 186312 | 8.5184 | 0 | 100.404 | 3.3 | 5.82
67 | 28/10/2014 | 5:00:00 a.m. | 75802 | 186312 | 8.5028 | 0 | 100.353 | 3.9 | 5.84
66 | 28/10/2014 | 4:00:00 a.m. | 75802 | 186312 | 8.487 | 0 | 100.345 | 4.5 | 5.82
65 | 28/10/2014 | 3:00:00 a.m. | 75802 | 186312 | 8.4506 | 0 | 100.353 | 4.9 | 5.83
64 | 28/10/2014 | 2:00:00 a.m. | 75802 | 186312 | 8.4604 | 0 | 100.343 | 5.4 | 5.83
63 | 28/10/2014 | 1:00:00 a.m. | 75802 | 186312 | 8.425 | 0 | 100.346 | 6.1 | 5.83
62 | 28/10/2014 | 12:00:00 a.m. | 75802 | 186312 | 8.4167 | 0 | 100.352 | 6.8 | 5.83
61 | 27/10/2014 | 11:00:00 p.m. | 75802 | 186312 | 8.3668 | 0 | 100.323 | 8 | 5.84
60 | 27/10/2014 | 10:00:00 p.m. | 75802 | 186312 | 8.3248 | 0 | 100.374 | 9.7 | 5.84
59 | 27/10/2014 | 9:00:00 p.m. | 75802 | 186312 | 8.2689 | 0 | 100.381 | 12.2 | 5.84
58 | 27/10/2014 | 8:00:00 p.m. | 75802 | 186312 | 8.1845 | 0 | 100.36 | 15.2 | 5.85
57 | 27/10/2014 | 7:00:00 p.m. | 75802 | 186312 | 8.0692 | 0 | 100.265 | 19.7 | 5.85
56 | 27/10/2014 | 6:00:00 p.m. | 75802 | 186312 | 7.9062 | 0 | 100.084 | 24.8 | 5.86
55 | 27/10/2014 | 5:00:00 p.m. | 75802 | 186312 | 7.7844 | 0 | 99.925 | 27.5 | 5.87
54 | 27/10/2014 | 4:00:00 p.m. | 75802 | 186312 | 7.7066 | 0 | 99.721 | 30.4 | 5.87
53 | 27/10/2014 | 3:00:00 p.m. | 75802 | 186312 | 7.6236 | 0 | 99.548 | 31.5 | 5.88
52 | 27/10/2014 | 2:00:00 p.m. | 75802 | 186312 | 7.6427 | 0 | 99.645 | 29.8 | 5.88
51 | 27/10/2014 | 1:00:00 p.m. | 75802 | 186312 | 7.6802 | 0 | 99.662 | 28.3 | 5.86
50 | 27/10/2014 | 12:00:00 p.m. | 75802 | 186312 | 7.7492 | 0 | 99.701 | 26.7 | 5.87
49 | 27/10/2014 | 11:00:00 a.m. | 75802 | 186312 | 7.793 | 0 | 99.66 | 23.9 | 5.85
48 | 27/10/2014 | 10:00:00 a.m. | 75802 | 186312 | 7.8815 | 0 | 99.684 | 17.4 | 5.86
47 | 27/10/2014 | 9:00:00 a.m. | 75802 | 186312 | 8.1526 | 0 | 100.032 | 8.5 | 5.85
46 | 27/10/2014 | 8:00:00 a.m. | 75802 | 186312 | 8.4438 | 0 | 100.349 | 3.4 | 5.84
45 | 27/10/2014 | 7:00:00 a.m. | 75802 | 186312 | 8.5264 | 0 | 100.481 | 3.1 | 5.82
44 | 27/10/2014 | 6:00:00 a.m. | 75802 | 186312 | 8.5268 | 0 | 100.487 | 3.6 | 5.83
43 | 27/10/2014 | 5:00:00 a.m. | 75802 | 186312 | 8.5114 | 0 | 100.471 | 3.9 | 5.82
42 | 27/10/2014 | 4:00:00 a.m. | 75802 | 186312 | 8.5106 | 0 | 100.473 | 4.4 | 5.83
41 | 27/10/2014 | 3:00:00 a.m. | 75802 | 186312 | 8.4938 | 0 | 100.497 | 4.6 | 5.83
40 | 27/10/2014 | 2:00:00 a.m. | 75802 | 186312 | 8.4954 | 0 | 100.53 | 4.9 | 5.84
39 | 27/10/2014 | 1:00:00 a.m. | 75802 | 186312 | 8.4617 | 0 | 100.495 | 5.5 | 5.84
38 | 27/10/2014 | 12:00:00 a.m. | 75802 | 186312 | 8.434 | 0 | 100.508 | 6.4 | 5.84
37 | 26/10/2014 | 11:00:00 p.m. | 75802 | 186312 | 8.4048 | 0 | 100.554 | 7.6 | 5.83
36 | 26/10/2014 | 10:00:00 p.m. | 75802 | 186312 | 8.3534 | 0 | 100.5 | 9.3 | 5.84
35 | 26/10/2014 | 9:00:00 p.m. | 75802 | 186312 | 8.2809 | 0 | 100.467 | 11.4 | 5.83
34 | 26/10/2014 | 8:00:00 p.m. | 75802 | 186312 | 8.2112 | 0 | 100.511 | 14.7 | 5.85
33 | 26/10/2014 | 7:00:00 p.m. | 75802 | 186312 | 8.0797 | 0 | 100.356 | 19.9 | 5.86
32 | 26/10/2014 | 6:00:00 p.m. | 75802 | 186312 | 7.8932 | 0 | 100.169 | 25.8 | 5.87
31 | 26/10/2014 | 5:00:00 p.m. | 75802 | 186312 | 7.7302 | 0 | 100.086 | 30.3 | 5.88
30 | 26/10/2014 | 4:00:00 p.m. | 75802 | 186312 | 7.633 | 0 | 99.753 | 32 | 5.88
29 | 26/10/2014 | 3:00:00 p.m. | 75802 | 186312 | 7.5854 | 0 | 99.719 | 33.2 | 5.9
28 | 26/10/2014 | 2:00:00 p.m. | 75802 | 186312 | 7.5795 | 0 | 99.704 | 32.6 | 5.88
27 | 26/10/2014 | 1:00:00 p.m. | 75802 | 186312 | 7.5892 | 0 | 99.647 | 32.2 | 5.88
26 | 26/10/2014 | 12:00:00 p.m. | 75802 | 186312 | 7.6293 | 0 | 99.703 | 29 | 5.88
25 | 26/10/2014 | 11:00:00 a.m. | 75802 | 186312 | 7.7595 | 0 | 99.865 | 23.8 | 5.87
24 | 26/10/2014 | 10:00:00 a.m. | 75802 | 186312 | 7.945 | 0 | 99.909 | 16.7 | 5.86
23 | 26/10/2014 | 9:00:00 a.m. | 75802 | 186312 | 8.1888 | 0 | 100.105 | 7.4 | 5.85
22 | 26/10/2014 | 8:00:00 a.m. | 75802 | 186312 | 8.5174 | 0 | 100.549 | 1.2 | 5.82
21 | 26/10/2014 | 7:00:00 a.m. | 75802 | 186312 | 8.6055 | 0 | 100.651 | 1 | 5.83
20 | 26/10/2014 | 6:00:00 a.m. | 75802 | 186312 | 8.5837 | 0 | 100.657 | 1.6 | 5.81
19 | 26/10/2014 | 5:00:00 a.m. | 75802 | 186312 | 8.577 | 0 | 100.645 | 2.1 | 5.83
18 | 26/10/2014 | 4:00:00 a.m. | 75802 | 186312 | 8.5539 | 0 | 100.624 | 2.9 | 5.83
17 | 26/10/2014 | 3:00:00 a.m. | 75802 | 186312 | 8.522 | 0 | 100.659 | 3.8 | 5.83
16 | 26/10/2014 | 2:00:00 a.m. | 75802 | 186312 | 8.4924 | 0 | 100.632 | 4.8 | 5.83
15 | 26/10/2014 | 1:00:00 a.m. | 75802 | 186312 | 8.46 | 0 | 100.594 | 5.8 | 5.84
14 | 26/10/2014 | 12:00:00 a.m. | 75802 | 186312 | 8.4291 | 0 | 100.535 | 6.9 | 5.83
13 | 25/10/2014 | 11:00:00 p.m. | 75802 | 186312 | 8.3752 | 0 | 100.564 | 8 | 5.83
12 | 25/10/2014 | 10:00:00 p.m. | 75802 | 186312 | 8.3511 | 0 | 100.576 | 9.5 | 5.84
11 | 25/10/2014 | 9:00:00 p.m. | 75802 | 186312 | 8.2741 | 0 | 100.456 | 11.8 | 5.84
10 | 25/10/2014 | 8:00:00 p.m. | 75802 | 186312 | 8.2023 | 0 | 100.404 | 15.1 | 5.84
9 | 25/10/2014 | 7:00:00 p.m. | 75802 | 186312 | 8.0848 | 0 | 100.395 | 19.5 | 5.87
8 | 25/10/2014 | 6:00:00 p.m. | 75802 | 186312 | 7.9343 | 0 | 100.203 | 25.5 | 5.87
7 | 25/10/2014 | 5:00:00 p.m. | 75802 | 186312 | 7.7345 | 0 | 100.035 | 30.4 | 5.87
6 | 25/10/2014 | 4:00:00 p.m. | 75802 | 186312 | 7.6691 | 0 | 99.775 | 31 | 5.88
5 | 25/10/2014 | 3:00:00 p.m. | 75802 | 186312 | 7.6221 | 0 | 99.723 | 32.9 | 5.88
4 | 25/10/2014 | 2:00:00 p.m. | 75802 | 186312 | 7.5955 | 0 | 99.658 | 33.3 | 5.88
3 | 25/10/2014 | 1:00:00 p.m. | 75802 | 186312 | 7.5813 | 0 | 99.677 | 32.1 | 5.88
2 | 25/10/2014 | 12:00:00 p.m. | 75802 | 186312 | 7.6486 | 0 | 99.84 | 31.1 | 5.87
1 | 25/10/2014 | 11:00:00 a.m. | 75802 | 186312 | 7.6998 | 0 | 99.852 | 25.5 | 5.86