## Saporis diario 022815 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 35
Fault/Alarms Recorded: | Date | Time | Condition
1 | 26/11/2014 | 7:24:51 a.m. | 8 (Low Temperature Alarm Occurred)
2 | 13/08/2014 | 9:30:00 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
3 | 13/08/2014 | 7:21:34 p.m. | 128 (Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
35 | 01/03/2015 | 9:00:00 a.m. | 1032997 | 382784 | 8.3492 | 0 | 101.023 | 14.5 | 5.93
34 | 28/02/2015 | 9:00:00 a.m. | 1032557 | 382729 | 8.2546 | 0 | 101.109 | 16.7 | 5.93
33 | 27/02/2015 | 9:00:00 a.m. | 1031660 | 382618 | 8.1777 | 0 | 100.771 | 16.3 | 5.93
32 | 26/02/2015 | 9:00:00 a.m. | 1031113 | 382550 | 8.1882 | 0 | 100.573 | 17.3 | 5.93
31 | 25/02/2015 | 9:00:00 a.m. | 1030390 | 382461 | 8.0801 | 0 | 100.733 | 15.7 | 5.94
30 | 24/02/2015 | 9:00:00 a.m. | 1029805 | 382388 | 8.1323 | 0 | 100.756 | 18.3 | 5.94
29 | 23/02/2015 | 9:00:00 a.m. | 1029539 | 382355 | 8.0816 | 0 | 100.826 | 17.3 | 5.93
28 | 22/02/2015 | 9:00:00 a.m. | 1029103 | 382301 | 8.2607 | 0 | 100.835 | 16.5 | 5.93
27 | 21/02/2015 | 9:00:00 a.m. | 1029032 | 382292 | 8.0456 | 0 | 100.666 | 16.2 | 5.93
26 | 20/02/2015 | 9:00:00 a.m. | 1028227 | 382192 | 8.2096 | 0 | 100.389 | 15.3 | 5.93
25 | 19/02/2015 | 9:00:00 a.m. | 1027444 | 382094 | 8.1362 | 0 | 100.803 | 15.8 | 5.93
24 | 18/02/2015 | 9:00:00 a.m. | 1026510 | 381978 | 8.1578 | 0 | 101.162 | 17.7 | 5.93
23 | 17/02/2015 | 9:00:00 a.m. | 1025693 | 381878 | 8.0086 | 0 | 99.882 | 16 | 5.93
22 | 16/02/2015 | 9:00:00 a.m. | 1024805 | 381768 | 8.1554 | 0 | 100.11 | 14.9 | 5.93
21 | 15/02/2015 | 9:00:00 a.m. | 1024429 | 381721 | 8.2624 | 0 | 100.255 | 10.7 | 5.93
20 | 14/02/2015 | 9:00:00 a.m. | 1024084 | 381678 | 8.3598 | 0 | 100.201 | 10.7 | 5.93
19 | 13/02/2015 | 9:00:00 a.m. | 1024062 | 381676 | 8.4137 | 0 | 100.316 | 14.6 | 5.93
18 | 12/02/2015 | 9:00:00 a.m. | 1023597 | 381618 | 8.033 | 0 | 100.38 | 14.7 | 5.93
17 | 11/02/2015 | 9:00:00 a.m. | 1022901 | 381532 | 8.353 | 0 | 100.121 | 14.7 | 5.93
16 | 10/02/2015 | 9:00:00 a.m. | 1022178 | 381442 | 8.3548 | 0 | 100.085 | 16 | 5.93
15 | 09/02/2015 | 9:00:00 a.m. | 1021262 | 381329 | 8.2312 | 0 | 100.396 | 13.8 | 5.93
14 | 08/02/2015 | 9:00:00 a.m. | 1020982 | 381294 | 8.3861 | 0 | 100.557 | 9.5 | 5.93
13 | 07/02/2015 | 9:00:00 a.m. | 1020728 | 381262 | 8.4584 | 0 | 100.612 | 11.3 | 5.93
12 | 06/02/2015 | 9:00:00 a.m. | 1020066 | 381180 | 8.3627 | 0 | 100.662 | 15.3 | 5.93
11 | 05/02/2015 | 9:00:00 a.m. | 1019109 | 381062 | 7.9979 | 0 | 99.599 | 13.9 | 5.93
10 | 04/02/2015 | 9:00:00 a.m. | 1018296 | 380961 | 8.2495 | 0 | 99.641 | 11 | 5.93
9 | 03/02/2015 | 9:00:00 a.m. | 1017646 | 380880 | 8.2731 | 0 | 99.455 | 13.8 | 5.94
8 | 02/02/2015 | 9:00:00 a.m. | 1017410 | 380851 | 8.2681 | 0 | 99.851 | 11.4 | 5.94
7 | 01/02/2015 | 9:00:00 a.m. | 1017372 | 380846 | 8.2227 | 0 | 99.999 | 13.9 | 5.95
6 | 31/01/2015 | 9:00:00 a.m. | 1016945 | 380792 | 8.0967 | 0 | 99.922 | 15.1 | 5.94
5 | 30/01/2015 | 9:00:00 a.m. | 1016513 | 380738 | 8.28 | 0 | 100.976 | 15.3 | 5.94
4 | 29/01/2015 | 9:00:00 a.m. | 1015935 | 380667 | 8.2314 | 0 | 100.969 | 15.3 | 5.94
3 | 28/01/2015 | 9:00:00 a.m. | 1015163 | 380572 | 8.1164 | 0 | 100.97 | 17.1 | 5.94
2 | 27/01/2015 | 9:00:00 a.m. | 1014694 | 380515 | 8.3018 | 0 | 101.067 | 15.6 | 5.94
1 | 26/01/2015 | 9:00:00 a.m. | 1014010 | 380431 | 8.3105 | 0 | 101.149 | 15.5 | 5.94