## DeAcero diario 062215 MC B
Data Log
Unit Serial Number: | 04/07/33086
Meter/Site ID: | 3M 37553 deacero
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 35
Fault/Alarms Recorded: | Date | Time | Condition
1 | 14/06/2015 | 11:49:46 a.m. | 0 (Alarm Register Cleared )
2 | 14/06/2015 | 11:37:14 a.m. | 3 (High Pressure Alarm Occurred Low Pressure Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
35 | 23/06/2015 | 9:00:00 a.m. | 18548928 | 1746142 | 7.5188 | 0 | 95.377 | 25.8 | 6.12
34 | 22/06/2015 | 9:00:00 a.m. | 18543797 | 1745455 | 7.4778 | 0 | 95.675 | 25.8 | 6.12
33 | 21/06/2015 | 9:00:00 a.m. | 18538775 | 1744784 | 7.4831 | 0 | 95.51 | 25.6 | 6.12
32 | 20/06/2015 | 9:00:00 a.m. | 18533800 | 1744119 | 7.4978 | 0 | 95.496 | 25.7 | 6.12
31 | 19/06/2015 | 9:00:00 a.m. | 18528699 | 1743437 | 7.5121 | 0 | 95.66 | 25.9 | 6.13
30 | 18/06/2015 | 9:00:00 a.m. | 18523961 | 1742804 | 7.5008 | 0 | 95.789 | 25.2 | 6.13
29 | 17/06/2015 | 9:00:00 a.m. | 18518937 | 1742136 | 7.6047 | 0 | 95.747 | 22.3 | 6.12
28 | 16/06/2015 | 9:00:00 a.m. | 18513888 | 1741470 | 7.595 | 0 | 95.766 | 22.3 | 6.13
27 | 15/06/2015 | 9:00:00 a.m. | 18508897 | 1740813 | 7.5797 | 0 | 95.974 | 22.6 | 6.13
26 | 14/06/2015 | 9:00:00 a.m. | 18504099 | 1740181 | 7.6186 | 0 | 86.699 | 22.9 | 6.14
25 | 13/06/2015 | 9:00:00 a.m. | 18499459 | 1739511 | 6.9062 | 0 | 87.366 | 22.8 | 6.14
24 | 12/06/2015 | 9:00:00 a.m. | 18494985 | 1738869 | 7.7714 | 0 | 99.093 | 23 | 6.14
23 | 11/06/2015 | 9:00:00 a.m. | 18490200 | 1738256 | 7.8204 | 0 | 99.131 | 22.9 | 6.14
22 | 10/06/2015 | 9:00:00 a.m. | 18485057 | 1737598 | 7.8676 | 0 | 99.68 | 22.6 | 6.14
21 | 09/06/2015 | 9:00:00 a.m. | 18479732 | 1736920 | 7.9073 | 0 | 99.983 | 22.5 | 6.14
20 | 08/06/2015 | 9:00:00 a.m. | 18474349 | 1736238 | 7.8725 | 0 | 100.311 | 22.6 | 6.15
19 | 07/06/2015 | 9:00:00 a.m. | 18469197 | 1735586 | 7.9508 | 0 | 99.583 | 22.3 | 6.15
18 | 06/06/2015 | 9:00:00 a.m. | 18463794 | 1734898 | 7.8 | 0 | 98.906 | 22.3 | 6.15
17 | 05/06/2015 | 9:00:00 a.m. | 18458363 | 1734203 | 7.8004 | 0 | 99.04 | 22.2 | 6.16
16 | 04/06/2015 | 9:00:00 a.m. | 18452951 | 1733511 | 7.8346 | 0 | 98.994 | 22.2 | 6.15
15 | 03/06/2015 | 9:00:00 a.m. | 18447722 | 1732843 | 7.834 | 0 | 99.053 | 22 | 6.16
14 | 02/06/2015 | 9:00:00 a.m. | 18442532 | 1732180 | 7.837 | 0 | 98.97 | 21.8 | 6.15
13 | 01/06/2015 | 9:00:00 a.m. | 18437062 | 1731481 | 7.8355 | 0 | 99.564 | 21.6 | 6.15
12 | 31/05/2015 | 9:00:00 a.m. | 18431832 | 1730818 | 7.8852 | 0 | 99.534 | 21.3 | 6.16
11 | 30/05/2015 | 9:00:00 a.m. | 18426196 | 1730103 | 7.8582 | 0 | 99.442 | 21.9 | 6.16
10 | 29/05/2015 | 9:00:00 a.m. | 18420763 | 1729412 | 7.9153 | 0 | 99.406 | 22 | 6.17
9 | 28/05/2015 | 9:00:00 a.m. | 18415622 | 1728758 | 7.8605 | 0 | 99.342 | 22.1 | 6.17
8 | 27/05/2015 | 9:00:00 a.m. | 18410108 | 1728056 | 7.8372 | 0 | 99.526 | 22 | 6.17
7 | 26/05/2015 | 9:00:00 a.m. | 18404735 | 1727372 | 7.8601 | 0 | 99.373 | 22 | 6.17
6 | 25/05/2015 | 9:00:00 a.m. | 18399329 | 1726684 | 7.899 | 0 | 99.591 | 21.4 | 6.18
5 | 24/05/2015 | 9:00:00 a.m. | 18393847 | 1725989 | 7.9172 | 0 | 99.557 | 21.7 | 6.18
4 | 23/05/2015 | 9:00:00 a.m. | 18388723 | 1725338 | 7.8513 | 0 | 99.227 | 21.5 | 6.18
3 | 22/05/2015 | 9:00:00 a.m. | 18383603 | 1724687 | 7.8882 | 0 | 99.261 | 21.4 | 6.17
2 | 21/05/2015 | 9:00:00 a.m. | 18378529 | 1724042 | 7.8852 | 0 | 99.018 | 22.1 | 6.18
1 | 20/05/2015 | 9:00:00 a.m. | 18373304 | 1723375 | 7.8367 | 0 | 99.205 | 21.6 | 6.19