## Mineria Empresarial horario 063
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 192
Fault/Alarms Recorded: | Date | Time | Condition
1 | 17/06/2015 | 3:32:38 p.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 17/06/2015 | 3:22:54 p.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
192 | 01/07/2015 | 10:00:00 a.m. | 161960 | 197417 | 6.8521 | 0 | 85.951 | 22.7 | 5.73
191 | 01/07/2015 | 9:00:00 a.m. | 161877 | 197405 | 6.9089 | 0 | 87.545 | 18.2 | 5.71
190 | 01/07/2015 | 8:00:00 a.m. | 161832 | 197398 | 7.3159 | 0 | 89.691 | 15 | 5.72
189 | 01/07/2015 | 7:00:00 a.m. | 161832 | 197398 | 7.335 | 0 | 89.793 | 15.7 | 5.72
188 | 01/07/2015 | 6:00:00 a.m. | 161832 | 197398 | 7.338 | 0 | 89.548 | 16.1 | 5.73
187 | 01/07/2015 | 5:00:00 a.m. | 161832 | 197398 | 7.3116 | 0 | 89.587 | 16.4 | 5.72
186 | 01/07/2015 | 4:00:00 a.m. | 161832 | 197398 | 7.289 | 0 | 89.669 | 16.7 | 5.73
185 | 01/07/2015 | 3:00:00 a.m. | 161832 | 197398 | 7.2938 | 0 | 89.446 | 17.1 | 5.73
184 | 01/07/2015 | 2:00:00 a.m. | 161832 | 197398 | 7.2473 | 0 | 89.602 | 17.4 | 5.73
183 | 01/07/2015 | 1:00:00 a.m. | 161832 | 197398 | 7.2598 | 0 | 89.525 | 17.1 | 5.71
182 | 01/07/2015 | 12:00:00 a.m. | 161832 | 197398 | 7.3031 | 0 | 89.582 | 17.3 | 5.72
181 | 30/06/2015 | 11:00:00 p.m. | 161832 | 197398 | 7.2577 | 0 | 89.644 | 17 | 5.71
180 | 30/06/2015 | 10:00:00 p.m. | 161832 | 197398 | 7.27 | 0 | 89.572 | 16.9 | 5.73
179 | 30/06/2015 | 9:00:00 p.m. | 161832 | 197398 | 7.2816 | 0 | 89.595 | 18 | 5.74
178 | 30/06/2015 | 8:00:00 p.m. | 161832 | 197398 | 7.213 | 0 | 89.431 | 22.8 | 5.73
177 | 30/06/2015 | 7:00:00 p.m. | 161832 | 197398 | 7.0926 | 0 | 89.434 | 27 | 5.75
176 | 30/06/2015 | 6:00:00 p.m. | 161832 | 197398 | 6.9692 | 0 | 89.295 | 29.3 | 5.74
175 | 30/06/2015 | 5:00:00 p.m. | 161832 | 197398 | 6.9149 | 0 | 89.262 | 30.4 | 5.76
174 | 30/06/2015 | 4:00:00 p.m. | 161832 | 197398 | 6.907 | 0 | 89.135 | 32.6 | 5.76
173 | 30/06/2015 | 3:00:00 p.m. | 161832 | 197398 | 6.8481 | 0 | 89.18 | 33.1 | 5.75
172 | 30/06/2015 | 2:00:00 p.m. | 161832 | 197398 | 6.8155 | 0 | 88.883 | 33.2 | 5.75
171 | 30/06/2015 | 1:00:00 p.m. | 161832 | 197398 | 6.8463 | 0 | 88.936 | 31 | 5.76
170 | 30/06/2015 | 12:00:00 p.m. | 161832 | 197398 | 6.9171 | 0 | 89.117 | 28.3 | 5.75
169 | 30/06/2015 | 11:00:00 a.m. | 161832 | 197398 | 7.052 | 0 | 45.346 | 22.3 | 5.72
168 | 30/06/2015 | 10:00:00 a.m. | 161832 | 197398 | 0.81568 | 0 | 61.122 | 18.2 | 5.72
167 | 30/06/2015 | 9:00:00 a.m. | 161832 | 197398 | 7.3182 | 0 | 89.534 | 14.5 | 5.73
166 | 30/06/2015 | 8:00:00 a.m. | 161832 | 197398 | 7.3674 | 0 | 89.607 | 14.4 | 5.72
165 | 30/06/2015 | 7:00:00 a.m. | 161832 | 197398 | 7.3256 | 0 | 89.609 | 15.2 | 5.73
164 | 30/06/2015 | 6:00:00 a.m. | 161832 | 197398 | 7.3102 | 0 | 89.558 | 15.7 | 5.72
163 | 30/06/2015 | 5:00:00 a.m. | 161832 | 197398 | 7.322 | 0 | 89.624 | 15.7 | 5.73
162 | 30/06/2015 | 4:00:00 a.m. | 161832 | 197398 | 7.3087 | 0 | 89.66 | 16 | 5.71
161 | 30/06/2015 | 3:00:00 a.m. | 161832 | 197398 | 7.2889 | 0 | 89.703 | 16.4 | 5.73
160 | 30/06/2015 | 2:00:00 a.m. | 161832 | 197398 | 7.2964 | 0 | 89.682 | 16.6 | 5.73
159 | 30/06/2015 | 1:00:00 a.m. | 161832 | 197398 | 7.3082 | 0 | 89.762 | 16.7 | 5.72
158 | 30/06/2015 | 12:00:00 a.m. | 161832 | 197398 | 7.2842 | 0 | 89.752 | 16.8 | 5.72
157 | 29/06/2015 | 11:00:00 p.m. | 161832 | 197398 | 7.2753 | 0 | 89.718 | 17.2 | 5.72
156 | 29/06/2015 | 10:00:00 p.m. | 161832 | 197398 | 7.2774 | 0 | 89.652 | 17.9 | 5.7
155 | 29/06/2015 | 9:00:00 p.m. | 161832 | 197398 | 7.279 | 0 | 89.781 | 19.4 | 5.73
154 | 29/06/2015 | 8:00:00 p.m. | 161832 | 197398 | 7.179 | 0 | 89.657 | 22.4 | 5.73
153 | 29/06/2015 | 7:00:00 p.m. | 161832 | 197398 | 7.1012 | 0 | 89.618 | 24.4 | 5.74
152 | 29/06/2015 | 6:00:00 p.m. | 161832 | 197398 | 7.1062 | 0 | 89.147 | 24.5 | 5.75
151 | 29/06/2015 | 5:00:00 p.m. | 161822 | 197397 | 6.8602 | 0 | 86.278 | 24.2 | 5.76
150 | 29/06/2015 | 4:00:00 p.m. | 161741 | 197385 | 6.8619 | 0 | 86.308 | 24.7 | 5.74
149 | 29/06/2015 | 3:00:00 p.m. | 161660 | 197373 | 6.8387 | 0 | 86.183 | 25.7 | 5.77
148 | 29/06/2015 | 2:00:00 p.m. | 161579 | 197361 | 6.8301 | 0 | 86.08 | 26 | 5.74
147 | 29/06/2015 | 1:00:00 p.m. | 161498 | 197349 | 6.7785 | 0 | 86.108 | 25.7 | 5.76
146 | 29/06/2015 | 12:00:00 p.m. | 161417 | 197338 | 6.8295 | 0 | 86.08 | 25.3 | 5.75
145 | 29/06/2015 | 11:00:00 a.m. | 161337 | 197326 | 6.8531 | 0 | 86.207 | 23.7 | 5.73
144 | 29/06/2015 | 10:00:00 a.m. | 161256 | 197314 | 6.8855 | 0 | 86.36 | 22.3 | 5.71
143 | 29/06/2015 | 9:00:00 a.m. | 161174 | 197302 | 6.9448 | 0 | 88.24 | 17.3 | 5.72
142 | 29/06/2015 | 8:00:00 a.m. | 161138 | 197297 | 7.3395 | 0 | 89.893 | 14.7 | 5.72
141 | 29/06/2015 | 7:00:00 a.m. | 161138 | 197297 | 7.4228 | 0 | 90.058 | 14.8 | 5.73
140 | 29/06/2015 | 6:00:00 a.m. | 161138 | 197297 | 7.3931 | 0 | 90.464 | 14.8 | 5.71
139 | 29/06/2015 | 5:00:00 a.m. | 161138 | 197297 | 7.3799 | 0 | 90.46 | 14.8 | 5.73
138 | 29/06/2015 | 4:00:00 a.m. | 161138 | 197297 | 7.3939 | 0 | 90.38 | 15.2 | 5.73
137 | 29/06/2015 | 3:00:00 a.m. | 161138 | 197297 | 7.3796 | 0 | 90.174 | 15.7 | 5.75
136 | 29/06/2015 | 2:00:00 a.m. | 161138 | 197297 | 7.2829 | 0 | 90.132 | 16.1 | 5.72
135 | 29/06/2015 | 1:00:00 a.m. | 161138 | 197297 | 7.3628 | 0 | 90.391 | 16.2 | 5.73
134 | 29/06/2015 | 12:00:00 a.m. | 161138 | 197297 | 7.3455 | 0 | 90.316 | 16.5 | 5.72
133 | 28/06/2015 | 11:00:00 p.m. | 161138 | 197297 | 7.3707 | 0 | 90.541 | 17.1 | 5.73
132 | 28/06/2015 | 10:00:00 p.m. | 161138 | 197297 | 7.3382 | 0 | 90.418 | 17.7 | 5.71
131 | 28/06/2015 | 9:00:00 p.m. | 161138 | 197297 | 7.3132 | 0 | 90.455 | 18.4 | 5.72
130 | 28/06/2015 | 8:00:00 p.m. | 161138 | 197297 | 7.2813 | 0 | 90.437 | 18.8 | 5.72
129 | 28/06/2015 | 7:00:00 p.m. | 161138 | 197297 | 7.2644 | 0 | 90.407 | 18.6 | 5.74
128 | 28/06/2015 | 6:00:00 p.m. | 161138 | 197297 | 7.305 | 0 | 90.477 | 17.8 | 5.74
127 | 28/06/2015 | 5:00:00 p.m. | 161138 | 197297 | 7.3189 | 0 | 90.391 | 18.4 | 5.73
126 | 28/06/2015 | 4:00:00 p.m. | 161138 | 197297 | 7.063 | 0 | 90.165 | 38.9 | 5.76
125 | 28/06/2015 | 3:00:00 p.m. | 161138 | 197297 | 6.7789 | 0 | 90.145 | 39.8 | 5.76
124 | 28/06/2015 | 2:00:00 p.m. | 161138 | 197297 | 6.8254 | 0 | 90.145 | 37.2 | 5.75
123 | 28/06/2015 | 1:00:00 p.m. | 161138 | 197297 | 6.8886 | 0 | 90.065 | 33.7 | 5.75
122 | 28/06/2015 | 12:00:00 p.m. | 161138 | 197297 | 7.0039 | 0 | 90.105 | 28.3 | 5.76
121 | 28/06/2015 | 11:00:00 a.m. | 161138 | 197297 | 7.1305 | 0 | 89.889 | 20.2 | 5.75
120 | 28/06/2015 | 10:00:00 a.m. | 161138 | 197297 | 7.3195 | 0 | 90.247 | 16.3 | 5.71
119 | 28/06/2015 | 9:00:00 a.m. | 161138 | 197297 | 7.4125 | 0 | 90.269 | 15.2 | 5.72
118 | 28/06/2015 | 8:00:00 a.m. | 161138 | 197297 | 7.3822 | 0 | 90.216 | 14.5 | 5.72
117 | 28/06/2015 | 7:00:00 a.m. | 161138 | 197297 | 7.4064 | 0 | 90.266 | 14.8 | 5.71
116 | 28/06/2015 | 6:00:00 a.m. | 161138 | 197297 | 7.398 | 0 | 89.979 | 14.8 | 5.72
115 | 28/06/2015 | 5:00:00 a.m. | 161138 | 197297 | 7.3435 | 0 | 89.848 | 14.8 | 5.73
114 | 28/06/2015 | 4:00:00 a.m. | 161138 | 197297 | 7.3754 | 0 | 89.959 | 15.2 | 5.73
113 | 28/06/2015 | 3:00:00 a.m. | 161138 | 197297 | 7.3382 | 0 | 89.898 | 15.5 | 5.73
112 | 28/06/2015 | 2:00:00 a.m. | 161138 | 197297 | 7.3583 | 0 | 89.863 | 15.5 | 5.71
111 | 28/06/2015 | 1:00:00 a.m. | 161138 | 197297 | 7.3432 | 0 | 89.867 | 16 | 5.72
110 | 28/06/2015 | 12:00:00 a.m. | 161138 | 197297 | 7.3091 | 0 | 89.888 | 17.3 | 5.75
109 | 27/06/2015 | 11:00:00 p.m. | 161138 | 197297 | 7.295 | 0 | 89.905 | 18.2 | 5.73
108 | 27/06/2015 | 10:00:00 p.m. | 161138 | 197297 | 7.2834 | 0 | 89.845 | 19.4 | 5.74
107 | 27/06/2015 | 9:00:00 p.m. | 161138 | 197297 | 7.215 | 0 | 89.707 | 21.4 | 5.72
106 | 27/06/2015 | 8:00:00 p.m. | 161138 | 197297 | 7.1212 | 0 | 89.619 | 23.4 | 5.73
105 | 27/06/2015 | 7:00:00 p.m. | 161138 | 197297 | 7.0862 | 0 | 89.675 | 25.4 | 5.75
104 | 27/06/2015 | 6:00:00 p.m. | 161138 | 197297 | 7.0082 | 0 | 89.482 | 29 | 5.75
103 | 27/06/2015 | 5:00:00 p.m. | 161138 | 197297 | 6.9466 | 0 | 89.355 | 32.2 | 5.76
102 | 27/06/2015 | 4:00:00 p.m. | 161138 | 197297 | 6.7736 | 0 | 89.174 | 36.5 | 5.76
101 | 27/06/2015 | 3:00:00 p.m. | 161138 | 197297 | 6.7753 | 0 | 89.344 | 35.7 | 5.76
100 | 27/06/2015 | 2:00:00 p.m. | 161138 | 197297 | 6.82 | 0 | 89.361 | 32 | 5.75
99 | 27/06/2015 | 1:00:00 p.m. | 161138 | 197297 | 6.9284 | 0 | 89.311 | 30.6 | 5.78
98 | 27/06/2015 | 12:00:00 p.m. | 161138 | 197297 | 6.9715 | 0 | 89.439 | 25.2 | 5.76
97 | 27/06/2015 | 11:00:00 a.m. | 161138 | 197297 | 7.1543 | 0 | 89.424 | 20 | 5.74
96 | 27/06/2015 | 10:00:00 a.m. | 161138 | 197297 | 7.2602 | 0 | 89.565 | 16.5 | 5.74
95 | 27/06/2015 | 9:00:00 a.m. | 161138 | 197297 | 7.2987 | 0 | 89.49 | 15.2 | 5.73
94 | 27/06/2015 | 8:00:00 a.m. | 161138 | 197297 | 7.3579 | 0 | 89.497 | 14.7 | 5.71
93 | 27/06/2015 | 7:00:00 a.m. | 161138 | 197297 | 7.3373 | 0 | 89.657 | 14.9 | 5.72
92 | 27/06/2015 | 6:00:00 a.m. | 161138 | 197297 | 7.3475 | 0 | 89.671 | 15.1 | 5.73
91 | 27/06/2015 | 5:00:00 a.m. | 161138 | 197297 | 7.3263 | 0 | 89.551 | 15.2 | 5.73
90 | 27/06/2015 | 4:00:00 a.m. | 161138 | 197297 | 7.3286 | 0 | 89.526 | 15.4 | 5.74
89 | 27/06/2015 | 3:00:00 a.m. | 161138 | 197297 | 7.3134 | 0 | 89.59 | 15.4 | 5.72
88 | 27/06/2015 | 2:00:00 a.m. | 161138 | 197297 | 7.3292 | 0 | 89.621 | 15.4 | 5.73
87 | 27/06/2015 | 1:00:00 a.m. | 161138 | 197297 | 7.3409 | 0 | 89.711 | 15.5 | 5.73
86 | 27/06/2015 | 12:00:00 a.m. | 161138 | 197297 | 7.3425 | 0 | 89.688 | 16 | 5.73
85 | 26/06/2015 | 11:00:00 p.m. | 161138 | 197297 | 7.2888 | 0 | 89.726 | 18.5 | 5.73
84 | 26/06/2015 | 10:00:00 p.m. | 161138 | 197297 | 7.2144 | 0 | 89.67 | 20.4 | 5.71
83 | 26/06/2015 | 9:00:00 p.m. | 161138 | 197297 | 7.172 | 0 | 89.696 | 22.5 | 5.74
82 | 26/06/2015 | 8:00:00 p.m. | 161138 | 197297 | 7.1141 | 0 | 89.614 | 24.4 | 5.74
81 | 26/06/2015 | 7:00:00 p.m. | 161138 | 197297 | 7.0845 | 0 | 89.585 | 25.3 | 5.76
80 | 26/06/2015 | 6:00:00 p.m. | 161138 | 197297 | 7.0546 | 0 | 89.125 | 25.5 | 5.74
79 | 26/06/2015 | 5:00:00 p.m. | 161129 | 197296 | 6.8495 | 0 | 86.151 | 25.5 | 5.75
78 | 26/06/2015 | 4:00:00 p.m. | 161048 | 197284 | 6.7729 | 0 | 86.104 | 26.8 | 5.77
77 | 26/06/2015 | 3:00:00 p.m. | 160968 | 197272 | 6.8024 | 0 | 86.184 | 26.5 | 5.75
76 | 26/06/2015 | 2:00:00 p.m. | 160888 | 197260 | 6.8115 | 0 | 86.151 | 26.1 | 5.76
75 | 26/06/2015 | 1:00:00 p.m. | 160806 | 197248 | 6.8151 | 0 | 86.148 | 25.5 | 5.75
74 | 26/06/2015 | 12:00:00 p.m. | 160726 | 197236 | 6.8202 | 0 | 86.146 | 24 | 5.75
73 | 26/06/2015 | 11:00:00 a.m. | 160645 | 197225 | 6.8718 | 0 | 86.282 | 23 | 4.56
72 | 26/06/2015 | 10:00:00 a.m. | 160564 | 197213 | 6.8714 | 0 | 86.277 | 22.1 | 5.72
71 | 26/06/2015 | 9:00:00 a.m. | 160483 | 197201 | 6.9218 | 0 | 88.04 | 17.3 | 5.71
70 | 26/06/2015 | 8:00:00 a.m. | 160447 | 197196 | 7.3289 | 0 | 89.543 | 14.9 | 5.74
69 | 26/06/2015 | 7:00:00 a.m. | 160447 | 197196 | 7.3239 | 0 | 89.617 | 14.8 | 5.71
68 | 26/06/2015 | 6:00:00 a.m. | 160447 | 197196 | 7.3624 | 0 | 89.624 | 14.7 | 5.72
67 | 26/06/2015 | 5:00:00 a.m. | 160447 | 197196 | 7.3513 | 0 | 89.698 | 14.7 | 5.72
66 | 26/06/2015 | 4:00:00 a.m. | 160447 | 197196 | 7.3447 | 0 | 89.766 | 14.8 | 5.73
65 | 26/06/2015 | 3:00:00 a.m. | 160447 | 197196 | 7.3483 | 0 | 89.795 | 14.7 | 5.73
64 | 26/06/2015 | 2:00:00 a.m. | 160447 | 197196 | 7.3682 | 0 | 89.816 | 14.5 | 5.74
63 | 26/06/2015 | 1:00:00 a.m. | 160447 | 197196 | 7.3613 | 0 | 89.82 | 14.5 | 5.74
62 | 26/06/2015 | 12:00:00 a.m. | 160447 | 197196 | 7.3594 | 0 | 89.832 | 14.6 | 5.73
61 | 25/06/2015 | 11:00:00 p.m. | 160447 | 197196 | 7.3898 | 0 | 89.843 | 14.7 | 5.72
60 | 25/06/2015 | 10:00:00 p.m. | 160447 | 197196 | 7.3483 | 0 | 89.792 | 14.8 | 5.74
59 | 25/06/2015 | 9:00:00 p.m. | 160447 | 197196 | 7.3532 | 0 | 89.78 | 15.1 | 5.72
58 | 25/06/2015 | 8:00:00 p.m. | 160447 | 197196 | 7.3255 | 0 | 89.645 | 15.4 | 5.72
57 | 25/06/2015 | 7:00:00 p.m. | 160447 | 197196 | 7.357 | 0 | 89.619 | 17.7 | 5.74
56 | 25/06/2015 | 6:00:00 p.m. | 160447 | 197196 | 7.1275 | 0 | 89.449 | 31.7 | 5.76
55 | 25/06/2015 | 5:00:00 p.m. | 160447 | 197196 | 6.8513 | 0 | 89.396 | 37.2 | 5.75
54 | 25/06/2015 | 4:00:00 p.m. | 160447 | 197196 | 6.7206 | 0 | 89.28 | 39.2 | 5.78
53 | 25/06/2015 | 3:00:00 p.m. | 160447 | 197196 | 6.7253 | 0 | 89.316 | 38.9 | 5.77
52 | 25/06/2015 | 2:00:00 p.m. | 160447 | 197196 | 6.7456 | 0 | 89.17 | 37.1 | 5.76
51 | 25/06/2015 | 1:00:00 p.m. | 160447 | 197196 | 6.2657 | 0 | 82.607 | 27.9 | 5.75
50 | 25/06/2015 | 12:00:00 p.m. | 160447 | 197196 | 6.8555 | 0 | 89.414 | 29.5 | 5.75
49 | 25/06/2015 | 11:00:00 a.m. | 160447 | 197196 | 7.0592 | 0 | 89.683 | 21.1 | 5.75
48 | 25/06/2015 | 10:00:00 a.m. | 160447 | 197196 | 7.2701 | 0 | 92.255 | 16.7 | 5.75
47 | 25/06/2015 | 9:00:00 a.m. | 160447 | 197196 | 7.8296 | 0 | 96.608 | 15.2 | 5.71
46 | 25/06/2015 | 8:00:00 a.m. | 160447 | 197196 | 7.8762 | 0 | 96.779 | 14.2 | 5.72
45 | 25/06/2015 | 7:00:00 a.m. | 160447 | 197196 | 7.8947 | 0 | 96.816 | 14.1 | 5.74
44 | 25/06/2015 | 6:00:00 a.m. | 160447 | 197196 | 7.8907 | 0 | 96.686 | 13.9 | 5.71
43 | 25/06/2015 | 5:00:00 a.m. | 160447 | 197196 | 7.9125 | 0 | 96.855 | 13.4 | 5.71
42 | 25/06/2015 | 4:00:00 a.m. | 160447 | 197196 | 7.9175 | 0 | 96.855 | 13.8 | 5.73
41 | 25/06/2015 | 3:00:00 a.m. | 160447 | 197196 | 7.908 | 0 | 96.893 | 14.2 | 5.73
40 | 25/06/2015 | 2:00:00 a.m. | 160447 | 197196 | 7.9063 | 0 | 97.003 | 14.5 | 5.73
39 | 25/06/2015 | 1:00:00 a.m. | 160447 | 197196 | 7.8714 | 0 | 96.95 | 15.2 | 5.73
38 | 25/06/2015 | 12:00:00 a.m. | 160447 | 197196 | 7.8615 | 0 | 96.842 | 15.8 | 5.74
37 | 24/06/2015 | 11:00:00 p.m. | 160447 | 197196 | 7.8285 | 0 | 96.669 | 18.3 | 5.72
36 | 24/06/2015 | 10:00:00 p.m. | 160447 | 197196 | 7.7345 | 0 | 96.755 | 19.6 | 5.74
35 | 24/06/2015 | 9:00:00 p.m. | 160447 | 197196 | 7.7233 | 0 | 96.813 | 22 | 5.72
34 | 24/06/2015 | 8:00:00 p.m. | 160447 | 197196 | 7.6438 | 0 | 96.762 | 24.3 | 5.76
33 | 24/06/2015 | 7:00:00 p.m. | 160447 | 197196 | 7.5659 | 0 | 96.524 | 25.9 | 5.76
32 | 24/06/2015 | 6:00:00 p.m. | 160447 | 197196 | 7.5527 | 0 | 96.218 | 24.8 | 5.76
31 | 24/06/2015 | 5:00:00 p.m. | 160435 | 197194 | 7.3388 | 0 | 93.496 | 26.1 | 5.77
30 | 24/06/2015 | 4:00:00 p.m. | 160354 | 197183 | 7.3547 | 0 | 93.954 | 25.2 | 5.76
29 | 24/06/2015 | 3:00:00 p.m. | 160273 | 197172 | 7.4165 | 0 | 94.227 | 26 | 5.76
28 | 24/06/2015 | 2:00:00 p.m. | 160192 | 197161 | 7.3584 | 0 | 93.981 | 26.3 | 5.75
27 | 24/06/2015 | 1:00:00 p.m. | 160111 | 197150 | 7.3523 | 0 | 93.918 | 25.7 | 5.76
26 | 24/06/2015 | 12:00:00 p.m. | 160030 | 197139 | 7.3643 | 0 | 93.76 | 24.8 | 5.75
25 | 24/06/2015 | 11:00:00 a.m. | 159949 | 197128 | 7.3895 | 0 | 93.789 | 23.1 | 5.74
24 | 24/06/2015 | 10:00:00 a.m. | 159868 | 197117 | 7.4499 | 0 | 94.121 | 21.7 | 5.74
23 | 24/06/2015 | 9:00:00 a.m. | 159786 | 197107 | 7.545 | 0 | 95.541 | 15.3 | 5.72
22 | 24/06/2015 | 8:00:00 a.m. | 159749 | 197102 | 7.9691 | 0 | 96.935 | 12.1 | 5.71
21 | 24/06/2015 | 7:00:00 a.m. | 159749 | 197102 | 7.9647 | 0 | 96.931 | 12.7 | 5.72
20 | 24/06/2015 | 6:00:00 a.m. | 159749 | 197102 | 7.9411 | 0 | 96.921 | 12.8 | 5.74
19 | 24/06/2015 | 5:00:00 a.m. | 159749 | 197102 | 7.9272 | 0 | 96.941 | 13.3 | 5.74
18 | 24/06/2015 | 4:00:00 a.m. | 159749 | 197102 | 7.9605 | 0 | 96.864 | 14 | 5.71
17 | 24/06/2015 | 3:00:00 a.m. | 159749 | 197102 | 7.8956 | 0 | 96.939 | 14.2 | 5.73
16 | 24/06/2015 | 2:00:00 a.m. | 159749 | 197102 | 7.8929 | 0 | 96.983 | 14.4 | 5.71
15 | 24/06/2015 | 1:00:00 a.m. | 159749 | 197102 | 7.8846 | 0 | 96.876 | 14.6 | 5.71
14 | 24/06/2015 | 12:00:00 a.m. | 159749 | 197102 | 7.8849 | 0 | 97.015 | 15 | 5.74
13 | 23/06/2015 | 11:00:00 p.m. | 159749 | 197102 | 7.8576 | 0 | 96.916 | 18.4 | 5.73
12 | 23/06/2015 | 10:00:00 p.m. | 159749 | 197102 | 7.7438 | 0 | 96.923 | 20.1 | 5.73
11 | 23/06/2015 | 9:00:00 p.m. | 159749 | 197102 | 7.7117 | 0 | 96.728 | 22 | 5.75
10 | 23/06/2015 | 8:00:00 p.m. | 159749 | 197102 | 7.638 | 0 | 96.914 | 24.1 | 5.75
9 | 23/06/2015 | 7:00:00 p.m. | 159749 | 197102 | 7.6013 | 0 | 96.937 | 26.7 | 5.76
8 | 23/06/2015 | 6:00:00 p.m. | 159749 | 197102 | 7.5172 | 0 | 97.225 | 30.5 | 5.74
7 | 23/06/2015 | 5:00:00 p.m. | 159749 | 197102 | 7.3858 | 0 | 97.145 | 35.8 | 5.77
6 | 23/06/2015 | 4:00:00 p.m. | 159749 | 197102 | 7.2759 | 0 | 97.034 | 34 | 5.77
5 | 23/06/2015 | 3:00:00 p.m. | 159749 | 197102 | 7.492 | 0 | 96.989 | 29.8 | 5.75
4 | 23/06/2015 | 2:00:00 p.m. | 159749 | 197102 | 7.4784 | 0 | 96.77 | 27.9 | 5.74
3 | 23/06/2015 | 1:00:00 p.m. | 159748 | 197102 | 7.5933 | 0 | 97.028 | 23.3 | 5.75
2 | 23/06/2015 | 12:00:00 p.m. | 159748 | 197102 | 7.7133 | 0 | 97.176 | 19.2 | 5.73
1 | 23/06/2015 | 11:00:00 a.m. | 159748 | 197102 | 7.8435 | 0 | 97.252 | 16.2 | 5.74