## Saporis horario 063015 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 168
Fault/Alarms Recorded: | Date | Time | Condition
1 | 17/06/2015 | 12:41:46 p.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 17/06/2015 | 12:32:16 p.m. | 8 (Low Temperature Alarm Occurred)
5 | 13/08/2014 | 9:30:00 p.m. | 192 (Internal Operations Fault Occurred Low Battery Occurred)
6 | 13/08/2014 | 7:21:34 p.m. | 128 (Low Battery Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
168 | 08/07/2015 | 10:00:00 a.m. | 1125769 | 394636 | 7.0564 | 0 | 88.718 | 18.8 | 5.88
167 | 08/07/2015 | 9:00:00 a.m. | 1125742 | 394632 | 7.2084 | 0 | 88.857 | 17.5 | 5.88
166 | 08/07/2015 | 8:00:00 a.m. | 1125742 | 394632 | 7.2381 | 0 | 88.994 | 17.4 | 5.88
165 | 08/07/2015 | 7:00:00 a.m. | 1125742 | 394632 | 7.19 | 0 | 88.954 | 22 | 5.88
164 | 08/07/2015 | 6:00:00 a.m. | 1125698 | 394626 | 7.0853 | 0 | 88.89 | 22.6 | 5.88
163 | 08/07/2015 | 5:00:00 a.m. | 1125642 | 394618 | 7.0583 | 0 | 88.83 | 23.2 | 5.88
162 | 08/07/2015 | 4:00:00 a.m. | 1125572 | 394608 | 7.0416 | 0 | 88.724 | 23.4 | 5.88
161 | 08/07/2015 | 3:00:00 a.m. | 1125504 | 394598 | 7.0446 | 0 | 88.738 | 23.3 | 5.88
160 | 08/07/2015 | 2:00:00 a.m. | 1125435 | 394589 | 7.058 | 0 | 88.684 | 23.6 | 5.88
159 | 08/07/2015 | 1:00:00 a.m. | 1125366 | 394579 | 7.0581 | 0 | 88.708 | 23.4 | 5.88
158 | 08/07/2015 | 12:00:00 a.m. | 1125299 | 394569 | 7.0447 | 0 | 88.68 | 22.7 | 5.88
157 | 07/07/2015 | 11:00:00 p.m. | 1125239 | 394561 | 7.1189 | 0 | 88.8 | 22.9 | 5.88
156 | 07/07/2015 | 10:00:00 p.m. | 1125181 | 394553 | 7.0828 | 0 | 88.706 | 22.5 | 5.88
155 | 07/07/2015 | 9:00:00 p.m. | 1125111 | 394543 | 7.0993 | 0 | 88.775 | 22.3 | 5.89
154 | 07/07/2015 | 8:00:00 p.m. | 1125045 | 394533 | 7.0669 | 0 | 88.686 | 24.3 | 5.9
153 | 07/07/2015 | 7:00:00 p.m. | 1125002 | 394527 | 6.9853 | 0 | 88.605 | 25.7 | 5.9
152 | 07/07/2015 | 6:00:00 p.m. | 1124956 | 394521 | 6.9713 | 0 | 88.58 | 26.3 | 5.91
151 | 07/07/2015 | 5:00:00 p.m. | 1124901 | 394513 | 6.9454 | 0 | 88.407 | 27.7 | 5.91
150 | 07/07/2015 | 4:00:00 p.m. | 1124855 | 394506 | 6.9067 | 0 | 88.362 | 27.9 | 5.91
149 | 07/07/2015 | 3:00:00 p.m. | 1124807 | 394499 | 6.9143 | 0 | 88.445 | 27.6 | 5.91
148 | 07/07/2015 | 2:00:00 p.m. | 1124766 | 394493 | 6.9298 | 0 | 88.304 | 26.9 | 5.91
147 | 07/07/2015 | 1:00:00 p.m. | 1124711 | 394485 | 6.9477 | 0 | 88.24 | 26.2 | 5.91
146 | 07/07/2015 | 12:00:00 p.m. | 1124657 | 394478 | 6.9948 | 0 | 88.471 | 25.6 | 5.9
145 | 07/07/2015 | 11:00:00 a.m. | 1124616 | 394472 | 7.0046 | 0 | 88.381 | 24.3 | 5.89
144 | 07/07/2015 | 10:00:00 a.m. | 1124554 | 394463 | 7.0115 | 0 | 88.617 | 23 | 5.88
143 | 07/07/2015 | 9:00:00 a.m. | 1124511 | 394457 | 7.0328 | 0 | 88.688 | 17.1 | 5.88
142 | 07/07/2015 | 8:00:00 a.m. | 1124492 | 394454 | 7.2656 | 0 | 88.826 | 15.5 | 5.88
141 | 07/07/2015 | 7:00:00 a.m. | 1124492 | 394454 | 7.2837 | 0 | 88.821 | 15.4 | 5.88
140 | 07/07/2015 | 6:00:00 a.m. | 1124492 | 394454 | 7.2456 | 0 | 88.794 | 14.8 | 5.88
139 | 07/07/2015 | 5:00:00 a.m. | 1124492 | 394454 | 7.311 | 0 | 88.928 | 15.8 | 5.88
138 | 07/07/2015 | 4:00:00 a.m. | 1124492 | 394454 | 7.2299 | 0 | 88.849 | 19 | 5.88
137 | 07/07/2015 | 3:00:00 a.m. | 1124484 | 394453 | 7.0732 | 0 | 88.746 | 23 | 5.88
136 | 07/07/2015 | 2:00:00 a.m. | 1124419 | 394444 | 7.0654 | 0 | 88.632 | 23.1 | 5.88
135 | 07/07/2015 | 1:00:00 a.m. | 1124355 | 394435 | 7.0409 | 0 | 88.636 | 23 | 5.88
134 | 07/07/2015 | 12:00:00 a.m. | 1124287 | 394425 | 7.0787 | 0 | 88.65 | 19 | 5.88
133 | 06/07/2015 | 11:00:00 p.m. | 1124247 | 394420 | 7.2151 | 0 | 88.777 | 17.4 | 5.89
132 | 06/07/2015 | 10:00:00 p.m. | 1124247 | 394420 | 7.1965 | 0 | 88.677 | 18.1 | 5.89
131 | 06/07/2015 | 9:00:00 p.m. | 1124247 | 394420 | 7.176 | 0 | 88.727 | 18.9 | 5.89
130 | 06/07/2015 | 8:00:00 p.m. | 1124247 | 394420 | 7.1648 | 0 | 88.792 | 19.9 | 5.89
129 | 06/07/2015 | 7:00:00 p.m. | 1124247 | 394420 | 7.1488 | 0 | 88.798 | 21 | 5.89
128 | 06/07/2015 | 6:00:00 p.m. | 1124247 | 394420 | 7.1129 | 0 | 88.723 | 22.1 | 5.89
127 | 06/07/2015 | 5:00:00 p.m. | 1124211 | 394414 | 7.1709 | 0 | 88.978 | 17.7 | 5.89
126 | 06/07/2015 | 4:00:00 p.m. | 1124211 | 394414 | 7.2464 | 0 | 88.629 | 22.7 | 5.9
125 | 06/07/2015 | 3:00:00 p.m. | 1124155 | 394406 | 6.9938 | 0 | 88.566 | 26.8 | 5.91
124 | 06/07/2015 | 2:00:00 p.m. | 1124107 | 394400 | 6.9258 | 0 | 88.38 | 27.5 | 5.91
123 | 06/07/2015 | 1:00:00 p.m. | 1124061 | 394393 | 6.9215 | 0 | 88.256 | 26.6 | 5.91
122 | 06/07/2015 | 12:00:00 p.m. | 1123994 | 394383 | 6.9455 | 0 | 88.413 | 25.7 | 5.9
121 | 06/07/2015 | 11:00:00 a.m. | 1123951 | 394377 | 6.9913 | 0 | 88.465 | 24.9 | 5.89
120 | 06/07/2015 | 10:00:00 a.m. | 1123891 | 394369 | 7.003 | 0 | 88.659 | 23.8 | 5.88
119 | 06/07/2015 | 9:00:00 a.m. | 1123823 | 394359 | 7.0104 | 0 | 88.645 | 23.1 | 5.88
118 | 06/07/2015 | 8:00:00 a.m. | 1123746 | 394348 | 7.0517 | 0 | 88.845 | 15.9 | 5.88
117 | 06/07/2015 | 7:00:00 a.m. | 1123713 | 394343 | 7.4018 | 0 | 89.277 | 12.5 | 5.88
116 | 06/07/2015 | 6:00:00 a.m. | 1123713 | 394343 | 7.3915 | 0 | 89.207 | 13.2 | 5.88
115 | 06/07/2015 | 5:00:00 a.m. | 1123713 | 394343 | 7.4076 | 0 | 89.691 | 13.9 | 5.88
114 | 06/07/2015 | 4:00:00 a.m. | 1123713 | 394343 | 7.3796 | 0 | 89.529 | 14.7 | 5.88
113 | 06/07/2015 | 3:00:00 a.m. | 1123713 | 394343 | 7.3553 | 0 | 89.652 | 14.9 | 5.88
112 | 06/07/2015 | 2:00:00 a.m. | 1123713 | 394343 | 7.3503 | 0 | 89.68 | 14.9 | 5.88
111 | 06/07/2015 | 1:00:00 a.m. | 1123713 | 394343 | 7.3555 | 0 | 89.673 | 14.9 | 5.88
110 | 06/07/2015 | 12:00:00 a.m. | 1123713 | 394343 | 7.3277 | 0 | 89.621 | 16 | 5.89
109 | 05/07/2015 | 11:00:00 p.m. | 1123713 | 394343 | 7.3073 | 0 | 89.735 | 17.3 | 5.89
108 | 05/07/2015 | 10:00:00 p.m. | 1123713 | 394343 | 7.2907 | 0 | 89.736 | 19.3 | 5.89
107 | 05/07/2015 | 9:00:00 p.m. | 1123713 | 394343 | 7.2089 | 0 | 89.746 | 20.7 | 5.9
106 | 05/07/2015 | 8:00:00 p.m. | 1123713 | 394343 | 7.1678 | 0 | 89.647 | 23.2 | 5.9
105 | 05/07/2015 | 7:00:00 p.m. | 1123698 | 394341 | 7.1126 | 0 | 89.746 | 24.9 | 5.9
104 | 05/07/2015 | 6:00:00 p.m. | 1123698 | 394341 | 7.0736 | 0 | 89.767 | 25.5 | 5.9
103 | 05/07/2015 | 5:00:00 p.m. | 1123698 | 394341 | 7.0803 | 0 | 89.64 | 31.6 | 5.91
102 | 05/07/2015 | 4:00:00 p.m. | 1123698 | 394341 | 6.8652 | 0 | 89.522 | 33.8 | 5.91
101 | 05/07/2015 | 3:00:00 p.m. | 1123698 | 394341 | 6.814 | 0 | 89.609 | 33.5 | 5.91
100 | 05/07/2015 | 2:00:00 p.m. | 1123698 | 394341 | 6.8785 | 0 | 89.549 | 30.8 | 5.91
99 | 05/07/2015 | 1:00:00 p.m. | 1123698 | 394341 | 6.9773 | 0 | 89.528 | 27.9 | 5.9
98 | 05/07/2015 | 12:00:00 p.m. | 1123698 | 394341 | 7.0203 | 0 | 89.32 | 26.4 | 5.9
97 | 05/07/2015 | 11:00:00 a.m. | 1123675 | 394338 | 7.0601 | 0 | 89.636 | 22.9 | 5.9
96 | 05/07/2015 | 10:00:00 a.m. | 1123675 | 394338 | 7.1852 | 0 | 89.729 | 19.1 | 5.89
95 | 05/07/2015 | 9:00:00 a.m. | 1123675 | 394338 | 7.3089 | 0 | 89.916 | 14.7 | 5.89
94 | 05/07/2015 | 8:00:00 a.m. | 1123675 | 394338 | 7.3998 | 0 | 90.04 | 14 | 5.88
93 | 05/07/2015 | 7:00:00 a.m. | 1123675 | 394338 | 7.3902 | 0 | 89.985 | 13.7 | 5.88
92 | 05/07/2015 | 6:00:00 a.m. | 1123675 | 394338 | 7.4246 | 0 | 90.081 | 13.5 | 5.88
91 | 05/07/2015 | 5:00:00 a.m. | 1123675 | 394338 | 7.4152 | 0 | 89.744 | 13.6 | 5.88
90 | 05/07/2015 | 4:00:00 a.m. | 1123675 | 394338 | 7.4037 | 0 | 89.798 | 14.2 | 5.88
89 | 05/07/2015 | 3:00:00 a.m. | 1123675 | 394338 | 7.3405 | 0 | 89.694 | 15.1 | 5.88
88 | 05/07/2015 | 2:00:00 a.m. | 1123675 | 394338 | 7.3522 | 0 | 89.764 | 15.7 | 5.88
87 | 05/07/2015 | 1:00:00 a.m. | 1123675 | 394338 | 7.3225 | 0 | 89.65 | 15.7 | 5.88
86 | 05/07/2015 | 12:00:00 a.m. | 1123675 | 394338 | 7.3047 | 0 | 89.852 | 16.7 | 5.88
85 | 04/07/2015 | 11:00:00 p.m. | 1123675 | 394338 | 7.3028 | 0 | 89.73 | 20.8 | 5.88
84 | 04/07/2015 | 10:00:00 p.m. | 1123655 | 394335 | 7.134 | 0 | 89.664 | 23.2 | 5.88
83 | 04/07/2015 | 9:00:00 p.m. | 1123605 | 394328 | 7.1158 | 0 | 89.485 | 23.5 | 5.89
82 | 04/07/2015 | 8:00:00 p.m. | 1123545 | 394320 | 7.135 | 0 | 89.522 | 23.8 | 5.9
81 | 04/07/2015 | 7:00:00 p.m. | 1123488 | 394312 | 7.0392 | 0 | 89.032 | 25 | 5.9
80 | 04/07/2015 | 6:00:00 p.m. | 1123421 | 394302 | 7.0116 | 0 | 88.737 | 27.1 | 5.91
79 | 04/07/2015 | 5:00:00 p.m. | 1123368 | 394294 | 6.9516 | 0 | 88.82 | 27.3 | 5.91
78 | 04/07/2015 | 4:00:00 p.m. | 1123320 | 394288 | 7.0099 | 0 | 89.075 | 26.5 | 5.9
77 | 04/07/2015 | 3:00:00 p.m. | 1123278 | 394282 | 7.0102 | 0 | 89.344 | 25.7 | 5.9
76 | 04/07/2015 | 2:00:00 p.m. | 1123235 | 394275 | 7.0141 | 0 | 89.058 | 26 | 5.9
75 | 04/07/2015 | 1:00:00 p.m. | 1123167 | 394266 | 7.0201 | 0 | 89.278 | 25.2 | 5.9
74 | 04/07/2015 | 12:00:00 p.m. | 1123109 | 394257 | 7.0422 | 0 | 89.321 | 24.5 | 5.9
73 | 04/07/2015 | 11:00:00 a.m. | 1123068 | 394252 | 7.0726 | 0 | 89.395 | 23.8 | 5.89
72 | 04/07/2015 | 10:00:00 a.m. | 1123025 | 394246 | 7.1275 | 0 | 89.549 | 21.8 | 5.88
71 | 04/07/2015 | 9:00:00 a.m. | 1122984 | 394240 | 7.1778 | 0 | 89.767 | 20.5 | 5.88
70 | 04/07/2015 | 8:00:00 a.m. | 1122944 | 394234 | 7.1535 | 0 | 89.69 | 22.8 | 5.88
69 | 04/07/2015 | 7:00:00 a.m. | 1122891 | 394227 | 7.1275 | 0 | 89.807 | 22.1 | 5.88
68 | 04/07/2015 | 6:00:00 a.m. | 1122847 | 394221 | 7.1993 | 0 | 89.68 | 21.9 | 5.88
67 | 04/07/2015 | 5:00:00 a.m. | 1122805 | 394215 | 7.1261 | 0 | 89.3 | 22.1 | 5.88
66 | 04/07/2015 | 4:00:00 a.m. | 1122763 | 394209 | 7.1129 | 0 | 89.17 | 23.3 | 5.88
65 | 04/07/2015 | 3:00:00 a.m. | 1122699 | 394200 | 7.0787 | 0 | 89.111 | 23.7 | 5.88
64 | 04/07/2015 | 2:00:00 a.m. | 1122630 | 394190 | 7.0749 | 0 | 89.076 | 23.8 | 5.88
63 | 04/07/2015 | 1:00:00 a.m. | 1122560 | 394180 | 7.0809 | 0 | 89.108 | 23.7 | 5.88
62 | 04/07/2015 | 12:00:00 a.m. | 1122492 | 394171 | 7.0829 | 0 | 89.107 | 24 | 5.89
61 | 03/07/2015 | 11:00:00 p.m. | 1122424 | 394161 | 7.0764 | 0 | 89.142 | 24 | 5.89
60 | 03/07/2015 | 10:00:00 p.m. | 1122357 | 394152 | 7.069 | 0 | 89.158 | 23.9 | 5.89
59 | 03/07/2015 | 9:00:00 p.m. | 1122292 | 394142 | 7.0837 | 0 | 89.149 | 24.2 | 5.9
58 | 03/07/2015 | 8:00:00 p.m. | 1122232 | 394134 | 7.0681 | 0 | 89.104 | 24.5 | 5.9
57 | 03/07/2015 | 7:00:00 p.m. | 1122165 | 394124 | 7.05 | 0 | 89.055 | 25.2 | 5.9
56 | 03/07/2015 | 6:00:00 p.m. | 1122098 | 394115 | 7.011 | 0 | 88.853 | 26.7 | 5.91
55 | 03/07/2015 | 5:00:00 p.m. | 1122028 | 394105 | 6.9501 | 0 | 88.666 | 31.3 | 5.91
54 | 03/07/2015 | 4:00:00 p.m. | 1121979 | 394098 | 6.7788 | 0 | 88.769 | 34.5 | 5.91
53 | 03/07/2015 | 3:00:00 p.m. | 1121979 | 394098 | 6.8 | 0 | 88.696 | 32.5 | 5.91
52 | 03/07/2015 | 2:00:00 p.m. | 1121979 | 394098 | 6.8508 | 0 | 88.753 | 29.8 | 5.91
51 | 03/07/2015 | 1:00:00 p.m. | 1121979 | 394098 | 6.9833 | 0 | 88.648 | 27.6 | 5.9
50 | 03/07/2015 | 12:00:00 p.m. | 1121979 | 394098 | 6.9411 | 0 | 88.558 | 25.7 | 5.9
49 | 03/07/2015 | 11:00:00 a.m. | 1121965 | 394096 | 6.9959 | 0 | 88.401 | 25 | 5.9
48 | 03/07/2015 | 10:00:00 a.m. | 1121894 | 394086 | 7.0138 | 0 | 88.643 | 22.1 | 5.9
47 | 03/07/2015 | 9:00:00 a.m. | 1121849 | 394079 | 7.193 | 0 | 89.006 | 19.4 | 5.88
46 | 03/07/2015 | 8:00:00 a.m. | 1121844 | 394079 | 7.0673 | 0 | 88.973 | 22.3 | 5.88
45 | 03/07/2015 | 7:00:00 a.m. | 1121788 | 394071 | 7.1041 | 0 | 89.137 | 22.1 | 5.88
44 | 03/07/2015 | 6:00:00 a.m. | 1121740 | 394064 | 7.1165 | 0 | 89.069 | 16.5 | 5.88
43 | 03/07/2015 | 5:00:00 a.m. | 1121713 | 394060 | 7.3321 | 0 | 89.078 | 14.7 | 5.88
42 | 03/07/2015 | 4:00:00 a.m. | 1121713 | 394060 | 7.3249 | 0 | 89.052 | 14.8 | 5.88
41 | 03/07/2015 | 3:00:00 a.m. | 1121713 | 394060 | 7.2986 | 0 | 89.188 | 14.7 | 5.88
40 | 03/07/2015 | 2:00:00 a.m. | 1121713 | 394060 | 7.3089 | 0 | 89.227 | 14.7 | 5.88
39 | 03/07/2015 | 1:00:00 a.m. | 1121713 | 394060 | 7.327 | 0 | 89.252 | 15 | 5.88
38 | 03/07/2015 | 12:00:00 a.m. | 1121713 | 394060 | 7.3029 | 0 | 89.256 | 16.1 | 5.88
37 | 02/07/2015 | 11:00:00 p.m. | 1121713 | 394060 | 7.1879 | 0 | 89.074 | 20.9 | 5.88
36 | 02/07/2015 | 10:00:00 p.m. | 1121675 | 394055 | 7.1658 | 0 | 89.255 | 21.2 | 5.88
35 | 02/07/2015 | 9:00:00 p.m. | 1121626 | 394048 | 7.1477 | 0 | 89.253 | 21.3 | 5.88
34 | 02/07/2015 | 8:00:00 p.m. | 1121576 | 394041 | 7.1577 | 0 | 89.137 | 22.1 | 5.88
33 | 02/07/2015 | 7:00:00 p.m. | 1121509 | 394031 | 7.1283 | 0 | 89.094 | 21.3 | 5.89
32 | 02/07/2015 | 6:00:00 p.m. | 1121440 | 394022 | 7.1117 | 0 | 88.877 | 24.6 | 5.9
31 | 02/07/2015 | 5:00:00 p.m. | 1121370 | 394012 | 6.9983 | 0 | 88.837 | 26.5 | 5.91
30 | 02/07/2015 | 4:00:00 p.m. | 1121303 | 394002 | 6.9817 | 0 | 88.751 | 28.2 | 5.92
29 | 02/07/2015 | 3:00:00 p.m. | 1121236 | 393993 | 6.9458 | 0 | 88.635 | 27.8 | 5.91
28 | 02/07/2015 | 2:00:00 p.m. | 1121169 | 393983 | 6.9319 | 0 | 88.598 | 27.3 | 5.91
27 | 02/07/2015 | 1:00:00 p.m. | 1121102 | 393973 | 6.9367 | 0 | 88.695 | 26.5 | 5.91
26 | 02/07/2015 | 12:00:00 p.m. | 1121036 | 393964 | 6.9377 | 0 | 88.683 | 26.1 | 5.91
25 | 02/07/2015 | 11:00:00 a.m. | 1120969 | 393954 | 7.0125 | 0 | 88.799 | 25.2 | 5.9
24 | 02/07/2015 | 10:00:00 a.m. | 1120934 | 393949 | 7.0794 | 0 | 89.107 | 22.3 | 5.9
23 | 02/07/2015 | 9:00:00 a.m. | 1120926 | 393948 | 7.0795 | 0 | 89.081 | 23.1 | 5.89
22 | 02/07/2015 | 8:00:00 a.m. | 1120883 | 393942 | 7.0831 | 0 | 89.098 | 23.3 | 5.88
21 | 02/07/2015 | 7:00:00 a.m. | 1120823 | 393934 | 7.0873 | 0 | 89.102 | 23.1 | 5.88
20 | 02/07/2015 | 6:00:00 a.m. | 1120762 | 393925 | 7.0948 | 0 | 89.151 | 23.2 | 5.88
19 | 02/07/2015 | 5:00:00 a.m. | 1120701 | 393916 | 7.0831 | 0 | 89.151 | 23 | 5.88
18 | 02/07/2015 | 4:00:00 a.m. | 1120642 | 393908 | 7.1014 | 0 | 89.071 | 22.6 | 5.88
17 | 02/07/2015 | 3:00:00 a.m. | 1120582 | 393900 | 7.0989 | 0 | 89.101 | 22.8 | 5.88
16 | 02/07/2015 | 2:00:00 a.m. | 1120522 | 393891 | 7.09 | 0 | 89.173 | 22.2 | 5.88
15 | 02/07/2015 | 1:00:00 a.m. | 1120481 | 393885 | 7.0787 | 0 | 89.164 | 22.1 | 5.89
14 | 02/07/2015 | 12:00:00 a.m. | 1120420 | 393877 | 7.115 | 0 | 89.147 | 22.4 | 5.89
13 | 01/07/2015 | 11:00:00 p.m. | 1120359 | 393868 | 7.0931 | 0 | 89.214 | 22.8 | 5.89
12 | 01/07/2015 | 10:00:00 p.m. | 1120300 | 393860 | 7.1254 | 0 | 89.179 | 22.4 | 5.9
11 | 01/07/2015 | 9:00:00 p.m. | 1120268 | 393856 | 7.0983 | 0 | 89.097 | 24.2 | 5.9
10 | 01/07/2015 | 8:00:00 p.m. | 1120221 | 393849 | 7.0416 | 0 | 89.147 | 24.8 | 5.9
9 | 01/07/2015 | 7:00:00 p.m. | 1120173 | 393842 | 7.0494 | 0 | 89.075 | 24.8 | 5.9
8 | 01/07/2015 | 6:00:00 p.m. | 1120113 | 393834 | 7.0788 | 0 | 89.144 | 24.3 | 5.9
7 | 01/07/2015 | 5:00:00 p.m. | 1120053 | 393825 | 6.9955 | 0 | 88.846 | 27 | 5.91
6 | 01/07/2015 | 4:00:00 p.m. | 1119993 | 393816 | 6.9739 | 0 | 88.689 | 28 | 5.91
5 | 01/07/2015 | 3:00:00 p.m. | 1119934 | 393808 | 6.9217 | 0 | 88.64 | 28.1 | 5.91
4 | 01/07/2015 | 2:00:00 p.m. | 1119873 | 393799 | 6.9647 | 0 | 88.657 | 27.7 | 5.91
3 | 01/07/2015 | 1:00:00 p.m. | 1119812 | 393790 | 6.9552 | 0 | 88.529 | 26.8 | 5.91
2 | 01/07/2015 | 12:00:00 p.m. | 1119750 | 393781 | 6.9681 | 0 | 88.482 | 26.3 | 5.91
1 | 01/07/2015 | 11:00:00 a.m. | 1119689 | 393773 | 7.0003 | 0 | 88.603 | 25.5 | 5.9