## La Fama diario 071415 MC B
Data Log
Unit Serial Number: | 03/11/45975
Meter/Site ID: | 1123871 16M FAMA
Drive Rate | 1 m³/rev
Number of Logs Stored: | 14
Fault/Alarms Recorded: | Date | Time | Condition
1 | 24/06/2015 | 1:06:01 p.m. | 15 (High Pressure Alarm Occurred Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 24/06/2015 | 1:00:01 p.m. | 14 (Low Pressure Alarm Occurred High Temperature Alarm Occurred Low Temperature Alarm Occurred)
3 | 17/06/2015 | 10:47:58 a.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
4 | 17/06/2015 | 10:38:22 a.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
14 | 15/07/2015 | 9:00:00 a.m. | 9724304 | 1298634 | 6.9936 | 0 | 87.965 | 24.1 | 6.03
13 | 14/07/2015 | 9:00:00 a.m. | 9714148 | 1297180 | 6.9986 | 0 | 87.966 | 24.3 | 6.03
12 | 13/07/2015 | 9:00:00 a.m. | 9704093 | 1295739 | 7.0207 | 0 | 88.408 | 24.3 | 6.03
11 | 12/07/2015 | 9:00:00 a.m. | 9697156 | 1294750 | 7.0409 | 0 | 88.219 | 23.9 | 6.03
10 | 11/07/2015 | 9:00:00 a.m. | 9688363 | 1293495 | 7.0287 | 0 | 88.206 | 24 | 6.02
9 | 10/07/2015 | 9:00:00 a.m. | 9678892 | 1292143 | 7.0112 | 0 | 88.239 | 23.9 | 6.03
8 | 09/07/2015 | 9:00:00 a.m. | 9668933 | 1290721 | 7.0011 | 0 | 88.315 | 24.2 | 6.03
7 | 08/07/2015 | 9:00:00 a.m. | 9658911 | 1289290 | 7.0243 | 0 | 88.284 | 24.5 | 6.04
6 | 07/07/2015 | 9:00:00 a.m. | 9649035 | 1287878 | 7.021 | 0 | 88.32 | 24.4 | 6.04
5 | 06/07/2015 | 9:00:00 a.m. | 9639452 | 1286509 | 6.9781 | 0 | 89.264 | 24.7 | 6.03
4 | 05/07/2015 | 9:00:00 a.m. | 9632687 | 1285551 | 7.1053 | 0 | 89.175 | 24.3 | 6.03
3 | 04/07/2015 | 9:00:00 a.m. | 9623751 | 1284285 | 7.0832 | 0 | 88.62 | 24.3 | 6.04
2 | 03/07/2015 | 9:00:00 a.m. | 9612558 | 1282690 | 7.0117 | 0 | 88.374 | 24.1 | 6.05
1 | 02/07/2015 | 9:00:00 a.m. | 9598984 | 1280754 | 7.0147 | 0 | 88.413 | 24.4 | 6.04