## Mineria Empresarial diario 0714
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 14
Fault/Alarms Recorded: | Date | Time | Condition
1 | 17/06/2015 | 3:32:38 p.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 17/06/2015 | 3:22:54 p.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
14 | 15/07/2015 | 9:00:00 a.m. | 166939 | 198148 | 6.9093 | 0 | 87.821 | 20.3 | 5.71
13 | 14/07/2015 | 9:00:00 a.m. | 166448 | 198076 | 7.2948 | 0 | 87.632 | 20.1 | 5.7
12 | 13/07/2015 | 9:00:00 a.m. | 165872 | 197991 | 7.2716 | 0 | 88.845 | 20.1 | 5.71
11 | 12/07/2015 | 9:00:00 a.m. | 165872 | 197991 | 7.3348 | 0 | 88.207 | 18.9 | 5.71
10 | 11/07/2015 | 9:00:00 a.m. | 165503 | 197937 | 7.2802 | 0 | 87.843 | 19.3 | 5.71
9 | 10/07/2015 | 9:00:00 a.m. | 164876 | 197845 | 6.9368 | 0 | 87.893 | 17.5 | 5.71
8 | 09/07/2015 | 9:00:00 a.m. | 164251 | 197753 | 7.3022 | 0 | 88.008 | 19 | 5.7
7 | 08/07/2015 | 9:00:00 a.m. | 163658 | 197666 | 7.2596 | 0 | 88.842 | 21.7 | 5.7
6 | 07/07/2015 | 9:00:00 a.m. | 163621 | 197660 | 7.2439 | 0 | 88.393 | 19.6 | 5.71
5 | 06/07/2015 | 9:00:00 a.m. | 163283 | 197611 | 6.8595 | 0 | 89.692 | 21.7 | 5.71
4 | 05/07/2015 | 9:00:00 a.m. | 163246 | 197606 | 7.3722 | 0 | 89.767 | 19.7 | 5.71
3 | 04/07/2015 | 9:00:00 a.m. | 163246 | 197606 | 7.3562 | 0 | 88.285 | 20 | 5.7
2 | 03/07/2015 | 9:00:00 a.m. | 162578 | 197508 | 6.9178 | 0 | 89.202 | 20.9 | 5.71
1 | 02/07/2015 | 9:00:00 a.m. | 162541 | 197502 | 7.2723 | 0 | 88.214 | 20 | 5.72