## Mineria Empresarial horario 071
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 336
Fault/Alarms Recorded: | Date | Time | Condition
1 | 17/06/2015 | 3:32:38 p.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 17/06/2015 | 3:22:54 p.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
336 | 15/07/2015 | 10:00:00 a.m. | 167021 | 198160 | 6.8321 | 0 | 85.193 | 21.6 | 5.71
335 | 15/07/2015 | 9:00:00 a.m. | 166939 | 198148 | 6.9093 | 0 | 88.327 | 15 | 5.71
334 | 15/07/2015 | 8:00:00 a.m. | 166934 | 198148 | 7.303 | 0 | 88.687 | 13.6 | 5.7
333 | 15/07/2015 | 7:00:00 a.m. | 166934 | 198148 | 7.3448 | 0 | 88.853 | 14.1 | 5.71
332 | 15/07/2015 | 6:00:00 a.m. | 166934 | 198148 | 7.2929 | 0 | 88.794 | 14 | 5.7
331 | 15/07/2015 | 5:00:00 a.m. | 166934 | 198148 | 7.3041 | 0 | 88.781 | 14.2 | 5.71
330 | 15/07/2015 | 4:00:00 a.m. | 166934 | 198148 | 7.3108 | 0 | 88.737 | 15.1 | 5.71
329 | 15/07/2015 | 3:00:00 a.m. | 166934 | 198148 | 7.2691 | 0 | 88.819 | 15.8 | 5.7
328 | 15/07/2015 | 2:00:00 a.m. | 166934 | 198148 | 7.2602 | 0 | 88.701 | 16.4 | 5.71
327 | 15/07/2015 | 1:00:00 a.m. | 166934 | 198148 | 7.2273 | 0 | 88.734 | 16.8 | 5.71
326 | 15/07/2015 | 12:00:00 a.m. | 166934 | 198148 | 7.2181 | 0 | 88.84 | 17 | 5.71
325 | 14/07/2015 | 11:00:00 p.m. | 166934 | 198148 | 7.222 | 0 | 88.863 | 17.7 | 5.7
324 | 14/07/2015 | 10:00:00 p.m. | 166934 | 198148 | 7.2103 | 0 | 88.797 | 19.1 | 5.72
323 | 14/07/2015 | 9:00:00 p.m. | 166934 | 198148 | 7.1439 | 0 | 88.752 | 21.5 | 5.72
322 | 14/07/2015 | 8:00:00 p.m. | 166934 | 198148 | 7.0508 | 0 | 88.68 | 25.3 | 5.72
321 | 14/07/2015 | 7:00:00 p.m. | 166934 | 198148 | 6.9525 | 0 | 88.63 | 28.7 | 5.73
320 | 14/07/2015 | 6:00:00 p.m. | 166934 | 198148 | 6.8595 | 0 | 88.517 | 30.7 | 5.74
319 | 14/07/2015 | 5:00:00 p.m. | 166934 | 198148 | 6.8477 | 0 | 87.813 | 28.5 | 5.74
318 | 14/07/2015 | 4:00:00 p.m. | 166919 | 198145 | 6.7558 | 0 | 85.405 | 25.5 | 5.74
317 | 14/07/2015 | 3:00:00 p.m. | 166839 | 198134 | 6.7585 | 0 | 85.261 | 25.6 | 5.74
316 | 14/07/2015 | 2:00:00 p.m. | 166758 | 198122 | 6.7304 | 0 | 85.706 | 25.8 | 5.77
315 | 14/07/2015 | 1:00:00 p.m. | 166691 | 198112 | 6.7499 | 0 | 85.222 | 24.7 | 5.73
314 | 14/07/2015 | 12:00:00 p.m. | 166613 | 198100 | 6.7662 | 0 | 85.257 | 24 | 5.74
313 | 14/07/2015 | 11:00:00 a.m. | 166535 | 198089 | 6.8213 | 0 | 85.231 | 22.4 | 5.71
312 | 14/07/2015 | 10:00:00 a.m. | 166455 | 198077 | 6.8628 | 0 | 88.306 | 15.7 | 5.7
311 | 14/07/2015 | 9:00:00 a.m. | 166448 | 198076 | 7.2948 | 0 | 88.632 | 13.1 | 5.7
310 | 14/07/2015 | 8:00:00 a.m. | 166448 | 198076 | 7.3558 | 0 | 88.788 | 12.5 | 5.7
309 | 14/07/2015 | 7:00:00 a.m. | 166448 | 198076 | 7.3514 | 0 | 88.817 | 12.8 | 5.7
308 | 14/07/2015 | 6:00:00 a.m. | 166448 | 198076 | 7.3238 | 0 | 88.795 | 13.4 | 5.69
307 | 14/07/2015 | 5:00:00 a.m. | 166448 | 198076 | 7.2992 | 0 | 88.686 | 14.3 | 5.7
306 | 14/07/2015 | 4:00:00 a.m. | 166448 | 198076 | 7.3149 | 0 | 88.76 | 15 | 5.71
305 | 14/07/2015 | 3:00:00 a.m. | 166448 | 198076 | 7.2588 | 0 | 88.689 | 15.7 | 5.71
304 | 14/07/2015 | 2:00:00 a.m. | 166448 | 198076 | 7.2288 | 0 | 88.669 | 16.5 | 5.71
303 | 14/07/2015 | 1:00:00 a.m. | 166448 | 198076 | 7.225 | 0 | 88.695 | 17.6 | 5.71
302 | 14/07/2015 | 12:00:00 a.m. | 166448 | 198076 | 7.1803 | 0 | 88.693 | 18.6 | 5.72
301 | 13/07/2015 | 11:00:00 p.m. | 166448 | 198076 | 7.1652 | 0 | 88.756 | 19.2 | 5.72
300 | 13/07/2015 | 10:00:00 p.m. | 166448 | 198076 | 7.1605 | 0 | 88.75 | 20 | 5.7
299 | 13/07/2015 | 9:00:00 p.m. | 166448 | 198076 | 7.1221 | 0 | 88.729 | 22 | 5.71
298 | 13/07/2015 | 8:00:00 p.m. | 166448 | 198076 | 7.0662 | 0 | 88.691 | 24.4 | 5.71
297 | 13/07/2015 | 7:00:00 p.m. | 166448 | 198076 | 6.9847 | 0 | 88.525 | 27.2 | 5.72
296 | 13/07/2015 | 6:00:00 p.m. | 166448 | 198076 | 6.9101 | 0 | 88.169 | 28.2 | 5.76
295 | 13/07/2015 | 5:00:00 p.m. | 166440 | 198075 | 6.7757 | 0 | 85.401 | 25.6 | 5.74
294 | 13/07/2015 | 4:00:00 p.m. | 166360 | 198063 | 6.7329 | 0 | 85.258 | 25.5 | 5.75
293 | 13/07/2015 | 3:00:00 p.m. | 166280 | 198051 | 6.7515 | 0 | 85.176 | 25.9 | 5.74
292 | 13/07/2015 | 2:00:00 p.m. | 166199 | 198039 | 6.7395 | 0 | 85.142 | 25.7 | 5.73
291 | 13/07/2015 | 1:00:00 p.m. | 166117 | 198027 | 6.7206 | 0 | 85.131 | 25.5 | 5.74
290 | 13/07/2015 | 12:00:00 p.m. | 166035 | 198015 | 6.7506 | 0 | 85.041 | 24.9 | 5.74
289 | 13/07/2015 | 11:00:00 a.m. | 165953 | 198003 | 6.7563 | 0 | 84.911 | 22.5 | 5.73
288 | 13/07/2015 | 10:00:00 a.m. | 165873 | 197991 | 6.8391 | 0 | 88.255 | 16.7 | 5.71
287 | 13/07/2015 | 9:00:00 a.m. | 165872 | 197991 | 7.2716 | 0 | 88.5 | 15 | 5.71
286 | 13/07/2015 | 8:00:00 a.m. | 165872 | 197991 | 7.2817 | 0 | 88.768 | 14.6 | 5.69
285 | 13/07/2015 | 7:00:00 a.m. | 165872 | 197991 | 7.2811 | 0 | 89.03 | 14.3 | 5.73
284 | 13/07/2015 | 6:00:00 a.m. | 165872 | 197991 | 7.3362 | 0 | 88.936 | 14 | 5.71
283 | 13/07/2015 | 5:00:00 a.m. | 165872 | 197991 | 7.3145 | 0 | 88.963 | 14 | 5.71
282 | 13/07/2015 | 4:00:00 a.m. | 165872 | 197991 | 7.2944 | 0 | 88.889 | 14.1 | 5.7
281 | 13/07/2015 | 3:00:00 a.m. | 165872 | 197991 | 7.2899 | 0 | 88.925 | 14 | 5.71
280 | 13/07/2015 | 2:00:00 a.m. | 165872 | 197991 | 7.2991 | 0 | 89.035 | 14.5 | 5.7
279 | 13/07/2015 | 1:00:00 a.m. | 165872 | 197991 | 7.2897 | 0 | 89.067 | 15.5 | 5.71
278 | 13/07/2015 | 12:00:00 a.m. | 165872 | 197991 | 7.2761 | 0 | 88.917 | 16.5 | 5.71
277 | 12/07/2015 | 11:00:00 p.m. | 165872 | 197991 | 7.2431 | 0 | 88.897 | 17.2 | 5.7
276 | 12/07/2015 | 10:00:00 p.m. | 165872 | 197991 | 7.2343 | 0 | 88.96 | 17.7 | 5.71
275 | 12/07/2015 | 9:00:00 p.m. | 165872 | 197991 | 7.2128 | 0 | 88.865 | 18.2 | 5.72
274 | 12/07/2015 | 8:00:00 p.m. | 165872 | 197991 | 7.2028 | 0 | 88.915 | 18.1 | 5.71
273 | 12/07/2015 | 7:00:00 p.m. | 165872 | 197991 | 7.2041 | 0 | 89.033 | 18.7 | 5.71
272 | 12/07/2015 | 6:00:00 p.m. | 165872 | 197991 | 7.171 | 0 | 89.04 | 20.4 | 5.71
271 | 12/07/2015 | 5:00:00 p.m. | 165872 | 197991 | 7.1342 | 0 | 88.908 | 27.5 | 5.73
270 | 12/07/2015 | 4:00:00 p.m. | 165872 | 197991 | 6.8636 | 0 | 88.779 | 32.8 | 5.74
269 | 12/07/2015 | 3:00:00 p.m. | 165872 | 197991 | 6.7947 | 0 | 88.542 | 34.4 | 5.75
268 | 12/07/2015 | 2:00:00 p.m. | 165872 | 197991 | 6.7562 | 0 | 88.704 | 36.4 | 5.73
267 | 12/07/2015 | 1:00:00 p.m. | 165872 | 197991 | 6.7804 | 0 | 88.505 | 32.6 | 5.74
266 | 12/07/2015 | 12:00:00 p.m. | 165872 | 197991 | 6.8915 | 0 | 88.536 | 27.5 | 5.72
265 | 12/07/2015 | 11:00:00 a.m. | 165872 | 197991 | 7.0032 | 0 | 88.675 | 19.9 | 5.71
264 | 12/07/2015 | 10:00:00 a.m. | 165872 | 197991 | 7.2324 | 0 | 88.884 | 14.8 | 5.7
263 | 12/07/2015 | 9:00:00 a.m. | 165872 | 197991 | 7.3348 | 0 | 88.903 | 12.7 | 5.71
262 | 12/07/2015 | 8:00:00 a.m. | 165872 | 197991 | 7.3537 | 0 | 88.915 | 11.8 | 5.7
261 | 12/07/2015 | 7:00:00 a.m. | 165872 | 197991 | 7.3927 | 0 | 88.986 | 12.2 | 5.7
260 | 12/07/2015 | 6:00:00 a.m. | 165872 | 197991 | 7.3582 | 0 | 88.978 | 12.3 | 5.7
259 | 12/07/2015 | 5:00:00 a.m. | 165872 | 197991 | 7.3403 | 0 | 88.828 | 12.8 | 5.71
258 | 12/07/2015 | 4:00:00 a.m. | 165872 | 197991 | 7.3253 | 0 | 88.825 | 13.4 | 5.7
257 | 12/07/2015 | 3:00:00 a.m. | 165872 | 197991 | 7.3225 | 0 | 88.938 | 14.3 | 5.71
256 | 12/07/2015 | 2:00:00 a.m. | 165872 | 197991 | 7.2992 | 0 | 89.018 | 15.2 | 5.71
255 | 12/07/2015 | 1:00:00 a.m. | 165872 | 197991 | 7.2652 | 0 | 89.006 | 15.3 | 5.71
254 | 12/07/2015 | 12:00:00 a.m. | 165872 | 197991 | 7.3004 | 0 | 89.064 | 15.1 | 5.7
253 | 11/07/2015 | 11:00:00 p.m. | 165872 | 197991 | 7.3122 | 0 | 88.989 | 14.7 | 5.7
252 | 11/07/2015 | 10:00:00 p.m. | 165872 | 197991 | 7.2865 | 0 | 88.961 | 14.9 | 5.71
251 | 11/07/2015 | 9:00:00 p.m. | 165872 | 197991 | 7.2997 | 0 | 88.992 | 15.6 | 5.7
250 | 11/07/2015 | 8:00:00 p.m. | 165872 | 197991 | 7.2409 | 0 | 88.878 | 17.7 | 5.71
249 | 11/07/2015 | 7:00:00 p.m. | 165872 | 197991 | 7.1554 | 0 | 88.702 | 23.7 | 5.73
248 | 11/07/2015 | 6:00:00 p.m. | 165872 | 197991 | 6.9833 | 0 | 88.712 | 25.7 | 5.73
247 | 11/07/2015 | 5:00:00 p.m. | 165872 | 197991 | 6.9939 | 0 | 88.537 | 28.7 | 5.72
246 | 11/07/2015 | 4:00:00 p.m. | 165872 | 197991 | 6.8394 | 0 | 88.442 | 32.4 | 5.73
245 | 11/07/2015 | 3:00:00 p.m. | 165872 | 197991 | 6.8579 | 0 | 88.107 | 29.6 | 5.74
244 | 11/07/2015 | 2:00:00 p.m. | 165861 | 197989 | 6.8217 | 0 | 86.424 | 25.5 | 5.74
243 | 11/07/2015 | 1:00:00 p.m. | 165800 | 197980 | 6.8135 | 0 | 85.133 | 25 | 5.74
242 | 11/07/2015 | 12:00:00 p.m. | 165719 | 197968 | 6.7607 | 0 | 86.348 | 23.8 | 5.72
241 | 11/07/2015 | 11:00:00 a.m. | 165652 | 197959 | 6.8209 | 0 | 85.069 | 22.9 | 5.72
240 | 11/07/2015 | 10:00:00 a.m. | 165566 | 197946 | 6.8306 | 0 | 86.219 | 19.6 | 5.71
239 | 11/07/2015 | 9:00:00 a.m. | 165503 | 197937 | 7.2802 | 0 | 88.991 | 14.5 | 5.71
238 | 11/07/2015 | 8:00:00 a.m. | 165503 | 197937 | 7.3127 | 0 | 89.078 | 14.2 | 5.71
237 | 11/07/2015 | 7:00:00 a.m. | 165503 | 197937 | 7.3049 | 0 | 88.848 | 14.1 | 5.72
236 | 11/07/2015 | 6:00:00 a.m. | 165503 | 197937 | 7.3044 | 0 | 88.919 | 14.8 | 5.71
235 | 11/07/2015 | 5:00:00 a.m. | 165503 | 197937 | 7.2812 | 0 | 88.953 | 15.3 | 5.7
234 | 11/07/2015 | 4:00:00 a.m. | 165503 | 197937 | 7.2798 | 0 | 88.934 | 15.3 | 5.71
233 | 11/07/2015 | 3:00:00 a.m. | 165503 | 197937 | 7.2785 | 0 | 88.945 | 15.5 | 5.69
232 | 11/07/2015 | 2:00:00 a.m. | 165503 | 197937 | 7.2628 | 0 | 88.972 | 16.2 | 5.71
231 | 11/07/2015 | 1:00:00 a.m. | 165503 | 197937 | 7.2577 | 0 | 88.911 | 16.5 | 5.72
230 | 11/07/2015 | 12:00:00 a.m. | 165503 | 197937 | 7.2294 | 0 | 88.928 | 16.4 | 5.71
229 | 10/07/2015 | 11:00:00 p.m. | 165503 | 197937 | 7.243 | 0 | 88.931 | 16.8 | 5.71
228 | 10/07/2015 | 10:00:00 p.m. | 165503 | 197937 | 7.2062 | 0 | 88.955 | 18.4 | 5.7
227 | 10/07/2015 | 9:00:00 p.m. | 165503 | 197937 | 7.1809 | 0 | 88.88 | 20.4 | 5.71
226 | 10/07/2015 | 8:00:00 p.m. | 165503 | 197937 | 7.128 | 0 | 88.915 | 21.8 | 5.72
225 | 10/07/2015 | 7:00:00 p.m. | 165503 | 197937 | 7.0918 | 0 | 88.744 | 22.3 | 5.72
224 | 10/07/2015 | 6:00:00 p.m. | 165503 | 197937 | 7.0896 | 0 | 88.282 | 22.1 | 5.7
223 | 10/07/2015 | 5:00:00 p.m. | 165490 | 197935 | 6.8349 | 0 | 86.429 | 23.5 | 5.72
222 | 10/07/2015 | 4:00:00 p.m. | 165423 | 197925 | 6.8413 | 0 | 85.456 | 24.6 | 5.74
221 | 10/07/2015 | 3:00:00 p.m. | 165343 | 197913 | 6.7662 | 0 | 85.751 | 24.4 | 5.75
220 | 10/07/2015 | 2:00:00 p.m. | 165267 | 197902 | 6.7957 | 0 | 85.289 | 25.1 | 5.76
219 | 10/07/2015 | 1:00:00 p.m. | 165186 | 197890 | 6.7755 | 0 | 85.541 | 24.7 | 5.74
218 | 10/07/2015 | 12:00:00 p.m. | 165106 | 197878 | 6.8242 | 0 | 85.656 | 23.7 | 5.72
217 | 10/07/2015 | 11:00:00 a.m. | 165028 | 197867 | 6.8404 | 0 | 86.051 | 22.3 | 5.71
216 | 10/07/2015 | 10:00:00 a.m. | 164954 | 197856 | 6.9975 | 0 | 85.886 | 20.7 | 5.69
215 | 10/07/2015 | 9:00:00 a.m. | 164876 | 197845 | 6.9368 | 0 | 88.393 | 12.1 | 5.71
214 | 10/07/2015 | 8:00:00 a.m. | 164865 | 197843 | 7.4261 | 0 | 89.023 | 10.2 | 5.69
213 | 10/07/2015 | 7:00:00 a.m. | 164865 | 197843 | 7.4189 | 0 | 88.959 | 10.7 | 5.7
212 | 10/07/2015 | 6:00:00 a.m. | 164865 | 197843 | 7.4011 | 0 | 88.982 | 10.5 | 5.7
211 | 10/07/2015 | 5:00:00 a.m. | 164865 | 197843 | 7.4181 | 0 | 88.853 | 10.5 | 5.69
210 | 10/07/2015 | 4:00:00 a.m. | 164865 | 197843 | 7.3958 | 0 | 88.721 | 11.1 | 5.71
209 | 10/07/2015 | 3:00:00 a.m. | 164865 | 197843 | 7.3743 | 0 | 88.847 | 11.8 | 5.7
208 | 10/07/2015 | 2:00:00 a.m. | 164865 | 197843 | 7.3772 | 0 | 88.926 | 12.6 | 5.7
207 | 10/07/2015 | 1:00:00 a.m. | 164865 | 197843 | 7.3532 | 0 | 88.991 | 12.8 | 5.71
206 | 10/07/2015 | 12:00:00 a.m. | 164865 | 197843 | 7.3611 | 0 | 89.036 | 13 | 5.71
205 | 09/07/2015 | 11:00:00 p.m. | 164865 | 197843 | 7.3466 | 0 | 89.073 | 13.1 | 5.71
204 | 09/07/2015 | 10:00:00 p.m. | 164865 | 197843 | 7.375 | 0 | 89.559 | 13.2 | 5.7
203 | 09/07/2015 | 9:00:00 p.m. | 164865 | 197843 | 7.3841 | 0 | 89.451 | 13.3 | 5.71
202 | 09/07/2015 | 8:00:00 p.m. | 164865 | 197843 | 7.3687 | 0 | 89.399 | 15.5 | 5.71
201 | 09/07/2015 | 7:00:00 p.m. | 164865 | 197843 | 7.2225 | 0 | 88.99 | 25.5 | 5.73
200 | 09/07/2015 | 6:00:00 p.m. | 164865 | 197843 | 6.8856 | 0 | 88.14 | 29 | 5.75
199 | 09/07/2015 | 5:00:00 p.m. | 164852 | 197842 | 6.7663 | 0 | 85.295 | 25.4 | 5.74
198 | 09/07/2015 | 4:00:00 p.m. | 164769 | 197829 | 6.7676 | 0 | 85.275 | 25.9 | 5.75
197 | 09/07/2015 | 3:00:00 p.m. | 164685 | 197817 | 6.7321 | 0 | 87.076 | 26 | 5.75
196 | 09/07/2015 | 2:00:00 p.m. | 164630 | 197809 | 6.9162 | 0 | 85.943 | 25.6 | 5.76
195 | 09/07/2015 | 1:00:00 p.m. | 164557 | 197798 | 6.756 | 0 | 85.231 | 25.6 | 5.73
194 | 09/07/2015 | 12:00:00 p.m. | 164475 | 197786 | 6.7613 | 0 | 85.317 | 24.7 | 5.76
193 | 09/07/2015 | 11:00:00 a.m. | 164392 | 197774 | 6.8234 | 0 | 85.328 | 22.9 | 5.73
192 | 09/07/2015 | 10:00:00 a.m. | 164309 | 197761 | 6.8524 | 0 | 86.635 | 18.7 | 5.7
191 | 09/07/2015 | 9:00:00 a.m. | 164251 | 197753 | 7.3022 | 0 | 88.954 | 13.5 | 5.7
190 | 09/07/2015 | 8:00:00 a.m. | 164251 | 197753 | 7.3571 | 0 | 89.198 | 12.7 | 5.7
189 | 09/07/2015 | 7:00:00 a.m. | 164251 | 197753 | 7.3818 | 0 | 89.187 | 12.1 | 5.71
188 | 09/07/2015 | 6:00:00 a.m. | 164251 | 197753 | 7.4016 | 0 | 89.207 | 12 | 5.71
187 | 09/07/2015 | 5:00:00 a.m. | 164251 | 197753 | 7.3832 | 0 | 89.283 | 12.6 | 5.71
186 | 09/07/2015 | 4:00:00 a.m. | 164251 | 197753 | 7.3618 | 0 | 89.22 | 13.3 | 5.7
185 | 09/07/2015 | 3:00:00 a.m. | 164251 | 197753 | 7.3468 | 0 | 89.227 | 14 | 5.71
184 | 09/07/2015 | 2:00:00 a.m. | 164251 | 197753 | 7.3197 | 0 | 89.092 | 14.5 | 5.71
183 | 09/07/2015 | 1:00:00 a.m. | 164251 | 197753 | 7.2917 | 0 | 89.093 | 15.3 | 5.71
182 | 09/07/2015 | 12:00:00 a.m. | 164251 | 197753 | 7.274 | 0 | 89.047 | 15.7 | 5.71
181 | 08/07/2015 | 11:00:00 p.m. | 164251 | 197753 | 7.2864 | 0 | 89.062 | 16.1 | 5.71
180 | 08/07/2015 | 10:00:00 p.m. | 164251 | 197753 | 7.2613 | 0 | 89.167 | 18 | 5.7
179 | 08/07/2015 | 9:00:00 p.m. | 164251 | 197753 | 7.1702 | 0 | 89.031 | 20.3 | 5.72
178 | 08/07/2015 | 8:00:00 p.m. | 164251 | 197753 | 7.1164 | 0 | 89.116 | 23.6 | 5.73
177 | 08/07/2015 | 7:00:00 p.m. | 164251 | 197753 | 7.0173 | 0 | 88.897 | 27.6 | 5.73
176 | 08/07/2015 | 6:00:00 p.m. | 164251 | 197753 | 6.9355 | 0 | 88.364 | 28.4 | 5.75
175 | 08/07/2015 | 5:00:00 p.m. | 164243 | 197752 | 6.7864 | 0 | 85.541 | 25.3 | 5.75
174 | 08/07/2015 | 4:00:00 p.m. | 164161 | 197740 | 6.769 | 0 | 85.58 | 25.8 | 5.75
173 | 08/07/2015 | 3:00:00 p.m. | 164079 | 197728 | 6.7707 | 0 | 85.397 | 25.6 | 5.75
172 | 08/07/2015 | 2:00:00 p.m. | 163997 | 197716 | 6.7832 | 0 | 85.379 | 25.1 | 5.74
171 | 08/07/2015 | 1:00:00 p.m. | 163915 | 197704 | 6.7781 | 0 | 85.395 | 24.1 | 5.72
170 | 08/07/2015 | 12:00:00 p.m. | 163833 | 197691 | 6.8275 | 0 | 85.516 | 22.9 | 5.71
169 | 08/07/2015 | 11:00:00 a.m. | 163750 | 197679 | 6.8413 | 0 | 85.6 | 21 | 5.71
168 | 08/07/2015 | 10:00:00 a.m. | 163666 | 197667 | 6.9006 | 0 | 88.641 | 16.2 | 5.71
167 | 08/07/2015 | 9:00:00 a.m. | 163658 | 197666 | 7.2596 | 0 | 89.067 | 15.5 | 5.7
166 | 08/07/2015 | 8:00:00 a.m. | 163658 | 197666 | 7.3055 | 0 | 89.218 | 14.3 | 5.72
165 | 08/07/2015 | 7:00:00 a.m. | 163658 | 197666 | 7.3366 | 0 | 89.239 | 13.8 | 5.7
164 | 08/07/2015 | 6:00:00 a.m. | 163658 | 197666 | 7.3442 | 0 | 89.188 | 13.8 | 5.71
163 | 08/07/2015 | 5:00:00 a.m. | 163658 | 197666 | 7.323 | 0 | 89.141 | 14.4 | 5.71
162 | 08/07/2015 | 4:00:00 a.m. | 163658 | 197666 | 7.3089 | 0 | 89.03 | 14.8 | 5.71
161 | 08/07/2015 | 3:00:00 a.m. | 163658 | 197666 | 7.2879 | 0 | 89.038 | 15.1 | 5.71
160 | 08/07/2015 | 2:00:00 a.m. | 163658 | 197666 | 7.2925 | 0 | 88.98 | 15.4 | 5.71
159 | 08/07/2015 | 1:00:00 a.m. | 163658 | 197666 | 7.299 | 0 | 89.007 | 15.1 | 5.71
158 | 08/07/2015 | 12:00:00 a.m. | 163658 | 197666 | 7.2885 | 0 | 88.962 | 14.9 | 5.72
157 | 07/07/2015 | 11:00:00 p.m. | 163658 | 197666 | 7.3178 | 0 | 89.077 | 15.2 | 5.72
156 | 07/07/2015 | 10:00:00 p.m. | 163658 | 197666 | 7.3142 | 0 | 89.02 | 15.3 | 5.72
155 | 07/07/2015 | 9:00:00 p.m. | 163658 | 197666 | 7.3026 | 0 | 89.096 | 18.4 | 5.72
154 | 07/07/2015 | 8:00:00 p.m. | 163658 | 197666 | 7.1072 | 0 | 88.941 | 25 | 5.73
153 | 07/07/2015 | 7:00:00 p.m. | 163658 | 197666 | 6.9707 | 0 | 88.849 | 28.8 | 5.74
152 | 07/07/2015 | 6:00:00 p.m. | 163658 | 197666 | 6.8825 | 0 | 88.833 | 32.5 | 5.75
151 | 07/07/2015 | 5:00:00 p.m. | 163658 | 197666 | 6.7772 | 0 | 88.617 | 36.7 | 5.76
150 | 07/07/2015 | 4:00:00 p.m. | 163658 | 197666 | 6.6801 | 0 | 88.554 | 38.4 | 5.76
149 | 07/07/2015 | 3:00:00 p.m. | 163658 | 197666 | 6.6752 | 0 | 88.633 | 37.8 | 5.76
148 | 07/07/2015 | 2:00:00 p.m. | 163658 | 197666 | 6.7294 | 0 | 88.524 | 34.4 | 5.75
147 | 07/07/2015 | 1:00:00 p.m. | 163658 | 197666 | 6.8621 | 0 | 87.018 | 27.9 | 5.74
146 | 07/07/2015 | 12:00:00 p.m. | 163621 | 197660 | 6.9185 | 0 | 88.67 | 26.1 | 5.72
145 | 07/07/2015 | 11:00:00 a.m. | 163621 | 197660 | 7.1122 | 0 | 88.644 | 19.9 | 5.71
144 | 07/07/2015 | 10:00:00 a.m. | 163621 | 197660 | 7.1627 | 0 | 88.853 | 17.7 | 5.71
143 | 07/07/2015 | 9:00:00 a.m. | 163621 | 197660 | 7.2439 | 0 | 88.937 | 15.7 | 5.71
142 | 07/07/2015 | 8:00:00 a.m. | 163621 | 197660 | 7.2856 | 0 | 89.034 | 15 | 5.72
141 | 07/07/2015 | 7:00:00 a.m. | 163621 | 197660 | 7.3056 | 0 | 89.035 | 14.8 | 5.71
140 | 07/07/2015 | 6:00:00 a.m. | 163621 | 197660 | 7.2822 | 0 | 89.004 | 14.4 | 5.71
139 | 07/07/2015 | 5:00:00 a.m. | 163621 | 197660 | 7.3155 | 0 | 89.141 | 14.7 | 5.71
138 | 07/07/2015 | 4:00:00 a.m. | 163621 | 197660 | 7.2988 | 0 | 89.074 | 14.7 | 5.71
137 | 07/07/2015 | 3:00:00 a.m. | 163621 | 197660 | 7.2985 | 0 | 89.037 | 15 | 5.71
136 | 07/07/2015 | 2:00:00 a.m. | 163621 | 197660 | 7.2877 | 0 | 88.923 | 15.5 | 5.71
135 | 07/07/2015 | 1:00:00 a.m. | 163621 | 197660 | 7.2517 | 0 | 88.935 | 15.9 | 5.73
134 | 07/07/2015 | 12:00:00 a.m. | 163621 | 197660 | 7.26 | 0 | 88.938 | 16.5 | 5.71
133 | 06/07/2015 | 11:00:00 p.m. | 163621 | 197660 | 7.2302 | 0 | 88.988 | 17.2 | 5.71
132 | 06/07/2015 | 10:00:00 p.m. | 163621 | 197660 | 7.2124 | 0 | 88.888 | 17.9 | 5.72
131 | 06/07/2015 | 9:00:00 p.m. | 163621 | 197660 | 7.189 | 0 | 88.937 | 18.7 | 5.71
130 | 06/07/2015 | 8:00:00 p.m. | 163621 | 197660 | 7.181 | 0 | 88.999 | 19.3 | 5.72
129 | 06/07/2015 | 7:00:00 p.m. | 163621 | 197660 | 7.1761 | 0 | 89.005 | 19.9 | 5.73
128 | 06/07/2015 | 6:00:00 p.m. | 163621 | 197660 | 7.1749 | 0 | 89 | 19.5 | 5.71
127 | 06/07/2015 | 5:00:00 p.m. | 163621 | 197660 | 7.1947 | 0 | 89.197 | 17.9 | 5.7
126 | 06/07/2015 | 4:00:00 p.m. | 163621 | 197660 | 7.2419 | 0 | 88.937 | 25.6 | 5.71
125 | 06/07/2015 | 3:00:00 p.m. | 163621 | 197660 | 6.8947 | 0 | 88.802 | 33.7 | 5.75
124 | 06/07/2015 | 2:00:00 p.m. | 163621 | 197660 | 6.7334 | 0 | 88.327 | 32.5 | 5.75
123 | 06/07/2015 | 1:00:00 p.m. | 163613 | 197659 | 6.7466 | 0 | 85.387 | 25.7 | 5.75
122 | 06/07/2015 | 12:00:00 p.m. | 163532 | 197647 | 6.7702 | 0 | 85.504 | 24.4 | 5.75
121 | 06/07/2015 | 11:00:00 a.m. | 163449 | 197635 | 6.8204 | 0 | 85.592 | 23.3 | 5.73
120 | 06/07/2015 | 10:00:00 a.m. | 163366 | 197623 | 6.8389 | 0 | 85.814 | 22.2 | 5.71
119 | 06/07/2015 | 9:00:00 a.m. | 163283 | 197611 | 6.8595 | 0 | 87.552 | 16 | 5.71
118 | 06/07/2015 | 8:00:00 a.m. | 163246 | 197606 | 7.3369 | 0 | 89.136 | 12.6 | 5.7
117 | 06/07/2015 | 7:00:00 a.m. | 163246 | 197606 | 7.3966 | 0 | 89.504 | 13.1 | 5.71
116 | 06/07/2015 | 6:00:00 a.m. | 163246 | 197606 | 7.3853 | 0 | 89.429 | 13.8 | 5.71
115 | 06/07/2015 | 5:00:00 a.m. | 163246 | 197606 | 7.4053 | 0 | 89.92 | 14.5 | 5.71
114 | 06/07/2015 | 4:00:00 a.m. | 163246 | 197606 | 7.3847 | 0 | 89.754 | 15.2 | 5.71
113 | 06/07/2015 | 3:00:00 a.m. | 163246 | 197606 | 7.3661 | 0 | 89.879 | 15.3 | 5.73
112 | 06/07/2015 | 2:00:00 a.m. | 163246 | 197606 | 7.3523 | 0 | 89.907 | 15.5 | 5.71
111 | 06/07/2015 | 1:00:00 a.m. | 163246 | 197606 | 7.3506 | 0 | 89.902 | 16 | 5.69
110 | 06/07/2015 | 12:00:00 a.m. | 163246 | 197606 | 7.3173 | 0 | 89.845 | 17.1 | 5.71
109 | 05/07/2015 | 11:00:00 p.m. | 163246 | 197606 | 7.2953 | 0 | 89.964 | 18.4 | 5.7
108 | 05/07/2015 | 10:00:00 p.m. | 163246 | 197606 | 7.2929 | 0 | 89.963 | 20 | 5.71
107 | 05/07/2015 | 9:00:00 p.m. | 163246 | 197606 | 7.2068 | 0 | 89.971 | 21.7 | 5.72
106 | 05/07/2015 | 8:00:00 p.m. | 163246 | 197606 | 7.1669 | 0 | 89.906 | 23.7 | 5.73
105 | 05/07/2015 | 7:00:00 p.m. | 163246 | 197606 | 7.102 | 0 | 89.961 | 26.4 | 5.72
104 | 05/07/2015 | 6:00:00 p.m. | 163246 | 197606 | 7.0292 | 0 | 89.979 | 29.4 | 5.74
103 | 05/07/2015 | 5:00:00 p.m. | 163246 | 197606 | 6.9503 | 0 | 89.821 | 35.1 | 5.76
102 | 05/07/2015 | 4:00:00 p.m. | 163246 | 197606 | 6.8174 | 0 | 89.693 | 36.6 | 5.76
101 | 05/07/2015 | 3:00:00 p.m. | 163246 | 197606 | 6.7569 | 0 | 89.775 | 37.3 | 5.75
100 | 05/07/2015 | 2:00:00 p.m. | 163246 | 197606 | 6.8376 | 0 | 89.729 | 31.6 | 5.75
99 | 05/07/2015 | 1:00:00 p.m. | 163246 | 197606 | 6.9796 | 0 | 89.717 | 28.3 | 5.73
98 | 05/07/2015 | 12:00:00 p.m. | 163246 | 197606 | 7.019 | 0 | 89.553 | 25.8 | 5.74
97 | 05/07/2015 | 11:00:00 a.m. | 163246 | 197606 | 7.1227 | 0 | 89.824 | 20.7 | 5.72
96 | 05/07/2015 | 10:00:00 a.m. | 163246 | 197606 | 7.2663 | 0 | 89.923 | 16.8 | 5.73
95 | 05/07/2015 | 9:00:00 a.m. | 163246 | 197606 | 7.3722 | 0 | 90.135 | 14.1 | 5.71
94 | 05/07/2015 | 8:00:00 a.m. | 163246 | 197606 | 7.4204 | 0 | 90.27 | 13.5 | 5.71
93 | 05/07/2015 | 7:00:00 a.m. | 163246 | 197606 | 7.4247 | 0 | 90.216 | 13.3 | 5.71
92 | 05/07/2015 | 6:00:00 a.m. | 163246 | 197606 | 7.4491 | 0 | 90.314 | 13.3 | 5.71
91 | 05/07/2015 | 5:00:00 a.m. | 163246 | 197606 | 7.4276 | 0 | 89.979 | 13.7 | 5.71
90 | 05/07/2015 | 4:00:00 a.m. | 163246 | 197606 | 7.412 | 0 | 90.03 | 14.3 | 5.71
89 | 05/07/2015 | 3:00:00 a.m. | 163246 | 197606 | 7.3568 | 0 | 89.918 | 15 | 5.71
88 | 05/07/2015 | 2:00:00 a.m. | 163246 | 197606 | 7.3839 | 0 | 89.988 | 15.1 | 5.71
87 | 05/07/2015 | 1:00:00 a.m. | 163246 | 197606 | 7.3569 | 0 | 89.876 | 15.2 | 5.72
86 | 05/07/2015 | 12:00:00 a.m. | 163246 | 197606 | 7.3398 | 0 | 90.078 | 15.5 | 5.72
85 | 04/07/2015 | 11:00:00 p.m. | 163246 | 197606 | 7.374 | 0 | 89.98 | 16.4 | 5.72
84 | 04/07/2015 | 10:00:00 p.m. | 163246 | 197606 | 7.3047 | 0 | 89.951 | 17.5 | 5.71
83 | 04/07/2015 | 9:00:00 p.m. | 163246 | 197606 | 7.2695 | 0 | 89.789 | 18.8 | 5.72
82 | 04/07/2015 | 8:00:00 p.m. | 163246 | 197606 | 7.2433 | 0 | 89.825 | 21.3 | 5.73
81 | 04/07/2015 | 7:00:00 p.m. | 163246 | 197606 | 7.1074 | 0 | 89.355 | 24.7 | 5.74
80 | 04/07/2015 | 6:00:00 p.m. | 163246 | 197606 | 6.9639 | 0 | 88.973 | 33.5 | 5.76
79 | 04/07/2015 | 5:00:00 p.m. | 163246 | 197606 | 6.816 | 0 | 89.033 | 32.2 | 5.75
78 | 04/07/2015 | 4:00:00 p.m. | 163246 | 197606 | 6.9259 | 0 | 89.291 | 29.7 | 5.75
77 | 04/07/2015 | 3:00:00 p.m. | 163246 | 197606 | 6.9818 | 0 | 89.577 | 28 | 5.73
76 | 04/07/2015 | 2:00:00 p.m. | 163246 | 197606 | 6.9654 | 0 | 89.321 | 28.5 | 5.74
75 | 04/07/2015 | 1:00:00 p.m. | 163246 | 197606 | 7.0213 | 0 | 89.534 | 24.1 | 5.73
74 | 04/07/2015 | 12:00:00 p.m. | 163246 | 197606 | 7.1233 | 0 | 89.553 | 21.4 | 5.71
73 | 04/07/2015 | 11:00:00 a.m. | 163246 | 197606 | 7.1925 | 0 | 89.618 | 18.1 | 5.73
72 | 04/07/2015 | 10:00:00 a.m. | 163246 | 197606 | 7.3168 | 0 | 89.802 | 15.2 | 5.71
71 | 04/07/2015 | 9:00:00 a.m. | 163246 | 197606 | 7.3562 | 0 | 90.047 | 14.6 | 5.7
70 | 04/07/2015 | 8:00:00 a.m. | 163246 | 197606 | 7.3862 | 0 | 89.975 | 13.9 | 5.71
69 | 04/07/2015 | 7:00:00 a.m. | 163246 | 197606 | 7.3831 | 0 | 90.073 | 13.8 | 5.72
68 | 04/07/2015 | 6:00:00 a.m. | 163246 | 197606 | 7.4379 | 0 | 89.946 | 13.8 | 5.71
67 | 04/07/2015 | 5:00:00 a.m. | 163246 | 197606 | 7.3503 | 0 | 89.56 | 14.2 | 5.72
66 | 04/07/2015 | 4:00:00 a.m. | 163246 | 197606 | 7.3418 | 0 | 89.471 | 15.1 | 5.72
65 | 04/07/2015 | 3:00:00 a.m. | 163246 | 197606 | 7.3093 | 0 | 89.419 | 15.9 | 5.71
64 | 04/07/2015 | 2:00:00 a.m. | 163246 | 197606 | 7.2908 | 0 | 89.38 | 16.4 | 5.68
63 | 04/07/2015 | 1:00:00 a.m. | 163246 | 197606 | 7.2877 | 0 | 89.415 | 16.7 | 5.71
62 | 04/07/2015 | 12:00:00 a.m. | 163246 | 197606 | 7.2755 | 0 | 89.411 | 17.4 | 5.7
61 | 03/07/2015 | 11:00:00 p.m. | 163246 | 197606 | 7.2585 | 0 | 89.444 | 18.1 | 5.71
60 | 03/07/2015 | 10:00:00 p.m. | 163246 | 197606 | 7.2314 | 0 | 89.462 | 19.1 | 5.73
59 | 03/07/2015 | 9:00:00 p.m. | 163246 | 197606 | 7.2006 | 0 | 89.446 | 20.7 | 5.72
58 | 03/07/2015 | 8:00:00 p.m. | 163246 | 197606 | 7.1578 | 0 | 89.417 | 22.8 | 5.73
57 | 03/07/2015 | 7:00:00 p.m. | 163246 | 197606 | 7.0809 | 0 | 89.365 | 26.4 | 5.75
56 | 03/07/2015 | 6:00:00 p.m. | 163246 | 197606 | 6.9708 | 0 | 88.8 | 27.3 | 5.75
55 | 03/07/2015 | 5:00:00 p.m. | 163237 | 197604 | 6.8156 | 0 | 85.908 | 25.1 | 5.76
54 | 03/07/2015 | 4:00:00 p.m. | 163155 | 197592 | 6.8025 | 0 | 85.899 | 25.6 | 5.75
53 | 03/07/2015 | 3:00:00 p.m. | 163073 | 197580 | 6.7926 | 0 | 85.81 | 25.2 | 5.75
52 | 03/07/2015 | 2:00:00 p.m. | 162991 | 197568 | 6.8096 | 0 | 85.834 | 24.6 | 5.76
51 | 03/07/2015 | 1:00:00 p.m. | 162909 | 197556 | 6.8377 | 0 | 85.768 | 23.9 | 5.72
50 | 03/07/2015 | 12:00:00 p.m. | 162826 | 197544 | 6.8369 | 0 | 85.672 | 23.8 | 5.74
49 | 03/07/2015 | 11:00:00 a.m. | 162744 | 197532 | 6.8392 | 0 | 85.568 | 23.3 | 5.73
48 | 03/07/2015 | 10:00:00 a.m. | 162662 | 197520 | 6.8526 | 0 | 85.756 | 22.2 | 5.72
47 | 03/07/2015 | 9:00:00 a.m. | 162578 | 197508 | 6.9178 | 0 | 87.799 | 16.6 | 5.71
46 | 03/07/2015 | 8:00:00 a.m. | 162541 | 197502 | 7.3301 | 0 | 89.276 | 14 | 5.72
45 | 03/07/2015 | 7:00:00 a.m. | 162541 | 197502 | 7.3368 | 0 | 89.409 | 14.2 | 5.71
44 | 03/07/2015 | 6:00:00 a.m. | 162541 | 197502 | 7.3445 | 0 | 89.346 | 14.3 | 5.72
43 | 03/07/2015 | 5:00:00 a.m. | 162541 | 197502 | 7.3556 | 0 | 89.308 | 14.3 | 5.71
42 | 03/07/2015 | 4:00:00 a.m. | 162541 | 197502 | 7.3506 | 0 | 89.273 | 14.3 | 5.72
41 | 03/07/2015 | 3:00:00 a.m. | 162541 | 197502 | 7.3284 | 0 | 89.411 | 14.3 | 5.73
40 | 03/07/2015 | 2:00:00 a.m. | 162541 | 197502 | 7.3288 | 0 | 89.455 | 14.5 | 5.71
39 | 03/07/2015 | 1:00:00 a.m. | 162541 | 197502 | 7.3527 | 0 | 89.481 | 14.6 | 5.71
38 | 03/07/2015 | 12:00:00 a.m. | 162541 | 197502 | 7.3373 | 0 | 89.486 | 14.7 | 5.72
37 | 02/07/2015 | 11:00:00 p.m. | 162541 | 197502 | 7.329 | 0 | 89.329 | 14.8 | 5.71
36 | 02/07/2015 | 10:00:00 p.m. | 162541 | 197502 | 7.3474 | 0 | 89.535 | 15 | 5.72
35 | 02/07/2015 | 9:00:00 p.m. | 162541 | 197502 | 7.3329 | 0 | 89.534 | 15.1 | 5.72
34 | 02/07/2015 | 8:00:00 p.m. | 162541 | 197502 | 7.351 | 0 | 89.445 | 14.9 | 5.72
33 | 02/07/2015 | 7:00:00 p.m. | 162541 | 197502 | 7.3435 | 0 | 89.437 | 15.7 | 5.73
32 | 02/07/2015 | 6:00:00 p.m. | 162541 | 197502 | 7.1742 | 0 | 89.197 | 27.3 | 5.72
31 | 02/07/2015 | 5:00:00 p.m. | 162541 | 197502 | 6.8862 | 0 | 89.121 | 35.2 | 5.75
30 | 02/07/2015 | 4:00:00 p.m. | 162541 | 197502 | 6.7343 | 0 | 88.993 | 38.9 | 5.77
29 | 02/07/2015 | 3:00:00 p.m. | 162541 | 197502 | 6.7361 | 0 | 88.894 | 38.5 | 5.77
28 | 02/07/2015 | 2:00:00 p.m. | 162541 | 197502 | 6.6742 | 0 | 88.869 | 38.3 | 5.74
27 | 02/07/2015 | 1:00:00 p.m. | 162541 | 197502 | 6.7425 | 0 | 88.969 | 33.1 | 5.76
26 | 02/07/2015 | 12:00:00 p.m. | 162541 | 197502 | 6.7971 | 0 | 88.943 | 29.8 | 5.76
25 | 02/07/2015 | 11:00:00 a.m. | 162541 | 197502 | 7.0445 | 0 | 89.019 | 21.9 | 5.73
24 | 02/07/2015 | 10:00:00 a.m. | 162541 | 197502 | 7.1831 | 0 | 89.323 | 17.7 | 5.73
23 | 02/07/2015 | 9:00:00 a.m. | 162541 | 197502 | 7.2723 | 0 | 89.336 | 15.4 | 5.72
22 | 02/07/2015 | 8:00:00 a.m. | 162541 | 197502 | 7.3285 | 0 | 89.392 | 14.7 | 5.72
21 | 02/07/2015 | 7:00:00 a.m. | 162541 | 197502 | 7.3293 | 0 | 89.403 | 14.5 | 5.71
20 | 02/07/2015 | 6:00:00 a.m. | 162541 | 197502 | 7.3426 | 0 | 89.459 | 14.5 | 5.7
19 | 02/07/2015 | 5:00:00 a.m. | 162541 | 197502 | 7.3297 | 0 | 89.445 | 14.6 | 5.73
18 | 02/07/2015 | 4:00:00 a.m. | 162541 | 197502 | 7.3286 | 0 | 89.367 | 14.9 | 5.72
17 | 02/07/2015 | 3:00:00 a.m. | 162541 | 197502 | 7.3231 | 0 | 89.398 | 15.2 | 5.71
16 | 02/07/2015 | 2:00:00 a.m. | 162541 | 197502 | 7.3063 | 0 | 89.433 | 15.1 | 5.71
15 | 02/07/2015 | 1:00:00 a.m. | 162541 | 197502 | 7.3018 | 0 | 89.462 | 15.3 | 5.7
14 | 02/07/2015 | 12:00:00 a.m. | 162541 | 197502 | 7.2933 | 0 | 89.445 | 16.4 | 5.71
13 | 01/07/2015 | 11:00:00 p.m. | 162541 | 197502 | 7.2765 | 0 | 89.51 | 17 | 5.7
12 | 01/07/2015 | 10:00:00 p.m. | 162541 | 197502 | 7.2468 | 0 | 89.431 | 18.9 | 5.71
11 | 01/07/2015 | 9:00:00 p.m. | 162541 | 197502 | 7.1732 | 0 | 89.367 | 22.1 | 5.72
10 | 01/07/2015 | 8:00:00 p.m. | 162541 | 197502 | 7.1081 | 0 | 89.418 | 23.1 | 5.73
9 | 01/07/2015 | 7:00:00 p.m. | 162541 | 197502 | 7.1255 | 0 | 89.35 | 21.4 | 5.74
8 | 01/07/2015 | 6:00:00 p.m. | 162541 | 197502 | 7.1839 | 0 | 89.109 | 23 | 5.74
7 | 01/07/2015 | 5:00:00 p.m. | 162531 | 197501 | 6.8285 | 0 | 86.121 | 26 | 5.75
6 | 01/07/2015 | 4:00:00 p.m. | 162450 | 197489 | 6.7813 | 0 | 85.913 | 27.3 | 5.76
5 | 01/07/2015 | 3:00:00 p.m. | 162368 | 197477 | 6.7575 | 0 | 85.856 | 26.8 | 5.76
4 | 01/07/2015 | 2:00:00 p.m. | 162287 | 197465 | 6.8167 | 0 | 85.838 | 26.5 | 5.75
3 | 01/07/2015 | 1:00:00 p.m. | 162205 | 197453 | 6.7651 | 0 | 85.731 | 26.1 | 5.75
2 | 01/07/2015 | 12:00:00 p.m. | 162123 | 197441 | 6.7851 | 0 | 85.634 | 24.9 | 5.74
1 | 01/07/2015 | 11:00:00 a.m. | 162041 | 197429 | 6.8354 | 0 | 85.733 | 23.7 | 5.74