## Mineria Empresarial diario 0721
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 7
Fault/Alarms Recorded: | Date | Time | Condition
1 | 17/06/2015 | 3:32:38 p.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 17/06/2015 | 3:22:54 p.m. | 8 (Low Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
7 | 22/07/2015 | 9:00:00 a.m. | 169642 | 198548 | 7.1568 | 0 | 86.752 | 19.5 | 5.71
6 | 21/07/2015 | 9:00:00 a.m. | 169006 | 198454 | 6.7969 | 0 | 87.788 | 21.2 | 5.69
5 | 20/07/2015 | 9:00:00 a.m. | 168967 | 198448 | 7.1805 | 0 | 88.687 | 23.1 | 5.71
4 | 19/07/2015 | 9:00:00 a.m. | 168967 | 198448 | 7.3247 | 0 | 87.966 | 20.2 | 5.71
3 | 18/07/2015 | 9:00:00 a.m. | 168556 | 198387 | 6.8387 | 0 | 87.862 | 22.1 | 5.71
2 | 17/07/2015 | 9:00:00 a.m. | 168256 | 198343 | 7.2544 | 0 | 87.375 | 19.4 | 5.71
1 | 16/07/2015 | 9:00:00 a.m. | 167599 | 198246 | 6.8746 | 0 | 87.401 | 20.9 | 5.71