## Mineria Empresarial horario 073
Data Log
Unit Serial Number: | -1/03/4351006
Meter/Site ID: | 8C175 34327 Min
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 407
Fault/Alarms Recorded: | Date | Time | Condition
1 | 30/07/2015 | 1:28:35 p.m. | 4 (High Temperature Alarm Occurred)
2 | 29/07/2015 | 10:34:18 a.m. | 0 (Alarm Register Cleared )
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
407 | 01/08/2015 | 10:00:00 a.m. | 171990 | 198899 | 7.0092 | 0 | 86.954 | 15.9 | 5.7
406 | 01/08/2015 | 9:00:00 a.m. | 171990 | 198899 | 7.1745 | 0 | 87.146 | 12.6 | 5.69
405 | 01/08/2015 | 8:00:00 a.m. | 171990 | 198899 | 7.2495 | 0 | 87.403 | 11.7 | 5.7
404 | 01/08/2015 | 7:00:00 a.m. | 171990 | 198899 | 7.2396 | 0 | 87.331 | 12.1 | 5.71
403 | 01/08/2015 | 6:00:00 a.m. | 171990 | 198899 | 7.2761 | 0 | 87.483 | 12.9 | 5.72
402 | 01/08/2015 | 5:00:00 a.m. | 171990 | 198899 | 7.2523 | 0 | 87.331 | 13.6 | 5.72
401 | 01/08/2015 | 4:00:00 a.m. | 171990 | 198899 | 7.1893 | 0 | 87.445 | 14.2 | 5.69
400 | 01/08/2015 | 3:00:00 a.m. | 171990 | 198899 | 7.17 | 0 | 87.44 | 14.8 | 5.7
399 | 01/08/2015 | 2:00:00 a.m. | 171990 | 198899 | 7.1833 | 0 | 87.727 | 15.5 | 5.7
398 | 01/08/2015 | 1:00:00 a.m. | 171990 | 198899 | 7.1821 | 0 | 87.337 | 16.1 | 5.71
397 | 01/08/2015 | 12:00:00 a.m. | 171990 | 198899 | 7.1068 | 0 | 87.454 | 17.2 | 5.71
396 | 31/07/2015 | 11:00:00 p.m. | 171990 | 198899 | 7.0752 | 0 | 87.392 | 18.1 | 5.72
395 | 31/07/2015 | 10:00:00 p.m. | 171990 | 198899 | 7.107 | 0 | 87.515 | 18.6 | 5.71
394 | 31/07/2015 | 9:00:00 p.m. | 171990 | 198899 | 7.0657 | 0 | 87.391 | 18.9 | 5.7
393 | 31/07/2015 | 8:00:00 p.m. | 171990 | 198899 | 7.1139 | 0 | 87.465 | 19.5 | 5.71
392 | 31/07/2015 | 7:00:00 p.m. | 171990 | 198899 | 7.0629 | 0 | 87.315 | 25.9 | 5.72
391 | 31/07/2015 | 6:00:00 p.m. | 171990 | 198899 | 6.6712 | 0 | 86.967 | 36.7 | 5.75
390 | 31/07/2015 | 5:00:00 p.m. | 171990 | 198899 | 6.6494 | 0 | 86.8 | 36.1 | 5.75
389 | 31/07/2015 | 4:00:00 p.m. | 171990 | 198899 | 6.6554 | 0 | 86.95 | 36.5 | 5.74
388 | 31/07/2015 | 3:00:00 p.m. | 171990 | 198899 | 6.5485 | 0 | 86.882 | 39.4 | 5.74
387 | 31/07/2015 | 2:00:00 p.m. | 171990 | 198899 | 6.5875 | 0 | 86.965 | 34.8 | 5.74
386 | 31/07/2015 | 1:00:00 p.m. | 171990 | 198899 | 6.6849 | 0 | 86.882 | 32.7 | 5.73
385 | 31/07/2015 | 12:00:00 p.m. | 171990 | 198899 | 6.7262 | 0 | 86.989 | 30.2 | 5.74
384 | 31/07/2015 | 11:00:00 a.m. | 171990 | 198899 | 6.7987 | 0 | 86.879 | 24.2 | 5.72
383 | 31/07/2015 | 10:00:00 a.m. | 171990 | 198899 | 6.9949 | 0 | 86.772 | 16.8 | 5.71
382 | 31/07/2015 | 9:00:00 a.m. | 171990 | 198899 | 7.2166 | 0 | 87.151 | 12.1 | 5.7
381 | 31/07/2015 | 8:00:00 a.m. | 171990 | 198899 | 7.2829 | 0 | 87.502 | 11.1 | 5.69
380 | 31/07/2015 | 7:00:00 a.m. | 171990 | 198899 | 7.2794 | 0 | 87.447 | 11.6 | 5.7
379 | 31/07/2015 | 6:00:00 a.m. | 171990 | 198899 | 7.2742 | 0 | 87.464 | 12.1 | 5.69
378 | 31/07/2015 | 5:00:00 a.m. | 171990 | 198899 | 7.2333 | 0 | 87.382 | 12.7 | 5.72
377 | 31/07/2015 | 4:00:00 a.m. | 171990 | 198899 | 7.2257 | 0 | 87.396 | 13.4 | 5.71
376 | 31/07/2015 | 3:00:00 a.m. | 171990 | 198899 | 7.2119 | 0 | 87.394 | 14.2 | 5.69
375 | 31/07/2015 | 2:00:00 a.m. | 171990 | 198899 | 7.1972 | 0 | 87.418 | 15.1 | 5.69
374 | 31/07/2015 | 1:00:00 a.m. | 171990 | 198899 | 7.1802 | 0 | 87.449 | 16.3 | 5.7
373 | 31/07/2015 | 12:00:00 a.m. | 171990 | 198899 | 7.1343 | 0 | 87.489 | 17.5 | 5.7
372 | 30/07/2015 | 11:00:00 p.m. | 171990 | 198899 | 7.0908 | 0 | 87.64 | 18.5 | 5.7
371 | 30/07/2015 | 10:00:00 p.m. | 171990 | 198899 | 7.1277 | 0 | 87.63 | 19.1 | 5.72
370 | 30/07/2015 | 9:00:00 p.m. | 171990 | 198899 | 7.0536 | 0 | 87.678 | 20.1 | 5.72
369 | 30/07/2015 | 8:00:00 p.m. | 171990 | 198899 | 7.0516 | 0 | 87.607 | 22.4 | 5.73
368 | 30/07/2015 | 7:00:00 p.m. | 171990 | 198899 | 6.9458 | 0 | 87.509 | 26.1 | 5.72
367 | 30/07/2015 | 6:00:00 p.m. | 171990 | 198899 | 6.7878 | 0 | 87.288 | 35.2 | 5.74
366 | 30/07/2015 | 5:00:00 p.m. | 171990 | 198899 | 6.5403 | 0 | 86.907 | 40 | 5.75
365 | 30/07/2015 | 4:00:00 p.m. | 171990 | 198899 | 6.5618 | 0 | 87.024 | 39.4 | 5.74
364 | 30/07/2015 | 3:00:00 p.m. | 171990 | 198899 | 6.5148 | 0 | 87.044 | 41.5 | 5.74
363 | 30/07/2015 | 2:00:00 p.m. | 171990 | 198899 | 6.5199 | 0 | 87.06 | 40 | 5.75
362 | 30/07/2015 | 1:00:00 p.m. | 171990 | 198899 | 6.5966 | 0 | 86.974 | 36.1 | 5.73
361 | 30/07/2015 | 12:00:00 p.m. | 171990 | 198899 | 6.6895 | 0 | 87.095 | 31 | 5.74
360 | 30/07/2015 | 11:00:00 a.m. | 171990 | 198899 | 6.8332 | 0 | 87.017 | 25.4 | 5.75
359 | 30/07/2015 | 10:00:00 a.m. | 171990 | 198899 | 6.999 | 0 | 87.14 | 18.6 | 5.71
358 | 30/07/2015 | 9:00:00 a.m. | 171990 | 198899 | 7.1021 | 0 | 87.277 | 14.9 | 5.69
357 | 30/07/2015 | 8:00:00 a.m. | 171990 | 198899 | 7.2345 | 0 | 87.504 | 13.5 | 5.7
356 | 30/07/2015 | 7:00:00 a.m. | 171990 | 198899 | 7.179 | 0 | 87.637 | 13.2 | 5.7
355 | 30/07/2015 | 6:00:00 a.m. | 171990 | 198899 | 7.2695 | 0 | 87.584 | 13.1 | 5.68
354 | 30/07/2015 | 5:00:00 a.m. | 171990 | 198899 | 7.234 | 0 | 87.572 | 13.3 | 5.7
353 | 30/07/2015 | 4:00:00 a.m. | 171990 | 198899 | 7.2203 | 0 | 87.644 | 13.9 | 5.7
352 | 30/07/2015 | 3:00:00 a.m. | 171990 | 198899 | 7.2143 | 0 | 87.701 | 14.6 | 5.7
351 | 30/07/2015 | 2:00:00 a.m. | 171990 | 198899 | 7.1968 | 0 | 87.749 | 15.3 | 5.7
350 | 30/07/2015 | 1:00:00 a.m. | 171990 | 198899 | 7.1636 | 0 | 87.749 | 16.2 | 5.71
349 | 30/07/2015 | 12:00:00 a.m. | 171990 | 198899 | 7.1574 | 0 | 87.681 | 17.4 | 5.71
348 | 29/07/2015 | 11:00:00 p.m. | 171990 | 198899 | 7.0956 | 0 | 87.665 | 18.9 | 5.72
347 | 29/07/2015 | 10:00:00 p.m. | 171990 | 198899 | 7.049 | 0 | 87.605 | 21.2 | 5.72
346 | 29/07/2015 | 9:00:00 p.m. | 171990 | 198899 | 6.9999 | 0 | 87.565 | 24.3 | 5.71
345 | 29/07/2015 | 8:00:00 p.m. | 171990 | 198899 | 6.9308 | 0 | 87.602 | 27.4 | 5.73
344 | 29/07/2015 | 7:00:00 p.m. | 171990 | 198899 | 6.8445 | 0 | 87.426 | 28.5 | 5.75
343 | 29/07/2015 | 6:00:00 p.m. | 171990 | 198899 | 6.8373 | 0 | 86.992 | 26.6 | 5.74
342 | 29/07/2015 | 5:00:00 p.m. | 171980 | 198898 | 6.7202 | 0 | 83.989 | 25.5 | 5.74
341 | 29/07/2015 | 4:00:00 p.m. | 171900 | 198885 | 6.6056 | 0 | 83.576 | 27.4 | 5.75
340 | 29/07/2015 | 3:00:00 p.m. | 171819 | 198873 | 6.5272 | 0 | 85.965 | 30.6 | 5.74
339 | 29/07/2015 | 2:00:00 p.m. | 171793 | 198869 | 6.6369 | 0 | 83.703 | 26.2 | 5.75
338 | 29/07/2015 | 1:00:00 p.m. | 171712 | 198857 | 6.6472 | 0 | 83.592 | 26.1 | 5.75
337 | 29/07/2015 | 12:00:00 p.m. | 171632 | 198845 | 6.5748 | 0 | 86.56 | 30 | 5.74
336 | 29/07/2015 | 11:00:00 a.m. | 171624 | 198844 | 6.8221 | 0 | 86.863 | 24.6 | 5.73
335 | 29/07/2015 | 10:00:00 a.m. | 171616 | 198843 | 6.8111 | 0 | 85.869 | 19.1 | 5.7
334 | 29/07/2015 | 9:00:00 a.m. | 171579 | 198837 | 7.0914 | 0 | 87.111 | 14.6 | 5.7
333 | 29/07/2015 | 8:00:00 a.m. | 171566 | 198835 | 7.2501 | 0 | 88.014 | 13.1 | 5.71
332 | 29/07/2015 | 7:00:00 a.m. | 171566 | 198835 | 7.2609 | 0 | 88.099 | 13.4 | 5.7
331 | 29/07/2015 | 6:00:00 a.m. | 171566 | 198835 | 7.2774 | 0 | 88.015 | 13.8 | 5.7
330 | 29/07/2015 | 5:00:00 a.m. | 171566 | 198835 | 7.2714 | 0 | 87.889 | 14.5 | 5.7
329 | 29/07/2015 | 4:00:00 a.m. | 171566 | 198835 | 7.2496 | 0 | 88.02 | 15.1 | 5.7
328 | 29/07/2015 | 3:00:00 a.m. | 171566 | 198835 | 7.1958 | 0 | 87.871 | 15.5 | 5.71
327 | 29/07/2015 | 2:00:00 a.m. | 171566 | 198835 | 7.211 | 0 | 87.992 | 15.6 | 5.7
326 | 29/07/2015 | 1:00:00 a.m. | 171566 | 198835 | 7.1758 | 0 | 87.978 | 15.9 | 5.71
325 | 29/07/2015 | 12:00:00 a.m. | 171566 | 198835 | 7.199 | 0 | 87.906 | 16.2 | 5.69
324 | 28/07/2015 | 11:00:00 p.m. | 171566 | 198835 | 7.2072 | 0 | 87.969 | 16.5 | 5.7
323 | 28/07/2015 | 10:00:00 p.m. | 171566 | 198835 | 7.1681 | 0 | 87.924 | 17.4 | 5.68
322 | 28/07/2015 | 9:00:00 p.m. | 171566 | 198835 | 7.1272 | 0 | 87.874 | 25.4 | 5.73
321 | 28/07/2015 | 8:00:00 p.m. | 171566 | 198835 | 6.8336 | 0 | 87.646 | 32.8 | 5.74
320 | 28/07/2015 | 7:00:00 p.m. | 171566 | 198835 | 6.7066 | 0 | 87.407 | 36.6 | 5.76
319 | 28/07/2015 | 6:00:00 p.m. | 171566 | 198835 | 6.653 | 0 | 87.433 | 37.2 | 5.75
318 | 28/07/2015 | 5:00:00 p.m. | 171566 | 198835 | 6.6964 | 0 | 85.908 | 30.4 | 5.75
317 | 28/07/2015 | 4:00:00 p.m. | 171531 | 198830 | 6.6327 | 0 | 84.391 | 27.4 | 5.75
316 | 28/07/2015 | 3:00:00 p.m. | 171451 | 198818 | 6.6595 | 0 | 84.42 | 27.3 | 5.75
315 | 28/07/2015 | 2:00:00 p.m. | 171372 | 198806 | 6.6644 | 0 | 84.439 | 27 | 5.74
314 | 28/07/2015 | 1:00:00 p.m. | 171292 | 198794 | 6.6671 | 0 | 84.667 | 26.6 | 5.74
313 | 28/07/2015 | 12:00:00 p.m. | 171215 | 198783 | 6.7036 | 0 | 84.438 | 25.7 | 5.74
312 | 28/07/2015 | 11:00:00 a.m. | 171137 | 198771 | 6.7972 | 0 | 84.827 | 24.2 | 5.73
311 | 28/07/2015 | 10:00:00 a.m. | 171065 | 198760 | 6.7203 | 0 | 84.266 | 22.4 | 5.71
310 | 28/07/2015 | 9:00:00 a.m. | 170984 | 198748 | 6.8276 | 0 | 87.09 | 17 | 5.71
309 | 28/07/2015 | 8:00:00 a.m. | 170967 | 198746 | 7.2012 | 0 | 87.864 | 15.7 | 5.72
308 | 28/07/2015 | 7:00:00 a.m. | 170967 | 198746 | 7.1672 | 0 | 87.915 | 15.6 | 5.71
307 | 28/07/2015 | 6:00:00 a.m. | 170967 | 198746 | 7.2215 | 0 | 88.15 | 15.5 | 5.71
306 | 28/07/2015 | 5:00:00 a.m. | 170967 | 198746 | 7.1973 | 0 | 88.279 | 15.8 | 5.7
305 | 28/07/2015 | 4:00:00 a.m. | 170967 | 198746 | 7.2354 | 0 | 88.183 | 16.4 | 5.7
304 | 28/07/2015 | 3:00:00 a.m. | 170967 | 198746 | 7.1699 | 0 | 88.19 | 17.1 | 5.73
303 | 28/07/2015 | 2:00:00 a.m. | 170967 | 198746 | 7.2005 | 0 | 88.323 | 18.1 | 5.72
302 | 28/07/2015 | 1:00:00 a.m. | 170967 | 198746 | 7.1704 | 0 | 88.177 | 18.9 | 5.7
301 | 28/07/2015 | 12:00:00 a.m. | 170967 | 198746 | 7.1412 | 0 | 88.225 | 20.1 | 5.71
300 | 27/07/2015 | 11:00:00 p.m. | 170967 | 198746 | 7.1096 | 0 | 88.206 | 21.2 | 5.69
299 | 27/07/2015 | 10:00:00 p.m. | 170967 | 198746 | 7.0731 | 0 | 88.15 | 23.8 | 5.7
298 | 27/07/2015 | 9:00:00 p.m. | 170967 | 198746 | 6.9444 | 0 | 88.026 | 28.1 | 5.72
297 | 27/07/2015 | 8:00:00 p.m. | 170967 | 198746 | 6.8599 | 0 | 87.863 | 31.3 | 5.76
296 | 27/07/2015 | 7:00:00 p.m. | 170967 | 198746 | 6.745 | 0 | 87.743 | 34.3 | 5.75
295 | 27/07/2015 | 6:00:00 p.m. | 170967 | 198746 | 6.7021 | 0 | 87.455 | 32.2 | 5.75
294 | 27/07/2015 | 5:00:00 p.m. | 170961 | 198745 | 6.6739 | 0 | 84.606 | 27.2 | 5.75
293 | 27/07/2015 | 4:00:00 p.m. | 170881 | 198733 | 6.6736 | 0 | 84.503 | 27 | 5.74
292 | 27/07/2015 | 3:00:00 p.m. | 170802 | 198721 | 6.7047 | 0 | 84.533 | 26.7 | 5.73
291 | 27/07/2015 | 2:00:00 p.m. | 170722 | 198709 | 6.6757 | 0 | 84.384 | 25.9 | 5.73
290 | 27/07/2015 | 1:00:00 p.m. | 170642 | 198697 | 6.7048 | 0 | 84.451 | 25.6 | 5.73
289 | 27/07/2015 | 12:00:00 p.m. | 170562 | 198685 | 6.7206 | 0 | 84.525 | 24.7 | 5.71
288 | 27/07/2015 | 11:00:00 a.m. | 170482 | 198673 | 6.7368 | 0 | 84.564 | 24 | 5.72
287 | 27/07/2015 | 10:00:00 a.m. | 170403 | 198662 | 6.7468 | 0 | 84.611 | 22.3 | 5.7
286 | 27/07/2015 | 9:00:00 a.m. | 170323 | 198650 | 6.8313 | 0 | 86.641 | 16.2 | 5.72
285 | 27/07/2015 | 8:00:00 a.m. | 170288 | 198645 | 7.271 | 0 | 88.148 | 12.8 | 5.7
284 | 27/07/2015 | 7:00:00 a.m. | 170288 | 198645 | 7.2579 | 0 | 88.549 | 13.3 | 5.7
283 | 27/07/2015 | 6:00:00 a.m. | 170288 | 198645 | 7.3168 | 0 | 88.515 | 14 | 5.7
282 | 27/07/2015 | 5:00:00 a.m. | 170288 | 198645 | 7.2207 | 0 | 88.22 | 14.7 | 5.69
281 | 27/07/2015 | 4:00:00 a.m. | 170288 | 198645 | 7.2241 | 0 | 88.08 | 15.4 | 5.71
280 | 27/07/2015 | 3:00:00 a.m. | 170288 | 198645 | 7.1859 | 0 | 88.003 | 16 | 5.7
279 | 27/07/2015 | 2:00:00 a.m. | 170288 | 198645 | 7.1963 | 0 | 88.068 | 16.3 | 5.71
278 | 27/07/2015 | 1:00:00 a.m. | 170288 | 198645 | 7.1904 | 0 | 88.125 | 16.9 | 5.71
277 | 27/07/2015 | 12:00:00 a.m. | 170288 | 198645 | 7.166 | 0 | 88.003 | 17.6 | 5.71
276 | 26/07/2015 | 11:00:00 p.m. | 170288 | 198645 | 7.1584 | 0 | 88.036 | 18.1 | 5.7
275 | 26/07/2015 | 10:00:00 p.m. | 170288 | 198645 | 7.1321 | 0 | 88.113 | 18.6 | 5.71
274 | 26/07/2015 | 9:00:00 p.m. | 170288 | 198645 | 7.0923 | 0 | 88.015 | 20.7 | 5.71
273 | 26/07/2015 | 8:00:00 p.m. | 170288 | 198645 | 7.0373 | 0 | 88.002 | 24.3 | 5.71
272 | 26/07/2015 | 7:00:00 p.m. | 170288 | 198645 | 6.8969 | 0 | 87.694 | 29.2 | 5.73
271 | 26/07/2015 | 6:00:00 p.m. | 170288 | 198645 | 6.8061 | 0 | 87.742 | 32.2 | 5.72
270 | 26/07/2015 | 5:00:00 p.m. | 170288 | 198645 | 6.7434 | 0 | 87.609 | 35.2 | 5.74
269 | 26/07/2015 | 4:00:00 p.m. | 170288 | 198645 | 6.6388 | 0 | 87.444 | 38.2 | 5.75
268 | 26/07/2015 | 3:00:00 p.m. | 170288 | 198645 | 6.6304 | 0 | 87.539 | 38.7 | 5.74
267 | 26/07/2015 | 2:00:00 p.m. | 170288 | 198645 | 6.635 | 0 | 87.625 | 36.9 | 5.73
266 | 26/07/2015 | 1:00:00 p.m. | 170288 | 198645 | 6.7391 | 0 | 87.622 | 31.4 | 5.76
265 | 26/07/2015 | 12:00:00 p.m. | 170288 | 198645 | 6.8768 | 0 | 87.699 | 24.7 | 5.7
264 | 26/07/2015 | 11:00:00 a.m. | 170288 | 198645 | 7.034 | 0 | 87.816 | 18.6 | 5.7
263 | 26/07/2015 | 10:00:00 a.m. | 170288 | 198645 | 7.1784 | 0 | 88.05 | 15.5 | 5.71
262 | 26/07/2015 | 9:00:00 a.m. | 170288 | 198645 | 7.2495 | 0 | 88.223 | 14.7 | 5.7
261 | 26/07/2015 | 8:00:00 a.m. | 170288 | 198645 | 7.2265 | 0 | 88.105 | 14.5 | 5.71
260 | 26/07/2015 | 7:00:00 a.m. | 170288 | 198645 | 7.2605 | 0 | 88.215 | 15.2 | 5.69
259 | 26/07/2015 | 6:00:00 a.m. | 170288 | 198645 | 7.217 | 0 | 88.01 | 15.4 | 5.7
258 | 26/07/2015 | 5:00:00 a.m. | 170288 | 198645 | 7.2308 | 0 | 88.067 | 14.6 | 5.7
257 | 26/07/2015 | 4:00:00 a.m. | 170288 | 198645 | 7.2493 | 0 | 88.233 | 14.5 | 5.71
256 | 26/07/2015 | 3:00:00 a.m. | 170288 | 198645 | 7.2327 | 0 | 88.284 | 14.9 | 5.71
255 | 26/07/2015 | 2:00:00 a.m. | 170288 | 198645 | 7.2451 | 0 | 88.158 | 15.3 | 5.69
254 | 26/07/2015 | 1:00:00 a.m. | 170288 | 198645 | 7.2222 | 0 | 88.154 | 15.5 | 5.7
253 | 26/07/2015 | 12:00:00 a.m. | 170288 | 198645 | 7.2131 | 0 | 88.122 | 15.7 | 5.69
252 | 25/07/2015 | 11:00:00 p.m. | 170288 | 198645 | 7.2217 | 0 | 88.102 | 16 | 5.69
251 | 25/07/2015 | 10:00:00 p.m. | 170288 | 198645 | 7.1985 | 0 | 88.167 | 16.8 | 5.72
250 | 25/07/2015 | 9:00:00 p.m. | 170288 | 198645 | 7.1882 | 0 | 88.151 | 17.5 | 5.72
249 | 25/07/2015 | 8:00:00 p.m. | 170288 | 198645 | 7.1831 | 0 | 88.143 | 19 | 5.71
248 | 25/07/2015 | 7:00:00 p.m. | 170288 | 198645 | 7.0452 | 0 | 87.954 | 31.9 | 5.73
247 | 25/07/2015 | 6:00:00 p.m. | 170288 | 198645 | 6.697 | 0 | 87.614 | 36.3 | 5.75
246 | 25/07/2015 | 5:00:00 p.m. | 170288 | 198645 | 6.6612 | 0 | 87.716 | 37.3 | 5.75
245 | 25/07/2015 | 4:00:00 p.m. | 170288 | 198645 | 6.6324 | 0 | 87.515 | 39.8 | 5.75
244 | 25/07/2015 | 3:00:00 p.m. | 170288 | 198645 | 6.556 | 0 | 87.512 | 41.6 | 5.74
243 | 25/07/2015 | 2:00:00 p.m. | 170288 | 198645 | 6.5614 | 0 | 87.461 | 40.2 | 5.73
242 | 25/07/2015 | 1:00:00 p.m. | 170288 | 198645 | 6.6074 | 0 | 87.539 | 36.6 | 5.73
241 | 25/07/2015 | 12:00:00 p.m. | 170288 | 198645 | 6.7291 | 0 | 87.475 | 30.8 | 5.72
240 | 25/07/2015 | 11:00:00 a.m. | 170288 | 198645 | 6.8481 | 0 | 87.353 | 23 | 5.72
239 | 25/07/2015 | 10:00:00 a.m. | 170288 | 198645 | 7.106 | 0 | 87.612 | 14.9 | 5.7
238 | 25/07/2015 | 9:00:00 a.m. | 170288 | 198645 | 7.2591 | 0 | 87.827 | 11.1 | 5.7
237 | 25/07/2015 | 8:00:00 a.m. | 170288 | 198645 | 7.3641 | 0 | 88.088 | 10.6 | 5.69
236 | 25/07/2015 | 7:00:00 a.m. | 170288 | 198645 | 7.3243 | 0 | 88.238 | 11.3 | 5.69
235 | 25/07/2015 | 6:00:00 a.m. | 170288 | 198645 | 7.2961 | 0 | 88.199 | 12.1 | 5.69
234 | 25/07/2015 | 5:00:00 a.m. | 170288 | 198645 | 7.3442 | 0 | 88.084 | 13 | 5.7
233 | 25/07/2015 | 4:00:00 a.m. | 170288 | 198645 | 7.2311 | 0 | 88.037 | 13.9 | 5.71
232 | 25/07/2015 | 3:00:00 a.m. | 170288 | 198645 | 7.2446 | 0 | 88.031 | 14.7 | 5.71
231 | 25/07/2015 | 2:00:00 a.m. | 170288 | 198645 | 7.2118 | 0 | 88.012 | 15.4 | 5.71
230 | 25/07/2015 | 1:00:00 a.m. | 170288 | 198645 | 7.1884 | 0 | 87.993 | 15.9 | 5.7
229 | 25/07/2015 | 12:00:00 a.m. | 170288 | 198645 | 7.1934 | 0 | 87.963 | 16.7 | 5.7
228 | 24/07/2015 | 11:00:00 p.m. | 170288 | 198645 | 7.18 | 0 | 88.114 | 17.6 | 5.7
227 | 24/07/2015 | 10:00:00 p.m. | 170288 | 198645 | 7.1611 | 0 | 88.092 | 18.6 | 5.7
226 | 24/07/2015 | 9:00:00 p.m. | 170288 | 198645 | 7.1054 | 0 | 88.019 | 19.9 | 5.71
225 | 24/07/2015 | 8:00:00 p.m. | 170288 | 198645 | 7.0878 | 0 | 87.954 | 22.7 | 5.71
224 | 24/07/2015 | 7:00:00 p.m. | 170288 | 198645 | 6.9516 | 0 | 88.005 | 27.7 | 5.73
223 | 24/07/2015 | 6:00:00 p.m. | 170288 | 198645 | 6.8883 | 0 | 87.714 | 29.5 | 5.73
222 | 24/07/2015 | 5:00:00 p.m. | 170280 | 198643 | 6.6711 | 0 | 84.583 | 27 | 5.75
221 | 24/07/2015 | 4:00:00 p.m. | 170201 | 198632 | 6.7052 | 0 | 84.539 | 26.8 | 5.75
220 | 24/07/2015 | 3:00:00 p.m. | 170121 | 198620 | 6.66 | 0 | 84.509 | 26.5 | 5.73
219 | 24/07/2015 | 2:00:00 p.m. | 170041 | 198608 | 6.6859 | 0 | 84.352 | 26.4 | 5.74
218 | 24/07/2015 | 1:00:00 p.m. | 169962 | 198596 | 6.666 | 0 | 84.361 | 25.9 | 5.73
217 | 24/07/2015 | 12:00:00 p.m. | 169881 | 198584 | 6.6887 | 0 | 84.282 | 25 | 5.74
216 | 24/07/2015 | 11:00:00 a.m. | 169800 | 198572 | 6.7191 | 0 | 84.136 | 23.6 | 5.72
215 | 24/07/2015 | 10:00:00 a.m. | 169719 | 198560 | 6.7607 | 0 | 84.318 | 20.2 | 5.7
214 | 24/07/2015 | 9:00:00 a.m. | 169642 | 198548 | 7.2383 | 0 | 87.749 | 11.8 | 5.7
213 | 24/07/2015 | 8:00:00 a.m. | 169642 | 198548 | 7.2986 | 0 | 87.883 | 11 | 5.7
212 | 24/07/2015 | 7:00:00 a.m. | 169642 | 198548 | 7.2931 | 0 | 87.9 | 11.5 | 5.71
211 | 24/07/2015 | 6:00:00 a.m. | 169642 | 198548 | 7.2791 | 0 | 87.741 | 12.1 | 5.71
210 | 24/07/2015 | 5:00:00 a.m. | 169642 | 198548 | 7.2605 | 0 | 87.838 | 12.6 | 5.69
209 | 24/07/2015 | 4:00:00 a.m. | 169642 | 198548 | 7.2727 | 0 | 88.011 | 13.4 | 5.7
208 | 24/07/2015 | 3:00:00 a.m. | 169642 | 198548 | 7.3007 | 0 | 87.917 | 14.1 | 5.7
207 | 24/07/2015 | 2:00:00 a.m. | 169642 | 198548 | 7.2027 | 0 | 87.794 | 14.6 | 5.7
206 | 24/07/2015 | 1:00:00 a.m. | 169642 | 198548 | 7.2068 | 0 | 87.752 | 15 | 5.71
205 | 24/07/2015 | 12:00:00 a.m. | 169642 | 198548 | 7.1882 | 0 | 87.79 | 16 | 5.71
204 | 23/07/2015 | 11:00:00 p.m. | 169642 | 198548 | 7.1655 | 0 | 87.841 | 17.2 | 5.71
203 | 23/07/2015 | 10:00:00 p.m. | 169642 | 198548 | 7.1467 | 0 | 87.922 | 18 | 5.7
202 | 23/07/2015 | 9:00:00 p.m. | 169642 | 198548 | 7.1251 | 0 | 87.703 | 19.1 | 5.71
201 | 23/07/2015 | 8:00:00 p.m. | 169642 | 198548 | 7.0809 | 0 | 87.682 | 20.5 | 5.71
200 | 23/07/2015 | 7:00:00 p.m. | 169642 | 198548 | 7.0338 | 0 | 87.625 | 21 | 5.71
199 | 23/07/2015 | 6:00:00 p.m. | 169642 | 198548 | 7.018 | 0 | 87.618 | 23.8 | 5.72
198 | 23/07/2015 | 5:00:00 p.m. | 169642 | 198548 | 6.761 | 0 | 87.232 | 37.3 | 5.75
197 | 23/07/2015 | 4:00:00 p.m. | 169642 | 198548 | 6.6821 | 0 | 87.305 | 36.6 | 5.75
196 | 23/07/2015 | 3:00:00 p.m. | 169642 | 198548 | 6.6025 | 0 | 87.27 | 38.7 | 5.74
195 | 23/07/2015 | 2:00:00 p.m. | 169642 | 198548 | 6.6083 | 0 | 87.393 | 36.9 | 5.72
194 | 23/07/2015 | 1:00:00 p.m. | 169642 | 198548 | 6.685 | 0 | 87.348 | 32.9 | 5.72
193 | 23/07/2015 | 12:00:00 p.m. | 169642 | 198548 | 6.7948 | 0 | 87.28 | 27.6 | 5.73
192 | 23/07/2015 | 11:00:00 a.m. | 169642 | 198548 | 6.9388 | 0 | 87.309 | 20.1 | 5.71
191 | 23/07/2015 | 10:00:00 a.m. | 169642 | 198548 | 7.1289 | 0 | 87.622 | 16.3 | 5.71
190 | 23/07/2015 | 9:00:00 a.m. | 169642 | 198548 | 7.1824 | 0 | 87.764 | 13.5 | 5.71
189 | 23/07/2015 | 8:00:00 a.m. | 169642 | 198548 | 7.2731 | 0 | 87.77 | 12.7 | 5.7
188 | 23/07/2015 | 7:00:00 a.m. | 169642 | 198548 | 7.2615 | 0 | 87.922 | 13.2 | 5.71
187 | 23/07/2015 | 6:00:00 a.m. | 169642 | 198548 | 7.2525 | 0 | 87.834 | 13.8 | 5.7
186 | 23/07/2015 | 5:00:00 a.m. | 169642 | 198548 | 7.2302 | 0 | 87.912 | 14.6 | 5.7
185 | 23/07/2015 | 4:00:00 a.m. | 169642 | 198548 | 7.228 | 0 | 87.937 | 15.5 | 5.69
184 | 23/07/2015 | 3:00:00 a.m. | 169642 | 198548 | 7.1878 | 0 | 87.835 | 16.1 | 5.7
183 | 23/07/2015 | 2:00:00 a.m. | 169642 | 198548 | 7.2068 | 0 | 88.023 | 16.7 | 5.7
182 | 23/07/2015 | 1:00:00 a.m. | 169642 | 198548 | 7.1968 | 0 | 87.863 | 17.4 | 5.71
181 | 23/07/2015 | 12:00:00 a.m. | 169642 | 198548 | 7.1088 | 0 | 87.816 | 18.1 | 5.71
180 | 22/07/2015 | 11:00:00 p.m. | 169642 | 198548 | 7.1202 | 0 | 88.134 | 18.1 | 5.72
179 | 22/07/2015 | 10:00:00 p.m. | 169642 | 198548 | 7.1595 | 0 | 88.031 | 19.2 | 5.7
178 | 22/07/2015 | 9:00:00 p.m. | 169642 | 198548 | 7.0522 | 0 | 87.768 | 21.6 | 5.71
177 | 22/07/2015 | 8:00:00 p.m. | 169642 | 198548 | 7.0056 | 0 | 87.748 | 24 | 5.71
176 | 22/07/2015 | 7:00:00 p.m. | 169642 | 198548 | 6.9374 | 0 | 87.622 | 26 | 5.71
175 | 22/07/2015 | 6:00:00 p.m. | 169642 | 198548 | 6.9099 | 0 | 87.573 | 27.5 | 5.73
174 | 22/07/2015 | 5:00:00 p.m. | 169642 | 198548 | 6.8454 | 0 | 87.589 | 30.3 | 5.73
173 | 22/07/2015 | 4:00:00 p.m. | 169642 | 198548 | 6.7528 | 0 | 87.505 | 31.4 | 5.71
172 | 22/07/2015 | 3:00:00 p.m. | 169642 | 198548 | 6.7466 | 0 | 87.659 | 35.3 | 5.73
171 | 22/07/2015 | 2:00:00 p.m. | 169642 | 198548 | 6.6915 | 0 | 87.569 | 36 | 5.73
170 | 22/07/2015 | 1:00:00 p.m. | 169642 | 198548 | 6.6822 | 0 | 87.459 | 34.2 | 5.73
169 | 22/07/2015 | 12:00:00 p.m. | 169642 | 198548 | 6.7576 | 0 | 87.505 | 28 | 5.74
168 | 22/07/2015 | 11:00:00 a.m. | 169642 | 198548 | 6.9795 | 0 | 87.484 | 20.5 | 5.7
167 | 22/07/2015 | 10:00:00 a.m. | 169642 | 198548 | 7.0965 | 0 | 87.712 | 16.8 | 5.7
166 | 22/07/2015 | 9:00:00 a.m. | 169642 | 198548 | 7.1568 | 0 | 87.883 | 15.3 | 5.71
165 | 22/07/2015 | 8:00:00 a.m. | 169642 | 198548 | 7.1968 | 0 | 87.846 | 15 | 5.73
164 | 22/07/2015 | 7:00:00 a.m. | 169642 | 198548 | 7.2081 | 0 | 87.957 | 14.9 | 5.71
163 | 22/07/2015 | 6:00:00 a.m. | 169642 | 198548 | 7.2339 | 0 | 87.985 | 14.9 | 5.7
162 | 22/07/2015 | 5:00:00 a.m. | 169642 | 198548 | 7.2409 | 0 | 88.087 | 15.1 | 5.71
161 | 22/07/2015 | 4:00:00 a.m. | 169642 | 198548 | 7.2032 | 0 | 87.958 | 15.4 | 5.71
160 | 22/07/2015 | 3:00:00 a.m. | 169642 | 198548 | 7.1812 | 0 | 87.993 | 16.5 | 5.72
159 | 22/07/2015 | 2:00:00 a.m. | 169642 | 198548 | 7.1613 | 0 | 87.723 | 16.9 | 5.71
158 | 22/07/2015 | 1:00:00 a.m. | 169642 | 198548 | 7.1325 | 0 | 87.754 | 17 | 5.7
157 | 22/07/2015 | 12:00:00 a.m. | 169642 | 198548 | 7.1338 | 0 | 87.806 | 17 | 5.7
156 | 21/07/2015 | 11:00:00 p.m. | 169642 | 198548 | 7.1482 | 0 | 87.845 | 17.2 | 5.7
155 | 21/07/2015 | 10:00:00 p.m. | 169642 | 198548 | 7.1375 | 0 | 87.994 | 17.8 | 5.69
154 | 21/07/2015 | 9:00:00 p.m. | 169642 | 198548 | 7.1129 | 0 | 88.025 | 19.4 | 5.72
153 | 21/07/2015 | 8:00:00 p.m. | 169642 | 198548 | 7.0701 | 0 | 87.83 | 20.9 | 5.7
152 | 21/07/2015 | 7:00:00 p.m. | 169642 | 198548 | 7.0378 | 0 | 87.599 | 21.7 | 5.7
151 | 21/07/2015 | 6:00:00 p.m. | 169642 | 198548 | 6.9987 | 0 | 87.389 | 22.7 | 5.71
150 | 21/07/2015 | 5:00:00 p.m. | 169634 | 198547 | 6.7647 | 0 | 84.748 | 23.3 | 5.71
149 | 21/07/2015 | 4:00:00 p.m. | 169555 | 198535 | 6.7537 | 0 | 84.506 | 24.1 | 5.71
148 | 21/07/2015 | 3:00:00 p.m. | 169474 | 198523 | 6.6991 | 0 | 84.339 | 25 | 5.72
147 | 21/07/2015 | 2:00:00 p.m. | 169393 | 198511 | 6.6955 | 0 | 84.983 | 26.1 | 5.73
146 | 21/07/2015 | 1:00:00 p.m. | 169324 | 198501 | 6.7639 | 0 | 84.736 | 23.9 | 5.72
145 | 21/07/2015 | 12:00:00 p.m. | 169249 | 198490 | 6.7373 | 0 | 84.447 | 23.3 | 5.71
144 | 21/07/2015 | 11:00:00 a.m. | 169168 | 198478 | 6.7616 | 0 | 84.304 | 23.2 | 5.71
143 | 21/07/2015 | 10:00:00 a.m. | 169087 | 198466 | 6.7731 | 0 | 84.304 | 21.9 | 5.7
142 | 21/07/2015 | 9:00:00 a.m. | 169006 | 198454 | 6.7969 | 0 | 86.187 | 16.6 | 5.69
141 | 21/07/2015 | 8:00:00 a.m. | 168967 | 198448 | 7.247 | 0 | 87.851 | 13.1 | 5.69
140 | 21/07/2015 | 7:00:00 a.m. | 168967 | 198448 | 7.2556 | 0 | 88.047 | 12.9 | 5.69
139 | 21/07/2015 | 6:00:00 a.m. | 168967 | 198448 | 7.2565 | 0 | 88.023 | 13.3 | 5.7
138 | 21/07/2015 | 5:00:00 a.m. | 168967 | 198448 | 7.2883 | 0 | 88.137 | 13.7 | 5.71
137 | 21/07/2015 | 4:00:00 a.m. | 168967 | 198448 | 7.2757 | 0 | 88.13 | 14.2 | 5.71
136 | 21/07/2015 | 3:00:00 a.m. | 168967 | 198448 | 7.2209 | 0 | 88.142 | 14.5 | 5.71
135 | 21/07/2015 | 2:00:00 a.m. | 168967 | 198448 | 7.2311 | 0 | 88.032 | 14.6 | 5.7
134 | 21/07/2015 | 1:00:00 a.m. | 168967 | 198448 | 7.2166 | 0 | 88.125 | 15.3 | 5.72
133 | 21/07/2015 | 12:00:00 a.m. | 168967 | 198448 | 7.194 | 0 | 88.093 | 15.8 | 5.72
132 | 20/07/2015 | 11:00:00 p.m. | 168967 | 198448 | 7.1942 | 0 | 88.081 | 15.6 | 5.7
131 | 20/07/2015 | 10:00:00 p.m. | 168967 | 198448 | 7.2219 | 0 | 88.072 | 15.6 | 5.7
130 | 20/07/2015 | 9:00:00 p.m. | 168967 | 198448 | 7.2145 | 0 | 88.006 | 16.3 | 5.7
129 | 20/07/2015 | 8:00:00 p.m. | 168967 | 198448 | 7.1783 | 0 | 88.069 | 19.6 | 5.72
128 | 20/07/2015 | 7:00:00 p.m. | 168967 | 198448 | 7.0484 | 0 | 87.988 | 24.5 | 5.72
127 | 20/07/2015 | 6:00:00 p.m. | 168967 | 198448 | 6.8901 | 0 | 87.825 | 31.6 | 5.72
126 | 20/07/2015 | 5:00:00 p.m. | 168967 | 198448 | 6.746 | 0 | 87.814 | 34.8 | 5.75
125 | 20/07/2015 | 4:00:00 p.m. | 168967 | 198448 | 6.6754 | 0 | 87.628 | 38.5 | 5.76
124 | 20/07/2015 | 3:00:00 p.m. | 168967 | 198448 | 6.6527 | 0 | 87.664 | 38.2 | 5.74
123 | 20/07/2015 | 2:00:00 p.m. | 168967 | 198448 | 6.6492 | 0 | 87.595 | 35.1 | 5.73
122 | 20/07/2015 | 1:00:00 p.m. | 168967 | 198448 | 6.7343 | 0 | 87.61 | 28.2 | 5.74
121 | 20/07/2015 | 12:00:00 p.m. | 168967 | 198448 | 6.9096 | 0 | 87.584 | 25.7 | 5.72
120 | 20/07/2015 | 11:00:00 a.m. | 168967 | 198448 | 6.9454 | 0 | 87.764 | 23.1 | 5.72
119 | 20/07/2015 | 10:00:00 a.m. | 168967 | 198448 | 7.0809 | 0 | 86.436 | 18.3 | 5.72
118 | 20/07/2015 | 9:00:00 a.m. | 168967 | 198448 | 7.1805 | 0 | 88.286 | 16.1 | 5.71
117 | 20/07/2015 | 8:00:00 a.m. | 168967 | 198448 | 7.2262 | 0 | 88.509 | 15.4 | 5.7
116 | 20/07/2015 | 7:00:00 a.m. | 168967 | 198448 | 7.2284 | 0 | 88.611 | 15.5 | 5.7
115 | 20/07/2015 | 6:00:00 a.m. | 168967 | 198448 | 7.2139 | 0 | 88.731 | 15.7 | 5.7
114 | 20/07/2015 | 5:00:00 a.m. | 168967 | 198448 | 7.2527 | 0 | 88.801 | 16 | 5.71
113 | 20/07/2015 | 4:00:00 a.m. | 168967 | 198448 | 7.2566 | 0 | 88.822 | 16.2 | 5.7
112 | 20/07/2015 | 3:00:00 a.m. | 168967 | 198448 | 7.2206 | 0 | 88.729 | 16.8 | 5.7
111 | 20/07/2015 | 2:00:00 a.m. | 168967 | 198448 | 7.2048 | 0 | 88.732 | 17.4 | 5.71
110 | 20/07/2015 | 1:00:00 a.m. | 168967 | 198448 | 7.1983 | 0 | 88.765 | 17.8 | 5.71
109 | 20/07/2015 | 12:00:00 a.m. | 168967 | 198448 | 7.1933 | 0 | 88.751 | 18.5 | 5.72
108 | 19/07/2015 | 11:00:00 p.m. | 168967 | 198448 | 7.1848 | 0 | 88.867 | 19.4 | 5.71
107 | 19/07/2015 | 10:00:00 p.m. | 168967 | 198448 | 7.1943 | 0 | 88.817 | 20.4 | 5.7
106 | 19/07/2015 | 9:00:00 p.m. | 168967 | 198448 | 7.1147 | 0 | 88.831 | 22.3 | 5.71
105 | 19/07/2015 | 8:00:00 p.m. | 168967 | 198448 | 7.0713 | 0 | 88.755 | 25.5 | 5.72
104 | 19/07/2015 | 7:00:00 p.m. | 168967 | 198448 | 6.9965 | 0 | 88.811 | 27.8 | 5.71
103 | 19/07/2015 | 6:00:00 p.m. | 168967 | 198448 | 6.9145 | 0 | 88.7 | 30.6 | 5.73
102 | 19/07/2015 | 5:00:00 p.m. | 168967 | 198448 | 6.8564 | 0 | 88.683 | 33.1 | 5.74
101 | 19/07/2015 | 4:00:00 p.m. | 168967 | 198448 | 6.8359 | 0 | 88.566 | 35.6 | 5.74
100 | 19/07/2015 | 3:00:00 p.m. | 168967 | 198448 | 6.7744 | 0 | 88.62 | 35.3 | 5.74
99 | 19/07/2015 | 2:00:00 p.m. | 168967 | 198448 | 6.8021 | 0 | 88.636 | 33.3 | 5.72
98 | 19/07/2015 | 1:00:00 p.m. | 168967 | 198448 | 6.7511 | 0 | 88.511 | 36.3 | 5.72
97 | 19/07/2015 | 12:00:00 p.m. | 168967 | 198448 | 6.755 | 0 | 88.544 | 31 | 5.72
96 | 19/07/2015 | 11:00:00 a.m. | 168967 | 198448 | 6.9471 | 0 | 88.624 | 22.7 | 5.75
95 | 19/07/2015 | 10:00:00 a.m. | 168967 | 198448 | 7.1549 | 0 | 88.778 | 16.8 | 5.71
94 | 19/07/2015 | 9:00:00 a.m. | 168967 | 198448 | 7.3247 | 0 | 89.16 | 15 | 5.71
93 | 19/07/2015 | 8:00:00 a.m. | 168967 | 198448 | 7.2902 | 0 | 89.122 | 14.5 | 5.71
92 | 19/07/2015 | 7:00:00 a.m. | 168967 | 198448 | 7.2899 | 0 | 89.178 | 14.7 | 5.72
91 | 19/07/2015 | 6:00:00 a.m. | 168967 | 198448 | 7.3424 | 0 | 89.028 | 14.8 | 5.7
90 | 19/07/2015 | 5:00:00 a.m. | 168967 | 198448 | 7.2935 | 0 | 88.887 | 14.7 | 5.72
89 | 19/07/2015 | 4:00:00 a.m. | 168967 | 198448 | 7.3185 | 0 | 89.007 | 14.7 | 5.7
88 | 19/07/2015 | 3:00:00 a.m. | 168967 | 198448 | 7.3068 | 0 | 88.962 | 14.7 | 5.71
87 | 19/07/2015 | 2:00:00 a.m. | 168967 | 198448 | 7.3096 | 0 | 88.904 | 14.7 | 5.71
86 | 19/07/2015 | 1:00:00 a.m. | 168967 | 198448 | 7.2971 | 0 | 88.846 | 14.9 | 5.71
85 | 19/07/2015 | 12:00:00 a.m. | 168967 | 198448 | 7.2539 | 0 | 88.933 | 17.2 | 5.72
84 | 18/07/2015 | 11:00:00 p.m. | 168967 | 198448 | 7.1778 | 0 | 88.903 | 19.5 | 5.71
83 | 18/07/2015 | 10:00:00 p.m. | 168967 | 198448 | 7.1561 | 0 | 88.742 | 20.1 | 5.71
82 | 18/07/2015 | 9:00:00 p.m. | 168967 | 198448 | 7.0929 | 0 | 88.729 | 21 | 5.72
81 | 18/07/2015 | 8:00:00 p.m. | 168967 | 198448 | 7.1016 | 0 | 88.452 | 22.2 | 5.71
80 | 18/07/2015 | 7:00:00 p.m. | 168967 | 198448 | 7.0738 | 0 | 88.556 | 23.5 | 5.72
79 | 18/07/2015 | 6:00:00 p.m. | 168967 | 198448 | 7.025 | 0 | 88.487 | 23.9 | 5.72
78 | 18/07/2015 | 5:00:00 p.m. | 168967 | 198448 | 7.0055 | 0 | 88.383 | 27.2 | 5.71
77 | 18/07/2015 | 4:00:00 p.m. | 168967 | 198448 | 6.8257 | 0 | 88.241 | 26.7 | 5.75
76 | 18/07/2015 | 3:00:00 p.m. | 168967 | 198448 | 6.9728 | 0 | 87.935 | 27.4 | 5.73
75 | 18/07/2015 | 2:00:00 p.m. | 168959 | 198447 | 6.7385 | 0 | 84.965 | 26.2 | 5.76
74 | 18/07/2015 | 1:00:00 p.m. | 168879 | 198435 | 6.7084 | 0 | 84.925 | 25.9 | 5.76
73 | 18/07/2015 | 12:00:00 p.m. | 168799 | 198423 | 6.7168 | 0 | 84.896 | 25.3 | 5.75
72 | 18/07/2015 | 11:00:00 a.m. | 168719 | 198411 | 6.7697 | 0 | 84.953 | 24 | 5.74
71 | 18/07/2015 | 10:00:00 a.m. | 168638 | 198400 | 6.8148 | 0 | 85.003 | 22.6 | 5.7
70 | 18/07/2015 | 9:00:00 a.m. | 168556 | 198387 | 6.8387 | 0 | 86.732 | 18.7 | 5.71
69 | 18/07/2015 | 8:00:00 a.m. | 168512 | 198381 | 7.2178 | 0 | 88.63 | 16.1 | 5.71
68 | 18/07/2015 | 7:00:00 a.m. | 168512 | 198381 | 7.229 | 0 | 88.589 | 16.1 | 5.71
67 | 18/07/2015 | 6:00:00 a.m. | 168512 | 198381 | 7.2412 | 0 | 88.587 | 16.1 | 5.71
66 | 18/07/2015 | 5:00:00 a.m. | 168512 | 198381 | 7.25 | 0 | 88.619 | 16.2 | 5.71
65 | 18/07/2015 | 4:00:00 a.m. | 168512 | 198381 | 7.2176 | 0 | 88.623 | 17.2 | 5.71
64 | 18/07/2015 | 3:00:00 a.m. | 168512 | 198381 | 7.183 | 0 | 88.624 | 18.2 | 5.71
63 | 18/07/2015 | 2:00:00 a.m. | 168512 | 198381 | 7.181 | 0 | 88.596 | 18.9 | 5.72
62 | 18/07/2015 | 1:00:00 a.m. | 168512 | 198381 | 7.1571 | 0 | 88.544 | 19.2 | 5.71
61 | 18/07/2015 | 12:00:00 a.m. | 168512 | 198381 | 7.1576 | 0 | 88.556 | 19.4 | 5.72
60 | 17/07/2015 | 11:00:00 p.m. | 168512 | 198381 | 7.1228 | 0 | 88.552 | 19.7 | 5.72
59 | 17/07/2015 | 10:00:00 p.m. | 168512 | 198381 | 7.1248 | 0 | 88.53 | 20.3 | 5.71
58 | 17/07/2015 | 9:00:00 p.m. | 168512 | 198381 | 7.0941 | 0 | 88.452 | 22.5 | 5.71
57 | 17/07/2015 | 8:00:00 p.m. | 168512 | 198381 | 7.0308 | 0 | 88.253 | 26.1 | 5.73
56 | 17/07/2015 | 7:00:00 p.m. | 168512 | 198381 | 6.9336 | 0 | 88.167 | 28.6 | 5.75
55 | 17/07/2015 | 6:00:00 p.m. | 168512 | 198381 | 6.8619 | 0 | 88.139 | 30.1 | 5.75
54 | 17/07/2015 | 5:00:00 p.m. | 168512 | 198381 | 6.9108 | 0 | 85.612 | 25.8 | 5.74
53 | 17/07/2015 | 4:00:00 p.m. | 168449 | 198372 | 6.7695 | 0 | 84.933 | 24.4 | 5.74
52 | 17/07/2015 | 3:00:00 p.m. | 168368 | 198360 | 6.7454 | 0 | 84.803 | 25.3 | 5.74
51 | 17/07/2015 | 2:00:00 p.m. | 168286 | 198348 | 6.6839 | 0 | 86.775 | 32.7 | 5.73
50 | 17/07/2015 | 1:00:00 p.m. | 168256 | 198343 | 6.7391 | 0 | 88.004 | 34.1 | 5.73
49 | 17/07/2015 | 12:00:00 p.m. | 168256 | 198343 | 6.7831 | 0 | 88.014 | 28.7 | 5.74
48 | 17/07/2015 | 11:00:00 a.m. | 168256 | 198343 | 6.9586 | 0 | 88.045 | 20.5 | 5.71
47 | 17/07/2015 | 10:00:00 a.m. | 168256 | 198343 | 7.1914 | 0 | 88.309 | 15.5 | 5.72
46 | 17/07/2015 | 9:00:00 a.m. | 168256 | 198343 | 7.2544 | 0 | 88.425 | 13.6 | 5.71
45 | 17/07/2015 | 8:00:00 a.m. | 168256 | 198343 | 7.3013 | 0 | 88.67 | 13.1 | 5.7
44 | 17/07/2015 | 7:00:00 a.m. | 168256 | 198343 | 7.3057 | 0 | 88.578 | 12.9 | 5.71
43 | 17/07/2015 | 6:00:00 a.m. | 168256 | 198343 | 7.3037 | 0 | 88.469 | 13 | 5.71
42 | 17/07/2015 | 5:00:00 a.m. | 168256 | 198343 | 7.289 | 0 | 88.483 | 13.2 | 5.71
41 | 17/07/2015 | 4:00:00 a.m. | 168256 | 198343 | 7.3054 | 0 | 88.533 | 13.5 | 5.71
40 | 17/07/2015 | 3:00:00 a.m. | 168256 | 198343 | 7.3095 | 0 | 88.498 | 13.7 | 5.7
39 | 17/07/2015 | 2:00:00 a.m. | 168256 | 198343 | 7.2704 | 0 | 88.452 | 14.3 | 5.69
38 | 17/07/2015 | 1:00:00 a.m. | 168256 | 198343 | 7.2513 | 0 | 88.437 | 15.1 | 5.71
37 | 17/07/2015 | 12:00:00 a.m. | 168256 | 198343 | 7.2282 | 0 | 88.567 | 15.7 | 5.7
36 | 16/07/2015 | 11:00:00 p.m. | 168256 | 198343 | 7.2496 | 0 | 88.652 | 15.5 | 5.71
35 | 16/07/2015 | 10:00:00 p.m. | 168256 | 198343 | 7.2501 | 0 | 88.784 | 15.6 | 5.71
34 | 16/07/2015 | 9:00:00 p.m. | 168256 | 198343 | 7.2603 | 0 | 88.734 | 16.2 | 5.71
33 | 16/07/2015 | 8:00:00 p.m. | 168256 | 198343 | 7.2104 | 0 | 88.738 | 22.1 | 5.72
32 | 16/07/2015 | 7:00:00 p.m. | 168256 | 198343 | 7.0041 | 0 | 88.57 | 28.4 | 5.72
31 | 16/07/2015 | 6:00:00 p.m. | 168256 | 198343 | 6.8614 | 0 | 88.042 | 29.9 | 5.75
30 | 16/07/2015 | 5:00:00 p.m. | 168248 | 198342 | 6.7359 | 0 | 85.05 | 26 | 5.74
29 | 16/07/2015 | 4:00:00 p.m. | 168168 | 198330 | 6.724 | 0 | 85.024 | 26.7 | 5.76
28 | 16/07/2015 | 3:00:00 p.m. | 168087 | 198318 | 6.7181 | 0 | 85.121 | 26 | 5.75
27 | 16/07/2015 | 2:00:00 p.m. | 168006 | 198306 | 6.7535 | 0 | 85.225 | 26.2 | 5.74
26 | 16/07/2015 | 1:00:00 p.m. | 167925 | 198294 | 6.7083 | 0 | 85.034 | 25.2 | 5.75
25 | 16/07/2015 | 12:00:00 p.m. | 167844 | 198282 | 6.7672 | 0 | 84.917 | 24.9 | 5.74
24 | 16/07/2015 | 11:00:00 a.m. | 167763 | 198270 | 6.7576 | 0 | 84.881 | 23.7 | 5.73
23 | 16/07/2015 | 10:00:00 a.m. | 167682 | 198258 | 6.8119 | 0 | 85.115 | 21.9 | 5.71
22 | 16/07/2015 | 9:00:00 a.m. | 167599 | 198246 | 6.8746 | 0 | 87.793 | 15.3 | 5.71
21 | 16/07/2015 | 8:00:00 a.m. | 167582 | 198243 | 7.2717 | 0 | 88.663 | 14.3 | 5.72
20 | 16/07/2015 | 7:00:00 a.m. | 167582 | 198243 | 7.2754 | 0 | 88.738 | 15.4 | 5.7
19 | 16/07/2015 | 6:00:00 a.m. | 167582 | 198243 | 7.2418 | 0 | 88.759 | 16.4 | 5.71
18 | 16/07/2015 | 5:00:00 a.m. | 167582 | 198243 | 7.2341 | 0 | 88.677 | 16.6 | 5.71
17 | 16/07/2015 | 4:00:00 a.m. | 167582 | 198243 | 7.2285 | 0 | 88.772 | 16.4 | 5.71
16 | 16/07/2015 | 3:00:00 a.m. | 167582 | 198243 | 7.2108 | 0 | 88.686 | 16.6 | 5.7
15 | 16/07/2015 | 2:00:00 a.m. | 167582 | 198243 | 7.2141 | 0 | 88.631 | 17.3 | 5.72
14 | 16/07/2015 | 1:00:00 a.m. | 167582 | 198243 | 7.2076 | 0 | 88.627 | 17.8 | 5.71
13 | 16/07/2015 | 12:00:00 a.m. | 167582 | 198243 | 7.1832 | 0 | 88.612 | 17.8 | 5.72
12 | 15/07/2015 | 11:00:00 p.m. | 167582 | 198243 | 7.2011 | 0 | 88.504 | 18.5 | 5.7
11 | 15/07/2015 | 10:00:00 p.m. | 167582 | 198243 | 7.1396 | 0 | 88.526 | 19.4 | 5.72
10 | 15/07/2015 | 9:00:00 p.m. | 167582 | 198243 | 7.1307 | 0 | 88.497 | 20.7 | 5.72
9 | 15/07/2015 | 8:00:00 p.m. | 167582 | 198243 | 7.0722 | 0 | 88.5 | 24.1 | 5.72
8 | 15/07/2015 | 7:00:00 p.m. | 167582 | 198243 | 6.9705 | 0 | 88.446 | 27.9 | 5.72
7 | 15/07/2015 | 6:00:00 p.m. | 167582 | 198243 | 6.897 | 0 | 88.42 | 30.3 | 5.74
6 | 15/07/2015 | 5:00:00 p.m. | 167581 | 198243 | 6.9577 | 0 | 85.181 | 25.4 | 5.74
5 | 15/07/2015 | 4:00:00 p.m. | 167503 | 198232 | 6.7564 | 0 | 85.042 | 25.6 | 5.76
4 | 15/07/2015 | 3:00:00 p.m. | 167423 | 198220 | 6.7143 | 0 | 85.086 | 26 | 5.76
3 | 15/07/2015 | 2:00:00 p.m. | 167343 | 198208 | 6.7588 | 0 | 84.995 | 25.8 | 5.75
2 | 15/07/2015 | 1:00:00 p.m. | 167262 | 198196 | 6.7411 | 0 | 85.064 | 25.5 | 5.74
1 | 15/07/2015 | 12:00:00 p.m. | 167181 | 198184 | 6.7732 | 0 | 85.008 | 24.7 | 5.74