## Saporis diario 092813 MC B
Data Log
Unit Serial Number: | 09/07/34239
Meter/Site ID: | GS 3M175 49624
Drive Rate | 0.1 m³/rev
Number of Logs Stored: | 28
Fault/Alarms Recorded: | Date | Time | Condition
1 | 03/03/2013 | 2:52:41 a.m. | 12 (High Temperature Alarm Occurred Low Temperature Alarm Occurred)
2 | 12/02/2013 | 1:45:49 p.m. | 4 (High Temperature Alarm Occurred)
Log Number | Date | Time | Cor Vol | Unc Vol | Cor Factor | Unc Fault Vol | Average Press | Average Temp | Batt. Voltage
|  |  | m³ | m³ |  | m³ | PSI | °C | V
28 | 29/09/2013 | 9:00:00 a.m. | 732392 | 343746 | 7.2782 | 0 | 89.39 | 23.5 | 5.1
27 | 28/09/2013 | 9:00:00 a.m. | 732048 | 343697 | 7.2843 | 0 | 89.329 | 19.6 | 5.1
26 | 27/09/2013 | 9:00:00 a.m. | 731389 | 343604 | 7.2923 | 0 | 89.44 | 18.3 | 5.1
25 | 26/09/2013 | 9:00:00 a.m. | 731046 | 343555 | 7.2897 | 0 | 89.4 | 23.7 | 5.1
24 | 25/09/2013 | 9:00:00 a.m. | 730432 | 343468 | 7.3281 | 0 | 89.418 | 22.4 | 5.1
23 | 24/09/2013 | 9:00:00 a.m. | 729952 | 343400 | 7.2539 | 0 | 89.326 | 23.8 | 5.1
22 | 23/09/2013 | 9:00:00 a.m. | 729115 | 343282 | 7.1185 | 0 | 89.665 | 24.9 | 5.1
21 | 22/09/2013 | 9:00:00 a.m. | 728702 | 343224 | 7.2828 | 0 | 89.691 | 23.3 | 5.1
20 | 21/09/2013 | 9:00:00 a.m. | 728182 | 343151 | 7.1453 | 0 | 89.416 | 23 | 5.1
19 | 20/09/2013 | 9:00:00 a.m. | 727524 | 343058 | 7.1322 | 0 | 89.459 | 23.5 | 5.1
18 | 19/09/2013 | 9:00:00 a.m. | 726975 | 342980 | 7.1669 | 0 | 89.135 | 21.8 | 5.1
17 | 18/09/2013 | 9:00:00 a.m. | 725818 | 342815 | 7.109 | 0 | 89.246 | 23.2 | 5.1
16 | 17/09/2013 | 9:00:00 a.m. | 725115 | 342715 | 7.0564 | 0 | 89.785 | 19.1 | 5.1
15 | 16/09/2013 | 9:00:00 a.m. | 724756 | 342665 | 7.3469 | 0 | 89.917 | 17.2 | 5.1
14 | 15/09/2013 | 9:00:00 a.m. | 724721 | 342660 | 7.3581 | 0 | 89.774 | 18.7 | 5.1
13 | 14/09/2013 | 9:00:00 a.m. | 724524 | 342633 | 7.0983 | 0 | 89.737 | 21.5 | 5.1
12 | 13/09/2013 | 9:00:00 a.m. | 724258 | 342595 | 7.1063 | 0 | 89.045 | 24.2 | 5.1
11 | 12/09/2013 | 9:00:00 a.m. | 723798 | 342530 | 7.1777 | 0 | 88.31 | 24 | 5.11
10 | 11/09/2013 | 9:00:00 a.m. | 723265 | 342454 | 7.2217 | 0 | 88.321 | 22.8 | 5.1
9 | 10/09/2013 | 9:00:00 a.m. | 722514 | 342346 | 7.0968 | 0 | 88.085 | 23.8 | 5.1
8 | 09/09/2013 | 9:00:00 a.m. | 721611 | 342217 | 6.9906 | 0 | 88.481 | 22.4 | 5.1
7 | 08/09/2013 | 9:00:00 a.m. | 721162 | 342153 | 7.2642 | 0 | 88.456 | 19.2 | 5.11
6 | 07/09/2013 | 9:00:00 a.m. | 720993 | 342129 | 7.1613 | 0 | 88.147 | 22.8 | 5.11
5 | 06/09/2013 | 9:00:00 a.m. | 720601 | 342073 | 7.1597 | 0 | 88.451 | 23.8 | 5.11
4 | 05/09/2013 | 9:00:00 a.m. | 720079 | 341999 | 7.3567 | 0 | 92.863 | 20.1 | 5.1
3 | 04/09/2013 | 9:00:00 a.m. | 719716 | 341950 | 7.496 | 0 | 92.81 | 21.7 | 5.11
2 | 03/09/2013 | 9:00:00 a.m. | 718935 | 341843 | 7.3567 | 0 | 92.853 | 21.9 | 5.11
1 | 02/09/2013 | 9:00:00 a.m. | 718197 | 341742 | 7.4675 | 0 | 93.125 | 25.2 | 5.11